# Triggers

Some of the users of this standard will only have the requirement to sample or apply data occasionally and the timing of those samples is relatively unimportant. However, There is that other class of users that are trying to create or measure a waveform and the timing of the samples is critical. In addition, in many cases not only is the waveform important but the phase relationship between different signals can also be critical. In the past these requirements were met by using a single Analog-to-Digital Converter (A/D) or Digital-to-Analog Converter (DAC) so that all of the timing was centralized and controlled from a common clock. With the advent of inexpensive A/D converters it has become more common to have multiple A/D converters in a system. With the capability to co-locate these components with the transducer the problem arises of how does the system control the timing of all of these diverse devices. Triggers are one of the two mechanisms in the standard that are designed to allow a single TBC and multiple TBIMs to operate together to meet these timing requirements. The other mechanism is the synchronization Communications channel. Since each transducer bus must have one TBC and one or more TBIMs, it was felt that the responsibility of providing the bus timing should reside primarily in the TBC. This would make the TBIMs simpler and thus less costly.

Triggers can be addressed to a particular transducer in a TBIM, to group of transducers or to all transducers on a bus. The use of group or global triggers is the mechanism that is used to cause multiple TBIMs to take action at the same instant. Just how close to the same time this action is performed is a function of the design of the TBIMs. For example lets suppose that we have a group sensors that are designed to be able to acquire data at a maximum rate of 100 samples per second. If we use two on these sensors on a bus that is 100 meters long the difference in the propagation delays between the TBC and either of these two sensors is roughly 600 nanoseconds. This is 0.006 % of the sample interval. In most cases this would not be a significant error and could be ignored. However, as the sample interval becomes shorter the propagation delay becomes a more significant factor. Another application that is very concerned about these delays is systems that are used to measure transient events. In these systems this is an important parameter. There are basically two ways to address this issue. Both require that the propagation delay between the TBC and each TBIM be known. The standard provides a mechanism that can be used to measure the delay. See section ?? for the details of this mechanism. Once the propagation delay is known the system can use this information and attempt to correct for the differences using interpolation or the TBIMs can be designed to correct for the propagation delay. The standard does not dictate which method shall be used so it does not require that the TBIMs be able to correct for the propagation delay. However, care was taken to allow the TBIM manufacturer to be able to build this capability into the TBIM if it is desired.

Triggers normally originate at the TBC and are always executed by the TBIMs. The exception to the rule that triggers originate at the TBC is that the output from an event sensor can be used as a trigger for other TBIMs. When using an event sensor to generate a trigger it is generally important to cause some action to take place or to take a snapshot of the conditions that were in place at the time of the event. This means that waveform analysis is probably not very important but the time of the event may be desirable. For example an event might be a door opening. This might trigger a video camera to take a picture of who was in the door and transmit the picture to a central location. The time of the door opening and the picture would be the two critical pieces of information. In another scenario an event sensor might be used to detect an alarm condition. The issuing of the event by the event sensor could then be used by actuators in the system to perform an orderly shutdown of the system and sensors used to capture the conditions that caused the problem.

In control systems it is often required that a TBIM send some form of information back to the TBC to indicate that the trigger was received and acted upon. In many data acquisition applications the system user will not want to use part of the system bandwidth to close the loop in this fashion. The approach taken in the standard to satisfy both of these needs is to require some triggers to be acknowledged and others not to require it. All TBIMs are expected to be able to support both sets of trigger commands.

## Trigger Commands

At this time there are five different trigger commands that the TBC can issue. Each of these commands can add the requirement that an acknowledgement be returned making a total of ten trigger commands. The following list identifies the five basic commands.

- trigger a transducer

- write with trigger

- trigger with read

- trigger a group of transducers (Group Trigger)

- trigger all transducers on a bus (Global Trigger)

### Triggering a single transducer

There are three variations on the capability to trigger a single transducer. The command to trigger a transducer is the simplest form of this command. The trigger with write and the read with trigger commands are also used to trigger a single transducer. There will be cases where it is desirable to trigger sets of transducers within a single TBIM using one of these trigger commands. An example of this would be a sensor and an associated time interval counter. In these cases consideration should be given to the desirability of being able to trigger the devices separately for troubleshooting and diagnostic purposes.

#### Trigger a transducer

This trigger command is followed by a single argument that is the logical address of the transducer to be triggered as assigned by the system.

#### Trigger with write

This trigger command is a specialized type of trigger that can be issued to an actuator. It has the advantage of only requiring a single command to write a data set to the actuator and to trigger it.

#### Read with trigger

This trigger command is a specialized type of trigger that can be issued to a sensor. It has the advantage of only requiring a single command to trigger the sensor and to read a data set from it.

### Triggering a group of transducers

This class of transducers establishes the ability of the TBC to control the activity of a group of transducers on a bus with a single command. The transducer groups are defined by the system and thus require that each TBIM have the capability to be programmed to respond to group triggers. In fact the standard allows each transducer to be a member of more than one group but does not specify how many.

### Global triggers

This class of transducers establishes the ability of the TBC to control the activity of all transducers on a bus with a single command. Unlike group triggers this capability is required to be inherent in all transducers and is not programmable. To prevent a transducer from responding to a global trigger the transducer must be disabled.

## Events used as triggers

Systems are expected to use the outputs of event sensors to trigger transducers in several ways. There are three possible ways that this capability can be implemented each with a different reason for being required. However, one feature that is common to all three uses of events as triggers is that they never require an acknowledgement. A forth possibility exists but since it does not require any special features in the TBIM it is not discussed in a separate sub paragraph. That possibility is that the TBC receives the event and issues the necessary triggers to cause whatever actions are required.

This is one of two cases in this standard where the possibility of collisions on a communication channel is allowed. It is allowed here so that the number of communications channels that are required in a system with many event sensors does not become overwhelming. In all cases the TBC must read the status in the event sensor that detected the event or issue a command that clears the event.  If the TBC fails to take action the event sensor should retransmit after a time interval that is based upon its assigned transducer number. This places all requirements to detect collisions on the TBC.

### Any transmission

This is an area where it is desirable to have many event sensors on a bus but not use a separate data transfer communications channel for each one. In this type of application many event sensors will be capable of transmitting on the same channel and collisions are possible or even probable. However, regardless of what device is transmitting a single predefined action is required for all devices programmed to be able to be triggered in this fashion. In this case the TBIM is programmed to accept any transmission above a minimum length on the data transfer communications channel as a trigger. This includes garbled transmissions that occur as the result of a collision. The requirement that it be over a minimum length is to minimize the effect of noise on the receiver.

As an example of this type of operation consider a system that uses a number of hydraulic rams to load up a large, expensive structure like an airplane wing. Each hydraulic ram is controlled by a separate actuator and each has an associated event sensor that is used to detect when the hydraulic ram is not responding properly and that the entire system should be shut down immediately. Failure to shut it down immediately could cause injury to operating personnel or damage to the test specimen. A single data transfer communications channel could be designated to be used by many event sensors as their output data channel. In this case it is not immediately important to know which device is causing the problem. The TBC can be used to read the status of each event sensor to determine which device caused the alarm and possibly when after the system is placed into a safe condition.

### Any valid transmission

This case is similar to the previous case except that the transmission must be valid, i.e. the Format Check Sequence in the message must be correct. The source address is not used to determine if the TBIM should respond to this transmission. In this case if a collision occurs it is the responsibility of the TBC to determine which event sensor detected an event and to issue the appropriate trigger command on a different communications channel. This approach will result in less false events at the expense of response time. It should be used where not getting a false indication of an event is more important than response time.

### A valid transmission with a specific source address

When only one event sensor is assigned to a given data transfer communication channel or when there is little likely hood of multiple event sensors detecting events at the same time then this method of detecting an event used as a trigger can be used. It provides as much protection as possible against false triggers.

## Transducer Trigger logic

Figure 1 and Figure 2 are taken directly from the standard. Table 1 is derived from the standard. Figure 1 is a functional block diagram of the trigger logic in a simple TBIM. Figure 2 is similar to Figure 1 except that it shows a more complex device. Other logic is omitted for simplicity in both figures. Table 1 gives an explanation of each of the blocks in Figure 1 and Figure 2.

Figure 1 Simple transducer functional blocks

Figure 2—Complex transducer functional blocks

Table 1—Transducer Functional Blocks

| Function | Description |
| --- | --- |
| Data Transport | Data transport is a separate function that is discussed in sub-clause ??. Triggers can be received from the Bus Management, the TBIM or the Trigger communications channels. Triggering may or may not be possible during data transport depending upon the number of communications channels in the TBIM. Commands to alter the state of the machine, such as “abort trigger” or “initialize transducer,” are received using the data transport. |
| Time Delay Virtual Actuator | In some systems with stringent requirements for simultaneous processing of inputs or outputs it may be necessary to place a programmable delay between the time the trigger is sensed by the Data Transport Logic in the TBIM and when it actually takes effect. This actuator provides for this capability. A virtual actuator is recommended to be used to control the delay. The use of a virtual actuator instead of a control command allows TEDS to contain the description of the delay logic and removes some of the requirements for the system to know the characteristics of the delay logic. This is one of three blocks that are shown in Figure 2 but not Figure 1. |
| Transducer Logic | This logic contains the signal conditioning, data conversion logic and buffering logic for the transducer. |
| Sample Control Generator Logic | This function is part of the transducer but for the purposes of this standard it is treated as a separate state machine. See Figure 4 and Table 3 for details of operation. The Sample Control Generator logic may be part of one or more transducers depending upon the operating modes and design requirements of the TBIM. |
| Time Interval Sensor | This is a separate transducer with a special relationship to the transducer being described. As shown in Figure 2 it is initialized by the trigger signal for the transducer and triggered by the Sample Processed signal from the transducer. Except for possible diagnostic modes it does not receive triggers directly from the data transport. Although the standard does not prohibit the use of both a Time Interval sensor and a Time-of-Day sensor it is unlikely that both would be used in the same TBIM. This is one of three blocks that are shown in Figure 2 but not Figure 1. |
| Time–of-Day Sensor | This is a separate transducer with a special relationship to the transducer being described. It is triggered by the Sample Processed signal from the transducer. Except for possible diagnostic modes it does not receive triggers directly from the data transport. Although the standard does not prohibit the use of both a Time Interval sensor and a Time-of-Day sensor it is unlikely that both would be used in the same TBIM. This is one of three blocks that are shown in Figure 2 but not Figure 1. |

#### Triggering a sensor

The trigger signal causes a sensor to execute a process to collect a data set. The actual time that each sample is acquired can be determined by the TBC using information acquired from the TBIM. If the time between the trigger and the acquisition of the first sample is constant, within acceptable limits, then this value and its uncertainty can be in the transducer specific TEDS (specify name & field number when it is known) (Action Item – trig #2). If the time between the trigger and the acquisition of the sample is variable then a Time Interval Sensor in the TBIM may be used to determine the time difference between the receipt of the trigger and the acquisition of the sample. The TBC or another processor may compute the sample time from the time that the trigger was sent to determine the actual time that the sample was acquired. An alternate method of determining the time of a sample is to use a time-of-day sensor that can store the time of day that the sample was taken. If a Time Interval Sensor or time-of-day sensor is used to determine the sample time there should be one cycle count or time value for each data sample in the data set. This requirement would not be necessary if the units on the sample interval was always seconds but that is not the case. This requirement is to make the operation of the system consistent regardless of the units on the sample interval. If the user knows that there is a uniform time between samples the choice can be made to read only the first time value and add the sample interval to that value for each subsequent sample. The Time Interval Sensor and time-of-day sensor are in a special class of sensor in their operation is slaved to the operation of the another transducer. They require a separate transducer number and respond to separate read commands. See subclause 1.3.2 for more details on this subject.

If a trigger acknowledge is required by the trigger command, the TBIM shall send a trigger acknowledgment coincident with the time the first sample in a data set is acquired. Subsequent to this trigger acknowledge and the additional duration specified by the Transducer Read Setup Time, plus the sample interval times the number of samples in the data set minus one the data set shall be available to the TBC. The Transducer Read Setup Time is specified in the Transducer Specific TEDS (specify field number when it is known).

NOTE-- The preceding paragraph is a holdover from dot 2 and it is very clumsy.  Having the trigger acknowledge occur after the first sample doesn't leave a good way to determine when the data set is complete particularly if the sample interval is not time related. How do we want to address this????

Irrespective of the time needed to read the transducer data, the TBC must wait for at least the duration of the Transducer Sampling Period between successive triggers. The standard does not specify what should happen if this requirement is violated. However, in the interest of consistent behavior it is probably best that triggers that are received before the sensor completes the collection of the data set required by the previous trigger should be ignored. If they are not ignored the question of what to do with the data set that was started by the previous trigger needs to be answered. In addition what to do with any associated Time Interval or Time-of-Day sensors needs to be answered. If the sensor has the buffered attribute active then the answer could be just to switch to the next buffer after completing the data set presently being collected. However, if the early trigger is a result of a timing error in the system the problem will still occur when the third trigger is received before the data set collection is complete for the previous two triggers. If this mode of operation is desirable a streaming mode sensor should be used. The Transducer Sampling Period is in the Transducer Specific TEDS.

#### Triggering an event sensor

An event is defined as a transition of state. A trigger normally arms an event sensor to detect a single occurrence of an event. If the streaming attribute is set in the event sensor then the first trigger arms the event sensor to report all events that are detected by the device. The trigger acknowledgement is used to notify the system, through the TBC, that an event has occurred. If a trigger command is used which does not require an acknowledgement then the TBC must poll to determine if an event has occurred. The acknowledgement consists of a single frame of data transmitted from the TBIM to the TBC. As a minimum the frame of data will contain the source address of the event sensor. The frame may include other data such as the output of an associated Time Interval or Time-of-Day sensor. The TBC must then acknowledge the receipt of the event by performing a status read ?? to the logical address of the event sensor. If the event sensor fails to receive the status read command within a fixed period of time it shall retransmit the acknowledgement.

We need to do more work on this acknowledge/ retransmit and the timing because it is not defined anywhere.

If the TBIM does not use a Time Interval Sensor or a Time-of-Day Sensor, and the time of the event is desired, then the TBC must be able to detect the time of arrival of the frame of data and use that to determine the time of the event. In this case, the TBIM must have immediate access to a communications channel otherwise variations in the time of arrival of the signal at the TBC will occur. This communications channel must be reserved for this one task at the time of the event. In Tier 0 or Tier 1 systems using an event sensor in this manner limits the availability of the transducer bus when an event sensor has been triggered until the acknowledgement is received.

An enabled event sensor sets the transducer data/event status bit (Action Item - trig #12) whenever an event is detected regardless of whether or not it has been armed by a trigger. The transducer missed data or event status bit (Action Item - trig #11) is set when an event is detected if a trigger has not armed the event sensor. The exception is that the transducer missed data or event status bit shall not be set until after the first trigger cycle after it is cleared.

#### Triggering an actuator

For an actuator without the buffered attribute set the trigger command causes an actuator start a process that applies the last data set received to its output. If a trigger acknowledge is required the acknowledgement is sent when the first sample in the data set is applied to the output. For actuators that have a single sample in the data set this process is to apply the sample to the output and send the acknowledge if it is required. For devices with larger data sets the process is more complex. In most cases the actuator will apply the first sample in the data set and return the acknowledgement if it is required and then wait for a time interval. This time interval is specified in the series increment field of the transducer specific TEDS. When the time interval has elapsed, it will apply the next sample in the data set and again wait for the specified time interval. This operation will continue until all data samples in the data set have been applied to the output. What happens next is a function of the End of Data Set attribute. If this attribute is set to HOLD then the actuator will simply wait until the next trigger is received. If this attribute is set to RECIRCULATE then the unit will wait for the time interval specified in the series increment field and then reissue the first data sample in the data set. This process will continue until another data set is received followed by another trigger. However, the standard does not require the series increment field in the Transducer Specific TEDS to be in units of time. It is actually in the units specified in the series units field of the same TEDS. This makes the possible operation even more complicated. With time the units may only increase but with many other units they may increase or decrease. So if, for example, the series units were degrees Kelvin then it would be possible to move backwards and forwards through the data set. In this case the acknowledgement would still be sent when the first sample in the data set was applied to the output. In cases like the one just described the actuator may move back and forth within that data set until it is disabled. In other cases it will eventually get to the end of the data set and it will be desirable to issue another data set before continuing operation. However, there is no mechanism within the standard specifically set up to alert the TBC when the TBIM has applied all or most of a data set and requires more data. The designer of this type of TBIM has some choices available. A virtual event sensor could be used to notify the TBC that the data set has been used and new data is required. Another possibility is that a virtual sensor could be used to monitor where in the data set the actuator is operating and the TBC can decide by reading this sensor when a new data set is required. It is also possible that a new data set will never be required and that problem can be ignored.

It is also possible to have an actuator that has a built in data set. A simple example would be a display that was to be incremented by one for each trigger that was received. In this case the trigger could be used to increment a counter and no data set would be required. The Channel Data Repetitions field in the Transducer Specific TEDS for this actuator would need to be set to zero. A more complex example could be an actuator that was to be used to cause a device to go through an emergency shutdown procedure. The necessary steps to shut down the system could be permanently stored in the actuator and each time a trigger was received the procedure would be followed to shut down the device. For devices without a data set received from the TBC the acknowledgement should be issued immediately after the trigger is recognized if it is required.

Irrespective of the time needed to write the transducer data, the TBC must wait for at least the duration of the Transducer Sampling Period between successive triggers. The Transducer Sampling Period is in the Transducer specific TEDS (Action Item - trig #6). The standard does not specify what should happen if a trigger is issued before the actuator is ready to receive another trigger. The discussion on this topic in subsection 1.3.1.1 is relevant here as well.

### Determination of the time of a sample

The determination of when a sample was taken in the case of a sensor or applied in the case of an actuator (i.e. a sample is processed) is shared between the TBC and the TBIM. The TBC knows the time that the trigger was issued. The TBIM will determine the time difference between when it receives the trigger and when the sample is processed or determine the time of day when the sample was processed and can provide this information to the TBC. If the TBIM supports this capability it can be accomplished in one of three ways. If the time delay is constant then the Transducer Specific TEDS entry that defines the fixed delay between the receipt of a trigger and the start of processing (see subclause ??) may be used to define the time difference between the trigger and the time the sample was processed. The second method is to use a Time Interval sensor as described in subclause 1.3.2.1. The third method is to use a Time-of-Day sensor as described in subclause 1.3.2.2. An enumeration in the Transducer Specific TEDS (see subclause ??)  identifies which method is being used by a TBIM.

The enumeration has four possible values as shown in Table 2. The single precision real field is required to define the period of one cycle of the clock when enumeration 1 is used. The operation with enumeration’s 2 and 3 require a virtual sensor to provide the same information as the TEDS field does for enumeration 1. For enumeration 4 the TBIM provides the time of day that the sample was taken.

Table 2—Enumeration of sample time sources

| Value | Function |
| --- | --- |
| 0 | No facilities in the TBIM are available to support determination the time that a sample was processed. |
| 1 | The time interval between the receipt of the trigger and the processing of the sample is not measured. The default delay between the trigger and the processing of the sample is found in field xx of the transducer specific TEDS. |
| 2 | The time interval between the receipt of a trigger and the processing of the sample is measured using a Time Interval Sensor. The Calibration TEDS for the Time Interval Sensor will provide the method of converting the output of the virtual sensor to time. |
| 3 | The time interval between the receipt of the trigger and the processing of the sample is measured using a Time Interval Sensor with a clock derived from the synchronization communications channel and made available to the TBC using a virtual sensor. The Calibration TEDS for the Time Interval Sensor will provide the method of converting the output of the virtual sensor to time. |
| 4 | A Time-of-Day Sensor supplies the time of day that the sample was processed. The characteristics of this sensor are defined in the TEDS for this sensor. |
| 5 – 127 | Reserved |
| 128 - 255 | Available for use by manufacturers. Note—The use of these enumeration's will affect the interoperability of the transducer. Special software will be required in the system to use it. |

Action Item - trig #1 (TEDS Subgroup) Provide a TEDS entry for the enumeration defined in Table 2.

Action Item - trig #2 (TEDS Subgroup) Provide a TEDS entry to define the default time interval between the receipt of a trigger and the acquisition of a data sample.

#### Time Interval Sensor operation

A Time Interval Sensor is a sensor as described in subclause 4.3.2 with the "Trigger Initiated" attribute set but it has some other special characteristics. Figure 3 is a derivative of Figure 2 showing the differences. The trigger that is issued to another transducer, shown as the primary transducer in Figure 3, within the same TBIM initializes a Time Interval Sensor and starts it running. The Sample Control Generator function becomes a pass through function that converts the Sample Processed signal from the primary transducer into the Initiate an Operation signal in the Time Interval sensor. The use of a separate transducer address for the Time Interval Sensor is to allow it to have a different set of TEDS. A trigger issued to the Time Interval Sensor's transducer address from the transducer bus would only be used for this device in a system diagnostic mode.

Figure 3—Time Transducer Functional Blocks

##### Determination of the Sample Time using the Time Interval Counter

If the Time Interval Sensor is used to determine the time a sample was processed, there should be one time interval value for each data sample in the data set. If the interval between samples in the data set is a uniform time interval only the first time is required. However, the standard allows for the interval to be in units other than time and in these cases a time interval sample is required for each sample in the data set. In the interest of always working the same way a time interval sample is required for each sample in the data set. A Calibration TEDS that defines how to convert the output of the counter to a time interval and the uncertainty for this measurement may be used. To convert this information to the time that the sample was taken requires knowledge of when the trigger was issued. This information is known by the TBC. The processing of a sample implies when the sample was taken for a sensor or when it was applied in the case of an actuator.

NOTE—Assuming the use of a Time Interval sensor with the data set for a transducer the following process could be used to determine the time any sample in the set was processed assuming the triggers are not periodic.

T( is the counts measured by the interval counter.

Tt is the time of the trigger that initiated processing of the buffer.

m is the constant used to convert the counts from the Time Interval Sensor to time.

Ts is the time of day when the sample was processed.  (It could be local time, GMT or whatever the user wants.)

This process requires that the TBC remember when each trigger is issued and to be able to correlate them with the buffer being read.

Assuming the use of a "Virtual" sensor with the data set for the Time Interval Sensor the following process could be used to determine the time any sample in the set is processed assuming the triggers are periodic.

Ti is the time interval between triggers. (For an unbuffered transducer Ti would be = 0.)

T( is the counts measured by the interval counter.

Tt is the time of the most recent trigger.

m is the constant used to convert the counts from the Time Interval Sensor to time.

Ts is the time of day when the sample was processed.

This process only requires the TBC to remember the time of the most recent trigger.

#### Time-of-Day Sensor operation

A Time-of-Day Sensor is a sensor as described in subclause 4.3.2 with the "Free Running" attribute set but it has some special characteristics. Figure 3 is a derivative of Figure 2 showing the differences. The trigger that is issued to another transducer, shown as the primary transducer in Figure 3, within the same TBIM is ignored by the Time-of-Day sensor because it is free running. The Sample Control Generator function becomes a pass through function that converts the Sample Processed signal from the primary transducer into the Initiate an Operation signal in the Time-of-Day sensor. The use of a separate transducer address for the Time-of-Day Sensor is to allow it to have a different set of TEDS. A trigger issued to the Time-of-Day Sensor's transducer address from the transducer bus would only be used for this device in a system diagnostic mode.

##### Determination of the Sample Time using a Time-of-Day Sensor

If the Time-of-Day sensor is used to determine the time a sample was processed, there shall be one time recorded for each data sample in the data set.

NOTE—A time-of-day sensor measures the term Ts in the note for subclause 1.3.2.1 directly using some method that is beyond the scope of this standard.

### Triggering a transducer

The following subclauses describe the expected functionality for the two blocks within the dotted line in Figure 1 or Figure 2 labeled "Transducer."

#### Sample Control Generator Logic

Figure 4 and Table 3 give a description of the Sample Control Generator Logic state machine. The Initialize state is the default state for this machine. The state machine stays in this state until it the Enable Command or Start Generator signal causes it to advance to the Running State. When advancing to the running state with the "Trigger Initiated" attribute set it will issue an "Initiate an Operation" signal. In the Running State it will wait until the conditions required for operating on another sample are met and then issue another "Initiate an Operation" signal. The conditions for operating on another sample will normally be an elapsed time but variables other than time are allowed by the standard.

Figure 4—Sample Control Generator State Machine

Table 3—Sample Control Generator State Machine description

| Entity | Type | Definition |
| --- | --- | --- |
| Initialize | State | In this state the clock is started. If the “Free Running” attribute is set it occurs when the sensor is enabled. If the “Trigger Initiated” attribute is set each trigger restarts it. |
| Running | State | In this state the “Initiate an Operation” signal is sent to the Transducer Logic each time the sampling criterion is met. |
| Enable or Start Generator | Condition | If the Free Running attribute is set this transition takes place when the transducer is enabled. If the Trigger Initiated attribute is set then the Start Generator (Delayed Trigger) signal causes this transition. |
| Start Running | Action | The state machine goes to the running state. |
| Issue Initiate an Operation signal | Action | The Initiate an Operation signal is sent to the Transducer logic. |
| Sample Condition Met | Condition | The conditions for issuing an Initiate an Operation signal have been met. Note—In most cases this will mean a time interval has elapsed, however units other than time maybe used to control the interval between samples. |

#### Transducer Logic States

Figure 5 and Table 4 give a description of the Transducer Logic state machine. The quiescent state is common to all transducer types.  The Data Set Processing State however is different for each different transducer type. See subclause ?? through ?? for details of the operation in the Data Set Processing State for the different transducer types.

Figure 5—Transducer Logic States

Table 4—Transducer Logic State Machine description

| Entity | Type | Definition |
| --- | --- | --- |
| Quiescent | State | This is the state that the transducer will enter after initialization. |
| Data Set Processing | State | This is the state of the transducer logic that processes the data. This state machine is different for each different transducer type. |
| Disabled and Trigger Received | Condition | The transducer is disabled and a trigger is received |
| Acknowledge Trigger | Action | The trigger acknowledge is sent to the data transport logic to be transmitted to the TBC. |
| Abort or Disable Received | Condition | An Abort command or a Disable Command has been received while in the Data Set Collection state machine. The Data Set Collection state machine is exited and the transducer returns to the quiescent state. |
| Issue Stop | Action | The Stop signal is issued to the Sample Control Generator logic. |
| Delayed Trigger Received | Condition | The transducer has received the trigger. The machine moves to the data set processing state. |
| Initialize Data Set Processing | Action | Initialize Data Set Processing signal is sent to the data set processing state machine. |

##### Data Set Processing State Machine for a Sensor

Figure 6 and Table 5 give the response of a sensor to a trigger. The operations in the Data Set Collection state in response to operational commands, such as disable transducer or abort trigger that interrupt normal operation, are recognized but not defined in this standard. The TBIM shall return to the quiescent state after receiving a command that interrupts normal operation. The availability of partial data sets and access to those data sets are the responsibility of the TBIM manufacturer.

Action Item - trig #20 - How do we handle partial data sets.

Figure 6 is intended to help in the description of the functions the standard expects in a sensor. The standard does not require that the functions must be implemented as implied in the diagram.

Figure 6—Data Set Processing States for a Sensor

Table 5—Data Set Processing State Machine Description for a Sensor

| Entity | Type | Definition |
| --- | --- | --- |
| Wait for Clock | State | This is the state that the Data Set Processing machine will enter after initialization. |
| Sampling | State | In this state the data is being sampled |
| Converting | State | In this state the data is being digitized and converted to put it into the final output form. |
| Sample Signal Received | Condition | The Sample Signal has been received from the Sample Signal Generator |
| Acquire Sample | Action | The state machine advances to the sampling state. |
| Sample Acquired | Condition | The process of acquiring a sample of the input is complete. |
| Acknowledge Trigger | Action | The trigger acknowledge signal is sent to the data transport logic and the state machine advances to the converting state. |
| Sample Converted | Condition | The sample has been digitized and converted to the final output form. |
| Store Converted Sample | Action | The data sample is stored in the appropriate location and the machine advances to the Wait for Clock state |

Irrespective of the time needed to read the transducer data, the TBC shall wait for at least the duration of the Transducer Sampling Period between successive triggers. The Transducer Sampling Period is in the Transducer Specific TEDS.

##### Data set processing state machine for an event sensor

The state diagram in Figure 7 illustrates the normal behavior of the Data Set Processing State Machine for an event sensor. Table 6 is intended to help in the description of the functions the standard expects in an event sensor. The standard does not require that the functions must be implemented as implied in the diagram.

Figure 7—Data set processing states for an event sensor

Table 6—Data set processing state machine description for an event sensor

| Entity | Type | Definition |
| --- | --- | --- |
| Disarmed State | State | This is the quiescent state for this state machine. It enters this state during the initialization state and remains in this state until the Delayed Trigger is received. |
| Wait for the Event | State | In this state the machine is waiting for the event to occur. |
| Event Happens | Condition | The logic within the state machine determines that an event has occurred. |
| Issue Sample Processed | Action | The Sample Processed signal is issued to any associated Time Interval or Time-of-Day sensors to cause a time stamp to be acquired. |
| Acknowledge Trigger | Action | The trigger acknowledge signal is sent to the data transport logic. |
| Data Set Complete | Condition | The data set complete conditions have been met. This is probably the same as Event Happens in most applications. However, if the Streaming attribute or the Buffers attribute is set this will change this condition. |
| Disarm the Event Sensor | Action | Return the state machine to the Disarmed State. |
| Delayed Trigger | Condition | The delayed trigger is received. |
| Arm the Event Sensor | Action | Move the state machine to the Wait for Event state. |

##### Data set processing state machine for an actuator

Figure 8 and Table 7 give the response of an actuator to a trigger. The operations in the Data Set Processing state in response to operational commands, such as disable transducer or abort trigger that interrupt normal operation, are recognized but not defined in this standard. The TBIM shall return to the quiescent state after receiving a command that interrupts normal operation.

Figure 8—Data Set Processing States for an Actuator

Table 7—Data Set Processing State Machine Description for an Actuator

| Entity | Type | Definition |
| --- | --- | --- |
| Converting | State | This is the state that the Data Set Processing machine will enter after initialization. |
| Wait for Clock | State | In this state the machine is waiting for the Initiate an Operation signal. |
| Outputting | State | In this state the data is being output |
| Sample Converted | Condition | The Sample has been converted to the form required for the output. |
| Initiate an Operation | Condition | The process of acquiring a sample of the input is complete. |
| Output Sample | Action | The sample is being output. |
| Sample Output | Condition | The sample has been output. |
| Recover the next sample | Action | The next sample in the data set is recovered from storage or the Data Transport logic. |
| Acknowledge Trigger | Action | The trigger acknowledge signal is sent to the data transport logic if it is required and the state machine advances to the converting state. |
| Initialize Data Set Processing | Condition | The trigger has been received. |
| Recover the first sample | Action | The first sample in the data set is recovered from storage or the Data Transport logic. |