Deviatoric Stress, a Nuisance or a Gold Mine?

William A. Bassett

Department of Earth and Atmospheric Sciences

Cornell University, Ithaca, NY 14853

Both synchrotron radiation and deviatoric stress were once considered to be nuisances. Now synchrotron radiation is one of the most important tools available to scientists of all disciplines and deviatoric stress is one of the most useful aspects of X-ray diffraction at extreme conditions. Samples in high-pressure devices are under true hydrostatic pressure only when surrounded by a fluid thus limiting true hydrostatic pressure studies at ambient temperatures to pressures below about 14 GPa. Elevated temperature is able to extend this limit but has rarely been used for that purpose. Instead, noble gases have been used as pressure media as their solids are especially soft. Deviatoric stress and resultant anisotropic elastic strain in solid samples and solid media have led to many subtle errors in determinations of elastic properties and crystal structures, especially in the days before it was realized that they could be measured and were potentially a valuable source of information. In recent years measuring anisotropic elastic strain by X-ray diffraction has provided new insights into materials strength, elastic properties, crystal structures, mechanisms of phase transitions, and, of course, ways to make corrections when deviatoric stress is indeed a nuisance.

Radial X-Ray Diffraction in Diamond Anvil Cell

Ho-kwang Mao

Geophysical Laboratory, Carnegie Institution of Washington

5251 Broad Branch Rd. NW, Washington, DC 20015-1305

With radial x-ray diffraction in DAC, the uniaxial strain inevitable in high-pressure experiment has become a blessing; it provides rich information on the development of preferred orientation under stress, the yield strength, the single-crystal elasticity, and even the hydrostatic P-V equation of state. Remaining technical challenges include the followings: How to optimize the DAC and x-ray probe? How to eliminate the gasket diffraction while maximize the support? How to study time-dependent rheology? How to conduct simultaneous high P-T experiment? How to determine stress independently?

Radial diffraction in the DAC: Practical and theoretical considerations

S. Merkel

Dept. Earth and Planetary Science, U.C. Berkeley

In the last few years, radial diffraction has evolved considerably from a technique designed to study elasticity and stress towards a more general approach to investigate rheology at very high pressure where more conventional apparatus can not be used. The technology has also seen major advances with the introduction of angle dispersive diffraction, amorphous or composite confining gaskets, and more appropriate data reduction. However, there are limitations of the radial diffraction techniques for the study of stress, elasticity, lattice preferred orientations, or more generally rheology measurements. The latest experimental developments will be presented, along with important details to keep mind when designing an experiment. We will also discuss the current state of the art in data processing, such as the analysis of stress and texture that do not assume cylindrical symmetry and point out future directions. Finally, we will try to present a review on the results obtained from radial diffraction and their applicability to Earth science.

Recent approach in application of rotational diamond anvil cell

Yanzhang Ma

Texas Tech University, Department of Mechanical Engineering

Lubbock, Texas 79409

We have recently performed synchrotron x-ray diffraction in a rotational diamond anvil cell to study the properties of a material under high pressure and shear stress and strain.  By controlling the pressure distribution in the sample chamber, including generating a quasi-homogenous pressure distribution, we explored the shear induced disorder and their effects on phase transformations. The shear induced stacking fault, the phase transition induced plasticity, and the shear resulted formation of bonding with diamond of hexagonal boron nitride has been studied. The high pressure transformation of iron and zirconium has also been investigated.

# Current status and future plan for radial XRD with in-situ laser heating

# Yue Meng1,2, Guoyin Shen1,2, Ho-kwang Mao2,1

# 1HPCAT, Advanced Photon Source, Argonne National Laboratory

2Geophysical Laboratory, Carnegie Institution of Washington

After more than 30 years since the invention of the laser heating in diamond anvil cell, the technique has been developing into a powerful and routine tool for synchrotron x-ray diffraction research under simultaneous high PT conditions.  One of the key challenges of integrating the laser heating of diamond anvil cell with in-situ synchrotron x-ray diffraction is the system stability including both mechanical and optical aspects.  At HPCAT, we have established the capability of double-side laser heating with in-situ x-ray diffraction with considerable efforts on system’s stability.   Our laser heating system has been used for x-ray diffraction studies of a wide range of materials to over 150 GPa and above 3000 K.

High-pressure radial x-ray diffraction has been used for rheology and elasticity studies, it is also a useful method to study the samples that develop strong preferred orientation or evolve into a single crystal form at high pressure.  This type of research under simultaneous high PT conditions is not feasible due to the conflicting geometries of the radial diffraction and the available heating optics.    To overcome the technical difficulty, we have developed an initial design of a rotating laser heating system.  With this system, laser heating can be conducted at any angle relative to the x-ray direction, allowing for radial diffraction studies carried out at high pressures with in-situ laser heating. The design concept will be discussed.

Rheological Studies in the Diamond Anvil Cell: Opportunities and Difficulties

Harry W. Green, II

University of California, Riverside

The project to develop the ability to perform controlled deformation experiments in the Diamond Anvil Cell (DAC) is an exciting one with many potentially important implications for understanding the rheology of Earth’s deep mantle and inner core, as well as for understanding the interior of the giant planets.  Among the exciting applications of such work will be an ability to probe more effectively the complexities of the D’’ layer at the bottom of the mantle and to develop a true rheological model for convection in the entire mantle. The very high pressures, very high temperatures and very small sample sizes involved in this endeavor create formidable barriers that must be overcome in order to collect meaningful data that can be applied to flow in Earth.

Technical considerations involve developing ways to establish an underformed specimen composed of the stable mineral (or assemblage of minerals) before deformation begins and the ability to measure stress accurately (in the sense of the conventional macroscopic stress that can be used in continuum calculations) at reasonably homogeneous temperatures in excess of 0.5 of the melting temperature. Most importantly, significant permanent strains (>10% minimum) will need to be achieved over at least 3 orders of magnitude in strain rate. Such strains may only be possible via rotation of one of the diamonds.

Ideally, specimen materials should eventually be polycrystalline, polyphase aggregates but until much larger diamonds are available, the grain size of polycrystalline material will be limited to those under which only diffusion creep is attainable and one will need to guard against crystal sizes so small that nanocrystalline behavior sets in (material heavily dominated by grain boundaries) that will radically change many physical properties and greatly complicate extrapolation to nature.  To achieve dislocation creep, oriented single crystals can be employed but careful attention to avoidance of end effects will be necessary, with subsequent calculation of polycrystalline behavior (although uncertainties still exist in such calculations).  For phases that cannot be quenched to room T and P, the problem of generating single crystals in situ at very high pressure in the DAC will be challenging.

To determine deformation mechanisms, interrogation of specimens that can be quenched to room conditions can be accomplished in the same ways as currently done for lower-pressure experiments (SEM with EBSD, TEM with associated tilting and diffraction techniques).  Decompression artifacts (cracks, dislocations, twinning, inversion to metastable phases, vitrification, etc.) will be complications but can be overcome. Materials that cannot be quenched will require in situ techniques such as X-ray measurement of pole figures to measure lattice preferred orientation (LPO), but significant strains will be necessary to develop such LPOs and interpretation of flow mechanisms from LPOs is not necessarily unique.

A stroke of good luck is that MgO is stable under all conditions in Earth’s mantle, hence it becomes an ideal material with which to begin and to develop appropriate techniques.  However, the rheology of MgO is particularly sensitive to specimen preparation procedures (especially surface preparation), hence reproducibility may initially be a problem. The good news in that is that once such problems are solved for MgO, they will be easier to address in other phases. Also, comparison of DAC experiments with germanate, titanate, or other silicate analogues deformed in the multianvil will be helpful. Collaboration with members of the deformation community who already have or are currently experiencing similar problems at lower pressures can avoid many blind alleys.

Texture information from radial DAC experiments and relevance for deep earth geophysics, illustrated with examples

H.-R. Wenk

Dept. Earth and Planetary Science, U.C. Berkeley

With diamond anvil cells in radial geometry diffraction images reveal immediately elastic and plastic deformation of polycrystalline samples. The plastic deformation may result in texture development if the material deforms by slip or mechanical twinning or if grains have a non-equiaxed shape. Texture is revealed by intensity differences on Debye rings between parallel and perpendicular to the compression direction. Images (CCD or image plate) can be used to extract quantitative texture information. Currently the most elegent and powerful method is a modified Rietveld method as implemented in the software package MAUD. From texture data one can evaluate the homogeneity of strain in a diamond anvil cell, the strain magnitude and deformation mechanisms, the latter by comparing observed textures with results from polycrystal plasticity simulations. Some examples such as olivine, MgSiO3 perovskite and -iron will be discussed.

Mechanical properties of tantalum under high pressure

Agnès Dewaele and Paul Loubeyre

DIF/DPTA, Commissariat à l’Energie Atomique

91680 Bruyères-le-Châtel, France

We present here an approach that allows to measure the mechanical properties under pressure in a diamond anvil cell. It is based on the x-ray diffraction measurement of the stress state of a single crystal and on the interferometric measurement of its plastic strain. It is almost the exact transposition in the diamond anvil cell of the geometry of the mechanical experiments that are usually performed at ambient pressure. The confrontation of single crystal yield strength measurements at very high pressure with theoretical predictions has thus been achieved. The intrinsic effect of pressure on the yield stress is less dramatic than what has been published before. In fact, the Steinberg-Cochran-Guinan model is valid with two parameters that fall within their various experimental determination at ambient pressure. A better understanding of coupled pressure and plastic strain effects should be possible by carrying out similar measurements in different pressure-plastic strain domains.

Strength of Hydrous Phase at High Pressures

Sean R. Shieh

Department of Earth Sciences, University of Western Ontario, Ontario, N6A 5B7

Thomas S. Duffy

Department of Geosciences, Princeton University, Princeton, NJ 08544

Eiji Ohtani

Institute of Mineralogy, Petrology, and Economic Geology, Tohoku University, Sendai 980-8578, Japan

Boris Kiefer

Department of Physics, New Mexico State University, Las Cruces, NM 88003

High-pressure strength study of hydrous phase will be helpful for understanding the convection of Earth’s interior but, however, limited data are available.  Two hydrous materials, phase D and brucite, were individually examined using radial x-ray diffraction method, together with lattice strain theory in a diamond anvil cell.  Phase D can be thermodynamically stable at lower mantle conditions, and brucite serves as a proto-type of magnesium-bearing hydrous phase.   Phase D was compressed to 58 GPa at room temperature.  The ratios of differential stress to shear modulus are 0.006(5)-0.034(23) for phase D at pressure from 9 to 58 GPa.   Brucite was compressed to 62 GPa at room temperature.  The ratios of differential stress to shear modulus are 0.017(4)-0.053(17) for brucite at pressure from 14 to 62 GPa.  Our results show that brucite has slightly higher ratios of differential stress to shear modulus values than those of phase D but are still similar to other six-coordinated silicates such as silica and CaSiO3 perovskite.    The yield strength for phase D is 0.7(7)-6.3(4.4) GPa in the pressure of 9-58 GPa and for brucite is 1.3(3)-8.2(2.7) in the pressure of 14-62 GPa.   Our yield strength results suggest that brucite is slightly stronger than phase D at pressures to 62 GPa.

Future development for DAC radial diffraction studies

Haozhe Liu

HPCAT, Carnegie Institution of Washington, Bldg. 434E, APS, Argonne National Laboratory, Argonne, IL 60439

Understanding the deep earth is dependant on our knowledge of the crystalline structures and properties of minerals at pressures and temperatures consistent with the environments of lower mantle and core. High pressure powder diffraction using diamond anvil cell (DAC) techniques is a unique way to approach these conditions. The current state-of-the-art DAC techniques combined with synchrotron x-ray diffraction (XRD) make powder diffraction studies under high pressure one of most active, burgeoning fields in the COMPRES community. By taking advantage of the feature of deviatoric stress in DAC, radial diffraction measurements add a possibility to simulate the deformation behavior of minerals during the Earth’s long history. We are just beginning to explore this field where major discoveries are yet to be made. The elastic anisotropy, strain and stress, yield strength, preferred orientation etc. information could be obtained by using radial diffraction techniques in DAC. The future development within one year frame, mainly from technology point of view, will be focused in this talk. These will include the motor driven revised panoramic DAC development, gasket technology continually optimization, development rotational laser heating system at HPCAT for DAC radial diffraction studies. Other technical developments include of rotational DAC and dynamic DAC techniques combined with the in situ laser heating under high pressure, data analysis software improvement will be also discussed. These future developments will further push the technological frontier of rheology and elasticity studies in DAC, further broaden COMPRES community access to the DAC radial diffraction studies.

Radial X-ray diffraction in the DAC and Drickamer cell

# Takehiko Yagi

## Institute for Solid State Physics, University of Tokyo

Radial X-ray diffraction provides unique information which is difficult to obtain with a conventional diffraction. In the DAC, it is possible to observe the full circle of the Debye ring and using proper analysis, we can get various information on the elastic and plastic property of materials. Recent improvements of the X-ray transparent gasket made it possible to obtain very high quality data, and the fine structures of the deviation form hydrostatic compression are now clearly observed. Radial diffraction is also a powerful tool to study the high-pressure behavior of highly anisotropic material. An example of the graphite-diamond transition at room temperature will be presented. For the high-temperature experiments, Drickamer-type apparatus has the advantage because we can heat the sample stably and uniformly using resistance heater embedded in the sample chamber. Various examples of this kind of study will be presented.

Deformation experiments using RDA under the transition zone conditions and the challenges in rheological experiments under deep Earth conditions

Shun-ichiro Karato

Department of Geology & Geophsyics, Yale University

One of the important differences between rheological properties and other static properties such as elastic constants is that there is no such a thing as “the plastic strength” of a material at a given P-T conditions. Rheological properties are controlled (usually) by thermally activated motion of crystalline defects and consequently even at a given P-T condition, one can see a wide range of rheological properties depending on (i) the rate of deformation (or stress level), (ii) chemical environment (i.e., water fugacity), and (iii) microstructures (i.e., grain-size). This applies both to the measurements of creep strength (viscosity) and the study of deformation microstructures such as lattice-preferred orientation (LPO). In addition, in the study of deformation microstructures such as lattice-preferred orientation, we need an apparatus by which large strain deformation experiments can be conducted.

An apparatus has been designed and developed in our group to study both creep strength and lattice-preferred orientation under deep mantle conditions. This is a RDA (rotational Drickamer apparatus) that has a rotational actuator attached to a Drickamer-type high-pressure apparatus. We chose this type of apparatus for two reasons: (i) the support for anvils in this design is identical between static and dynamic experiments and there is a good support for anvils due to the geometry of anvils and gasket, and hence one can go to higher pressure than other designs, and (ii) because of the geometry of deformation (torsion tests), large strains can be achieved that is critical to the study of “steady-state” creep strength as well as the study of lattice-preferred orientation.

The RDA has been operated at synchrotron facility at NSLS (Brookhaven) to obtain the stress-strain curves for mantle minerals such as olivine and wadsleyite. I will report some of these results and discuss challenges in the quantitative rheological experiments.

Do Reuss and Voigt bounds really bound in rheology experiments?

Jiuhua Chen, Li Li, Tony Yu, Hongbo Long, Donald Weidner

Mineral Physics Institute, Stony Brook University

X-ray diffraction has become the most powerful tool to assess the stress experienced by a bulk sample at ultrahigh pressures. However, x-ray diffraction actually measures lattice strains of individual crystallographic orientations. To derive the stress externally applied to the bulk sample, one needs to model the stress/strain propagation through the grain-to-grain contact in the bulk sample. Most popular method of the modeling is to use Reuss and Voigt bounds. Reuss bound describes an extreme condition (iso-stress) under which all the grains in the bulk sample experience identical stress when forces are applied to the sample, while Voigt bound describes another extreme (iso-strain) that all the grains experience the same strain when the bulk sample is deformed under stress. An intermediate condition is described then expressed by combining the bounds with a weight parameter k (0<k<1, k=1 and k=0 being the Reuss and Voigt conditions respectively). High pressure rheology experiments in a multi-anvil press demonstrate that once plastic deformation occurs in the sample, the Reuss and Voigt boundary conditions are no longer valid. Data on fayalite sample indicate that if this model is used to assess that sample stress the weight parameter k can go beyond the 0<k<1 range. A better model needs to be developed for ultrahigh pressure rheology experiments.

Can we determine flow laws under ultrahigh pressures?

Yanbin Wang, Norimasa Nishiyama, Takeyuki Uchida, and Mark Rivers

Center for Advanced Radiation Sources, the University of Chicago

5640 S. Ellis Ave., Chicago, IL 60637

Rheology, the science of the deformation and flow of matter, is concerned with macroscopic strain () and stress () relations of materials at various conditions of chemical environment (e.g., oxygen fugacity, fO2 , and water content, fH2), pressure (P), temperature (T), and strain rate. In order to establish a flow law, all of the aforementioned quantities, as well as sample attributes (e.g., composition, x, and grain size, d), must be carefully controlled and accurately measured.  A particular challenge in conducting rheological studies at high P and T has been the difficulty in controlling and measuring these parameters.  Recently developed deformation DIA (D-DIA) offers an opportunity to push the P-T envelope of rehological studies to conditions corresponding to the mantle transition zone.  In this presentation, we will use a few examples to illustrate some recent advances in the D-DIA towards quantitative rheology at high P and T.  Remaining challenges will also be discussed. A possible combination of LVP and DAC techniques for ultrahigh pressure deformation studies is proposed.

## Poster session

## Nonhydrostatic compression of gold powder to 60 GPa in a diamond anvil cell: Estimation of compressive strength from x-ray diffraction data

## A. K. Singh1(, H. P. Liermann2, S. K. Saxena2, H. K. Mao3 and S. Usha Devi1

# 1 Materials Science Division, National Aerospace Laboratories, Bangalore 560 017, India.

# 2 Center for Study of Matter at Extreme Conditions (CeSMEC), Florida International University, Miami, FL 33199, USA.

# 3 Geophysical Laboratory and Center for High Pressure Research, Carnegie Institution of Washington, Washington DC 20015, USA.

Gold powder was compressed without any pressure-transmitting medium in a diamond anvil cell and the pressure increased in steps of (5 GPa. X-ray diffraction patterns were recorded at each pressure. The difference between the axial and radial stress components t was estimated from the shifts of the diffraction lines. The grain size (crystallite size) and maximum micro-stress in the crystallites 2pmax were obtained from the analysis of the line-width data. The results indicated that t=2pmax. The grain size decreased whereas t and 2pmax increased with increasing pressure. The grain size decrease was much larger than what is expected purely from the compressibility effect and arises due to the deformation during nonhydrostatic compression. In many earlier studies, t has been taken as a measure of the compressive strength. However, a comparison of t with the strength derived from an independent method has not been attempted in the past. In this work we compare t with the compressive strength derived from the hardness versus grain size data at ambient pressure. This comparison shows that t is a good measure of compressive strength. The grain size dependence of strength is well known in case of the ambient pressure measurements but has been largely ignored in the high-pressure studies. The changes in grain size during nonhydrostatic compression should be taken in to account while interpreting the strength-pressure data.

Synchrotron diffraction study of the pressure-induced transitions in PbTe- and PbSe- ternary compounds

Sergey V. Ovsyannikov*, Andrey Y. Manakov1, Alexey I. Ancharov2, Anna Y. Likhacheva1, M. A. Sheromov3, Ivan F. Berger, Vladimir V. Shchennikov, Yuri S. Ponosov

High Pressure Group, Institute of Metal Physics of Russian Academy of Sciences, Urals Division, GSP-170, 18 S. Kovalevskaya Str., Yekaterinburg 620041, Russia, highpressgroup@mail.ru, 1 A.V. Nikolaev Institute of Inorganic Chemistry of Russian Academy of Sciences, Siberian Division, Novosibirsk 630090, Russia, 2 Institution for Solid State and Mechanical Chemistry of Russian Academy of Sciences, Siberian Division, Novosibirsk 630090, Russia, 3 Institute for Nuclear Physics of Russian Academy of Sciences, Siberian Division, Novosibirsk 630090, Russia

The structural phase transformations have been investigated both in ternary Pb1-xSnxTe (x=0.29), Pb1-xMnxTe (x=0.05), Pb1-xSnxSe (x=0.125), and in non-stoichiometric compounds Pb0.45Te0.55,  Pb0.55Te0.45,  at pressures up to 13 GPa with assistance of short-wave ((=0.3675 Å) synchrotron radiation of the VEPP-3 accelerator (INP SB RAS, Novosibirsk). The diffraction patterns were registered by the Image-plate detector MAR-345. A diamond anvils cell (DAC) with a culet of ~ 1 mm was used for pressure generation in a liquid medium (ethanol + methanol). A value of pressure was estimated by the ruby luminescence pressure scale [1] as well as by a shift of Ag diffraction peaks. In the comparative high-pressure Raman measurements the transition in Pb1-xSnxSe (x=0.125) was observed also.

|  | The crystals taken (Pb1-xSnxTe (x=0.29), Pb1-xMnxTe (x=0.05)) exhibited a difference in high-pressure thermoelectric power properties measured in the synthetic DAC [2-3] (Fig. 1) that was a motivation for the present study. In the Pb1-xSnxTe (x=0.29), Pb1-xMnxTe (x=0.05) compounds the phase transformation was observed from NaCl to distorted NaCl lattice (orthorhombic Pnma structure) [4] above ~ 6 GPa. The lattice parameters of both the initial and the high-pressure phases were estimated by fitting of full profile of diffraction spectra. Preliminary analysis of a transient high-pressure phase in the Pb1-xSnxSe (x=0.125) did not confirm a Pnma lattice, but revealed a similarity with GeS one. At present the patterns for non-stoichiometric compounds are deciphered. |
| --- | --- |

The work was supported by the Russian Foundation for Basic Research (Gr. No. 04-02-16178) and by the INTAS (Nr. 03-55-629).

- M.I. Eremets. High Pressure Experimental Methods, Oxford-New York-Tokyo, Oxford University Press, 1996.

- S.V. Ovsyannikov, V.V. Shchennikov, Y.S. Ponosov, et al – J. Phys. D: Appl. Phys. 37 (2004) 1151.

- S.V. Ovsyannikov, V.V. Shchennikov. – physica status solidi (b) 241 (2004) 3231.

- G. Rousse, S. Klotz, A.M. Saitta, J. Rodriguez-Carvajal, M.I. McMahon, B. Couzinet, M. Mezouar. – Phys. Rev. B 71 (2005) 224116-6.

High pressure behaviour of brucite and serpentine

Mainak Mookherjee and Lars Stixrude

Department of Geological Sciences,

University of Michigan, Ann Arbor, MI 48109

mainak@umich.edu

We explore the structure and physical properties of brucite and serpentine over a wide range of pressures with density functional theory using the variable cell shape plane wave pseudopotential method in the local density (LDA) and generalized gradient (GGA) approximations.  We use brucite as a starting model for MgO-SiO2-H2O ternary system. We are now extending our study to structurally more complex serpentine, which is extremely important in subduction zone environments.

In brucite, we probe the energetics underlying the structure and dynamics of the proton sub-lattice by performing a series of constrained and unconstrained static calculations based on an energetically stable  super-cell wherein proton locations are related to the 6i Wyckoff sites as opposed to the ideal 2d site. The displacement of the hydrogen from the 3-fold axis increases with increasing pressure.  This means that even in the absence of thermal energy, the protons are frustrated and would be expected to exhibit long-range disorder akin to a spin glass.  In order to shed light on the dynamic nature of the proton hopping between the 6i-like sites, we have determined the activation energy barrier for such jumps. We find that the energy barrier increases with compression, possibly indicating a transition from dynamic proton disorder at lower pressures to static disorder at higher pressure. We have also investigated the possibility of proton jumps across the interlayer, by determining the potential energy well along the O…O vector. We infer that proton jumps across the interlayer are either severely limited or highly cooperative since we do not find any evidence of a double well along the O…O vector.  The absence of a double well along the O…O vector, the evolution of O-H…O distances with compression and the gradual transition to a symmetric O-H…O configuration, all argue for weak hydrogen bond.

Application of Radial X-ray Diffraction to Determine 
the Hydrostatic Equation of State and Strength 
of TiB2 up to 60 GPa

George M. Amulele, Murli H. Manghnani
 
Hawaii Institute of Geophysics, University of Hawaii, Honolulu, HI 96822, U. S. A.

Maddury Somayazulu, Haozhe Liu

Advanced Photon Source, Argonne National Laboratory, Chicago IL 60637, U. S. A.

Room temperature investigations of the shear strength of hexagonal TiB2 have been performed in order to determine the hydrostatic equation of state of the material up to 60 GPa using radial x-ray diffraction in a diamond anvil cell. We have analyzed the deformation mechanisms under pressure by analyzing the (001) and (100) peaks in the powder diffraction data, and we have deduced the hydrostatic equation of state of TiB2. The uniaxial stresses in the (100), (001) and (101) diffraction planes show large pressure dependence indicating a significantly large anisotropy in the material. The stress in the (001) plane shows the largest increase with pressure and reaches a maximum value before the other planes, indicating an initial activation of slip in the (001) plane at the onset of plastic deformation. Compared to gold, the averaged uniaxial stress component in TiB2 is almost 27 times as large at the maximum loading pressure, 60 GPa, achieved in the experiment.

# Footnotes

( Corresponding author:

A.K. Singh, E-mail address: aksingh@css.nal.res.in