U.S. DEPARTMENT OF HEALTH AND HUMAN SERVICES

+ + + + +

FOOD AND DRUG ADMINISTRATION

+ + + + +

CENTER FOR DEVICES AND RADIOLOGICAL HEALTH

+ + + + +

SARS DIAGNOSTICS:

SCIENTIFIC AND REGULATORY CHALLENGES

+ + + + +

PUBLIC MEETING

+ + + + +

MONDAY

JULY 14, 2003

+ + + + +

The Public Meeting was held in The Plaza Ballroom, Double Tree Hotel and Executive Center, 1750 Rockville Pike, Rockville, Maryland, and called to order at 8:00 a.m., Dr. David Feigal, Jr., CDRH Center Director, presiding.

PARTICIPANTS:

LARRY ANDERSON, MD	      NCID, CDCP

DAVID FEIGAL, JR., MD, MPH  CDRH, FDA

MARIA Y. GIOVANNI, Ph.D.    NIAID/NIH

MARK GOLDBERGER, MD, MPH    CDER/FDA

STEVE GUTMAN, MD	      CDER/FDA

JIM KOZIARZ, Ph.D.	      Abbott Laboratories

LINDA LAMBERT	      NIAID, NIH

MURRAY M. LUMPKIN	      FDA

MARK MCCLELLAN, MD, Ph.D.   FDA

JOSHUA METLAY, MD, PH.D.    CCEB

PARTICIPANTS: (Continuing)

JANET K.A. NICHOLSON, Ph.D. NCID

DAVID NORWOOD, Ph.D.        U.S. Army Medical Research

Institute of Infectious

Disease

STEPHEN OSTROFF, MD         NCID, CDCP

MALIK PEIRIS                University of Hong Kong

Queen Mary Hospital

BETTY H. ROBERTSON, Ph.D.   NCID, CDCP

PATRICIA A. SOMSEL, Dr.P.H. NICP & Biological Products

MARIA ZAMBON, BM, BCH, MA   Enteric,

Respiratory & Neurological                              Virus Laboratory

STAFF:

VICKI BABB, Pharm.D.	CDRH, FDA

MONICA CANCINO	CDRH/FDA

SHIRLEY MEEKS         CDRH/FDA

JENNIFER L. WEBBER    LCG, Inc.

I-N-D-E-X

Opening Remarks -- Mark McClellan	4

Elements of FDA Review for a New Diagnostic	18

Assay -- Steve Gutman

Session I -- Evaluation of SARS Diagnostics

Steve Gutman, Moderator

Experience with SARS Laboratory	29

Diagnostics, Malike Peiris

Laboratory Testing in China, Wang Youchun	39

UK Experience, Maria Zambon	49

Real Time Under IDE -- CDC's PCR and	67

ELISA Investigational Protocols, Betty Robertson

Evaluating a New Diagnostic Assay:	76

Industry Perspective, Jim Koziarz

NIAID Funding Opportunities, Maria Giovanni	90

Session II -- Incoporating Diagnostic Testing

into Clinical and Public Health Practice

Mark Goldberger, FDA

Clinical Perspective, Joshua Metlay	119

Public Health Perspective, Stephen Ostroff	136

Session III -- Specimen and Control Materials for

Test Development and Evaluation

Janet Nicholson, Moderator

WHO Agenda for Test Development and	158

Evaluation, C.E. Roth

Experience with Collecting and Banking	173

Specimens, Larry Anderson

Specimen Handling, Patricia Somsel	183

Using Non-Human Sourced and Banked Human	199

Specimen Material, David Norwood

Research Sources, Linda Lambert	209

National Taiwan University Hospital	231

Pei-Jer Chen

Partnerships: Round Table	245

Wrap Up and Adjourn	320

P-R-O-C-E-E-D-I-N-G-S

COMMISSIONER McCLELLAN: -- to new diseases with timely development of diagnostics and therapeutics as well as public health control measures.  And we're here today to try to do some work towards more enduring solutions to these problems that I think are going to be with us for quite a while to come.

The best defense against any outbreak is robust science and public health practice that can be applied effectively into safe and effective treatments as quickly as possible.  More attention and resources need to be devoted to this end, and we need to recognize that effective strategies will require building on the kinds of global coordination and partnerships around the world that have been in many ways a hallmark of the response to this illness.

Since the very beginning of the SARS outbreak, the professional staff at FDA and the professional staff throughout the Department of Health and Human Services in the U.S. government have worked hard and quickly to help contain it.  I'd particularly like to acknowledge the work of the Centers for Disease Control, Dr. Ostroff is here today with us, on both themselves and with the World Health Organization and other public health authorities in disease containment and identifying and responding to this new threat, as well as the National Institutes of Health, particularly the National Institute of Allergy and Infectious Diseases, and many other federal government agencies as part of HHS as well; USAMRIID, Department of Defense have also contributed.

As a result of all of these efforts, both here in the United States and around the world, we identified the etiologic agent for this illness and implemented some quite effective, largely voluntary quarantine measures for its containment.  Also, we've made some real progress toward reliable, quick and easy to use diagnostic tests with private developers building on some of the early insights from the government labs and research work related to diagnosing the disease.

After SARS was first identified, our Center for Biologics here at FDA immediately issued guidance on blood screening to take account of the potential implications of SARS for blood exposure, and in many other ways we were working as part of a broad coordinated international effort, for example, working with the CDC and private developers of diagnostic tests to help support the rapid development of SARS diagnostics.

This is part of a broad and coordinated international effort from people around the world joining to identify the etiologic agent and develop hopefully diagnostic tests and reliable treatments in a timely way as well.  We're not there yet, there's still a ways to go.  We need to move from the concepts that we've proven about this virus to the development of safe and effective treatments.  This is a complicated process that will require coordinated efforts across many different disciplines, but I'm quite hopeful that we'll succeed.

We've made a significant amount of progress already.  Already a number of first generation tests, including a relatively quick PCR test developed by the Centers for Disease Control and subsequent versions of PCR developed by private companies, are able to probe for viral presence in serum samples.  And, in addition, viral culture tests and ELISA tests for comparing acute and convalescent sera have been developed as well.  These latter tests are clearly important for epidemiologic purposes, but obviously for clinical benefits, a rapid and reliable test that can be used in the acute phase of the illness is most important for guiding therapy as well as other public health decisions.  Even though no specific therapies have yet been fully demonstrated to be beneficial for SARS patients, rapid and accurate diagnosis would be useful for ruling out other illnesses that might require different treatments and would also be useful for targeting public health measures efficiently, for example, in avoiding unnecessary quarantines or delays in travel and international commerce.

The FDA has worked closely with the CDC, NIH and leaders from across the globe in putting this program together today to help us address the next steps on these issues.  And, again, we're very grateful for everyone's effort, including researchers who have traveled here from a very long way away to help make this event possible.  And we hope that it can serve as an important step forward for international collaboration on other global health problems.

In the case of SARS, the need for sharing information and specimens and the need for close collaborative work between governments and industry from around the world was quite self evident from the very beginning.  And so as a result, we held a meeting early between Secretary Thompson and leaders from the medical diagnostics community and we were charged by the Secretary as part of that meeting with sponsoring with this follow-up workshop to allow for open public discussion of the issues as a way of formulating a more effective plan for the next steps in making reliable diagnostic tests available.

This is not something that's completely new for FDA.  Our experience with the West Nile virus provides a model for how we can go forward here, although there are some important differences as well.  In the case of West Nile virus, a major public health threat that emerged in full force last year, our Center for Biologics worked closely with the blood and diagnostics industries in order to facilitate the development of what are now widely available investigational tests for West Nile virus.  This is going to allow us to screen the entire U.S. blood supply within only nine month of the initial steps towards the development of these tests.

The model for accomplishing this included early communication and scientific exchange with industry to identify our priority public health needs and to encourage interest and engagement of appropriate industry expertise.  In addition, the use of workshops very much like this one today as well as continued close interactions with product developers on both the private sector and the public sector helped establish some suitable product specifications and methods that were widely accepted for validating potential diagnostics.  And we also helped assure the availability of needed samples of strains and reagents.  Each of these elements in our West Nile virus response was critical.

The FDA's Center for Devices has also worked closely with industry to quickly and thoroughly evaluate and approve a new diagnostic test for West Nile virus, a test that now provides this capacity for a same-day result.  And we're looking for the same kinds of progress in SARS.  We're looking forward to achieving the same kinds of results.  We recently allowed an investigational device exemption, an IDE, to proceed to allow the availability through CDC of investigational SARS diagnostic testings.  So all of us by working together are making some real and rapid progress on SARS diagnostics.

But as you know, there are a number of remaining challenges when it comes to developing accurate and reliable diagnostic tests for SARS.  First, it's been difficult for diagnostic test developers to get access to standardized samples for test validation.  I hope we can continue to work on ways to improve our ability to meet this challenge.  If SARS reemerges this coming winter or at some other time in the future, most of the samples that would be needed for further test development are unlikely to be from the United States, yet the disease may potentially have worldwide impact in a short time period, including here in the States.

We may well need to work with samples that have been spiked with virus in lieu of real, well-collected samples from actual patient cases in the meantime.  We also need to determine what standard capabilities should be demonstrated for a test to gain regulatory approval given the various strains of the virus, various samples out there and the possibility that the virus or the sampling needs may change further.  We probably need a standardized panel of virus samples to test prospective diagnostics in order to validate the results, and if that's the case, we need to decide what the panel should include, or, if not, what alternative standards for test approval should be developed for benchmarking.

We need to determine how much clinical benefit must be needed for approval of a new test.  In that meeting that I mentioned between the Secretary and some private companies, for example, they expressed a desire to focus an initial approval decision on analytic sensitivity claims for detecting a virus.  And given the clinical characteristics of this disease, a test must be able to detect a small number, a small viral titre.  This would presumably be used for an initial approval in labeling and then further field studies would be done after that initial approval with appropriate modifications to be made on the labels.  Is this a possibility that we want to pursue?  Well, if so, we need to more fully delineate the approach.

Many other issues come up as well.  One that was mentioned prominently by product developers in our discussions with them was reimbursement.  An extensive discussion of this issue is probably well beyond the scope of today's meeting.  However, it's clear that the more validated and well-accepted a new test is the easier it will be for that test to obtain reimbursement.

So these are just a few of the remaining questions that have brought us together here today.  I'm confident that our work here will take us in useful new directions towards resolving these challenges, and I hope that the exchange of information about diagnostic test development and resources today will enable us to refine and further develop the diagnostic tests we brought to market.  Thanks to a quite effective worldwide public health response, as I mentioned, SARS is on the decline right now, but it could very well return.  And this is not the last serious new infection we're likely to face.  We need to recognize that SARS is only one of a series of new and potentially deadly infectious diseases that have emerged and that may emerge in the years ahead, not to mention old diseases that have resurged often in new and more frightening forms as a result of developed drug resistance.  And still worse, we live in an era when we need to think seriously about the potential for intentional use of biological agents as weapons of harm, possibly even with genetically engineered organisms produced to enhance their lethality or infectivity.

And so with a smaller and closer and in some ways more dangerous world from the standpoint of infectious diseases, we all need to be better prepared, not just to identify the etiologic agent when a new infection emerges, but to develop effective diagnostic tests and therapies as well.

Several decades ago there was a lot of optimism that the threat of infectious diseases was receding as a result of technological advances, including new types of antibiotics as well as effective vaccines along with improved sanitation.  This was especially true in the industrialized world.  We know today that that optimism in many cases was premature.  It didn't take into account many critical factors such as the huge increases in international travel, immigration and trade or the movement of people into urban settings where the opportunities for disease spread are amplified.

Our optimism didn't take into account changing agricultural practices and environmental manipulations that alter disease vectors and alter opportunities for exposure.  It didn't take into account the continuing difficulties in translating existing medical knowledge and tools into effective action, effective diagnostic and therapeutic treatments for those who need it.  And it didn't take into account the resilience and adaptability and new forms that have emerged in the microbes themselves.

So as we enter the 21st century, infectious diseases continue to burden people around the world.  These infections hold increasing potential to cause sickness, disability and death unless we fine new and more effective ways to respond.  The ability of infectious agents to destabilize populations, to have major economic impacts as well as to cause significant loss of life and morbidity is fast becoming an unfortunate fact of life.  One nation's problems in this regard soon become every nation's problem.

Over the past decade, we've taken a number of steps in the United States to strengthen our capacity to address the threats posed by infectious agents, but the present reality is that we have more to do.  Looking ahead, we need to realize that public health is public safety and an essential part of our national and international security programs.  There have been dramatic advances in science, technology and medicine which have permitted great strides forward in our ability and our struggle to prevent and control infectious diseases, yet we need to do more.  The emergence of SARS, a previously unidentified microbial threat is an example of our continuing vulnerability.

So we've learned from SARS already that surveillance is critical, that surveillance works, early detection of a pattern of symptoms early enough to contain it has given us a degree of control in just a matter of months for this disease.  But we also know that we still have more to learn about the disease so that we can develop the tools needed to prevent and contain it.

What was different this time with SARS is that there were only a few cases in the U.S. and only a limited number of cases by many infectious disease outbreak standards worldwide.  And so while our public health measures for containment have been quite effective, it's been challenging to take the steps needed to develop and validate diagnostic tests.  This challenge is likely to apply not only in identifying a new coronavirus like SARS but also in developing diagnostic tests in a timely fashion for other new and emerging infectious diseases in the future.  This won't be the last time we face a deadly new infection.  Improved and rapid international collaboration in test development standards is an essential part of speeding that life cycle along beyond the stage of disease containment and making sure that we can provide effective diagnoses and treatments.

And so we need to work now to create a system that will really work and so that we can be prepared for the next attack, whether it's a natural one or an act of terrorism or something in between.  Our continued efforts to identify and contain SARS remind us that we must always be ready today for the unexpected health threats of tomorrow.  And while it's never going to be possible to fully prepare for every potential threat, there's a great deal that can and should be done.

So like David mentioned earlier, I view this conference as a very important step, not only from the standpoint of SARS but also from the necessary goal of improving our ability to work together worldwide to speed the development of reliable and effective and inexpensive diagnostic tests.  It's an essential step in disease containment and it's a step that we're going to need to make sure it can work more effectively in the years ahead given the public health challenges that we face.

I want to thank all of you again for coming and very much look forward to hearing about the results of this conference as we continue to work together worldwide to meet the important public health challenges of emerging infectious diseases.  Thank you.

(Applause.)

MR. GUTMAN:  Good morning.  My name is Steve Gutman.  I'm in the Office of In Vitro Diagnostics.  I would like to start by thanking the Commissioner and Dr. Feigal for being the spark behind this meeting, members of the Office of In Vitro Diagnostics and members of Dr. Feigal's central office in particular, Vicky Babb and Cassie Miller, for being the fuel behind this meeting, and like the Commissioner, I would like to thank all of you for coming, some from rather long distances and all on rather short time to participate in this meeting.

In spite of what is nothing short of an explosion in knowledge about SARS since the first reports early this year, it is fair to say that there are still many unknowns about this disease and its pathogens.  Evaluations of laboratory diagnostics for SARS, as has already been pointed out, has been challenging, in part, by non-specific and changing case definitions, by specimen availability and access problems, by the urgency of the public health needs and by the complex spectrum of diagnostic needs.

From the FDA perspective, products for SARS coronavirus are Class III devices.  These are high-risk devices because the results are used to communicate information for managing a highly contagious virus causing a potentially fatal disease with many unanswered questions.  There are no obvious predicates, and use of these devises raises new issues of safety and effectiveness.  From the FDA perspective, ASRs for SARS would also be Class III because they are used in the diagnostic of a contagious condition that is highly likely to result in a fatal outcome, and accurate diagnosis offers the opportunity to mitigate the public health impact of the condition.

To date, as the Commissioner has already pointed out, FDA's experience has been interacting with firms and entities in the investigational stage of development.  There are, to remind you, a variety of different levels of oversight in FDA regulation of investigational diagnostic devices.  Depending on the device, the nature of the investigation in place and the impact and use of test results generated, IVD investigations may require an investigational device exemption or IDE subject to FDA review, may require an abbreviated IDE subject to local IRB review or may in fact be IDE-exempt.

We have, as the Commissioner pointed out, approved one highly visible IDE from CDC for a nucleic amplification assay.  The two agencies worked closely and collaboratively on this IDE.  As a result, what is underappreciated is the fact that an approvable letter was issued the day after receipt of this submission.  Reagents for a CDC ELISA assay are also being used under IDE, in this case an abbreviated IDE.

So the FDA experience would belie the notion that IDEs are particularly burdensome.  Neither the patient safety controls put into place by an IDE nor the protocols inherent in ensuring proper data collection are unique to the IDE process.  It would be our view these are core requirements for good investigational practice in the year 2003 with or without FDA regulation.  And the IDE, in fact, offers unique opportunities for investigational use of a new test.  Two perks are allowance for both cost recovery and potentially for rather broad use by sponsors with a provision of expanded treatment access.

While there are a wide menu of regulatory tools available to FDA, the fundamental issues focus on the safety and effectiveness of a new diagnostic device.  Both of these terms are actually defined in our Code of Federal Regulations.  Safety is the reasonable assurance that the probable benefits to health from use of the device outweigh any probable risks.  And effectiveness is the reasonable assurance that use of the device for its intended use and conditions of use will provide clinically significant results.

For in vitro diagnostics, there is a unique synergy between these two terms.  The safety of a diagnostic device is not related to its interaction or contact with a patient per se, it is instead a function of the impact of the information generated; that is, a balance between the benefits and risks of true versus false positive and negative results.

The flexibility for FDA to consider various kinds of scientific evidence in making decisions about the safety and effectiveness of a new diagnostic may also be underappreciated.  While the scientific evidence presented is most commonly well controlled investigations or observations, other evidence can be used, including partially controlled studies, studies and objective trials without match controls, well documented case histories conducted by qualified experts, results of significant human experience or any combination of the above.

New assays are usually developed using a scientifically and acceptable and carefully designed two-stage approach.  First is the process of procedural optimization.  This requires that all elements of the assay be carefully defined and that feasibility studies be performed to gather a knowledge base to set up appropriate cutoffs, controls and challenges appropriate for the assay.  Second is the proof of concept or performance evaluation performed to help define performance, that is safety and effectiveness.  This two-stage approach allows for proper labeling and informed product use.

Among the most important parameters that need to be set up-front in designing a new assay are the target organism or analyte, the intended use and the technology to be applied.  These are critical to both the optimization phase and to the proof of concept for an assay, and they're key factors in determining appropriate study design and minimum data requirements.  Additional important parameters in defining an assay are the samples to be used, the methods and materials to be employed and the endpoints of interest.

Feasibility studies should be grounded in knowledge of the biologic nuances at play.  One cannot cogently understand the analytical strengths and weaknesses of an assay without also having knowledge of levels of analyte expected to be seen during the course of a disease.  Questions central to feasibility studies include the ability of an assay to detect analyte in a clinically relevant range, to detect analyte variance of the organism, to distinguish the analyte from other non-analyte organisms and to yield reproducible results.  These types of studies can often be performed using contrived or spiked samples, using banked samples and/or using carefully selected clinical samples.

Once estimates of performance have been established in feasibility studies, the proof of concept is ideally sought.  To ensure that proof of concept studies adequately provide insight into real-world performance, optimal studies should be done using real-world operators, real-world samples and carefully defined yardsticks for truth.  This allows for estimates of sensitivity and specificity of test results and for reasonable assessment of interpretive criteria.

Once common core scientific principles are addressed, studies for any particular methodology may require a whole accompanying set of unique issues.  For nucleic acid amplification technologies, challenges include issues of inhibition, contamination and characterization of performance against appropriate standards.  For direct antigen testing, issues of specimen preparation and dealing with background, straining or interference may be unique and problematic.  For serological testing, obviously the timing of collection and the natural and unnatural fluctuations in antibody appearance may be of special interest.

The most common question FDA is asked on the development of new diagnostics and the most problematic question is how many samples is enough samples to provide enough information to characterize performance?  This is unfortunately sometimes akin to the question, how many angels can dance on the head of a pin?  There is unfortunately not always a single or pat answer to the numbers question.  The number of samples required to characterize a new assay depends on statistical and biological variables, including the pre-knowledge of clinically useful endpoints, clinically required level of confidence, the ability to account for biases and any design limitations that might be identified.

FDA is very sensitive to the challenge of obtaining specimens with rare pathogens such as SARS but from patients with any unusual infections, and we have a long history of working with companies to design scientific valid approaches for establishing safety and effectiveness under unusual circumstances.

A major objective of the meeting today, as both Dr. Feigal and the Commissioner have pointed out, is to find mechanisms for discussing how labs, companies and interested research parties can work collaboratively to assist each other in obtaining and sharing access to specimens and in understanding the principles needed to standardize performance yardsticks.  Patient samples, which are the gold in this El Dorado, must be selected carefully, stored carefully, collected with insight in terms of understanding potential selection and/or verification bias in gathered data sets.  This will be possible only if mechanisms for conserving and sharing effectively for the greater good can be delineated.

To aid in a good evaluation of new diagnostic products, there is a rich and growing literature available for method evaluation, there are dozens of voluntary standards, and FDA has itself published dozens of guidances of use in eliciting good studies for in vitro diagnostic devices.  Nonetheless, we recognize that there are many challenges to good evaluation and many reasons to approach this area with the full intent and spirit of the law that is charging us with being least burdensome in pre-market review.  The public health stakes are high, and we are intent on charting a proper course.  We are hopeful that this workshop will provide great opportunities for dialogue that will help us collectively work towards rapid availability of diagnostic tests, not just for the detection of coronavirus but for other rapidly needed and badly needed diagnostics.

Okay.  We're going to begin Session 1.  Dr. Giovanni and I will be co-moderating that session, and we would like to ask all the session participants to please come to the front table.

(Pause.)

MR. GUTMAN:  Okay.  A couple of ground rules.  We're going to be a bit informal this morning, so we're going to ask the speakers to introduce themselves.  That way we won't garble the names, and we also won't get the affiliations mixed up.  As you may have gathered, this was put together on the fly with information coming into us literally as late as last night, and we've decided to share our moderating duties with our participants.  So that's informal.

What will be formal is the structure itself.  We're going to try and keep our participants honest men and women and keep them to ten or 15 minutes.  And Dr. Giovanni and I are going to use a hallowed new technique, which is we're going to stand up at about 15 minutes to remind them they're on shaky grounds.  And, last, we're going to ask that everyone hold their questions until the open discussion at the end.  Okay.  So you're on first.

MR. PEIRIS:  Thank you.  Good morning and thank you for the invitation to take part in this meeting.

(Pause.)

MR. PEIRIS:  Okay.  Sorry about that.  I've used up three or four minutes of my time already.  But let me just -- so let me just quickly go through the different phases that we followed during the outbreak of SARS in Hong Kong.  With the isolation of the virus and the initial partial sequence of the PG chain that was available by March 28, we already had online first generation assays for the SARS coronavirus, and that was based on RT-PCR and also indirect immunofluorescence assay using the virus grown on cell cultures.

And this summarizes results from the three major labs that were providing these diagnostic tests across Hong Kong for the Hospital Authority of Hong Kong.  Just to keep in mind that the Hospital Authority covers about 40 of the major public hospitals in Hong Kong and accounts for 90 to 95 percent of all hospital admissions, so the bulk of suspected SARS and confirmed SARS patients ended up in this public hospital network.  And the letter that is there is from the three major labs that were offering these two tests:  The Department of Health, Dr. Billy Lalim's (phonetic) lab, our own lab at Queen Mary Hospital, the Prince of Wales Hospital, John Tam and Paul Chen.

And what you can see there is that in the group of patients with confirmed SARS, this is clinically confirmed SARS, not just fitting the case definition but clinically after lack of response to antibiotics and towards the -- close to the discharge of patients, the clinicians thought that this fitted the overall picture of SARS.  And you can see that 92 percent of those patients did seroconvert  to the coronavirus.  The group that is called "other" there are also patients who were admitted and were investigated for SARS with respiratory disease and about three percent of those patients seroconverted.  The control group are true controls, meaning these were patients who admitted without respiratory problems, and none of those seroconverted to the virus.

The lower row there you can see the RT-PCR positivity, and you can see that about 63 percent of the confirmed SARS group did have one or more positive PCR results.  In the control group, what you have there are stool samples.  One positive in 180 odd stool samples from patients admitted for conditions that were not thought to be SARS and 148 throat swab samples from people coming to a general practice type of setup, again for non-respiratory diseases.

This shows the serological profile based on the immunofluorescence tests that we were using.  GAM is using a conjugate that picks up IgG, IgA and IgM, and that is the earliest one to become positive and comes up at the highest titre.  The purple line is IgA, the blue line is IgG, and on the top you have the IgM positivity, and that is after absorbing out IgG using GAL-SUB (phonetic), which is the normal procedure that we use for other tests, such as parvovirus, for example.

And, in essence, what you see is that there is no great advantage in the IgM test in relation to the early detection of virus infection, at least based on the immunofluorescence type of indirect format.  This does not mean that if you have a good IgM capture ELISA that you might not have a benefit in terms of time of diagnosis.

This is basically the same data but adding the neutralization serology there.  That's the blue line, light blue line.  And that again comes up more or less in time with the IgG, IgA, IgM response.

When we went to the PCR this was, as I said, based on the polymerase gene fragment that we had available, and this summarizes the PCR positivity in serologically confirmed patients.  And I must say at this point in time that in one sense this data is out of date because as you will see in the last few slides that we have, the sensitivity of the PCR are now much better than what you see here.  But I think it's still quite useful data because it gives you an idea of viral load, because we are using a test that is a fairly low sensitivity, so basically a positive test means a specimen that has fairly high viral load and also gives you an ability to compare between specimens to say which are the specimens that might be more -- which might have more virus than others.

So the light blue bars are the nasopharyngeal aspirates, the purple or maroon is stool, and the white is urine.  And you can see that the first four days of illness using this first generation PCR assay we could only detect virus in the nasopharyngeal aspirates at a rate of about 30 percent.  Stools become positive later, and urine later still.  In the day nine onwards time frame, then you have 70 to 80 percent or 90 percent positivity, and in that time frame stool seems to be the best specimen, and you have close to 90 percent positive in the stool in that time frame.

The other point, of course, is that you can see virus shedding going on for day 40 and you have a small number of patients between day 40 and day 50 as well.  Now, one point is that although you can detect virus by PCR over one month, by culture we have only been able to isolate virus up to about day 16.  So what that means, one could speculate that once the antibody response comes in it becomes difficult to isolate the virus, although clearly the virus is replicating in the body.

This is, again, similar data now comparing the nasopharyngeal aspirate in blue and the throat swab in maroon.  Fairly early in the course of the outbreak, because of the transmission within hospitals, there was reluctance to take nasopharyngeal aspirates, and we had to switch to using throat swabs.  But you can see there is that although throat swab is not as good a specimen as the nasopharyngeal aspirate, it is a reasonable second best option.

We had smaller numbers of other specimens -- saliva, endotracheal aspirates, sputum -- and saliva is probably not as good a specimen as either throat swab or nasopharyngeal aspirate.  The sputa and endotracheal aspirates, the few that we had, seemed to be quite productive, but we did not have many of those, particularly in the early few days of the illness.  I'm sure you're aware that many of these patients do not produce a lot of sputum, particularly in the early week of illness.

So if you look at the question of within  the first five days of onset using the first generation assays, PCR assays, that gives you the greater positivity.  Around 30 percent in nasopharyngeal aspirates and throat swabs, better than that in the small number of sputa, and stool in that early phase is less good -- is not as good as the respiratory specimens.  The next five days stool becomes better than the respiratory specimens.

Then we went on to using real-time PCR using the Roche LightCycler, and we were using this because it's a low through-put technology.  I mean you can run only about 20 odd specimens at a time.  So we were using it more for confirmation and for research purposes.  And that shows viral load in this case in a cohort of longitudinally followed-up patients over time, and you see the viral load at day 5, day 10 and day 15 after onset of illness.  And you characteristically have this pattern of low levels of virus early in the illness, peaking around day 10 and then falling away during the second week.  The second week of post-antibody response is coming in.  There's one caveat to this data, and this is the fact that many of these patients were treated with steroids and one is not totally sure whether this increase is viral load is due to steroids or whether it's part of the natural course of the disease.

Later still we were using the ABI real-time PCR which has a much higher through-put, and we also compared the p gene and n gene as which one, which target offers better sensitivity.  Because, theoretically, the n gene should be more sensitive for detection.  And, indeed, that was so if you use cell culture grown virus, the n gene PCR was much more sensitive than the p.  But if you used clinical specimens, at least in our hands, using the primers we are using for the two genes, we find that there is really no advantage between the two systems.  What you see there is the CT threshold comparing the two assays.  The polymerase assay is Assay 1, which is on the x-axis, and the n is on the y-axis.  And these are all individual specimens, and you can see the threshold is crossed roughly at the same time in the two assays indicating that in the clinical specimens there does not seem to be a major advantage in using the n as a target.  And if you look at that in terms of positivity, again comparing the two assays now, you can see that there is no major advantage in using the n gene PCR compared to the PB1 primers that we had.

Now, using the P gene PCR and also increasing -- multiplying some of the specimen extraction protocols that we had to try to extract every ounce of RNA that might be there in a clinical specimen, now we do have fairly good sensitivity in PCR detection in the first four days of illness.  You can see the column on the right hand side, we have 50 nasopharyngeal aspirate specimens within the first four days of illness -- actually, within the first three days of illness in the case of nasopharyngeal aspirates, and 48 of them are PCR-positive.  And the breakdown in time is shown in the blue bars there.  So, certainly, by day 2 you're having 95 percent or thereabouts positivity.

In stool, we have only one specimen at day 1, but overall you do get the feeling again that it confirms the data that I showed you previously that stool positivity seems to be lagging just a bit behind the positivity in the respiratory tract, but by day 4 again you have respectable numbers of positive specimens.  These are still preliminary results, and we are working through larger numbers of specimens and also looking at throat swabs --

(END TAPE 1, SIDE A)

(BEGIN TAPE 1, SIDE B)

MR. PEIRIS:  -- percent and 70 odd percent positivity in the assays that we had.

So I think what this shows is that if you really are pushed to the limits of sensitivity with specimen extraction as well as PCR, you can diagnose the disease fairly early.  And I think the challenge to some of the folks out here would be to put that into a reproducible form, making sure that cross-contamination and specimen extraction and problems like that will not confound matters.

So to finish, let me acknowledge my collaborators.  Dr. Leo Poon did most of the molecular detection methods, K.H. Chan ran the viral diagnostic lab, Dr. Guong works with me in other aspects of coronavirus biology, and a lot of this work was funded from a grant from NIAID, and my colleagues in the Hospital Authority and the hospitals across Hong Kong.  Thank you.

(Applause.)

DR. WANG:  Good morning, everybody.  First, I'd like to thank Dr. Steve Gutman to give this chance to talk about my work.  So I work at the Department of Cell Biology.  I'm from the National Institute for the Control of Pharmaceutical and Biological Products in China.  As a routine worker, I'm responsible for the quality control and the evaluation of HIV-related products.  During the SARS period, I was responsible for the quality control and the evaluation of the SARS diagnostic assays.

In China, several manufacturers and the Institute tried to develop the diagnostic assays for SARS virus.  There should be three diagnostic assays to detect antibody and try to detect antigen and trhe third should be the nucleic assays.  But as we know, as we develop the antigen assays, it should have the specific monoclonal antibodies, so it took a very long time to develop a monoclonal antibody.  I know so far in China no manufacturers have developed the antigen assays.  So today I will focus on the assays to detect SARS virus antibody and nucleic assays.

In China, the antibody assays can be derived from assays, immunoflurescent assays.  These assays can detect the SARS virus IgG and IgM antibodies.  Another is indirect ELISA assays.  These are assays that also can detect the IgM or IgG antibodies.  Both of the assays use the whole virus as coated antigens.

After so many institute -- many institutes in China have already expressed the proteins of the SARS virus in E. coli system, so they can develop the sandwich ELISAs.  So the laboratory uses the whole virus, all recombinant virus -- the whole protein, all recombinant proteins as co-proteins.  And they also labeled recombinant proteins with enzymes so they can develop the sandwich ELISAs.  Also, some institutes try to develop the protein cheaper.  Use least cheaper that can detect the different antibodies against different SARS protein.  So these slides gives you the result of the expression of nuclear proteins of SARS virus.  The next slide gives you the result of expressed part of SPARK (phonetic) proteins.

So I'm responsible to take quality control and the evaluation of the SARS study of the assays.  In order to do this work, I had to establish laboratory reference panels.  I collected the samples from the different populations and also collected the samples from the SARS patients.  All the patients had different phases.  All the samples were tests of different antibodies, and according to the results we selected the different samples composed the candidate panel.  So this the laboratory reference panel for IgM antibodies.

In these panels, we have 20 negative samples.  Among the negative samples, some samples are positive for numerous vectors.  Some samples are positive for measles virus with antibodies, some samples are positives for flu virus antibodies and others for HIV antibodies.  We used them to check where we have cross-reactions with other viruses.  Among the positive samples, some samples are strong positive, some are weak positive.  Some samples between the stronger and weak positive.  Also, some samples are IgM positive, and some samples are both IgM and IgG positives.

We also had the dilution samples.  We made dilutions, six dilutions, from one to two, to one to 64.  So the dilution samples were positive for IgM antibody only.  We used this sample to evaluate the sensitivity of the assays.  We also have one sample to evaluate the coefficient of the evaluation of the assays.

After establishing all the reference, we detected the reference with three different assays.  You can find negative or positives, all the same, it's no different.  But when detect the dilutions, we found the sensitivity is different for one to four dilutions.  Say we can detect one to 30 or 32 dilutions, so the assay should be sensitive, but the CVP and the C for P and the C essays is CV less than 15 percent.  But IFA assays we calculated the CV.

And on the same principle we also make the  reference for IgG or total antibodies.  So we make the same negative samples also according to the principle as we used in the IgM.  We make the positive samples 18 positive samples.  We also make the seven dilutions -- the dilution sample was positive for IgG antibody only.  Also, the eleven samples used the for to calculate the assays of the coefficient of the variations.

After establish of these reference panels, we detected to use the five different assays.  You can find the negative samples all give the negative result, but when you detect the positive samples, you can find A, B and D assays that give all the positive results.  But for C assays it just detects 14 positive -- gives the 14 positive results for assays E just give ten positive results.  But when detected the dilutions, you also can find the difference for E is less sensitivity.  Just detect less than one to eight, but for D even more sensitivity, it can detect one to two, five, six.

So we also calculated the CV for B, C and D, less than 15 percent.  For E, this assay detected the CV samples, the samples in negative were so great, didn't calculate the CV.  For A assays, is for us,  the IFA assay.  We didn't calculate the -- we can't calculate the CV.

We also collected -- in order to evaluate the quality of the assays, we also collected the serum from the SARS patients.  We tested the serum with IgG assays, IgM assays and also sandwich assays.  So this result you can find at the early stages that positive reach for different antibody is different.  At six to ten days, the IgM positive reached about 11.5 percent.  For total antibodies it's 7.7 percent.  And later stages all the antibodies are positives to reach the 100 percent positive.

We also collected the serum from SARS patients.  We just look at a few -- we just collected the serum from few patients, just four patients.  For patient A, you can find IgM is positive at the ten days after onset or 14 days it's also positive, but IgG is negative at 14 days.  For patient B, after the 15 days, both-IgM and IgG are positive, but we didn't detect the -- we didn't collect serum between the seven and 15 days, so maybe they have different, just we didn't collect the serum.  For patient C, at 12 days only IgM are positive.  IgG are negative.  At 25 days, both IgM and IgG are positives.  For the patient D, after 13 days both IgM and IgG are positive.  So these results we can find is IgM should be the useful markers for the diagnosis of the SARS.

In order to evaluate the specificities of the different antibody assays, we also collected the serum from different patients.  We collected the serum from Hepatitis A, B, C, measles and mumps also supplied to donors and also the person in contact with the SARS patients.  So in these results we can find among the 70 serum from Hepatitis A, only one serum are positive for IgM and positive to total antibodies.  But we repeated these results -- all the repeated results are positive.  We also found one positive result for serum from the contacted with SARS patients.  This serum was positive IgG or total antibodies.

So with these results, we can find the specificity of the assays should be very good.  They may have the cross-reactions -- maybe we have some cross-reaction but we do not know why.  But we check later whether we have the Hepatitis A, but we know for sure whether we have the Hepatitis A, have the cross reactions.

So in China, there are several manufacturers also tried to develop the gene chips and the real-time PCR.  So the gene chip has so many advantages.  The main advantage, it can detect the sera respond to virus at the same times.  So also some manufacturer tried to develop a real-time PCR.  Most of them use the Taqman technologies and develop to the quality and quantity assays.  Okay.

In order to evaluate the assay, I had to set up the laboratory reference panels.  So, first, I collect the respiratory virus and the other virus positive samples, use them for the negative samples.  We just check whether they have the cross-reactions with the virus.  We also collect the SARS virus from the patients and also cell cultures and checked to the SARS virus IA.  And the purified IA was kept in special solutions.  This solution is very much similar to the serum.  All the positive IA was calibrated with WHO standards.  So the standard was WHO standard, IA standard.

We used the WHO standard to calibrate our standards, our reference, so we repeat about 14 times for each sample, and finally we calculate the mean of titres.  So the P-1, P-2, 2-P-6 so you can find the different samples.  The titers of the gene number is different.  For P-1, it's about 9.7 ten power two.  For P-2, 1.32 ten power to the three.  So these are different.  For P-3 to P-6, it's diluted -- ten times dilution samples.  You can find for P-3 about 8.8 ten power five.

Here's another four samples.  These samples -- we use these samples as sensitivities, so the copy number is much lower.  So you can find for P-7 about 7.4 ten power -- just ten, about 74 copies.  So, finally, we make the SARS virus IA reference panels.  In this panel, we have the nine negative samples.  In the negative sample, you include the CV RNA, HIV-RNA, measles virus RNA, mumps virus RNA, rubella virus RSV, Japanese encephalitis virus and the Muries hepatitis virus positive.  We also have the ten positive samples, P-1, P-2, P-6 sample use to quality analyze, P-3 to P-6 samples used for linear analysis, P-3 used for the evaluation of the CV.  P-7 to P-9 sample use the false sensitivities.

I mentioned before we use the purified IA, not a whole virus, as the positive samples.  So we wanted to know whether this kind of assays can affect the efficiencies of the different assays.  So we used the different assays to purify the IA from the special solutions.  We just checked whether they have different.

So we used the -- this line we just use Qaigenn domestic assays to try the same samples.  We used the Artus RT-PCR, laser PCR made from the Germans.  We detected IA.  So you find this result different assays can give the different -- did indicate the different result.  The results were much similar.

We also used the three different methods  to track -- sorry, sorry.  We used the three methods to track the same assays.  We also used another RT-PCR so you didn't find the difference.  We also used the four assays to track the IA and used another RT-PCR to test the protein samples.  We didn't find the difference.

So the summary is in our laboratory we set the IgM, IgG total antibody and the virus IA reference panels.  All the virus IA panels had to be calibrated with WHO standards.  The purified virus IA used in the panel cannot affect the efficiency of the detection by different assays.  The panel can differentiate the quality of different assays.

Finally, I'll thank my colleagues and my friends.  They gave me much help.  Thank you.

(Applause.)

MS. ZAMBON:  Good morning, everyone.  I'll introduce myself while we're waiting for the change of IT stuff here.  I'm Dr. Maria Zambon.  I'm head of the National Respiratory Virus Reference Laboratory in the United Kingdom, part of the Health Protection Agency, and also Deputy Director of the Enteric, Respiratory and Neurological Virus Laboratory in that Institute, which is the nearest equivalent in the United Kingdom that we have to the Centers for Disease Control.

The experience that I'll describe to you about the United Kingdom and what we've done in the development of diagnostics I think is closer to the situation that you'll have here in the United States; that is, not very many cases but a significant amount of noise in the system, which of course is difficult when trying to develop diagnostics if you also have a huge burden of potential clinical cases to investigate.  And a second problem which has already been alluded to by our speakers is the actual absence of truly defined clinical specimens.

As you know, the United Kingdom has a very centralized public health funded health care system.  As a consequence of that, we have the ability to centralize much of our information capture when there is a huge public health threat.  What I show over here is the United Kingdom organization, and that is the fact that the cases from wherever they present in the health care system are captured at whatever point of the health care system they actually present, whether it's to GPs, to microbiologists, to public health or to hospital cases.  And as a consequence of that, we've been able to build a single database which allows us to stratify all the cases that we've got according to their symptoms, their clinical findings, their travel history and classify those according to probable suspect or other using the WHO case definition.  And, clearly, we then have the ability to investigate those cases in a single central laboratory by a variety of techniques and add to that information on other pathogens as it's developed.

We've already very elegantly from our previous speakers the fact that what we now know of SARS coronavirus illness is that respiratory samples appear to be positive slightly before we have detectable virus and slightly before fecal material and that there is antibody development over a period of ten days onwards post-illness onset.  So that you can divide the development of diagnostics into those which are acute phase occurring during the illness or those where you're looking for footprints of the virus in terms of antibody response.  And I'll talk to you about our experiences in acute phase diagnostics and also in serological work.

Just briefly, to reiterate something that's already been mentioned with respect to the development of nucleic acid diagnosis, most of the first generation assays relied on development of diagnostics based on the polymerase gene, was really for reasons of where the first sequence has become available.  But second-phase diagnostics have relied on the development of detection in the nucleic capsid region of the genome.  And Malik has already alluded to some of the theoretical advantages of working in the nucleic capsid region that the amount of transcription that occurs in this part of the genome is approximately 100-fold excess over transcription here, which can be both a theoretical and practical advantage.

So molecular diagnosis that we've applied in the United Kingdom has used the principle of a dual target, both polymerase and nucleic capsid detection.  We have built into that a detection scheme which is pan-corona, that is capable of detecting all known coronaviruses based on polymerase gene where we use degenerate primasets to pick out all coronaviruses and then SARS-specific.  And some of the advantages of that approach I think will become apparent as I talk, but basically it's a principle of confirmation, it's not just single target.

We went along the line initially of blocked-based assays, and the reason we did that is we knew that if we had to roll out assays very quickly in the United Kingdom, most hospital laboratories do not have access to real-time PCR in our health care system.  It was important to go with something that we knew we could roll out quickly if we needed to with robust protocols.  And we've always adopted the principle of sequence confirmation and re-extraction from specimens.

So to just very quickly summarize what is an awful lot of work, in the probable case definition, using the WHO case definition, we had nine probable cases.  The denominator here should theoretically be the entire population of the United Kingdom, bearing in mind that we have 20,000 -- between 20 and 30,000 returning travelers from SARS-affected areas every week in the UK, suspect cases, 203, and others, 210, and that really is others where clinicians had somebody who had been traveling who had some kind of an illness and they were quite sure whether this was a SARS-affected area or not.

In our probable cases, we found one seroconversion who was also PCR-positive.  In our suspect, we found four seropositives plus one seroconversion.  And in our other, we founnd five seropositives.  This tells you something immediately, and that's the difficulty of applying a WHO-specified case definition which works well in a highly endemic area, in an area which is much less endemic.  And in our case, we also have less than 50 percent complete sampling in terms of convalescence sera for the suspect and the other cases, so we're not finished yet, in essence, in terms of finding cases.

If we go to our one UK case of SARS, we see some relevant points here that I can bring out.  If we have here day of onset of illness, the first time we looked in any of the samples which we had, and we did have a full collection of samples because by the time this case had come to light in the United Kingdom, we knew already from the WHO laboratory confirmation, the laboratory network, that we needed to collect respiratory samples and fecal samples.  We found that initially when we screened with polymerase target PCRs, everything was completely negative.  As we went back and developed a nuclear capsid PCRs, sample which were negative started to turn positive.  But what I will take you through on the side here is that the viral load that we have is really rather low, less than 100 copies per mL.  We also detected virus in feces at around about this same time which correlates with the data that we have about peak viral shedding from colleagues in southeast Asia.  And we've also detected virus genome in this individual in the plasma at around about the same time.  So, you know, if there's one lesson here just based on one case, it is that second generation diagnostics may well be more sensitive.

In terms of antibody detection, we saw seroconversion over easily 21 days, but as you will see later, this very first serum here taken at day seven post-illness onset was actually not completely seronegative.

So the conclusions in our PCR work is that the current PCRs which we're using based on the nucleic capsid region, we have a limit of detection of 0.1 block-forming units using two different virus strains.  We find the nuclear protein and the nuclear capsid region more sensitive for detection in clinical material than the polymerase, which is contrast to Malik's experience.  Bear in mind that our experience is based on far fewer samples.  We can only say what we've really found in this one clinical case.

We find that dual target is a useful confirmation and that sensitivity but not specificity is actually the problem in diagnostics.  We think that the acute phase plasma may be a useful target for nucleic acid detection, but I think much more work is needed on that.  And we also need samples from acute cases to fully validate any diagnostic developments.

Our initial approaches to serological assays have been based on the use of infected cell lysates in comparison with reaction with uninfected cell lysates, immunofluorescents and also SARS nucleic capsid gene expression in Bacula virus system.

Here is our one UK case where we see the seroconversion.  Here is the first acute serum that we have, and here is the convalescent serum 21 days later.  And along the bottom line here, we have some example of acute and convalescent sera from influenza-infected cases, a very clean kind of ELISA reactivity.  When we've used panels of serum, which have been very kindly provided to us by Professor John Tam (phonetic) in Hong Kong, 33 cases of acute SARS, we see that we start to detect antibody round about day ten post illness onset, with both ELISA and with IF, which confirms data that other speakers have presented that you can actually see quite early on post-illness onset, the development of antibody.

We use a confirmation strategy of immunoblotting.  Here you can see on the left hand side the convalescent sera.  B is the convalescent, A is the acute sera for blocks in parallel, uninfected cellulizer at the bottom.  You can see very nicely beautiful sera conversion here, and here we have examples from Hong Kong sera A, acute B convalescent, confirming that we can see nice seroconversion to SARS-infected cell ELISA.

So the data where we've looked at the ELISA that we've developed first is IF in 33 pairs of SARS serum indicates that there's a very good correlation between the IF reactivity and the ELISA reactivity.  And in particular the advantage that one might find with an ELISA, of course, the dynamic range.  You can take the sera out much further and you have a different -- two different sort of tests that you can apply in parallel.

We also have neutralization which shows that in convalescence sera here we have a convalescence serum at day 21, here we have the acute serum with really not much diminution of RS growth, but here we have the clear detection, clear evidence of neutralizing antibody detecting, becoming apparent at day 21 or more.

We've gone on and developed a nuclear protein expression, the Bacular system.  Really, the reason for using this is because we have it up and running in the lab and we tend to go with things that you've got which are easy to work with and which you can develop that diagnostics very fast.  We tagged our baculovirus with a HIS tag and here we see baculo infected cells with HIS tag nuclear protein, nice reactions with antihys, antiserum, and here we have a baculovirus expressing H-7 hemagglutinin without a HIS tag with no reaction.  Here we have convalescent serum-1 from the UK reacting nicely with a SARS nuclear protein but not with the H-7 hemagglutinin.

When we've gone on to look at the detection of antibody to the SARS nuclear protein, there are one or two interesting points to come up with.  You'll recall that I mentioned that our pan-corona strategy for detection meant that we were able to detect other corona viruses as part of our detection strategy.  Two of the UK cases that were in the suspect category did actually have a 229-E coronavirus infection, and we were able to determine that from sequence analysis.  We managed to collect substantial serum samples from both of these cases who were a husband and wife who'd actually traveled to China.  I think you'll see some interesting observations.

Here on the right hand side of this western blot we have our SARS UK case on day 7, 12, 18 and 45 post-infection reacting here with the SARS nucleic capsid, and you can see very beautifully at day 7 post-illness onset you already have a decent antibody response to the nucleic capsid, which increases over time.  If you look here at Mr. X, in his acute serum, no reactivity, as you might expect.  In his first post-serum, a reaction also with the purified nucleic capsid and here in his second serum taken about two weeks later, also increased reactivity against the SARS nucleic capsid.  However, when you look at Mrs. X who also had that exact same infection, no reactivity against any of them.  So I think that tells you that the reaction is probably not predictable.

If we go on and look a little bit more in detail, what we have here on the left hand panel of each lane we have 229-E infected cell lysate and a purified SARS nucleic capsid.  So this here would be the UK case with 229-E reacting against 229-E nuclear protein, which has the correct molecular weight here of about 48.  And here it is again reacting with the SARS nuclear protein.  Reactions against neither in the acute phase serum.

And here what we have are four sera taken from individuals who presented with influenza-like illness prior to Christmas last year which reacted on a specificity panel using the expressed SARS nuclear protein.  So there can have been in this situation absolutely no question that these people traveled out of the United Kingdom, all were exposed to SARS that we're aware of.  And you do see some interesting things here, because you clearly see in some of these reaction with 229-E protein which -- but no reaction with SARS on western blot or reactions with both.  And from this we interpret this to mean that there are some cross-reactions between SARS nuclear protein and the 229-E nuclear protein, which means that when we are developing diagnostics, particularly based on nuclear protein, which may be a very good target to use, we need to be aware of the fact that there are likely cross reactivities with other known human coronaviruses.

In terms of the work that we've done on the spike-like proteins, we've made 18 different constructs, six using the VSVG transmembrane domain, six using a HIS-tag and six using a mono-binding protein.  We've gone on to characterize the ones using the VSV transmembrane tags rather more than we have the other two tags so far.  What I can say if I take you through this, we've made the six different constructs so that they incorporate either the whole spike protein or the amino terminus or the carboxy terminus or the region in between, and I'd like to ask you to remember that region in the middle of the protein.  We know that all of these are made when we blot with VSVG transmembrane antiserum, and when we do facts analysis using convalescent serum from SARS, our UK SARS case, what we don't see is any reaction to the small portion in the middle, but we do see reactivity to both the carboxy and the amino terminus.  And this is best summarized in this fact analysis, quantitative facts analysis where the best reactivity is actually -- sorry, you can't see the notation at the bottom, but the best reactivity is actually with the full-length protein or with the amino terminus or the carboxy terminus.  Now, this is not exactly matched by what you see on western blot, because on western blot you see the best reactivity with the full-length protein and with the carboxy terminus.  So there are some distinctions there between obviously antibodies which react -- which see confirmation epitopes versus antibodies which react with linear epitopes.  And we haven't fully sorted that out yet.

So our conclusions then about serology is that our current United Kingdom algorithm for serology involves a cell lysate screening test with a second line immunoblot, immunofluorescence and/or nuclear protein ELISA with the potential of neutralization.  And eventually we will streamline this such that we have an approach where we have one screening ELISA followed up by a second more specific -- or not more specific, sorry, a second line test which is a different format but gives us, if you will, confidence in what we've got.

We do believe there is some cross reaction with 229-E proteins which are not well elaborated.  I should say that we think that these cross reactions occur at the level of the nuclear protein, not at the level of the spike protein, because where we've looked we so far don't see much evidence in the material that we have available to us for cross reactions with the spike protein.  We need to determine the relationship in kinetics of neutralization to see how useful that will be for us as a confirmatory test and to finalize with some strain variation and epitope mappings so that we know exactly the precise regions which will be most useful diagnostically.

To finalize then, I've mentioned that we have a kind of whole virus approach but not any whole virus, a whole virus family approach to trying to figure out what diagnosis is.  And it is a salutary reminder that much of what we've had to deal with in the United Kingdom is not SARS at all but the highest other -- featuring other pathogen is influenza, and this is a real problem in the sense that many of the things that have come to us as a reference laboratory we've determined that we have influenza diagnosed but yet these samples have also been handled by hospital laboratories in parallel looking for other diagnoses, and that influenza has not been picked up.  So one question is within the system to make sure that you also have good influenza diagnosis.  But, clearly, the case definitions are rather non-specific, and you will pick up other pathogens.

And from the point of view of the sequence analysis of our flus, it was actually rather nice to see the flu cases that we picked up, in general, tended to cluster together, and for us clustered with other cases of influenza that we knew had come from Southeast Asia, so one or two signature motifs in there indicating that we were looking at virus infection which had been acquired abroad but it wasn't SARS.

I think I'd like to stop there and acknowledge the work of the people in my laboratory and our Division, in particular Dr. Robin Gopal who developed the serological -- the first-line serological assays that we've used; Dr. Allison Birmingham who arrived in the laboratory after post-doctoral experience at NIH and has been in the laboratory three weeks before SARS arrived.  I should say she should be working on RSV but is actually working on SARS.  Dr. Joanna Ellis who's led on the influenza work; Dr. Paul Heinen, who's done the baculovirus expression work; and the whole of the influenza team in my laboratory.  And we've been very ably advised by Stuart Cidell in Bristol University and Ian Jones in Redding University who's helped us to develop the baculovirus work.  And also other members of the WHO laboratory network who so freely have given of their information to allow us to develop good diagnostics.  Thank you.

(Applause.)

MR. GUTMAN:  Okay.  We are running just a bit behind.  We're going to take a ten-minute break.  Please note there is a second break this morning, but actually we'll have to break in place while we change panels.  So this is hopefully a short, sweet but the main break for the morning session.  Thank you.

(Whereupon, the foregoing matter went off

the record for ten minutes.)

DR. ROBERTSON:  Good morning, I'm Betty Robertson from the Center for Infectious Diseases within CDC, and the title of my talk, which was graciously given to me by the individuals at FDA, is called, "Real Time under an IDE:  CDC's PCR and ELISA Investigational Protocols."  And in contrast to the previous speakers who described the process they went by and the information that they learned from the various assays that they developed, I'm going to basically talk about the process that we went through in getting the IDE approval.

Okay.  During the SARS outbreak, the real time under the IDE, the CDC SARS laboratory response, was basically divided into three phases, and I'm going to go through these phases with you.  The first phase was agent identification, phase two was assay development, and the third phase, which I've called, is assay deployment.

Actually, the first phase was really quick and very rapid.  It occurred during March 2003 and it was started during March 14 when the outbreak investigation was organized at CDC.  On March 15, 16 and 17, samples arrived from Toronto and Thailand, and these were the samples, the initial samples that we used for virus isolation.  Between March 18 through the 22, the virus was isolated by cell culture, identified by EM and an IFA assay was developed, much of the same technology that was described earlier by Malik, Maria and Dr. Wang.  Between March 23 and 24, the virus was verified by PCR in sequencing, and a prototype ELISA had been developed.  Now, this was phase one.  This was the agent identification.

Phase two was the assay development, and it initiated in April 3.  And this is the time frame in which we initiated discussions about a real-time RT-PCR assay which we would deploy to our laboratory response network laboratories.  Between April 3 and April 8, we had discussions with the FDA regarding filing of an IDE for the real-time PCR assay, and then much of the month of April, between 7 and 18, was spent developing additional PCR signatures, and these ended up being ?

(Joined in Progress)

DR. ROBERTSON:  -- The other work that had to take place during April was to synthesize the primers and probes, and optimize the conditions, and evaluate the performance of the assay.

We then initiated once we had an assay that we felt was working appropriately, we did large scale production of primers and probes, dispensed and labeled them, and QC'd those for large scale product for performance.

We had to alert the LRN members of reagents that they would need to purchase in order to perform the assay that was going to be deployed.  At the same time, we were generating a large scale production of ELISA antigen, and that was completed on April 21st.

On April 28th, we had some discussions with the FDA, and they determined that the ELISA assay was low risk and that an abbreviated IDE was appropriate.  And we are now going to change tax just a little bit and give you a little bit of flavor of the kind of documents and paperwork that we had to develop for both the IDE and for the abbreviated IDE.

Under th IDE process this particular slide illustrates the documentation that had to be developed.  Published reports, unpublished reports, and an investigational plan, including purpose, protocol, risk analysis, a description of the device, and the monitoring procedures for how the device worked.

Manufacturing information, investigator information, IRB information, labeling, and then an informed consent documents.  Now, since the IDE and the abbreviated IDE necessitated IRB approval, we also had to go through and develop the appropriate documentation for the IRBs at CDC.

And this is a list of the documents that were necessary for the real time PCR assay, and they included, and I want you to know, that this is an assay protocol , and this is the human subjects protocol, in addition to a number of the documents  that were also necessary for the IDE.

But documents that were necessary for clinical management, once of which was the health care provider's information, the informed consent, the participant information sheet, and a fact sheet for clinicians.

And I have highlighted these documents because as time evolved, we ended up having some confusion regarding these documents in some manner, way, shape, or form.  This overhead lists the documents that were necessary for the ELISA assay.

Now, the ELISA was an abbreviated ID, and so there is not as many pieces of paper necessary.  Once again though, we had to develop a human subjects protocol for the IRB.

In addition to this Attachment G, which was actually the protocol, we ended up calling it a procedure for the actual performance of the ELISA protocol.

And this is assay deployment, and this is Phase III.  On April 30th, we submitted a preliminary IDE application for the PCR assay to the FDA.   On May 2nd, the FDA granted conditional approval of our IDE for PCR assay.

Now, as one of the earlier speakers alluded to, it was overnight, and actually on April 30th -- and this is definitely preliminary, but it was May 1 that we actually submitted the actual documentation.  So he is correct.  It was an overnight approval.

On May 1st, we submitted a PCR assay protocol and the associated documentation to the IRB, and followed by that the IRB responded that the protocol that was written following the FDA guidelines did not accurately reflect the public health intent, and the protocol had to be rewritten.

On May 14th the protocol for the EIA was submitted to our IRB for approval, and on May 15th, the real time PCR IRB protocol was approved.  On May 19th, the following EIA protocol was approved.

On the day after the EIA protocol was approved, we discovered that there were discrepancies between web documents in our clinicians' fact sheet and the one that had been IRB approved.  This occurred because this whole outbreak was a dynamic process and information changed.

So we had the ability to rapidly alter and change the information on the website.  However, since the documents that had gone to the FDA had been developed earlier, there was inconsistencies there.

These inconsistencies necessitated that we submit amendments for both the EIA and the PCR documents to our IRB on May 28th.  The IRB approved them rather quickly overnight, but then on May 30th, we then were able to finally post these documents on the CDC, HPHL, and the LRN websites.

And just parenthetically, the EIA assay was deployed to a State public health department through the APHL, and the RTPCR assay and that technology was deployed through the laboratory response network, which is the reason for the different postings.

On June 3rd, we had a strong feedback from our Council of State and Territorial Epidemiologists regarding issues with the instructions within the health care provider letter.

This letter had been developed at CDC and we have not had the opportunity to vet it with outside people and our CSTE group had some strong opinions about some changes that they felt needed to be made.

After a conference call with them on the third, we gave them a week to provide us feedback from various individuals, which they did, and we then once again submitted amendments to the IRB for both the EIA and the PC protocols, and are June 18th the IRB approved the amendments to the health care provider letter.

The assays actually went out and were approved and ready to use at the end of May.  The paperwork that had to be changed, we just had to let it stand until we could get it changed through the IRB.

In closing, I am going to talk about lessons learned.  First of all, we learned that even within CDC that definitions, that we need to make sure that we know exactly what we are talking about.

Definitions from an IRB perspective, it's when you say protocol that it means one thing, and when you talk from a laboratory perspective, a protocol means something else.

And so we ended up that in order to be clear on the information as we were talking between groups, we ended up calling the laboratory protocols procedures and the IRB protocols, protocols.

Secondly we learned that CDC and FDA sometimes speak in different languages, and we had some difficulties applying FDA regulations for manufacturers in a public health setting.

Due to the public health emergency, multiple authors were needed for -- and we had multiple versions of the documents that I had shown you earlier, which resulted in the confusion and the contractions in the written documents, and once again since this is a dynamic process, and you almost had to be present to appreciate it, this caused some additional problems.

Next, CDC excels in developing assays rapidly for a public health emergencies.  However, we are not designed to be a manufacturing facility and we have learned this in a very clear manner.

The CDC IRB had no experience and perspective in reviewing device protocols in a public health response setting, and so this is another lessons learned that we needed to address.

The necessity to obtain IRB approval delays the rapid release of current information in an outbreak situation, and in both of the situations in which we had to go to the IRB for amendments, we had to let either contradictory documents stand, or postpone putting documents up.

And then lastly, but probably most importantly, we learned that cooperation between the CDC and FDA was able to facilitate the completion of this process.  Thank you.

(Applause.)

DR. KOZIARZ:  Good morning everyone.  My name is Jim Koziarz and I am VP of R&D at Abbott Laboratories, but this morning I am here to report to you on -- and as you can see from the title -- the industry perspective on just about everything that we have been talking about here today.

And what I am going to do in this brief presentation is just review once more what kind of a challenge we are presented by this SARS outbreak, and give you an example of some of the industry recommendations.

This morning, Dr. McClellan referred to a meeting at HHS back in May, and I am going to ask part of my representation of industry take you through the recommendations and discussions that we had at that meeting.

And then I would like to close this brief presentation by some implications to what those types of issues mean to product evaluation and approval.  If we talk about the challenge, and again this is something that we have been through more than once this morning.

But clearly we are dealing with sporadic outbreaks of this disease in very diverse geographic locations, and as you saw this morning from some of the presentations the management of the patient is essentially syndromic, and I think we can all agree that the pathogenesis of this virus really has not been very well elaborated.

And key to us as part of the next step in this morning's process, going from research to development through the CDC, toward a routine manufacturing for products like these, the patient sampling and sample handling is an issue that we need to address.

And also as you look forward to what may or may not be as Dr. McClellan mentioned, another bout of this disease.  Obviously, we have a very limited opportunity for perspective clinical trials in these cases.

So what we are looking at here really is a test development that I would not by any means call traditional, and again as we heard this morning, we are dealing with situations like this that can in fact be a role model for how we respond to any type of other issue. and a bioterrorist attack was mentioned as well this morning.

And I think that we could all agree that the cooperation between industry, science, and government agencies, is going to be very essential for us to be able to expedite any type of response.

But as Dr. Gutman mentioned in his presentation this morning, safety efficacy and compliance have to be addressed, and they are givens in any type of procedure that we go forward with.

So as Dr. McClellan mentioned, there was a meeting held at HHS back on May 29th.  The participants were members of the FDA, the CDC, and other portions of HHS, as well as the companies that I have listed here.

And the goal there was very much like we talked about here today, was what can be done to mount a rapid response to what at that point was a much more critical issue with SARS.

We came back with a couple of recommendations.  The first one is very generally that a public-private cooperation in a partnership that expedites the R&D and approval of any test for emerging pathogens is gong to be essential.

And also as you heard this morning, the model of the West Nile Virus, the response to that was used as a very good model of what had been very good cooperation.  And as Dr. McClellan mentioned this morning, with 9 months from the identification of West Nile as a problem, assays were under I&D, and in this case with Sieber (phonetic), and were in use.

And that type of collaboration we think is going to be essential for a response to any other type of emerging pathogen.  We also recommended that everyone build on their core competencies.

You heard this morning of the scientific organization both in the U.K. and in China, and you have heard what the CDC can do in terms of developing and rapidly getting a test together.

And we feel that the industry's portion of this collaboration obviously is in bringing forward tests, good manufacturing practices, and being able to commercialize what we build on from the other parts of the organization.

We also came back with some more specific recommendations.  We did ask that a public meeting on SARS be convened, and I don't think that this is the result of that.  I think that this was in the works before we made that recommendation.

We also asked that the CDC, as you saw from Dr. Benningham's comments here, is very important for us to have the CDC get involved in the quarterly FDA-industry roundtable updates.

We obviously are looking for guidelines for the clinical study and FDA approval standards for any type of rapid evaluation of a pathogen.  We have to agree on what might be the key elements that have to be addressed on risk mitigation, and I will get to it in a couple of more slides.

But we think to move rapidly that we have to understand how we best understand the potential risk for moving rapidly and mitigate those risks in an intelligent manner.

We would like to look for an expedited approval process that allows post-market surveillance, and I will get to that in a few slides as well.  We think that in any one of these cases that industry will need and identify a point of contact both at the FDA and the CDC, and that is being done.

And we also felt from an industry standpoint that the CDC was best positioned to serve as a clearing house for picking up these samples of emerging pathogens, and also probably cooperating with organizations like the WHO.

And in the case of the SARS epidemic or SARS outbreak, we are really seeing that as was mentioned this morning that these samples are not coming from the United States.

And for us to be effective, we have to have some way of being able to acquire those samples and use them in test development and evaluation.  There are also a couple of other recommendations that really looked forward in terms of the rapid development of these types of tests.

A number of companies, particularly companies that are smaller, and some of the biotech companies are really looking for help in R&D funding in some of these cases.

They mention the fact that to a small company there is a lot of risk involved in moving forward and committing resources to these types of tests, and they requested that there be some type of way for these smaller companies to get some help in the R&D funding.

We discussed the issue of intellectual property, and I think as you saw here with the SARS outbreak, as the research progressed, so did the filing of patents.  And a number of our industry partners were concerned about access to intellectual property and being able to use it rapidly and effectively.

The concept of sample acquisition and characterization is one I think that we have covered a number of times this morning.  But clearly to be able to get at a well-characterized test, you need a set of well characterized samples that link back to the clinical indication.

The regulatory requirements are something obviously that we have talked about before, and as Dr. McClellan mentioned this morning, too, a number of companies mentioned the problem or the issue of reimbursement.

That if a test is developed and needs to be widely distributed, that reimbursement is obviously a vehicle that needs to be put in place to allow rapid deployment of a clinically useful test.

So what are the implications for us in industry?  Obviously the goals of clinical validation are still there.  We have to demonstrate medical benefit, and we have to understand what the indication of a positive test result is, both to diagnosis and the patient management.

And clearly we have to be able to link the test result to the patient history and to the symptoms, and in some cases that is something that we are going to have to try to do retrospectively in the case of the SARS outbreak.

We also have to demonstrate the experience of the product in its intended use population as we talked about this morning, and that is going to have to in this case allow us to be able to demonstrate to the regulatory bodies what the product performance is and with as you saw this morning a number of different sample types.

We also have to be able to understand what the sensitivity and the specificity of the assay is in a given population and with a given set of samples.  So what does that get us to?

Well, we feel that the idea, and I think that Dr. Feigal really did a nice job of showing that this morning with his cyclical patterns, is that we do have a product life cycle model that needs to be looked at.

We think that if we try to move forward quickly, and again we won't have all the information that we may need for what I would call in comparison a traditional type of submission, we have to understand what the risks are, and we have to understand risk management and how to mitigate those.

And failure mode analysis we think is one of the ways to look at that.  In the case of a lot of assays that are currently available, how much of component re-use can we take advantage of.

To give you an example, in some tests that would for instance detect IGM from a serological standpoint, a number of companies already has assays in place that, for instance, capture IGM non-specifically and then probe specifically to find what particular IGM is there.

These companies have the ability to re-use those components to rapidly respond.  They now then can bring into their test kit a number of components that have already been validated and for which they have a lot of history.

And therefore the risk mitigation should be able to do, or the risk management should be easy to do.  We also need to have a very strong feedback loop if we are going to really take advantage of the product life cycle.

We have to be able to enhance product performance, and labeling, as more data becomes available.  So what we propose for a test, for instance, for the SARS coronavirus?  Well, one proposal, and this is one that I brought forward at that meeting, would be to look at the intended use and early on limit it to the detection of coronavirus.

And with that supplement the patient diagnosis with the use of the CDC or the WHO guidelines.  We would then submit the datasets that we have from sources around the world, knowing full well that some of them may need supplementation downstream.

We would look at the labeling that would provide sensitivity and specificity as we know it by sample type, and clearly state the test limitations.  For post-approval, we would then propose that we go forward and that we repeat those studies at multiple sites using well-documented and characterized samples.

And then supplement the PMA as required as more knowledge becomes available.  To give you some example of the type of dataset that we would be looking at, those are just some of the studies that are underway or are proposed for the ARTEST (phonetic) SARS test that you saw alluded to from the data from Beijing.

And as you can see the datasets are numerous, but they are also very diverse.  In some cases we are looking at numerous types of samples, or sample types, excuse me, that are being taken.

And so as a result, we have to look at this type of a dataset to understand how the product is operating right now, and again take that into account in our labeling and understand that we have to move forward and modify or enhance the labeling and product performance characteristics as we learn more about this.

What types of feedback mechanisms would I propose?  The first one is post-approval meetings with the agencies, and this is both the FDA and the CDC, to review product performance.  We would also use our internal quality control or quality system, excuse me, to monitor test performance and be able to identify places where improvements are necessary.

Those that would be taken into account in second generation tests under design control.  It is also essential for us as we respond quickly here to get scientific feedback, not just on the virus itself, but also on its pathogenesis and serology that would suggest to all of us what the next generation product has to be.

And I think that you have seen some of that here this morning with the data from the U.K. that is suggesting, for instance, that the region that coats for the nucleoid capsid is a better primer set maybe than what is being used right now.

That kind of information obviously is very important for us and it underscores the point that the feedback mechanism has to be there for all the manufacturers.

And finally as we go along, we have to collect and continue to collect clinically relevant samples.  Not just for internal and external quality control, but also to be able to validate the next set of generation assays.

So in summary, speaking for industry here, I would tell you that SARS does represent a case for us to move rapidly and bring tests to market as quickly as we can.

I think you have heard very loudly and clearly that in the case of SARS in particular that sample acquisition has really limited a lot of companies' abilities to not only get into the development cycle, but also to be able to validate the product.

And I think as you have heard from all of us this morning, there are a lot of opportunities for us to respond to threats like SARS, but they have to be done rapidly, and they have to be done safely and effectively.

And obviously in closing, and this is why we are here today, we feel that close cooperation between industry and the government agencies is the key to accomplishing these objectives.  Thank you very much.

(Applause.)

DR. GIOVANNI:  So actually that was a very good introduction to my talk, because I am going to talk about NIAID, the National Institutes of Health and the National Institutes of Allergy and Infectious Disease, funding opportunities.

And what I will focus on is cooperation between government agencies, industry, and academia.  So I was not sure what the audience was going to be, but just so I bring everybody in the same place, let me just tell you a little bit about our Institute.

So the National Institutes of Allergy and Infectious Diseases is part of the NIH obviously, and we basically have very much a research mission.  It is basically basic research and implied research, and our whole goal is to prevent, diagnose, and treat infections and immune-mediated illnesses, including as you must know HIV/AIDS, and other sexually transmitted diseases, illness from potential agents of bioterrorism, tuberculosis, malaria, SARS, emerging and re-emerging diseases.

So we really run the whole gamut of infectious diseases, and also learning about the normal immune system also.  And let me just tell you what our platform is, whether it is biodefense, or whether it is SARS, or emerging or re-emerging diseases, malaria, whatever it is.

We basically have this platform that runs from basic research to applied research, and all along the pathway we actually have different ways that we can communicate and interact with academia, industry, other government agencies, to actually get our goal done.

And that really is to make products -- vaccines, therapeutics, drugs, diagnostics -- for the American people.  I mean, that really is simply our mission.  We have a very strong fundamental basic research program, whether it is at the pathogen side, whether it is at the host side, and that moves all along to product development.

Another important part of what we do is providing research resources to the community, because we realized early on that we can provide funds, grants, cooperative agreements, to do research, hypothesis doing research, but if we don't provide the basic research resources for the community to get that research done, then we really haven't done our job.

And I will be talking about that a little bit, and Dr. Linda Lambert from our Institute will also be talking about that.  So this is what our platform on SARS looks like.  It is very multidisciplinary.

It runs from basic research to applied research.  It runs from looking at the basic research of the coronavirus, the pathogenesis, other viruses that may actually give us more information about coronaviruses, and to our applied research program; clinical research, vaccines, drugs, and diagnostics.

We also are very much interested in animal models, building in vitro and animal models so we actually can do basic research and we also have platforms that actually test vaccines, drugs, and diagnostics.

But when we think about medical diagnostics at NIAID, we really, I want to emphasize, don't have requirements, and we don't have specific requirements that we are looking for in terms of medical diagnostics.

When we think of medical diagnostics right now, and the platform will probably change, we are thinking very much in terms of RND and technology development.  We think that the NIAID can provide a niche in that area, because a lot of people that we have talked to, especially at the other government agencies, have said that there is a lot of technology out there to actually support new and emerging technologies, and would be something that would be very good.

Not just for today, but for the future as we look into the future of medical diagnostics.  So I won't go over all these details, but we are very much interested in technology development, whether it is sample preparation, whether it is the actual technology, whether it is assay development.

And actually also the analysis of the data.  You mow, bioinfomatics, software development, to the actual hardware of the technology.  So we run the whole gamut in terms of what we can support in terms of medical diagnostics.

So how can we do that?  Well, we can do that through a very extensive grants and contract mechanisms.  And when we think about medical diagnostics, what I show here is we can actually fund the gamut of it.

We can fund emerging and innovative technologies, and I will explain some of them, and we can also go to technologies that actually have been in place and that maybe need a little bit more tweaking, a little bit more supports, and maybe apply it to the SARS coronavirus, or other biodefense agents.

Or actually if there is a technology that needs some clinical research involved with it, development, validation, we can actually fund the whole range of that, depending on what the community needs.

And I think that what Linda and I actually want to actually emphasize today is that we are responding to the community and the other government agencies and what they need to actually put forth the SARS research and clinical agenda.

And I will explain some of these different programs that we actually have in place that we can engage with other government agencies, industry, academia, to actually develop, do research and development in terms of technologies.

And we are interested in early -- we can actually support early diagnostic technologies for pre-symptomatic patients, and monitoring infection, and treatment, and the whole range.

And I will be saying that over and over again, that our platform is broad, and we can fund a whole range of different technologies.  And again, you know, we have the ability, and actually we have things in place already that we can support new emerging technologies.

You know, it is not the PCR of today, or the AREAS assay today.  It is actually looking to the future, whether it is nanotechnology, whether it is in vitro molecular imaging, but just looking to the future and actually starting the development of these technologies and giving industry a boost that we actually put money in RND to actually do some research into these technologies, and I want to emphasize research.

We are also -- when we think about diagnostics, what we are seeing in front of us in terms of grain applications and interacting with industry and academia, we are interested in both sides of it, whether it is the pathogen, or whether it is the host response.

And we actually have been really excited by engaging in industry to actually look at things like microrays.  We hear a lot about microrays, in terms of how they can be used in terms of a diagnosis to look at multiplex things, lots of different agents.

And we are actually engaging in industry to actually once before us to put money in research and development to actually ask the question is it really going to be a diagnostic.

What can we do to move it from a research tool into a diagnostic, and so we are excited about that part of it.  And actually as you know the way that we do our business is through research is through grants and contracts, and in a peer-reviewed system to actually help us decide what we can fund and how we can engage with industry.

Traditionally, we have used grants, cooperative agreements, and contracts, but we realized right after September 11th that we really had to develop some new mechanisms to actually engage with industry and academia so that people can actually come together -- academia, industry, Federal agencies, to come together and present us with a package that we actually can review, and then eventually fund in terms of whether it is vaccines, drugs, or diagnostics.

And successful partnering is really our message that we want to present to people, whether it is with other government agencies, small companies, large companies, and private-public partnering is something that we are seeing before us that we are hoping is going to be very successful.

And we have some new mechanisms that we actually have forth right now that are actually geared towards cooperation between academia, industry, and other Federal agencies.

And we actually had them in place now for the last year, in terms of biodefense, and we have now added SARS to them.  The first program is what we call the NIAID cooperative research program for biodefense and SARS.

And it really will support research projects for the development of a product, and right now of course we are focused on diagnostics.  And this program is really to bring together academia, industry, government agencies, to actually put forth a product, a development of a technology, in terms of medical diagnosis, for us.

And this one really looks for earlier technology development.  We have another program that we have in place and we can give you more details later -- it is all on our website -- about receipt dates and stuff.  It is called the NIAID biodefense and SARS partnership.

This one absolutely is geared towards industry.  If you want to come in for this grant program, you have to have a substantial industry component.  And along with that you could have academia, other Federal agencies, but it really is geared towards industry to help in the research and development of a technology of a drug or a vaccine.

And we have invested pretty heavily in these programs, and I can tell you that we see grants, and people always ask us how large are these grants, you know, and that is the first question that we get from industry.

You know, we have seen a range of up to $2 million of direct costs that come to us.  We are not encouraging everyone to come in for that large of a grant, but we are serious in our investment in terms of research and development for technology.

So these programs are ongoing, and they have been very successful for us, and you will see them in the fiscal year coming up.  And we have our usual small business programs that we can still use in terms of technology development, and we encourage people to use that.

The second quick part of my talk I want to talk about is we have things in place, and messages, and we have grant programs in place where we can engage in industry, academia, in terms of technology development for diagnostics.

We also have -- and I think that it is really actually is part of part of our technology development program, we have a very intensive microbial genomics program at NIAID, and it runs from sequencing, to functional genomics, to prodionomics, to bioinfomatics.

And just for an example, last year NIAID put more than $28 million in terms of microbial sequencing.  And I think in terms of diagnostics that is going to have a large input in terms of diagnostics, providing targets for new and improved diagnostics when it is a PCR, or some other new technology.

So we are really excited about that program, and that is going to continue very strong for the next couple of years.  But let me just tell you what it is going to look like, and the message after all this is that NIAID has contracts in place that we can respond very quickly to the needs of the scientific, academic, and industry, and government agencies, in terms of what we can provide.

By the end of September, we actually are going to have sequencing centers in place that we can respond to national needs, industry needs, needs of the academic community, to get sequencing done.

So that is going to have a large input on some place where we can get sequencing done and we can move on, whether it is a clinical sample, whether it is an animal, genom, anything like that.

As accompanying to that, we are also going to have bioinfomatics centers in place, because if you are going to do sequencing, you are going to need the bioinfomatics.

We are going to have bioinfomatics centers in place where we actually can collect the data, and analyze the data, do comparative genomic analysis anything that is needed. build software tools, so again we have resources out there for the communities that need it.

We also have -- and that is in place right now, something called the pathogen functional genomic resource center that we actually can respond very quickly to the needs of the community, and I can show you a good example of that.  And these are all in the handouts and so I won't bore you with all the details.

Right after the SARS coronavirus genom sequence was actually out there in the public, we actually developed a private public partnership with Affymetrix, TIGR, and NIAID, and within a month of the sequence being out there, NIAID has made the human "SARS chip" freely available to anyone that wants it.

And it is a very easy process to get at NIAID, and the staff, the NIAID staff and myself, can give you information about it.  We have chips available, so we actually can move the research community forward.  And again, you know, they are out there.  We want people to use them, and this is just the beginning of the genomic resources that we are going to make available for emerging and re-emerging diseases, and biodefense.

And then I will just quickly summarize.  You know, when we look into the future, this is really our future, and what we call it is our infectious diseases preparedness, and our vision for the future.

And it involves antibiotics, safe and effective vaccines, looking at the immunology, learning about broad-based pathogenesis of the pathogens, and also to help in the development of simple and rapid diagnostics to detect, characterize, and quantify any infectious threat.

So that was really quickly, but I will stop there and I wanted to keep on time since I was the moderator trying to do that.  I hope that I kept on time.  Did I?  Okay.  Good.  So I guess we open it up to questions.

(Applause.)

DR. GIOVANNI:  So can we invite the other speakers to come to the table.  Thank you.  Okay.  So we are going to open it up for questions, and I would ask you to please come to the microphone, and state your questions, and then we will have our panel members answer the question, or start some discussion.  Don't be shy.  Can you also state your name and what your affiliation is.

MS. LEBER:  There is no microphone here, but I can talk really loud though.  My name is Amy Leber, and I here from Quest Diagnostics, and what I have not heard this morning yet is the world of clinical laboratory. particularly in the development of SARS tests.

And I would be interested in the comments from Dr. Gutman in particular in light of this from ASAR-3, because I think that some of my laboratory -- fellow laboratorians in laboratories across this country are developing SARS tests independent of industry and the FDA/CDC.

DR. GUTMAN:  Sure.  The SRA rule allows for a fair amount of freedom for our home brew tests, but there is a restriction that when the assay becomes too high a profile to risk, that entraps the ability to be Class I exempt and causes the ASAR to be regulatable.

The two -- there is only two pathogens that were cited in that manner at the time that it was written, because they were the only two that were actually imagined to fit the bill were HIV and TB.

And the notion was frankly that those assays would have a powerful impact on the person being diagnosed, but actually those assays or mistakes in those assays might have impacts on people who might come into contact as well.

And one example is where you have the incorrect or wrong diagnosis, and you get on a plane and you infect not only yourself, but everybody else traveling with you.

SARS seemed more like TB to us than like the usual Class I itself. and I still say it is more like TB to us than the usual Class I exempt products.  So that does not preclude laboratories like Quest or any other entrepreneurial lab from moving forward with the assay.

But it does require oversight that is not usual for the assay, and that oversight would be at point where the assay is being credentialed and would require an IDE, and at a point where the assay is being offered without informed consent and IRB oversight that it would require a PMA.

A PMA, as my industry colleague put on, might be a very pragmatic one that takes into account the unusual circumstances, and we dance around sampling and labeling issues.  But we would still want to have some threshold of safety and effectiveness.

So for Quest or other labs that are interested in that, my suggestion would be the same for any manufacturer, and for that matter any government entity fielding a commercial assay, which is come in and talk to us early, and have a dialogue with our group, and we will see what we can do for you, and we will see what you can do for us.

MR. KRAFT:  I am David Kraft from Walter Reed Army Medical Center.  Maybe the next step following Dr. Leber's question, no one has spoken from the perspective of the user, the clinical laboratory.

I might be sending something to Quest on the issues of -- can I get people's informed consent before they run that, or they, but perhaps also for Dr. Robertson as an LRN laboratory at Walter Reed from receiving your protocol, and approved by your IRB, but not approved by mine, and they come back and say, no, this doesn't fit our direction.

Perhaps Dr. Gutman could address how I get information to a reference lab and perhaps Dr. Robertson could address, as part of the lessons learned, how do us individual clinical laboratories transfer from the CDC to our own review committees?

DR. GUTMAN:  Well, your negotiation with reference to the lab is like that for any particular assay, that as you are ordering a test or understanding what the test requirements are, they may be a bit unusual in this case, and that they may require more information being provided to the health care provider or the user than would be the typical case they might require.

But the issue of communication between someone using a reference lab and the lab is not a new entity, because there are all kinds of unique twists and turns about how to collect certain assays and what kind of information is required.

This may be at the extreme end of it, but Quest or -- well, I don't mean to pick on Quest -- Quest or whatever lab is offering this, but as it is offering it has to offer it with the appropriate information so that it can be properly collected, and in this case that might require some kind of IRB.

MR. KRAFT:  Because that part has never been a part.  Everything up to the last half-a-sentence I will agree with, but the piece of the IRB and informed consent, as far as I know, has never been addressed industry-wide.  If it has, it has been simplified.

DR. GUTMAN:  Well, with regard to that, I must say that this is the first example of this particular problem that we have actually addressed.  So if you have imaginative ideas, put them on the table to help us address it, we would be grateful.

DR. ROBERTSON:  I'll pick up from there.  As he said, this is the first time that this has been addressed.  And from a CDC perspective we tried to have our IRB serve as a national IRB, and this was provided in a health care -- in a special letter that was sent out with all of the documentation.

To be honest with you, we have had multiple questions from State labs and from other LRN laboratories, and from hospitals now, relative to local IRB, and the necessity for local IRB approval, and I don't have a good answer for you.  I mean, this is an issue that I think needs to be resolved.

MR. BRAY:  Hi.  I am Kurt Bray from Beckman Coulter, and following up on Dr. Gutman's and Dr. Koziarz's presentation, it seems like that from what you said, Mr. Gutman, that the FDA is willing to be very flexible in terms of what is needed in order to accomplish the goals that we are all here interested in here today.

But at the same time you were sort of describing a pretty standard Class III approval, and I am wondering to what extent is the FDA prepared or contemplating adopting some of the things that Dr. Koziarz has talked about.

Specifically, approving Class III indications for identification only without a lot of clinical information, and also granting an approval where the pivotal trials that use only banked samples, given that there are no active infections that are ongoing.

DR. GUTMAN:  Yes, I was trying to make the point that we have a clear vision for safety and effectiveness -- I actually spelled out the regs for it -- but it does need to get more or less clear than that.

But I was also trying to point out the fact that if you read the regs that they also allow a fairly wide latitude in terms of the types of evidence that are allowed.  So I think that our review process is underrated in terms of its flexibility.

Our review process is probably underrated in terms of the balance that we might have between cautious labeling and narrowing intended uses, and datasets, and of course the Modernization Act does give us an opportunity to play around.

We don't have a lot of experience with the balance between pre-and-post market data collection.

So I think -- I can't be prescriptive.  I can't tell you exactly what path the group would follow, but we certainly would be very interested in engaging in a dialogue to figure out what the right path is.

We have a number of people, frankly many who are in this room, who are more familiar with this pathogen than I am, and who might be able to provide advice on what the least burdensome thresholds would be appropriate.

But we understand the public health exigency here, and so it is in all of our best interests actually to sit down and have this dialogue test by test, and company by company, and lab by lab, and see what we can do to make the product available.

MS. SAUREN:  Hi, my name is Nancy Sauren, and I am with RDD Consultants, and one of the real particular logistic challenges that all of the manufacturers looking to submit an IDE and PMA will have to face in this particular circumstance is dealing both retrospectively and with samples banked in foreign countries, where privacy issues may be handled differently.

What are the Agency's thoughts on the requirement for gathering currently informed consent for samples for which consent for research use was not given at the time that the sample was obtained?

DR. GUTMAN:  Well, the agency actually is addressing that not in this specific manner.  There is a lot of discussion frankly about a much more mundane test than SARS, and the agency has not actually developed a formal position yet on exactly how to sort through it.

It would be fair to say that the whole sensitivity of informed consent, and the use of banked tissues and repository issues, and frankly of taking material in and delinking and atomize, it is a higher sensitivity than it was 3 to 5 years ago.

It would be fair to say that not to provide specific enforcement discretion, but it is fair to say that we are anxious to work on helping people get these assays available.

We are not willing to break the law, but we certainly are willing to apply enforcement discretion or reasonable interpretations wherever possible.  And we do understand that internationally that there is a heterogeneity of rules of behavior, and we again are willing to work with companies to help them get products through.

So I can't give you a specific answer.  I can indicate a willingness to deal, a willingness to work, and an anxious and sincere interest on our part in helping to bring these diagnostics through.

MS. SAUREN:  Thank you.

MS. BRAY-WARD:  I am Patricia Bray-Ward, and I am from Yale University School of Medicine, and I would like to say that I sort of feel as if I am almost the only academic in the room.

And while there has been a great deal of discussion about trying to speed up the time table of the development of diagnostics and what not, there is no rapid mechanism for bringing academic labs on board.

The grant process is a very slow process, and I have to say also that much of my understanding of SARS comes from a historical, academically derived data on the behavior of coronaviruses.  And I do feel that the academic community still has contributions to make.  There is not a good funding mechanism.

I mean, there is good funding mechanism, but we are looking at the beginning or end of next year before labs can actually switch over in real time.  Our lab has been working since April, but in our spare time as opposed to having a real project.

AUDIENCE:  What is the question?

DR. ROBERTSON:  I would say from a funder of technology development, you know, I have to agree with you, that the time from sending in applications, to getting it reviewed, to processing and then awarded, is at this point nine months.

I mean, we are trying to speed up that process, but you are not seeing it today.  So we understand your comments.

MR. GORE:  My name is Steve Gore, and I am the Health Advisor of the (inaudible), which is the de facto of the Taiwan Embassy here in Washington, D.C.  I do have a question for Dr. Peiris of Hong Kong, but first let me take this opportunity to thank the FDA to invite people from Taiwan.

In fact, we have five persons from Taiwan who are attending this meeting, including Doctor or Professor Wang, who is a professor at the Taiwan University, and also persons from our CDC, and our National Labs, and which are doing the SARS outbreak in Taiwan.

And we appreciate your invitation and we look forward to working with the FDA.  We have a good relationship with CDC.  CDC has sent more than 25 health officers into Taiwan to help us out, and we really appreciate it, and we look forward to that.

But my question is about the facilities that Dr. Peiris just mentioned, that the second generation is as high as 96 percent.  I just wondered do you have any idea about the specificities, because in Taiwan, although it is important to have a high sensitivity tasked in the low specificity, but the problem of false positives is equally damaging and hampering Taiwan, especially when Taiwan was regarded as affected areas, and caused a lot of trouble.

So I just wondered when you said that the second generation of PCR is as high as 60 percent of sensitivity, I don't know where this is a possibility.  Thank you very much.

DR. PEIRIS:  Yes, thank you.  The second generation data that I was talking about is still in the process of being completed in essence, but certainly we are in the process of testing those 15 (inaudible) and 10 or 12 stool samples, and yet we tested 50 negative specimens as well.

And in that situation, none of the negative samples came up positive.  I must say, however, that the sensitivity that we are getting, in order to get this 90 odd percent sensitivity with specimens, you really do have to push the system to its limits in relation to the PCR itself, but more importantly in relation to the specimen extraction process.

And the question is if you have to apply this in  a real time diagnostic setting, I am quite -- I realize quite well that specificity could well be a problem when you are handling large numbers of specimens.

Just to put that in a context, during March and April our lab alone were handling 200 to 300 specimens a day, and trying to do PCR with that type of volume really does pose problems.

MR. HOUNG:  I am Huo-shu Houng from Walter Reed. Before we come to this number in general specificity or sensitivity, we must ensure that all the lab GOP comply.  I mean, that is the first essential.

And secondly depending on the sample type, and whether it is the early stage of infection or in two weeks, or convalescing, you connect the number as low as 10 to 15 percent, or to as high as 96 percent.

MR. LUCEY:  Hi, I am Charles Lucey from CBER.  There was some discussion in the clinical literature about superspreaders, and I was wondering if maybe your laboratory analysis had gone into looking at that question, and whether certain patients could be identified as superspreaders.

DR. PEIRIS:  Yes.  We have looked at the index case for Hong Kong, and I am sure that you are well aware with this patient, and we looked at bioload in this patient to see if it was markedly higher than what we normally see in patients, and that was not the case.  But that is only one patient really that we have looked at, at least in terms of bioload.

We looked in that patient to see if there was a multiplicity of genotypes and in fact that patient does have at least two variants, if you like, of virus in the protein.

I don't know what the significance of that is, but at the moment we are looking at other patients to see whether there is a (inaudible) in genetic sequence in other patients, but these are very early days as yet.

In total, there are only a very small number of superspreaders in Hong Kong, or for that matter in Singapore.  And they are spread out over major different hospitals, and even though we have a hospital authority which theoretically controls everything, it is not possible to rapidly get to all these specimens in an adequate period of time.

But that is something that is certainly that we are certainly looking at.

DR. KOZIARZ:  Okay.  I would like to thank everyone who participated in the morning session, and for Maria for being a wonderful co-moderator, and for everyone for staying relatively on time.  We would like to stretch and now take a break, and exchange places with the next set.

OIDD does always like to have the last word in every session, and so I would remind you that we have a process called a pre-IDE process, and in which we are willing to talk to folks when they are in the protocol phase, and when there is a twinkle in the eye feasibility phase.

So please don't hesitate to contact us to follow up on all of the unfinished answers that I provided this morning.

(Whereupon, at 11:10 a.m., the meeting was recessed and resumed at 11:18 a.m.)

DR. BABB:  Okay.  Everybody be seated.

DR. GOLDBERGER:  Good morning.  I am Dr. Mark Goldberger, and I am the moderator for Session II, Incorporating Diagnostic Testing into Clinical Management of Patients and into Public Health Practice of Patients.

We have two speakers today.  The first is Dr. Josh Metlay from the University of Pennsylvania, who will be talking about clinical management.  The second is Dr. Stephen Ostroff from the Centers for Disease Control, who will be talking about public health practice.  Josh, do you want to start?

DR. METLAY:  Thank you, Mark.  It is a pleasure to be here.  I am going to really try to change gears here quite a bit from what has been going on in the morning, and try to talk about this issue from the perspective of a physician in a primary care office or in an urgent care setting, or in an emergency department, because I think that context really needs to inform some of this discussion.

So I am going to talk in general about the clinical approach to the diagnosis of acute respiratory tract infections, and I am going to talk then a little bit about the diagnosis of pneumococcal pneumonia.

Now, that may seem like an odd choice from a transmissibility and from a pathogenesis point of view, it has really little to do with SARS.  On the other hand, in terms of some of the treatment options in the clinical presentation, not treatment options specifically, but treatment benefits, it may be an interestingly relevant example.  And it also has the added advantage that I know something about pneumococcus, which is a good thing for your speaker, I think, in general.  And then I am just going to conclude with some considerations of how these sort of lessons, these epidemiological lessons for a physician, might apply to the development and application of a SARS diagnostic test.

So, I am outlining here -- and Steve will sort of elaborate on -- the sort of distinctions here between the physician and public health perspectives.  As a physician the issues really here is when a patient comes in with an acute illness are determining the need for anti-infective therapy, then targeting that therapy.

And in some such situations, risk-stratifying, based on the presumed pathogens in terms of the site of care and some other management issues.  Those are the time-dependent issues that we are facing.

From a public health perspective we are talking about surveillance and infection control, and having adequate samples or patients for clinical research.

These are really distinct, and as a consequence some of the considerations for what has got to be in a diagnostic test are different, okay?

So that from a physician perspective, we are talking about something that has to be rapid, and I have used the concept of bedside capability, perhaps not literally that it has to be done at the bedside, but that it has to be in real time and can provide information that can inform these physician decisions.

And so some examples are that there are some things that could really be done at the point of care, in contrast to what I have listed in some sense time insensitive, although they are not completely time insensitive, obviously, to the public health perspective, and the role perhaps of some of the other kinds of diagnostics that we have heard about.

So I am going to anchor my comments, which will not be that long, because I really want to engage in discussion, around a model of thinking about diagnostic tests used for physicians.  This is only a way to give it some kind of quantitative way to think about this problem.

It is certainly an imperfect model, but nonetheless a useful one, and it was proposed over 20 years ago by Pauker and Kassirer, is what is called the test treatment threshold model of how physicians would think about using diagnostic tests.

And what they proposed and has been used in a lot of other settings, although not much in the setting of acute respiratory tract infections, in this concept that we think about the probability of any infectious agent going from zero to a hundred percent when we see the patient.

And that there is a realm in which the probability of that pathogen -- SARS in this case -- is so low that there is really no point in pursuing  any further diagnostic testing.

On the other hand, there is another realm towards the right where the probability is so high that we are going to empirically treat or initiate management strategies that we think are SARS- appropriate, and in between it the realm that we are going to apply the diagnostic test.

The thing that you should see from this is that we don't need to demand a hundred percent positive predictive value, or zero percent negative predictive value to be in those two extreme boxes.  That will never be the case.

So really the question is, where are those thresholds, because they are not at zero and 100.  If you wanted to quantitate this, and I think that this starts to get a little bit into the two numerics and gets from the art of medicine, one could actually quantitate where those thresholds are, knowing the specificity and sensitivity of the tests, and the risks and the benefits of the treatment that you are deciding on, assuming that there are no risks of the tests.  And we are leaving aside the economic considerations.

So you can see that what starts to become important here obviously, which has already been brought up, is some sense of what are the costs of false negatives, missed opportunities to treat, and false positives -- treatment when it wasn't necessary.

So this would be the decision not to test, or to test, and then one can calculate for the decision to test or to treat.  So I am going to think about this just as a patient coming in to see me with a productive cough and the issue of whether they have pneumococcal pneumonia.

And so I have rewritten this now, just to consider the probability that the underlying diagnosis is one of strep pneumonia.  So the factors that have to go into this decision from the clinical perspective then is some consideration of what the pretest probability of the disease is, something we haven't talked a lot about, but which is clearly key in understanding the interpretation of any of these diagnostic tests.

We need to consider the test costs if they exist, and we need to understand the operating characteristics of the tests, which we have heard about.  And then we need to talk about the treatment risks and benefits, which we have not heard much about, of course, because this is really a sort of a yet-to-be-done.

So what are our pretest probability?   This is in some sense the part of this exercise that really irritates a lot of physicians, particularly physicians in training, because the implication is that your perfectly calibrated test could yield a different answer in the hands of two different physicians, if they used the test for different pretest probabilities.

So it provides a kind of a movement to this interpretation of a test, and there is no specific result here, that we just all have to get comfortable with, because that is the reality of medicine.

So we begin usually with a population-based estimate of the probability of the disease.  In the case of a patient coming in with a cough illness, we have done some of this work -- many others have.

It turns out that only a very small percentage of the people who come through the door with an acute respiratory illness have an underlying pneumonia -- we have given estimates there of about 4 percent -- and most of the other diagnoses are more upper respiratory tract types of infections, or exacerbations of underlying lung disease typically associated with viruses, which as Mark has mentioned used to mean no need for therapy.  So this is another place that we are starting to move into new territory.

Obviously each patient is not exactly the same, so there are characteristics of patients that help us focus in on the probabilities of disease, once they come through the door, based on science and symptoms, which lead us to think that they have pneumonia, and then given that they have pneumonia, lead us to believe that they would have, for example, pneumococcal pneumonia.

And others -- and we have as well -- published data to give you some sense of, for different kinds of symptoms and signs, how should you think about that patient differently in terms of their probability of having a specific disease.

And I will summarize a lot of this by saying, the more they have classical findings sort of suggestive of an underlying pneumonia, the more you move to the right of your probability.

But you rarely get above 50 percent.  You are at best sort of in the middle, even in the classic presentation of a patient.  And in a patient who otherwise looks quite well, you probably can get your probability down to the 2 to 5 percent range.

So that gives you a sense of what's the probability that a patient would have pneumonia, and by that I mean something that we would confirm with chest radiography.  And then we want to ask, well, what is the pathogen, and I will summarize a lot of what I think is somewhat controversial work and say that, once the diagnosis of pneumonia is established, the history and physical is of little value in targeting antimicrobial therapy.

And both the IDSA and ATS guidelines, the front pages of which are outside, advise against targeting therapy based on the history and physical.  So, although, and I will mention this at the end, we have heard a lot about sort of some interesting patterns of clinical symptoms and signs that go along or against SARS, I believe that we are not going to see that those turn out to be particularly clinically useful in making clinical treatment decisions.

So just some numbers then.  We have to think about this in the context, and in the U.S. at least, of 30 million visits to physicians in emergency departments, urgent care centers, and primary care offices a year for cough illness.

Five percent of those, as we've said, perhaps will have underlying pneumonia -- anywhere from 30 to 50 percent of those probably have pneumonia due to pneumococcus.  So one might say that one percent of the patients who are coming through the door have a pneumococcal pneumonia.

So one percent, which sounds small, is already log orders greater than we would be considering now for a patient coming through the door in terms of the probability of SARS.

So if we now move on to consider some of the other characteristics that I mentioned -- I will just put up here some test characteristics of some tests on influenza, just to be provocative -- and think about how that might relate to some of what we have heard today.

But I am going to pick here on the low-lying fruit here and talk about the gram stain, because that has been sort of the unfair whipping child of this business.

And I will use the sensitivities and specificities that most people will agree on.  And I will argue that if we want to estimate the risks and benefits of treatment, we don't have a lot of good data.  And I participated in an FDA conference last year that Mark held which really tried to get at this issue of what are the real incremental benefits of giving anti-infective therapy to people with respiratory tract infections.  And the answer is, to a large extent, we don't really know.

And risk is also in some sense even more nebulous, once we begin to think about massive use of these drugs.  So if you just do an exercise, just looking at historical data and comparing the pre-antibiotic to the post-antibiotic era, you might center into a feeling -- if we look at the second set of bars -- that amongst all patients with pneumonia, there has been about a 12 to 13 percent decline in mortality that could perhaps be attributed to the use of anti-infective therapy.  So 25 percent to about 12 or 13 percent mortality.

So a treatment benefit perhaps of 10 to 15 percent.  A treatment risk out of nowhere -- I will just throw that out there to get us going -- of one percent.  And that leads us to calculate, based on the formulas I gave you already, a no-test threshold of 2 percent, and a test treatment threshold of 14 percent.

So what that looks like now is that the patient coming through the door, we are not going to pursue the diagnosis any further at a probability of less than 2 percent, and we would empirically begin therapy if the probability of pneumococcal pneumonia is greater than 14 percent.

Well, I already told you that probably no more than one percent of patients coming through the door at any one time have pneumococcal pneumonia.  So for the average person coming through the door, no more diagnostic testing is going to be warranted.

And then once the diagnosis of pneumonia is established, they are probably in the 20 to 50 percent range probability to have pneumococcal pneumonia.  So you are comfortably in the range of empirical treatment.

So this is not the only explanation, believe me, but a good explanation -- if you will -- of why nobody does diagnostic testing for respiratory tract infections.  Because they are always to the left or right of that center box, which is actually relatively narrow.

And gram stains are not used, by and large, at all in the management of respiratory tract infections these days, and this is at least one explanation for why that is the case.

So, some lessons that I just want to sort of point out is that until the pretest probability of the pathogen is much greater than one percent, diagnostic testing is unlikely to be indicated in routine practice.  We need to keep that in mind.

I know that we are now in a situation in which we don't have new cases, and we were in a situation in which we were really doing with sort of localized epidemic situations.  But one could imagine a situation in which the pathogen became endemic, and which we would have to start to think about pre-test probabilities if you are in Philadelphia, or Los Angeles, or anywhere, and not just if you are in Toronto or in Hong Kong.

Unless the diagnostic test has excellent operating characteristics, the testing window will be narrow.  And it could be considerably narrow, especially if effective treatments exist, because they are going to drive down that threshold quite a bit, and people are going to use empirical therapy.

And I will just give you one graphic way that I like to think about this problem in general.  If we think about the pre-test probability that someone has SARS, for example, ranging from zero to a hundred percent on the X-axis, and we want to see the impact of the tests on the post-test probability, the orange curve is giving us the result for most of the tests that you are describing, in terms of how much it would increase our probability if the tests were positive.

And the lower orange curve gives us the result if the test is negative.  And what you can see is that for any given probability before you do the test, a positive test certainly raises the probability, and a negative test certainly lowers the probability.

But unless you are in the middle where you get the most action for your test, when you are at the margins, you don't get a lot of movement for that test.  So if you really have a high level of probability, the test is not going to rule it out.

And if you have a very low suspicion, the test is never going to rule it in, no matter what the operating characteristics are, unless they are darn near perfect.

So I will just close by suggesting that the issue that we are really thinking about is that kind of test for SARS in the middle there -- whether it is a DNA amplification, or some kind of immunoassay -- is where are those thresholds going to operate for clinicians, to give you some kind of guidance on what kind of tests should we put out there and how should we label them.

We have case definitions which are largely now driven by epidemiological factors and exposure history, but absent that, look a lot like a pneumonic illness coming into a hospital.  So as long as we still have the second bullet, I think we are probably in okay shape, but as soon as we start to lose that, all bets, I think, are going to be off.

And so I will just close by saying that we must emphasize the importance of local surveillance in disease reporting.  You need to know the probabilities in your region, or you really can't use these tests accurately.

If you don't have local cases, I think that diagnostic testing will not be supportive without epidemiological exposure.  I suspect that we would agree to that now, but who knows how it will be a year from how.

And given competing reps for pathogens, it is unlikely in my opinion that science and symptoms will further modify the pre-test probability.  So we will look very much to the use of diagnostic tests, but hopefully they are going to be used in the appropriate situations.

Let me conclude there.  Thank you very much.

(Applause.)

DR. OSTROFF:  Thanks very much.  I am just going to very briefly go through a fair number of slides to give a little bit of a public health perspective about SARS diagnostic testing from the standpoint of an epidemiologist.

Before I do that, let me just take an opportunity from the CDC perspective to thank FDA for both putting on this meeting, as well as for taking a leadership role in moving forward with SARS diagnostic tests.

Although Eddie Robinson said that sometimes CDC and FDA talk different languages, I will point out that we are in the same department, and that we are definitely partners, and I think that we are partners in the truest sense of the word.

And I think from the standpoint of CDC, we are partners with FDA, we are partners with the scientific community, and we are partners with the industry, in terms of trying to meet the particular challenge of SARS and all the other challenges that we have before us.

And I also listened very carefully to the comments from Dr. Koziarz about the West Nile model, and I think the West Nile model was a very good model, and he said that the industry rapidly rose to the challenge.

At least from my perspective, West Nile has been here since 1999, and the challenge that was put before the diagnostic industry had to do with screening of the blood supply in response to last year's major outbreak that occurred.  But certainly we would have liked to have had been a lot further along than we actually were, when all of this hit us last year.

So if we are using that as the model, I don't want to be in the same position four years from now without having the availability of the types of diagnostic tests that we need.

What I am going to do, very briefly, is talk about the international and domestic experience with SARS, although a lot of this has been covered, and then talk about some of the public health imperatives for SARS diagnostics.

It is always important, when you give a talk on epidemiology, that you have some case definitions, and I think as you listen to the presentations that occurred earlier in the day, it is important to look at what the case definitions actually are for SARS diagnosis.

And these are the case definitions that are currently in use in the USA, but they basically do mirror the approach that was taken by the World Health Organization.

And that is that the case definition for SARS is a combination of certain clinical features, being fever of greater than 38 degrees in respiratory illness; radiologic findings, including pneumonia or respiratory distress syndrome, for autopsy findings of the same type.

In addition to that epidemiologic criteria, which was a travel history within 10 days to a SARS- affected area, or close contact with a known or  suspected SARS patient.

The laboratory criteria that were added, once the diagnostic tests were available, were antibody to SARS coronavirus, acute or greater than 28 days convalescence, SARS coronavirus RNA by RT-PCR and the second PCR assay, or virus isolation.

The case definitions for suspect were simply that clinical and epidemiologic criteria for a probable case clinical and epidemiologic criteria, plus radiologic or autopsy evidence of pneumonia or respiratory distress syndrome.  And for us, confirmed is to have a positive laboratory test, which is the important reason that we need good laboratory tests to be available.

This is the map from a week or two ago.  It hasn't really changed since then, as you all know, showing that this definitely was a global problem.  There were probable cases of SARS, and you will note here that it only talked -- that from the WHO perspective, they only counted probable cases.

There were probable cases that were identified on all continents around the world, with the exception of Antarctica down there on the bottom, and so this was definitely a global problem, and there is a large need out there for diagnostic tests, not only here in the United States, but throughout the world.

In the United States, there were over 17,000 individual reports that we received of potential individuals with this disease.  Of these, 423 persons met the case definitions that I put up on the screen before.  Three hundred and forty-eight of these, or 80 percent, were identified as suspected cases, and 20 percent of these were identified as probable cases.  This is just some demographics about those individuals -- when you are thinking about the development of diagnostic tests -- 22 percent of them were in individuals less than 18 years of age.

The vast majority of them were in what I call young adults -- and 64 looks younger to me all the time -- about an equal male-to-female ratio, and about 50 percent of these in Caucasians, and about 50 percent of these in Asian-American individuals.

About 24 percent of the suspect cases were hospitalized for at least one day, and 61 percent of the probable cases, being that these were individuals with pneumonia for the most part.

This is an epicurve looking at the distribution of the occurrence of the probable and suspect cases here in the United States.  And I will point out to you that we continue to get sporadic reports of potential cases.  And for all of you who heard the reports on CNN at the end of last week about potentially some servicemen that came home to Texas last week where this diagnosis was considered, we have ongoing needs in relation to SARS, and while we are in a lull in the battle, now is the time to catch our breath and look towards the future.

This was a national problem from one coast to the other, with the largest number of probable cases being identified in California and in New York, as one might anticipate.

Among the probable cases, 97 percent of these were individuals who reported travel to areas with documented or suspected community transmission.

One was in a health care worker caring for a SARS patient, and one was in a household contact of a SARS patient.

So for the most part, we were looking at a circumstance from the public health perspective, where we were looking at travelers coming home that fulfilled the case definition to be considered a probable case of SARS.

As far as the laboratory is concerned -- and these are data that were timely provided to me by Bill Bellini from our laboratory -- this is the totals of specimens that were just received at CDC.

And I am not going to go through each of these categories, but suffice it to say, down there at the bottom on the right, that we received a total of over 5,000 specimens for diagnostics.  They were a whole menagerie of different types of specimens, ranging from autopsy specimens to NP swabs to sputum, to stool, to urine, as I am sure was similar to the experience in other parts of the world.

And in light of some of the comments that were made earlier about the need to have specimens well characterized, it is important to point out that for the nasal pharyngeal swabs, and for the serum, a substantial proportion of them we don't quite even know whether they were acute or convalescent, because they were just coming into the laboratory, and were there for the testing.

In terms of the diagnostic findings, as far as the serologies looking at 2,742 specimens that were tested, we have had 188 of these, or 7 percent of these, that were positive.  I will point out that the vast majority of these are specimens that were sent to us from outside the United States.  These are not domestic specimens.

As far as RT-PCR is concerned, there were 44 positives or 4 percent, and I think that it is also relevant from the public health perspective to also point out that among specimens that were tested for human metapneuma virus, that there were also a substantial proportion of them that were tested.

And this once again raises the issue of other agents possibly being associated with SARS and the need to have assays that not only are directed specifically against SARS, but can look at other pathogens as well.

Domestically in the United States, as I am sure that all of you are familiar with, we did not have a lot of individuals that were confirmed as having SARS.  There were 8 out of 45 probable cases in which we currently have what we refer to as interpretable results, meaning that we have a convalescent specimen at this point.

We have the same problem that was mentioned from our colleague in the U.K., in terms of getting convalescent specimens from individuals.  And among the suspect cases that were mentioned earlier, so far none of them have shown any evidence of being positive, and I believe that this number more recently is up to about 160 of these individuals, in which we have interpretable results.

Among those eight individuals, seven had a travel history; four to Hong Kong, two to Toronto, and one would travel to both Singapore and Taiwan, and one was the spouse of a lab-confirmed SARS patient who had also traveled to Hong Kong.

So why do we need good SARS diagnostic tests for public health purposes?  And I think, similar to the previous speaker, as was pointed out, there are a whole variety of reasons why we need good diagnostic tests.

And certainly from the public health perspective, it is also appropriate for clinical management, both current clinical management, as well as future clinical management, in terms of the availability of therapeutics and prophylaxis.

And it is very, very important for disease surveillance, and SARS is somewhat unique in that we do have -- for surveillance purposes -- we do have needs for rapid diagnostic tests, and we also have needs for less rapid diagnostic tests to be able to definitively characterize when and where SARS is occurring.

When you think of the case definitions that were used for SARS, with the requirements for a travel history to a SARS infected area, when you look at respiratory tract infections in travelers, these are data from an article that was published earlier this year in Clinical Infectious Diseases, more than 600 million persons travel annually.  Twenty-five percent of these individuals develop respiratory symptoms during travel, and 10 percent following travel.

Ten to 20 percent of these individuals develop acute respiratory infections, and among travelers seeking health care at a travel medicine clinic, acute respiratory infections are the second leading complaint.

And so I think the bottom line, when you see data like this, is that we are going to continue to have large numbers of individuals coming back from areas that are at one time or another going to be considered SARS diagnostic areas, or previously were SARS affected areas.

And somebody is going to want to have a test to be able to determine whether or not the disease has resurfaced, or to be able to better characterize the illness in these individuals.

From the public health perspective, there is also a great need for a fairly rapid diagnostic test, because the diagnosis itself has tremendous consequences from the standpoint of how to manage a patient both in the hospital, as well as in the outpatient management setting.

And when you are doing things like this to patients that may have this particular disease, such as putting them in negative pressure rooms and having to have special wards and special hospitals designated as your SARS care hospitals, you really do need to know whether or not these individuals actually have the disease.

And so in terms of infection control management, which is a public health responsibility, in addition to a clinical responsibility, we really do need a very good rapid diagnostic test to be able to tell what the appropriate management strategy is for the individual patient that may be coming to the hospital.

There is also issues related to community-based isolation and quarantine, and as all of you who followed the SARS saga along know, there were certain things that were done to individuals who both had the illness, as well as for individuals that were contacts of persons with the illness, in terms of community isolation and community quarantine.

This is just a picture of what was done in Taiwan in terms of setting up cordon sanitaires around particular neighborhoods.  And if you are going to be taking public health measures like this, you absolutely do need to definitively know whether or not you are dealing with SARS or not dealing with SARS, and so there are a lot of good public health reasons for us to need very good diagnostic assays.

This is in reference to that recent situation in Texas.  This is from last Friday, and as you can see here, it says here the initial tests results from the laboratory samples taken from eight Dyess Air Force Base members that may have been exposed to SARS are negative for the virus.  And it also says, although the early samples are negative for SARS coronavirus, more testing is being conducted to rule out infection.

Definitive results may not be in for another 2 to 3 weeks, and then if you look at the bottom paragraph, it says all are currently stable or improving as of this morning.  They remain isolated in their homes and have been instructed to stay there until released.

And so if you think about it, it would be nice to have more definitive diagnostic tests that don't take 2 or 3 weeks to get the answers back, so that you know how to appropriately handle these types of situations.

There are also a lot of other rationales as to why we will continue to need good diagnostic tests for SARS now and in the future.  There is the issue of contact tracing and testing, as was mentioned earlier, when you have circumstances on airplanes, where you have an individual with SARS, and you have to go about trying to determine whether other people who may have been on the same plane were exposed.

You need a good diagnostic test to be able to categorize those individuals.  There are a lot of epidemiologic investigations that were done, certainly looking at the cohort of individuals who stayed at the hotel in Hong Kong.

There is environmental sampling which requires diagnostic assays.  There is potentially product sampling that would need to be done.  There is the evaluation of issues related to viral shedding which requires diagnostics.

And while I put on here blood supply and screening, if you think about the West Nile situation, nobody really thought about the need for screening of the blood supply for West Nile until we realized that there was a problem, and it would be nice to think about it ahead of time so that we are not once again caught in the same situation that we were with West Nile -- about realizing after the fact that we need these diagnostic tests.

So it would be nice to do a little bit of work in that area before we get into a situation where we realize that we should have been doing it ahead of time.

The last thing that I will close with is that in addition to a good SARS diagnostic assay, we also need good assays for the co-factors, and I will point out that as far as the human metapneuma virus and the chlamydia, folks were not wrong about those particular diagnosis.  Those organisms were also present in some substantial portion of patients.

And one of the problems that we have is that simply finding one of these agents does not necessarily exclude the individual from also having SARS, and an individual having SARS doesn't necessarily exclude the possibility that they have one of these other agents as well.

It is very important for us to need to know whether or not the patient has SARS.  It is very important for us to know if the patient has something else.

And the bottom line for us is that it would be very nice to have very good multiplexed assays which look for the whole gamut of organisms that we need to look at to be able to best characterize illness in these particular patients.

And so I hope -- if there is one message that I get across -- is that while we are all sitting here talking about SARS diagnostic assays, we really need a multiplex of better assays to be better able to definitively diagnose what people have.

That is important for clinical management, and it is important for public health.  So with that, I will stop, and thank you very much.

(Applause.)

DR. GOLDBERGER:  Hopefully we have time for a few questions.  Go ahead.  Please identify yourself.

MR. PRUDENT:  I am Jim Prudent from EraGen Biosciences.  I was curious.  You mentioned on a topic that we are extremely interested in, and that is multiplexing a number of different targets besides the SARS virus for respiratory disease.

Do you know where a good place or who has the best list, or the most up-to-date list of what those would be?

DR. OSTROFF:  Well, to me as an epidemiologist, or someone who is a little closer to the world of respiratory pathogens, possibly you may want to comment as well.

But from our perspective, when I talk about things from the public health point of view, there are a number of respiratory organisms that have great significance, in terms of their public health diagnosis, whether it is Legionnaires' disease, or whether it is microplasma, or whether it is chlamydia, or whether it is SARS, or whatever it happens to be, that might not necessarily have the same impact or consequences from the clinical perspective.

So there is -- you know, looking simply at the SARS circumstance, it certainly would be nice to have a multiplexed assay that would allow you to recognize some of these alternative diagnoses that were mentioned here that were found in some of these SARS patients, as well as to be able to identify SARS.

I don't have a definitive list of what I would like to see in a multiplex, but I am sure probably Dr. Anderson this afternoon might want to comment a little bit further.

DR. METLAY:  Let me just add that the way that I would approach the problem is that I would think about it in terms of what are the issues relevant to treatment decisions.  And I would be less epidemiological if the perspective is more from the clinicians point of view.

So what are the pathogens whose absence would change therapy, or whose presence would add therapy to it?  And this is a tricky problem indeed, because we know most of our current guidelines for the management of lower respiratory tract infections are based on observational data, which is not particularly linked to pathogens, but more to sort of risk-stratifying patients into different disease groups.  So we have a disconnect here between an infectious disease, in which we would like to have pathogen-directed therapy, and empirical therapy, which is in no way really clearly pathogen-directed.

But I think in general if I were thinking about this, I would like to know which other things I want to make sure are not there, because I might, for example, not add a basal -- might not add a macroite, if I really didn't think that chlamydia was an issue here or pneumococcus was an issue.

DR. GOLDBERGER:  Does anyone else from the audience have any questions?  Let me just ask Josh, then, a quick question.  The example that you used for your model was pneumococcal pneumonia.  How much, if at all, would things change when we consider an illness like SARS, which is potentially much more transmissible?

DR. METLAY:  Well, I think that I tried to model it on the simpler way of thinking about it, because from a therapy point of view, which had to do with treatment, because then the consequences of not treating, I think, have become a little bit clearer.

I don't know how to think about this.  One would imagine that one would have a very low threshold for isolating someone who had even a somewhat elevated clinical suspicion for SARS.

The example that I can give you is that I know that in our own clinical setting, in our own emergency department, that we had a period of time in which, you know, masks were being put on virtually every patient who came in with an acute respiratory tract infection.

I suspect if you went through the exercise I just did that it would be hard to justify that, and yet in the context of what was going on, it was hard to argue against that.

And I think that this is a little bit of what I alluded to, where sort of the quantitative approach to this will only take you so far, and then there is this sense of sort of the gestalt of what is really happening before you, and how willing are you to be wrong here?

So I don't have a way -- I don't think that is going to fall as neatly to a way I have approached this, as a specifically therapeutic decision that it would fall into.

DR. GOLDBERGER:  All right.  Last chance.  Any other questions?  Did you want to give some direction with regards to the lunch hour?  Something that is always of great interest to the audience.

DR. BABB:  For those audio participants, we will reconvene about one o'clock, and for the people here there are several places to eat within walking distance, or there are restaurants here in the hotel.  So we will see everyone back at one o'clock.  Thank you.

(Whereupon, at 11:57 a.m., a luncheon recess was taken.)

A-F-T-E-R-N-O-O-N  S-E-S-S-I-O-N

(1:20 p.m.)

DR. NICHOLSON:  Welcome back from the morning session.  We are ready to go for Session III now, Specimen and Control Materials for Test Development and Evaluation.  We heard this morning about reports from some of the affected areas and the laboratory testing that was done there, and about the development of an IDE that was done in the United States.

We heard a little bit about some of the concerns with the manufacturers.  We heard something about plans at the NIH.  And in this session, we are going to talk specifically about those materials that will be needed for the development, evaluation, validation, of diagnostic assays, and how that could be done.

I am Jan Nicholson, and I am the associate director for laboratory science in the National Center for Infectious Diseases at CDC, and we have a great group of people up here to talk about a wide variety of issues in this area.

We are going to start off with Cathy Roth from the WHO.  She is the project leader of Dangerous and New Pathogens for the Global Alert and Response in CSR at WHO.  Cathy?

DR. ROTH:  Hello.  I am going to talk about the WHO perspective on diagnostic and laboratory needs, including sample banking.  I realize that this is a little different than what is on your agenda.  The reason for the deviation is that I think that we are not really at the point where we can say precisely what the WHO agenda will be and I hope that this meeting will be one aspect of the process of finalizing that agenda.

So just to begin with the process for the detection and response to SARS, as many of you may know, the response to SARS  was characterized by the very rapid convening of a virtual laboratory network, first to determine the etiology, and then to try and develop some diagnostics.

This group was convened virtually over a weekend in mid-March.  It involved 13 laboratories in 9 countries, with daily telephone conferences, and identification of the coronavirus was announced at a face to face and also video meeting on the 16th of April, basically within a month.

I think that this was really an unprecedented achievement.  In addition to the laboratory network and I am mentioning these because they will have relevance to our approach for both diagnostic development and sample and reagent banking and archiving, there was also a virtual network of SARS clinicians, a virtual network of SARS epidemiologists, the WHO partnership global alert and response network, and also fielded lab scientists to teams sent to countries.  And also there was a modeling group, both virtual and actual, again from participants from 10 constitutions.

All of these groups had a secure website, and I think that we are working now towards unifying these websites with specific areas so that all the different groups can have access to the conclusions and the possibility of discussion with the other disciplines whose thoughts should inform their work.

The achievements of the lab network were: number one, its establishment and development very rapidly of useful assays.  We have heard about some of the phases of the development earlier this morning.

The consultation was already mentioned, and it coordinated an international scientific research program to understand antibody kinetics, roots and parents of virus transmission, and excretion, very rapidly published information about environmental stability of virus, which was very, very important to the infection control measures in hospitals, the main amplifiers of outbreaks, and also has initiated and continued research to find and characterize the animal reservoir.

Also this group has accomplished and continues to accomplish synchronizing the virus strains.  It has already performed evaluations of some of the diagnostic tests that have been developed.

It has prepared guidelines on the use of laboratory tests for diagnosis, and it has developed procedures and guidance for the sampling of patients and  performance of tests for labs that may not have been involved in the initial development phases.  It has published the results of research on the stability of the virus, and a number of other scientific papers by the members of the group.

It has also already begun to conduct training courses in diagnosis.  The first one has been held in Beijing, and there are other courses planned.  The next one will be held for African labs in the late summer.

It has provided support to national reference labs, which were identified by Ministries of Health, by direct nomination, or by WHO regional offices.

It has produced and distributed various standards reagents, referenced antigens, referenced sera, and it has also encouraged and is producing reagents for participation in proficiency testing.

It is produced and distributed by the good graces of some of the partners, including the Rober Koch Institute in Germany, gamma irradiated whole virus standard, and also acute and convalescent sera tested, validated, aliquotted, and realphalized (phonetic).

It has allowed other labs to have access to kits developed by its members and it has already created one specimen bank in Hong Kong under the aegis of Dr. Youlinda Lin.

In the middle of June, there was a global meeting of many of the partners in countries who had participated in the response to SARS either from having outbreaks in their countries, or having contributed to laboratory, or clinical, or field teams.

This was held in Kuala Lampur, and in this conference there was both the review of all the evidence so far, and an attempt to identify in various breakout groups the topics that should be the basis for the next work on SARS to be coordinated by WHO or other partners.

I have included here some slides that were the conclusions of the breakout group for laboratory issues.  They identified the major needs as further work on animal models, for pathogenesis, to understand better the evolution of disease, and for vaccine and anti-viral testing.

They have also encouraged the need for a priority for vaccine development, evaluation of different vaccine constructs, epitome mapping, other issues that they feel needed very careful attention, and a fair amount of resource input were further work on strain diversity, anti-viral drug screening, human monoclonal antibodies, diagnostic test development, with an emphasis on timely and reliable tests.

They felt that there was a very strong need at this stage to emphasize the need for standardization, and also the need for a well-pedigreed panel of specimens to validate future diagnostic assays: blood, serum, sputum, stool, urine, pathology samples.

And that these sample archives should be linked to clinical details and that there also should be standard panels created of SARS strains.  They also emphasized the need for the development of reagents and reagent banks.

That there should be a repositories of both reagents and isolates. The WHO should have the leadership in establishing the repositories, but they should function as a result of an international collaboration, and that there was a need for both live and inactivated virus, and a need for additional sequencing of SARS and non-SARS coronaviruses.

And there should be guidelines for the distribution of virus and that the real priority was reliable tests for clinical triage.  They identified a time frame of positivity between 2 to 7 days after symptom onset.

Well, our current priorities are in the process of being derived from their conclusions, and what have been the events of the last few weeks, and also of course what will be the events of the next few weeks, and whether we will see renewed virus emergency there in the short or the medium term.

I think our current priorities for WHO focused very much on those aspects which are public health priorities, and particularly those aspects for which there may not be any other incentive structure to encourage people to perform the work.

And also to help coordinate work done in different centers that may achieve full value when it is looked at in a collaborative manner.  So I think at the moment we would feel very much along with the breakout group, and along with the views expressed by many of the speakers this morning that we have a desperate need for a reliable, quite early, perhaps day one to two, virus or antigen detection assay which is lab based.

This will allow us to perform safe case management, conserve all these resources that were mentioned by earlier speakers, and would be able to act as confirmatory tests for another very clear need or a reliable early near patient screening assay.

Now, I know that many people who work in labs will recoil in horror when one talks about near patient assays, but I think the reality for many of the countries where WHO works is that there is no easy access to a lab and patients may have to pay for samples that are sent to a distant lab.

Clinicians do not even bother to consider the diagnosis in such cases if they know that they are not going to be able to get confirmation.  There will be no diagnosis and there will be no surveillance.  We need a near patient test for screening, which can be confirmed by laboratories either within the country or through a network of reference labs.

And I think that this is clearly a need for domestic isolations and prevention of some of the terrible hospital-based outbreaks that we saw in some of the countries where SARS was established in the last few months.

We need a network of reference labs and the logistics to support the transport of samples for countries without adequate lab infrastructure.  We need sensitive and specific antibody assays, preferably in several different formats for confirmation, for complementarity, and also because I think that it is going to be very important to have assays which are going to be valid for the different population groups which will have to be addressed.

And I think many people who have worked in the international field have had the experience of having an assay which performed very, very well in the European setting, and being absolutely useless, for example, in an African setting.

So we need a variety of assays that will be appropriate for all the populations at risk.  And we need -- I think -- very, very, importantly to link and analyze the epidemiological and clinical data, link it to the lab data, to answer some key questions which are relevant both to diagnostics development and to disease transmission.

Well, to achieve all these objectives, there is going to have to be a process, and this is really what I hope we will be arriving at over the next weeks.  Our plans are to review and expand the current laboratory network.

There are a number of partners now who were not members of the original group who have much to contribute.  Some of them are in this room, and other labs, I think, can be brought in as time passes.  And we intend over the course of months to expand this from initially a SARS specific viewpoint to take in the capacity to be a lab network in support of other dangerous and new pathogens which are going to be the focus of our group, currently and in the future.

We need to establish, I think, an expanded number of sample banks and repositories.  We need both sample archives and reagent archives.  We must agree on the number and localization.  At the moment, there is only one.

But it certainly is our experience, based on our experience with smallpox and other diseases, that it is probably unwise to have all of your repository eggs in one basket.

Things can go wrong, and institutional priorities may change, and there can be earthquakes.  It is quite a good idea to have them distributed for purely practical reasons like that.

But also because I think that the number of different sites where SARS outbreaks were large and the number of other partners who were deeply involved in the supporting process for diagnostics development -- all will have different aspects to contribute.

And there is no need for the repository to exist in one place at one time.  I think we also believe that there should be a panel of coordinators for each repository, to ensure that all the needs of the various partners on other sites can be addressed.

There is a need for a panel of specimens to validate future diagnostic assays, and I think there is also a need for a database to be devised that will cover all the repositories, linking not only the archive material in the database, but also -- as mentioned earlier -- clinical and epidemiological information.

I think these repositories also should be involved in facilitating development and exchange of various reagents, expressed antigens, polyclonal antiserum, monoclonal antibodies, and also the evaluation of antigen and antibody tests.

One of the processes we are hoping to implement soon will be a process for developing a multicenter international evaluation of the major diagnostic assays now available.

We need to establish the test procedure, including standard reagents, sample panels, have investigators on several sites reviewing some of the same assays in different settings.  And we need to analyze and publish these results rapidly.  And then we need to have some process for access to and distribution of appropriate assays for any countries which may require them.

In addition to this, we are currently working to develop international quality assurance programs and the availability of standards.  This has been supported now not only by the Robert Cox Institute, but by the Lyons Branch of our Department, which has been also supporting the training, and is currently developing an international quality assurance program for SARS.

But all these programs will require a fairly long term commitment of resources to support he reagents, logistics, and the associated training support, if there is a quality assurance program to support those labs which are having problems or need strengthening.

I think there are a number of biocontainment issues which we will be having to address and are addressing, and these will be, I think, very different.  If SARS does not re-emerge, we will have to come up with a rather clear policy on biocontainment of virus in the labs in which it is already knowingly or unknowingly present.

To all these ends, we are establishing a SARS Research Advisory Committee.  This is going to guide WHO on diagnostic laboratory, clinical, epidemiological, and animal research issues, and also identify which of those issues should be encouraged by WHO and coordinated by WHO.

And this will be led by Professor John McKenzie -- who I hope is listening on the phone since he could not be here -- a virologist from Australia, who was in China and Hong Kong as a member of one of the teams on the SARS responses, and also Dr. Katra Lightmeir in our department at the moment.  And this will focus on issues of relevance to public health.

And there are some constraints and caveats to all this work.  Obviously much of this will take funding.  The value of the network approach is that it can help reduce the amount of direct funding required.

That is not going to be free, and there is going to have to be some input to it.  There are a number of legal issues still to be worked out, in terms of international sample repositories and reagent exchange, and we are working on those.

But this may take a bit of time, and also we will be very grateful for the collaboration of all the laboratory partners in this.  Another thing to mention:  that on the 21st of July WHO receives a new Director General.

We are anticipating changes -- we are not exactly certain what they are yet.  But of course this may also have some impact on some of these activities.  I hope a positive impact.

I just wanted to close by mentioning some of the multidisciplinary and public health aspects of SARS research that are relevant to archiving and diagnostic developments, and why I would like to see a much closer link between the other networks mentioned at the start of this talk -- the epidemiological, the clinical, the modeling.

These issues are all the ones that have been discussed this morning; virus origins, stability, excretion, viral load, routes of transmission, clinical presentation, the effects of treatment -- all of these may affect how we characterize our sample repositories, and what we try to include in them.

The role of asymptomatic infected individuals certainly is key for diagnostic tests, but also we have to ensure that these samples are included in our archives, and that all the samples in the archives are well characterized.

The role of products of human origin -- we were thinking about the safety of the blood issue after the experience of West Nile, but this has to be something receiving continued attention.  Pathogenicity, identification and use of antiviral drugs, vaccine development, and epidemic modeling.  Thank you.

(Applause.)

DR. NICHOLSON:  Okay.  We are going to switch computers here.  So our next speaker is Larry Anderson.  He is the Chief of the Respiratory Enteroviruses Branch in the National Center for Infectious Diseases at CDC.  And we are hoping that this is working.

DR. ANDERSON:  Thank you.  I think this meeting is timely, important, and is a next step in one of the things that has been very important in the response to the SARS outbreak, and that is the cooperation and collaboration that I think has served the response to this outbreak very well.  And although it has gone well, that it also illustrates the power of it on the one hand and some of the difficulties when the cooperation and collaboration is not at the level that it could and should be.

And I think that developing diagnostics is clearly an area where the cooperation is going to be important if we are going to move quickly forward to having access to good diagnostics commercially.

And then certainly WHO's central role in facilitating the cooperation and collaboration really has been outstanding, and I think they deserve a great deal of credit for that.

What I am going to do is talk about specimen access and how we deal with specimens, and much of this really has already been discussed in part in the course of the morning, and first discussions this afternoon.

But obviously access is important.  IRB is an issue.  Handling and storage of the specimens, and deciding how you are going to characterize the specimen, in terms of sensitivity and specificity, i.e., a gold standard for saying this is SARS or not SARS, or some other agent is important.

And then how you manage access to the specimens that are available.  Now, we have had limited experience in developing specimen panels in our group, and that is looking at B19.

And we developed a set of serum specimens, 128, some IgG positive and IgM positive, and some control serum specimens, some of which were also positive by PCR for B19, which a number of commercial groups have used in evaluating their respective assays to B19.

And this just lists some of the data that we included in distributing this panel of specimens, and I think this is part of what would be needed in looking at SARS.

The kind of specimens that we have gotten related to SARS that could potentially provide source for developing panels of serum and respiratory, et cetera, specimens to assist in evaluating or developing diagnostic assays came from specimens related to suspect and probable cases in the United States, studies of the natural history of SARS, both in cases and contacts.

We didn't have contacts for positive, so that actually did not provide an additional source of specimens.  And then a fair number of specimens that were submitted to CDC as part of collaboration or referenced diagnostic support in looking at SARS, and the epidemiology and clinical characteristics of SARS.

In the United States, we did not have many cases of SARS coronavirus, and this just illustrates this point.  Steve Ostroff provided or showed this data earlier, and it really makes two points.

In the United States, we did not have much SARS -- it turned out to be in probable cases only, unlike in the U.K. where they had some positive in other categories -- and therefore makes or reinforces the point that Dr. Ostroff made that there is a lot of respiratory illness.  It is one of the more common diseases of man, acute respiratory infection, and therefore there is a lot of background noise.

And SARS is -- unless it is a huge outbreak, which I doubt will occur -- is going to be a really small part of the big picture, except in certain circumstances.  So what is the status of specimens that could conceivably contribute to a panel that could be used for characterizing assays?

Well, it is not particularly encouraging from our perspective.  We've had 188 positive serum specimens -- some of those are actually serum and blood, and so they are actually duplicate specimens -- and most of these are from specimens submitted from other countries in which the volume that we receive is small, and really does not represent an opportunity for developing a panel of specimens that could be used in evaluating assays.

We did get some units of blood from three positive patients so far, and we are looking at getting some additional units which provide a larger volume of serum that could be used not only in evaluating an assay, but also in more of the development side, where a larger volume of serum would probably be useful or helpful.

In respiratory specimens, we actually onlyl had one positive respiratory specimen in the U.S., and that specimen has essentially been used up.  So we are not really going to be helpful there.

Stool specimens is another story.  We have got a few, and some of those are positive and could potentially be a source once we get through with the other testing on these specimens to be used in evaluating assays.

And then we have some other specimens, autopsy material, that could conceivably be used.  And maybe the way to look at this at least is multicenter standardly characterized specimens and handling, such that you are not relying on one institution to provide the needed specimens, although some institutions actually could do quite well.

Characterization of the specimens is actually going to be quite important, and there again I think a standardized approach is probably where we should be.  So what do you want to know?

You want to know -- for the respiratory or the PCR product -- that it is positive or negative, that you are fairly certain in terms of how the specimen is handled that it is actually coming from the patient and not contamination in the process of either handling or testing the specimen.

I think if there is sufficient virus that it would be important to actually get sequences, or at least limited sequences, on that particular isolate, such that you can address the issue of breadth of reactivity against different strains of SARS coronavirus, so you understand that side of it.

And possibly a test for other respiratory pathogens.  In antibody studies, those ELISA binding antibodies, I think that is going to be part of a well-characterized serum specimen to have neutralization and probably protein specific antibody results as well so that can be put in the context of not only the viral lysate assays, but also looking at protein specific assays.

And then of course the handling and storage such that we are confident that the specimen has the same characteristic when it is tested or used to evaluate an assay system that it had at the time that the initial data was collected.

Now, one of the questions earlier today was what are some of the other respiratory pathogens to deal with, and certainly the bacterial respiratory pathogens, strep pneumonia, Legionnaires' disease, chlamydia, microplasm, are included in that group.

And it will vary to some extent to the age group of the patient that you are looking at, and the time of the year, and the location.

The viral pathogens influenza of course is a biggy, and one of the major pathogens that might confound the diagnosis of SARS.  And you have the RSV, the parent influenza viruses, and coronavirus, rhinovirus, and adenovirus.

Now, one of the things to remember in the viral diagnostics, and I won't address the bacterial because I am not quite so knowledgeable in that area, is that the antigen detection assays in adults by and large are not very good.

Certainly for RSV and parafluenza, they are probably not of help at all.  The sensitivity is too low and then you run into false positives and the predictive value of positive and negative really are not where it is useful.

So there we really need PCR-based assays, sensitive PCR-based assays, and that is something that actually does need to be developed in the future, because they are not readily available at this point in time.

At this point in time what we are going to do is continue putting together panels that we can, which are limited, and make those accessible, and work with WHO and others to expand that as new specimens, if they become available, and facilitate their efforts to develop panels that they can distribute as well.

The other thing is to make sure that in the future if SARS does return that we are in a position to collect and appropriately handle and manage specimens, and try to get the volume of specimen that can be helpful in developing panels that can be used to evaluate these assays.

And as diagnostics move out from CDC, which they are doing, and which they should be doing, it will be likely that this is going to be more of a collaborative than a CDC-based effort to do this.

And try to build and ensure the kind of collaborations that larger panels of specimens can be developed.  And then the other thing that I think is really important is to -- and which I think is one of the themes that was discussed this morning, is to have a clear strategy of what you are looking for and why.

And how to creatively accomplish what in fact you need to accomplish.  And if you think about what part of what you need in evaluating an assay, you want to be able to identify sensitivity for PCR of the assay itself, and the extraction procedure that goes along with it, and this can be done in terms of copies of RNA that you can detect.

You also want to make sure that the assay, in the context of PCR, the primers will detect the range of strains that you might encounter.  And this can be done by looking at sequences, and developing a bank of isolates that can be actually detected to make sure that in fact it works as you predict it will work.

The other thing that you want to know is how does the assay perform in the context of different clinical material, and there some of that can be acquired by adding the appropriate RNA to a range of negative clinical samples.

Now the other piece of that actually understanding the sensitivity of the assay in the population that you want to use the assay, obviously you have to use clinical specimens well defined with a gold standard to understand who is infected and who is not.

So a lot of or some of the questions can be addressed creatively without the primary clinical specimens.  And I think I will stop there.

(Applause.)

DR. NICHOLSON:  Our next presenter this afternoon is Patricia Somsel.  This is the Director of the Division of Infectious Diseases at the Michigan Department of Community Health Laboratory.

DR. SOMSEL:  Good afternoon,  I am never very comfortable going on after lunch because I know that is when I start getting sleepy.  So we will try to keep it fast and hopefully we can keep your attention.

First, I wanted to thank the organizers for inviting me to represent the thoughts of the public health laboratories and the State laboratories.  And I also, because I have many years of experience in clinical microbiology, want to pass on some concerns and issues that my former clinical colleagues faced as they dealt with the SARS outbreak.

I think many of the points that I will make this afternoon have been addressed this morning, but maybe I will put it in a little bit different context.  I think really what we faced with the SARS outbreak was a challenge of knowledge gaps, certainly in epidemiology and surveillance.

First of all, we had to establish what the organism is, and how it was transmitted, and how infectious was it, and how dangerous was it, and what were the risk factors for acquisition.

And those risk factors actually ended up being fairly important in our case definitions.  So those were significant things to establish.  What were we going to use as a case definition and that was something that we found was a moving target.

Certainly for epidemiology and surveillance, it is important to establish how long an organism might be shed and in what body tissues, and when would antibodies be demonstrable, and importantly how could we distinguish it from other diseases.

In the diagnostic realm, it is also important how long the agent is shed, because it will determine what type of testing we are using.  Likewise, when our antibodies are going to be demonstrable, and how do we distinguish it clinically from other diseases.

In the diagnostic realm, when we are talking about tests, we want to know how stable the organism is going to be, because we are going to want to know or need to know how to stabilize that specimen.

We need to look at both the sensitivity and specificity of tests.  We need to know how likely we are going to be to find a positive test when we really have a case, and how much difficulty we are going to have with cross-reactions.

And from the standpoint of prevention and safety, what are the risk factors for acquisition, and how do we handle infected patients in a health care setting, in the community, and context.  Those are issues that become very important in health care institutions.

And also important to health care institutions, how do we protect health care workers.  I am going to talk for just a couple of more moments about those issues in the health care institutions, because infection control is an issue that was very prominent with this outbreak, because many of the cases were as a result of exposure in a health care institution.

So there was a great deal of concern about it, and because the main -- one of the major tools that we used since we didn't have a mechanism of treatment, was to quarantine patients and their contacts.

And that provided a significant impact on the lives of people who were involved.  So when you are talking with infection control practitioners, they want to know how the agent is transmitted, and importantly how it is inactivated in the health care setting.

What isolation precautions are appropriate for the patient, and what personal protective equipment is necessary for health care workers.  So those may seem like very mundane issues to us in this room.  Trust me that they are not.

The issue of informed consent.  Certainly we struggled with it when we have talked in public health laboratories about the hurdles that this presented.  But I want you to realize that physicians are not used to dealing with informed consent.

They typically do not order tests which require informed consent.  A nurse walks into a room and say pee in this cup, or spit in this cup.  A laboratorian walks in and draws blood.

It is never explained to a patient what they are being tested for, and they rarely get a chance to see the results or any of the limitations, and any of the interpretative data that goes along with that test result.

So clinicians are not used to dealing with informed consent patients certainly are not used to dealing with informed consents.  And likewise clinical laboratories are not either.

It is very confusing, and a patient who is not used to dealing with these things and is faced with a three page consent is liable to say that I don't understand any of this, and I am not signing anything.

A gentleman that I had lunch with talked about, well, it comes down to the trust that the patient has of their physician and public health.  Unfortunately, sometimes public health represents government, and that trust is not always there.

We were just involved in Michigan in an investigation of a salmonella outbreak, and somewhere over 20 people, all of whom were exposed and suffered the consequences of that exposure, certainly might have had an interest in preventing the spread of the salmonella outbreak by identifying the vehicle.

But there was a silence clamped down on this family, and nobody would talk to public health.  Why?  Don't know.  We talked about how important getting the correct specimens are.  We need to put that in the context of the people who are going to be collecting and handling those specimens.

We have very busy clinical settings and certain in this day and age most of the patients that we are going to be collecting samples on are hospitalized.  And we have a very busy nursing staff on the floor, and we have to make sure that the appropriate information on what specimens are required, and when it is to be collected, and how it is to be maintained, all of this information has to be conveyed to the nursing staff.

We in Michigan spent a good deal of our time surfing the web and getting the most recent information on specimen collection and handling, and faxing that to the clinical laboratories so that they could provide it to their nursing staff, because trust me, the physicians don't have time to go to the web for the most part and get a current update, and find out what the appropriate specimens are.

One of the other things that we ran into is that health care workers may not have the appropriate training for collecting and handling the specimens that we require.

We found a couple of years ago when we started asking for nasal aspirates to be submitted for bordatella pertussis, PCR, that nurses and nursing staff on the floor were not prepared to collect those samples, and did not have the equipment to do it.

And yet it is one of the best specimens for SARS.  We had to provide information and guidance on specimen collection and equipment for patients on whom these specimens were requested.

I deal with the laboratory issues separately because there are some other things going on in the laboratory that affect the way that specimens are handled and transported that you need to be aware of.

And I put laboratory safety in big letters, and specimen integrity in smaller letters, because that is the way that the laboratorians dealt with it.  They wanted to know what specimens that they were handling from that clinical patients contain viable organisms, and that did not just mean respirator samples.

They wanted to know if there was SARS in the urine, in that CBC sample that they were going to process, in that serum sample that they were going to run through the chemistry analyzer.

And we had laboratories in Michigan and I know other States that had the same problem, laboratories who refused to handle specimens on patients.  They were not doing CBCs, and they were not doing blood chemistries.

They were trying to ship that all to the State laboratory.  Part of that is as a response to work force issues in clinical microbiology, where experienced clinical microbiologists are draining out of the laboratory and being replaced with generalists, or with chemists, or with hematologists, who are not familiar with infectious diseases, who are not familiar with handling biosafety issues, and who are not familiar with the type of personal protective equipment that they need to choose for a particular setting.

They are not comfortable with working in a biological safety cabinet, and they are not comfortable handling these agents that they are afraid of.

And they have very knowledge and are not interested in finding out how they need to stabilize the specimen to ship it off to someone else for testing.

This is not the way that clinical microbiologists typically are comfortable working in the clinical laboratory.  Another major hurdle obstacle course to be negotiated has been added over the last few years.

The Department of Transportation Hazardous Materials Regulations and the International Air Transport Association -- I have to stop and think what the acronyms stand for -- Dangerous Goods Regs, had added an additional complication to how we handle these specimens.

First of all, someone who is packaging has to decide is this a diagnostic specimen, or is this an infectious substance, and it all depends on how likely it is that that sample that they are handling contains a viable organism.

If it is a sample on someone who is diagnosed with HIV and it is going in a CB4 or CB8, then it has to be transmitted or transported as an infectious substance.

You will get 50 different answers or opinions from clinical laboratorians about how to handle a throat swab, anything that could contain a viable organism.

It is complicated life for laboratorians who have to ship things, and in addition to that, to choosing how they are going to transport something, they must decide at what temperature to transmit it.  Can it go at room temperature, does it need to be refrigerated, does it need to be frozen.

And if it has to be frozen will frozen gel packs at negative 20 suffice, or does it need to go at negative 70, and therefore needs dry ice, which involves an overpack, and additional labeling, and these may seem like minor choices, but this is an illustration that I pulled off the CDC website of the complexity of packaging.

And this is for a sample that does not require any sort of refrigeration while it is being shipped.  The consequences of shipping regulations to clinical laboratories, first of all, great expense.

These little packages cost anywhere from $40 to $60 to package and transmit.  That expense is not recoverable from any source.  It not reimbursed by anyone.  Likewise, I will just put in a plug for some of the other programs that public health is involved in.

The salmonella isolates, the shigella isolates, the listeria isolates, on which public health both at the State and Federal level depend, there is no reimbursement for clinical laboratories for any of the work that they do on those samples.

Once they are reported out on a patient, their recoverable expenses are done.  If they subculture that, package it, report it, ship it, that is all on their buck.  And this is what our public health system depends upon.

It is done out of the good will and knowledge of clinical microbiologists who understand the importance of what they are doing.  I don't know if their bosses know the expense that they are running up.  That would be a good question.

Because of the expense, and because of the confusion, there is lack of compliance for shipping regulations, and there is loss of specimens that are shipped and are unacceptable for testing when they reach their destination.

Just last week, I had to throw away four specimens on a SARS patient.  They were shipped by surface mail, unrefrigerated, in July.  It took five days to get to me.  I threw them out.

And therefore there is a lack of data to support the diagnosis.  And what do we say to that patient?  Oops?  But we are going to keep you in isolation for 3 weeks.

I think that it is important to understand that public health laboratories do testing for two very different purposes.  We test for surveillance, and with some special things we test for a diagnostic purpose.

And the way we handle those tests is very different.  Because we do diagnostic testing, we must be CLEA certified and it requires therefore that those tests that are done for diagnostic purposes meet certain standards that we have kind of brushed up against today.

Those are CLEA requirements that demand that tests be adequately verified when they are brought into our laboratory and that we see how they work in our hands that we have adequate controls, positive and negative.

And that is a big issue that we have to deal with.  I want to remind you to think about the SARS testing in perspective of some of the other diseases.  Think where we were 50 years ago with syphilis testing versus where we are now, and 15 or 20 years ago with HIV testing.

We have developed an algorithm for these testing of significant diseases that utilizes a screening test, and a confirmation test, and our testing has evolved.

Our current status with West Nile Virus is complex.  It may be better than last year, but we still -- there are more assays getting out to clinical laboratories or to commercial labs and clinical labs, and that is great.

The difficulty is does a positive test meet the gold standard.  If a commercial laboratory gives us a positive IgM antibody in Michigan, and we had West Nile Virus in Michigan last year, and so an IgM antibody test is useless to us.

It doesn't meet our definition or the CDC's definition of what a West Nile Virus case is.  So it will not be recorded as a case until we receive the sample and a paired convalescent serum for testing.

I put here where will we go with SARS to remind us as one speaker suggested this morning, this year we have used the epidemiology as a very useful took.  Travel has been a significant risk factor.

Next year or two years from now, whenever SARS comes again, we are not going to have that tool in all likelihood to help us separate SARS from the other common respiratory viruses, and bacterial infections.

One last issue that I want to bring up is a question.  When public health laboratories don't do the testing will they get a report of the positive test and what test was used, and will the result meet a case definition that we have to use in public health.

And if that doesn't happen will the sample be forwarded to the public health laboratory for a gold standard test if the result doesn't match that case definition.  I think that those are important issues for us to grapple with.

Because, you see, each of us has only a part of the picture as the six blind men with the elephant.  We all have a piece of it, but we only have the whole animal when we all work together.

I think that public health laboratories are an essential link, the State labs, between clinical labs and commercial laboratories, and on the other hand the Federal agencies that are recognizing new diseases.

The health of our citizens and our Nation will improve with our cooperation.  I think that public health labs and manufacturers should collaborate to develop commercial diagnostic for emerging infectious diseases, because we are all in this together.  Thank you.

(Applause.)

DR. NICHOLSON:  Our next speaker this afternoon is David Norwood.  David is the Chief of the Systems Development Branch in the Diagnostic Systems Division at USAMRIID.

DR. NORWOOD:  Well, I'd certainly like to thank the organizers for inviting me to come speak today, and what I would like to try and speak to a little bit this afternoon is what we have done to try and adapt some of the methodologies that we use for biological threat agent detection and clinical samples to the SARS outbreak.

So specifically I am going to be speaking about some non-human primate samples that we worked with and some human banked material.  A brief overview.  I am going to talk just a little bit about assay design and assay optimization, a small amount of data that we have done with purified viral RNAs and then sort of get to the heart of the matter, the clinical samples.

The gene target that we used for this was the RNA directed RNA polymerase gene which had been spoken to earlier.  The primers we used to sequence that region were published in the May New England Journal of Medicine article referenced there.

And the region that we looked at corresponded to the region between 15,239 to 15,630 of the Urbani strain.  We designed specific primers and probes, and perhaps different than some of the folks had spoken to earlier.

We are using Taqman MgB probes, and we have gotten significantly better sensitivity results with those lately.  This is just an alignment of the region sequence that we used.

This is an alignment that shows some homology with some other coronaviruses, and so we actually broke this region into two sections, and developed assays to the five prime and three prime ends.

There was a hundred percent hetamology in this region across all of these strains of SARS, and so we were pretty confident at least at that point that we would be able to pick up the various strains.

Assay optimization was done with purified or  strained RNA.  Just to give you an idea of the extent to the development that we did, we down-selected 56 primer pairs from those two regions, and 13 of those were selected for probe testing.

We then had 38 primer probe pairs that we tested for robustness and found a single set that was superior to all others.  This was a sensitivity that we got with a purified viral RNA.

We were able to detect down to about a thousandth of a PFU per assay input, which corresponds to about a tenth of the PFU per mil on purified viral RNA.

The assay appears to be fairly quantitative, with an efficacy of somewhere between 1.92 and 1.97.  Where we really lack it seems and perhaps a lot of other people are lacking as well, are additional strains of SARS to test, although we have procured several others.

Other related coronaviruses and respiratory viruses, and bacteria, and we virtually have done no specificity testing with purified viral RNAs of any of these relatives to date.

As far as positive clinical or negative clinical samples, we virtually had access to nothing when we started this work at the end of April.  But we did know that there was some work being done by Colonel Tim Indian and his folks in the virology division at USAMRIID to determine whether or not a non-human primate model of this disease was feasible.

So we decided to piggy back on their work.  We also realized that negative samples would be extremely important for specificity, and decided that we thought that they should be from individuals of course exhibiting similar clinical presentation -- flu-like symptoms, respiratory disease, et cetera.

We wanted them to be from a relevant clinical matrix such as throat or nasal swabs, and in fact what we used were throat washes.  And we wanted them to be temporally separated from the SARS virus.

So I will speak to these two models of positive and negative samples.  For this particular study, three cynomologous macaques were challenged.  Monkey-1 and Monkey-2 received an intra-nasal challenge, and Monkey-3 received an intravenous challenge, mainly based on some work that had been done with pox viruses by Dr. Peter Jarling at CDC.

And that is why the IV challenge was done, and the animals were monitored with telemetry implants to monitor temperature, blood pressure, et cetera.  And the strain again used for this challenge was the Urbani strain.

We collected urine and feces daily, and nasal swabs, throat swabs, rectal swabs, and blood were collected every other day, beginning at day zero.  The animals were followed for 20 days post-challenge, and RNA was extracted from all of these matrices using a standard Trizol extraction method.

Before we actually started processing the non-human primate samples, we did some spiking experiments with purified virus into urine media, which is what the swabs were collected into, and blood, and found that we were able to detect down to .4 pfu's per mill in those three matrices.

That corresponded well with what we had gotten in terms of the purified viral RNA from cell supernatants.  The LOD for feces -- this is a typo here, but we were actually a lot less sensitive.  We were able to detect 4 pfu's per mil for feces.

Part of that was due to the -- I think to the fact that with fecal material on the non-human primates, we had to suspend those and basically to a 10 percent solution and buffer, and that accounts for some of the loss of detection of the assay.

As far as what were the results for the non-human primates -- well, non-human primates 1 and 2, which were challenged by IN really showed no observed blood chemistry differences, or no disease by blood chemistry work.

Non-human primate 2 appeared to have a mild pneumonia on day 6, which did eventually resolve.  Both of those monkeys fully recovered, and there is still some reads going on of the x-rays on those two monkeys.

Non-human primate 3, which was injected by IV, developed a fever on day 5 and 6, and eventually died of a bacterial infection on day 16, which kind of clouded some of these results.

The infection itself may have been from the telemetry implant.  They are still investigating that.  There was clearly labored breathing during this day 5 and day 6 period of time and the animal was clearly sick.

It developed a left-lower lobe pneumonia and that had resolved by the time that the animal passed.  Again, there was no disease observed by blood chemistries.

When we looked at all the matrices on all three of these non-human primates, we were unable to detect the virus by real time PCR in feces, blood, or rectal swabs.

We were able to detect virus in nasal swabs, throat swabs, and urine.  These are the results that we saw with the throat swabs.  Keep in mind that non-human primate 1 and 2 were infected intranasally, and we routinely saw results where we were able to detect the virus between day 2 and day 8.

We saw no detection of virus in the throat of the animal who actually developed the most severe disease, if it was SARS related, on days 5 and 6, and that was non-human primate 3.

The other trend that we did see is the viral load in terms of the quantitative aspect of the PCR going down as time progresses.  This is not -- at least in terms of detecting the virus -- a sustained infection for a long period of time, but there does seem to be some viral replication during this period of time.

The nasal swabs showed similar types of data, and in this case directly before sickness in non-human primate 3, we were also able to detect the SARS virus.

The same window of detection was seen in non-human primates 1 and 2 in days 2 through 8 after infection.

Urine was a bit surprising to us.  We really saw very, very sporadic detection of this virus in the urine, and we saw no -- we were unable to detect the virus in the feces.

One of the published pieces of information which may explain why we were able to detect this virus in the urine is that it has been shown that the Urbani strain replicates very well in monkey kidney cells.

So we may be detecting some of that.

As far as negative samples, what we were able to do here was use Army banked samples from CONUS military patients who had exhibits signs of respiratory disease at the time of their examination.

They also exhibited at least a low grade fever at the same time.  We received a hundred samples processed and tested.  They were throat washes from these hundred individuals.

All samples from these patients were from examinations prior to the introduction of SARS into the United States, and the question was would other coronaviruses, infectious agents, respiratory diseases, which had caused these patients to seek out medical care be detected by the assay that we had developed.

And we found all 100 samples to be negative for the SARS assay.  I should also mention that any of the work that was done with purified virus in our laboratory was carried at BSL 3 conditions, and all the non-human primate samples were tested in triplicate. So those results are confirmed in triplicate.

Additional work that we would like to do, we already have a plan to challenge six more non-human primates in August.  The plan is to do three IN challenges, and three IV challenges.

We are currently looking at whether or not we should use a different strain of SARS, or whether we should up the titer that is being used.  We are also trying desperately to obtain nasal panels for specificity as I think everybody is at this point in time to include other strains of SARS and other coronaviruses.

I would be remiss if I didn't acknowledge all the people who were heavily involved in this.  My group mainly works in the development of nucleic acid based assays for the detection of biological threat agents.

Lieutenant Colonel Dave Kulesh and the group below him did all the assay optimization and down selection of primers.  Dr. George Ludwig and his group was essential in growing the virus.  They are currently purifying the virus on gradients and producing immunological agents.

Dr. Melanie Ulrich, whose group prepared all of the samples by doing the extractions of the RNA, and Colonel Endy's group, to include John Huggins, and especially Jason, who was critical in actually infecting the monkeys and providing us with the samples.  And I thank you for having me.

(Applause.)

DR. NICHOLSON:  The last presenter in this session before the discussion is opened up is Linda Lambert, who is program officer in influenza, SARS, and related viral respiratory diseases at NIAID.

DR. LAMBERT:  Thank you, Janet, and my sincerest thanks to the organizers for giving me the opportunity this afternoon to tell you about some of the research resources that NIAID has in place for SARS and, as well, is developing.

Before I begin, I want -- NIH is a really big place, and so I want to just tell you that I am an extramural program officer, and that means that I don't work in a lab.

It means that I have oversight responsibility for a number of international and national grants and contracts.  So when you see requests for proposals, requests for applications from the NIH, it is a program officer who is responsible for that.

For those of you who don't know your program officers, and you are interested in getting NIH support, the program officer can be an invaluable resource to you.

They can not only watch your grant as it goes through the review process, but can also tell you in addition to SARS what are some of the other resources that are available at NIH to help you do your work.

The very first -- basically the very first sort of outline that I want to present to you is what the need -- as clearly as you have heard all morning long and this afternoon, sharing information resources has become the crux of moving SARS research forward and for diagnostic tests.

We know that it is an important and often rate limiting step in basic and translational research.  It is the identification, procurement, and distribution of state-of-the-arts reagents and technology.

And Dr. Giovanni talked to you this morning about some of the technologies that are coming on-line.  I also want to mention there will be a number of SARS funding opportunities that are on the NIAID home page.

So to address the need for moving some of these rate limiting steps forward, the NIAID has a history of establishing a series of repositories that serve as worldwide resources to facilitate both basic research, as well as product development, for infectious diseases.

So what I am going to tell you in just the next few minutes -- I am going to give you two examples of several that the NIAID has in place for repositories, the current infrastructure that we have for SARS that exists now and that will exist in the future, and then finally end by just mentioning some of the other research resources, in addition to reagents.

So the history of some of these repositories the NIH has the capacity and capability to develop really began in the early '60s.  There was a vision, a need for a viral reagent program.  So that program is now more than 30 years old.

The vision was to be able to provide something to the community to produce tests, globally distribute reagents, as well as viral reference standards, that were really not available anywhere else, and certainly not at an international level.

And the goal of this work was so that the individual laboratories could test their working reagents against these standards, and the very first virus that was used was actually the enteroviruses, and a respiratory still exists today.

It has been greatly expanded.  Other viruses and antigen seed materials, antisera, these materials come from a variety of sources.  They come from contracts with industry.  Sometimes they come from donations from industry, non-profit research organizations, and many, many sources of these materials come from academia.

We also have WHO standard human and animal reference, interferons, control serum.  As I said, it has been expanded, and I have a list with me that shows you the breadth of the respiratory specimens.

It has been expanded to include influenza, rhinovirus, RSV, measles.  The list just goes on and on.  And if you are interested in taking a look at what is in that repository, the website is in front of you, as well as in the handout.

And we have individual program staff who work with these repositories.  So for the one for this one, the project officer is Terry Greenfield in our virology branch.

So now I am going to jump scale on you and tell you about probably the largest repository that we have, and it is the AIDS reagent program.  And it was really established actually not that long ago.  It was about 62 reagents from about 20 contributors in 1988.

This information is all on the website -- you can go and look at some of the latest figures.  In 2003 there were more than 4,300 reagents in the history, and this is a very, very large repository.  It tracks just about everything:  who uses it, number of vials shipped -- to date it has been almost 140,000.

Again, take a look at this repository; it could serve as a model for what we need to do with SARS.  Certainly it is very, very large.  So what types of things are in stock in that AIDS repository?  Proteins, peptides, cell lines, recombinant clones, antibodies and viruses.

And as I said, this particular repository that we support tracks who uses it.  So you can see the primary user of this is the academic component of the U.S., as well as -- followed by the international community, U.S. government, and also industry.

So again this repository -- you can see, I am trying to set the stage for what could be developed for SARS -- it takes donations from researchers, again private and public sectors, as well as contract generated resources.

So you could imagine there is a need for some type of material, and there is no one around to donate it -- this repository has the capacity to let a contractor or a subcontractor procure that to add it to the repository as a resource.

It is all web-based systems.  There are registration forms, again for the different materials that you need, and it also provides a forum for community feedback and needs.

So if you see something that you -- if you are looking for something, it's not there, these repositories can be responsive.  So if they get feedback from you, with a community, for meetings, individuals, there's a need -- they can go out and procure reagents.

International training courses.  These repositories, both the AIDS reagent program and the influenza repository, have supported international training courses.  So for the AIDS repository, it has supported training in-country on immunoassays that the people who take these courses can go back and use them in their own labs.

For the influenza reagent repository, it has used the reagents in that repository to train for animal influenza surveillance at international workshops.  And that was actually sponsored by the WHO.  The program officer responsible for this, the project officer is Dr. Opendra Sharma, and he is in our Division of AIDS.

So just to give you a framework of what information you need to supply to us when you request something, these are the elements:  the name, what you want to do with it, where you are coming from, that you certify that you are in compliance with all applicable safety standards, what you want to do.

MTA elements, none of these reagents are available for human use.  If you are going to use them for animals, do you have the appropriate assurances.  One of the hallmarks of our repositories is that everything is available for free.  What you pay for is the shipping.  And if there is some problems with shipping, we can make other arrangements.

Reporting agreement.  You need to tell us what -- when you publish your paper or you present your paper, it is always nice to credit wherever these reagents come from.  That's how we keep these going.  We basically get feedback from the community that they are a valuable commodity.

You have to sign the request, and it is not just the person who wants it, but somebody who has authority at the institution, and then provide some background; a biographical sketch, your experience, and your relevant publications.

So now what I want to talk to you about for just the next couple of minutes is the opportunities for SARS.  So the NIAID, Division of Microbiology and Infectious Diseases, is about to put online a biodefense and emerging infectious diseases research resources program.

The request for proposal is a very large contract; the request for proposals went out earlier this year.  The contract proposals are being evaluated and the awards are anticipated to be made in September or October of this year.

The goal of these is to identify, acquire, and again biodefense and emerging infectious diseases.  So you can imagine that there is a lot of resources in this, to identify, acquire, and produce, or expand and clone organisms in reagents.

Pathogens, because it is emerging infectious diseases and not just biodefense, it can include SARS.  It has the scope to do genetically manipulative cell lines, DNA libraries, clones.  This particular repository has a work scope for body fluids, cells, and tissues.

Proteins and synthetic peptides, monoclonal, polyclonals, antiviral drugs, and therapeutics, it can procure them if it is needed; chemicals, immunomodulates, and the list goes on and on, and also if needed procurement of diagnostic tools and kits for detection and measurement.

And this repository also has built into it the capacity for quality control.  It also can handle materials, organisms that are BSL 3.  It has the capacity to handle GMP-produced materials.  It must be in compliance with Federal, State and local.

It will be a web-based system.  And again, the project officer for this when it comes online will be Dr. Ken Cremer in the Division of Microbiology and Infectious Diseases.

And so while we have a brief gap between this one coming online, we are currently using the reagent program in our Division of AIDS to meet some of the SARS needs.

So the opportunities to develop SARS reagents is very clear.  It is a contribution that the NIH makes to the research community both in the U.S. and worldwide.

And Dr. Giovanni also mentioned to you this  morning that the SARS chips are essentially in the virtual repository.  They are able to be distributed to you if you need them and request them.  In process is the development of T-cell epitope peptides for the entire SARS virus.

And then I just want to outline some of the challenges that we expect to meet.  We believe through the NIAID that we can complement what is being done both on a national and international level.  We are providing essentially a capability to respond to the need for a prioritized list of reagents for SARS diagnostics and development.

So out of meetings such as this, if there is a need -- if we can identify a need -- we can go through contracts and procure them, and put them in this repository, and make them available to you.

Capacity to receive aliquot, test, store and distribute materials, clinical materials, develop or procure SARS research materials, again international or interagency collaborations, and coordination.  As everyone who has said today, has talked to you today, has said is critical.

Then I thought that there were a couple of important points to consider, some of which have been echoed this morning and this afternoon.  This information is taken out of our Division of AIDS repository.

The AIDS reagent program largely exists because of donations, and donors are asked to apply any restrictions on the commercial use of their reagents.

So I am providing you with this example of how our Division of AIDS has handled this, because the same issues may be raised for SARS related materials.

So if you are a donator to this repository, you are essentially asked to check one of four boxes.  You agree that if you are the donator that the people who want to use your reagent can use the reagent without any agreement from the donor.

Or the recipient agrees to negotiate in good faith, and share resources with the donor or the donor's institution.  The recipient must sign an agreement with the donor prior to receiving the reagents, and these are again for commercial use.

Or the recipient must not use or incorporate the reagent for commercial purposes.  Now, I say this to you because I don't know if this will be the case for what happens for SARS, but I know that the Division of AIDS has grappled with this issue, and this is one of the ways that they allow the resources to come into the repository, without hold up, for commercial use.

As was mentioned again today, the renewable versus non-renewable resources, if it is just expanding hyberdomas, we can do that ad infinitum.  If it is something that is a really limited material, I think it is going to take some type of approval process, it is going to take some type of international and interagency collaboration to make those decisions.

And the last slide I just want to share with you, a slide from diagnostics, some of the other activities that the NIAID is doing for research resources for SARS.

There is an antiviral screening contract that has been in place.  A lot of that work that we have supported has been done by our colleagues at USAMRIID.  They have in vitro assays that are up and running, and I can't remember, but the number of compounds they have tested has been enormous.

Animal models are under development.  Both the part of NIH that does research on campus, as well as extramural contracts, are in the process of developing animal models.

So we anticipate, when those become available. we will have antiviral screening contracts that will be available to the research community.

Now, again I want to emphasize that this is a service, and so if you are a pharmaceutical company, or an academic institution, you provide your antiviral to us, and you don't even have to tell us what it is if it is something that is secret, and we will test it either in vitro or in vivo, and provide the results back to you.

Again, what we are trying to do is facilitate product development, and also research and development contracts, contracts that have the capacity to develop immunoassays, as well as basic and mechanistic, and pathogenic studies.

So I want to close by saying in addition to the types of research opportunities that Dr. Giovanni talked about, which really largely, as someone mentioned, targeted the private sector, funding opportunities for SARS on the NIAID website, there are a number of grants initiatives.  There are R21s, which are small 2 year grants, $200,000 direct costs per year, 15 page application, limited preliminary data.

There are RO3s that don't require any preliminary data -- sort of high risk, high payoff.   And then a number of standard RO1s or cooperative agreements.

So I encourage you if you are interested in funding opportunities for SARS, as well as any of these repositories, in addition to just work on SARS, to look at the website and contact the project officer.  Thank you.

(Applause.)

DR. NICHOLSON:  Well, I would like to thank the speakers this afternoon, and their contributions to the SARS specimens, and the repository opportunities that exist or will exist in the near future.

This is the time that we have set aside for open discussion about these issues and perhaps anything that you have on your mind that may relate to not only the issues that we talked about this afternoon, perhaps how that also links with some of the talks that we had this morning.

MR. WINSLOW:  Dean Winslow, Bayer Diagnostics.  A question for Dr. Norwood.  Why do you think the polygene assay that you all developed at USAMRIID appear to be, you know, more sensitive than the polygene assay that was talked about by Dr. Peiris earlier today?

DR. NORWOOD:  I am not sure that that is the case.  I believe that the detection limit discussed earlier was about .1 pfu.  Now, I don't know if that was pfu per mil or pfu input.  But we have seen a similar limited detection in terms of pfu's per mil.

We do know that there is -- or at least in conversations that I have had -- others believe that there is a high number of virus particles per platform and unit.

One of the things that we have noticed is about a log increase in sensitivity with a minor group binder probes, and for anyone who is interested and who may not have explored those for Taqman-based assays, I would be happy to discuss those issues with them one on one.

MR. WINSLOW:  Thanks.

MR. HUANG:  Huo-shu Huang, Walter Reed.  To answer the question for the sensitivity, I think that you have presented your amplification efficacy.  I mean, per cycle, it was an increment of PCR, a part of 1.92, or 1. something.  It is really the max.

You could theoretically reach 2.0, but then again, signal-to-noise ratio starts with --

DR. NORWOOD:  Yes, and then you start to see a preponderance of potential false-positives and noise down at the limited detection area.

MR. HUANG:  But then again, everybody's sample is different --

DR. NORWOOD:  Right.

MR. HUANG:  -- But on your own I would suggest that everybody who developed this assay that you just quickly evaluate your amplification efficacy, even though you reach 1.8 it's not good enough.  Imagine that .8, .9 -- I mean 80 percent efficacy with a power of 40, then your efficacy is down to about 3 to 4 log minus.

DR. NORWOOD:  I would agree with that, especially if you plan on using the assay in a quantitative manner.

MR. HUANG:  A quick question, Dave.  What is your challenge dose, I mean the one you use for the monkeys?

DR. NORWOOD:  I believe -- you know what?  I don't know the answer to that.  I would have to check with Jason.  I think it was somewhere around 10 to the 5 pfu's per mil, but I am not sure how much of that they were actually dosed with.  So I could certainly give you that answer off-line.

MR. HUANG:  Okay.  Once again, it is pfu -- I don't know whether everybody agrees -- based on my estimate, should we present 1,000 or more per particle.  Is that a correct estimate?

DR. NORWOOD:  I would agree, and one of the things that we just finished doing was in vitro transcribing the segment of the amplification product for this particular assay.

So that we can do determination gene copy number, in terms of limited detection.  One of the other things that we are also addressing -- since you sort of brought up the issue of quantification -- the issue of PCR inhibitors.

We developed a novel inhibition assay for real time PCR, which we have used for standard amplification technologies.  The problem with that is that it doesn't take into account the reverse transcription step.  So we have now taken that clone and in vitro transcribed that into RNA as well, so that we can have a whole one-two RTPCR inhibition assay as well.

MR. GUPTA:  Khalid Gupta from NIAID.  My question is again to Dr. Norwood.  You said that you wanted to change the strain for SARS for this non-human primates model.  What is the rationale behind that?  Why do you need to change this strain?

DR. NORWOOD:  What is leading us to --

MR. GUPTA:  Change the strain of SARS to be --

DR. NORWOOD:  Change the strain?  I am not sure of the specifics of that, but we have -- or Jason's group, the virology group -- has been looking at some of the other strains of SARS that we have now been able to procure, and look at how they grow in cultured, non-human primate cells.

So there may be some data to suggest that at least in non-human primates, not necessarily humans, but in a non-human primate model, some other strains maybe replicate better.

MR. GUPTA:  So if you are not sure which strain to use, would it not be a better approach to mix all of those strains and then try it out on whether you can get the same or similar kind of --

DR. NORWOOD:  Well, the idea is to try and find a system which produces disease in the non-human primate to the greatest extent possible, in order to mimic the human disease.

I mean, there was a tremendous amount of work on the orthopox viruses before a non-human primate model of smallpox, for instance, was developed.

DR. NICHOLSON:  Okay.  We will take one more question, but then we are going to take a break so that we can start the open discussion at three o'clock.

AUDIENCE:  I was curious to know that we have had this morning some discussion about probable versus confirmed cases of SARS, and some of the difficulties that that entails from a clinical trial viewpoint, and this afternoon we talked about repositories.

Where do the panelists think the science is going to in test evaluation, of using clinical trials versus repositories, and it doesn't matter whether it is an established infection like HIV or a new infection like SARS as you evaluate a test.

DR. NICHOLSON:  You know what I think?  Why don't you bring that question up again, the first question this afternoon after the break, because I think that is a great question that has got many facets to it.  Okay.  We are going to take a break.

DR. BABB:  Let's take about a 15 minute break.

(Whereupon, at 2:50 p.m., the meeting was recessed and resumed at 3:03 p.m.)

DR. BABB:  We have a very brief presentation from Dr. Chen from the National Taiwan University Hospital, and you can come on up.  You are ready to go.  After that, we will have the general discussion session.

DR. CHEN:  I just want to thank you, the organizers to squeeze the schedule.  I promise that my presentation will be very short.  After discussion, we think maybe Taiwan's experience in the coronavirus infection, especially for the sample collection and the diagnostic study, may be helpful to this group.

So this is an epidemiology curve of all the coronavirus infections, SARS coronavirus infections in Taiwan.  We can divide it into two stages.  The first stage is from early to late February to the middle of April.  This is stage one.

There is only for limited cases, and 30 cases is the number that has been filed, and all the cases have clearly contact or a travel history, and afterward in the middle of April, there was an outbreak from one -- from the Taipei Municipal Hospital, and because this is an outbreak, then there is a greater subsequent spreading to the entire island.

So this is a very serious, much larger epidemic.  So we have the two stages.  So we have this experience and we take this chance for the Taiwan CDC to collect a lot of the specimens for the investigation.

So far, the Taiwan CDC collected about 6,000 cell swabs, and 5,000 blood, urine and stool sample, and about 1,500 urine, and also the stool and the sputum specimens for the investigation.

And this sample can be very useful.  For example, we know that it was started, or the origin was the SARS coronavirus infection origin of the Taiwan outbreak.

We did a full antigenome sequencing from the virus isolates, all directed from the cell swabs.  We used a 25 paired primer to sequence -- to cover the entire SARS coronavirus genome, and by this full gene sequence we can easily move to the more academic study to identify the origin and also the phylokinetic relationship between the viruses in Taiwan.  Okay.

And I just put a long story short.  The most important is that the sporadic cases from the stage one are related to the same strain from Hong Kong, and also the thousand SARS in Quan Do and the second stage outbreak, and this is a much serious outbreak.

We received about 80 viruses from this outbreak, and they all belong to the same genealogy, and so it is very likely that the infection is spreading through this same origin.

So this is just a document that is useful and also simple to trace the virus, to understand its epidemiology.  And this is our detection for the coronavirus infection by the RTPCR, and also the viral reason for the probable cases and the suspected SARS cases, and also the other excluded cases.

And you can look at this data, and it is quite clearly for the probable SARS cases, the PGR positive rate is close to 36 percent.  But for the suspected cases, the positive rate -- it is only about 3 percent, and in the other two categories it is even fewer.

And in addition to the nucleic acid test, we also developed the lysate test, and just as Mary did it before, we expressed the virus nuclear capsule protein and also the spiked protein for the ELISA.  And this is just the conventional standard ELISA, and in our hands we found that it is a serum dilution close to three to six thousand is probably the best.  And now we are evaluating this indirect ELISA in about 500 to 1,000 cases to see there, to determine the specificity and the sensitivity.

And we also expressed a virus spike protein for the antigen, but in our hands it does not work so good as the nuclear capsular protein.  So we probably focused on this for the right diagnosis.

And all this diagnosis method, for the nucleic acid or for the antibody, are quite conventional.  It takes a long time, at least about one day, or ten hours.  So we developed another method.  Another method is the so-called immunochromatography test, or the immunochromate test.

This is like a pregnancy test, and it works very quickly.  In about 30 minutes, you can get the result.  For example, the reagent looks like a cassette.  You drop about 20 microliter of serum or blood into this well, and as I said, with 30 microliters the results are possible.

And you can read the result in 20 minutes, and this is the control.  And this is a 5 cm sample from the same patient, and a sampling at a different date.  In the early days, there is no reaction, and there is no antibody, but five days later, you see the antibody, and the data shows that the antibody -- the reaction is quite or becomes stronger, and easily readable.

So this is quite useful to detect the antibody in the field, especially like in the emergency service room or in other outbreak site.  You can help the medical profession to understand and decide immediately whether the patient is infected by the SARS coronavirus.

In addition to this, now recently we have prepared an antibody, and this is a polyclonal antibody from the rabbit, and recognize the virus nucleic capsule protein.  With this antibody, we can try to detect the virus infecting the cell from the patient's cell swab, or from the oral gurgling.

This is one example we prospectively followed, and the oral gurgling cell from a few patients, and we just spread a cell in the cover slide, and it detects the virus antigen by the rabbit polyclonal antibody.  And this reaction is also very quick.  It just takes about one or two hours.

You can read the infected cell quite clear.  In fact -- actually this method has been used to detect the many respiratory tract infection virus cell, and when we have SARS we can use the same method.  So now we are in a stage to evaluating whether this new rapid diagnosis can be useful.

So finally, I just summarize my presentation.  This is for the conventional method, and that uses the nucleic acid test, or the ELISA.  And this is quite a useful -- probably very useful for the diagnosis, or for the confirmation.  But somehow we need a rapider one.

So we need a better way or a faster way to detect if it is the virus RNA or the antigen, or even the antibody, and we are heading towards this direction.

And secondly we need a second panel, a sample or specimen panel that is clear in the clinical information, and also the collaboration on the development and the validation for a new diagnostic test.

And Taiwan has a commitment on the SARS diagnosis, because we really are the victim of this SARS epidemic.  So the Taiwan government, with the approval of the Congress, we set up a special funding, and also set up a task force to deal with this situation.

And this group will be led by Professor Michael Li.  He has been working on the coronavirus for about 30 years.  And he already returned to Taiwan, at the date of this task force, and also he would be very happy to have conversation with others around the world.  I will stop here.  Thank you for your attention.

(Applause.)

DR. BABB:  We have one more brief presentation from Karen Young.  I will let you introduce yourself.

DR. YOUNG:  Thank you.  I am Karen Young, and I am from Roche Molecular Diagnostics.  And I would like to thank you for giving me this chance to give a very, very quick summary of what we at Roche are doing about the SARS outbreak.

And it was brought out very clearly in all the presentations, a lot of the presentations today, there is a real need for well standardized diagnostic tests for the detection and diagnosis of SARS.

And there is definitely a role for industry in this, and as was brought up very clearly today, there is a lot of technical -- there are a lot of issues that have to be addressed in order to very rapidly deploy a diagnostic test, especially one that has to have all of the bells and whistles, and are easy to use.

And a lot of these points have been brought out today, and so what I want to do is very quickly go over these points.  There are lots of logistical challenges that are involved.

The nature of the epidemic is still not very well understood.  Is it seasonal?  Is it going to come back, or is it a flash-in-the-pan sort of phenomenon,  and we won't probably be seeing the infection again.  What kind of reservoir is there for the virus?

In order for a diagnostic assay to be introduced rapidly, there is a need to mobilize resources very quickly.  One of the lessons that we have learned from the West Nile epidemic and the need for screening the blood supply is that the resources that were required for us to launch the West Nile assay for testing blood under IND was tremendous.

So there needs to be quite a commitment from industry in order to do that.  So we need to have a very strong partnership with regulatory agencies in order to accomplish that.

And another critical issue is sample acquisition.  That was brought up, I think, time and time again.  Without a good source of well-characterized samples, it is very difficult to develop good diagnostic tests.

And the IP landscape is another issue.  With every new pathogen that is discovered, all the -- I think researchers are now very savvy in the area of intellectual properties, and so without a clear idea of what the IP landscape looks like, and if we don't have a good idea that we will have freedom of operation, it is a very risky proposition, I think, for industry to go into some of the areas.

In addition, there are technical challenges.  What is the optimal sample type?  Blood, serum, and plasma are much easier to obtain than some of the respiratory samples, but are the viruses found there?  And would they be appropriate samples for testing?

Stool and urine are easy to obtain, but for amplification techniques, there are inhibitors that may be present that can interfere with the performance of the assay.

There is also issues of how efficiently can the virus be lysed.  How well -- how stable are the RNA, once they are extracted from the samples?  There is also a question of viral heterogeneity:  as with most RNA viruses, there is a lot of sequence heterogeneity between isolates; how is that going to affect performance of the assay?

And coronaviruses are known to recombine, so is that going to be an issue?  And then of course there is going to be a need for standardization of assays, and the availability of good reference materials.

The -- Roche's response to the SARS outbreak has been to rapidly develop a research assay that can be put out there for the research community to use.  The assay that we have developed is a quantitative real-time PCR assay that is run on the LightCycler, and the sample preparation is defined by the user.

Now, from data that we were able to gather, we feel that an IVD assay is warranted, then we are going to need a lot of help and guidance from the regulatory agencies to establish performance requirements.  What we will try to do is then apply the lessons that we learned from the research assay in the development of an IVD assay.

The assay will likely have an automated sample preparation, a Taqman PCR.  We want -- these two issues, I think, are very important.  One of the important issues to deal with in the commercial assay is that you need to be able to trust the results.

False positive results are certainly a real possibility with all amplification assays.  So if you can have an automated closed system that certainly reduces the chance of having a false positive result due to contaminations.

So an automated sample preparation and a Taqman assay, which is a closed system, will go a long way towards that.  And of course there would also be required to have a full process control so that each part of the process can be monitored.

So our current status of our research assay is that again we have a LightCycler assay that is quantitative, using an external calibration standards.  The assay contains an internal control molecule that monitors the presence of inhibitors.

Again, user-defined sample preparation.  We just completed an in-house evaluation of a panel of positive clinical samples, and a worldwide trial at beta sites is ongoing.

In our in-house evaluation, we looked at 40 samples from Hong Kong.  The sample types included nasal pharyngeal aspirates, stool, urine, and throat swabs.

And this is just a very, very broad summary of what we have found.  Here you can see that these are PCR results from the Queen Mary Hospital.  This is our PCR result -- this is a qualitative yes or no answer.  And then here it shows the titer range.

As you can see, the respiratory specimens and the stool set specimens tend to give us the best results.  Urine gave us a much lower hit rate than the other specimens, and you can see though that the viral titer really is very variable.

It goes from its lowest of fewer than 10 copies, to all the way up to greater than 10 to the 7th copies, per reaction.  So that is certainly a consideration when thinking about what kind of assay and what kind of performance we need to ask from our assay.

So I just wanted to close by reiterating the challenges that we are faced with in the SARS diagnosis.  There are many unknowns.  We don't really know what the nature of the epidemic is, or we have very little information.

We don't have a whole lot of information on the natural history of the infection.  And we are now starting to get some data on the most appropriate sample types.  And then also, what is the optimal way of handling the samples?

And then, of course, to effect a rapid introduction of the diagnostic assay, we need to devote very dedicated resources to the project, and we need to have a lot of help from regulatory and public health agencies to define the assay performance, to standardize how the performance of assays is to be assessed.

We need to have made available reference standards, and also clinical samples for development and evaluation of the assays.  Thank you.

(Applause.)

DR. BABB:  Thank you, Karen.  If we could have the speakers to come up to the table now, and we will start our final session, the open discussion.

Our moderators for this session is Dr. David Feigal, the Director for the Center for Devices and Radiological Health at the FDA, and Dr. Murray Lumpkin, the Principal Associate Commissioner.

DR. FEIGAL:  One of the intents of this meeting today was to really be able to respond to some of the requests that industry made.  Dr. McClellan mentioned this morning the industry that Secretary Thompson asked for, when a number of people from the Device Industry and talked about what they would need to do that, to develop effective tests in this area.

And so one of the things we need to focus on this afternoon is to come back to that point, and this is an opportunity really to get people from around the world, from all the different parts of the puzzle together, and to talk about this kind of an issue.

One of the things that I will do is actually start some questions off, and let me actually encourage the panel, even though you can't see each other, to feel free to ask questions to each other about the issue.

But let me start in a very nitty-gritty area, where there was a fair amount of discussion before, and that was on the issue of:  how do we get sharing of specimens?  Should the specimens be from clinical collections?  Can there be a repository?  What exactly will move this forward.

And let me please invite the people in the audience, particularly from industry, to actually comment on some of the issues that you have had, the issues of obtaining specimens, and what your needs are at this point.

But let me ask from the panel if we could actually have a discussion about the human specimens for developing an in-vitro diagnostic.  What are some of the logistics?

DR. ROTH:  To start with, just to reiterate what I said in my talk, that there is one repository that has already been established in Dr. Lin's lab in Hong Kong.  We are hoping to expand this, perhaps with the addition of some other sites, but the logistics -- and indeed the legal and operational arrangements for this -- are yet to be worked out.

DR. FEIGAL:  Could you say a little more about the practicality, the shipping of specimens, how many specimens are really available, are these specimens that are able to be expanded, or in fact are we dealing with a scarce resource at this point in time?

DR. ROTH:  At this point, we are dealing with a scarce resource.  These are clinical samples, and clearly this is one of the very big issues for the planning of such sample repositories for the future.

And there are mechanisms set up to monitor the use and the demand, and what we do if samples, particularly from some particular geographical site, are becoming depleted, and how to ensure that any renewables are kept renewed.

So I think these issues are actually going to be our immediate concern over the next few weeks and months.  But some of them are actually going to be fairly problematic.

There are also some issues about shipping and transporting, including paying the costs of this.  But some of them are more basic issues to do with transporting clinical material and potentially infectious material, also in the context of development of new regulations and guidance, both from WHO, and regulations from the airline and other transport agencies about transporting such samples.

So I think that this is going to have to be a very well coordinated set of plans for these different repositories.

DR. FEIGAL:  And your comment?

DR. ZAMBON:  Just a basic comment about the difficulties really.  I think that many of the laboratories that have the specimens are still incredibly busy trying to sort things out related to the SARS epidemic.

Getting samples organized for a repository isn't actually a no-cost/no-time piece of work.  And it might seem like all you have to do is pull out 10 specimens out of the freezer and send them somewhere, but actually it turns out to be half-a-day or a day when you don't really have the time to do it.

So I think that, in many ways, is one of the major problems about getting free access to samples.  It is not really even the sample material.  It is the person resources to get that material organized.

And if there was a way of finding some person resources for the labs that actually have the specimens, to facilitate the shipping, that would be one way of opening out the resource internationally, because it is a big mistake to think that, oh, I only want so many samples; they can easily do that for me.

It is a big mistake to think that that is not a trivial thing for the -- or that that is a trivial thing for the sending laboratory.

DR. ROTH:  Can I just add one thing to Maria's comment on that point?

DR. FEIGAL:  Sure.  Can you pull the mike over a little closer?

DR. ROTH:  Just to add one further point to that comment, which is that -- in addition to all that, there is still a great deal of work to be done for these samples to be optimally useful in terms of characterizing them epidemiologically, clinically, and indeed still virologically.

And so until that work is a bit more advanced, I think the usage of this repository should be limited.

DR. FEIGAL:  Did you want to make a comment from the industry perspective, or call on your colleagues in the audience?  We can name names out there, if you want to do that.

DR. KOZIARZ:  What I just wanted to mention was that, in keeping with -- I think -- the spirit of your question, when the coronavirus was identified as the culprit as it were, here -- I am speaking specifically for us -- we actively went out and tried to source samples ourselves.

And obviously that had a lot of -- it was time consuming.  We distracted researchers and clinicians in a lot of places in the world to work out the details of doing that.

But essentially it was every person for themselves, when that occurs.  It is a question of who is going to go out and aggressively do that.  And while it may have some advantages early on, I think if we look at this from the standpoint of really putting together a system that will allow us in the future to react quickly and react well to these, there are a couple of drawbacks to that.

The first one is:  we have a set of samples that maybe someone else doesn't, so how do we ever compare what we are doing here?  And I think what we saw this morning, also with respect to the sample types, where in the course of the disease the sample was taken.

There are a lot of things there that I think this type of a strategy just begs for some -- you know, it is almost like the analogy to a HIV sero conversion panel, where we all test our reagents against them, and we all know where we are when we stand there.

So I think we are sort of building in, maybe inadvertently though, I think some difficulty for the regulatory bodies, because they are going to have to somehow find a way to compare a performance here.

And I don't think I am answering your question, though, on who is going to put this panel together and store it.  But I think that it is something that we have to do.

And I agree wholeheartedly with the first two comments that this is a lot of work, and it is nothing to be entered into lightheartedly.  We are going to have to make sure that we really have the right specimens in place.

Now, who does it and how we all share in it, I think is something that we have to consider in the future.  But for samples like this, and I think for instances like this, we really need some type of a yardstick that we can all measure ourselves against.

DR. FEIGAL:  Is there anyone from the audience, from industry, that would like to comment on your experience with samples and trying to obtain samples, or not succeeding in getting samples?  You don't look like you are from a company here.

MR. SHOEMAKER:  No, I am definitely not from a company.

DR. FEIGAL:  Unless Abbott has a snappy new uniform here.

MR. SHOEMAKER:  No, but I would like to make a comment.  I'm Dave Shoemaker, U.S. Army microbiologist.  One of the critical problems that we have all really addressed here is simply the volume of samples that we get from patients, and the very small volume that we have, so that you can't give the same sample to 10, or 20, or 30, or 50 different companies out there to test their assays.

Dr. Dave Norwood brought up the non-human primate challenge studies, which would give you potentially the opportunity to get larger volumes of samples so that you could get the same samples out to a variety of people.

My question is:  how does the FDA -- how would they view the data obtained from animal samples, which is not human samples, per se.  How would they view those data in an application for a SARS diagnostic assay?

DR. FEIGAL:  Well, shall we put Dr. Gutman on the spot here?  There is, of course, the animal testing rule that has been developed for drugs and biologics, but I don't think we have had a device version of that.  Are there precedents on that?

DR. GUTMAN:  There are no precedents, so the question is broader.  If FDA wants to do things that are scientifically plausible and reasonable for a particular circumstance, so the question is from the standpoint of the scientific community, and from the standpoint of this panel, is that a reasonable surrogate?

It certainly strikes me that it would be a reasonable surrogate to provide some information.  The question is, is it enough information for us to consider it an investigational device?  Is it enough to actually carry it over to a provisional approval?  Or is it enough to actually say, gee, that's all you have got, and it is an approval.

I don't know the answer, and I don't know if David or anybody else on the panel would venture an answer.  I guess what I would suggest is that at the point where somebody has got that data -- and I would guess even getting that information is not all that easy.

You do have to go through the work of identifying the animals and infecting them.  The sponsor would need to negotiate with us, and we would turn to CDC and NIH, and the parties involved in this room, and ask them:  is this enough?

DR. FEIGAL:  The primate studies aren't cheap, and if I recall, were there three animals involved in that series?

DR. NORWOOD:  Yes.  Yes.

DR. FEIGAL:  What was the rough cost of doing that?  Just curious.

DR. NORWOOD:  Well, each animal approaches a hundred thousand dollars.

DR. FEIGAL:  So it is an expensive way to do that.  But one of the questions that has come up, and perhaps to ask the panel, is the feasibility of getting started with a diagnostic assay with artificial samples -- animal samples has been another proposal -- but something that would be controllable, so that you would not have to work on the serendipidity of being able to get the access.  Anyone like to comment on the feasibility of that kind of an approach?  Do you want to start?

DR. NORWOOD:  Actually, I was going to add that the conversation that kind of started here on clinical samples, but I think that there is a much easier bank of reagents that could be immediately prepared that would allow the comparison of assays from a variety of sources.

And that is, it's not a huge undertaking to isolate significant amounts of RNA from all of these strains and from nearest-neighbor panels and have a central location for that material where people can test their assays against other assays.

And based on that information and that data, then reasonably informed decisions can be made about which assays are worth testing on clinical samples that are available.

DR. ZAMBON:  I would like to say that I think it is a very pragmatic start, to use panels of negative clinical materials spiked with either RNA or with virus, and hone in then so that you do save the very valuable clinical material for -- as has just been stated -- things that are worth actually testing.

And you could, I think, make large panels of clinical spiked material available for large numbers of people if required.  And that is particularly relevant in things like fecal material, where you may need to work through a lot of processes of inhibition and extraction in order to be sure of what you are getting analytically.  So I think that may be a first,  better approach.

DR. KOZIARZ:  David?

DR. FEIGAL:  Yes.

DR. KOZIARZ:  I was just going to say that that does, though -- I think that is a plausible way to go forward, but it does imply that maybe the first step on one of these assays then is the demonstration of analytical sensitivity, as opposed to clinical sensitivity.

DR. FEIGAL:  Gee, I think we have heard that proposal somewhere, didn't we?

DR. KOZIARZ:  I think you did.

DR. ANDERSON:  One of the things that I think is important to get back to is:  what is the question that you are trying to address?  And they are different.  One is the analytical sensitivity, which you can define that with spiked samples or whatever, and you can define variation in clinical samples with a given test that way.

The other piece is:  what is the sensitivity, and how do you interpret the results in a clinical setting?  And there you need kind of the clinical parameters, the gold standard, but you don't have to do that with each assay.

And I think once you define the questions, then you can break it down and put together -- approach it in a creative way that can get you where you need to go.

DR. FEIGAL:  So if I understand your suggestion, your approach is to develop reliable and accurate diagnostics that work on spiked samples, and then link that to what is known about the biology of the response in the infected patient of what you are trying to detect, so that you don't require that -- is that basically what you are proposing?

That each person does not have to go back and find, and characterize the clinical specimens as where they are in the course of infection?

DR. ANDERSON:  Well, I think that is one way to get there, because we don't see to have enough specimens for everybody to test the full range of possible settings.  So I am not sure that we have a choice, other than something along that lines.

DR. PEIRIS:  Just to address this issue about samples and distributing samples.  I think -- I'd just like to echo something that Maria Zambon mentioned.

It is just only recently that we have been able to put together the epidemiological correlates of many of the hundreds of samples that we had.  I mean, the majority of samples we got is rubbish, you know.  When I said that we tested 300 samples a day, I mean much of that was totally useless.

Even those that were positive, it is really not much use, because you can see that the time codes of the illness is critical.  I mean, we are trying to establish the validity of the assay.  So we really need to have a date of onset in relation to sample, and that type of data is only now beginning to come together, because you are getting samples from all over Hong Kong.

One other point is that these original clinical samples are not just important for diagnostics.  They are important to understand molecule epidemiology; they are important for pathogenesis; and, just as an example of molecule epidemiology, we are interested in genotyping these viruses in relation to transmission linkages.

Now, that information is only beginning to get put together.  So I am just trying to convey to you some of the issues that we need to keep in mind before we lose all these samples by distributing them worldwide.

DR. YOUCHAN:  Yes.  With the SARS outbreak occurring in China, most of the people think that the Chinese will be likely to worry more and that a sample should be easy, but it is not true.  In fact, we need the Army; a lot are worrying about those samples.  So it is very difficult to get this kind of samples.

So in summary we want to have cooperation with international organizations.  We want to set the international laboratory reference and then we distribute them to the panels and to the different laboratories.

But it is quite difficult to get the large warning samples, so we already start to these workers,  to get these valuable samples.  We also want to use the artificial samples.  For example, we have introduced the virus into the monkeys or something, some animals, where we can get the virus.  However, we can get the serum, and we maybe use that as part of that kind of samples as a reference.

So in China many manufacturers have already developed the assays, but they didn't get enough valuable samples.  So they can't do evaluations for the assays in clinical trials, and so they didn't apply for the license.  So I think that is still a problem, some difficulty, to come back to the samples in China.

DR. FEIGAL:  One of the things that was mentioned a few moments ago is the usefulness of reference panels for HIV screening for blood.  And as I understand it, part of the importance of those panels is to be able to track viral drift over time, as the viral population we are seeing in the blood supply changes over time.

Does anyone have any comments about how we would tackle the problem of a potentially variable virus and develop a diagnostic at the same time, if we don't have an ongoing way of collecting clinical specimens and tracking the genome and the viruses that are beginning to appear?

DR. ZAMBON:  Well, perhaps I can start the discussion.  In many ways, the problems of the SARS corona-virus there that you just elaborated on are not very different from those of influenza.  It requires that you do constant sampling, and we can call it surveillance if you like.

You do a lot of sequencing, and you relate your immune responses to the strain variation that you get.  So that means looking not only at ELISA type antibody responses, but functional antibody responses by neutralization or by other functional antibody assays.

And that is maybe a different question to diagnostics, but I don't think it is undoable.  It requires that you have in place mechanisms to capture a virus and mechanisms for looking at functional antibodies.

DR. FEIGAL:  But I think it sounds to me like what your point is -- that instead of tracking this for the purposes of developing changing needs in altering a vaccine, it could be done for tracking the changing needs in diagnostics.

DR. ZAMBON:  Oh, absolutely, because you would want to do a number of years of -- well, let's assume that the thing continues to circulate.  You would want to be sampling regularly and to be sure that you are not drifting from where you are diagnostically.  Until you are sure about the extent and rapidity of evolution, you are committed to having to do that, while it continues.

DR. ANDERSON:  I think that is one of the reasons for using more than one primer set.  You have got a couple primer sets that you are using, it is unlikely that change would occur in both at the same time.  So if you see discorement, then that's an isolate you want to go back and look at.

You know, one being the possibility of different sensitivity at the site, but the other being change.  So I think to pick that up when you are doing diagnostics, one way to do it is to make sure that you have got a couple of primer sets.

MR. HOUNG:  Huo-shu Houng from Walter Reed.  My laboratory is heavily involved with another IRD disease called adenovirus Type 4, and normally the gold standard that we use is a viral isolation, and actually I believe that based on the present data, and coronavirus and adenovirus are very similar.

The virus shedding can last as long as three weeks, but then again during the early stages to the peak of the infection, you could easily isolate the virus.  But to the later parts, the neutral antibody came out and you would not neutralize the virus.

So the PCL would come up positive and viral isolation come up negative.  So I just want to caution everybody how to correlate it with clinical symptoms.

DR. FEIGAL:  Well, in fact we have been talking about two things.  One of them is tracking the virus in a clinically relevant virus, and the other is trying to diagnose patients in the different stages of a clinical infection, and the goals are related but somewhat different.

Do we have in fact the infrastructure in place now to do this kind of routine collection of SARS?  It has been very impressive, the mobilization against the infection.		But if it comes back in force in another country, or in this country six months or twelve months from now, the question that will be reasonable to ask is:  what has been done to prepare, and what are the steps that are needed, and what kinds of pieces should people be applying to the NIH to get funds for?  Jim.

DR. PRUDENT:  I just want to make mention that without --

DR. FEIGAL:  Could you just identify yourself?

DR. PRUDENT:  Dr. James Prudent, EraGen Biosciences.  One of the interesting aspects of SARS now becoming important is that it is opening people's eyes up to the whole idea of molecular diagnostics and what the future is going to allow.

Because this is -- infectious diagnostics is one piece, but there is also a genetic testing in general.  And last March I was asked to contribute at a roundtahle at NIST, which is the National Institute of Standards and Technology.

And they are very interested in participating, even though they said a number of times that they are not a regulatory industry or a regulatory agency.  But their interest is this.  They provide samples and standards for all types of other industries.

They would like to get involved in this.  I don't know if there is a proposal on the table in front of Tommy Thompson or someone else in the Administration, where we could not only look at infectious disease, but genetic testing in general.

Because, for example, cystic fibrosis -- one of the largest genetic testing targets out there today -- it is very difficult to get all the mutations that one needs to build a diagnostic test and assay it and put it through the standards of clinical testing.

There is going to be a meeting in September at the CDC to talk about that issue.  I am wondering if the two groups -- does it make sense for the two groups to get together and actually build an agency or build some sort of a group that can build models like David Norwood said.

It is not all that hard to clone these sequences, and to get standardized RNA for the SARS virus.  It just takes someone willing to do it and the money to do it.  That's all I have to say.

DR. FEIGAL:  Well, I was going to say that at one time I wanted to be a psychiatrist, and I can tolerate long pauses, and that makes you feel uncomfortable and you feel like you have to go to the mike, and you just have to go to the mike and ask a question.  Just remember that.

Well, if we were in fact to take your -- and you've made one suggestion, which is to take some of the themes across genetic testing and some of the commonalities that are developing in different diagnostics, and to combine some of those efforts.

But let me turn your question another way back to the panel, or anyone from the audience who would like to comment.  How -- what should we recommend, as a workshop today, in terms of what is needed in terms of a viral repository?

I think we have heard that the specimens from the epidemic that has just gone by us like a freight train has some things that are useful, some things which would take some work to make them useful.

But what are the recommendations?  What would be the priorities?  What would be your priorities in terms of getting specimens, either viral specimens or clinical specimens, ready so that we are in a better position to be ready for a recurrence of this, if that should happen?

DR. ZAMBON:  Again, perhaps I can start.  I think we need a repository of virus strains, and preferably as broad as possible.  But within that repository a clear identification of a number of strains which are not subject to material transfer agreements, which can be made freely available for academics and for industry, for commercialization or development of diagnostics.

Because I think there is a problem with accessibility of strains at the moment, and I think we do need that, preferably in more than one place in the world, too.

DR. FEIGAL:  And what would be the practical logistics of getting those strains?  Do they need to come from clinical specimens?  Do we find them in animal reservoirs?  Where do we get the strains?

DR. ZAMBON:  I don't know.

DR. FEIGAL:  Not from the Patent Office, you're saying.

DR. ZAMBON:  That is a question that I can't provide the answer to.

DR. ANDERSON:  Well, I mean, I think to be able to have sufficient virus that you can distribute and be useful, you are talking about isolates.  And you are going to go to the people who have isolates, which a number of people have, and then you want to look at the range of genetic variation within that to make sure that you are representing what is available.

DR. FEIGAL:  And how many isolates do you think are currently in the laboratories around?

DR. ANDERSON:  Well, we have got six.

DR. FEIGAL:  You have got six here.  We will do this by auction here.

DR. ZAMBON:  We have got two.

DR. FEIGAL:  You have got two, and so we are up to eight.  Do I hear nine?

DR. ANDERSON:  Most are going to be in China and Hong Kong.

DR. PEIRIS:  We have 20 or thereabouts.

DR. FEIGAL:  And in China or others, are there other isolates?  Taiwan?

AUDIENCE:  We have about five.

DR. FEIGAL:  You have about five.  So it sounds like -- in terms of clinical isolates from this epidemic -- that there is probably less than 50 isolates around.  It sounds more like perhaps even 25 or 30.

DR. ZAMBON:  But the question is, how many of them come without any strings?

DR. FEIGAL:  Yes.  Well, there's all sorts of strings.  Intellectual property's been mentioned.  Earlier in the day, we also had discussion in the context of collecting specimens under investigational device exemptions of having informed consent.

And there are different practices around the world about informed consent for diagnostic testing. So there are probably some interesting issues there that are different than intellectual property, but still can create some -- at a minimum, lengthy discussions, and at worst, barriers.  Were there some comments down this side, on the top?

If we were to actually, though, envision pulling together the repository -- well, actually, let me turn the question back.  Are there known strings attached to some of these samples?  Are there patents or anything that apply to your samples, for example?

DR. PEIRIS:  Yes.  I mean, we would have to discuss with the university about the IP issues, but the initial strain is under RNA, but I am not really sure if the other strains can be sent out without that, but I can explore that with our university.

I mean, I don't think there should be a major problem making viral strains available.

DR. FEIGAL:  I think probably one of the proposals would be that the strains be collected and established in a common place if possible, and who would do that.

DR. PEIRIS:  And I think, in that regard, it would be certainly much easier if an international agency, whether it be WHO, or NIH, or in combination, were to host such a repository rather than -- I think that would make life much easier for all of us.

DR. FEIGAL:  Any comments in terms of presenting the NIAID's resources?  Are there analogies here that you could point to that would suggest a way to go?

DR. LAMBERT:  Say that again?  Analogies?

DR. FEIGAL:  Analogies to some of the HIV repositories.  Are there strains available?  Are there ways that --

DR. LAMBERT:  There are wide varieties of -- the list of those HIV reagents that have been built up over a number of years is enormous.  And I use that as an example as sort of an internationally recognized repository that has really contributed greatly to research worldwide.

So we see that as sort of an option, a way, a path forward.  Some of the groundwork has been done to sort of deal with some of the commercialization issues.  A framework for maybe one approach.

I think that frankly that the success of that repository has depended greatly -- as I said -- on donors, people who are willing to provide materials.  If they do have strings attached, that repository has figured out a way of dealing with them.

DR. FEIGAL:  Donors meaning the HIV infected patients?

DR. LAMBERT:  Not necessarily.

DR. FEIGAL:  Not necessarily?  The clinicians who have collected the specimens?

DR. LAMBERT:  The people who have isolated viruses, the people who have developed research resources who now want to make them available to the community through the NIAID repository, because frankly they can't distribute them on the level, or on the diverse level that people want them.  They just can't do that in their own labs any more.

So there is also a capacity issue that these reagent repositories fill a really good niche for.

DR. FEIGAL:  Could you -- and I am sorry if I missed it from your presentation earlier, could you remind us of physically how that works?  Are these all in one place, or is this a virtual repository?

DR. LAMBERT:  Let me see.  Is Opendra still here or did he leave?  I think he is gone.  It is predominantly in the same repository.  We have a GMP repository, and it is actually housed up in Rockville, Maryland.  It is called KcKesson BioSciences.

They are the ones -- and they actually run some of the other repositories as well for the Institute.  But they have the freezers, and they have the cell culture facilities, and they have the GMP.

And a lot of what they do is also subcontracted out.  So if there is a particular need that someone has, we can go through the repository contract, procure what it is that the need is, and pull it back into the repository and make it available.

So I present it as sort of a model about the impact that that repository has had on research.

DR. FEIGAL:  Now, did that start as an initiative from NIAID, or was that a proposal from a group of investigators?  I imagine that was a contractor.

DR. LAMBERT:  That is a great question.  In 1988, I know that there was a need from the extramural community -- that means the part that receives funding and does research -- to try to centralize this.  I think they dealt with the same issues that you all are grappling with, which is how do we deal with standardization?  How do we deal with quality control?

We need to present a unified front, and we need to sort or prioritize what limited resources are available.  So I know that there were only 20 or some donors in the very beginning, which sort of was a critical mass that allowed it to come together as a repository.

And the NIAID then said, okay, well, we have got 20 different types of material and now we are going to let contract to manage it for us.  And that's --

DR. ANDERSON:  I think one of the things to think about is actually not say that it has to be "no strings attached."  I think it is quite appropriate to respect the individual investigator or university, institution, whatever, and develop the kind of repository that NIH presently has the capability, with different levels of strings, MTAs or whatever, to respect.

And that way I think you are more likely to get the broad range of isolates that will actually be useful, and then the groups can look at how they want to use it, whether it is appropriate for them or not.

DR. FEIGAL:  No, that is a good comment.  That is a good comment.  Yes?

MR. WINSLOW:  David, Dean Winslow, Bayer Diagnostics.  First of all, I am just going to warn you and put you on the spot, and try to address very briefly a fundamental issue I think is of concern to industry.

First of all, I was gratified to hear Dr. Gutman propose that SARS diagnostics be classed as Class III devices, both as I guess IVDs, as well as, I heard him say, as Class III ASRs.

Just a little bit of preface.  My former position before I joined Bayer, I was Vice President of Regulatory and Clinical at a company called Visible Genetics, and we had the first integrated system for HIV-1 genotyping for drug resistance testing.  And by the way, I just want to also say that I have the highest regard for the FDA, and I think that the relationship that we developed and the wonderful assistance that we got from CBER was just great.

So I am not bashing the FDA.  But I think a real concern though is that if the compliance division of the FDA does not enforce the regulations on ASRs being Class III devices and subject to PMA, that I can't see any of the major companies devoting the resources to developing a SARS diagnostic as either an in-vitro diagnostic device or even as an ASR type reagent.

And again just the reality of it is for many of those in the audience is that there are three large reference laboratories that because of their exclusive contracts with insurance companies, control about 85 percent of the nucleic acid testing in this company.

And it is obviously cheaper for them to develop a laboratory developed assay -- you know, a home-brew assay -- that is not subject, as opposed to an industry that has to put all the quality systems regulations into a product.

For example, we spent about $50 million and five  years, filed an IDE and everything, and eventually because we could not compete with home brew, because the FDA did not exercise its enforcement against the home brews, that we basically had to fold up shop.

So, just again as a precautionary tale, and a challenge I think to the FDA, that if you are going to regulate this as a Class III device that you have to put some teeth in it on the enforcement side.

DR. FEIGAL:  Thanks for that comment.  One of the -- let me continue the discussion and sort of getting ready.  I think that -- well, actually, let me just ask one final follow-up question to our colleague from NIAID.

What would be the mechanism of getting a repository or getting SARS specimens added to the resources that you already have?  Does that need a proposal from someone, or would this be something that NIAID would be willing to issue as a contract to provide a repository for specimens?

Could that be piggybacked on to the work that is being done for HIV?

DR. LAMBERT:  In terms of a mechanism, I really think the way that we see this as -- is a piggyback on to the biodefense research resources program.  I mean, that is ready to go live, probably September or October.

And that has an incredible -- that actually has unprecedented capacity.  As you can imagine, we are building something for biodefense, and it is broader than biodefense.  It is biodefense and emerging  infectious diseases, which means that it has teeth to outride whatever this biodefense thing looks like.

So the infrastructure, the dollars, the resources, are in that contract that we expect to award within the next several months.  And as I think I mentioned, the Division of AIDS contract is actually filling a little niche until that one goes on-line.

So I guess what I heard someone say earlier is -- and maybe it was you, Maria -- you know, we could go out and we could talk to these folks, and we could say that we have this capability, we will take your specimens, we will work with international partners.  We will attribute your donation to this repository and give you and your institution credit, if that is what you need.  We will put agreements in place with people who want to withdraw materials that you have provided.

I mean, I think all of that is on the table, is something that this can do, as probably as other places in the world can as well.  But if resources is pulling things out of the freezer and it takes money, and if the Canadians say that we have these banked resources, or the folks in Taiwan say we have them, but we need resources to get them out of the freezer and to categorize them and expand the isolates, I don't think that is off the table.

I think that is something that as part of its contributions to this project that we could talk about.  Does that answer what you were --

DR. FEIGAL:  Yes.  Did you want to comment?

DR. NICHOLSON:  Yes, this is Jan Nicholson. NCID.  To follow on that and the comment that we heard about the HIV panels, I guess those are antibody panels.

Is there a proposal then on the table to provide or put together panels of, let's say, RNA or viruses, or antibodies, for SARS coronavirus, that would be available for industry to use, so that everybody would be measuring their assay against the same materials?  Have you thought that far ahead?

DR. LAMBERT:  So are you asking, has the NIAID put out requests for proposals to do this to the academic or private sector?  Is that what you are asking?

DR. NICHOLSON:  Well, I am asking -- in this repository that you are talking about for coronavirus, is it envisioned that you would put together panels of specimens that could be used as evaluation panels, basically?

DR. LAMBERT:  Absolutely.  Absolutely.  Yes.  And I will be honest with you.  I personally know very, very little to nothing about standardizing antibody and RNA panels, and we would have to pull in experts who have dealt with that for other infectious diseases and been able to advise us on how to do that, or work with international colleagues.

DR. FEIGAL:  Let me pick on --

DR. LAMBERT:  Sure.

DR. ROTH:  Let me just say that from the WHO point of view.  This is something that we are very definitely trying to pull together quite soon, in order to perform some multi-center -- as I was saying earlier -- multi-center evaluations of the current major candidate assays.

But also, they have already been producing and distributed to many countries panels of reference sera and standard sera, and obviously this needs to be something that is continued and expanded in terms of availability.

DR. FEIGAL:  Did you want to comment?

MS. KODSI:  I am Xiuli Chen from BBI Biotech, based in Boston, Massachusetts.  We are a panel manufacturing company.  Actually we manufacture the HIV and HPV, and recently just finished the West Nile virus for the Panel 1 and 2.

The main issue is, I think, for the panel manufacturing, for our company right now we are trying to get virus from any source that we can get, but I really feel that it is really difficult.  One question that I wanted to ask the panel is that we just are talking about animal models, and the patient specimens to get the viruses.

What is the steps for coronavirus culture, for the staph culture?  Because I know for the West Nile virus that we can culture the virus up to 10 to 9th or 10 to 10th copy per mil.

But can we culture such virus?  And if we can culture, what the titer can be?  And which laboratories is doing this, and how can we get this virus culture?

DR. FEIGAL:  Do you have a comment?

DR. NORWOOD:  I believe that we have been culturing them in Viral 6 cells.  Our titers have been somewhere around 10 to the 6th or 10 to the 7th pfu's per mil -- we don't get much higher than that.  And the first passages usually are not that high.  They tend to be somewhere around 10 to the 5.

MS. KODSI:  Okay.  That is very good, but I wondered if we can get some from you.

DR. FEIGAL:  Well, this is an interesting question.  Do we need the virus?  Is having the sequence adequate enough?  But for the manufacturers,  do you actually need to have the virus and the capability to produce the virus?  And is this -- what kind of BSL level are we talking about, developing this?

DR. NORWOOD:  All our cultures are being down at BSL 3. with appropriate personal protective equipment.  We don't transfer anything to BSL 2 for RNA isolation until it has been put in trizol.

I am sure that perhaps not everyone is working under those circumstances, but that is what we have been told from our safety people, that -- the way we need to work with it.

DR. ROBERTSON:  And those are the recommendations from CDC also, and also from WHO.

DR. ANDERSON:  There are a number of groups that have live virus, including CDC, that are distributing it on request, and with signing an MTA.

MS. CHEN:  You know, from West Nile Virus panel experience, we first heat activated the West Nile virus.  So for the SARS virus, from my knowledge, it is sensitive to heating.  So if we can get the virus, I think maybe we can first heat the virus in the BSL 3 laboratory, and then in this case the downstream process should be easy, and it should be easy for all industry and the public health departments to work on these panels.

DR. NORWOOD:  I think it depends what you want to do with the virus.  If you are interested in immunological-based assays and antibody generation, or things of that nature, any sort of heat denaturation is going to affect the epitopes on your proteins.

If you are just talking about using the virus for the RNA and nucleic acid components, then that is probably true.  The way that we typically inactivate our agents is by gamma radiation.

We have not done any of that testing with SARS to date, though.

MS. CHEN:  Okay.  Thanks.

DR. FEIGAL:  Now at this point, we have been talking about the virus and viral specimens, and collections of viruses, and it looks like we have a path forward of developing a repository of those kinds of specimens.  Can we turn to talking about the host response, and specimens reflect the host response.  This was sort of mentioned briefly, that some of the panels that are available for some diagnostics are antibody response panels.

How are we going to build that kind of -- well, what do manufacturers need?  How can the public health networks be helpful in this kind of a setting with a new infection?

DR. ZAMBON:  If I could just start off and say that I think that it might be easier to make antibody panels, because you can to a certain extent ask individuals if they are prepared to donate larger volumes of blood when they are recovered.  What you don't cover with that approach is the acute phase antibody diagnostics, which are -- those are usually the sera which are in limitation.

So again, exactly the same problems with acute phase antibody diagnosis as exists for acute phase nucleic acid diagnosis.  But in principle detection of antibody responses ought to be fairly straight forward, because there are enough SARS infected patients who can be followed up and get large volumes of blood to get those.  So I don't think those would be difficult.

DR. FEIGAL:  Has anybody started collecting those?  Yes?

DR. ZAMBON:  We have.

DR. FEIGAL:  You have.  Anybody else working on -- ?

DR. ZAMBON:  But bear in mind that we have very few patients.

DR. FEIGAL:  But you don't have very many patients.

AUDIENCE:  Well, one thing I might say that would be useful for measuring the immune response from an industrial perspective would be for academic institutions and hospitals, and anyone else dealing with SARS, should it come back, would be to start saving PDMCs.

Dr. Anderson briefly touched on it in one of his slides, but for the most part we have been focused entirely on the humeral arm, and I think there is a lot of information on the cellular arm that can be derived as well.

DR. ZAMBON:  Okay.  And I think to answer that immediately, it is a question of resource.  The labs are overwhelmed with providing diagnosis -- don't have the time to do T-cell separations that are required, or prep your cells in such a way that they can be used later, and that's really -- it's a resource issue again.

DR. FEIGAL:  Could we get a comment from -- I was going to pick on Indira Hewlett, since I can still see you in the back.  Could you comment a little bit on the experience of developing panels for blood testing, and some of the mechanics of how that works, and who actually -- where the panels physically are, and how the manufacturers get them, and how are they produced?

Are there things that we can learn from those systems, as we look forward to this?

MS. HEWLETT:  Thank you, David.  Obviously in CBER, we do lot release testing - tests that are used to screen the blood supply, and to support that function, we have actually engaged in developing panels.

Some of the panels that we have are those for HIV, and we also have panels for hepatitis.  And more recently we have been involved in developing panels for West Nile.  And actually some of the issues that we have been talking about are very reminiscent of the discussions that we have had in regard to West Nile virus test validation.

Where in fact there are very few specimens that are available for validation, and one of the strategies that we have taken is to develop panels in-house at the FDA.

So we have in fact acquired some virus isolates from patients and cultured them in the laboratory.  And we are in the process of actually doing collaborative studies to look at the performance of these panels.

We are also, in the case of West Nile, trying to acquire specimens from various clinical laboratories and public health labs, where cases have been identified, and to create a repository in-house in our laboratories at the FDA.

The repositories are actually stored at a contract facility, actually at the Bratton Biotech, Boston Biomedical Laboratory, and you just heard some comments from an individual from that laboratory.

The way it works is we actually perform some testing on the different panel members to characterize them, to make sure that they are pedigreed.  We also look at the performance of different tests on these panels, and at that point they are sent off to the contract facility that actually manufactures them under GMP conditions.

And when it comes time for a manufacturer to actually develop a test, or when it comes time to licensure, they acquire these panels from us and they perform testing as part of the qualification and validation of the test.

So that is sort of the approach that we have taken in CBER.  It does involve some efforts in the laboratory, and we have BSL 3 facilities on campus, the NIH campus, which allows us to do some of this activity ourselves, within the FDA.  But hopefully that is something to think about.

Obviously in the case of SARS, it has not yet surfaced as a blood issue in terms of transmissibility by blood, but we are looking ahead and also beginning to look for specimens.  And obviously this discussion here is very useful for us as well.

But one of the approaches, obviously, would be to create some type of repository, and perhaps working through NIH and working through our laboratories in-house may be a way to move forward here.

DR. FEIGAL:  Thank you very much.  Does anybody have any questions for Dr. Hewlett?  Comments?

We sort of had three different models that have been suggested.  One is the blood model, and another is the influenza model, and -- I have already forgotten the third one, but we had a third one a moment ago.

But the question is sort of what strategy -- well, the HIV and the NIAID was the third one that I was thinking of.  So there are different types of resources.

Let me actually put the panel on the spot and -- well, actually, let me take one different tack, and then I am going to put you on the spot to ask you what we need to do to be prepared, if in fact we were to have a major outbreak, and bring it to this country.

What if we had a major outbreak in this country?  But let me ask first about a different strategy.  We have talked a fair amount about the virus, a little bit about the host response, and we have talked about it from the perspective of collecting resource materials that someone -- separate from responding to the epidemic -- could deal with as developing assays to respond.

And these materials could be used either by someone trying to develop a reference central laboratory, a home brew type of approach, or they could be used to develop a commercial finished kit.

But the other possibility that could be raised is whether or not there is the possibility to actually bring experimental diagnostics to the public health response.

Historically -- and we have seen a pretty effective response to this by CDC, WHO, by the health departments in the countries affected -- that testing was put in place pretty rapidly once the organism was identified.

But if this becomes a cyclical pattern or if we are dealing with new types of agents, is it possible in fact to begin to test commercial assays in development, alongside with the public health response?

And we have heard already about how busy the public health response is, and how hard that is to keep up.  But is it possible to find a way to get the extra resources, and would that be another mechanism forward, and would that be something that would be attractive to industry?  So if you can follow that run-on question, I would ask if there are some comments for that.

DR. PRUDENT:  I would like to make just a quick comment.  We actually were working with the CDC, and I don't want to say who, but there were a number of individuals there that said, we would love to have a company take over the responsibility of putting out some of these early diagnostics and sending them out,  because we are swamped.

So that was a response that we had from a few people there.

DR. FEIGAL:  And one proposal that has sort of been made is that people have sat around and kicked this around, saying that if you had multiple companies even developing multiple analytes or multiple diagnostic strategies, would there be a way to rapidly call for these and identify these at the same time?

The idea a little bit is that the public health system response can handle an epidemic of a certain proportion, but once it gets to the magnitude that you need to have the testing in every hospital in a large country, you may well overwhelm and swamp that kind of a system.

So is there a way to rapidly put commercial development in place alongside a public health response -- and particularly as we look at how to respond to new emerging threats -- would that be a worthwhile investment to sort of build that sort of infrastructure?

DR. ROBERTSON:  I am going to take a stab at this.  I am not sure that I am the best qualified person to answer this, but in the midst of the outbreak, as difficult as it was, at least we were dealing with assays that we had experience with in-house.

I guess one of my concerns is if we had multiple commercial assays out there, how would we compare them one to another?  And perhaps Rosemary or somebody from the state public health labs would like to speak to this, because one of the things that has come across quite strongly to me is, at least we have -- every lab is technically following the same procedures, and so hopefully we are comparing apples to apples.

DR. FEIGAL:  I think the idea would be -- and since you actually had the experience of putting together an IDE, working through the U.S. approach to consumer protection and informed consent -- would be to say that rather than each commercial company  having to do that independently -- find its own hospitals, find its own sites -- in fact, to pick on you, a company could come to you and say, could I be an amendment to your IDE?  Could I have a test that you run alongside with yours?

So that they would all have their apples -- they would still be running their apples and running your tests -- but in addition there would be other tests, and some of you could modify the informed consent slightly, modify the IDE --

DR. ROBERTSON:  And we have run into the people and space issue.

DR. FEIGAL:  Well, that is the question that I am asking.  Is this logistically feasible, or is this a good idea that just can't possibly work?

DR. ANDERSON:  I think that one of the problems that we worry about at CDC doing that, is if we do it for one company, we are obligated to do it for all companies.

And we really because of that shied away from getting involved in evaluating tests at CDC, because we would get overwhelmed very quickly, and I think it would divert our resources from the public health response perspective.

The idea of panels of specimens that then can be sent to the respective commercial company or whoever wants it, works much better for us, because it is easier to treat everybody the same.  If you have got panels of specimens that we can send out -- organized by whomever -- that we can deal with.

Bringing in a variety of different assays that we are going to be running in parallel with us, we just can't do it.  And it kind of diverts us from the public health response that is really our first responsibility.

DR. FEIGAL:  Is there a possibility of saying that your assays are this and comparing it with that?

DR. ANDERSON:  Oh, absolutely.  That is not a problem.  And the other thing is that if we do it for one company, we really have to do it for everybody.  And it is a real slippery road, and we can't go there.

DR. GIOVANNI:  Actually, I was going to make a comment on basically what Larry was saying.  I think the sheer volume of what the CDC would have knocking on their door would be overwhelming, and then also choosing -- if the volume is so high -- and then choosing among the companies to decide which ones you are going to actually going to partner with, I think that it would be very hard to do, in terms of the staff.

And just making it an even playing field for everybody who wanted access.

DR. ANDERSON:  And they are for vaccines.  They are doing it for vaccines.

DR. GIOVANNI:  Can you be more specific?

DR. ANDERSON:  Having an outsource for a small

amount --

DR. GIOVANNI:  Well, actually I can tell you within NIAID that a lot of the things that we do are through a peer review mechanism of people.  Is that what you mean?

DR. LAMBERT:  You had a specific example though, right?

DR. ANDERSON:  Well, the smallpox vaccine was outsourced to a company, and I am curious to see if they can do that, can they do diagnostic tests as well?

DR. FEIGAL:  Well, outsourcing would be one thing, but what we are looking for is sort of the  mechanism to develop commercial tests.  What one of the fears would be is that, if you have an effective public health response that can deal with the problem of a certain size, what happens if that problem expands beyond that, and overwhelms the public health response?

And are we in danger of having the public health response actually blunt the incentives to develop a commercial response, so that there isn't a commercial backup.  If you needed this test for hundreds of people in every hospital in the United States, I am assuming that would be a stretch for the CDC.

AUDIENCE:  I think Dr. Peiris had a comment.

DR. FEIGAL:  Sure.

DR. PEIRIS:  The same issue that I think that CDC was addressing about maybe a company coming over to our lab and evaluating their test on-site.  We would have less problems I guess than CDC, where they would have to be equally open to every company.  I think we would certainly welcome that.

Obviously we can't all host more than one or two people at the same time, but that is certainly possible from our point of view.

DR. ZAMBON:  I think it is important to remember, in the public sector your priorities are to ensure public health virology, and you have got to be absolutely clear when you are working with industry that, if you do, you work where interests coincide.  You cannot be driven by the imperatives of industry in any way, shape, or form.

And I think the CDC view is similar to that taken by the U.K. government.  We don't -- we try to adopt a very even-handed approach in whatever we do with companies.  And that in practice may mean that we don't do anything very much with any company, because we just don't have the resource, the people or the space for it to be done.

DR. ROBERTSON:  And that is not to demean the company's interest in public health, either.  It is just because we have limited resources.

DR. FEIGAL:  Let me ask the companies that are here if you are willing to speculate, but is there anybody who feels that they would have a commercial test available for hospitals this fall?

DR. KOZIARZ:  Well, speaking for Abbott here, David, we are with our partner, ARTIS, we are preparing an IDE, and we will be coming in very soon, and so I guess depending on the regulatory cycle --

DR. FEIGAL:  So you are preparing to do an IDE, but of course you will have -- you need to have another outbreak of disease in order to study the test under an IDE.

DR. KOZIARZ:  Depending on again how we would position a first generation test here in the United States, and be ready, your answer is yes.  But again, we are looking toward the possibility that there will be a need for a commercial test, that the industry's ability to scale and to distribute would be important in a situation like that, and so we are taking those steps.

Now, yes, we are sort of stuck -- if you will -- by the seasonality or the finality of the outbreak, but that is something that we are just going to have to address as we go forward.  And I think it is part of a discussion of the IDE with the agency, as to how we would proceed.

DR. ZAMBON:  I think the question of how diagnostics are rolled out is one that probably -- well, we have thought about, but that we have not solved.  And maybe, like CDC, we would consider how to roll out diagnostics to particular laboratories in the United Kingdom.

Because it is a question that we keep being asked:  how would we cope if the thing explodes again?  And if the thing explodes again tomorrow and it explodes again in Europe, let's say, then we will be faced with a situation where we have a very central laboratory capacity, which is not ideal.

But the next immediate move would be -- in the absence of a licensed commercial test -- is to roll out PCRs that we know work, that we can specify exactly what goes in them, to certain designated laboratories in the U.K.  And that would be the way that we would go.

It would not be dependent on commercial PCRs, and it may be that we have less of a regulatory framework in the U.K., where we could actually envision that happening fairly quickly.

And I think it would be our preferred outcome that there were a clearly definable confirmatory strategy, because it is not only the ability to test a sample.  It is also to confirm it, because there are an awful lot of public health actions consequent on a positive sample which you need to have in place, and that is the thing that is difficult to achieve.

It is simply not doing the testing, but it is having a confirmatory strategy.

DR. FEIGAL:  And is the confirmatory strategy usually involve the host response?

DR. ZAMBON:  No, by that timing, that if you get a PCR positive, you should have the capacity to seek what is immediately your product, let's say, or do another PCR, using a different target with a different strategy.

And for us in practice in the U.K., there are very few labs that have that capacity.  So there are lots of labs clamoring for diagnostics, but when you actually home in and ask the question:  well, how are you going to confirm?  That is where you have the difficulties.

MS. HYMNS:  I am Rosemary Hymns with the Association of Public Health Labs, and I think that Betty Robertson made the point that the testing that CDC develops and then transfers out to the state public health labs is really critical in the public health response.

State epidemiologists are making decisions about quarantine, isolation, control, and certainly with West Nile, and with all the decisions about whether or not to spray or not to spray, and when unvalidated tests are maybe being done in the private sector, it is very difficult to use those test results to put public health control measures into place.

And for our public health labs, that has been a great advantage of the technology transfer out of CDC.  Those tests are developed and standardized.  Training, reagents, standardized methods are deployed to the state public health labs.  And it allows for a much more controlled and effective public health response.

DR. FEIGAL:  What would happen -- what State are you from?

MS. HYMNS:  I am from the Association of Public Health Labs, where we work with all --

DR. FEIGAL:  I know that you are all around the place, but I was just going to pick on whatever State you are in.  But if whatever State you are from, and we can leave that confidential information here, but if whatever State you are from, what would happen if you had a Hong Kong sized outbreak, in terms of your laboratory network responding to that?

MS. HYMNS:  You are absolutely right.  It is a huge burden to the public health labs.  We saw it last summer with the West Nile.  There were two impacts of that.  One was the burden to CDC to produce adequate reagents to supply the public health labs, and the other was for the public health labs to keep up with the volume of testing.

So testing did move into the private sector.  I think there is two differences.  One is, we are talking about a public health response.  Once a disease is endemic in an area, the public health response is in place, and testing in the private sector has less impact on public health response.

Then it becomes more of an individual case management situation, where you might be relying on a non-validated test, but the clinician is making decisions based on clinical presentation, exposure history, all of those sorts of things.

And in those cases then, those test results can move into the public sector to be confirmed, but then you are talking about delay, certainly.

DR. KOZIARZ:  Can I ask a question?

DR. FEIGAL:  Yes.

DR. KOZIARZ:  I am curious as to why you are discerning the CDC test as being validated and an industrial test as being unvalidated.  Could you help me out on that?

MS. HYMNS:  It depends on how you define validated, and believe me we spend a lot of time talking about that.

DR. KOZIARZ:  It depends on how you would define a lot of things, but I am just curious as to how you got to that distinction?

MS. HYMNS:  By validated, we mean that CDC has run this assay against known positives.  There is at least some demonstrable performance criteria that has been set.  You are right -- it has not met a broad definition of evaluation and validation, and I think that is the challenge anytime there is a new disease -- is how do you develop a test?

Where the benefit is, is that we have certainly something that has been standardized.  And in a new disease that is probably the best that we can do.

DR. KOZIARZ:  It could very well be that any company in industry could come to you and probably show you more data than perhaps you are seeing with the CDC test.  Would you consider that more validated than the CDC test?

MS. HYMNS:  I think that this is part of the whole issue of public health response.  It is not any one person's decision.  It is a decision about how you are going to respond based on a test.

DR. KOZIARZ:  I am just curious -- again, I am outright being defensive -- on why the industrial test would be unvalidated just escapes me.

MS. HYMNS:  Unvalidated is a difficult word to define in the context of a new disease.  It is not like an HIV test, where you have standardized validation panels.  The public health sector is relying on CDC to develop a test and validate it, using the best materials that are available.  Maybe Betty or Larry can address this better than I can.

DR. KOZIARZ:  The CDC is providing that to you under an IDE.

MS. HYMNS:  In the case of SARS, yes.

DR. KOZIARZ:  Okay, yes.

DR. FEIGAL:  I mean, one of the real challenges -- it is the diversity of the way that laboratory and diagnostics come to market now -- is that there certainly are tests that are developed at single laboratories, a university laboratory perhaps, or another, and you never really do know what the access was for it to clinical specimens, or other types of issues.

And that is even an issue for any central lab with a home brew.  It is one of the things that gets blurred because of the lack of -- or the fact that the CLIA process doesn't or isn't designed to pay any attention to whether a test is investigational or not.

And so the tests have to be offered for the first time when it is offered in a home brew format, and historically I suspect a great majority of those have never had any informed consent, have never been presented as investigational tests.

Probably, in the setting of genetic tests, because the confidence that the laboratory has in their ability to measure genetic material with the use of their analytes.

But I think that is some of the challenge, is that there is a great range of diagnostic tests that are made available, and there is currently not a standardized review.

DR. ANDERSON:  And I think -- to me, one of the things that could well come out of this meeting is the issues, but then some cooperation and collaboration among interested parties, including the FDA, in terms of guidance.

You know, what is the requirements?  What can we actually do to make sure that we have got specimens characterized in the way that they should be, to meet FDA requirements, that we have done the best job possible in getting the numbers and types of specimens there, such that we can actually get there in an efficient fashion.

And I really think, as a follow-up to this, that it would be really useful to have a little more detailed dialogue, to actually have a plan for being prepared, rather than:  "We need to be prepared.  We need more specimens.  We need a specimen bank."

That just is not enough detail to get us there in an efficient fashion.  And we need FDA's help on this.

MR. SCHOCHETMAN:  Hi.  Gerry Schochetman, Abbott Labs.   Just sort of listening to this about sample collection, I mean, we sort of have two issues.  We have the retrospective issue and the perspective or possible perspective issue.  Retrospectively the epidemic has occurred -- whatever samples were collected were collected.  And one could put out RFPs or do whatever is necessary to collect those specimens.

But then we are talking about -- what if the epidemic comes back?  And the question then becomes: what are we going to be collecting?  We are talking about funding repositories and putting things in repositories, but have we defined what it is that we want to collect and what is necessary?

Have we defined what the ultimate uses are going to be?  Are they going to be for regulatory submissions?   Are they going to be for research purposes?  Are they going to be for a combination of things?

And I think what may be useful, and I think what Larry was just trying to touch on, was for the future is to define what the true needs are, and consider preparing the appropriate funding mechanisms to deal with those once the -- or if the epidemic comes back so that we are ready to move to the right source, the right sites, and collect the appropriate specimens, so that we don't have this whatever-is-available kind of thing and we sort of do it as an afterthought.

DR. FEIGAL:   I think that comment is right to the mark of what this conference is, and if today we can identify the kinds of questions that can lead us into a follow-up to put together the process to answer those, then perhaps we can make some progress.

It is interesting to think about what some of the different incentives are.  If in fact you have a blood-borne pathogen like West Nile, then FDA is in the unusual position of both evaluating and approving the test, and also requiring that blood banks in the United States apply that to the 14 million units of blood that are drawn.

And so it doesn't matter if West Nile doesn't come back.  Once FDA requires it, you have got your commercial incentive, you have got your market for doing that.  One of the questions is:  How do we build the commercial incentives?  Or how do we build the incentives for the development of tests, as a way of supplementing having a highly competent public health response that can quickly mobilize for a new threat?

So far we have been sort of developing the theme that we get an effective public health response, and then we look for how to make the handoff between the public health response and the commercial development.

Another idea which was touched on this morning was the idea of multiplexing, or developing tests for multiple purposes.  And let me put Dr. Gutman on the spot -- since I have made somebody from CBER stand up once already, it is only fair to ask Steve to stand up.

Steve, how would we develop a multiplex task. if someone were actually trying to develop a good diagnostic to use during the flu season that would look for influenza, that would look for pneumococcal pneumonia, look for macroplasm, look for the common things, but also might have tucked in there an experimental assay for an emerging pathogen -- like SARS -- that would almost be a surveillance network, if you were, but serve the much more useful function on a day-to-day basis of getting more accurate diagnosis for the common pathogens that still kill more people than SARS?

DR. GUTMAN:  Oh, it would actually be quite easy.  I don't mean to suggest that we don't actually understand the route of looking at whether it is the most plebeian or whether it is the most sophisticated product in looking at products.

The problem is that we have a very traditional approach towards products, and so we constantly look at products and we compare them either to a predicate -- if it is a 5-10K -- or to some established laboratory algorithm or clinical algorithm, that we can cast -- if not true sensitivity and specificity, then at least present agreements so that we can label a product and people can use it intelligently.

So my answer to you would be that it would be easy to look at a multiplex, and it would not matter whether there is five signals or 500 thousand signals.  What drives us is the claim.  If the claim is influenza, then we are going to look at it against an influenza culture.

If the claim is RSV, we are going to look at culture.  If the claim is SARS, we are going to call it an investigational device, and we are going to ask people to collect data.

And that is the essence of the issue here, is that we are very comfortable when you are not quite at this cutting edge, and you are not throwing it at us simulated samples, and you are not throwing at us animal models, but when you are throwing at us real end points, we are really good at this.

And in fact I think that Dr. Anderson has put a beguiling issue on the table, and it may be more than the panel can handle this late in the afternoon, but in fact the agency, as brilliant as we are, is not the custodians of all knowledge.  And particularly in the area of SARS, we are tremendously dwarfed by that end of the room, or maybe even that end of the room, because we don't have a lot of on-line experience dealing with SARS in a research setting and a clinical setting and a statistical setting.

So the issue is, it would be very easy for me -- following the traditional mantra -- to say that the simulated studies are great, the animal studies are great, and five samples from Hong Kong are great, and we have a great IDE, and run with it, and we will help you get it out.

But if you want to push further and if you want a commercial product, and you want to push us further, then we are looking for partners to help us make a rational decision, one that passes the laugh test, and is credible to say that it is not an investigational device.

There is enough information to carry it over the threshold and give it some status of provisional approval or total approval.  And if that's -- you know, I don't know if I can put it back on the shoulders of the panel to address where they think the threshold is, or maybe that is really too much, we need to set up some kind of working group that is interagency or that involves industry in some way.

We can write guidance; we can write a draft guidance.  I don't know that we would get it right, and the whole purpose of having either this dialogue or a dialogue is to try and get it as right as we can.

DR. FEIGAL:  That didn't answer my question, but that is all right.  I will just graze it as a speculation to think about.  Wouldn't it be interesting to use the capability of multiplexing to simultaneously provide the clinical community with tests that are established and useful, but at the same time provide the investigational parts of diagnostic companies, performance data, on experimental tests.

And perhaps you would have two formats of a multiplex test that you could offer a patient to participate in, and one that they don't need informed consent, and it has got the usual suspects, and another one you put in place that has others.

I don't know how often this occurs, but we are told with certain types of pacemakers, for example, that there are sometimes features embedded in pacemakers that are not turned on, because the indication is not approved yet, and the pacemaker already has approved functions, and those are put in the patient.

But if the approved functions every prove themselves, then you can go back and turn them on.  And thinking back to the early days of HIV, there were anonymized specimens, there were a whole number of things that went on.

Could you in fact do public health surveillance, even looking at things that would not be very be very helpful to the clinician -- like serotypes and other kinds of things -- with the ability to do 255 or 10,000 tests at a time?

Do we need to change our whole way of thinking about diagnostics to actually take advantage of the future, instead of the -- is it E.F. Hutton that does one customer at a time, the old fashioned way?  And that, I think, is what you were saying, that we do pathogens the old fashioned way, one organism at a time.

DR. GUTMAN:  Well, I actually think that there are models.  My guess is that a lot of companies, certainly if they listen to what I tell them, will come in with narrow claims on a product, and while in fact it may not be quite as fancy as a microray or a multiplex, but they will take the limited claim and they will run with it, and frankly it will be used off-lbel.

As I understand it, that is perfectly legitimate and legal, as long as they don't promote it for that use.  And frankly they can certainly use it to accumulate data, hopefully, depending on the way that the data is collected, either under an IDE, an abbreviated IDE, or a very deliberate exemption from the ID because of the way that the data is not presumably not being used -- although it would still require human subject protection.

So I think the model might actually exist now, and maybe we can dust it off and refine it.

DR. FEIGAL:  We are getting close to 5:00.  What I would like to do is to come down the panel in order, so that you get the last word.  Unusual for the FDA ever to cede that, but we will do that in this case.

And I would like to ask each of you:  If you could recommend a single thing that would be the most important thing to do if the infection comes back, to be prepared for it in the diagnostic realm, what would your recommendation be?

Here you have together public health organizations, you have the regulatory bodies, you have many manufacturers.  You have many researchers.  What would be your recommendation?  What do we need to do, in case this comes back?

DR. PEIRIS:  In relation to diagnostics, obviously we need to have validated diagnostics that will help us to diagnose patients early and accurately, but in addition to that there aren't many other things that -- say from sitting in Hong Kong we would like to know, for example, there have been so many antivirals that have been screened.  Which of those are effective?  I mean, we have not heard any such information coming back in.

DR. ROTH:  From our point of view, it was mentioned from the WHO's point of view, and obviously the same needs that have just been described and the needs for rapid diagnostic tests that can be used early in the course of disease.

But I would say that our absolute priority at the moment is to take the good candidates' assays, which have already been developed, and which have been used quite widely in different centers and perform an evaluation of them so that we will be prepared, if it comes back, to pick out of these tests the best tests that can be most appropriately applied in a given situation and be ready to go with those.

And these may require further development at this stage in order to be prepared, or they may simply require adequate production.  But I think we won't know that until we perform this evaluation, and I think it should be performed soon.

DR. LAMBERT:  Until you threw diagnostics in there I would have said vaccines.  I agree with what - maybe it was Larry -- Someone said we have what we have now because things were so busy.  I think frankly the most important thing -- I don't know if we will have a diagnostic that can widely distributed and something that can be widely available in an implemented hospital.  I just don't know.

But I think what we do need to be is all on the same page about what -- if we get another crack at this, which some of us hope we probably never do, and some of us hope that we might, we have to be organized, coordinated, and we need to know what we are collecting, and it needs to be -- you know, blood specimens, BALs, whatever it is I think that that's the most critical.

And as Maria said, if it happens tomorrow or it happens a few weeks from now, the diagnostics are probably not going to be on line and so let's not be in the same situation we are now six months from now or a year from now.

DR. ROBERTSON:  I am going to follow up with that from the diagnostics perspective initially and then I have another comment that I would like to make.  I think that to plan ahead like you said, and to know what kind of samples we want to collect and when to collect them, and to do proactive and prospective planning as Jerry mentioned would be very valuable.

In the midst of the outbreak, it was extremely difficult because you had 10 million things in your head at one time, and I know that Malik appreciates that more, as do the people from Taiwan.

The other comment that I would like to make is I think that from a basic perspective, I think one of the most important things that we still need to figure out is what was the source of this transmission, so that if we can prevent that in the future, we don't have to worry about this disease again.

DR. GIOVANNI:  So this is again NIAID.  I think when we look at what we want to actually do in the area of diagnostic and technology development, I think one of the most important things that we see ahead of us is really looking out into the future and actually partnering with the research community, industry, and government agencies so we can actually look into the future and see not the diagnostics of today, but the diagnostics of a couple of years from now so that we are really looking into the future.

Because what we support today in making decisions today will really have an impact in where we are going.  So I think we look for partners to actually help us as we plan ahead in our agenda for technology development.

I think what we are also hearing from the research community and the scientific community is just well documented specimens that they can actually get their hands on to do research, to do technology development, and characterizing the specimens is actually what we see as being really important so that we can get samples that we can actually give to people.

DR. ZAMBON:  I have got three things on my wish list.  Number one is a better database infrastructure, and in particular the use of web-based databases so that you can link the clinician and his sample taking with the epidemiologist and his desire to know about demographics with the laboratory and what they get in samples and what they get in results.

And you want that as a single unified database, and so that is a bioinformatic approach.  The second thing that I would like to see on the wish list is a better understanding of how to deploy the nucleic acid diagnosis strategy so that it is not down to one test, but combinations of tests and an understanding of how they can be used to give good rapid confirmation very fast.

And the third thing is along those lines good serological screening strategies which allow for high throughputs - rapid data delivery, and again that goes to the database.  If you have got a good database, you can feed that information out to whoever needs to know it immediately, and that makes your information capture and your linkage of information easier.  So those are my three objectives for the next few months.

DR. YOUCHAN:  I think the public health authorities have a lot of experience of the epidemiologies of the infectious diseases.  They know what kind of assays that the pubic has needed, and they also can connect through many samples from the different societies.  The manufacturers have a lot of  experience to make the documents to submit to the FDA.

They also have a lot of the experience of the standardization of those assays.  If the public has this, and the manufacturers join together so they can make the assays pass or meet the requirements of the FDA, it will go faster.  So let's make the assays become available much more quickly so that they can be used to help the public health.  And this should be - passing should be the better way.

DR. ANDERSON:  I guess I will concur with the things that have been said so far, because I think it lists some of the really key and important factors that we need to do and just highlights the power and the importance of cooperation and collaboration.  I think it is going to be important not to let that fall by the wayside, but continue the dialogue that was begun today and at other times, and make sure that we actually follow through and get these things done.

DR. KOZIARZ:  I would just concur with your concurrence, but also I would say that if the issue here is that the virus is going to reoccur, and this type of outbreak is going to reoccur, then I would hope that we would be in a position to deploy the diagnostic testing as quickly as we can and that we sort of get past some of the complexity that we talked about today, because we can sort of plan ourselves into a corner where we won't be able to move forward.

And I would really like to see the flexibility that if the need is there that tests that are currently potentially available and could be deployed are somehow -- that if we have a plan in place then we can get those to the right place, because again we can talk alot about getting a great sample base, but if that becomes a pacing item to being able to deploy the assay, we may find ourselves in a potential crisis.

So I guess my wish list is to understand and accept the situation as we have it today, and still find if there is a way for us to get safe and effective assays on to the marketplace.

DR. NORWOOD:  Well, there is not much left to say.  I am not going to concur.  I am going to reiterate what I said earlier.  I think that the need for well-defined standards for widespread use, and to do comparisons of assays and technologies from a wide variety of sources is a necessity for moving forward.  Thank you.

DR. FEIGAL:  Well, we have reached our time.  Mac, you have had a tough time today as my co-moderator here, and we were afraid that there was not enough room up here and so Mac allowed me to lead the discussion.  But let me thank all the panelists and all of those who participated earlier.

I think that we have accomplished an important objective today, which was to get some discussion of the different aspects that would really focus on in being prepared for probably the thunderstorm, and we can look out and see what it will be like when the lights go off.

But I think that the iterative nature of the development of diagnostic products and the iterative nature of science should give us some of the tools that we need to be able to deal with the next outbreak if it comes.  And if not perfectly, we should at least be able to say that we are better prepared and that we have more in place than we had this last time.

Not forgetting for a moment actually how effective the public health response was to this and the tremendous number of hours and hard work that was put into being able to say that there have been no new cases.  So may we learn from this episode, and may this help us prepare not just for this agent, but for other things as well, and let me wish those of you who have come from far distances safe travel back home, and thank you all.

(Applause.)

(Whereupon, the workshop was concluded at 5:05 p.m.)