Draft of presentation at FDA Part 15 Public Hearing

(prepared 17 June 2002)

Good morning (afternoon).  I am Steven Boyce.  I am trained as a cell biologist, and I currently hold positions as Associate Professor in the Department of Surgery at the University of Cincinnati, as Senior Scientist and Director of the Department of Tissue Engineering at the Shriners Burns Hospital in Cincinnati, as Founder and President of Cutanogen Corporation, a biotechnology development company located on the campus of the University of Cincinnati Medical Center, and as an ad hoc reviewer for the Advisory Panel to the General and Plastic Surgery Branch of CDRH.  For more than 20 years, I have conducted preclinical and clinical studies on a combination of cultured skin cells and biopolymers for prospective treatment of skin wounds.  Clinical studies have been conducted under Investigational Device Exemption permissions for more than 10 years.  These studies and those of numerous other academic and corporate laboratories have responded to extensive medical needs for management and healing of skin wounds.  Healing is defined here as complete closure of a wound with autologous epithelium to result in permanent, or indefinite restoration of the protective functions of skin that provide a barrier to physical and biological agents in the environment, and that retain body fluids to maintain physiologic homeostasis.

This presentation will emphasize relative risks to patients resulting from disease processes, whether prospective therapies with cells and matrices may introduce additional risks, whether a positive benefit-to-risk ratio may be maintained, and whether the regulation of these kinds of therapies by either CDRH or CBER may affect the benefit-to-risk ratio.  My remarks are my professional opinion based on my training and experience, but are not represented to be accurate  interpretations of FDA policy or regulatory jurisdictions of existing products, or to be all inclusive or exclusive.

The extensive medical needs for wound closure may be divided into three main categories:

1) Acute/emergent as occur in traumatic skin loss injuries including burns over large total body surface areas (TBSA), or toxic epidermal necrosis,

2) Acute/elective as occur in reconstructive surgery, and,

3) Chronic/elective, as occur in skin ulcers of venous stasis, diabetic or decubitus etiologies.

and two subcategories:

a) Full-thickness which have no source of epithelial tissue and often require grafting with split-thickness skin graft to accomplish wound closure, and

b) Partial-thickness which have remaining sources of epithelial tissue and usually will close by proliferation and migration of epithelial tissue on the surface of the wound if kept clean and protected with conventional dressings.

Medical risks associated with these categories of wounds are proportionate with the magnitude of the injury and with the consequent compromise of the protective functions of skin.  In general, full-thickness wounds present greater risk than partial-thickness wounds, and large wounds present greater risk than small wounds.  In addition, factors contributing to medical risk include, but are not limited to: age (old or very young), associated injury (pulmonary burns), associated disease (e.g., diabetes), personal practices (tobacco, alcohol), and congenital factors.  Therefore, if medical risks were scaled from high to low, factors contributing to high risks would include skin wounds with:

1) emergent etiology,

2) great magnitude (>50% TBSA),

3) full-thickness depth, and

4) associated injury or disease.

To emphasize this point, (insert plot) data from the 2002 Report of the National Burn Repository show mortality from burns increases from less than 1% of patients with burns of less than 10% TBSA, to about 8.5% of patients with burns of 20-30% TBSA burns, to about 35% of patients with 50-60% burns,  to about 66.9% of patients with 80-90%TBSA burns.  Conversely, the predominant majority of patients with chronic wounds may die with a chronic wound, but will not die from a chronic wound.

Low risks would be the converse of these factors.  Incidence and prevalence of each disease condition must also be considered in risk assessment of the general population together with the time between onset of the disease and initiation of treatment.

In response to this variety of medical needs, and this scale of relative risks, multiple approaches have been designed, tested and implemented to restore the structure and function of healthy skin.  Because healthy skin consists of two main anatomic components, epidermis and dermis, replacements for each of these components have been designed and tested.  Although healthy skin provides a multitude of structures and functions for the human body, the essential properties for stable wound closure are restoration of the “three B’s”: epidermal barrier, basement membrane, and blood supply in connective tissue.  Alternative materials may be acellular polymers, cells without polymers, or combinations of the two. Healthy epidermis consists almost entirely of cells (keratinocytes, melanocytes, immunocytes) with minimal extracellular matrix, whereas natural dermis is predominantly matrix with low densities of cells (fibroblasts, endothelial cells, nerve, immunocytes).  Consequently, common approaches to replacement of epidermis have involved cells without matrix, and delivery of a dermal substitute has included acellular polymers from either biologic (e.g., collagen) or synthetic (e.g. poly-lactic/poly-glycolic acids) sources with or without cells.  In all cases, the polymers are a degradable type which have been regulated historically by CDRH.  Furthermore, if cells are contained in the therapy, they may be from autologous or allogeneic sources with autologous cells able to persist indefinitely after engraftment, and allogeneic cells being lost from the treatment site by immune degradation.  The table below summarizes the Cincinnati skin substitute and some products approved for treatment of skin wounds that are acellular or cellular, and combinations of polymers and cells.  (The table is not represented to be all-inclusive or exclusive.)

| Component | Acellular | Allogeneic | Autologous |
| --- | --- | --- | --- |
| Both |  | Apligraf(, Orcel( | Cincinnati Skin Substitute |
| “Epidermis” |  |  | Epicel( |
| “Dermis” | Integra(, Alloderm( | DermaGraft( |  |

Depending on the magnitude and depth of the skin wound, either allogeneic or autologous cells may result in permanent closure of an open wound.  For example, materials containing allogeneic cells have been demonstrated to promote closure of chronic wounds of limited size, but allogeneic cells will not close an extensive, full-thickness burn.  At present, only autologous cells can provide direct structural and functional restoration by transplantation to the diseased site, whereas allogeneic cells act indirectly to deliver cytokines and extracellular matrix that stimulate healing by autologous cells of the recipient.  In either case where intact, metabolically active cells are applied, the mechanisms of healing are clearly biologic.   The biologic contribution to the mode of action of a combination material can be easily quantified in controlled preclinical studies that compare the combination material to the acellular vehicle.  Acellular materials alone have been demonstrated to promote dermal repair by recruitment and ingrowth of surrounding tissue, or by combination with a split-thickness skin autograft.  However, the composition of the material may be derived from processing of a natural tissue (i.e., AlloDerm(), or by extraction of purified compounds that are fabricated with specific structural and biochemical characteristics that can be distinguished from natural tissue (i.e., Integra().  The former is considered a processed tissue, while the latter is considered a medical device.

The Cincinnati model of cultured skin substitute has been used successfully to treat and close burns of greater than 50% TBSA in dozens of patients, and has demonstrated clinically significant reduction of donor site requirements to complete wound closure.  At the time of surgery, this material consists almost entirely of cells, and acts by delivering to the wound functional epidermal barrier, basement membrane and angiogenic factors that stimulate vascularization and biological engraftment of the transplanted cells within 5 days after surgery.  These properties result almost entirely from cellular processes that, at present, cannot be duplicated by acellular chemical reactions performed in the laboratory, or by the use of recombinant compounds administered individually or in combination.  The effectiveness of this material reduces greatly the life-threatening risks of extensive, full-thickness burns, by restoration of the protective functions of healthy skin.  The same benefits have been demonstrated in a limited number of cases of giant congenital nevus which also may involve large TBSAs, and require full-thickness excision followed by closure with autologous skin grafts.  This material may also be prepared with allogeneic cells, and has been used to successfully treat chronic wounds.  The general processes for the fabrication of this material involve banking of cells by cryopreservation, and banking of a sterile, degradable substrate by storage in desiccated conditions.  The collagen-based substrate used in this material is virtually identical in composition and performance to several kinds of implantable collagen materials that are known to be very safe and efficacious, yet the substrate’s use in this combination material cannot currently be approved by a 510k mechanism.  If the substrate were not combined with cells, most probably it would not be considered a Class III device, but rather a device of lower risk due to the extensive experience and known safety and efficacy of similar materials.

In addition to the relative risks of disease etiology described above, risks may result from the sources of starting materials or the processing of the proposed material.  If polymers or cells are derived from allogeneic sources, the standards established by the American Association of Tissue Banks have provided very high assurances of safety from disease transmission (microbial or viral), determination of donor suitability, processing and tracking of tissues, and facilities accreditation.  These standards together with FDA’s requirements for facilities registration and inspection, and the developing Good Tissue Practices (GTPs) provide a very positive benefit-to-risk ratio to recipients of transplanted tissues from allogeneic sources.  Historically, assurances that acquisition and/or processing of allogeneic tissues does not present additional risks to patients has been sufficient to allow release of tissue for transplantation without the need for pre-market approval or multi-center study.  However, if additional processing of tissues occurs to isolate or derive an acellular or cellular component from allogeneic tissue, then the additional processes may be subject to review to assure that biological, chemical or physical risks are not introduced from processing.  Furthermore, those processes may denature or degrade the structure and function of the original tissue, to an extent that compromises its efficacy.  Demonstration that processing of tissues does not introduce risks, or degrade efficacy may be advisable to assure that the processed material provides the safety and efficacy of the natural tissue.  These assurances can be provided by direct comparisons between the processed tissue and the natural tissue in preclinical studies to determine whether or not efficacy is maintained.

In this respect, FDA’s Guidance on minimally-manipulated autologous tissue (“MAS”; e.g., Epicel, Carticel) may not make adequate considerations of the risks associated with loss of efficacy from isolation, proliferation and implantation of cells without a matrix.  Combination materials for skin repair with autologous cells may provide greater analogy to native skin by providing both epidermal and dermal components, and by regenerating epidermal barrier and basement membrane.  The development of these functional phenotypes of skin increase skin repair and decrease patient risk, but FDA has historically considered combination materials to have greater risk than grafts of single cell types.  However, under the MAS Guidance, clinical comparison of isolated cells to the prevailing standard of care may not be required.  In my opinion and experience, the greater the anatomic and physiologic analogy to natural skin of combination materials (i.e., Cincinnati skin substitute) increases the benefit-to-risk ratio to patients more than single cell types without matrix (i.e., Epicel).  And as stated above, if the composition of a device matrix is similar to an existing, approved material, then the matrix component should be reviewed under a 510k mechanism because its composition and performance are predictable and of limited risk.  From this perspective, combination materials made with autologous cells should be able to follow the general path to market that is permitted by the MAS Guidance which is under the jurisdiction of CBER with a parallel 510k review of the matrix by CDRH. Regulatory requirements that extend farther than this result in unnecessary delays to entry of new therapies into clinical care, without identification of additional risk, except the lack of a precedent in clinical practice.

In comparison, current FDA standards for materials containing living cells combined with a matrix also require assurances of safety, but if reviewed under the jurisdiction of CDRH require multi-center (pivotal) studies for pre-market approval.  Because most of the combination materials for skin repair have no predicate and have been considered devices, each has been classified by default as a Class III (Signifcant Risk) device.  Although the assumption that combination materials are high risk provides a conservative position that may provide maximum protection to patients, without determination that a risk from the therapy exists, this conservative position may reduce availability of the therapy to patients whom are at greater risk from their disease condition (i.e., extensive burns).  The Class III device designation requires demonstration of clinical efficacy in multi-center (pivotal) studies to gain marketing approval, and cGMP manufacturing.  However, because the primary mode of action is cellular, the assignment of jurisdiction to CDRH provides more limited consideration of the biological origins and actions of the cellular components, and may require more stringent conditions for manufacturing under cGMP than for tissue processing under GTP standards.  Assuming that all cellular products are handled in Class 100 biological safety cabinets, incubated in Hepa-filtered incubators, and handled by trained staff wearing protective clothing, more important to the material safety than the manufacturing environment is the composition and origin of the reagents through which the cells pass during processing.

Environmental controls provide assurances of minimum contaminations of cellular materials for transplantation, but more important may be the animal cells or tissue derivatives through which the cells for transplantation may pass.  Although it is fair to say that all laboratories that fabricate cellular products for transplantation would prefer pharmaceutical-grade reagents for all processing steps, some reliance on animal by-products to promote expression of definitive tissue phenotypes (i.e, epidermal barrier or basement membrane) remains, because all of the physiologic requirements and molecular mediators for generation of tissue substitutes are not understood.  In addition to the fundamentally-biological activity of the cells for transplantation, molecular mediators of cellular proliferation and tissue morphogenesis are also biologic agents, and not devices.  Therefore, review of these issues is also more appropriate by CBER than CDRH.

In summary:

1) Combination materials of cells and polymeric matrix usually consist of mostly cells, and act predominantly by cellular mechanisms, either direct as with autologous cells, or indirect as with allogeneic cells.  The contribution of the cellular component can be determined in preclinical studies that compares the combination material to the matrix alone.

2) Risks associated with combination products made with autologous cells should be considered no greater than minimally manipulated autologous tissue.  In fact, risks are less because biologic analogy to the natural tissue is usually greater.

3) For combination products with allogeneic cells, standards of the American Association of Tissue Banks and the developing Good Tissue Practices of the FDA provide adequate assurances of tissue safety to patients to maintain a very favorable benefit-to-risk ratio for most disease conditions.

In conclusion:

1) If the primary mode of action of a combination of cells with matrix is cellular, then the jurisdiction should be under CBER, not CDRH.  If the primary mode of action is the matrix, then CDRH should have jurisdiction.  The acellular matrix component should be reviewed by CDRH.

2) If the jurisdiction for combination products containing cells and a device matrix is under CBER, then pre-market approval should require safety assurances and facilities requirements as in tissue banking (registration, GTPs), but not include mandatory multi-center trials to demonstrate efficacy in comparison to a prevailing standard of care.  If autologous cells are used in the material, the MAS Guidance should be followed for the cellular component.  If allogeneic cells are used, then tissue banking practices should become the reference standard.  Process controls and release criteria that are specific to the material should be required to provide assurances of safety.

3) Any additional procedures or reagents not typically used in tissue banking (animal cells or by-products) should be reviewed for consideration of safety before marketing approval, and most frequently these will be biologic.

Thank you for your attention, and for the privilege of making this presentation.

Below are flow diagrams in which general practices and FDA jurisdictions are suggested for combination materials with a primary mode of action that is from living cells:

For combination products with autologous cells:

Acquire, process and release like MAS under CBER.  Matrix approval by CDRH

For combination products with allogeneic cells:

Aquire, process, release and tracking like tissue banking (microbial and viral testing, GTPs) under CBER.  Matrix approval by CDRH.

Legend:

# Text boxes

Acquire tissue

(surgical biopsy)

Matrix composition

GTP procedures with process controls

Cell-polymer combination

Release criteria

CDRH regulation

CBER regulation

Acquire tissue

(surgical biopsy)

MAS procedures with process controls

Matrix composition

Cell-polymer combination

Release criteria

Tissue tracking