Minnesota Construction Specification 24—Drainfill

1.	SCOPE

The work shall consist of furnishing, placing and compacting drainfill required in the construction of structure drainage systems.

2.	MATERIALS

Drainfill materials shall conform to the requirements of Material Specification 521.  At least 30 days prior to delivery of the materials to the site the Contractor shall inform the Engineer in writing of the source from which he intends to obtain them.  The Contractor shall provide the Engineer free access to the source for the purpose of obtaining samples for testing.

3.	BASE PREPARATION

Foundation surfaces and trenches shall be clean and free of organic matter, loose soil, foreign substance, and standing water when the drainfill is placed.  Earth surfaces upon or against which drainfill will be placed shall not be scarified.

4.	PLACEMENT

Drainfill shall not be placed until the subgrade has been inspected and approved by the Engineer.  Drainfill shall not be placed over or around pipe or drain tile until the installation of the pipe or tile has been inspected and approved.

Drainfill shall be placed uniformly in layers not more than 12 inches deep before compaction.  When compaction is accomplished by manually controlled equipment, the layers shall be not more than 8 inches deep.  The material shall be placed in a manner to avoid segregation of particle sizes and to insure the continuity and integrity of all zones.  No foreign materials shall be allowed to become intermixed with or otherwise contaminate the drainfill.

Traffic shall not be allowed to cross over drains at random.  Equipment crossovers shall be maintained, and the number and location of such crossovers shall be established and approved prior to the beginning of drainfill placement.  Each crossover shall be cleaned of all contaminating materials and shall be inspected and approved by the Engineer before additional drainfill is placed.

Any damage to the foundation surface or the sides or bottoms of trenches occurring during placement of drainfill shall be repaired before drainfill placement is continued.

The upper surface of drainfill constructed concurrently with adjacent zones of earthfill shall be maintained at an elevation at least one foot above the upper surface of the adjacent fill.

Drainfill over or around pipe or drain tile shall be placed in a manner to avoid any displacement in line or grade of the pipe or tile.

Drainfill shall not be placed adjacent to structures until the concrete has attained the strength specified in Section 8 of this specification.  The strength shall be determined by compression testing of test cylinders cast by the Engineer for this purpose and cured at the work site in the manner specified in ASTM Method C 31 for determining when a structure may be put in service.

When the required strength of the concrete is not specified as described above, placement of drainfill adjacent to structures shall not be started until the following item intervals have elapsed after placement of the concrete.

Structure	Time Interval (Days)

Retaining walls and counterforts (impact basins)	14

Walls backfilled on both sides simultaneously	7

Conduits and galleries, cast-in-place (with inside forms in place)	7

Conduits and galleries, cast-in-place (inside forms removed)	14

Conduits, precast, cradled	2

Conduits, precast, bedded	1

Cantilever outlet bents backfilled on both sides simultaneously	3

5.	CONTROL OF MOISTURE

Control of moisture content will not be required.

6.	COMPACTION

Drainfill shall be compacted according to the following requirements for the class of compaction specified:

Class A compaction.  For drainfill materials with more than 70 percent passing the 3/4 inch sieve, each layer of drainfill shall be compacted to a minimum dry density of not less than the density specified in section 9 of this specification as determined by ASTM D 698. For drainfill materials with 70 percent or less passing the 3/4 inch sieve, each layer of drainfill shall be compacted to a relative density of not less than 70 percent as determined by ASTM D 4254.

Class I compaction.  Each layer of drainfill shall be compacted by at least 2 passes, over the entire surface, of a steel-drum vibrating roller weighing not less than 5 tons and exerting a vertical vibrating force of not less than 20,000 pounds at least 1200 times per minute, or by an approved equivalent method.

Class II compaction.  Each layer of drainfill shall be compacted by one of the following methods or by an approved equivalent method:

a.	At least 2 passes, over the entire surface, of a pneumatic-tired roller exerting a pressure of not less than 75 pounds per square inch.  A pass is defined as at least one complete coverage of the roller wheel, tire or drum over the entire surface of the layer.

b.	At least 4 passes, over the entire surface, of the track of a crawler-type tractor weighing not less than 20 tons.

c.	Controlled movement of the hauling equipment so that the entire surface is traversed by not less than one tread track of the loaded equipment.

Class III compaction.  No compaction will be required beyond that resulting from the placing and spreading operations.

When compaction other than Class III compaction is specified materials placed in trenches or other locations inaccessible to heavy equipment shall be compacted by means of manually controlled pneumatic or vibrating tampers or by approved equivalent methods.

Heavy equipment shall not be operated within 2 feet of any structure.  Vibrating rollers shall not be operated within 5 feet of any structure.  Compaction by means of drop weights operating from cranes or hoists will not be permitted.

7.	TESTING

The Engineer will perform such tests as are required to verify that the drainfill materials and the drainfill in place meet the requirements of the specifications.  These tests are not intended to provide the Contractor with information he needs to assure that the materials and workmanship meet the requirements of the specifications, and their performance will not relieve the Contractor of the responsibility of performing his own tests for that purpose.

8.	CONSTRUCTION DETAILS