NATURAL RESOURCES CONSERVATION SERVICE

CONSERVATION PRACTICE CONSTRUCTION SPECIFICATION

STREAMBANK AND SHORELINE PROTECTION - LOOSE ROCK RIPRAP

CODE 580R

- SCOPE

The work shall consist of the construction of rock riprap revetments and blankets, including geotextile or bedding where specified.

- SITE PREPARATION

Site preparation (mobilization and demobilization, clearing and grubbing, structure removal, pollution control, and water for construction) shall be in accordance with Construction Specification 587.

- MATERIALS

Bedding, if used, shall be uniformly graded rock and gravel and as shown on the drawings.

Fibers (threads and yarns) used in the manufacture of geotextile shall consist of synthetic polymers composed of a minimum of 85 percent by weight polypropylenes, polyesters, polyamides, polyethylene, polyolefins, or polyvinylidene-chlorides.  They shall be formed into a stable network of filaments or yarns retaining dimensional stability relative to each other.  The geotextile shall be free of defects and conform to the physical requirements of nonwoven fabrics, Class III, unless otherwise specified.  The geotextile shall be free of any chemical treatment or coating that significantly reduces its porosity.  Fibers shall contain stabilizers and/or inhibitors to enhance resistance to ultraviolet light.

The contractor shall certify that the geotextile meets this specification and shall provide information from the manufacturer showing that it equals or exceeds the physical properties specified below.

| Property | ASTM Test Method | Class I | Class II | Class III | Class IV 3/ |
| --- | --- | --- | --- | --- | --- |
| Tensile Strength (pounds) 1/ | D 4632 Grab Test | 180 min | 120 min | 90 min. | 115 min. |
| Elongation at Failure (%) 1/ | D 4632 | ≥ 50 | ≥ 50 | ≥ 50 | ≥ 50 |
| Puncture (pounds) | D 4833 | 80 (minimum) | 60 (minimum) | 40 (minimum) | 40 (minimum) |
| Ultraviolet Light (% residual tensile strength) | D 4355 150-hour exposure | 70 (minimum) | 70 (minimum) | 70 (minimum) | 70 (minimum) |
| Apparent Opening Size (AOS) | D 4751 | As Specified (max. #40) 2/ | As Specified (max. #40) 2/ | As Specified (max. #40) 2/ | As Specified (max. #40) 2/ |
| Permittivity (sec-1) | D 4491 | 0.70 (minimum) | 0.70 (minimum) | 0.70 (minimum) | 0.10 (minimum) |

1/ Minimum average roll value (weakest principal direction).

2/ U.S. standard sieve size.

3/ Heat-bonded or resin-bonded geotextile may be used for Classes III and IV.  They are particularly well suited to Class IV.  Needle-punched geotextiles are required for all other classes.

The source of the rock will be approved by the engineer prior to the placement of the riprap.  The gradation shall be as shown on the drawings.

- FOUNDATION WORK

Foundation work (diverting surface water, dewatering the construction site, dewatering borrow areas, and foundation preparation) shall be in accordance with Construction Specification 587.

Riprap shall not be placed until the foundation preparation is completed and the subgrade surfaces have been inspected and approved by the engineer.

- EARTHWORK

Earthwork (common excavation and earthfill) shall be in accordance with Construction Specification 587.

- GEOTEXTILE STORAGE AND PLACEMENT

When geotextile is specified beneath the rock riprap, the geotextile shall be stored in a clean, dry place, out of direct sunlight, not subject to extremes of either hot or cold, and with the manufacturer’s protective cover in place.  Receiving, storage, and handling at the job site shall be in accordance with the requirements in ASTM D 4873.

The surface on which the geotextile is to be placed shall be graded to the neat lines and grades as shown on the drawings.  The surface shall be reasonably smooth and free of loose rock and clods, holes, depressions, projections, muddy conditions and standing or flowing water.

Prior to placement of the geotextile, the soil surface is to be inspected and approved by the engineer.  The geotextile shall be placed on the approved prepared surface at the locations and in accordance with the details shown on the drawings and specified.  The geotextile shall be unrolled along the placement area and loosely laid (not stretched) in such a manner that it will conform to the surface irregularities when material is placed on or against it.  The geotextile may be folded and overlapped to permit proper placement in the designated area.

The geotextile shall be joined by overlapping a minimum of 18 inches (unless otherwise specified) and secured against the underlying foundation material.  Securing pins approved and provided by the geotextile manufacturer shall be placed along the edge of the panel or roll material to adequately hold it in place during installation.  Pins shall be made of steel or fiberglass formed into a “U”, “L”, or “T” shape or contain “ears” to prevent total penetration.  Steel washers shall be provided on all but the “U” shaped pins.  The upstream or upslope fabric shall overlap the abutting downslope fabric.  At vertical laps, securing pins shall be inserted through both layers along a line through approximately the midpoint of the overlap.  At horizontal laps and across the slope laps, securing pins shall be inserted through the bottom layer only.  Securing pins shall be placed along a line approximately 2 inches in from the edge of the placed geotextile at intervals not to exceed 12 feet unless otherwise specified.  Additional pins shall be installed as necessary and where appropriate to prevent any undue slippage or movement of the fabric.  The use of securing pins will be held to the minimum necessary.  Pins are to be left in place unless otherwise specified.

Should the geotextile be torn or punctured, or the overlaps or the joint disturbed—as evidenced by visible fabric damage, subgrade pumping, intrusion, or grade distortion—the backfill around the damaged or displaced area shall be removed and restored to the original approved condition.  The repair shall consist of a patch of the same type of fabric being used, overlaying the existing fabric.  When the geotextile seams are required to be sewn, the overlay patch shall extend a minimum of 1 foot beyond the edge of any damaged area and joined by sewing as required for the original geotextile, except that the sewing shall be a minimum of 6 inches from the edge of the damaged fabric.  Geotextile panels joined by overlap shall have the patch extend a minimum of 2 feet from the edge of any damaged area.

The geotextile shall not be placed until it can be anchored and protected with the specified covering within 48 hours or protected from exposure to ultraviolet light.  In no case shall material be dropped on uncovered geotextile from a height greater than 3 feet.

Any damaged geotextile shall be replaced and paid for by the contractor.

As a minimum, a 3-inch layer of bedding material shall be placed over the geotextile prior to placing the rock riprap.

- BEDDING

The bedding material shall be spread uniformly on the prepared foundation surface to the depth specified and shall be free of mounds, dips, or windrows.  Compacting of bedding will not be required.  The surface of the bedding shall be approved by the engineer prior to the placement of the rock riprap.

- EQUIPMENT-PLACED ROCK RIPRAP

The rock shall be placed by equipment on the surfaces and to the depths specified.  The riprap shall be constructed to the full course thickness in one operation and in such a manner as to avoid serious displacement of the underlying materials.  The rock shall be delivered and placed in a manner that will insure that the riprap in place shall be reasonably homogeneous with the larger rocks uniformly disturbed and firmly in contact one to another with the smaller rocks and spalls filling the voids between the larger rocks.

Riprap shall be placed in a manner to prevent damage to structures.  Hand placing will be required to the extent necessary to prevent damage to the permanent works.

- HAND-PLACED RIPRAP

The rock shall be placed by hand on the surfaces and to the depths specified.  It shall be securely bedded with the larger rocks firmly in contact one to another.  Spaces between the larger rocks shall be filled with small rocks and spalls.  Smaller rocks shall not be grouped as a substitute for larger rock.

- MEASUREMENT

The volume of the riprap and the volume of bedding will be measured within the specified limits as shown on the drawings and computed to the nearest cubic yard by the method of average cross-sectional end areas.  Separate measurement of geotextile will not be performed.

Project Name:

Date:

- ITEMS OF WORK AND CONSTRUCTION DETAILS

Items of work to be prepared in conformance with this specification and the construction details are: