CHAPTER 62-4  PERMITS

62-4.001 Scope of Part I (Effective 10/1/07)

62-4.020 Definitions (Effective 4/3/03)

62-4.021 Transferability of Definitions (Effective 8/31/88)

62-4.030 General Prohibition (Effective 8/31/88)

62-4.040 Exemptions (Effective 8/31/88)

62-4.050 Procedure to Obtain Permits and other Authorizations; Applications (Effective 10/31/07)

62-4.055 Permit Processing (Effective 8/16/98)

62-4.060 Consultation (Effective 8/31/88)

62-4.070 Standards of Issuing or Denying Permits; Issuance; Denial (Effective 3/28/91)

62-4.080 Modification of Permit Conditions (Effective 3/19/90)

62-4.090 Renewals (Effective 3/16/08)

62-4.100 Suspension and Revocation (Effective 8/31/88)

62-4.110 Financial Responsibility (Effective 8/31/88)

62-4.120 Transfer of Permits (Effective 4/16/01)

62-4.130 Plant Operation - Problems (Effective 8/31/88)

62-4.150 Review (Effective 8/31/88)

62-4.160 Permit Conditions (Effective 7/11/93)

62-4.200 Scope of Part II (Effective 10/1/07)

62-4.210 Construction Permits (Effective 8/31/88)

62-4.220 Operation Permit for New Sources (Effective 8/31/88)

62-4.249 Preservation of Rights (Effective 8/31/88)

62-4.510 Scope of Part III (Effective 10/1/07)

62-4.520 Definition (Effective 7/11/90)

62-4.530 Procedures (Effective 3/19/90)

62-4.540 General Conditions for All General Permits (Effective 8/31/88)

62-4.001 Scope of Part I.

This part sets forth procedures on how to obtain a permit from the State of Florida Department of Environmental Protection. This part also provides requirements and procedures for the issuance, denial, renewal, extension, transfer, modification, suspension, and revocation of any permit required by the Department of Environmental Protection. Except as otherwise provided in Chapter 62-343 or 62-346, F.A.C., or in the rules of the water management districts adopted by reference under Chapter 62-330, F.A.C., this part shall not apply to activities regulated under Part IV of Chapter 373, F.S. However, this Part shall continue to apply to those activities grandfathered under Sections 373.414(11), (12)(a), (13), (14), (15), (16), and 373.4145(6), F.S. This Part shall not preclude the application of any other permit requirements or procedures for certain types of facilities as contained in other chapters of Title 62, F.A.C.

Specific Authority 373.026, 373.043, 373.044, 373.109, 373.113, 373.4145, 373.418, 403.021, 403.031, 403.061, 403.087, 403.088 FS. Law Implemented 373.026, 373.044, 373.109, 373.409, 373.413, 373.4135, 373.414(9), (11), (12)(a), (13), (14), (15), (16), 373.4145, 373.418, 373.421, 403.021, 403.031, 403.061, 403.087, 403.088 FS. History–New 5-17-72, Formerly 17-4.01, Amended 8-31-88, Formerly 17-4.001, Amended 7-4-95, 10-1-07.

62-4.020 Definitions.

When used in this chapter, unless the context clearly indicates otherwise, the following words shall mean:

(1) “Annual Average Flow” is the long-term harmonic mean flow of the receiving water, or an equivalent flow based on generally accepted scientific procedures in waters for which such a mean cannot be calculated. For waters for which flow records have been kept for at least the last three years, “long-term” shall mean the period of record. For all other waters, “long-term” shall mean three years (unless the Department finds the data from that period not representative of present flow conditions, based on evidence of land use or other changes affecting the flow) or the period of records sufficient to show a variation of flow of at least three orders of magnitude, whichever period is less. For nontidal portions of rivers and streams, the harmonic mean (Qhm) shall be calculated as

| Qhm | = | n ____________________________________ |
| --- | --- | --- |
|  |  | 1 | + | 1 | + | 1 | + | 1 | + | 1 | + | ... | + | 1 |
|  |  | Q1 |  | Q2 |  | Q3 |  | Q4 |  | Q5 |  |  |  | Qn |

in which each Q is an individual flow record and n is the total number of records. In lakes and reservoirs, the annual average flow shall be based on the hydraulic residence time, which shall be calculated according to generally accepted scientific procedures, using the harmonic mean flows for the inflow sources. In tidal estuaries and coastal systems or tidal portions of rivers and streams, the annual average flow shall be determined using methods described in EPA publication no. 600/6-85/002b pages 142-227, incorporated by reference in paragraph 62-4.246(9)(k), F.A.C., or by other generally accepted scientific procedures, using the harmonic mean flow for any freshwater inflow. If there are insufficient data to determine the harmonic mean then the harmonic mean shall be estimated by methods as set forth in the EPA publication Technical Support Document for Water Quality-Based Toxics Control (March 1991), incorporated by reference in paragraph 62-4.246(9)(d), F.A.C., or other generally accepted scientific procedures. In situations with seasonably variable effluent discharge rates, hold-and-release treatment systems, and effluent-dominated sites, annual average flow shall mean modeling techniques that calculate long-term average daily concentrations from long-term individual daily flows and concentrations in accordance with generally accepted scientific procedures.

(2) “Approved Analytical Method” shall mean any of the analytical methods approved under Chapter 62-160, F.A.C.

(3) “Commission” is the State of Florida Environmental Regulation Commission.

(4) “Construction permit” is the legal authorization granted by the Department to construct, expand, modify, or make alterations to any installation and to temporarily operate and test such new or modified installations.

(5) “Department” is the State of Florida Department of Environmental Regulation or its delegatee as provided in the Operating Agreements Concerning Management and Storage of Surface Water Regulation and Wetland Resource Regulation adopted by reference in Rule 62-101.040, F.A.C.

(6) “Environmental restoration and enhancement” means activities, other than those proposed as mitigation for a permit required under Part IV of Chapter 373, F.S., conducted by government, research, education or charitable entities that are either not-for-profit or non-profit, that have the sole objective of restoring or enhancing water resources, including water quality and the functions wetlands and other surface waters provide to fish and wildlife, through measures such as: restoring hydrology and water circulation; re-establishing native vegetation; or otherwise restoring more desirable natural conditions that existed prior to human-induced disturbances.

(7) “Installation” is any structure, equipment, facility, or appurtenances thereto, operation or activity which is or may be a source of pollution as defined in Chapter 403, F.S. Installation includes dredging and filling as these terms are defined in Section 403.911, F.S.

(8) “Method Detection Limit (MDL)” is the smallest concentration of an analyte of interest that can be measured and reported with 99% confidence that the concentration will be greater than zero. The MDLs are determined from the analysis of a given matrix containing the analyte at a specified level. Determination of MDLs shall follow procedures determined in Appendix B to part 136 of 40 CFR, 1990, incorporated here by reference, or equivalent procedures complying with Chapter 62-160, F.A.C.

(9) “Operation permit” is the legal authorization granted by the Department to operate or maintain any installation for a specified period of time.

(10) “Permit condition” is a statement or stipulation which is issued with a permit and which must be complied with.

(11) “Permit” is the legal authorization to engage in or conduct any construction, operation, modification, or expansion of any installation, structure, equipment, facility, or appurtenances thereto, operation, or activity which will reasonably be expected to be a source of pollution.

(12) “Practical Quantification Limit (PQL)” is the lowest level that can be reliably achieved during routine laboratory operating conditions within specified limits of precision and accuracy, as reflected in the Department’s list of PQLs under subsection 62-4.246(4), F.A.C., or an alternative level established through equivalent procedures complying with Chapter 62-160, F.A.C.

(13) “Secretary” is the Secretary of the Department.

(14) “Temporary operation permit” is the legal authorization limited to a specified time granted by the Department to operate, maintain, construct, modify, expand, or make alterations to any installation in accordance with Section 403.088, F.S.

(15) “Equivalent Clean Closure” is available for interim status land disposal units that certified clean closure under 40 CFR Part 265 standards prior to March 19, 1987. These facilities must make an equivalency demonstration to meet 40 CFR Part 264 closure standards or the facility must obtain a closure permit containing post closure requirements.

Specific Authority 373.026, 373.043, 373.414, 373.418, 403.061, 403.805 FS. Law Implemented 373.109, 373.413, 373.414, 373.4145, 403.021, 403.031, 403.061, 403.087, 403.088, 403.802, 403.817 FS. History–New 3-4-72, Revised 5-17-72, Amended 6-10-75; Joint Administrative Procedures Committee Objection Filed – See FAW Vol. 1, No. 28, 1-12-76; Joint Administrative Procedures Committee Objection Withdrawn – See FAW Vol. 3, No. 30, 7-29-77, Amended 3-11-81, 10-16-84, 12-10-84, Formerly 17-4.02, Amended 3-18-86, 8-31-88, 6-4-92, 11-16-92, 7-11-93, Formerly 17-4.020, Amended 4-3-03.

62-4.021 Transferability of Definitions.

Definitions in other chapters of the Department’s rules may be used to clarify the meaning of terms used in this chapter unless the terms are defined in Rule 62-4.020, F.A.C., or unless transfer of such definition would defeat the purpose or alter the intended effect of the provisions of this chapter.

Specific Authority 403.061, 403.062, 403.087, 403.504, 403.704, 403.804, 403.805 FS. Law Implemented 403.021, 403.061, 403.087, 403.088, 403.141, 403.161, 403.182, 403.502, 403.702, 403.708 FS. History–New 3-1-79, Amended 8-31-88, Formerly 17-4.021.

62-4.030 General Prohibition.

Any stationary installation which will reasonably be expected to be a source of pollution shall not be operated, maintained, constructed, expanded, or modified without the appropriate and valid permits issued by the Department, unless the source is exempted by Department rule. The Department may issue a permit only after it receives reasonable assurance that the installation will not cause pollution in violation of any of the provisions of Chapter 403, F.S., or the rules promulgated thereunder. A permitted installation may only be operated, maintained, constructed, expanded or modified in a manner that is consistent with the terms of the permit.

Specific Authority 403.021, 403.031, 403.061, 403.088 FS. Law Implemented 403.021, 403.031, 403.061, 403.087, 403.088 FS. History–New 3-4-70, Revised 5-17-72, Formerly 17-4.03, Amended 8-31-88, Formerly 17-4.030.

62-4.040 Exemptions.

(1) The following installations are exempted from the permit requirements of this chapter. The following exemptions do not relieve any installation from any other requirements of Chapter 403, F.S., or rules of the Department. Other installations may be exempted under other chapters of Title 62.

(a) Structural changes which will not change the quality, nature or quantity of air and water contaminant emissions or discharges or which will not cause pollution.

(b) Any existing or proposed installation which the Department shall determine does not or will not cause the issuance of air or water contaminants in sufficient quantity, with respect to its character, quality or content, and the circumstances surrounding its location, use and operation, as to contribute significantly to the pollution problems within the State, so that the regulation thereof is not reasonably justified. Such a determination is agency action and is subject to Chapter 120, F.S. Such determination shall be made in writing and filed by the Department as a public record. Such determination may be revoked if the installation is substantially modified or the basis for the exemption is determined to be materially incorrect.

(2) These exemptions do not apply to the discharge to waters of the state from any article, machine, equipment, contrivance or their exhaust system, which contains water-borne radioactive material in concentrations above the natural radioactive background concentration in the receiving water.

Specific Authority 403.061, 403.805 FS. Law Implemented 403.021, 403.031, 403.061, 403.087, 403.088, 403.802, 403.805, 403.813 FS. History– Formerly 17-4.03(2), FAC., New 3-4-72, Revised 5-17-72, Amended 8-7-73, 6-10-75; Joint Administrative Procedures Committee Objection filed – See FAW Vol. 1, No. 28, 7-18-75, Amended 10-26-75, 7-8-76; Joint Administrative Procedures Objection withdrawn – See FAW Vol. 3, No. 30, 7-29-77, Amended 7-13-78, 3-1-79, 3-11-81, 7-8-82, 3-31-83, 3-15-84, 12-10-84; Joint Administrative Procedures Committee Objection filed – See FAW Vol. 11, No. 11, 3-15-85, Amended 5-8-85; Amendments effective 6-24-85 – See Ch. 85-334, Laws of Florida; Joint Administrative Procedures Committee Objection withdrawn – See FAW Vol. 11, No. 51, 12-20-85, Formerly 17-4.04, Amended 3-17-86, 8-31-88, Formerly 17-4.040.

62-4.050 Procedures to Obtain Permits and Other Authorizations; Applications.

(1) Any person desiring to obtain a permit from the Department shall apply on forms prescribed by the Department and shall submit such additional information as the Department by law may require.

(2) All applications and supporting documents shall be filed in quadruplicate with the Department.

(3) To ensure protection of public health, safety, and welfare, any construction, modification, or operation of an installation which may be a source of pollution, or of a public drinking water supply, shall be in accordance with sound professional engineering practices pursuant to Chapter 471, F.S.; and all final geological papers or documents involving the practice of the profession of geology shall be in accordance with sound professional geological practices pursuant to Chapter 492, F.S. All applications for a Department permit shall be certified by a professional engineer registered in the State of Florida except, when the application is for renewal of an air pollution operation permit at a non-Title V source as defined in Rule 62-210.200, F.A.C., or where professional engineering is not required by Chapter 471, F.S. Where required by Chapter 471 or 492, F.S., applicable portions of permit applications and supporting documents which are submitted to the Department for public record shall be signed and sealed by the professional(s) who prepared or approved them.

(4) Processing fees are as follows:

(a) Air Pollution Permits.

1. Construction Permit Fee for an Emissions Unit Requiring Prevention of Significant Deterioration or Nonattainment Area Preconstruction Review. The processing fee for a construction permit for an emissions unit requiring a Prevention of Significant Deterioration (PSD) or Nonattainment Area (NAA) preconstruction review pursuant to Rule 62-212.400 or 62-212.500, F.A.C., respectively, shall be $7500.

2. Construction Permit Fee for an Emissions Unit Not Requiring Prevention of Significant Deterioration or Nonattainment Area Preconstruction Review. No processing fee shall be required for a construction permit for an emissions unit not requiring Prevention of Significant Deterioration (PSD) or Nonattainment Area (NAA) preconstruction review, if the facility containing the emissions unit holds an air operation permit issued pursuant to Chapter 62-213, F.A.C. For any such emissions unit at a facility not holding a Chapter 62-213, F.A.C., air operation permit, the processing fee shall be as follows:

| a. Construction permit for an emissions unit having potential emissions of 100 or more tons per year of any single pollutant | $5000 |
| --- | --- |
| b. Construction permit for an emissions unit having potential emissions of 50 or more tons per year, but less than 100 tons per year, of any single pollutant | $4500 |
| c. Construction permit for an emissions unit having potential emissions of 25 or more tons per year, but less than 50 tons per year, of any single pollutant | $2000 |
| d. Construction permit for an emissions unit having potential emissions of 5 or more tons per year, but less than 25 tons per year, of any single pollutant | $1000 |
| e. Construction permit for an emissions unit having potential emissions of less than 5 tons per year of each pollutant | $250 |
| 3. Operation Permit Fee for an Emissions Unit at a Non-Title V Source. |  |
| a. Operation permit for an emissions unit required to measure actual emissions by stack sampling | $1500 |
| b. Operation permit for an emissions unit required to measure actual emissions by any method other than stack sampling (such as visible emissions observation or continuous emissions monitoring) | $1000 |
| c. Operation permit for an emissions unit not required to measure actual emissions | $750 |

4. Similar Emissions Unit Fee. Where new or existing multiple emissions units located at the same facility are substantially similar in nature, the applicant may submit a single application and any required permit fee for construction or operation of the emissions units at the facility. To be considered substantially similar each of the emissions units must be substantially similar in regard to each of the following: nominal description or type of emissions unit; type of fuel burned; type of material processed, stored, or handled; type of air pollution control equipment; regulated pollutants emitted; applicable emissions standards; and applicable regulatory control criteria. For a construction permit, the single application fee shall be the fee that would apply for a single emissions unit with emissions that equal the total of the potential emissions of all of the substantially similar emissions units at the facility. The fee for an operation permit for a group of similar emissions units at the same facility, submitted under the same application and with the same emissions testing or monitoring requirements, shall be the fee that would apply to any emissions unit in the group if each emissions unit were being permitted singly.

5. Multiple Emissions Unit Fee. If the Department issues a single construction or operation permit covering multiple emissions units or groups of similar emissions units at a facility, the permit processing fee shall be the sum of the fees applicable to each emissions unit and group of similar emissions units covered by the permit.

(b) Domestic Wastewater Facility Permits.

1. Preliminary Design Report reviews for Types I, II, and III domestic wastewater facilities as defined in Rule 62-600.200, F.A.C. For new domestic wastewater facilities, the fee for review of a preliminary design report shall be in addition to the application processing fee.

|  | Type I | Type II | Type III |
| --- | --- | --- | --- |
| a. Treatment plant with or without reuse/disposal system | $5000 | $3750 | $1200 |
| b. Reuse/land application system and associated transmission/distribution facilities, when applied for separately from the treatment facility | $5000 | $3750 | $1200 |
| c. Residuals/septage management facility | $7500 | $4000 | $1200 |
| d. Limited wet weather discharge | $1000 | $800 | $600 |
| 2. Wastewater permits for Types I, II, and III domestic wastewater facilities as defined in Rule 62-600.200, F.A.C. |
|  | Type I | Type II | Type III |
| a. Treatment plant with or without reuse/disposal system | $5000 | $3000 | $1000 |
| b. Reuse/land application system and associated transmission/distribution facilities, when applied for separately from the treatment facility | $5000 | $3000 | $1000 |
| c. Residuals/septage management facility | $7500 | $4000 | $1000 |
| d. Limited wet weather discharge | $1000 | $800 | $600 |

e. Wastewater permits for Type III facilities having a permitted capacity of less than 10,000 gallons per day shall be $600.

3. Wastewater Permit for a surface water discharge, when applied for separately from the treatment facility.

| a. Type I facility | $2000 |
| --- | --- |
| b. Type II facility | $1000 |
| c. Type III facility | $500 |

4. Minor revisions, as defined in Rule 62-620.200, F.A.C., to wastewater permits for domestic wastewater facilities other than minor modifications of permits listed in paragraph 62-4.050(4)(s), F.A.C.

| a. Type I facility | $500 |
| --- | --- |
| b. Type II facility | $300 |
| c. Type III facility | $100 |

5. Substantial revisions, as defined in Rule 62-620.200, F.A.C., to wastewater permits for domestic wastewater facilities shall require a new wastewater permit application and applicable fee. The applicable application fee shall be:

a. For substantial revisions resulting from substantial modifications to the facility which require an antidegradation determination as specified in Rule 62-4.242, F.A.C., or which increase the permitted capacity of the treatment, reuse, or disposal system, the preliminary design report fee specified in subparagraph (4)(b)1.

b. For substantial revisions resulting from substantial modifications to the facility, but which do not require an antidegradation determination as specified in Rule 62-4.242, F.A.C., and which do not increase the permitted capacity of the treatment, reuse, or disposal system, 50 percent of the preliminary design report fee specified in subparagraph (4)(b)1.

c. For substantial revisions not associated with substantial modifications to the facility, 20 percent of the applicable application fee specified in subparagraph (4)(b)2.

6. Generic Permit for domestic wastewater treatment facilities.

a. Treatment facility with permitted capacity of 10,000 gallons per day up to 100,000 gallons per day shall be $1,000.

b. Treatment facility with permitted capacity less than 10,000 gallons per day shall be $600.

7. Construction Permit for domestic wastewater collection/transmission system.

| a. Domestic wastewater collection/transmission system serving 10 or more | $500 |
| --- | --- |
| Equivalent Dwelling Units (EDUs). An EDU is equal to 3.5 persons |  |
| b. Domestic wastewater collection/transmission system serving less than 10 EDUs | $300 |

(c) Industrial Wastewater Facility Permits.

1. Wastewater permits for Group 1 industrial wastewater treatment facilities which discharge process wastewater, as defined in Rule 62-620.200, F.A.C., from the following industry categories: Citrus Processing; Textiles; Organic Chemicals, Plastics, and Synthetic Fibers; Inorganic Chemicals; Soaps and Detergents; Fertilizer Manufacturing; Petroleum Refining; Iron and Steel Manufacturing; Nonferrous Metals; Phosphate Manufacturing; Steam Electric Power Generating; Asbestos Manufacturing; Pulp, Paper, and Paper Board; Builders Paper and Board Mills; Coal Mining; Phosphate Mining and Beneficiation; Ore Mining and Dressing; Paint Formulating; Ink Formulating; Gum and Wood Chemicals Manufacturing; Pesticides Chemicals Manufacturing; Explosives Manufacturing; Battery Manufacturing; Mechanized Scallop Processing; Distilled, Rectified, and Blended Liquors; Sugar Cane Processing.

| a. Surface water discharges | $7500 |
| --- | --- |
| b. Non-surface water discharges only | $6000 |

2. Wastewater permits for Group 2 industrial wastewater treatment facilities which discharge process wastewater, as defined in Rule 62-620.200, F.A.C., from the following industry categories: Cement Manufacturing; Leather Tanning and Finishing; Glass Manufacturing; Rubber Processing; Carbon Black Manufacturing; Metal Molding and Casting; Coil Coating; Porcelain Enameling; Aluminum Forming; Copper Forming; Electrical and Electronic Components; Nonferrous Metals Forming and Metal Powders.

| a. Surface water discharges | $5000 |
| --- | --- |
| b. Non-surface water discharges only | $4000 |

3. Wastewater permits for Group 3 industrial wastewater treatment facilities which discharge process wastewater, as defined in Rule 62-620.200, F.A.C., from the following industry categories: Bulk Oil Terminals, Drawdown and Loading Rack Discharges; Dairy Products; Canned and Preserved Fruits and Vegetables; Canned and Preserved Seafood; Concrete Batch Plants; Timber Products; Mineral Mining and Processing; Peat Mining; Plastic Molding and Forming; Aquaculture Facilities.

| a. Surface water discharges | $2500 |
| --- | --- |
| b. Non-surface water discharges only | $2000 |
| 4. Wastewater permits for Group 4 industrial wastewater treatment facilities which discharge industrial wastewater from the following: Animal Feeding Operations, Feedlots, Egg Production Facilities. |
| a. Feedlots with greater than the number of animals listed in subsection 62-670.200(3) or |  |
| Rule 62-620.435, F.A.C. | $2500 |
| b. Feedlots, Other | $1500 |
| c. Egg Production Facility, Major | $2500 |
| d. Egg Production Facility, Other | $1500 |
| 5. Wastewater permits for Group 5 industrial wastewater treatment facilities which discharge concentrate and regenerant from Reverse Osmosis, Membrane Softening, Ultrafiltration, Ion Exchange Units, and similar processes at Drinking Water Treatment Facilities. |
| a. Design daily discharge flow of greater than 500,000 gpd | $6000 |
| b. Design daily discharge flow of greater than 100,000 gpd up to 500,000 gpd | $4000 |
| c. Design daily discharge flow of greater than 10,000 gpd up to 100,000 gpd | $2000 |
| d. Design daily discharge flow of 10,000 gpd or less | $750 |
| 6. Wastewater permits for Group 6 industrial wastewater treatment facilities which discharge once-through non-contact cooling water. |
| a. Greater than 100 million BTU/hour heat loss | $6000 |
| b. Greater than 20 million BTU/hour, up to 100 million BTU/hour | $3000 |
| c. Greater than 1 million BTU/hour, up to 20 million BTU/hour heat loss | $1500 |
| d. 1 million BTU/hour, or less, heat loss | $500 |
| 7. Wastewater permits for industrial wastewater treatment facilities in industry categories not specified in Groups 1 through 3 which discharge process wastewater to surface waters, or industrial wastewater treatment facilities which discharge non-process wastewater, as defined in Rule 62-620.200, F.A.C., but excluding once-through non-contact cooling water, to surface waters. |
| a. Design daily flow of greater than 500,000 gpd | $5000 |
| b. Design daily flow of greater than 100,000 gpd up to 500,000 gpd | $3000 |
| c. Design daily flow of greater than 50,000 gpd up to 100,000 gpd | $2000 |
| d. Design daily flow of 50,000 gpd or less | $1000 |
| 8. Wastewater permits for industrial wastewater treatment facilities in industry categories not specified in Groups 1 through 3 which discharge process wastewater to other than surface waters, or industrial wastewater treatment facilities which discharge non-process wastewater, as defined in Rule 62-620.200, F.A.C., but excluding once-through non-contact cooling water, to other than surface waters. |
| a. Design daily flow of greater than 500,000 gpd | $4000 |
| b. Design daily flow of greater than 100,000 gpd up to 500,000 gpd | $2500 |
| c. Design daily flow of greater than 50,000 gpd up to 100,000 gpd | $1500 |
| d. Design daily flow of 50,000 gpd or less | $750 |
| 9. Wastewater permits for industrial wastewater treatment facilities which recycle the wastewater and have no discharge to surface or ground waters, and are not otherwise exempt from permitting. |
| a. Facilities recycling greater than 10,000 gpd | $500 |
| b. Facilities recycling 10,000 gpd or less | $100 |
| 10. Minor revisions, as defined in subsection 62-620.200(24), F.A.C., to wastewater permits for industrial wastewater facilities other than minor modifications of permits listed in paragraph 62-4.050(4)(q), F.A.C. |
| a. Facilities which have no discharge to surface or ground waters | $100 |
| b. All others | $250 |
| 11. Substantial revisions, as defined in subsection 62-620.200(45), F.A.C., to wastewater permits for existing industrial wastewater facilities shall require a new wastewater permit application and applicable fee. The applicable fee shall be: a. For substantial revisions resulting from substantial modifications to the facility which require an antidegradation determination as specified in Rule 62-4.242, F.A.C., or which increase the permitted capacity of the treatment or disposal system, the full applicable application fee. b. For substantial revisions resulting from substantial modifications to the facility, but which do not require an antidegradation determination as specified in Rule 62-4.242, F.A.C., and which do not increase the permitted capacity of the treatment or disposal system, 50 percent of the applicable application fee. c. For substantial revisions not associated with substantial modifications to the facility, 20 percent of the applicable application fee or $250, whichever is greater. |
| 12. The fee for review of engineering reports for new industrial facilities shall be in the same amount as the applicable application processing fee for the facility and shall be in addition to the application processing fee. |
| 13. Industrial wastewater general and generic permits. |  |
| a. General and generic permits requiring Professional Engineer or Professional Geologist certification | $500 |
| b. General and generic permits not requiring Professional Engineer or Professional Geologist certification | $100 |
| 14. Collection systems for industrial wastewater treatment facilities. | $500 |
| 15. A permitted facility which falls in more than one of the fee categories in subparagraphs (4)(c)1. through 8. shall not be subject to multiple fees, but shall pay the larger of the fees. |
| (d) Stormwater facilities or activities regulated under Section 403.0885, F.S. |  |
| 1. Generic Permit for Stormwater Discharge from Large and Small Construction Activities. |  |
| a. Activities disturbing 5 or more acres (large) | $400 |
| b. Activities disturbing 1 acre of land or greater and less than 5 acres (small) | $250 |
| 2. Multi-Sector Generic Permit for Stormwater Discharge Associated with Industrial Activity | $500 |
| 3. No Exposure Certification for Exclusion from NPDES Stormwater Permitting | $200 |
| 4. Stormwater discharge associated with industrial activity permitted under Chapter 62-620, F.A.C. | $1,000 |
| 5. Generic Permit for Discharge of Stormwater from Phase II Municipal Separate Storm Sewer Systems (MS4s): |  |
| a. Phase II MS4s in jurisdiction with a population of 50,000 or greater as determined by the 2000 Decennial Census by the U.S. Bureau of Census | $11,700 |
| b. Phase II MS4s in a jurisdiction with a population of greater than 10,000 but less than 50,000 as determined by the 2000 Decennial Census by the U.S. Bureau of Census | $7,988 |
| c. Phase II MS4s in a jurisdiction with a population of 10,000 or less as determined by the 2000 Decennial Census by the U.S. Bureau of Census; Florida Department of Transportation facilities | $5,625 |
| (e) Wetland Resource Management (Dredge and Fill) Permits. This paragraph pertains to projects that have been grandfathered according to Sections 373.414(11) (1994 Supp.), (12)(a) (1994 Supp.), (13), (14), (15) or (16), F.S., and projects, or portions thereof, located in the Northwest Florida Water Management District. |
| 1. Dredge and fill construction projects up to and including 5 years: |  |
| a. Standard form projects including dredge and fill activities that affect 10 or | $4000 |
| more acres of jurisdictional area pursuant to subsection 62-312.070(2), F.A.C. |  |
| b. Standard form construction projects that involve the construction of new docking |  |
| facilities pursuant to Rule 62-312.070, F.A.C., that provide: |  |
| (I) 50 or more new boat slips | $4000 |
| (II) 25-49 new boat slips | $3000 |
| (III) 10-24 new boat slips | $1500 |
| (IV) 3-9 new boat slips | $500 |
| (V) 0-2 new boat slips | $300 |
| c. Short form construction projects involving dredging and filling activities that affect 9.99 acres or less of jurisdictional area, pursuant to subsection 62-312.070(2), F.A.C. | $500 |
| d. Short form construction projects involving the construction of new docking or boardwalk facilities, pursuant to Rule 62-312.070, F.A.C., that provide: |
| (I) 0-2 new boat slips | $300 |
| (II) 3-9 new boat slips | $500 |
| (III) The addition of 3 to 20 docking slips to existing functional docking facilities where the total facility will not exceed 50 slips and the existing and proposed slips are not associated with commercial facilities or facilities which provide supplies or services required for boating activities. | $500 |
| e. Short form and standard form projects solely for environmental restoration or enhancement activities, provided such activities are not associated with a mitigation bank and are not being implemented as mitigation for other activities that require a permit under Part IV of Chapter 373, F.S. | $100 |
| 2. Dredge and fill construction permits in excess of 5 years: |  |
| a. Short form permits from 6 years up to and including 10 years | $3000 |
| b. Standard form permits for 6 years | $6000 |
| c. Standard form permits for 7 years | $7000 |
| d. Standard form permits for 8 years | $8000 |
| e. Standard form permits for 9 years | $9000 |
| f. Standard form permits for 10 years | $10,000 |
| g. Standard form permits for 11 years | $11,000 |
| h. Standard form permits for 12 years | $12,000 |
| i. Standard form permits for 13 years | $13,000 |
| j. Standard form permits for 14 years | $14,000 |
| k. Standard form permits for 15 years | $15,000 |
| l. Standard form permits for 16 years | $16,000 |
| m. Standard form permits for 17 years | $17,000 |
| n. Standard form permits for 18 years | $18,000 |
| o. Standard form permits for 19 years | $19,000 |
| p. Standard form permits for 20 years | $20,000 |
| q. Standard form permits for 21 years | $21,000 |
| r. Standard form permits for 22 years | $22,000 |
| s. Standard form permits for 23 years | $23,000 |
| t. Standard form permits for 24 years | $24,000 |
| u. Standard form permits for 25 years | $25,000 |
| v. 6 to 10-year permits for beach restoration projects approved pursuant to Chapter 161, F.S., and to maintenance dredge navigation channels, port harbors, turning basins and harbor berths located within deepwater ports, pursuant to Section 403.816, F.S. | $5000 |
| w. Permits for phosphate and attapulgite mines with a duration of >25 years pursuant to the provisions of subsection 373.414(15), F.S. | $25,000 |
| x. Modifications involving permits issued pursuant to Section 403.816, F.S. | $1000 |
| y. 6 to 25-year permits pursuant to Chapter 62-45, F.A.C. | $5000 |
| z. Modifications to permits pursuant to Chapter 62-45, F.A.C. | $1000 |
| (I) Short form and standard form projects solely for environmental restoration or enhancement activities, provided such activities are not associated with a mitigation bank and are not being implemented as mitigation for other activities that require a permit under Part IV of Chapter 373, F.S. | $100 |
| 3. Mangrove alteration permits: |  |
| a. Mangrove alteration permits which involve the alteration of less than 20 mangroves | $250 |
| b. Mangrove alteration permits which involve the alteration of 20 or more mangroves | $500 |
| 4. For the purposes of determining the fee for wetlands resource management permits, the term of duration for the permit shall be reduced by the period of time (in yearly increments) during which no dredging or filling activity occurs or no reclamation, restoration, or mitigation occurs and only minor monitoring and maintenance activities are required. The fee for the full term shall be submitted with the application. After the Department determines the period of time that the term of the permit can be reduced, the excess fee shall be returned. 5. For permit applications which involve a combination of the project fee categories listed above, the highest fee that applies to the appropriate standard form or short form project, pursuant to Rule 62-312.070, F.A.C., shall be charged. 6. Variances from permitting standards, permit conditions, or water quality standards associated with a wetland resource or mangrove alteration permit application: |
| a. Variances from the prohibition of subsection 62-312.080(7), F.A.C. | $100 |
| b. Variances from the provisions of Chapter 62-321, F.A.C. | $100 |
| c. Other variances | $500 |
| (f) Stormwater Permits. This paragraph pertains to projects, or portions thereof, located in the Northwest Florida Water Management District. |
| 1. Construction permit for stormwater facilities | $1000 |
| 2. Operation permit for a stormwater facility | $100 |
| (g) MSSW permits. This paragraph pertains to projects that have been grandfathered according to Sections 373.414(11) (1994 Supp.), (12)(a) (1994 Supp.), (13), (14), (15) or (16), F.S. 1. For MSSW facilities located within the boundaries of the St. Johns River Water Management District, the processing fee used by the Department shall be the same as set forth in paragraphs (5)(j) and (k) of Rule 40C-1.603, F.A.C., which is adopted and incorporated by reference. |
| 2. For MSSW facilities located within the boundaries of the South Florida Water Management District, the processing fee used by the Department shall be the same as set forth in subparagraph (3)(a)4. and paragraph (3)(b) of Rule 40E-1.607, F.A.C., which is adopted and incorporated by reference. |

3. For MSSW facilities located within the boundaries of the Southwest Florida Water Management District, the processing fee used by the Department shall be the same as set forth in subsections (4) and (5) of Rule 40D-1.607, F.A.C., which is adopted and incorporated by reference.

(h) Environmental Resource Permits. For individual, conceptual approval or standard general permit applications that involve a combination of the fee categories listed in subparagraphs 1. and 2. below, the highest fee in these subparagraphs that applies to the project in question shall be the correct application fee.

1. Individual and Conceptual Approval Permits (those systems that involve ≥ 1 acre of construction or alteration in, on or over wetlands or other surface waters, involve ≥ 10 new boat slips, are capable of impounding >120 acre feet, serve a total land area ≥ 100 acres, or provide for the placement of ≥ 12 acres of impervious surface):

a. For a system that involves < 1 acre of construction or alteration in, on or over wetlands or other surface waters and involves < 10 new boat slips but reaches any of the following three thresholds:

(I) Is capable of impounding >120 acre feet;

(II) Serves a total land area ≥ 100 acres; or

| (III) Provides for the placement of ≥ 12 acres of impervious surface | $2,500 |
| --- | --- |
| b. For a system involving the following total acreage of construction or alteration in, on or over wetlands or other surface waters: |
| (I) ≥ 100 acres | $10,000 |
| (II)  100 acres and ≥ 50 acres | $8,000 |
| (III)  50 acres and ≥ 10 acres | $6,500 |
| (IV)  10 acres and ≥ 5 acres | $5,500 |
| (V)  5 acres and ≥ 2 acres | $4,000 |
| (VI)  2 acres and ≥ 1 acre | $3,000 |
| c. For a system involving 10 or more new boat slips and either capable of impounding ≥ 40 acre feet, serving a total land area ≥ 40 acres, providing for the placement of ≥ 12 acres of impervious surface, or involving construction or alteration (other than new boat slips) in, on or over wetlands or other surface waters, with the following number of new slips: |
| (I) 50 or more | $6,500 |
| (II) 30-49 | $5,500 |
| (III) 10-29 | $4,000 |
| d. For a system involving 10 or more new boat slips and capable of impounding < 40 acre feet, serving a total land area < 40 acres, providing for the placement of < 12 acres of impervious surface, and not involving construction or alteration (other than new boat slips) in, on or over wetlands or other surface waters, with the following number of new slips: |
| (I) 50 or more | $4,000 |
| (II) 30-49 | $3,000 |
| (III) 10-29 | $1,500 |
| e. For a system involving a new solid waste facility | $7,500 |
| f. For a system involving an existing solid waste facility | $8,500 |
| g. Systems solely for environmental restoration or enhancement activities, provided such activities are not associated with a mitigation bank and are not being implemented as mitigation for other activities that require a permit under Part IV of Chapter 373, F.S. | $100 |
| 2. Standard Permits and Standard General Permits (those systems below the thresholds listed in subparagraph 1. above): |
| a. For a system serving a project with a total land area < 100 acres and ≥ 40 acres, with the following additional activities: |
| (I) Both the construction of 1-9 new boat slips and the construction or alteration (other than new boat slips) in, on or over a total area of wetlands or other surface waters < 1 acre and > 0 acres | $1,500 |
| (II) Either the construction of 1-9 new boat slips or the construction or alteration (other than new boat slips) in, on or over a total area of wetlands or other surface waters < 1 acre and > 0 acres | $1,000 |
| (III) No construction or alteration in, on or over wetlands or other surface waters | $700 |
| b. For a system serving a project with a total land area < 40 acres and > 1 acre, with the following additional activities: |
| (I) 3-9 new boat slips | $700 |
| (II) 1-2 new boat slips | $600 |
| (III) Construction or alteration (other than new boat slips) in, on or over a total area of wetlands or other surface waters < 1 acre and > 0 acres | $600 |
| c. For a system serving a project with a total land area ≤1 acre, with the following additional activities: |  |
| (I) 3-9 new boat slips | $600 |
| (II) 1-2 new boat slips | $300 |
| (III) Construction or alteration (other than new boat slips) in, on or over a total area of wetlands or other surface waters < 1 acre and > 0 acres | $500 |
| d. Systems solely for environmental restoration or enhancement activities, provided such activities are not associated with a mitigation bank and are not being implemented as mitigation for other activities that require a permit under Part IV of Chapter 373, F.S. | $100 |
| 3. Mitigation Bank and Mitigation Bank Conceptual Approval Permits | $4,000 |
| 4. Environmental Resource Permit for a system serving a project with a total land area < 40 acres and: |  |
| a. Involving no construction or alteration in, on or over wetlands or other surface waters; or | $300 |
| b. That is solely for environmental restoration or enhancement activities, provided such activities are not associated with a mitigation bank and are not being implemented as mitigation for other activities that require a permit under Part IV of Chapter 373, F.S. | $100 |
| 5. For a Noticed General Permit | $100 |
| 6. Variances: |  |
| a. To the prohibition of work in Class II Waters, approved for shellfish harvesting | $100 |
| b. To mangrove prohibitions in Chapter 62-321, F.A.C. | $100 |
| c. Other variances | $500 |
| 7. Modifications: |  |
| a. For major modifications of Individual and Conceptual Approval Permits (no increase in project area) | $700 |
| b. For major modifications of Individual and Conceptual Approval Permits (with an increase in project area) | $2,000 |
| c. For major modifications of Individual and Conceptual Approval Permits for solid waste facilities | $4,000 |
| d. For major modifications of Standard General Permits | 50% of original application fee |
| e. For minor modifications of Individual and Conceptual Approval Permits for solid waste facilities | $1,500 |
| f. For other minor modifications | Fee specified in paragraph (4)(r) |
| g. For permit extensions | $50 |
| (i) Petitions for Formal Determinations of the Landward Extent of Wetlands and Other Surface Waters: 1. Petition application fees shall be based on the acreage of the entire property for which the petition is filed, according to the following schedule: |
| a. > 0 acres and ≤ 1 acre | $250 |
| b. >1 acre and ≤ 10 acres | $550 |
| c. >10 acres and ≤ 40 acres | $750 |
| d. >40 acres and ≤ 100 acres | $1,500 |
| e. For property greater than 100 acres in size, the fee will be $1500 plus an additional $200 for each additional 100 acres (or portion thereof) that exceeds the first 100 acres. |
| f. For a new formal determination for single-family residences of less than or equal to five acres within the territory of the South Florida District Office of the Department, under |
| subsection 62-343.040(3), F.A.C. | $250 |
| 2. For a new formal determination that covers property on which a valid formal determination exists, provided that the petition for the new formal determination is filed within 60 days of the date of expiration of the existing formal determination and the physical conditions on the property have not changed, other than changes authorized by a permit, so as to alter the boundaries of surface waters or wetlands, and provided the methodology for determining the extent of surface waters and wetlands authorized by Sections 373.421 and 373.4211, F.S., has not been amended since the previous formal determination. | $250 |
| (j) Solid Waste Permits. |  |
| 1. Construction permit for a Class I facility. | $10,000 |
| 2. Construction permit for a Class II facility. | $10,000 |
| 3. Construction permit for a Class III facility. | $6000 |
| 4. Construction permit for a waste-to-energy facility not covered by the Electric Power Plant Siting Act. | $10,000 |
| 5. Construction permit for other resource recovery facilities. | $2000 |
| 6. Construction permit for an incinerator. | $3000 |
| 7. Construction permit for a yard trash composting facility. | $2000 |
| 8. Construction permit for a manure composting facility. | $2000 |
| 9. Construction permit for a solid waste composting facility. | $5000 |
| 10. Construction/operation permit for a waste tire processing facility. | $1250 |
| 11. Construction permit for all other solid waste facilities. | $1000 |
| 12. Construction permit for an offsite Biohazardous Waste Treatment | $2000 |
| Facility other than a biohazardous waste incinerator. |  |
| 13. Construction permit and/or an operation permit for a facility which has multiple solid waste management components which normally would require individual solid waste permits. A single application may be submitted and the permit fee will be the sum of each individual permit; however, the total permit fees for the facility shall not exceed $25,000, exclusive of modifications and renewals. |
| 14. Operation permit for a Class I facility. | $10,000 |
| 15. Operation permit for a Class II facility. | $10,000 |
| 16. Operation permit for a Class III facility. | $4000 |
| 17. Operation permit for a waste-to-energy facility not covered by the Electric Power Plant Siting Act. | $10,000 |
| 18. Operation permit for other resource recovery facilities. | $1000 |
| 19. Operation permit for an incinerator. | $1000 |
| 20. Operation permit for a yard trash composting facility. | $1000 |
| 21. Operation permit for a manure composting facility. | $1000 |
| 22. Operation permit for a solid waste composting facility. | $3000 |
| 23. Operation permit for an offsite Biohazardous Waste Treatment Facility other than a biohazardous waste incinerator. | $1000 |
| 24. Operation permit for all other solid waste facilities. | $500 |
| 25. Request for an Alternate Procedure. |  |
| a. Landfill | $2000 |
| b. Other | $500 |
| 26. Research, Development and Demonstration permits (one year permit). | $1000 |
| 27. Closure permit for a Class I facility. | $7500 |
| 28. Closure permit for a Class II facility. | $7500 |
| 29. Closure permit for a Class III facility. | $4000 |
| 30. Closure permit for all other solid waste facilities. | $1000 |
| 31. Renewal of Closure permit for landfills which address only long term care. | $1000 |
| 32. Construction or Operation permits for Materials Recovery Facility. | $2000 |
| 33. Ground Water Monitoring Plan Approvals for solid waste landfills with no other Department permit. | $500 |
| (k) Petroleum Cleanup General Permits. |  |
| 1. Soil thermal treatment – mobile. | $500 |
| 2. Soil thermal treatment – stationary. | $500 |
| (l) Hazardous Waste Permits. |  |
| 1. Construction of container and/or tank hazardous waste storage facilities. | $15,000 |
| 2. Construction of container and/or tank hazardous waste storage and treatment facilities. | $20,000 |
| 3. Construction of landfill, surface impoundment, waste pile, land treatment, and miscellaneous unit facilities. | $25,000 |
| 4. Construction of hazardous waste storage, treatment and/or disposal facilities with an incinerator, boiler or industrial furnace for treatment of hazardous wastes generated on-site. | $25,000 |
| 5. Construction of commercial treatment, storage, and/or disposal facility with a commercial incinerator, boiler or industrial furnace managing hazardous wastes generated off-site. | $32,500 |
| 6. Operation of container and/or tank hazardous waste storage facilities. | $10,000 |
| 7. Operation of container and/or tank hazardous waste storage and treatment facilities. | $10,000 |
| 8. Operation of landfill, surface impoundment, waste pile, land treatment, and miscellaneous unit facilities. | $15,000 |
| 9. Operation of hazardous waste storage, treatment and/or disposal facilities with an incinerator, boiler or industrial furnace for treatment of hazardous wastes generated on-site. | $15,000 |
| 10. Operation of commercial treatment, storage, and/or disposal facilities with a commercial incinerator, boiler or industrial furnace managing hazardous wastes generated off-site. | $32,500 |
| 11. Closure of container and/or tank hazardous waste storage facilities. | $10,000 |
| 12. Closure of container and/or tank hazardous waste storage and treatment facilities. | $10,000 |
| 13. Closure of landfill, surface impoundment, waste pile, land treatment, previously closed |  |
| units required to demonstrate equivalent clean closure, and miscellaneous unit facilities. | $20,000 |
| 14. Closure of hazardous waste storage, treatment and/or disposal facilities with an incinerator, boiler or industrial furnace for treatment of hazardous wastes generated on-site. | $15,000 |
| 15. Closure of commercial treatment, storage, and/or disposal facilities with a commercial incinerator, boiler or industrial furnace managing hazardous wastes generated off-site. | $32,500 |
| 16. Hazardous waste research, development and demonstration facilities. | $4000 |
| 17. Fees for modifications to hazardous waste permits proposed by the permittee or required by Department rules shall be determined as stated below. All modifications listed below require public notice. Contact the appropriate District Office for guidance on how to determine which fee applies before submitting the required information. |
| a. Substantial modifications that require significant changes to the existing permit and require an extensive evaluation by the Department. These shall require the same fee as a new application. Examples in this category nclude alteration of the existing facility, change in the facility plan, ground water monitoring program assessment or remediation/engineering design or other general facility standard. The fee schedule for new permit applications is listed above. |
| b. Substantial modifications that require a moderate technical evaluation by the Department. Examples in this category include alterations of the existing facility or its operation which will require additional site-specific evaluation. | $10,000 |
| c. Moderate modifications that require moderate technical evaluation by the Department. These require a new site inspection, lead to different environmental impacts, or lessen the impacts of the original permit. | $5000 |
| d. Minor modifications, as defined in this subsection, that are not otherwise specified, including common or frequently occurring changes needed to maintain a facility’s capacity to manage wastes safely, minor changes in ground water monitoring plans, or modifications to conform to new requirements. | $1000 |
| 18. Department variance from federal regulations under 40 CFR 260.30. | $32,500 |
| 19. All other hazardous waste facility permits or authorizations for which a specific fee is not specified. | $32,500 |
| (m) Underground Injection Control Permits. |  |
| 1. Construction permit for each Class I test/injection well. | $12,500 |
| 2. Construction permit for each Class I exploratory well. | $5000 |
| 3. Construction permit for each monitoring well associated with a Class I injection facility when not permitted under a Class I exploratory well or Class I test/injection well permit. | $1000 per well not to exceed $10,000 for the facility |
| 4. Permit to convert each well from a Class I to a Class V well. | $10,000 |
| 5. Operation permit for each Class I well. | $10,000 |
| 6. Permit to convert a Class I injection well or exploratory well to a monitoring well when not proposed under a construction permit. | $500 |
| 7. Abandonment permit for each Class I well. | $100 |
| 8. Construction permit for each Class III well. | $1000 |
| 9. Operation permit for each Class III well. | $1000 |
| 10. Abandonment permit for each Class III well. | $100 |
| 11. Construction permit for each Class V well. | $750 |
| 12. Operation permit for each Class V well. | $750 |
| 13. Abandonment permit for each Class V well. | $25 |
| 14. General permit for each Class V well. |  |
| a. General permits requiring Professional Engineer or Professional Geologist certification | $250 |
| b. General permits not requiring Professional Engineer or Professional Geologist certification | $25 |

15. Major modifications are modifications to an injection facility requiring substantial technical evaluation by the Department, and which will not lead to substantially different environmental impacts (unless those impacts will lessen the impacts of the original permit).

| a. Major modification to a Class I injection facility. | $1000 |
| --- | --- |
| b. Major modification to a Class III injection facility. | $500 |
| c. Major modification to a Class V injection facility. | $250 |

16. Minor modifications are modifications to an injection facility that do not require a substantial technical evaluation by the Department, will not result in increased capacity of the injection system, do not require a new site inspection by the Department, and will not lead to substantially different environmental impacts or will lessen the impacts of the original permit.

| a. Minor modification to a Class I or Class III injection facility. | $250 |
| --- | --- |
| b. Minor modification to a Class V injection facility. | $100 |
| 17. Rerating of the permitted capacity of a Class I injection well to the maximum injection velocity allowed under paragraph 62-28.230(1)(e), F.A.C. | $250 |

(n) Drinking Water (Public Water Supply) Permits.

1. Construction permit for each Category I through III treatment plant, as defined in Rule 62-699.310, F.A.C., with treatment other than disinfection only.

| a. Treatment plant – 5 MGD and above | $7500 |
| --- | --- |
| b. Treatment plant – 1 MGD up to 5 MGD | $6000 |
| c. Treatment plant – 0.25 MGD up to 1 MGD | $4000 |
| d. Treatment plant – 0.1 MGD up to 0.25 MGD | $2000 |
| e. Treatment plant – up to 0.1 MGD | $1000 |

2. Construction permit for each Category IV treatment plant, as defined in Rule 62-699.310, F.A.C., with treatment other than disinfection only.

| a. Treatment plant – 5 MGD and above | $7500 |
| --- | --- |
| b. Treatment plant – 1 MGD up to 5 MGD | $6000 |
| c. Treatment plant – 0.25 MGD up to 1 MGD |  |
| d. Treatment plant – 0.1 MGD up to 0.25 MGD | $2000 |
| e. Treatment plant – .01 MGD up to 0.1 MGD | $1000 |
| f. Treatment plant – up to 0.01 MGD | $400 |

3. Construction permit for each Category V treatment plant, as defined in Rule 62-699.310, F.A.C. – Disinfection only.

| a. Treatment plant – 5 MGD and above | $5000 |
| --- | --- |
| b. Treatment plant – 1 MGD up to 5 MGD | $3000 |
| c. Treatment plant – 0.25 MGD up to 1 MGD | $1000 |
| d. Treatment plant – up to 0.25 MGD | $500 |
| e. Treatment plant – up to 0.1 MGD | $300 |

4. Distribution and transmission systems, including raw water lines into the plant, except those under general permit.

| a. Serving a community public water system | $500 |
| --- | --- |
| b. Serving a non-transient non-community public water system | $350 |
| c. Serving a non-community public water system | $250 |
| 5. Construction permit for each public water supply well. |  |
| a. Well located in a delineated area pursuant to Chapter 62-524, F.A.C. | $500 |
| b. Any other public water supply well. | $250 |

6. Major modifications to systems that alter the existing treatment without expanding the capacity of the system and are not considered substantial changes pursuant to subsection 62-4.050(7), F.A.C., below.

| a. 1 MGD and above | $2000 |
| --- | --- |
| b. 0.1 MGD up to 1 MGD | $1000 |
| c. 0.01 MGD up to 0.1 MGD | $500 |
| d. Up to 0.01 MGD | $100 |
| 7. Minor modifications to systems that result in no change in the treatment or capacity. |  |
| a. 0.1 MGD and above | $300 |
| b. Up to 0.1 MGD | $100 |

(o) Temporary operation permits shall be 20 percent over the fee for the operation permit for the activity to be permitted.

(p) General Permit fee for any General Permit not specifically listed in paragraphs (a) through (l).

| 1. General permits requiring Professional Engineer or Professional Geologist certification | $250 |
| --- | --- |
| 2. General permits not requiring Professional Engineer or Professional Geologist certification. | $100 |
| (q) Unless otherwise specified in this rule, the fee for applications for relief mechanisms shall be as follows: |  |
| 1. Site specific alternative criteria for each water quality criteria | $15,000 |
| 2. Variance or exemption for each water quality criteria | $6000 |
| 3. Variance or exemption for public water system from maximum contaminant level/treatment techniques | $1000 |
| 4. Variance from other permitting standards or conditions | $2000 |
| 5. Aquifer exemption – major | $15,000 |
| 6. Aquifer exemption – minor | $7500 |
| (r) Permits to construct or operate any other type of facility or stationary installation not specifically listed in paragraphs (a) through (n). | $100 |
| (s) Minor modifications of permits that do not require substantial technical evaluation by the Department, do not require a new site inspection by the Department, and will not lead to substantially different environmental impacts or will lessen the impacts of the original permit: |
| 1. To correct minor errors or typographical mistakes and that do not involve technical review | $0 |
| 2. To incorporate changes requested by the Department or required through permits issued by other regulatory agencies, and to change due dates for reporting or performance deadlines when such changes in the due date do not involve any new work, any new work locations, or any new activities, and will not alter, replace, or otherwise eliminate the requirements for otherwise performing the work required by the permit | $0 |
| 3. That consist of transfers of permits or time extensions | $50 |
| 4. That consist of minor technical changes which involve new work, new work locations, new activities, or any other change which alters, replaces, or otherwise eliminates the work authorized by the permit when the original permit fee of the issued permit is less than $300, except for modifications to permits issued pursuant to Section 403.816, F.S. | $50 |
| 5. That consist of minor technical changes which involve new work, new work locations, new activities, or any other change which alters, replaces, or otherwise eliminates the work authorized by the permit when the original permit fee of the issued permit is more than or equal to $300, except for Domestic Wastewater Facility Permits, Industrial Wastewater Facility Permits, Drinking Water (Public Water Supply) Permits, Underground Injection Control Permits and permits issued pursuant to Section 403.816, F.S. | $250 |

(t) For purposes of requiring a permit application and fee for the following facility types, each non-contiguous project shall be considered a stationary installation and shall require a separate application and fee.

1. Domestic wastewater collection system.

2. Drinking water distribution system.

(u) All fees shall be deposited in the Florida Permit Fee Trust Fund created pursuant to Section 403.087(5), F.S.

(v) If the department requires by rule or permit condition that any specific permit be renewed more frequently than once every five years, the permit fee shall be prorated based upon the permit fee schedule in effect at the time of permit renewal. Upon issuance of such a permit, a prorated refund of the fee shall be returned to the applicant. This provision does not apply to permits issued for less than five years which could be extended to five years without the filing of an application for renewal. However, applications for permits to continue operation of a facility where an existing permit has or is about to expire in accordance with Section 403.087(1), F.S., shall be accompanied by the appropriate processing fee.

(w) This fee schedule does not apply to applications for certification pursuant to Sections 288.501-.518, F.S., Florida Industrial Siting Act; Sections 341.321-.386, F.S., the High Speed Rail Transportation Commission, except that fees may be assessed for the permitting of Ancillary Facilities under the Act for which a master plan approval was granted under the Act; to Sections 403.501-.519, F.S., Florida Electrical Power Plant Siting Act; or to Sections 403.52-.539, F.S., the Transmission Line Siting Act.

(x) This fee schedule will supersede all other references to fees in Department rules or forms, where inconflict except as noted in paragraph 62-4.050(4)(n), F.A.C.

(y) In the jurisdiction of an approved local program which in accordance with an interagency agreement assists the Department in the processing of permits the fee paid to the Department shall be reduced by the amount specified in the agreement. That amount shall be commensurate with the savings to the Department resulting from the assistance of the local program.

(5)(a) To be considered by the Department, each application must be accompanied by the proper processing fee. The fee shall be paid by check, payable to the Department of Environmental Protection. The fee is non-refundable except as provided in Section 120.60, F.S., and in this section.

(b) When an application is received without the required fee, the Department shall acknowledge receipt of the application and shall immediately notify the applicant by certified mail that the required fee was not received and advise the applicant of the correct fee. The Department shall take no further action until the correct fee is received. If a fee was received by the Department which is less than the amount required, the Department shall return the fee along with the written notification.

(c) Upon receipt of the proper application fee, the permit processing time requirements of Sections 120.60(1) and 403.0876, F.S., shall begin.

(d) If the applicant does not submit the required fee within ten days of receipt of written notification, the Department shall either return the unprocessed application or arrange with the applicant for the pick up of the application.

(e) If an applicant submits an application fee in excess of the required fee, the permit processing time requirements of Sections 120.60(1) and 403.0876, F.S., shall begin upon receipt, and the Department shall refund to the applicant the amount received in excess of the required fee.

(6) Any substantial modification to a complete application shall require an additional processing fee determined pursuant to the schedule set forth in Rule 62-4.050, F.A.C., and shall restart the time requirements of Sections 120.60 and 403.0876, F.S. For purposes of this subsection, the term “substantial modification” shall mean a modification which is reasonably expected to lead to substantially different environmental impacts which require a detailed review.

(7) Modifications to existing permits proposed by the permittee which require substantial changes in the existing permit or require substantial evaluation by the Department of potential impacts of the proposed modifications shall require the same fee as a new application for the same time duration except for modification under Chapter 62-45, F.A.C.

(8) The difference between the processing fee for applications for individual permits and the processing fee for general permits shall be refunded only for those applications that qualify for a general permit solely as a result of a change in Department rules while the application is being processed. Processing fees for applications for individual permits shall not be refunded in whole or in part where an applicant modifies a project to qualify for a general permit when the project did not qualify for a general permit when processing commenced.

Specific Authority 373.026, 373.043, 373.414, 373.418, 373.421, 403.061, 403.087, 403.704(30), 403.805 FS. Law Implemented 373.109, 373.309, 373.409, 373.413, 373.4135, 373.414(9), (11), (12)(a), (13), (14), (15), (16), 373.4145, 373.418, 373.421, 403.061, 403.087, 403.0877, 403.088, 403.0885, 403.722, 403.861(7) FS. History–New 5-17-72, Amended 6-19-74, 7-8-82, Formerly 17-4.05, Amended 11-15-87, 8-31-88, 10-3-88, 4-4-89, 3-19-90, 6-11-90, 3-7-91, 3-18-91, 5-30-91, 10-30-91, 11-16-92, 12-21-92, 7-11-93, 2-2-94, Formerly 17-4.050, Amended 11-23-94, 4-30-95, 7-4-95, 12-15-98, 10-22-00, 6-1-01, 1-30-03, 2-19-03, 4-3-03, 5-1-03, 2-7-06, 10-31-07.

62-4.055 Permit Processing.

(1) Within thirty days after receipt of an application for a permit and the correct processing fee the Department shall review the application and shall request submittal of additional information the Department is authorized by law to request. The applicant shall have ninety days after the Department mails a timely request for additional information to submit that information to the Department. If an applicant requires more than ninety days in which to respond to a request for additional information, the applicant may notify the Department in writing of the circumstances, at which time the application shall be held in active status for one additional period of up to ninety days. Additional extensions shall be granted for good cause shown by the applicant. A showing that the applicant is making a diligent effort to obtain the requested additional information shall constitute good cause. Failure of an applicant to provide the timely requested information by the applicable deadline shall result in denial of the application.

(2) If the applicant believes any Department request for additional information is not authorized by law or rule, the applicant may request a hearing pursuant to Section 120.57, F.S.

(3) Within 30 days after receipt of such additional information, the Department shall review it and may request only that information needed to clarify such additional information or to answer new questions raised by or directly related to such additional information.

(4) If the applicant believes the request of the Department for such additional information is not authorized by law or rule, the Department, at the applicant’s request, shall begin to process the permit application. Such a request by the applicant shall be in writing and shall be clearly labelled as a request for the Department to process the application. The applicant’s request shall state the reasons why the applicant believes the Department’s request for additional information is not authorized by law or rule. The applicant shall clearly state that the applicant requests the Department to process the application without that information. The applicant’s request shall be submitted to the Department office which made the request.

(5) Permits shall be approved or denied within 90 days after receipt of the original application, the last item of timely requested additional material, or the applicant’s written request to begin processing the permit application, whichever occurs last.

(6) The procedures in this section do not apply to hazardous waste facility permitting under Florida Administrative Code Rule Chapter 62-730, or to other permitting for which there are other specific procedures.

Specific Authority 120.54(5), 403.061, 403.087 FS. Law Implemented 403.021, 403.061, 403.062, 403.087, 403.0876 FS. History–New 12-3-84, Amended 8-31-88, 7-11-93, Formerly 17-4.055, Amended 8-16-98.

62-4.060 Consultation.

The applicant, or his engineer, is encouraged to consult with Department personnel before submitting an application, or at any other time concerning the operation, construction, expansion, or modification of any installation, or concerning the required pollution control devices or system, the efficiency of such devices or system, or the pollution problem related to the installation. However, any representation by the Department shall not relieve any person from any requirement of Florida law.

Specific Authority 403.021, 403.031, 403.061, 403.088 FS. Law Implemented 403.021, 403.031, 403.061, 403.087, 403.088 FS. History–New 5-17-72, Formerly 17-4.06, Amended 8-31-88, Formerly 17-4.060.

62-4.070 Standards for Issuing or Denying Permits; Issuance; Denial.

(1) A permit shall be issued to the applicant upon such conditions as the Department may direct, only if the applicant affirmatively provides the Department with reasonable assurance based on plans, test results, installation of pollution control equipment, or other information, that the construction, expansion, modification, operation, or activity of the installation will not discharge, emit, or cause pollution in contravention of Department standards or rules. However, for discharges of wastes to water, the Department may issue temporary operation permits under the criteria set forth in Section 403.088(3), F.S.

(2) If, after review of the application and all the information, the Department determines that the applicant has not provided reasonable assurance that the construction, modification, expansion, or operation of the installation will be in accord with applicable laws or rules, including rules of approved local programs, the Department shall deny the permit.

(3) The Department may issue any permit with specific conditions necessary to provide reasonable assurance that Department rules can be met.

(4) No Department permits shall be issued for a term of more than five (5) years unless otherwise specified by statute, rule, or order of the Department. However, construction permits for air pollution sources may be issued for a period of time as necessary.

(5) The Department shall take into consideration a permit applicant’s violation of any Department rules at any installation when determining whether the applicant has provided reasonable assurances that Department standards will be met.

(6) The applicant shall be promptly notified if the Department intends to deny the application, and shall be informed of the reasons for the intended denial, and of the right to request an administrative hearing.

(7) The issuance of a permit does not relieve any person from complying with the requirements of Chapter 403, F.S., or Department rules.

Specific Authority 403.021, 403.031, 403.061, 403.087, 403.088 FS. Law Implemented 403.021, 403.031, 403.061, 403.087, 403.088 FS. History– New 5-17-72, Amended 7-8-82, 2-1-83, 12-3-84, Formerly 17-4.07, Amended 8-31-88, 3-28-91, Formerly 17-4.070.

62-4.080 Modification of Permit Conditions.

(1) For good cause and after notice and an administrative hearing, if requested, the Department may require the permittee to conform to new or additional conditions. The Department shall allow the permittee a reasonable time to conform to the new or additional conditions and on application of the permittee the Department may grant additional time.

For the purpose of this section, good cause shall include, but not be limited to, any of the following:

(a) A showing that an improvement in effluent or emission quality or quantity can be accomplished because of technological advances without unreasonable hardship.

(b) A showing that a higher degree of treatment is necessary to effect the intent and purpose of Chapter 403, F.S.

(c) A showing of any change in the environment or surrounding conditions that requires a modification to conform to applicable air or water quality standards.

(d) For discharges into State waters, a showing that new or changed classification of the water requires a modification of the discharge.

(e) Adoption or revision of Florida Statutes, rules, or standards which require the modification of a permit condition for compliance.

(2) A permittee may request a modification of a permit by applying to the Department.

(3) A permittee may request that a permit be extended as a modification of the permit. Such a request must be submitted to the Department in writing before the expiration of the permit. Upon timely submittal of a request for extension, unless the permit automatically expires by statute or rule, the permit will remain in effect until final agency action is taken on the request. For construction permits, an extension shall be granted if the applicant can demonstrate reasonable assurances that, upon completion, the extended permit will comply with the standards and conditions required by applicable regulation. For all other permits, an extension shall be granted if the applicant can demonstrate reasonable assurances that the extended permit will comply with the standards and conditions applicable to the original permit. A permit for which the permit application fee was prorated in accordance with paragraph 62-4.050(4)(l), F.A.C., shall not be extended. In no event shall a permit be extended or remain in effect longer than the time limits established by statute or rule.

Specific Authority 403.021, 403.031, 403.061, 403.088 FS. Law Implemented 403.021, 403.031, 403.061, 403.087, 403.088 FS. History–New 5-17-72, Formerly 17-4.08, Amended 8-31-88, 3-19-90, Formerly 17-4.080.

62-4.090 Renewals.

Renewals. Prior to 135 days before the expiration of a hazardous waste operation permit, 180 days before the expiration of a hazardous waste closure permit, or sixty days before the expiration of any other Department operation permit except a permit issued pursuant to Chapter 62-213, F.A.C., the permittee shall apply for a renewal of a permit using forms incorporated by reference in the specific rule chapter for that kind of permit. Renewals of permits issued pursuant to Chapter 62-213, F.A.C., shall be processed in accordance with the chapter and not with this rule. A renewal application shall be timely and sufficient. If the application is submitted prior to the days specified above before expiration of the permit, it will be considered timely and sufficient. If the renewal application is submitted at a later date, it will not be considered timely and sufficient unless it is submitted and made complete prior to the expiration of the operation permit. When the application for renewal is timely and sufficient, the existing permit shall remain in effect until the renewal application has been finally acted upon by the Department or, if there is court review of the Department’s final agency action, until a later date is required by Section 120.60, F.S.

Specific Authority 120.60, 403.021, 403.031, 403.061, 403.088 FS. Law Implemented 120.60, 403.021, 403.031, 403.061, 403.087, 403.088 FS. History–New 5-17-72, Formerly 17-4.09, Amended 8-31-88, 3-19-90, 7-11-93, Formerly 17-4.090, Amended 4-18-95, 3-16-08.

62-4.100 Suspension and Revocation.

(1) Permits shall be effective until suspended, revoked, surrendered, or expired and shall be subject to the provisions of Chapter 403, F.S., and rules of the Department.

(2) Failure to comply with pollution control laws and rules shall be grounds for suspension or revocation.

(3) A permit issued pursuant to this chapter shall not become a vested property right in the permittee. The Department may revoke any permit issued by it if it finds that the permit holder or his agent:

(a) Submitted false or inaccurate information in his application or operational reports.

(b) Has violated law, Department orders, rules or permit conditions.

(c) Has failed to submit operational reports or other information required by Department rules.

(d) Has refused lawful inspection under Section 403.091, F.S.

(4) No revocation shall become effective except after notice is served by personal service, certified mail, or newspaper notice pursuant to Section 120.60(5), F.S., upon the person or persons named therein and a hearing held if requested within the time specified in the notice. The notice shall specify the provision of the law, or rule alleged to be violated, or the permit condition or Department order alleged to be violated, and the facts alleged to constitute a violation thereof.

Specific Authority 120.60, 403.061(7) FS. Law Implemented 120.60, 403.021, 403.031, 403.061, 403.087, 403.088 FS. History–Formerly 17-4.07, FAC, New 3-4-70, Revised 5-17-72, Amended 8-7-73, Formerly 17-4.10, Amended 8-31-88, Formerly 17-4.100.

62-4.110 Financial Responsibility.

The Department may require an applicant to submit proof of financial responsibility and may require the applicant to post an appropriate bond to guarantee compliance with the law and Department rules.

Specific Authority 403.061(7) FS. Law Implemented 403.021, 403.031, 403.061, 403.087, 403.088 FS. History–New 5-17-72, Amended 8-7-73, Formerly 17-4.11, Amended 8-31-88, Formerly 17-4.110.

62-4.120 Transfer of Permits.

(1) Within 30 days after the sale or legal transfer of a permitted facility, an “Application for Transfer of Permit” (DEP Form 62-1.201(1)) must be submitted to the Department. This form must be completed with the notarized signatures of both the permittee and the proposed new permittee. For air permits, an “Application for Transfer of Air Permit” (DEP Form 62-210.900(7)) shall be submitted.

(2) The Department shall approve the transfer of a permit unless it determines that the proposed new permittee cannot provide reasonable assurances that conditions of the permit will be met. The determination shall be limited solely to the ability of the new permittee to comply with the conditions of the existing permit, and it shall not concern the adequacy of these permit conditions. If the Department proposes to deny the transfer, it shall provide both the permittee and the proposed new permittee a written objection to such transfer together with notice of a right to request a Chapter 120, F.S., proceeding on such determination.

(3) Within 30 days of receiving a properly completed Application for Transfer of Permit form, the Department shall issue a final determination. The Department may toll the time for making a determination on the transfer by notifying both the permittee and the proposed new permittee that additional information is required to adequately review the transfer request. Such notification shall be served within 30 days of receipt of an Application for Transfer of Permit form, completed pursuant to subsection (1). If the Department fails to take action to approve or deny the transfer within 30 days of receipt of the completed Application for Transfer of Permit form, or within 30 days of receipt of the last item of timely requested additional information, the transfer shall be deemed approved.

(4) The permittee is encouraged to apply for a permit transfer prior to the sale or legal transfer of a permitted facility. However, the transfer shall not be effective prior to the sale or legal transfer.

(5) Until this transfer is approved by the Department, the permittee and any other person constructing, operating, or maintaining the permitted facility shall be liable for compliance with the terms of the permit. The permittee transferring the permit shall remain liable for corrective actions that may be required as a result of any violations occurring prior to the sale or legal transfer of the facility.

Specific Authority 403.021, 403.031, 403.061, 403.088 FS. Law Implemented 403.021, 403.031, 403.061, 403.087, 403.088 FS. History–New 3-4-70, Revised 5-17-72, Formerly 17-4.12, Amended 3-19-90, Formerly 17-4.120, Amended 4-16-01.

62-4.130 Plant Operation - Problems.

If the permittee is temporarily unable to comply with any of the conditions of the permit due to breakdown of equipment or destruction by hazard of fire, wind or by other cause, the permittee shall immediately notify the Department. Notification shall include pertinent information as to the cause of the problem, and what steps are being taken to correct the problem and to prevent its recurrence, and where applicable, the owner’s intent toward reconstruction of destroyed facilities. Such notification does not release the permittee from any liability for failure to comply with Department rules.

Specific Authority 403.021, 403.031, 403.061, 403.088 FS. Law Implemented 403.021, 403.031, 403.061, 403.087, 403.088 FS. History–New 3-4-70, Revised 5-17-72, Formerly 17-4.13, Amended 8-31-88, Formerly 17-4.130.

62-4.150 Review.

Failure to request a hearing within 14 days of receipt of notice of proposed or final agency action on a permit application or as otherwise required in Chapter 62-103, F.A.C., shall be deemed a waiver of the right to an administrative hearing.

Specific Authority 403.021, 403.031, 403.061, 403.088 FS. Law Implemented 403.021, 403.031, 403.061, 403.087, 403.088 FS. History–New 5-17-72, Formerly 17-4.15, Amended 8-31-88, Formerly 17-4.150.

62-4.160 Permit Conditions.

All permits issued by the Department shall include the following general conditions:

(1) The terms, conditions, requirements, limitations and restrictions set forth in this permit, are “permit conditions” and are binding and enforceable pursuant to Sections 403.141, 403.727, or 403.859 through 403.861, F.S. The permittee is placed on notice that the Department will review this permit periodically and may initiate enforcement action for any violation of these conditions.

(2) This permit is valid only for the specific processes and operations applied for and indicated in the approved drawings or exhibits. Any unauthorized deviation from the approved drawings, exhibits, specifications, or conditions of this permit may constitute grounds for revocation and enforcement action by the Department.

(3) As provided in subsections 403.987(6) and 403.722(5), F.S., the issuance of this permit does not convey any vested rights or any exclusive privileges. Neither does it authorize any injury to public or private property or any invasion of personal rights, nor any infringement of federal, state, or local laws or regulations. This permit is not a waiver of or approval of any other department permit that may be required for other aspects of the total project which are not addressed in this permit.

(4) This permit conveys no title to land or water, does not constitute State recognition or acknowledgment of title, and not constitute authority for the use of submerged lands unless herein provided and the necessary title or leasehold interests have been obtained from the State. Only the Trustees of the Internal Improvement Trust Fund may express State opinion as to title.

(5) This permit does not relieve the permittee from liability for harm or injury to human health or welfare, animal, or plant life, or property caused by the construction or operation of this permitted source, or from penalties therefore; nor does it allow the permittee to cause pollution in contravention of Florida Statutes and Department rules, unless specifically authorized by an order from the Department.

(6) The permittee shall properly operate and maintain the facility and systems of treatment and control (and related appurtenances) that are installed and used by the permittee to achieve compliance with the conditions of this permit, as required by Department rules. This provision includes the operation of backup or auxiliary facilities or similar systems when necessary to achieve compliance with the conditions of the permit and when required by Department rules.

(7) The permittee, by accepting this permit, specifically agrees to allow authorized Department personnel, upon presentation of credentials or other documents as may be required by law and at reasonable times, access to the premises where the permitted activity is located or conducted to:

(a) Have access to and copy any records that must be kept under conditions of the permit;

(b) Inspect the facility, equipment, practices, or operations regulated or required under this permit; and

(c) Sample or monitor any substances or parameters at any location reasonably necessary to assure compliance with this permit or Department rules.

Reasonable time may depend on the nature of the concern being investigated.

(8) If, for any reason, the permittee does not comply with or will be unable to comply with any condition or limitation specified in this permit, the permittee shall immediately provide the Department with the following information:

(a) A description of and cause of noncompliance; and

(b) The period of noncompliance, including dates and times; or, if not corrected, the anticipated time the noncompliance is expected to continue, and steps being taken to reduce, eliminate, and prevent recurrence of the noncompliance. The permittee shall be responsible for any and all damages which may result and may be subject to enforcement action by the Department for penalties or for revocation of this permit.

(9) In accepting this permit, the permittee understands and agrees that all records, notes, monitoring data and other information relating to the construction or operation of this permitted source which are submitted to the Department may be used by the Department as evidence in any enforcement case involving the permitted source arising under the Florida Statutes or Department rules, except where such use is prescribed by Sections 403.111 and 403.73, F.S. Such evidence shall only be used to the extent it is consistent with the Florida Rules of Civil Procedure and appropriate evidentiary rules.

(10) The permittee agrees to comply with changes in Department rules and Florida Statutes after a reasonable time for compliance; provided, however, the permittee does not waive any other rights granted by Florida Statutes or Department rules. A reasonable time for compliance with a new or amended surface water quality standard, other than those standards addressed in Rule 62-302.500, F.A.C., shall include a reasonable time to obtain or be denied a mixing zone for the new or amended standard.

(11) This permit is transferable only upon Department approval in accordance with Rules 62-4.120 and 62-730.300, F.A.C., as applicable. The permittee shall be liable for any non-compliance of the permitted activity until the transfer is approved by the Department.

(12) This permit or a copy thereof shall be kept at the work site of the permitted activity.

(13) This permit also constitutes:

(a) Determination of Best Available Control Technology (BACT)

(b) Determination of Prevention of Significant Deterioration (PSD)

(c) Certification of compliance with State Water Quality Standards (Section 401, PL 92-500)

(d) Compliance with New Source Performance Standards

(14) The permittee shall comply with the following:

(a) Upon request, the permittee shall furnish all records and plans required under Department rules. During enforcement actions, the retention period for all records will be extended automatically unless otherwise stipulated by the Department.

(b) The permittee shall hold at the facility or other location designated by this permit records of all monitoring information (including all calibration and maintenance records and all original strip chart recordings for continuous monitoring instrumentation) required by the permit, copies of all reports required by this permit, and records of all data used to complete the application for this permit. These materials shall be retained at least three years from the date of the sample, measurement, report, or application unless otherwise specified by Department rule.

(c) Records of monitoring information shall include:

1. The date, exact place, and time of sampling or measurements;

2. The person responsible for performing the sampling or measurements;

3. The dates analyses were performed;

4. The person responsible for performing the analyses;

5. The analytical techniques or methods used;

6. The results of such analyses.

(15) When requested by the Department, the permittee shall within a reasonable time furnish any information required by law which is needed to determine compliance with the permit. If the permittee becomes aware the relevant facts were not submitted or were incorrect in the permit application or in any report to the Department, such facts or information shall be corrected promptly.

(16) In the case of an underground injection control permit, the following permit conditions also shall apply:

(a) All reports or information required by the Department shall be certified as being true, accurate and complete.

(b) Reports of compliance or noncompliance with, or any progress reports on, requirements contained in any compliance schedule of this permit shall be submitted no later than 14 days following each schedule date.

(c) Notification of any noncompliance which may endanger health or the environment shall be reported verbally to the Department within 24 hours and again within 72 hours, and a final written report provided within two weeks.

1. The verbal reports shall contain any monitoring or other information which indicate that any contaminant may endanger an underground source of drinking water and any noncompliance with a permit condition or malfunction of the injection system which may cause fluid migration into or between underground sources of drinking water.

2. The written submission shall contain a description of and a discussion of the cause of the noncompliance and, if it has not been corrected, the anticipated time the noncompliance is expected to continue, the steps being taken to reduce, eliminate, and prevent recurrence of the noncompliance, and all information required by paragraph 62-528.415(4)(b), F.A.C.

(d) The Department shall be notified at least 180 days before conversion or abandonment of an injection well, unless abandonment within a lesser period of time is necessary to protect waters of the State.

(17) The following conditions also shall apply to a hazardous waste facility permit.

(a) The following reports shall be submitted to the Department:

1. Manifest discrepancy report. If a significant discrepancy in a manifest is discovered, the permittee shall attempt to rectify the discrepancy. If not resolved within 15 days after the waste is received, the permittee shall immediately submit a letter report, including a copy of the manifest, to the Department.

2. Unmanifested waste report. The permittee shall submit an unmanifested waste report to the Department within 15 days of receipt of unmanifested waste.

3. Biennial report. A biennial report covering facility activities during the previous calendar year shall be submitted by March 1 of each even numbered year pursuant to Chapter 62-730, F.A.C.

(b) Notification of any noncompliance which may endanger health or the environment, including the release of any hazardous waste that may endanger public drinking water supplies or the occurrence of a fire or explosion from the facility which could threaten the environment or human health outside the facility, shall be reported verbally to the Department within 24 hours, and a written report shall be provided within 5 days. The verbal report shall include the name, address, I.D. number, and telephone number of the facility, its owner or operator, the name and quantity of materials involved, the extent of any injuries, an assessment of actual or potential hazards, and the estimated quantity and disposition of recovered material. The written submission shall contain:

1. A description and cause of the noncompliance.

2. If not corrected, the expected time of correction, and the steps being taken to reduce, eliminate, and prevent recurrence of the noncompliance.

(c) Reports of compliance or noncompliance with, or any progress reports on, requirements in any compliance schedule shall be submitted no later than 14 days after each schedule date.

(d) All reports or information required by the department by a hazardous waste permittee shall be signed by a person authorized to sign a permit application.

Specific Authority 403.061, 403.087, 403.088 FS. Law Implemented 403.061, 403.087, 403.088 FS. History–New 8-31-88, Amended 10-4-89, 7-11-93, Formerly 17-4.160.

62-4.200 Scope of Part II.

This Part sets forth additional requirements for certain Department permits, exemptions from permitting, requirements for mixing zones and zones of discharge, and related requirements. Except as otherwise provided in the rules adopted by reference under Chapter 62-330 or by Chapter 62-343 or 62-346, F.A.C., this Part shall not apply to activities regulated under Part IV of Chapter 373, F.S. However, this Part shall continue to apply to those activities grandfathered under Sections 373.414(11), (12)(a), (13), (14), (15), (16) and 373.4145(6), F.S.

Specific Authority 373.026, 373.043, 373.044, 373.109, 373.113, 373.4145, 373.418, 403.021, 403.031, 403.061, 403.088 FS. Law Implemented 373.026, 373.044, 373.109, 373.409, 373.413, 373.4135, 373.414(9), (11), (12)(a), (13), (14), (15), (16), 373.4145, 373.418, 403.021, 403.031, 403.061, 403.087, 403.088 FS. History–New 5-17-72, Formerly 17-4.20, Amended 8-31-88, Formerly 17-4.200, Amended 7-4-95, 10-1-07.

62-4.210 Construction Permits.

(1) No person shall construct any installation or facility which will reasonably be expected to be a source of air or water pollution without first applying for and receiving a construction permit from the Department unless exempted by statute or Department rule. In addition to the requirements of Part I of this chapter, applicants for a Department Construction Permit shall submit the following as applicable:

(a) A completed application on forms furnished by the Department.

(b) An engineering report covering:

1. Plant description and operations,

2. Types and quantities of all waste material to be generated whether liquid, gaseous or solid,

3. Proposed waste control facilities,

4. The treatment objectives,

5. The design criteria on which the control facilities are based, and

6. Other information deemed relevant.

Design criteria submitted pursuant to subparagraph 5. shall be based on the results of laboratory and pilot-plant scale studies whenever such studies are warranted. The design efficiencies of the proposed waste treatment facilities and the quantities and types of pollutants in the treated effluents or emissions shall be indicated. Work of this nature shall be subject to the requirements of Chapter 471, F.S. Where confidential records are involved, certain information may be kept confidential pursuant to Section 403.111, F.S.

(c) The owners’ written guarantee to meet the design criteria as accepted by the Department and to abide by Chapter 403, F.S., and the rules of the Department as to the quantities and types of materials to be discharged from the installation. The owner may be required to post an appropriate bond or other equivalent evidence of financial responsibility to guarantee compliance with such conditions in instances where the owner’s financial resources are inadequate or proposed control facilities are experimental in nature.

(2) The construction permit may contain conditions and an expiration date as determined by the Secretary or his designee.

(3) When the Department issues a permit to construct, the permittee shall be allowed a period of time, specified in the permit, to construct, and to operate and test to determine compliance with Chapter 403, F.S., and the rules of the Department and, where applicable, to apply for and receive an operation permit. The Department may require tests and evaluations of the treatment facilities by the permittee at his expense.

Specific Authority 403.021, 403.031, 403.061, 403.088 FS. Law Implemented 403.021, 403.031, 403.061, 403.087, 403.088 FS. History–New 5-17-72, Formerly 17-4.21, Amended 8-31-88, Formerly 17-4.210.

62-4.220 Operation Permit for New Sources.

In addition to the provisions of Parts I and II of this chapter, to properly apply for an operation permit for new sources the applicant shall submit the appropriate fee and certification that construction was completed, noting any deviations from the conditions in the construction permit and test results where appropriate.

Specific Authority 403.021, 403.031, 403.061, 403.088 FS. Law Implemented 403.021, 403.031, 403.061, 403.087, 403.088 FS. History–Formerly 17-4.05, New 3-4-70, Revised 5-17-72, Formerly 17-4.22, Amended 8-31-88, Formerly 17-4.220.

62-4.249 Preservation of Rights.

In the event any of the moderating provisions described in paragraph 62-3.011(18)(b), F.A.C., are declared invalid by a court of competent jurisdiction or a hearing officer pursuant to Section 120.56, F.S., then the Environmental Regulation Commission shall, at the earliest opportunity, reconsider the affected provisions and all other relevant portions of this rule to determine if alternative provisions should be adopted in order to resolve issues resulting from such decision or action and to assure that the intent expressed in subsection 62-3.011(18), F.A.C., is fully implemented.

Specific Authority 403.061, 403.062, 403.087, 403.504, 403.704, 403.804, 403.805 FS. Law Implemented 403.021, 403.061, 403.087, 403.088, 403.091, 403.101, 403.121, 403.141, 403.161, 403.182, 403.502, 403.702, 402.708 FS. History–New 3-1-79, Amended 8-31-88, Formerly 17-4.249.

62-4.510 Scope of Part III.

This Part defines general permits and establishes the procedures for persons who may wish to use a general permit, except that the procedures for any person who may wish to use a general permit for a source of air pollutant emissions, and all conditions of such a general permit, are established at Chapters 62-210 and 62-213, F.A.C. The provisions of this Part shall not apply to activities regulated under Part IV of Chapter 373, F.S. However, this Part shall continue to apply to those activities grandfathered under Sections 373.414(11), (12)(a), (13), (14), (15), (16) and 373.4145(6), F.S.

Specific Authority 373.026, 373.043, 373.044, 373.109, 373.113, 373.4145, 373.418, 403.021, 403.031, 403.061, 403.087, 403.814(1) FS. Law Implemented 373.026, 373.044, 373.109, 373.409, 373.413, 373.4135, 373.414(9), (11), (12)(a), (13), (14), (15), (16), 373.4145, 373.418, 403.021, 403.031, 403.061, 403.087, 403.088, 403.814, 403.702-.73, 403.851-.864 FS. History–New 7-8-82, Formerly 17-4.51, Amended 8-31-88, Formerly 17-4.510, Amended 4-18-95, 7-4-95, 10-16-95, 4-16-01, 10-1-07.

62-4.520 Definition.

A general permit is a permit issued by rule of the Department pursuant to Section 403.814, F.S., which authorizes persons to undertake certain activities which cause minimal adverse environmental impact when performed in accordance with specific requirements and practices set forth in the general permit. A general permit also constitutes water quality certification pursuant to Section 401, Public Law 92-500, 33 USC Section 1341, for the activity described in the general permit when the activity is performed in accordance with all applicable rules of the Department.

Specific Authority 403.814 FS. Law Implemented 403.061, 403.087, 403.088, 403.814, 403.702-.73, 403.851-.864, 403.91-.938 FS. History–New 7-8-82, Formerly 17-4.52, Amended 8-31-88, 7-11-90, Formerly 17-4.520.

62-4.530 Procedures.

(1) Persons wishing to use one or more of the general permits set forth in the Department’s rules shall, at least 30 days before beginning any work, notify the Department in writing or on forms adopted by the department. They shall describe the proposed project, and include supporting documents depicting the proposed project, its location, and other pertinent information as required by rule to demonstrate that they qualify for the requested general permit. Persons wishing to use a general permit shall notify the appropriate office of the Department in writing. Persons wishing to use a general permit are hereby placed on notice that projects undertaken without proof of notice to the Department shall be considered as being undertaken without a permit and shall be subject to enforcement pursuant to Section 403.161, F.S.

(2) A proposed project which may be reasonably expected to violate air quality standards, water quality standards, or drinking water standards or which will not meet the public interest requirements set forth in Chapter 403, F.S., shall not be entitled to use of a general permit.

(3) Pursuant to Section 258.397, F.S., no project which is located in the Biscayne Bay Aquatic Preserve is eligible for a general permit.

(4) Suspension or revocation of the use of a general permit shall be in accordance with Chapter 120, F.S. Good cause for the suspension or revocation shall include:

(a) Submission of false or inaccurate information in the notification for use of a general permit or in the required reports;

(b) Violation of law, Department orders, rules or permit conditions;

(c) Refusal of lawful inspection under Section 403.091, F.S.; or

(d) Any other act on the part of the permittee in the use of the general permit which results or may result in harm or injury to human health or welfare, or which causes harm or injury to animal, plant or aquatic life, or to property.

(5) Unless otherwise required as part of a specific category of general permit, persons qualifying for the use of a general permit are not required to, but may, publish in a newspaper of general circulation in the area affected by the proposed project a notice of intent to use a general permit. The notice, if published, shall follow substantially the format in Rule 62-103.150, F.A.C., and shall be published within 14 days of the date when the department receives notification pursuant to subsection 62-4.530(1), F.A.C. No person who has published notice shall begin work until after the 21 days for requesting a hearing has passed or a hearing is held and a decision is rendered.

(6) Any person complying with the requirements of a general permit may use the permit 30 days after giving notice to the Department without any agency action. When no agency action is taken, unless the Department or the applicant publishes notice of the application, the provisions of Chapter 120, F.S., granting to affected parties the right to an administrative hearing do not apply.

Specific Authority 403.814(1) FS. Law Implemented 258.397, 403.061, 403.087, 403.088, 403.702-.73, 403.814, 403.851-.864 FS. History–New 7-8-82, Amended 6-16-84, Formerly 17-4.53, Amended 8-31-88, 3-19-90, Formerly 17-4.530.

62-4.530 Procedures.

(1) Persons wishing to use one or more of the general permits set forth in the Department’s rules shall, at least 30 days before beginning any work, notify the Department in writing or on forms adopted by the department. They shall describe the proposed project, and include supporting documents depicting the proposed project, its location, and other pertinent information as required by rule to demonstrate that they qualify for the requested general permit. Persons wishing to use a general permit shall notify the appropriate office of the Department in writing. Persons wishing to use a general permit are hereby placed on notice that projects undertaken without proof of notice to the Department shall be considered as being undertaken without a permit and shall be subject to enforcement pursuant to Section 403.161, F.S.

(2) A proposed project which may be reasonably expected to violate air quality standards, water quality standards, or drinking water standards or which will not meet the public interest requirements set forth in Chapter 403, F.S., shall not be entitled to use of a general permit.

(3) Pursuant to Section 258.397, F.S., no project which is located in the Biscayne Bay Aquatic Preserve is eligible for a general permit.

(4) Suspension or revocation of the use of a general permit shall be in accordance with Chapter 120, F.S. Good cause for the suspension or revocation shall include:

(a) Submission of false or inaccurate information in the notification for use of a general permit or in the required reports;

(b) Violation of law, Department orders, rules or permit conditions;

(c) Refusal of lawful inspection under Section 403.091, F.S.; or

(d) Any other act on the part of the permittee in the use of the general permit which results or may result in harm or injury to human health or welfare, or which causes harm or injury to animal, plant or aquatic life, or to property.

(5) Unless otherwise required as part of a specific category of general permit, persons qualifying for the use of a general permit are not required to, but may, publish in a newspaper of general circulation in the area affected by the proposed project a notice of intent to use a general permit. The notice, if published, shall follow substantially the format in Rule 62-103.150, F.A.C., and shall be published within 14 days of the date when the department receives notification pursuant to subsection 62-4.530(1), F.A.C. No person who has published notice shall begin work until after the 21 days for requesting a hearing has passed or a hearing is held and a decision is rendered.

(6) Any person complying with the requirements of a general permit may use the permit 30 days after giving notice to the Department without any agency action. When no agency action is taken, unless the Department or the applicant publishes notice of the application, the provisions of Chapter 120, F.S., granting to affected parties the right to an administrative hearing do not apply.

Specific Authority 403.814(1) FS. Law Implemented 258.397, 403.061, 403.087, 403.088, 403.702-.73, 403.814, 403.851-.864 FS. History–New 7-8-82, Amended 6-16-84, Formerly 17-4.53, Amended 8-31-88, 3-19-90, Formerly 17-4.530.

62-4.540 General Conditions for All General Permits.

(1) The terms, conditions, requirements, limitations, and restrictions set forth in this Part are “general permit conditions” and are binding upon the permittee. The conditions are enforceable under Chapter 403, F.S.

(2) The general permit is valid only for the specific activity indicated. Any deviation from the specified activity and the conditions for undertaking that activity shall constitute a violation of the permit. The permittee is placed on notice that violation of the permit may result in suspension or revocation of the permittee’s use of the general permit and may cause the Department to begin legal proceedings.

(3) The general permit does not convey any vested rights or any exclusive privileges. It does not authorize any injury to public or private property nor any invasion of personal rights. It does not authorize any infringement of federal, state or local laws or regulations. It does not eliminate the necessity for obtaining any other federal, state or local permits that may be required, or allow the permittee to violate any more stringent standards established by federal or local law.

(4) The general permit does not relieve the permittee from liability and penalties when the construction or operation of the permitted activity causes harm or injury to human health or welfare; causes harm or injury to animal, plant or aquatic life; or causes harm or injury to property. It does not allow the permittee to cause pollution in contravention of Florida Statutes and Department rules.

(5) The general permit conveys no title to land or water, nor does it constitute State recognition or acknowledgment of title. It does not constitute authority for reclamation of submerged lands. Only the Board of Trustees of the Internal Improvement Trust Fund may express State opinion as to title.

(6) No general permit shall authorize the use of state owned land without the prior consent of the Board of Trustees of the Internal Improvement Trust Fund pursuant to Section 253.77, F.S.

(7) The general permit may be modified, suspended or revoked in accordance with Chapter 120, F.S., if the Secretary determines that there has been a violation of any of the terms or conditions of the permit, there has been a violation of state water quality standards or state air quality standards, or the permittee has submitted false, incomplete or inaccurate data or information.

(8) The general permit shall not be transferred to a third party except pursuant to Rule 62-4.120, F.A.C.

(9) The general permit authorizes construction and, where applicable, operation of the permitted facility.

(10) The permittee agrees in using the general permit to make every reasonable effort to conduct the specific activity or construction authorized by the general permit in a manner that will minimize any adverse effects on the adjacent property or on public use of the adjacent property, where applicable, and on the environment, including fish, wildlife, natural resources of the area, water quality or air quality.

(11) The permittee agrees in using the general permit to allow a duly authorized representative of the Department access to the permitted facility or activity at reasonable times to inspect and test upon presentation of credentials or other documents as may be required by law to determine compliance with the permit and the department rules.

(12) The permittee agrees to maintain any permitted facility, or activity in good condition and in accordance with the plans submitted to the department under subsection 62-4.530(1), F.A.C.

(13) A permittee’s use of a general permit is limited to five years. However, the permittee may request continued use of the general permit by notifying the department pursuant to subsection 62-4.530(1), F.A.C. However, the permittee shall give notice of continued use of a general permit thirty days before it expires.

Specific Authority 403.814(1) FS. Law Implemented 253.123, 253.124, 403.061, 403.087, 403.088, 403.702-.73, 403.814, 403.851-.864 FS. History–New 7-8-82, Formerly 17-4.54, Amended 8-31-88, Formerly 17-4.540.