A Preliminary Survey of Iraqi Capabilities for:

ASSESSment of SURFACE WATER QUALITY, IRRIGATION DIVERSIONS AND RETURN SYSTEMS, DRINKING WATER SUPPLY QUALITY AND DISTRIBUTION SYSTEMS, AND SEWAGE TREATMENT

ARAB SCIENCE AND TECHNOLOGY FOUNDATION

Sharjah, U.A.E

P.O. Box 27272

ASSESSment of SURFACE WATER QUALITY, IRRIGATION DIVERSIONS AND RETURN SYSTEMS, DRINKING WATER SUPPLY QUALITY AND DISTRIBUTION SYSTEMS, AND SEWAGE TREATMENT

PROJECT SUMMARY

PART ONE:

EXISTING EUPHRATES AND TIGRIS RIVERS MONITORING STATIONS AND THEIR MONITORING CAPABILITIES

1- Dr. Ala'a Hussain Al-Shami

Manager of the Hydrological Studies Center / MoWR

Professional Experience: 35 Years

Technical Subjects:

Water resources development – River engineering, Irrigation, Reservoirs operation – Water balance - Hydraulic works and modeling.

2- Dr. Furat Ahmed Al-Faraj

Deputy Manager of the hydrological studies center /MoWR

Professional Experience: 25 Years

Technical Subjects:

Water resources management – River engineering and hydraulic analysis, Irrigation, Reservoirs operation – Water harvesting – Water balance.

The Availability of Previous Data

The project covers 105 existing stream gauging sites on dams, barrages, regulator, major rivers, tributaries, lakes and canals located in the north, center and south of Iraq.

The study identifies the performance of the existing monitoring stations capabilities and evaluates the existing river monitoring system.

Analysis of historical data and field visitations remarks and notes are carried out to explore and assess their hydrological measurements capabilities. These sites cover the following:

Dams ( U.S. and D.S. ) , barrages ( U.S. and D.S. ) , regulators , and some main sites on Euphrates , Tigris and its tributaries  .

The exploration and assessment are carried out based on the performance of these sites to cover:

- Water level measurements (manual and / or automatic).

- Cableways for manual discharge measurements.

- Sampling for water quality and sediments.

Descriptions Conditions & of Existing Physical Infrastructure:

Field visits and investigations show that there is no functional water monitoring network existing at most sites.

The field visits were done to identify the following:

- Exploration of the hydrological monitoring system.

- Assessment of how well the system work.

- System performance to cover the required hydrological data to operate and control the dams, reservoirs, barrages, regulators and canals in flood and dry seasons.

Many visits were carried out during July 2004 .The visits covered some sites in the center and south of Iraq. These are manual and automatic staff gages and discharge sites at North Baghdad, Sarai Baghdad, Kut barrage, Ammara city, Ali El-Gharbi regulator and Kala'at saleh regulator on the Tigris River.

The study shows that the water control capability in Iraq are severely degraded by the war and the existing stream gauges have been operated sporadically and may have been lost , looted or neglected .

Human Resources Available For Maintaining, and Managing Data and Physical Infrastructure:

Capacity building of institution and human recourses is a key element of formulating a water resources management strategy. Ministry of water resources established a directorate general of water resources management and this office consists of 5 centers which are dealing with water resources management and are named below:

- Hydrological studies center.

- Ground water studies center.

- GIS   center.

- Water control and operation center.

- Environmental studies center.

These centers need to be supported and reinforced by equipment, laboratory, software, training courses, and workshops to upgrade their capabilities to achieve the efficient water resources management.

Staff of the Ministry of Water Resources and Ministry of Agriculture is capable of operating dams, regulators and barrages, gates and weirs, pumping stations, and irrigation projects.

The Time and Financial Resources Required For Repairs:

It is assumed two years approximately planning period for the entire project to be implemented. The goal at the end of this period is to achieve the basic requirements for the hydrological monitoring network.

The future physical and human additions to systems required for modernization and improvement can be summarized as follows:

- Technical and institutional capacity building to support managerial capacity of experts, senior staffs, and decision makers to formulate the national water master plan for sustainable water use and the long term water security of the country .

- Improving staff capabilities and skills through short and long term training courses.

- Early installed of the previous snow stations in Northern Iraq and provide them with new measurements equipments.

- Improving the performance of the monitoring system.

- Create a coherent national system of the hydrometric data transmission.

- These improvements can be achieved through short and long term training programs including training courses, workshops, exchange information with neighbors’ states and utilization of new simple technologies

The future priorities should take the following into consideration:

- Immediate restoration 23 stations shown in table 1.6 (first priority) and put into efficient operational status early.

- Design observation and monitoring network for long term operation.

- Snow stations in the northern Iraq should be reinstalled early and provide with snow equipment measurements.

- Transboundary water issues on Tigris and Euphrates rivers with the neighbors states (Turkey, Syria, and Iran )

However, it is hard for the time being to make an estimate of the total cost required. Local companies and technician staff are capable of doing the job.

Human Resources Required For Full Operations:

| No. | Specialization | Qualifications and experience | Required NO | Period of Work |
| --- | --- | --- | --- | --- |
| 1 | International Hydrologist | University degree in Hydrology or Water resources with an experience of at least 10 years in Hydrology with particular reference to the establishment of hydrological networks. | 1 | 1 |
| 2 | National Team leader | University degree in Hydrology or Water resources with an experience of at least 10 years. | 3 | 2 |
| 3 | Deputy National Team leader | University degree in Hydrology or Water resources with an experience of at least 10 years. | 3 | 3 |
| 4 | National Hydrologists | University degree in Hydrology with a minimum of 5 years of professional experience. | 6 | 4 |
| 5 | National Hydraulic Engineer | University degree in Hydraulic Engineering with at least 5 years of professional experience. | 3 | 5 |
| 6 | National civil Engineer | University degree in civil Engineering with at least 5 years of professional experience. | 3 | 6 |
| 7 | National Mechanical Engineer | University degree in Mechanical Engineering with at least 5 years of professional experience. | 3 | 7 |
| 8 | National Electronic and Electric Engineer | University degree in Electric Engineering with at least 5 years of professional experience. | 3 | 8 |
| 9 | National Surveying Engineer | University degree in Surveying Engineering with at least 5 years of professional experience. | 3 | 18 months |
| 10 | National computer operator | University degree in computer science with at least 5 years of professional experience. | 5 | 2 years |
| 11 | Skilled Tech. | At least 5 years of professional experience in installation and operation of equipment. | 6 | 18 months |

An Assessment of Future Physical and Human Additions to Systems Required For Modernization and Improvement:

The study named 23 existing gauging stations and proposed them to represent the first priority phase for the immediate restoration.

The importance of this study is clearly indicated by the importance role of real – time river monitoring stations and forecasting system for national water allocation, water control operations, optimization of reservoir operation, irrigation and drought contingency planning as well as water availability forecasting.

# PART TWO:

# IRRIGATION DIVERSIONS AND RETURN SYSTEMS IN IRAQ

Project Team (Parts 2, 3, and 4):

- Prof. Dr. Mukdad Hussein Ali AL-JABBARI   (PI)

Ph.D. in Water Resources Analysis and Environment (Dundee University 1978, UK), College of Science, University of Baghdad. Expert in managing water resources projects. Published 140 scientific papers in Iraqi, Arab, and International Journals. Manager of more than 50 scientific projects dealing with water, environmental problems, water quality and pollution. Supervised of 30 MSc. and Ph.D  theses. His involvement in the project was in leading and coordinating work of Co’s-PI and other staff of the project and sharing member team in preparing the final report.

- Prof. Dr. Ahmed Hayder AL-ZUBAIDI   (Co-PI)

Ph. D. in Soil Chemistry (University of Moscow). Dean, College of Agriculture, University of Baghdad. Expert, Soil salinization and desalinization, and water quality. He has been involved in many national programs deal with agricultural problems as well as graduate studies. Published 103 scientific papers and 5 text books. Supervised of 21 MSc. and 9 PhD. theses. His involvement in the project was on review available data, analysis data, sharing groups in the study tours, and preparing of final report.

- Dr. Ali Abid FAHAD   (Co-PI)

Ph.D. in Soil Physics and Water Management (University of Nebraska, USA). Head, Center of Soil and Water Resources, Ministry of Science and Technology. Chief Researcher. Expert, Soil and Water Resources. He has been involved in several master projects on national and international levels deal with fate, dispersion, and transport of contaminants from different sources (fallout radionuclides, chemicals) in soil and water body and use of saline water for irrigation. Published 80 papers in referred journals and nearly 50 internal major and technical reports. Top Scientists Award for Iraqi Scientist Competition for 2001 and 2002. Awarded Arab Organization Award for outstanding research in field of water use efficiency 2002. His involvement in the project was on review available data, analysis data, sharing groups in the study tours, and preparing the final report.

- Prof. Dr. Moutaz Abdul Sattar AL-DABBAS   (Co-PI)

PhD. in Hydrochemistry & Environment pollution (Dundee University, UK1980), Science College, University of Baghdad. Expert in project field management, surveying water hydrochemical analysis and the interrelation between groundwater and surface water. Field manager of Sawfan-Zubair groundwater project 1987-1989. Expert, FAO program on the rural Development of Alahwar Region 1987-1998 as a joint project with Iraqi Scientific Council. Supervised of 18 Msc. and Ph.D. students. Published of 60 papers in referred journals, 18 interrnal reports, and 2 books. His involvement in the project was on review available data, analysis data, sharing groups in the study tours, and preparing of final report.

Source of Data and its Medium:

The main source of data for dams, regulators, barrages, and drainage systems are the Ministry of Water Resources. The source of data on irrigation projects is the Ministry of Planning. Information regarding the characteristics of drainage water discharges into the Tigris and Euphrates and of the Main Drain is internal reports of Ministry of Water Resources, thesis, and published papers. In general, the data available on this part of the Water Project is in hard copies.

Descriptions and Conditions of Existing Physical Infrastructure:

Dams: The construction of large dams and water regulation systems was a major component of an active water development scheme planned on Tigris and Euphrates Rivers in Iraq. The goal of this scheme was to provide economic development within the country through control and manage of water flow in diversions during seasons and generate large-scale irrigation projects and electricity. Several huge dams and water reservoirs have been constructed on the Euphrates and Tigris and its tributaries, while others still under construction. The on-river dams constructed on the Tigris and its tributaries include: Dokan on the lesser Zab, Darbandikhan and Hemrin on the Diyala River, Mosul, and Badoosh on the Tigris River, Bukhma on the Great Zab River, and Adhaim on the Adhaim River. (Work on the proposed dam on the Great Zab River at Bakhma has stoppedfor the present situation). The dams on the Euphrates include Haditha and Baghdadi.

Two-off rivers storage lakes have been created with the construction of the Tharthar dam (85.6 Bm3) in the Tigris river basin which is  filled with the Wadi Tharthar waters, and the Habbaniya dam (3.27 Bm3) which is filled from the  Euphrates waters and which is drains again into the Euphrates down stream.

The total on- and off-river storage capacity for the Tigris will amount to  127 Bm3, of which 77.1 Bm3 are active storage. The total on the Euphrates are 12.07 Bm3 with 11.18 Bm3 as active storage. Most of the constructed dams are rock fill type and include: Darbandikhan, Hemrin, Mosul, Bakhma, Adhaim, and Baghdadi. Others are earth embankment and include Dohok and Haditha. The Dokan dam is a concrete type. The constructed dams were designed to capture flow waters, regulate flow into diversions, and generate electricity.

Numerous earth dams had been constructed in the west desert since 1973. Their storage capacity varied from 0.3 Mm3 (Sary) to 32 Mm3 (Rutba) with catchments areas of 1,000 and 3,000 km2, respectively. Many small dams have been constructed on the mouth of wades. However, it was estimated that the volume of water collected by water harvesting dams at nearly 870 Mm3 annually.

Barrages: The water of the Tigris and Euphrates rivers is regulated by means of dams, reservoirs, and barrages. Numerous barrages have been installed on the Tigris and Euphrates and elaborate network of canals to permit irrigation of the alluvial plains between the two rivers. Two main barrages systems are currently operating on the Tigris River; the Sammara Barrage System and Kut Barrage System. The Sammarra Barrage System regulates flow by the following six barrages: Sammarra, Tharthar Inlet, Ishaki, Tharthar Lake, Takseem, and Tharthar Tigris Inlet. The Kut Barrage System includes three main barrages: Kut, Main Gharraf and Dijail. On the Main Gharraf, five regulators were installed downstream the Gharraf River. Similarly, three regulators were installed on the Dijail Barrage. Design discharge of the barrages on the Tigris River ranged from 80 - 9,000 m3/s. The oldest barrages were the Kut and Garraf constructed in 1939 and recent ones were the Tharthar-Tigris Inlet and Takseem constructed in 1987.

Three main barrages were constructed on the Euphrates River: Ramadi Barrage System, Falluja Barrage System, and Hindiya Barrage System.. The first one includes the barrages of Ramadi, Warrar, Dubban and Mujurrah with design discharge ranged from 850 - 3,000 m3/s. The second includes the barrages of Falluja, Falluja-Iskandariya, Sedimentation Basin, and Falluja-Iskandariya Canal. The design discharge of Falluja Barrage System ranged from 8.7- 3,600 m3/s. The third main barrage on the Euphrates River is the Hindiya Barrage System which includes five barrages of new Hindiya, Shatt Alhilla, New Husayniya, Beni-Hasan and Kifil. Their design discharge ranged from 36 and 2,500 m3/s. All these barrages were constructed in 1989. Besides the barrages constructed on the Tigris and Euphrates Rivers. There are barrages constructed on the tributaries of the Tigris River and include barrages installed on the Diyala and Lesser Zab. The Diyala Barrage System on the Diyala River includes six barrages with design discharge ranged from 1 - 2,550 m3/s. On the other hand, the Dibis Barrage System on the lesser Zab River includes two barrages with design discharge ranged from 278- 4,000 m3/s.

Irrigation Projects: Many irrigation projects were set up in Iraq during the last decades to meet the growing need of water for agricultural production. The design and construction of most projects were made by foreign companies. However, the work on consulting engineering services was mostly carried out under the supervision and guidance of governmental staff. Some of the constructed projects were associated with drainage systems and supplied with the requirements of irrigation, drainage, disposal of drainage water and maintenance machinery.

An overview of the projects indicates that there are big projects with total cultivated areas of 147,050 ha (Amara Irrigation, Meesan Governorate) and 290 225 ha (Kirkuk Irrigation, Taamim Governorate). On the other hand, there are small projects with total cultivated areas of 175 ha (Hummayra, Ninawa Governorate) and 278 ha (Abu-Mnaiseer, Anbar Governorate).

The total cultivated and reclaimed areas for the Tigris and Euphrates rivers basins is estimated at 3,998,820 ha, all of it being equipped for full or partial control of irrigation. At the same time, only 700,319 ha of the total cultivated are reclaimed (under some sort of drainage). However, it should be noted that all these areas are not actually irrigated, since part of them have been abandoned due to water logging and salinity. Precise data on such abandoned areas are not available.

The currently available irrigation projects are equipped with pumping stations required for water lifting to deliver irrigation water into canals and channels. Total number of pumping stations is 115 equipped with 501 pumps varied in capacity between 0.05 and 30 m3 /s.

Several irrigation projects have been planned aim at improving the economic and social welfare of farmers. Feasibility studies of these projects are available. However, because of lacking funds and some other reasons, these projects remained either none constructed or in the early stage of construction.

Data on the projects irrigated by either drip or sprinkler irrigation systems managed by the government are divided into projects initiated before 2000 and those after 2000. For the projects initiated before 2000, most of them are small (3 to 500 ha) with the exception of two projects: Kirkuk, Taamim Governorate (7,500 ha) and north Jazirah, Ninawa Governorate (42,500 ha). The latter has been established in late eighties of the past century as supplementary irrigation in rain fed area of the northern part of the country. The project included the construction of net of concrete lined irrigation channels and flumes and supplied with movable lateral sprinkler irrigation system. The operation of the systems encountered some technical difficulties after 1990 because of lacking maintenance and spare parts due to sanction.

A national program on the “Development of Irrigation Technology” has been initiated in 2000 for modernization of agriculture. The project is based on the supplying of sprinkler systems on subsidized prices to farmers and providing other agricultural inputs. Farmers in seven governorates got the benefit of the project where 6,444 units of sprinkler systems (center pivot and permanent) have distributed to cover 10,078 ha during 2000-2002. The major crops were wheat, corn, cotton and sunflower and the source of irrigation water was river (Tigris or Diyala) or wells.

Drainage Systems: Salinity has always been a major issue in irrigated lands of Iraq and recorded as a cause of crop yield reductions. Estimation has shown that 4% of the irrigated areas are severely saline, 50% medium saline and 20% slightly saline, i.e., a total of 74% of the irrigated areas suffered from some degree of salinity. To cope with the problem of salinity in central and southern Iraq, installation of open and field drains has been undertaken. By 1989, a total of nearly 700,000 ha had been covered by the drainage systems. The constructed drains were designed to convey their flow into the Tigris and Euphrates Rivers. This situation resulted in reduce quality of fresh water and further in deterioration of river water in some locations. One among solutions to improve the quality of rivers water and reduced salinity of agricultural land was the construction of the Main Outfall Drain between the Tigris and Euphrates.

Numerous drains were constructed to deliver saline drainage waters into the Tigris River and its tributaries. However, most of the drains connected to the tributaries were insignificant in terms of discharge magnitude and salinity. There are currently five main drains discharged into the right bank and eleven into the left bank of the Tigris River.  On the other hand, there are 16 main drains on the Euphrates River, of which 13 drains are discharged water into the river by pumps and the remaining 3 by gravity. In addition to the 16 main drains, there are small drains, which they serve areas adjacent to the river.

Based on discharge rate and salinity of the drains and their impact on the Euphrates River, these drains are grouped into two, Low and High Discharge Drains (LDD, HDD). It is evident that all the drains on the north and middle parts of the Euphrates River are grouped as LDD where the discharge rates ranged between 1.5 and 12 m3/s. On the other hand, the three drains of High Discharge are on the south part of the river with discharge rates between 18 and 57 m3/s. The grand mean of the HDD was order of magnitude greater than the LDD. The values of the TDS for the two groups are comparable. It is believed that the point where the three drains (Khasaf, West Shamiya and East Shamiya) are discharged into the river is the inflection point of major change in quality of river water downstream.

In simple calculation, the total amounts of drainage water pumped into the Tigris and Euphrates Rivers are nearly 10.2 Bm3 annually. The number of pumping stations is 55 include 212 pumps varied in discharge rates between 2.8 and 48.9 m3/s with a total discharge of 322.2 m3/s. At the present time the condition of most pumps is bad and the repair is required. Similarly, the total amounts of drainage water flow into the Euphrates River from the gravity drains (Khasaf, West Shamiya and East Shamiya) are nearly 1.2 Bill m3 annually.

The largest single project, the Main Outfall Drain, was first suggested in 1951. But, the entire project was not completed until December 1992. The huge drain nearly 565 km in length, runs south from the end of Ishaki Drain near Baghdad down the right side of Dalmaj Lake. It continues down the right bank of the Shatt Al Gharraf and crosses the Euphrates via an inverted huge siphon beneath the river bed just east of Nassiriya. It then skirts round the southwestern edge of Hour Al Hammar, crosses the southeast corner of the Hour Al Hammara, and finally joins up with the Shatt Al Basra canal (man-made canal) which links the southeast corner of Haur Al Hammara to the head of the Gulf via Khawr Abdulla. The following drains sequentially join its watercourse: Abu Ghraib, Radwaniya, Yosifiya, Mahmodiya, Latifiya and Great Musayab. At the end of Great Musayab Drain, the drains Dalmaj Project Drain, and Al Gharraf Drain join the Main Drain. The current discharge at the siphon is less than 200 m3/s and salinity 5000-7000 mg/L.

The existing irrigation canals and farm channels, open drains, gates and weirs in the country are suffering from serious problems. Most of the water transporting system is very old and based on earth canal with great deal of seepage. The lined ones and the flumes are limited in number and length and found only in some projects. At the same time, many of them are concrete failure canals. Similarly, most of the open drains are no exception and suffer from weeds and lack maintenance.

Visited sites:

The existing irrigation canals and farm channels, open drains, gates and weirs in the country are suffering from serious problems. Most of the water transporting system is very old and based on earth canal with great deal of seepage. The lined ones and the flumes are limited in number and length and found only in some projects. At the same time, many of them are concrete failure canals. Similarly, most of the open drains are no exception and suffer from weeds and lack of maintenance.

The pictures caption presented in the report are only examples and have been taken from irrigated areas near Yossifiya (30 km southwest Baghdad) and Abu-Ghraib (25 km west Baghdad). Similar deterioration in the irrigation canals, drains, failure concrete canals, destructed weirs and gates are found in many places in the country. Therefore, the presented picture captions reflect a common situation in the irrigation projects distributed all over the country. Because of security reason at present time, it is hard to make visits far and deep in the country side.

Time and Financial Resources Required for Repair

Most of the irrigation areas suffer from water logging and salinization due to failing drainage pumps, frequent power cuts and breakdown in the irrigation systems. Problems are compounded further by looting and lack of replacement and maintenance. There should be an emergency needs for repair and rehabilitation programs to solve small-scale problems in big irrigation projects as well as small farms. This short term requirements (emergency) include repair and maintenance of:

- Irrigation pumping stations,

- Diversion structure,

- Lined and flumes irrigation canals,

- Earth canals,

- Weirs,

- Drainage pumping stations,

- Open and field drains.

It is expected that one-year program is sufficient to deal with repair and maintenance. However, it is hard for the time being to make an estimate of the total cost required. Local companies and technician staff are capable of doing the job.

Human Resources Available for Maintaining and Managing Data and Physical Infrastructure:

Staff of the Ministry of Water Resources is in charge of water resources development, irrigation and drainage development, as well as its operation and maintenance. The major functions are to assess water requirements and resources, control running water, reservoirs, wetland and marshes, underground water, operation of dams, canals and drainage systems, soil conservation, classification, land evaluation and use. The Ministry is executing most of the water resources development projects with the assistance of a number of state companies. At the present time staff of the Ministry of Agricultural has been involved in drilling irrigation wells and operating and consulting of modern irrigation systems under the umbrella of national program.

Human Resources Required for Full Operation:

Staffs of the Ministry of Water Resources and Ministry of Agriculture are capable of operating dams, regulators and barrages, gates and weirs, pumping stations, and irrigation projects.

Assessment of Future Physical and Human Additions to Systems Required for Modernization and Improvement:

The medium term needs for modernization and improvement of irrigation diversions and drainage systems is a comprehensive program covers the following:

- Construction and installation of concrete lined canals and flumes in the irrigated areas.

- Installation of the required regulation systems and gates.

- Construction of the required drainage systems (open and field) in the irrigated areas.

- Adaptation of sprinkler and drip irrigation systems in the irrigated areas for efficient use of the available water and to minimize soil salinization.

- Divert drains particularly those of significant discharge into the Tigris and Euphrates Rivers to a watercourse or any depression area to improve quality of rivers water.

Part THREE:

EXISTING dinking water treatment facilities, TREATMENT capabilities, and drinking water delivery system

Availability of previous data:

Before the second Gulf War, it is reported that the water sector in Iraq was operating efficiently, utilizing then-current technology. According to several sources, including UN reports, safe potable water  was accessible by about 88% and 65% of the urban and rural areas respectively , and a total of 218 water treatment plants and 1191 compact water treatment units were in operation.

After the second Gulf War the urban water service coverage declined to less than 70% and the rural coverage dropped to 40%, with the daily per capita water supply dropping to 150 liters in Baghdad, 100 liters in other cities and towns, and 60 liters in rural areas. However, before the third gulf war not all plants were providing an acceptable level of treatment, were, 177 water treatment plants assessed, 34 were classified as good, 98 as acceptable, and 45 as poor. As a result of the international sanctions followed the second gulf war, the water sectors suffered dramatically, resulting in a drop of water treatment plants performance efficiencies by more than 30%. The introduction of the Oil-for-Food program (which is started in 1995) arrested the decline of the water sectors. Between 1996 and early 2003, there was marginal improvement in water treatment, production, distribution networks. The deteriorated leaking sewer pipes that are contaminating the potable water networks and the underground water are further adding to the health and environmental problems. It is estimated that 50% of the generated waste water in Iraq was being discharged to rivers and water ways every day without any treatment. Before the third gulf war, a 3-month supply of consumables was distributed to all Governorates for the operation of water treatment Plants, contingency plans were put in place and additional generators provided at water treatment plants. The supplies were close to being exhausted in the period after the conflict but due to the preparation, the water systems were maintained.

As a result of the third gulf war, the situation in the water sector has deteriorated dramatically. In general, the plant performance differences of the water facilities highly deteriorated compared to the pre-war situation. There was serious damage to the water networks, resulting in contaminated water supply at the consumer end. This was exacerbated by increasing cross contamination of the water supply and the collapse of the sewage treatment plants increasing dramatically the amount of raw sewage being discharged directly into the rivers, i.e. Sewage from Baghdad city alone was contributing about 70% of all sewage discharged without any adequate treatment into the Tigris River. During these period diseases related to unsafe water reached alarming rates.

This situation was further exacerbated by the direct damage of power supply stations, office buildings, and other infrastructure. Widespread looting, the collapse of management systems and operation, and lack of maintenance all contributed to the dilapidated state of the sector in the aftermath of war. Compounding these problems has been the attendant lack of security, mainly in the 15 central and Southern governorates.

Since the end of the third gulf war, many rehabilitation activities and measures has been taken by the local governmental water authorities with the help of the international societies and donor countries as well as by the NGOs to improve and maintain the status of all kinds of water treatment plants. However, the ministry of municipalities and public works planned strategic targets which are to provide potable water for all Iraqis personals all over the county. The proposed volume of potable water, according to this strategy, varies according to the density of populations, nature of the governorate and the physiographic condition of the proposed area, as follows:

- 450 liters per day were proposed for people living in the main cities.

- 350 liters per day were proposed for people living in towns and main villages.

- 250 liter per day was proposed for people living in rural area.

However, the available data indicate that meeting such targets by the water authorities were difficult in most of the governorates over Iraq with exceptional few sites. The water sector systems in Iraq were designed to be on three levels:

- Those represented by limited numbers of main water treatment plants to serve main cities and towns of high populations.

- Those represented by large numbers of compact units  of different sizes, shapes, capacities and manufactures to serve cities and towns of less populations, mainly in the suburb area.

- Those represented by very limited numbers local movable desalination units which spouse to serve people in rural areas and low population far away villages.

However, the data representing the main water treatment plant within the 15 central / southern governorates in Iraq were given (in the main report) representing the actual currently conditions in the water sector in Iraq over the years 2003-2004. All results indicate that only few plants were functioning to the targets set by the water authorities and indicate the required volume of water to reach these targets. Also the results indicate the need of expansion in all existent water plants to reach the demand for drinking water at 2010. (taking in consideration the rate of increasing in population 3.2% a year ). The main conclusion coming out of these facts is that all these water treatment plants need great program of rehabilitations as well as establishing many other new water treatment plants in order to serve the Iraqis by required volumes of potable water.

The total number of the main water treatments in Iraq is 230 plants. These plants were not distributed evenly among the governorate but they were varies in their number and capacities according to the variation in populations in each province.  However, the expected total volume of water from these water treatment plants to varies between 24696*1000 m3/year to 301886*1000 m3/ year with gross total of water volume reach to 1601968*1000 m3/ year. Variation in number of water treatment plants and in their capacities is due to many changes which took place over the last decades were some compact units transferred to act as water treatment plants after some changes and modifications and at the same times some of the water treatment plants being neglected, destroyed, or abundant.

The total number of the compact units are 1370 with total design capacities of 368374*1000 m3/ year while the actual total volumes of potable water being gained from these units is equal to 313860*1000 m3/ year .

The total design capacities of all water treatment plants as well as those compact units reach to 2145516*1000 m3/ year, while the actual volume of water being gained from all these plants and units is 1915828*1000 m3/ year.

Comparing of 2004 data with those published in 2000 indicate that there are general increase in the number and capacities of the water treatment plants and the compact units in many governorates unlike other governorate were there are decrease in their number and capacities. The status efficiencies of the water treatment plant which were ranging between 45 - 80% has, generally, increase in 2004 to be in the range between 65 – 90%. Similar conclusion can be drawn as far as compact units are concern. However, few governorates got their water treatment plants and compact unites using ground water (wells). Some of the water treatment plants and compact units in the northern governorates use reservoir water.

Up to September 2004, five desalination units were installed in Iraq with a capacity of 5 m3 / H  as a first step for a big program of using this technology: In the coming few months of the year 2004, their will be another 50 desalination unites, most of them have a capacity no less than 25 m3/ H and some will have a capacity of 200 m3/ H. These desalination unites use the techniques of (RO). However, the only constrain on using this promising technology is the costly financing.

Description of the Existing Physical Infrastructure, its Conditions:

Most of water treatment plants were commissioned between 1950 and 1985 and were partially modified between 1976 and 1982. Many of plants and network designed during this period need rehabilitation of the structure, and equipment. Theoretically the life time of these plants is estimated at 15-25 years, assuming proper maintenance, but the anticipated life time has been shortened by lack of maintenance and improper operation. Most of these plants can not currently cope with the increased demand and could not meet it even if they were successfully rehabilitation. Only the addition of new treatment units and solid program of repair and expansion can increase their capacity efficiently. A large number of water compact units are inefficient and poorly maintained and are generally operate by local communities. Although some of these compact unites are new, the rest can be categorized as needing repair or replacement. Many of these should be replaced by regular water treatment units. Their operations are at present based on direct pumping, which is dependent on a reliable power supply. Direct pumping also creates more stress on the units, resulting in frequent breakdowns reducing the lifespan of the pumps.

A substantial amount of water is lost during distribution to consumers. Water losses through the network were in the order of 45-60% and due to the rehabilitation programs during (2003-2004) this percentage decreased at present became to be in the order of (10-25%). These percentages were not estimated but approximately according to the experiences of the local water authorities according to the required maintenance program for the local networks and the age of these networks.

The distribution networks were constructed in a piecemeal fashion without any real planning or respect of proper design standards. The network of Baghdad consists of 7.190 km of pipe with diameters ranging from 10 cm to 1.6 meters and made of ductile iron 2.400 km, steel 290 km, asbestos cement 3.700 km and cast iron 800 km. The average age of the pipes is 10-15 years for galvanized steel, 10 to 25 years for ductile iron, 35 years for steel, and 30 years for asbestos cement and 40 years for cast iron. The total length of piping in the Center and South region (Baghdad mayoralty not included) is the order of 28.000 km, 5.500 km of asbestos cement pipe, 10.000 km of ductile iron, 2.800 km of cast iron, 8.300 km of PVC, 1.200 km of steel and 300 km of pipe made from other material.

The primary impact of the thirds gulf war on the Physical infrastructure has been extensive through looting, shortage in the power supply, and lack of the maintenance. The looting of offices furniture, equipment, stationary and loss of data and records has created grate difficulties for the functioning and operation of the water authority management units. Additionally, the looting of transport vehicles, service trucks and tankers, consumables, spare parts, maintenance tools, monitoring equipment, safety equipment, and laboratory testing equipment and materials had a severe impact on the functioning of the operation of water treatment plants and compact units within the water sector. The unavailability of continuous power supply and lack of security has also compounded the problems and crippled the ability of the ministries and water authorities to manage and operate basic services. The water network suffered greatly from bomb damage, resulting in acute shortages of water supply leading to people braking into the networks. As such, the pressures in the water network are low and water cannot normally reach the elevated water tanks at residential homes. This has also exposed the network to contamination from damaged sewers, polluted ground, and stagnant sewage.

Electrical power, crucial for the efficient operation of water  facilities, fell from 4.400 megawatts (MW) per day to between 3.500-3.000 MW after the war in the country, and currently 50 per-cent of power cuts exists in the country, reducing power availability to about one third of the prewar situation. In addition, transmission lines collapsed, substations were severely damaged, cables were looted, and many essential spare parts such as cables, joints, are in short supply. Consequently, power outages are forcing shutdown of the many water treatment plants.

The water authorities set up maximum TDS values of 1500 (PPM) to be accepted as drinking water. However, the Iraqi standard for drinking water gives 1000 (PPM) as a maximum value for TDS. Because of high demand on potable water and because of the general decreasing in the capacities of the water treatment plants and compact unites which all do not meet the require demand on potable water for many reasons, thus, the water authorities increase the level of accepted TDS values to 1500 (PPM) as a temporary solution for the existing situation in the water sector. The   variation in the TDS values within the water treatment plants among some governorates were less than 1500 mg/l which indicate their (suitability) for drinking by human beings as far as the TDS parameter is concern unlike the situation in most of Iraqi southern governorates   (their are many factors may affect these results). The raw material being used in purification process shows that there are shortages in the amount of the main chemicals which should be used in the purification processes in most of the governorate (which can be attributed to many factors).  However, There is a lot of doubt in the accuracy of given figures concerning the water quality, because there are many international reports stating an alarming figures of diseases related to drinking water in Iraq while those figures been given to us state that the drinking water is good.

Interviewed Officials:

Personnel communications have been made with the following key officials in Baghdad and other governorates:

- Mr. Saad Bahnam (General Manager, Drinking Water Project within Baghdad Mayoralty).

- Mr. Zeki Matar  (General Manager, Drinking Water Project within Baghdad Governorate).

- Miss Haifaa Jumaa Kadhum (Planning Manager,Drinking Water Projects in Iraq).

- Mr. Mahmood Ali Ahmad (Director General, Drinking Water Projects in Iraq)

The time and finance resources required for repair:

The Proposed Budget for each of the central and Southern governorates and national budget was developed through an over all strategic direction and priorities set up by the water authorities. The estimated budget for each of the year 2004 and 2005 is 152 billion Iraqi diners to cover the  operations , maintenance costs , addressing the emergency rehabilitation needs as well as establishing a new water treatment plants and compact units ( each 1500 I D equal one U S D ). It is recognized that these estimates may be low compared with actual needs but these are considered realistic at the current time.  The estimated budgets will change as major projects and priorities are further defined. However, promising programs were set up for the year 2004 and 2005 which includes two paths:

- Operation, maintenance and genuine rehabilitation of all existed water treatment plants as well as the compact unite.

- Establishing a new treatment plants as well as new compact unites.

Actual program of work is started to cerate large number of new treatment plants as well as new compact unites were within most of the governorates. This program contains 31 projects which is distributed over 2 successive calendar years the 2004 and 2005. However each of the governorates got a budget equal to almost ( one billion I D) to carry  on  their maintenance and rehabilitation programs for  their existed water treatment plants as well as their compact unites, i.e. extension of the water networks, fencing to protect of plants and units, building stores, changing slops of the ground, building offices , changing pipes, different  local civil engineering works, building pavements,  change or repairs of electrical and mechanical installation,  increase the capacity of the electrical power generator,  changing the pumps,  maintaining  the water intakes sites .

Human resources availability for maintaining and managing data and physical infrastructure:

Before the third gulf war, the human resources within the water sector were of attention. There was a huge shortage of staff within this sector. This shortage highlights the acute problem. It is difficult to recommend the required level of staffing to efficiently operate and maintain the water sector services. Several factors have major effect on the required level of staffing including the covered area, organization and management structure, system complexity age, capabilities  efficiency of staff…etc. However, several different criteria are adopted worldwide for comparative measurement of the required level of staffing. These include connections per employee, population per employee, water supplied per employee, pipeline length per employee. It is recommended that a detailed study on staffing needs be conducted based on the mentioned criteria. The main areas that experienced shortages were managerial position, technical staff and technicians. A number of factors contribute to this shortage of key staff. The low government salaries offered could have deterred candidates as could the social stigma attached to working for the sector.

On inspection of the profile of workers within this sector, it is clear that the average age of employees is on the high side. Many of the staff is close to retirement, adding further to the problem and resulting in a particular shortage of staff to fill higher-level positions. Although recruitment focused on universities and colleges, graduates are not adequately trained to enter senior level positions. It could be this lack of expert managerial staff that led to the management of the water supply institutions being highly centralized.

A solution employed in the recent past has been to contract out part of the maintenance work and to hire temporary staff. This, however, was a very short-term solution to a very long-term problem. The temporary staff was even more poorly trained, but paid at rates above the government levels. The lack of training amongst staff within the sector was also a key problem.  The lack of training received by staff that operated the rural water systems resulted in inadequate maintenance of the facilities. In conclusion, many issues including recruitment strategies, staffing levels and training inadequacies resulted in poor management of the human resources within the water sector. The following areas fell short of existing expertise:

- Complex infrastructure development management.

- Operational management.

- Process engineering.

- Information technology management.

- Master planning, conducting studies, designs, computer modeling.

Because of the depletion of capacity at governorate level in the last decades, effective management of water services in Iraq has required a fairly large degree of direction from Baghdad. The governorates are dependent on Baghdad for their budget and most of their supplies; including critical items such as chlorine gas for water treatment. Technically qualified personnel are appointed by Baghdad in consultation with local authorities and work under the supervision and direction of the more highly qualified and experienced staff in Baghdad.

The Director Generals are located in Baghdad and direct the delivery of public services through the Directors of water, in the Governorates. Those Directors head teams of technicians who manage the day-to-day operations of the Ministry at governorate level.

The total number of personals working officially in the water sector of Iraq up to 15 July 2004 within all Iraqi governorates is 13410 persons. The total numbers of different kind of engineers are 589; technisions7885, financing officers 1175, ordinary officers 893 and others are 3109. However, there are other tenth of thousands of peoples working \in the water sectors as local temporary daily paid persons; also, there are tens of local privet groups working in this sector as well.

Resources required for full operation:

The Human resources required for full operations for water treatment plants   are 11630 for 230 water treatment plants and  the total number of personals required are for 12260 1370 compact unites).Thus the total number of personals required is 23890 for the entire water sector in Iraq. In conclusion there is still a great shortage in the personals required in the sector of water in Iraq, especially, in engineers.

Future physical and human additions to systems required for modernization and improvement:

The future physical and human additions to systems required for modernization and improvement were given in some sections of this report in detail. However, the future priorities should be based on the followings:

Institutional improvements:

- Reconstructing institutions, and improving staff capacity and capabilities.

- Improving and raising staff capability through training.

- Integrating and utilizing information technology facilities in planning, operation and maintenance.

Physical improvements include:

- Improving the efficiency of the distribution system.

- Expanding water supply coverage in both urban and rural areas.

These improvements activities can progress through short and long term programs which concentrate on the restoration of conditions to pre-war conditions (2004 and 2005) and expand the services in all Iraqi governorates in coming few years through:

- Reconstruct institutions and improve staff capacity and capabilities.

- Raise potable water access in urban and in rural areas.

- Capacity building and enhanced (computerized) management system.

- Reduce water loss.

Priority determination requires improved sector surveillance and the monitoring of chemical and biological indicators. Iraqis focused mainly on water production, pumping efficiency, water loss and water quality primarily at the production stage. More needs to be done to monitor disparities in water availability at the community and family levels and water quality and use in the home, and hygiene practices. More use can also be made of monitoring for strategic planning and management of the sector, at all levels. However, the supply is not totally available now and the quality is suspect as well. The existing supply system is stretched to its limit and system strengthening master planning is required before coverage can be increased by any significant percentage. City master plans have to be completed before accurate figures on the incremental costs of service coverage can be given. Infrastructure will required larger feeder water mains, service reservoirs to balance daily and hourly flows and the provision of dividing the area in to pressure zones and install control valves to allow the isolation of supply zones and mains for repairs and maintenance. To raise coverage levels across the country, supplies to rural area and villages will have to be improved. Many small towns and villages are served by tankers traveling many miles to provide potable water with an average frequency of once a week. In areas of saline ground water, to improve coverage will require the installation of treatment plants such as reverse osmosis.

Many factors have been identified to ensure better functioning of water sector system in Iraq:

- Repair of the water distribution networks to ensure that safe water actually reaches families.

- Full inspection and mapping of the networks.

- Water losses of the potable water produced from the water treatment plants. Reducing water losses will:

- Increasing coverage because there is more water available.

- Reducing operational costs because less water is required.

- Reducing the risk of illness because leaks into the system are repaired preventing contamination of potable water.

Finally, reducing water loss will require leak detection devices, metering of major off take and supply areas, water balances. The introduction of meters into the system will allow pricing to be based on consumption with higher charges being applied for consumption above average levels. This approach of applying an appropriate tariff structure has the advantage of reducing wastage, setting the basis for demand management, and sending economic signals to the consumer.

PART FOUR

EXISTING SEWAGE COLLECTION AND TREATMENT

FACILITIES AND CAPABILITIES

The Availability of Previous Data

There was not much documentation found for the information's on the sewage systems in the Governorates due to the heavy destructions of most of the Governmental offices during the last war event. Although, the scarcity of the available previous data, some published reports and literatures were available through the International organizations.

Prior to the Gulf war the sanitation service sectors were operating at Baghdad and other few Iraqi cities with acceptable efficiency using current technology on treatment facilities.  Iraq has 13 major sewage treatment plants. Baghdad’s three sewage treatment plants, North ,  south Rusafa and  Karkh treatment plants, which together comprise three – quarters of the nation’s sewage treatment capacity. Only about 75% of Baghdad’s populations were served by these sewage treatment plants, while rest of people using septic tanks.

In Baghdad only, due to the war event, around 40 % of the networks were damaged. There was a critical balance in the ordinary days and there will be a deficit in the treatment during rainy seasons at Rusafa side & there is already a deficit in the refining and treatment capacity in Karkh project and a large volume of sewage was discharged to Tigris River & water way directly with out any treatments.

In the rest of the country, i.e. Babel, Basrah, Kerbela, Maysan, Qadisiya, salah Al-Din, the Najaf , most sewage treatment plants were  partially operational prior to the  war  due to shortages in electricitcal power, spare parts and chemicals.

The non-operational sanitation system with limited capacity has been & remains a serious environmental & health concern. Moreover, there is an old rainfall drainage networks that discharge the rainwater directly to the Tigris River which need to be developed.

Descriptions of Existing Physical Infrastructure:

As a result of the international sanctions followed the second Gulf war, the sanitation sectors suffered dramatically, resulting in a drop of plant performance efficiencies. The introduction of the Oil-for-Food Program (1995) arrested the decline of the sanitation sectors. Between 1996 and early 2003, there was marginal improvement in wastewater treatment and collection system. The shortage of funds to pay trained staff to maintain the system & the deterioration of the management & technical skills of the authorities are other severe long-term problems facing Iraq’s sanitation Infrastructure. The nine sewage treatment plants in central & southern Governorates have collapsed or are inoperable due to war’s damage or the inability to maintain them of rehabilitate the facilities.

Conditions of Existing Physical Infrastructure:

Three sewage plants south, Rustamiyah North, and  Karkh, were being repaired in Baghdad Governorate and. other rehabilitation projects include flow sewage plants in Najaf, Karbala, Babil, Tammem & Mosul took place. There were so many plans to develop the sewage system in all the Iraqi Governorates, but really little had been done so far due to the wars the followed situations. These plans should be taken into consideration in the future rehabilitation for the Governorate sewage systems.

However, it is recommended to use H2O2 in getting rid of the H2S in the sewage water, especially in Rustamiyah treatment plant sewage water. The monitoring of sewage irrigation water is very essential and most recommended.

Interviewed Officials:

Personnel communications have been made with the following key officials in Baghdad:

- Mr. Saad Bahnam (General Manager, Drinking Water Project within Baghdad Mayoralty).

- Mr. Amer Kalel Esmail (Planning Manager, Sewage Projects in Iraq).

- Miss Ban Najar (Director General, Sewage Projects in Iraq).

- Mr. Mahmood Ali Ahmad (Director General, Drinking Water Projects in Iraq).

Human Resources Available For Maintaining, And Managing Data and Physical Infrastructure:

There was a huge shortage of staff within the sanitation sector, and so many numbers of vacancies were marked. Several factors have major effect on the required level of staffing including the covered area, organization & management structure, system complexity and age, capabilities & efficiency of staff. In fact, the main areas that experienced shortages were managerial positions, technical staff and technicians. A number of factors contribute to this shortage of key staff. There is unwillingness amongst Iraqi personnel to work in the sewage sector. The following areas fell short of existing expertise:

-complex infrastructure development management

-operational management

The Time and Financial Resources Required For Repairs:

There are many priority plans to support the sanitation sectors financially. The first so called Short-term Priorities (or emergency phase ) for year 2004, that composed of rehabilitation and reconstruction of the sanitation sectors just in order  to reach March 2003 levels of sanitation’s services in Baghdad & other central & southern Iraqi Governorates, which expected by the international Bank to cover financially by about 1,0 13.59 millions US$ . The second ,so called Medium-term Priorities for years 2005-2007,should focus on expanding networks & services in Baghdad & all Governorates with the aim of further extending service coverage along similar lines as the emergency phase , that expected by the international Bank to be in order of  2,401.17 millions US$. Then ,the so called Long-term Priorities for future years ,focus on increasing the percentages of expanding networks and services in whole Iraq to meet the expected future needs ,taking in to consideration the population rate and consumption.

Human Resources Required For Full Operations:

According to the governmental plants, the Human Resources required for full operations depend on the priorities of the development of the sanitation sectors. For Iraq’s long-term sanitation plans, it is ambitious to meet the future needs of the country until 2030. This could be done by extending the sewage treatment to more than 10% by the end of 2004 & to more than 25% by the end of 2005, and so on till year 2007.

An Assessment of Future Physical and Human Additions to Systems Required For Modernization and Improvement:

In addition to the immediate needs, policy and institutional issues related to infrastructure service delivery will have to be addressed early on to rationalize regulatory oversight and delivery mechanisms across the sanitation sectors. Years of highly centralized and politicized control of capital investment financing led to large-scale neglect of routine maintenance of assets. In order not to compromises longer-term, lest-cost solution for infrastructure service delivery in future years, technical assistance needed on policy and institutional reform options in the short term. It is also critical that Iraqi policy-makers increasingly take greater ownership in determining the future sectors for which they are responsible. The main activities of many international organizations were to repair of sanitation facilities using local contractors and networks. The Iraqis working in the sector were neither well-trained nor equipped to maintain these high-maintenance systems once the international contractors withdraw. In response to this key sector issue, over the medium term, these sector policies will need to be reviewed with the aim of building public sector capacity to regulate and set standards, including training personnel, introducing information technology to better plan and manage assets, as well as strengthen master planning for urban sanitation infrastructure services.

PRIORITIES

In all of the Iraqi governorates, most of the irrigation areas suffer from water logging and salinization due to failing drainage pumps, frequent electrical power cuts and breakdown in the irrigation systems. Problems are compounded further by looting and lack of replacement and maintenance. The sewage and  water treatment plants (including the compact unites) are below their designed capacities, these water system in both urban as well as in rural areas are very old and need frequent maintenance, repair and sometimes complete replacement. Most of the putrefaction systems are not function properly and contaminations in treated water were experienced. The inspection levels is limited and not up to the required standard with great shortage in machinery non-availability of genuine spare parts, there for  the  water systems in Iraq are too old and beyond their designed capacities and they should be  replaced in coming future with modern water treatment and sewages systems. In this report many suggestions were given in order to increase, capabilities of water sector in Iraq.

Part One:

Increasing the number of the monitoring stations through short and long term program.

The study named 23 existing gauging stations & proposed them to represent the FIRST PRIORITY phase for the immediate restoration.

The proposed program consists mainly:

1. Perform a water resource management assessment for the basin.

2. Design and install a hydro meteorological monitoring network (in- situ remote   sensing) for the basin to collect the data needed to support water resource management; this includes the required telecommunication system.

3. Implement an appropriate real time hydrologic forecasting capability including a hydrologic forecast centre.

4. Provide capacity building to improve the quantity and quality of human resources in hydrology.

Part Two:

The short term requirements include repair and maintenance of the followings (in order):

- Irrigation pumping stations.

- Drainage pumping stations.

- Diversion structure and weirs.

- Lined and flumes irrigation canals.

- Earth canals.

- Open and field drains.

At present time, it is convenient to adopt medium term programs for modernization and improvement of irrigation diversions and drainage systems.   They may include the followings (in order):

- Installation of the required regulation systems and gates.

- Construction and installation of concrete lined canals and flumes in the irrigated areas.

- Construction of the required drainage systems (open and field) in the irrigated areas.

- Adaptation of sprinkler and drip irrigation systems in the irrigated areas for efficient use of the available water in order to minimize soil salinization.

- Divert drains particularly those of significant discharge into the Tigris and Euphrates Rivers to a watercourse or any depression area to improve quality of rivers water.

Part Three:

Reduce the water loss from the distribution system needs plugging and treating all these leakages by adopting new technology in detection for these leakages. Reducing water loss will require leak detection devices and improving the inspection levels and mapping of the networks. Reducing water losses will:

- Increasing coverage

- Reducing operational costs

- Reducing the risk of illness

Improving staff capacities and capabilities through training all the technicians and engineers in the water sector to ketchup with the up to date knowledge.

- Solidifying the monitoring programs for all the stages of purification activities within the water treatment plants.

- The old electrical power generators systems running these plants should be replaced by new electrical power generators.

- Integrating and utilizing information technology facilities in planning, operation and maintenance.

- Improving the efficiency of the distribution system through solid rehabilitation   through short and long term programs which concentrates on the restoration of conditions to pre-war conditions.

- Raise coverage levels across the country by supplies the rural area and villages through applying the desalination techniques.

Part Four:

- Solid and comprehensive rehabilitate of the existed sewage networks with essential and most efficient methods.

- Execution of the expansion plans of the treatment projects of the main network to increase the capacity of the existing sewage projects.

- Complete the sewage network in the unserved residence sections of Baghdad City.

- Construct temporary treatment sewage projects for those residence sections that is far away from the existing sewage projects.

- Stop the untreated sewage water to flow to Tigris and Euphrates Rivers.

- Adopt a new comprehensive strategy for sanitation in Iraq.

- Improving and raising staff capacity through training.

- Integrating and utilizing IT facilities in planning, operation and maintenance.