7.0	Laboratory Facilities and Environment

7.1	Facilities and Conditions

7.1.1	The laboratory facilities are maintained, where applicable, in accordance with NCSL Recommended Practice No. 7.  The design of the laboratory does not adversely affect the measurement integrity and supports good laboratory practices.  See Appendix D for a diagram of the laboratory facilities.

7.1.2	The laboratory facilities, calibration and test areas, energy sources, lighting, heating, and ventilation facilitate proper performance of calibrations and tests.  The laboratory ensures that dust, electromagnetic interference, humidity, line voltage, temperature, sound and vibration levels (i.e., limit use of computer types which cause vibration or temperature changes that adversely affect the measurement) are appropriate for specific measurement results and associated uncertainties.

7.1.3	Environmental conditions maintained by the laboratory, listed in Appendix E, are within the limits recommended in NIST HB 143.  The environment in the laboratory where testing is performed does not invalidate results nor adversely affect the accuracy or uncertainty of the measurement. Measurements are not made if environmental conditions deviate from those stated.  Laboratory staff ensure adequate conditions in the facility by items listed below:

7.1.3.1	Verify that air conditioning, lighting, heating, and ventilation are controlled and monitored, to the level needed for each type of test.

7.1.3.2	Maintain good housekeeping practices to promote a clean, uncluttered laboratory according to procedures listed in Appendix H, AP No. 11.

7.1.3.3	Have sufficient space to minimize the risk of injury to staff and/or damage to standards or equipment due to activities around test setup.

7.1.3.4	Maintain a convenient and efficient work environment with effective separation of incompatible activities.

7.1.3.5	Limit the amount of paper products used or stored in sensitive and/or clean areas to prevent dust contamination.

7.2	Environmental Records

7.2.1	Small Mass Calibration Laboratory:

7.2.1.1	Environmental conditions are recorded continuously with the use of a strip chart recording device which monitors the temperature and humidity of the laboratory.

7.2.2	Mass Tolerance, Volume, Length, Temperature, Frequency, and Density Testing Laboratory:

7.2.2.1	Environmental conditions are recorded continuously with the use of a strip chart recording device which monitors the temperature and humidity of the laboratory, or

7.2.2.2	The laboratory maintains a log of environmental conditions completed during all testing periods (see  Appendix O, Environmental Log form), or

7.2.2.3	Environmental conditions are recorded on all data sheets whenever appropriate.  Procedures state exceptions to this requirement.

7.2.3	The laboratory documents deviations and corrective actions when environmental conditions are not within conditions specified by the laboratory in Appendix E.  (See Appendix O, Complaints/ Corrective Actions form.)

NOTE:  Monitoring devices are periodically verified against accurate and traceable standards, but are not used to apply corrections that affect the quality of measurements.  Devices which do affect the quality of measurement are addressed in Section 9.3.3.

17025

5.3  Accommodation and environmental conditions

5.3.1  Laboratory facilities for testing and/or calibration, including but not limited to energy sources, lighting and environmental conditions, shall be such as to facilitate correct performance of tests and/or calibrations.

The laboratory shall ensure that the environmental conditions do not invalidate the results or adversely affect the required quality of any measurement. Particular care shall be taken when sampling, tests and/or calibrations are undertaken at sites other than a permanent laboratory facility. The technical requirements for accommodation and environmental conditions that can affect the results of tests and calibrations, shall be documented.

5.3.2  The laboratory shall monitor, control and record environmental conditions as required by relevant specifications, methods and procedures or where they influence the quality of the results. Due attention shall be paid, for example, to biological sterility, dust, electromagnetic disturbances, radiation, humidity, electrical supply, temperature, and sound and vibration levels, as appropriate to the technical activities concerned. Tests and calibrations shall be stopped when the environmental conditions jeopardize the results of the tests and/or calibrations.

5.3.3  There shall be effective separation between neighbouring areas in which there are incompatible activities. Measures shall be taken to prevent cross-contamination.

5.3.4  Access to and use of areas affecting the quality of the tests and/or calibrations shall be controlled. The laboratory shall determine the extent of control based on its particular circumstances.

5.3.5  Measures shall be taken to ensure good housekeeping in the laboratory. Special procedures shall be prepared where necessary.