# SN-03 BPA Data Response

Request No.:	WA/BPA:008

Request:	Witnesses:	N/A

Exhibit:	SN-03-E-BPA-01

Page(s)	Page 4-6, lines 12-16

Please discuss why the WECC 10-Year Coordination Plan Summary (2000-2009) load forecast was used when the WECC 10-Year Coordination Plan Summary (2002-2011) is available.  Please also discuss why this forecast was used instead of the WECC 10-Year Coordination Plan Summary (2001-2010), which was used for the average annual growth rates on page 4-8.

Response:

At the time the study was being developed, the WECC 10-Year Coordination Plan Summary (2000-2010) and the WECC 10-Year Coordination Plan Summary (2001-2010) were the best information available.

April 10, 2003

# SN-03 BPA Data Response

Request No.:	WA/BPA:009

Request:	Witnesses:	N/A

Exhibit:	SN-03-E-BPA-01

Page(s)	Page 4-8, lines 1-6

Please discuss why the WECC 10-Year Coordination Plan Summary (2001-2010) load forecast was used when the WECC 10-Year Coordination Plan Summary (2002-2011) is available.

Response:

At the time the study was being developed, the WECC 10-Year Coordination Plan Summary (2001-2010) was the best information available.

April 10, 2003

# SN-03 BPA Data Response

Request No.:	WA/BPA:010

Request:	Witnesses:	N/A

Exhibit:	SN-03-E-BPA-01

Page(s)	Page 4-14, Table 4-8

Please explain why the mean and median prices for the light load hours are greater than the prices in the heavy load hours in the month of September.

Response:

AURORA uses shaping factors to shape hydroelectric generation into heavy load hours and light load hours.  The higher these factors are set, the more generation will be shaped into heavy load hours.  If these factors are set too high, hydroelectric generation will be shaped into heavy load hours, thus displacing other generation.  The corresponding amount of hydroelectric generation to be used in light load hours is also reduced.  If too much hydroelectric generation gets shaped into the heavy load hours, other resources may be called on in light load hours to meet load due to the decreased hydroelectric generation levels.  The variable cost of these resources in light load hours may be higher than the variable cost of the resources in heavy load hours when more hydroelectric generation is present.  Thus, the resulting price for heavy load hours may be less than that of light load hours.  BPA staff proposes to change these factors for the final proposal to eliminate this result.

April 10, 2003

# SN-03 BPA Data Response

Request No.:	WA/BPA:011

Request:	Witnesses:	N/A

Exhibit:	SN-03-E-BPA-01

Page(s)	Page 4-15, Table 4-9

Please update Table 4-9 to reflect the most current water volume forecast from the Northwest River Forecast Center.

Response:

BPA staff propose to update the table for the final proposal.  At that time, BPA staff propose to incorporate the best information about hydroelectric supplies in the study.

April 10, 2003

# SN-03 BPA Data Response

Request No.:	WA/BPA:012

Request:	Witnesses:	N/A

Exhibit:	SN-03-E-BPA-01

Page(s)	Page 4-15, Table 4-9

Please provide a spreadsheet that shows the relationship between average annual runoff, either in terms of percent of normal or MAF, and annual energy output on the FCRPS assuming a normal progression of seasonal runoff.

Response:

For each fiscal year, BPA is providing a spreadsheet (WA-BPA-012a) that reflects monthly and annual FCRPS average hydro generation for each of the 50 water years along with the associated Oct-Sep average annual runoff measured at The Dalles.  For FY03, BPA has provided a 9-month average instead of the annual average because the studies were initialized to January.

Please refer any questions about this data response to the Loads and Resources panel.

April 10, 2003