SHSD Operation Environmental Evaluation

Environmental Management System ISO 14001 (IH50900)

| SOEE# SHSD-EMS-05E | Title: Microbial Plate Decontamination | Revision: 2 Date: 06/18/07 |
| --- | --- | --- |
|  |  | Approved by: R. Selvey, IH Manager |
| Operation Description: Agar plates are exposed to ambient air in suspect IAQ investigations in buildings. This test concentrates naturally occurring microbes. Plates are either sent off site for counting or are held at BNL for colony growth. For plates at BNL, at the end of analysis, the plates are decontaminated by chemical disinfection. |
| Frequency of Operation: 2-3 times per year |
| Environmental impact: Decontamination is done with 50/50 mix of household bleach and water. Plates are soaked for 2-3 days. At the end of disinfection, the colonies are no longer viable. Slurry is discharged to the sanitary system (typically flushed in a toilet because the agar will still have the consistency of moist gelatin). Approximately 1 gallon of 50/50 bleach/water is generated in the disinfection process. Un-exposed plates that have expired yet show signs of microbial growth are soaked for 2-3 days. At the end of disinfection, the colonies are no longer viable. Slurry is discharged to the sanitary system. Un-exposed plates that have expired but that are still sterile are soaked in water to release the agar from the plate and the slurry discharged to the sanitary system. Conformance of proper disposal by the off-site vendor laboratory is validated to BNL IH Group’s satisfaction in the AHIA Accreditation process. |
| Waste Disposal: 50/50 mix of household bleach and water is discharged to the sanitary system (typically flushed in a toilet because the agar will still have the consistency of moist gelatin). Plates soaked only in water: the slurry discharged to the sanitary system. |
| Qualitative Environmental Impact Risk Assessment: Negligible Acceptable Moderate Substantial Intolerable |
| OSH Job Risk Assessment: SHSD-JRA-05 |
| Revision History: Rev1: Converted from old IH50900 Attachment 9.1 format. No content change. Rev2: Revised the passage on Sterile plate disposal in Environmental Impact and Waste Disposal sections. |