APPENDIX D-12

Create/Update Chlorine/Chloramine Summaries Process

This page is intentionally left blank

D-12.  Create/Update Chlorine/Chloramine Summaries Process

This process consists of four subprocesses:

- Set FANL CDS trigger timestamps due to TCR Schedule Additions or Modifications

- Create/Modify Chlorine/Chloramine Summaries due to FANL Additions or Modifications

- Create/Modify Chlorine/Chloramine Summaries due to Field Result Additions or Modifications

- Calculate MRDL RAA, Assess DSRD or SDRD Compliance due to MRDL, DSRD or SDRD Additions or Modifications

Subprocess A.  Set FANL CDS trigger timestamps due to TCR Schedule Additions or Modifications

Check-Point Restart Issues: This process will be driven by changes to TCR Schedules (TMNSASCH).

The record key for this subprocess is the composite of CDS trigger timestamp and the TMNSASCH_IS_NUMBER columns.

The sort order for this subprocess will be CDS trigger timestamp ascending, TMNSASCH_IS_NUMBER ascending.

- Create a log in the CDS Execution Log indicating the process start time.

- Identify Sample Schedules where:

  - its CDS trigger timestamp is greater than the last run date & time for the CDS Setup process AND

  - is for ‘3100’ analyte AND

  - whose Monitoring Requirement Sample Type is either Routine (RT) or Temporary Routine (TR) AND

  - whose end date is either open or, if valued, is greater than the CDS History Date

- For each Sample Schedule identified, read FANLs where:

  - the Type Code is MRDL and Control Level Type is MAX or FANL  Type Code is DSRD or SDRD and Control Level Type is MIN AND

  - whose effective end date is either open or, if valued, is greater than or equal to the Sample Schedule’s Begin Date AND

  - whose Water System through its parent Water System Facility is the same Water System as the TCR Sample Schedule.

- For each FANL identified, set its CDS trigger timestamp to CURRENT TIMESTAMP.

Subprocess B.  Create/Modify Chlorine/Chloramine Summaries due to FANL Additions or Modifications

Check-Point Restart Issues: This process will be driven by changes to FANLs (TMNFANL).

The record key for this subprocess is the composite of CDS trigger timestamp and the TMNFANL_IS_NUMBER columns.

The sort order for this subprocess will be CDS trigger timestamp ascending, TMNFANL_IS_NUMBER ascending.

- Create a log in the CDS Execution Log indicating the process start time.

- Identify FANLs where:

  - its CDS trigger timestamp is greater than the last run date & time for the CDS Setup process AND

  - the Type Code is MRDL and Control Level Type is MAX or FANL  Type Code is DSRD or SDRD and Control Level Type is MIN AND

  - whose effective end date is either open or, if valued, is greater than or equal to the Sample Schedule’s Begin Date

- For each FANL retrieved, determine if associated MDBP Summaries are still appropriate for the FANL (check for overlap between MDBP Summary’s associated monitoring period and FANL effective dates).

  - Read each MDBP Summary and its Monitoring Period that is associated to the FANL

    - If FANL Effective Begin Date is less than or equal to the Monitoring Period  Begin Date and if FANL Effective End Date is valued, is greater than or equal to the Monitoring Period End Date AND FANL Summary Type Code is equal to MDBP Summary Type Code, then MDBP is still appropriate for the FANL therefore keep it.

    - Otherwise, if MDBP Summary was not entered or modified by a user (Userid Code is equal to ‘CDSSETUP’), delete the MDBP Summary.  If an association to a Violation prevents the deletion, create an advisory that says “An MDBP Summary exists for a Monitoring Period in which the FANL is not effective” – Scott, please reword as appropriate and update Section 9 to include this new message in TCDSPMSG - referencing message number XX and record the water system number, name, tinwsys_is_number, and tinwsys_st_code of the water system record; the state_asgn_id and name of the water system facility record; the analyte for the FANL; and the begin and end dates for the monitoring period, etc. (A.D-12.a)

    - After deleting the MDBP Summary:

      - If the MDBP Summary is a MRDL, update the CDS trigger timestamp of MRDL Summaries whose MPA_APP_BEGIN_DATE is greater than this MRDL’s MP End Date and is less than or equal to this MRDL’s MP Begin Date + 1 year – 1 day (to trigger RAA recalculation and compliance determination).

      - If the MDBP Summary is a DSRD or SDRD, update the CDS trigger timestamp of the MDBP Summary for the next monitoring period (to trigger compliance determination).

- Read each Sample Schedule where:

  - is for ‘3100’ analyte AND

  - whose Water System is the same Water System as the FANL through its parent Water System Facility AND

  - whose Monitoring Requirement Sample Type is either Routine (RT) or Temporary Routine (TR)

  - whose end date is either open or, if valued, is greater or equal to the FANL’s Effective Begin Date

- Read each Monitoring Period (that overlaps both FANL and TCR Sample Schedule effective dates), i.e.:

  - its Type Code is equal to the TCR Sample Schedule’s monitoring periodicity (associated Monitoring Requirement’s Sample Count Unit Code) AND

  - its Begin Date is greater or equal to both the Sample Schedule Begin Date and FANL’s Effective Begin Date

  - its End Date is less or equal to both the Sample Schedule End Date, if valued, and FANL’s Effective End Date, if valued.

- Read MDBP Summary associated to the FANL and for each Monitoring Period retrieved.

  - If a record is found and its Userid Code is not equal to ‘CDSSETUP’, create an advisory referencing message number 55 and record the water system number, name, tinwsys_is_number, and tinwsys_st_code of the water system record; the state_asgn_id and name of the water system facility record; the analyte for the FANL; and the begin and end dates for the monitoring period.  Otherwise, modify the MDBP Summary depending on its Type Code as follows:

| Field | MRDL Summary | DSRD Summary | SDRD Summary |
| --- | --- | --- | --- |
| TYPE_CODE_CV | MRDL | DSRD | SDRD |
| REPORTED_DATE | If creating the MRDL, null. If recalculating an existing MRDL, leave as is. | If creating the DSRD, null. If recalculating an existing MRDL, leave as is. | If creating the SDRD, null. If recalculating an existing MRDL, leave as is. |
| SAMPLES_REQUIRED | Number of total coliform samples indicated by the TCR routine/temporary routine schedule in effect on the Monitoring Period begin date plus the “Days to monitoring per month” x the “Samples required per day” x actual number of months in the monitoring period (i.e. 3 for QT, 12 for YR, etc) indicated in the FANL (MAX for 0999 or 1006) | The “Days to monitoring per month” x the “Samples required per day” x actual number of months in the monitoring period (i.e. 3 for QT, 12 for YR, etc) indicated in the FANL (MIN for 0999 or 1006) |
| SAMPLES_COLLECTED | Number of Field Result records with either a field free or total chlorine result or with both collected during the monitoring period (ff_chlor_res_msr is not null and fldtot_chl_res_msr is not null), whose parent sample is a routine (type code is RT or TR), is not rejected (reject_reason_cd = ‘ ‘) and is “for compliance” (compl_purp_ind_cd = Y). |
| MR_COMPLIANCE_IND | “YES” if Samples Collected/Samples Required >=1.0 “NMN” if Samples Collected/Samples Required >=0.90 and <1.0 “NMJ” if Samples Collected/Samples Required <0.90 |
| SMPLS_BYND_MEA_LVL | Null | Number of Field Results < FANL-MIN |
| PRCNT_BYND_MEA_LVL | Null | (Number of Field Result < FANL-MIN divided by Samples Collected) times 100 rounded to one digit (e.g., 5.6%) |
| PRCNT_BYND_MEA_TXT | Null | Prcnt_Bynd_Mea_Lvl converted to text rounded to one digit (e.g., 5.6, 4.0) and trimmed (so there are no spaces in front of or behind the number) |
| HIGHEST_MSR | Null |
| HIGHEST_MSR_TXT | Null |
| MON_PER_AVG_MSR | Sum of Field Results for the Monitoring Period divided by Sample Collected and rounded to the significant digits of the result with fewest significant digits. If there is no Field Result for the Monitoring Period, set to zero. | Null |
| MON_PER_AVG_MSR_TX | Mon_Per_Avg_Msr converted to a text, rounded to the significant digits of the result with fewest significant digits and trimmed | Null |
| MPA_UOM_CODE | MG/L | Null |
| RUN_ANL_AVG_MSR | Sum of Mon Per Avg Msr for this Monitoring Period and other MRDL Summaries for same WS and WSF where Monitoring Period Begin Date is between this Summary’s MP End Date and One Year less one day before it divided by the sum of the mpa_total_days and rounded to the same significant digits as the FANL-MAX. | Null |
| RUN_ANL_AVG_MSR_TX | RUN_ANL_AVG_MSR converted to a text, rounded to the significant digits as the FANL-MAX and trimmed | Null |
| RAA_UOM_CODE | MG/L | Null |
| MPA_APP_BEG_DAT | Latest date from the TCR Sample Schedule Begin Date, AOP and Monitoring Period associated to the Summary (even for MRDL whose Userid Code is not CDSSETUP) (A.D-12.b) | Null |
| MPA_APP_END_DAT | Earliest date from the TCR Sample Schedule End Date (if any), AOP and Monitoring Period associated to the Summary (even for MRDL whose Userid Code is not CDSSETUP) (A.D-12.c) | Null |
| MPA_TOTAL_DAYS | If there is no Field Result for the Monitoring Period, set to zero. Otherwise number of days from MPA_APP_BEG_DAT to MPA_APP_END_DAT (even for MRDL whose Userid Code is not CDSSETUP) (A.D-12.d) | Null |
| D_INITIAL_TIMESTAMP | If creating the Summary, the current date and time. Do not change for an existing record. |
| D_INITIAL_USER_CD | If creating, set to “CDSSETUP” |
| D_LAST_UPDT_TS | The current date and time. |
| D_USERID_CODE | If the record is created or modified by CDS Setup, set to “CDSSETUP” Note that even if not equal to CDS Setup, CDS Setup can update the RAA fields for a MRDL Summary. | If the record is created or modified by CDS Setup, set to “CDSSETUP” |

  - If a record is not found, create an MDBP Summary and value the fields as detailed above.

    - If the MDBP Summary is a MRDL, update the CDS trigger timestamp of MRDL Summaries whose MPA_APP_BEGIN_DATE is greater than this MRDL’s MP End Date and is less than or equal to this MRDL’s MP Begin Date + 1 year – 1 day (to trigger RAA recalculation and compliance determination).

    - If the MDBP Summary is a DSRD or SDRD, update the CDS trigger timestamp of the MDBP Summary for the next monitoring period (to trigger compliance determination).

- If an advisory with message number 55 was generated for any MDBP Summary for the FANL, create an advisory referencing message number 56 and record the water system number, name, tinwsys_is_number, and tinwsys_st_code of the water system record; the state_asgn_id and name of the water system facility record; and the analyte for the FANL.

Subprocess C. Create/Modify Chlorine/Chloramine Summaries due to Field Result Additions or Modifications

Check-Point Restart Issues: This process will be driven by changes to Field Results (TSAMCSMP).

The record key for this subprocess is the composite of CDS trigger timestamp and the TSASAMPL_IS_NUMBER (of the Field Result’s parent Sample) columns.

The sort order for this subprocess will be CDS trigger timestamp ascending, TSASAMPL_IS_NUMBER ascending.

- Create a log in the CDS Execution Log indicating the process start time.

- Identify Field Results (TSAMCSMP)  where:

  - its CDS trigger timestamp is greater than the last run date & time for the CDS Setup process AND

  - the associated parent Sample is routine (Type Code = ‘RT’)

- Identify FANLs where:

  - the Type Code is MRDL and Control Level Type is MAX or FANL  Type Code is DSRD or SDRD and Control Level Type is MIN AND

(A.D-12.e)

  - whose effective begin date is less than or equal to the Field Result’s parent Sample’s Collection End Date

  - whose effective end date is either open or, if valued, is greater than or equal to the Field Result’s parent Sample’s Collection End Date

- If a Monitoring Period is associated to the Field Result (through the Sample Analytical Result whose Analyte = 3100 associated to the parent Sample), use it to check for an existing MDBP Summary.

  - Read MDBP Summary associated to the current FANL and Monitoring Period.

  - If a record is found and its Userid Code is not equal to ‘CDSSETUP’, create an advisory referencing message number 55 and record the water system number, name, tinwsys_is_number, and tinwsys_st_code of the water system record; the state_asgn_id and name of the water system facility record; the analyte for the FANL; and the begin and end dates for the monitoring period.  Otherwise, modify the MDBP Summary depending on its Type Code as detailed in Subprocess B above.

  - If a record is not found, create an MDBP Summary and value the fields as detailed in Subprocess B above.

    - If the MDBP Summary is a MRDL, update the CDS trigger timestamp of MRDL Summaries whose MPA_APP_BEGIN_DATE is greater than this MRDL’s MP End Date and is less than or equal to this MRDL’s MP Begin Date + 1 year – 1 day (to trigger RAA recalculation and compliance determination).

    - If the MDBP Summary is a DSRD or SDRD, update the CDS trigger timestamp of the MDBP Summary for the next monitoring period (to trigger compliance determination).

- If a Monitoring Period is not associated to the Field Result, use the collection end date of the parent sample and the TCR Sample Schedule in effect to determine the Monitoring Period to use to either search for an existing MDBP Summary or to create one, if one is not already existing.

  - Read Sample Schedule where:

    - is for ‘3100’ analyte AND

    - whose Water System is the same Water System as the FANL through its parent Water System Facility AND

    - whose Monitoring Requirement Sample Type is either Routine (RT) or Temporary Routine (TR)

    - whose begin date is less or equal to the Field Result’s collection end date

    - whose end date is either open or, if valued, is greater or equal to the Field Result’s collection end date

  - If a Sample Schedule is found, read for a Monitoring Period with the same periodicity as the Sample Schedule (MN, QT, YR) and use it to check for an existing MDBP Summary.

    - Read MDBP Summary associated to the current FANL and Monitoring Period.

    - If a record is found and its Userid Code is not equal to ‘CDSSETUP’, create an advisory referencing message number 55 and record the water system number, name, tinwsys_is_number, and tinwsys_st_code of the water system record; the state_asgn_id and name of the water system facility record; the analyte for the FANL; and the begin and end dates for the monitoring period.  Otherwise, modify the MDBP Summary depending on its Type Code as detailed in Subprocess B above.

      - If the MDBP Summary is a MRDL, update the CDS trigger timestamp of MRDL Summaries whose MPA_APP_BEGIN_DATE is greater than this MRDL’s MP End Date and is less than or equal to this MRDL’s MP Begin Date + 1 year – 1 day (to trigger RAA recalculation and compliance determination).

      - If the MDBP Summary is a DSRD or SDRD, update the CDS trigger timestamp of the MDBP Summary for the next monitoring period (to trigger compliance determination).

    - If a record is not found, create an MDBP Summary and value the fields as detailed in Subprocess B above.

      - If the MDBP Summary is a MRDL, update the CDS trigger timestamp of MRDL Summaries whose MPA_APP_BEGIN_DATE is greater than this MRDL’s MP End Date and is less than or equal to this MRDL’s MP Begin Date + 1 year – 1 day (to trigger RAA recalculation and compliance determination).

      - If the MDBP Summary is a DSRD or SDRD, update the CDS trigger timestamp of the MDBP Summary for the next monitoring period (to trigger compliance determination).

  - If a Sample Schedule is not in effect during the sample collection end date, then look for a quarterly Sample Schedule with a begin date that is 2 months or less than the Field Result’s collection end date.  If still not found, then look for a yearly Sample Schedule with a begin date that is 10 months or less than the Field Result’s collections end date.  If a Sample Schedule is found,

    - Read MDBP Summary associated to the current FANL and a monthly Monitoring Period whose begin date and end dates overlap the Sample collection end date.

    - If a record is found and its Userid Code is not equal to ‘CDSSETUP’, create an advisory referencing message number 55 and record the water system number, name, tinwsys_is_number, and tinwsys_st_code of the water system record; the state_asgn_id and name of the water system facility record; the analyte for the FANL; and the begin and end dates for the monitoring period.  Otherwise, modify the MDBP Summary depending on its Type Code as detailed in Subprocess B above.

      - If the MDBP Summary is a MRDL, update the CDS trigger timestamp of MRDL Summaries whose MPA_APP_BEGIN_DATE is greater than this MRDL’s MP End Date and is less than or equal to this MRDL’s MP Begin Date + 1 year – 1 day (to trigger RAA recalculation and compliance determination).

      - If the MDBP Summary is a DSRD or SDRD, update the CDS trigger timestamp of the MDBP Summary for the next monitoring period (to trigger compliance determination).

    - If a record is not found, create an MDBP Summary and value the fields as detailed in Subprocess B above.

      - If the MDBP Summary is a MRDL, update the CDS trigger timestamp of MRDL Summaries whose MPA_APP_BEGIN_DATE is greater than this MRDL’s MP End Date and is less than or equal to this MRDL’s MP Begin Date + 1 year – 1 day (to trigger RAA recalculation and compliance determination).

      - If the MDBP Summary is a DSRD or SDRD, update the CDS trigger timestamp of the MDBP Summary for the next monitoring period (to trigger compliance determination).

  - If neither of the Sample Schedules specified above were found, create an advisory referencing message number 54 and record the water system number, name, tinwsys_is_number, and tinwsys_st_code of the water system record.

- Determine the status of the water system each Field Result is associated and whether there are FANLs of type MRDL, DSRD and/or SDRD in effect on the Field Result’s collection end date.

  - If the water system is a current, active, PWS with a federal source type that is not SW or GU, and has either a current DSRD or SDRD FANL but does not have a current MRDL FANL (for any analyte), create an advisory referencing message number 49 and record the water system number, name, tinwsys_is_number, and tinwsys_st_code of the water system record.

  - If the water system is a current, active, PWS with a federal source type of SW or GU, but does not have either a current DSRD or SDRD FANL but does not have a current MRDL FANL (for any analyte), create an advisory referencing message number 50 and record the water system number, name, tinwsys_is_number, and tinwsys_st_code of the water system record.

  - If the water system is a current, active, PWS with a federal primary source type of SW or GU, but does not have a current MRDL FANL (for any analyte), create an advisory referencing message number 51 and record the water system number, name, tinwsys_is_number, and tinwsys_st_code of the water system record.

  - If the water system is not a current, active, PWS and has any of the three types currently in effect (MRDL, DSRD, and/or SDRD), create an advisory referencing message number 52 and record the water system number, name, tinwsys_is_number, and tinwsys_st_code of the water system record.

  - If the water system is not a current, active, PWS (i.e., it is a historic system or an inactive PWS or non-public system), create an advisory referencing message number 53 and record the water system number, name, tinwsys_is_number, and tinwsys_st_code of the water system record.

Subprocess D. Calculate MRDL RAA, Assess DSRD or SDRD Compliance due to MRDL, DSRD or SDRD Additions or Modifications

Check-Point Restart Issues: This process will be driven by changes to MDBP Summaries (TSAMDBPS).

The record key for this subprocess is the composite of CDS trigger timestamp and the TSAMDBPS_IS_NUMBER columns.

The sort order for this subprocess will be CDS trigger timestamp ascending, TSAMDBPS _IS_NUMBER ascending.

- Create a log in the CDS Execution Log indicating the process start time.

- Identify MDBP Summaries where:

  - its CDS trigger timestamp is greater than the last run date & time for the CDS Setup process AND

  - the Type Code is either MRDL, DSRD or SDRD

- If MDBP Summary is a MRDL, calculate/recalculate RAA as follows:

  - Read each MRDL Summary:

    - whose MP Begin Date is greater or equal to the current MRDL Summary’s MP End Date minus 1 year + 1 day AND is less than or equal to the current MRDL Summary’s MP End Date AND

    - Is for the same Water System Facility as the current MRDL Summary’s Water System Facility (through their respective parent FANLs)

  - Sum the total days from each MRDL Summary

    - If the sum of Total Days is greater than zero, then calculate the weighted Average as

E (MDBP Summary MP Average Measure * Total Days) / E Total Days

    - If MRDL Summary’s parent FANL’s Control Level UOM is not MG/L, temporarily convert the Average Measure, to the same UOM as the FANL.

    - Round the converted weighted average to the same number of significant digits as the Control Level of the MRDL Summary’s parent FANL.

    - If the weighted average is greater than the Control Level, set the current MRDL Summary’s Level Compliance indicator to N, otherwise set to Y.

    - Store the weighted average in the MRDL Summary Running Annual Average Measure.

- If MDBP Summary is a DSRD or SDRD, determine Level Compliance as follows:

  - If Percent Samples Beyond Msr Lvl is greater than 5.0

    - Read MDBP Summary of the same Summary Type Code for prior Monitoring Period

      - If that MDBP Summary’s Percent Samples Beyond Msr Lvl is also greater than 5.0, set Level Compliance Indicator to N (if not already N)

      - Else set Level Compliance Indicator to Y (if not already Y)

  - Otherwise, set Level Compliance Indicator for current MDBP Summary to Y (if not already Y).

# Footnotes

Whether the Field Result has one the other or both, it is only counted as one sample.

For example, say the current MDRL Summary is for April 2005.  The RAA calculate would sum the MP Averages for the same WS and WSF with Monitoring Period Begin Dates >= 5/1/2004 and <= 4/30/2005.