VHA DECON TASK FORCE REPORT

STEPS TO ESTABLISHING A PRACTICAL HOSPITAL EMERGENCY MASS CASUALTY DECONTAMINATION CAPABILITY

March 27, 2002

Goal:  Each VAMC will achieve a hospital mass casualty decontamination capability that is appropriate to their needs and that meets basic criteria for quality and cost-effectiveness.

Summary:  In the event of a terrorist attack with weapons of mass destruction (WMD), nearby VA Medical Centers (VAMC) must be prepared to protect hospital facilities, staff, patients and to provide care to mass casualties in the event that local acute care facilities become overwhelmed.  This document provides a four-step approach to provide a standardized hospital decontamination facility for approximately $50K.  It involves a series of steps including:

- A site-specific needs assessment that addresses your VAMC and community needs and existing capabilities for WMD casualty decontamination,

- Development of a decontamination plan appropriate to the needs of your Medical Center and community,

- External review of that plan by VHA experts, and

- Implementation of the plan, with the assistance of VA large-scale purchases of standardized equipment.

Many VAMC may find that selection of a standardized, commercially available temporary decon package will fill their needs – to this end, this document provides the minimal requirements of such a standard package and an example drawn from a currently commercially available package.  In addition, documentation is provided for nine examples of specific permanent or fixed hospital decon facilities, including installations with small, medium and large patient capacity.

This document does not address the training requirements, personal protective equipment (PPE), and maintenance and refresher training in order to maintain readiness (these will be addressed in future documents).

Background:  All Americans are concerned about the potential threat of a terrorist attack involving weapons of mass destruction (WMD).  Such an attack could produce an overwhelming number of casualties, and nearby hospitals will be called upon to help manage both physical and psychological victims in the first 24-hours following an incident.

All nearby hospitals may find both physical and psychological casualties arriving at their facility.  In the 1995 sarin (a potent nerve agent) attack in the Tokyo subway system, contaminated casualties came to local hospitals.  Some health-care workers became ill from cross-contamination, which also affect their capability to provide care.  A simple decontamination (decon) capability, involving the removal of clothing and a show with soap, shampoo and water, would have prevented chemical contamination from entering the medical facility and threatening health care workers and the continued operation of the facility.

Regardless of a hospital’s current decontamination capabilities, a plan can be quickly developed to manage mass casualties from such an incident.  The resulting fear and panic are perhaps the greatest concern following an attack.  Nevertheless, with some straightforward precautions and procedures, basic safety equipment and supplies, hospitals can develop the self-confidence and competency to protect their hospital facility, staff and patients, as well as providing needed care to victims of such an attack who may present at their hospital.  A decontamination facility is designed to protect hospital facilities and staff so that they can safely and securely carry out their health care responsibilities in a contamination-free environment.

To be effective, any VA decon program must be inexpensive, appropriate to a hospital’s specific situation, simple in concept and practice, and easy to implement.  Moreover, every VAMC must develop procedures for specific emergencies identified through a hazards vulnerability analysis to be consistent with the new JCAHO guidelines.  Fortunately, we have available some specific cases of existing hospital decontamination facilities that can be used as examples for developing new decontamination plans that will meet these goals.  The following provides a step-wise approach to selecting and establishing an appropriate hospital decontamination capacity, involving 1) a site-specific needs assessment; 2) the development of an appropriate decontamination plan; 3) an external review of that plan; and 4) implementation, including access to VA large-scale purchases of standardized equipment.

STEP 1 – SITE-SPECIFIC NEEDS ASSESSMENT FOR YOUR HOSPITAL DECONTAMINATION FACILITY.

Expected Outcome: Each VAMC will determine its specific decon needs including mass casualty capacity, and requirements for a fixed versus temporary facility.

Every VAMC has unique features including 1) physical layout, 2) size of the staff and facility that require protection, 3) available and suitable space, 4) community and local emergency planners expectations for an actual emergency, and 5) existing mass casualty decon capabilities both at the VAMC and the community.  These unique features must be considered when developing an appropriate mass casualty decontamination program.

The Needs Assessment exercise will determine the appropriate scope for a mass casualty decon program, taking into account specific VAMC and community needs in an actual WMD emergency, and existing resources.   The time period for responding to a mass casualty event in your community is assumed to be a period of 24-hours following the incident.

The key criteria for appropriateness are ability to protect Medical Center staff and facilities, and to provide appropriate health care to mass casualties presenting at the hospital in an emergency.  Therefore, the first step of the program will require an initial simple site-specific needs assessment self-survey.

Key site-specific needs assessment questions are 1) determining community decon expectations, 2) evaluating existing decon capacities, 3) determining decon capacity needs, and 4) determining if your VAMC can be best served by developing fixed or temporary decon facilities.  Answering most of these questions will require consultation with other members of your community, including local emergency response planners, other hospitals, and other facilities that may have existing decon capabilities.  Obviously, it is impossible to predict exactly how a terrorist event could affect a given community, but educated projections can be made based upon the size of the community and the number and capacity of local hospitals.

- Determine your own VAMC decon capacity needs:

  - In a mass casualty event occurring near your Medical Center and in your community, how many of your Medical Center staff and patients could be affected and require decontamination in a 24-hour period?

  - How many others in the immediate vicinity of your facility may present and require decontamination in a mass casualty emergency?

- Determine your local community expectations for decon capabilities for both ambulatory and non-ambulatory casualties at your VAMC following an actual WMD mass-casualty event.

  - What are the expectations of your local community emergency planners and others for decon capabilities at your VAMC in a 24-hour period following an actual WMD mass casualty emergency in your area?

  - If a WMD mass casualty event took place in your community, how many local residents, including both veterans and non-veterans, ambulatory and non-ambulatory, do you estimate might present at your VAMC for decontamination and treatment in a 24-hour period (this may require consultation with other community members)?

  - Is your facility expected to be capable of decontaminating and treating both ambulatory and non-ambulatory patients? Or ambulatory patients only?

  - Are their other factors that could impact potential mass casualties numbers such as nearby storage of hazardous materials, or the presence of a military facility?

- Evaluate your existing VAMC and local community decon resources, and how they complement your decon needs.

  - What are the existing decon resources available to your community, including those at your VAMC, other hospitals in your community, and at other nearby non-VA facilities (this may require consultation with other community members)?

  - How many staff do you currently have or could have trained to meet OSHA 1910.120(q) 1st Responder Operations Level, and relevant respiratory protection standard requirements found in 1910.134, that could conduct necessary decon activities, during normal and after hours?  And, are they available on-site or would a recall process be required?

  - What is the capacity of existing resources in terms of casualties that can be decontaminated in a 24-hour period, following a WMD emergency?

  - How effectively are these resources integrated into a community emergency response program that can effectively meet overall community mass casualty decon needs?

- Given your answers above, calculate your VAMC decon capability requirements for ambulatory and non-ambulatory casualties, as:

  - Large capacity (capable of handling more than 100 ambulatory casualties in 6-hours), e.g., for a hospital in a major metropolitan area or with few other decon resources, or near a hazardous materials storage site;

  - Medium capacity (capable of handling 20 to 100 ambulatory casualties in 6-hours), e.g., for a hospital in a medium-sized metropolitan area or with some existing community decon resources, or

  - Small capacity (capable of handling less than 10 ambulatory casualties in 6-hours), e.g., for a hospital in a low-population area or with significant community decon resources.

- Determine if your calculated VAMC decon capacity requirements can be best served by developing fixed or temporary decon facilities.

  - Given the specific physical layout of your Medical Center, is space available for installing a fixed, dedicated decon facility (such as a alley-way or outside external corridor), or is a temporary decon facility (such as an inflatable tent set up in a parking lot) more appropriate?  (It is important to note that decontamination must take place outside of the medical facility, and outside security will be required to ensure an effective and orderly process.)

  - If a temporary, portable decon facility is indicated, how many staff do you have available to set-up that facility during normal and after hours?  And, are they available on-site or would a recall process be required?

Answering these questions will determine the capacity of the necessary VAMC decontamination program.  Those VAMC fortunate enough to be part of a larger community with significant existing emergency decon capabilities may need few or even no new capabilities to meet their overall needs.

STEP 2 – DEVELOPMENT OF A DECONTAMINATION PLAN APPROPRIATE TO THE NEEDS OF YOUR HOSPITAL AND COMMUNITY.

Expected Outcome:  Each VAMC will use their needs assessment results to develop an appropriate decon plan for their facility, assisted by existing examples of VAMC and private hospital decon facilities.

After determining the appropriate decon capacity, each VAMC must develop a decon program plan that fully meets those requirements.  Each VAMC should be able to use this information to develop a short narrative plan for their own hospital, including the type of program selected, how it meets hospital decon needs, and a simple “floor diagram” illustrating the layout and location of the proposed decon facility.

Many Medical Centers can take advantage of standardized commercially available decon packages designed to be rapidly set up in a parking lot or other available space outside of the hospital.  A standard, commercially available rapidly deployable temporary decon package used by the Brooklyn, NY, VA is one example of a system that could be considered.  These flexible packages supply the entire mass casualty decon shower system, and are commercially available for about $30K (VA is currently evaluating such packages available from several vendors).  These have the advantages that they can be set up virtually anywhere, such as a parking lot, require a minimum of maintenance when not in use, and are relatively inexpensive.

A commercially available temporary tent-based decon showers system offering at least medium decon capacity is based upon a rapidly deployable ridged frame tent structure, equipped with a stand-alone hot water generator, an air heater for operation in cold weather, along with the materials required to assemble a complete decon system.  A baseline package will include:  An outdoor Mass Casualty Decon System with an approximately 16’ X 16’ rapidly deployable ridged framed tent (capable of withstanding adverse weather conditions), equipped with a self-contained powered water heater system capable of providing warm-water showers appropriate to needed decon capacity under all weather conditions, a self-contained fresh air heater to maintain appropriate air temperatures for minimally clothed victims under all weather conditions, all necessary water supply hoses, spray wands, decon booms, decontamination litters for handling non-ambulatory victims, modesty curtains for providing appropriate privacy, a full floor system and temporary waste-water containment berm with the capacity of handling waste-water from the decon shower system and corresponding wastewater containment bladder, self-contained interior lights, and 4-hours hands-on on-site training.  The entire decon system should be deployable within 30 minutes and should be placed in storage containers when not in use.

Examples of large, medium and small hospital mass casualty decon programs that have been successfully implemented at VAMC and other hospitals, including the use of fixed facilities, are provided in the attached document “Hospital Mass Casualty Decontamination Facility Examples.”).  These examples provide sufficient detail (photographs, numbers of showers, waste-water handling details, Personal Protective Equipment, contact information, etc. to allow local hospital engineers to plan for an appropriate facility at their VAMC.

The proposed VAMC decon plan should be submitted to Mr. John E. Kraemer, room 864, VA Central Office, 810 Vermont Ave. NW, Washington, DC 20420 (email john.e.kraemer@hq.med.va.gov).    Proposed plans should be no longer than a few pages in length, and address the following issues:

- Identification and rational for the calculated 24-hour decon capacity (as large, medium, or small).

- Size of the staff and facility that will be protected.

- Role the facility plays in support to the community for mass casualty care and mass casualty decontamination.

- Existing on-site decon capabilities.

- Existing decon capabilities within the community, and how those may complement on-site capabilities.

- Patient flow diagram (should be part of the facility diagram but should be specified to ensure that all proper/required stations have been incorporated).

- Estimated set-up requirements to include staff and time.

- Selection and rational for a fixed versus temporary facility, and sources of water for decon showers.

- Ambulatory and non-ambulatory patient capabilities.

- Cold weather decontamination considerations

STEP 3 – EXTERNAL REVIEW OF THAT PLAN BY VHA EXPERTS.

Expected Outcome:  Specific decon facility plans developed by each VAMC will be reviewed by a VHA expert group to ensure consistency, high quality, and cost effectiveness.

To ensure consistency, high quality and cost effectiveness of VAMC decon facilities, each VAMC’s proposed decon plan will be reviewed by a VHA expert review group.  The review is not a grading process; rather it will help ensure that VAMC facilities can receive expert guidance in decontamination, even if their staff has little experience in this area. The review process will assure that the plan meets minimum quality, cost and effectiveness standards for the required capacity needs as determined from the Needs Assessment step.  The proposed plan will further be reviewed to ensure that it meets the two primary decon program goals of protecting hospital and staff, and of providing care to casualties.  This review process will ensure a uniform level of decontamination program across VHA, ensure consistent cost estimates, and will support development of large-scale purchases of standardized equipment and materials, when appropriate.

STEP 4 – IMPLEMENTATION OF THE PLAN, WITH THE ASSISTANCE OF VA LARGE-SCALE COST-SAVING PURCHASES OF STANDARDIZED EQUIPMENT AND MATERIALS.

Expected Outcome: Following approval of each decon plan, each VAMC will implement their plan at their facility, assisted by access to large-scale cost-saving purchased materials.

Following review and acceptance of a hospital decon facility plan by the VHA expert review group, a hospital will be expected to implement that plan at their facility.  Most of the examples of functioning hospital decon programs provided in the attachment were implemented using hospital engineering staff and locally obtained materials.  However, a key advantage of the standardized large-scale contractual purchase approach described above is that it will allow for potentially significant cost savings from large-scale government purchases of standard materials and equipment that can be used across all installations.  This will include standard inflatable or rapidly deployable tent-based shower decon systems.  These will be made available to individual hospitals, as appropriate.

A VHA Executive Decision Memorandum  “Accelerated Provision of Level C Personal Protective Equipment (PPE) for Medical Center Employees Involved in Emergency Decontamination of Victims Exposed to Nuclear, Chemical, or Biological Contaminants as part of a more comprehensive PPE program,” was recently approved by the VA Policy Board.  That memorandum addressed the need for VHA to accelerate the acquisition of adequate personal protective equipment (PPE) so that VHA personnel can begin to train and use the equipment necessary to safely decontaminate incoming patients in the event of a terrorism attack.  It provided the basis for funding decisions necessary to accelerate the acquisition of PPE needed to carry out decontamination activities.  For this purpose, a national purchase of equipment was recommended to begin the implementation process, utilizing a splash suit along with a full-faced or hooded air purifying respirator or powered air purifying respirator (PAPR) with cartridge equivalent to the 3M FR57 cartridge as defined by OSHA.

VHA Decontamination Task Force Members

1. Tom Weaver, Director, Bay Pines VAMC

2. John Beatty, Safety Officer, Little Rock VAMC

3. Grace Stringfellow, M.D., Amarillo VAMC

4. John Donnellan, CEO, New York Harbor HCS Brooklyn Campus

5. Ed Thorsland, Director, Denver VAMC

6. Arnie Bierenbaum, General Engineer, VACO (10NB)

7. Cynthia Gavin, Project Manager, RPI/Titan Corporation

8. John Siegmund, DoD US Army Soldier and Biological, Chemical Command

9. Paul Fedele, DoD US Army Soldier and Biological, Chemical Command

10. Anthony Macintyre, Emergency Medicine, George Washington University

11. James Church , DoD US Army Soldier and Biological, Chemical Command

12. Pete Farlow, DoD US Army Soldier and Biological, Chemical Command

13. COL Craig Postlewaite (Staff Director/Director for Deployment Health), Military and Veterans Health Coordinating Board

14. Rosemary Sokas, NIOSH/CDC

15. Mark Brown, Director Environmental Agents Services, VHA

16. Craig Hyams, Chief Consultant Occupational and Environmental Health, VHA

17. Michael Hodgson, Director Occupational Health Program, VHA

# Footnotes

This document is based on a two-day meeting of the VHA Decontamination Task Force, held January 29-30, 2002 at VA Central Office, Washington DC (Task Force membership on page 8).

The Emergency Management Program Guidebook (http://vaww.ceosh.med.va.gov/DocsWeb/Guidebooks/data/EMP/emp.htm) guides users through a process that leads to an enhanced capability to deal with all hazards.  In the completion of the hazard vulnerability analysis and development of a Standard Operating Procedure, the VAMC should consider  [(Emergency Management Program Guidebook: Step 3.2 – see also 3.10.3- Hazard Vulnerability Analysis (HVA) Instructions and Step 7: develop SOPS, see: 7.2.3: External Chemical Events].

Nevertheless, every hospital must consider a decon capability for an isolated incident involving one or two casualties.

Any questions you may have about this needs-assessment exercise can be directed to Mr. John Kraemer, VACO, email john.e.kraemer@hq.med.va.gov.

However, every VAMC should evaluate their current capability for both an isolated incident with one or two casualties, versus a general incident producing many casualties.

Some experts believe that permanent or semi-permanent shower emergency decon facilities have several advantages over temporary tent type facilities.  These include the speed of setting up the facility, lower manpower requirements for set-up, and lower training requirements for the fixed or semi-fixed facilities.  Fixed and semi-fixed facilities can be implemented in a wide variety of situations such as outdoor corridors, alleys, along an external wall, or external smoking rooms.  Such facilities may even be less expensive than temporary facilities.

For an electronic copy of that document email your request to john.e.kraemer@hq.med.va.gov.