July 15, 2002

Documents Management Branch

Food and Drug Administration

fdadockets@oc.fda.gov

SUBJECT:	DOCKET NO. 02N-0204

Department of Health and Human Services

Bar Code Label Requirements for Human Drug Products

Please consider this as the comments and input from the Center for Automatic Identification at Ohio University for your consideration regarding the above-referenced hearing and proceedings.

Introduction and Credentials

The Center for Automatic Identification at Ohio University is the nation’s first university-based, non-profit educational and research facility dedicated to the understanding and implementation of Automatic Identification and Data Capture (AIDC) technologies.  We are in our 16th year of educating both the academic and business communities on the advantages of implementing AIDC solutions in support and improvement of their business processes.  Please note that when we reference AIDC, we are identifying Bar Coding as the most-understood and most deeply implemented of AIDC technologies.  Other technologies include Radio Frequency Identification, Magnetic Stripe, Smart Card and Biometrics.  Of these, only Bar Coding is in the scope of the subject Docket 02N-0204.  COMMENT:  While our comments below are limited to a direct response to the topic of “Bar Code Label Requirements for Human Drug Products; Notice of Public Meeting” we do suggest that participants and organizers of the public meeting and those who participate in any resulting action must be aware of these other technologies.  Depending on the application, the best Data Carrier for the job may be a bar code – and it very frequently is.  Other Data Carriers such as Radio Frequency Identification (RFID) may very well be suitable in some Logistics-related (and some item-related) applications.  The remainder of our comments concentrates on bar codes as the Data Carrier of choice.

The Center for Automatic Identification at Ohio University is both provider-independent and technology-independent.  This allows us to conduct research and provide instruction on AIDC  solutions without being “tied” to any individual or group of solution providers.  Our Center staff includes professionals from the manufacturing, academic, and AIDC standards organization disciplines.  Our Executive Director has 35 years of experience in the engineering, business and academic sectors while our Managing Director has 14 years of experience with AIDC standards (primarily Bar Code) including 12 years with the Uniform Code Council in both technical and educational capacities.  We bring credentials of professionalism, technical accuracy, and academic credibility to the Docket Item currently facing the FDA.

Comments on your Scope of Discussion

A.  General Questions Related to Drugs and Biologics

1.  All prescription and OTC drugs; all blood products and vaccines, and all medical/surgical devices should carry bar codes.  The need to match the right {drug/process/device} to the right patient is present for all of these categories.  So is the need to identify inventories of all subject categories in a TIMELY and ACCURATE manner, as is enabled by appropriate implementation of bar coding technology.

2. At a minimum, primary product identification shall always be encoded in the appropriate bar code symbology (or symbologies.  See 3.  below.)  Primary Product information may be defined as Whose product is it?  Which of their products is it? And What level of packaging is it?  In the EAN.UCC system of standards (globally and jointly administered by the Uniform Code Council in the U.S. and by EAN International based in Brussels), this primary information is encoded – at all levels of packaging – in the Global Trade Item Number (GTIN.)  This is the same information encoded for retail products, including all OTC drugs and Health and Beauty Products.  Desirable secondary or supplemental data should include the product’s Expiration Date where applicable as well as the Batch/Lot identification for traceability, inventory freshness, and potential recall purposes.  The EAN.UCC system already has Application Identifiers (AI) defined for all of the primary and secondary attributes.  They are:

.  Primary product ID (GTIN	AI(01)		2-digit AI plus 14-digit GTIN (numeric)

.  Expiration Date (Safety Date)	AI(17)		2-digit AI plus 6-digit date (YYMMDD)

.  Batch/Lot Code			AI(10)		variable-length alphanumeric field

3.  Multiple symbologies should be defined as the applications dictate.  Specific examples include, but are not limited, to:

.  UCC/EAN-128 for shipment, pallet, and shipping container identification.

.  Either EAN/UPC or UCC/EAN-128 for “consumer unit” identification.

- EAN/UPC encodes only the “Primary” product identification and is the same symbology seen on OTC items sold at retail.

- UCC/EAN-128 encodes both the primary product ID (GTIN) as well as all requisite secondary or supplementary ID such as Date and Batch/Lot.  It is not used at retail Point Of Sale but is usable for all non-POS data capture.

.  Depending on the space available, either UCC/EAN-128 or the newer, more space-efficient Reduced Space Symbology (RSS) developed by the Uniform Code Council are applicable at the unit dose/unit of use level.  Again, depending on space available and on the amount of secondary/supplemental data to be encoded, either the RSS as a standalone solution, or the Composite Symbology as an integrated solution, should be considered.  The Composite Symbology uses a linear bar code to encode the GTIN and a linked Two Dimensional (2D) symbology to encode the secondary/supplemental data.  The reader should be aware of substantive differences between linear (one-dimensional) bar code symbologies and 2D or matrix symbologies.  There are applications for both of them, and their selection depends on the scanning environment, the amount of data being encoded, and the space available in which to print the bar code.

No single bar code symbology meets the size, space and data content parameters for all these levels of packaging.    A noted benefit of the EAN.UCC solutions is that they are global in nature and are recognized by national and international standards bodies.  The Application Identifiers discussed above (and nearly 100 others) are jointly developed, defined, and assigned by EAN International and the Uniform Code Council.  If it is a point of consideration for the FDA, as it is for those in retail and industrial/commercial supply chains, these are indeed global solutions.

4.  Symbol Placement Guidelines should be developed for all types of packaging at all levels of packaging.  Such placement guidelines shall take ergonomics, scanner type, symbol type, packaging type, transportation and materials handling, and point-of-capture configuration into consideration.

While unit of use marking provides the ultimate patient/medication match, unique identification of all levels of packaging (unit of use, consumer, multipack, shipping container, pallet, shipment) enables accurate inventory and accountability throughout the supply channel from manufacturer to wholesaler/distributor to healthcare provider facility to the end point of use.  EAN.UCC standards already specify symbol placement on a variety of packaging types.

5.  All OTC products in healthcare and other retail channels currently utilize bar codes at all levels of packaging, using EAN.UCC standard symbols and data structures.

B.  Medical Device Questions

1.  Medical devices should carry bar codes as a standard part of their product identification.  Recognizing the many distinctions between drug products and devices, and with all due respect for those distinctions, let’s look at the similarities:  Products are manufactured.  Products are ordered, shipped and received.  Products go through a distribution network.  Products are matched with a patient.  In the case of drugs, the association between patient and drug is temporary.  In the case of devices, the association may also be temporary, such as with a swab, a bandage, or sutures; or permanent or semi-permanent, such as with an implant or joint replacement.  The need to identify products and track their inventory supercedes the distinction between drug and device.  There may be the requirement on some devices to provide an additional data element – Serialization.  WHICH device, among many identical or similar ones, are we tracking?  The EAN.UCC system again meets this need with Application Identifier (21) for Serial Number, a variable-length alphanumeric data structure supported by UCC/EAN-128, RSS and CS.

2.  Tongue depressors, syringes, and bandages should be identified with bar codes as well.  Not on the individual item (where it does not make sense to do so) but at all levels of packaging above the unit of use level.  How else will their inventories be kept accurate?  Receipt and use of any of these levels of packaging (use being defined as removal from stores) should be recorded by a scan of the bar code associated with the item received or removed.  Supplementary identification such as Batch/Lot identification is also applicable to many products in the Device category due to the need for traceability and selective recall.

3.  We have no input on this issue.

4.  Inventory levels of medical devices are much more easily and accurately maintained with bar codes.  The issue is not only one of patient safety, but one of what makes economic sense for the Healthcare Industry and its supply network.  We would also suggest that great benefit is derived from matching the right device (implant, joint, pacemaker, insulin pump, etc.) with the right patient, just as clear benefit is seen in matching the right drug product with the right patient.

C.  General Questions and Economic Impact Questions

As a University-based educational and research facility, we cannot answer manufacturer-specific questions.  We would like to comment on one point under this section, however.

3.  We do not manufacture any bar code printing, scanning, or verification equipment.  However, we will express a strong opinion that clearly defined standards for bar code symbol quality verification should (shall) be an integral part of:

.  Any FDA standard or guideline relating to the use of bar codes

.  Any drug or device manufacturer’s overall quality program

.  Any customer or healthcare provider’s requirements for bar coding that they communicate to their supplier network.

Bad bar codes mean bad data or no data at all.  In the case of a retail product, significant inconvenience and some form of financial repercussion (negative) are caused for both the retailer and the supplier.  (Sometimes for the customer as well.)  In the case of a drug product, misidentification of the product, or mismatch of product and patient, may result in more severe negative repercussions.  Holding suppliers of printed bar codes to established, existing ANSI/ISO standards and guidelines for bar code symbol quality should indeed be an integral part of any statement on the use of bar codes published by the FDA.  We do not specify the use of any particular line of verification devices, but we must emphasize the importance of a uniform set of requirements (minimum as well as recommended) for any and all bar code symbologies utilized.  Quality bar code symbols help insure quality data and quality service.

Conclusion

The Center for Automatic Identification at Ohio University stands ready to participate in the FDA’s efforts to discuss, define, research, specify, educate, and implement the utilization of bar codes for the identification of human drug products and medical/surgical devices.  We would ask to be considered by the responsible parties when the time comes to solicit Requests for Proposals in the arena of bar code printer, scanner, and verifier research and in the arena of manufacturer/supplier/provider/user education on the resulting standards and their implementation.

Thank you for your consideration

Bruce E. Philpot

Managing Director

Center for Automatic Identification

Russ College of Engineering and Technology

128A Stocker Center

Ohio University

Athens, OH  45701-2979

Phone 740.593.1453

Email philpot@ohio.edu

Website www.ent.ohiou.edu/autoid