Manzanillo, Mexico

76654

May 25-28, 2005

Observatorio Meteorologico

Unidad Habitacional Padre Hidalgo

Calle 9 s/n

C Postal 28200

Manzanillo, Col

Mexico

Location and Description of Manzanillo, Colimo:

The Manzanillo Observatory 76654 is not located at an airport.  The airport is roughly 40 kilometers northwest of the City of Manzanillo.  The city is on the Bahia of Manzanillo and is a major container port for Mexico.  A chain of very tall and sharp hills or mountains reaching up to about 1500 feet form the eastern border of this seaport.

Location and Description of the Surface and/or Upper Air Observatory

The observatory is located on a peninsula in the southwest corner of the city between the Gulf of Cuyutlan and the Pacific Ocean.  A moderately busy street oriented North-South is within 75 feet of the west side of the Instrument Field.  Further to the west is a range of hills or small mountains of about 1300 feet in height.  The Pacific Ocean borders the west side of these hills.  The Gulf of Cuyutlan is roughly one half mile to the east of the Instrument field.  Hills or small mountains of about 1300 feet are North and South of the instrument field but far enough away (2 miles) so they do not really hamper the flow of air.

The latitude and longitude of the observatory was verified by using a GPS positioning system.  The contractor was assured the height of the cistern of the barometer was accurately measured several years ago and has not changed.  The height of the Rain Gauge is estimated to be within a foot of the height of the barometer.  Special measurements to determine the height of the rain gauge would be expensive and not practical.

During the early 1930s an observatory was located a mile or so towards the Northwest and on top of one of the hills recorded as 92 Meters above mean sea level.  During 1941 that observatory was abandoned and a new one became operation in an observers home roughly two miles north of the current observatory and at roughly 3 or 4 meters above sea level.  In 1965 the observatory was established at its present location and has operated since that time without interruption with the Oct-December 1959.  At that time an unnamed hurricane struck the city and caused severe damage and disabling the observatory.  The original observational records dating back to the early 1930s still exist at the current observatory and are in fragile condition.  The observatory began the upper air radiosonde program during 1970  using the GMD system.

It is likely the observatory will remain in its current location and will be supported by the Servicio Meteorologico Nacional (SMN) for many years to come.  The Director of SMN assured the contractor there are no plans to discontinue support to or move the observatory.

Operation

Normally this observatory is open and operational 24 hours per day and transmits the 8 main surface synoptic reports and the 1200Z Radiosonde Observation.  They have a staff of six people that do both surface and upper air observations.  There is not an electronics technician permanently stationed at Manzanillo.  Because of staffing limitations the observatory reduces it operational hours during certain months of the year, namely the holiday and vacation periods.

SURFACE OBSERVING INFORMATION

General Information

Budgetary restrictions do not allow the SMN to maintain full staffing at certain observatories.   In order to offset the bad effects of this restriction the SMN is planning to supplement some these surface observatories with automatic weather stations, allowing observations to be taken during late night and early morning hours.  The specific sites will be identified at a later date.

Description of the Instrument Field

The official Instrument Field (IF) is roughly 20 square feet in area with another 20 square foot area attached on the east side that is not in use.  The surface is a mixture of rough and short ground cover and exposed earth.  A chain link fence of about 8 feet tall surrounds the IF.   There are no tall obstructions nearby that could impede or influence the flow of air over the IF.  There is no evidence of potential water puddling within the area of the IF.  There may be some contamination of the air over the IF because of automobile traffic along the street beside the IF.  However the contractor does not believe there is sufficent heat generated by the traffic or anything else that could influence the measurement of the sensors.

Instrumental Shelter

The Instrument Shelter is the standard type and is approximately 3 feet wide by 18 inches deep and is plenty spacious. The shelter is made of louvered wood and is white although it does need to be painted.  The floor of the Instrument Shelter is 1.65 meters above the ground.  The shelter is a few feet away from the south side of the IF.  The shelter is adequately exposed to the elements.

The official Psychrometer, Maximum and Minimum Thermometers are properly mounted within the Instrument Shelter.  The Psychrometer is a Lambrecht composed of a dry and wet bulb thermometer with a muslim wick permanently bathed distilled water.  The Psychrometer is not artificially aspirated.  The Lambrecht Maximum and Minimum thermometers are properly mounted in a horizontal plane above the Psychrometer.  The contractor made repeated comparisons with a traveling standard thermometer (psychrometer) and found the instruments to be within acceptable limits.  The Contractor is satisfied that the observatory is making accurate temperature and humidity measurements.

There is a thermograph and a hydrograph as well as a dial hygrometer located in the shelter.  These are not official and are not used in calculating the CLIMAT message.

The rain gauge is a standard collecting instrument mounted on a cement pedestal with the 6 inch orifice approximately 6 ½ feet above the floor of the IF.  The elevated placement of the gauge prevents splashing of water into the gauge.  The orifice is the large end of a funnel type collector with the bottom orifice being approximately ½ inch in diameter.  The water is collected in a small vessel below the funnel and is well protected against evaporation.  The measurement is made by the standard procedure of pouring the water into a graduated clear plastic vessel and easily read by the observer.  The gauge is level and is supported by the cement pedestal to keep it from tipping during high winds.  The gauge is roughly 3 feet from the west side of the IF.  The fence is less than two feet taller than the top of the gauge.  The fence is chain link and does not influence the flow of air over the gauge. The Contractor is satisfied the observatory is making accurate rainfall measurements.

There are two other recording rain gauges that are used for local purposes and are not used for CLIMAT purposes.

A standard size evaporation pan is located centrally in the IF.  There is no instrument to measure the miles of wind that pass over the evaporation pan

.

There is a Campbell-Stokes sunshine recorder that is properly exposed and the recording cardboard collars are accurately positioned.

The wind velocity instruments are mounted approximately 12 meters above the Observer’s office and is composed of a 3 cup anemometer and pointing wind vane.  Need type brand etc  calibration etc etc

Station Pressure

The official barometer is a Nova-Princo  made in Southhampton, Pennsylvania.  The height of the cistern of this mercurial barometer has been measured to be 3.41 meters above mean sea level.  This barometer replaced a mercurial Tonnelot of Paris barometer sometime during 1993.

Operational Practices

Five or ten minutes prior to each hour, the observer visits the instrument field and collects the data needed for the observational record.  The data is recorded by hand on a standard type observational log.  The observer manually types the headers and synoptic message on a computer which transmits it via internet to Mexico City SMN headquarters where it is then entered onto the WMO GTS.  The data is archived on the computer for use in creating and transmitting the CLIMAT message to SMN for further distribution.

Some statistics of the Surface Program

Washington DC, NCEP routinely receives approximately 150 to 200 surface observations per month from Manzanillo.    During the period only y CLIMAT reports are missing at NCDC.  The contractor will work with SMN to send these CLIMAT messages to NCDC.  The missing CLIMAT messages are:  Jan & Nov 2001,  Jan & Nov 2002, August 2003, and February & December 2004.

UPPER AIR OBSERVATION INFORMATION

The observatory began the upper air program during 1970 with the support of NOAA/NWS using the old GMD1a, VIZ radiosondes, and 600 gram balloons.  On October 1, 1998 the observatory switched to the Vaisala DigiCORA I system.  The observatory routinely performs the daily 1200Z observation.  The balloon is launched approximately one hour before 1200Z or 1100Z which is 5:00AM in Manzanillo.  They are using the Vaisala DigiCORA I system along with RS80-400MHz radiosondes and 350 gram balloons.  The balloons are part of their contract with Vaisala Corp.  The wind finding system is the GPS type.  Both antennas are mounted atop the office of the observatory with workstation in the main office.

The balloon shelter is very large with double doors facing east and west.  The ceiling is high enough to accommodate very very large balloons.  The Inflation room is in excellent condition and very clean and orderly.

They use a Stuart 7 cell Electrolyser that is in excellent shape for a very old piece of equipment.  This was donated by NOAA 30 or more years ago.  The staff indicated the generator is reliable and seems to work properly.  They do not have a spare pump for the generator which could present a problem if the primary fails.  They use a Culligan reverse osmosis water cleansing system with another set of filters in line to the generator.

The old GMD dome is still located on top of the balloon shelter with the remains of the old GMD antenna unit inside.  The shelter is in good condition and could be used for other purposes it the need ever arises.

The use of 350 gram balloons typically results in lower heights for the sounding.  The automatic turn-off mechanism of the inflation nozzle is broken, so the observers use their judgement in determining when the balloon has enough gas in it.  This practice is accepted in many instances, however in order to try and increase the height of balloon burst, the Contractor feels the observatory should acquire a new balloon weigh-off system and resume the standard balloon filling practice.  The below graph shows San Jose, Costa Rica averaging much better heights using the same equipment.  Balloon burst is the most common reason for flight termination for both sites.

During the summer months the winds from the North become strong during launch time and the observers have to over inflate the balloon in order to increase the rate of ascent during the first minute.  This is because of the overhead wires and buildings near the launch site that the balloon could hit unless it gets high very quickly.  The contractor believes the increased lift causes the balloon to burst early.  The observatory staff and the contractor are investigating this possibility.

Operational Procedures

The coded message is automatically transferred from the Vaisala work station to the adjacent desktop computer and transmitted to Mexico City SMN fo insertion onto the WMO GTS.  This is a very good system that discourages typographical and transcriptional errors.  The production of CLIMAT TEMP messages was reinstated during January 2005.  The CLIMAT TEMP messages for all the Mexican upper air observatories are created at SMN headquarters using the SICA software.

FUTURE OF THE RADIOSONDE PROGRAM

Mexico has 16 upper air and nearly one hundred surface observatories.  Budget restrictions have caused the SMN to discontinue the operation some of the upper air observatories and perhaps change support to several of the surface observatories.   Vaisala Corp. is discontinuing the production of the RS-80 sonde which is currently used at the 11 operational upper observatories.  The ground equipment at these sites must be modified to accommodate the new Vaisala RS-92 radiosonde.  This modification is very expensive and is approximately $20,000.00 per site.  The SMN has decided to do this modification to 6 observatories beginning August 2, 2005.  The remaining sites, including the GUAN observatory in Manzanillo, will likely undergo this modification sometime in late 2006 if funding permits.  As of this date, May 2005, the SMN has arranged for Manzanillo to have a sufficient supply of RS-80 sondes until the expected modification occurs.

RECOMMENDATIONS

Work with SMN to increase the average heights of the balloon soundings.  Investigate purchasing a balloon fill regulator/cut off system and a spare pump for the Electrolyser system.