PUERTO RICO ENVIRONMENTAL QUALITY BOARD

ANTI-DEGRADATION POLICY IMPLEMENTATION PROCEDURE

The Puerto Rico Water Quality Standards Regulation (PRWQSR), as amended, includes an adopted Anti-degradation Policy.  The goal of this Policy is to conserve, maintain and protect the designated and existing uses of the waters of Puerto Rico and the water quality necessary to protect these uses.

It is the desire of the Commonwealth of Puerto Rico to develop and adopt identified methods for implementing the above-referenced Anti-degradation Policy to be consistent with the Code of Federal Regulations (40 CFR Part 131.12).  Therefore, in order to promote the aforementioned policy the Puerto Rico Environmental Quality Board (EQB) has developed the following procedure.

- General Policy Statement:

  - Point sources of pollutant are subject to an anti-degradation review.

  - An anti-degradation review shall be initiated as part of the Section 401-(Water Quality Certification Process( of the Clean Water Act (CWA).

  - The following are not subject to the anti-degradation review due to the fact that they are non discharge systems and are managed under specific regulations:

    - All Non-Point sources of pollutant

    - Underground Storage Tanks

    - Underground Injection Facilities

    - Confined Animals Feeding Operations?? (Why is this exempt)

  - The protection of water quality shall include the maintenance, migration, protection, and propagation of desirable species, including, threatened and endangered species identified in the state of federal regulations.

- Definitions

  - All the definitions included in Article 1 of the PRWQSR, as amended, are applicable to this procedure.

  - High Quality Waters:

    - Are waters whose quality is better than that necessary to protect  (fishable/swimmable( designated uses.  High Quality Waters are identified by EQB on a parameter-by-parameter basis.

  - Outstanding Natural Resources Waters (ONRW):

    - Are waters classified as SA and SE by the PRWQSR, as amended or any other water designated by Resolution of the Governing Board of EQB.  ONRWs are waters that are ecologically important, unique or sensitive.

- Anti-degradation Review Procedure

The anti-degradation review will commence with the submission of the CWA Section 401 Water Quality Certification request.  The EQB uses a parameter-by-parameter approach for the implementation of the anti-degradation policy and will review each parameter separately as it evaluates the certification request.  Certification of Compliance with Article 4-C of the Environmental Public Policy Act (Law No. 9), as amended, regarding the environmental document review process is required prior to submission of the aforementioned request.  During the evaluation process of the environmental document an alternatives analysis shall be done and a public participation period is provided in accordance with the Reglamento de la Junta de Calidad Ambiental para el Proceso de Presentación, Evaluación y Trámite de Documentos Ambientales.

In conducting an anti-degradation review, the Water Quality Area (WQA) of EQB will sequentially apply the following steps:

  - Determine which level of anti-degradation applies

      - Tier 1 ( Protection of  Existing and Designated Uses

    - Tier 2 ( Protection of High Quality Waters

    - Tier 3 ( Protection of Outstanding Natural Resources Waters

  - Review existing water quality data and other information submitted by the applicant.  The applicant shall provide to the WQA the following information regarding the discharge:

    - A description of the nature of the pollutants to be discharged.

    - Treatment technologies applied to the pollutants to be discharged.

    - Nature of business.

    - Daily maximum and average flow to be discharged.

    - Effluent characterization.

    - Effluent limitations requested to be applied to the discharge according to         Section 6.11 of the PRWQSR.

    - Location of the point of discharge.

    - Receiving waterbody name.

    - Water quality data of the receiving waterbody.

    - Receiving waterbody minimum flow (7Q2 and 7Q10) for stream waters.

    - Location of Water intakes within the waterbody.

    - Any other necessary information required by the PRWQSR.

    - For high quality waters (as defined in Section b.II), a demonstration that a lowering in water quality is necessary to accommodate important social or economic development in the area where the waters are located, and an alternatives analysis.

Determine if additional information or assessment is necessary to make the decision.

  - The WQA prepares an intent to issue or deny the water quality certificate and publishes a notice in a newspaper of wide circulation in Puerto Rico informing the WQA(s preliminary decision and granting a public participation period of at least thirty (30) days.

  - Address the comments received from the interested parties, and consider such comments as part of the decision making process.

  - The EQB makes the final determination to issue or deny the requested certification.  Such decision is subject to the reconsideration procedure established in Law 170 of August 12, 1988, Ley de Procedimiento Administrativo Uniforme del Estado Libre Asociado de Puerto Rico.

Implementation Procedures

  - Activities Regulated by NPDES Permits

    - Tier 1 ( Protection of Existing and Designated Uses (Figure 1):

      - Tier 1 waters are:

        - Those waters (except ONRW, which are Tier 3 waters) identified as Category 5 in the 305(b)/303(d) Integrated Report (Puerto Rico Water Quality Inventory and List of Impaired Waters) (provide a brief explanation of what (Category 5" is); and

        - Those waters (except ONRW, which are Tier 3 waters) for which attainment of applicable water quality standards has been or is expected to be, achieved through implementation of effluent limitations more stringent than technology-based controls (Best Practicable Technology, Best Available Technology and Secondary Treatment).

      - To implement Tier 1 anti-degradation, EQB must determine if a discharge would lower the water quality to the extend that it would no longer be sufficient to protect and maintain the existing and designated uses of that waterbody.

      - When a waterbody has been affected by a parameter of concern causing that it to be included in Category 5 in the 305(b)/303(d) Integrated Report (Puerto Rico Water Quality Inventory and List of Impaired Waters), then the WQA will not allow a net increase (define this term) of loading for the parameter of concern or pollutants affecting the parameter of concern.  This no net increase will be achieved by meeting the applicable water quality standards at the end of the pipe.  Until such time that a Total Maximum Daily Load (TMDL) is developed for the parameter of concern for the waterbody, no discharge will be allowed to cause or contribute to further degradation of the waterbody.

      - When the assimilative capacity of a waterbody is not sufficient to ensure maintenance of the water quality standard criterion for a parameter of concern with an additional load to the waterbody, then the WQA will not allow a net increase (again - define this term) of loading for the parameter of concern or pollutants affecting the parameter of concern.  This no net increase will be achieved by meeting the applicable water quality standards at the end of the pipe.  Until such time that a TMDL is developed for the parameter of concern for the waterbody, no discharge will be allowed to cause or contribute to further degradation of the waterbody.

    - Tier 2 ( Protection of High Quality Waters (Figure 2):

      - To verify that a waterbody is a high quality water for a parameter of concern which initiates a Tier 2 anti-degradation review, the WQA must evaluate:

        - the existing water quality of the waterbody;

        - the projected water quality of the waterbody following the procedures established in the applicable Sections of the PRWQSR (Articles 5, 10 and so on); and

        - if the existing and designated uses will be maintained and protected with the lowering of water quality.

In multiple discharge situations, the effects of all discharges shall be considered (provide a short explanation as to how the effects of multiple discharge situations will be considered) .

      - In order to allow the lowering of water quality in a waterbody, the applicant must  demonstration that a lowering in water quality is necessary to accommodate important social or economic development in the area where the waters are located. This demonstration must include an alternatives analysis. show and justify the necessity for it the applicable procedures established in the PRWQSR.  EQB will not allow the taking possession of all a reduction in the available assimilative capacity of a waterbody for a parameter of concern by a discharger if it is not demonstrated, to full satisfaction of EQB, the necessity of the that the requested effluent limitation for the parameter of concern  is necessary to accommodate important social or economic development.

Tier 3 ( Protection of Outstanding Natural Resources Waters (Figure 3):

This section needs to include a description of the process used for designating specific waters as ONRWs (i.e., Class SA or SE), such as the processs by which the petitioning process where the public can nominate a specific water to be classifed as an ONRW .

Class SA and SE waters existing characteristics shall not be altered, except by natural causes, in order to preserve the existing natural phenomena.

Point Sources:  None discharge will be allowed in those waterbodies.

Activities Regulated by CWA Section 404 or Rivers and Harbors Act Section 10 Permits (Discharge of dredged or fill material)

The EQB will allow the discharge of dredged or fill material into a waterbody if it can be demonstrated that such discharge will not have an unacceptable adverse impact either individually or in combination with other activities affecting the waterbody of concern.  The impacts to waterbodies due to the discharge of dredged or fill material should be avoided, minimized and mitigated.

The discharge of dredged or fill material shall not be certified if there is a practicable alternative to the proposed discharge which would have less adverse impact on the aquatic ecosystem, so long as the alternative does not have other more significant adverse environmental consequences.  Activities which are not water dependent are presumed to have practicable alternatives, unless the applicant clearly demonstrates otherwise.  No discharge of dredged and fill material shall be certified unless appropriated and practicable steps have been taken which minimize potential adverse impacts of the discharge on the aquatic ecosystem.