Seismic/Structural Engineering Evaluation

of

Strengthened Residential Buildings

Damaged in the 1988 Earthquake Zone of Armenia

——————————————————

by

Loring A. Wyllie, Jr.

Senior Principal

Degenkolb Engineers

San Francisco, California

for

USAID/The Urban Institute Armenia

——————————————————

September 23, 1999

Degenkolb Job Number 99356.00

#### Executive Summary

A seismic and structural evaluation of current seismic strengthening schemes for residential construction being used in the 1988 Earthquake Zone of the Republic of Armenia has been performed by Loring A. Wyllie, Jr., Senior Principal of Degenkolb Engineers.  Mr. Wyllie is familiar with Armenian construction having visited Armenia in 1986 and extensively studying the earthquake effects in 1988 and 1989 with three trips to Armenia and the Earthquake Zone.

The buildings being strengthened are generally 5-story apartment buildings of stone masonry construction or composite stone masonry and concrete construction.  These Soviet designs have typically performed poorly in recent earthquakes.  The buildings being strengthened suffered only minor to moderate damage and these specific buildings did not partially collapse in 1988.

Two basic strengthening alternatives are currently being used in Armenia for these buildings.  One is described as a “full jacket” scheme where all interior stone wall surfaces are jacketed with concrete, floor diaphragms and wall ties are added, and some new reinforced concrete shear walls are added for increased seismic resistance.  I believe buildings properly strengthened by this scheme should perform well in future earthquakes providing life-safety protection to occupants.

The second strengthening scheme observed is the “corner jacket” scheme with short jackets only at wall intersections, only partial structural diaphragms adjacent to the walls, and nominal seismic strengthening consisting of new columns or pilasters beneath perimeter longitudinal concrete beams and short new reinforced masonry walls.  This scheme may provide life-safety protection to occupants, and buildings strengthened by this scheme should experience considerably more damage in future earthquakes than the “full jacket” scheme.

The report concludes that strengthening these stone masonry buildings in Armenia should be more economical than new construction of comparable buildings.  The conclusions on potential performance of the two schemes are described above.  Recommendations for improved inspection practices are included in the report.  Potential donors interested in improving the housing situation in the Earthquake Zone are encouraged to consider funding seismic retrofit projects and to specify their funding be used only with the “full jacket” scheme, the designs could be peer reviewed by an independent engineering expert and, the design engineer could be made responsible for overseeing the construction inspection program.  These recommendations are made to provide assurances to the donor that the future seismic performance of these strengthened buildings will be acceptable.

Armenian national experts Edward Khachian and Mikayel Melkumyan provided technical consultation during this visit to Armenia, and they are in general agreement with the conclusions of this report.

#### Introduction

On December 7, 1988, a devastating earthquake occurred in Northern Armenia centered near the city of Spitak.  Considerable damage and loss of life occurred in Spitak, Leninakan (now Gyumri), Kirovakan (now Vanadzor), and to a lesser extent in Stepanavan.  A massive project began in 1989 to build new housing on the outskirts of Gyumri and in each of the damaged cities with assistance from the various Soviet republics, but the downfall of the Soviet Union and other factors prevented most of that construction from reaching completion.

In just over 10 years since the earthquake, some of the new housing has been completed, new units have been built, and some damaged buildings have been strengthened and renovated.  Most of the remaining damaged and vacant buildings are 3- to 5-story stone masonry buildings which were vacated, and people have looted and removed all fixtures, doors, windows, etc.  People have developed makeshift housing called “domics” in which many people currently reside around their previous residences.

A recent study, “A New Housing Strategy for the Earthquake Zone, The Republic of Armenia “dated December 1998, prepared by The Urban Institute, has identified an official need of 26,841 housing units in the earthquake zone and recommends strengthening and renovating 7,005 damaged units towards fulfilling that goal.  The Armenian government has identified the damaged buildings which can be strengthened and renovated.

This report presents the results of a seismic/structural evaluation by Loring A. Wyllie, Jr., Senior Principal of Degenkolb Engineers of San Francisco, California, USA.  The evaluation was funded by USAID through The Urban Institute with the purpose of evaluating the effectiveness of seismic strengthening schemes developed by Armenian engineers.  Loring Wyllie visited Armenia in late July 1999; reviewed drawings of various strengthening schemes; had discussions with engineers, government officials, and other interest parties; and visited the earthquake zone to visit and inspect various strengthening projects.  Loring Wyllie was assisted by technical consultation on this evaluation by Armenia national experts Edward Khachian and Mikayel Melkumyan, and they are in general agreement with the conclusions and recommendations of this report.  Gohar Hovanissyan of the Engineering Research Center (ERC) at the American University of Armenia (AUA) provided assistance throughout the visit, and Armen der Kiureghian, ERC’s Director/Dean of the Engineering Faculty at AUA and Professor at the University of California, Berkeley, provided a helpful briefing and guidance before the trip.

The following is a listing of individuals who were briefed, interviewed, or met during the site visit in Armenia:

| Republic of Armenia |  |  |
| --- | --- | --- |
| Karapetyan, Suren | Deputy Minister | Ministry of Urban Development |
| Markarian, Teimur | Head | Scientific Technical Department Ministry of Urban Development |
| Khachatrian, Kamo | Head | Housing Policy Department Ministry of Urban Development |
| Shahinian, Suren | Academician; VP | Armenian Engineering Academy |
| Khachian, Edward | Academician; Director | Department of Mechanics National Academy of Sciences |
| Melkumyan, Mikayel | Deputy Director | National Survey for Seismic Protection |
| Gohar Hovanissyan | Leading Specialist Research Assoc. | National Survey for Seismic Protection Engineering Research Center American University of Armenia |
| Azizian, Krikor | Chief Engineer | “Hye Nakhagits” (Armenian Design/Project) Institute |
| Miroyan, Hovhannes | Technical Expert | “Hye Nakhagits” |
| Shakarian, Albert | Chief Engineer | Yerevan “Nakhagits” (Design/Project) Institute |
| Shirak Marz (Province): City of Gyumri |  |
| Petrosyan, Seyran | Marzpet (acting) | Shirak Marz |
| Simonian, Jora | Director | Shirak Urban Development Department |
| Markarian, Albert | Duputy Director | Shirak Urban Development Department |
| Aslanian, Gevorg | Department Head | Shirak Urban Development Department |
| Lori Marz (Province): City of Vanadzor |  |
| Panoyan, Ashot | Technical Staff | Lori Marz Construction Department |

| Donor Representatives |  |
| --- | --- |
| Vahe Khachatouryan | Tech. Delegate/Engineer | American Red Cross, Gyumri |
| Eugene Caruso | Tech. Delegate/Engineer | American Red Cross, Vanadzor |
| Levon Yengibaryan | Supervisor/Engineer | American Red Cross, Vanadzor |
| Roy Stephen | Project Manager | Huntsman Corporation/Gyumri Project |
| The Urban Institute Project Team |  |
| Steven Anlian | Senior Associate Team Leader | The Urban Institute USAID EQZ TA Project |
| Sashur Kalashian | Architect/Planner | Armenian Design/Project Institute |
| Irina Vanyan | Professor | Yerevan Architecture and Construction Institute |

Degenkolb Engineers has extensive experience with seismic resistive construction and how buildings perform in actual earthquakes.  Degenkolb’s engineers have visited numerous earthquake sites and over the past 50 years documenting performance.  Loring Wyllie has visited many of theses earthquake sites and has extensive experience in evaluating the potential seismic performance of existing buildings.  Mr. Wyllie is active in code writing organizations establishing seismic resistive building standards and means of strengthening existing buildings.  A resume is attached.

The Structural Philosophy of Seismic Strengthening

Seismic repair and strengthening of buildings that sustain minor to moderate damage in earthquakes is almost always justifiable in economic terms.  Thus, it is usually always advantageous to repair and strengthen buildings as a cost-saving approach compared with demolition and new construction.  This is usually the case even when existing building finishes and fixtures must be removed and replaced to accomplish the repair and strengthening.  I believe this is also the situation in the Earthquake Zone of Armenia and is confirmed by the recent Urban Institute report of December 1998.  In the Earthquake Zone, vacated buildings have been looted so there are no finishes or contents to protect, simplifying the strengthening efforts.

Seismic repair and strengthening of damaged buildings comprises repairing the obviously damaged areas to return those specific areas to their pre-earthquake condition and strengthening the structural system for improved performance in future earthquakes.  In the Earthquake Zone, this includes strengthening the building to a seismic design level twice as high as originally designed consistent with the new seismic zones and 1998 Building Code of the Republic of Armenia.  If masonry buildings are not somewhat strengthened, structural performance in the next earthquake will undoubtedly be worse than in 1988 as the masonry may have sustained many fine micro-cracks that cannot be seen nor repaired and do reduce the strength.  This situation has been observed in several recent historic earthquakes.  Thus, we routinely strengthen earthquake damaged buildings instead of comprehensive repair to compensate for the micro cracks and minor damage and original construction deficiencies that cannot be seen nor readily detected as well as improve performance in future earthquakes.  For example, the reinforced shotcrete added to masonry walls in Armenia both compensates for any loss of strength due to microcracks and original construction deficiencies while also adding additional lateral strength.

Each building to be repaired and strengthened must be addressed as a unique or individual building complete with an understanding of its damage state and any modifications to its original plan.  While generic repair and strengthening solutions may be used for the work, that generic solution must be custom adapted to the specific building with its unique features and issues.  Seismic repair and strengthening requires experienced engineers to utilize considerable engineering judgement in determining the appropriate measures for each building.

Foundation strengthening can be very expensive and the adequacy of foundations must be verified, although most foundations can safely support small increases in gravity loads due to the added strengthening elements.  Our code for strengthening masonry buildings in California allows dead loads to be increased over existing loads by 25 percent and allows dead loads plus live loads plus seismic forces to be increased by 50 percent on existing foundations without foundation strengthening except at very poor soil sites.  From my experience, the “full jacket” scheme used in Armenia should not require extensive foundation strengthening.

Finally, I believe it is extremely important the workmanship of the repairs and strengthening be of the highest quality and be thoroughly inspected by an inspector independent of the contractor.  Furthermore, it is extremely advantageous in these types of projects that the design engineer visit the construction site at periodic intervals during the construction to verify existing conditions and confirm the work is fulfilling the design intent.

Armenian Stone Masonry Buildings and Their Seismic Performance

Stone masonry residential buildings in Armenia follow several designs for layout and range from 2 to 5 stories in height, although most are 5 stories tall.  The older and, I believe, more prevalent style of building is the stone masonry bearing wall building with precast hollow-core plank floors and no reinforcing in the walls.  These buildings are generally 5 stories and are long and rectangular being only two bays deep and many bays long.  The buildings have multiple entries with stairs that serve apartments to either side of the stairway.  These buildings do not perform well in earthquakes and sustained very heavy damage and collapses in Spitak with moderate damage in Gyumri and Vanadzor.  They are heavy, lack ties and reinforcing, and perform poorly, typical of unreinforced masonry structures.

A somewhat newer version of these 5-story apartments is a composite structure of stone masonry and reinforced concrete members.  Small reinforced concrete columns are embedded within the stone masonry at the wall intersections and longitudinal concrete beams are provided along the three longitudinal grid lines, which in turn support the hollow-core concrete floor planks.  These longitudinal beams allow wider and more windows and openings along the long exterior walls and down the middle of the building.  While these beams and columns provide a minimal level of reinforcing, there is a drastic reduction in the amount of longitudinal masonry wall, and the masonry is not tied to the frames nor the floors.  Actual earthquake performance again was poor, with many of these buildings experiencing collapse or severe damage.  As these buildings become longer with multiple entries, the most effective longitudinal bracing is the end bays where the wall pattern is longitudinal, but the lack of ties or diaphragm at the end stairways creates a weakness in transferring forces and was a repeated cause of damage and distress.

The Soviet-designed stone masonry buildings, of both types described above, have not performed well in recent earthquakes.  The lack of ties between the walls and the floors, the lack of reinforced floor diaphragms, and the lack of longitudinal walls in some of the composite designs has led to severe damage and frequently collapse of these structures.  In addition to the performance in Armenia, the collapse of similar buildings in Neftegorsk in the 1995 Sakhalin Island earthquake underscores the vulnerability of these stone masonry buildings.

Seismic Strengthening Schemes Observed in Armenia

Before traveling to Armenia, I was provided an English translation of a “Report on restoration-reinforcing, design and construction work of the apartment houses, damaged because of the earthquake in the disaster area,” by a Commission established by the Armenia Ministry of Urban Development.  That report provides an excellent summary of restoration techniques and raises numerous valid and useful suggestions and directions.  However, it seems to lack a frank engineering comparison of strengthening schemes and their potential performance, which was probably beyond the scope of the commission’s assignment.

This report is limited to strengthening schemes being applied to 3 to 5 story residential buildings of stone masonry construction or composite stone masonry and concrete construction.  These buildings sustained minor to moderate damage and were vacated after the 1988 earthquake.  After they were vacated, people removed virtually all doors, windows, fixtures, wood roofs, etc., leaving these buildings as gutted structural shells.

During my visit to Armenia, I was shown a number of strengthening schemes prepared by Armenian engineers.  We first reviewed a series of drawings that had been assembled anticipating my visit.  We then visited the earthquake zone on July 28 and saw several strengthening projects in construction in Gyumri and Vanadzor.  We also observed several completed strengthening projects from the exterior of the building.  Although these strengthening designs were prepared for individual buildings, I have grouped them into several generic schemes for discussion purposes.

The first and most thorough strengthening scheme design I observed I will call the “full jacket” scheme.  In this scheme, which was applied to 5-story stone masonry bearing wall buildings, the strengthening consisted of jacketing all interior stone masonry walls with 50 mm of shotcrete (pneumatically installed concrete) containing steel welded wire fabric.  These concrete jackets were connected to each other on interior walls with steel ties installed in holes drilled through the stone masonry at about 600 mm centers.  Exterior walls had the jacket only on the inside face with grouted dowels at 600 mm to the existing stone and through ties at the floor lines connecting to an exterior concrete or steel member which was continuous at each floor line.  When needed, some new interior longitudinal shear walls of reinforced concrete were added (in particular in the composite buildings where there are few longitudinal walls), and in one design new balconies were added on one side of the building with a new reinforced concrete shear wall system framing the balcony openings.  Furthermore, all floors were covered with 50 mm of new concrete containing welded wire fabric and connected to all the new wall jackets.

This concept of jacketing masonry walls is not a new method for strengthening unreinforced masonry structures.  In the 1930s following the 1933 Long Beach, California earthquake, engineers in California developed a method to strengthen unreinforced brick bearing walls by adding light wire fabric on both sides of the wall with ties through the wall and cement plaster to encase the wire fabric.  This is quite similar to the wall strengthening in Armenia.  Tests were performed in California at that time which verified the procedure as a valid way to strengthen unreinforced masonry walls.  Variations of this concept are still currently in use in California.

It is my opinion that this “full jacket” scheme corrects the demonstrated deficiencies of these buildings, and they should perform well in future earthquakes.  The new wall jackets and floor diaphragms add considerable strength and ties to all the existing elements.  The exterior elements at each floor tied back to the interior jackets and diaphragm are extremely important to contain the stone masonry and tie it into the structure at each level.  The added longitudinal concrete shear walls correct the observed deficiency of a lack of longitudinal wall in mid sections of some buildings.  Buildings properly strengthened using a “full jacket” philosophy should be well tied together with considerable lateral force resisting capacity and redundancy not unlike the precast concrete large panel structures which performed well in Gyumri and Spitak in the 1988 earthquake.  While cracking and some damage must be expected in future earthquakes, based on my many years of experience with the actual effects of earthquakes, it is my judgement that this “full jacket” scheme, properly executed, will provide life-safety protection to occupants in future earthquakes and be repairable for future use.

The second scheme I observed, I will call the “corner jacket” scheme.  This scheme adds 50 mm thick or sometimes thicker jackets on interior walls but only at corners or wall intersections.  These corner jackets extend only 600 mm to 1 meter from the wall corner and contain welded wire fabric and ties similar to the “full jacket” scheme.  The floor diaphragms are limited to a strip about one meter wide adjacent to all walls with a nonstructural fill being added in the middle of each bay to provide a level floor.  To increase the longitudinal resistance of these buildings, new reinforced concrete pilasters or columns were added on each side of transverse stone walls at the exterior grid lines.  These columns were interconnected with ties through the existing transverse stone walls with small concrete column and presumably were supposed to connect to the existing concrete beam on the exterior grid to form a frame.  The connection details I observed in the field did not appear to positively connect to the concrete beam, so I doubt effective lateral frame action will be achieved.  Some interior reinforced concrete block masonry walls were also added to strengthen the building longitudinally.  In one design there were some partial exterior concrete beams at the floor levels although another design did not appear to require those beams.  Masonry being added on the ends of balconies is barely connected to the structure and does not add any strength.

It is my opinion that this “corner jacket” scheme may provide life-safety protection to occupants, but these buildings may be extensively damaged in future earthquakes.  The added elements for longitudinal resistance are minimal and appear to lack adequate connection to the beams.  The lack of exterior beams at the floor lines reduces the effectiveness of masonry anchorage to the structure, and the lack of a full floor diaphragm seems like a lost opportunity for improved seismic performance.  The lack of significant floor diaphragm ties at the stairways fails to transfer forces across these known weaknesses in the floor diaphragms.  This “corner jacket” design appears to have been developed for selected buildings which sustained minimal damage in 1988 and to reduce costs from the “full jacket” scheme, but I believe the actual cost savings may be small when one properly considers the total costs to make these buildings suitable for occupancy.  While its use may be appropriate for some buildings, I believe this “corner jacket” scheme is a very minimal strengthening solution which will somewhat improve the seismic performance over the original design, but will still be subject to considerable damage.  It may provide life-safety protection to occupants but not with the same assurance as the “full jacket” scheme.

The third and only other strengthening scheme I was shown was drawings for a building at 5 Isahkyan Street in Vanadzor.  This scheme consisted of full jackets on all walls in the first floor similar to the “full jacket” scheme.  In the 4 stories above, no jackets were indicated and the work was limited to drilling inclined holes at 600 mm centers in all walls and grouting a piece of 12 mm bar or wire in the hole.  This work may not have been executed yet, and we did not visit this site in the field.  This scheme does not particularly strengthen the building except for the first floor and may create a “hard spot” at the base of the structure that may cause increased damage above.  I have no idea of the reasons for this scheme as I did not visit the site nor discuss the design with the designer, but I do not recommend this scheme for general usage.

The above schemes are generic approaches to strengthening these Armenian residential buildings.  Each building to be repaired and strengthened must be uniquely studied, evaluated and then strengthened following a scheme similar to a generic approach.  For example, one building we visited was reduced in height from 5-stories to 4-stories, as the uppermost floor had more earthquake damage and extreme deterioration due to weathering after people removed the timber roof to build “domics.”  Another building may need unique foundation work in areas where settlement has occurred.

The engineering designs to strengthen damaged buildings in Armenia appear to have been performed by experienced engineers using their judgment.  Judgment is necessary for this work as codes and guidelines do not exist for repair and strengthening.  I have based my evaluations and conclusions on my experience and observations of similar systems subjected to earthquakes and my understanding of the seismic weaknesses of these structural systems.  For large projects in the future, it may be appropriate that Armenian engineers prepare design criteria and have it reviewed and accepted by regulatory officials.  Some form of independent peer review of the designs may also be appropriate.

Inspection

A brief but important comment on inspection and construction quality is appropriate.  In the 1988 Armenian earthquake, construction quality became a major factor with the poor quality of precast concrete connections being a significant contributor to damage and the collapse of concrete structures.  In the recent site visits to the earthquake zone, I once again observed construction deficiencies where new bars passing behind stairs were not concrete encased, new columns were not well connected to beams, and concrete contained many patches and appeared to be of low quality.  In order for these strengthening designs to perform as intended, it is essential that the construction be properly executed.

I was informed and provided translated summaries of several recent regulations by the Government of Armenia attempting to correct this situation.  An Order #44 of April 28, 1998 and Government Decision #574 of October 1998 appear to give construction inspectors increased authority and appear to provide governmental review of inspection activities and construction quality aimed at improving the overall quality of construction in Armenia.  These are certainly appropriate measures and a step in the correct direction.

However, these regulations will take a long time to properly implement as most construction workers and inspectors were trained under the former Soviet system and may not understand what good construction quality is and how it can be achieved.  It will take considerable training to change these old habits.  I’m not sure how that will happen.  One suggestion from our California practice is to require the design engineer of record to periodically visit the construction site to ensure that construction quality is being achieved.  Inspectors could report their findings directly to the engineer of record and open communications between the inspector, engineer of record, and owner or governmental authority could lead to ensuring the contractor constructs the work properly.

Conclusions and Recommendations

Based on my observations, I have reached the following conclusions and recommendations regarding the rehabilitation of damaged stone masonry residential structures in the Earthquake Zone of Armenia:

- It is practical to repair and seismically strengthen stone masonry buildings in the earthquake zone and such rehabilitation should prove more economical than new construction within the region and certainly more economical than demolition and new construction on the same site.  I would note that obtaining accurate and consistent information on actual construction costs to make meaningful comparisons appears difficult in Armenia.

- The “full jacket” scheme to strengthen stone masonry buildings appears to provide a rehabilitation that will provide life-safety protection to occupants in future earthquakes and result in only moderate damage that can be repaired.

- The “corner jacket” scheme, which appears to be slightly more economical than the “full jacket” scheme, will not perform nearly as well as the “full jacket” scheme in future earthquakes, although it may provide sufficient life-safety to allow occupants to exit the building.  Some enhancements to this scheme would greatly improve its potential seismic performance, such as stronger lateral ties and enhanced longitudinal building strengthening.

- Inspection of seismic repair and strengthening projects is extremely important to ensure construction quality.  Construction quality has traditionally been poor in Armenia as well as throughout the former Soviet Union.  Inspectors (and probably construction workers) need to be trained to understand what good quality is and how it can be achieved.  Reliance on design engineers may be a method to facilitate improved construction quality.

Recommendations for Potential Donors

Potential donors are foreign governments, foundations, or individuals who supply financial aid or donations to improve housing in Armenia.  Some of these donors have been reluctant to contribute funds towards the rehabilitation of damaged structures, preferring to see their funds used for new construction.  Apparently these foreign donors are concerned about the potential poor performance of these rehabilitated buildings in future earthquakes and do not wish to be associated with such a situation.

Recognizing that more people could be returned to acceptable housing in a shorter period of time if some of these foreign donations could be used for seismic repair and strengthening of damaged residential buildings, allow me to offer these suggestions and recommendations:

- Donors should be able to designate the degree of strengthening of the buildings their funds will be used to rehabilitate.  In the case of the current schemes being advocated by Armenian engineers, I would recommend donors require a strengthening scheme similar to the “full jacket” scheme.

- Donors should be able to require a peer review by an independent engineering expert of the strengthening designs to verify that they will perform well in future earthquakes.  Such a peer review, in addition to possible initial consultation, could include a brief visit to the buildings to observe their general condition and construction quality, a review of the calculations or preparation of independent calculations for the generic strengthening scheme, and discussions with the design engineer relative to the generic scheme and design criteria as well as issues regarding the individual buildings within the project.  The financial contribution would be conditional on satisfying the concerns of the peer reviewer and the donor.

- Donors should be able to require a high degree of quality from the contractor and a suitable and meaningful construction inspection program.  I would suggest that the design engineer coordinate the inspection program and make personal periodic visits to the site.  This would require some additional compensation for the design engineer.  This need for quality in construction applies equally to new construction in Armenia.

Loring A. Wyllie, Jr. Resume