Section 3-1:	Environmental Protection

3-1-00	Policy

10	Procedures

20	Guidance and Information

30	(Reserved)

3-1-00	Policy

The Department of Health and Human Services is committed to complying with all applicable Federal, state, and local environmental laws, statutes, and regulations; protecting the environment; and conserving our environmental resources by being proactive and cost effective in our environmental stewardship.  It is HHS policy that pollution be prevented or reduced at the source.  All HHS organizations shall give first priority to avoiding or reducing the generation of hazardous substances, pollutants, and contaminants at the source.  Pollution and hazardous wastes that cannot be prevented or recycled must be treated in an environmentally safe manner to reduce volume, toxicity, and/or mobility.  Only as a last resort should disposal or other release into the environment be considered and employed.  Such disposal or release must be conducted in accordance with all applicable authorities and in an environmentally safe manner.  Managers and employees are expected to execute their responsibilities in a way that is proactive and cost effective in the protection and conservation of our environmental resources and in a manner that complies with all applicable Federal, state, and local environmental laws, statutes, and regulations.

3-1-10	Procedures

A.	Goals and Objectives

The goals of HHS environmental efforts are to prevent harm to the environment and enhance the quality of human health by conserving our environmental resources.  These goals are satisfied by meeting the following objectives:

Compliance - To comply with all applicable Federal, state, and local environmental laws, statutes, and regulations;

Conservation - To protect and conserve our environmental resources through pollution prevention and hazardous waste minimization through waste reduction and recycling;

Pollution Prevention - To protect and conserve our environmental resources through source reduction in facility management and acquisition practices, where practicable, as a primary means of achieving and maintaining compliance with applicable Federal, state, and local environmental laws, statutes, and regulations; and

Restoration - To repair damage to a site caused by human activity, industry, or natural disasters to restore the site as closely as possible to its natural condition before it was disturbed

B.	ENVIRONMENTAL MANAGEMENT SYSTEMS (EMS)

In addition to what is contained in GAM 30, landholding OPDIVS are required to develop an EMS where required by Executive Order 13423, Strengthening Federal Environmental, Energy, and Transportation Management.  An EMS is a business management practice that allows an organization to systematically manage and improve its environmental program.  Implementation reflects accepted quality management principles based on the “Plan, Do, Check, Act,” model using a standard process to identify goals, establish supporting procedures, review progress, and make adjustments to ensure continual improvement.

Elements of an EMS include:

- Developing a policy endorsed by top management stating the organization’s environmental commitments.

- Identifying significant environmental aspects (i.e., organizational activities that impact or potentially impact the environment).

- Establishing objectives and targets to reduce these aspects/impacts and improve the overall system.

- Developing programs and procedures to support the organization in meeting those targets and objectives.

- Engaging top-level management in reviewing implementation and progress to identify areas for improvement.

3-1-20	Guidance and Information

See the HHS GAM, Part 30—Environmental Protection—February 2000, for additional guidance and information.

Contractors.  All OPDIVs shall provide, in all future contracts between the organization and its relevant contractors, for the contractor to supply all information the OPDIV deems necessary for it to comply with this requirement.  In addition, to the extent that compliance with any environmental law, regulation, and/or Executive Order is made more difficult due to lack of information from existing contractors, an OPDIV shall take practical steps to obtain the information from such contractors that is needed to comply.

Section 3-2:	Emergency Planning and Community Right-To-Know Act of 1986 (EPCRA) Requirements

3-2-00	Policy

10	(Reserved)

20	Guidance and Information

30	(Reserved)

3-2-00	Policy

EPCRA's provisions form two primary programs: 1) emergency planning, and 2) community right-to-know.  EPCRA establishes a mechanism for providing the public with important information on the hazardous and toxic chemicals in their communities, and it creates emergency planning and notification requirements to protect the public in the event of a release of extremely hazardous substances.  The law requires local communities to prepare plans for dealing with emergencies relating to the release of extremely hazardous substances from facilities within those communities.  EPCRA also provides the public and local and state governments with the right to obtain information concerning the types, amount, location, storage, use, disposition, and possible health effects from the release of hazardous and extremely hazardous substances from facilities that are in their communities.  Executive Order 12856 (“Federal Compliance With Right-to-Know Laws and Pollution Prevention Requirements”, Aug 3, 1993) requires all Federal agencies to comply with EPCRA.

    - GUIDANCE AND INFORMATION

Facilities that are subject to EPCRA are required to provide information and reports to EPA and state and local groups.  Five distinct reporting requirements are contained in EPCRA:

- Emergency planning (GAM 30-60-20);

- Notification of release (GAM 30-60-30);

- Material safety data sheet submission (GAM 30-60-40);

- Emergency and hazardous chemical inventory reporting (GAM 30-60-50); and

- Toxic chemical release reports (GAM 30-60-70).

Each of these reporting requirements and other facility responsibilities are described in GAM 30-60, http://www.hhs.gov/hhsmanuals/read/gam/part30/.  It is not intended that these cited GAM provisions be used as the sole source of information for these EPCRA compliance requirements, but only as a starting point.  The Department recognizes that any of the authorities and requirements described in these cited GAM provisions may have been revised since the issuance of GAM Chapter 30 in February 2000.  Therefore, the current specific EPCRA statutory and regulatory provisions and any relevant Executive Orders should also be reviewed when any specific question or issue arises.

Section 3-3:	ENERGY AND WATER MANAGEMENT

3-3-00	Policy

10	Procedures

20	Guidance and Information

30	Reporting Requirements

3-3-00	Policy

The purpose of this section is to provide policy directives and procedures for the efficient use of energy and water at facilities associated with the Department of Health and Human Services (HHS).  The section outlines the Department-wide energy and water management program that provides the foundation and direction for the Operating Divisions (OPDIVs) and individual facility energy and water conservation programs.  All HHS personnel shall support the goals of energy and water conservation and cooperate with program initiatives.

In August 2005, the Energy Policy Act (EPACT) of 2005 was signed.  EPACT 2005 requires a reduction in energy use of 2% per year when compared to a 2003 baseline.

On January 24th, 2007, President George W. Bush signed Executive Order 13423, “Strengthening Federal Environmental, Energy, and Transportation Management.”  This EO addresses a wide array of environmental and energy-related management areas including energy efficiency, water conservation, green procurement, toxics reduction, recycling, renewable energy, sustainable buildings, electronic stewardship, and fleet fuel efficiency.  It also calls for more widespread use of EMS as the framework to manage and continually improve these sustainable practices.  (Executive Order 13423 superseded EOs 13101, 13123, 13134, 13148, and 13149.)

In terms of facility energy management, this EO is significantly more stringent than the EPACT of 2005.  The EO sets forth the following energy management and water conservation goals:

- ENERGY EFFICIENCY: Reduce energy intensity by 3 % annually through 2015 or by 30% by 2015.

- GREENHOUSE GASES: By reducing energy intensity by 3% annually or 30% by 2015, reduce greenhouse gas emissions.

- RENEWABLE POWER: At least 50% of current renewable energy purchases must come from new renewable sources (in service after January 1, 1999).

- BUILDING PERFORMANCE: Construct or renovate buildings in accordance with sustainability strategies, including resource conservation, reduction, and use; siting; and indoor environmental quality.

- WATER CONSERVATION: Reduce water consumption by 2% annually through 2015.

The EO also establishes additional goals that, while not pertaining directly to facility energy and water use, will have an overall impact on energy and water.  These additional goals are as follows:

- ELECTRONICS MANAGEMENT: Annually, 95% of electronic products purchased must meet Electronic Product Environmental Assessment Tool standards where applicable; enable Energy Star® features on 100% of computers and monitors; and reuse, donate, sell, or recycle 100% of electronic products using environmentally sound management practices.

- PROCUREMENT: Expand purchases of environmentally-sound goods and services, including biobased products.

- POLLUTION PREVENTION: Reduce use of chemicals and toxic materials and purchase lower risk chemicals and toxic materials from top priority list.

- ENVIRONMENTAL MANAGEMENT SYSTEMS: By 2010, increase to at least 2,500 the number of Federal operations that implement environmental management systems, up from about 1,000 today.

- ALTERNATIVE FUEL USE: Increase alternative fuel consumption at least 10% annually.

- VEHICLES and PETROLEUM CONSERVATION: Increase purchase of alternative fuel, hybrid, and plug-in hybrid vehicles when commercially available and reduce petroleum consumption in fleet vehicles by 2% annually through 2015.

The Executive Order establishes stringent goals, practices, and reporting requirements for environmental, energy, and transportation performance and accountability.

Each OPDIV is hereby tasked with responsibility to meet or exceed these mandates for assigned facilities based on guidelines and policy issued by the HHS Office of the Secretary, Energy Program Officer.

A.	MANAGEMENT

It is the policy of HHS and its OPDIVs to manage its facilities in the most energy and water efficient manner consistent with: 1) Federal energy and water efficiency requirements, 2) safety of personnel and protection of facilities, 3) reliability and maintainability of its building operating systems, 4) protection of the environment (e.g., reduction of emissions, elimination of CFC refrigerants), 5) maximum effectiveness of its employees, and 6) the mission of HHS, the OPDIVs, and individual facilities.

Management encompasses the full scope of energy and water impacting activities, including design, construction, and renovation of buildings; purchase and operation of building equipment, energy consuming personal property, and fuel sources; and employee actions.  OPDIVS and facility managers will comply with specific requirements of applicable energy and water conservation-related laws, regulations, and executive orders.  Life Cycle Cost (LCC) alternatives will be considered and will be pursued whenever feasible in order to achieve greater energy conservation than standards require.  OPDIVs are encouraged to favorably consider additional capital expenditures and/or personnel costs for activities that will reduce overall energy usage.  OPDIVs and facilities will evaluate energy conservation opportunities at least annually and prepare and fund a plan to implement the most significant of the identified opportunities.

B.	Applicability

The Department of Health and Human Services (HHS) energy and water management program provides policy guidance, tools, and assistance to the OPDIVs for energy and water conservation.  The Department program coordinates the efforts of the OPDIVs and serves as a model for individual OPDIV and facility programs.  The program is managed by the Office of the Secretary, Assistant Secretary for Administration and Management, Office for Facilities Management and Policy.

Each HHS OPDIV is required to develop a centralized energy and water management program consistent with the applicable laws, regulations, guidelines, and policies, as well as the agency program described in this chapter.  The purpose of the OPDIV program is to coordinate the efficiency efforts and provide specific guidance to facility managers, engineers, architects, managers, procurement officials, and others involved in energy and water efficiency operators, and users within the OPDIV.  Individual facilities may establish their own energy and water efficiency program based on the goals of the Department program while using the existing tools and resources.

The policies and procedures described in this chapter are applicable to all HHS owned space and General Services Administration (GSA) delegated space or privately leased space for which HHS pays the utility costs.

In all new lease agreements (except leased space from Tribal organizations), the OPDIVs must require the lessors to implement all energy conservation improvements to the building that have a payback period less than the term of the lease or 10 years, whichever is the shorter period.  In GSA leased space, GSA will be the lead agency in creating or renewing leases and in designating operating procedures to minimize energy usage unless HHS has delegated management authority.

3-3-10	Procedures

A.	Energy Consumption and Greenhouse Gas Emission Reduction

Energy and water consumption and greenhouse gas emission reduction in each HHS facility is the responsibility of the OPDIV Facility Director.  The Facility Director should plan to reduce facility energy and water consumption and greenhouse gas emissions to meet Federal requirements through a multifaceted approach including, but not limited to, the following:

- Maximize use of available alternative financing contracting mechanisms, including ESPCs and utility energy service contracts.

- Consider the LCC of combinations of projects, particularly to encourage bundling of energy efficiency projects with renewable energy projects.

- Operate the existing building equipment in the most energy efficient manner to minimize operating hours and temperature setpoint extremes while maximizing productivity in the space.

- Conduct Energy Audits.

- Analyze and implement energy and water conservation projects identified in audits.

- Establish an energy awareness program for all employees.

- Monitor utility billing and energy consumption to evaluate progress toward conservation goals and eliminate the potential for billing errors.

- Construct new facilities and perform building renovations to comply with Federal energy performance standards.

- Procure low cost fuel from deregulated markets, where available.

- Select Energy Star® and other energy efficient products (in the upper 25 percent of energy efficiency) when acquiring energy-using materials and equipment.

- Limit the number of personal appliances (e.g., refrigerators, water coolers) brought into the facility.

- Enforce restrictions on personal space heaters and reduce the need for this equipment by ensuring building equipment and systems are operating properly.

- Encourage use of energy saving software for personal computers.

- Encourage all employees to turn off lights and other equipment at the end of the day.

- As required by EPACT 2005, separately meter all buildings as provided for in Departmental guidance.

- Develop a water conservation plan to implement projects to reduce water consumption.

B.	Energy Auditing

Each agency is required to continue conducting energy and water audits for approximately 10 percent of their facilities each year, either independently or through ESPCs or utility energy efficiency service contracts.  HHS will integrate the Energy Star® Building rating tool and/or the LEED Existing Buildings Criteria into these facility audits, whenever possible.

There are several resources available to complete a comprehensive energy audit.  Facilities are encouraged to take advantage of low cost comprehensive facility audits, such as those provided by DOE, GSA, or local utilities.  If a facility is considering an ESPC, the comprehensive energy audit may be performed by the company interested in the contract (i.e., a utility or energy services company) and then financed as part of the contract agreement.  Often there are barriers involved when pursuing any of these audit options, such as time constraints, unfavorable utility stipulations, or unavailability of these options.  At that point, facilities will turn to either in-house audits using energy simulation software or contract with an engineering company to perform the audit.

1.	Local Utility:  The first resource a facility should pursue is their local utility to see what type of, if any, programs are available specifically for comprehensive facility audits.  Local utility companies, both electric and gas, may offer low cost facility audits.  Utility companies vary widely in the type of programs they offer for energy management.  In some cases, the utility company may offer to pay a portion of the cost for a facility audit.  When consulting with the utility company, it is important to specifically ask what type of audit will be performed.  For example, an electric utility may only look at the lighting or electrical systems.  This is not a comprehensive audit since it does not reflect the entire building as a whole system.

2.	Federal Resources:  If a utility audit is not feasible, then the facility should consider a federal program, through either DOE or GSA.  DOE FEMP has developed the SAVEnergy Program to conduct energy and water audits and present action plans that will facilitate project implementation and maximize both energy and dollar savings.  SAVEnergy Audits are not available for direct leased facilities.  DOE FEMP will pay a portion of the audit cost to their contractor while the facility uses direct agency funding to make up the rest.  It is important to note that DOE FEMP does not guarantee that all requests will receive audit funding.  Request forms are reviewed and judged upon factors such as high energy costs, funding availability, aggressive utility demand side management programs, and on-site energy management leadership.  Only those facilities with high opportunities are chosen for comprehensive audits.  Request forms are available from the DOE FEMP website at http://www1.eere.energy.gov/femp/services/assessments_savenergy.html.

3.	ESPC/UESC Audit:  Often the only means by which a facility can implement energy and water efficiency projects is by using an alternative financing contract (ESPC or UESC).  The utility or company involved in the alternative financing contract will often offer the completion of a comprehensive energy audit in their proposal, and most include the performance of an audit in their price as a standard line item.  The cost of the audit can be paid up-front or financed in the contract agreement with the recommended projects.  Therefore, if a facility is strongly considering an ESPC or UESC, the most cost-effective manner of completing a comprehensive energy audit is with the interested company or utility.

4.	In-House Audit:  Another resource for comprehensive facility audits is an in-house audit.  Many facilities have an engineering design or operations staff that is fully capable of performing a comprehensive facility audit.  In many cases, these facilities have already performed numerous studies and evaluations of energy and water conservation projects.  In order for an in-house audit to qualify as a comprehensive facility audit, it must meet the following requirements:

a.	Generation of an energy simulation model, for use in developing and comparing energy conservation measures, from computer software such as ASEAM, FEDS, DOE2, Trane Tracer, Carrier;

b.	Exploration of water conservation measures and renewable energy applications;

c.	LCC comparisons of energy and water conservation measures;

d.	Analysis of operation and maintenance procedures for energy efficiency; and

e.	A complete report stating method of audit, energy and water conservation measures analyzed, economic justification, and implementation plan of recommendations.

DOE FEMP distributes, free of charge, many computer programs and publications that can assist agencies in performing in-house audits.  More information on these programs can be found on the FEMP website at http://www1.eere.energy.gov/femp/information/access_tools.html.

5.	Engineering Firm Audit:  The final resource for the completion of comprehensive energy audits is an engineering firm.  There are many companies, from small consulting firms to large energy service companies, who can perform energy audits.  The major drawback with using an outside company is the initial funding required to contract for their services.  As mentioned previously, a local utility company may help to offset the cost for the audit.  Otherwise, the agency is required to budget funding appropriately in order to comply with audit requirements.  The GSA Energy Services schedule can be used to expedite contracting with an engineering firm to perform a comprehensive audit.

C.	Energy Efficiency and Water Conservation Project Implementation

Agencies and facilities will utilize LCC energy measures to meet the greenhouse gas emissions, energy consumption, and water consumption reduction goals.  The implementation of energy efficiency and water conservation projects is the foundation of compliance with the Executive Order.

D.	Energy Accounting

All HHS facilities responsible for the direct payment of utility bills must report energy consumption and cost data on an annual basis to the OPDIV energy office.  The OPDIV energy office is then required to report this information to the HHS Energy Officer in the annual energy report.  Therefore, it is extremely important that the facility or energy manager coordinate the consolidation of energy consumption and cost data for all types of energy including electricity, natural gas, fuel oil, propane, coal, purchased steam, and water.

The facility or energy manager should review energy consumption and cost data monthly and compare usage to previous months and corresponding timeframes in prior fiscal years.  Monitoring usage rates can highlight areas of concern and consumption anomalies in the building operating plan such as high consumption during off peak hours, unusually high usage peaks, or prolonged excessive consumption.  These problems may not be apparent during day-to-day activities, but could be revealed by analysis of monthly utility bills.  Careful review of utility bills may also disclose errors by the utility company.

3-3-20	Guidance and Information

A.	Energy Management Training

A key individual must be appointed at each HHS land holding OPDIV as the ODIV Energy Coordinator to serve as the focal point for all energy matters and to manage and monitor energy consumption and conservation.  These individuals should become trained energy managers as defined below.

The Energy Policy and Conservation Act (EPACT) requires executive departments and agencies to establish and maintain programs to ensure that facility energy managers are "trained energy managers."  This entails demonstrated proficiency or a completed course of study in all of the following areas:

- Fundamentals of building energy systems

- Building energy codes and applicable professional standards

- Energy accounting and analysis

- LCC methodology

- Fuel supply and pricing

- Instrumentation for energy surveys and audits

Demonstrated proficiency can be verified by on-the-job performance in current or previous positions or through certification as an energy manager by an appropriate professional organization such as the Association of Energy Engineers or a public education institution.  Courses of study in the topics listed above may be through private or public education institutions, a government agency program, a professional association training program, or a private company.

In addition, HHS is required to ensure that all energy managers receive training for implementing EO 13423, Strengthening Federal Environmental, Energy, and Transportation Management, and its provisions, and EPACT 2005.

B.	Energy Awareness Program

The energy used by lights and miscellaneous equipment such as computers, printers, refrigerators, freezers, and laboratory equipment is often a very large percentage of a facility's total annual energy consumption.  The use of this equipment is normally controlled by the occupants.  Therefore, the most effective method of energy and water conservation in this area is an employee energy awareness program consisting of education, information, and support.

First, the occupants of the building must be educated on the amount of energy that is used to operate the lights and miscellaneous equipment and the role it plays in the energy costs of the entire facility.  Next, the occupants must be given direction and information on how they can control these energy costs in their own offices and labs.  Finally, the occupants must receive support, feedback, and recognition for their efforts in energy and water conservation.

Several tools are necessary for an energy and water awareness program to be successful.  There needs to be a primary tool for communication such as a newsletter, flyer, or electronic mail.  It is important that the communication tool is available to all employees and is sent directly to them, particularly in the early stages of the awareness program.  Once a communication tool is established, information can be given to the employees about energy consumption, reduction tips, and various activities.  It is also very important to allow employees to use this tool as a means of providing feedback to facility management.

Marketing tools work well to keep the awareness program visible throughout the facility.  These tools would include posters, stickers, pamphlets, post-it notes, pens, magnets, etc.  Many of these items are available at no charge through FEMP energy conservation campaigns, local utilities, large vendors or private companies, EPA, and professional organizations.

The DOE FEMP “You Have the Power Campaign” was established to support the President’s goal of developing outreach programs that educate and promote energy efficiency.  A communications initiative, the campaign raises awareness of the energy-saving activities at Federal agencies across the country and around the world.  Individual and group energy efficiency efforts are championed through promotional materials, successful public/private partnerships are showcased, and interagency cooperation is highlighted.  To learn more about participating in the campaign or to request campaign materials, browse the website at http://www.eere.energy.gov/femp/services/yhtp/.

A measurement tool should be in place to establish baseline awareness habits and monitor progress towards improving these habits.  Monitoring tools may include off-hour audits or walk-throughs, security personnel reports from after-hours rounds, or a building energy monitor program where specific individuals are assigned to monitor the actions of fellow employees.  Monitoring must be completed on a routine basis and the results must be communicated to the employees.

Recognition tools are strongly recommended to keep interest in the awareness program.  These may vary widely from having an OPDIV awards program that recognizes leaders in energy and water conservation to a spoken or written word from high-level management, or to actual material rewards.

The keys to a successful energy management program are to provide statistical data and information, communicate your facility's energy reduction goals, provide guidance and reduction tips, recognize achievements, and keep it fun.

3-3-30	Reporting Requirements

HHS as an agency is required by EPACT 2005 to measure and report its progress on an annual basis.  The OPDIV reports will include descriptions of how energy and greenhouse gas reduction goals are being met and will also detail why certain strategies, if any, have not been used.  Exempt facilities will be listed and an explanation about these facilities’ status will be included.  In addition, OPDIV budget submissions shall specifically request funding necessary to achieve the goals of EO 13423 and EPACT 2005, including the costs associated with ESPCs, utility energy service contracts, and implementing LCC measures.  The HHS annual energy report is generated as a summary document of the individual OPDIV annual energy reports.  Therefore, each facility must report energy consumption and cost data, and energy management activities annually to their corresponding OPDIV energy office.  The OPDIV Energy Coordinator must then submit an annual report to the HHS Energy Officer that consolidates all of the information from the facilities.

Each agency’s progress will be evaluated by OMB and DOE through an energy scorecard and scoring system.  The scoring criteria will include the extent to which agencies are taking advantage of key tools.  The scorecards will be based on the annual energy reports submitted by HHS.  In turn, the OPDIVs will receive a report card based on these criteria.

The HHS Energy Officer distributes the annual energy report format and guidelines in August of each year to the OPDIV Energy Coordinators.  The Energy Coordinators are then responsible for gathering the required information from the individual facilities.

Section 3-4:	Historic Preservation

3-4-00	Policy

10	Procedures

20	Guidance and Information

30	Reporting Requirements

3-4-00	Policy

It is the policy of HHS that OPDIVs and other HHS organizations whose activities may affect a historic or cultural asset of the United States, will comply with “The Secretary of the Interior’s Guidelines and Standards for Historic Preservation Programs” in order that all HHS activities will be carried out in compliance with the National Historic Preservation Act (NHPA) of 1966, as amended and other related laws and Executive Orders.  For HHS grants that affect historic properties please see HHS Grants Policy.

A.	Preserve America

Executive Order 13287, "Preserve America," which was signed by the President on March 3, 2003, established Federal policy to provide leadership in preserving America's heritage by actively advancing the protection, enhancement, and contemporary use of the historic properties owned by the Federal Government, and by promoting intergovernmental cooperation and partnerships for the preservation and use of historic properties.

The Executive Order directs Federal agencies to improve their knowledge about, and management of, historic resources in their care.  It also encourages agencies to seek partnerships with state, tribal, and local governments and the private sector to make more efficient and informed use of these resources for economic development and other recognized public benefits.

The Executive Order shines a spotlight on the value of heritage tourism to the nation through historic preservation, recognition of important natural assets, public education, and economic activity.  It directs the Secretary of Commerce, working with other agencies, to use existing authorities and resources to assist in the development of local and regional heritage tourism programs that are a significant feature of many state and local economies.

It is the policy of the Federal Government to provide leadership in preserving America's heritage by actively advancing the protection, enhancement, and contemporary use of the historic properties owned by the Federal Government, and by promoting intergovernmental cooperation and partnerships for the preservation and use of historic properties.  The Federal Government shall recognize and manage the historic properties in its ownership as assets that can support department and agency missions while contributing to the vitality and economic well-being of the Nation's communities and fostering a broader appreciation for the development of the United States and its underlying values.  Where consistent with executive branch department and agency missions, governing law, applicable preservation standards, and where appropriate, executive branch departments and agencies, ("agency" or "agencies") shall advance this policy through the protection and continued use of the historic properties owned by the Federal Government, and by pursuing partnerships with state and local governments, Indian tribes, and the private sector to promote the preservation of the unique cultural heritage of communities and of the Nation, and to realize the economic benefit that these properties can provide.  Agencies shall maximize efforts to integrate the policies, procedures, and practices of the National Historic Preservation Act (NHPA) and this order into their program activities in order to efficiently and effectively advance historic preservation objectives in the pursuit of their missions.

B.	FEDERAL MANDATES

Relevant statutes and regulations include but are not limited to:

- Executive Order 13287, Preserve America

- National Historic Preservation Act (NHPA) of 1966

- Protection of Historic Properties Section 110

- Protection of Historic Properties Section 106, 36 CFR Part 800

- 36 CFR 61, Professional Qualifications for Historic Projects

- 36 CFR 67, The Secretary of the Interior's Standards for Rehabilitation

- 36 CFR 68, The Secretary of the Interior's Standards for the Treatment of Historic Properties

3-4-10	Procedures

A.	Building Preservation Partnerships

The following procedures apply to Executive Order 13287, Preserve America.

When carrying out its mission activities, each OPDIV, where consistent with its mission and governing authorities, and where appropriate, shall seek partnerships with state and local governments, Indian tribes, and the private sector to promote local economic development and vitality through the use of historic properties in a manner that contributes to the long-term preservation and productive use of those properties.  Each OPDIV shall examine its policies, procedures, and capabilities to ensure that its actions encourage, support, and foster public-private initiatives and investment in the use, reuse, and rehabilitation of historic properties, to the extent such support is not inconsistent with other provisions of law, the Secretary of the Interior's Standards for Archeology and Historic Preservation, or essential departmental and OPDIV mission requirements.

B.	Improving HHS Planning and Accountability

Accurate information on the state of HHS owned historic properties is essential to achieving the goals of this order and to promoting community economic development through local partnerships.  Each HHS/OPDIV with real property management responsibilities shall prepare an assessment of the current status of its inventory of historic properties required by section 110(a)(2) of the NHPA (16 USC 470h-2(a)(2)), the general condition and management needs of such properties, and the steps underway or planned to meet those management needs.  The assessment shall also include an evaluation of the suitability of the OPDIV's types of historic properties to contribute to community economic development initiatives, including heritage tourism, taking into account HHS/OPDIV mission needs, public access considerations, and the long-term preservation of the historic properties.  The first status reports required by E.O. 13286, were due to the Chairman of the Advisory Council on Historic Preservation (Council) and the Secretary of the Interior by September 30, 2005.  Follow-up reports are due every third year thereafter.

C.	Improving Federal Stewardship of Historic Properties

Each OPDIV shall ensure that the management of historic properties in its ownership is conducted in a manner that promotes the long-term preservation and use of those properties as Federal assets and, where consistent with OPDIV missions, governing law, and the nature of the properties, contributes to the local community and its economy.

- Where consistent with OPDIV missions and the Secretary of the Interior's Standards for Archeology and Historic Preservation, and where appropriate, agencies shall cooperate with communities to increase opportunities for public benefit from, and access to, federally owned historic properties.

- The Council is directed to use its existing authority to encourage and accept donations of money, equipment, and other resources from public and private parties to assist other agencies in the preservation of historic properties in Federal ownership to fulfill the goals of the NHPA and this order.

- The National Park Service, working with the Council and in consultation with other agencies, shall make available existing materials and information for education, training, and awareness of historic property stewardship to ensure that all Federal personnel have access to information and can develop the skills necessary to continue the productive use of Federally owned historic properties while meeting their stewardship responsibilities.

- The Council, in consultation with the National Park Service and other agencies, shall encourage and recognize exceptional achievement by such agencies in meeting the goals of the NHPA and this order.

3-4-20	Guidance and Information

OPDIVs have or should be developing reporting systems to fulfill the assessment and reporting requirements of subsections 3(a)-(c) of EO 13287.  To assist agencies, the Council, in consultation with the Secretary of the Interior, has prepared advisory historic preservation program guidelines for agencies to use at their discretion.

The Secretary of Health and Human Services has designated the DAS, OFMP as the HHS senior policy level official to have policy oversight responsibility for the agency's historic preservation program.  The DAS, OFMP has further designated a qualified subordinate employee to serve as the agency's Federal Preservation Officer in accordance with section 110(c) of the NHPA.  The Federal Preservation Officer is qualified consistent with guidelines established by the Secretary for that position and has access to adequate expertise and support to carry out the duties of the position.

A.	Promoting Preservation Through Heritage Tourism

- To the extent permitted by law and within existing resources, the Secretary of Commerce, working with the Council and other agencies, shall assist states, Indian tribes, and local communities in promoting the use of historic properties for heritage tourism and related economic development in a manner that contributes to the long-term preservation and productive use of those properties.  Such assistance shall include efforts to strengthen and improve heritage tourism activities throughout the country as they relate to federally owned historic properties and significant natural assets on Federal lands.

- Where consistent with OPDIV missions and governing law, and where appropriate, OPDIVS shall use historic properties in their ownership in conjunction with state, tribal, and local tourism programs to foster viable economic partnerships, including, but not limited to, cooperation and coordination with tourism officials and others with interests in the properties.

B.	National and Homeland Security Considerations

Nothing in this section shall be construed to require any agency to take any action or disclose any information that would conflict with or compromise national and homeland security goals, policies, programs, or activities.

C.	Definitions

For the purposes of this section, the term "historic property" means any prehistoric or historic district, site, building, structure, or object included on or eligible for inclusion on the National Register of Historic Places in accordance with section 301(5) of the NHPA (16 USC 470w(5)).  The term "heritage tourism" means the business and practice of attracting and accommodating visitors to a place or area based especially on the unique or special aspects of that locale's history, landscape (including trail systems), and culture.  The terms "Federally owned," "in Federal ownership," and similar terms, as used in this order, do not include properties acquired by agencies as a result of foreclosure or similar actions and that are held for a period of less than five years.

3-4-30	Reporting Requirements

Each OPDIV with real property management responsibilities reported September 30, 2005, and is responsible for reporting every year thereafter on its progress in identifying, protecting, and using historic properties in its ownership.  The report should be provided to OFMP, which is responsible for consolidating the reports and sending to the Council.  The Council shall incorporate this data into a report on the state of the Federal Government's historic properties and their contribution to local economic development and submit this report to the President.  The main topic areas to be addressed are:

- What types of historic properties does your agency own or manage and how is this information collected and maintained?

- How would you characterize the distribution and general condition of these properties?

- What reporting mechanisms and systems are used by your agency for carrying out its resource management responsibilities?

- Does your agency coordinate its data gathering for historic properties under its ownership or control with required Federal audit, accounting, and financial management reporting?

- How is your agency fulfilling its historic preservation program responsibilities under Section 110 of NHPA?

- How is your agency complying with Section 111 of NHPA when historic properties are transferred, leased, or sold?

- If your agency does not currently have a historic preservation program or procedures for complying with Sections 110 and 111, what future actions will be taken to meet these statutory requirements?

- What issues regarding your agency’s mission, internal policies, location of its inventory of historic properties, or use of such properties could potentially hinder the agency’s ability to contribute to community economic development initiatives?

- Does your agency have programs and policies that help it to identify historic preservation opportunities and promote preservation through partnerships?

- How would your agency characterize its overall progress in meeting its property management and stewardship responsibilities since filing its last Executive Order 13287, Section 3 Report?

Section 3-5:	ARCHITECTURAL BARRIERS COMPLIANCE

3-5-00	Policy

10	Procedures

20	Guidance and Information

30	(Reserved)

3-5-00	Policy

A.	The Architectural Barriers Act (ABA) of 1968

Most Federal buildings and certain federally funded buildings are covered by the Architectural Barriers Act (ABA) of 1968.  This act is enforced by the Access Board and requires that covered federally funded buildings and facilities be accessible to persons with disabilities.  The Board was created to enforce the ABA, which it does through the investigation of complaints.

3-5-10	Procedures

A.	Existing Facilities

The ABA Guidelines cover new construction and planned alterations and do not apply to existing facilities except where altered.  Existing facilities built or altered according to earlier versions of the ABA standards will not necessarily have to meet the updated version except where they are subsequently altered or renovated.  (Additional information on accessibility requirements for persons with disabilities is provided in Chapter 3 of Volume I).

B.	Complaint Handling

1.	Complaints of inaccessible conditions received by HHS OPDIVS from employees or facility users should be resolved at the OPDIV level, when possible.  Otherwise, they may be forwarded to OFMP for review and resolution.

2.	Complaints received from the Architectural and Transportation Barriers Compliance Board (ATBCB) shall be forwarded to the appropriate agency facilities office for review and necessary action.

3.	Complaints received by OFMP that require site investigation to determine validity or means of resolution will be forwarded to the appropriate OPDIV facilities office for investigation and action.  An interim reply will be prepared and sent by OFMP to the party submitting the complaint (i.e., the ATBCB or the complainant).

4.	Upon completion of its investigation, the OPDIV facilities office will notify the ATBCB or complainant, as appropriate, of the results.  A copy of final resolution shall be furnished to OFMP.  In cases where remedial action is required, the facilities office will notify the HHS OPDIV official responsible for operating or funding the facility of any standards violation, and any necessary remedial action.

3-5-20	Guidance and Information

Facilities not constructed with Federal funds, but which house federally conducted programs and activities, are covered by Section 504 of the Rehabilitation Act of 1973 (29 USC 794) which is enforced by the Office for Civil Rights (OCR).  Effective May 8, 2006, the Uniform Federal Accessibility Standards (UFAS) were replaced by the Architectural Barriers Act (ABA) Accessibility Guidelines, codified at 36 C.F.R. Part 1191 (ABA Chapters 1, 2 and 3 through 10) (the ABA Accessibility Guidelines are available at www.access-board.gov.  The General Services Administration adopted the ABA Accessibility Guidelines as enforceable standards in November of 2005.  These new standards apply to construction and alterations that commence on or after May 8, 2006 and to leases entered into on or after that date.  For construction or alteration projects that began before May 8, 2006 and for projects whose designs were substantially complete before that date, reliance on the UFAS standards would be permissible.

For guidance and information contact:

The United States Access Board

1321 F. Street, N.W. Suite 1000

Washington DC 20004-1111

(800) 872-2253 (v)

(800) 993-2822 (TTY)

Fax: (202) 227-0081

www.access-board.gov

e–mail: info@access-board.gov

Section 3-6:	Waste Management

3-6-00	Policy

10	Procedures

20	Guidance and Information

30	(Reserved)

3-6-00	Policy

This section establishes HHS policy and responsibilities for compliance with statutory and procedural requirements for solid waste management including disposal, waste minimization, recycling, and resource recovery requirements.  The Solid Waste Disposal Act (SWDA), as amended by the Resource Conservation and Recovery Act (RCRA), establishes requirements concerning the disposal and management of solid wastes.

Authorities and References

- Resource Conservation and Recovery Act of 1976 (42 USC 6901 et seq.).

- Solid Waste Disposal Act of 1965, as amended of 1976 (42 USC 6901 et seq.).

- Clean Air Act (CAA) of 1970, as amended (42 USC 7401 et seq.).

- Pollution Prevention Act (PPA) of 1990 (42 USC 13101 et seq.).

- Executive Order (EO) 12873, Federal Acquisition, Recycling, and Waste Prevention, October 20, 1993.

- Executive Order (EO) 13423, Strengthening Federal Environmental, Energy and Transportation Management, January 24, 2007.

3-6-10	Procedures

The HHS facility will design solid waste disposal programs as total systems that consider the relative economic advantages of the latest technology as well as the potential for resource recovery.  The program will explore shredding, compacting, energy recovery, and similar processes.  A facility solid waste management plan must be developed addressing each of the following: Material Reuse, Recycling, Energy Recovery, Disposal, and Source Reduction.

All HHS organizations and tenants must participate in a facility recycling program.  A facility-recycling program shall be established for the following purposes:

- To protect the environment and prevent the depletion of valuable natural resources.

- To comply with Federal, state, and local environmental laws and regulations.

- To reduce the volume of waste disposed in landfills.

- To reuse readily available resources.

- To avoid excessive costs for the disposal of solid waste by other means.

- To obtain proceeds from the sale of recyclable material.

3-6-20	Guidance and Information

See HHS GAM, Part 30 - Environmental Protection - February 2000, for more guidance on this topic.

SECTION 3-7:	PEST CONTROL

3-7-00	Policy

10	Procedures

20	Guidance and Information

30	Reporting Requirements

X3-7-A	Sample Pesticide Authorized User List

X3-7-B	Sample Planned Pesticide/Herbicide Use Sheet

3-7-00	Policy

This section presents information regarding facilities operations requirements associated with Pest and Weed control and establishes HHS policy and responsibilities for complying with the legal use of pesticides and herbicides at HHS facilities.  Environmental compliance with respect to use of pesticides and herbicides must be integrated with occupational health and safety policies and regulations.

3-7-10	Procedures

Properly implemented recurring pest and weed control services will eliminate or greatly reduce nuisance pests and in some cases prevent the intrusion of unwanted pests into buildings, lawns, plants and trees.  Pests include any insects, rodents, vertebrates, vegetation, decay organisms, birds, animals, mollusks, and reptiles that are disease vectors or nuisances or are harmful to humans and their surroundings.  Pest control actions shall include mechanical, chemical, physical, or construction as necessary to prevent/remove the identified pest.

Product Technical Specification Changes.  It may become necessary to alter technical specifications and products used when:

      - Newer, safer, and more effective methods become available.

      - More selective pesticides become available.

      - Less toxic and less persistent pesticides become available.

Performance Requirements.  Work shall be accomplished in accordance with applicable federal and state regulations and guidelines at a minimum.  Common categories of facilities or land treatment include:  Fire Ant Control, Mole Cricket Control, Mosquito Control, Animal Control, Weed Control, Plant & Tree Care, and Structural Pest Control Inspection and Treatment.

Pesticide Disposal.  Every effort must be made to ensure that pesticides do not become hazardous waste (HW).  Excess EPA-registered pesticides should be returned to the supplier, transferred to another HHS facility that is able to use the material, or transferred to another OPDIV.

A.	Environmental Protection and Safety Requirements

Programs shall minimize environmental impact by using integrated pest management techniques.  Proper safety precautions shall be specified and implemented including posting of appropriate warning/caution signs, use of barriers, etc., to provide sufficient warning to people in the vicinity of applied treatments, and to prevent potential dangers or hazardous situations.  Pesticides shall be properly handled and transported, including use of proper identification on both sides of vehicles carrying pesticides.

B.	Pest Management Plans

Pest management plans shall be implemented that utilize integrated pest management techniques.  An approved list of pesticides and pest control products shall be maintained and complied with as the Pesticide Authorized User List (AUL).  See a sample authorized user list at Exhibit X3-7-A.  OPDIVs shall ensure that within their areas of responsibility:

- knowledgeable persons are designated to exercise control over the AUL, and

- AULs are kept current and are complied with at each independent site.

An example of a product information form for requesting additions to the AUL is provided as
Exhibit X3-7-B.

C.	Licensing, Permits, and Personnel Qualifications

Contractor and in-house pest control operators and applicators shall be licensed by the state in which work is to be performed and such license shall specify those categories of pest control in which the licensee is qualified and authorized to perform pest control services.  As a minimum, all requirements with respect to business licensing, certifications, employee identifications, and actual work performance shall fully comply with state laws and regulations applicable to the state in which the work is performed.

D.	Definitions

Integrated Pest Management Plan (IPMP) - A planned program incorporating continuous monitoring, education, record-keeping, and communication to prevent pests and disease vectors from causing unacceptable damage to operations, human, property, material, or the environment.  IPMP uses targeted, sustainable (effective, economical, environmentally sound) methods including education, habitant modification, biological control, genetic control, cultural control, mechanical control, physical control, regulatory control, and, where necessary, the judicious use of least hazardous pesticides.

Pesticide - Any substance or mixture of substances intended for preventing, destroying, repelling, or mitigating any pest, and any substance or mixture of substances intended for use as a plant regulator, defoliant, or desiccant.

Vector – Organisms that play a role in the transmission of a pathogen/infective agent from one host to another (between humans or from animals to humans).

E.	Authorities/References

- Federal Insecticide, Fungicide, and Rodenticide Act (FIFRA) of 1972, as amended (Public Law 92- 516, 7 USC 136 et seq.).

- Resource Conservation and Recovery Act (RCRA) of 1976, as amended (42 USC 6901 et seq.).

- Federal Water Pollution Control Act of 1972, as amended by the Clean Water Act of 1977 (33 USC 1251 et seq.).

- Emergency Planning and Community Right-to-Know Act (EPCRA) of 1986 (42 USC 11001 et seq.).

- Toxic Substances Control Act (TSCA) of 1976 (15 USC 2601 et seq.).

- Endangered Species Act (ESA) of 1973 (16 USC 1531 et seq.).

- Migratory Bird Treaty Act of 1918, as amended (16 USC 703 et seq.).

- Federal Noxious Weed Act of 1974 (7 USC 2801 et seq.).

- National Environmental Policy Act (NEPA) of 1969 (42 USC 4321 et seq.).

F.	Responsibilities

All HHS personnel whose duties involve aspects of pest and weed control shall carry out the following responsibilities to the extent of their respective span of control and level of organizational authority:

- Establish and coordinate programs to achieve, maintain, and monitor compliance with applicable Federal, state, and local statutory and regulatory requirements for pest management.

- Emphasize techniques to reduce pesticide risk and prevent pollution.  Monitor pesticides to ensure the pesticides available are least hazardous and comply with applicable Federal, state, and local laws.

- Ensure, through staff assistance visits and Environmental Compliance monitoring, departmental/ regional cooperation and compliance with Federal, state, and local regulatory agencies with regard to pesticide management regulations.

- Ensure procedures are established so that recommendations from onsite pest management program reviews will result in appropriate corrective action.

- Coordinate pest management actions, as appropriate, with state and local governments involved with pest management when human health is an issue.

- Cooperate with state and local government agencies involved with pest management.

- Conduct special environmental compliance and protection studies with regard to pest management to assist in establishing policy or initiating actions.

- Exercise oversight and review of pest management programs within assigned area of responsibility.

- Establish surveillance programs to assess potential adverse environmental or public health effects from pesticide use and monitor the health and safety of persons who apply pesticides.

- Ensure that all pest management operations performed at the facility are properly recorded, and that all records are properly maintained.

3-7-20	Guidance and Information

Warranty of Structural Pest Control Treatment: typically, a five-year written warranty is required from commercial service providers to warrant the areas treated against existing and new infestations of subterranean termites or powder post beetles.  The warranty shall state that chemical concentrations, rates, and methods of application complied with the EPA label.  The warranty period shall commence from the date of satisfactory completion of the work.  Visual sightings of pests, additional damage, new mud tubes, or other signs of living pests within the structure during the warranty period shall be grounds for re-treatment under warranty.

3-7-30	REPORTING REQUIREMENTS

Every HHS organization responsible for providing Pest Control services shall have a written Integrated Pest Management Plan (IPMP) that establishes an early prevention program to eliminate and control pest infestations.  All necessary safety, environmental, and regulatory specifications and requirements shall be implemented in a manner which offers maximum protection to human life and property with special emphasis on protecting the environment.  OPDIVs and other HHS activities have discretion to publish umbrella IPMPs that adequately address the issues at their sites, so long as the sites operate in accordance with those plans.  Facilities shall maintain complete daily pesticide application and pest management operations records as required by FIFRA and 7 USC 136i-1 and ensure that these records are archived after 2 years for permanent retention.

| SAMPLE PESTICIDE AUTHORIZED USER LIST |
| --- |
| Pesticide | Common Name | Intended Use | Approved |
| Acephate | Orthene | Roaches, Ants | Yes |
| Altosid Briquettes | Methoprene | Mosquito Larvae | Yes |
| Amdro Fire Ant | Hydramethylnon | Ants | Yes |
| Aqua Bac | Bti | Larvicide | Yes |
| Avitrol | 4-Aminopyridine | Birds | Yes |
| Award | Fenoxycarb | Ant Bait | Yes |
| Banner/Maxx | Propiconazde | Fungicide | Yes |
| Bayleton 50% | Triadimefon | Turf Fungus | Yes |
| Baytex | Fenthion | Mosquitoes | Yes |
| Bentgrass Select. | Dimethylamine Salt | Herbicide | Yes |
| Bird-Proof | Polybutene 49% | Bird Repellent | Yes |
| CB-80 Extra | Pyrethrins 5% | Roaches | Yes |
| Diazinon 4E | Diazinon | Roaches | Yes |
| Diazinon 5G | Diazinon | Ants | Yes |

PLANNED PESTICIDE/HERBICIDE USE SHEET (non-mandatory sample)

| Activity Name: | Enter site name, Location |
| --- | --- |
| Applicator: |  |
| Target Pest: |  |
| Purpose: |  |
| Trade Name: |  |
| Common Name: |  |
| EPA Regulation No.: |  |
| Formulation: |  |
| CONC AI: |  |
| Possible Source(s): |  |
| Use %: |  |
| Dilutent: |  |
| Rate: |  |
| Method: |  |
| Units Treated: |  |
| Site: |  |
| Months: |  |
| Sensitive Areas: |  |
| Inspection Methods: |  |
| Other Controls: |  |
| Date:_______________ | Approved ( Disapproved ( |
|  | Authorized Signature and Title: _____________________________________________ |