Sent via email to: FDADOCKETS@OC.FDA.GOV

Subject:  Docket No 2003D-0522								March 1 , 2004

Dear Sirs,

As the developer and manufacturer of the first on-site oral-based test for drugs-of-abuse, Avitar respectfully submits its comments relative to the FDA’s Draft Guidance on Drugs of Abuse Screening Tests.

Avitar applauds the FDA’s efforts to more effectively oversee the marketing of drugs-of-abuse testing products, with respect to laboratory tests, and non-laboratory tests targeted at the consumer or healthcare markets.  The FDA’s proposed guidelines will assist companies serving these sectors in preparing pre-market submissions and better complying with FDA regulations.

We respectfully request, however, that the proposed guidelines be modified relative to the workplace sector.

The proposed guidelines would significantly raise the cost to employers for on-site drugs of abuse testing, potentially lessen the amount of testing done, and threaten a growing number of small innovative test manufactures that are developing products to meet market needs.

The following supportive comments are offered for your review:

1. Employers have traditionally expressed frustration with the cost and long turnaround times for test results associated with traditional laboratory-based testing practices.  As a result, innovative companies such as Avitar developed rapid on-site tests for drugs of abuse.  While Avitar develops and manufactures oral-based saliva tests, on-site tests are available from other manufactures for using urine.

Its is these new technologies that are enabling employers to cost-effectively increase and optimize their drugs of abuse testing policies.  For example, testing can be expanded beyond pre-employment testing to include random testing, a process proven to be more effective in reducing the level of drug usage on the job.

2. The requirement to run controls by the users would add significant costs to the test. Quality control for on-site drugs of abuse tests is done at the time of manufacturing.  Additionally, a control line present on each oral-based on-site test that shows that the device has been stored properly and is operational.   We respectfully submit that FDA approved tests such as OTC pregnancy and glucose monitoring, both of which are medical tests, are not presently required to run controls.

The cost of running clinical trials, requiring that samples be taken in the workplace, would be also dramatically increase costs, as a prohibitive number of samples from the workplace would be required to yield the requisite positive samples..

Larger firms are better positioned to fund the additional costs noted above, which we submit are not needed.  The smaller, innovative test manufactures would be disproportionately affected and likely be eliminated from the market.

3.  If costs for on-site testing increase, and employers respond by testing less frequently and/or effectively, there may be a significantly negative impact upon the US economy.

The time required to test and hire an employee would be increased, and less effective drugs of abuse policies would be employed, reversing the current trends toward reduction of drug usage in the workforce.  Furthermore, in an economic environment where U.S. jobs are at risk due to foreign competition, adding additional costs and time to the hiring process is clearly not in the national interest   (Note:  On-site tests are approximately 65% less costly than traditional laboratory tests, and yields significant time savings, as an initial screen result is available within minutes of taking the test.)

4. A significant degree of self-regulation is in place.  Manufacturers and employers have developed and presently use accurate and reliable products, complete with appropriate labeling and training materials.  Labeling typically includes both pictures and text that enable the lay person to understand what drugs the test can identify, the time frame within which the drugs can be detected, how to properly collect the specimen, run the test, and determine a result.  The workplace has procedures in place for non-negative results, such as subsequent confirmation via laboratory testing.  MRO procedures and EAP programs are in place to support confirmed positives, obtain professional counseling if needed, etc.

5. In addition to manufacturer and employer self-regulation, the nation’s legal system supports a rigorous framework of established practices for drugs of abuse testing.

Hundreds of historical cases support drugs of abuse testing in the workplace, and precedent for their appropriate usage.

In summary, Avitar’s drugs of abuse screening products are not medical devices.  Our products are used in the workplace to screen for potential drug use only. Effective procedures for collecting samples and conducting tests are already in place and are rigorously supported by both our firm and employers.  Avitar’s screening products are not sold to consumers

As an innovative industry-leading private sector partner in the fight against drug use in America, we respectfully request that the FDA reconsider the inclusion of the workplace sector in its proposed guidelines, or make appropriate modifications.

Your assistance in this matter will allow our firm, working with employers throughout the Nation, and all interested and affected constituencies, to continue to provide the benefits of quality, cost-effective, drugs of abuse testing.

Please contact me directly with any questions.  Also, I would be pleased to visit with you in Washington at your convenience.

Sincerely,

Doug Scott

President,  													   Avitar Technologies  									    www.avitarinc.com

# Text boxes

On-Site                                Diagnostic Solutions