# Embassy of the United States of America

General Services Office

Tel. 82-2-397-4663

Fax: 82-2-796-0516

Date:  June 28, 2007

Dear Prospective Offerors:

SUBJECT:  S-KS700-07-Q-0034

The Embassy of the United States of America invites you to submit a proposal for FCS Office Remodeling Work on the 6th Floor of the Chancery, American Embassy, Seoul, Korea.

If you are interested in submitting a proposal on this project, read the instructions in Section L of the attached Request for Proposals (RFP).

If you are interested in submitting a proposal on this project, read the instructions in Section L of the attached Request for Proposals (RFP).  If you intend to submit a proposal, you should thoroughly examine all documents contained in the contract solicitation package and arrange for a personal inspection of the project site by a representative from your company. The Embassy intends to conduct a pre-proposal conference/site visit and all prospective offerors who have received a solicitation package will be invited to attend. The preproposal conference will be held at the GSO Conference Room at #10, Namyoung-dong, Yongsan-gu, Seoul, Korea on July 9, 2007 at 10:00 hours and the site visit will be conducted right after the preproposal conference on the same day.  If you intend to participate in the pre-proposal conference, you will be required to submit the completed GSO access request form (attached) via fax to Lee, Jahwon Angela (Fax: 02-796-0516) no later than 16:00 hrs, July 4, 2007.

Offerors are requested to limit the number of participants to two persons per company.  Please be sure to bring the solicitation document with you to the conference.  No extra copies will be available at the conference.

Submit any questions you may have concerning the solicitation documents in writing by July 4, 2007, 16:00 hrs so that a response can be provided at this conference.

Your proposal must be submitted in a sealed envelope marked "Proposal No. S-KS700-07-Q-0034 Enclosed" to  Jason R. Cubas, Contracting Officer, GSO, #10, Namyoung-dong, Yongsan-ku, Seoul, Korea on or before July 20, 2007, 16:00 hrs.  No proposal will be accepted after this time.

Complete Part II of the Standard Form 1442, including all blank spaces, and have the form signed by an authorized representative of your company, or the proposal may be considered unacceptable and may be rejected.

In order for a proposal to be considered, you must also complete and submit the following:

1.	Section B and Attachment 2, Proposal Breakdown by Divisions;

2.	Section K, Representations and Certifications;

3.	Bar Chart illustrating sequence of work to be performed;

4.	Additional information as required in Section L.

The contract will be a firm fixed price contract, with no adjustment for any escalation in costs or prices of labor or materials.  Each offeror will be responsible for determining the amount of labor and materials that will be required to complete the project, and for pricing its proposal accordingly.

Please be advised that each offeror is responsible for furnishing complete information to its subcontractor and suppliers, such as details and quantities required by the drawings and specifications.  Subcontractors and suppliers should not be referred to the Embassy or the Architect for determining the amount or quantities of materials required.

The construction completion time is 15 days, commencing on July 27, 2007.

The Contracting Officer reserves the right to reject any and all proposals and to waive any informality in proposals received.  In addition, the Embassy reserves the right to establish a competitive range of one or more offerors and to conduct further negotiations concerning price and other terms before awarding the contract, or to award without discussions.

Please direct any questions regarding this solicitation to Jason R. Cubas by letter or by telephone at 02-397-4648 during regular business hours.

Sincerely,

Jason R. Cubas

Contracting Officer

GSO ACCESS REQUEST FORM

(미국대사관 출입신청서)

Project Name: FCS Office Remodeling Work at 6th Floor of the Chancery, American Embassy, Seoul, Korea.

NO (입찰번호): S-KS700-07-Q-0034

Pre-quotation Conference/Site Visit

Date: 10:00 a.m., July 9, 2007

Place: GSO, U.S. Embassy, Seoul, Korea

To: Jason R. Cubas, Contracting Officer

Attn: Lee, Jahwon Angela, Tel No.: 397-4762   Fax No: 796-0516

From (회사명): ___________________________________________

Address (회사주소): _______________________________________

Tel No. (전화번호): _______________________________________

Fax No. (팩스번호): _______________________________________

Email Address (대표 이메일 주소): ___________________________

출입자 인적사항

| Name (성명) | KID (주민번호) | Address (주소) | Phone (전화) | Cellphone (핸드폰) | Vehicle (차량번호) | Model (차종) |
| --- | --- | --- | --- | --- | --- | --- |

- Please submit the completed form no later than July 4, 2007, 16:00 hours via fax.

- Attendees should be limited two because of the capacity of conference room.

- Be sure to come with copies of RFQ package. We do not provide it.

| SOLICITATION, OFFER, AND AWARD (Construction, Alteration, or Repair) | 1. SOLICITATION NO. S-KS700-07-Q-0034 | 2. TYPE OF SOLICITATION SEALED BID (IFB) NEGOTIATED (RFP) | 3. DATE ISSUED | PAGE OF PAGES 1 of 64 |
| --- | --- | --- | --- | --- |
| IMPORTANT - The “offer” section on the reverse must be fully completed by offeror. |
| 4. CONTRACT NO. | 5. REQUISITION/PURCHASE REQUEST NO. | 6. PROJECT NO. |
| 7. ISSUED BY CODE |  | 8. ADDRESS OFFER TO |
| GSO-PUR American Embassy Seoul, Korea | See Item 7 |
| 9. FOR INFORMATION CALL: | A. NAME Jason R. Cubas, Contracting Officer | B. TELEPHONE NO. (Include area code) (NO COLLECT CALLS) 02-397-4648 |
| SOLICITATION |
| NOTE: In sealed bid solicitations “offer” and “offeror” mean “bid” and “bidder.” |
| THE GOVERNMENT REQUIRES PERFORMANCE OF THE WORK DESCRIBED IN THESE DOCUMENTS: PROJECT NAME: FCS Office Remodeling Work at 6th Floor of the Chancery, American Embassy, Seoul, Korea. Section A - SF-1442, Solicitation, Offer and Award Section B - Supplies or Services and Prices/Costs Section C - Description/Specifications/Statement of Work Section D - Packaging and Marking Section E - Inspection and Acceptance Section F - Deliveries or Performance Section G - Contract Administration Data Section H - Special Contract Requirements Section I - Contract Clauses Section J - List of Attachments (Sample Blank Letter of Guarantee, Breakdown of Proposal Price by Divisions of Specifications) Section K - Representations and Certifications and Other Statements of Offeror’s Quotations Section L - Instructions, Conditions and Notices to Offerors of Quotations Section M - Evaluation Factors for Award |
| 11. The Contractor shall begin performance within 30 calendar days and complete it within 95 calendar days after receiving award, notice to proceed. This performance period is mandatory, negotiable. (See Section F.) |
| 12A. THE CONTRACTOR MUST FURNISH ANY REQUIRED PERFORMANCE AND PAYMENT BONDS? (If “YES,” indicate within how many calendar days after award in Item 12B.) YES NO | 12B. CALENDAR DAYS |
| 13. ADDITIONAL SOLICITATION REQUIREMENTS: A. Sealed offers in original and one copy to perform the work required are due at the place specified in Item 8 by 16:00 p.m. , local time July 20, 2007. If this is a sealed bid solicitation, offers must be publicly opened at that time. Sealed envelopes containing offers shall be marked to show the offeror’s name and address, the solicitation number, and the date and time offers are due B. An offer guarantee is, is not required. C. All offers are subject to the (1) work requirements, and (2) other provisions and clauses incorporated in the solicitation in full text or by reference. Offers providing less than 60 calendar days for Government acceptance after the date offers are due will not be considered and will be rejected. |

NSN 7540-01-155-3212	1442-101		STANDARD FORM 1442 (REV. 4-85)

| OFFER (Must be fully completed by offeror) |
| --- |
| 14. NAME AND ADDRESS OF OFFEROR (Include ZIP Code) | 15. TELEPHONE NO. (Include area code) |
|  | 16. REMITTANCE ADDRESS (Include only if different than Item 14) |
| CODE FACILITY CODE |  |
| 17. The offeror agrees to perform the work at the prices specified below in strict accordance with the terms of this solicitation, if this offer is accepted by the Government within 60 calendar days after the date offers are due. AMOUNTS $ |
| 18. 18. The offeror agrees to furnish any required performance and payment bonds. |
| 19. ACKNOWLEDGMENT OF AMENDMENTS The offeror acknowledges receipt of amendments to the solicitation -- give number and date of each |
| A AMENDMENT NO. |  |  |  |  |  |  |  |  |  |  |
| DATE |  |  |  |  |  |  |  |  |  |  |
| 20A. NAME AND TITLE OF PERSON AUTHORIZED TO SIGN OFFER (Type or print) | 20B. SIGNATURE | 20C. OFFER DATE |
| AWARD (To be completed by Government) |
| 21. ITEMS ACCEPTED: All |
| 22. AMOUNT | 23. 23. ACCOUNTING AND APPROPRIATION DATA |
| 24. SUBMIT INVOICES TO ADDRESS SHOWN IN | ITEM 27 | 25. OTHER THAN FULL AND OPEN COMPETITION PURSUANT TO 10 U.S.C. 2304(c)( ) 41 U.S.C. 253(c)( ) |
| 26. ADMINISTERED BY CODE Block 31 |  | 27. 27. PAYMENT WILL BE MADE BY Fi Financial Management Center American Embassy, Seoul #32, Sejongno, Jongno-ku, Seoul, Korea |
| CONTRACTING OFFICER WILL COMPLETE ITEM 28 OR 29 AS APPLICABLE |
| 28. NEGOTIATED AGREEMENT (Contractor is required to sign this document and return 2 copies to issuing office.) Contractor agrees to furnish and deliver all items or perform all work, requisitions identified on this form and any continuation sheets for the consideration slated in this contract. The rights and obligations of the parties to this contract shall be governed by (a) this contract award, (b) the solicitation, and (c) the clauses, representations, certifications, and specifications or incorporated by reference in or attached to this contract. | 29. AWARD (Contractor is not required to sign this document.) Your offer on this solicitation is hereby accepted as to the items listed. This award consummates the contract, which consists of (a) the Government solicitation and your offer, and (b) this contract award. No further contractual document is necessary. |
| 30A. NAME AND TITLE OF CONTRACTOR OR PERSON AUTHORIZED TO SIGN (Type or print) | 31A. NAME OF CONTRACTING OFFICER (Type or print) Jason R. Cubas |
| 30B.SIGNE | 30C. DATE | 31B. UNITED STATES OF AMERICA BY: | 31C. AWARD DATE |

Computer Generated	                                                                                                                         STANDARD FORM

1442 BACK (REV. 4-85)

SECTION B - SUPPLIES OR SERVICES

AND PRICES/COSTS

B.1	CONTRACT PRICE

The contractor shall complete all work (including furnishing all labor, material, equipment and services) required under this contract for the following firm fixed price and within the time specified.  This price shall include all labor, materials, overhead (including insurance required by FAR 52.228-4, Workers’ Compensation and War-Hazard Insurance, which shall not be a direct reimbursement), and profit.

__________________________ Total Price

B.2	TYPE OF CONTRACT

This is a firm fixed price contract payable entirely in the currency indicated in the SF1442.  No additional sums will be payable for any escalation in the cost of materials, equipment or labor, or because of the contractor's failure to properly estimate or accurately predict the cost or difficulty of achieving the results required.  The Government will not adjust the contract price due to fluctuations in currency exchange rates.  The Government will only make changes in the contract price or time to complete due to changes made by the Government in the work to be performed, or by delays caused by the Government.

The Government will make payments based on quantities and unit prices only to the extent specifically provided in the contract.

SECTION C - DESCRIPTION/SPECIFICATIONS

STATEMENT OF WORK

1        PROJECT DESCRIPTION/WORK IDENTIFICATION

The project is described as “FCS Offices Remodeling Work at 6th Floor of the Chancery ”, U.S. Embassy, Seoul, Korea”.

The Contractor shall furnish all the necessary materials, labor, investigation, superintendence, equipment, transportation, etc. for the execution of the work. Work will be performed within a fixed-price contract.  The bidders shall submit his proposed cost described in both unit price and total price.

2       SCOPE OF WORK/SPECIFICATION

2.1	The described work includes professional cleaning service, installation of new gypsum drywall, paint work, carpet tile after removal of the old carpet tiles, and electrical, mechanical device where required.  This work will cover 402 m2 of the office floor located at 5th Floor in the Chancery Building.  All construction work shall be in conformance with the following Codes:

- International Building Code, 2002 Edition

b)	International Plumbing Code, 2002 Edition

c)	International Mechanical Code, 2002 Edition

d)	International Fire Code, 2003 Edition

e)	National Electric Code, 2005 Edition

f)	National Fire Protection Association, NFPA 101

- ICC/ANSI A117.1-98 Accessible And Usable Buildings And Facilities

#### 2.2		DEMOLITION and TEMPORARY WORK

2.2.1	Contractor shall remove the existing partition including door set, and air conditioner as per enclosed drawing. Contractor shall remove all equipment, office furniture and devices in a safe and non-destructive manner, so that all equipment and devices will remain in pre-removal working condition after completion of the work.

2.2.2	The contractor shall dispose all the construction debris upon approval by the COR and under the supervision of an employee of US Embassy. Equipment, furniture and devices shall be stored on-site for re-installation after completion of the work.

2.2.3	The work hours are from 08:00 A.M to 17:00 P.M Monday through Sunday.  Contractor must keep the site clean during the working period. The works cause the noisy and smell are executed during Saturday, Sunday, Holidays.

2.2.4	Demolition cost shall be all-inclusive to ensure that existing conditions (electrical, mechanical devices, etc.) are taken into account.  The existing electrical and mechanical devices shall be re-installed after ceiling work.  The contractor shall repair all damages at their own expense.

2.3       ARCHITECTURAL  WORK

2.3.1	Provide high quality paint, gypsum board wall and carpet tile as per enclosed plan.

2.3.2	Replace floor carpet at room 602, A,B,C,D,E,F,G,H.

2.3.3	Provide and install tempered glass (12mm) wall and door including hardware(floor hinge:K-9400N 2 Valve, Stainless Steel Push/Pull bar).

2.3.4	Install wood door including frame and hardware (door closer:K-903FL, hinge, door lock set) at 602 H.

2.3.5	Interior Finish Schedule

| Rm. No | Floor | Wall Base | Wall | Ceiling | Remark |
| --- | --- | --- | --- | --- | --- |
| 602 Office | Carpet Swan Royal-T, RQ-121 | Lauan (t=12mm, 138mm) | Water paint | N/A |  |
| 602A office | Carpet Swan Royal-T,RQ-121 | Lauan (t=12mm, 138mm) | Water paint | N/A |  |
| 602B Conference Rm | Carpet Swan Royal-T, RQ-121 | Lauan (t=12mm, 138mm) | Water paint | N/A |  |
| 602C Office | Carpet Swan Royal-T, RQ-121 | Lauan (t=12mm, 138mm) | Water paint | N/A |  |
| 602D Office | Carpet Swan Royal-T, RQ-121 | Lauan (t=12mm, 138mm) | Water paint | N/A |  |
| 602E Office | Carpet Swan Royal-T, RQ-121 | Lauan (t=12mm, 138mm) | Water paint | N/A |  |
| 602F Office | Carpet Swan Royal-T, RQ-121 | Lauan (t=12mm, 138mm) | Water paint | Acoustic Flat Drop Ceiling | Kumkang “Miton t=15mm” |
| 602G Office | Carpet Swan Royal-T, RQ-121 | Lauan (t=12mm, 138mm) | Water paint | N/A |  |
| 602H Server Room | Carpet Swan Royal-T, RQ-121 | Lauan (t=12mm, 138mm) | Water paint | N/A |  |
| 602L Corridor | Vinyl tile (T=3mm, Stonia) | Lauan (t=12mm, 138mm) | Water paint | N/A |  |

2.4	ELECTRICAL/MECHANICAL WORK

2.4.1	Provide and install new receptacles (110V GFCI outlet, 220V GFCI outlet) as enclosed plan.  The receptacles will match the existing plug type.

2.4.2	Contractor will provide additional 4 (four) recessed lighting fixtures with prismatic lenses(4 fluorescent lamps @ 120 voltage, 60cm x 120cm).

2.4.3    Provide electrical wire with metal conduit pipe to lighting fixtures as required as per enclosed plan.

2.4.4	Relocate lighting fixture and diffuser as plan.

## 2.4.5	Install fire alarm system to match the existing system as per drawing.

2.4.6	Replace 1 (one) set of air conditioner units(12 Py, 6,000 Kcal, Samsung or LG) at room no. 602C.

  - COMMUNICATION 	NETWORK

    - Provide and install LAN/TEL line including telephone terminal jack(RJ45) from hub station to person desks as per enclosed drawing.

    - LG (2G, CAT-5) or equivalent brand shall be used for wire/cable LAN and Tel line.

    - A final test and inspection will be done by Embassy (IMO/ISC).

  - FURNITURE RELOCATION WORK

    - Furniture will be removed and relocated by Embassy(PM).  U.S Embassy will coordinate with contractor for furniture removal and relocation schedule accordingly.

    - Provide furniture disassembly work and furniture removal work as per plan.

3    ASBESTOS ABATEMENT PROCEDURE

Asbestos Abatement Procedures are in place at all U.S. Embassy Seoul locations. The area to be worked in on this contract may or may not contain asbestos materials. The Contractor shall obtain preliminary clearance from the COR prior to beginning operations which will result in the removal of existing building materials.

During the Contractors work, if the work scope of the construction is increased, the Contractor shall review any additional areas requiring work with the COR to ensure no asbestos containing materials are present. If, during the execution of the work, materials thought to possibly contain asbestos are noted by the Contractor, he shall immediately stop the work, and notify the COR.  During an episode of this nature, the Contractor shall remove his workers from the area, and cordon off the area to the greatest extent feasible.

No entry into the work area shall be permitted until cleared by the COR. Failure of the Contractor to abide by this section shall place all costs for asbestos remediation upon the Contractor.  The Contractor shall additionally be liable for any personal injuries that may arise from his actions involving the release of asbestos materials.

## 4		EXAMINATION OF THE SITE

4.1	The Contractor acknowledges that he has satisfied himself as to the nature of materials and methods of the existing construction noted for repair or replacement, and to the obstacles likely to be encountered, insofar as this information is reasonably ascertainable from an inspection of the specified structures and or premises. The Contractor shall carefully study and compare the Contract Documents with each other and with information furnished by the USG. Before commencing activities, the Contractor shall: (1) take field measurements and verify field conditions; (2) carefully compare this and other information known to the Contractor with the Contract Documents; and (3) promptly report errors, inconsistencies or omissions discovered to the USG.

5		SAFETY (FAR 52.236-13 Accident Prevention.)

5.1	The Contractor shall provide and maintain work environments and procedures which will-

(a)	Safeguard the public and Government personnel, property, materials, supplies, and equipment exposed to Contractor operations and activities.

(b)	Avoid interruptions of Government operations and delays in project completion dates.

(c)	Control costs in the performance of this contract.

5.2	For these purposes on contracts for construction or dismantling, demolition, or removal of improvements, the Contractor shall-

(a)	Provide appropriate safety barricades, signs, and signal lights

(b)	Comply with the standards issued by the Secretary of Labor at 29 CFR part 1926 and 29 CFR part 1910

(c)	Ensure that any additional measures the Contracting Officer determines to be    reasonably necessary for the purposes are taken.

5.3	Contractor shall comply with all pertinent provisions of the latest version of U.S. Army Corps of Engineers Safety and Health Requirements Manual, EM 385-1-1, in effect on the date of the solicitation.

5.4	Whenever the Contracting Officer becomes aware of any noncompliance with these requirements or any condition that poses a serious or imminent danger to the health or safety of the public or Government personnel, the Contracting Officer shall notify the Contractor orally, with written confirmation, and request immediate initiation of corrective action.

This notice, when delivered to the Contractor or the Contractor's representative at the work site, shall be deemed sufficient notice of the noncompliance and that corrective action is required. After receiving the notice, the Contractor shall immediately take corrective action.

If the Contractor fails or refuses to promptly take corrective action, the Contracting Officer may issue an order stopping all or part of the work until satisfactory corrective action has been taken. The Contractor shall not be entitled to any equitable adjustment of the contract price or extension of the performance schedule on any stop work order issued under this clause.

5.5	The Contractor shall insert this clause, including this paragraph (e), with appropriate changes in the designation of the parties, in subcontracts

6		CONSTRUCTION SCHEDULE

The construction period will not exceed 15 working days after verbal NTP.

7		PROGRESS SCHEDULE AND REPORTS

N/A

8		PRODUCT DATA, AND SAMPLES

Submit product data, and color samples prior to work for approval by the COR.

9		QUALITY CONTROL

9.1	Quality Control is the means by which the Contractor ensures that the construction, to   include that of subcontracts and suppliers, complies with the requirements of contract.

##### The controls shall be adequate to cover all construction operations, including both on site and off site fabrication, and will be keyed to the proposed construction sequence.

9.2	The Quality Control Program shall be based on a three-phase control process including,

Preparatory Phase, Initial Phase, and Follow-up Phase.

9.2.1		Preparatory phase: Contractor shall prepare and explain their construction plan (man power schedule, working schedule in detail, surface treatment method, safety plan, scaffolding plan, fire protection plan etc.)

9.2.2		Initial phase: Contractor shall make one sample area for each case such as; crack repair, surface treatment, cleaning methods, etc. for approval by the COR.

9.2.3		Follow-up phase: Contractor shall perform their work according to Preparatory phase and Initial phase.

9.3	Submittals: The Contractor shall submit for acceptance by the COR, a Quality Control plan. The plan shall identify and describe the site organization, personnel, records, and forms to be used. The Embassy reserves the right to require the Contractor to make changes in his CQC plan and operations, including removal of personnel, as necessary, to obtain the quality specified.

9.4	The Contractor Daily Quality Control Report must submitted no later than 11:00 a.m. the following workday. The report shall be submitted in original and one (1) copy. A report is required for every calendar day of the contract duration. For days when no contract activities take place, the COR may wave the requirement for daily report.

9.5	NOTIFICATION OF NONCOMPLIANCE (Construction Deficient Records): The COR will notify the Contractor of any detected noncompliance with the foregoing requirement. The Contractor shall, after receipt of such notice, immediately take corrective action. Such notice, when delivered to the Contractor at the site of work, shall be deemed sufficient for the purpose of notification. If the Contractor fails or refuses to comply promptly, the COR may issue an order stopping all or part of the work until satisfactory corrective action has been taken. Time lost due to such stop orders shall not be made the subject of a claim for extension of time or for excess costs or damages by the Contractor.

9.6 TECHNICAL EVALUATION

A technical evaluation of all submitted proposals will be conducted to determine whether each proposal meets all of the mandatory requirements of the solicitation. All bidders are required to submit the following items in detail.  The Technical Evaluation Panel will evaluate each bidder’s qualifications according to the submitted documentation, without consideration of pricing information.

9.6.1 Performance Schedule

The performance schedule shall be presented in any kind of schedule format indicating when the various portions of the work will be commenced and completed within the required contract completion schedule.  This schedule shall be in sufficient detail to clearly show each segregated portion of work and its planned commencement and completion date.

9.6.2 Proposed Work Information

Offerors to provide:

- Evidence of an established business with a permanent address and telephone listing;

- A list of the names, addresses and telephone numbers of the owners, partners, and principal officers of the Offeror;

- Evidence of availability or ability to obtain adequate financial resources, personnel and equipment;

- Evidence of ability to obtain licenses and permits required by local law.

- Evidence of ability to obtain performance and payment bonds or equivalents if needed.

- The name, address and qualifications of the Offeror's field superintendent for this project;

(7)   A list of the names, addresses, and telephone numbers of subcontractors and principal materials suppliers to be used on the project, indicating what portions of the work will be performed by them;

(8)    A list of personnel able to understand written and spoken English.

(9)    Review the Proposed Work Information to ensure that the Offeror's proposed project superintendent and subcontractors are acceptable to the Government.

9.6.3 Proposed Quantity Survey

Offerors to provide

(1)   Work volume without pricing in detail showing the work quantity, size and 	 manufacturer etc at direct cost.

(2)	Administrative fee, safety cost and profit at indirect cost.

    - Experience and Past Performance

List all contracts and subcontracts your company has held over the past three years for works of same or similar size, scope and complexity.  Past references provided as part of the Experience and Past Performance information may also be contacted to verify quality of past performance.

10		CONSTRUCTION SECURITY PROGRAM

10.1	SECURITY CLEARANCES

10.1.1		All contract personnel will have a background check performed to determine their suitability for assignment to the U.S. Embassy project.  Contractor shall submit a complete list of all employees and sub-contractor employees to the COR within 14 days of receiving the notice of award.

10.1.2		The Contractor shall submit a weekly personnel access list describing the employees that will be engaged in work on the site during that week.

10.1.3		The Contractor shall submit a list of all vehicles that require access to the U.S. Embassy property on a weekly basis.  Information required is as follows:

Type of Vehicle

Vehicle Tag Number

Vehicle Driver Identification.

10.1.4		The COR and the U.S. Embassy security officer have the right to deny access to any person and or vehicle that are deemed unacceptable.

10.1.5		All personnel and vehicle lists must be submitted to the COR at least seven (7) working days before access is required.  Delays caused by late submission of the required information will not be considered as “excusable delays” as described in other sections of the Contract.

GYPSUM DRYWALL

PART 1 – GENERAL

  - RELATED DOCUMENTS

- Drawings and general provisions of Contract, including General and Supplementary Conditions and Division 1 Specification sections, apply to work of this section.

  - SUBMITTALS

- Submit manufacturer’s product data for material specified in this section.

  - QUALITY ASSURANCE

- Fire-Resistance Ratings: Provide gypsum drywall construction fire-resistance ratings indicated, conforming to assemblies tested per ASTM E 119. Provide manufacturer’s test data that products achieve the required UL fire ratings. All rated assemblies must be constructed in strict compliance with the indicated rated assemblies.

  - DELIVERY, STORAGE, AND HANDLING

- Deliver gypsum board and accessories to the site in the manufacturer’s original unopened containers, bundles or rolls bearing the manufacturer’s name and brand designation.

- Store gypsum board inside the building or in other dry weathertight enclosure. Stack flat and off the floor. Do not stack long lengths over shorter lengths.

- Store flammable adhesives away from fire, spark and smoking areas.

1.6 PROJECT CONDITIONS

- Maintain temperature range between 10 degrees C and 21 degrees C for a period extending from 24hours before installation until the permanent heating system is in operation. Provide ventilation during and following adhesive and joint treatment application. Use temporary air circulators in enclosed areas lacking natural ventilation.

- Do not apply gypsum board until insulation, pipes, conduits, ducts, vents, supports and other items that will be concealed by the gypsum board have been inspected, tested and approved by the governing authorities and unsatisfactory conditions have been corrected.

PART 2 – PRODUCTS

2.1 MANUFACTURERS

- Subject to compliance with requirements, provide gypsum board and related products by one of the following:

1.Lafarge     2. Byuksan Co.,    3.Kumkang Mfg.

2.3 STEEL FRAMING FOR WALLS AND PARTITIONS

- General: Comply with ASTM C 754 and the following:

  - Steel Studs and Runners: ASTM C 645, 0.4mm base metal thickness unless otherwise indicated.

  - Steel Studs Furring Channels: ASTM C 645, 0.4mm base metal thickness, hat-shaped.

    - Where shown on “resilient”, provide manufacturer’s special type designed to reduce sound transmission.

  - Z-Furring Members: Zee-shaped, 0.4mm base metal thickness, steel, galvanized, ASTM A 525, G60: for mechanical attachment of insulation, to masonry/concrete walls.

2.4 GYPSUM BOARD

- Provide gypsum board of types indicated in maximum lengths available to minimize end joints:

  - Exposed Gypsum Board: ASTM C 36, thickness as indicated.

    - Type: Regular, unless otherwise indicated.

    - Edges: Tapered or squared.

2.5 TRIM ACCESSORIES

- ASTM C 1047 and ASTM C 840: Manufacturer’s standard trim accessories, including cornerbead and edge trim of beaded type with face flanges for concealment in joint compound except where semi-finishing or exposed type is indicated.

  - Provide corner bead formed from zinc alloy.

  - Provide one-piece control joints with 6mm wide by 10mm deep vee-shaped slot, covered with removable tape, of roll-formed zinc or extruded vinyl as recommended by gypsum board manufacturer.

  - GYPSUM BOARD JOINT TREATMENT MATERIALS

- ASTM C 475 and ASTM C 840, and as follows:

  - Joint Tape: Paper reinforcing tape, unless otherwise indicated.

    - Use open-weave glass fiber tape where recommended by gypsum board manufacturer with use of setting-type joint compound.

  - Setting-Type Joint Compound: Factory-prepackaged, job-mixed chemical-hardening powder products formulated for uses indicated.

  - Drying-Type Joint Compounds: Factory-prepackaged vinyl-based products complying with the following requirements:

    - Ready-Mix Formulation: Factory-premixed.

    - Job-Mixed Formulation: Powder product, mixed with water at Project Site.

    - Taping compound formulated for embedding rape and first coat over fasteners and flanges of corner beads and edge trim.

    - Topping compound formulated for fill (2nd) and finish (3rd) coats.

    - All-purpose compound formulated for use as both taping and toping compound.

PART 3 – EXECUTION

3.1 INSRALLATION

- Install steel framing to comply with ASTM C 754and ASTM C 840.

- Do not bridge building expansion joints with support systems, frame both sides of joints with fuming and other supports as indicated.

- Secure hangers to structural support by connecting directly to structure where possible, otherwise connect to inserts, clips other anchorage devices or fasteners as indicated.

- Provide rigid fuming members 400m o.c., unless otherwise indicated.

- Install steel studs with bottom and top runner tracks anchored to substrates. Isolate system from building structure to prevent transfer of loading and deflections into metal support system, both vertically and horizontally.

- Frame door and other openings with studs and runners and gage, number and arrangement to comply with manufacturer’s recommendations for size of opening, weight of doors and height and stud size, unless otherwise indicated.

- Install supplementary framing, runners, fuming, blocking and bracing at openings and terminations in gypsum drywall and where required for support of other work which cannot be adequately supported on gypsum board alone.

3.2　APPLICATION AND FINISHING OF GYPSUM BOARD. GENERAL

- Install and finish gypsum board to comply with ASTM C 840 and as follows;

  - Isolate drywall construction from abutting structural and masonry work; provide edge trim and acoustical sealant as recommended by manufacturer.

  - Install gypsum backing board where work is indicated to receive adhesively applied acoustical tile.

  - Screw gypsum board to metal supports.

  - Screw both layers to supports where double-layer work is indicated or otherwise required.

  - Drywall Finishing: Apply joint tape and joint compound at joints between gypsum boards. Apply compounds indicated below at accessory flanges, penetrations, fastener heads and surface defects.

    - Install compound in 3 coats (plus prefill of cracks where recommended by manufacturer); sand between coats and after last coat.

      - Embedding and First Coat Ready-mix drying type all-purpose of taping compound.

      - Fill (Second) Coat Ready-mix drying type all-purpose or topping compound.

      - Fill (Third) Coat Ready-mix drying-type all-purpose or topping compound.

3.3 METAL TRIM

- Attach comer and edge trim and control joints with screws or nails spaced not more than 9 inches on center.

  - Install the gypsum board metal comer trim where indicated and at vertical and horizontal external comers and angles.

  - Install metal edge trim where indicate, at junctions of gypsum board and structural elements, where gypsum board abuts walls or ceilings of other materials, and where there are exposed edges.

  - Provide control joints where indicated on the drawings and where:

    - Necessary to ensure that unbroken wall surfaces are limited to 9m in length and unbroken ceiling surfaces are limited to 230sq. m or 15m in either direction.

    - Wings of “L”, ”U”, or ”T”-shaped ceiling areas are jointed.

    - Expansion or control joints occur in exterior walls.

END OF SECTION

CARPET TILE

SD-01 Data

Carpet and Accessories; GA.

Manufacturer's catalog data and printed documentation stating physical

characteristics, durability, resistance to fading, and flame resistance

characteristics for each type of carpet material and installation accessory.

SD-09 Reports

Moisture and Alkalinity Tests; FIO

Three copies of test reports of moisture and alkalinity content of concrete slab stating date of test, person conducting the test, and the area tested.

SD-13 Certificates

Carpet and Accessories; FIO

Certificates of compliance from a laboratory accredited by the National

Laboratory Accreditation Program of the National Institute of Standards and Technology attesting that each type of carpet and carpet with cushion material conforms to the standards specified.

SD-14 Samples

Carpet and Accessories; GA.

a. Carpet: Two "Production Quality" samples 675 x 450 mm (27 x 18 inches) of each carpet proposed for use, showing quality, pattern, and color specified.

b. Aluminum Moldings: Two pieces of each type at least 300 mm (12inches) long.

c. Special Treatment Materials: Two samples showing system and installation method.

SD-19 Operation and Maintenance Manuals

Carpet and Accessories; FIO

Three copies of carpet manufacturer's maintenance instructions describing recommended type of cleaning equipment and material, spotting and cleaning methods, and cleaning cycles.

1.3 REGULATORY REQUIREMENTS

Carpet and adhesives shall bear the Carpet and Rug Institute (CRI) Indoor Air Quality (IAQ) label. Carpet type bearing the label will indicate that the carpet has been tested and meets the criteria of the CRI IAQ Carpet

Testing Program, and minimizes the impact on indoor air quality.

1.4 DELIVERY AND STORAGE

Materials shall be delivered to the site in the manufacturer's original wrappings and packages clearly labeled with the manufacturer's name, brand name, size, dye lot number, and related information. Materials shall be

stored in a clean, dry, well ventilated area, protected from damage and soiling, and shall be maintained at a temperature above 16 degrees C (60 degrees F) for 2 days prior to installation.

1.5 ENVIRONMENTAL REQUIREMENTS

Areas in which carpeting is to be installed shall be maintained at a temperature above 16 degrees C (60 degrees F) for 2 days before installation, during installation, and for 2 days after installation. A minimum temperature of 13 degrees C (55 degrees F) shall be maintained thereafter for the duration of the contract. Traffic or movement of furniture or equipment in carpeted area shall not be permitted for 24 hours after installation. Other work which would damage the carpet shall be completed prior to installation of carpet.

1.6 WARRANTY

Manufacturer's standard performance guarantees or warranties that extend beyond a one-year period shall be provided.

1.7 EXTRA MATERIAL

Extra material from same dye lot consisting of full width continuous broadloom and uncut carpet tiles shall be provided for future maintenance. A minimum of 5 percent of total square meters (square yards) of each carpet type, pattern, and color shall be provided.

PART 2 PRODUCTS

2.1 CARPET TILE

Carpet shall be first quality; free of visual blemishes, streaks, poorly dyed areas, fuzzing of pile yarn, spots or stains, and other physical and manufacturing defects. Carpet materials and treatments shall be reasonably

nonallergenic and free of other recognized health hazards. All grade carpets shall have a static control construction which gives adequate durability and performance.

2.5 COLOR, TEXTURE, AND PATTERN

Color, texture, and pattern shall be in accordance with Color and Material Selections by COR.

PART 3 EXECUTION

3.1 SURFACE PREPARATION

Carpet shall not be installed on surfaces that are unsuitable and will prevent a proper installation. Holes, cracks, depressions, or rough areas shall be repaired using material recommended by the carpet or adhesive manufacturer. Floor shall be free of any foreign materials and swept broom clean. Before beginning work, subfloor shall be tested with glue and carpet to determine "open time" and bond.

3.2 PREPARATION OF CONCRETE SUBFLOOR

Installation of the carpeting shall not commence until new concrete substrate is at least 90 days old. The concrete surfaces shall be prepared in accordance with instructions of the carpet manufacturer. Type of

concrete sealer, when required, shall be compatible with the carpet.

3.3 INSTALLATION

Installation shall be in accordance with the manufacturer's instructions and CRI 104. Edges of carpet meeting hard surface flooring shall be protected with molding. Installation shall be in accordance with the

molding manufacturer's instructions.

3.4 CLEANING AND PROTECTION

3.4.1 Cleaning

After installation of the carpet, debris, scraps, and other foreign matter shall be removed. Soiled spots and adhesive shall be removed from the face of the carpet with appropriate spot remover. Protruding face yarn shall be cut off and removed. Carpet shall be vacuumed clean.

3.4.2 Protection

The installed carpet shall be protected from soiling and damage with heavy,reinforced, nonstaining kraft paper, plywood, or hardboard sheets. Edges of kraft paper protection shall be lapped and secured to provide a

continuous cover. Traffic shall be restricted for at least 45 hours.

Protective covering shall be removed when directed by the Contracting Officer.

3.6 REMNANTS

Remnants remaining from the installation, 10 pieces (600x600)total, shall be provided.

End of Section

PAINTING

PART 1 - GENERAL

1. DESCRIPTI0N OF WORK

- Section includes: Painting and finishing of all interior and exterior items and surfaces, unless otherwise indicated or listed under exclusions below:

  - Paint all exposed surfaces, except as otherwise indicated, whether or not colors a designated.

  - Include field painting of exterior and interior plumbing, mechanical and electrical exposed to public view or weather, except as indicated below.

  - Paint existing surfaces where indicated on the specification and drawings.

- Work Included:

The intent and requirements of the Section is that all work, items and surfaces which are normally painted and finished in a building of this type and quality, shall be so included in this contract, whether or not said work, item or surface is specifically called out and included in the schedules and notes on the drawings, or is, or is not, specifically mentioned in these specifications.

1.2 SUBMITTALS

- Product Data: Submit complete manufacturer's descriptive literature and specifications in accordance with the provisions of Division 1.

  - Materials List Submit complete list of materials proposed for use, giving the manufacturer's name, catalog number, and catalog cut for each item when applicable.

- Manufacturer's Instructions: Submit the manufacturer's current recommended methods of installation, including relevant limitations, safety and environmental cautions, application rates, and composition analysis.

1.3 QUALITY ASSURANCE

- Field Sample: When and as directed by the Contracting Officer, apply one complete coating system for each color, gloss and texture required. When approved, the sample panel areas will be deemed incorporated into the Work and will serve as the standards by which the subsequent Work of this Section will be judged.

1.4 PROJECT CONDITI0NS

- Do not apply exterior materials during fog, rain or mist, or when inclement weather is expected within the dry time specified by the manufacturer. No exterior or interior painting shall be done until the surfaces are thoroughly dry and cured. Do not apply paint when temperature is below 10℃ Avoid painting surfaces when exposed to direct sunlight.

PART 2 – PRODUCTS

2.1 MANUFACTURERS

- Manufacturer's catalog names and number of paint types in this Section herein are based on               products of Korea Mfg, Kunsul hwahak Mfg., Kumkang Mfg. and are the standards of quality against which the Contracting Officer will judge equivalency.

2.2 MATERIALS

- Paints: Provide Ready-Mixed, except field catalyzed coatings. Pigments shall be full ground          maintaining soft paste consistency, capable of being readily and uniformly dispersed to          complete homogeneous mixture. Paints shall have good flowing and brushing properties and be capable of drying or curing free of streaks and sags.

- Accessory Materials: Linseed oil, shellac, solvents, and other materials not specified but required to achieve required finishes shall be of high quality and approved by manufacturer.

- Colors shall be selected from color chip samples provided by manufacturer of paint system          approved for use. Match approved samples for color, texture and coverage.

2.4 MIXES

- Mix, prepare, and store painting and finishing materials in accordance with manufacturer's directions.

PART 3 – EXECUTION

3.1 EXAMINATI0N

- Examine surfaces to be painted before beginning painting work. Work with other trades that has been left or installed in a condition not suitable to receive paint, stain, other specified finish shall be repaired or corrected by the applicable tree before painting. Painting of defective or unsuitable surface implies acceptance of the surfaces.

- Beware of a condition known as “critical lighting’, This condition causes shadows that accentuate even the slightest surface variation. A pigmented sealer will provide tooth for succeeding decorative coating, but “does not” equalize smoothness or surface texture. Any corrective active of the drywall must be done by the drywall contractor prior to decoration

3.2 PROTECTION

- Protect previously installed work and materials which may be affected by Work of this Section.

  - Protect prefinished surfaces and adjacent sufaces against paint and damage.

  - Furnish sufficient drop cloths, shields, and protective equipment to prevent spray or                                          splatter from fouling surfaces not being painted.

  - Protect surfaces, equipment and fixtures from damage resulting from use of fixed, movab1e and hanging scaffolding, planking, and staging.

- Provide "WET PAINT" signs, barricades, and other devices required to protect newly finished                                surfaces. Remove temporary protective wrappings provided by others for protection of their                                work after completion of painting operations.

3.3 PREPARATION

- Perform preparation and cleaning procedures in strict accordance with costing instructions for each substrate condition.

- Concrete and masonry surfaces shall be dry, clean, and free of dirt efflorescence, encrustations, and other foreign matter. Glazed surfaces on concrete shall be roughened or           etched to uniform texture.

- New or existing ferrous metal shall be cleaned of oil, grease, and foreign matter with solvent.          Prime within 3 hours after preparation.

- Sand and scrape metal to remove loose primer and rust.

- Galvanized meta1 shall be solvent cleaned with lacquer thinner and then retreated with an               etching-type solution if recommended by the finish manufacturer. Cleaned and retreated               galvanized metal shall be primed the same day that cleaning has been performed.

- Remove dust, grit and foreign matter from wood surfaces. Sand surfaces and dust clean. Spot coat knots, pitch streaks, and sappy section with pigmented stain sealer when surfaces are to be painted. Fill nail holes, cracks and other defects after priming and spot prime repairs when fully cured.

- Remove hardware and accessories, machined surfaces, plates, lighting fixtures and similar items in place and not-to-be-finish painted, or provide surface-applied protection protection. Reinstall removed items upon completion of work in each all.

- Existing surfaces to be recoated shall be thoroughly cleaned and de glossed by sanding or other means prior to painting. Patched and bare areas shall be spot primed with same primer as specified for new work.

- Thoroughly backpaint all surfaces of exterior and interior finish lumber and millwork, including doors and window frames, trim, cabinet work, etc., that will be concealed after installation

- Bar and covered pipes, ducts, hangers, exposed steel and iron work, and primed metal                surfaces of equipment installed under mechanical and electrical work shall be cleaned prior to                priming.

- Preparation of other surfaces shall be performed following specific recommendations of the               coatings manufacturer.

- Bond breakers and curing agents must be removed and the surface cleaned before primers, sealers or finish paints can be applied.

- All drywall surfaces must be completely dry and dust free from decorating. Skim coated              drywall must be sealed with an alkyd based sealer. Textured and non-textured drywall surfaces can be sealed with a waterborne sealer provided they are completely dry and dust free. Otherwise an alkyd based sealer should be used.

3.4 APPLICATION

- Apply painting and finishing materials in accordance with the manufacturer’s submittals, as approved. Use applicators and techniques best suited for the material and surfaces to which applied.

  - Two coats of paint is the minimum that shall be applied. Apply additional coats when undercoats, stains or other conditions show through final paint coat, until paint film is of uniform finish, color and appearance.

  - All undercoat shall be tinted slightly to approximate the color of the color of the finish coat.

- Apply each material at not less than the manufacturer’s recommended spreading rate:

  - Provide a total dry film thickness of not less than 1.2 mils for each required coat.

- Apply prime coat to material which is required to be painted or finished.

- Finish exterior doors on tops, bottoms, and edges same as exterior faces, after fitting.

- Sand lightly and dust clean between succeeding coat.

3.5 CLEANING, TOUCH-UP AND REFINISHING

- Carefully remove masking paper and tape, all spatterings, spots and blemishes caused by work under this section from surfaces throughout the project.

- Upon completion of painting work remove all rubbish, paint cans, and accumulated materials resulting from work in each space or room. All areas shall be left in a clean, orderly condition.

- Runs, sags, misses, holidays, stains and other defects in the painted surfaces, including inadequate coverage and mil thickness shall be satisfactorily touched up, or refinished, or repainted as necessary.

3.6 FINISH SCHEDULE

- Apply the following finishes to the surfaces specified and/or as on the finish schedule on the Drawings. Apply all materials in accord with manufacturer’s instructions on properly prepared surfaces and foundation coats.

  - Contracting Officer will issue a color schedule prior to start of painting to designate the various colors and locations required for the work.

END OF SECTION

SECTION D - PACKAGING AND MARKING

D.1	The Contractor shall mark materials delivered to the site as follows:

Facility Management Officer

American Embassy, Seoul

10, Namyoung-dong, Yongsan-ku, Seoul, Korea

SECTION E - INSPECTION AND ACCEPTANCE

E.1	FAR 52.252-2 CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at

http://acquisition.gov/far/index.html   or,   http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  If the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use the Dept. of State Acquisition Website at

http://www.statebuy.state.gov/ to see the links to the FAR.   You may also use an Internet “search engine” (such as, Yahoo, Excite, Alta Vista, etc.) to obtain the latest location of the most current FAR.

FEDERAL ACQUISITION REGULATION (48 CFR CH. 1)

| 52.246-12 | INSPECTION OF CONSTRUCTION | AUG 1996 |
| --- | --- | --- |

E.2	Quality Assurance

The Contractor shall institute an appropriate inspection system set forth in a Quality Assurance Plan.  The plan shall include checklists of duties to be carried out, ensuring these duties are carried out by the supervisory staff and senior employees, and carrying out weekly inspections to determine whether the various services are being performed according to the contract.  The Contractor shall provide copies of the weekly inspection reports to the COR.

The Contractor shall correct and improve promptly any shortcomings and substandard conditions noted during inspections.  The Contractor shall bring any conditions beyond the responsibility of the Contractor to the attention of the Contracting Officer or COR.

E.2.1	MONTHLY REPORT:  The Contractor shall submit to the COR a monthly progress report, along with the monthly invoice, summing up observations resulting from the inspections, progress, difficulties or irregularities encountered, resolution of problems, measures taken to improve conditions, recommendations, and other matters related to this contract.

E.2.2.	INSPECTION BY GOVERNMENT:  The COR, or his/her authorized representatives, will inspect from time to time the services being performed and the supplies furnished to determine whether work is being performed in a satisfactory manner, and that all supplies are of acceptable quality and standards.

The Contractor shall be responsible for any countermeasures or corrective action, within the scope of this contract, which may be required by the Contracting Officer as a result of such inspection.

E.3	SUBSTANTIAL COMPLETION

E.3.1	DEFINITIONS

- "Substantial Completion" means the stage in the progress of the work as determined and certified by the Contracting Officer in writing to the Contractor, on which the work (or a portion designated by the Government) is sufficiently complete and satisfactory.  Substantial completion means that the property may be occupied or used for the purpose for which it is intended, and only minor items such as touch-up, adjustments, and minor replacements or installations remain to be completed or corrected which:

  - do not interfere with the intended occupancy or utilization of the work, and

  - can be completed or corrected within the time period required for final completion.

- The "date of substantial completion" means the date determined by the Contracting Officer or authorized Government representative as of which substantial completion of the work has been achieved.

E.3.2	USE AND POSSESSION UPON SUBSTANTIAL COMPLETION

The Government shall have the right to take possession of and use the work upon substantial completion.  Upon notice by the Contractor that the work is substantially complete (a Request for Substantial Completion) and an inspection by the Contracting Officer or an authorized Government representative (including any required tests),  the Contracting Officer shall furnish the Contractor a Certificate of Substantial Completion.  The certificate shall be accompanied by a Schedule of Defects listing items of work remaining to be performed, completed or corrected before final completion and acceptance.  Failure of the Contracting Officer to list any item of work shall not relieve the Contractor of responsibility for complying with the terms of the contract.  The Government's possession or use upon substantial completion shall not be deemed an acceptance of any work under the contract.

E.4	FINAL COMPLETION AND ACCEPTANCE

E.4.1	DEFINITIONS

(a)	"Final completion and acceptance" means the stage in the progress of the work as determined by the Contracting Officer and confirmed in writing to the Contractor, at which all work required under the contract has been completed in a satisfactory manner, subject to the discovery of defects after final completion, and except for items specifically excluded in the notice of final acceptance.

(b)	The "date of final completion and acceptance" means the date determined by the Contracting Officer when final completion of the work has been achieved, as indicated by written notice to the Contractor.

E.4.2	FINAL INSPECTION AND TESTS

The Contractor shall give the Contracting Officer at least five (5)  days advance written notice of the date when the work will be fully completed and ready for final inspection and tests.  Final inspection and tests will be started not later than the date specified in the notice unless the Contracting Officer determines that the work is not ready for final inspection and so informs the Contractor.

E.4.3	FINAL ACCEPTANCE

If the Contracting Officer is satisfied that the work under the contract is complete (with the exception of continuing obligations), the Contracting Officer shall issue to the Contractor a notice of final acceptance and make final payment upon:

- satisfactory completion of all required tests,

- a final inspection that all items by the Contracting Officer listed in the Schedule of Defects have been completed or corrected and that the work is finally complete (subject to the discovery of defects after final completion), and

- submittal by the Contractor of all documents and other items required upon completion of the work, including a final request for payment (Request for Final Acceptance).

SECTION F - DELIVERIES OR PERFORMANCE

F.1	FAR 52.252-2 CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at:

http://acquisition.gov/far/index.html   or,   http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  If the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use the Dept. of State Acquisition Website at http://www.statebuy.state.gov/ to see the links to the FAR.   You may also use an Internet “search engine” (such as, Yahoo, Excite, Alta Vista, etc.) to obtain the latest location of the most current FAR.

FEDERAL ACQUISITION REGULATION (48 CFR CH. 1)

| 52.242.14 | SUSPENSION OF WORK | APR 1984 |
| --- | --- | --- |

F.2	52.211-10  COMMENCEMENT, PROSECUTION, AND COMPLETION OF WORK (APR 1984)

Reserved.

F.3	LIQUIDATED DAMAGES

F.3.1	52.211-12  LIQUIDATED DAMAGES - CONSTRUCTION (SEP 2000)

(a)	If the Contractor fails to complete the work within the time specified in the contract, or any extension, the Contractor shall pay liquidated damages to the Government in the amount of $390.00 for each day of delay until the work is completed or accepted.

(b)	If the Government terminates the Contractor’s right to proceed, liquidated damages will continue to accrue until the work is completed.  These liquidated damages are in addition to excess costs of repurchase under the Default clause.

F.3.2.	ASSESSMENT AND APPORTIONMENT OF LIQUIDATED DAMAGES

Liquidated damages will be assessed from the completion date indicated in the contract or extensions thereof to the date of substantial completion as actually achieved by the Contractor, as determined by the Contracting Officer.

F.4	CONTRACTOR'S SUBMISSION OF CONSTRUCTION SCHEDULES

(a)	The time for submission of the schedules referenced in Section I, 52.236-15, "Schedules for Construction Contracts", paragraph (a), is hereby modified to reflect the due date for submission as "ten (10)  days after receipt of an executed contract".

(b)	These schedules shall include the time by which shop drawings, product data, samples and other submittals required by the contract will be submitted for approval.

(c)	The Contractor shall revise such schedules (1) to account for the actual progress of the work, (2) to reflect approved adjustments in the performance schedule, and (3) as required by the Contracting Officer to achieve coordination with work by the Government and any separate contractors used by the Government.  The Contractor shall submit a schedule which sequences work so as to minimize disruption at the job site.

(d)	All schedules shall be in the English language and any system of dimensions (English or metric) shown shall be consistent with that used in the contract.  No extension of time shall be allowed due to a delay by the Government in approving such deliverables if the Contractor has failed to act promptly and responsively in submitting its deliverables.  The Contractor shall identify each deliverable as required by the contract.

F.5	ACCEPTANCE OF SCHEDULE

When the Government has accepted any time schedule, it shall be binding upon the Contractor.  The completion date is fixed and may be extended only by a written contract modification signed by the Contracting Officer.  Acceptance or approval of any schedule or revision thereof by the Government shall not (1) extend the completion date or obligate the Government to do so, (2) constitute acceptance or approval of any delay, or (3) excuse the Contractor from or relieve the Contractor of its obligation to maintain the progress of the work and achieve final completion by the established completion date.

F.6	NOTICE OF DELAY

If the Contractor receives a notice of any change in the work, or if any other conditions arise which are likely to cause or are actually causing delays which the Contractor believes may result in late completion of the project, the Contractor shall notify the Contracting Officer.  The Contractor’s notice shall state the effect, if any, of such change or other conditions upon the approved schedule, and shall state in what respects, if any, the relevant schedule or the completion date should be revised.  The Contractor shall give this notice not more than ten (10) days after the first event-giving rise to the delay or prospective delay.  Only the Contracting Officer may make revisions to the approved time schedule.

F.7	NOTICE TO PROCEED

(a)	After receiving and accepting any bonds or evidence of insurance, the Contracting Officer will issue the Contractor a Notice to Proceed.  The Contractor shall then prosecute the work commencing and completing performance not later than the time period established in the contract.

(b)	It is possible that the Contracting Officer may elect to issue the Notice to Proceed before receipt and acceptance of any bonds or evidence of insurance.  Issuance of a Notice to Proceed by the Government before receipt of the required bonds or insurance certificates or policies shall not be a waiver of the requirement to furnish these documents.

F.8	WORKING HOURS

All work shall be performed during Monday through Sunday, 08:30 a.m. to 18:00 p.m.  except for the holidays identified below.  Other hours, if requested by the Contractor,  may be approved by the Contracting Officer's Representative.  The Contractor shall give 24 hours in advance to COR who will consider any deviation from the hours identified above.  Changes in work hours will not be a cause for a price increase.

(a)	The Department of State observes the following days as holidays:

January 1 (Monday)	:  New Year’s Holidays (A & K)

January 15 (Monday)	:  Martin Luther King, Jr.’s Birthday (A)

February 17(Saturday)	:  Seol-Nal (Lunar New Year Day) (K)

February 19 (Monday)	:  Presidents’ Day (A)

March 1 (Thursday)	:  Sam Il Jul (Independence Movement Day) (K)

May 24 (Thursday)	:  Sukka Tansin Il (Buddha’s Birthday) (K)

May 28 (Monday)	:  Memorial Day (A)

June 6 (Wednesday)	:  Hyun Choong Il (Memorial Day) (K)

July 4 (Wednesday)	:  Independence Day (A)

July 17 (Tuesday)	:  Je Hun Jul (Constitution Day) (K)

August 15 (Wednesday)	:  Kwang Bok Jul (Independence Day) (K)

September 3 (Monday)	:  Labor Day (A)

September 24, 25, 26 (Mon, Tue, Wed)	:  Chusok (Korean Thanksgiving Days) (K)

October 3 (Wednesday)	:  Kae Chun Jul (National Foundation Day) (K)

October 8 (Monday)	:  Columbus Day (A)

November 12 (Monday) 	:  Veterans Day (A)

November 22 (Thursday)	:  Thanksgiving Day (A)

December 25 (Tuesday)	:  Christmas Day (A & K)

(A) - Denotes American holiday	   (K) - Denotes Korean holiday

Any other day designated by Federal law, Executive Order or Presidential Proclamation.

When any such day falls on a Saturday, the preceding Friday is observed; when any such day falls on a Sunday, the following Monday is observed.  Observance of such days by Government personnel shall not be cause for additional period of performance or entitlement to compensation except as set forth in the contract.  If the contractor's personnel work on a holiday, no form of holiday or other premium compensation will be reimbursed either as a direct or indirect cost, unless authorized pursuant to an overtime clause elsewhere in this contract.

F.9	EXCUSABLE DELAYS

The Contractor will be allowed time, not money, for excusable delays as defined in FAR 52.249-10, Default.  Examples of such cases include:

(l)	acts of God or of the public enemy,

(2)	acts of the United States Government in either its sovereign or contractual capacity,

(3)	acts of the government of the host country in its sovereign capacity,

(4)	acts of another contractor in the performance of a contract with the Government,

(5)	fires,

(6)	floods,

(7)	epidemics,

(8)	quarantine restrictions,

(9)	strikes,

(l0)	freight embargoes,

(11)	delays in delivery of Government furnished equipment and

(12)	unusually severe weather.

In each instance, the failure to perform must be beyond the control and without the fault or negligence of the Contractor, and the failure to perform.  Furthermore, the failure:

(1)	must be one that the Contractor could not have reasonably anticipated and taken adequate measures to protect against,

(2)	cannot be overcome by reasonable efforts to reschedule the work, and

(3)	directly and materially affects the date of final completion of the project.

F.10	PRECONSTRUCTION CONFERENCE

A preconstruction conference will be held 3 days after contract award at the GSO Conference Room of the American Embassy, Seoul, #10, Namyoung-dong, Yongsan-ku, Seoul, Korea to discuss the schedule, submittals, notice to proceed, mobilization and other important issues that affect construction progress.  See FAR 52.236-26, Pre-Construction Conference in Section I.

F.11.  DELIVERABLES

The following items shall be delivered under this contract:

| Description | Quantity | Delivery Date | Deliver To: |
| --- | --- | --- | --- |
| H.1.2. Bonds/Insurance | 1 | 7 days after award | CO |
| E.3.2. Request for Substantial Completion | 1 | 3 days before inspection | COR |
| E.4.2. Request for Final Inspection | 1 | 5 days before inspection | COR |
| F.6 Notice of Delay | 1 | Within 5 days after event | CO |
| H.2.4 Evidence of Insurance | 1 | 10 days after award | CO |
| H.17.2 Differing Site Condition | 1 | Within 10 days of occurrence | CO |

SECTION G - CONTRACT ADMINISTRATION DATA

G.1	AUTHORITY OF CONTRACTING OFFICER

All work shall be performed under the general direction of the Contracting Officer, who alone shall have the power to bind the Government and to exercise the rights, responsibilities, authorities and functions vested by the contract.  The Contracting Officer and the Procurement Executive shall have the right to designate authorized representatives to act for the Contracting Officer, such as an OBO Project Director.

G.2	MONITORING OF THE CONTRACTOR

G.2.1.	652.242-70 CONTRACTING OFFICER'S REPRESENTATIVE (COR) (AUG 1999)

(a)	The Contracting Officer may designate in writing one or more Government employees, by name or position title, to take action for the Contracting Officer under this contract. Each designee shall be identified as a Contracting Officer’s Representative (COR). Such designation(s) shall specify the scope and limitations of the authority so delegated; provided, that the designee shall not change the terms or conditions of the contract, unless the COR is a warranted Contracting Officer and this authority is delegated in the designation.

(b)	The COR for this contract is the Facility Manager.

G.2.2	DUTIES

The COR is responsible for inspection and acceptance of services. These duties include review of Contractor invoices, including the supporting documentation required by the contract. The COR may provide technical advice, substantive guidance, inspections, invoice approval, and other purposes as deemed necessary under the contract.  The COR is designated as the authority to act for the Contracting Officer in matters concerning technical clarification, random inspection of Contractor performance to ensure compliance with contract specifications and acceptance of the Contractor's performance under this contract.  The COR will coordinate all work with the Contractor during the term of this contract. The COR is not authorized to alter the contract's terms, or conditions, including the design to budget parameter.  Such changes must be authorized by the Contracting Officer in a written modification to the contract.  Reference to the project architect within documents incorporated into this contract shall be read to mean COR.

G.3	PAYMENT

G.3.1	GENERAL

Payments are subject to FAR 52.232-5, "Payments Under Fixed-Price Construction Contracts".

G.3.2	DETAIL OF PAYMENT REQUESTS

Each application for payment shall cover the value of labor and materials completed and in place, including a prorated portion of overhead and profit.  The Government will make payments no more frequently than monthly, unless otherwise provided in this contract.  The Contractor shall address invoices to:

Financial Management Center

American Embassy, Seoul

32, Sejongno, Jongno-ku, Seoul, Korea

G.3.3	PAYMENTS TO SUBCONTRACTORS

The Contractor shall make timely payment from the proceeds of the progress or final payment for which request is being made to subcontractors and suppliers following the Contractor's contractual arrangements with them.

G.3.4	EVALUATION BY THE CONTRACTING OFFICER

Following receipt of the Contractor's request for payment, and on the basis of an inspection of the work, the Contracting Officer shall make a determination as to the amount that is then due.  If the Contracting Officer does not approve payment of the full amount applied for, less the retainage addressed in FAR 52.232-5, the Contracting Officer shall advise the Contractor of the reasons.

G.3.5	ADDITIONAL WITHHOLDING

The Government may withhold from payments due the Contractor any amounts as may be considered necessary to cover --

(a)	Wages or other amounts due the Contractor's employees on this project;

(b)	Wages or other amounts due employees of subcontractors on this project;

(c)	Amounts due suppliers of materials or equipment for this project; and

(d)	Any other amounts for which the Contractor may be held liable under this contract, including but not limited to the actual or prospective costs of correction of defective work and prospective liquidated damage when the Contractor has failed to make adequate progress.

This withholding is independent of monies retained by the Government under FAR 52.232-5, or otherwise as permitted to be retained under this contract.

G.3.6.	PAYMENT

Under the authority of 52.232-27(a) the 14 day period identified in FAR 52.232-27(a)(1)(i)(A) is hereby changed to 30 days.

SECTION H - SPECIAL CONTRACT REQUIREMENTS

H.1	BOND REQUIREMENTS

H.1.1	BONDS REQUIRED

The Contractor shall furnish (1) a performance and guaranty bond and a payment bond on forms provided by and from sureties acceptable to the Government, each in the amount of 20% of the contract price, or (2) comparable alternate performance security approved by the Government such as letter of credit/guaranty shown in Section J.

H.1.2	TIME FOR SUBMISSION

The Contractor shall provide the bonds required by the paragraph H.1.1 above within ten (10) days after contract award.  Failure to submit (1) the required bonds or other security acceptable to the Government in a timely manner; (2) bonds from an acceptable surety; or (3) bonds in the required amount, may result in rescinding or termination of the contract by the Government.  If the contract is terminated, the contractor will be liable for those costs as described in FAR 52.249-10, "Default (Fixed-Price Construction).

H.1.3	COVERAGE

The bonds or alternate performance security shall guarantee the Contractor's execution and completion of the work within the contract time and the correction of any defects after completion as required by this contract, the payment of all wages and other amounts payable by the Contractor under its subcontracts or for labor and materials, and the satisfaction or removal of any liens or encumbrances placed on the work.

H.1.4	DURATION OF COVERAGE

The required performance and payment securities shall remain in effect in the full amount required until final acceptance of the project by the Government.  Upon final acceptance, the penal sum of the performance security only shall be reduced to 10% of the contract price.  The performance security shall remain in effect for one year after the date of final completion and acceptance, and the Contractor shall pay any premium required for the entire period of coverage.  The requirement for payment security terminates at final acceptance.

H.1.5	FAR 52.228-2  ADDITIONAL BOND SECURITY (OCT 1997)

The Contractor shall promptly furnish additional security required to protect the Government and persons supplying labor or materials under this contract if --

(a)	Any surety upon any bond, or issuing financial institution for other security, furnished with this contract becomes unacceptable to the Government;

(b)	Any surety fails to furnish reports on its financial condition as required by the Government; or

(c)	The contract price is increased so that the penal sum of any bond becomes inadequate in the opinion of the Contracting Officer; or

(d)	An irrevocable letter of credit (ILC) used as security will expire before the end of the period of required security.  If the contractor does not furnish an acceptable extension or replacement ILC, or other acceptable substitute, at least 30 days before an ILC’s scheduled expiration, the Contracting Officer has the right to immediately draw on the ILC.

H.2	INSURANCE

H.2.1	AMOUNT OF INSURANCE

The Contractor is required by FAR 52.228-5 to provide whatever insurance is legally necessary.  The Contractor, shall, at its own expense, provide and maintain during the entire performance period the following insurance amounts:

General Liability (includes premises/operations, collapse hazard, products, completed operations,  contractual, independent contractors, broad form property damage, personal injury)

1.	Bodily Injury on or off the site stated in Korean Won:

Per Occurrence	$10,000

Cumulative		$10,000

2.	Property Damage on or off the site in Korean Won:

Per Occurrence 	N/A

Cumulative		NA/

The foregoing types and amounts of insurance are the minimums required.  The Contractor shall obtain any other types of insurance required by local law or that are ordinarily or customarily obtained in the location of the work.  The limit of such insurance shall be as provided by law or sufficient to meet normal and customary claims.

The Contractor agrees that the Government shall not be responsible for personal injuries or for damages to any property of the Contractor, its officers, agents, servants, and employees, or any other person, arising from and incident to the Contractor's performance of this contract.  The Contractor shall hold harmless and indemnify the Government from any and all claims arising therefrom, except in the instance of gross negligence on the part of the Government.

The Contractor shall obtain adequate insurance for damage to, or theft of, materials and equipment in insurance coverage for loose transit to the site or in storage on or off the site.

H.2.2	GOVERNMENT AS ADDITIONAL INSURED

The general liability policy required of the Contractor shall name "the United States of America, acting by and through the Department of State", as an additional insured with respect to operations performed under this contract.

H.2.3	INSURANCE-RELATED DISPUTES

Failure to agree to any adjustment contemplated under this contract regarding insurance shall be a dispute within the meaning of the clause in Section I, 52.233-1, Alternate I, "Disputes". Nothing in this clause shall excuse the Contractor from proceeding with the work.

H.2.4	TIME FOR SUBMISSION OF EVIDENCE OF INSURANCE

The Contractor shall provide evidence of the insurance required under this contract within ten (10) days after contract award.  Failure to timely submit this evidence, in a form acceptable to the Contracting Officer, may result in rescinding or termination of the contract by the Government.

H.3	DEFINITIONS

In addition to the definitions provided in Section I, FAR 52.202-1 and DOSAR 652.202-70, the following definitions shall apply when used in connection with this contract:

(a)	Contract Drawings or Drawings, where indicated by the context, means those drawings specifically listed in the construction contract or as later incorporated into the contract by contract modification.

(b)	Day means a calendar day unless otherwise specifically indicated.

(c)	Host Country means the country in which the project is located.

(d)	Material means all materials, fixtures and other articles incorporated in , or which are intended to remain with, the project.

(e)	Notice to Proceed means a written notice to the Contractor from the Contracting Officer authorizing the Contractor to proceed with the work under the contract as of a date set forth in the Notice.

(f)	Other Submittals includes progress schedules, shop drawings, testing and inspection reports, and other information required by the contract to be submitted by the Contractor for information or approval by the Government.

(g)	Project Data includes standard drawings, diagrams, layouts, schematics, descriptive literature, illustrations, schedules, performance and test data, and similar materials furnished by the Contractor to explain in detail specific portions of the work required by the contract.

(h)	Samples are physical examples which illustrate materials, equipment or workmanship and establish standards by which the work will be judged.

(i)	Schedule of Defects means the list of items, prepared in connection with substantial completion of the work or early occupancy or utilization of a portion thereof, which the Contracting Officer has designated as remaining to be performed, completed or corrected before the work will be accepted by the Government.

(j)	Separate Contractor means a contractor, other than the Contractor or any of its subcontractors, to whom the Government has awarded a contact for construction of a portion of the project.

(k)	Work means any and all permanent construction which is intended to be incorporated into the finished project and required to be performed or otherwise provided by the Contractor under this contract, unless otherwise indicated by the context.

H.4	OWNERSHIP AND USE OF DOCUMENTS

H.4.1	OWNERSHIP AND USE OF DRAWINGS, SPECIFICATIONS AND MODELS

(a)	OWNERSHIP.  All specifications, drawings, and copies thereof, and models, are the property of the Government.

(b)	USE AND RETURN.  The contractor shall not use or allow others to use the documents described in (a) above on other work.  The Contractor shall return or account for the signed contractor set and additional copies provided to or made by the Contractor upon final completion of the work.

H.4.2	SUPPLEMENTAL DOCUMENTS

The Contracting Officer shall furnish from time to time such detailed drawings and other information as is considered necessary, in the opinion of the Contracting Officer, to interpret, clarify, supplement, or correct inconsistencies, errors or omissions in the Contract documents, or to describe minor changes in the work not involving an increase in the contract price or extension of the contract time.  The Contractor shall comply with the requirements of the supplemental documents, and unless the Contractor makes objection within 20 days, their issuance shall not provide for any claim for an increase in the Contract price or an extension of contract time.

H.4.3	RECORD DOCUMENTS

The Contractor shall maintain at the project site:

- a current marked set of Contract drawings and specifications indicating all interpretations and clarifications, contract modifications, change orders, or any other departure from the contract requirements approved by the Contracting Officer; and

- a complete set of record shop drawings, product data, samples and other submittals as approved by the Contracting Officer.

H.4.4	"AS-BUILT" DOCUMENTS

After final completion of the work, but before final acceptance, the Contractor shall provide:

- complete set of "as-built" drawings, based on the record set of drawings, marked to show the details of construction as actually accomplished; and

- record shop drawings and other submittals, in the number and form as required by the specifications.

H.5	GOVERNING LAW

The laws of the United States shall govern the contract and its interpretation.

H.6	LANGUAGE PROFICIENCY

The manager assigned by the contractor to superintend the work on-site, as required by Section I, 52.236-6, "Superintendence by the Contractor", shall be fluent in written and spoken English.

H.7	LAWS AND REGULATIONS

H.7.1	COMPLIANCE REQUIRED

The Contractor shall, without additional expense to the Government, be responsible for complying with all laws, codes, ordinances, and regulations applicable to the performance of the work, including those of the host country, and with the lawful orders of any governmental authority having jurisdiction.  Host country authorities may not enter the construction site without the permission of the Contracting Officer.  Unless otherwise directed by the Contracting Officer, the Contractor shall comply with the more stringent of the requirements of such laws, regulations and orders and of the contract.  In the event of a conflict between the contract and such laws, regulations and orders, the Contractor shall promptly advise the Contracting Officer of the conflict and of the Contractor's proposed course of action for resolution by the Contracting Officer.

H.7.2	LABOR, HEALTH AND SAFETY LAWS AND CUSTOMS

The Contractor shall comply with all local labor laws, regulations, customs and practices pertaining to labor, safety, and similar matters, to the extent that such compliance is not inconsistent with the requirements of this contract.

H.7.3	SUBCONTRACTORS

The Contractor shall give written assurance to the Contracting Officer that all subcontractors and others performing work on or for the project have obtained all requisite licenses and permits.

H.7.4	EVIDENCE OF COMPLIANCE

The Contractor shall submit proper documentation and evidence satisfactory to the Contracting Officer demonstrating compliance with this clause when directed by the Contracting Officer.

H.8	RESPONSIBILITY OF CONTRACTOR

H.8.1	DAMAGE TO PERSONS OR PROPERTY

The Contractor shall be responsible for all damages to persons or property that occur as a result of the Contractor's fault or negligence, and shall take proper safety and health precautions to protect the work, the workers, the public, and the property of others.

H.8.2	RESPONSIBILITY FOR WORK PERFORMED

The Contractor shall be responsible for all materials delivered and work performed until final completion and acceptance of the entire work, except for any completed unit of work which may have been accepted in writing under the contract.

H.9	CONSTRUCTION OPERATIONS

H.9.1	OPERATIONS AND STORAGE AREAS

(a)	CONFINEMENT TO AUTHORIZED AREAS.  The Contractor shall confine all operations (including storage of materials) on Government premises to areas authorized or approved by the Contracting Officer.

(b)	VEHICULAR ACCESS.  The Contractor shall, and in accordance with any regulations prescribed by the Contracting Officer, use only established site entrances and roadways.

H.9.2	USE OF PREMISES

(a)	Occupied Premises.  If the premises are occupied, the Contractor, its subcontractors, and their employees shall comply with the regulations promulgated by the Government governing access to, operation of, and conduct while in or on the premises and shall perform the work required under this contract in such a manner as not to unreasonably interrupt or interfere with the conduct of Government business.

(b)	Requests from occupants.  The Contractor shall refer any request from occupants of existing buildings to change the sequence of work to the Contracting Officer for determination.

(c)	Access limited.  The Contractor, its subcontractors and their employees shall not have access to or be admitted into any building or portion of the site outside the areas designated in this contract except with the permission of the Contracting Officer.

H.10	TEMPORARY FACILITIES AND SERVICES

The Contractor may erect temporary buildings (such as, storage sheds, shops, offices) and utilities only with the approval of the Contracting Officer.  The cost of these temporary buildings is included in the contract fixed price. The temporary buildings and utilities shall remain the property of the Contractor and shall be removed by the Contractor at its expense upon completion of the work.  With the written consent of the Contracting Officer, the buildings and utilities may be abandoned and need not be removed.

H.11	SAFETY

H.11.1	DOSAR 652.236-70	ACCIDENT PREVENTION (APR 2004)

(a)  General.  The contractor shall provide and maintain work environments and procedures which will safeguard the public and Government personnel, property, materials, supplies, and equipment exposed to contractor operations and activities; avoid interruptions of Government operations and delays in project completion dates; and, control costs in the performance of this contract.  For these purposes, the contractor shall:

(1)  Provide appropriate safety barricades, signs and signal lights;

(2)  Comply with the standards issued by any local government authority having jurisdiction over occupational health and safety issues; and,

(3)  Ensure that any additional measures the contracting officer determines to be reasonably necessary for this purpose are taken.

(4)  For overseas construction projects, the contracting officer shall specify in writing additional requirements regarding safety if the work involves:

(i)  Scaffolding;

(ii)  Work at heights above two (2) meters;

(iii)  Trenching or other excavation greater than one (1) meter in depth;

(iv)  Earth moving equipment;

(v)  Temporary wiring, use of portable electric tools, or other recognized electrical hazards.  Temporary wiring and portable electric tools require the use of a ground fault circuit interrupter (GFCI) in the affected circuits; other electrical hazards may also require the use of a GFCI;

(vi)  Work in confined spaces (limited exits, potential for oxygen less that 19.5 percent or combustible atmosphere, potential for solid or liquid engulfment, or other hazards considered to be immediately dangerous to life or health such as water tanks, transformer vaults, sewers, cisterns, etc.);

(vii)  Hazardous materials – a material with a physical or health hazard including but not limited to, flammable, explosive, corrosive, toxic, reactive or unstable, or any operations which creates any kind of contamination inside an occupied building such as dust from demolition activities, paints, solvents, etc.; or

(viii)  Hazardous noise levels.

(b)  Records.  The contractor shall maintain an accurate record of exposure data on all accidents incident to work performed under this contract resulting in death, traumatic injury, occupational disease, or damage to or theft of property, materials, supplies, or equipment.  The contractor shall report this data in the manner prescribed by the contracting officer.

(c)  Subcontracts.  The contractor shall be responsible for its subcontractors’ compliance with this clause.

(d)  Written program.  Before commencing work, the contractor shall:

(1)  Submit a written plan to the contracting officer for implementing this clause.  The plan shall include specific management or technical procedures for effectively controlling hazards associated with the project; and,

(2)  Meet with the contracting officer to discuss and develop a mutual understanding relative to administration of the overall safety program.

(e)  Notification.  The contracting officer shall notify the contractor of any non-compliance with these requirements and the corrective actions required.  This notice, when delivered to the contractor or the contractor’s representative on site, shall be deemed sufficient notice of the non-compliance and corrective action required.  After receiving the notice, the contractor shall immediately take corrective action.  If the contractor fails or refuses to promptly take corrective action, the contracting officer may issue an order suspending all or part of the work until satisfactory corrective action has been taken.  The contractor shall not be entitled to any equitable adjustment of the contract price or extension of the performance schedule on any suspension of work order issued under this clause.

(End of clause)

H.12	SUBCONTRACTORS AND SUPPLIERS

H.12.1	CLAIMS AND ENCUMBRANCES

The Contractor shall satisfy as due all lawful claims of any persons or entities employed by the Contractor, including subcontractors, material men and laborers, for all labor performed and materials furnished under this contract, including the applicable warranty or correction period, unless the Government shall be directly liable by contract.  The Contractor shall not at any time permit any lien, attachment, or other encumbrance to be entered against or to remain on the building(s), or the premises, whether public or private, or any portion thereof, as a result of nonperformance of any part of this contract.

H.12.2	APPROVAL OF SUBCONTRACTORS

(a)	REVIEW AND APPROVAL.  The Government reserves the right to review proposed subcontractors for a period of five (5) days before providing notice of approval or rejection of any or all subcontractors.

(b)	REJECTION OF SUBCONTRACTORS.  The Government reserves the right to reject any or all subcontractors proposed if their participation in the project, as determined by the Contracting Officer, may cause damage to the national security interests of the United States.  The Contractor agrees to promptly replace any subcontractor rejected by the Government under this clause.

H.13	CONSTRUCTION PERSONNEL

H.13.1	REMOVAL OF PERSONNEL

The Contractor shall maintain discipline at the site and at all times take all reasonable precautions to prevent any unlawful, riotous, or disorderly conduct by or among those at the site.  The contractor shall ensure the preservation of peace and protection of persons and property in the neighborhood of the project. The Contracting Officer may require, in writing, that the Contractor remove from the work any employee that the Contracting Officer deems incompetent, careless, insubordinate or otherwise objectionable, or whose continued employment on the project is deemed by the Contracting Officer to be contrary to the Government's interests.

H.13.2	CONSTRUCTION PERSONNEL SECURITY

After award of the contract, the Contractor shall have ten days to submit to the Contracting Officer  a list of workers and supervisors assigned to this project (Biographic Data on Personnel) for the Government to conduct all necessary security checks.  It is anticipated that security checks will take 3 weeks to perform.  For each individual the list shall include:

Full Name

Place and Date of Birth

Current Address

Identification number

Failure to provide any of the above information may be considered grounds for rejection and/or resubmittal of the application.  Once the Government has completed the security screening and approved the applicants, the Government will provide a badge to the individual for access to the site. The Government may revoke this badge at any time due to the falsification of data, or misconduct on site.

H.14	MATERIALS AND EQUIPMENT

H.14.1	SELECTION AND APPROVAL OF MATERIALS

(a)	STANDARD TO QUALITY.  All materials and equipment incorporated into the work shall be new and for the purpose intended, unless otherwise specified.  All workmanship shall be of good quality and performed in a skillful manner that will withstand inspection.

(b)	SELECTION BY CONTRACTOR.  Where the contract permits the Contractor to select products, materials or equipment to be incorporated in the work, or where specific approval is otherwise required by the contract, the Contractor shall furnish a Submittal Register to the Contracting Officer, for approval.  The Submittal Register shall include the names of the manufacturer, model number, and source of procurement of each such product, material or equipment, together with other pertinent information concerning the nature, appearance, dimensions, performance, capacity, and rating.  To ensure a timely review the Contractor shall provide a submittal register ten days after contract award showing when shop drawings, samples, or submittals shall be made.  When directed to do so, the Contractor shall submit samples for approval at the Contractor's expense, with all shipping charges prepaid. Installation or use of any products, materials or equipment without the required approval shall be at the risk of subsequent rejection.

H.14.2	CUSTODY OF MATERIALS

The Contractor shall be responsible for the custody of all materials received for incorporation into the project, including Government furnished materials, upon delivery to the Contractor or to any person for whom it is responsible, including subcontractors. The Contractor shall deliver all such items to the site as soon as practicable.  If required by the Contracting Officer, the Contractor shall clearly mark in a manner directed by the Contracting Officer all items of which the Contractor has custody but which have not been delivered or secured at the site, clearly indicating the use of such items for the U.S. Government project.

H.14.3	BASIS OF CONTRACT PRICE

The contract price is based on the use of the materials, products and equipment specified in the contract, except for substitutions or "Or-Equal" items proposed by the Contractor which have been specifically approved by the Government at the time of execution of the contract.  Any substitution approved by the Government after execution of the contract shall be subject to an appropriate adjustment of the contract price.

H.14.4	SUBSTITUTIONS

(a)	PRIOR APPROVAL REQUIRED.  The Contractor must receive approval in writing from the Contracting Officer before substitutions (1) proposed by the Contractor but not yet approved at the time of execution of the contract, or (2) proposed by the Contractor after execution of the contract may be used in the project.  Sufficient information to permit evaluation by the Government must accompany any substitution request including but not limited to the reasons for the proposed substitution and data concerning the design, appearance, performance, composition, and relative cost of the proposed substitute.  The Contractor shall make requests for substitutions in a timely manner to permit adequate evaluation by the Government.  If, in the Contracting Officer's opinion, the use of such substitute items is not in the best interests of the Government, the Contractor must obtain the items originally specified with no adjustment in the contract price or completion date.

(b)	APPROVAL THROUGH SHOP DRAWINGS.  The Contractor may propose substitutions of materials in the submittal of shop drawings, provided such substitution is specifically requested in writing in the transmittal of the shop drawings to the Contracting Officer.  Such substitution requests must be made in a timely manner and supported by the required information.

(c)	FINAL APPROVAL ON DELIVERY.  Acceptance or approval of proposed substitutions under the contract are conditioned upon approval of items delivered at the site or approval by sample. Approval by sample shall not limit the Government's right to reject material after delivery to the site if the material does not conform to the approved sample in all material respects.

H.14.5	"OR-EQUAL CLAUSE"

References in the Specifications/Statement of Work to materials, products or equipment by trade name, make, or catalog number, or to specific processes, shall be regarded as establishing a standard of quality and shall not be construed as limiting competition.  The Contractor may propose for approval or rejection by the Contracting Officer the substitution of any material, product, equipment or process that the Contractor believes to be equal to or better than that named in the Specifications/Statement of Work, unless otherwise specifically provided in this contract.

H.14.6	USE AND TESTING OF SAMPLES

(“Samples” include materials and equipment.)

(a)	USE.  The Contractor shall send approved samples not destroyed in testing to the Contracting Officer.  Those which are in good condition will be marked for identification and may be used in the work.  Materials and equipment incorporated in the work shall match the approved samples within any specified tolerances.  Other samples not destroyed in testing or not approved will be returned to the Contractor at its expense if so requested.

(b)	FAILURE OF SAMPLES.  If a sample fails to pass the specified tests described in this contract, any further samples of the same brand or make of that material or equipment may not be considered for use in performance under this contract.

(c)	TAKING AND TESTING OF SAMPLES.  Samples delivered on the site or in place may be taken by the Contracting Officer for additional testing by the Government outside of those required by the Contract documents.  Samples failing to meet contract requirements will automatically void previous approvals of the items tested.  The Contractor shall replace such materials or equipment found not to have met contract requirements, unless the Contracting Officer determines it to be in the Government's interest to accept the non-conforming materials or equipment with an appropriate adjustment of the Contract price as determined by the Contracting Officer.

(d)	COST OF ADDITIONAL TESTING BY THE GOVERNMENT.  When additional tests of samples are performed, only one test of each sample proposed for use will be made at the expense of the Government.  Samples which do not meet contract requirements will be rejected.  Further testing of additional samples, if required, will be made at the expense of the Contractor.

H.15	IMPORTED MATERIALS, EQUIPMENT, AND PERSONNEL

H.15.1	SHIPMENT AND CUSTOMS CLEARANCE

(a)	Costs to be borne by Contractor.  The Contractor is responsible for paying all charges incurred in obtaining materials that must be imported for the project and in transporting the materials from their place or origin to the construction site.  Moving costs shall include, but not necessarily be limited to, packing, handling, cartage, overland freight, ocean freight, transshipment, port, unloading, customs clearance and duties (other than customs duties specified below), unpacking, storage, and all other charges including administrative costs in connection with obtaining and transporting the materials from their source to the project site.

(b)	Duty-free clearance.  The Contractor shall not be responsible for customs duties for which the Government has been able to obtain a customs waiver.  The Contractor shall follow the instructions of the Contracting Officer as to the manner of labeling the shipping containers or otherwise processing shipments of imported materials in order to obtain, or continue to receive, duty free clearance through customs.  The Contractor shall be responsible for the payment of customs duties, if any, which

- are imposed on items which are not labeled and processed in accordance with the Contracting Officer's instructions,

- are imposed on the Contractor's tools, construction equipment and machinery imported for use on the project, or

- are otherwise ineligible for duty-free entry.   The Contractor is responsible for customs duties where the Contractor has failed to give adequate and timely notice to the Contracting Officer of importation on containers or materials which may be eligible for a customs waiver.  The Contracting Officer will provide instructions concerning time periods for notification of importation by the Contractor.

(c)	Customs Clearance.  The Government will be responsible for obtaining customs clearances, and for obtaining exemption certificates or paying customs duties not waived, for imported products, materials and equipment which are labeled and processed in accordance with the Contracting Officer's instructions.  The Government shall not be responsible for obtaining customs clearance for the Contractor's tools, construction equipment or machinery, nor for obtaining visas, entry or work permits for the Contractor's personnel.

H.15.2	SURPLUS MATERIALS

Unless otherwise specified, any surplus materials, fixtures, articles or equipment remaining at the completion of the project shall become the property of the Contractor, except those items furnished by the Government, whose cost is not included in the contract price.

H.16	SPECIAL WARRANTIES

H.16.1	SPECIAL WARRANTY OBLIGATIONS

Any special warranties that may be required under the contract shall be subject to the stipulations set forth in 52.246-21, "Warranty of Construction", as long as they do not conflict with the special warranty.

H.16.2	WARRANTY INFORMATION

The Contractor shall obtain and furnish to the Government all information required in order to make any subcontractor's, manufacturers, or supplier's guarantee or warranty legally binding and effective.  The Contractor shall submit both the information and the guarantee or warranty to the Government in sufficient time to permit the Government to meet any time limit specified in the guarantee or warranty, but not later than completion and acceptance of all work under this contract.

H.17	EQUITABLE ADJUSTMENTS

H.17.1	BASIS FOR EQUITABLE ADJUSTMENTS

Any circumstance for which the contract provides an equitable adjustment that causes a change within the meaning of paragraph (a) of the "Changes" clause shall be treated as a change under that clause.  The Contractor shall give the Contracting Officer written notice (within 20 days) stating:

- the date, circumstances, and applicable contract clause authorizing an equitable adjustment and

- that the Contractor regards the event as a changed condition for which an equitable adjustment is allowed under the contract.

H.17.2	DIFFERING SITE CONDITION NOTICE

The Contractor shall provide written notice of a differing site condition within 10  days of occurrence following FAR 52.236-2, Differing Site Conditions.

H.17.3	DOCUMENTATION OF PROPOSALS FOR EQUITABLE ADJUSTMENTS

(a)	ITEMIZATION OF PROPOSALS AND REQUESTS.  The Contractor shall submit any request for equitable adjustment in the contract price, including any change proposal submitted in accordance with the "Changes" clause, in the form of a lump sum proposal supported with an itemized breakdown of all increases and decreases in the contract price in the detail required by the Contracting Officer, The request shall include all costs and delays related to or arising out of the change or event giving rise to the proposed adjustment, including any delay damages and additional overhead costs.

(b)	PROPOSED TIME ADJUSTMENTS.  The Contractor shall submit a proposed time extension (if applicable) with any request for an equitable adjustment or change proposal.  The request shall include sufficient information to demonstrate whether and to what extent the change will delay the completion of the contract.

(c)	RELEASE BY CONTRACTOR.  The price and time adjustment made in any contract modification issued as a result of a change proposal or request for an equitable adjustment shall be considered to account for all items affected by the change or other circumstances giving rise to an equitable adjustment.  Upon issuance of such contract modification, the Government shall be released from any and all liability under this contract for further equitable adjustments attributable to the facts and circumstances giving rise to the change proposal or request for equitable adjustment.

H.18	NONCOMPLIANCE WITH CONTRACT REQUIREMENTS

If the Contractor, after receiving written notice from the Contracting Officer of noncompliance with any requirement of this contract, fails to initiate promptly appropriate action(s) to bring performance/work into compliance with a contract requirement within a reasonable period of time, the Contracting Officer shall have the right to order the Contractor to suspend any or all work under the contract.  This order shall be in force until the Contractor has complied or has initiated such action as may be appropriate to comply within a reasonable period of time.  The Contractor will not be entitled to any extension of contract time or payment for any costs incurred as a result of being ordered to suspend work for such a cause.

H.19	ZONING APPROVALS AND BUILDING PERMITS

The Government is responsible for:

- obtaining proper zoning or other land use control approval for the project,

- obtaining the approval of the Contract Drawings and Specifications,

- paying fees due, and

- obtaining and paying for the initial building permits.

SECTION I - CONTRACT CLAUSES

I.1	FAR 52.252-2 CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at:

http://acquisition.gov/far/index.html   or, http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  If the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use the Dept. of State Acquisition Website at http://www.statebuy.state.gov/ to see the links to the FAR.   You may also use an Internet “search engine” (such as, Yahoo, Excite, Alta Vista, etc.) to obtain the latest location of the most current FAR.

FEDERAL ACQUISITION REGULATION (48 CFR Ch. 1)

| 52.202-1 | DEFINITIONS | JUL 2004 |
| --- | --- | --- |
| 52.203-3 | GRATUITIES | APR 1984 |
| 52.203-5 | COVENANT AGAINST CONTINGENT FEES | APR 1984 |
| 52.203-6 | RESTRICTIONS ON SUBCONTRACTOR SALES TO THE GOVERNMENT | SEP 2006 |
| 52.203-7 | ANTI-KICKBACK PROCEDURES | JUL 1995 |
| 52.203-8 | CANCELLATION, RECISSION AND RECOVERY OF FUNDS FOR ILLEGAL OR IMPROPER ACTIVITY | JAN 1997 |
| 52.203-10 | PRICE OR FEE ADJUSTMENT FOR ILLEGAL OR IMPROPER ACTIVITY | JAN 1997 |
| 52.203-12 | LIMITATION ON PAYMENTS TO INFLUENCE CERTAIN FEDERAL TRANSACTIONS | SEP 2005 |
| 52.204-4 | PRINTING/COPYING DOUBLE-SIDED ON RECYCLED PAPER | AUG 2000 |
| 52.204-9 | PERSONAL VERIFICATION OF CONTRACTOR PERSONNEL | NOV 2006 |
| 52.209-6 | PROTECTING THE GOVERNMENT’S INTEREST WHEN SUBCONTRACTING WITH CONTRACTORS DEBARRED, SUSPENDED, OR PROPOSED FOR DEBARMENT | SEP 2006 |
| 52.215-2 | AUDIT AND RECORDS – NEGOTIATION | JUN 1999 |
| 52.215-8 | ORDER OF PRECEDENCE – UNIFORM CONTRACT FORMAT | OCT 1997 |
| 52.215-21 | REQUIREMENTS FOR COST OR PRICING DATA OR PRICING DATA OR INFORMATION OTHER THAN COST OR PRICING DATA – MODIFICATIONS | OCT 1997 |
| 52.216-7 | ALLOWABLE COST AND PAYMENT ALTERNATE I | FEB 2002 FEB 1997 |
| 52.222-1 | NOTICE TO THE GOVERNMENT OF LABOR DISPUTES | FEB 1997 |
| 52.222-19 | CHILD LABOR – COOPERATION WITH AUTHORITIES AND REMEDIES | JAN 2006 |
| 52.222-50 | COMBATING TRAFFICKING IN PERSONS | APR 2006 |
| 52.225-13 | RESTRICTIONS ON CERTAIN FOREIGN PURCHASES | FEB 2006 |
| 52.225-14 | INCONSISTENCY BETWEEN ENGLISH VERSION AND TRANSLATION OF CONTRACT | FEB 2000 |
| 52.228-2 | ADDITIONAL BOND SECURITY | OCT 1997 |
| 52.228-4 | WORKERS’ COMPENSATION AND WAR-HAZARD INSURANCE OVERSEAS | APR 1984 |
| 52.228-5 | INSURANCE – WORK ON A GOVERNMENT INSTALLATION | JAN 1997 |
| 52.228-11 | PLEDGES OF ASSETS | FEB 1992 |
| 52.228-13 | ALTERNATIVE PAYMENT PROTECTION | JUL 2000 |
| 52.228-14 | IRREVOCABLE LETTER OF CREDIT | DEC 1999 |
| 52.229-6 | TAXES – FOREIGN FIXED-PRICE CONTRACTS | JUN 2003 |
| 52.232-5 | PAYMENTS UNDER FIXED-PRICE CONSTRUCTION CONTRACTS | SEP 2002 |
| 52.232-17 | INTEREST | JUN 1996 |
| 52.232-18 | AVAILABILITY OF FUNDS | APR 1984 |
| 52.232-24 | PROHIBITION OF ASSIGNMENT OF CLAIMS | JAN 1986 |
| 52.232-27 | PROMPT PAYMENT FOR CONSTRUCTION CONTRACTS | SEP 2005 |
| 52.232-34 | PAYMENT BY ELECTRONIC FUNDS TRANSFER – OTHER THAN CENTRAL CONTRACTOR REGISTRATION | MAY 1999 |
| 52.233-1 | DISPUTES ALTERNATE I | JUL 2002 DEC 1991 |
| 52.233-3 | PROTEST AFTER AWARD | AUG 1996 |
| 52.233-4 | APPLICABLE LAW FOR BREACH OF CONTRACT CLAIM | OCT 2004 |
| 52.236-2 | DIFFERING SITE CONDITIONS | APR 1984 |
| 52.236-3 | SITE INVESTIGATION AND CONDITIONS AFFECTING THE WORK | APR 1984 |
| 52.236-5 | MATERIAL AND WORKMANSHIP | APR 1984 |
| 52.236-6 | SUPERINTENDENCE BY THE CONTRACTOR | APR 1984 |
| 52.236-7 | PERMITS AND RESPONSIBILITIES | NOV 1991 |
| 52.236-8 | OTHER CONTRACTS | APR 1984 |
| 52.236-9 | PROTECTION OF EXISTING VEGETATION, STRUCTURES, EQUIPMENT, UTILITIES, AND IMPROVEMENTS | APR 1984 |
| 52.236-10 | OPERATIONS AND STORAGE AREAS | APR 1984 |
| 52.236-11 | USE AND POSSESSION PRIOR TO COMPLETION | APR 1984 |
| 52.236-12 | CLEANING UP | APR 1984 |
| 52.236-14 | AVAILABILITY AND USE OF UTILITY SERVICES | APR 1984 |
| 52.236-15 | SCHEDULES FOR CONSTRUCTION CONTRACTS | APR 1984 |
| 52.236-21 | SPECIFICATIONS AND DRAWINGS FOR CONSTRUCTION | FEB 1997 |
| 52.236-26 | PRECONSTRUCTION CONFERENCE | FEB 1995 |
| 52.242-3 | PENALTIES FOR UNALLOWABLE COSTS | MAY 2001 |
| 52.242-13 | BANKRUPTCY | JUL 1995 |
| 52.243-4 | CHANGES | AUG 1987 |
| 52.243-5 | CHANGES AND CHANGED CONDITIONS | APR 1984 |
| 52.244-6 | SUBCONTRACTS FOR COMMERCIAL ITEMS | SEP 2006 |
| 52.245-4 | GOVERNMENT-FURNISHED PROPERTY (SHORT FORM) | JUN 2003 |
| 52.246-21 | WARRANTY OF CONSTRUCTION | MAR 1994 |
| 52.248-3 | VALUE ENGINEERING – CONSTRUCTION | SEPT 2006 |
| 52.249-2 | TERMINATION FOR CONVENIENCE OF THE GOVERNMENT (FIXED-PRICE) ALTERNATE I | MAY 2004 SEPT 1996 |
| 52.249-10 | DEFAULT (FIXED-PRICE CONSTRUCTION) | APR 1984 |

THE FOLLOWING CLAUSES ARE SET FORTH IN FULL TEXT:

I.2.	52.222-39	NOTIFICATION OF EMPLOYEE RIGHTS CONCERNING PAYMENT OF UNION DUES OR FEES (DEC 2004) (only if over $100,000)

(a) Definition. As used in this clause—

United States means the 50 States, the District of Columbia, Puerto Rico, the Northern Mariana Islands, American Samoa, Guam, the U.S. Virgin Islands, and Wake Island.

(b) Except as provided in paragraph (e) of this clause, during the term of this contract, the Contractor shall post a notice, in the form of a poster, informing employees of their rights concerning union membership and payment of union dues and fees, in conspicuous

places in and about all its plants and offices, including all places where notices to employees are customarily posted. The notice shall include the following information (except that the information pertaining to National Labor Relations Board shall not be

included in notices posted in the plants or offices of carriers subject to the Railway Labor Act, as amended (45 U.S.C. 151– 188)).

Notice to Employees

Under Federal law, employees cannot be required to join a union or maintain membership in a union in order to retain their jobs. Under certain conditions, the law permits a union and an employer to enter into a union-security agreement requiring employees to pay uniform periodic dues and initiation fees. However, employees who are not union members can object to the use of

their payments for certain purposes and can only be required to pay their share of union costs relating to collective bargaining, contract administration, and grievance adjustment.

If you do not want to pay that portion of dues or fees used to support activities not related to collective bargaining, contract administration, or grievance adjustment, you are entitled to an appropriate reduction in your payment. If you believe that you have been required to pay dues or fees used in part to support activities not related to collective bargaining, contract administration, or grievance adjustment, you may be entitled to a refund and to an appropriate reduction in

future payments.

For further information concerning your rights, you may wish to contact the National Labor Relations Board (NLRB) either at one of its Regional offices or at the following

address or toll free number:

National Labor Relations Board

Division of Information

1099 14th Street, N.W.

Washington, DC 20570

1– 866– 667– 6572

1– 866– 316– 6572 (TTY)

To locate the nearest NLRB office, see NLRB’s website at http://www.nlrb.gov.

(c) The Contractor shall comply with all provisions of Executive Order 13201 of February 17, 2001, and related implementing regulations at 29 CFR part 470, and orders of the Secretary of Labor.

(d) In the event that the Contractor does not comply with any of the requirements set forth in paragraphs (b), (c), or (g), the Secretary may direct that this contract be cancelled, terminated, or suspended in whole or in part, and declare the Contractor ineligible for further Government contracts in accordance with procedures at 29 CFR

part 470, Subpart B— Compliance Evaluations, Complaint Investigations and Enforcement Procedures. Such other sanctions or remedies may be imposed as are provided by 29 CFR part 470, which implements Executive Order 13201, or as are otherwise provided by law.

(e) The requirement to post the employee notice in paragraph (b) does not apply to—

(1) Contractors and subcontractors that employ fewer than 15 persons;

(2) Contractor establishments or construction work sites where no union has been formally recognized by the Contractor or certified as the exclusive bargaining representative of the Contractor’s employees;

(3) Contractor establishments or construction work sites located in a jurisdiction named in the definition of the United States in which the law of that jurisdiction forbids enforcement of union-security agreements;

(4) Contractor facilities where upon the written request of the Contractor, the Department of Labor Deputy Assistant Secretary for Labor-Management Programs has waived the posting requirements with respect to any of the Contractor’s facilities if the Deputy

Assistant Secretary finds that the Contractor has demonstrated that—

(i) The facility is in all respects separate and distinct from activities of the Contractor related to the performance of a contract; and

(ii) Such a waiver will not interfere with or impede the effectuation of the Executive order; or

(5) Work outside the United States that does not involve the recruitment or employment of workers within the United States.

(f) The Department of Labor publishes the official employee notice in two variations; one for contractors covered by the Railway Labor Act and a second for all other contractors. The Contractor shall—

(1) Obtain the required employee notice poster from the Division of Interpretations and Standards, Office of Labor-Management Standards, U.S. Department of Labor, 200 Constitution Avenue, NW, Room N– 5605, Washington, DC 20210, or from any

field office of the Department’s Office of Labor-Management Standards or Office

of Federal Contract Compliance Programs;

(2) Download a copy of the poster from the Office of Labor-Management Standards website at http://www.olms.dol.gov; or

(3) Reproduce and use exact duplicate copies of the Department of Labor’s official poster.

(g) The Contractor shall include the substance of this clause in every subcontract or purchase order that exceeds the simplified acquisition threshold, entered into in connection with this contract, unless exempted by the Department of Labor Deputy

Assistant Secretary for Labor–Management Programs on account of special circumstances in the national interest under authority of 29 CFR 470.3(c). For indefinite quantity subcontracts, the Contractor shall include the substance of this clause if

the value of orders in any calendar year of the subcontract is expected to exceed

the simplified acquisition threshold.  Pursuant to 29 CFR part 470, Subpart B— Compliance Evaluations, Complaint Investigations and Enforcement Procedures, the Secretary of Labor may direct the Contractor to take such action in the enforcement of these regulations, including the imposition of sanctions for noncompliance with respect to any such subcontract or purchase order. If the Contractor becomes involved in litigation with a subcontractor or vendor, or is threatened with such involvement, as a result of such

direction, the Contractor may request the United States, through the Secretary of Labor, to enter into such litigation to protect the interests of the United States.

I.3	652.237-71  IDENTIFICATION/BUILDING PASS  (APR 2004)

(a)  Contractors working in domestic facilities who already possess a security clearance.

(1) The contractor shall obtain a Department of State building pass for all employees performing under this contract who require frequent and continuing access to Department of State facilities. The Bureau of Diplomatic Security, Office of Domestic Facilities Protection shall issue passes.  They shall be used for the purpose of facility access only, and shall not be used for any other purpose.

(2)  The contractor shall submit a Visitor Authorization Request (VAR) Letter to the Bureau of Diplomatic Security, Information Security Programs Division, Industrial Security Branch (DS/ISP/INB) on its cleared employees containing the following information:

(i)  Contractor employee’s full name, social security number, and date of birth;

(ii)  Contractor’s company name;

(iii)  Security clearance level;

(iv)  Date the clearance was granted;

(v)  Name of the contractor’s Facility Security Officer;

(vi)  Contracting Officer’s Representative (COR); and,

(vii)  Contract number.

(3)  DS/ISP/INB shall process and approve the VAR letter, if appropriate.  The approved VAR letter shall be forwarded to the contractor for their records.

(4)  The contractor employee shall hand-carry the following documentation to the Building Pass Office, Department of State, 520 23rd Street, courtyard of Columbia Plaza, Washington, DC:

(i)  A Department of State sponsorship letter from the COR, addressing the following:

(A)  The purpose for which the pass is being requested;

(B) The employee’s valid security clearance level (reflected on the VAR);

(C)  Contract number and period of performance;

(D)  Type of access (24/7, normal business hours, escort authority or no escort authority granted); and,

(E)  Expiration date of building pass (1 year or 3 years);

(ii)  Letter on company letterhead to accompany the application, containing the following information:

(A)  The purpose for which the pass is being requested;

(B)  Verification of employment;

(C)  The employee’s valid security clearance level; and,

(D)  Contract number and period of performance; and

(iii)  The DS-1838, Request for Building Pass Identification Card.

(b)  Contractors working in domestic facilities where security clearances are not required.

(1)  The contractor shall obtain a Department of State building pass for all employees performing under this contract who require frequent and continuing access to Department of State facilities.  The Bureau of Diplomatic Security, Office of Domestic Facilities Protection, shall issue passes.  They shall be used for the purpose of facility access only, and shall not be used for any other purpose.

(2)  The contractor shall submit the following paperwork, in original, to the Bureau of Diplomatic Security, Information Security Programs Division, Industrial Security Branch (DS/ISP/INB):

(i)  SF-85P, Questionnaire for Public Trust Positions;

(ii)  SF-85P/S, Supplemental Questionnaire for Selected Positions; and,

(iii)  DOS Credit Release, which may be obtained from DS/ISP/INB via mail or facsimile.

(3)  DS/ISP/INB shall conduct a preliminary background check.  If the background check is favorable, DS/ISP/INB will forward a letter to the company Facility Security Officer (FSO) notifying them that the individual may proceed to the Building Pass Office to continue the badging process.  DS/ISP/INB will forward a copy of this letter to the Building Pass Office.

(4)  When a contractor employee is approved to receive a building pass, he/she shall hand-carry the following documentation to the Contractor Building Pass Office, Department of State, 520 23rd Street, NW, courtyard of Columbia Plaza, NW, Washington, DC. :

(i)  A Department of State sponsorship letter from the COR, addressing the following:

(A)  The purpose for which the pass is being requested;

(B)  Whether or not the employee has a valid security clearance;

(C)  Contract number and period of performance;

(D)  Type of access (24/7, normal business hours, escort authority or no escort authority granted); and

(E)  Expiration date of building pass (1 year or 3 years);

(ii)  DS Form 1838, Request for Building Pass Identification Card;

(iii)  Letter on company letterhead to accompany the application, containing the following information:

(A)  The purpose for which the pass is being requested;

(B)  Verification of employment;

(C)  Whether or not the applicant has a valid security clearance; and,

(D)  Contract number and period of performance;

(iv)  Original SF-85P or a copy of the SF-85P, with an original signature and current date;

(v)  Original SF-85P/S or a copy of the SF-85P/S, with an original signature and current date;

(vi)  Copy of the DOS Credit Release, with an original signature and current date; and,

(vii)  Original proof of U.S. citizenship, such as a birth certificate or valid U.S. passport.  Non-U.S. citizens must submit a valid photo Immigration and Naturalization Service Employment Authorization Document (INS EAD).

(5)  Applicants shall be fingerprinted at the Building Pass Office and the process for a building pass shall be initiated.  The approval process shall take at least 48 hours.  Applicants shall not return to the Building Pass Office until they receive notification from DS/ISP/INB that the process is complete.  Once DS/ISP/INB receives notification from the Building Pass Office that a building pass can be issued, DS/ISP/INB shall notify the FSO and the COR that the applicant has been approved for initial contract performance.

(c)  Contractors working in overseas facilities.  Contractors shall submit appropriate documentation to obtain building passes as specified in the contract.

(d)  All contractor employees, both domestic and overseas, shall wear the passes in plain sight at all times whiled in Department of State buildings.  All contractor employees shall show their passes, where appropriate, when entering these buildings and upon request of uniformed guards or any other authorized personnel.

(e)  All passes shall be returned to the COR upon separation of the employee, or expiration or termination of the contract.  Final payment under this contract shall not be made until all passes are returned to the COR.

I.4	652.243-70  NOTICES (AUG 1999)

Any notice or request relating to this contract given by either party to the other shall be in writing.  Said notice or request shall be mailed or delivered by hand to the other party at the address provided in the schedule of the contract.  The contracting officer must make all modifications to the contract in writing.

I.5	652.242-73  	AUTHORIZATION AND PERFORMANCE (AUG 1999)

(a)	The contractor warrants the following:

(1)	That is has obtained authorization to operate and do business in the country or countries in which this contract will be performed;

(2)	That is has obtained all necessary licenses and permits required to perform this contract; and,

(3)	That it shall comply fully with all laws, decrees, labor standards, and regulations of said country or countries during the performance of this contract.

(b)	If the party actually performing the work will be a subcontractor or joint venture partner, then such subcontractor or joint venture partner agrees to the requirements of paragraph (a) of this clause.

I.6	RESERVED

I.7	THE FOLLOWING CLAUSE IS APPLICABLE IF CHECKED

(  ) 	652.229-70	EXCISE TAX EXEMPTION STATEMENT FOR CONTRACTORS WITHIN THE UNITED STATES (JULY 1988)

This is to certify that the item(s) covered by this contract is/are for export solely for the use of the U.S. Foreign Service Post identified in the contract schedule.

The Contractor shall use a photocopy of this contract as evidence of intent to export.  Final proof of exportation may be obtained from the agent handling the shipment.  Such proof shall be accepted in lieu of payment of excise tax.

I.8.	52.228-15  Performance and Payment Bonds—Construction (Nov 2006)

(a) Definitions. As used in this clause—

“Original contract price” means the award price of the contract; or, for requirements contracts, the price payable for the estimated total quantity; or, for indefinite-quantity contracts, the price payable for the specified minimum quantity. Original contract price does not include the price of any options, except those options exercised at the time of contract award.

(b) Amount of required bonds. Unless the resulting contract price is $100,000 or less, the successful offeror shall furnish performance and payment bonds to the Contracting Officer as follows:

(1) Performance bonds (Standard Form 25). The penal amount of performance bonds at the time of contract award shall be 100 percent of the original contract price.

(2) Payment Bonds (Standard Form 25-A). The penal amount of payment bonds at the time of contract award shall be 100 percent of the original contract price.

(3) Additional bond protection.

(i) The Government may require additional performance and payment bond protection if the contract price is increased. The increase in protection generally will equal 100 percent of the increase in contract price.

(ii) The Government may secure the additional protection by directing the Contractor to increase the penal amount of the existing bond or to obtain an additional bond.

(c) Furnishing executed bonds. The Contractor shall furnish all executed bonds, including any necessary reinsurance agreements, to the Contracting Officer, within the time period specified in the Bid Guarantee provision of the solicitation, or otherwise specified by the Contracting Officer, but in any event, before starting work.

(d) Surety or other security for bonds. The bonds shall be in the form of firm commitment, supported by corporate sureties whose names appear on the list contained in Treasury Department Circular 570, individual sureties, or by other acceptable security such as postal money order, certified check, cashier's check, irrevocable letter of credit, or, in accordance with Treasury Department regulations, certain bonds or notes of the United States. Treasury Circular 570 is published in the Federal Register or may be obtained from the:

U.S. Department of the Treasury
Financial Management Service
Surety Bond Branch
3700 East West Highway, Room 6F01
Hyattsville, MD 20782.
Or via the internet at http://www.fms.treas.gov/c570/.

(e) Notice of subcontractor waiver of protection (40 U.S.C. 3133(c)). Any waiver of the right to sue on the payment bond is void unless it is in writing, signed by the person whose right is waived, and executed after such person has first furnished labor or material for use in the performance of the contract.”

I.9	652.225-71  SECTION 8(A) OF THE EXPORT ADMINISTRATION ACTS OF 1979, AS AMENDED (AUG 1999)

(a)	Section 8(a) of the U.S. Export Administration Act of 1979, as amended (50 U.S.C. 2407(a)), prohibits compliance by U.S. persons with any boycott fostered by a foreign country against a country which is friendly to the United States and which is not itself the object of any form of boycott pursuant to United States law or regulation. The Boycott of Israel by Arab League countries is such a boycott, and therefore, the following actions, if taken with intent to comply with, further, or support the Arab League Boycott of Israel, are prohibited activities under the Export Administration Act:

(1)	Refusing, or requiring any U.S. person to refuse to do business with or in Israel, with any Israeli business concern, or with any national or resident of Israel, or with any other person, pursuant to an agreement of, or a request from or on behalf of a boycotting country;

(2)	Refusing, or requiring any U.S. person to refuse to employ or otherwise discriminating against any person on the basis of race, religion, sex, or national origin of that person or of any owner, officer, director, or employee of such person;

(3)	Furnishing information with respect to the race, religion, or national origin of any U.S. person or of any owner, officer, director, or employee of such U.S. person;

(4)	Furnishing information about whether any person has, has had, or proposes to have any business relationship (including a relationship by way of sale, purchase, legal or commercial representation, shipping or other transport, insurance, investment, or supply) with or in the State of Israel, with any business concern organized under the laws of the State of Israel, with any Israeli national or resident, or with any person which is known or believed to be restricted from having any business relationship with or in Israel;

(5)	Furnishing information about whether any person is a member of, has made contributions to, or is otherwise associated with or involved in the activities of any charitable or fraternal organization which supports the State of Israel; and,

6)	Paying, honoring, confirming, or otherwise implementing a letter of credit which contains any condition or requirement against doing business with the State of Israel.

(b)	Under Section 8(a), the following types of activities are not forbidden ``compliance with the boycott,'' and are therefore exempted from Section 8(a)'s prohibitions listed in paragraphs

(a)(1)-(6) above:

(1)	Complying or agreeing to comply with requirements:

(i)	Prohibiting the import of goods or services from Israel or goods produced or services provided by any business concern organized under the laws of Israel or by nationals or residents of Israel; or,

(ii)	Prohibiting the shipment of goods to Israel on a carrier of Israel, or by a route other than that prescribed by the boycotting country or the recipient of the shipment;

(2)	Complying or agreeing to comply with import and shipping document requirements with respect to the country of origin, the name of the carrier and route of shipment, the name of the supplier of the shipment or the name of the provider of other services, except that no information knowingly furnished or conveyed in response to such requirements may be stated in negative, blacklisting, or similar exclusionary terms, other than with respect to carriers or route of shipments as may be permitted by such regulations in order to comply with precautionary requirements protecting against war risks and confiscation;

(3)	Complying or agreeing to comply in the normal course of business with the unilateral and specific selection by a boycotting country, or national or resident thereof, of carriers, insurance, suppliers of services to be performed within the boycotting country or specific goods which, in the normal course of business, are identifiable by source when imported into the boycotting country;

(4)	Complying or agreeing to comply with the export requirements of the boycotting country relating to shipments or transshipments of exports to Israel, to any business concern of or organized under the laws of Israel, or to any national or resident of Israel;

(5)	Compliance by an individual or agreement by an individual to comply with the immigration or passport requirements of any country with respect to such individual or any member of such individual's family or with requests for information regarding requirements of employment of such individual within the boycotting country; and,

(6)	Compliance by a U.S. person resident in a foreign country or agreement by such person to comply with the laws of that country with respect to his or her activities exclusively therein, and such regulations may contain exceptions for such resident complying with the laws or regulations of that foreign country governing imports into such country of trademarked, trade named, or similarly specifically identifiable products, or components of products for his or her own use, including the performance of contractual services within that country, as may be defined by such regulations.

I.10	652.229-71  PERSONAL PROPERTY DISPOSITION AT POSTS ABROAD (AUG 1999)

Regulations at 22 CFR Part 136 require that U.S. Government employees and their families do not profit personally from sales or other transactions with persons who are not themselves entitled to exemption from import restrictions, duties, or taxes. Should the contractor experience importation or tax privileges in a foreign country because of its contractual relationship to the United States Government, the contractor shall observe the requirements of 22 CFR Part 136 and all policies, rules, and procedures issued by the chief of mission in that foreign country.

PART III - LIST OF DOCUMENTS, EXHIBITS AND OTHER ATTACHMENTS

# SECTION J - LIST OF ATTACHMENTS

[

| ATTACHMENT NO. | DESCRIPTION OF ATTACHMENT | NO. PAGES |
| --- | --- | --- |
| Attachment 1 | Breakdown of Proposal Price by Divisions of Specifications | 1 |

ATTACHMENT #2

UNITED STATES DEPARTMENT OF STATE

BREAKDOWN OF PRICE BY DIVISIONS OF SPECIFICATIONS

| (1) DIVISION DESCRIPTION | (2) UNIT | (3) Q’TY | (4) LABOR | (5) MATERIALS | (6) AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. General Requirements/ Mobilization |  |  |  |  |  |
| 2. Site Work |  |  |  |  |  |
| 3. Concrete |  |  |  |  |  |
| 4. Masonry |  |  |  |  |  |
| 5. Metals |  |  |  |  |  |
| 6. Wood and Plastic |  |  |  |  |  |
| 7. Thermal and Moisture |  |  |  |  |  |
| 8. Doors and Windows |  |  |  |  |  |
| 9. Finishes |  |  |  |  |  |
| 10. Specialties |  |  |  |  |  |
| 11. Equipment |  |  |  |  |  |
| 12. Furnishings |  |  |  |  |  |
| 13. Special Construction |  |  |  |  |  |
| 14. Conveying Systems |  |  |  |  |  |
| 15. Mechanical |  |  |  |  |  |
| 16. Electrical |  |  |  |  |  |
| Direct cost Total |  |  |  |  |  |
| 17. Admin. Expense |  |  |  |  |  |
| 18. Overhead |  |  |  |  |  |
| 19. Profit |  |  |  |  |  |
| In-direct cost Total |  |  |  |  |  |
| Grand Total |  |  |  |  |  |

Allowance Items:

PROPOSAL PRICE TOTAL:  Korean Won

Alternates  (list separately do not total)

Offeror:                                                                                                         Date

PART IV - REPRESENTATIONS AND INSTRUCTIONS

SECTION K - REPRESENTATIONS, CERTIFICATIONS AND OTHER

STATEMENTS OF OFFERORS OR QUOTERS

K.1	52.203-02  CERTIFICATE OF INDEPENDENT PRICE DETERMINATION (APR 1985)

(a) The offeror certifies that-

(1) The prices in this offer have been arrived at independently, without, for the purpose of restricting competition, any consultation, communication, or agreement with any other offeror or competitor relating to-

(i) Those prices;

(ii) The intention to submit an offer;, or

(iii) The methods or factors used to calculate the prices offered.

(2) The prices in this offer have not been and will not be knowingly disclosed by the offeror, directly or indirectly, to any other offeror or competitor before bid opening (in the case of a sealed bid solicitation) or contract award (in the case of a negotiated solicitation) unless otherwise required by law; and

(3) No attempt has been made or will be made by the offeror to induce any other concern to submit or not to submit an offer for the purpose of restricting competition.

(b) Each signature on the offer is considered to be a certification by the signatory that the signatory-

(1)	Is the person in the offeror's organization responsible for determining the prices being offered in this bid or proposal, and that the signatory has not participated and will not participate in any action contrary to subparagraph (a)(1) through (a)(3) above; or

(2)(i)	Has been authorized, in writing, to act as agent for the following principals in certifying that those principals have not participated, and will not participate in any action contrary to subparagraphs (a)(1) through (a)(3) above [insert full name of person(s) in the offeror's organization responsible for determining the prices offered in this bid or proposal, and the title of his or her position in the offeror's organization]; and

(ii)	As an authorized agent, does certify that the principals named in subdivision (b)(2)(i) above have not participated, and will not participate, in any action contrary to subparagraphs (a)(1) through (a)(3) above; and

(iii)		As an agent, has not personally participated, and will not participate, in any action contrary to subparagraphs (a)(1) through (a)(3) above.

(c)	If the offeror deletes or modifies subparagraph (a)(2) above, the offeror must furnish with its offer a signed statement setting forth in detail the circumstances of the disclosure.

K.2	52.203-11 CERTIFICATION AND DISCLOSURE REGARDING PAYMENTS TO INFLUENCE CERTAIN FEDERAL TRANSACTIONS (SEP 2005)

(a)	The definitions and prohibitions contained in the clause, at FAR 52.203-12, Limitation on Payments to Influence Certain Federal Transactions, included in this solicitation are hereby incorporated by reference in paragraph (b) of this certification

.

(b)	The offeror, by signing its offer, hereby certifies to the best of his or her knowledge and belief that on or after December 23, 1989, -

(1)	No Federal appropriated funds have been paid or will be paid to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress, or an employee of a Member of Congress on his or her behalf in connection with the awarding this contract;

(2)	If any funds other than Federal appropriated funds (including profit or fee received under a covered Federal transaction) have been paid, or will be paid, to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress, or an employee of a Member of Congress on his or her behalf in connection with this solicitation, the offeror shall complete and submit, with its offer, OMB standard form LLL, Disclosure of Lobbying Activities, to the Contracting Officer; and

(3)	He or she will include the language of this certification in all subcontract awards at any tier and require that all recipients of subcontract awards in excess of $100,000 shall certify and disclose accordingly.

(c)	Submission of this certification and disclosure is a prerequisite for making or entering into this contract imposed by section 1352, title 31, United States Code.  Any person who makes an expenditure prohibited under this provision or who fails to file or amend the disclosure form to be filed or amended by this provision, shall be subject to a civil penalty of not less than $10,000, and not more than $100,000, for each such failure.

K.3	52.204-3  TAXPAYER IDENTIFICATION (OCT 98)

(a)	DEFINITIONS.

"Common parent", as used in this provision, means that corporate entity that owns or controls an affiliated group of corporations that files its Federal income tax returns on a consolidated basis, and of which the offeror is a member.

“Taxpayer Identification Number (TIN)", as used in this provision, means the number required by the IRS to be used by the offeror in reporting income tax and other returns.  The TIN may be either a Social Security Number or an Employer Identification Number.

(b)	All offerors must submit the information required in paragraphs (d) through (f) of this provision in order to comply with debt collection requirements of 31 U.S.C. 7701(c) and 3325 (d), reporting requirements of 26 USC 6041, 6041A, and 6050M and implementing regulations issued by the Internal Revenue Service (IRS).  If the resulting contract is subject to the reporting requirements described in FAR 4.904, the failure or refusal by the offeror to furnish the information may result in a 31 percent reduction of payments otherwise due under the contract.

(c)	The TIN may be used by the Government to collect and report on any delinquent amounts arising out of the offeror’s relationship with the Government (3l USC 7701( c)(3)).  If the resulting contract is subject to the payment reporting requirements described in FAR 4.904, the TIN provided hereunder may be matched with IRS records to verify the accuracy of the offeror’s TIN.

(d)	Taxpayer Identification Number (TIN).

TIN: ____________________________

___ TIN has been applied for.

___ TIN is not required because:

__  Offeror is a nonresident alien, foreign corporation, or foreign partnership that does not have income effectively connected with the conduct of a trade or business in the U.S. and does not have an office or place of business or a fiscal paying agent in the U.S.;

__ Offeror is an agency or instrumentality of a foreign government;

__ Offeror is an agency or instrumentality of the Federal Government.

(e)	Type of Organization.

__ Sole Proprietorship;

__ Partnership:

__ Corporate Entity (not tax exempt);

__ Corporate Entity (tax exempt);

__  Government entity (Federal, State, or local);

__   Foreign government;

__   International organization per 26 CFR 1.6049-4;

__   Other ___________________________________________

(f)	Common Parent.

___  Offeror is not owned or controlled by a common parent as defined in paragraph (a) of this clause.

___ Name and TIN of common parent;

Name _______________________________________________

TIN ________________________________________________

K.4	52.204-6  CONTRACTOR IDENTIFICATION NUMBER -DATA UNIVERSAL NUMBERING SYSTEM (DUNS) NUMBER (OCT 2003)

(a)	The offeror shall enter, in the block with its name and address on the cover page of its offer, the annotation “DUNS” or “DUNS+4” followed by the DUNS number or DUNS+4 that identifies the offeror’s name and address exactly as stated in the offer.  The DUNS number if a nine-digit number assigned by Dun and Bradstreet Information Services.  The DUNS+4 is the DUNS number plus a 4-character suffix that may be assigned at the discretion of the offeror to establish additional CCR records for identifying alternative Electronic Funds Transfer (EFT) accounts (see Subpart 32.11) for the same parent company.

If the offeror does not have a DUNS number, it should contact Dun and Bradstreet directly to obtain one.

An offeror may obtain a DUNS number-

If located within the United States, by calling Dun and Bradstreet at 1-866-705-5711 or via the Internet at http://www.dnb.com; or

If located outside the United States, by contacting the local Dun and Bradstreet office.

(2) The offeror should be prepared to provide the following information:

Company legal business name.

Tradestyle, doing business, or other name by which your entity is commonly recognized.

Company physical street address, city, state and Zip Code.

Company mailing address, city, state and Zip Code (if separate from physical)

Company telephone number

Date the company was started.

Number of employees at your location.

Chief executive officer/key manager.

Line of business (industry)

Company Headquarters name and address (reporting relationship within your entity).

### K.5     52.204-8 ANNUAL REPRESENTATIONS AND CERTIFICATIONS (Jan 2006)

(a)(1) The North American Industry Classification System (NAICS) code for this acquisition is 236220, 237310, 237990,236118, 237110.

(2) The small business size standard is 28.5 million.

(3) The small business size standard for a concern which submits an offer in its own name, other than on a construction or service contract, but which proposes to furnish a product which it did not itself manufacture, is 500 employees.

(b)(1) If the clause at 52.204-7, Central Contractor Registration, is included in this solicitation, paragraph (c) of this provision applies.

(2) If the clause at 52.204-7 is not included in this solicitation, and the offeror is currently registered in CCR, and has completed the ORCA electronically, the offeror may choose to use paragraph (c) of this provision instead of completing the corresponding individual representations and certifications in the solicitation. The offeror shall indicate which option applies by checking one of the following boxes:

[  ] (i) Paragraph (c) applies.

[  ] (ii) Paragraph (c) does not apply and the offeror has completed the individual representations and certifications in the solicitation.

(c) The offeror has completed the annual representations and certifications electronically via the Online Representations and Certifications Application (ORCA) website at http://orca.bpn.gov. After reviewing the ORCA database information, the offeror verifies by submission of the offer that the representations and certifications currently posted electronically have been entered or updated within the last 12 months, are current, accurate, complete, and applicable to this solicitation (including the business size standard applicable to the NAICS code referenced for this solicitation), as of the date of this offer and are incorporated in this offer by reference (see FAR 4.1201); except for the changes identified below [offeror to insert changes, identifying change by clause number, title, date]. These amended representation(s) and/or certification(s) are also incorporated in this offer and are current, accurate, and complete as of the date of this offer.

FAR Clause # Title Date Change

____________ _________ _____ _______

Any changes provided by the offeror are applicable to this solicitation only, and do not result in an update to the representations and certifications posted on ORCA.

(End of provision)

K.6	52.209-5 CERTIFICATION REGARDING DEBARMENT, SUSPENSION, PROPOSED DEBARMENT, AND OTHER RESPONSIBILITY MATTERS (DEC 2001)

(a)	(1)	The Offeror certifies, to the best of its knowledge and belief, that-

(i)	The Offeror and/or any of its Principals-

(A)		Are    are not    presently debarred, suspended, proposed for debarment, or declared ineligible for the award of contracts by any Federal agency;

(B)		Have   have not   , within a three year period preceding this offer, been convicted of or had a civil judgment rendered against them for commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (Federal, state, or local) contract or subcontract; violation of Federal or state antitrust statutes relating to the submission of offers; or commission of embezzlement, theft, forgery, bribery, falsification or destruction of records, making false statements, tax evasion or receiving stolen property; and

(C)		Are__ are not __ presently indicated for, or otherwise criminally or civilly charged by a governmental entity with, commission of any of the offenses enumerated in paragraph (a)(1)(i)(B) of this provision.

(ii)	The Offeror has [ ] has not [ ], within a three-year period preceding this offer, had one or more contracts terminated for default by any Federal agency.

(2)	"Principals," for the purpose of this certification, means officers; directors; owners; partners; and, persons having primary management or supervisory responsibilities within a business entity (e.g., general manager; plant manager; head of a subsidiary, division, or business segment, and similar positions).

THIS CERTIFICATION CONCERNS A MATTER WITHIN THE JURISDICTION OF AN AGENCY OF THE UNITED STATES AND THE MAKING OF A FALSE, FICTITIOUS, OR FRAUDULENT CERTIFICATION MAY RENDER THE MAKER SUBJECT TO PROSECUTION UNDER SECTION 1001, TITLE 18, UNITED STATES CODE.

(b)	The Offeror shall provide immediate written notice to the Contracting Officer if, at any time prior to contract award, the Offeror learns that its certification was erroneous when submitted or has become erroneous by reason of changed circumstances.

(c)	A certification that any of the items in paragraph (a) of this provision exists will not necessarily result in withholding of an award under this solicitation.  However, the certification will be considered in connection with a determination of the Offeror's responsibility.  Failure of the Offeror to furnish a certification or provide such additional information as requested by the Contracting Officer may render the Offeror non-responsible.

(d)	Nothing contained in the foregoing shall be construed to require establishment of a system of records in order to render, in good faith, the certification required by paragraph (a) of this provisions.  The knowledge and information of an Offeror is not required to exceed that which is normally possessed by a prudent person in the ordinary course of business dealings.

(e)	The certification in paragraph (a) of this provision is a material representation of fact upon which reliance was placed when making award.  If it is later determined that the Offeror knowingly rendered an erroneous certification, in addition to other remedies available to the Government, the Contracting Office may terminate the contract resulting from this solicitation for default.

K.7	RESERVED

K.8	RESERVED

K.9	RESERVED

K.10	652.225-70  ARAB LEAGUE BOYCOTT OF ISRAEL (AUG 1999)

(a)	DEFINITIONS.  As used in this provision:

Foreign person means any person other than a United States person as defined below.

United States person means any United States resident or national (other than an individual resident outside the United States and employed by other than a United States person), any domestic concern (including any permanent domestic establishment of any foreign concern), and any foreign subsidiary or affiliate (including any permanent foreign establishment) of any domestic concern which is controlled in fact by such domestic concern, as provided under the Export Administration Act of 1979, as amended.

(b)	CERTIFICATION.  By submitting this offer, the offeror certifies that it is not:

(1)	Taking or knowingly agreeing to take any action, with respect to the boycott of Israel by Arab League countries, which Section 8(a) of the Export Administration Act of 1979, as amended (50 U.S.C. 2407(a)) prohibits a United States person from taking; or,

(2)	Discriminating in the award of subcontracts on the basis of religion.

K.11	DEFENSE BASE INSURANCE – COVERED CONTRACTOR EMPLOYEES

(a)  Bidders/Offerors shall indicate below whether or not any of the following categories of employees will be employed on the resultant contract, and, if so, the number of such employees:

| Category | Yes/No | Number |
| --- | --- | --- |
| (1) United States citizens or residents |  |  |
| (2) Individuals hired in the United States, regardless of citizenship |  |  |
| (3) Local nationals or third country nationals where contract performance takes place in a country where there are no local workers’ compensation laws |  | Local nationals: ______________ Third Country Nationals: _____________ |
| (4) Local nationals or third country nationals where contract performance takes place in a country where there are local workers’ compensation laws |  | Local nationals: ______________ Third Country Nationals: _____________ |

(b)  If the bidder/offeror has indicated “yes” in block (a)(4) of this provision, the bidder/offeror shall submit, as part of its offer, a statement that indicates that such local nationals and/or third country nationals will be provided workers’ compensation coverage against the risk of work injury or death under a local workers’ compensation law.  For those employees, the bidder/offeror shall also assume liability toward the employees and their beneficiaries for war-hazard injury, death, capture, or detention, in accordance with the clause at FAR 52.228-4.

(c)  If the bidder/offeror has indicated “yes” in blocks (a)(1), (2), or (3) of this provision, the bidder/offeror shall compute Defense Base Act insurance costs covering those employees pursuant to the terms of the contract between the Department of State and the Department’s Defense Base Act insurance carrier at the rates specified in DOSAR 652.228-74.  If DOSAR provision 652.228-74 is not included in this solicitation, the bidder/offeror shall notify the contracting officer before the closing date so that the solicitation can be amended accordingly.

SECTION L - INSTRUCTIONS, CONDITIONS, AND NOTICES TO

OFFERORS OR QUOTERS

L.1	52.252-1 SOLICITATION PROVISIONS INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates the following provisions by reference, with the same force and effect as if they were given in full text.  Upon request, the Contracting Officer will make their full text available.  The offeror is cautioned that the listed provisions may include blocks that must be completed by the offeror and submitted with its quotation or offer.  In lieu of submitting the full text of those provisions, the offeror may identify the provision by paragraph identifier and provide the appropriate information with its quotation or offer.  Also, the full text of a solicitation provision may be accessed electronically at:

http://acquisition.gov/far/index.html/   or,   http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  If the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use of an Internet "search engine" (such as, Yahoo, Infoseek, Alta Vista, etc.) is suggested to obtain the latest location of the most current FAR.

http://www.statebuy.state.gov/

FEDERAL ACQUISITION REGULATION (48 CFR CH. 1)

| 52.214-34 | SUBMISSION OF OFFERS IN THE ENGLISH LANGUAGE | APR 1991 |
| --- | --- | --- |
| 52.215-1 | INSTRUCTIONS TO OFFERORS – COMPETITIVE ACQUISITION | JAN 2004 |
| 52.236-28 | PREPARATION OF PROPOSALS – CONSTRUCTION | OCT 1997 |

L.2	SOLICITATION PROVISIONS IN FULL TEXT

52.216-1  TYPE OF CONTRACT (APR 1984)

The Government contemplates award of a firm fixed price contract resulting from this solicitation.

52.233-2  SERVICE OF PROTEST (SEPT 2006)

(a)	Protests, as defined in section 33.101 of the Federal Acquisition Regulation, that are filed directly with an agency, and copies of any protests that are filed with the General Accounting Office (GAO), shall be served on the Contracting Officer (addressed as follows) by obtaining written and dated acknowledgment of receipt from

(b)	The copy of any protest shall be received in the office designated above within one day of filing a protest with the GAO.

L.3	QUALIFICATIONS OF OFFERORS

Offerors must be technically qualified and financially responsible to perform the work described in this solicitation.  At a minimum, each Offeror must meet the following requirements:

(1)	Be able to understand written and spoken English;

(2)	Have an established business with a permanent address and telephone listing;

(3) 	Be able to demonstrate prior construction experience with suitable references;

(4)	Have the necessary personnel, equipment and financial resources available to perform the work;

(5)	Have all licenses and permits required by local law;

(6) 	Meet all local insurance requirements;

(7) 	Have the ability to obtain a performance and guarantee bond and a payment bond, or to post adequate performance security, such as irrevocable letters of credit or guarantees issued by a reputable financial institution;

(8)	Have no adverse criminal record; and

(9)	Have no political or business affiliation which could be considered contrary to the interests of the United States.

L.4	REVIEW OF DOCUMENTS

Each Offeror is responsible for:

(1)	Obtaining a complete set of contract drawings and specifications;

(2)	Thoroughly reviewing such documents and understanding their requirements;

(3)	Visiting the project site and becoming familiar with all working conditions, local laws and regulations; and

(4)	Determining that all materials, equipment and labor required for the work are available.

Any ambiguity in the solicitation, including specifications and contract drawings, must be reported immediately to the Contracting Officer.  Any prospective Offeror who requires a clarification, explanation or interpretation of the contract requirements must make a request to the Contracting Officer not less than ten working days before the closing date of the solicitation.  Offerors may rely ONLY upon written interpretations by the Contracting Officer.

L.5	SUBMISSION OF OFFERS

L.5.1	SUMMARY OF INSTRUCTIONS

Each offer shall consist of the following physically separate volumes:

| Volume | Title | No. of Copies* |
| --- | --- | --- |
| I | Executed Standard Form 1442, Solicitation, Offer and Award (Construction, Alteration, or Repair), and completed Section K |  |
| II | Price Proposal and Completed Section B. The price proposal shall include a completed Section J, Attachment 2, “Breakdown of Proposal Price by Divisions of Specifications”. |  |
| III | Performance schedule in the form of a “bar chart” and Business Management/Technical Proposal. |  |

* The total number of copies includes the original as one of the copies.

Submit the complete offer to the address indicated at Block 7 of Standard Form (SF) 1442, if mailed, or the address set forth below, if hand delivered (if this is left blank, the address is the same as that in Block 7 of SF 1442).

__________________________________________________

__________________________________________________

__________________________________________________

__________________________________________________

The offeror shall identify and explain/justify any deviations, exceptions, or conditional assumptions taken with respect to any of the instructions or requirements of this solicitation in the appropriate volume of the offer.

L.5.2	DETAILED INSTRUCTIONS

L.5.2.1		Volume I:  Standard Form (SF) 1442 and Section K. Complete blocks 14 through 20C of the SF 1442 and all of Section K.

L.5.2.2 	Volume II:  Price proposal and Section B.  The price proposal shall consist of completion of Section B and Section J, Attachment 2, "BREAKDOWN OF PROPOSAL PRICE BY DIVISIONS OF SPECIFICATIONS.  Complete all applicable portions of this form in each relevant category (such as., labor, materials, etc.).

L.5.2.3		Volume III:  Performance schedule and Business Management/Technical Proposal.

(a)	Present the performance schedule in the form of a "bar chart" indicating when the various portions of the work will be commenced and completed within the required contract completion schedule.  This bar chart shall be in sufficient detail to clearly show each segregable portion of work and its planned commencement and completion date.

(b)	The Business Management/Technical Proposal shall be in two parts, including the following information:

PROPOSED WORK INFORMATION - Provide the following:

(1)	A list of the names, addresses and telephone numbers of the owners, partners, and principal officers of the Offeror;

(2)	The name and address of the Offeror's field superintendent for this project; and

(3)	A list of the names, addresses, and telephone numbers of subcontractors and principal materials suppliers to be used on the project, indicating what portions of the work will be performed by them.

EXPERIENCE AND PAST PERFORMANCE - List all contracts and subcontracts your company has held over the past three years for the same or similar work.  Provide the following information for each contract and subcontract:

(1)	Customer's name, address, and telephone numbers of customer's lead contract and technical personnel;

(2)	Contract number and type;

(3)	Date of the contract award place(s) of performance, and completion dates;

(4)	Contract dollar value;

(5)	Brief description of the work, including responsibilities;

(6)	Comparability to the work under this solicitation;

(7)	Brief discussion of any major technical problems and their resolution;

(8)	Method of acquisition (fully competitive, partially competitive, or noncompetitive), and the basis for award (cost/price, technical merit, etc.);

(9)	Cost/price management history, including any cost overruns and under runs, and cost growth and changes;

(10)	Percent turnover of contract key technical personnel per year; and

- Any terminations (partial or complete) and the reason (convenience or default)

.

- Identify any accidents or safety concerns that occurred and resolution.

L.6	52.236-27 SITE VISIT (FEB 1995)

(a)	The clauses at 52.236-2, Differing Site Conditions, and 52.236-3, Site Investigations and Conditions Affecting the Work, will be included in any contract awarded as a result of this solicitation.  Accordingly, offerors or quoters are urged and expected to inspect the site where the work will be performed.

(b)	A site visit has been scheduled at APP Busan, at 13:00 p.m., June 29, 2007.

(c)	Participants will meet at the GSO Conference, American Embassy, Seoul, at 10:00 a.m., June 28 2007.

L.7	652.206-70 COMPETITION ADVOCATE/OMBUDSMAN (AUG 1999)

(a)	The Department of State's Competition Advocate is responsible for assisting industry in removing restrictive requirements from Department of State solicitations and removing barriers to full and open competition and use of commercial items. If such a solicitation is considered competitively restrictive or does not appear properly conducive to competition and commercial practices, potential offerors are encouraged to first contact the contracting officer for the respective solicitation. If concerns remain unresolved, contact the Department of State Competition Advocate on (703) 516-1680, by fax at (703) 875-6155, or write to: Department of State, Competition Advocate, Office of the Procurement Executive (A/OPE), Suite 603, SA-6, Washington, DC 20522-0602.

(b)	The Department of State's Acquisition Ombudsman has been appointed to hear concerns from potential offerors and contractors during the preaward and postaward phases of this acquisition. The role of the ombudsman is not to diminish the authority of the contracting officer, the Technical Evaluation Panel or Source Evaluation Board, or the selection official. The purpose of the ombudsman is to facilitate the communication of concerns, issues, disagreements, and recommendations of interested parties to the appropriate Government personnel, and work to resolve them. When requested and appropriate, the ombudsman will maintain strict confidentiality as to the source of the concern. The ombudsman does not participate in the evaluation of proposals, the source selection process, or the adjudication of formal contract disputes. Interested parties are invited to contact the contracting activity ombudsman, An T. Le, Management Counselor at 02-397-4126 (Tel) or 02-397-4392 (fax).   For an American Embassy or overseas post, refer to the numbers below for the Department Acquisition Ombudsman. Concerns, issues, disagreements, and recommendations which cannot be resolved at a contracting activity level may be referred to the Department of

State Acquisition Ombudsman at (703) 516-1680, by fax at (703) 875-6155, or write to: Department of State, Acquisition Ombudsman, Office of the Procurement Executive (A/OPE), Suite 603, SA-6, Washington, DC 20522-0602.

L.8	MAGNITUDE OF CONSTRUCTION PROJECT

It is anticipated that the range in price of this contract will be between $25,000 and $100,000.

L.9	FINANCIAL STATEMENT

If asked by the Contracting Officer, the offeror shall provide a current statement of its financial condition, certified by a third party, that includes:

Income (profit-loss) Statement that shows profitability for the past two (2) years;

Balance Sheet that shows the assets owned and the claims against those assets, or what a firm owns and what it owes; and

Cash Flow Statement that shows the firm’s sources and uses of cash during the most recent accounting period.  This will help the Government assess a firm’s ability to pay its obligations.

The Government will use this information to determine the offeror’s financial responsibility and ability to perform under the contract.  Failure of an offeror to comply with a request for this information may cause the Government to determine the offeror to be nonresponsible.

SECTION M - EVALUATION FACTORS FOR AWARD

M.1	EVALUATION OF PROPOSALS

M.1.1.	GENERAL.  To be acceptable and eligible for evaluation, proposals must be prepared in accordance with Section L - INSTRUCTIONS, CONDITIONS AND NOTICES TO OFFERORS, and must meet all the requirements set forth in the other sections of this solicitation.

M.1.2	BASIS FOR AWARD.

The Government intends to award a contract resulting from this solicitation to the lowest priced, technically acceptable offeror who is a responsible contractor.  The evaluation procedures are set forth below:

(a)	INITIAL EVALUATION.  The Government will evaluate all proposals received to ensure that

each proposal is complete in terms of submission of each required volume, as specified in Section L.  The Government may reject proposals which are missing a significant amount of the required information.

(b)	TECHNICAL EVALUATION. After the Initial Evaluation, the Government will review those proposals remaining for consideration to determine technical acceptability.  The Government will consider the following evaluation criteria in determining the acceptability of the technical proposal.  To be considered technically acceptable, the technical proposal must provide the information requested in Section L and conform to the requirements of the solicitation.

- The Proposed Work Information described in L.5.2.3(b).

- The qualifications and experience of the offeror’s proposed project superintendent and subcontractors.

- Experience and Past Performance (L.5.2.3.(b)).  The Government may contact references to verify the quality of the past performance.

- The performance schedule (bar chart) (Section L.5.2.3.).

- Responses to all other technical requirements contained in the solicitation.

(c)	The Government will make a responsibility determination by analyzing whether the apparent successful offeror complies with the requirements of FAR 9.1, including:

adequate financial resources or the ability to obtain them;

- ability to comply with the required performance period, taking into consideration all existing commercial and governmental business commitments;

- satisfactory record of integrity and business ethics;

- necessary organization, experience, and skills or the ability to obtain them;

- necessary equipment and facilities or the ability to obtain them; and

- be otherwise qualified and eligible to receive an award under applicable laws and regulations.

The Government reserves the right to reject proposals that are unreasonably low or high in price. Unsuccessful offerors will be notified in accordance with FAR 15.5.

M.1.3	AWARD SELECTION

The Government will review the prices of all technically acceptable firms and award the contract to the lowest priced, technically acceptable, responsible offeror.

M.2	AWARD WITHOUT DISCUSSIONS

Under FAR provision 52.215-1 (included in Section L of this RFP), award of this contract may be made based on initial proposals and without holding discussions, following FAR 15.306(a)(3).

M.3	RESERVED

M.4	SEPARATE CHARGES

Separate charges, in any form, are not solicited.  For example, any charges for failure to exercise an option are unacceptable.