Vermont DEC Gas Station ERP Inspector Checklist
VT Agency of Natural Resources, Department of Environmental Conservation, Waste Management Division

103 South Main St., Waterbury, VT 05671-0404.

Telephone: 802-241-3888

Fax: 802-241-3296

# I. Facility Information

| A. Facility Information |
| --- |
| 1. Facility Name | 2. Facility ID | 3. Facility Physical Street Address | 4. Town/City |
| 5. Zip Code | 6. Facility GPS Location | 7. Inspector | 8. Date | 9. Time In | 10. Time Out |
| 11. Who is Tank Permittee? | 12. Does the Facility Have Multiple Tank Owners? |
| ( Owner ( Operator | ( Y ( N A separate checklist is to be filled out for each permittee at a facility. |
| B. Tank Owner Information |
| 1. Tank Owner | 2. Owner Street Address (Mail) | 3. Town/City | 4. State |
| 5. Zip Code | 6. Tank Owner Tel | 7. Tank Owner Contact Person (Corp.) |
| C. Property Owner Information |
| 1. Property Owner | 2. Prop. Owner Street Address (Mail) | 3. Town/City | 4. State |
| 5. Zip Code | 6. Property Owner Tel | 7. Property Owner Contact Person (Corp.) |
| D. Tank Operator Information |
| 1. Tank Operator | 2. Operator Street Address (Mail) | 3. Town/City | 4. State |
| 5. Zip Code. | 6. Tank Operator Tel. | 7. Onsite Representative |
| E. | Tank Information |
| 1 | Total number of permitted tanks (note additional non-permitted tanks in section G.1) |  |
| 2 | Does the facility have a UST permit? | ( Y ( N |
| 3 | Is the current permit posted at the facility? (*note if previous permit posted) | ( Y ( N |
| 4 | Permit expiration date? |  |
| 5 | Is the tank diagram posted? | ( Y ( N |
| 6 | Is the tank diagram accurate? | ( Y ( N |
| 7 | Is the diagram visible from the tank pad? | ( Y ( N |
| 8 | Does the facility have a green sticker? | ( Y ( N |
| 9 | Is the green sticker visible from the tank pad? | ( Y ( N |
| F. | Facility Information Section Notes |
| 1 | Notes: |

# II. Underground Storage Tank System Profile

| A. | Status of Tank and Piping | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| --- | --- | --- | --- | --- | --- |
| 1 | Tank unique identifier |  |  |  |  |
| 2 | Is the tank currently in use? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 3 | Is the tank temporarily closed? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 4 | If yes, what is the date of temporary closure? |  |  |  |  |
| 5 | Is the tank permitted? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 6 | When was the tank installed? |  |  |  |  |
| 7 | When was the piping installed? |  |  |  |  |
| 8 | Is the tank manifolded? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 9 | To how many tanks is it manifolded? |  |  |  |  |
| 10 | To which tank(s) is it manifolded? |  |  |  |  |
| 11 | Does the tank have more than one compartment? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 12 | How many compartments does the overall tank have? |  |  |  |  |
| 13 | Which other tanks are compartments of the same overall tank? |  |  |  |  |
| 14 | What is the tank capacity (in gallons)? |  |  |  |  |
| 15 | What is the product stored in the tank? | ( 2/4 ( 5/6 ( GS ( DZ | ( KR ( UO ( CH ( O | ( 2/4 ( 5/6 ( GS ( DZ | ( KR ( UO ( CH ( O | ( 2/4 ( 5/6 ( GS ( DZ | ( KR ( UO ( CH ( O | ( 2/4 ( 5/6 ( GS ( DZ | ( KR ( UO ( CH ( O |
| 16 | If other, please specify: |  |  |  |  |
| B. | Tank Type |  |  |  |  |
| 1 | Please specify the construction type for each tank. [Check all that apply.] | ( SW ( DW ( P ( PFRP ( PFCS | ( PECS ( PIC ( PL ( PLIC ( O | ( SW ( DW ( P ( PFRP ( PFCS | ( PECS ( PIC ( PL ( PLIC ( O | ( SW ( DW ( P ( PFRP ( PFCS | ( PECS ( PIC ( PL ( PLIC ( O | ( SW ( DW ( P ( PFRP ( PFCS | ( PECS ( PIC ( PL ( PLIC ( O |
| 2 | If other, please specify: |  |  |  |  |
| C. | Piping Type | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Please specify the construction type for each piping run. [Check all that apply.] | (ABGD (NONE ( PCC (PFLX (PFRP | (PFTC (PIC (SW (DW (O | (ABGD (NONE ( PCC (PFLX (PFRP | (PFTC (PIC (SW (DW (O | (ABGD (NONE ( PCC (PFLX (PFRP | (PFTC (PIC (SW (DW (O | (ABGD (NONE ( PCC (PFLX (PFRP | (PFTC (PIC (SW (DW (O |
| 2 | If other, please specify: |  |  |  |  |
| 3 | What is the product dispensing method? | ( S | ( P ( O | ( S | ( P ( O | ( S | ( P ( O | ( S | ( P ( O |
| 4 | If other, please specify: |  |  |  |  |
| D. | Tank Repair History | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Has the tank ever been repaired? | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk |
| 2 | Date tank was last repaired |  |  |  |  |
| 3 | Was DEC notified of this repair? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 4 | Specify what type of repair was performed |  |  |  |  |
| E. | Piping Repair History | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Has the piping ever been repaired? | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk |
| 2 | Date piping was last repaired |  |  |  |  |
| 3 | Was DEC notified of this repair? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 4 | Specify what type of repair was performed |  |  |  |  |
| 5 | Notes: |

# III. Temporarily Closed Tanks

| A. | Compliance for Temporarily Closed Tanks [except corrosion protection, covered in other sections] | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| --- | --- | --- | --- | --- | --- |
| 1 | Does the tank contain less than 1" of product? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | Are all other lines, pumps, manways and ancillary equipment secured? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 3 | Has the DEC been notified of the temporary closure? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 4 | Date tank was temporarily closed |  |  |  | N |
| 5 | Notes: |

# IV. Tank Cathodic Protection

| A | Sacrificial anodes | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| --- | --- | --- | --- | --- | --- |
| 1 | Were sacrificial anodes factory-installed with the UST? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | Were supplemental anodes field-installed at a later date? | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk |
| 3 | When did the field installation take place? |  |  |  |  |
| 4 | Was installation completed by a qualified professional? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 5 | Was the protection system tested within the last 3 years? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 6 | When was the most recent test? |  |  |  |  |
| 7 | Which company conducted the most recent system test? |  |  |  |  |
| 8 | Did protection system pass its most recent test? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 9 | If repaired, was the system tested within 6 months of the repair? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 10 | Notes: |
| B. | Impressed current cathodic protection(ICCP) | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | When was the ICCP system installed? |  |  |  |  |
| 2 | Does the ICCP system operate continuously? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 3 | Was the rectifier inspected and readings recorded every 60 days? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 4 | When was the most recent system inspection? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 5 | Do records indicate adequate protection? |  |  |  |  |
| 6 | Was the ICCP system tested within the last 3 years? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 7 | When was the most recent ICCP system test? |  |  |  |  |
| 8 | Which company conducted the most recent test? |  |  |  |  |
| 9 | Did the protection system pass its most recent test? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 10 | If repaired, was the protection system tested within 6 months of the repair? | ( Y ( N ( Unk | ( Y ( N | ( Y ( N | ( Y ( N |
| 11 | Notes: |
| C. | Interior Liner | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | When was the tank lined? |  |  |  |  |
| 2 | Was the tank liner inspection within the last 10 years? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 3 | Date of the most recent liner inspection? |  |  |  |  |
| 4 | Did the tank pass its most recent liner inspection? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 5 | Notes: |

# V. Piping Cathodic Protection

| A. | Sacrificial Anodes | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| --- | --- | --- | --- | --- | --- |
| 1 | Were sacrificial anodes originally field-installed with the piping? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | Were supplemental anodes field-installed at a later date? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 3 | When did the supplemental installation take place? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 4 | Were the original and supplemental installation performed by a qualified professional? |  |  |  |  |
| 5 | Was the protection system tested within the last 3 years? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 6 | When was the most recent test? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 7 | Which company conducted the most recent system test? |  |  |  |  |
| 8 | Did the protection system pass its most recent test? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 9 | If repaired, was the protection system tested within 6 months of the repair? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 10 | Notes |
| B. | Impressed current cathodic protection (ICCP) | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | When was the ICCP system installed? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | Does the ICCP system operate continuously? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 3 | Was the rectifier inspected and readings recorded within the last 60 days? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 4 | When was the most recent system inspection? |  |  |  |  |
| 5 | Do records indicate adequate protection? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 6 | Was the ICCP system tested within the last 3 years? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 7 | When was the most recent ICCP system test?? |  |  |  |  |
| 8 | Which company conducted the most recent test? |  |  |  |  |
| 9 | Did the system pass its most recent test? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 10 | If repaired, was the protection system tested within 6 months of the repair? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 11 | Notes: |
| C. | Ancillary Equipment Corrosion Protection | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | What other equipment is in contact with soils? [Check all that apply.] | ( FC ( SJ ( PH | ( VR O Unk | ( FC ( SJ ( PH | ( VR O Unk | ( FC ( SJ ( PH | ( VR O Unk | ( FC ( SJ ( PH | ( VR O Unk |
| 2 | If other, please specify: |  |  |  |  |
| 3 | Is any of the additional equipment metallic? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 4 | Is all metal equipment protected from corrosion or isolated from contacting the earth? | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk |
| 5 | Please note all methods of complying with corrosion protection standards for ancillary equipment [Check all that apply.] | ( ISO ( ICCP | ( SACP ( O ( Unk | ( ISO ( ICCP | ( SACP ( O ( Unk | ( ISO ( ICCP | ( SACP ( O ( Unk | ( ISO ( ICCP | ( SACP ( O ( Unk |
| 6 | If Other, please specify: |  |  |  |  |
| 7 | Notes: |

# VI. Tank Leak Detection

| A. | Leak Detection System Status | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| --- | --- | --- | --- | --- | --- |
| 1 | What kind of leak detection does the tank have? [Check all that apply] | ( ALT ( Ie ( Im ( ATG | ( MTG ( VAP ( GWM ( O (specify) | ( ALT ( Ie ( Im ( ATG | ( MTG ( VAP ( GWM ( O (specify) | ( ALT ( Ie ( Im ( ATG | ( MTG ( VAP ( GWM ( O (specify) | ( ALT ( Ie ( Im ( ATG | ( MTG ( VAP ( GWM ( O (specify) |
| 2 | If other, please specify: |  |  |  |  |
| 3 | Notes: |
| B. | Electronic Interstitial Monitoring(Ie) | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Provide make of system |  |  |  |  |
| 2 | Provide model type/number of system |  |  |  |  |
| 3 | When was the system installed? |  |  |  |  |
| 4 | Do records indicate that the system has been monitored weekly over the past year? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 5 | Do records indicate that the monitoring system been inspected in the past year? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 6 | What was the date of the inspection? |  |  |  |  |
| 7 | Which company conducted the inspection? |  |  |  |  |
| 8 | Is the monitoring system currently operating? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 9 | Was sensor operation and installation verified during the inspection? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 10 | Was the sensor installed at the lowest portion of the secondary containment sump? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 11 | If the sensor operation was verified, did the monitoring console express an alarm condition? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 12 | Does the self-test button indicate that the monitor is working correctly? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 13 | Does the system status indicate any problems? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 14 | Is system in alarm mode? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 15 | If yes, what was the Problem / Alarm? |  |  |  |  |
| 16 | Notes: |
| C. | Manual Interstitial Monitoring (Im) | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Do records indicate that the system has been monitored weekly over the past year? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 2 | Was the interstice monitoring port readily accessible? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 3 | Was monitoring equipment available at the facility? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 4 | Results of monitoring during inspection: | ( Prod ( H2O | ( Dry | ( Prod ( H2O | ( Dry |
| 5 | Notes: |
| D. | Automatic Tank Gauge (ATG) | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Provide make of system? |  |  |  |  |
| 2 | Provide model type/number of system? |  |  |  |  |
| 3 | When was the ATG installed? |  |  |  |  |
| 4 | Do records indicate the ATG system was inspected in the past year? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 5 | When was the inspection performed? |  |  |  |  |
| 6 | Which company conducted the inspection? |  |  |  |  |
| 7 | Is the equipment capable of at least 0.2 GPH accuracy? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 8 | Do records indicate that the ATG has been used to conduct at least one 0.2 gallon/hour leak rate test weekly? [If yes, see items below.] | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 9 | When was the most recent test? |  |  |  |  |
| 10 | Did the tank pass the most recent 0.2 GPH test? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 11 | Do records indicate that weekly 0.2 GPH tests have been conducted over last year? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 12 | Notes: |
| E. | Inventory Control | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Is the measuring equipment used capable of measuring to the nearest 1/8" over the entire height of the tank? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | Do records indicate that all data are reconciled at least once every 30 days? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 3 | Do records indicate that inventory and dispenser readings are taken every day that product is added or removed from the tank? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 4 | Do records indicate that inventory and dispenser readings are reconciled at least once on each day that fuel is added to or removed from the tank? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 5 | Do records indicate that inventory readings are taken before and after each fuel delivery? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 6 | Do records indicate that fuel deliveries are reconciled with delivery receipts by taking inventory readings before and after each delivery? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 7 | Are records available for the last 12 months of inventory control? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 8 | Do records indicate that 1% flow-through plus 130 gallons variance is calculated? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 9 | If so, has the variance exceeded two consecutive months over the last 12 months? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 10 | If yes, has DEC been notified? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 11 | Do records indicate that water in the tank is measured at least once every 30 days? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 12 | Notes: |
| F. | Manual Tank Gauge | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Is the gauge stick accurate to 1/8"? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | Do records indicate that measurement is taken to 1/8" accuracy? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 3 | Do records indicate that measurements are taken before and after the required idle period? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 4 | Is the tank idle for at least 36 hours once a week for liquid level measurements? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 5 | Does the most recent gauging event indicate a suspected release? |  |  |  |  |
| 6 | Is the average of four weekly gauging events reconciled once a month? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 7 | Notes: |  |  |  |  |
| G. | Alternate Methods | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Is the alternate method approved by DEC? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | Is the alternate method capable of detecting leaks? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 3 | Are there sufficient records to indicate consistent leak detection? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 4 | Notes: |

# VII. Piping Leak Detection

| A. | Leak Detection System Status | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| --- | --- | --- | --- | --- | --- |
| 1 | What kind of leak detection does the piping have?. | ( 3LT ( ALT ( Ie ( Im ( LLD | ( V ( VAP ( GWM ( O | ( 3LT ( ALT ( Ie ( Im ( LLD | ( V ( VAP ( GWM ( O | ( 3LT ( ALT ( Ie ( Im ( LLD | ( V ( VAP ( GWM ( O | ( 3LT ( ALT ( Ie ( Im ( LLD | ( V ( VAP ( GWM ( O |
| 2 | Notes: |
| B. | Pressurized Piping (Double-Walled) | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Is interstitial monitoring used to check for leaks? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | Is monitoring conducted continuously or weekly | ( Cont ( Week | ( Cont ( Week | ( Cont ( Week | ( Cont ( Week |
| 3 | Is monitoring conducted electronically or manually? | ( Elec ( Man | ( Elec ( Man | ( Elec ( Man | ( Elec ( Man |
| 4 | If electronic, provide make of monitoring system. |  |  |  |  |
| 5 | Provide model of monitoring system. |  |  |  |  |
| 6 | Are the secondary containment sumps (sumps) free of water, debris, and product? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 7 | If no, describe: |  |  |  |  |
| 8 | Do the sumps appear to have integrity? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 9 | If no, describe |  |  |  |  |
| 10 | If manual monitoring in conducted, has a monitoring log been used to record monitoring events? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 11 | Does monitoring log accurately reflect the conditions observed during inspection? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 12 | If electronic, are the sumps equipped with sensors for continuous monitoring? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 13 | Are the sensors upright and set at correct height? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 14 | Are the sensors functioning properly? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 15 | Are all entries (boots) sealed to prevent infiltration of water or release of product? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 16 | Is the secondary piping test boost disconnected? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 17 | If electronic, has the monitoring system been inspected or repaired within the past 12 months? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 18 | Are records available of system inspections or repairs? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 19 | When was the last inspection performed? |  |  |  |  |
| 20 | Which company performed the work? |  |  |  |  |
| 21 | Is the submersible turbine pump (STP) equipped with a automatic line leak detector (LLD)? |  |  |  |  |
| 22 | Was a LLD test conducted within the last year? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 23 | When was the most recent LLD test conducted? |  |  |  |  |
| 24 | Are records available for that LLD test? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 25 | Do records indicate a passing test result? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 26 | If no, was the LLD replaced? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 27 | If yes, was the replacement LLD tested? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 28 | Which company conducted the test? |  |  |  |  |
| 29 | Notes: |
| C. | Containment Sumps (intermediary or dispenser) | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | How many additional containment sumps does the system have? (note if dispenser sumps). |  |  |  |  |
| 2 | Are the sumps required to be monitored? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 3 | Is monitoring conducted continuously or weekly | ( Cont ( Week | ( Cont ( Week | ( Cont ( Week | ( Cont ( Week |
| 4 | Is monitoring conducted electronically or manually? | ( Elec ( Man | ( Elec ( Man | ( Elec ( Man | ( Elec ( Man |
| 5 | If electronic, provide make of monitoring system. |  |  |  |  |
| 6 | Provide model of monitoring system. |  |  |  |  |
| 7 | Are the secondary containment sumps (sumps) free of water, debris, and product? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 8 | If no, describe: |  |  |  |  |
| 9 | Do the sumps appear to have integrity? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 10 | If no, describe |  |  |  |  |
| 11 | If manual monitoring in conducted, has a monitoring log been used to record monitoring events? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 12 | Does monitoring log accurately reflect the conditions observed during inspection? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 13 | If electronic, are the sumps equipped with sensors for continuous monitoring? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 14 | Are the sensors upright and set at correct height? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 15 | Are the sensors functioning properly? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 16 | Are all entries (boots) sealed to prevent infiltration of water or release of product? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 17 | Is the secondary piping test boost disconnected? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 18 | Notes: |  |  |  |  |
| D. | Pressurized Piping (Single-Walled) | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Has an annual tightness test been conducted for this piping run? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | When was the most recent tightness test conducted? |  |  |  |  |
| 3 | Are records available for that tightness test? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 4 | Do records indicate a passing test result? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 5 | Which company conducted the most recent tightness test? |  |  |  |  |
| 6 | Is the submersible turbine pump (STP) equipped with a automatic line leak detector (LLD)? |  |  |  |  |
| 7 | Was a LLD test conducted within the last year? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 8 | When was the most recent LLD test conducted? |  |  |  |  |
| 9 | Are records available for that LLD test? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 10 | Do records indicate a passing test result? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 11 | If no, was the LLD replaced? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 12 | If yes, was the replacement LLD tested? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 13 | Which company conducted the LLD test? |  |  |  |  |
| 14 | Notes: |  |  |  |  |
| E. | Exempt Suction Piping | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Are vertical check valves installed only at the dispenser end of each piping run? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | Does each piping run slope 1/8" per 1.0' from the dispenser to the tank? | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk |
| 3 | Notes: |  |  |  |  |
| F. | Non-Exempt Suction Piping | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Do records indicate that at least one tightness test has been conducted? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 2 | When was the most recent tightness test? |  |  |  |  |
| 3 | Which company conducted the most recent tightness test? |  |  |  |  |
| 4 | Did the piping run pass the test? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 5 | Do records indicate a tightness test was performed in the last 3 years? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 6 | Are passing results available for the most recent test? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 7 | Is interstitial monitoring used continuously to check for leaks? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 8 | Are records available of system checks within the past 12 months? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 9 | Are records available of system repairs within the past 12 months? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 10 | Has the continuous monitoring system been inspected in the past year? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 11 | When was the most recent calibration inspection? |  |  |  |  |
| 12 | Which company conducted the most recent calibration inspection? |  |  |  |  |
| 13 | Notes: |
| G. | Alternate Methods | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Is the alternate method capable of detecting leaks? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | Are sufficient records kept to indicate consistent leak detection? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 3 | Is alternate method approved by DEC? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |

# VIII. Spill and Overfill Prevention

| A. | Spill Containment | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| --- | --- | --- | --- | --- | --- |
| 1 | Is the tank equipped with a spill containment manhole (i.e., a spill bucket)? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | If yes, what is the size of the spill bucket (in gallons)? |  |  |  |  |
| 1 | Is the device currently operational (i.e., free of cracks, holes, water, debris, and product)? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | Is each spill bucket surrounded by impervious surface? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 4 | Do records show that spill buckets are inspected for wear, cracks, holes, water, debris, and product at every delivery? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 5 | Is waste from spill buckets handled properly? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 6 | Are all fill pipes permanently labeled to identify the substance stored? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 7 | Are all fill box covers permanently labeled to identify the substance stored? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 8 | Is the tank equipped with a submerged fill drop tube? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 9 | Are drop tubes intact (coaxial only)? | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk |
| 10 | Does the drop tube end within 6” of tank bottom? | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk |
| 11 | Notes: |
| B. | Overfill Protection | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Do tanks have at least one method of overfill protection that is operating properly? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | What overfill device or method does each tank have? [Check all that apply] | Overfill alarm Automatic shutoff device Ball float valve Vent whistle Measurement Other | Overfill alarm Automatic shutoff device Ball float valve Vent whistle Measurement Other | Overfill alarm Automatic shutoff device Ball float valve Vent whistle Measurement Other | Overfill alarm Automatic shutoff device Ball float valve Vent whistle Measurement Other |
| 3 | If other, please specify: |  |  |  |  |
| 4 | Did a qualified UST contractor check each overfill protection device to make sure it functions correctly within the last 12 months? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 5 | Notes: |
| C. | Overfill Alarm | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Is the overfill device set to go off when the tank is 90% full or 1 minute before overfill? | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk |
| 2 | Is the alarm audible and visible to the delivery person? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 3 | Notes: |
| D. | Automatic Shutoff Device | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Is the device set to automatically shut off the delivery when the tank is 95% full or before fittings are exposed to fuel? | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk |
| 2 | Notes: |
| E. | Ball Float Valve | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Is the ball float valve set to restrict product flow when the tank is 90% full or at least 30 minutes prior to overfill? | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk |
| 2 | Notes: |
| F. | Vent Whistle | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Is the vent alarm set to activate at 90% tank capacity? | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk | ( Y ( N ( Unk |
| 2 | Notes: |
| G. | Measurement |
| 1 | Do records indicate that regular and sufficient measurements are conducted to avoid overfill? | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR | ( Y ( N ( NR ( RR |
| 2 | Notes: |

# IX. Stage I and II Vapor Recovery

| A. | Vapor Recovery Status |
| --- | --- |
| 1 | Is Stage I vapor recovery installed at this facility? | ( Y ( N |
| 2 | Type of Stage I vapor recovery system: | ( Coaxial ( Dual point |
| 1 | Did gasoline throughput of the facility exceed 400,000 gallons over the last calendar year | ( Y ( N |
| 2 | Was it the first time throughput exceeded 400,000 gallons? | ( Y ( N |
| 3 | How many gasoline vent pipes are at this facility? |  |
| 4 | How many gasoline dispensers are at this facility? |  |
| 5 | How many gasoline nozzles are at this facility? |  |
| 6 | Does the facility receive all gasoline deliveries from account trucks? | ( Y ( N ( Unk |
| B. | Stage I Vapor Recovery Equipment Condition | Tank #1 | Tank #2 | Tank #3 | Tank #4 |
| 1 | Are swivel/rotatable fill adapters installed? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 2 | Are locking clamps installed? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 3 | Are adapters and locking clamps tight? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 4 | Do all fill caps make a tight seal on the fill adaptor (i.e., fill cap can't be rotated by hand)? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 5 | Does vapor adapter/poppet valve close tight (free from vapor releases)? [Dual-point systems] | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 6 | Does poppet cap move easily? [Dual-point systems] | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 7 | Is the vapor cover in good condition? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 8 | Is the vapor cover color-coded orange? | ( Y ( N | ( Y ( N | ( Y ( N | ( Y ( N |
| 9 | Are pressure/vacuum (P/V) vent valves installed on all gasoline UST vents at the facility? | ( Y ( N |
| 10 | If no, identify the number of vents without proper valves |  |
| 11 | Are there any signs that the P/V vent valves are not intact? | ( Y ( N |
| 12 | Is the pressure setting visible on any of the valves? | ( Y ( N |
| 13 | If yes, is the pressure setting correct for those valves? | ( Y ( N |
| 14 | If any vents have P/V valve compliance issues, please note which vents have issues. |  |
| C. | Stage II Vapor Recovery Status |
| 1 | Is Stage II vapor recovery required at the facility? | ( Y ( N |
| 2 | Is Stage II vapor recovery installed? | ( Y ( N |
| 3 | Which type of Stage II system is installed? [check all that apply] | Vapor Balance Vacuum Assist |
| 4 | If vacuum assist is installed, which manufacturer made the system? [check all that apply] | Gilbarco Wayne Vac Healy Other |
| 5 | If other, please specify: |  |
| D. | Stage II Vapor Recovery Performance |  |
| 1 | Are instructions for the proper dispensing of gasoline with the Stage II system, including a warning not to top off, displayed in a conspicuous location? | ( Y ( N |
| 2 | Are all nozzles CARB certified? | ( Y ( N ( RN |
| 3 | If no, how many nozzles are not CARB certified? |  |
| 5 | Are all hoses CARB certified? | ( Y ( N ( RN |
| 6 | If no, how many hoses are not CARB certified? |  |
| 8 | Are all breakaways CARB certified? | ( Y ( N ( RN |
| 9 | If no, how many breakaways are not CARB certified? |  |
| 11 | Are all face plates/vapor escape guards intact? | ( Y ( N |
| 12 | If no, how many face plates/vapor guards are not intact? |  |
| 13 | Are all hoses intact? | ( Y ( N |
| 14 | If no, how many hoses are not intact? |  |
| 15 | Are all hose retractors intact (vapor balance)? | ( Y ( N |
| 16 | If no, how many hose retractors are not intact? |  |
| 17 | Are nozzle spouts tight? | ( Y ( N |
| 18 | If no, how many nozzle spouts are not tight? |  |
| 19 | Are all nozzle bellows intact (vapor balance)? | ( Y ( N |
| 20 | If no, how many nose bellows are not intact? |  |
| 21 | Are all clamps in place on bellows (vapor balance)? | ( Y ( N |
| 22 | If no, how many bellows do not have clamps in place? |  |
| 23 | Are all hoses prevented from contact with the ground (vapor balance)? | ( Y ( N |
| 24 | If no, how many hoses are not prevented from contact with the ground? |  |
| 25 | Are all loops a 10" loop or less (vapor balance)? | ( Y ( N |
| 26 | If no, how many loops are not 10" or less? |  |
| 27 | Are any nozzles out of service or tagged out? | ( Y ( N |
| 28 | If yes, how many nozzles are out of service or tagged out? |  |
| 29 | Notes: [e.g., specific items that have problems]: |
| C. | Stage II Vapor Recovery Training, Inspections and Recordkeeping |
| 1 | Do records indicate that the Stage II system is visually inspected every week? | ( Y ( N |
| 2 | What is the date of the most recent visual system inspection? | ( Y ( N |
| 3 | Are records of the last 52 weeks of Stage II system visual inspections maintained at the facility? | ( Y ( N ( NR ( RR |
| 4 | Is there evidence that defective parts of the Stage II systems found during weekly inspections were removed from service until they were repaired or replaced? | ( Y ( N |
| 5 | Are records of repairs kept for at least 3 years? | ( Y ( N ( NR ( RR |
| 6 | Has annual maintenance been performed this calendar year? | ( Y ( N ( NR |
| 7 | If yes, was it conducted on or before May 15? | ( Y ( N |
| 8 | Has a pressure decay test been performed this calendar year? | ( Y ( N ( NR |
| 9 | If yes, was it conducted on or before May 15? | ( Y ( N |
| 10 | If yes, was the test successful? | ( Y ( N |
| 11 | If no, do records indicate a more recent successful test has been conducted? | ( Y ( N |
| 12 | Has APCD received an annual maintenance form or pressure decay test report from the facility? | ( Y ( N |
| 13 | If yes, was it received on or before June 15 of this calendar year? | ( Y ( N |
| D. | Stage II Vapor Recovery Testing |
| 1 | Do records indicate a pressure decay test performed within the last 5 years? | ( Y ( N ( NR ( RR |
| 2 | Do records indicate a 10-gallon per minute test performed within the last 5 years? | ( Y ( N ( NR ( RR |
| 3 | Do records indicate air to liquid ratio test performed within the last 5 years (only relevant for vacuum assist systems)? | ( Y ( N ( NR ( RR |
| 4 | Is there a record of the last Stage II system re-test? | ( Y ( N ( NR ( RR |
| 5 | If yes, what is the date of the last Stage II system re-test? | ( Y ( N |
| 6 | Have there been any modifications or incidents at the facility since the last test that might require re-testing of the Stage II system? [Check all that apply.] | New dispenser Replaced dispenser Stage II system change | UST repair UST replacement | Underground piping repair Underground piping replacement | Significant damage to any Stage II component Other |
| 7 | If other, please specify: |
| 8 | Notes: |

# X. Underground Injection Control

| A. | UIC Status |  |
| --- | --- | --- |
| 1 | Does the facility have a floor drain? | ( Y ( N |
| B. | UIC Management |  |
| 1 | Is there an oil/water separator in the floor drain? | ( Y ( N |
| 2 | Is vehicle or machine maintenance performed near the floor drain? | ( Y ( N |
| 3 | Does vehicle or machine washing occur near the floor drain? | ( Y ( N |
| 4 | Are chemicals stored near the floor drain? | ( Y ( N |
| 5 | If yes, are chemicals surrounded by secondary containment? | ( Y ( N |
| 6 | Do signs near the floor drain explain prohibition on discharges of chemicals and vehicle fluids into the floor drain? | ( Y ( N |
| 7 | Does the facility appear equipped for dry cleanup of spills? | ( Y ( N |
| C. | UIC Discharges and Permitting |  |
| 1 | Does the floor drain discharge on site? (e.g., drywell, septic system) | ( Y ( N |
| 2 | Does the floor drain discharge to the environment? (e.g., daylight, surface waters, swale, stormwater detention pond, or neighbor’s property) | ( Y ( N |
| 3 | Does the floor drain discharge to a holding tank? | ( Y ( N |
| 4 | Does the floor drain discharge to municipal sewer? | ( Y ( N |
| 5 | If yes, does the facility have a wastewater permit? | ( Y ( N |
| 6 | What is the permit number? |  |
| 7 | Is the discharge from the floor drain registered with the UIC program? | ( Y ( N |
| D. | UIC Notes |  |
| 1 | Notes: |

# XI. Hazardous Fuel-Contaminated Waste

| A. | Hazardous Fuel-Contaminated Waste Generation Information |  |
| --- | --- | --- |
| 1 | What is the facility's hazardous waste generator status? | ( CEG ( SQG ( LQG |
| 2 | What is the facility’s generator ID number? |  |
| 3 | Does the facility use the fuel-to-fuel exemption for any of its fuel-contaminated waste? | ( Y ( N |
| 4 | How much hazardous fuel-contaminated waste did the facility generate in the previous 12 months (in pounds)? |  |
| 5 | Does the facility generate any kinds of hazardous waste besides fuel-contaminated waste? [check all that apply] | ( S ( A ( P ( O ( J |
| 6 | If other, please specify: |
| 7 | Does the facility generate used oil? | ( Y ( N |
| 8 | If yes, does the facility mix used oil with hazardous waste? | ( Y ( N |
| B. | Hazardous Fuel-Contaminated Waste Determination and Separation |  |
| 1 | Has the facility correctly determined which wastes are hazardous fuel-contaminated wastes? [I.e., spill bucket/sump wastes; tank bottoms; surface spills; and rags, absorbents and spill cleanup materials.] |  |
| C. | Hazardous Fuel-Contaminated Waste Storage |  |
| 1 | Does the facility store all fuel-contaminated wastes under cover (i.e., protected from precipitation)? | ( Y ( N |
| 2 | Does the facility store all fuel-contaminated waste on impervious surfaces? | ( Y ( N |
| 3 | Does the facility close all fuel-contaminated waste containers when not in use? | ( Y ( N |
| 4 | Does the facility protect all fuel-contaminated waste from freezing? | ( Y ( N |
| 5 | Does the facility store all fuel-contaminated wastes in containers or tanks that are in good condition (i.e., no leaks or risk of leaks)? | ( Y ( N |
| D. | Hazardous Fuel-Contaminated Waste Disposal |  |
| 1 | Do records indicate that the facility disposes of all fuel-contaminated waste to authorized facilities? | ( Y ( N ( NR ( RR |
| E. | Hazardous Fuel-Contaminated Waste Training |  |
| 1 | Have employees been trained in fuel-contaminated waste handling? | ( Y ( N |
| F. | Hazardous Fuel-Contaminated Waste Notes |  |
| 1 | Notes: |  |

# XII. Spills and Releases

| A. | Spill Equipment and Training |  |
| --- | --- | --- |
| 1 | Does the facility have spill equipment on hand? | ( Y ( N |
| 2 | Does the facility have stickers with DEC emergency spill number posted? [BMP] | ( Y ( N |
| 3 | Have employees been trained on how to deal with spills? | ( Y ( N |
| B. | Releases |  |
| 1 | Is there evidence (physical, visual, or verbal) of fire, explosion, spill or other release? | ( Y ( N |
| 2 | What was released? | Hazardous fuel-contaminated waste Fuel Used oil Universal waste Other |
| 3 | If other, please specify: |
| 4 | What is the evidence? |  |
| 5 | Has the facility reported any release? | ( Y ( N |
| 6 | Notes: |  |

# XIII. Additional Information

| A | Additional Notes: |
| --- | --- |

# XIV. Certification of Inspection

I hereby certify that on this date the undersigned inspector visited this facility.

Contact's Signature: ________________________ 	Date________________________

Inspector's Signature: _______________________	Date________________________

# Comments

Key:

Fuel Oil (24)

Fuel Oil (56)

Alcohol Blends (AL)

Diesel (DZ)

Gasoline (GS)

Kerosene (KR)

Used Oil (UO)

Other (O)

Key:

Protected Steel (P)

Protected Steel within Concrete Vault (PVC)

Polyethylene Jacketed Steel Tank (PECS)

Fiberglass Jacketed Steel Tank (PFCS)

Fiberglass Secondarily Contained within Liner (PFL)

Fiberglass Reinforced Plastic (PFRP)

Protected Fiberthane Steel Tank (PFT)

Steel with Impressed Current (PIC)

Protected Steel Fiberglass Lined (PL)

Lined Steel Tank with Impressed Current (PLIC)

Unprotected Steel (U)

Other (O)

Note: program anticipates pre-populating these fields from the database before inspection.

Key:

Aboveground and Underground (A/U)

Aboveground (ABGD)

Copper (COP)

No Piping (NONE)

Protected Steel (P)

Protected Single-Wall, Part Steel Part Fiberglass (P/FR)

Plastic Coated Copper (PCC)

Fiberglass Secondarily Contained within Liner (PFL)

Secondarily Contained Flexible Piping (PFLX)

Fiberglass Reinforced Plastic (PFRP)

Fiberglass Primary Total Containment Secondary (PFTC)

Steel with Impressed Current (PIC)

Other (O)

Note: program anticipates pre-populating these fields from the database before inspection.

Note: gravity piping and aboveground piping are exempt from leak detection requirements.

Key:

Suction (S)

Gravity (G)

Pressure (P)

Other (O)

EBPI CONTRIBUTOR: CORROSION PROTECTION SYSTEM IS PROPERLY OPERATED AND MAINTAINED (PIPING ALSO A CONTRIBUTOR).

EBPI CONTRIBUTOR: CORROSION PROTECTION SYSTEM IS PROPERLY OPERATED AND MAINTAINED (TANK ALSO A CONTRIBUTOR).

Key:

Flexible connectors (FC)

Swing joints (SJ)

Pump heads (PH)

Vertical Risers (VR)

Other (O)

Key:

Isolated from Contacting the Earth (ISO)

Impressed Current Cathodic Protection (ICCP)

Sacrificial Anode Corrosion Protection (SACP)

Fiberglass Reinforced Plastic (FRP)

Other (O)

EBPI CONTRIBUTOR #1: RELEASE DETECTION SYSTEM OPERATING PROPERLY (PIPING ALSO A CONTRIBUTOR).

EBPI CONTRIBUTOR #2: RECORDS OF RELEASE DETECTION MONITORING ARE MAINTAINED AND AVAILABLE (PIPING ALSO A CONTRIBUTOR).

Key:

Three year line test (3LT)

Annual line tightness test (ALT

Interstitial (I)

Interstitial electronic (Ie)

Interstitial manual (Im)

In-tank monitor (ITM)

Line leak detector tested annually (LLD)

Tightness test (m/yr)

Manual tank gauging (MTG)

Statistical inventory reconciliation (SIR)

Temporarily out of service (TOOS)

Vertical check valve (V)

Vapor monitoring well (VAP)

Visual monitoring (VIS)

Other (O)

EBPI CONTRIBUTOR: RELEASE DETECTION METHOD PRESENT (PIPING ALSO A CONTRIBUTOR).

Key:

Product detected (Prod)

Water detected (H2O)

No liquid (NL)

Required for single-wall units.

Manual tank gauging is allowed as the sole method of leak detection only for tanks that hold 550 gallons or less.

EBPI CONTRIBUTOR #1: RELEASE DETECTION SYSTEM OPERATING PROPERLY (TANK ALSO A CONTRIBUTOR)

EBPI CONTRIBUTOR #2: RECORDS OF RELEASE DETECTION MONITORING ARE MAINTAINED AND AVAILABLE (TANK ALSO A CONTRIBUTOR)

Key:

Three year line test (3LT)

Annual line tightness test (ALT

Interstitial (I)

Interstitial electronic (Ie)

Interstitial manual (Im)

In-tank monitor (ITM)

Line leak detector tested annually (LLD)

Tightness test (m/yr)

Manual tank gauging (MTG)

Statistical inventory reconciliation (SIR)

Temporarily out of service (TOOS)

Vertical check valve (V)

Vapor monitoring well (VAP)

Visual monitoring (VIS)

Other (O)

Note: program anticipates pre-populating these fields from the database before inspection.

Note: gravity piping and aboveground piping are exempt from leak detection requirements.

EBPI CONTRIBUTOR: RELEASE DETECTION METHOD PRESENT (TANKS ALSO A CONTRIBUTOR).

0 is acceptable

EBPI CONTRIBUTOR: SPILL PREVENTION DEVICE PRESENT AND FUNCTIONAL.

Common sizes are 5, 10, and 25. Spill buckets must hold a minimum of 5 gallons.

EBPI CONTRIBUTOR: SPILL PREVENTION DEVICE PRESENT AND FUNCTIONAL.

EBPI CONTRIBUTOR: SPILL PREVENTION DEVICE PRESENT AND FUNCTIONAL.

EBPI CONTRIBUTOR: SPILL PREVENTION DEVICE PRESENT AND FUNCTIONAL.

Denting is a concern for coaxial drop tubes only.

Air emissions reduced if Yes.

Required for tanks receiving more than 25 gallons at a time

EBPI, CALCULATED BASED ON ANSWERS IN THIS OVERFILL PROTECTION SECTION.

Measure-ment is allowed as the sole method of overfill protection only if the tank never receives more than 25 gallons of product at a time.

Swivel fill adapters or locking clamps are required on Stage II facilities that use vacuum-assist Stage II equipment.

Swivel fill adapters or locking clamps are required on Stage II facilities that use vacuum-assist Stage II equipment.

EBPI CONTRIBUTOR: TIGHT FILL CAPS AND ADAPTERS.

Required for gasoline UST

EBPI CONTRIBUTOR: TIGHT FILL CAPS AND ADAPTERS.

If tanks share a valve, complete for all that use the valve

EBPI CONTRIBUTOR: POPPET CAP AND GASKET MAKE TIGHT SEALS.

P/V valves are not required if Stage I controls are not required

EBPI CONTRIBUTOR: PROPER AND INTACT P/V VALVES INSTALLED.

EBPI CONTRIBUTOR: PROPER AND INTACT P/V VALVES INSTALLED.

In some cases, pressure settings may not be visible or markings may have worn off

EBPI CONTRIBUTOR: PROPER AND INTACT P/V VALVES INSTALLED.

EBPI CONTRIBUTOR: PROPER AND INTACT P/V VALVES INSTALLED.

This field will be prepopulated from database

Before inspection, confirm with Air that Stage II vapor recovery is not required for any facility where database record shows that Stage II vapor recovery is not required; status may have changed

Recordkeeping and reporting requirements for Stage II regulations are required for all facilities

EBPI

Key:

Research Needed (RN)

Note: a list of CARB-certified nozzles is included in Appendix A

EBPI CONTRIBUTOR: VISUAL INSPECTIONS PERFORMANCE AND RECORDKEEPING.

EBPI CONTRIBUTOR: VISUAL INSPECTIONS PERFORMANCE AND RECORDKEEPING.

EBPI CONTRIBUTOR: VISUAL INSPECTIONS PERFORMANCE AND RECORDKEEPING.

NR is an acceptable answer for inspections that occur prior to June 16, because records only must be submitted by June 15, and personnel at the facility may have limited knowledge or records.

EBPI CONTRIBUTOR: ANNUAL MAINTENANCE OR PRESSURE DECAY TEST CONDUCTED BY MAY 15.

Facility out of compliance if neither maintenance and or pressure decay test conducted by May 15.

NR is an acceptable answer for inspections that occur prior to June 16, because records only must be submitted by June 15, and personnel at the facility may have limited knowledge or records.

EBPI CONTRIBUTOR: ANNUAL MAINTENANCE OR PRESSURE DECAY TEST CONDUCTED BY MAY 15.

Facility out of compliance if neither maintenance and or pressure decay test conducted by May 15.

Facility is in noncompliance if report is not received by June 15.

EBPI: APCD HAS RECEIVED FORM OR REPORT BY JUNE 15.

EBPI CONTRIBUTOR: HAS THE STAGE II SYSTEM BEEN RE-TESTED AT LEAST ONCE IN THE LAST 5 YEARS?

System re-tests are required within the last 5 years

EBPI CONTRIBUTOR: HAS THE STAGE II SYSTEM BEEN RE-TESTED AT LEAST ONCE IN THE LAST 5 YEARS?

EBPI

EBPI

EBPI CONTRIBUTOR: DISCHARGE ON-SITE OR TO THE ENVIRONMENT.

EBPI CONTRIBUTOR: DISCHARGE ON-SITE OR TO THE ENVIRONMENT.

EBPI CONTRIBUTOR: DISCHARGE TO A MUNICIPAL SEWER OR A HOLDING TANK.

EBPI CONTRIBUTOR: DISCHARGE TO A MUNICIPAL SEWER OR A HOLDING TANK.

EBPI CONTRIBUTOR: FACILITY IS REGISTERED OR PERMITTED?

EBPI CONTRIBUTOR: FACILITY IS REGISTERED OR PERMITTED?

Status based upon all hazardous wastes.

For the purposes of this section, "facility" is the UST permittee.

Do not include waste to which the fuel-to-fuel exemption applies.

Questions in subsections B-E refer only to fuel-contaminated waste.

Key:

Solvent (S)

Paint (P)

Janitorial (J)

Auto service (e.g., brake fluid, antifreeze) (A)

Other (O)

EBPI

EBPI CONTRIBUTOR: PROPER STORAGE.

EBPI CONTRIBUTOR: PROPER STORAGE.

EBPI CONTRIBUTOR: PROPER STORAGE.

EBPI CONTRIBUTOR: PROPER STORAGE.

EBPI CONTRIBUTOR: PROPER STORAGE

This question will be pre-populated from the database

EBPI CONTRIBUTOR: DISPOSE OF HAZARDOUS FUEL-CONTAMINATED WASTE PROPERLY.

Required of SQG; collect for all facilities as BMP

EBPI CONTRIBUTOR: SPILL EQUIPMENT, CLEANUP, REPORTING.

EBPI CONTRIBUTOR: SPILL EQUIPMENT, CLEANUP, REPORTING.

EBPI CONTRIBUTOR: SPILL EQUPIMENT, CLEANUP, REPORTING.

EBPI CONTRIBUTOR: SPILL EQUIPMENT, CLEANUP, REPORTING.