MAKE READY SOLICITATION – UNIFORM CONTRACT FORMAT

UPDATES

01/04/06 – No change required by FAC 2005-15

12/13/06 – Change required by FAC 2005-14 (52.228-15)

08/03/06 – Change to FAR internet reference; no update required for FAC 2005-12

7/21/06 – Update 652.228-71; no update required by FAC 2005-11

7/10/06 – Change required by FAC 2005-10 (52.204-7, and 652.228-74)

6/20/06 – Change required by FAC 2005-09 (52.204-9, 652.237-71, 52.204-8, 52.222-50)

2/13/06 – Change required by FAC 2005-07 (52.204-8, 52.225-13, 52.244-6)

1/12/06 - Change required by FAC 2005-08 (update FAR 52.222-19 to JAN 2006)

12/14/05 – Change to date of 52.244-6 to reflect that change in FAC 2005-1 was only to clause prescription

10/20/05 – FAC updates for 2005-6 (52.203-11, 52.203-12, 52.228-15 and 52.232-27)

8/19/05 – No change for FAC 2005-05

5/13/05 – No change required by FAC 2005-3 because 52.225-13 updates dates made in 2005-2.

4/15/05 – Changes required by FAC 2005-1 and 2005-2 (update FAR 52.244-6, Subcontracts for Commercial Items and 52.225-13, Restrictions on Certain Foreign Purchases to MAR 2005)

2/23/05 - Updated 52.209-6 and 52.244-6, and added 52.222-39 and 52.204-8 per FAC 2001-26 and FAC 2001-27

12/16/2004 – Deleted EPA Clause from Section B

11/02/2004 – Added 52.233-4 Section I per FAC 2001-25

10/06/04 – Updated to cover new DBA

06/30/2004 – Update 52.219-1, 52.244-6 , and 52.202-1 Section I per FAC 2001-23 and 24

04/22/04 – Updated for DOSAR Revisions, PIB 2004-25 (deleted DOSAR 652.228-70; updated DOSAR 652.216-70 and 652.237-72; H.10.1 - revised DOSAR 652.236-70).  Also revised L.2, FAR 52.216-1 to correct contract type

04/16/04 – No update required for FAC 2001-21; updated for FAC 2001-22 (FAR 52.245-2).

1/29/04 No change for FAC 2001-17, changes for FAC 2001-18 (update 52.225-13) and FAC 2001-19 (update of 52.222-19)

1/22/2004 – Added sample Bank Letter of Guaranty to Section J

Instructions to Contracting Officer

This solicitation is for make-ready (minor repairs/maintenance).  Major repairs are not covered.  Handle major repairs as a separate procurement action.

General

1.	The Contracting Officer (CO) MUST mark any clause which is modified at post with a double asterisk (**), unless the instructions for that clause in the model expressly state that post should modify the clause to reflect post specifics.

2.	The rationale for this modification MUST be included in the memo requesting review from A/OPE.

3.	Delete asterisk from document before issuing the solicitation.

- Acquisition Method, post should consider the following alternatives before using this solicitation:

(a)	Personal Service Agreements (PSA’s); or

(b)	Simplified Acquisitions -- by using a Purchase Order or Blanket Purchase Agreement if total services will not exceed $100,000 annually.

Only if these alternatives are not feasible should post consider using this solicitation.

- Type of Make-Ready Services Performed:  The line-item price list in Section B includes many different types of services associated with make-ready work.  Tailor the items on this list, along with the corresponding standards and specifications in Section C, to meet post’s needs.

Fixed prices provide additional incentive to the contractor to complete work in a timely manner.  Services should be priced by the square meter or by the unit, rather than by labor hours to make the contract easier to administer.

- Replacement Parts and Materials:

Consider who will be supplying spare parts and materials.

Prepare the solicitation to reflect what the offerors will provide versus what the Government will provide.

This model is written with the assumption the contractor provides all materials; change this to reflect any Government-provided items.

- Work In Restricted Areas:  If the successful firm will be required to perform make-ready services in restricted areas where an escort will be required, ensure the RSO defines such areas and a contract clause is written for Section H that requires the contractor to submit advance notice before work begins in that area so that an escort can be arranged.

The attached model solicitation (Request for Quotations or RFQ) is prepared in the commercial item format prescribed in FAR 12.303.

Please note we have deleted DOSAR 652.216-71 the Economic Price Adjustment Clause (EPA) from Section B of this model.  It has been determined that the contractor should assume the risk and negate the need for further cost/analysis and re-negotiations to be done at posts.  This applies to posts where the minimum wage and labor cost increases are standard, increases do not fluctuate substantially, and market forces and price competition have been shown to be fair and reasonable.   Please contact your desk officer if you feel it is necessary to include this clause.

A NOTE ON THE CENTRAL CONTRACTOR REGISTRATION (CCR)

[Note to Contracting Officer:  If the contracting officer expects participation by US firms or if the contracting officer determines it is practical for foreign firms performing contracts outside the U.S. to register in the CCR, then the following clause (FAR 52.204-7) should be included in the solicitation.  For additional information regarding when the CCR requirement should be included can be found in A/OPE PIB 2004-2.

If FAR 52.204-7 is included in the solicitation then the following clauses should be deleted in their entirety within the model solicitation:

(a) 52.203–2, Certificate of Independent Price Determination.

(b) 52.203–11, Certification and Disclosure Regarding Payments to Influence Certain Federal Transactions.

(c) 52.204–3, Taxpayer Identification.

(d) 52.204-6, Contractor Identification Number-Data Universal Numbering System (DUNS) Number

(e) 52.209–5, Certification Regarding Debarment, Suspension, Proposed Debarment, and Other Responsibility Matters.

(f) 52.215–6, Place of Performance.]

52.204-7 Central Contractor Registration (JULY 2006)

- Definitions. As used in this clause-

"Central Contractor Registration (CCR) database" means the primary Government repository for Contractor information required for the conduct of business with the Government.

"Data Universal Numbering System (DUNS) number" means the 9-digit number assigned by Dun and Bradstreet, Inc. (D&B) to identify unique business entities.

"Data Universal Numbering System +4 (DUNS+4) number" means the DUNS number assigned by D&B plus a 4-character suffix that may be assigned by a business concern. (D&B has no affiliation with this 4-character suffix.) This 4-character suffix may be assigned at the discretion of the business concern to establish additional CCR records for identifying alternative Electronic Funds Transfer (EFT) accounts (see the FAR at Subpart 32.11) for the same parent concern.

"Registered in the CCR database" means that- (1) The Contractor has entered all mandatory information, including the DUNS number or the DUNS+4 number, into the CCR database; and (2) The Government has validated all mandatory data fields, to include validation of the Taxpayer Identification number (TIN) with the Internal Revenue Service (IRS),  and has marked the record "Active".  The Contractor will be required to provide consent for TIN validation to the government as a part of the CCR registration process.

(b)	(1)	By submission of an offer, the offeror acknowledges the requirement that a prospective awardee shall be registered in the CCR database prior to award, during performance, and through final payment of any contract, basic agreement, basic ordering agreement, or blanket purchasing agreement resulting from this solicitation.

(2)	The offeror shall enter, in the block with its name and address on the cover page of its offer, the annotation "DUNS" or "DUNS +4" followed by the DUNS or DUNS +4 number that identifies the offeror's name and address exactly as stated in the offer. The DUNS number will be used by the Contracting Officer to verify that the offeror is registered in the CCR database.

(c)	If the offeror does not have a DUNS number, it should contact Dun and Bradstreet directly to obtain one.

(1)	An offeror may obtain a DUNS number-

- If located within the United States, by calling Dun and Bradstreet at 1-866-705-5711 or via the Internet at http://www.dnb.com; or

(ii)	If located outside the United States, by contacting the local Dun and Bradstreet office.

(2)	The offeror should be prepared to provide the following information:

(i)	Company legal business.

(ii)	Tradestyle, doing business, or other name by which your entity is commonly recognized.

(iii)	Company Physical Street Address, City, State, and Zip Code.

(iv) Company Mailing Address, City, State and Zip Code (if separate from physical).

(v)	Company Telephone Number.

(vi)	Date the company was started.

(vii)	Number of employees at your location.

(viii)	Chief executive officer/key manager.

(ix)	Line of business (industry).

(x) Company Headquarters name and address (reporting relationship within your entity).

(d)	If the Offeror does not become registered in the CCR database in the time prescribed by the Contracting Officer, the Contracting Officer will proceed to award to the next otherwise successful registered Offeror.

(e)	Processing time, which normally takes 48 hours, should be taken into consideration when registering. Offerors who are not registered should consider applying for registration immediately upon receipt of this solicitation.

(f)	The Contractor is responsible for the accuracy and completeness of the data within the CCR database, and for any liability resulting from the Government's reliance on inaccurate or incomplete data. To remain registered in the CCR database after the initial registration, the Contractor is required to review and update on an annual basis from the date of initial registration or subsequent updates its information in the CCR database to ensure it is current, accurate and complete. Updating information in the CCR does not alter the terms and conditions of this contract and is not a substitute for a properly executed contractual document.

(g)	(1)	(i) If a Contractor has legally changed its business name, "doing business as" name, or division name (whichever is shown on the contract), or has transferred the assets used in performing the contract, but has not completed the necessary requirements regarding novation and change-of-name agreements in Subpart 42.12, the Contractor shall provide the responsible Contracting Officer a minimum of one business day's written notification of its intention to (A) change the name in the CCR database; (B) comply with the requirements of Subpart 42.12 of the FAR; and (C) agree in writing to the timeline and procedures specified by the responsible Contracting Officer. The Contractor must provide with the notification sufficient documentation to support the legally changed name.

(ii) If the Contractor fails to comply with the requirements of paragraph (g)(1)(i) of this clause, or fails to perform the agreement at paragraph (g)(1)(i)(C) of this clause, and, in the absence of a properly executed novation or change-of-name agreement, the CCR information that shows the Contractor to be other than the Contractor indicated in the contract will be considered to be incorrect information within the meaning of the "Suspension of Payment" paragraph of the electronic funds transfer (EFT) clause of this contract.

(2)	The Contractor shall not change the name or address for EFT payments or manual payments, as appropriate, in the CCR record to reflect an assignee for the purpose of assignment of claims (see FAR Subpart 32.8, Assignment of Claims). Assignees shall be separately registered in the CCR database. Information provided to the Contractor's CCR record that indicates payments, including those made by EFT, to an ultimate recipient other than that Contractor will be considered to be incorrect information within the meaning of the "Suspension of payment" paragraph of the EFT clause of this contract.

(h)	Offerors and Contractors may obtain information on registration and annual confirmation requirements via the internet at http://www.ccr.gov or by calling 1-888-227-2423, or 269-961-5757.

Note to Contracting Officer:  Insert the following clause by reference if FAR 52.204-7 is included.

FAR 52.232-33 Payment by Electronic Funds Transfer – Central Contractor Registration (OCT 2003)

DEFENSE BASE ACT INSURANCE

When the contracting officer has a reasonable expectation that no covered contractor employees (see PIB 2004-32 on OPE intranet site for definition of covered versus non covered employees) will be included in the offers (e.g., offers will come from local overseas contractors and the work is to be performed in a country that has local workers’ compensation laws), the contracting officer shall include the following FAR clause and DOSAR provision in the solicitation:

- FAR clause 52.228-4, Workers’ Compensation and War-Hazard Insurance Overseas; place in Section I
.

- Provision entitled Defense Base Act – Covered Contractor Employees; place in Section K.

If, in response to the solicitation, any offeror knows that they will employ covered employees, the offeror is required to notify the contracting officer prior to the closing date.  The contracting officer shall then amend the solicitation to add a line item in Section B (see sample language in B.2.7 and actual item in B.3.6 of the LGP model).    Also add the following clauses/provisions:

- FAR clause 52.228-3, Workers’ Compensation Insurance (Defense Base Act); place in Section I.

- DOSAR clause 652.228-71, Workers’ Compensation Insurance (Defense Base Act) – Services; place in Section I.

- DOSAR provision 652.228-74, Defense Base Act Insurance Rates – Limitation (DEVIATION); place in Section L.

Offerors shall be given additional time to incorporate the DBA contractor rates into their proposed prices.

American Business Sources

If you know or expect that American businesses may submit a proposal, you must include the following solicitation provision, in addition to the other certifications contained in this solicitation. This certification is used to determine whether the firm is considered small by the Small Business Administration (SBA).

If you receive an offer from a small business, and you determine that firm to be non-responsible, you must refer the matter to A/OPE and A/SDBU for referral to SBA.  SBA will then determine whether to issue a Certificate of Competency (SBA) attesting to the firm's ability to perform the contract.  For more information, see FAR 19.000(b) and 19.6.

Here is the certification to be included, if necessary:

52.219-1 SMALL BUSINESS PROGRAM REPRESENTATIONS  (MAY 2004)

(a)	(1)	The North American Industry Classification System (NAICS) code for this acquisition is 23322.

(2)	The small business size standard is $5.0 million dollars.

(3)	The small business size standard for a concern which submits an offer in its own name, other than on a construction or service contract, but which proposes to furnish a product which it did not itself manufacture, is 500 employees.

(b)	Representations.  (1) The offeror represents as part of its offer that it [  ] is,  [  ] is not a small business concern.

(2)	[Complete only if the offeror represented itself as a small business concern in paragraph (b)(1) of this provision.]  The offeror represents, for general statistical purposes, that it [  ] is,  [  ] is not, a small disadvantaged business concern as defined in 13 CFR 124.1002.

(3)	[Complete only if the offeror represented itself as a small business concern in paragraph (b)(1) of this provision.]  The offeror represents as part of its offer that it [  ] is, [  ] is not a women-owned small business concern.

(4)	[Complete only if the offeror represented itself as a small business concern in paragraph (b)(1) of this provision.] The offeror represents as part of its offer that it [  ] is, [  ] is not a veteran-owned small business concern.

(5)	[Complete only if the offeror represented itself as a veteran-owned small business concern in paragraph (b)(4) of this provision.] The offeror represents as part of its offer that it [  ] is, [  ] is not a service-disabled veteran-owned small business concern.

(6)	[Complete only if the offeror represented itself as a small business concern in paragraph (b)(1) of this provision.] The offeror represents, as part of its offer, that-

(i)	It [   ] is, [   ] is not a HUBZone small business concern listed, on the date of this representation, on the List of Qualified HUBZone Small Business Concerns maintained by the Small Business Administration, and no material change in ownership and control, principal office, or HUBZone employee percentage has occurred since it was certified by the Small Business Administration in accordance with 13 CFR part 126; and

(ii)	It [  ] is, [  ] is not a joint venture that complies with the requirements of 13 CFR part 126, and the representation in paragraph (b)(6)(i) of this provision is accurate for the HUBZone small business concern or concerns that are participating in the joint venture. [The offeror shall enter the name or names of the HUBZone small business concern or concerns that are participating in the joint venture:__________.] Each HUBZone small business concern participating in the joint venture shall submit a separate signed copy of the HUBZone representation.

(c)	Definitions.  As used in this provision--

Service-disabled veteran-owned small business concern—

(1)	Means a small business concern--

- Not less than 51 percent of which is owned by one or more service-disabled veterans or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more service-disabled veterans; and

- The management and daily business operations of which are controlled by one or more service-disabled veterans or, in the case of a service-disabled veteran with permanent and severe disability, the spouse or permanent caregiver of such veteran.

(2)	Service-disabled veteran means a veteran, as defined in 38 U.S.C. 101(2), with a disability that is service-connected, as defined in 38 U.S.C. 101(16).

"Women-owned small business concern," as used in this provision, means a small business concern--

(1)	That is at least 51 percent owned by one or more women; or in the case of any publicly owned business, at least 51 percent of the stock of which is owned by one or more women; and

(2)	Whose management and daily business operations are controlled by one or more women.

(d)	Notice.  (1) If this solicitation is for supplies and has been set aside, in whole or in part, for small business concerns, then the clause in this solicitation providing notice of the set-aside contains restrictions on the source of the end items to be furnished.

(2)	Under 15 U.S.C. 645(d), any person who misrepresents a firm's status as a small, small disadvantaged, or women-owned small business concern in order to obtain a contract to be awarded under the preference programs established pursuant to section 8(a), 8(d), 9, or 15 of the Small Business Act or any other provision of Federal law that specifically references section

8(d) for a definition of program eligibility, shall--

(i)	Be punished by imposition of fine, imprisonment, or both;

(ii)	Be subject to administrative remedies, including suspension and debarment; and

(iii)	Be ineligible for participation in programs conducted under the authority of the Act.

Veteran-owned small business concern means a small business concern—

(1)	Not less than 51 percent of which is owned by one or more veterans (as defined at 38 U.S.C. 101(2)) or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more veterans; and

(2)	The management and daily business operations of which are controlled by one or more veterans.

SAMPLE COVER LETTER FOR RFP

[Note to Contracting Officer: insert Date]

To:  Prospective Offerors

Subject:  Solicitation number S[Note to Contracting Officer: insert Solicitation Number]

Enclosed is a Request for Proposals (RFP) for make ready services (minor maintenance and repair of residences).  To submit a proposal:

# follow the instructions in Section L of the solicitation,

# complete the required portions of the attached document, and

# submit your proposal to the address shown on the Standard Form 1442 that follows this letter.

The U.S. Government intends to award a contract to the responsible company submitting an acceptable offer at the lowest price.  We intend to award a contract based on initial proposals, without holding discussions.  However, we may hold discussions with companies in the competitive range if there is a need to do so.

Proposals are due by [Note to Contracting Officer: insert Date] at [Note to Contracting Officer: insert Time] local time.

Sincerely,

[Note to Contracting Officer: Insert Name of CO]

Contracting Officer

Enclosure

As Stated.

[Note to Contracting Officer, use a SF-1442 – See Chapter 9 of the Cookbook.]

SECTION B - SUPPLIES OR SERVICES AND PRICES/COSTS

B.1	SCOPE OF SERVICES

The contractor shall provide personnel, supplies and equipment for all make-ready services for residences for [Note to Contracting Officer:  insert name of Post] as described in Sections B and C of this contract, and the exhibits in Section J.

B.2	TYPE OF CONTRACT

This is an indefinite-delivery, indefinite-quantity type contract for make-ready.  The contractor shall furnish services according to task orders issued by the Contracting Officer.  Oral task orders maybe necessary for emergencies, however, they shall be issued in writing within three days after issuance of the oral instructions.  The task orders shall specify the location and type of work requested (see Section B.4 and the example in Section J, Exhibit 2).

The contract will be for a one-year period from the date of the contract award, with 4 (four) [Note to Contracting Officer: change as appropriate] one-year options.  For each effective year of the contract, the U.S. Government guarantees a minimum order of [Note to Contracting Officer: insert minimum amount] worth of services. The maximum amount of services ordered under each year of the contract will not exceed [Note to Contracting Officer: insert maximum amount] worth of services.

[Note to Contracting Officer:  See also Section I.4. – Order Limitations

NOTE to Contracting Officer:  Minimum and maximum amounts must be given for this type of contract.  The units of measure will depend upon how services are billed in Section B.  If all services are computed by the square meter, then the minimum and maximums may be listed in square meters only.  If various services are computed using different measures, minimums and maximums for each category should be given.  Alternatively, you may state a fixed dollar or local currency amount.]

B.3	PRICES/COSTS

The prices will include all work, including furnishing all labor, materials, equipment and services, unless otherwise specified in section B.4.4.  The prices listed below shall include all labor, materials, direct and indirect costs, insurance (see FAR 52.228-4 and 52.228-5), overhead, and profit.

### B.3.1	CURRENCY

All prices shall be in [Note to Contracting Officer: insert currency].

B.3.2	BASE YEAR PRICES (starting on the date stated in the Notice to Proceed and continuing for a period of 12 months)

[Note to Contracting Officer:  The Contracting Officer should carefully prepare the following line-item list in accordance with local requirements:

1.	Edit “Description of Service” blocks and include all relevant services and specifications, and include references to attachments in Section J, if additional descriptive information is necessary.

2.	Review and adjust unit of measure, as necessary.  Specify net or gross square meters.  (Janitorial/cleaning and gardening services will include outside areas.)

3.	Enter estimated quantities for the one-year period in the “Estimated Quantity” column.

4.	Enter the currency unit in the header of the “Price Per Unit” column.

5.	Enter the correct tax percentage, if applicable, on the tax line at the end of the table.

The Offeror will fill in the price per unit; total estimated price, and the grand totals at the end of the table.]

| CLIN | Description of Service [Note to Contracting Officer: edit as necessary] | Unit of Measure | Price per Unit in [Note to Contracting Officer: list currency here] | Estimated Quantity [Note to Contracting Officer: enter amounts below] | Total Estimated Price |
| --- | --- | --- | --- | --- | --- |
| 001 | Clean old paint, repair plaster, prime and smooth surface, apply ( ) coats of ( ) paint. | Square meter |  |  |  |
| 002 | Painting walls, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Square meter |  |  |  |
| 003 | Painting ceilings, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Square meter |  |  |  |
| 004 | Painting trim/baseboards, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Linear meter |  |  |  |
| 005 | Painting of damaged surfaces (resin or plastic-based paint/Kilz or equal) | Square meter |  |  |  |
| 006 | Varnishing/shellacking of woodwork, following surface preparation | Square meter |  |  |  |
| 007 | Removal of wallpaper | Square meter |  |  |  |
| 008 | Textured Surfaces preparatory work | Square meter |  |  |  |
| 009 | Painting of textured surfaces, one coat, (oil-based) paint, (glossy) finish | Square meter |  |  |  |
| 010 | Removal and disposal of old carpet and laying of contractor-furnished carpet (see Section C.2.2) | Square meter |  |  |  |
| 011 | Cleaning of installed carpets, including spot removal (see Section C.2.3) | Square meter |  |  |  |
| 012 | Janitorial/Cleaning services (see Section C.2.4) | Square meter |  |  |  |
| 013 | Plumbing services (see Section C.2.5) | Square meter |  |  |  |
| 014 | Electrical services (see Section C.2.6) | Square meter |  |  |  |
| 015 | HVAC services (see Section C.2.7) | Square meter |  |  |  |
| 016 | Carpentry services (see Section C.2.8) | Square meter |  |  |  |
| 017 | Roofing services (see Section C.2.9) | Square meter |  |  |  |
| 018 | Gardening services (see Section C.2.10) | Square meter |  |  |  |
| 019 | Masonry services (see Section C.2.11) | Square meter |  |  |  |
| 020 | General Mechanical services (see Section C.2.12) | Square meter |  |  |  |
| 021 | Safety Equipment services (see Section C.2.13) | Square meter |  |  |  |

## Total of all line-item prices:	   ________________

Base Year Total:	   ________________

### B.3.3	FIRST OPTION YEAR PRICES

| CLIN | Description of Service [Note to Contracting Officer: edit as necessary] | Unit of Measure | Price per Unit in [Note to Contracting Officer: list currency here] | Estimated Quantity [Note to Contracting Officer: enter amounts below] | Total Estimated Price |
| --- | --- | --- | --- | --- | --- |
| 001 | Clean old paint, repair plaster, prime and smooth surface, apply ( ) coats of ( ) paint. | Square meter |  |  |  |
| 002 | Painting walls, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Square meter |  |  |  |
| 003 | Painting ceilings, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Square meter |  |  |  |
| 004 | Painting trim/baseboards, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Linear meter |  |  |  |
| 005 | Painting of damaged surfaces (resin or plastic-based paint/Kilz or equal) | Square meter |  |  |  |
| 006 | Varnishing/shellacking of woodwork, following surface preparation | Square meter |  |  |  |
| 007 | Removal of wallpaper | Square meter |  |  |  |
| 008 | Textured Surfaces preparatory work | Square meter |  |  |  |
| 009 | Painting of textured surfaces, one coat, (oil-based) paint, (glossy) finish | Square meter |  |  |  |
| 010 | Removal and disposal of old carpet and laying of contractor-furnished carpet (see Section C.2.2) | Square meter |  |  |  |
| 011 | Cleaning of installed carpets, including spot removal (see Section C.2.3) | Square meter |  |  |  |
| 012 | Janitorial/Cleaning services (see Section C.2.4) | Square meter |  |  |  |
| 013 | Plumbing services (see Section C.2.5) | Square meter |  |  |  |
| 014 | Electrical services (see Section C.2.6) | Square meter |  |  |  |
| 015 | HVAC services (see Section C.2.7) | Square meter |  |  |  |
| 016 | Carpentry services (see Section C.2.8) | Square meter |  |  |  |
| 017 | Roofing services (see Section C.2.9) | Square meter |  |  |  |
| 018 | Gardening services (see Section C.2.10) | Square meter |  |  |  |
| 019 | Masonry services (see Section C.2.11) | Square meter |  |  |  |
| 020 | General Mechanical services (see Section C.2.12) | Square meter |  |  |  |
| 021 | Safety Equipment services (see Section C.2.13) | Square meter |  |  |  |

## Total of all line-item prices:	   ________________

First Option Year Total:	   ________________

### B.3.4	SECOND OPTION YEAR PRICES

| CLIN | Description of Service [Note to Contracting Officer: edit as necessary] | Unit of Measure | Price per Unit in [Note to Contracting Officer: list currency here] | Estimated Quantity [Note to Contracting Officer: enter amounts below] | Total Estimated Price |
| --- | --- | --- | --- | --- | --- |
| 001 | Clean old paint, repair plaster, prime and smooth surface, apply ( ) coats of ( ) paint. | Square meter |  |  |  |
| 002 | Painting walls, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Square meter |  |  |  |
| 003 | Painting ceilings, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Square meter |  |  |  |
| 004 | Painting trim/baseboards, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Linear meter |  |  |  |
| 005 | Painting of damaged surfaces (resin or plastic-based paint/Kilz or equal) | Square meter |  |  |  |
| 006 | Varnishing/shellacking of woodwork, following surface preparation | Square meter |  |  |  |
| 007 | Removal of wallpaper | Square meter |  |  |  |
| 008 | Textured Surfaces preparatory work | Square meter |  |  |  |
| 009 | Painting of textured surfaces, one coat, (oil-based) paint, (glossy) finish | Square meter |  |  |  |
| 010 | Removal and disposal of old carpet and laying of contractor-furnished carpet (see Section C.2.2) | Square meter |  |  |  |
| 011 | Cleaning of installed carpets, including spot removal (see Section C.2.3) | Square meter |  |  |  |
| 012 | Janitorial/Cleaning services (see Section C.2.4) | Square meter |  |  |  |
| 013 | Plumbing services (see Section C.2.5) | Square meter |  |  |  |
| 014 | Electrical services (see Section C.2.6) | Square meter |  |  |  |
| 015 | HVAC services (see Section C.2.7) | Square meter |  |  |  |
| 016 | Carpentry services (see Section C.2.8) | Square meter |  |  |  |
| 017 | Roofing services (see Section C.2.9) | Square meter |  |  |  |
| 018 | Gardening services (see Section C.2.10) | Square meter |  |  |  |
| 019 | Masonry services (see Section C.2.11) | Square meter |  |  |  |
| 020 | General Mechanical services (see Section C.2.12) | Square meter |  |  |  |
| 021 | Safety Equipment services (see Section C.2.13) | Square meter |  |  |  |

## Total of all line-item prices:	   ________________

Second Option Year Total:	   ________________

B.3.5	THIRD OPTION YEAR PRICES

| CLIN | Description of Service [Note to Contracting Officer: edit as necessary] | Unit of Measure | Price per Unit in [Note to Contracting Officer: list currency here] | Estimated Quantity [Note to Contracting Officer: enter amounts below] | Total Estimated Price |
| --- | --- | --- | --- | --- | --- |
| 001 | Clean old paint, repair plaster, prime and smooth surface, apply ( ) coats of ( ) paint. | Square meter |  |  |  |
| 002 | Painting walls, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Square meter |  |  |  |
| 003 | Painting ceilings, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Square meter |  |  |  |
| 004 | Painting trim/baseboards, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Linear meter |  |  |  |
| 005 | Painting of damaged surfaces (resin or plastic-based paint/Kilz or equal) | Square meter |  |  |  |
| 006 | Varnishing/shellacking of woodwork, following surface preparation | Square meter |  |  |  |
| 007 | Removal of wallpaper | Square meter |  |  |  |
| 008 | Textured Surfaces preparatory work | Square meter |  |  |  |
| 009 | Painting of textured surfaces, one coat, (oil-based) paint, (glossy) finish | Square meter |  |  |  |
| 010 | Removal and disposal of old carpet and laying of contractor-furnished carpet (see Section C.2.2) | Square meter |  |  |  |
| 011 | Cleaning of installed carpets, including spot removal (see Section C.2.3) | Square meter |  |  |  |
| 012 | Janitorial/Cleaning services (see Section C.2.4) | Square meter |  |  |  |
| 013 | Plumbing services (see Section C.2.5) | Square meter |  |  |  |
| 014 | Electrical services (see Section C.2.6) | Square meter |  |  |  |
| 015 | HVAC services (see Section C.2.7) | Square meter |  |  |  |
| 016 | Carpentry services (see Section C.2.8) | Square meter |  |  |  |
| 017 | Roofing services (see Section C.2.9) | Square meter |  |  |  |
| 018 | Gardening services (see Section C.2.10) | Square meter |  |  |  |
| 019 | Masonry services (see Section C.2.11) | Square meter |  |  |  |
| 020 | General Mechanical services (see Section C.2.12) | Square meter |  |  |  |
| 021 | Safety Equipment services (see Section C.2.13) | Square meter |  |  |  |

## Total of all line-item prices:	   ________________

Third Option Year Total:	   ________________

B.3.6	FOURTH OPION YEAR PRICES

| CLIN | Description of Service [Note to Contracting Officer: edit as necessary] | Unit of Measure | Price per Unit in [Note to Contracting Officer: list currency here] | Estimated Quantity [Note to Contracting Officer: enter amounts below] | Total Estimated Price |
| --- | --- | --- | --- | --- | --- |
| 001 | Clean old paint, repair plaster, prime and smooth surface, apply ( ) coats of ( ) paint. | Square meter |  |  |  |
| 002 | Painting walls, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Square meter |  |  |  |
| 003 | Painting ceilings, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Square meter |  |  |  |
| 004 | Painting trim/baseboards, one coat, (oil-based) paint, (glossy) finish, following surface preparation | Linear meter |  |  |  |
| 005 | Painting of damaged surfaces (resin or plastic-based paint/Kilz or equal) | Square meter |  |  |  |
| 006 | Varnishing/shellacking of woodwork, following surface preparation | Square meter |  |  |  |
| 007 | Removal of wallpaper | Square meter |  |  |  |
| 008 | Textured Surfaces preparatory work | Square meter |  |  |  |
| 009 | Painting of textured surfaces, one coat, (oil-based) paint, (glossy) finish | Square meter |  |  |  |
| 010 | Removal and disposal of old carpet and laying of contractor-furnished carpet (see Section C.2.2) | Square meter |  |  |  |
| 011 | Cleaning of installed carpets, including spot removal (see Section C.2.3) | Square meter |  |  |  |
| 012 | Janitorial/Cleaning services (see Section C.2.4) | Square meter |  |  |  |
| 013 | Plumbing services (see Section C.2.5) | Square meter |  |  |  |
| 014 | Electrical services (see Section C.2.6) | Square meter |  |  |  |
| 015 | HVAC services (see Section C.2.7) | Square meter |  |  |  |
| 016 | Carpentry services (see Section C.2.8) | Square meter |  |  |  |
| 017 | Roofing services (see Section C.2.9) | Square meter |  |  |  |
| 018 | Gardening services (see Section C.2.10) | Square meter |  |  |  |
| 019 | Masonry services (see Section C.2.11) | Square meter |  |  |  |
| 020 | General Mechanical services (see Section C.2.12) | Square meter |  |  |  |
| 021 | Safety Equipment services (see Section C.2.13) | Square meter |  |  |  |

## Total of all line-item prices:	   ________________

Fourth Option Year Total:	   ________________

### B.3.7	GRAND TOTAL PRICE FOR BASE YEAR PLUS FOUR OPTION YEARS

[Note to Contracting Officer:  Delete option years that are not required.]

#### Base Year Total:			____________________

First Option Year Total:		____________________

Second Option Year Total:		____________________

Third Option Year Total:		____________________

Fourth Option Year Total:		____________________

Grand Total Price for all Years:	____________________

B.4	ORDERING

The Government shall issue task orders for ordering all services under this contract.  Task orders may be issued from the effective date of the contract until the end of the "Period of Performance."  All task orders are subject to the terms and conditions of this contract.  This contract shall take precedence in the event of conflict with any task order.

B.4.1 	ISSUANCE OF TASK ORDERS

The Contracting Officer may issue task orders orally but will be confirm them in writing within three days.

# B.4.2	SURVEY OF PROPERTY

Before performing work, the contractor shall survey the property and verify the work required against the task, to determine if any discrepancies exist.  The contractor shall be responsible for any errors that might have been avoided by such a survey/review.  The contractor shall immediately report any discrepancies to the COR or the Contracting Officer and shall not begin work until such matters are resolved.

# B.4.3 	CONTENTS OF TASK ORDERS

The Contracting Officer shall issue task orders for make-ready services on an as-needed basis.  See the sample task order at Section J, Exhibit 2.  Task orders shall include:

- Date of order

- Contract number

- Order number

# Location of property

- Amount of work (square meters or linear meters)

- Point of contact for questions

[Note to Contracting Officer:  add or modify as needed]

# B.4.4	COMPLETION DATE

The contractor shall complete all services on individual housing units within ten (10) days [Note to Contracting Officer: modify time frame as appropriate, keeping in mind the scope of services to be performed and any other local factors] of receipt of a task order.  The time period specified above shall not begin until the contractor is afforded reasonable access to the work site.

The time period specified above may be shortened if mutually agreed to by the contractor and the Government.

The completion date is fixed and may be extended only by a written modification signed by the Contracting Officer.

SECTION C - DESCRIPTION/SPECIFICATIONS/WORK STATEMENT

C.1	INTRODUCTION

C.1.1	GENERAL

The [Note to Contracting Officer: identify Post] requires a make-ready service contractor to perform task orders on US Government owned and leased properties [Note to Contracting Officer: change as appropriate].  The contractor shall furnish managerial, administrative and direct operational personnel to accomplish all work as required.

C.1.2	ENGLISH SPEAKING REPRESENTATIVE

The contractor shall designate an English speaking representative who shall supervise the contractor's workforce and be the contractor's liaison with the Government.

[Note to Contracting Officer:  the Contracting Officer should decide if on-site management is necessary, and if so, add the following paragraph.]

The designated representative shall be located on site in an office designated by the Contracting Officer during normal working hours (see Section F.8) and shall have supervision as its sole function during the times while on duty.  The contractor's employees shall be on site only for contractual duties and not for any other business or purposes.

C.1.2.	PERSONNEL

The contractor shall be responsible for providing qualified technicians for each trade with relevant experience to perform make-ready services for task orders issued under this contract.  Helper positions do not need to meet the experience requirement.

C.1.3	DEFINITIONS  (see also FAR clause 52.202-1, Alt. 1 [April 1994], cited in I.1)

HVAC - Heating Ventilation and Air Conditioning.

Make-ready Services – Preparation of residential units for occupancy, including all items in this contract.

C.2	STANDARDS

C.2.1	APPLICABLE PAINTING STANDARDS AND PAINT SPECIFICATIONS

C.2.1.1	LOCAL/INDUSTRY PAINTING STANDARDS

Painting and preparatory work shall be in accordance with [Note to Contracting Officer: specify local standards, if any], and the instructions given below.  In cases where local standards and those listed in this contract are in conflict, the stricter of the two shall apply.

# C.2.1.2	PAINT SPECIFICATIONS

Paint used shall be [Note to Contracting Officer: specify types, colors, etc.; include any applicable brand name or equal descriptions]

# C.2.1.3	PREPARATION AND PROTECTION OF WORK AREA

Painting shall not disturb or damage any fixed property (including light fixtures, floors, carpets, or windows).  The contractor shall move, protect, and return such property to its original position.

The contractor shall remove furnishings (such as furniture, rugs) first or protect them by protective covering.  The contractor shall also protect floors from soiling and paint spills. The contractor shall not wash wooden floors under any circumstances.  To protect floors (of all types) from damage, the contractor shall use a suitable protective cover and provide ladders and scaffolding with clean rubber shoes or similar protection devices.

If the contractor spills any paint, or in any way soils the floors, a specialist floor finishing company at the contractor’s expense shall perform the clean up.  After completion of the painting work, the contractor shall return all furnishings to their original position, and clean the work area free of litter and debris.

C.2.1.4	TECHNICAL SPECIFICATIONS FOR PAINTING WORK

- INTERIOR AND EXTERIOR PAINTING

Paint surfaces as directed by the task order.  Match paint to similar adjacent materials or surfaces.

- "Paint" includes coating systems materials, primers, emulsions, enamels, stains, sealers and fillers, and other applied materials whether used as prime, intermediate or finish coats.

- Product Data:  The contractor shall submit manufacturer's technical information, label analysis, and application instructions for each paint material proposed for use to the COR, prior to starting work.  As an attachment, list each material and cross-reference specific coating and finish system and application.  Identify each material by the manufacturer's catalog number and general classification.

- Single Source Responsibility:  Provide primers and undercoat paint produced by the same manufacturer as the finish coats.

- Material Quality:  Provide the manufacturer's best quality trade sale type paint material.  Paint material containers not displaying manufacturer's product identification will not be acceptable.

- Deliver materials to the job site in manufacturer's original, unopened packages and containers bearing manufacturer's name and label with trade name and manufacturer's instructions.

- Store materials not in use in tightly covered containers in a well-ventilated area at a minimum ambient temperature of 45 degrees F (7 degrees C). Protect from freezing.  Keep storage area neat and orderly.  Remove oily rags and waste daily.

- Project Conditions:  Do not apply paint when the relative humidity exceeds 85 percent, at temperatures less than 5 degrees F (3 degrees C) above the dew point, or to damp or wet surfaces.  Apply paint only in temperatures in accordance with manufacturer's specifications.

- Examine substrates and conditions under which painting will be performed for compliance with requirements.  Do not begin application until unsatisfactory conditions have been corrected.

- Preparation:  Remove hardware and hardware accessories, plates, light fixtures, and items in place that are not to be painted, or provide protection such as taping prior to surface preparation and painting (taping includes windows, door jams, etc.).

- Clean and prepare surfaces to be painted following manufacturer's instructions before applying paint or surface treatments.  Remove oil, dust, and direct, loose rust, mildew, peeling paint or other contamination to ensure good adhesion.  In some cases, the contractor may be requested to remove all existing coats of paint and sealers if prior paint application is showing signs of improper adhesion, such as peeling, or chipping.  All surfaces must be clean and dry.  Schedule cleaning and painting so dust and other contaminants will not fall on wet, newly painted surfaces.

- Notify the Contracting Officer or COR of problems anticipated for any minor preparatory work required, such as but not limited to, filling nail holes, cleaning surfaces to be painted, and priming any requisite areas.  Plan preparatory work as most units in residential areas will have nail holes or areas that will need to be primed or sealed.  Replace all electrical switches and plugs with new covers after painting.

- Materials Preparation:  Mix and prepare paint following manufacturer's directions.

- Application:  Apply paint following manufacturer's directions.  Use applicators and techniques best suited for substrate and type of material being applied.  Do not paint over dirt, rust, scale, grease, moisture, scuffed surfaces, or conditions detrimental to formation of a durable paint film.

- Unless otherwise specified, the contractor is to use a high quality semi-gloss latex paint (containing no lead or mercury) for all kitchens, baths, laundry areas, doorframes, and window frames.  A flat or satin flat latex base paint (containing no lead or mercury) is to be used in the remainder of the unit.  The color to be used must be consistent with the balance of the room, which will normally be off-white.  Contractor shall provide samples of the color of the type of material to be painted before actual paint date is scheduled.

- On exterior surfaces, apply a high quality exterior grade latex base paint that matches as closely as possible to the existing color on the exterior of the property, or a color as otherwise specified by the COR.  Before painting, scrape, sand, fill and prime the surface with a latex base primer.  The contractor should plan on extensive preparatory work before painting.  Do not apply exterior paint in snow, rain, fog or mist; or when the relatively humidity exceeds 85 percent; or to damp or wet surfaces.

- Provide finish coats that are compatible with primers used.

- The number of coats and film thickness required is the same regardless of application method.  Do not apply succeeding coats until previous coat has cured.  Sand between applications where required to produce a smooth, even surface.

- Apply additional coats when undercoats or other conditions show through final coat, until paint film is of uniform finish, color, and appearance.

- Scheduling Painting:  Apply first coat to surfaces that have been cleaned, pretreated or otherwise prepared for painting as soon as practicable, and before subsequent surface deterioration.  Allow sufficient time between successive coats to permit proper drying.  Do not re-coat until paint has dried.

- Minimum Coating Thickness:  Apply materials at the manufacturer's recommended spreading rate.  Provide total dry film thickness of the system as recommended by the manufacturer.

- Prime Coats:  Before application of finish coats, apply a prime coat as recommended by the manufacturer to material required to be painted or finished, and has not been prime coated.

- Brush Application:  Brush out and work brush coats into surfaces in an even film.  Eliminate cloudiness, spotting, laps, brush marks, runs, sags, ropiness, or other surface imperfections.  Draw neat glass lines and color breaks.

- Apply primers and first coats by brush unless manufacturer's instructions permit use of mechanical applicators.

- Mechanical Applications:  Use mechanical methods for paint application when permitted by manufacturer's recommendations, governing ordinances, and trade union regulations.

- Wherever spray application is used, apply each coat to provide the equivalent hiding of brush-applied coats. Do not double-back with spray equipment to build up film thickness of two coats in one pass, unless recommended by the manufacturer.

- Upon completion of painting, clean glass and paint-spattered surfaces.  Remove spattered paint by washing, scraping or other methods, using care not to scratch or damage adjacent finished surfaces.

- Remove temporary protective wrappings after completion of painting operations.

- DRYWALL/PLASTER REPAIR

Patch defective drywall with a similar thickness and fire rated drywall.  Joints must be taped in a manner so they are not readily visible.  The patch must be textured with a texture consistent with the rest of the surface being patched.  All nail heads must be set and spackled.  Joints must be taped and covered with a joint compound.  Spackled nail heads and tape joints must be sanded smooth and all dust removed prior to paining.  Exterior surfaces must be spackled with exterior grade compounds.

- TEXTURE ONLY - WALLS

Occasionally, the Government may require a wall to be textured that has not previously been textured.  The contractor shall prepare the wall by filling and sanding any small holes or cracks with a suitable "non-shrinking" material.  After preparatory work, the contractor shall furnish and apply a texture type material.  If any other walls within that room are textured, the texture material shall closely match the texture of any other existing textured walls in that room.  The minimum assignment for this requirement will be one room within a unit.

- TEXTURE ONLY - CEILING

Occasionally, the Government may require that a ceiling be textured that has not previously been textured.  The contractor shall prepare the ceiling by filling and sanding any small holes or cracks with a suitable "non-shrinking" material.  After preparatory work, the contractor shall furnish and apply an "acoustic" type texture.  The minimum assignment for this requirement will be one room within a unit.

- PAINT EXTERIOR TRIM

Apply a high quality exterior grade latex base paint that matches as closely as possible the existing color on the exterior trim of the property, or a color as specified by the COR.  The trim is to be scraped, sanded, filled, and primed with a latex base primer, prior to painting.  The contractor should plan on extensive preparatory work prior to painting.  The specifications for exterior paint apply, unless otherwise specified.

- REMOVE WALL COVERING

By task order, remove the designated wall covering (such as wallpaper, cork, mirror, and tile).  After removing the wall covering the area shall be cleaned and made ready for painting.  The contractor shall remove and properly dispose of the old wall covering.

- PLASTER

Repair any damaged interior or exterior plaster as directed by the COR.  The plaster material shall be of a similar material that matches as closely as possible the existing plaster in texture and color.

- STUCCO

Repair any damaged stucco and remove any loose stucco before applying paint.

[Note to Contracting Officer:  Review the standards and specifications for the following additional services and make adjustments where necessary to meet local requirements and conditions.]

C.2.2	CARPET REPLACEMENT STANDARDS

The contractor shall remove and dispose of existing carpets as designated.  After floor preparing floors according to the nature and type of floor.  The contractor shall provide and install wall-to-wall carpet.  The type of the carpet will be [Note to Contracting Officer: describe type and color—or state that color will be given in the delivery order; include any applicable local or industry standards]

Carpet replacement shall not disturb or damage any fixed property (such as light fixtures, baseboards, or windows).  The contractor shall protect such property or move and return it to its original position.

The contractor shall move all furnishings (such as furniture, cabinets) and return them to their original positions after completion of carpet replacement.  The contractor shall clean the work area free of litter and debris.

C.2.3	CARPET CLEANING STANDARDS

The contractor shall clean designated carpets using professional equipment and industrial-grade cleaners.  [Note to Contracting Officer: include desired specific standards here].  The contractor shall remove excess liquid shall be removed from carpets after cleaning to allow for the carpets to dry quickly.

The contractor is responsible for any damage caused to carpets in the cleaning process and/or because of excess moisture left in carpets after cleaning.

Carpet cleaning shall not disturb or damage any fixed property (including light fixtures and baseboards).  The contractor shall protect or move and return such property to its original position.

The contractor shall move and return furnishings (such as furniture, cabinets) to their original positions after completion of carpet cleaning.  The contractor shall clean the area and make it free of litter and debris.

C.2.4	JANITORIAL/CLEANING STANDARDS

The contractor shall complete the following requirements and the checklist in Section J, Exhibit 4.  All cleaning shall use appropriate industrial-quality cleaning supplies.  [Note to Contracting Officer:  insert specific standards for cleaning agents, see Exhibit 5]

The following items and areas shall be cleaned:  [Note to Contracting Officer: change as appropriate, and key to checklist in Section J.]

- Clean:

- all sinks, showers and other porcelain surfaces,

- mirrors,

- tile surfaces,

- fixtures in bathrooms, kitchens and other areas,

- installed appliances;

- vacuum all carpets,

- mop all floors,

- dust all closets, cabinets, and furniture;

- polish wood surfaces on cabinets and furniture,

- polish fixtures; and

- clean all balconies and other private outside areas.

C.2.5	PLUMBING SERVICES

The contractor shall perform the following plumbing inspection and repairs and use the checklist in Section J, Exhibit 4.  [Note to Contracting Officer: key to check list:]

- Inspect all plumbing work including:

- pipes, ducts, valves, dampers, fittings, waste water and sewer lines, traps, catch basins, hot water heaters, toilet fixtures, plugs, chains, hoses, down-spouts, and gutters for clogging and loose joints, restrictions, leaks, and other faulty conditions;

- Provide routine service such as:

- retightening, caulking, lubricating, and performing first echelon maintenance.

The contractor shall furnish all supplies and equipment needed for the repairs.

C.2.6	ELECTRICAL SERVICES

The contractor shall perform the following electrical services and use the checklist in Section J, Exhibit 4.  [Note to Contracting Officer: key to check list:]

- Evaluate the operating condition and safety of all systems and equipment, including:

- electrical outlets, switches, wiring, installed appliances, doorbells, intercoms, ceiling fans, light fixtures, water heaters, circuit breakers, fuse boxes and feed line connections.

- Make basic repairs, including:

- resetting circuit breakers or replacing fuses, fixing loose connections, replacing switches, etc.

The contractor will provide all materials.

C.2.7	HVAC SERVICES

The contractor shall perform the following HVAC services using the checklist in Section J, Exhibit 4.  [Note to Contracting Officer: key to check list:]

- Inspect all HVAC work including:

- pipes, ducts, valves, filters, dampers, fittings, waste water and sewer lines, traps, catch basins, toilet fixtures, down-spouts, and gutters for clogging and loose joints, restrictions, leaks, and other faulty conditions;

- provide routine servicing such as

- retightening, caulking, lubricating, replacing and/or washing filters, and performing first echelon maintenance.

The contractor shall furnish all supplies and equipment needed for the repairs.

Note the following specific requirements [Note to Contracting Officer:  modify as desired and key to checklist]:

- Inspect pumps for abnormal temperature, vibration, noise, and other trouble symptoms, and adjusting as necessary.

- Inspect valves for restriction, leaks and other trouble symptoms, and adjusting as necessary.

- Inspect cooling towers, checking condition of cooling water, if dirty replacing with clean water.

- Clean strainers when replacing cooling water.  Ensure that the water treatment equipment is properly working and that the water is being treated in accordance with manufacturer's recommendations.

- Perform cleaning, washing and/or replacing of all air filters for [Note to Contracting Officer: identify system], air handling and fan coil units.  The term "cleaning" means "dusting" where unwashable filters are used, "washing", where washable filters are used, and "replacing" where unwashable/throwaway filters are used.  [Note to Contracting Officer: identify who is to supply replacement filters]

- Make insulation tests, adjust relays, reset circuit breakers, and clean contact surfaces.

C.2.8	CARPENTRY SERVICES

The contractor shall perform the following carpentry services using the checklist in Section J, Exhibit 4.  [Note to Contracting Officer: key to check list:]

- The contractor shall inspect all:

- wood cabinets, closets, doors, moldings, panels, fixtures, furniture pieces, stairways, including railings, balustrades, treads, risers and nosings, along with all doors in the residence.  Also, inspect all toilet paper holders, soap trays, towel racks, shower curtain rods, toilet seats, medicine cabinets, venetian blind brackets, clothing rails, curtain rods, and any other like items.

- All necessary minor repairs shall be made to all items listed above, including:

- repairing, adjusting and/or replacing hinges, latches, closet rods, shelves, moldings and wood panels, cracks and chips, bathroom fixtures, curtain rods and venetian blinds, and caulking and staining repaired areas to match the color of the original wood.

C.2.9	ROOFING SERVICES

The contractor shall perform the following roofing services using the checklist in Section J, Exhibit 4.  [Note to Contracting Officer: key to check list:]

- The contractor shall inspect:

- the roof and eaves for leaks or other evidence of damage.

- Inspect all rain gutters and water drains for blockages and leaks, and inspect all water catchers for proper positioning.

- The contractor shall make minor repairs to:

- the roof membrane, including patching leaks, repairing shingles

- rain gutters and drains.  [Note to Contracting Officer: tailor language to fit local construction]

# C.2.10	GARDENING SERVICES

The contractor shall perform the following gardening services using the checklist in Section J, Exhibit 4.  [Note to Contracting Officer: key to check list:]

The contractor shall:

- Clean trash and debris from all lawn, yard, and garden areas.

- Mow lawns, trim hedges, prune trees, and remove weeds to present a neat and orderly appearance to the areas.

- Inspect sprinkling and other water delivery systems to ensure proper operation, and make repairs as necessary.

- Water all plants and lawns when finished.

C.2.11	MASONRY SERVICES

The contractor shall perform the following masonry services using the checklist in Section J, Exhibit 4.  [Note to Contracting Officer: key to check list:]

The contractor shall:

- Inspect all stone and concrete work, including exterior and interior walks, floors, partitions, walls, and stone facing, for breaks, cracks, crumbling and other deterioration.

- make necessary repairs.

C.2.12	GENERAL MECHANICAL SERVICES

The contractor shall perform the following general mechanical services using the checklist in Section J, Exhibit 4.  [Note to Contracting Officer: key to check list:]

The contractor shall:

- Inspect and repair all garage doors, fences, gates, windows, sliding doors, doorstops, and interior fixtures, including door knockers, and pull cords.

- Inspect and clean all vents, including kitchen, bathroom, and dryer vents.

C.2.13	SAFETY EQUIPMENT SERVICES

The contractor shall perform the following safety Equipment services using the checklist in Section J, Exhibit 4.  [Note to Contracting Officer: key to check list:]

The contractor shall inspect all fire extinguishers and fire extinguishing systems [Note to Contracting Officer: specify], smoke, heat, and carbon monoxide detectors in all areas for proper operation and report the results to the COR.

[Note to Contracting Officer:  This could be tailored to include contractor servicing of fire extinguishers and other safety equipment if desired.]

C.3	MAJOR REPAIRS

The contractor shall immediately inform the COR or the Embassy Buildings Management Office of major safety problems and the need for major and/or specialized repairs to any part of the serviced area of the residential unit.  The contractor shall also inform the COR of a major problem in the residential unit in a system or area that is not being serviced as well.  The contractor shall be liable for the costs for any damage that occurs as a result of the contractor’s negligence in its duty to inform the COR.  The contractor shall make efforts to minimize such trouble or damage in systems or areas being serviced until proper corrective action can be taken.

Major and specialized repairs shall be carried out by the Government, independent of this contract.

C.4	CONTRACTOR PERSONNEL

All personnel assigned by the contractor for the performance of the respective services shall be regular employees of the contractor, and shall be supervised by the contractor.  There shall be no employer-employee relationship between the Government and the personnel.  Subcontractors may only be employed with the express written consent of the Contracting Officer.

C.5	SUPERINTENDENCE BY CONTRACTOR

The entire operation of the contracted services shall be superintended by the contractor's bilingual (English/[Note to Contracting Officer: identify local language] liaison.  The liaison shall coordinate the performance of the contracted services with the needs of the Government.

The liaison, or a qualified assistant, shall be on duty throughout the normal operating hours of the Embassy listed in Section F.8.  The liaison shall also superintend the performance of the contracted services on Saturdays, Sundays, and holidays.  [Note to Contracting Officer: adjust as necessary]

C.6	QUALITY ASSURANCE

The contractor shall institute an appropriate inspection system including:

- Develop and maintain checklists of duties to be carried out,

- Ensure these duties are carried out by the supervisory staff and senior employees, and

- Perform inspections at all work locations to determine whether the various services are being performed according to the contract requirements.

The contractor shall provide copies of all inspection reports to the COR.

The contractor shall promptly correct and impove any shortcomings and/or substandard conditions noted in such inspections. The contractor shall to the attention of the Contracting Officer or COR, for disposition, any conditions beyond the responsibility of the contractor.

C.7	INSPECTION BY GOVERNMENT

The services performed and the supplies furnished for this contract will be inspected from time to time by the COR, or his/her authorized representatives, to determine that all work is being performed in a satisfactory manner, and that all supplies are of acceptable quality and standards.

The contractor shall be responsible for any corrective action, within the scope of this contract, which may be required by the Contracting Officer as a result of such inspection.

SECTION D - PACKAGING AND MARKING

D.1	The contractor shall mark materials delivered to [Note to Contracting Officer: insert location] as follows:

[Note to Contracting Officer insert markings]

SECTION E - INSPECTION AND ACCEPTANCE

E.1	52.252-2 CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates the following clauses by reference, with the same force and effect as if they were given in full text.  Upon request, the Contracting Officer will make their full text available.  Also, the full text of a clause may be accessed electronically at:

http://acquisition.gov/far/index.html or, http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  If the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use the Dept. of State Acquisition Website at http://www.statebuy.state.gov/ to see the links to the FAR.   You may also use an Internet “search engine” (e.g., Yahoo, Excite, Alta Vista, etc.) to obtain the latest location of the most current FAR.

FEDERAL ACQUISITION REGULATION (48 CFR CH. 1)

52.246-4	INSPECTION OF SERVICES - FIXED PRICE		AUG 1996

52.246-12	INSPECTION OF CONSTRUCTION 			AUG 1996

SECTION F - DELIVERIES OR PERFORMANCE

F.1	52.252-2 CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates the following clauses by reference, with the same force and effect as if they were given in full text.  Upon request, the Contracting Officer will make their full text available.  Also, the full text of a clause may be accessed electronically at:

http://acquisition.gov/far/index.html or, http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  If the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use the Dept. of State Acquisition Website at http://www.statebuy.state.gov/ to see the links to the FAR.   You may also use an Internet “search engine” (e.g., Yahoo, Excite, Alta Vista, etc.) to obtain the latest location of the most current FAR.

FEDERAL ACQUISITION REGULATION (48 CFR CH. 1)

52.242-14	SUSPENSION OF WORK 				APR 1984

52.242-15	STOP-WORK ORDER				AUG 1989

52.242-17	GOVERNMENT DELAY OF WORK		APR 1984

52.211-12	LIQUIDATED DAMAGES - CONSTRUCTION 	SEP 2000

(a)	If the contractor fails to complete the work within the time specified in the contract, or any extension, the contractor shall pay liquidated damages to the Government in the amount of [Note to Contracting Officer:  insert amount] for each calendar day of delay until the work is completed or accepted.

(b)	If the Government terminates the Contractor’s right to proceed, liquidated damages will continue to accrue until the work is completed.  These liquidated damages are in addition to excess costs of repurchase under the Termination clause.

F.2	Period of Performance.  The performance period of this contract is from the start date in Notice to Proceed and continuing for 12 months, with [Note to Contracting Officer: fill in number of option years.], one-year options to renew.  The initial period of performance includes any transition period authorized under the contract.

F.3.	DELIVERABLES

The contractor shall deliver the following items:

Description				Quantity	Delivery Date		Deliver to:

H.12.2 - Biographies of Personnel	1		10 days after award		COR

H.3 - Bonds				1		30 days after award		CO

H.4 - Insurance/Licenses

& Permits		1		30 days after award		CO

H.10.1 - Safety Plan			l		30 days after award		COR

H.7.1 - Waste Disposal Report	1		last day of each month 	COR

F.4	CONTRACTOR'S SUBMISSION OF WORK SCHEDULE FOR TASK ORDERS FOR MAJOR REPAIRS  [Note to Contracting Officer:  If a schedule is desired from the contractor for individual task orders, specifically list this item in the task order]

The time for submission of the schedules and General Instructions referenced in Section I, 52.236-15, "Schedules for Construction Contracts,” paragraph (a) is modified to reflect the due date for submission as [Note to Contracting Officer:  insert number of days] calendar days after receipt of an executed contract".  The contractor shall revise such schedules weekly:

- to account for the actual progress of the work,

- to reflect approved adjustments in the performance schedule, and

- as required by the Contracting Officer to achieve coordination with work by the Government and any separate contractors employed by the Government.

The contractor shall submit a schedule that sequences work to minimize disruption at the job site.

All deliverables shall be in the English language and any system of dimensions (such as English or metric) shown shall be consistent with the contract.  If the contractor has failed to act promptly and responsively in submitting its deliverables, the Government in approving such deliverables shall allow no extension of time for delay.  The Contractor shall identify each deliverable as required by the contract.

F.5	ACCEPTANCE OF SCHEDULE

When the Government has accepted any time schedule, it shall be binding on the contractor.  The completion date is fixed and may be extended only by a written modification to the task order signed by the Contracting Officer.  Acceptance or approval of any schedule or revision thereof by the Government shall not:

- extend the completion date or obligate the Government to do so,

- constitute acceptance or approval of any delay, nor

- excuse the contractor from or relieve the contractor of its obligation to maintain the progress of the work and achieve final completion by the established completion date.

F.6	NOTICE OF DELAY

The contractor shall notify the Government if the contractor receives a notice of any change in the work, or if any other conditions arise that may cause or are actually causing delays and the contractor believes may result in completion of the project after the completion date.  The notification shall state the effect, if any, of such change or other conditions upon the approved schedule, and shall state in what respects, if any, the relevant schedule or the completion date should be revised.  The contractor shall give such notice promptly, not more than ten (10) days following the first occurrence of event giving rise to the delay or prospective delay.  The contractor shall obtain the approval of the Contracting Officer for any revisions to the approved time schedule.

F.7	NOTICE TO PROCEED

(a)	Following receipt from the contractor of acceptable bonds or evidence of insurance within the time specified in Section H of this contract, the Contracting Officer will provide to the contractor a Notice to Proceed.  The contractor shall then begin work.

(b)	It is possible that the Contracting Officer may elect to issue the Notice to Proceed before receipt and acceptance of any bonds or evidence of insurance.  Issuance of a Notice to Proceed by the Government before receipt of the required bonds or insurance certificates or policies shall not be a waiver of the requirement to furnish these documents.

# F.8	WORKING HOURS

The contractor shall perform all work during [Note to Contracting Officer: insert time and days] except for the holidays identified in Sections I.15.  The Contracting Officer may approve other hours.  The contractor shall give 24 hours advance notice to the Contracting Officer, who may consider any deviation from the hours identified above.  Changes in work hours will not be a cause for a price increase if initiated by the Contractor.

F.9	EXCUSABLE DELAYS

The contractor will be allowed time, not money, for excusable delays as defined in FAR 52.249-10, Default.  Examples of such cases include:

(l)	acts of God or of the public enemy,

(2)	acts of the United States Government in either its sovereign or contractual capacity,

(3)	acts of the government of the host country in its sovereign capacity,

(4)	acts of another contractor in the performance of a contract with the Government,

(5)	fires,

(6)	floods,

(7)	epidemics,

(8)	quarantine restrictions,

(9)	strikes,

(l0)	freight embargoes,

(11)	delays in delivery of Government furnished equipment and

(12)	unusually severe weather.

In each instance, the failure to perform must be beyond the control and without the fault or negligence of the contractor, and the failure to perform furthermore

- must be one that the contractor could not have reasonably anticipated and taken adequate measures to protect against,

- cannot be overcome by reasonable efforts to reschedule the work, and

- directly and materially affects the date of final completion of the project.

F.10	POST AWARD CONFERENCE

The Government will hold a post award conference 10 days after contract award at [Note to Contracting Officer insert address] to discuss the location and type of residences to be serviced, submittals, personnel issues, procedures and other important matters concerning the contract.

SECTION G - CONTRACT ADMINISTRATION DATA

G.1 	652.242-70 CONTRACTING OFFICER'S REPRESENTATIVE (COR) (AUG 1999)

(a)	The Contracting Officer may designate in writing one or more Government employees, by name or position title, to take action for the Contracting Officer under this contract. Each designee shall be identified as a Contracting Officer’s Representative (COR). Such designation(s) shall specify the scope and limitations of the authority so delegated; provided, that the designee shall not change the terms or conditions of the contract, unless the COR is a warranted Contracting Officer and this authority is delegated in the designation.

(b)	The COR for this contract is [Note to Contracting Officer: insert name, job title, and contact information].

# G.1.2  Duties

The COR is responsible for inspection and acceptance of services. These duties include review of Contractor invoices, including the supporting documentation required by the contract. The COR may provide technical advice, substantive guidance, inspections, invoice approval, and other purposes as deemed necessary under the contract.

G.2	PAYMENT

G.2.1	GENERAL

The contractor shall follow Section I, 52.232-5, "Payments Under Fixed-Price Construction Contracts.”  The following subsections elaborate upon the information contained in that clause.

G.2.2	DETAIL OF PAYMENT REQUESTS

The contractor’s requests for payment, which shall be made no more frequently than monthly shall cover the value of labor and materials completed and in place, including a prorated portion of overhead and profit.

G.2.3	PAYMENTS TO SUBCONTRACTORS

The contractor shall make timely payment from the proceeds of the progress or final payment to subcontractors and suppliers following the contractor's contractual arrangements with them.

G.2.4	EVALUATION BY THE CONTRACTING OFFICER

The Contracting Officer shall make a determination as to the amount that is due after an inspection of the work.  The Contracting Officer shall advise the contractor if the Contracting Officer does not approve payment of the full amount applied for, less the retainage addressed in FAR 52.232-5.

G.2.5	ADDITIONAL WITHHOLDING

Independently of monies retained by the Government under FAR 52.232-5 the Government may withhold from payments due the contractor any amounts necessary to cover:

- Wages or other amounts due the contractor's employees on this project;

- Wages or other amounts due employees of subcontractors on this project;

- Amounts due suppliers of materials or equipment for this project; and

- Any other amounts that the contractor may be held liable under this contract, including but not limited to the actual or prospective costs of correction of defective work and costs for failure to make adequate progress.

G.2.6.	PAYMENT

In accordance with 52.232-27(a), the 14-day period identified in FAR 52.232-27(a)(1)(i)(A) is changed to 30 days.

G.3	RECORDKEEPING REQUIREMENTS

The contractor and the COR shall both maintain a complete and accurate management file.  The file shall contain, as a minimum, the following items:

(a)	The Government's copies of all task orders issued under this contract, and all inspection reports completed by the COR (OF-127).  These forms will be supplied to advise the contractor of service requests and to document the performance of all work.

(b)	[Note to Contracting Officer:  include the following phrase if applicable] Contractor’s Service Report forms, documenting arrival and departure time of the contractor's representative performing the service, and all information on parts installed for major repairs only.

(c)	Documentation of any complaints from post personnel or unusual incidents that may have taken place during the visit to the site.

[Note to Contracting Officer:  Include the following clause if VAT  will apply to this contract:]

G. [Note to Contracting Officer: select number]	The contractor shall show Value Added Tax (VAT) as a separate item on invoices submitted for payment.

SECTION H - SPECIAL CONTRACT REQUIREMENTS

[Note to Contracting Officer:  include the following paragraph if applicable.]

H.1	ISSUANCE OF ORAL TASK ORDERS

The Contracting Officer may issue oral task orders, as stated in Section B.4.1.  Any oral task orders issued shall be confirmed in writing within three days when the Mission is open for business.  U.S. or local holidays observed by the Mission and natural disasters or other emergencies that result in a suspension of normal operations shall not be counted against the three- day period.  In all cases, the Contractor must begin work after receipt of an oral order, without waiting for written confirmation.

H.2	ORDERING OFFICIAL

The designated ordering individual for this contract is the Contracting Officer.

H.3	BOND REQUIREMENTS

H.3.1	TYPE OF BONDS

### The contractor shall furnish:

(1)	a performance and guaranty bond and a payment bond on forms provided by and from sureties acceptable to the Government, each in the amount of 20% of the contract price, or

(2)	comparable alternate performance security approved by the Government such as a letter of credit shown in Section J.

H.3.2	TIME FOR SUBMISSION

The contractor shall provide the bonds required by paragraph H.1.1 within ten (10) days after contract award.  Failure to submit:

(1)	the required bonds other security acceptable to the Government;

(2)	bonds from an acceptable surety; or

- bonds in the required amount,

may result in rescinding or termination of the contract by the Government.

The contractor shall be liable for costs described in FAR 52.249-10, "Default (Fixed-Price Construction) if the contract is terminated.

H.3.3	COVERAGE

The bonds or alternate performance security shall guarantee:

(a)	the contractor's completion of the work within the contract time,

(b)	the correction of any defects after completion as required by this contract,

(c)	the payment of all wages and other amounts payable by the contractor under its subcontracts or for labor and materials, and

(d)	the satisfaction or removal of any liens or encumbrances placed on the work.

H.3.4	DURATION OF COVERAGE

The required performance and payment securities shall remain in effect in the full amount required until final acceptance of the project by the Government.  At that time, the penal sum of the performance security only shall be reduced to 10% of the contract price.  The performance security shall remain in effect for one year after the date of final completion and acceptance, and the contractor shall pay any premium required for the entire period of coverage.  The requirement for payment security terminates at final acceptance.

H.3.5	52.228-2  ADDITIONAL BOND SECURITY (OCT 1997)

The contractor shall promptly furnish additional security required to protect the Government and persons supplying labor or materials under this contract if –

- Any surety upon any bond, or issuing financial institution for other security, furnished with this contract becomes unacceptable to the Government;

- Any surety fails to furnish reports on its financial condition as required by the Government; or

- The contract price is increased so that the penal sum of any bond becomes inadequate in the opinion of the Contracting Officer; or

- An irrevocable letter of credit (ILC) used as security will expire before the end of the period of required security.  If the contractor does not furnish an acceptable extension or replacement ILC, or other acceptable substitute, at least 30 days before an ILC’s scheduled expiration, the Contracting Officer has the right to immediately draw on the ILC.

H.4	INSURANCE

H.4.1	AMOUNT OF INSURANCE

The contractor is required to provide whatever insurance is legally necessary under Section I, 52.228-5, "Insurance - Work on a Government Installation.”  The contractor shall, at its own expense, provide and maintain during the entire performance period the following insurance amounts:

General Liability (includes premises/operations, collapse hazard, products, completed operations, contractual, independent contractors, broad form property damage, personal injury)

(1)	Bodily Injury on or off the site stated in US Dollars:

Per Occurrence		$[Note to Contracting Officer: insert amounts]

Cumulative			$[Note to Contracting Officer: insert amounts]

(2)	Property Damage on or off the site in US Dollars:

Per Occurrence		$[Note to Contracting Officer: insert amounts]

Cumulative			$[Note to Contracting Officer: insert amounts]

The types and amounts of insurance are the minimums required.  The contractor shall obtain any other types of insurance required by local law or that are ordinarily or customarily obtained in the location of the work.  The limit of such insurance shall be as provided by law or sufficient to meet normal and customary claims.

The contractor agrees that the Government shall not be responsible for personal injuries or for damages to:

- any property of the contractor,

- its officers,

- agents,

- servants,

- employees, or

- any other person,

arising from and incident to the contractor's performance of this contract.

The contractor shall hold harmless and indemnify the Government from any and all claims arising, except in the instance of gross negligence on the part of the Government.

The contractor shall obtain adequate insurance for damage to, or theft of, materials and equipment in insurance coverage for loose transit to the site or in storage on or off the site.

H.4.2	GOVERNMENT AS ADDITIONAL INSURED

The general liability policy required of the contractor shall name "the United States of America, acting by and through the Department of State,” as an additional insured with respect to operations performed under this contract.

H.4.3	TIME FOR SUBMISSION OF EVIDENCE OF INSURANCE

The contractor shall provide evidence of the insurance within ten (10) days after contract award.  Failure to timely submit this evidence, in a form acceptable to the Contracting Officer, may result in rescinding or termination of the contract by the Government.

H.5	GOVERNING LAW

The laws of the United States shall govern the contract and the interpretation of the contract.

H.6	LANGUAGE PROFICIENCY

The manager, assigned by the contractor to superintend the work on-site required by 52.236-6, "Superintendence by the contractor” shall be fluent in written and spoken English.

H.7	LAWS AND REGULATIONS

H.7.1	COMPLIANCE REQUIRED

The contractor shall, without additional expense to the Government, be responsible for complying with all host country laws, codes, ordinances, and regulations applicable to the performance of the work, and with the lawful orders of any governmental authority having jurisdiction.  Host country authorities may not enter the construction site without the permission of the Contracting Officer.  Unless directed by the Contracting Officer, the contractor shall comply with the more stringent of:

(a)	the requirements of such laws, regulations and orders; or

(b)	the contract.

If a conflict between the contract and such laws, regulations and orders, the contractor shall promptly advise the Contracting Officer of the conflict and recommend a proposed course of action for resolution by the Contracting Officer.

H.7.2	LABOR, HEALTH AND SAFETY LAWS AND CUSTOMS

The contractor shall comply with all local labor laws, regulations, customs and practices pertaining to labor, safety, and similar matters, unless doing so would be inconsistent with the requirements of this contract.

H.7.3	SUBCONTRACTORS

The contractor shall give written assurance to the Contracting Officer that all subcontractors and others performing work on or for the project have obtained all required licenses and permits.

H.7.4	EVIDENCE OF COMPLIANCE

The contractor shall submit proper documentation and evidence of compliance with this clause to the Contracting Officer.

H.8	RESPONSIBILITY OF CONTRACTOR

H.8.1	DAMAGE TO PERSONS OR PROPERTY

The contractor shall be responsible for all damages to persons or property that occur as a result of the contractor's fault or negligence.  The contractor shall take proper safety and health precautions to protect the work, the workers, the public, and the property of others.

H.8.2	RESPONSIBILITY FOR WORK PERFORMED

The contractor shall be responsible for all materials delivered and work performed until final completion and acceptance of the entire work, except for any completed unit of work that may have been accepted in writing under the contract.

H.9	MAINTENANCE OPERATIONS

H.9.1	OPERATIONS AND STORAGE AREAS

(a)	Confinement to Authorized Areas.  The contractor shall confine all operations (including storage of materials) on Government premises to areas authorized or approved by the Contracting Officer.

(b)	Vehicular Access.  The contractor shall use only established site entrances and roadways.

H.9.2	USE OF PREMISES

(a)	Occupied Premises.  If the premises are occupied, the contractor, its subcontractors, and their employees shall comply with the regulations promulgated by the Government governing access to, operation of, and conduct while in or on the premises.  The contractor shall perform the work required under this contract without unreasonably interrupting or interfering with the conduct of Government business.

(b)	Requests from occupants.  The contractor shall refer to the Contracting Officer any request received by the contractor from occupants of existing buildings to change the sequence of work.

(c)	Access limited.  The contractor, its subcontractors and their employees shall not have access to or be admitted into any building or portion of the site outside the areas designated in this contract except with the permission of the Contracting Officer.

H.10	SAFETY

H.10.1	652.236-70	ACCIDENT PREVENTION (APR 2004)

(a)	General.  The contractor shall provide and maintain work environments and procedures which will safeguard the public and Government personnel, property, materials, supplies, and equipment exposed to contractor operations and activities; avoid interruptions of Government operations and delays in project completion dates; and, control costs in the performance of this contract.  For these purposes, the contractor shall:

(1)	Provide appropriate safety barricades, signs and signal lights;

(2)	Comply with the standards issued by any local government authority having jurisdiction over occupational health and safety issues; and,

(3)	Ensure that any additional measures the contracting officer determines to be reasonably necessary for this purpose are taken.

(4)	For overseas construction projects, the contracting officer shall specify in writing additional requirements regarding safety if the work involves:

(i)	Scaffolding;

(ii)	Work at heights above two (2) meters;

(iii)	Trenching or other excavation greater than one (1) meter in depth;

(iv)	Earth moving equipment;

(v)		(Temporary wiring, use of portable electric tools, or other recognized electrical hazards.  Temporary wiring and portable electric tools require the use of a ground fault circuit interrupter (GFCI) in the affected circuits; other electrical hazards may also require the use of a GFCI;

(vi)	Work in confined spaces (limited exits, potential for oxygen less that 19.5 percent or combustible atmosphere, potential for solid or liquid engulfment, or other hazards considered to be immediately dangerous to life or health such as water tanks, transformer vaults, sewers, cisterns, etc.);

(vii)	Hazardous materials – a material with a physical or health hazard including but not limited to, flammable, explosive, corrosive, toxic, reactive or unstable, or any operations which creates any kind of contamination inside an occupied building such as dust from demolition activities, paints, solvents, etc.; or

(viii)	Hazardous noise levels.

(b)	Records.  The contractor shall maintain an accurate record of exposure data on all accidents incident to work performed under this contract resulting in death, traumatic injury, occupational disease, or damage to or theft of property, materials, supplies, or equipment.  The contractor shall report this data in the manner prescribed by the contracting officer.

(c)	Subcontracts.	The contractor shall be responsible for its subcontractors’ compliance with this clause.

(d)	Written program.  Before commencing work, the contractor shall:

(1)	Submit a written plan to the contracting officer for implementing this clause.  The plan shall include specific management or technical procedures for effectively controlling hazards associated with the project; and,

(2)	Meet with the contracting officer to discuss and develop a mutual understanding relative to administration of the overall safety program.

(e)	Notification.  The contracting officer shall notify the contractor of any non-compliance with these requirements and the corrective actions required.  This notice, when delivered to the contractor or the contractor’s representative on site, shall be deemed sufficient notice of the non-compliance and corrective action required.  After receiving the notice, the contractor shall immediately take corrective action.  If the contractor fails or refuses to promptly take corrective action, the contracting officer may issue an order suspending all or part of the work until satisfactory corrective action has been taken.  The contractor shall not be entitled to any equitable adjustment of the contract price or extension of the performance schedule on any suspension of work order issued under this clause.

H.11	SUBCONTRACTORS AND SUPPLIERS

H.11.1	CLAIMS AND ENCUMBRANCES

The contractor shall satisfy all lawful claims of any persons or entities employed by the contractor, including:

(a)	subcontractors,

(b)	material men and laborers,

for all labor performed and materials furnished under this contract, including the applicable warranty or correction period.

The contractor shall not at any time permit any lien, attachment, or other encumbrance to be entered against or to remain on the building(s) or the premises as a result of nonperformance of any part of this contract.

H.11.2	APPROVAL OF SUBCONTRACTORS

(a)	Review and approval.  The Government reserves the right to review proposed subcontractors for a period of five (5) days before providing notice of approval or rejection.

(b)	Rejection of subcontractors.  The Government reserves the right to reject any or all subcontractors proposed if their participation in the project may cause damage to the national security interests of the United States.  The contractor agrees to promptly replace any subcontractor rejected by the Government under this clause.

H.12	CONTRACTER PERSONNEL

H.12.1	REMOVAL OF PERSONNEL

The contractor shall:

(a)	maintain discipline at the site and at all times;

(b)	take all reasonable precautions to prevent any unlawful, riotous or disorderly conduct by or amongst those employed at the site; and

(c)	take all reasonable precautions for the preservation of peace and protection of persons and property in the neighborhood of the project against unlawful, riotous, or disorderly conduct.

The Contracting Officer may require, in writing, that the contractor remove from the work any employee that the Contracting Officer determines:

(a)	incompetent,

(b)	careless,

(c)	insubordinate or

(d)	otherwise objectionable, or

(e)	whose continued employment on the project is deemed by the Contracting Officer to be contrary to the Government's interests.

H.12.2	MAINTENANCE PERSONNEL SECURITY

After award of the contract, the contractor  has ten (10) calendar days to submit to the Contracting Officer  a list of workers and supervisors assigned to this project for the Government to conduct security checks.  It is anticipated that security checks will take [Note to Contracting Officer: insert number of days] days to perform.  For each individual the list shall include:

- Full Name

- Place and Date of Birth

- Current Address

- Identification number

[Note to Contracting Officer: insert other information required]

Failure to provide any of the above information may be considered grounds for rejection and/or resubmittal of the application.  Once the Government has completed the security screening and approved the applicants a badge will be provided to the individual for access to the site.  The Government may revoke this badge at any time due to the falsification of data, or  misconduct on site.

H.13	MATERIALS AND EQUIPMENT

H.13.1	SELECTION AND APPROVAL OF MATERIALS

(a)	Standard of quality.  All materials and equipment incorporated into the work shall be new and for the purpose intended, unless otherwise specified.  All workmanship shall be of good quality and performed in a skillful manner as determined by the Contracting Officer.

(b)	Selection by contractor.  Where the contract permits the contractor to select products, materials or equipment to be incorporated into the work, or where specific approval is otherwise required by the contract, the contractor shall give the Contracting Officer, for approval:

(1)	The names of the manufacturer;

(2)	Model number;

(3)	Source of procurement of each such product, material or equipment; and

(4)	Other pertinent information concerning the:

(i)	Nature,

(ii)	Appearance,

(iii)	Dimensions,

(iv)	Performance,

(v)	Capacity, and

(vi)	Rating

unless otherwise required by the Contracting Officer.

The contractor shall provide this information in a timely manner to permit the Government to evaluate the information against the requirements of the contract.  The contractor shall provide a submittal register ten (10) days after contract award showing when shop drawings, samples, or submittals shall be made.  The contractor shall submit samples for approval at the contractor's expense, with all shipping charges prepaid, when directed to do so by the Contracting Officer or COR.  Installation or use of any products, materials or equipment without the required approval shall be at the risk of rejection.

H.13.2	CUSTODY OF MATERIALS

The contractor shall be responsible for the custody of all materials received for incorporation into the project, including Government furnished materials, upon delivery to the contractor or to any person for whom it is responsible, including subcontractors.  The contractor shall deliver all items to the site as soon as practicable.  The contractor shall clearly mark in a manner directed by the Contracting Officer all items of which the contractor has custody but that have not been delivered or secured at the site.  The contractor shall clearly indicate the use of such items for this U.S. Government project.

H.14	SURPLUS MATERIALS

Any surplus materials, fixtures, articles or equipment remaining at the completion of the project shall become the property of the contractor, except those items furnished by the Government, whose cost is not included in the contract price.

H.15	SPECIAL WARRANTIES

H.15.1	SPECIAL WARRANTY OBLIGATIONS

Any special warranties that may be required under the contract shall be subject to the terms of FAR 52.246-21, "Warranty of Construction," unless they conflict with the terms of such special warranties.

H.15.2	WARRANTY INFORMATION

The contractor shall obtain and furnish to the Government all information that is required to make any subcontractor's, manufacturers, or supplier's guarantee or warranty legally binding and effective.  The contractor shall submit both the information and the guarantee or warranty to the Government in sufficient time to permit the Government to meet any time limit specified in the guarantee or warranty, but not later than completion and acceptance of all work under this contract.

H.16	NONCOMPLIANCE WITH CONTRACT REQUIREMENTS

The Contracting Officer shall have the right to order the contractor to suspend any or all work under the contract until the contractor has complied or begun complying with the noncompliance notice in a reasonable period of time.  The contractor will not be entitled to any extension of contract time or payment for any costs incurred as a result of being ordered to suspend work for such a cause.  See FAR 52.252-14, Suspension of Work.

SECTION I - CONTRACT CLAUSES

I.1	52.252-2 CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates the following clauses by reference, with the same force and effect as if they were given in full text.  Upon request, the Contracting Officer will make their full text available.  Also, the full text of a clause may be accessed electronically at:

http://acquisition.gov/far/index.html or, http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  If the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use the Department of State Acquisition Website at http://www.statebuy.state.gov/ to see the links to the FAR.  You may also use an Internet “search engine” (e.g., Yahoo, Excite, Alta Vista, etc.) to obtain the latest location of the most current FAR.

FEDERAL ACQUISITION REGULATION (48 CFR CH. 1)

52.202-1	DEFINITIONS (Alternate I MAR 2001)			JUL 2004

52.203-3	GRATUITIES							APR 1984

52.203-5	COVENANT AGAINST CONTINGENT FEES 		APR 1984

52.203-6	RESTRICTIONS ON SUBCONTRACTOR SALES		SEPT 2006

TO THE GOVERNMENT

52.203-7	ANTI-KICKBACK PROCEDURES 				JUL 1995

52.203-8	CANCELLATION, RESCISSION, AND

RECOVERY OF FUNDS FOR ILLEGAL OR

IMPROPER ACTIVITY					JAN 1997

52.203-10 	PRICE OR FEE ADJUSTMENT FOR ILLEGAL 		JAN 1997

OR IMPROPER ACTIVITY

52.203-12	LIMITATION ON PAYMENTS TO INFLUENCE 		SEP 2005

CERTAIN FEDERAL TRANSACTIONS

52.204-4	PRINTING/COPYING DOUBLE-SIDED ON

RECYCLED PAPER 						AUG 2000

52.204-9 	PERSONAL VERIFICATION OF CONTRACTOR PERSONNEL

JAN 2006

52.209-6 	PROTECTING THE GOVERNMENT'S			JAN 2005

INTEREST WHEN SUBCONTRACTING WITH

CONTRACTORS DEBARRED, SUSPENDED, OR

PROPOSED FOR DEBARMENT

52.215-2	AUDIT AND RECORDS - NEGOTIATION		JUN 1999

52.215-8	ORDER OF PRECEDENCE 	- UNIFORM

CONTRACT FORMAT					OCT 1997

52.215-21	REQUIREMENTS FOR COST OR PRICING DATA 	OCT 1997

OR PRICING DATA OR INFORMATION OTHER

THAN COST OR PRICING DATA-MODIFICATIONS

52.216-7	ALLOWABLE COST AND PAYMENT			APR 1997
 ALTERNATE I						MAR 2000

    - NOTICE TO THE GOVERNMENT OF LABOR DISPUTES FEB 1997

    - CHILD LABOR – COOPERATION WITH

AUTHORITIES AND REMEDIES 				JAN 2006

52.222-50 	COMBATING TRAFFICKING IN PERSONS 		APR 2006

52.225-13	RESTRICTIONS ON CERTAIN FOREIGN			FEB 2006

PURCHASES

52.225-14	INCONSISTENCY BETWEEN ENGLISH			FEB 2000

VERSION AND TRANSLATION OF CONTRACT

[Note to Contracting Officer – See instructions on whether to also include FAR 52.228-3]

52.228-4	Workers’ Compensation and War-Hazard

Insurance Overseas 					APR 1984

52.228-5	INSURANCE-WORK ON A GOVERNMENT

INSTALLATION 						JAN 1997

52.228-11	PLEDGES OF ASSETS					FEB 1992

52.228-13	Alternative Payment Protection		JUL 2000

52.228-14	IRREVOCABLE LETTERS OF CREDIT			DEC 1999

52.229-6	TAXES - FOREIGN FIXED-PRICE	CONTRACTS		JUN 2003

52.232-1	PAYMENTS							MAY 2001

52.232-5	PAYMENTS UNDER FIXED-PRICE CONSTRUCTION	SEP 2002

CONTRACTS (applicable to individual task orders)

52.232-8	DISCOUNTS FOR PROMPT PAYMENT			FEB 2002

52.232-17	INTEREST							JUN 1996

52.232-18	AVAILABILITY OF FUNDS				APR 1984

52.232-25	PROMPT PAYMENT					OCT 2003

52.232-27	PROMPT PAYMENT FOR CONSTRUCTION CONTRACT SEP 2005

(applicable to individual task orders)

52.232-34	PAYMENT BY ELECTRONIC FUNDS TRANSFER – 	MAY 1999

# OTHER THAN CENTRAL CONTRACTOR

REGISTRATION

52.233-1	DISPUTES							JUL 2002

Alternate I (DEC 1991)

52.233-3	PROTEST AFTER AWARD					AUG 1996

    - APPLICABLE LAW FOR BREACH OF CONTRACT

CLAIM							OCT 2004

52.236-2	DIFFERING SITE CONDITIONS				APR 1984

52.236-3	SITE INVESTIGATIONS AND CONDITIONS

AFFECTING THE WORK					APR 1984

52.236-5	MATERIAL AND WORKMANSHIP			APR 1984

52.236-6	SUPERINTENDENCE BY THE CONTRACTOR		APR 1984

52.236-7	PERMITS AND RESPONSIBILITIES			NOV 1991

52.236-8	OTHER CONTRACTS					APR 1984

52.236-9	PROTECTION OF EXISTING VEGETATION,

STRUCTURES EQUIPMENT, UTILITIES, AND

IMPROVEMENTS						APR 1984

52.236-10	OPERATIONS AND STORAGE				APR 1984

52.236-11	USE AND POSSESSION PRIOR TO COMPLETION	APR 1984

52.236-12	CLEANING UP						APR 1984

52.236-14	AVAILABILITY AND USE OF UTILITY SERVICES	APR 1984

52.236-15	SCHEDULES FOR CONSTRUCTION CONTRACTS	APR 1984

52.236-21	SPECIFICATIONS AND DRAWINGS FOR

CONSTRUCTION 						FEB 1997

52.237-3	CONTINUITY OF SERVICES				JAN 1991

52.242-13	BANKRUPTCY						JUL 1995

52.243-1	CHANGES - FIXED-PRICE					AUG 1987

-- ALTERNATE II 						APR 1984

52.244-6	SUBCONTRACTS FOR COMMERCIAL ITEMS		FEB 2006

52.245-1	PROPERTY RECORDS					APR 1984

52.245-2	GOVERNMENT PROPERTY (FIXED-PRICE		MAY 2004

CONTRACTS) (ALTERNATE I – APR 1984)		APR 1984

52.246-21	WARRANTY OF CONSTRUCTION			MAR 1994

52.248-1	VALUE ENGINEERING 					FEB 2000

52.249-4	TERMINATION FOR CONVENIENCE OF THE 		APR 1984

GOVERNMENT (SERVICES) (SHORT FORM)

52.249-8	DEFAULT (FIXED-PRICE SUPPLY AND			APR 1984

(SERVICE)

52.253-1	COMPUTER GENERATED FORMS 			JAN 1991

652.237-71	IDENTIFICATION/BUILDING PASS 			APR 2004

I.2	52.203-08	CANCELLATION, RESCISSION, AND RECOVERY OF FUNDS FOR ILLEGAL OR IMPROPER ACTIVITY (JAN 1997)

(a)	If the Government receives information that a contractor or a person has engaged in conduct constituting a violation of subsection (a), (b), (c), or (d) of Section 27 of the Office of Federal Procurement Policy Act (41 U.S.C. 423 (The Act)), as amended by section 4304 of the 1996 National Defense Authorization Act for Fiscal Year 1996 (Public Law 104-106), the Government may-

(1)	Cancel the solicitation, if the contract has not yet been awarded or issued; or

(2)	Rescind the contract with respect to which-

(i)	The contractor or someone acting for the contractor has been convicted for an offense where the conduct constitutes a violation of subsection 27(a) or (b) of the Act for the purpose of either-

(A)	Exchanging the information covered by such subsections for anything of value; or

(B)	Obtaining or giving anyone a competitive advantage in the award of a Federal agency procurement contract; or

(ii)	The head of the contracting activity has determined, based upon a preponderance of the evidence, that the contractor or someone acting for the contractor has engaged in conduct constituting an offense punishable under subsections 27(e)(1) of the Act.

(b)	If the Government rescinds the contract under paragraph (a) of this clause, the Government is entitled to recover, in addition to any penalty prescribed by law, the amount expended under the contract.

(c)	The rights and remedies of the Government specified herein are not exclusive, and are in addition to any other rights and remedies provided by law, regulation, or under this contract.

I.3	52.216-18  ORDERING  (OCT 1995)

(a)	Any supplies and services to be furnished under this contract shall be ordered by issuance of delivery orders or task orders by the individuals or activities designated in the Schedule.  Such orders may be issued from date of award through base period or option periods if exercised.

(b)	All delivery orders or task orders are subject to the terms and conditions of this contract.  In the event of conflict between a delivery order or task order and this contract, the contract shall control.

(c)	If mailed, a delivery order or task order is considered "issued" when the Government deposits the order in the mail.  Orders may be issued orally, by facsimile, or by electronic commerce methods only if authorized in the Schedule.

I.4	52.216-19 ORDER LIMITATIONS.  (OCT 1995)

(a)	Minimum order.  When the Government requires supplies or services covered by this contract in an amount of less than [Note to Contracting Officer: insert dollar figure or quantity], the Government is not obligated to purchase, nor is the contractor obligated to furnish, those supplies or services under the contract.

(b)	Maximum order.  The contractor is not obligated to honor--

- Any order for a single item in excess of [Note to Contracting Officer: insert dollar figure or quantity];

- Any order for a combination of items in excess of [Note to Contracting Officer: insert dollar figure or quantity]; or

- A series of orders from the same ordering office within [Note to Contracting Officer: insert days] days that together call for quantities exceeding the limitation in subparagraph (1) or (2) above.

(c)	If this is a requirements contract (i.e., includes the Requirement clause at subsection 52.216-21 of the Federal Acquisition Regulation (FAR)), the Government is not required to order a part of any one requirement from the contractor if that requirement exceeds the maximum-order limitations in paragraph (b) above.

(d)	Notwithstanding paragraphs (b) and (c) above, the contractor shall honor any order exceeding the maximum order limitations in paragraph (b), unless that order (or orders) is returned to the ordering office within [Note to Contracting Officer: insert number] days after issuance, with written notice stating the contractor's intent not to ship the item (or items) called for and the reasons.  Upon receiving this notice, the Government may acquire the supplies or services from another source.

I.5.	52.216-22 INDEFINITE QUANTITY.  (OCT 1995)

(a)	This is an indefinite-quantity contract for the supplies or services specified, and effective for the period stated, in the Schedule.  The quantities of supplies and services specified in the Schedule are estimates only and are not purchased by this contract.

(b)	Delivery or performance shall be made only as authorized by orders issued in accordance with the Ordering clause.  The contractor shall furnish to the Government, when and if ordered, the supplies or services specified in the Schedule up to and including the quantity designated in the Schedule as the "maximum."  The Government shall order at least the quantity of supplies or services designated in the Schedule as the "minimum."

(c)	Except for any limitations on quantities in the Deliver-Order Limitations clause or in the Schedule, there is no limit on the number of orders that may be issued.  The Government may issue orders requiring delivery to multiple destinations or performance at multiple locations.

(d)	Any order issued during the effective period of this contract and not completed within that period shall be completed by the contractor within the time specified in the order.  The contract shall govern the contractor's and Government's rights and obligations with respect to that order to the same extent as if the order were completed during the contract's effective period; provided, that the contractor shall not be required to make any deliveries under this contract after one year beyond the contract’s effective period.

I.6	52.217-8  OPTION TO EXTEND SERVICES (NOV 1999)

The Government may require continued performance of any services within the limits and at the rates specified in the contract.  The option provision may be exercised more than once, but the total extension of performance hereunder shall not exceed 6 months.  The Contracting Officer may exercise the option by written notice to the contractor within the performance period of the contract.

I.7	52.217-9  OPTION TO EXTEND THE TERM OF THE CONTRACT (MAR 2000)

(a)	The Government may extend the term of this contract by written notice to the contractor within the performance period of the contract or within 30 days after funds for the option year become available, whichever is later.

(b)	If the Government exercises this option, the extended contract shall be considered to include this option clause.

(c)	The total duration of this contract, including the exercise of any options under this clause, shall not exceed [Note to Contracting Officer: insert number of  (months)(years)].

I.8	52.222-39   NOTIFICATION OF EMPLOYEE RIGHTS CONCERNING PAYMENT OF UNION DUES OR FEES (DEC 2004) (only if over $100,000)

- Definition. As used in this clause—

United States means the 50 States, the District of Columbia, Puerto Rico, the Northern Mariana Islands, American Samoa, Guam, the U.S. Virgin Islands, and Wake Island.

(b)	Except as provided in paragraph (e) of this clause, during the term of this contract, the Contractor shall post a notice, in the form of a poster, informing employees of their rights concerning union membership and payment of union dues and fees, in conspicuous

places in and about all its plants and offices, including all places where notices to employees are customarily posted. The notice shall include the following information (except that the information pertaining to National Labor Relations Board shall not be

included in notices posted in the plants or offices of carriers subject to the Railway Labor Act, as amended (45 U.S.C. 151– 188)).

Notice to Employees

Under Federal law, employees cannot be required to join a union or maintain membership in a union in order to retain their jobs. Under certain conditions, the law permits a union and an employer to enter into a union-security agreement requiring employees to pay uniform periodic dues and initiation fees. However, employees who are not union members can object to the use of their payments for certain purposes and can only be required to pay their share of union costs relating to collective bargaining, contract administration, and grievance adjustment.

If you do not want to pay that portion of dues or fees used to support activities not related to collective bargaining, contract administration, or grievance adjustment, you are entitled to an appropriate reduction in your payment. If you believe that you have been required to pay dues or fees used in part to support activities not related to collective bargaining, contract administration, or grievance adjustment, you may be entitled to a refund and to an appropriate reduction in future payments.

For further information concerning your rights, you may wish to contact the National Labor Relations Board (NLRB) either at one of its Regional offices or at the following address or toll free number:

National Labor Relations Board

Division of Information

1099 14th Street, N.W.

Washington, DC 20570

1– 866– 667– 6572

1– 866– 316– 6572 (TTY)

To locate the nearest NLRB office, see NLRB’s website at http://www.nlrb.gov.

(c)	The Contractor shall comply with all provisions of Executive Order 13201 of February 17, 2001, and related implementing regulations at 29 CFR part 470, and orders of the Secretary of Labor.

(d)	In the event that the Contractor does not comply with any of the requirements set forth in paragraphs (b), (c), or (g), the Secretary may direct that this contract be cancelled, terminated, or suspended in whole or in part, and declare the Contractor ineligible for further Government contracts in accordance with procedures at 29 CFR

part 470, Subpart B— Compliance Evaluations, Complaint Investigations and Enforcement Procedures. Such other sanctions or remedies may be imposed as are provided by 29 CFR part 470, which implements Executive Order 13201, or as are otherwise provided by law.

(e)	The requirement to post the employee notice in paragraph (b) does not apply to—

- Contractors and subcontractors that employ fewer than 15 persons;

- Contractor establishments or construction work sites where no union has been formally recognized by the Contractor or certified as the exclusive bargaining representative of the Contractor’s employees;

(3)	Contractor establishments or construction work sites located in a jurisdiction named in the definition of the United States in which the law of that jurisdiction forbids enforcement of union-security agreements;

(4)	Contractor facilities where upon the written request of the Contractor, the Department of Labor Deputy Assistant Secretary for Labor-Management Programs has waived the posting requirements with respect to any of the Contractor’s facilities if the Deputy Assistant Secretary finds that the Contractor has demonstrated that—

(i)	The facility is in all respects separate and distinct from activities of the Contractor related to the performance of a contract; and

(ii)	Such a waiver will not interfere with or impede the effectuation of the Executive order; or

(5)	Work outside the United States that does not involve the recruitment or employment of workers within the United States.

(f)	The Department of Labor publishes the official employee notice in two variations; one for contractors covered by the Railway Labor Act and a second for all other contractors. The Contractor shall—

(1)	Obtain the required employee notice poster from the Division of Interpretations and Standards, Office of Labor-Management Standards, U.S. Department of Labor, 200 Constitution Avenue, NW, Room N– 5605, Washington, DC 20210, or from any field office of the Department’s Office of Labor-Management Standards or Office of Federal Contract Compliance Programs;

(2)	Download a copy of the poster from the Office of Labor-Management Standards website at http://www.olms.dol.gov; or

(3)	Reproduce and use exact duplicate copies of the Department of Labor’s official poster.

(g) The Contractor shall include the substance of this clause in every subcontract or purchase order that exceeds the simplified acquisition threshold, entered into in connection with this contract, unless exempted by the Department of Labor Deputy Assistant Secretary for Labor–Management Programs on account of special circumstances in the national interest under authority of 29 CFR 470.3(c). For indefinite quantity subcontracts, the Contractor shall include the substance of this clause if the value of orders in any calendar year of the subcontract is expected to exceed the simplified acquisition threshold.  Pursuant to 29 CFR part 470, Subpart B— Compliance Evaluations, Complaint Investigations and Enforcement Procedures, the Secretary of Labor may direct the Contractor to take such action in the enforcement of these regulations, including the imposition of sanctions for noncompliance with respect to any such subcontract or purchase order. If the Contractor becomes involved in litigation with a subcontractor or vendor, or is threatened with such involvement, as a result of such direction, the Contractor may request the United States, through the Secretary of Labor, to enter into such litigation to protect the interests of the United States.

I.9	52.228-15  PERFORMANCE AND PAYMENT BONDS - CONSTRUCTION (NOV 2005)

(a)	As used in this clause-Contract-

“Original contract price” means the award price of the contract; or, for requirements contracts, the price payable for the estimated quantity; or, for indefinite-delivery type contracts, the price payable for the specified minimum quantity.  Original contract price does not include the price of any options, except those options exercised at the time of contract award.

(b)	Amount of required bonds.  Unless the resulting contract price is $100,000 or less, the successful offeror shall be required to furnish performance and payment bonds to the Contracting Officer as follows:

(l)	Performance Bonds (Standard Form 25).  The penal amount of performance bonds at the time of contract award shall be 20 percent of the original contract price.

(2)	Payment Bonds (Standard Form 25A) the penal amount of payment bonds shall be 20 percent of the original contract price.

(3)	Additional bond protection. (i) The Government may require additional performance and payment bond protection if the contract price is increased.  The increase in protection  generally will equal 20% of the increased in contract price.

- The Government may secure the additional protection by directing the contractor to increase the penal amount of the existing bond or to obtain an additional bond.

(c)	Furnishing executed bonds.  The contractor shall furnish all executed bonds, including any necessary reinsurance agreements, to the Contracting Officer, within the time period specified in the Bid Guarantee provision of the solicitation, or otherwise specified by the Contracting Officer, in any event, before starting work.

(d) Surety or other security for bonds. The bonds shall be in the form of firm commitment, supported by corporate sureties whose names appear on the list contained in Treasury Department Circular 570, individual sureties, or by other acceptable security such as postal money order, certified check, cashier's check, irrevocable letter of credit, or bonds or notes of the United States.  Treasury Circular 570 is published in the Federal Register or Department of Treasury, Financial Management Service, Surety Bond Branch, 3700 East West Highway, Room 6F01, Hyattsville, MD 20782.  Or via the internet at http:://www.fms.treas.gov/c570/.

- Notice of subcontractor waiver of protection (40 U.S.C. 3133(c).  Any waiver of the right to sue on the payment bond is void unless it is in writing, signed by the person whose right is waived, and executed after such person has furnished labor or material for use in the performance of the contract.

I.10	52.232-19 AVAILABILITY OF FUNDS FOR THE NEXT FISCAL YEAR.  (APR 1984)

Funds are not presently available for performance under this contract beyond September 30 of the current calendar year.  The Government's obligation for performance of this contract beyond that date is contingent upon the availability of appropriated funds from which payment for contract purposes can be made.  No legal liability on the part of the Government for any payment may arise for performance under this contract beyond September 30 of the current calendar year, until funds are made available to the Contracting Officer for performance and until the contractor receives notice of availability, to be confirmed in writing by the Contracting Officer.

DEPARTMENT OF STATE ACQUISITION REGULATION (DOSAR) CLAUSES:

I.11	652.243-70  NOTICES (AUG 1999)

Any notice or request relating to this contract given by either party to the other shall be in writing. Said notice or request shall be mailed or delivered by hand to the other party at the address provided in the schedule of the contract. All modifications to the contract must be made in writing by the contracting officer.

I.12	652.242-73  AUTHORIZATION AND PERFORMANCE (AUG 1999)

- The contractor warrants the following:

- That is has obtained authorization to operate and do business in the country or countries in which this contract will be performed;

- That is has obtained all necessary licenses and permits required to perform this contract; and,

- That it shall comply fully with all laws, decrees, labor standards, and regulations of said country or countries during the performance of this contract.

- If the party actually performing the work will be a subcontractor or joint venture partner, then such subcontractor or joint venture partner agrees to the requirements of paragraph (a) of this clause.

I.13	652.216-70	ORDERING - INDEFINITE-DELIVERY CONTRACT (APR 2004)

The Government shall use one of the following forms to issue orders under this contract:

(a)	The Optional Form 347, Order for Supplies or Services, and Optional Form 348, Order for Supplies or Services Schedule - Continuation; or,

(b)	The DS-2076, Purchase Order, Receiving Report and Voucher, and DS-2077, Continuation Sheet.

I.14	652.237-72	OBSERVANCE OF LEGAL HOLIDAYS AND ADMINISTRATIVE LEAVE  (APR 2004)

(a)	The Department of State observes the following days as holidays:

New Year’s Day

Martin Luther King’s Birthday

Washington’s Birthday

Memorial Day

Independence Day

Labor Day

Columbus Day

Veterans Day

Thanksgiving Day

Christmas Day

Any other day designated by Federal law, Executive Order, or Presidential Proclamation.

(b)	When any such day falls on a Saturday or Sunday, the following Monday is observed.  Observance of such days by Government personnel shall not be cause for additional period of performance or entitlement to compensation except as set forth in the contract. If the contractor’s personnel work on a holiday, no form of holiday or other premium compensation will be reimbursed either as a direct or indirect cost, unless authorized pursuant to an overtime clause elsewhere in this contract.

(c)	When the Department of State grants administrative leave to its Government employees, assigned contractor personnel in Government facilities shall also be dismissed.  However, the contractor agrees to continue to provide sufficient personnel to perform round-the-clock requirements of critical tasks already in operation or scheduled, and shall be guided by the instructions issued by the contracting officer or his/her duly authorized representative.

(d)	For fixed-price contracts, if services are not required or provided because the building is closed due to inclement weather, unanticipated holidays declared by the President, failure of Congress to appropriate funds, or similar reasons, deductions will be computed as follows:

(1)	The deduction rate in dollars per day will be equal to the per month contract price divided by 21 days per month.

(2)	The deduction rate in dollars per day will be multiplied by the number of days services are not required or provided.

If services are provided for portions of days, appropriate adjustment will be made by the contracting officer to ensure that the contractor is compensated for services provided.

(e)	If administrative leave is granted to contractor personnel as a result of conditions stipulated in any “Excusable Delays” clause of this contract, it will be without loss to the contractor. The cost of salaries and wages to the contractor for the period of any such excused absence shall be a reimbursable item of direct cost hereunder for employees whose regular time is normally charged, and a reimbursable item of indirect cost for employees whose time is normally charged indirectly in accordance with the contractor’s accounting policy.

I.15	652.225-71  SECTION 8(A) OF THE EXPORT ADMINISTRATION ACT OF 1979, AS AMENDED (AUG 1999)

- Section 8(a) of the U.S. Export Administration Act of 1979, as amended (50 U.S.C. 2407(a)), prohibits compliance by U.S. persons with any boycott fostered by a foreign country against a country which is friendly to the United States and which is not itself the object of any form of boycott pursuant to United States law or regulation.  The Boycott of Israel by Arab League countries is such a boycott, and therefore, the following actions, if taken with intent to comply with, further, or support the Arab League Boycott of Israel, are prohibited activities under the Export Administration Act:

- Refusing, or requiring any U.S. person to refuse to do business with or in Israel, with any Israeli business concern, or with any national or resident of Israel, or with any other person, pursuant to an agreement of, or a request from or on behalf of a boycotting country;

- Refusing, or requiring any U.S. person to refuse to employ or otherwise discriminating against any person on the basis of race, religion, sex, or national origin of that person or of any owner, officer, director, or employee of such person;

- Furnishing information with respect to the race, religion, or national origin of any U.S. person or of any owner, officer, director, or employee of such U.S. person;

- Furnishing information about whether any person has, has had, or proposes to have any business relationship (including a relationship by way of sale, purchase, legal or commercial representation, shipping or other transport, insurance, investment, or supply) with or in the State of Israel, with any business concern organized under the laws of the State of Israel, with any Israeli national or resident, or with any person which is known or believed to be restricted from having any business relationship with or in Israel;

- Furnishing information about whether any person is a member of, has made contributions to, or is otherwise associated with or involved in the activities of any charitable or fraternal organization which supports the State of Israel; and,    (6) Paying, honoring, confirming, or otherwise implementing a letter of credit which contains any condition or requirement against doing business with the State of Israel.    (b) Under Section 8(a), the following types of activities are not forbidden ``compliance with the boycott,'' and are therefore exempted from Section 8(a)'s prohibitions listed in paragraphs (a)(1)-(6) above:

(1)	Complying or agreeing to comply with requirements:

(i)	Prohibiting the import of goods or services from Israel or goods produced or services provided by any business concern organized under the laws of Israel or by nationals or residents of Israel; or,

(ii)	Prohibiting the shipment of goods to Israel on a carrier of Israel, or by a route other than that prescribed by the boycotting country or the recipient of the shipment;

(2)	Complying or agreeing to comply with import and shipping document requirements with respect to the country of origin, the name of the carrier and route of shipment, the name of the supplier of the shipment or the name of the provider of other services, except that no information knowingly furnished or conveyed in response to such requirements may be stated in negative, blacklisting, or similar exclusionary terms, other than with respect to carriers or route of shipments as may be permitted by such regulations in order to comply with precautionary requirements protecting against war risks and confiscation;

(3)	Complying or agreeing to comply in the normal course of business with the unilateral and specific selection by a boycotting country, or national or resident thereof, of carriers, insurance, suppliers of services to be performed within the boycotting country or specific goods which, in the normal course of business, are identifiable by source when imported into the boycotting country;

(4)	Complying or agreeing to comply with the export requirements of the boycotting country relating to shipments or transshipments of exports to Israel, to any business concern of or organized under the laws of Israel, or to any national or resident of Israel;

(5)	Compliance by an individual or agreement by an individual to comply with the immigration or passport requirements of any country with respect to such individual or any member of such individual's family or with requests for information regarding requirements of employment of such individual within the boycotting country; and,

(6)	Compliance by a U.S. person resident in a foreign country or agreement by such person to comply with the laws of that country with respect to his or her activities exclusively therein, and such regulations may contain exceptions for such resident complying with the laws or regulations of that foreign country governing imports into such country of trademarked, trade named, or similarly specifically identifiable products, or components of products for his or her own use, including the performance of contractual services within that country, as may be defined by such regulations.

I.16	652.229-71  PERSONAL PROPERTY DISPOSITION AT POSTS ABROAD (AUG 1999)

- The contractor warrants the following:

(1)	That is has obtained authorization to operate and do business in the country or countries in which this contract will be performed;

(2)	That is has obtained all necessary licenses and permits required to perform this contract; and,

(3)	That it shall comply fully with all laws, decrees, labor standards, and regulations of said country or countries during the performance of this contract.

(b)	If the party actually performing the work will be a subcontractor or joint venture partner, then such subcontractor or joint venture partner agrees to the requirements of paragraph (a) of this clause.

[Note to Contracting Officer: See instructions on whether to add DBA clause 652.228-71  WORKERS’ COMPENSATION INSURANCE (DEFENSE BASE ACT)--SERVICES (JUN 2006)]

SECTION J - LIST OF DOCUMENTS, EXHIBITS AND OTHER ATTACHMENTS

Exhibit 1		List of Currently Held Residential Properties

Exhibit 2		Sample Task Order Form

Exhibit 3		List of Properties Requiring Make-Ready Services in the Previous Calendar Year

Exhibit 4		Technical Specifications and Checklists

Exhibit 5		Government Furnished Property [Note to Contracting Officer:  insert if the Government is going to furnish any property.]

Exhibit 6		Sample Monthly Report Form

# Exhibit 7		Contractor Furnished Property

Exhibit 8		Sample Bank Letter of Guaranty

Exhibit 1

List of Currently Held Residential Properties

[NOTE to Contracting Officer:  List all residential properties to be serviced under this contract, along with addresses, square meters/footage, and other special requirements for individual units.  Include a note that this list is subject to change.]

Exhibit 2

Sample Task Order Form

Task Order # _______		Approval:    		Page 1 of

________________________________________________________________________

Requestor:  _________		Telephone #:		Priority

________________________________________________________________________

Property #__________		Equipment:		Requested Date:

or address__________					Due:

Unit:								Shop:

________________________________________________________________________

Task #				Description

Approved: _____________	Reviewed by: _________	Printed by: ______________

Customer Signature :

Comments:

Worker's Name				Worker's ID:

Worker's Signature:				Completion Date:

FOR MAJOR REPAIRS ONLY:

Work: ________OT: ________Travel:_______OT: ________Wait: ______OT:______

Materials used (use other side as needed):

Exhibit 3

List of Properties Requiring Make-Ready Services in the Previous Calendar Year

[Note to Contracting Officer:  This is to provide prospective offerors with an estimate of the average volume and type of work.]

Exhibit 4

Technical Specifications and Checklists

[Note to Contracting Officer:  Include any technical specifications here, along with the following checklists for services included in the contract--key the checklists to the specifications in Section C for each service.]

Cleaning Services Check List

| Item | Completed | Notes |
| --- | --- | --- |

Plumbing Services Check List

| Item | Completed | Notes |
| --- | --- | --- |

Electrical Services Check List

| Item | Completed | Notes |
| --- | --- | --- |

HVAC Services Check List

| Item | Completed | Notes |
| --- | --- | --- |

Carpentry Services Check List

| Item | Completed | Notes |
| --- | --- | --- |

Roofing Services Check List

| Item | Completed | Notes |
| --- | --- | --- |

Gardening Services Check List

| Item | Completed | Notes |
| --- | --- | --- |

Masonry Services Check List

| Item | Completed | Notes |
| --- | --- | --- |

General Mechanical Services Check List

| Item | Completed | Notes |
| --- | --- | --- |

Safety Equipment Services Check List

| Item | Completed | Notes |
| --- | --- | --- |

Exhibit 5

Government Furnished Property

[Note to Contracting Officer; identify if any will be provided, and the quantities.]

[NOTE to Contracting Officer:  If any material is to be provided as GFP, it should be listed here, so that all offerors can price their proposals with the same set of assumptions.  If there is to be no GFE, state that here.

If post is adopting a “green” policy, then adhere to the following guidance:

If GFP will be provided, post should use environmentally preferable chemical cleaning products.  Information on environmentally preferable products (EPP) is available on the Internet at http://www.epa.gov/opptintr/epp.htm.

All non-chemical products (paper, plastic, etc.) to be provided as GFP should conform to the Environmental Protection Agency (EPA) Comprehensive Procurement Guide (CPG) if the products are CPG-designated items.  CPG information is available on the Internet at http://www.epa.gov/cpg.  Products that meet the desired objective (ability to clean effectively) and are not CPG-designated items should also contain the highest-possible amounts (by percentage) of recovered material(s) and post-consumer content.

Exhibit 6

Monthly Report

Monthly Report for the Month of _____________

AMERICAN EMBASSY, ___________

1.	Services requested during the month:

Task Order    		Location/Description		Dates		Status

__________		____________________	________ 	__________________

__________		____________________	________	__________________

__________		____________________	________	__________________

__________		____________________	________	__________________

__________		____________________	________	__________________

__________		____________________	________	__________________

__________		____________________	________	__________________

__________		____________________	________	__________________

__________		____________________	________	__________________

__________		____________________	________	__________________

2.	Other Notes (include task order number):

A.	Problems Encountered:  _______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

B.	Major Repairs Needed:		_________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

C.	Major Repairs Made [Note to Contracting Officer: include in form if applicable to the contract]:  _______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

D.	Recommendations  _______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

_______________________________________________________________________

Signed by_________________________      Date _____________________

Exhibit 7

Contractor Furnished Property

[Note to Contracting Officer: List here the equipment and supplies that the contractor is to provide.  Prospective offerors need as much information as possible to submit intelligent proposals.  When specifying contractor furnished materials, Contracting Officer should, with the assistance and guidance of other interested post officials, give consideration to specifying the minimum requirements.

The Department has adopted a “Buying Green” policy that advocates the use of environmentally friendly products used in janitorial contracts.  Information about this program may be found at A/OPE’s Internet web site, http://www.statebuy.gov by clicking on “Buying Green,” which provides links to other “green” web sites, including GSA Advantage’s “green” products.

The goal of the program is to ensure that cleaning products and supplies exhibit the following characteristics:

- Lower toxicity/non-carcinogenic

- Reduced skin, eye, and respiratory irritability

- Biodegradability

- No unnecessary dies or fragrances

- Recycled content/recovered materials

If post is adopting a “green” policy, then include the following:

The contractor shall use only environmentally preferable chemical cleaning-products.  The contractor shall identify products by brand name for each of the following product types:

(a)	All-purpose cleaner

(b)	General degreaser

(c)	General disinfectant

(d)	Graffiti remover

(e)	Chrome and brass cleaner/polish

(f)	Glass cleaner

(g)	Furniture polish

(h)	Floor stripper

(i)	Floor finisher

(j)	Carpet cleaner

(k)	Solvent spotter

(l)	Gum remover

(m) Wood floor finish

(n)	Bathroom hand cleaner/soap

(o)	Bathroom disinfectant

(p)	Bathroom cleaner

(q)	Bathroom  deodorizers

(r)	Urinal deodorizers

(s)	Lime and scale remover

In addition, the contractor shall provide following non-chemical products containing the maximum feasible amount of recovered materials:

(1)	Bathroom tissue - The bathroom tissue must contain at least 100% recovered materials and 50% post-consumer content.

(2)	Toilet Seat Covers - Toilet seat covers must contain at least 100% recovered materials and 50% post-consumer content.

(3)	Paper Towels - The paper towels must contain at least 100% recovered materials and 40% post-consumer content.

(4)	General Purpose industrial wipes - The general purpose industrial wipes must contain at least 100% recovered materials and 40% post-consumer content.

(5)	Plastic trash bags - Plastic trash bags must contain at least 25% post-consumer content.

Information on environmentally preferable products (EPP) is available on the Internet at http://www.epa.gov/opptintr/epp.htm.

All non-chemical products (paper, plastic, etc.) should conform to the Environmental Protection Agency (EPA) Comprehensive Procurement Guide (CPG) if the products are CPG-designated items.  CPG information is available on the Internet at http://www.epa.gov/cpg.

Contractors may propose more than one product within a product category and/or propose a product or products addressing more than one product category.

Once this list of products has been approved by the Contracting Officer, the Contractor is responsible for using only those approved cleaning chemical products in the building.  If for some reason the product is found later to be ineffective, the Contractor would otherwise like to propose an alternative product, or the Contracting Officer would like to propose a more environmentally preferable product, either the Contractor or Contracting Officer may propose for consideration an “equal” product.  If the parties agree to the replacement product, the contract will be modified.

# Exhibit 8

# SAMPLE LETTER OF BANK GUARANTY

Place [         ]

Date [          ]

Contracting Officer

U.S. Embassy, [Post name]

[Mailing Address]

Letter of Guaranty No. _______

SUBJECT: Performance and Guaranty

The Undersigned, acting as the duly authorized representative of the bank, declares that the bank hereby guarantees to make payment to the Contracting Officer by check made payable to the Treasurer of the United States, immediately upon notice, after receipt of a simple written request from the Contracting Officer, immediately and entirely without any need for the Contracting Officer to protest or take any legal action or obtain the prior consent of the Contractor to show any other proof, action, or decision by an other authority, up to the sum of [Amount equal to 20% of the contract price in U.S. dollars during the period ending with the date of final acceptance and 10% of the contract price during contract guaranty period], which represents the deposit required of the contractor to guarantee fulfillment of his obligations for the satisfactory, complete, and timely performance of the said contract [contract number] for [description of work] at [location of work] in strict compliance with the terms, conditions and specifications of said contract, entered into between the Government and [name of contractor] of [address of contractor] on [contract date], plus legal charges of 10% per annum on the amount called due, calculated on the sixth day following receipt of the Contracting Officer’s written request until the date of payment.

The undersigned agrees and consents that said contract may be modified by Change Order or Supplemental Agreement affecting the validity of the guaranty provided, however, that the amount of this guaranty shall remain unchanged.

The undersigned agrees and consents that the Contracting Officer may make repeated partial demands on the guaranty up to the total amount of this guaranty, and the bank will promptly honor each individual demand.

This letter of guaranty shall remain in effect until 3 months after completion of the guaranty period of Contract requirement.

————————————————————————————————-

Depository Institution: [Name]

Address:						Location: ______________

Representative(s): ___________  ___________	State of Inc.: ____________

___________  ___________	Corporate Seal:

___________  ___________

————————————————————————————————-

Certificate of Authority is attached evidencing authority of the signer to bind the bank to this document.

SECTION K - REPRESENTATIONS, CERTIFICATIONS, AND OTHER STATEMENTS OF OFFERORS

K.1	52.203-2 CERTIFICATE OF INDEPENDENT PRICE DETERMINATION. (APR 1985)

(a)	The offeror certifies that -

(1)	The prices in this offer have been arrived at independently, without, for the purpose of restricting competition, any consultation, communication, or agreement with any other offeror or competitor relating to (i) those prices, (ii) the intention to submit an offer, or (iii) the methods or factors used to calculate the prices offered;

(2)	The prices in this offer have not been and will not be knowingly disclosed by the offeror, directly or indirectly, to any other offeror or competitor before bid opening (in the case of a sealed bid solicitation) or contract award (in the case of a negotiated solicitation) unless otherwise required by law; and

(3)	No attempt has been made or will be made by the offeror to induce any other concern to submit or not to submit an offer for the purpose of restricting competition.

(b)	Each signature on the offer is considered to be a certification by the signatory that the signatory -

(1)	Is the person in the offeror's organization responsible for determining the prices being offered in this bid or proposal, and that the signatory has not participated and will not participate in any action contrary to subparagraphs (a)(1) through (a)(3) above; or

(2)(i)	Has been authorized, in writing, to act as agent for the following principals in certifying that those principals have not participated, and will not participate in any action contrary to subparagraphs (a)(1) through (a)(3) above ____________________________________________________________ (insert full name of person(s) in the offeror's organization responsible for determining the prices offered in this bid or proposal, and the title of his or her position in the offeror's organization);

(ii)	As an authorized agent, does certify that the principals named in subdivision (b)(2)(i) above have not participated, and will not participate, in any action contrary to subparagraphs (a)(1) through (a)(3) above; and

(iii)	As an agent, has not personally participated, and will not participate, in any action contrary to subparagraphs (a)(1) through (a)(3) above.

(c)	If the offeror deletes or modifies subparagraph (a)(2) above, the offeror must furnish with its offer a signed statement setting forth in detail the circumstances of the disclosure.

K.2	52.203-11  CERTIFICATION AND DISCLOSURE REGARDING PAYMENTS TO INFLUENCE CERTAIN FEDERAL TRANSACTIONS (SEP 2005)

(a)	The definitions and prohibitions contained in the clause, at FAR 52.203-12, Limitation on Payments to Influence Certain Federal Transactions, included in this solicitation, are hereby incorporated by reference in paragraph (b) of this certification.

(b)	The offeror, by signing its offer, hereby certifies to the best of his or her knowledge and belief that on or after December 23, 1989,

(1)	No Federal appropriated funds have been paid or will be paid to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress, or an employee of a Member of Congress on his or her behalf in connection with the awarding of this contract;

(2)	If any funds other than Federal appropriated funds (including profit or fee received under a covered Federal transaction) have been paid, or will be paid to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress, or an employee of a Member of Congress on his or her behalf in connection with this solicitation, the offeror shall complete and submit, with its offer, OMB standard form LLL, Disclosure of Lobbying Activities, to the Contracting Officer; and

(3)	He or she will include the language of this certification in all subcontract awards at any tier and require that all recipients of subcontract awards in excess of $100,000 shall certify and disclose accordingly.

(c)	Submission of this certification and disclosure is a prerequisite for making or entering into this contract imposed by section 1352, title 31, United States Code.  Any person who makes an expenditure prohibited under this provision or who fails to file or amend the disclosure form to be filed or amended by this provision, shall be subject to a civil penalty of not less than $10,000, and not more than $100,000, for each such failure.

K.3	52.204-3  TAXPAYER IDENTIFICATION (OCT 98)

- Definitions

"Common parent", as used in this provision, means that corporate entity that owns or controls an affiliated group of corporations that files its Federal income tax returns on a consolidated basis, and of which the offeror is a member.

"Taxpayer Identification Number (TIN)", as used in this provision, means the number required by the IRS to be used by the offeror in reporting income tax and other returns.  The TIN may be either a Social Security Number or an Employer Identification Number.

(b)	All offerors must submit the information required in paragraphs (d) through (f) of this provision in order to comply with debt collection requirements of 31 U.S.C. 7701(c) and 3325 (d), reporting requirements of 26 USC 6041, 6041A, and 6050M and implementing regulations issued by the Internal Revenue Service (IRS).  If the resulting contract is subject to the reporting requirements described in FAR 4.904, the failure or refusal by the offeror to furnish the information may result in a 31 percent reduction of payments otherwise due under the contract.

(c)	The TIN may be used by the Government to collect and report on any delinquent amounts arising out of the offeror’s relationship with the Government (3l USC 7701( c)(3)).  If the resulting contract is subject to the payment reporting requirements described in FAR 4.904, the TIN provided hereunder may be matched with IRS records to verify the accuracy of the offeror’s TIN.

(d)	Taxpayer Identification Number (TIN).

TIN:	____________________________

___	TIN has been applied for.

___	TIN is not required because:

__	Offeror is a nonresident alien, foreign corporation, or foreign partnership that does not have income effectively connected with the conduct of a trade or business in the U.S. and does not have an office or place of business or a fiscal paying agent in the U.S.;

__	Offeror is an agency or instrumentality of a foreign government;

__	Offeror is an agency or instrumentality of the Federal Government.

(e)	Type of Organization.

__	Sole Proprietorship;

__	Partnership:

__	Corporate Entity (not tax exempt);

__	Corporate Entity (tax exempt);

__	Government entity (Federal, State, or local);

__	Foreign government;

__	International organization per 26 CFR 1.6049-4;

__	Other ___________________________________________

(f)	Common Parent.

___  Offeror is not owned or controlled by a common parent as defined in paragraph (a) of this clause.

___ Name and TIN of common parent;

Name _______________________________________________

TIN ________________________________________________

(End of provision)

Note to Contracting Officer:  If you include FAR 52.204-7  in the solicitation, delete FAR 52.204-6.

K.4	52.204-6  CONTRACTOR IDENTIFICATION NUMBER -DATA UNIVERSAL NUMBERING SYSTEM (DUNS) NUMBER (OCT 2003)

(a)	The offeror shall enter, in the block with its name and address on the cover page of its offer, the annotation “DUNS” or “DUNS+4” followed by the DUNS number or DUNS+4 that identifies the offeror’s name and address exactly as stated in the offer.  The DUNS number if a nine-digit number assigned by Dun and Bradstreet Information Services.  The DUNS+4 is the DUNS number plus a 4-character suffix that may be assigned at the discretion of the offeror to establish additional CCR records for identifying alternative Electronic Funds Transfer (EFT) accounts (see Subpart 32.11) for the same parent company.

If the offeror does not have a DUNS number, it should contact Dun and Bradstreet directly to obtain one.

An offeror may obtain a DUNS number-

If located within the United States, by calling Dun and Bradstreet at 1-866-705-5711 or via the Internet at http://www.dnb.com; or If located outside the United States, by contacting the local Dun and Bradstreet office.

(2)	The offeror should be prepared to provide the following information:

Company legal business name.

Trade style, doing business, or other name by which your entity is commonly recognized.

Company physical street address, city, state and Zip Code.

Company mailing address, city, state and Zip Code (if separate from physical) Company telephone number

Date the company was started.

Number of employees at your location.

Chief executive officer/key manager.

Line of business (industry)

Company Headquarters name and address (reporting relationship within your entity).

### K.5	52.204-8 ANNUAL REPRESENTATIONS AND CERTIFICATIONS (JAN 2006)

(a)(1) The North American Industry Classification System (NAICS) code for this acquisition is 23322.

(2) The small business size standard is 5 million.

(3) The small business size standard for a concern which submits an offer in its own name, other than on a construction or service contract, but which proposes to furnish a product which it did not itself manufacture, is 500 employees.

(b)(1) If the clause at 52.204-7, Central Contractor Registration, is included in this solicitation, paragraph (c) of this provision applies.

(2) If the clause at 52.204-7 is not included in this solicitation, and the offeror is currently registered in CCR, and has completed the ORCA electronically, the offeror may choose to use paragraph (c) of this provision instead of completing the corresponding individual representations and certifications in the solicitation. The offeror shall indicate which option applies by checking one of the following boxes:

[  ] (i) Paragraph (c) applies.

[  ] (ii) Paragraph (c) does not apply and the offeror has completed the individual representations and certifications in the solicitation.

(c) The offeror has completed the annual representations and certifications electronically via the Online Representations and Certifications Application (ORCA) website at http://orca.bpn.gov. After reviewing the ORCA database information, the offeror verifies by submission of the offer that the representations and certifications currently posted electronically have been entered or updated within the last 12 months, are current, accurate, complete, and applicable to this solicitation (including the business size standard applicable to the NAICS code referenced for this solicitation), as of the date of this offer and are incorporated in this offer by reference (see FAR 4.1201); except for the changes identified below [offeror to insert changes, identifying change by clause number, title, date]. These amended representation(s) and/or certification(s) are also incorporated in this offer and are current, accurate, and complete as of the date of this offer.

FAR Clause # Title Date Change

____________ _________ _____ _______

Any changes provided by the offeror are applicable to this solicitation only, and do not result in an update to the representations and certifications posted on ORCA.

(End of provision)

K.6	52.209-5 CERTIFICATION REGARDING DEBARMENT, SUSPENSION, PROPOSED DEBARMENT, AND OTHER RESPONSIBILITY MATTERS (DEC 2001)

(a)	(1)	The Offeror certifies, to the best of its knowledge and belief, that-

(i)	The Offeror and/or any of its Principals-

(A)		Are    are not    presently debarred, suspended, proposed for debarment, or declared ineligible for the award of contracts by any Federal agency;

(B)		Have   have not   , within a three year period preceding this offer, been convicted of or had a civil judgment rendered against them for commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (Federal, state, or local) contract or subcontract; violation of Federal or state antitrust statutes relating to the submission of offers; or commission of embezzlement, theft, forgery, bribery, falsification or destruction of records, making false statements, tax evasion or receiving stolen property; and

(C)		Are__ are not __ presently indicated for, or otherwise criminally or civilly charged by a governmental entity with, commission of any of the offenses enumerated in paragraph (a)(1)(i)(B) of this provision.

(ii) The Offeror has [ ] has not [ ], within a three-year period preceding this offer, had one or more contracts terminated for default by any Federal agency.

(2)	"Principals," for the purpose of this certification, means officers; directors; owners; partners; and, persons having primary management or supervisory responsibilities within a business entity (e.g., general manager; plant manager; head of a subsidiary, division, or business segment, and similar positions).

THIS CERTIFICATION CONCERNS A MATTER WITHIN THE JURISDICTION OF AN AGENCY OF THE UNITED STATES AND THE MAKING OF A FALSE, FICTITIOUS, OR FRAUDULENT CERTIFICATION MAY RENDER THE MAKER SUBJECT TO PROSECUTION UNDER SECTION 1001, TITLE 18, UNITED STATES CODE.

(b)	The Offeror shall provide immediate written notice to the Contracting Officer if, at any time prior to contract award, the Offeror learns that its certification was erroneous when submitted or has become erroneous by reason of changed circumstances.

(c)	A certification that any of the items in paragraph (a) of this provision exists will not necessarily result in withholding of an award under this solicitation.  However, the certification will be considered in connection with a determination of the Offeror's responsibility.  Failure of the Offeror to furnish a certification or provide such additional information as requested by the Contracting Officer may render the Offeror non-responsible.

(d)	Nothing contained in the foregoing shall be construed to require establishment of a system of records in order to render, in good faith, the certification required by paragraph (a) of this provisions.  The knowledge and information of an Offeror is not required to exceed that which is normally possessed by a prudent person in the ordinary course of business dealings.

(e)	The certification in paragraph (a) of this provision is a material representation of fact upon which reliance was placed when making award.  If it is later determined that the Offeror knowingly rendered an erroneous certification, in addition to other remedies available to the Government, the Contracting Office may terminate the contract resulting from this solicitation for default.

K.7	RESERVED

### K.8	AUTHORIZED CONTRACT ADMINISTRATOR

If the offeror does not fill-in the blanks below, the official who signed the offer will be deemed to be the offeror's representative for contract administration, which includes all matters pertaining to payments.

Name:

Address:

Telephone Number:

K.9	652.225-70  ARAB LEAGUE BOYCOTT OF ISRAEL (AUG 1999)

(a)	Definitions.  As used in this provision:

Foreign person means any person other than a United States person as defined below.

United States person means any United States resident or national (other than an individual resident outside the United States and employed by other than a United States person), any domestic concern (including any permanent domestic establishment of any foreign concern), and any foreign subsidiary or affiliate (including any permanent foreign establishment) of any domestic concern which is controlled in fact by such domestic concern, as provided under the Export Administration Act of 1979, as amended.

(b)	Certification.  By submitting this offer, the offeror certifies that it is not:

(1)	Taking or knowingly agreeing to take any action, with respect to the boycott of Israel by Arab League countries, which Section 8(a) of the Export Administration Act of 1979, as amended (50 U.S.C. 2407(a)) prohibits a United States person from taking; or,

(2)	Discriminating in the award of subcontracts on the basis of religion.

[Note to Contracting Officer:  see instructions on whether to include the following DOSAR provision]

K.10	DEFENSE BASE ACT INSURANCE – COVERED CONTRACTOR EMPLOYEES

(a)	Bidders/Offerors shall indicate below whether or not any of the following categories of employees will be employed on the resultant contract, and, if so, the number of such employees

| Category | Yes/No | Number |
| --- | --- | --- |
| (1) United States citizens or residents |  |  |
| (2) Individuals hired in the United States, regardless of citizenship |  |  |
| (3) Local nationals or third country nationals where contract performance takes place in a country where there are no local workers’ compensation laws |  | Local nationals: ______________ Third Country Nationals: _____________ |
| (4) Local nationals or third country nationals where contract performance takes place in a country where there are local workers’ compensation laws |  | Local nationals: ______________ Third Country Nationals: _____________ |

(b)	If the bidder/offeror has indicated “yes” in block (a)(4) of this provision, the bidder/offeror shall submit, as part of its offer, a statement that indicates that such local nationals and/or third country nationals will be provided workers’ compensation coverage against the risk of work injury or death under a local workers’ compensation law.  For those employees, the bidder/offeror shall also assume liability toward the employees and their beneficiaries for war-hazard injury, death, capture, or detention, in accordance with the clause at FAR 52.228-4.

(c)	If the bidder/offeror has indicated “yes” in blocks (a)(1), (2), or (3) of this provision, the bidder/offeror shall compute Defense Base Act insurance costs covering those employees pursuant to the terms of the contract between the Department of State and the Department’s Defense Base Act insurance carrier at the rates specified in DOSAR 652.228-74.  If DOSAR provision 652.228-74 is not included in this solicitation, the bidder/offeror shall notify the contracting officer before the closing date so that the solicitation can be amended accordingly.

SECTION L - INSTRUCTIONS, CONDITIONS, AND NOTICES TO OFFERORS

L.1	52.252-1 SOLICITATION PROVISIONS INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates the following provisions by reference, with the same force and effect as if they were given in full text.  Upon request, the Contracting Officer will make their full text available.  The offeror is cautioned that the listed provisions may include blocks that must be completed by the offeror and submitted with its quotation or offer.  In lieu of submitting the full text of those provisions, the offeror may identify the provision by paragraph identifier and provide the appropriate information with its quotation or offer.  Also, the full text of a solicitation provision may be accessed electronically at:

http://acquisition.gov/far/index.html/   or,   http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  IF the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use of an Internet "search engine" (e.g., Yahoo, Infoseek, Alta Vista, etc.) is suggested to obtain the latest location of the most current FAR.

http://www.statebuy.state.gov/

FEDERAL ACQUISITION REGULATION (48 CFR CH. 1)

REFERENCE		TITLE							DATE

52.214-34	SUBMISSION OF OFFERS IN ENGLISH

LANGUAGE 							APR 1991

52.215-1	INSTRUCTIONS TO OFFERORS—

COMPETITIVE ACQUISITION 				JAN 2004

52.236-28	PREPARATION OF PROPOSALS -

CONSTRUCTION 						OCT 1997

L.2	SOLICITATION PROVISIONS IN FULL TEXT

52.216-1	TYPE OF CONTRACT (APR 1984)

The Government contemplates award of an indefinite-delivery indefinite-quantity contract resulting from this solicitation.

52.233-2	SERVICE OF PROTEST (AUG 1996)

(a)	Protests, as defined in section 33.101 of the Federal Acquisition Regulation, that are filed directly with an agency, and copies of any protests that are filed with the General Accounting Office (GAO), shall be served on the Contracting Officer (addressed as follows) by obtaining written and dated acknowledgment of receipt from [Note to Contracting Officer: designate the official or location where a protest may be served on the Contracting Officer.]

(b)	The copy of any protest shall be received in the office designated above within one day of filing a protest with the GAO.

L.3	REVIEW OF DOCUMENTS

Each Offeror is responsible for:

- Obtaining a complete set of contract drawings and specifications;

- Thoroughly reviewing such documents and understanding their requirements;

- Visiting the project site and becoming familiar with all working conditions, local laws and regulations; and

- Determining that all materials, equipment and labor required for the work are available.

Offeors shall report any ambiguity in the solicitation, including specifications and contract drawings immediately to the Contracting Officer.  Any prospective Offeror who requires a clarification, explanation or interpretation of the contract requirements shall make a request to the Contracting Officer not less than five working days before the closing date of the solicitation. Offerors may rely ONLY on written interpretations by the Contracting Officer.

L.4	SUBMISSION OF OFFERS

L.4.1	GENERAL

This solicitation is for the performance of the construction services described in Section C - DESCRIPTION/SPECIFICATIONS/WORK STATEMENT, and the Attachments and Exhibits that are a part of this solicitation.

L.4.2	SUMMARY OF INSTRUCTIONS

Each offer must consist of the following physically separate volumes:

Volume	Title							No. of Copies*

[Note to Contracting Officer: insert the number of copies]

### 1	Executed Standard Form 1442, "Solicitation,			_______

Offer and Award (Construction, Alteration,

or Repair)", and completed Section K -

REPRESENTATIONS, CERTIFICATIONS AND OTHER

STATEMENTS OF OFFERORS.

2	Price Proposal and completed Section B - 			_______

SUPPLIES OR SERVICES AND PRICES/COSTS.  The

price proposal shall include a completed

Section J, Attachment 4, "BREAKDOWN OF

PROPOSAL PRICE BY DIVISIONS OF SPECIFICATIONS.

3	Business Management/Technical Proposal.			________

Submit the complete offer to the address indicated at Block 7 of Standard Form (SF) 1442, if mailed, or the address below, if hand delivered (if this is left blank, the address is the same as that in Block 7 of SF 1442).  [Note to Contracting Officer:  insert separate address, if applicable.]

__________________________________________________

__________________________________________________

__________________________________________________

__________________________________________________

Offerors shall identify, explain and justify any deviations, exceptions, or conditional assumptions taken regarding any of the instructions or requirements of this solicitation.

*The total number of copies includes the original as one of the copies.

L.4.3	DETAILED INSTRUCTIONS

L.4.3.1		Volume I:  Standard Form (SF) 1442 and Section K. Complete blocks 14 through 20C of the SF 1442 and all of Section K.

L.4.3.2 	Volume II:  Price proposal and Section B.  The price proposal shall consist of completion of Section B and Section J, Attachment 4, "BREAKDOWN OF PROPOSAL PRICE BY DIVISIONS OF SPECIFICATIONS.  All applicable portions of this form shall be completed in each relevant category (such as labor, materials, etc.).

L.4.3.3		Volume III:  Business Management/Technical Proposal.

(a)	Present the performance schedule in the form of a bar chart indicating when the various portions of the work will be started and completed within the required schedule.  This bar chart shall be in sufficient detail to clearly show each segregable portion of work and its planned start and completion date.

(b)	The Business Management/Technical Proposal shall be in two parts, including the following information:

Proposed Work Information - Provide the following:

- A list of the names, addresses and telephone numbers of the owners, partners, and principal officers of the Offeror;

- The name and address of the Offeror's field superintendent for this project; and

- A list of the names, addresses, and telephone numbers of subcontractors and principal materials suppliers to be used on the project, indicating what portions of the work will be performed by them.

Experience and Past Performance - List all contracts and subcontracts your company has held over the past three years for the same or similar work.  Provide the following information for each contract and subcontract:

- Customer's name, address, and telephone numbers of customer's lead contract and technical personnel;

- Contract number and type;

- Date of the contract award place(s) of performance, and completion dates;

- Contract dollar value;

- Brief description of the work, including responsibilities;

- Comparability to the work under this solicitation;

- Brief discussion of any major technical problems and their resolution;

- Method of acquisition (fully competitive, partially competitive, or noncompetitive), and the basis for award (cost/price, technical merit, etc.);

- Cost/price management history, including any cost overruns and under runs, and cost growth and changes;

- Percent turnover of contract key technical personnel per year; and

- Any terminations (partial or complete) and the reason (convenience or default).

[Note to Contracting Officer:  Include the following paragraph if post wishes to make the contract subject to environmentally preferable requirements.]

(12)	Environmental Preferability Submission, describing how the offeror will ensure the use of environmentally friendly products and materials in the performance of the contract.  The offeror must list all chemical cleaning products and non-chemical products that will be used. ]

[Contracting Officer may describe any additional items that may be required, such as a company brochure, technical proposal, client list, financial statement, etc.].

L.5	52.236-27	SITE VISIT (FEB 1995)

(a)	The clauses at 52.236-2, Differing Site Conditions, and 52.236-3, Site Investigations and Conditions Affecting the Work, will be included in any contract awarded as a result of this solicitation.  Accordingly, offerors or quoters are urged and expected to inspect the site where the work will be performed.

(b)	An organized site visit has been schedule for [Note to Contracting Officer: insert date and time].

(c)	Participants will meet at [Note to Contracting Officer: insert location].

L.6	PREPROPOSAL CONFERENCE

A preproposal conference to discuss the requirements of this solicitation will be held on [Note to Contracting Officer: insert date] at [Note to Contracting Officer: insert time] time at [Note to Contracting Officer insert location].  Offerors are urged to submit written questions using the address provided on the solicitation cover page of this solicitation.  Attendees should bring written questions to the conference as well.  As time permits and after the Embassy discusses the solicitation and written questions are answered, oral questions may be taken.

L.7	652.206-70 COMPETITION ADVOCATE/OMBUDSMAN (AUG 1999)

(a)	The Department of State's Competition Advocate is responsible for assisting industry in removing restrictive requirements from Department of State solicitations and removing barriers to full and open competition and use of commercial items.  If such a solicitation is considered competitively restrictive or does not appear properly conducive to competition and commercial practices, potential offerors are encouraged to first contact the contracting officer for the respective solicitation.  If concerns remain unresolved, contact the Department of State Competition Advocate on (703) 516-1680, by fax at (703) 875-6155, or write to:  Department of State, Competition Advocate, Office of the Procurement Executive (A/OPE), Suite 603, SA-6, Washington, DC 20522-0602.

(b)	The Department of State's Acquisition Ombudsman has been appointed to hear concerns from potential offerors and contractors during the preaward and postaward phases of this acquisition.  The role of the ombudsman is not to diminish the authority of the contracting officer, the Technical Evaluation Panel or Source Evaluation Board, or the selection official.  The purpose of the ombudsman is to facilitate the communication of concerns, issues, disagreements, and recommendations of interested parties to the appropriate Government personnel, and work to resolve them.  When requested and appropriate, the ombudsman will maintain strict confidentiality as to the source of the concern.  The ombudsman does not participate in the evaluation of proposals, the source selection process, or the adjudication of formal contract disputes.  Interested parties are invited to contact the contracting activity ombudsman, [Note to Contracting Officer: insert name], at [Note to Contracting Officer: insert telephone and fax numbers].  For an American Embassy or overseas post, refer to the numbers below for the Department Acquisition Ombudsman.  Concerns, issues, disagreements, and recommendations which cannot be resolved at a contracting activity level may be referred to the Department of State Acquisition Ombudsman at (703) 516-1680, by fax at (703) 875-6155, or write to: Department of State, Acquisition Ombudsman, Office of the Procurement Executive (A/OPE), Suite 603, SA-6, Washington, DC 20522-0602.

[Note to Contracting Officer: See instructions on whether to add DBA provision 652.228-74 DEFENSE BASE ACT INSURANCE RATES – LIMITATION (JUN 2006) (DEVIATION)]

L.8	MAGNITUDE OF CONSTRUCTION PROJECT

It is anticipated that the range in price of this contract will be: [Note to Contracting Officer: must complete this block, not with the Government estimate, but with a range in U.S. dollars or local currency.  See FAR 36.204 for instructions on how to construct the range.]

L.9	FINANCIAL STATEMENT

If asked by the Contracting Officer, the offeror shall provide a current statement of its financial condition, certified by a third party, that includes:

Income (profit-loss) Statement that shows profitability for the past [Note to Contracting Officer: insert number of years] years;

Balance Sheet that shows the assets owned and the claims against those assets, or what a firm owns and what it owes; and

Cash Flow Statement that shows the firm’s sources and uses of cash during the most recent accounting period.  This will help the Government assess a firm’s ability to pay its obligations.

The Government will use this information to determine the offeror’s financial responsibility and ability to perform under the contract.  Failure of an offeror to comply with a request for this information may cause the Government to determine the offeror to be nonresponsible.

[Note to Contracting Officer: See instructions on whether to add DBA provision

652.228-74 DEFENSE BASE ACT INSURANCE RATES – LIMITATION (JUN 2006)

(a)  The Department of State has entered into a contract with an insurance carrier to provide Defense Base Act (DBA) insurance to Department of Sate covered contactor employees at a contracted rate.  For the purposes of this provision, “covered contractor employees” includes the following individuals:

- United States citizens or residents;

- Individuals hired in the United States or its possessions, regardless of citizenship; and

- Local nationals and third country nationals where contract performance takes place in a country where there are no local workers’ compensation laws.

- In preparing the cost proposal, the bidder/offeror shall use the following rates in computing the cost fir the DBA insurance:

Services @ [contracting officer insert current rate] of compensation; or

Construction @ [contracting officer insert current rate] of compensation.

(c)  Bidders/Offerors shall compute the total compensation (direct salary plus differential, but excluding per diem, housing allowances) to be paid to covered contractor employees and the cost of DBA insurance in their bid/proposal using the foregoing rate.  Bidders/offerors shall include the estimated DBA insurance costs in their proposed fixed price or estimated cost.  However, the DBA insurance costs shall be identified in a separate line item in the bid proposal.”

SECTION M - EVALUATION FACTORS FOR AWARD

M.1	EVALUATION OF PROPOSALS

M.1.1.	General.  To be acceptable and eligible for evaluation, proposals must be prepared following Section L and must meet all the requirements in the other sections of this solicitation.

M.1.2.	BASIS FOR AWARD

The Government intends to award a contract resulting from this solicitation to the lowest priced, technically acceptable offeror who is a responsible contractor.  The evaluation process will follow the procedures below:

(a)	Initial Evaluation

The Government will evaluate all proposals received will be evaluated to ensure that each proposal is complete in terms of submission of each required volume, as specified in Section L.  The Government may eliminate proposals that are missing a significant amount of the required.

(b)	Technical Acceptability

After the initial evaluation, the Government will review the remaining proposals to determine technical acceptability.  Technical acceptability will include a review of the Proposed Work Information described in Section L to ensure that the offeror's proposed project superintendent and subcontractors are acceptable to the Government.  The Government may also contact references provided as part of the Experience and Past Performance information described in Section L to verify quality of past performance.  The Government shall also review the bar chart submitted to review the sequence of work and to ensure that performance would be completed on time.  The end result of this review will be a determination of technical acceptability or unacceptability.

(c)	The Government will determine responsibility by analyzing whether the apparent successful offeror complies with the requirements of FAR 9.1, including:

- Adequate financial resources or the ability to obtain them;

- Ability to comply with the required performance period, taking into consideration all existing commercial and governmental business commitments;

- Satisfactory record of integrity and business ethics;

- Necessary organization, experience, and skills or the ability to obtain them;

- Necessary equipment and facilities or the ability to obtain them; and

- Otherwise qualified and eligible to receive an award under applicable laws and regulations.

The Government reserves the right to reject proposals that are unreasonably low or high in price. Unsuccessful offerors will be notified in accordance with FAR 15.503.

M.1.3	AWARD SELECTION

The Government will review the prices of all technically acceptable firms and the award selection will go to the lowest priced, technically acceptable, responsible offeror.  As described in FAR 52.215-1, incorporated by reference in Section L, the Government may award may based on initial offers, without discussions.

M.2	52.217-5  EVALUATION OF OPTIONS (JUL 1990)

The Government will evaluate offers for award purposes by adding the total price for all options to the total price.  Evaluation of options will not obligate the Government to exercise the option(s).

M.3	QUANTITIES FOR EVALUATION

For the purpose of evaluation, and for no other purpose, evaluation of prices submitted will be made on the basis that the Government will require the quantities shown in Section B of this solicitation.

M.4	SEPARATE CHARGES

Separate charges, in any form, are not solicited.  For example, proposals containing any charges for failure of the Government to exercise any options will be rejected.  The Government shall not be obligated to pay any charges other than the contract price, including any exercised options.

[Note to Contracting Officer:  Insert FAR 52.225-17 in full text if you will be allowing offers to be submitted in more than one currency (U.S. dollars or local currency).]

M.5	FAR 52.225-17 EVALUATION OF FOREIGN CURRENCY OFFERS (FEB 2000)

If the Government receives offers in more than one currency, the Government will evaluate offers by converting the foreign currency to United States currency using the exchange rate used by the Embassy in effect as follows:

(a)	For acquisitions conducted using sealed bidding procedures, on the date of bid opening.

(b)	For acquisitions conducted using negotiation procedures—

(1)	On the date specified for receipt of offers, if award is based on initial offers; otherwise

(2)	On the date specified for receipt of proposal revisions.