Status of International Intercomparisons Involving EEEL

As of January 1, 2005

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| DC resistance | 1 Ω |  | CCE-86, October 1987 | Only 1Ω exchanged QHE, PTB i=2, NIST i=4, Published report: BIPM 88/6 | PTB, VSL, BIPM, CSIRO, ETL, IMM, LCIE, NIM. NPL, NRC, OFM |
| DC Resistance | 100 Ω | 23.00 EC, 5 mA | Euromet Proj. #435 Began 2/98; End 12/99 | Characterization of the transport behavior of commercially available 100 Ohm standard resistors | PTB (Pilot), IEN, JV, NPL, NRC, OFM, SP, VTT, NIST, LCIE, CEM, CSIT-NML, UME |
| DC Resistance | 100 Ω |  | CCEM-K10 Began 8/01 | PTB (Pilot) - NIST measurements completed 9/01 | PTB (Pilot), BIPM, CEM, CSIR-NML, CSIRO-NML, METAS, MIKES, NIM, NIST, NMIJ, NRC, SMU |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| DC resistance | 1 Ω; 10 kΩ |  | CCE-88, October 1990 Became CCEM-K1 Ended in 1991 | Metrologia, 29, 273-283, 1992 (Rand Elmquist has copy of results) | ASMW, BIPM (Pilot), CSIRO, ETL, IEN, IMM, LCIE, LNETI, NIM, NMS, NPL, NRC, OFM, PTB, SP, VSL, VTT |
| DC Resistance | 1 Ω; 100 Ω |  | Bilateral with NML Aug - Oct 1995 | Completed 1995 | VSL |
| DC Resistance | 100 Ω |  | CCEM-K10 | Completed | PTB (Pilot), NIST, BIPM, CEM, CSIRO-NML, CSIR-NML, METAS, MIKES, NIM, NMIJ, NRC, SMU |
| DC Resistance | At 10 MΩ and 1 GΩ |  | CCEM-K2 Began 6/96 End 3/99 | NIST (Pilot) - through CCEM. Approved for Equivalence Final Report 1/2002 | NRC, LCIE, NPL, PTB, NML(Austr), IRL, NML(SA), SP, NMi, OFMET, IEN, NIM, KRISS, VNIIM |
| Capacitance | 10 pF | 1592 Hz | Bilateral with NRC | Completed 1989 | NRC |
| Capacitance | 10 pF | 1592 Hz | Trilateral | Completed 1989 (Unpublished) | VSL, PTB |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Capacitance | 10 pF | 1.6 kHz | CCEM-K4 Began 6/96 End 9/98 | NIST (Pilot) - through CCEM. High priority. Measurements complete. Approved for equivalence Results Available | PTB, NRC, NPL, NML(Austr), VSL, VNIIM, MSL, NIM, BIPM, LCIE |
| Inductance | 1, 10, 100, 1000 mH | 100 Hz, 1 kHz | Informal bilateral with NRC | Completed 1991 | NRC |
| Inductance | 10 mH | 1 kHz | CCE-89-2 Completed in 1995 CCE Document 95-36 Became CCEM-K3 | NIST completed October, 1994, returned to PTB Approved for Equivalence | PTB (Pilot), ASMW, BNM-LCIE, IEN, NIM, NPL, OFMET, SP, UME, VNIIM |
| DC voltage | 10 V |  | Winter 98/99 | BIPM, NIST-G, NIST-B |  |
| DC voltage | 1.018 V | Direct comparison of Josephson voltage standards | BIPM, May 1991 | Completed | PTB |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| DC and AC Voltage and Current; DC Resistance | Nominal ranges found on five function precision DMMs | Calibration laboratory conditions Used commercial DMMs | SIM. 1.1 Began 1997 Ended in 1999 | NIST was the pilot lab (N. Oldham and M. Parker) Report available on the SIM website | AEROMAN CALI, CENAM, CONACYT, ICAITI, ICE, CAMET INEN, INMETRO, INN, INTI, SURAMET INTN, JBS, CARIMET LATU, NRC, SIC, ANDIMET, T&TBS, USAC, UTP |
| Voltage | 10V | JVS | Informal with CSIR South Africa | Completed 6/94 | None |
| Voltage | 10V | JVS | Informal with SCL Hong Kong | Completed 6/94 | None |
|  |  | 40 Hz to 1 |  | J. De Vreede, IEEE | VSL (Pilot), NPL |
| Voltage | 1 V | JVS | Informal with INMETRO, Brazil | Completed 10/99 | None |
| AC-DC transfer | 10 V – 1000 V | MHz | CCE | I&M Trans. 42, 2, 99-108, 1993 | PTB, IEN, LCIE, IIRS, SMB, ETL, CSIRO, NRC, ASMW, VNIIM |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| AC-DC transfer | 3 V | 10 Hz to 1 MHz, Transfer standard: MJTC | CCEM-K6.A Began 1/94 End 96 | NIST completed measurements June 1995. Results described in paper at CPEM >96 Approved for Equivalence | PTB (Pilot), AREPA, NPL, IEN, JV, VSL, LCIE, VTT, SP, OFMET, BEV, INETI, CEM, NRC, NMI, NML (Australia), KRISS, NML(SA), NPL (India), CMS, INTI, NIM, VNIIM |
| AC-DC Transfer | 4 V (VSL design) 3 V (Fluke A55) | 1- 50 MHz | CCEM-92-5 Began 8/95 End 6/98 | NIST-G and NIST-B have completed measurements | VSL (Pilot), PTB, NML(Aust), LCIE, NIM, NPL, NRC, OFM, ETL |
| AC-DC difference | 10 mV to 100 mV | 100 kHz to 1 MHz, Fluke 792A Transfer standard: | Bilateral, June 1994 informal with PTB and SP | Completed | PTB & SP (Sweden) |
| AC-DC Difference | 100 V - 1000 V | 10 Hz - 100 Hz | Informal, multilateral completed 1999 | Fluke resistors Completed | PTB (Pilot), OFMET |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| AC-DC Difference | 1 V - 2 V | 10 MHz-1 | Informal, bilateral completed 1999 | PTB multi junction thermal converters Completed | PTB (Pilot) |
| AC-DC Difference | 500 V - 1000 V | 40 Hz - 100 Hz | Informal, multilateral completed 1999 | OFMET Resistors Completed | OFMET (Pilot), PTB |
| AC-DC Transfer Difference | 500 V and 100 V 1 kHz to 100 kHz |  | CCEM-K9 2000-2001 | In Progress See Also Under Category 2 Report in Progress Draft A | BNM-LCIE (Pilot), AREPA, CEM, CSIR-NML, CSIRO-NML, IEN, INTI, KRISS, NIM, NIST, NMi-VSL, NPL, NRC, OFMET, PTB, SP, VNIIM |
| AC power | 120 V, 5 A | 50 Hz to 5 kHz | 1989 | IEEE I&M Transactions, Apr 1991 | NRC, NPL |
| AC Power/Energy | 120 V, 5 A | 53 Hz, pf 1.0, 0.5 (lead & lag) 0.0 (lead & lag) | CCEM-K5 Began 1996 Ended 2000 | Draft B Completed Results published on BIPM website. | NIST (Pilot), CENAM, CSIR-NML, CSIRO-NML, IEN, INMETRO, INTI, MSL, NIM, NPL, NRC, PSB, PTB, SP, VNIIM |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| AC Power | 600 V, 100 A, 50/60/63 Hz, 1.0, 0.5 and 0 pF | Calibration laboratory conditions | SIM 1.8 Completed | NRC piloted this effort Same protocol as for SIM 1.4 Results published in I&M Transactions, April 2001 | NRC-Canada, NIST |
| AC-DC Transfer Difference | 500 V to 1000 V | 50 kHz to 100kHz | CCEM-K6b Began 1995 Ended 1999 | Report in Progress Activity transferred to CCEM-K9 | BNM-LCIE (Pilot), NIST, BEV, CEM, CMI, CSIR-NML, CSIRO-NML, DFM, GUM, IEN, INETI, KRISS, NIM, NMi-VSL, NMS, NOM, NPL, NPC, OFMET, PTB, SP, VNIIM, VTT |
| AC-DC Transfer Difference | 3 V and 4 V | 1 MHz, 10 MHz, 30 MHz & 50 MHz | CCEM-K6c Began 1995 Ended 1999 | Approved for Provisional Degree of Equivalence Report in Progress, Draft B. Reported in IEEE Trans. Instrument Meas., 48, 154-157, 1999 | Nmi-VSL (Pilot), NIST, AREPA, BNM-LCIE, CEM, CSIRO-NML, KRISS, NPL, NPLI, NRC, OFMET, OMH, PTB, SP, VNIIM |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Impulse Voltage Waveform | 200 kV | Std. lightning, chopped lightning | CIGRE 1999-2000 | International intercomparison for mutual recognition. NIST measurements completed 12/99. | PTB, NML, NRC, Korea, Swiss, JEMA |
| Power | WR-28 | 33 Ghz | GT-RF 92-4 CCEM.RF-K1.a.W | Approved for Provisional Equivalence IEEE Trans. Instrum. Meas., 1999, 48, 169-173 | BNM-LCIE, NIST, PTB, NPL, NRC, VSL, NML |
| Power | WR-15 | 62 Ghz | GT-RF 95-1 CCEM.RF-K1.b.W | Approved for Provisional Equivalence | BNM-LCIE, NIST, NPL, SSIA |
| DCV Ratio | 100 V/10 V 1000 V/10 V |  | CCEM-K8 Ended in 2001 | In Progress; Draft A written, but controversial | IEN (Pilot), BNM-LCIE, CEM, CSIR-NML, CSIRO-NML, NMIJ, KRISS, MSL, NIM, NPL NPLI, NRC, SP, VNIIM |
| Power | WR-22 | 45 Ghz | GT-RF 97-2 CCEM.RF-K1.c.W | Approved for Provisional Equivalence Metrologia, 38(5), 463-470, 2001 | NIST, NPL, BNM-LCIE, VNIFTRI |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Power | WR-10 | 75 & 94 Ghz | GT-RF 97-3 CCEM.RF-K1.d.W | Approved for Provisional Equivalence | NPL, BNM-LCIE, NIST, ETL, PTB |
| Noise | WR-90 | 9,10,11,12 Ghz | CT-RF 78-13 CCEM.RF-K2.W | Approved for Provisional Equivalence NPL Report CETM 35 | NPL, CSIRO-NML, BNM-LCIE, NIM, NIST, PTB |
| Horn Gain | WR-28 | 26.5, 33, and 40 GHz | GT-RF 92-1 CCEM.RF-K3.F | Approved for Provisional Equivalence | NPL, NIST, NMi-VSL, BNM-LCIE, KRISS |
| S-Parameters | GPC-7 | 2-18 GHz | GT-RF 83-4 CCEM.RF-K5.a.CL | Approved for Provisional Equivalence NPL report CEM 52, Sept. 1997 | NPL, NMI-VSL, OFMET, NIST, IEN, BNM- LCIE, PTB, CSIRO-NML, CM AB |
| Noise | Coax, GPC-7 | 2, 4, 12 GHz | GT-RF 92-2 CCEM.RF.K6.CL | Approved for Provisional Equivalence 1) CPEM=98 Conference Digest pp 615-616 2)IEEE Trans. Instrum. Meas., 1999, 48, 174-177 | NIST, BNM-LCIE, NPL, PTB |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Electric Field Strength 1991 - 1999 | Coax, Type N | 100, 300, 500 MHz, 1 GHz | GT-RF 86-1 CCEM.RF0K7.a.F1 | Approved for Provisional Equivalence IEEE Trans. EMC 42 (2), 190-205, 2000 | NIST, BNM-LCIE, ETL, IEN, KRISS, NPL, TUW, Nmi-VSL |
| Electric Field Strength 1991 - 1999 | Coax, Type N | 2.45, 10 GHz | GT-RF 86-1 CCEM.RF-K7.a.F2 | Approved for Provisional Equivalence IEEE Trans. EMC 42 (2), 190-205, 2000 | NIST, BNM-LCIE, ETL, IEN, KRISS, NPL, TUW, Nmi-VSL |
| Power | Coax, GPC-7 | 12, 14 & 17 GHz | GT-RF 75-A11 CCEM.RFBK11.CL | Approved for Provisional Equivalence IEEE Trans. IM-43, 1, pp. 3-6, 1994 | PTB, CSIRO- NML, NRC, OMH, IEN, NMI- VSL,NIST, BNM-LCIE |
| Voltage | 100 V | 30 MHz | GT-RF 75-A6 CCEM.RF-K12.CL | Approved for Provisional Equivalence IEEE I&M, Vol. 44, 2, pp. 312-315, April 1995 | PTB, NIST |
| Voltage | 1 mV | 30 MHz | GT-RF 75-A7 CCEM.RF-K13.CL | Approved for Provisional Equivalence IEEE I&M, Vol. 44,2, pp. 312-315, April 1995 | PTB, ASMW, NIST, NIM, OMH, PTF, NPL1 |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Attenuation | Coax 60-100 dB | 30 MHz, | GT-RF 78-1 CCEM.RF-K15.CL | Approved for Provisional Equivalence IEEE Trans IM-41, pp. 345-348, 1992 | PTB, FFV, NIST IEN, BNM-LCIE, NIM, CSIRO-NML, NPL, OMH, NMi- VSL, VNIIFTRI |
| Reflection Coefficient | Coax, GR-900 | 0.5, 3 & 7 GHz | GT-RF 75-A4 CCEM.RF-K16.CL | Approved for Provisional Equivalence IEEE Trans. IM-44, 26, pp. 985-990, Dec. 1995 | PTB, CSIRO-NML, NRC, SMU, OMH, ETL, NMi-VSL, SNIIM, NPL, NIST |
| Power | Coax, GR-900 | 3 GHz | URSI 1965 | IEEE Trans, MTT-19, pp. 411-413, 1971 | NIST (Pilot), NRC, VNIIM, DAMW, ETL |
| Power | WR-90 | 10 GHz | URSI 1965 | CCE 1972 Annexe E15 | ETL (Pilot), DAMW, LCIE, NRC, IRT, IMM, IEN, PTB |
| Power | WR-28 | 35 GHz | GT-RF 72-5 | Metrologia, 17, pp. 27-31, 1981 | NRC (Pilot), NPL, ETL |
| Power | Coax, Type N, GPC-7 & GR-900 | 6 GHz | GT-RF 72-6 | CCE Appendix E7 | NIST (Pilot), NML, NPL, LCIE, RIND, NRC, PTB, IEN, OMH |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Power | WR-62 | 15 GHz | GT-RF 75-A1 | IEEE Trans. IM-35, 2, pp. 116-120, June 1986 | PTB (Pilot), NRC, NPL, LCIE |
| Power | Coax, Type N, 1 mW | 50 MHz, | GT-RF 78-14 | IEEE Trans. IM-37, 1, pp. 160-162, March 1988 | NRC (Pilot), ETL, NML, LCIE, PTB, IEN, NPL, VSL, FFV, OMH |
| Power | WR-10 | 94 GHz | GT-RF 83-3 | IEEE Trans, IM-38, 4, pp. 927-929 August 1989 | ETL (Pilot), NPL, LCIE |
| Power | WR-42 | 20 GHz | GT-RF 86-6 | GT-RF/95-9 | NRC (Pilot), LCIE, PTB,NPL |
| Attenuation | Coax, GR900 6,10,20,30,60 dB | 0.5, 2,4,7.5 GHz | GT-RF 1968 | CCE 1975 Annexe E16 | NPL (Pilot), NRC, RIND |
| Attenuation | Coax, GR900 6,10,20,30,60 dB | 7 GHz | GT-RF 72-2 | GT-RF /83-15 | NPL (Pilot), IEN, PTB, RIND |
| Attenuation | 3,6,10,20,40 dB | 30 MHz | GT-RF 72-10 | IEEE Trans. IM-29, 2, pp. 137-140, June 1986 | NML (Pilot), ETL, NPL, NRC, OMH, PTB, RIND |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Attenuation | WR-62 0.01, 0.1, 10,20, 40 dB | 15 GHz | GT-RF 75-A3 | BIPM Monograph 85/1, 1985 | PTB (Pilot), IEN, OMH, NPL |
| Attenuation | WR-28 3,6,9,10,20,30 dB | 35 GHz | GT-RF 75-A9 | GT-RF/83-4 | NPL (Pilot), NRC |
| Reflection Coefficient | WR-90 | 10 GHz | GT-RF 75-A12 | IEEE Trans. IM-34, 3, pp 463-466, Sept. 1995 | NPL (Pilot), NML, ETL, IEN, NRC |
| Reflection Coefficient | WR-28 | 27, 35 & 40 GHz | GT-RF 86-3 | GT-RF/97-4 | NPL (Pilot), LCIE, NML, PTB, NIM |
| Antenna Factor |  | 10 kHz - 1 GHz | GT-RF 92-8 CCEM.RF-K7.b.F | Approved for Provisional Equivalence | NPL, CSIRO-NMI, IEN, ETL, NIST |
| Impedance | GR 900 | 100,200,300 MHz | GT-RF 78-11 | Metrologia, 30, 1993 | NPL (Pilot), PTB, VSL, NML |
| Impedance Q-Standards |  | 0.05-45 MHz | GT-RF 86-2 | GT-RF/97-3 | NIST (Pilot), SESC, PTB, LCIE |
| Voltage | GR-900 | 1 GHz | GT-RF 1968 | NIST (Pilot), IEEE Trans, IM-25 pp. 254-5, 1976 | EQD, NPL, NRC, OMH |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Voltage | 1 V | 1 MHz | GT-RF 72-3 | CCE 1978 Annexe E13 | NPL (Pilot), ASMW, EQD, IEN, NML, OMH, PTB |
| Voltage | 1 V | 100, 250, 500 & 1000 MHz | GT-RF 75-A5 | Metrologia, 20, 1984 pp. 115-116 | PTB (Pilot), ASMW, SESC,NML, OMH, IHM |
| HF voltage AC-DC difference | 1 V to 10 V | 10 MHz to 100 MHz. Transfer standard:Thermal converters | Multilateral, 1988-90 | IEEE I&M Vol. 42, No.2 April 1993. pp. 618-621 | PTB, VSL NIM, SIRI NIST (Pilot) |
| HF voltage AC-DC difference | 4 V to 10 V | 100 kHz to 1 MHz | Multilateral 1988-1990 | IEEE I&M Vol. 42, No.2 April 1993. pp. 615-617 | PTB, VSL,NPL, NIST (Pilot) |
| Noise | Coax, GPC-7 | 2, 4, 8 GHz | Bilateral | IEEE Trans. IM, Vol. 40, 2, pp. 449-454 Apr. 1991 | NIST (Pilot), PTB |
| Electric Field Strength |  | 100 MHz | GT-RF 72-7 | IEEE Trans. IM-32,1, pp. 235-237, 1983 | NIST (Pilot), FTZ, IEN, UTW |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Power Flux Density |  | 2.45 GHz | GT-RF 72-11 | GT-RF/83-2 | NML (Pilot), BRH, IEN, NPL, RIND |
| Horn Gain | WR-90 | 8-12 GHz | GT-RF 78-5 | IEEE Trans. AP, 44, 10, Oct. 1996, pp. 1367-1374 | NIST (Pilot), NPL, TUD, FTZ, CNET, NML, VSL |
| AC-DC Difference 10Hz - 100 MHz | 1 V - 4 V | 10 Hz – 100 MHz | Multilateral 1999 - 2000 | CPEM 2000 Digest | NRC (Pilot), NMI, PTB |
| Transimpedance | 1 A/V – 100 A/V | 60 Hz | Bilateral, May 2002 | Results published I&M Transactions, April 2003 | NRC (Pilot), NIST |
| AC Shunt | 300 mA – 10 A | 50 Hz – 10 kHz | Bilateral, April 2004 | CPEM 2004 Digest, accepted for publication, I&M Transactions | NRC (pilot), NIST |
| DC & AC Voltage, DC & AC Current, DC Resistance | Multiple ranges of dc & ac voltage, current, and resistance covering operating ranges of HP 3458. | DC and multiple frequencies covering HP 3458. | SIM 1.1, 1997 – 2000 | In progress. | Most of the SIM laboratories |

| Field of Interest: Electricity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Dielectric measurements | 1 MHz to 10 GHz | Ambient temperature | 1963 International Dielectric Intercompariso | IRE Trans. Instrumenation Measurements Vol IM-13, pp 305-311, 1964 | NPL NBS (lead), NRC (Canada) |
| Dielectric measurements | 1 GHz to 10 GHz | Ambient temperature | 1973 International Dielectric Intercomparison | IEEE Trans. Instrumenation and Measurements Vol. IM-23, Sept. 1974 | NPL NBS (lead), VNIIFTRI |

| Field of Interest: Superconductivity |
| --- |
| Category 1: Intercomparisons already performed |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Ic of Nb3Sn wire | 30-600 A | 4.2 K, 5-20 T | Multilateral, Completed 1989 VAMAS | No standard technique, COV 8% at 12 T, Cryogenics 29, 710 (1989). | 24 labs from Japan, Europe, and USA |
| Ic of Nb3Sn wire | 70-500 A | 4.2 K, 6-16 T, Reference SRM-1457 | Multilateral, Completed 1995 VAMAS | Standard technique, COV 2.2% at 12T, Cryogenics 35, S65 (1995). | 13 labs from Japan, Europe, and USA |
| Ic and RRR of Nb-Ti wire | Ic - 2000 A, RRR - 160 (residual resistivity ratio) | Ic at 4.2 K and 5 T | Multilateral, Completed 2001 | Ic within 4% and RRR within 2%. IEEE Trans. Appl. Supercond. 12 (1) 1014 (2002) | 2 labs from Europe |
| Ic of NIST Ic simulator | 2 and 50 A | near room temperature | Informal, Completed 1994 VAMAS | IEEE Trans. Appl. Supercond. 5 (2) 548 (1995) | 11 labs from USA |
| Ic of Bi-based wire | 0 to 100 A | 4.2 and 77 K 0 to 8 T | Multilateral, Completed 1995 VAMAS | J. Res. NIST 102 29 (1997) | 5 labs from USA |

| Field of Interest: Superconductivity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| RRR of pure Nb | RRR - 450 (residual resistivity ratio) | 4.2 K and 0-7 T | Multilateral, Completed 2001 | One lab was different by 12% and had a variability of more than 22%. No publication planned. | 2 labs from USA |
| Ic of NIST Ic simulator | 2 and 50 A | near room temperature | Informal, Completed 1994 VAMAS | No publication planned | NIST, Univ. of Twente (The Netherlands), NRIM (Japan) |
| Hc2 of Nb-Ti SRM-1457 | 11.4 T | 4.2 K | Multilateral, Completed 1994 VAMAS | Standard technique, COV 0.6%, IEEE Trans. on Appl. Super. 5 (2) 536 (1995) | 12 labs from Japan, Europe, and USA |
| Ic of Nb3Sn wire | 100-200 A | 4.2 K, 12 T | Multilateral, Completed 1994 ITER | No standard technique, 30-38% range at 12T, IEEE Trans. on Appl. Super. 5 (2) 905 (1995) | 5 labs from Japan, Europe, Russian Federation, and USA |
| Ic of Nb3Sn wire | 100-200 A | 4.2 K, 12 T | Multilateral, Completed 1995 ITER | Standard technique, 1-3% range at 12T Adv. Cryo. Eng.- Materials 42B, 1351-1358 (1997) | 4 labs from Japan, Europe, Russian Federation, and USA |

| Field of Interest: Superconductivity |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| AC losses of Nb3Sn wire | Field "3T | 4.2 K, field perpendicular to wire | Multilateral, Completed 1993-1997 ITER | NIST discovered source of systematic error in measurements Adv. Cryo. Eng.- Materials 42 B, 1351-1358 (1997) | 5 labs from Japan, Europe, Russian Federation, and USA |
| Strain effect on Ic of Nb3Sn wires | 0 - 1% strain 8 - 16 T | 4.2 K | Multilateral, Completed 1995 ITER |  | 3 to 6 labs from Japan, Europe, and USA |
| Critical current Ic of marginally stable Nb3Sn wires | Field 12 T, 8 – 16 T | 4.2 K | Multilateral, 2004 DOE HEP | Agreement reasonably good. | Organized by Lawrence Berkeley Laboratory, 4 labs |

| Field of Interest: Optics |
| --- |
| Category 1: Intercomparisons already performed |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Laser power | 1.3 μm 1.55 μm |  | GT-RF-86-4 | Completed | VSL, PTB |
| Laser power | 1.06 μm, 100 W 10.6 μm, 100 W - 500 W |  | 1996-99 | Completed 1999 | PTB |
| Chromatic dispersion of single mode optical fibers | λ=1550 nm λ=1300 nm | Zero dispersion wavelength | 1995-96 | Completed, NIST/NPL publication submitted to Metrologia, SRMs available for sale | NPL |
| Coating diameter of single mode optical fibers | 245 μm nominal | Contact micrometer | 1996-97 | Completed, informal comparisons | NPL |
| Erbium-doped fiber amplifiers gain, power, and noise figure parameters |  | Pin range: -40 dBm - +3 dBm λ range: 1530 nm - 1565 nm | IEC-initiated 1996-99 | Measurements completed in 1999. Final IEC report in 2000 | 15-20 laboratories from Japan, Europe, and North America |

| Field of Interest: Optics |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Optical Power | 1300 and 1550 nm | Collimated beam | 2000 | Completed NIST/PTB publication, AComparison of Optical-power meters between NIST and the PTB.@ Metrologia, 2000 37, 349-350 | PTB |
| Multimode fiber bandwidth | 850 and 1300 nm | Various launching conditions, source characterization | TIA - Gigabit ethernet, initiated 1997 | Completed. NIST measurements of bandwidth and differential delay | 2 participants from Europe, 1 from Japan, rest from USA |
| Fiber connector end face geometry: Undercut/protrusion radius of curviture and apex offset | -330 nm - +210 nm, 10 mm - 25 mm 3 μm - 42 μm | Connector ferrules circulated | TIA-initiated 1996-97 | Completed. NIST coordination and data analysis. No NIST measurements. Interferometric and mechanical methods | 17 laboratories from USA and Europe |

| Field of Interest: Optics |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Optical spectrum analyzer wavelength calibration | 1514 nm - 1597 nm |  | 1999-00 | Completed | NPL Danish Institute of Fundamental Metrology (DFM) |
| Fiber Bragg grating characterization |  | Spectral response and dispersion | 1999-00 | Completed | Agilent/HP; Corning; 3M; EG&G Fiber Optics; GNnetest/PK Technology, Inc.; ADC, Inc.; NPL; Blue Road Research; MICRON OPTICS; Naval Research Lab.; CiDRA Corp.; EXFO Inc. |

| Field of Interest: Optics |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Optical Fiber Power | 1300 and 1550 nm | Fiber Coupled | 2000 | Completed publication AComparison of reference standards for measurements of optical-fiber power@ Metrologia 2000 37, 347-348 | VNII OFI |
| Effective Area and Mode-Field Diameter of single-mode and large-effective-area fibers |  | 1550 nm, 4 fibers, 2 m lengths, 2 far-field methods, possibly near-field method also. | TIA-initiated 1998-99 | NIST coordination and data analysis, NIST measurements of mode-field diameter. Completed | 6-11 laboratories, mostly U.S., but some European measurements, possibly Alcatel (France), NPL, PK/York (UK), and EG&G (UK) |

| Field of Interest: Optics |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Nonlinear Coefficient of single-mode fibers | 1550 nm | CW and pulsed methods Dispersion-unshifted, -shifted, and -compensating fibers | TIA-initiated 1999-2000 | NIST Coordination and data analysis; no NIST measurements. Completed in 2000 | 8 laboratories including 1 Canadian and 1 European. |
| Relative group delay | 1554 nm 0-15 p3 | Hydrogen Cyanide absorption cell | 2001 | Completed | Agilent (Germany) Agilent (Palo Alto) |
| Photoluminescence and X-ray diffraction rocking curves | 1.0, 1.3 and 1.5 pm | Center of 1-cm2 piece | 2001-2002 | Completed; results accepted for publication in J. Crystal Growth and Physica Status Solidi. NIST coordination and data analysis; no NIST measurements. | Agere, Agilent, IQE, JDSU, Nortel |
| Relative group delay, chromatic dispersion, λο | 1310 and 1550 nm windows | 4 fiber types, G652, G653, G655-TeraLight and G655-Leaf | Euromet supplementary comparison, 2003-2004 | Report in Progress Draft B | CSIC, HUT, NPL, METAS |

| Field of Interest: Optics |
| --- |
| Category 1: Intercomparisons already performed (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participants |
| Excimer laser power | 248, 193, and 157 nm | Various energies and rep rates | Bilateral 2003 (PTB visit to NIST in May) | Measurements completed; writing results | PTB |
| Optical Fiber Power | 980, 1310, 1550 nm | 100 µW and up to 200 mW | Bilateral – started in 2003 | Awaiting results from other participant | NPL |
| Optical Fiber Power | 1310 and 1550 nm | 100 µW | Bilateral – started in 2003 | Awaiting results from other participant | METAS |
| High accuracy cryogenic radiometer | 488, 514, and 633 nm | 100 uW to 1 mW 815 built trap and commercial detector | 2003 – Internal with PL to compare 815 LOCR to PL’s HACR | Starting 11/03 | NIST 844 |

| Field of Interest: Law Enforcement |
| --- |
| Category 1: Intercomparisons already performed |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparisons | Comments | Other participant |
| Penetration of standard material by engineered knife blades | 24 J to 65 J impact energy | PSDB drop test fixture | Initiated in 1999 to evaluate reproducibility of drop test fixtures used in development of standards for stab-resistant body armor | Complete | 2 laboratories: Home Office, Police Scientific and Development Branch (Sandridge, UK) and Royal Military College of Science (Shrivenham, UK) |

| Field of Interest: Electricity |
| --- |
| Category 2: Intercomparisons agreed upon or being carried out |
| Measuring quantity | Measuring range | Measuring conditions, Reference | Type and date of intercomparison | Comments | Other participants |
| AC-DC Difference | 1000 V, 500 V | 1 kHz to 100 kHz Transfer standard: Holt Model 11 For new comparison K9, transfer standards are OFMET 1kV and NIST 500 V TVCs. | Euromet Project 266, started 1994, to be completed 1996, then CCE 92-4. Now called CCEM-K9 | Completed; artifact not satisfactory - may repeat comparison. Being repeated now. Complete Report in Progress, Draft A | LCIE (Pilot), AREPA, CEM, CSIR-NML, CSIRO-NML, IEN, INTI, KRISS, NIM, NMi-VSL, NPL, NRC, OFMET, PTB, SP, VNIIM |
| AC-DC Transfer Difference | 10 mV and 100 mV | 1 kHz to 1 MHz Fluke 792A traveling standard | CCEM-K11 2001 to 2003 | In Progress NIST remeasured standard in June 2004. Report to pilot lab being prepared. | SP (Pilot), CSIRO-NML, INTI, NIM, NIST, NMi-VSL, NPL, NRC, PSB, PTB, SP, VNIIM |

| Field of Interest: Electricity |
| --- |
| Category 2: Intercomparisons agreed upon or being carried out (continued) |
| Measuring quantity | Measuring range | Measuring conditions, Reference | Type and date of intercomparison | Comments | Other participants |
| AC Voltage Ratio | Special IVD with tenths, elevenths & 0.01 of 10V | 1kHz (55 Hz optional) | CCEM-K7 | In Progress | NIST, PTB, BNM-LCIE, CEM CSIRO-NML, ETL, IEN, KRISS, METAS, NIM, NMi-VSL, NPLI, NRC, SP, UME, VNIIM |
| DC Voltage | 1.018 V | Josephson standards | BIPM.EM-K10a | Ongoing | BIPM (Pilot), NIST, BNM-LCIE, CEM, CSIRO-NML, DFM, ETL IEN, KRISS, MSL, NIM, NMi-VSL, NPL, NRC, OFMET, PTB, SP |

| Field of Interest: Electricity |
| --- |
| Category 2: Intercomparisons agreed upon or being carried out (continued) |
| Measuring quantity | Measuring range | Measuring conditions, Reference | Type and date of intercomparison | Comments | Other participants |
| DC Voltage | Voltage(s) available on a portable JVS traveling standard | Standards laboratory conditions | SIM 1.2.1 Planned | CENAM will pilot this effort Looking for uncertainties at 108 level | CENAM, NRC, INMETRO, and INTI are the likely ones |
| DC Voltage | 10 V | Standards laboratory conditions Use of a Zener diode-based traveling standard | SIM 1.2.2 Planned | CENAM will pilot this effort Looking for uncertainties at 107 level | Many of the SIM labs |
| Capacitance | 10 pF, 100 pF | Standards laboratory conditions Fused silica capacitors; 400 Hz, 1000 Hz, 1592 Hz | SIM.EM-K4, SIM.EM-S3 Standards shipped from NIST 6/04 | ICE will provide the logistics for these comparisons, with technical support provided by NIST | NIST (pilot), CEMAM, ICE, INMETRO, INTI, NRC, UTE |

| Field of Interest: Electricity |
| --- |
| Category 2: Intercomparisons agreed upon or being carried out (continued) |
| Measuring quantity | Measuring range | Measuring conditions, Reference | Type and date of intercomparison | Comments | Other participants |
| Capacitance | 1000 pF | Standards laboratory conditions Gas dielectric capacitors; 1000 Hz | SIM.EM.S4 Standards shipped from NIST 6/04 | ICE will provide the logistics for these comparisons, with technical support provided by NIST | NIST (pilot), CENAM, ICE, INMETRO, INTI, NRC, UTE |
| AC Energy | 120 V, 5 A, 50 and 60 Hz, 1.0 and 0.5 pF | Calibration laboratory conditions | SIM 1.4 In Progress | NIST to pilot this effort | Same set of labs as for SIM 1.1 |
| DC and AC Voltage and Current; DC Resistance | Nominal ranges found on five function precision DMMs | Calibration laboratory conditions Used commercial DMMs | SIM 1.5 Essentially a repeat of SIM 1.1 | NIST to pilot this effort | Same set of labs as for SIM 1.1 |

| Field of Interest: Electricity |
| --- |
| Category 2: Intercomparisons agreed upon or being carried out (continued) |
| Measuring quantity | Measuring range | Measuring conditions, Reference | Type and date of intercomparison | Comments | Other participants |
| AC-DC Transfer Difference | 1 V to 100 V | Standards laboratory conditions 40 Hz to 1 MHz | SIM 1.6 Ended in 2002 | A bilateral comparison between NIST and CENAM Draft A is in preparation | CENAM |
| DC Resistance | 10 kΩ | Standards laboratory conditions Comparisons with QHR systems | SIM 1.7 Postponed | Another bilateral comparison between NIST and CENAM | CENAM |
| AC-DC Transfer Difference | 3V | Standards laboratory conditions 1 kHz to 1 MHz Fluke 792A transfer standard | SIM 1.9 Underway | CENAM to pilot this effort Would match the points used for CCEM-K6a, CCEM-K11, and CCEM-K9, NIST measurements complete and reported. | Many of the SIM labs |

| Field of Interest: Electricity |
| --- |
| Category 2: Intercomparisons agreed upon or being carried out (continued) |
| Measuring quantity | Measuring range | Measuring conditions, Reference | Type and date of intercomparison | Comments | Other participants |
| High Voltage DC | 100 kV/10 V | Standards laboratory conditions HV DC divider as the traveling standard | S SIM 1.10 Proposed | NNRC to pilot this effort | Many of the SIM labs |
| DC Voltage | 10 V |  | CCEM-K11B 1992 - | Ongoing - a long list of bilateral comparisons | BIPM (Pilot), BEV, CMI, EOLAS, GUM, INETI, NIST, NML (IE), OFMET, PSB, SMU |
| DC voltage | 10 V |  | 1999 NCSL JVS intercomparison | NORAMET (probably SIM) | NIST-G and other 15-16 labs in U.S., N. America (maybe S. America) |
| DC voltage | 10 V |  | 11/98: travelling Zeners measured with JVS |  | NIST-G, BIPM |

| Field of Interest: Electricity |
| --- |
| Category 2: Intercomparisons agreed upon or being carried out (continued) |
| Measuring quantity | Measuring range | Measuring conditions, Reference | Type and date of intercomparison | Comments | Other participants |
| RF - DC Transfer | 1.3 V | 1 - 300 MHz (500, 700, 1000 MHz optional) | CCEM-92-06 | Most results will come from Boulder, Gaithersburg will provide 1 MHz (and maybe up to 10 MHz data) | VSL (Pilot), many other labs |
| Voltage | 1 V | 1 to 300 MHz | GT-RF 92-6 CCEM.RF-K4.a.CL | Report In progress | NMi-VSL (Pilot), PTB, NRC, NPL, IEN, BNM-LNE |
| S-Parameter | Type N | 2-18 GHz | GT-RF 92-3 CCEM.RF-K5.b.CL | In progress | NPL (Pilot), NML, ETL, IEN, BNM-LNE, NRC, PTB, SPTT, VSL |
| S-Parameter | GPC-3.5 | 50 MHz - 26.5 GHz | GT-RF 97-1 CCEM.RF-K5.c.CL | Postponed | BNM-LNE, CMI, CSIR-NML, CSIRO-NML, IEN, INTA, KRISS, METAS, MIKES, NIM, NST, NMi-VSL, PL, NRC, PTB, SNIIM, SPRING |
| Noise Power | Coax GPC-7 | 30, 60 MHz and 1 GHz | GT-RF 00-1 CCEM.RF-K18.CL | Report in Progress | NPL, NIST, BNM-LCIE, VNIIFTR |

| Field of Interest: Electricity |
| --- |
| Category 2: Intercomparisons agreed upon or being carried out (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparison | Comments | Other participants |
| Attenuation | Type N - Step Attenuator | 60 MHz and 5 GHz | GT-RF 00-2 CCEM.RF-K19.CL | In Progress | NPL, BNM-LNE CSIR-NIM, ETL, IRN, NIM, NIST, NMi-VSL, NPL, NRC, METAS, PSB, UMI, VNIIFTR |
| Power | Coax, Type N | 1-18 Ghz | GT-RF 98-1 CCEM.RF-K8.CL | Report in Progress | NMI-VSL, BNM-LNE, CSIR, CSIRO-NML, KRISS, NIM, ETL, INTA, NPL, METAS, NRC, PSB, PTB |
| Noise Power | WR-62 | 12.4, 13.5, 15, 17.5, 18 Ghz | GT-RF 99-1 CCEM.RF-K9 | Report in Progress | BNM-LNE, NIST, NPL, PTB, VNIFTRI |
| Power | 3.5 mm | 50 MHz- 26.5 GHz | GT-RF 99-2 CCEM.RF-K10.CL | Report in Progress | PTB, Nmi-VSL, NIST, BNM-LNE, CSIR CSIRO-NML, IEN, ETL, NPL, NRC, METAS, PSB, VNIFTR |
| Antenna Factor | Tunable Dipole Antenna | 30 & 900 MHz | CCEM.RF-K21.F GT-RF-2001-1 | In Progress | NPL, ARCS, BNM-LNE, IEN, ITRI, KRISS, NIM, NIST, NMIJ, NPL, UME, VNIIFTRI |

| Field of Interest: Electricity |
| --- |
| Category 2: Intercomparisons agreed upon or being carried out (continued) |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparison | Comments | Other participants |
| Power | 2.4 mm | 2-50 Ghz | CCEM.RF-S1.CL | In Progress | NIST (pilot), CSIR-NML, CSIRO-NML, METAS, NMIJ, NMi-VSL, NPL, NRC, KRISS |
| Antenna Factor | Various | 30 MHz -2 GHz | CCEM.RF-S21.F GT-RF-2001-1 | In Progress | NPL, ARCS, BNM-LNE, IEN, ITRI, KRISS, METAS, NIM, NIST, NMIJ, NMi-VSL, SP, UME, VNIIFTRI |
| Scattering Parameters | 2.4 mm | 0.05 - 50 Ghz | EUROMET.EM.RF-S16 | Report in Progress | METAS, Agilent-UK, CSIR-NML, IEN, INTA, METAS, NIST, NMi-VSL, NPL, NRC |
| Dielectric Quantities | 1 MHz to 100 GHz | Variable Temperatures | Euromet 685 Dielectric Measurements |  | NPL (pilot) NIST, Univ. Warsaw, SNIM & VNIIFTRI |

| Field of Interest: Optics |
| --- |
| Category 2: Intercomparisons agreed upon or being carried out |
| Measuring quantity | Measuring range | Measuring conditions | Type and date of intercomparison | Comments | Other participants |
| Optical Fiber Power | 1300 and 1550 nm | Fiber coupled input | 2001-02 | Using trap detector transfer standard Submitted to Metrologia - August 2002 | PTB |
| Raman Gain Efficiency of single-mode fibers | Roughly 1500-1650 nm | 1480 & 1490 nm pump wavelengths; various fiber types | TIA initiated 2001 Underway 2002 | NIST coordination and data analysis; NIST measurements | 5 other laboratories including 2 Canadian and 1 European |
| Single-mode optical fiber Chromatic Dispersion | 1300 and 1550 nm regions | Comparison of Chromatic Dispersion Reference Fibers, various fiber types and measurement methods | Euromet initiated 2002 | NIST measurements International (European) comparison | CSIG, HUT, METAS, NPL |
| Ac-dc Difference | Ac-dc current at 10 mA and 5 A, 10 Hz to 100 kHz | NME thermal current converters | CCEM-K12 | In planning, NIST assisted in establishing the reference value. | In Planning |