(

Clock-Command Combined Carrier Coding (C5) – A DC Balanced Coding Scheme for Transmitting Messages with Clock

Jinyuan Wu and Zonghan Shi

Abstract—A DC balanced coding scheme designed for transmitting relatively small amount of messages along with clock in a single signal channel is described in this paper.  The primary feature of this scheme is that all the leading edges of all the pulses are at evenly distributed times, while the message bits are encoded into the widths of the pulses.  Therefore the pulse train can drive sequential logics directly just as an ordinary clock signal.  Unlike most coding schemes, the C5 scheme needs no channel initiation such as preamble, frame synchronization pattern, etc.

Index Terms—Trigger System, DAQ, digitizer, DC balanced, data coding

# INTRODUCTION

I

N high-energy physics experiment detectors, it has become a trend to place the digitization devices close to the signal sources and to send digitized data via serial link to the data acquisition (DAQ) modules.  The digitization devices usually need a clock signal derived by the data acquisition modules from a common timing reference.  In addition to the clock, the DAQ system sometime sends various commands such as register loading, synchronization, trigger acceptance, etc. to the digitization devices.

In this paper, we describe the “Clock-Command Combined Carrier Coding” (C5) scheme that is DC balanced and is designed to transmit command messages with clock together in a single channel (usually a pair of differential signals).

The primary feature of the C5 scheme is that the clock and message recovery is extremely simple.  In the C5 scheme all the leading edges of all the pulses are at evenly distributed times, while the message bits are encoded into the widths of the pulses.  Therefore practically there is no “recovery” needed for the clock.  The pulse train can drive sequential logics directly just as an ordinary clock signal.

In the C5 scheme, the channel initiation processes such as preamble, training pattern, frame synchronization pattern etc. are not needed.  This simplifies the design of both the sender and the receiver.

# The Coding Scheme

## The Pulse

When there is no message sending, the pulse is a plain 50% duty cycle clock.  To carry message bits, pulse widths become wider or narrower while all the leading edges of the pulses remain the same clock times.

Consider each clock period to be 4 unit intervals (UIs) long.  A narrow pulse has 1 UI high and 3 UIs low with 25% duty cycle; a wide pulse has 3 UIs high and 1 UI low with 75% duty cycle and a normal 50% one has 2 UIs in both high and low times.  It is also possible to define 8-UI clock periods.  The duty cycles of the wide and narrow pulses are 62.5% and 37.5% respectively in the 8-UI case.

We use (-1), (0) and (+1) to denote three possible widths of each pulse, i.e. narrow, normal and wide, respectively.

## The Pulse Train

Consider a pulse train with 5 pulses.  Given that there are 3 possible widths for each pulse, the total number of possible combinations is 35 = 243.  Out of these combinations, 51 of them are DC balanced.

We further require that the first pulse is non-zero one, i.e. either wide (+1) or narrow (-1).  This requirement ensures simple frame detection.  After long time with no message transition, the first non-zero pulse represents the start of a message frame.  This requirement reduced the number of combinations down to 32.

Up to this point, one may transmit 5-bit frame in 5 clock cycles.  We denote this coding scheme as “5B/5C”.  However, it is preferable to transmit message frames that fit byte boundaries.  In order to transmit 4-bit frames using 5 clock cycles (4B/5C), we further select fewer combinations.

Since the first pulse is either wide or narrow one, a disparity is created.  We require that the next non-zero pulse to cancel this disparity.  The number of combinations that meet this requirement now becomes 24.

We assign 16 of them as “data codes” to transmit 4-bit frames.  The other 8 are called “control codes”, which have same maximum disparity and therefore are also suitable to transmit information.  However, the coding scheme is so simple that there is practically no control protocol needed in the operation.

The “data codes” and the “control codes” are shown in Fig. 2 and 3.

An indispensable pulse train is the plain 50% duty cycle clock.  The receiver is required to return initial condition after receiving 5 or more 50% duty cycle clock pulses.

We use D0 to D15 to denote the 16 data codes, and C3, C5, C6, C7, C11, C13, C14 and C15 to denote the command codes.  The plain 50% duty cycle clock is denoted as Q0.  The vertical axes in Fig. 2 and 3 represent the code numbers.

## Coding Rules:

Both encoding and decoding functions are very simple.  A localized coding scheme is chosen so that the widths of pulses 0-3 represent bits 3-0, respectively.  The coding rules can be described as the following:

- After 5 or more 50% duty cycle clock pulses, the first wide (+1) or narrow (-1) pulse, pulse 0, is the start of a 4-bit frame.  The bit 3 is determined by the width of pulse 0: wide = 1, narrow = 0.

- The bits 2-0 are determined by the width of the pulses 1-3: wide or narrow =1, normal = 0.

- The second non-zero pulse of both data and control codes cancels the disparity of the pulse 0.  The third non-zero pulse, if any, has same disparity as the pulse 0 for data codes.  For example, if pulse 0 is wide, the third non-zero pulse is also wide.  The third non-zero pulse for control codes has different disparity as the pulse 0.  The fourth non-zero pulse, always cancels the disparity of the third non-zero pulse.

- The pulse 4 is ignored in the decoding functions.  In the encoding function, the width of pulse 4 is chosen to achieve DC balance.

- After pulse 4, if the pulse 5 is non-zero, either wide or narrow, it is the start of next 4-bit frame.

In the decoding functions, if the control codes are not used, the rule 3 above can be ignored.

## Subsets of the Codes

In Table I, all 16 data and 8 control codes are listed.  Some subsets of these codes should be discussed here.

There are 8 data codes and 2 control codes that are contained in pulse trains with 4 pulses.  This subset can be used to transmit 3-bit frames in 4 clock cycles and is denoted 3B/4C.  The frames duration of 4 clock cycles is convenient for both encoding and decoding implementation when there are less than 10 combinations needed to be transmitted every 4 clock cycles.

The 2B/3C codes transmit 2 bits information in 3 clock cycles.  The DC-balance is guaranteed after 3 clock cycles.

The smallest possible disturb to the pulse train from the plain clock comes from 1B/2C codes.  The disparity happens briefly when the pulse 0 becomes wide or narrow.  It is canceled immediately in the next cycle.

In real applications when 4B/5C codes are used, one may reserve the 1B/2C or 2B/3C subsets for clock-jitter-critical conditions, while the other codes can be used in non-critical ones.  In the high-energy physics digitizer case, use 1B/2C or 2B/3C codes for trigger and synchronization check during data taking, for example, the other codes can be used for register setting, configuration etc. before or after data taking.

# FPGA Implementations

## The encoder

A possible FPGA implementation of the C5 encoder is shown in Fig. 4.

The encoder operates at a clock 4 times as the bit rate.  The (mod 20) counter provides 5 bits counting from 0 to 19 and rotates back.  The lower 2 bits (UIb[1..0]) represent the phases or unit interval within an output clock cycle.  The first UI is always 1 and the last always 0 so that a pulse with fix leading edge timing is output every 4 clock cycles.  The two bits in the middle, Y1 and Y2 can be both high (for wide pulse), both low (for narrow pulse) or Y1=1, Y2=0 (for normal pulse).  They are determined by the function generator depending on the input code (CD, B3-B0) and the pulse count (UIb[4..2]).  The input “CD” signifies a command or data code to be output and the inputs “B[3..0]” specify the code number.  As the counter output UIb[4..0] increments from 0 to 19, 5 pulses with predefined widths are sent out.

The function generator can be visualized as a 256x2 bits ROM lookup table.  Use Altera Cyclone FPGA family as an example, the C5 encoder shown in Fig. 4 takes only 1/8 of the M4K block for function generator plus 6 logic elements.  The unused memory bits and address lines can still be used by other functions such as I/O buffers, or build a pair of encoders using same M4K block for both function generators.

In our actual implementation of the encoder, logic elements instead of the M4K block are used for the function generator.  Since the bit map of the function generator are highly localized, it is possible to decompose the map into a set of 16x1 sub maps that can be built with FPGA logic elements.

There are several options for plain clock generation.  The plain clock can be assigned to an invalid control code such as “C0”, (or all 8 invalid control codes).  When unused address lines are available in the memory block, an additional control line can be used to produce plain clock pulses.  It is also possible to use a logic element to intersect the output stream for plain clock generation.

## The decoder

A possible decoder diagram is shown in Fig. 5.

The input pulse train CC to the decoder can drive sequential logic and even phase-lock-loop (PLL) circuit directly.  A recovered x4 clock is generated as system clock for other functions in the chip and used to provide delays for decoding functions.  The decoder shown in Fig. 5 is able to decode 16 data codes and uses only 22 logic elements.

The decoder extracts pulse width information by sampling two delayed versions of the pulse train.  The two samples are pipelined down in two shift registers.  The value of a bit is derived from the width of a pulse directly using a simple AND (or NAND) operation.

The decoder is self-framed when a transmission starts.  Initially, the decoder receives more than 5 plain clock pulses.  The (mod 5) counter is held in reset state.  When the first wide or narrow pulse appears as the first pulse of the 5-pulse train, the counter begins to count.  When the counter reaches 4, the pulse train is correctly aligned in the shift register and the data is stored in the parallel holding register as a data valid signal “C5Valid” is generated.

The counter rotates to 0 to allow next data frame being received immediately.  Arbitrary numbers of data frames can be transferred back to back.  The availability of a data frame is signified by the “C5Valid” signal.  After the last data frame in a transmission, plain clocks are sent.  The decoder is held in the reset state again, ready for the next transmission.

The C5 scheme also contains some intrinsic redundancy that can be used as error detection.  For example, the pulse train seen at the receiver end must be DC balanced in the 5-pulse frame.  It takes only a few logic elements to implement the error detection feature.

## Test result

The encoder and the decoder described above are compiled and tested in an Altera Cyclone (EP1C6Q240C6) FPGA device.  Continuous sequences of 80 plain clock pulses followed by 16 connected C5 pulse trains are sent from the encoder to the decoder through low cost twist pair wires.  A typical oscilloscope screen shot is shown in Fig. 6.

The traces in channel 1 are C5 pulse trains that the first pulse is either wide or narrow.  The pulse trains are used to drive both sequential logics and a phase-lock-loop (PLL) circuit in the FPGA.  The recovered x4 clock from the PLL is divided by 2 using a 1 bit counter and both polarities of the counter outputs are shown in Channel 3 and 4.  The data in the pulse train are extracted and the data valid signal is fed into channel 2.  The data valid pulse seen on screen comes from the previous 5-pulse train outside the left edge of the screen.  We trigger on the data valid pulse generated by the 5-pulse train in the screen.  Due to the pipeline latency and cable delays, the data valid pulse we triggered on is outside the right edge of the screen.

The operating frequency or bit rate of 26MHz is arbitrarily chosen but it is within the range of normal clock/message transmission for most high energy physics front end/digitizer applications.

Data errors are detected at the receiving end and no errors are seen in continuous operation of several days, which corresponds to a data error rate less than 10-13.  At the relatively low frequency, the data error rate should be very low as expected.  There is no jitter observed in the recovered clock beyond the accuracy of our instruments.

# Conclusion

Whenever a clock is to be transmitted, the C5 scheme is a convenient method of carrying message along with the clock.  It is a handy replacement of configuration infrastructure.

The C5 scheme is not designed as a high efficiency data transmission protocol. If we define the channel bandwidth efficiency as (number of bits per frame)/(number of UIs per frame), for C5 scheme, it is 20% comparing with 80% for 4B/5B or 8B/10B coding.  However, the clock and data encoding and decoding for C5 scheme are significantly simpler than the high efficiency coding schemes.

The C5 pulse trains are directly correlated with the clock cycles.  Clock cycles are marked by the commands transmitted with no ambiguity.  It is a very useful feature for the synchronization checking and triggering.  Since the commands are transmitted in the same cable as clock, the timing skew problem is completely eliminated.

References

- G. O. Young, “Synthetic structure of industrial plastics (Book style with paper title and editor),” 	in Plastics, 2nd ed. vol. 3, J. Peters, Ed.  New York: McGraw-Hill, 1964, pp. 15–64.

- W.-K. Chen, Linear Networks and Systems (Book style).	Belmont, CA: Wadsworth, 1993, pp. 123–135.

- H. Poor, An Introduction to Signal Detection and Estimation.   New York: Springer-Verlag, 1985, ch. 4.

- B. Smith, “An approach to graphs of linear forms (Unpublished work style),” unpublished.

- E. H. Miller, “A note on reflector arrays (Periodical style—Accepted for publication),” IEEE Trans. Antennas Propagat., to be published.

- J. Wang, “Fundamentals of erbium-doped fiber amplifiers arrays (Periodical style—Submitted for publication),” IEEE J. Quantum Electron., submitted for publication.

- C. J. Kaufman, Rocky Mountain Research Lab., Boulder, CO, private communication, May 1995.

# Footnotes

Manuscript received June 2, 2005.  This work was supported in part Operated by Universities Research Association Inc. under Contract No. DE-AC02-76CH03000 with the United States Department of Energy.

Jinyuan Wu and Zonghan Shi are with Fermi National Accelerator Laboratory, Batavia, IL 60510 USA (phone: 630-840-8911; fax: 630-840-2950; e-mail: jywu168@ fnal.gov).

# Text boxes

TABLE I

The Codes of C5 Scheme

| 4B/5C Codes | Widths of Pulses | 3B/4C Codes | 2B/3C Codes | 1B/2C Codes |
| --- | --- | --- | --- | --- |
|  | 0 | 1 | 2 | 3 | 4 |  |  |  |
| D15 | +1 | -1 | +1 | -1 | 0 | D7 |  |  |
| D14 | +1 | -1 | +1 | 0 | -1 |  |  |  |
| D13 | +1 | -1 | 0 | +1 | -1 |  |  |  |
| D12 | +1 | -1 | 0 | 0 | 0 | D6 | D3 | D1 |
| D11 | +1 | 0 | -1 | +1 | -1 |  |  |  |
| D10 | +1 | 0 | -1 | 0 | 0 | D5 | D2 |  |
| D9 | +1 | 0 | 0 | -1 | 0 | D4 |  |  |
| D8 | +1 | 0 | 0 | 0 | -1 |  |  |  |
| D7 | -1 | +1 | -1 | +1 | 0 | D3 |  |  |
| D6 | -1 | +1 | -1 | 0 | +1 |  |  |  |
| D5 | -1 | +1 | 0 | -1 | +1 |  |  |  |
| D4 | -1 | +1 | 0 | 0 | 0 | D2 | D1 | D0 |
| D3 | -1 | 0 | +1 | -1 | +1 |  |  |  |
| D2 | -1 | 0 | +1 | 0 | 0 | D1 | D0 |  |
| D1 | -1 | 0 | 0 | +1 | 0 | D0 |  |  |
| D0 | -1 | 0 | 0 | 0 | +1 |  |  |  |
| C15 | +1 | -1 | -1 | +1 | 0 | C7 |  |  |
| C14 | +1 | -1 | -1 | 0 | +1 |  |  |  |
| C13 | +1 | -1 | 0 | -1 | +1 |  |  |  |
| C11 | +1 | 0 | -1 | -1 | +1 |  |  |  |
| C7 | -1 | +1 | +1 | -1 | 0 | C3 |  |  |
| C6 | -1 | +1 | +1 | 0 | -1 |  |  |  |
| C5 | -1 | +1 | 0 | +1 | -1 |  |  |  |
| C3 | -1 | 0 | +1 | +1 | -1 |  |  |  |
| Q0 | 0 | 0 | 0 | 0 | 0 | Q0 | Q0 | Q0 |

The codes of C5 scheme: all the 24 DC balanced combinations with least possible disparities are tabulated.  The subset of the codes for the 3B/4C 2B/3C and 1B/2C are also shown.

Fig. 3.  The control codes of the 4B/5C scheme.

Fig. 4.  The encoder of C5: The (mod 20) counter counts from 0 to 19 to provide phases (UIs) of 5-pulse train with 4 phases per pulse.

Fig. 1.  Typical digitizer configuration in high energy physics experiments: The digitizer/DAQ FPGA is place close to the detector.  The configuration and trigger commands are combined into the clock distribution channel.

Fig. 2.  The data codes of the 4B/5C scheme.

Fig. 5.  The decoder of C5: The command composer block plus the registers A and B are expanded in the lower box.

Fig. 6.  The test result of C5: Traces 1 and 2 are the C5 pulse train and the data valid pulse.  The traces 3 and 4 counter outputs derived from recovered clock.