SAFETY PROGRAM OVERVIEW AND TRAINING

INTRODUCTION

The mission of the Clinical Services of the Laboratory of Pathology (LP) of the National Cancer Institute is to achieve the highest level of quality in diagnostics, education and research. These goals are supported by a commitment to high standards of laboratory safety. The LP has established a partnership with the clinical and research community at the National Institutes of Health to expand the scope of our expertise. This is turn will ensure the achievement of our goal to be a globally recognized center of excellence for clinical diagnostics, disease research, and pathology education. The manual is designed to promote the highest standards of safety practices, in keeping with our mission, vision and departmental philosophy.

This manual was revised for the year 2002 in an effort to consolidate, condense and streamline the information in our previous manual so that it is easier to find information and insure that we are covering all regulatory and NIH safety issues for the employees working in the Clinical Services of LP. In 2003, revisions were made to address new safety standards of various regulatory and accrediting bodies and placing the material on the web for quick and easy access for LP employees.

The contents of this manual have been standardized with the exception of variable content [e.g., chemical inventory, material safety data sheets (MSDS), etc.] for all the clinical laboratories sections and copies are available in each section/unit and office. Note: Each Laboratory Section has a separate Chemical Inventory and Material Safety Data Sheets (MSDS). MSDS may also be viewed online using links found at http://www.nih.gov/od/ors/ds/msds.html

All employees must review the content of both safety manual and the CC Emergency Management Plan (web and/or printed material) and sign a log indicating they are familiar with its contents. Other very useful web based sources include:

- Division of Safety

- Office of Research Services

- Clinical Center Safety Committee

- NIH Manual Chapters

- CC Emergency Management Plan

- NIH Policy 3015, Admittance of Children to Hazardous Areas.

The information contained in this manual may be reproduced; however, reference to any specific commercial products, process, or service by trade name, trademark, manufacturer, or otherwise, does not necessarily constitute or imply its endorsement, recommendation, or favoring by the United States Government.

ROLES, RESPONSIBILITIES, AND REQUIREMENTS

Prevailing local, state and federal (e.g., OSHA, EPA, etc) regulations are reviewed by the NIH Division of Safety (DS) (496-5291). DS insures that methods for disposal of all solid and liquid wastes are in compliance with local, state and federal regulations and is involved in hazardous waste reduction programs. The mercury reduction program may be viewed at http://orf.od.nih.gov/nomercuryhome.htm and information regarding the recycling program may be viewed at http://www.nih.gov/od/ors/ds/recycle/index.htm. The DS assisted with the preparation of this manual to be sure that the LP is in compliance with regulations.

The Occupational Medical Service (OMS) provides a variety of work-related medical services to the NIH community. Their services include preplacement medical evaluations, work-related immunizations and laboratory testing, evaluation and care for medical emergencies and occupational injuries, Workers' Compensation support services, a range of Employee Assistance Program services, and CPR training. Although employees should report all work-related injuries and illnesses to OMS, the service is particularly concerned that injuries that could result in potentially life-threatening infections be reported immediately (examples include injuries involving human body fluids). OMS is located in the ACRF's 6th floor clinic. The clinic is open Monday through Friday from 7:30 am to 5:00 pm and can be reached at 496-4411. OMS health care providers can be reached after clinic hours for potentially life-threatening injuries by calling the NIH Page Operator at 496-1211. If OMS is not available, call 116 for first aid and transportation to Suburban Hospital if necessary. Code Blue is available 24 hours a day at 111.

The Hospital Epidemiology Service (HES) is responsible for the hospital-wide infection prevention program, aimed at preventing nosocomial infections through improved management. This goal includes preventing transmission of infection from patients to patient-care staff or to hospital visitors. The responsibilities of HES include: 1) performing routine surveillance activities to detect the occurrence of nosocomial infections, 2) ensuring that patients with communicable illnesses are placed on appropriate isolation precautions, 3) investigating all potential outbreaks of infection in the Clinical Center, and 4) educating personnel regarding infection control procedures, including Universal Precautions to prevent the transmission of blood-borne pathogens.

The HES staff is available to all employees to assist in making decisions relevant to the prevention and control of infection in patients as well as personnel. The Clinical Center isolation policy includes Universal Precautions in the management of blood or body fluids from all patients. Questions about Universal Precautions, about isolation of infected patients, about policies or procedures relevant to infection prevention and/or control, about the management of patients with resistant pathogens or tuberculosis, or any question dealing with the risk of transmitting infection among patients or staff should be directed to this service. Patients or personnel with varicella zoster virus infection, suspected or diagnosed tuberculosis, oxacillin-resistant Staphylococcus aureus, or vancomycin-resistant enterococcus should be reported to the HES as soon as possible. In addition, an Isolation Guidelines flipchart devised by the HES is located at all nursing units and patient care areas as a reference. The CC Isolations Guidelines (“flipchart”) is available at http://www.cc.nih.gov/hes/CC/flipchrt/flipchrt.html HES may be contacted by calling 496-2209 or through the signal page operator 496-1211.

The Safety Support Section of the Occupational Safety and Health Branch maintains surveillance programs of hazardous chemicals (e.g., formaldehyde, xylene, glutaraldehyde). They are responsible for evaluating employee exposure and ensuring compliance with OSHA standards. Call 496-3457 or 496-3353 for more information.

The LP Chief has ultimate responsibility for the safety of employees within the department. However, as a team, all LP employees are responsible for maintaining a safe work environment. This includes knowledge of safe work practices and disposal of all real or potential hazards of wastes. In addition, all employees must use appropriate personal protective equipment and control devices based on the criteria established for their individual sections.

Each Section/Unit Chief appoints a member from his/her area to serve as a Safety Officer for their area and serve on the LP Safety Committee. The Chief or designate of each section/unit is responsible for additional safety policies and training of employees in their area of responsibility which are unique to their areas and not specified in this general safety manual.

Supervisors will work with committee members to schedule time and location for specific training requirements for their areas. The supervisors are expected to support the Safety Committee members and allow them to work on safety issues during their normal work day.

The Clinical Lab Manger will Chair the Safety Committee. The Chair of the Safety Committee carries out the following responsibilities:

- Attends and reports safety incidents at the monthly Quality Improvement Committee meetings.

- Attends Clinical Center Safety Committee meetings.

- Coordinates chemical exposure monitoring.

- Coordinates environmental assessments and training needs with the NIH Office of Research Services Divisions of Safety and Public Safety.

- Coordinates quarterly LP Safety Committee meetings.

- Works with the LP Chief, the Director of Clinical Service Operations, Section/Unit Chiefs, Administrative Laboratory Manager, Supervisors, DS, EMS, and OMS to insure CAP, JCAHO and all other regulatory compliance.

The LP Safety CommitteeMembersand Chair, designated in Appendix A, work together to carry out the following responsibilities:

- Assist supervisors with safety orientation of new employees.

- Coordinate evacuation drills (e.g., Fire Drills).

- Coordinate in-service safety training sessions (e.g., Fire Safety) for LP.

- Coordinate the function verification of chemical and biological fume hoods and other protective equipment.

- Function as the Chemical Hygiene Officer for Hazardous Chemicals. Responsibilities include: training employees in the elements of the chemical hygiene plan, documenting that each chemical in the laboratory has been evaluated for carcinogenic potential, reproductive toxicity, and acute toxicity, and verifying that polices are in place which define specific handling requirements of hazardous chemicals.

- Function as the Floor Monitor Warden for evacuation procedures. See NIH Manual # 1430 “NIH Occupant Evacuation Plan”

- Maintain appropriate postings in section.

- Monitor and document training compliance and notify section chiefs of any delinquencies.

- Participate in annual review and evaluation of the effectiveness of the LP Chemical Hygiene plan.

- Refer difficult or complex questions to a higher level or different department (e.g., ORS, DS, OMS, and HES) based on area of expertise. Working with these departments, the committee will serve as a link to transfer information and assist in trouble shooting problems and concerns and assist with 1) evaluation of effectiveness of engineering and work practice controls to significantly reduce or eliminate exposure to bloodborne pathogens during laboratory testing and 2) the selection of products and implementation of work practices that reduce the risk of allergic reactions to job-related exposure of natural rubber latex in gloves and other products.

- Review and document safe work practices during the annual safety audit and physical inspection.

- Update and maintain safety manual and policies.

- Update safety manual as needed in collaboration with the Chief of LP and Divisions of Safety and Public Safety. Insure that copies of revised or new polices are in all manuals and notify Chiefs and Supervisors of changes .

The Program Assistant assigned to the Director of Clinical Operations is responsible for:

- Assisting the safety committee with monitoring of training compliance.

- Attending the safety committee meetings.

- Maintaining central files of safety documentation.

- Performing clerical duties relating to the management of the LP Safety Program.

- Acting as the custodian of the CD-Rom titled: “Introduction to Lab Safety - Computer Based Training Course”.

At the present time, no known radioactive materials are used in LP for clinical diagnosis.  In the future, if such materials will be used, a Radiation Safety Officer would be appointed to oversee the safe and efficient use of the material.  Employees working near researchers using radioactive materials should be aware that risk from the exposures are minimal, and insure that radiation safety policies and procedures are being followed. Employees who may receive radioactive specimens must follow specific procedures related to these specimens.

Radiation Safety Manuals are also available for further reference.  In addition, the LP Chief currently serves as the Chair of the Radiation Safety Committee for the entire NIH community. Any questions regarding radiation safety or radioactive specimens should be directed to the ORS assigned Health Physicist located at http://www.nih.gov/od/ors/ds/rsb/hp/index.html or by calling 496-5574.

DOCUMENTATION

The safety committee member of each section maintains all safety documentation for his or her appointed area of responsibility. Copies of the Orientation checklists, Universal Precautions and TB training documentation, chemical exposure monitoring, chemical inventory and chemical evaluation, electrical ground checks, and accident reports must be sent to the Program Support Assistant for Clinical Operations. All documentation must be readily available for inspection purposes and tracking of compliance. The program assistant will maintain files and assist the safety committee with monitoring compliance.

REPORTING OF SAFETY CONCERNS

Safety concerns may be reported to the Section Chief, Section Supervisor, Safety Officer, Chair of the Safety Committee, or LP Chief at any time. Refer difficult or complex questions to a higher level or different department (e.g., ORS, DS, OMS, and HES) based on area of expertise. All concerns should be forwarded in writing to the Chair of the Safety Committee for review and discussion with the Safety Committee. The Chair of the Safety Committee will report a summary of findings and recommendations to the Quality Improvement Committee.

TRAINING

All new employees performing clinical services are required to complete the following during their orientation:

- Complete Safety Orientation Checklist

- Complete Universal Precautions & Tuberculosis training

- Read and Sign this Safety Manual

- Read and Sign Clinical Center Emergency Plan

- Complete the radiation orientation training

- Review the content of both safety manual and the CC Emergency Management Plan (web and/or printed material) and sign a log indicating they are familiar with its contents

All employees performing clinical services are required to:

- Repeat the annual Universal Precautions training

- Repeat annual Fire Safety Training & Evacuation/Fire Drill

- Repeat Radiation Orientation every three years

Specific training for specimens contaminated with radiation takes place during orientation. Every three years, all employees performing clinical services are required to attend a Radiation Safety Orientation conducted by ORS.

It is recommended that new employees performing clinical services:

- Take Introduction to Lab Safety Computer Based Training (CBT) Course.

- Attend Lab Safety at the NIH (must take CBT as prerequisite).

- Attend Working Safely with HIV and Bloodborne Pathogens in the Research Laboratory

Fellows, Residents, Visiting Scientists and employees performing research may have additional requirements not covered in this manual (e.g., above recommended classes are required if performing research at NIH). See your supervisor for more information.

|  | NEW EMPLOYEE ORIENTATION CHECKLIST Overview, Audience & Policy: The new employee orientation checklist (Appendix B) is used to orient all new employees hired after January 1, 2002. Supervisors are responsible for using the checklist to ensure the new employee understands safety training requirements, fire safety and evacuation procedures, hazard communications, handling specimens contaminated with radiation, etc. Frequency: The orientation checklist should be completed within 30 days of hire, if the employee is hired after January 1, 2002. UNIVERSAL PRECAUTIONS & TUBERCULOSIS TRAINING Overview : This training provides employees with a review of safe work practices they need to follow to minimize occupational exposure to bloodborne pathogens which includes: OSHA Occupational Exposure to Bloodborne Pathogens (29 CFR Part 1910.1030) Bloodborne Pathogens Exposure Control Plan TB Exposure Control Plan Audience & Policy: All employees performing clinical service have the potential for contact or occupational exposure with blood, body fluids, or other potentially infectious materials and are required to complete this training. Frequency: Training is required at the time of initial assignment, and annually thereafter. Training: The training program requires approximately 30 to 60 minutes. · To take the test, please go to the internet link to the training materials and test. · After faxing the test to HES, please provide the original copy to your Safety Officer, so they can file it in their safety documentation notebook and forward the completion dates to Administrative Lab Manager to update the Master Training Log. · The Safety Officer should file the documentation in their Section and forward completion dates to the Administrative Lab Manager. · Any employee with direct patient care responsibilities, people who handle specimens, unfixed tissue or work with animals must complete this training. For staff who are strictly research lab and aren't in patient care areas, they can also attend the UP training given by ORS. SAFETY MANUAL, CLINICAL CENTER EMERGENCY MANAGEMENT PLAN, & FORMALDEHYDE TRAINING Overview: The safety manualis designed to promote excellence in safety in LP Clinical Services in concert with our mission, vision, and departmental philosophy. We observe the policies and procedures outlined in the Clinical Center Emergency Management Plan. Emergency Phone numbers and the LP Emergency Phone tree are found in Appendix D. The list of emergency employee phone numbers is confidential and shared only with employees responsible for making calls. All employees working with Formaldehyde are expected to review the Formaldehyde Fact Sheet and Training Aid, found in Appendix E, as part of the annual review. Audience and Policy: All employees performing clinical service are required to read and sign both the safety manual and the Clinical Center Emergency Plan. Specific plans for any persons with disabilities are established in appropriate sections as needed. By signing the manuals, employees indicate that they have read and understand the procedures and policies. It is the responsibility of the employee to address any questions to their supervisor, Chief, LP Chief, Safety Officer or other appropriate department external to LP, if necessary. Frequency: Each clinical employee must review the content of both safety manual and the CC Emergency Management Plan (web and/or printed material) and sign a log indicating they are familiar with its contents on an annual basis. Employees will also review and sign new or revised policies when they become available. |
| --- | --- |

ANNUAL FIRE SAFETY & FIRE EVACUATION DRILLS

Overview: The Safety Committee coordinates in-services for Fire Safety Training conducted by the NIH fire marshal. Evacuation Training covers emergency procedures to be employed before, during, and following a fire incident. The designated meeting place for all LP employees (except Clinical Cytogenetics) evacuating the building is the parking lot behind Building 1. The designated meeting place for all Clinical Cytogenetics’ employees evacuating the building is the parking lot near the Blood Bank. Fire drills are conducted with the guidance of the fire prevention inspector and he/she or designate completes required documentation for his/her section. Fire Prevention Safety (FPS) monitors the effectiveness of the drill and the CC Safety Committee, which is a standing committee of the Medical Executive Committee (MEC) reviews the collective data. If an employee is unable to take part in a fire drill he/she must complete the make-up evaluation in Appendix F.

Audience, policy, and frequency: All clinical employees of LP must either attend one Fire Safety Training session or complete the make-up evaluation on an annual basis. Specific plans for any persons with disabilities are established in appropriate sections as needed. The Safety Officer is responsible for notifying hearing impaired persons or alarm situations. Evacuation routes are posted in each section. Clinical employees of LP must attend one fire evacuation drill on an annual basis. Specific plans for any persons with disabilities are established in appropriate sections as needed. The Safety Officer is responsible for notifying hearing impaired persons or alarm situations. The Safety Officer will insure annual compliance for his/her section.

RADIATION SAFETY ORIENTATION

Overview: Employees may receive specimens contaminated with radiation from patients receiving radionucleotide therapy and must follow specific procedures related to these specimens. All employees performing clinical services are required to attend a Radiation Safety Orientation conducted by ORS assigned Health Physicist. The orientation is designed to train clinical employees how to receive, transport, or work with radioactive specimens. This training is targeted to those who have never worked with radioactive material or who have some concerns. The objectives of the training include: (1) working safely with samples with low-level radioactive contamination, (2) understanding the risks of exposure (3) following procedures for low-level radioactive samples, (4) knowing when to call Radiation Safety Branch for assistance. Basic safety and administrative actions include labeling of samples, monitoring for contamination after working with the sample, using universal precautions while handling the samples, and proper disposal packaging for collection by the Radiation Safety Branch/NIH Waste Contractor. A computer based training radiation orientation program is under development and may be taken in place of the live training session, as soon as it is available.

Audience and Frequency: Radiation Safety Orientation training must be completed when hired, by all employees handling clinical specimens, unless you have completed the regular Radiation Safety Training for Authorized Users, or if you are exempted by your Section Chief.

Policy: Radiation Safety Orientation is now available as an online computer based training.

Before taking the training class, you will have to register for an RSB number. If you have already taken a radiation safety orientation class and do not know your number, please contact John Jacobus, and he will provide it to you. He may be reached via e-mail at jjacobus@mail.nih.gov or call him at 6-5774.

If you do not yet have an RSB#, you may register online or use the printable form. When completing the registration use Lance Liotta as the authorized user, (Auth User # 1496), and mark your work description as "Patient Care" on the online form, or 03 under "Type of User" on the printable form, which does not have Patient Care specifically listed. If completing the online registration, do not select a class date, but just submit the registration.

Once you receive your RSB#, you can complete the online training

The Chair of the Safety Committee, will periodically receive and summary of the training documentation and track who has completed it.

LABORATORY SAFETY TRAINING COURSES

(see http://www.ors.od.nih.gov/labsafety/ for more information)

Overview: The following training courses are available:

- Introduction to Laboratory Safety – On Line Course

This is an introductory course on common exposure hazards and risks found in research laboratories (chemical, radiation, biological). This is a prerequisite for Laboratory Safety classroom.

- Laboratory Safety at the NIH – Classroom

This classroom course provides training on the recognition and control of common physical, chemical and biological hazards found in NIH research laboratories. The course provides required information on NIH policies and procedures for working safely in the research laboratory as well as methods for hazardous waste minimization. The course provides information on engineering and personal protective equipment as well as the NIH medical surveillance program available through the Division of Safety, Occupational Medical Service. This course provides initial training on the OSHA Hazard Communication Standard (29 CFR 1910.1200) and Occupational Exposure to Hazardous Chemicals in Laboratories (29 CFR 1910.1450).

- Working Safely with HIV and Bloodborne Pathogens

This course provides research personnel with information on working safely with bloodborne pathogens in NIH research laboratories in accordance with the OSHA Bloodborne Pathogen standard (29 CFR 1910.1030). This course specifically discusses work practices in Biological Safety Level 2 and 3 laboratories, common methods of bloodborne pathogen exposures and the use of various controls to help prevent exposure. The course outlines steps to take in case of a potential exposure and reviews medical pathological waste disposal procedures. The course also reviews the Division of Safety, Occupational Medical Service medical surveillance program including the hepatitis B vaccination program.

- Bloodborne Pathogen Refresher Training – Online Course

This is a web based refresher course.

- Laboratory Safety Refresher Course

This is a classroom refresher course.

SHIPPING DIAGNOSTIC SPECIMENS OR HAZARDOUS GOODS

Overview, Audience & Policy: Any individual that packs diagnostic specimens for shipping must review this safety manual, including the directions above and complete the Shipping Diagnostic Specimens Training Evaluation, in Appendix L. This must be completed by all new employees before they ship specimens and repeated on an annual basis to document training and competence of the regulatory requirements pertaining to shipping diagnostic specimens.

At lease one person must be trained for handling dangerous goods, by an approved training program, in the event that we must send dangerous goods, other than diagnostic specimens.

Frequency: This class may be taken at time of hire, before the employee packs or ships diagnostic specimens. This training must be repeated every two years. Additional training for clinical employees for hazardous goods can be accomplished by attending approved training courses.

Instructions for enrolling in class: Please contact your supervisor or the Clinical Laboratory Manager if someone in your area needs additional hazardous goods training

REFERENCES

- CC Isolations Guidelines (“flipchart”)

- CC Universal Precautions Web site

- Clinical Center Safety Committee

- Clinical Center Emergency Management Plan

- CPR Study Guide for NIH Health Care Providers