SPECIMEN COLLECTION

The individual clinical sections have developed specimen collection and handling instructions that reflect the requirements of the diagnostic tests performed. The specific instructions for specimen collection are available on the Laboratory of Pathology Web Site for all Clinical Center Clinicians. Specific instructions for the proper collection and handling of specimens are updated regularly and reviewed annually. These are available at either:

- Laboratory of Pathology Web Site

- Clinical Center Formulary of Services

LP employees do not collect blood specimens for clinical tests or controls. Phlebotomists from the Clinical Center have been trained in the proper selection and use of equipment/supplies and collection techniques, and have evaluated the effectiveness of its engineering and work practices to significantly reduce or eliminate exposure to bloodborne pathogens during phlebotomy.

If blood collection is needed for controls LP employees may contact phlebotomy at 496-3105 for assistance. Prior to collection, the employee/volunteer must be registered as a patient in CC Admissions and sign an informed consent. The electronic order can be placed in the MIS by a clinician with ordering privileges under an appropriate IRB-approved protocol.

Trained/credentialed personnel collect all other types of specimens (e.g., fine needle aspirates, biopsies, bone marrow specimens, surgical specimens).

Laboratories may receive specimens from outside NIH. Individuals wishing to send samples must contact specific labs for additional shipping and documentation requirements (e.g., reason for consult, specific questions to be answered, referring pathologist, working diagnosis, pertinent clinical information, etc).

SPECIMEN HANDLING

Follow standard Universal Precautions procedures and General Lab Safety precautions when handling all specimens including low-level radioactive specimens. Because of the low risk of radiation exposure to Pathology staff, Universal Precautions adequately cover radioactive specimen handling. Personnel monitoring devices (film badges) are not necessary for Pathology staff because of the low levels of radioactivity, rapid decay, and limited time of exposure. Contact the Radiation Health Physicist at extension 6-5774 for precautions for handling specimens in which the radiation level is in question.

Radioactive Specimens

This procedure describes the safe handling of radioactive pathology specimens obtained from surgical procedures conducted in the operating rooms of the NIH Clinical Center or collected from patients exposed to nuclear medicine or radiation therapy procedures. These guidelines are established in accordance with the Radiation Safety Branch regulations, surgical procedures and review of current literature. The procedure is designed to keep radiation exposure to employees as low as reasonably achievable. This procedure is directed at handling specimens obtained from surgery in which the radiation level is low, and not tissues that contain radioactive implant devices or radiation therapy patient specimens that may have significantly higher radiation levels. The Radiation Health Physicist must be contacted at extension 6-5774 for handling precautions for any specimen that is suspected of having high radiation levels.

Specimen Labeling & Transportation

- In addition to normal specimen labeling requirements, all radioactive specimens should be sealed into containers and labeled with:

  - Radioactive label – “Caution Radioactive Material”

  - Type of radioisotope

  - Date and time the patient received radioisotope

- All radioactive tissue specimens are placed inside the refrigerator in the Frozen Section Room (2C533). This refrigerator must remain locked at all times.

- Some radioactive specimens (blood, fluids, etc) might also be transported by Patient Escort service.

- Specimens are not to be left unattended in unsecured holding areas before transport to the Frozen Section Room or Histology Lab.

- Specimens are transported from the Frozen Section Room directly to the Histology Lab by Histology staff on a transport cart.

Specimen Monitoring

- The Histology Lab will monitor all surgical specimens for radioactivity when they are labeled as such, or if they are suspected of being radioactive (e.g., receive part of a case labeled radioactive and the other half not, or if radioactivity is suspected because of the information given on the request form. Survey meters are available in the Frozen Section Room, and specimens are checked prior to transport to the Histology Lab. Other sections may borrow the survey meter in the unlikely event they receive a radioactive specimen.

- The procedure for use of the survey meter is as follows:

  - Turn knob from “off” position to “BAT” to test battery. Needle indicator should read in the “BAT TEST” area of the gauge. Replace battery if needed.

  - Turn knob to the most sensitive scale (0.1X).

  - Place Audio toggle to “ON” and F/S (Fast/Slow) toggle to “F”.

  - Confirm meter operation by checking radioactive check source (attached to the side of the meter).

  - Press “res” (reset) button to re-zero if needed.

  - Survey specimens by slowly moving the detectors several inches over the surface of each specimen container.

- The operating room will be notified if radiation is detected in a specimen that is not labeled as such. Place a radioactive label on the specimen container and obtain the appropriate information regarding radioisotope and date of administration to the patient, if known. It is possible that patients may have had radioactive studies that were not performed at the NIH, and the operating room was unaware of them.

- Wet submitted samples from outside institutions should also be surveyed in the same manner. It is not necessary to survey paraffin embedded blocks unless they are designated radioactive by the shipper. 

Cryostat Monitoring

- Limited contamination may be present in the cryostat immediately after cutting a frozen radioactive specimen. The Pathologist should survey the interior and exterior of the cryostat after processing a radioactive specimen, and decontaminate if readings are > 300 cpm above background. If decontamination is needed, prepare the backup cryostat for subsequent use for other frozen sections. Close the lid and place an “Out of Service” sign on the instrument and ask the Histology Lab to decontaminate the instrument. Turn off and unplug the cryostat if the contamination is on the interior of the instrument. The Histology Lab will decontaminate the instrument according to the following procedure:

- Let the cryostat reach room temperature if interior decontamination is required.

- Wearing gloves, gown or lab coat, and goggles or glasses, carefully remove the knife. Dispose of knife in sharps container and label with a Radiation Waste Tag and call for Radiation Waste pickup at 6-4451.

- Spray the contaminated area of the interior of the cryostat with foam RadCon™ or other brand of decontaminating cleaner.

- Wipe clean with paper towels, gauze or sponge.

- Dispose of towels, gauze or sponge in a MPW box.

- Recheck to verify contamination is removed. Check interior and exterior of the instrument. Repeat cleaning if needed.

- Wipe all exposed surfaces inside and outside the cryostat chamber with 95 % alcohol.

- Drain cryostat through the drainage pipe. Transfer all waste to the same MPW box that was used in step “e”. Attach a Radiation Waste tag and call for Radiation Waste pickup at 6-4451.

- With gauze soaked in absolute alcohol, wipe the inside of the crostat chamber again and let it evaporate with the lid open.

- Allow cryostat to dry.

- Replace knife and perform daily maintenance.

- Plug in the cryostat and power up the instrument.

- Allow it to equilibrate at the desired temperature before removing the “Out of Service” sign.

Specimen Processing & Storage

- The Radiation Health Physicist must be contacted at extension 6-5774 for handling precautions for any specimen that is suspected of having high radiation levels.

- Hold specimens for 24 hrs before processing or until radioactivity decreases to a level of 300 cpm above background.

- Activity levels that exceed 300 cpm above background should be quarantined until they are within acceptable limits.

- Radioactive specimens are held in the Histology Lab under the hood. The lab is to be secured (locked) when employees are not present. Be sure to place a note for the appropriate person so that the specimens are not forgotten.

- When disposing of tissue fixative, record the volume of liquid and isotope type on the radioactive waste disposal tag (e.g., “x ml of formalin with Tc-99m”). If the isotope is unknown, record “ x ml of ‘type of fixative’ from clinical sample with unknown radionuclide”. Call 6-4451 for waste pick-up when waste container is about ¾ full.

SoftPath Laboratory Information System

- The Histology Lab will flag all specimens in the computer for quality improvement tracking. The following codes are used:

  - RD = Radioactive Specimen

  - RDR = Radioactive Specimen Rejected

  - RDL = Radioactive –No Radiation Label

- The procedure for case flags is found in the SoftPath™ user manual.

Radioactive Specimen Storage and Disposal

- Radioactive specimens are held in a secure location (locked room when staff is not present) to prevent unauthorized access and premature disposal. Store these materials away from personnel.

- Radioactive specimens are disposed of in a MPW box to which a Radiation Waste tag is attached. These containers are to be kept in a locked or occupied room at all times. Call for Radioactive Waste pick-up at 6-4451 the next day. Radioactive Waste will not be stored.

- Housekeeping will not be allowed to remove MPW boxes labeled as Radioactive Waste.

Transportation of Paraffin Blocks prepared from radioactive specimens

Radioactive tissues are not processed and embedded in paraffin blocks unless radiation is below background level; therefore, no additional precautions are required.

SPECIMEN TRANSPORTATION

Specimens within NIH are transported by personnel from Patient Escort Services (6-9295) who are trained in the appropriate safety and packaging procedures suitable to specimen type and distance transported. All specimens must be properly labeled to meet the NIH requirements for transportation of biohazards. Escort Services have a tracking system to ensure that all specimens submitted to the laboratory are actually received. Electronic orders are placed in the Medical Information System (MIS) or are FAXed to the individual laboratories and individual laboratory sections/units record specimen receipt in either a logbook or the Laboratory Information System. These systems can be used to track specimens when needed.

The nurses transporting specimens to the Frozen Section Room from the operating room enter these into a logbook. Histology personnel review the logbook and initial each entry when specimens are transported from the Frozen Section Room to the Histology Laboratory. They confirm that all specimens are properly labeled and placed in sealed containers prior to transporting materials on a laboratory cart.

All specimens will be submitted in appropriately labeled and well-constructed containers with secure lids (or sealed bags) to prevent leakage during transport.

Specimen Transportation From Outside of Building 10

All specimens must be properly packaged and labeled to indicate the general nature of the materials transported. All shipments received must comply with all applicable local, state, and federal laws governing packing, labeling, and transportation.

The following web resources are available for procedures for handling suspicious packages.

- Handling NIH mail http://www.nih.gov/od/ors/security/mailsecurity.htm

- Guidelines for Identifying Suspicious Mail http://www.nih.gov/od/ors/security/idmail.htm

Occasionally, specimens may be hand carried by personnel from other buildings, (e.g., Suburban Hospital or Navy Hospital). When doing so, make sure the packages are double bagged (or placed in a secondary sealed container) to prevent any potential leakage. A Nalgene leakproof, sealable, puncture-proof container available through most catalogs to transport materials between buildings is recommended. Specimens should be labeled “Diagnostic Specimen.” Hand carried materials must have sufficient absorbent material to absorb all specimens, if the primary container breaks or leaks. If using a courier, follow the packing instructions provided by the courier. If the specimen is known to be infectious, then it becomes a regulated dangerous good and must be packaged following the guidelines for infectious substances (see Freight Forwarding Section instructions on page 12 for more details or contact the Clinical Laboratory Manager).

If it is necessary to transport a deceased patient for autopsy, contact Admissions (6-3315) to arrange transportation using a licensed funeral home or service.

RESOLUTION OF PROBLEMS WITH SPECIMEN PROCUREMENT, TRANSPORTATION, OR HANDLING

If a problem is identified in specimen transportation or quality, notify the Section Chief or Supervisor of the laboratory. It is the responsibility of the Section Chief or Supervisor to attempt to improve performance of clients or offices that frequently submit specimens improperly. Problems and corrective actions should be documented in the Quality Improvement report of the individual section/unit involved.

Occurrences may be reported to the Clinical Center Quality Assurance (QA) Department and Nursing Department Administration using the web-based Occurrence Reporting System (ORS). This system provides a mechanism for communication and problem resolution of occurrences. Occurrence reporting and analysis are intended to prevent damage/risk from occurring, to reduce damage when adverse events have already occurred, and to prevent future adverse events. Occurrence reporting and analysis are integral components of the Nursing Department Quality Assurance program. When occurrences are reported, a copy of the report is automatically sent to Clinical Center QA Department. The Clinical Center QA Coordinator makes a request for follow up from nursing to the Head Nurse. When this occurs, the Head Nurse completes follow up and circulates the information to the Service Chief and sends a copy to the Nursing QA Specialist. See http://www.cc.nih.gov/nursing/ocurpanl.html for more details and procedures for reporting an occurrence. A password and training on the system is required to initiate a report. The Clinical Laboratory Manager may initiate a report for anyone without a password.

PACKAGING AND SHIPPING LABORATORY SPECIMENS TO OUTSIDE LOCATIONS

All shipments must comply with all applicable local, state, and federal laws governing packing, labeling, and transportation. Either Fed EX or U.S. Mail may be used to ship non-infectious diagnostic material to domestic locations. Blood, urine, fluids and other liquid diagnostic specimens must be shipped via FedEx. All other specimens (e.g., international shipments, infectious substances, toxic materials, dry ice, carbon dioxide, liquid nitrogen, and hazardous material), including a clinical specimen that is known or reasonably believed to contain an infectious substance (etiologic agent), must be sent through the Freight Forwarding Section in Building 13.

Marking and Labeling

All markings must be visible on the package or overpacks and not located with other package markings that could substantially reduce their effectiveness. All markings must be written (or affixed) in English and be plain, durable, visible, legible, and weather proof.

Federal Express Small Package Delivery (Including non-infectious diagnostic material)

Call the Freight Forwarding Section on 496-5921 to establish a NIH Federal Express account number to ensure that you will receive the discounted contract rates. Call FedEx at 1-800-463-3339 to schedule a pickup or establish routine pickups. On the Federal Express USA Airbill only select "FedEx Priority Overnight" for next business day delivery service or "FedEx 2Day" for second business day delivery service. For shipments to Puerto Rico use the FedEx International Air Waybill. Select only "FedEx International Priority" for next business day service or "FedEx International Economy" for second business day service. FedEx will permit shipments of diagnostic materials to international locations, however; the shipper should call 1-800-463-3339 in advance to determine if there are any restrictions for the final destination and coordinate the shipment through the Freight Forwarding Section, if necessary.

Federal Express Domestic Non-infectious Diagnostic Material that is not shipped with carbon dioxide, solid (dry ice) or liquid nitrogen.

By definition, a diagnostic specimen is any human or animal material, including excreta, secreta, blood, and its components, tissue, and tissue fluids being transported for diagnostic or investigational purposes, but excluding live infected humans or animals.

If a specimen must be shipped with carbon dioxide, solid (dry ice) or liquid nitrogen contact the Freight Forwarding Section at 496-5921.

If a specimen is infectious or suspected of containing pathogens which can be readily transmitted from one individual to another, directly or indirectly, and for which effective treatment and preventative measure are not usually available, as determined by medical staff, contact the Freight Forwarding Section at 496-5921.

Non-infectious (e.g., fixed) Diagnostic specimens must be packed in triple packaging, consisting of:

- A primary receptacle (e.g., block or slide box).

  - For solids, the primary receptacle must be sift-proof with a capacity of not more than 500g (1.1 pounds).

  - For liquids, the primary receptacle must be leak proof with a volume not to exceed 500 ml (16.9 ounces). For liquids, absorbent material must be used in sufficient quantity to absorb the entire contents of the primary receptacles.

  - If several fragile primary receptacles are placed in a single secondary container, they must be individually wrapped or separated to prevent contact between them.

  - If screw caps are used these must be reinforced with adhesive tape.

  - If shipping lyophilized substances, the primary receptacle must be either flame-sealed glass ampoules or rubber-stoppered glass vials.

- A secondary leak-proof package must be used which is in compliance with IATA package insert 650. Several flexible secondary containers may be used and may be purchased through multiple vendors, some options are listed below:

  - Saf-T-Pak Products www.chem-tran.com

    - STP-700 6.5 x 6.75” Tyvek envelope $ 1.64 each

    - STP-710 9.5 x 7.5” Tyvek envelope $ 1.99 each

    - STP-740 12 x 14” Tyvek envelope $ 4.54 each

  - Other products are available at:

    - Cargo Pak www.cargopak.com

    - Dangerous Goods Supplies www.dgsupplies.com

    - Exakt-Pak Diagnostics www.exaktpak.com

    - JIT Certified, Inc. www.jitcertified.com

    - Polyfoam Packers www.polyfoam.com

- If several fragile primary receptacles are placed in a single secondary container, they must be individually wrapped or separated to prevent contact between them. For liquid shipments, absorbent material must be placed between the primary receptacle and secondary packaging.

  - Write the words “DIAGNOSTIC SPECIMEN” on the secondary package.

  - An itemized list of contents must be enclosed between the secondary packaging and the outer packaging.

  - If wet ice, or prefrozen packs are used, place them outside the secondary packaging or alternatively in an overpack with one or more completed packages. Interior support must be provided to secure the secondary package in the original position after the ice has melted. If ice is used the packaging must be leak proof.

  - After January 1, 2004, you must write the words “AIR ELIGLIBLE” on the secondary package. You must also mark the package with a symbol consisting of an aircraft within a circle as shown below:

- Outer packaging (FedEx Clinical Pak): The FedEx Clinical Pak is a new product available February 2003. You may still use the Diagnostic Specimen Pak, but this product was discontinued and replaced by the FedEx Clinical Pak. The Diagnostic Specimen Pak may be may be ordered by calling FedEx at 800-633-7019.

- On the Air Bill, in section 2 or somewhere visible on the document, write “DIAGNOSTIC SPECIMEN, PACKAGED IN COMPLIANCE WITH IATA PACKAGE INSERT 650”. When properly packed, the FedEx package will in IATA compliance:

- Capable of successfully passing a drop test at a drop height of 1.2 meters (3.9 feet) and the outer packaging may not exceed 4 kg (8.8 pounds) capacity.

- For shipments by aircraft, the primary receptacle or the seconday packaging must be capable of withstanding without leakage an internal pressure producing a pressure differential of 95 kPa (0.95 bar, 14 psi).

Domestic U.S. Postal Service

Do not use U.S. Postal Service to mail specimens to military or Veterans Administration (VA) hospitals. These hospitals may irradiate mail and have reported delays in shipments and damage to specimens such as melted blocks and/or burned slides. Use the U.S. Postal Service only for domestic shipping locations; use Fed Ex or Freight Forwarding for international shipments.

You may ship clinical specimens that are not infectious using the US Postal Service. Any human materials, known or reasonably believed to not contain an infectious substance, that have been collected and are being shipped for the purpose of diagnosis are defined as “Clinical (diagnostic) specimens.” Glass slides or cover slips that were in contact with an infectious agent are defined as “sharps.” Please contact the Freight Forwarding section if you are shipping slides prepared from potentially infectious material, biological products, or other medical devices.

A sender’s declaration of dangerous goods is not required for Clinical Specimens, however, specific quantity limits and packaging conditions are specified below:

- Mailpieces must be marked on the address side as “Clinical Specimen –(specify type); e.g., “Clinical Specimen-Blood Sample,” “Clinical Specimen-Tissue Block”, “Clinical Specimen-Slides (non-infectious), etc.

- The outer packaging of shipments of “Clinical (diagnostic) specimens” may bear the international biohazard symbol (below) on the address side.

Black

Fluorescent Orange

Or Red Background

- Sufficient shock-resistant material to withstand shock and pressure changes and absorbent material must surround the primary receptacle, or be otherwise configured to take up the content in case of leakage. The primary receptacle and the absorbent cushioning must be enclosed in a secondary packaging having a leakproof barrier that can prevent failure of the secondary packaging should there be leakage of the primary receptacle during shipment. The secondary packaging may serve as the out packaging if the specimen is less than 50 ml.

- If the specimen exceeds 50ml, a single primary receptacle must not contain more than 1,000 ml of specimen; two or more primary receptacles whose combined volume does not exceed 1,000 ml may be enclosed in a single secondary package.

- If the specimen exceeds 50ml, the secondary package must be enclosed in a fiberboard box or container of equivalent strength.

- Ship specimens Priority Mail or First-Class Mail, using Certified Mail Receipt, (green PS Form 3800) and Domestic Return (green PS Form 3811). Certified mail service provides the sender with a mailing receipt. Return receipt service provides a mailer with evidence of delivery (to whom the mail was delivered and the date of delivery). A return receipt also supplies the recipient's actual delivery address if it is different from the address used by the sender. Follow the instructions on the USPS forms.

Radioactive Specimens

Radioactive tissues are not processed and embedded in paraffin blocks unless radiation is below background level; therefore, no additional precautions are required. Call Radiation Safety at 301-496-3277 if additional information is required.

Freight Forwarding Section

All other shipments (e.g., infectious substances, toxic materials, dry ice, and hazardous material), including a clinical specimen that is known or reasonably believed to contain an infections substance (etiologic agent), or whole organs, must be sent through the Freight Forwarding Section in Building 13, Platform E, before 2:30 PM. Dry ice shipments must be received before 10:30 am to permit expeditious delivery. Both the NIH Form 1884, "Request for Shipment," and NIH Form 1884-1 "Commercial Invoice," must be completed for all shipments. The NIH Form 1884 is available in the Self Service Store. Form 1884 cannot be done in electronic format because each form has a unique serial number, but shipping requests will soon be done via DelPro. Form 1884-1 is available at http://forms.cit.nih.gov/adobe/procurement/NH1884_1.PDF. You may direct any questions to the Division of Safety/ORS at 301-496-2346.

TRAINING REQUIREMENT FOR PACKING AND SHIPPING

Anyone who packs or ships diagnostic (clinical) specimens must review this safety manual, including the directions above and complete the Shipping Diagnostic Specimens Training Evaluation, in Appendix L. The safety manual outlines measures to protect employees from hazards associated with hazardous materials to which they may be exposed in the workplace including measures the LP or NIH has implemented to protect employees from exposure. The Shipping Diagnostic Specimens Training Evaluation must be completed by all new employees before they ship specimens and repeated on an annual basis to document awareness and familiarization with the regulatory requirements pertaining to shipping diagnostic specimens.

At least one person should be trained for handling dangerous goods by an IATA approved training program. This person should be available to assist LP employees with shipping documents, packing, marking and labels in the unlikely event that we must send dangerous goods (e.g., toxic or infectious substances, toxic materials, dry ice, hazardous material, explosives, gases, flammable materials, oxidizing substances, radioactive material, or corrosives). Please contact the Clinical Laboratory Manager or ORS if someone in your area needs to ship dangerous goods or if someone requires additional training.

REFERENCES

- CC Isolations Guidelines (“flipchart”)

- CC Universal Precautions Web site

- Clinical Center Safety Committeel

- Code of Federal Regulations. Part III, Department of Transportation, Research and Special Programs Administrations. 49 CFR Part 171 et. al. Hazardous Materials: Revision to Standards for Infectious Substances; Final Rule. August 14, 2002.

- College of American Pathologists. General Checklist and Commentary. June 21, 2001.

- Communications with Barbara Fahey, RN, Nurse Consultant, HES.

- Communications with Cynthia Crews, CC/DLM Phlebotomy Supervisor.

- Communications with Diane Diane Jenifer, Project Manager, Patient Escort Service, NIH-FOCUS AMC.

- Communications with John Jacobus, Radiation Health Physicist, Radiation Safety Branch, Division of Safety, OD/ORS.

- Communications with Karen Kaczorowski, Director of CC Admissions.

- Communications with Christina Vargas, Safety Specialist, OD/ORS.

- Conversations with Maureen George, RN, MSEd, CNOR, OCN, Nurse Coordinator, Department of Anesthesia and Surgical Services, CC/SURG/NIH

- Division of Safety

- Fed Ex Government Shipping

- Fed Ex Packaging and Marking

- Fed Ex Restrictions

- Fitzgibbons, P.L, LiVolsi, V.A, the Surgical Pathology Committee of the CAP, & the Association of Directors of Anatomic and Surgical Pathology. Recommendations for the handling radioactive specimens obtained by sentinel lymphadenectomy. The American Journal of Surgical Pathology. 24(11): 1549-1551,2000.

- International Air Transportation Association Dangerous Goods Information Online

- International Air Transportation Association Dangerous Goods 2003 Dangerous Goods Regulations, 44 th Edition.

- NCCLS guidelines GP17A: Clinical Laboratory Safety; Approved Guideline (1996)

- NIH policy Manual. Domestic Express Delivery Services Contract

- NIH policy Manual. Permits for Import or Export of Biological Material

- NIH policy Manual. Shipping Policies and Procedures

- Office of Logistics and Acquisition Operations/ Transportation Management Division/Shipping

- ORS How to Ship Biological Materials

- ORS How to Ship Diagnostic Material

- ORS How to Ship Infectious Materials

- OSHA Bloodborne Pathogens Rule

- United States Post Office. Domestic Mail Manual, Hazardous Materials (4/3/03)