| SOLICITATION/CONTRACT/ORDER FOR COMMERCIAL ITEMS Offeror to Complete Blocks 12, 17, 23, 24, & 30 | 1. Requisition Number | PAGE 1 OF | 18 |
| --- | --- | --- | --- |
|  | 65333 |  |  |
| 2. Contract No. | 3. Award/Effective Date | 4. Order Number | 5. Solicitation Number | 6. Solicitation Issue Date |
| DE-AF65-04WG65333 |  |  | DE-RQ65-04WG65333 | December 5, 2003 |
| 7. For Solicitation Information Call: | a. Name Lary A. Martin | b. Telephone No (No collect calls) | 8. Offer Due Date/Local Time |
|  | LMARTIN@WAPA.GOV | 602 352-2646 | 1/05 /04 12:00 PM |
| 9. Issued By | Code G1500 | 10. THIS ACQUISITION IS: | 11. Delivery for FOB Destination unless block is marked. | 12. Discount Terms |
| U.S. DEPT OF ENERGY WESTERN AREA POWER ADMIN 615 S 43rd AVENUE PHOENIZ, AZ 85009-5313 |  |  | Unrestricted |  |  |
|  |  | X | Set-Aside 100 % for |  |  | See Schedule |  |
|  |  | X | Small Business |  |  | 13a. This contract is a rated order under DPAS(15 CFR 700) |
|  |  |  | Small Disadv. Business |  |  |  |
|  |  |  | 8(A) | 13b. Rating |
|  | NAIC: 335313 |  | 14. Method of Solicitation |
|  | Size Standard: | 750 |  | X | RFQ |  | IFB |  | RFP |
| 15. Deliver To | Code PAO-WHSE | 16. Administered By | Code |
| See Attachment A | Western Area Power Administration P.O. Box 6457 Phoenix, AZ 85005-6457 |
| 17a. Contractor/Offeror | Code Fac Code | 18a. Payment Will Be Made By | Code |
| DUN:_____________ | Corporate Services Office Western Area Power Administration Attn: Accounts Payable A8210 P.O. Box 281111 Lakewood, CO 80228-8111 |
| Phone No. | TIN: |  |
| 17b. Check below if remittance is different and put such address in offer. | 18b. Submit invoices to address shown in block 18a unless box below is checked. |
|  |  |  | See Addendum. |
| 19. ITEM NO. | 20. SCHEDULE OF SUPPLIES/SERVICES | 21. QUANTITY | 22. UNIT | 23. UNIT PRICE | 24. AMOUNT |  |
|  | SEE PAGE 2 |  |  |  |  |  |
| B.1 | (b) Continuation of any block from SF1449 |  |  |  |  |  |
|  | SUPPLIES/SERVICES AND PRICES/COSTS Furnish and deliver to the Western Area Power Administration (also referred to as Western, WAPA and the Government) the following described items, |  |  |  |  |  |
| 001 | LOAD INTERRUPTER DISCONNECT SWITCH, For Wellton Mohawk Substation, designated 1811 (WZ6A), 8.3-kV, three-pole, single-throw outdoor, 60 Hz, with vertical air break disconnect switch, manual worm gear operated, NO support structure, Deliver FOB Destination No later than eight weeks after award See Note 1 below. OFFERING ON: Switch: Manufacturer’s Name: ____________________ Model/Type: _____________________________ Interrupter: Manufacturer’s Name:_____________________ Model/Type: _____________________________ | 1 | EA |  | $______________ |  |
|  | OPTIONAL ITEMS |  |  |  |  |  |
| 002 | Optional Item: SPARE PARTS, for Item 001, Deliver with Item 001 FOB Destination | 1 | SET | $______________ | $______________ |  |
|  |  |  |  | TOTAL: (Total of Items 001-002) | $______________ |  |

NOTES:

1. The Government will retain (holdback) 10 percent of the dollar value of this line item until all final drawings and data (specifications  paragraph 3.e) have been received.

2. The Offeror shall furnish two sets of the following drawings and data for the specific equipment  in order for the proposal/offer to be considered complete.  .  Electronic submittals are acceptable.  Electronic document format shall be Microsoft Word “doc”, Acrobat “pdf”,  Autocad “dwg” or “dxf”, and/or “TIF”.  This documentation is required to verify compliance with respect to the specifications.  Such documentation shall be clearly annotated to indicate the specific equipment proposed.

Catalog data sheets, typical switch outline drawings, including detailed ratings and dimensions,  typical installation and instruction books, nameplates, list of proposed/quoted spare parts, warranty terms and conditions, and manufacturer's structural and installation drawings.

The Offeror/supplier shall ensure, prior to bidding/quoting, that the interrupter unit will work with the exact model of  disconnect switch being bid/quoted, as applied for this specific installation.

(c) Contract clauses:

- 52.212-4  CONTRACT TERMS AND CONDITIONS--COMMERCIAL ITEMS (OCT  2003), by reference (see SF 1449 block 27a)

Any addendum to 52.212-4:

2.  952.202-1  DEFINITIONS (JAN 1997)

(a) "Head of Agency" means the Secretary, Deputy Secretary or Under Secretary of the Department of Energy and the Chairman, Federal Energy Regulatory Commission.

(b) "Commercial item" means--

(1) Any item, other than real property, that is of a type customarily used for nongovernmental purposes and that--

(i) Has been sold, leased, or licensed to the general public; or

(ii) Has been offered for sale, lease, or license to the general

public;

(2) Any item that evolved from an item described in paragraph (c)(1) of this clause through advances in technology or performance and that is not yet available in the commercial marketplace, but will be available in the commercial marketplace in time to satisfy the delivery requirements under a Government solicitation;

(3) Any item that would satisfy a criterion expressed in paragraphs

(c)(1) or (c)(2) of this clause, but for--

(i) Modifications of a type customarily available in the commercial marketplace; or

(ii) Minor modifications of a type not customarily available in the commercial marketplace made to meet Federal Government requirements.

"Minor" modifications means modifications that do not significantly

alter the nongovernmental function or essential physical

characteristics of an item or component, or change the purpose of a

process.  Factors to be considered in determining whether a

modification is minor include the value and size of the modification and the comparative value and size of the final product.  Dollar values and percentages may be used as guideposts, but are not conclusive evidence that a modification is minor;

(4) Any combination of items meeting the requirements of paragraphs

(c)(1), (2), (3), or (5) of this clause that are of a type customarily combined and sold in combination to the general public;

(5) Installation services, maintenance services, repair services,

training services, and other services if such services are procured for support of an item referred to in paragraphs (c)(1), (2), (3), or  (4) of this clause, and if the source of such services--

(i) Offers such services to the general public and the Federal

Government contemporaneously and under similar terms and Conditions; and

(ii) Offers to use the same work force for providing the Federal

Government with such services as the source uses for providing such

services to the general public;

(6) Services of a type offered and sold competitively in substantial quantities in the commercial marketplace based on established catalog or market prices for specific tasks performed under standard commercial terms and conditions.  This does not include services that are sold based on hourly rates without an established catalog or market price for a specific service performed;

(7) Any item, combination of items, or service referred to in

subparagraphs (c)(1) through (c)(6), notwithstanding the fact that the item, combination of items, or service is transferred between or among separate divisions, subsidiaries, or affiliates of a Contractor; or

(8) A nondevelopmental item, if the procuring agency determines the

item was developed exclusively at private expense and sold in substantial quantities, on a competitive basis, to multiple State and local Governments.

(d) Component means any item supplied to the Federal Government as part of an end item or of another component.

(e) Nondevelopmental item means--

(1) Any previously developed item of supply used exclusively for

governmental purposes by a Federal agency, a State or local government, or a foreign government with which the United States has a mutual defense cooperation agreement;

(2) Any item described in paragraph (e)(1) of this definition that

requires only minor modification or modifications of a type customarily available in the commercial marketplace in order to meet the requirements of the procuring department or agency; or

(3) Any item of supply being produced that does not meet the

requirements of paragraph (e)(1) or (e)(2) solely because the item is not yet in use.

(f) "Contracting Officer" means a person with the authority to enter into, administer, and/or terminate contracts and make related determinations and findings.  The term includes certain authorized representatives of the Contracting Officer acting within the limits of their authority as delegated by the Contracting Officer.

(g) Except as otherwise provided in this contract, the term "subcontracts" includes, but is not limited to, purchase orders and changes and modifications to purchase orders under this contract.

(h) The term "DOE" means the Department of Energy and "FERC" means the Federal Energy Regulatory Commission.

3.  52.219-6  NOTICE OF TOTAL SMALL BUSINESS SET-ASIDE Alt I(JUL 1996)

(a) Definition.

"Small business concern," as used in this clause, means a concern, including its affiliates, that is independently owned and operated, not dominant in the field of operation in which it is bidding on Government contracts, and qualified as a small business under the size standards in this solicitation.

(b) General.  (1) Offers are solicited only from small business concerns. Offers received from concerns that are not small business concerns shall be considered nonresponsive and will be rejected.

(2) Any award resulting from this solicitation will be made to a small

business concern.

- LG.0000-0010  APPOINTMENT OF CONTRACTING OFFICER'S REPRESENTATIVE (COR) AND ALTERNATE COR (WAPA 1/96)

The following duties have been assigned to Max Morse who is appointed COR, and to Mark Depoe who is appointed Alternate COR.  The COR and Alternate COR shall prepare memorandums for record (MFR) of all meetings, trips, and telephone conversations relating to this contract.  Each MFR, other similar records, and all correspondence relating to the contract shall cite the contract number.  The COR and Alternate COR duties are as follows:

(a) Monitor technical compliance.  Ensure that the contractor complies with all technical requirements of the work as defined in the scope of work and specifications including the submission of reports, data, documentation, etc.  In this connection:

(1) Inform the CO, in writing, of any performance failure by the contractor.

(2) Inform the CO if it is evident the contract will not be completed according to schedule.

(3) Ensure that the Government meets its contract obligations to the contractor.  This includes, but is not limited to, Government- furnished equipment and services called for in the contract, and timely Government comment on or approval of contract deliverables as may be required by the contract.

(4) Inform the CO, in writing, of any needed changes in the narrative scope of work as contained in the contract, either those initiated by the COR, the Alternate COR, or the contractor.  Proposed revisions to the scope of work which result in monetary changes to the contract must be accompanied by a procurement request.  Contract changes which do not involve funds may be requested by memorandum to the CO.

(5) Issue technical directions.

(b) Monitor administrative tasks and fund expenditures.  (If support service contract).

(1) Notify the CO and the appropriate budget personnel immediately of any indication that the cost to the Government for completing performance under the contract will exceed the amount stated in the contract, or of any indication that costs are being incurred which are not appropriately chargeable to the contract.

(2) Review and concur on payment vouchers regarding the percent of technical completion for items or services accepted under the contract (in accordance with contract provisions or local procedures, as appropriate).

(3) Review and concur with the final payment voucher; i.e., the items or services accepted under the contract in accordance with contract provisions or local procedures, as appropriate.

(4) Notify the CO immediately of the contractor's failure (1) to provide or deliver any required supplies, equipment, or services (including submission of plans or drawings) or (2) to make progress on construction contracts consistent with agreed upon progress schedules.

(5) Review contractor requests for training and travel and approve or disapprove, as appropriate.  Monitor travel and training expenses submitted by the contractor.

(c) Monitor property management (If Applicable).

(1) As requested by the CO, review and comment on the contractor's request for Government-furnished facilities, supplies, materials, and equipment and forward the request to the CO for disposition.

(2) As requested by the CO, review and comment on the contractor's request for consent to purchase of supplies, materials, and equipment and forward the request to the CO for disposition.

(d) Resolve technical differences. Assist the contractor in interpreting technical requirements of the contract's scope of work.  All technical questions arising out of the contract which cannot be resolved without increasing costs, alterations or changes to the contract scope, or the incurrence of unresolvable differences should be reported in writing to the CO.  The report should contain the facts and recommendations.

(e) Assist in the closeout of the contract.  Upon completion of the work, forward to the CO a written statement attesting to the contractor's completion of technical performance under the contract, delivery and acceptance of all goods and services for which inspection and acceptance are herein delegated, and a statement as to the contractor's performance of the contract.

(f) In the performance of their duties, the COR and the Alternate COR are NOT authorized to:

(1) Negotiate terms or make any agreements or commitments with the contractor which modify the contract provisions or the scope of work.

(2) Direct, redirect, or assign work outside the scope of work or take any action which would constitute a change as defined in the "changes" clause.

(3) Cause an increase or decrease in the total contract price, estimated cost, the fixed fee (if any), or the time required for contract performance.

(4) Interfere with the contractor's right to perform under the terms and conditions of the contract.

(g) The authority and responsibilities as a COR or an Alternate COR are individually delegated and may not be redelegated.  If the COR or Alternate COR are absent or otherwise not available and technical direction is required to be issued to the contractor, the only other person who is authorized to issue such direction is the CO.  No person other than the CO is authorized to sign a technical direction letter "for" the COR, nor can anyone acting in the official duty position assume COR authority.

5.   52.212-5  CONTRACT TERMS AND CONDITIONS REQUIRED TO IMPLEMENT STATUTES OR EXECUTIVE ORDERS--COMMERCIAL ITEMS (OCT 2003)

(a) The Contractor shall comply with the following Federal Acquisition Regulation (FAR) clause, which is incorporated in this contract by reference, to implement provisions of law or Executive orders applicable to acquisitions of commercial items: 52.233-3, Protest after Award (Aug 1996) (31 U.S.C. 3553).

(b) The Contractor shall comply with the FAR clauses in this paragraph (b) that the Contracting Officer has indicated as being incorporated in this contract by reference to implement provisions of law or Executive orders applicable to acquisitions of commercial items:

[Contracting Officer check as appropriate.]

__ (1) 52.203-6, Restrictions on Subcontractor Sales to the Government (Jul 1995), with Alternate I (Oct 1995) (41 U.S.C. 253g and 10 U.S.C. 2402).

__ (2) 52.219-3, Notice of Total HUBZone Set-Aside (Jan 1999) (15 U.S.C. 657a).

__ (3) 52.219-4, Notice of Price Evaluation Preference for HUBZone Small Business Concerns (Jan 1999) (if the offeror elects to waive the preference, it shall so indicate in its offer) (15 U.S.C. 657a).

__ (4)(i)  52.219-5, Very Small Business Set-Aside (June 2003) (Pub. L. 103-403, section 304, Small Business Reauthorization and Amendments Act of 1994).

__ (ii) Alternate I (Mar 1999) of 52.219-5.

__ (iii) Alternate II (June 2003) of 52.219-5.

_X_ (5)(i)  52.219-6, Notice of Total Small Business Set-Aside (June 2003) (15 U.S.C. 644).

_X_ (ii) Alternate I (Oct 1995) of 52.219-6.

__ (6)(i)  52.219-7, Notice of Partial Small Business Set-Aside (June 2003) (15 U.S.C. 644).

__ (ii) Alternate I (Oct 1995) of 52.219-7.

_X_ (7) 52.219-8, Utilization of Small Business Concerns (Oct 2000) (15 U.S.C. 637(d)(2) and (3)).

__ (8)(i)  52.219-9, Small Business Subcontracting Plan (Jan 2002) (15 U.S.C. 637(d)(4).

__ (ii) Alternate I (Oct 2001) of 52.219-9.

__ (iii) Alternate II (Oct 2001) of 52.219-9.

_X_ (9) 52.219-14, Limitations on Subcontracting (Dec 1996) (15 U.S.C. 637(a)(14)).

__ (10)(i)  52.219-23, Notice of Price Evaluation Adjustment for Small Disadvantaged Business Concerns (June 2003) (Pub. L. 103-355, section 7102, and 10 U.S.C. 2323) (if the offeror elects to waive the adjustment, it shall so indicate in its offer).

__ (ii) Alternate I (June 2003) of 52.219-23.

__ (11) 52.219-25, Small Disadvantaged Business Participation Program-Disadvantaged Status and Reporting (Oct 1999) (Pub. L. 103-355, section 7102, and 10 U.S.C. 2323).

__ (12) 52.219-26, Small Disadvantaged Business Participation Program-Incentive Subcontracting (Oct 2000) (Pub. L. 103-355, section 7102, and 10 U.S.C. 2323).

_X_ (13) 52.222-3, Convict Labor (June 2003) (E.O. 11755).

_X_ (14) 52.222-19, Child Labor-Cooperation with Authorities and Remedies (Sep 2002) (E.O. 13126).

_X_ (15) 52.222-21, Prohibition of Segregated Facilities (Feb 1999).

_X_ (16) 52.222-26, Equal Opportunity (Apr 2002) (E.O. 11246).

_X_ (17) 52.222-35, Equal Opportunity for Special Disabled Veterans, Veterans of the Vietnam Era, and Other Eligible Veterans (Dec 2001) (38 U.S.C. 4212).

_X_ (18) 52.222-36, Affirmative Action for Workers with Disabilities (Jun 1998) (29 U.S.C. 793).

_X_ (19) 52.222-37, Employment Reports on Special Disabled Veterans, Veterans of the Vietnam Era, and Other Eligible Veterans (Dec 2001) (38 U.S.C. 4212).

__ (20)(i)  52.223-9, Estimate of Percentage of Recovered Material Content for EPA-Designated Products (Aug 2000) (42 U.S.C. 6962(c)(3)(A)(ii)).

__ (ii) Alternate I (Aug 2000) of 52.223-9 (42 U.S.C. 6962(i)(2)(C)).

_X_ (21) 52.225-1, Buy American Act-Supplies (June 2003) (41 U.S.C. 10a-10d).

__ (22)(i)  52.225-3, Buy American Act-North American Free Trade Agreement-Israeli Trade Act (June 2003) (41 U.S.C. 10a-10d, 19 U.S.C. 3301 note, 19 U.S.C. 2112 note).

__ (ii) Alternate I (May 2002) of 52.225-3.

__ (iii) Alternate II (May 2002) of 52.225-3.

__ (23) 52.225-5, Trade Agreements (Oct 2003) (19 U.S.C. 2501, et seq., 19 U.S.C. 3301 note).

_X_ (24) 52.225-13, Restrictions on Certain Foreign Purchases (Oct 2003) (E.o.s, proclamations, and statutes administered by the Office of Foreign Assets Control of the Department of the Treasury).

__ (25) 52.225-15, Sanctioned European Union Country End Products (Feb 2000) (E.O. 12849).

__ (26) 52.225-16, Sanctioned European Union Country Services (Feb 2000) (E.O. 12849).

__ (27) 52.232-29, Terms for Financing of Purchases of Commercial Items (Feb 2002) (41 U.S.C. 255(f), 10 U.S.C. 2307(f)).

__ (28) 52.232-30, Installment Payments for Commercial Items (Oct 1995) (41 U.S.C. 255(f), 10 U.S.C. 2307(f)).

_X_ (29) 52.232-33, Payment by Electronic Funds Transfer-Central Contractor Registration (Oct 2003) (31 U.S.C. 3332).

__ (30) 52.232-34, Payment by Electronic Funds Transfer-Other than Central Contractor Registration (May 1999) (31 U.S.C. 3332).

__ (31) 52.232-36, Payment by Third Party (May 1999) (31 U.S.C. 3332).

__ (32) 52.239-1, Privacy or Security Safeguards (Aug 1996) (5 U.S.C. 552a).

__ (33)(i)   52.247-64, Preference for Privately Owned U.S.-Flag Commercial Vessels (Apr 2003) (46 U.S.C. Appx 1241 and 10 U.S.C. 2631)..

__ (ii) Alternate I (Apr 1984) of 52.247-64.

(c) The Contractor shall comply with the FAR clauses in this paragraph (c), applicable to commercial services, that the Contracting Officer has indicated as being incorporated in this contract by reference to implement provisions of law or Executive orders applicable to acquisitions of commercial items:

[Contracting Officer check as appropriate.]

__ (1) 52.222-41, Service Contract Act of 1965, as Amended (May 1989) (41 U.S.C. 351, et seq.).

__ (2) 52.222-42, Statement of Equivalent Rates for Federal Hires (May 1989) (29 U.S.C. 206 and 41 U.S.C. 351, et seq.).

__ (3) 52.222-43, Fair Labor Standards Act and Service Contract Act-Price Adjustment (Multiple Year and Option Contracts) (May 1989) (29 U.S.C. 206 and 41 U.S.C. 351, et seq.).

__ (4) 52.222-44, Fair Labor Standards Act and Service Contract Act-Price Adjustment (Feb 2002) (29 U.S.C. 206 and 41 U.S.C. 351, et seq.).

__ (5) 52.222-47, SCA Minimum Wages and Fringe Benefits Applicable to Successor Contract Pursuant to Predecessor Contractor Collective Bargaining Agreements (CBA) (May 1989) (41 U.S.C. 351, et seq.).

(d) Comptroller General Examination of Record. The Contractor shall comply with the provisions of this paragraph (d) if this contract was awarded using other than sealed bid, is in excess of the simplified acquisition threshold, and does not contain the clause at 52.215-2, Audit and Records-Negotiation.

(1) The Comptroller General of the United States, or an authorized representative of the Comptroller General, shall have access to and right to examine any of the Contractor's directly pertinent records involving transactions related to this contract.

(2) The Contractor shall make available at its offices at all reasonable times the records, materials, and other evidence for examination, audit, or reproduction, until 3 years after final payment under this contract or for any shorter period specified in FAR Subpart 4.7, Contractor Records Retention, of the other clauses of this contract. If this contract is completely or partially terminated, the records relating to the work terminated shall be made available for 3 years after any resulting final termination settlement. Records relating to appeals under the disputes clause or to litigation or the settlement of claims arising under or relating to this contract shall be made available until such appeals, litigation, or claims are finally resolved.

(3) As used in this clause, records include books, documents, accounting procedures and practices, and other data, regardless of type and regardless of form. This does not require the Contractor to create or maintain any record that the Contractor does not maintain in the ordinary course of business or pursuant to a provision of law.

(e)(1) Notwithstanding the requirements of the clauses in paragraphs (a), (b), (c), and (d) of this clause, the Contractor is not required to flow down any FAR clause, other than those in paragraphs (i) through (vi) of this paragraph in a subcontract for commercial items. Unless otherwise indicated below, the extent of the flow down shall be as required by the clause-

(i) 52.219-8, Utilization of Small Business Concerns (Oct 2000) (15 U.S.C. 637(d)(2) and (3)), in all subcontracts that offer further subcontracting opportunities. If the subcontract (except subcontracts to small business concerns) exceeds $500,000 ($1,000,000 for construction of any public facility), the subcontractor must include 52.219-8 in lower tier subcontracts that offer subcontracting opportunities.

(ii) 52.222-26, Equal Opportunity (Apr 2002) (E.O. 11246).

(iii) 52.222-35, Equal Opportunity for Special Disabled Veterans, Veterans of the Vietnam Era, and Other Eligible Veterans (Dec 2001) (38 U.S.C. 4212).

(iv) 52.222-36, Affirmative Action for Workers with Disabilities (June 1998) (29 U.S.C. 793).

(v) 52.222-41, Service Contract Act of 1965, as Amended (May 1989), flow down required for all subcontracts subject to the Service Contract Act of 1965 (41 U.S.C. 351, et seq.).

(vi) 52.247-64, Preference for Privately Owned U.S.-Flag Commercial Vessels (Apr 2003) (46 U.S.C. Appx 1241 and 10 U.S.C. 2631). Flow down required in accordance with paragraph (d) of FAR clause 52.247-64.

(2) While not required, the contractor may include in its subcontracts for commercial items a minimal number of additional clauses necessary to satisfy its contractual obligations.

- LH.0000-0068  UNCLASSIFIED FOREIGN VISITS AND ASSIGNMENTS (WAPA 11/2001)

Pursuant to Orders DOE N 142.1 and DOE P 142.1, Western Area Power Administration (WAPA) must be notified in advance of any foreign visitors (visits less than 30 days) or foreign assignees (assignments over 30 days) working under contract for WAPA.  In order to determine whether a contract employee is a foreign visitor or assignee, the Contractor must ensure each employee working under this contract that may visit or be assigned to work on a WAPA facility completes the Citizenship Form attached to this contract and submit it to the Contracting Officer's Representative (COR) no later than 10 days after contract award.  Based on the information received, if the contract employee is a foreign national or non-U.S. citizen, the contract employee will be required to complete the Foreign National Data Card, WAPA Form 3000-72, also attached to this contract. All foreign visits and assignments will be managed consistent with the DOE N 142.1 and DOE P 142.1.  The COR will ensure that the Citizenship Forms are completed and submitted to the Corporate Services Office (CSO) Security Office within 10 days after contract award.  If the Security Office determines that the WAPA Form 3000-72 is also required, the Security Office will notify the COR and the COR shall obtain the required form(s) from the Contractor's employees and submit it to the Regional Manager or Administrator for signature.  The form(s) will then be forwarded to the CSO Security Office in order to input the information into the HQ DOE Foreign Access Central Tracking System (FACTS) Database.   If the foreign visitor or assignee is from a sensitive country, the information must be forwarded to the CSO Security Office a minimum of 30 days in advance of the visit or assignment so that HQ DOE Security can do a complete background check.  A list of current sensitive countries is located at: www.cso.wapa.gov/cpo/3700/sensitivecountries.htm.  If the foreign visitor is from a non-sensitive country, the COR must submit the form(s) to the CSO Security Office, along with the appropriate Regional Manager or Administrator's signature, a minimum of 5 days in advance of the visit or assignment.  The Security Office will have the final determination on approving or denying any visit or assignment.

7.   LH.0000-0078  LOBBYING RESTRICTION (ENERGY AND WATER DEVELOPMENT APPROPRIATIONS ACT, 2003 (WAPA, 6/2003)

The contractor agrees that none of the funds obligated on this award shall be expended, directly or indirectly, to influence Congressional action on any legislation or appropriation matters pending before Congress, other than to communicate to Members of Congress as described in 18 U.S.C. 1913. This restriction is in addition to those prescribed elsewhere in statute and regulation.

8.   LH.0000-0079  NOTICE REGARDING THE PURCHASE OF AMERICAN-MADE EQUIPMENT AND PRODUCTS --SENSE OF CONGRESS (WAPA, 1/2001)

It is the sense of the Congress that, to the greatest extent practicable, all equipment and products purchased with funds made available under this award should be American-made.

### Technical Specification

### Load Interrupter Disconnect Switch 1811 (WZ6A)

### for Wellton-Mohawk Substation

1.	GENERAL:  The load interrupter disconnect switch shall be in accordance with these specifications, NEMA SG6 - Power Switching Equipment, and applicable ANSI C37.06, ANSI/IEEE C37-30 through C37-38 and IEEE C37.34, except as specifically required herein.  The equipment shall be an outdoor type load interrupter disconnect switch that is a station class, three-pole, single-throw, group-operated, rotating insulator type.  The load interrupter disconnect switch shall be complete with all accessories and fittings required to place the unit into operation.  Only new equipment of current manufacture shall be furnished.

This item is a replacement and upgrade for an existing USCO Type G45 7.5 kV disconnect switch built in 1986.  The replacement unit shall occupy essentially the same footprint as the existing switch, and will be Customer installed onto the existing switch’s support structure.  The replacement unit may be either a combination of a disconnect switch and a load interrupter attachment, or a load/line/circuit switcher type unit with an integral disconnect switch.

2.	RATINGS AND FEATURES:

a.	Ratings:  The load interrupter disconnect switch shall be rated as specified in Table A below:

# Table A

| Item Number (Designation) | 001 1811 (WZ6A) |
| --- | --- |
| Key Interlocks | No |
| Grounding Blades – clip/jaw end | No |
| Switch Base Height above concrete foundation (feet-inches) | 16 – 10 (approximate) |
| Switch Operator (Type) | Manual Worm Gear Operator |
| Switch Break (Type) | Vertical |
| Mounting Position | Horizontal |
| System Operating Voltage | 4.16 kV |
| Nominal System Continuous Voltage | 8.3 kV |
| Rated Withstand Voltage (rms) (wet 10 seconds) | 30 kV |
| Rated Withstand Voltage (rms) (dry 1 minute) | 38 kV |
| Basic Impulse Insulation Level | 95 kV |
| Continuous Current Duty (Amps rms) | 2085 |
| Continuous Current Rating (Amps rms) | 3000 |
| Momentary Current Rating (asymmetrical) | 120 kA |
| Four Second Current Rating (Amps rms) ???? | 75,000 |
| Short Time Withstand Current Rating (symmetrical) [ANSI C37.32-2002, Table 3] | 63 kA |
| Peak Withstand Current Rating [ANSI C37.32-2002, Table 3] | 164 kA |
| Switching duty | See subparagraph b. below. |
| Phase Spacing (feet-inches) | 3 – 0 (maximum - approximate) |
| Insulator Technical Reference No. (high strength) | 222 |
| Auxiliary Switch | No |
| Ambient Temperature Minimum degrees C Ave. Maximum for 24 hours Maximum degrees C | minus 20°C plus 40°C plus 55°C |
| Ice Breaking Rating | 3/4 inch (19 mm) clear ice |
| Unusual Ambient Conditions/Installed Elevation | Airborne dust and sand/ 300 feet ASL |

If SF6 gas insulated interrupters are provided and field filling of the interrupters with SF6 gas is needed, the contractor shall furnish SF6 gas in cylinders shipped under a DOT hazardous materials Bill of Lading.  The cylinders shall meet all CGA packaging requirements and shall be marked, labeled, and in all ways prepared for shipment in compliance with Federal, State and local transportation regulations. The cylinders and other packaging shall be reusable for returning the cylinders and excess SF6 gas to the contractor.  Gas cylinders furnished for initial filling of equipment will remain the property of the Contractor and the Contractor shall be responsible for removal of the cylinders and unused gas associated with those cylinders, from Western property.  If there is no Contractor’s representative on site, the Contractor shall provide shipping documents and the shipping address to which Western will return the cylinders and unused gas at the contractor’s expense.

All gauges and meters shall be calibrated in United States Standard designation (e.g., pounds per square inch).  All nameplates and designation labels shall be in English.

b.	Switching Duty:  The load interrupter disconnect switch shall be capable of performing the specified duties.  No multiple restrikes will be permitted under any interrupting requirements, and single restrikes should be limited to a maximum of one on or more poles for every fifty 3-phase switching operations.  (Note:  A restrike is defined as any current conduction between main contacts following an interval of one-fourth cycle or more duration.)

The load interrupter disconnect switch shall be capable of switching an unloaded, 4.16kV delta-13.8kV delta, 3-phase, 15-MVA, two winding transformer.   The 13.8 kV terminals of the transformer are connected to two parallel 13.8 kV underground 430 foot long power cables.  The power cables are also unloaded and buried with 3 feet minimum vertical  separation between the sub-grade and the cables.  The  horizontal separation between the two parallel 13.8 kV power cables is 2.0 feet minimum.

c.	Switch Pole Construction:  Switches shall be suitable for the specified ratings.

(1)	Contacts:  Main blade switch contacts shall be self-aligning, self-wiping, high pressure contacts.  Fixed contacts shall be of the reverse current loop shape that eliminates contact burning under fault conditions.  The current-carrying path shall not be through any spring.  If the current path is through a moving pin, means shall be provided to maintain continuous positive contact pressure on the pin.  The shape and material used for contacts shall be such that there will be no galling of contact metals when switch is subjected to 1,000 open plus 1,000 close operations.

The ambient air for this location is dusty and sandy, which will collect on exposed grease.  Use of grease on exposed surfaces is not acceptable.

(2)	Main Switch Blades:  The blades shall be of hard-drawn copper or aluminum alloy for carrying the specified continuous and short-time currents.  Stops, if required on the individual poles, shall be furnished as described in paragraphs (3) and d(2) below.  If the blades are attached to castings, the blades and castings shall be connected by a bolted clamp.  Attachment by welding is not acceptable.  A press fit between blade and casting is not acceptable.  Main blades of switches shall be counterbalanced to prevent them from falling closed from any position.  If spiral springs are used on the hinge end of switch for counterbalancing, the housing shall be designed so that ice cannot build up on the spring(s) to impair switch operation.  Pressed-fit joints shall not be subjected to spring pressure during any part of a switch operation.

(3)	Hinge-End and Clip-End Assemblies:  Pole unit castings shall be of bronze or aluminum alloy.  Bearings in the hinge-end operating levers shall be of the ball, roller, Oilite®-sleeve, plastic, or ball-and-socket type.  Bearings shall be firmly fixed in place and shall not require replacement or maintenance before performing at least 1,000 operations.  Stops shall be provided in the clips-ends of vertical-break switches, and the switch adjustments shall provide for blades to rest against the stops in the closed positions.

The rotating arm and the hinge assembly of the disconnect switch shall be insulated from the current carrying blade such that no current passes through either at the rated capacity of the switch.

(4)	Rotating Insulator Bearings:  Bearings for the rotating insulator stacks shall be of the tapered-roller or double-ball type.  If of the latter type, the bearings shall be of the combination radial and thrust type.  Bearings shall be provided with a readily adjustable take-up adjustment.

(5)	Bases:  The bases of switches shall be of metal members of sufficient stiffness to prevent excessive deflection when mounted and operated on supporting structures.  Lattice-girder-type bases will not be permitted.  Steel material required for the bases shall be galvanized.

(6)	Bearings:  Ball or roller bearings shall be the sealed, permanently lubricated type or of the type that does not require lubrication, with stainless steel balls or rollers and races.

(7)	Assembly:  Each pole of each switch shall be completely assembled, adjusted, and bolted to their switch base, with insulators, at the factory prior to shipment.

(8)	Steel bolts, nuts, washers, and locknuts exposed to outdoor weather, shall be galvanized in accordance with ASTM A 153, 1995, or may be stainless steel material.  All necessary bolts, nuts, and washers to complete the erection shall be furnished by the Contractor.

d.	Construction of Interrupter Units:  The interrupter units shall be of the type that confines the arc in an enclosed arcing chamber.  If of the oil type, each unit shall be furnished complete with oil, a liquid level gauge, and provisions for filling, draining, and sampling the oil.  If of the gas-filled type, each unit shall be furnished with a gas-pressure indicator visible from the ground which will indicate when gas pressure decreases to a point where further loss would impair interrupting performance.

The supplier shall ensure, prior to bidding/quoting, that the interrupter unit will work with the exact model of  disconnect switch being bid/quoted, as applied for this specific installation.

e.	Operating Mechanisms:  Manual Worm Gear Operated Switch:  Operating mechanisms shall effect a smooth, thoroughly controlled movement throughout the entire opening and closing cycles and all rods, shafts, pipe linkages, connectors, operating levers, supports, and fittings shall show no noticeable deflection.  Cable connections in lieu of rigid interphase rods are not acceptable.  Means shall be provided on each switch for taking up loose motion in each part of the mechanism and for adjusting the travel of each blade independently.  U-bolts and U-bolt type clamps will note be acceptable for final adjustment. The design of the mechanism shall be such that the main blades are positively toggled when in the fully open or fully closed position. The outboard or offset bearing of each mechanism shall include: a cast-metal or fabricated steel housing and crank arm, a steel shaft, and either ball or roller bearing.

The location of the operating mechanism shall be on the “outside” end of  the support structure column under the clip/jaw side of the switch, to align with the existing switch operating platform. The operating mechanism for the disconnecting switch should be located  - when looking at/from the hinged end of the switch - on the left outside end of the left support structure column

The length of lever-type operating handles, when furnished, shall not exceed 3 feet 0 inch.  The force required to operate any manual mechanism shall not exceed 50 pounds.  Manually operated main blades, including those using gear mechanisms, shall be capable of being opened and closed under icing conditions when specified, and this capability shall be demonstrated by the ice tests specified in paragraph 2.o(1)(c).  If auxiliary swing handles are required to perform as required under the ice tests, one such handle shall be furnished with each switch.  The auxiliary handle shall be readily attachable and detachable and the gearbox disengaged by a method other than removal of driven pins or set screws when the switch is operate by the ice breaking handle.  The attachment point of operating handles to control rod or pipe and of cranks to operating mechanisms shall be at 40 inches above the bottom of the base-supporting structure, as shown on drawing 31 1075.

(1)	Stops:  Each switch shall be equipped with adjustable stops for the open and closed positions.  The closing stops shall position each blade such that maximum contact pressure will be achieved between the moving and the fixed contacts.  When the switch is in the fully closed position, the hinge-end and clip-end contacts on each side of the main blades shall be horizontal within plus or minus 5 degrees for vertical-break switches.

If stops are required on each pole to meet this limitation, individual adjustable stops shall be furnished.  With the closing stops adjusted for proper closed position of each blade, the three blades of each switch, when fully open, shall conform in position within 5 degrees of the manufacturer’s specified open position.

The stop adjustment method shall include means to prevent unintentional change in the adjustment, such as by jam nuts and/or piercing set screws with locking jam nuts.

(2)	Position Indicators:

Switch:  Embossed or stamped-metal indicators shall be provided on each vertical operating rod showing when the switch is open or closed.  The indicators shall be approximately 7-1/2 inches high and 1-1/2 inches wide, the “closed” indicator painted red and the “open” indicator painted green.  The indicators shall be mounted at normal eye level and positioned so that the appropriate indicator directly faces the operator when the operator is in a normal position for operating the switch.  If an auxiliary ice breaking handle is furnished, the open-close indicator shall be located above the disconnecting coupling in the vertical operating rod. Indication of the disconnecting switch position shall be readily visible from the ground, and means shall be furnished to prevent false indication if the blade fails to complete the opening or closing operation.

(3)	Locking:  Provisions shall be included for locking the switch in either the open or closed position.

f.	Supplemental Steel Members:  The Contractor shall furnish supplemental steel members required to secure the switch-operating mechanism to the switch support structure.

g.	Galvanizing:  Exposed steel material required for the operating mechanisms and supplemental steel members required to secure the mechanisms to the support structures shall be galvanized according to ASTM A 123.

h.	Operating Mechanism Bonding:  Operating Mechanism Bonding:  A copper braid shall be furnished for bonding each switch operating shaft, handle, and mechanism to the existing switch support structure and to the existing switch-operating platform, according to paragraph 17.2 of IEEE Standard 80-2000 "IEEE Guide for Safety in AC Substation Grounding" and as shown on attached Western Area Power Administration drawing 31 1075 "Substation Standards - Switch Operating and Equipment Platforms - Electrical Design and Details".

i.	Insulators:  All insulators shall be gray in color and in accordance with ANSI Standards C29 and/or NEMA publication No. HV1 for high-voltage insulators.

j.	Porcelains:  All porcelains shall be wet process, homogeneous, and free from cavities or other flaws.  The glazing shall be uniform in color and free from blisters, burns, and other defects.  The color of the porcelains shall be gray.  Porcelain parts of each insulating column rated 450-kV BIL and above may be constructed of one piece or of multiple parts, provided the multiple parts are assembled by one of the following methods:

(1)	By flanged segments.

(2)	By placing suitable firing material in the joints between segments and the entire porcelain part fired in one piece.

(3)	By securely holding the parts together with a clamp device through the centerline of the bushing.  The joint must be at right angles to the longitudinal centerline of the bushing if this method is used.

(4)	By cementing or bonding the joints.  If the Contractor proposes to use this method, the Contractor shall submit for approval: a complete description of the process and material used; bending test and dielectric test results on a completed joint; and results of aging tests on the joint showing mechanical strength and electrical strength.

k.	Terminal Connectors:  The switches shall be furnished with NEMA Standard CC-1-1993, 4-hole terminal pads.

l.	Spare Parts:  Spare parts shall be furnished as listed in the Schedule.  The contractor shall furnish an itemized list, with prices guaranteed for one year after the delivery of the load interrupter disconnect switch, of the spare parts provided.   Each set of spare parts shall include the following:

(1)	Two spare insulators of each type

(2)	One SF6 gas filling connection assembly (including hose, pressure gauge, and the hose end connections to the interrupter and SF6 gas cylinder). (If field filling of SF6 interrupters is possible.)

m.	Tests:  Tests listed below shall be performed at the factory or other facilities available to the manufacturer.

(1)	Design Tests:  The basic design of the switch furnished shall have met the requirement of this Subdivision in tests previously performed, or the Contractor shall perform the tests specified in this Subdivision for the switch.  If identical switches have been previously tested as below, the Contractor may omit tests and furnish certified copies of reports of results of such previous tests.  Design tests on switches identical to those being furnished under these specifications will be accepted.  Ice testing will also be accepted on a higher-voltage-rated switch, provided the switch tested is the same in all the following respects as the switch being furnished:

Clip and hinge end mechanism

Blade material and cross section

(a)	Mechanical Design Life Test:  The basic mechanical design of the switch and operating mechanism being furnished shall be proved by not less than 1,000 close-open operations at the factory, at recommended contact speeds.  These operations shall be performed on a completely assembled 3-pole switch with recommended spring and contact adjustments.  Certified test reports shall be furnished which shall certify that the operations were accomplished without failure of any component part and without mechanical difficulties.  At the successful completion of this design test, the switch shall be capable of being brought within optimum mechanical adjustment and shall be in satisfactory mechanical condition without replacement of component parts.  These tests shall be performed on an identical separate test switch for which certified test reports will be acceptable.  Such tests shall not be performed on an actual switch to be furnished to the Government under this or any other contract.

(b)	Temperature Rise Test:  Temperature rise test in accordance with IEEE C37.34-1994, section 6.  The temperature rise test report shall include a diagram indicating the points on the switch where the temperatures are determined and the composition of the switch material, including type of plating on contact surfaces at these points.

(c)	Ice Test:  Ice testing in accordance with IEEE C37.34-1994, section 10, and ANSI C37.32-2002, section 3.2.2.  The clear ice breaking rating shall be 3/4 inch (19 mm), unless otherwise specified in these specifications.  The test on these single-pole mechanisms shall be a single-pole test and shall be performed on a complete assembled single-pole.  The switch under test shall be mounted horizontally upright.  Interphase connections and connections between the group-operated switch and manual handle or power unit may be shortened to suit conditions.  A switch equipped with stacked insulators may be tested with only one unit per stack except switches with ground blades shall be tested with full stacks.  The switch shall be tested with the same type operating mechanism and with the use of the same type handle, gear, power unit, etc. as furnished under the contract.  Hammering on the blades, operating mechanism, or pipe is not permitted during any part of this test.

(2)	Production Tests:  The switch shall be subjected to and pass the manufacturer's standard production tests.   Copies of the production test reports shall be provided as specified below in paragraph 3.d(6).

n.	Support structure:  The load interrupter disconnect switch will be Customer-installed on an existing structure, as shown on attached/referenced drawing WMS 2051.  Photographs will be available after contract award.

o.	Wind Requirements:  The disconnect switches shall be designed to meet or exceed the wind loads specified in ASCE-7-1998, using an importance factor of 1.15, Exposure C, and a minimum basic wind speed of 90 miles per hour.

p.	Seismic Requirements:   None.

3.	DRAWINGS AND DATA TO BE FURNISHED BY THE CONTRACTOR:

a.	General:  All drawings and technical data required to be furnished by the Contractor shall be in English.  Units of measurement shall be in the United States Customary System of units (feet, inches, pounds, cubic feet, cubic inches).

The drawings and data shall be complete and accurate in their content.  Originals and all copies shall be legible.  Drawings shall be prepared using drafting equipment, shall be drawn to scale, and shall have neat lettering.  Freehand sketches will not be accepted.  The Government will require 20 calendar days to answer correspondence and review each submittal of data or drawings.  Original drawings prepared under this contract will remain the property of the Contractor.  When revised drawings are resubmitted, the changes from the previous submittals shall be clearly identified on the drawings.  The drawings shall not exceed 22 inches in height x 34 inches in width.

The Government shall have the right to require the Contractor, at no additional cost, to make any changes in the equipment design that may be necessary to make the Contractor-furnished equipment conform to the requirements of this contract.  The design and coordination of this electrical equipment shall be the responsibility of the Contractor, and the Government assumes no responsibility to approve or review drawings and data that are submitted.  Review by the Government of the Contractor's drawings shall not relieve the Contractor of any part of the responsibility to meet all of the requirements of these specifications or for the correctness of the drawings.  Revised drawings shall show revision dates, and all changes and revisions shall be circled on the drawing.

Installation, Information, and Final drawings will be submitted in both electronic (AutoCad version 14.0 preferred) and in printed format.

b.  	Proposal/Offer Documentation:   The Contractor shall furnish two sets of the following drawings and data for the specific equipment in order for the Contractor's proposal/offer to be considered complete.  .  Electronic submittals are acceptable.  Electronic document format shall be Microsoft Word “doc”, Acrobat “pdf”,  Autocad “dwg” or “dxf”, and/or “TIF”.  This documentation is required to verify compliance with respect to the specifications.  Such documentation shall be clearly annotated to indicate the specific equipment proposed.

Catalog data sheets, typical switch outline drawings, including detailed ratings and dimensions,  typical installation and instruction books, nameplates, list of proposed/quoted spare parts, warranty terms and conditions, and manufacturer's structural and installation drawings.

The following Table B summarizes the Post-award submittals of drawings and data required.

| TABLE B – DRAWINGS AND DATA SCHEDULE |
| --- |
| Type of Drawings and Data | Para –graph | Delivery Time | Type of Material | Quantity to each address in Paragraph (f) below | Quantity to accompany the equipment |
| Information and installation drawings and data | c. | Within 14 calendar days after contract award date | Blackline prints and electronic media | 2 | 0 |
| Final drawings | d(1) | 14 days prior to shipment | Drawing prints and electronic media | 2 | 0 |
| Parts identification lists or bills of materials | d(2) | 14 days prior to shipment | Lists | 2 | 1 |
| Manufacturer's operation and maintenance instructions (with drawings) | d(3) | 14 days prior to shipment | Books | 2 books | 1 book |
| Spare parts list | d(4) | 14 days prior to shipment | Lists | 2 | 1 |
| Recommended replaceable parts list | d(5) | 14 days prior to shipment | Lists | 2 | 1 |
| Equipment production & design test reports | d(6) | Prior to shipment of equipment | Certified data | 2 | 1 |

c.	Informational and Installation Drawings and Data:  The Contractor shall furnish the following data for information and for the purpose of enabling others to proceed with design of the installation.   The dimensions and data shall be firm and not subject to change.  Typical drawings are not acceptable.  The drawings and data shall be suitable for installation design, and any costs from changes impacting design and construction will be passed on to the Contractor.  The required quantity, delivery time, and type of materials are listed in Table B.  The submittal shall be identified by substation name and the contract number.  These drawings and data are required for the electrical and installation design being performed by others.  The drawings shall be identified with the bid item number and item equipment designations.

(1)	Equipment Outline and Layout Drawings, Bills of Materials, and Instructions:  The outline drawings shall be accompanied by bills of materials and descriptions giving complete information on each component.

(2)	Nameplate drawing(s).

(3)	Equipment outlines, dimensions, and weights.  This information is needed as soon as possible to enable Government design of the foundations.

- Base type, dimensions, and mounting details.

d.	Final Drawings And Data:  At least 21 days before the date the Contractor begins to ship any equipment, furnish to the Government the drawings and data required in the following subparagraphs

(1)	Final Drawings:  Final drawings shall be furnished rolled or flat, not folded.  Drawings shall be printed on quality bond paper; be full-size, and be clear, sharp, and legible.  The drawings shall show all changes, and revision dates therefore, made up to the time the drawings and data are furnished.  Electronic copies shall also be furnished, as described above.

Final drawings shall be furnished for the informational and review drawings and for the outlines and assembly of the equipment.

(2)	Sets of parts identification lists or bills of materials for the equipment above.  Each part shall be assigned an identifying number which can be used for ordering replacements and a reference number that locates the part on the appropriate outline drawing.  A copy of the identification or bills of materials shall accompany each shipment of material.  The identification list or bills of materials shall identify which material is included in each shipment of material.

(3)	Sets of manufacturer's instruction books or pamphlets covering installation, operation, and maintenance repair for the electrical equipment above and for each device appurtenant to the equipment.  A print of each final drawing required in paragraph d(1) above shall be included in the instruction book.

(4)	Spare parts listing for the spare parts sets required in paragraph 2.n above.  This listing should include part description, part order number, catalog number, and reference to equipment drawings.

(5)	Recommended replaceable parts listing shall be furnished by the Contractor to indicate the extra spare parts (and associated costs) that the manufacturer recommends.  This list shall include all replaceable parts, including the spare parts provided in the sets of required spare parts.  These parts shall be available and the prices shall be valid for a time period of 2 years after delivery of the equipment.

(6)	Test reports (of the production tests and of the design tests) required for the electrical equipment shall be furnished prior to shipment of the equipment.  The Contractor shall furnish certified copies of all test reports, performance curves, data, etc.  Any equipment that does not successfully pass the testing requirements will be rejected.  The reports shall be sent to the destination listed in paragraph f  below.

(7)	The Contractor shall provide Material Safety Data Sheets (MSDS) for each paint, oil, epoxy, insulating medium, curing compound, and other hazardous materials.

e.	Right to Use Contractor's Drawings:  The Government expressly reserves the right to use, to reproduce in whole or in part, to distribute, and to reuse any and all such drawings, whether copyrighted or not, in connection with the following:

(1)	Installation, maintenance, replacement, and repair of the articles to be furnished under this contract.

(2)	Making any and all such drawings and reproductions thereof available to subsequent offerors and Contractors, where necessary, for fabricating and furnishing articles connected with or dependent upon information shown on the drawings and duplicating the drawings to be furnished hereunder.

The depositing of all such drawings with the Government shall constitute a license to the Government to use said drawings in the manner hereinabove stated.

f.	Mailing Addresses:  The mailing addresses for the drawings and technical data to be furnished by the Contractor are (vendor has the choice of P.O. Box or Street address for each of the names below):

Post Office Box Address:			or	Street Address:

Reviewing office copies:

Western Area Power Administration		Western Area Power Administration

ATTN:  Max Morse  A7910			ATTN: A7910  Max Morse

P. O. Box 281213					12155 W. Alameda Parkway

Lakewood, CO  80228-8213			Lakewood, CO  80228-2802

and to:

Field Office Informational Copies:

Western Area Power Administration	or	Western Area Power Administration

ATTN:  Mark Depoe  G5220			ATTN:  Mark Depoe  G5220

P. O. Box 6457					615 S.  43 rd Avenue

Phoenix, AZ  85005-6457				Phoenix, AZ 85009-5313

4.	DELIVERY CONTACTS AND LOCATION:

Items shall be delivered, all transportation charges prepaid by the contractor F.O.B. Destination to the location below.  Responsibility for risk of loss of or damage to supplies shall remain with the Contractor until, and shall pass to the Government upon delivery of the supplies at the destination.  The Government will unload the equipment from the supplier’s truck.

a.	Contacts:  The Contractor is to contact Mark Depoe at 602-352-2687 (Fax no. 602-352-2746) [Backup contact is Grover Bray at 602-352-2711 (Fax no. 602-352-2746)] to verify the delivery site is ready for delivery, to refine the delivery destination directions, and to coordinate delivery at least seven days and again 48 hours prior to delivery.  The Contractor shall provide the time of delivery, identify the shipper, and provide a telephone number for the shippers office.  Pre-arrangements are required.  Delivery shall be made between 8:00 a.m. and 2:30 p.m. Monday through Thursday, excluding Government holidays.   If the required arrangements/ notifications are not made, the Government may not be able to receive and/or unload the equipment.

b.	Location:    This equipment for Wellton Mohawk Substation is to be delivered to the Western Area Power Administration’s Gila Field Office, located in the area for zip code 85356.  Contact the delivery contact person for detailed directions.

c.	All delivery, unloading, and/or assembly operations shall comply with OSHA 1926, Safety and Health Regulations for Construction.  Hard hats shall be worn on all construction sites and storage areas.  The representative designated to receive the equipment has the authority to stop all work, or portions of work, for noncompliance with the above safety and health requirements.

d.	Packing lists:  The Contractor shall provide itemized packing lists that enumerate the specific contents of each shipping container with the equipment, as follows:

(1) 	One copy to accompany shipment

(2) 	One copy to each of:

Western Area Power Administration	Western Area Power Administration

ATTN:  Max Morse  A7910		ATTN:  Mark Depoe G5220

P. O. Box 281213				P.O. Box 6457

Lakewood, CO  80228-8213		Phoenix, AZ 85005-6457

Fax:  720-962-7400				Fax:  602-352-2746

e.	Material Safety Data Sheets (MSDS):  The Contractor shall provide Material Safety Data Sheets (MSDS) for each paint, oil, epoxy, insulating medium, curing compound, and other hazardous materials.  When shipping the above hazardous materials, the Contractor shall properly label each package with the following information:

(1)	Name:  Common name that matches the name on the MSDS supplied with the material.

(2)	Identification:  Complete identification of any hazardous chemicals or materials.

(3)	Warnings:  Appropriate hazardous warnings.

(4)	Address:  Name and address of the chemical manufacturer, importer, or other responsible party.

5.	WARRANTY:  The disconnect switch portion shall be warranted to be free of defect in workmanship and material for at least five years from the date of delivery, the no-later-than date of delivery, or the manufacturer's warranty period, whichever is longer.  The interrupter portion shall be warranted for at least one year, or the manufacturer’s standard warranty, whichever is longer.  The terms and conditions of the manufacturer's warranties shall be described in detail in the proposal/offer, in the post-award documentation, and in the final documentation.

6.	DRAWINGS:  The following drawings are referenced in these specifications.

31 1075 - Switch Operating and Equipment Platforms - Electrical Design and Details

WMS 2051 – Switch Support – 4.16 kV Switch WZ6A

(e) Solicitation provisions

## 9.  52.212-1 Instructions to Offerors-Commercial Items. (Oct 2003)

(a) North American Industry Classification System (NAICS) code and small business size standard. The NAICS code and small business size standard for this acquisition appear in Block 10 of the solicitation cover sheet (SF 1449). However, the small business size standard for a concern which submits an offer in its own name, but which proposes to furnish an item which it did not itself manufacture, is 500 employees.

(b) Submission of offers. Submit signed and dated offers to the office specified in this solicitation at or before the exact time specified in this solicitation. Offers may be submitted on the SF 1449, letterhead stationery, or as otherwise specified in the solicitation. As a minimum, offers must show-

(1) The solicitation number;

(2) The time specified in the solicitation for receipt of offers;

(3) The name, address, and telephone number of the offeror;

(4) A technical description of the items being offered in sufficient detail to evaluate compliance with the requirements in the solicitation. This may include product literature, or other documents, if necessary;

(5) Terms of any express warranty;

(6) Price and any discount terms;

(7) "Remit to" address, if different than mailing address;

(8) A completed copy of the representations and certifications at FAR 52.212-3;

(9) Acknowledgment of Solicitation Amendments;

(10) Past performance information, when included as an evaluation factor, to include recent and relevant contracts for the same or similar items and other references (including contract numbers, points of contact with telephone numbers and other relevant information); and

(11) If the offer is not submitted on the SF 1449, include a statement specifying the extent of agreement with all terms, conditions, and provisions included in the solicitation. Offers that fail to furnish required representations or information, or reject the terms and conditions of the solicitation may be excluded from consideration.

(c) Period for acceptance of offers. The offeror agrees to hold the prices in its offer firm for 30 calendar days from the date specified for receipt of offers, unless another time period is specified in an addendum to the solicitation.

(d) Product samples. When required by the solicitation, product samples shall be submitted at or prior to the time specified for receipt of offers. Unless otherwise specified in this solicitation, these samples shall be submitted at no expense to the Government, and returned at the sender's request and expense, unless they are destroyed during preaward testing.

(e) Multiple offers. Offerors are encouraged to submit multiple offers presenting alternative terms and conditions or commercial items for satisfying the requirements of this solicitation. Each offer submitted will be evaluated separately.

(f) Late submissions, modifications, revisions, and withdrawals of offers.(1) Offerors are responsible for submitting offers, and any modifications, revisions, or withdrawals, so as to reach the Government office designated in the solicitation by the time specified in the solicitation. If no time is specified in the solicitation, the time for receipt is 4:30 p.m., local time, for the designated Government office on the date that offers or revisions are due.

(2)(i) Any offer, modification, revision, or withdrawal of an offer received at the Government office designated in the solicitation after the exact time specified for receipt of offers is "late" and will not be considered unless it is received before award is made, the Contracting Officer determines that accepting the late offer would not unduly delay the acquisition; and-

(A) If it was transmitted through an electronic commerce method authorized by the solicitation, it was received at the initial point of entry to the Government infrastructure not later than 5:00 p.m. one working day prior to the date specified for receipt of offers; or

(B) There is acceptable evidence to establish that it was received at the Government installation designated for receipt of offers and was under the Government's control prior to the time set for receipt of offers; or

(C) If this solicitation is a request for proposals, it was the only proposal received.

(ii) However, a late modification of an otherwise successful offer, that makes its terms more favorable to the Government, will be considered at any time it is received and may be accepted.

(3) Acceptable evidence to establish the time of receipt at the Government installation includes the time/date stamp of that installation on the offer wrapper, other documentary evidence of receipt maintained by the installation, or oral testimony or statements of Government personnel.

(4) If an emergency or unanticipated event interrupts normal Government processes so that offers cannot be received at the Government office designated for receipt of offers by the exact time specified in the solicitation, and urgent Government requirements preclude amendment of the solicitation or other notice of an extension of the closing date, the time specified for receipt of offers will be deemed to be extended to the same time of day specified in the solicitation on the first work day on which normal Government processes resume.

(5) Offers may be withdrawn by written notice received at any time before the exact time set for receipt of offers. Oral offers in response to oral solicitations may be withdrawn orally. If the solicitation authorizes facsimile offers, offers may be withdrawn via facsimile received at any time before the exact time set for receipt of offers, subject to the conditions specified in the solicitation concerning facsimile offers. An offer may be withdrawn in person by an offeror or its authorized representative if, before the exact time set for receipt of offers, the identity of the person requesting withdrawal is established and the person signs a receipt for the offer.

(g) Contract award (not applicable to Invitation for Bids). The Government intends to evaluate offers and award a contract without discussions with offerors. Therefore, the offeror's initial offer should contain the offeror's best terms from a price and technical standpoint. However, the Government reserves the right to conduct discussions if later determined by the Contracting Officer to be necessary. The Government may reject any or all offers if such action is in the public interest; accept other than the lowest offer; and waive informalities and minor irregularities in offers received.

(h) Multiple awards. The Government may accept any item or group of items of an offer, unless the offeror qualifies the offer by specific limitations. Unless otherwise provided in the Schedule, offers may not be submitted for quantities less than those specified. The Government reserves the right to make an award on any item for a quantity less than the quantity offered, at the unit prices offered, unless the offeror specifies otherwise in the offer.

(i) Availability of requirements documents cited in the solicitation.  (1)(i) The GSA Index of Federal Specifications, Standards and Commercial Item Descriptions, FPMR Part 101-29, and copies of specifications, standards, and commercial item descriptions cited in this solicitation may be obtained for a fee by submitting a request to-

GSA Federal Supply Service Specifications Section

Suite 8100

470 East L'Enfant Plaza, SW

Washington, DC 20407

Telephone (202)619-8925

Facsimile (202) 619-8978

(ii) If the General Services Administration, Department of Agriculture, or Department of Veterans Affairs issued this solicitation, a single copy of specifications, standards, and commercial item descriptions cited in this solicitation may be obtained free of charge by submitting a request to the addressee in paragraph (i)(1)(i) of this provision. Additional copies will be issued for a fee.

  - The DoD Index of Specifications and Standards (DoDISS) and documents listed in it may be obtained from the-

Department of  Defense Single Stock Point (DoDSSP)

Building 4, SectionD

700 Robbins Avenue

Philadelphia, PA 19111-5094

Telephone (215)697-2667/2179

Facsimile (215) 697-1462.

(i) Automatic distribution may be obtained on a subscription basis.

(ii) Order forms, pricing information, and customer support information may be obtained-

(A) By telephone at (215) 697-2667/2179; or

(B) Through the DoDSSP Internet site at http://dodssp.daps.mil.

(3) Nongovernment (voluntary) standards must be obtained from the organization responsible for their preparation, publication, or maintenance.

(j) Data Universal Numbering System (DUNS) Number. (Applies to all offers exceeding $25,000, and offers of $25,000 or less if the solicitation requires the Contractor to be registered in the Central Contractor Registration (CCR) database. The offeror shall enter, in the block with its name and address on the cover page of its offer, the annotation "DUNS" or "DUNS+4" followed by the DUNS or DUNS+4 number that identifies the offeror's name and address. The DUNS+4 is the DUNS number plus a 4-character suffix that may be assigned at the discretion of the offeror to establish additional CCR records for identifying alternative Electronic Funds Transfer (EFT) accounts (see FAR Subpart 32.11) for the same parent concern. If the offeror does not have a DUNS number, it should contact Dun and Bradstreet directly to obtain one. An offeror within the United States may contact Dun and Bradstreet by calling 1-866-705-5711 or via the internet at http://www.dnb.com. An offeror located outside the United States must contact the local Dun and Bradstreet office for a DUNS number.

(k) Central Contractor Registration. Unless exempted by an addendum to this solicitation, by submission of an offer, the offeror acknowledges the requirement that a prospective awardee shall be registered in the CCR database prior to award, during performance and through final payment of any contract resulting from this solicitation. If the Offeror does not become registered in the CCR database in the time prescribed by the Contracting Officer, the Contracting Officer will proceed to award to the next otherwise successful registered Offeror. Offerors may obtain information on registration and annual confirmation requirements via the internet at http://www.ccr.gov or by calling 1-888-227-2423 or 269-961-5757.

10.  52.212-2  EVALUATION--COMMERCIAL ITEMS (JAN 1999)

(a) The Government will award a contract resulting from this solicitation to the responsible offeror whose offer conforming to the solicitation will be most advantageous to the Government, price and other factors considered.  The following factors shall be used to evaluate offers:

(1) whose offer fully complies with the solicitation, the technical specifications, and the required delivery requirements,

(2) who has an acceptable record of past performance

(b)  Options.  The Government will evaluate offers for award purposes by adding the total price for all options to the total price for the basic requirement.  The Government may determine that an offer is unacceptable if the option prices are significantly unbalanced.  Evaluation of options shall not obligate the Government to exercise the option s).

(c)  A written notice of award or acceptance of an offer, mailed or otherwise furnished to the successful offeror within the time for acceptance specified in the offer, shall result in a binding contract without further action by either party.  Before the offer’s specified expiration time, the Government may accept an offer (or part of an offer), whether or not there are negotiations after its receipt, unless a written notice of withdrawal is received before award.

11.   LH.0000-0071  ELECTRONIC SUBMISSION OF DOCUMENTS VIA THE DOE IIPS SYSTEM (WAPA, 3/2002)

The following requirements apply if proposals or other documents are submitted electronically via the Dept of Energy's 'Industry Interactive Procurement System' (IIPS) or by other electronic means (e.g., electronic files on a CD-ROM):

(a) The terms and conditions contained in the 'Notice of Disclaimer' on the DOE IIPS system (agreed to when vendors register to use the IIPS system)are hereby incorporated into this solicitation/award document.

(b) All document files submitted electronically must be submitted in one or more of the following Microsoft Office 97 for Windows (or newer) file formats (e.g., .doc, .xls, .mdb, .ppt); portable document format (.pdf); or in the following graphic file formats (.gif or .jpg).  Use whichever format is most appropriate for the type of document involved.  Engineering drawings, if any, must be in AutoCAD, PDF, or in one of the acceptable graphic file formats.  NOTE:  if there are an inordinately large number of drawings, or if the file sizes are prohibitively large, contact the Contracting Officer before the proposal due date and time for further instructions.

(c) Offerors are responsible for ensuring their electronically- submitted files are free from viruses, are in the prescribed, readable format, and are not corrupted.  Replacement of corrupt or unreadable files may be allowed at the sole discretion of the Contracting Officer. The Contracting Officer may notify the offeror and provide an opportunity for the offeror to submit clear and convincing evidence: 1) of the content of the proposal as originally submitted; and 2) that the unreadable condition of the proposal was caused by, or is the fault of, the Government.

(d) For purposes of determining the timliness of proposal submissions, the date/time stamp (DTS) assigned by the IIPS system will be used. The IIPS DTS default uses Eastern Time, so proposal due dates expressed in other time zones will be converted to Eastern Time to make the timeliness determination, unless otherwise specified in the solicitation.

(e) Electronic signatures:  submission of proposals via DOE's IIPS system will constitute 'signed' copies of the required documents.  The name of the authorized, responsible company official who would normally sign that document shall be entered on the signature line. In addition, the Contracting Officer may require, at his or her discretion, a signed, paper copy of each original signature page to be submitted via US Mail or by facsimile.

(f) Updates or changes to proposals or other documents originally submitted via the IIPS system must also be submitted via IIPS. In the event that a conflict or discrepancy is discovered between a paper copy of a vendor or Government document, the copy as posted on the IIPS system shall be considered the official, 'controlling' version of the document.

(g) Offerors must use discrete file names (and descriptions, where applicable) for all files uploaded to the IIPS system.

(h) Offerors agree to, and certify, that they have not made any changes to Government-originated files/documents - other than for expected signatures or fill-ins - that must be returned to the Government (e.g., Representations and Certifications).  Any questions or concerns about any Government documents must be communicated directly to the Contracting Officer.

## 12. 52.212-3 Offeror Representations and Certifications-Commercial Items.  (June 2003)

(a) Definitions. As used in this provision:

"Emerging small business" means a small business concern whose size is no greater than 50 percent of the numerical size standard for the NAICS code designated.

"Forced or indentured child labor" means all work or service-

(1) Exacted from any person under the age of 18 under the menace of any penalty for its nonperformance and for which the worker does not offer himself voluntarily; or

(2) Performed by any person under the age of 18 pursuant to a contract the enforcement of which can be accomplished by process or penalties.

"Service-disabled veteran-owned small business concern"-

(1) Means a small business concern-

(i) Not less than 51 percent of which is owned by one or more service-disabled veterans or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more service-disabled veterans; and

(ii) The management and daily business operations of which are controlled by one or more service-disabled veterans or, in the case of a veteran with permanent and severe disability, the spouse or permanent caregiver of such veteran.

(2) Service-disabled veteran means a veteran, as defined in 38 U.S.C. 101(2), with a disability that is service-connected, as defined in 38 U.S.C. 101(16).

"Small business concern" means a concern, including its affiliates, that is independently owned and operated, not dominant in the field of operation in which it is bidding on Government contracts, and qualified as a small business under the criteria in 13 CFR part 121 and size standards in this solicitation.

"Veteran-owned small business concern" means a small business concern-

(1) Not less than 51 percent of which is owned by one or more veterans (as defined at 38 U.S.C. 101(2)) or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more veterans; and

(2) The management and daily business operations of which are controlled by one or more veterans.

"Women-owned business concern" means a concern which is at least 51 percent owned by one or more women; or in the case of any publicly owned business, at least 51 percent of its stock is owned by one or more women; and whose management and daily business operations are controlled by one or more women.

"Women-owned small business concern" means a small business concern-

(1) That is at least 51 percent owned by one or more women; or, in the case of any publicly owned business, at least 51 percent of the stock of which is owned by one or more women; and

(2) Whose management and daily business operations are controlled by one or more women.

(b) Taxpayer Identification Number (TIN) (26 U.S.C. 6109, 31 U.S.C. 7701). (Not applicable if the offeror is required to provide this information to a central contractor registration database to be eligible for award.)

(1) All offerors must submit the information required in paragraphs (b)(3) through (b)(5) of this provision to comply with debt collection requirements of 31 U.S.C. 7701(c) and 3325(d), reporting requirements of 26 U.S.C. 6041, 6041A, and 6050M, and implementing regulations issued by the Internal Revenue Service (IRS).

(2) The TIN may be used by the Government to collect and report on any delinquent amounts arising out of the offeror's relationship with the Government (31 U.S.C. 7701(c)(3)). If the resulting contract is subject to the payment reporting requirements described in FAR 4.904, the TIN provided hereunder may be matched with IRS records to verify the accuracy of the offeror's TIN.

(3) Taxpayer Identification Number (TIN).

  TIN: _____________________.

  TIN has been applied for.

  TIN is not required because:

  Offeror is a nonresident alien, foreign corporation, or foreign partnership that does not have income effectively connected with the conduct of a trade or business in the United States and does not have an office or place of business or a fiscal paying agent in the United States;

  Offeror is an agency or instrumentality of a foreign government;

  Offeror is an agency or instrumentality of the Federal Government.

(4) Type of organization.

  Sole proprietorship;

  Partnership;

  Corporate entity (not tax-exempt);

  Corporate entity (tax-exempt);

  Government entity (Federal, State, or local);

  Foreign government;

  International organization per 26 CFR 1.6049-4;

  Other _________________________.

(5) Common parent.

  Offeror is not owned or controlled by a common parent;

  Name and TIN of common parent:

Name ___________________.

TIN _____________________.

(c) Offerors must complete the following representations when the resulting contract will be performed in the United States or its outlying areas. Check all that apply.

(1) Small business concern. The offeror represents as part of its offer that it  is,  is not a small business concern.

(2) Veteran-owned small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents as part of its offer that it  is,  is not a veteran-owned small business concern.

(3) Service-disabled veteran-owned small business concern. [Complete only if the offeror represented itself as a veteran-owned small business concern in paragraph (c)(2) of this provision.] The offeror represents as part of its offer that it  is,  is not a service-disabled veteran-owned small business concern.

(4) Small disadvantaged business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents, for general statistical purposes, that it  is,  is not a small disadvantaged business concern as defined in 13 CFR 124.1002.

(5) Women-owned small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents that it  is,  is not a women-owned small business concern.

Note: Complete paragraphs (c)(6) and (c)(7) only if this solicitation is expected to exceed the simplified acquisition threshold.

(6) Women-owned business concern (other than small business concern). [Complete only if the offeror is a women-owned business concern and did not represent itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents that it  is a women-owned business concern.

(7) Tie bid priority for labor surplus area concerns. If this is an invitation for bid, small business offerors may identify the labor surplus areas in which costs to be incurred on account of manufacturing or production (by offeror or first-tier subcontractors) amount to more than 50 percent of the contract price: 
______________________________________________

(8) Small Business Size for the Small Business Competitiveness Demonstration Program and for the Targeted Industry Categories under the Small Business Competitiveness Demonstration Program. [Complete only if the offeror has represented itself to be a small business concern under the size standards for this solicitation.]

(i) [Complete only for solicitations indicated in an addendum as being set-aside for emerging small businesses in one of the four designated industry groups (DIGs).] The offeror represents as part of its offer that it  is,  is not an emerging small business.

(ii) [Complete only for solicitations indicated in an addendum as being for one of the targeted industry categories (TICs) or four designated industry groups (DIGs).] Offeror represents as follows:

(A) Offeror's number of employees for the past 12 months (check the Employees column if size standard stated in the solicitation is expressed in terms of number of employees); or

(B) Offeror's average annual gross revenue for the last 3 fiscal years (check the Average Annual Gross Number of Revenues column if size standard stated in the solicitation is expressed in terms of annual receipts).

(Check one of the following):

| Number of Employees | Average Annual Gross Revenues |
| --- | --- |
| __ 50 or fewer | __ $1 million or less |
| __ 51-100 | __ $1,000,001-$2 million |
| __ 101-250 | __ $2,000,001-$3.5 million |
| __ 251-500 | __ $3,500,001-$5 million |
| __ 501-750 | __ $5,000,001-$10 million |
| __ 751-1,000 | __ $10,000,001-$17 million |
| __ Over 1,000 | __ Over $17 million |

(9) [Complete only if the solicitation contains the clause at FAR 52.219-23, Notice of Price Evaluation Adjustment for Small Disadvantaged Business Concerns, or FAR 52.219-25, Small Disadvantaged Business Participation Program-Disadvantaged Status and Reporting, and the offeror desires a benefit based on its disadvantaged status.]

(i) General. The offeror represents that either-

(A) It  is,  is not certified by the Small Business Administration as a small disadvantaged business concern and identified, on the date of this representation, as a certified small disadvantaged business concern in the database maintained by the Small Business Administration (PRO-Net), and that no material change in disadvantaged ownership and control has occurred since its certification, and, where the concern is owned by one or more individuals claiming disadvantaged status, the net worth of each individual upon whom the certification is based does not exceed $750,000 after taking into account the applicable exclusions set forth at 13 CFR 124.104(c)(2); or

(B) It  has,  has not submitted a completed application to the Small Business Administration or a Private Certifier to be certified as a small disadvantaged business concern in accordance with 13 CFR 124, Subpart B, and a decision on that application is pending, and that no material change in disadvantaged ownership and control has occurred since its application was submitted.

(ii)  Joint Ventures under the Price Evaluation Adjustment for Small Disadvantaged Business Concerns. The offeror represents, as part of its offer, that it is a joint venture that complies with the requirements in 13 CFR 124.1002(f) and that the representation in paragraph (c)(9)(i) of this provision is accurate for the small disadvantaged business concern that is participating in the joint venture. [The offeror shall enter the name of the small disadvantaged business concern that is participating in the joint venture:___________________.]

(10) HUBZone small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents, as part of its offer, that-

(i) It  is,  is not a HUBZone small business concern listed, on the date of this representation, on the List of Qualified HUBZone Small Business Concerns maintained by the Small Business Administration, and no material change in ownership and control, principal office, or HUBZone employee percentage has occurred since it was certified by the Small Business Administration in accordance with 13 CFR part 126; and

(ii) It  is,  is not a joint venture that complies with the requirements of 13 CFR part 126, and the representation in paragraph (c)(10)(i) of this provision is accurate for the HUBZone small business concern or concerns that are participating in the joint venture. [The offeror shall enter the name or names of the HUBZone small business concern or concerns that are participating in the joint venture: __________.] Each HUBZone small business concern participating in the joint venture shall submit a separate signed copy of the HUBZone representation.

(d) Representations required to implement provisions of Executive Order 11246-

(1) Previous contracts and compliance. The offeror represents that-

(i) It  has,  has not participated in a previous contract or subcontract subject to the Equal Opportunity clause of this solicitation; and

(ii) It  has,  has not filed all required compliance reports.

(2) Affirmative Action Compliance. The offeror represents that-

(i) It  has developed and has on file,  has not developed and does not have on file, at each establishment, affirmative action programs required by rules and regulations of the Secretary of Labor (41 cfr parts 60-1 and 60-2), or

(ii) It  has not previously had contracts subject to the written affirmative action programs requirement of the rules and regulations of the Secretary of Labor.

(e) Certification Regarding Payments to Influence Federal Transactions (31 U.S.C. 1352). (Applies only if the contract is expected to exceed $100,000.) By submission of its offer, the offeror certifies to the best of its knowledge and belief that no Federal appropriated funds have been paid or will be paid to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress or an employee of a Member of Congress on his or her behalf in connection with the award of any resultant contract.

(f) Buy American Act Certificate. (Applies only if the clause at Federal Acquisition Regulation (FAR) 52.225-1, Buy American Act-Supplies, is included in this solicitation.)

(1) The offeror certifies that each end product, except those listed in paragraph (f)(2) of this provision, is a domestic end product and that the offeror has considered components of unknown origin to have been mined, produced, or manufactured outside the United States. The offeror shall list as foreign end products those end products manufactured in the United States that do not qualify as domestic end products. The terms "component," "domestic end product," "end product," "foreign end product," and "United States" are defined in the clause of this solicitation entitled "Buy American Act-Supplies."

(2) Foreign End Products:

| Line Item No. | Country of Origin |
| --- | --- |
| ______________ | _________________ |
| ______________ | _________________ |
| ______________ | _________________ |

[List as necessary]

(3) The Government will evaluate offers in accordance with the policies and procedures of FAR Part 25.

(g)(1) Buy American Act-North American Free Trade Agreement-Israeli Trade Act Certificate. (Applies only if the clause at FAR 52.225-3, Buy American Act-North American Free Trade Agreement-Israeli Trade Act, is included in this solicitation.)

(i) The offeror certifies that each end product, except those listed in paragraph (g)(1)(ii) or (g)(1)(iii) of this provision, is a domestic end product and that the offeror has considered components of unknown origin to have been mined, produced, or manufactured outside the United States. The terms "component," "domestic end product," "end product," "foreign end product," and "United States" are defined in the clause of this solicitation entitled "Buy American Act-North American Free Trade Agreement-Israeli Trade Act."

(ii) The offeror certifies that the following supplies are NAFTA country end products or Israeli end products as defined in the clause of this solicitation entitled "Buy American Act-North American Free Trade Agreement-Israeli Trade Act":

NAFTA Country or Israeli End Products:

| Line Item No. | Country of Origin |
| --- | --- |
| ______________ | _________________ |
| ______________ | _________________ |
| ______________ | _________________ |

[List as necessary]

(iii) The offeror shall list those supplies that are foreign end products (other than those listed in paragraph (g)(1)(ii) of this provision) as defined in the clause of this solicitation entitled "Buy American Act-North American Free Trade Agreement-Israeli Trade Act." The offeror shall list as other foreign end products those end products manufactured in the United States that do not qualify as domestic end products.

Other Foreign End Products:

| Line Item No. | Country of Origin |
| --- | --- |
| ______________ | _________________ |
| ______________ | _________________ |
| ______________ | _________________ |

[List as necessary]

(iv) The Government will evaluate offers in accordance with the policies and procedures of FAR Part 25.

(2) Buy American Act-North American Free Trade Agreements-Israeli Trade Act Certificate, Alternate I (May 2002). If Alternate I to the clause at FAR 52.225-3 is included in this solicitation, substitute the following paragraph (g)(1)(ii) for paragraph (g)(1)(ii) of the basic provision:

(g)(1)(ii) The offeror certifies that the following supplies are Canadian end products as defined in the clause of this solicitation entitled "Buy American Act-North American Free Trade Agreement-Israeli Trade Act":

Canadian End Products:

Line Item No.

_______________________________________

_______________________________________

_______________________________________

[List as necessary]

(3) Buy American Act-North American Free Trade Agreements-Israeli Trade Act Certificate, Alternate II (May 2002). If Alternate II to the clause at FAR 52.225-3 is included in this solicitation, substitute the following paragraph (g)(1)(ii) for paragraph (g)(1)(ii) of the basic provision:

(g)(1)(ii) The offeror certifies that the following supplies are Canadian end products or Israeli end products as defined in the clause of this solicitation entitled "Buy American Act-North American Free Trade Agreement-Israeli Trade Act":

Canadian or Israeli End Products:

| Line Item No. | Country of Origin |
| --- | --- |
| ______________ | _________________ |
| ______________ | _________________ |
| ______________ | _________________ |

[List as necessary]

(4) Trade Agreements Certificate. (Applies only if the clause at FAR 52.225-5, Trade Agreements, is included in this solicitation.)

(i) The offeror certifies that each end product, except those listed in paragraph (g)(4)(ii) of this provision, is a U.S.-made, designated country, Caribbean Basin country, or NAFTA country end product, as defined in the clause of this solicitation entitled "Trade Agreements."

(ii) The offeror shall list as other end products those end products that are not U.S.-made, designated country, Caribbean Basin country, or NAFTA country end products.

Other End Products:

| Line Item No. | Country of Origin |
| --- | --- |
| ______________ | _________________ |
| ______________ | _________________ |
| ______________ | _________________ |

[List as necessary]

(iii) The Government will evaluate offers in accordance with the policies and procedures of FAR Part 25. For line items subject to the Trade Agreements Act, the Government will evaluate offers of U.S.-made, designated country, Caribbean Basin country, or NAFTA country end products without regard to the restrictions of the Buy American Act. The Government will consider for award only offers of U.S.-made, designated country, Caribbean Basin country, or NAFTA country end products unless the Contracting Officer determines that there are no offers for such products or that the offers for such products are insufficient to fulfill the requirements of the solicitation.

(h) Certification Regarding Debarment, Suspension or Ineligibility for Award (Executive Order 12549). (Applies only if the contract value is expected to exceed the simplified acquisition threshold.) The offeror certifies, to the best of its knowledge and belief, that the offeror and/or any of its principals-

(1)  Are,  are not presently debarred, suspended, proposed for debarment, or declared ineligible for the award of contracts by any Federal agency; and

(2)  Have,  have not, within a three-year period preceding this offer, been convicted of or had a civil judgment rendered against them for: commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a Federal, state or local government contract or subcontract; violation of Federal or state antitrust statutes relating to the submission of offers; or commission of embezzlement, theft, forgery, bribery, falsification or destruction of records, making false statements, tax evasion, or receiving stolen property; and

(3)  Are,  are not presently indicted for, or otherwise criminally or civilly charged by a Government entity with, commission of any of these offenses.

(i) Certification Regarding Knowledge of Child Labor for Listed End Products (Executive Order 13126). [The Contracting Officer must list in paragraph (i)(1) any end products being acquired under this solicitation that are included in the List of Products Requiring Contractor Certification as to Forced or Indentured Child Labor, unless excluded at 22.1503(b).]

(1) Listed end products.

| Listed End Product | Listed Countries of Origin |
| --- | --- |
| ___________________ | ___________________ |
| ___________________ | ___________________ |

(2) Certification. [If the Contracting Officer has identified end products and countries of origin in paragraph (i)(1) of this provision, then the offeror must certify to either (i)(2)(i) or (i)(2)(ii) by checking the appropriate block.]

[ ] (i) The offeror will not supply any end product listed in paragraph (i)(1) of this provision that was mined, produced, or manufactured in the corresponding country as listed for that product.

[ ] (ii) The offeror may supply an end product listed in paragraph (i)(1) of this provision that was mined, produced, or manufactured in the corresponding country as listed for that product. The offeror certifies that it has made a good faith effort to determine whether forced or indentured child labor was used to mine, produce, or manufacture any such end product furnished under this contract. On the basis of those efforts, the offeror certifies that it is not aware of any such use of child labor.

# Text boxes

(d) Any contract documents, exhibits or attachments.

ATTACHMENT A

PAGES

DESCRIPTION/SPECIFICATIONS                   31