Aging of gas detector wire

After seeing the detector at Fermi National Laboratory, the relation between glow discharge polymerization and the material deposition on the anode wire in the gas detector has become somewhat clearer.  The knowledge gained in glow discharge polymerization has relevance to the deposition of material on the anode of gas detector in the following manner.

In DC glow discharge of organic compounds, which could be taken as the most relevant case in consideration of the aging of gas detector, the most significant material formation occurs near the cathode, simply because electrons are ejected from the cathode surface.  In contrast to this situation, electrons in the gas detector are ejected along the path of a particle, and the cathode and the anode are not related to the ionization of gas phase.  In the gas detector, what happen in the cathode region of glow discharge polymerization could occur in the vicinity of the anode wires in the gas detector.

When electrons are pulled towards small diameter wire, electron density increases and could cause electron avalanche and the break down of the gas phase.  The role of organic gas, such as ethane, added to argon is understood to prevent break down of the gas phase by absorbing a part of the energy of electron impact.  In this sense, a larger gas can absorb more energy than a smaller molecule, and the energy input parameter used in glow discharge polymerization seems to indicate this situation.

The energy input parameter for material formation in luminous gas phase is given by W/FM, where W is wattage, F is molar or volume flow rate, and M is the molecular weight of gas, which represents the energy input per mass of gas given by J/kg.  In a flow system, FM represents the mass of gas in unit time.  The larger the total mass that passes through the luminous gas phase, the higher energy input is necessary for the formation of material deposition.  Thus, the use of higher molecular weight gas and higher flow rate would reduce the material deposition on the anode of the gas detector.  On the other hand, a gas with high molecular weight; e.g., C4H10 vs. CH4, is closer to the critical molecular weight for deposition (leaving gas phase), and could lead to more deposition depending on other factors such as flow rate of gas and the concentration in the gas mixture.

The recent discovery of the molecular dissociation glow in DC discharge of organic molecules has a significant influence in interpretation of the mechanism of absorbing electron energy by organic gas molecules.  According to the principle of molecular dissociation of organic molecules, it is not necessary to ionize gas, which causes the break down of gas phase, in order to absorb energy on electron impact.  On the other hand, free radicals are formed in the gas phase that is not electrically broken down.

The growth mechanism of gas molecules is recombination of free radicals.  In the gas detector that operates in atmospheric pressure and with large amount of argon, e.g., 50/50 mole percent, the growth of molecular size is very slow because the chance of repeating recombination of free radicals to increase the molecular size to the critical value for deposition within unit time is very low.  However, this creates the possibility that the larger size molecules that is close to the critical size for the deposition remaining in the gas phase, particularly if the gas flow rate is not high enough to remove such species from the system before they reach the critical size for deposition.

Another factor that should be taken into account is the possible role of negative ions that is formed by the attachment of electrons.  The formation of negative ions occurs only with elements with high electro negativity.  In glow discharge polymerization, there is not enough data that indicate the role of negative ions, because neutrals out number charged species in the environment of glow discharge polymerization.  However, in the case of gas detector, chemically reactive species are created in the vicinity of the anode, and if negative ions were formed, they would be pulled to the anode enhancing the deposition of material on the anode.  In this sense, the role of F or O (electro negative element) containing compound in reducing the aging effect is somewhat questionable.

Both F containing and O containing organic molecules are reluctant to form polymeric deposition.  From the viewpoint of the deposition rate of plasma polymer, these compounds retard the formation of plasma polymers, and hence the inclusion of these compounds might be helpful to reduce the aging effect.  However, the lower deposition rate for these compounds could due to the tendency to form negative ions.  If this was the case, the deposition to the anode of gas detector might be enhanced because the formation of polymerizable species takes place in the vicinity of the anode under strong electrical field.  Unfortunately, there is no data to check this possibility.  The electron temperature measurement with perfluorocarbons suggested the presence of negative ions from the shape of i-V curves.

In the power input parameter of glow discharge polymerization, W/FM, the effective energy input We is the energy above the break down energy Wb, i.e., We = W - Wb.  Therefore, the molecules that have high break down energy are expected to show slower polymerize rates, if the deposition rates are compared at the same W/FM value.  Unfortunately, there is not enough data for the break down voltage as a function of chemical structure and the presence of electro negative elements.

If we could collect data on 1) break down voltage and chemical structure of molecules, 2) the influence of electro negative element on break down voltage, and 3) the influence of negative ions on the material deposition on the anode of DC glow discharge, one could construct the guideline for what kinds of molecules should be used to increase the gain of gas detector.  Without such a guideline, the selection of gas molecule must rely on the experience and guess work.