Executive Summary & Conclusion

The overall design for Grid West regional services emphasizes physical power transactions among its participants by making transmission capacity available to Grid West participants.  In line with this goal, TSLG has focused on developing and refining processes and services that maximize access to GWT for Grid West participants through acquisition of transmission rights in an efficient, equitable and timely manner.  The various reconfiguration services (RCS) were specifically proposed for Grid West for this purpose and TSLG has worked extensively on designing RCS in such a way to meet this critical Grid West regional services goal.

A Day-Ahead Redispatch (RDS) feature was included in the Regional Proposal as basic feature of Grid West.  The purpose of the RDS was to enable greater use of the transmission system by getting advance scheduling commitments. However, major difficulties were encountered in attempting to design such the RDS during the Layer 1 work of the TSLG.  Two primary implementation difficulties were encountered, that appeared to have the potential for creating market gaming opportunities.

- First, since participation would be voluntary only some schedules would be constrained by the day-ahead redispatch.  Yet since all parties scheduling is so constrained, the congestion optimization achieved by the redispatch could be undone by parties who retain and use their pre-existing scheduling flexibility after the day-ahead process ends.

- Second, measurement of performance would be problematic.  A voluntary day-ahead redispatch is a partial energy market.  Such day-ahead energy markets must be settled against real-time energy deliveries.  However all participants in the day-ahead redispatch would not be subject to a single set of prices of real-time balancing energy prices, so how is reconciliation to occur?  Some parties would be in the CCA where a set of consistent real-time prices would apply, while prices outside the CCA would have to be based on OATT tariff concepts or some other price indicator.

- When the day-ahead redispatch issue was revisited by TSLG at the start of the Layer 2 work, the reconfiguration service was better understood than during the Layer 1 discussion of RDS.  In reviewing the intended purpose of the RDS, it became clear that the desired effect (getting parties to release a portion of their scheduling flexibility, i.e. commit to a generation plan day-ahead) could be accomplished through the Daily Reconfiguration Service (D-RCS).    If transmission right holders could give up their scheduling flexibility in the D-RCS, the "headspace" set aside to preserve pre-existing rights would be reduced.  That reduced "headspace" becomes Available Flow Capacity (AFC) that can be sold as Injection-Withdrawal Rights (IWRs).  Thus, by enhancing the D-RCS to handle releases of scheduling flexibility, Grid West could avoid the complications of the RDS while achieving its objective, namely making more transmission system capacity available through voluntary offers to restrict changes in generation for the following day.

- With this modification, the typical day for pre-scheduling fits easily into the general pattern of pre-scheduling used today. Trades for the next day occur very early in the morning followed by calls to various transmission providers to find out if transmission can be found to execute the trades.  With this done, pre-schedules are submitted to the transmission providers.  The enhanced D-RCS replaces the calls to find transmission with a central auction where more AFC is more readily available by a single process that includes pre-release AFC, AFC made available by IWR releases, and AFC freed up by releases of scheduling flexibility.

Given the ability to address primary purposes intended for the RDS, TSLG has suspended any further work on RDS and instead proposes to use the enhanced D-RCS in its place.

“Narrative Description of RRG Platform Group Regional Proposal”, December 24, 2003, pp. 7-8, http://gridwest.org/Doc/FinalNarrative_RegionalProposal_Dec242003.pdf. The Regional Proposal described a Independent Entity (IE) that has since been given the name Grid West.

Headspace is a term used to describe the capacity set aside prior to an RCS auction to preserve pre-existing rights, including the scheduling flexibility (or optionality) of transmission right holders to change their schedules after the close of the day-ahead scheduling process.