High Efficiency and High Rate Deposited Amorphous Silicon-Based Solar Cells

PHASE III First Quarter

Technical Progress Report

September 1, 2003 to November 30, 2003

NREL Subcontract No. NDJ-2-30630-08

Subcontractor:			The University of Toledo

Principal Investigator:		Xunming Deng

Department of Physics and Astronomy

University of Toledo, Toledo, OH 43606

(419) 530-4782

dengx@physics.utoledo.edu

Contract technical monitor:	Dr. Bolko von Roedern

Expansion of UT’s Fabrication Capability for Triple-junction Amorphous Silicon Based Solar Cells

Contributors: H. Povolny and X. Deng

Triple junction solar cells have been fabricated at UT using a multi-chamber rf PECVD deposition system made by GSI in 1990. The original system consisted of two PECVD deposition chambers and a load chamber. Figure 1 shows a photo of the original system. Several years ago, the load chamber was converted to become a dual purpose chamber: 1) designated deposition chamber for the n-type Si:H based materials and 2) the load lock chamber.

The three PECVD deposition chambers produce high quality amorphous and microcrystalline silicon and silicon germanium alloy with the each of the doped layers, n and p, deposited in a dedicated deposition chamber. The chamber dedicated to intrinsic silicon and silicon germanium alloys has been equipped with a VHF power supply and impedance matching network in order to explore the deposition process and film quality at higher frequency. This allows us to deposit high-quality materials at higher deposition rates than can be achieved with standard RF PECVD.

Figure 1. A photo of UT’s PECVD system before expansion.

A novel Hot-Wire CVD chamber was also added several years ago to explore high deposition rate microcrystalline silicon as well as high deposition rates of amorphous silicon. Figure 2 shows a photo of the HWCVD system. The chamber uses a coiled filament design which leads to extremely high gas disassociation rates. There are three separate gas inlets, one directed through the coiled filament, an annular gas inlet just above the filament, and an annular gas inlet just below the substrate. This allows us to study the effects of gas injection position on film growth and film properties. Finally, the chamber includes RF cathode so that PECVD can be done as well.

Figure 2. A photo of UT’s HWCVD chamber integrated to the multi-chamber PECVD system.

During this program period, we have carried out a major expansion to this deposition system to include 4 sputter deposition chambers and an additional load lock chamber. With this expansion, all of the 12 layers in a triple-junction solar cells, Al/ZnO/nipnipnip/ITO, can be made without vacuum break at the interfaces. Figure 3 shows a AutoCAD drawing of the system before the expansion and Figure 4 shows the AutoCAD drawing of four additional chambers (1 load lock and 3 sputter chambers for Al, ZnO and ITO, as previously designed).

The four sputter chambers were added for the purpose of making back reflector and top contact layers, as well as other metal and oxide layers, without vacuum break. Each sputter chamber has a sample rotation stage so that we can evenly coat a four inch square substrate using only a three inch diameter sputter target. A second gas inlet allows for reactive sputtering and an easily accessible bottom flange allows for the possibility of incorporating other processes into our system with minimal difficulty or downtime.

Figure 3 AutoCAD drawing of the PECVD/HWCVD system before recent expansion.

Figure 4. AutoCAD drawing of the multi-chamber deposition system with additional chambers (1 load lock and 3 sputtering chambers for Al, ZnO and ITO layers, as previously planned).

The load-lock chamber is equipped with a substrate elevator capable of holding up to ten individually selectable substrates at one time. This is vital for any system of this size and versatility so that multiple chambers can be used at the same time without interfering with each other and without requiring a vacuum break. Partially completed devices can be stored in the load chamber until the next chamber and operator are ready for them without interfering with the workings of any of the other chambers. The elevator is equipped with a manipulator arm so that substrates can be moved between holders with different masks in situ. With appropriate masks, this allows us to perform combinatorial design of experiment in addition to simple patterning of individual layers.

Over all, the expanded combination HWCVD/PECVD/VHFPECVD/Sputter deposition system with integral load-lock incorporating multiple substrate capability with interchangeable masks provides remarkable versatility to carry out a variety of key studies in various aspects of photovoltaic devices.

The design and the optimization of this four additional sputter chambers are supported by NREL while the acquisition of the system components and the installation were supported by a research grant from Air Force Research Laboratory. Figure 5 is a photo of the entire system with nine chambers--3 PECVD, 1 HWCVD, 4 Sputtering, and 1 Load lock chambers. Initial films have already been made using these new sputter chambers. The optimization is underway and will be reported extensively in the next Quarterly Report.