Summary Data from 38 Data Sets from Wastewater Treatment Facilities

J Crook, J Cotruvo, RJ Bull, M Whittaker

4-9-08

| Name of Chemical | Units | Secondary Effluent | Secondary, Filtration1 | Secondary, Disinfec-tion2 | Tertiary, ASR3 | Secondary, MF or MBR | Tertiary, SAT4 | Tertiary, UV | GAC5 | Secondary, MF, RO or MBR, RO | Secondary, MF, RO, UV | Secondary, MF, RO, AOP |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Aldehydes, non-halogenated |
| Acetaldehyde | µg/L | 1.02 – 65.8 |  |  |  |  |  |  |  |  |  |  |
| Acrolein | µg/L |  | 4 - DNQ |  |  |  |  |  |  |  |  |  |
| Formaldehyde | µg/L | 1.64 - 63 | 54 - 434 |  |  |  |  |  |  |  | 25 - 31 | 40 |
| Aliphatic hydrocarbons |
| N-Decane | ng/L | 21 - 295 |  |  |  |  |  |  |  |  |  |  |
| N-Octadecane | ng/L | 25 - 235 |  |  |  |  |  |  |  |  |  |  |
| Amines, Aromatic & related N |
| Aniline | ng/L | 29 - 88 |  |  |  |  |  |  |  |  |  |  |
| N-Butylbenzene | µg/L | 2.05 |  |  |  |  |  |  |  |  |  |  |
| Carbazole | ng/L | 182 |  |  |  |  |  |  |  |  |  |  |
| 2,6-Dinitrotoluene | ng/L | 29 - 375 |  |  |  |  |  |  |  |  |  |  |
| Azobenzene | ng/L | 142 |  |  |  |  |  |  |  |  |  |  |
| Nitrobenzene | ng/L | 22 - 120 |  |  |  |  |  |  |  |  |  |  |
| Androgens |
| Androstenedione | ng/L |  |  | 38 | <1.0 - 20 | 2.6 - <10 |  |  | 72 |  |  |  |
| Testosterone | ng/L | 1.2 – 7.8 |  | <10 | <1.0 - 37 | <10 |  |  | 39 |  |  |  |
| Aromatics, Halogenated |
| 2-Chloronaphthalene | µg/L | 1.03 – 1.65 |  |  |  |  |  |  |  |  |  |  |
| 1,4-Dichlorobenzene | µg/L | ND – 5.34 | <0.5 - 1 |  |  |  |  |  |  |  | ND - 0.2 | 0.19 – 0.29 |
| 1,4-Dioxane | µg/L | 1 – 3.42 | <0.5 – 28 |  |  |  |  |  |  |  |  |  |
| Hexachlorobenzene | ng/L | 14 - 27 |  |  |  |  |  |  |  |  |  |  |
| M-Dichlorobenzene | µg/L |  | 1 |  |  |  |  |  |  |  |  |  |
| O-Dichlorobenzene | µg/L |  | DNQ |  |  |  |  |  |  |  |  |  |
| P-Bromofluorobenzene | µg/L | 16.68 – 17.79 |  |  |  |  |  |  |  |  |  |  |
| PCB 74 | ng/L | 21 |  |  |  |  |  |  |  |  |  |  |
| Triclosan (detergent/disinfectant) | ng/L |  | 5.2 - 54 | <10 | <1.0 - 47 | 11 - 78 | <1.0 | 43 | 1.0 – 4.2 | 24 |  |  |
| Aromatic, misc. |
| Benzene | ng/L | 60 - 200 |  |  |  |  |  |  |  |  |  |  |
| Benzoic Acid | µg/L | 0.472 - 3.17 |  |  |  |  |  |  |  |  |  |  |
| Benzyl Alcohol | ng/L | 43 - 649 |  |  |  |  |  |  |  |  |  |  |
| 1,2,4-Trimethylbenzene | µg/L | 26.7 |  |  |  |  |  |  |  |  |  |  |
| 1,3,5-Trimethylbenzene | µg/L | 7.47 |  |  |  |  |  |  |  |  |  | 0.19 – 0.29 |
| 4-Isopropyltoluene | µg/L | 4.56 |  |  |  |  |  |  |  |  |  |  |
| Isopropylbenzene | µg/L | 1.05 |  |  |  |  |  |  |  |  |  |  |
| M,P-Xylenes | µg/L | 0.03 - 136 | DNQ |  |  |  |  |  |  |  |  |  |
| N-Propylbenzene | µg/L | 3.37 |  |  |  |  |  |  |  |  |  |  |
| O-Xylene | µg/ | 0.3 – 4.15 |  |  |  |  |  |  |  |  |  |  |
| Sec-Butylbenzene | µg/L | 0.7 |  |  |  |  |  |  |  |  |  |  |
| Toluene | µg/L | 0.05 – 3.46 | 0.1 – 0.22 |  |  |  |  |  | 0.19 - <10 |  |  |  |
| Xylenes (total) | µg/L |  |  |  |  |  |  |  | 0.55 - <5 |  |  |  |
| Dibenzo-dioxins and furans |
| Dibenzofuran | ng/L | 28 |  |  |  |  |  |  |  |  |  |  |
| 1,2,3,4,6,7,8-Heptachlorodibenzofuran | ng/L | ND - 3.9 |  |  |  |  |  |  |  |  | ND - 2.3 |  |
| 1,2,3,4,6,7,8-Heptachlorodibenzo-1,4-dioxin | ng/L | ND - 3.4 |  |  |  |  |  |  |  |  | ND - 6.1 |  |
| 1,2,3,4,7,8,9-Heptachlorodibenzofuran | ng/L | ND |  |  |  |  |  |  |  |  | ND - 2.9 |  |
| 1,2,3,6,7,8- Hexachlorodibenzo-1,4-dioxin | ng/L | ND |  |  |  |  |  |  |  |  | ND - 2.0 |  |
| 1,2,3,7,8-Pentachlorodibenzofuran | ng/L | ND - 0.65 |  |  |  |  |  |  |  |  | ND - 1.5 |  |
| 2,3,4,7,8-Pentachlorodibenzofuran | ng/L | ND - 0.8 |  |  |  |  |  |  |  |  | ND |  |
| 2,3,7,8-Tetrachlorodibenzofuran | ng/L | ND - 1.8 |  |  |  |  |  |  |  |  | ND - 1.6 |  |
| 2,3,7,8-Tetrachlorodibenzo-1,4-dioxin | ng/L | ND |  |  |  |  |  |  |  |  | ND - 1.1 |  |
| OCDF | ng/L | ND - 16 |  |  |  |  |  |  |  |  | ND - 12 |  |
| OCDD | ng/L | ND - 74 |  |  |  |  |  |  |  |  | ND - 35 |  |
| Total Heptachlorodibenzofuran | ng/L | ND - 4.3 |  |  |  |  |  |  |  |  | ND - 7.5 |  |
| Total Heptachlorodibenzo-1,4-dioxin | ng/L | ND - 8.6 |  |  |  |  |  |  |  |  | ND - 7.4 |  |
| Total Hexachlorodibenzo-1,4-dioxin | ng/L | ND |  |  |  |  |  |  |  |  | ND - 3.6 |  |
| Total Pentachlorodibenzofuran | ng/L | ND - 2.2 |  |  |  |  |  |  |  |  | ND - 1.3 |  |
| Total Pentachlorodibenzo-1,4-dioxin | ng/L | ND - 2.8 |  |  |  |  |  |  |  |  | ND |  |
| Total Tetrachlorodibenzo-1,4-dioxin | ng/L | ND |  |  |  |  |  |  |  |  | ND - 6.7 |  |
| Disinfection By-Products & Related Chemicals |
| 1,1-Dibromo-2-Propanone | µg/L |  |  |  |  |  |  |  |  |  |  | 0.1 – 0.4 |
| 1,1,1-Trichloropropanone | µg/L |  |  |  |  |  |  |  |  |  |  | 0.2 – 0.3 |
| 1,2-Dibromomethane | µg/L |  |  |  |  |  |  |  |  |  |  | 0.4 |
| Bromodichloroacetic Acid | µg/L |  |  |  |  |  |  |  |  |  |  | 1.1 |
| Bromochloroacetonitrile | µg/L |  |  |  |  |  |  |  |  |  |  | 0.2 – 0.8 |
| Bromochloromethane | µg/L | 0.44 – 1.41 |  |  |  |  |  |  |  |  |  | TR |
| Bromodichloromethane | µg/L | 0.08 – 2.61 | 4 - 48 |  |  |  |  |  | 0.47 - <10 |  | 0.6 - 2 | TR – 4.6 |
| Bromoform | µg/L | 0.12 – 0.5 | <0.5 - 2 |  |  |  |  |  | 0.28 - <10 |  |  | TR – 3.5 |
| Bromomethane | µg/L |  | 1 - 2 |  |  |  |  |  | 1.31 <10 |  |  |  |
| Chlorate | µg/L | 6.8 - 37 |  |  | <100 - 480 |  |  |  |  |  |  |  |
| Chlorinated furanones (MX) | ng/L |  |  |  |  |  |  |  |  |  | 5 |  |
| Chloroform | µg/L | 0.17 – 10.7 | 3 - 97 |  |  |  |  |  | 0.31 – 14.4 |  | 0.5 - 12 | 0.5 – 6.0 |
| Chloral hydrate | µg/L |  |  |  |  |  |  |  |  |  |  | 0.1 – 0.5 |
| Chloropicrin | µg/L |  |  |  |  |  |  |  |  |  |  | 0.2 – 1.4 |
| Dibromoacetonitrile | µg/L |  |  |  |  |  |  |  |  |  |  | 0.4 – 0.4 |
| Dibromochloromethane | µg/L | 0.09 – 1.53 | 1 - 21 |  |  |  |  |  | 0.74 - <10 |  |  | TR – 4.9 |
| Dibromomethane | µg/L | 0.2 – 0.43 |  |  |  |  |  |  |  |  |  | TR |
| Dichloroacetic acid | µg/L |  |  |  |  |  |  |  |  |  |  | 0.93 – 2.6 |
| Dichloroacetonitrile | µg/L |  |  |  |  |  |  |  |  |  |  | 0.4 – 1.8 |
| Haloacetic acid (HAAC5) | µg/L |  |  |  | <0.002 - 1.3 |  |  |  |  |  |  |  |
| Halomethanes (? THMs) | ng/L | 120 - 500 |  |  |  |  |  |  |  |  |  |  |
| Monochloroacetic Acid | µg/L |  |  |  |  |  |  |  |  |  |  | 1.0 – 3.8 |
| Trichloroacetic Acid | µg/L | 5 |  |  |  |  |  |  |  |  |  | 1.0 – 1.8 |
| Trichloroacetonitrile | µg/L |  |  |  |  |  |  |  |  |  |  | 0.6 |
| Trihalomethanes (total) | µg/L |  |  |  | <5 - 80 |  |  |  |  |  |  | 0.6 – 11.2 |
| Detergents & assoc. chemicals |
| Nitrilotriacetic acid (NTA) | µg/L | 88 |  |  |  |  |  |  |  |  |  |  |
| Estrogens |
| 17-β estradiol | ng/L | 10 | <0.3 - 10 | nq - 0.8 |  | <0.3 – 0.4 | <0.3 - <1.0 | <0.3 – 0.4 | <0.3 | <0.3 |  | <0.3 |
| Estradiol | ng/L |  |  |  | <1.0 - <10 | <5.0 - 14 |  |  |  |  |  |  |
| Estriol | ng/L | 2 |  | 52 | <5.0 - 98 | 1.9 - <50 | <1.0 | 1.5 - 2.5 | 28 |  |  |  |
| Estrone | ng/L | 2.4 - 26 | <0.4 - 1.3 | 0.8 - 13 | <1.0 - 45 | <0.2 - 158 | <0.2 | <0.2 | <0.2 | <0.2 |  | <0.2 |
| Ethynylestradiol | ng/L |  | 2.8 – 4.5 |  | <1.0 - 25 | <10 |  |  |  |  |  |  |
| Total Estrogens | µg/L | 0.026 |  |  |  |  |  |  |  |  |  |  |
| Industrial chemicals, precursors |
| Nonylphenol and nonylphenol polyethoxylate | ng/L |  | 5.1 - 810 |  | 250 - 1912 |  |  |  |  |  |  |  |
| TCEP (Tris(2-Chloroethyl)-phosphate) | ng/L | 104 - 200 | 355 | <10 - 584 | 46 - 293 | 171 - 711 | <10 - 139 | 107 - 766 | 298 - 363 | 1.7 - 30 | 2.6 | <30 |
| TCPP (Tris(2-chloroisopropyl)-phosphate) | ng/L |  | 688 | 417 - 959 |  | 490 - 1339 | 80 - 223 | 347 - 1251 | 447 - 604 | <30 |  | <30 |
| TDCPP (Tris(1,3-dichloro-2-propyl)-phosphate) | ng/L |  | <30 | 353 - 683 |  | 261 - 777 | 55 - 292 | 294 - 737 | 138 | <40 |  | <40 |
| Ketones |  |  |  |  |  |  |  |  |  |  |  |  |
| Acetone | µg/L | 3 - 8390 |  |  |  |  |  |  |  |  |  |  |
| 2-Butanone | µg/L | 0.47 – 10.5 | 2 |  |  |  |  |  |  |  |  |  |
| 4-Methyl-2-Pentanone | µg/L | 0.43 |  |  |  |  |  |  |  |  |  |  |
| Nitrosamines |
| N-Nitroso-N-dimethylamine | ng/L | 9 - 94 | 2 – 32 | 38 | <2.5 - 52 | 1.621 - 50 | <12.5 | 18 - 58 | <12.5 | 5.823 - 27 | 6.8 - 71 | 2 - 30 |
| N- nitroso-N-diethylamine | ng/L |  | 0.521 |  |  | 1.133 |  |  |  | 0.273 |  | 5.2 – 21.5 |
| N-nitroso-N-dibutylamine | ng/L |  | 0.322 |  |  | 0.904 |  |  |  | 0.11 |  |  |
| N-nitroso-N-dipropylamine | ng/L |  | 0.176 |  |  | 0.152 |  |  |  |  |  |  |
| N-nitrosopiperidine | ng/L |  | 0.766 |  |  | 0.781 |  |  |  |  |  |  |
| N nitrosopyyrollidine | ng/L |  | 1.529 - 5 |  |  | 1.645 - 5 |  |  |  | 0.63 |  |  |
| N-Nitrosomorpholine | ng/L | 52 - 257 | 5.06 |  |  | 4.332 |  |  |  | 0.434 |  |  |
| Personal care product Ingredients |
| Butyylated Hydroxyanisole | ng/L |  | 3.3 - <25 |  |  | 2.7 - <25 |  | 26 - 39 |  |  |  |  |
| Galaxolide | ng/L |  |  |  |  |  |  |  |  | 10 | 10 |  |
| Oxybenzone | ng/L | 107 - 656 |  | <10 | <1.0 - 1.9 | <1 - 77 |  |  |  | 5.7 – 6.4 | 1.9 – 2.4 |  |
| Triclocarban | ng/L |  | 127 |  |  |  |  | 111 |  |  |  |  |
| Pesticides |
| Atrazine | ng/L |  |  |  | <1.0 - 270 | <10 |  |  | 7.8 - 32 | <0.25 |  |  |
| Aldicarb Sulfone | µg/L | 1.14 – 6.48 |  |  |  |  |  |  |  |  |  |  |
| Aldicarb Sulfoxide | µg/L | 1.44 |  |  |  |  |  |  |  |  |  |  |
| Aldrin | ng/L |  |  |  | <5.0 |  |  |  |  |  |  |  |
| 1,2-Dibromo-3-Chloropropane | µg/L | 0.42 |  |  |  |  |  |  |  |  |  |  |
| Chloropyrifos | ng/L |  |  |  | <5.0 – 6.2 |  |  |  |  |  |  |  |
| Dalapon | µg/L | 0.3 |  |  |  |  |  |  |  |  |  |  |
| DDD | µg/L |  |  |  |  |  |  |  | 0.003 - <0.1 |  |  |  |
| DEET | ng/L | 157 - 1190 | 202 - 256 | <10 | 16 - 209 | 16 - 2430 | 4.6 | 51 - 115 | 256 | 2.3 – 4.6 | 2.0 – 2.3 |  |
| Dialkyltins | ng/L | 6 |  |  |  |  |  |  |  |  | 19 |  |
| Diazinon | ng/L | 50 - 63 |  |  | <5.0 |  |  |  |  |  |  |  |
| Dieldrin | µg/L |  |  |  | <5.0 |  |  |  | 0.002 - <0.1 |  |  |  |
| Dioxacarb | ng/L | 708 - 1890 |  |  |  |  |  |  |  |  |  |  |
| Diuron | ng/L | 800 |  |  |  |  |  |  |  |  |  |  |
| Endosulfan I | µg/L |  |  |  |  |  |  |  | 0.0133 - <0.1 |  |  |  |
| Endrin | µg/L |  |  |  |  |  |  |  | 0.037 - <0.1 |  |  |  |
| Heptachlor | µg/L |  |  |  |  |  |  |  | 0.0145 - <0.05 |  |  |  |
| Lindane (Gamma-BHC) | µg/L |  | 0.01 - 30 |  | <5.0 – 5.1 |  |  |  | 0.0025 - <0.05 |  |  |  |
| Methomyl | µg/L | 2.11 – 2.37 |  |  |  |  |  |  |  |  |  |  |
| Methoxychlor | ng/L | 129 - 325 |  |  |  |  |  |  | 11 - <50 |  |  |  |
| Mirex | µg/L | ND – 5.0 |  |  |  |  |  |  |  |  |  |  |
| Oxamyl | µg/L | 1.09 – 3.51 |  |  |  |  |  |  |  |  |  |  |
| Prometon | ng/L | 500 |  |  |  |  |  |  |  |  |  |  |
| Tributyltin | µg/L |  |  |  |  |  |  |  | 0.084 - <0.03 |  |  |  |
| Pharmaceuticals |
| Acetominophen (paracetamol) | ng/L |  | 0.3 – 1.4 | <10 | <1.0 - 179 | <1 - <10 | 1.1 |  | 47 |  |  |  |
| Atenolol | ng/L |  |  |  |  | 779 - 944 | <0.25 |  | 14 | 11 |  |  |
| Atorvastatin | ng/L |  |  |  |  | 32 - 65 | <0.25 |  | <0.25 | <0.25 |  |  |
| Caffeine | ng/L | 1690 - 5740 | <40 - 67 | <40 - 5557 | <10 - 141 | <10 - 1650 | <10 - <40 | 29 - <40 | <40 - 35700 | 4.6 – 5.0 | 3.2 – 4.7 | <40 |
| Carbamazepine | ng/L |  | <20 - 480 | nq - 67 | 76 - 606 | 171 - 410 | 67 - 1146 | 150 | 48 - 168 | 0.80 |  |  |
| Diazepam | ng/L |  |  | 244 | <1.0 - 4.9 | 2.4 - <10 |  |  |  |  |  |  |
| Diclofenac | ng/L | 5.5 – 8.5 | nq | <1 - 507 | <1.0 - 64 | <1 - 62 | <1.0 - <8 | <1 - 23.4 | <1.0 - 1 | <0.25 - <1 |  |  |
| Dichlorprop | ng/L |  |  |  |  |  |  | <1 - 93 |  |  |  |  |
| Dilantin | ng/L |  |  | <10 | <1.0 - 418 | 67 - 310 | 29 - 59 | 115 | 78 - 85 |  |  |  |
| Enalapril |  |  |  |  |  | 0.70 - 0.82 |  |  |  |  |  |  |
| Erythromycin-H2O | ng/L | 238 |  | <10 | <1.0 - 484 | <1 - 181 | <1.0 | 175 | <1 |  |  | <18 |
| EDTA | µg/L | 266 | 234 | <18 - 202 |  | 125 - 172 | <18 | 110 - 160 | 180 - 265 | <18 |  |  |
| Fluoxetine | ng/L | 9.5 |  | <10 | <1.0 - 97 | 9 - 42 | <0.50 - <1.0 | 10 | <0.50 | <0.50 |  |  |
| Gemfribozil | ng/L |  | 18 - 423 | 44 - 4231 | <1.0 - 1210 | <8 - 3750 | 0.29 - <8 | <2 - 548 | 3.5 - 3405 | 1.9 – 4.5 | 1.1 | <2 |
| Hydrocodone | ng/L |  |  | 110 | <1.0 - 103 | 39 - 85 | <1.0 | 164 | <25 |  |  |  |
| Hydroxy astrovastatin (o-) | ng/L |  |  |  |  | 30 - 61 | <0.50 |  | <0.25 - <0.50 |  |  |  |
| Hydroxy astrovastatin (p-) | ng/L |  |  |  |  | 44 - 119 | <0.50 |  | <0.50 |  |  | <4 |
| Ibuprofen | ng/L |  | <4 - 170 | 101 - 667 | <1.0 - 182 | <4 - 743 | <1.0 - <8 | <4 - 717 | <4 - 7325 | <4 - <8 |  |  |
| Iodinated contrast media | ng/L |  | 7.1 - 460 |  |  |  |  |  |  |  |  |  |
| Iopromide | ng/L |  |  | 571 | <1.0 - 842 | 3.5 - 131 | 4.8 |  | 1.4 |  |  |  |
| Mecroprop | ng/L |  |  |  |  | 63 - 87 |  | 63 - 85 | <2 - 17 |  |  |  |
| Meprobamate | ng/L |  |  | <10 | <1.0 - 1170 | 205 - 352 | <1 - 1.2 | 766 | 227 | 0.62 - 1.3 |  |  |
| Metopropol | ng/L |  |  |  |  |  | nd |  |  |  |  | <8 |
| Naproxen | ng/L |  | 142 | <10 - 1338 | <1.0 - 94 | 1.3 - 621 | <0.50 - <8 | <8 - 257 | <0.50 - 3320 | <0.50 - 1.2 |  | <1 |
| Norfluoxetine | ng/L |  |  |  |  | 2.5 – 3.2 | <0.50 |  | <0.50 | <0.50 |  |  |
| Pentoxifylline | ng/L |  |  | <10 | <1.0 - 32 | 33 |  |  | <25 |  |  |  |
| Phenacetine | ng/L |  |  |  |  | <1 |  |  |  |  |  |  |
| Primidone | ng/L |  | <1 | nq - 546 |  | 97.2 - 140 | 33 - 116 |  | <1 |  |  |  |
| Propranolol | ng/L |  |  |  |  |  |  |  |  |  |  | <8 |
| Salicylic acid | ng/L |  | 27 - 35 | 937 - 1461 |  | nq - 503 | <2 - 10 | 90 - 572 | 32 | nq |  | <2 |
| Simvastatin hydroxy acid | ng/L |  |  |  |  | <0.25 - 6.2 | <0.25 |  | <0.25 | 2.0 |  |  |
| Sulfamethoxazole | ng/L | 14 - 206 |  | <10 | <1.0 - 1410 | 33 - 1800 | 30 - 107 | 671 | 69 - 251 | 1.8 – 1.9 |  |  |
| Trimethoprim | ng/L |  |  | <10 | <1.0 - 34 | <1 - 520 | <0.25 - <1.0 | 219 | 4.4 - 48 | 2.1 |  |  |
| Phenols, Halogenated |
| 2,4,5-Trichlorophenol | µg/L |  | DNQ |  |  |  |  |  |  |  |  |  |
| 2,4,6-Trichlorophenol | ng/L | 45 - 371 | DNQ |  |  |  |  |  |  |  |  |  |
| 2,4-Dichlorophenol | ng/L | 28 - 114 |  |  |  |  |  |  |  |  |  |  |
| 4-Chloro-3-Methylphenol | ng/L | 126 - 585 |  |  |  |  |  |  |  |  |  |  |
| Phenols, non-halogenated |
| 2,4-Dimethylphenol | ng/L | 23 - 101 |  |  |  |  |  |  |  |  |  |  |
| 2-Nitrophenol | ng/L | 27 - 60 |  |  |  |  |  |  |  |  |  |  |
| 4,6-Dinitrophenol-2-Methylphenol | µg/L | 0.32 |  |  |  |  |  |  |  |  |  |  |
| 4-Methylphenol | µg/L | 0.037 – 3.36 |  |  |  |  |  |  |  |  |  |  |
| Phenoxyethanol | ng/L |  |  |  |  | 173 |  |  |  |  |  |  |
| Phenylphenol (o-) |  |  |  |  |  | 17 - 34 |  |  |  |  |  |  |
| Phenolic Compounds | ng/L |  |  |  |  |  |  |  | 6 - 34 |  |  |  |
| Plant Growth Regulator |
| Chlorpropham | µg/L | 0.023 - 0.182 |  |  |  |  |  |  |  |  |  |  |
| Indolebutyric acid (3-indolebutyric acid) | ng/L |  |  |  |  | 53 |  | 285 |  |  |  |  |
| PAHs |
| Acenaphthylene | ng/L | 21 |  |  |  |  |  |  |  |  |  |  |
| Benz[a]anthracene | ng/L |  |  |  |  |  |  |  |  |  |  |  |
| Benzo[b]fluoranthene | ng/L |  |  |  |  |  |  |  |  | 10 |  |  |
| Chrysene | ng/L |  |  |  |  |  |  |  |  | 13 |  |  |
| Fluoranthene | ng/L |  |  |  | <5.0 - 27 |  |  |  |  |  |  |  |
| Fluorene | ng/L |  |  |  |  |  |  |  |  | 10 | 18 |  |
| Naphthalene | ng/L | 20 - 930 |  |  |  |  |  |  |  |  |  |  |
| Phenanthrene | ng/L |  |  |  |  |  |  |  |  | 10 |  |  |
| PBDEs |
| brominateddiphenylether-28 | ng/L |  |  |  | <10 |  |  |  |  |  |  |  |
| brominateddiphenylether-100 | ng/L | 7 - 37 |  |  | <10 |  |  |  |  |  |  |  |
| brominateddiphenylether -153 | ng/L | 5 - 33 |  |  | <10 |  |  |  |  |  |  |  |
| brominateddiphenylether -154 | ng/L | 5 - 14 |  |  | <10 |  |  |  |  |  |  |  |
| brominateddiphenylether -17 | ng/L | 1 - 6 |  |  |  |  |  |  |  |  |  |  |
| brominateddiphenylether -183 | ng/L | 3 - 10 |  |  |  |  |  |  |  |  |  |  |
| brominateddiphenylether -209 | ng/L | 19 - 208 |  |  |  |  |  |  |  |  |  |  |
| brominateddiphenylether -47 | ng/L | 88 - 439 |  |  | <10 |  |  |  |  |  |  |  |
| brominateddiphenylether -85 | ng/L | 11 - 35 |  |  |  |  |  |  |  |  |  |  |
| brominateddiphenylether -99 | ng/L | 34 - 161 |  |  | <10 |  |  |  |  | 16 |  |  |
| Polybrominated diphenyl ethers (PBDE) 47 | ng/L |  | 3.1 - 4 |  |  |  |  |  |  |  |  |  |
| Polybrominated diphenyl ethers (PBDE) 99 | ng/L |  | 2.2 - 3 |  |  |  |  |  |  |  |  |  |
| Phthalates & Adipates |
| Bis(2-Ethylhexyl)Adipate | µg/L | 0.025 - 0.654 |  |  |  |  |  |  |  |  |  | 0.61 |
| Bis(2-Ethylhexyl)Phthalate | µg/L | 0.043 - 20.6 | 0.2 - 25 |  |  |  |  |  | 0.96 - <10 |  |  | 0.1 |
| Butylbenzylphthalate | µg/L | 0.3 – 0.355 | 1 - 4 |  |  |  |  |  |  |  |  |  |
| Benzylbutylphthalate | ng/L | 141 - 259 |  |  |  |  |  |  |  |  |  |  |
| Di(2-ethylhexyl)phthalate | µg/L | ND - 4 | <2 – 5.3 |  |  |  |  |  |  |  | 1 |  |
| Diethylphthalate | µg/L | 0.06 – 0.842 | <2 - <1.3 |  |  |  |  |  |  |  |  | 0.27 |
| Dimethylphthalate | ng/L | 25 - 40 |  |  |  |  |  |  |  |  |  |  |
| Di-N-Butylphthalate | µg/L | 0.036 – 0.53 |  |  |  |  |  |  |  |  |  | 0.27 |
| Di-N-Octylphthalate | µg/L | 0.032 – 4.14 |  |  |  |  |  |  |  |  |  |  |
| Solvents |
| Carbon Disulfide | µg/L | 0.15 – 6.87 | DNQ |  |  |  |  |  |  |  |  |  |
| Carbon Tetrachloride | µg/L |  | 1 |  |  |  |  |  |  |  |  | 0.2 |
| Chloromethane | µg/L |  | DNQ |  |  |  |  |  |  |  |  |  |
| Isophorone | ng/L | 26 - 386 |  |  |  |  |  |  |  |  |  |  |
| Methylene Chloride | µg/L | 0.14 - 2110 | <0.5 - 11 |  |  |  |  |  |  |  |  | 0.16 – 0.9 |
| Methyltertbutylether | µg/L |  | <2 - 5 |  |  |  |  |  |  |  |  |  |
| Mtbe | µg/L | 0.42 – 1.83 |  |  |  |  |  |  |  |  |  |  |
| Tert-Butyl Alcohol | µg/L | 3.5 - 5 |  |  |  |  |  |  |  |  |  |  |
| Tetrachloroethene | µg/L | 0.41 – 2.94 | 1 - 2 |  |  |  |  |  |  |  |  |  |
| Tetrachloroethylene | µg/L | 30 | 1 |  |  |  |  |  | 0.27 - <16 |  |  | 0.16 – 0.34 |
| Trichloroethene | µg/L | 0.12 – 2.7 |  |  |  |  |  |  |  |  |  |  |
| Progestins |
| Progesterone - ESI | ng/L |  |  |  | <1.0 - <10 | <10 |  |  |  |  |  |  |
| Miscellaneous |
| ά-BHC | ng/L |  |  |  | <5.0 - 14 |  |  |  |  |  |  |  |
| β-BHC | ng/L |  |  |  | <5.0 |  |  |  |  |  |  |  |
| δ-BHC | ng/L |  |  |  | <5.0 – 5.8 |  |  |  |  |  |  |  |
| BHT | ng/L |  |  |  | 1461 - 3337 |  |  |  |  |  |  |  |
| Bisphenol A | ng/L |  | 860 | nq | <100 - 6555 | <5.0 - 225 |  | 2550 |  | <5.0 |  |  |
| Perchlorate | ng/L |  |  |  | <50 - 240 |  |  |  |  |  |  |  |
| Vanillin | ng/L |  | 293 |  |  | 410 |  | 465 |  |  |  |  |
| Benzophenone | ng/L |  | 72 |  |  | 60 |  |  |  |  |  |  |
| Isobutylparaben | ng/L |  | 0.31 |  |  | 0.29 |  |  |  |  |  |  |
| Menthol | ng/L |  |  |  |  | <50.0 |  |  |  |  |  |  |
| Propylparaben | ng/L |  | 0.26 |  |  | 0.88 |  |  |  |  |  |  |
| Indolebutyric acid | ng/L |  | 257 |  |  |  |  |  |  |  |  |  |

1 May include chlorine disinfection

2 Chloramine disinfection

3 All are ASR via injection.  Time in underground an distance to withdrawal vary

4 Retention time in underground two weeks or greater

5 GAC preceded by either slow sand filtration or tertiary treatment

ng = not quantifiable (detected)