Light Output

The Measurement of Lamp Output

One of the most important considerations in selecting a light source is how much light it will generate. The unit of measure used for determining light is the lumen. One lumen equals the amount of light generated by a single standard candle.

While lumens are a measurement of light output from the light source (lamp), it only indirectly correlates to how much usable light there is for a certain application. This is true because visual light is actually how much illuminance is reflected from the surface(s) it hits. Light can be absorbed or reflected in different ratios depending on the surface it touches. This accounts for many other factors involved in lighting an area such as the type of fixture (reflector) used, how dirty or clean the fixture is, the total size of the space (room) to be illuminated, the color (reflectivity) of the walls, floor, and ceiling, among other factors.

To determine how much light actually illuminates a surface, a different measurement, foot-candle (fc.), must be used. A foot-candle is 1 lumen of uniform illuminance over the area of 1 square foot. The metric equivalent to foot-candles is lux (1 lumen per square meter). To convert fc. to lux, multiply the fc. by 0.0929. To convert lux to fc. multiply lux by 10.76.

There are two important measurements used when considering selection of a lamp: initial lumens and mean lumens. Two measurements are needed because, like most devices, lamps lose some light output over their rated life. The gradual loss of efficacy (lumens per watt) is called lumen depreciation. Lumen depreciation in lamps is caused by two main factors, loss of chemical additives in the lamp and wall darkening in the arc tube. In the arc tube are chemicals that are responsible for the generation of light. As the lamp operates, these chemicals react with the arc tube components and eventually can no longer produce light. Also, the standard arc tube contains two tungsten electrodes that are heated to incandescence during lamp operation. When the lamp is started, these electrodes evaporate tungsten which deposits on the inside wall of the arc tube. These black deposits absorb light and cause the amount of light emitted by the lamp to decrease. Both of these are very gradual processes, but the end result is a loss in efficacy for the arc tube. In Venture’s new Uni-Form® pulse start.  technology, the unique formed body arc tube lamp provides greater efficacy and better lumen maintenance than the older, standard pinch body arc tube technology

Initial Lumens

Initial lumens is a term defined as the amount of light output from a lamp when it is new. For a metal halide lamp, these ratings are averages based on photometry at rated lamp watts after 100 hours of operation. Ratings are made after 100 hours to allow the light-producing chemicals in the arc tube to "settle in to the correct position in order to deliver optimum performance. During the first 100 hours, the instability in chemical location is sometimes seen as rapid shifts in color called flaring. Also, the light given off by the lamp during the initial 100 hours is up to 20 percent higher than the initial lumen ratings. Both of these phenomena are normal for metal halide lamps. Both the light output and flaring will typically stabilize within the first 100 hours.

Universal lamp ratings are based on lamps burning in the base up position. When universal lamps are burned in positions other than base up, light output for these lamps can be significantly lower than the listed ratings. The table below shows how position oriented horizontal (HOR) lamps outperform universal rated lamps when burned horizontally.

Mean Lumens

Lighting designers and specifiers know that any light source will decrease in light output the longer it is operated (see previous page). To properly light a facility for the useful life of a lamp, they must calculate an "average" lumen output known as mean lumens. These ratings are averages based on photometry at rated lamp watts - at 40% of the lamp life when operated on typical commercial ballasts, and based on the lamps burning at 10 hours per start (except as noted).

Both burning and measurements are conducted in the designed burning position (i.e. horizontal or base down). Universal lamps are burned and measured in the base up position. When a lamp is burned in other than the design position, mean lumens will be lower than the rated base-up operation values, and life will be shortened.

Lumen Maintenance

The lumens generated by a lamp will decrease as the lamp ages, a factor known as lumen depreciation. Most often the lumen depreciation that the user sees is a combination of decreased lamp output and a dirt factor. Dirt accumulation on the fixture’s reflector and lens can greatly decrease the amount of usable light (in many cases more than lumen maintenance). This is another reason why group relamping (and cleaning) is critical for maintaining a lighting system. Open fixture lamps allow the fixture manufacturer to remove the glass lens, thereby removing a key ingredient for dirt depreciation. Venture Lighting continually conducts research and testing to ensure they have the best lumen maintenance possible. Lumen maintenance ratings are based on 10 burning hours per start (except as noted). Lumens will be lower for shorter burn cycles (i.e. 6% to 8% lower at 5 hours per start). Individual lamps may vary from printed mean lumen ratings and the lumen maintenance curve seen on this page. These are a general guide and refer to the average for a group of lamps.

Lamp Color

One of the most important attributes of metal halide lamps is their ability to provide crisp white light in a variety of different color temperatures to accommodate users’ needs. High pressure sodium and mercury lamps are very limited in the color and quality of light they produce. The colors they generate are often unpleasing or inappropriate for many applications. This helps explain why the use of metal halide lamps continues to increase dramatically each year around the world.

The color of light sources is a complicated relationship deriving from a number of different factors, including Correlated Color Temperature (CCT), Color Rendering Index (CRI), and spectral distribution.

Correlated Color Temperature (CCT)

The first factor in choosing a lamp color is to determine the associated Kelvin temperature. For example, if a retail store wants accent lighting to blend in with warm halogen incandescent lamps, they may choose a Venture MP 100/C/U/27K which has a Correlated Color Temperature (CCT) of 2700 Kelvin. This "temperature" is not simply an arbitrary number, but is correlation with actual thermal temperature. Anyone who has seen a piece of metal being heated will notice that as the temperature of the metal increases, the color of the metal changes. This is a rough explanation

of how the CCT of high intensity discharge and fluorescent light sources is measured. CCT is defined as the absolute temperature (expressed in degrees Kelvin) of a theoretical black body whose chromaticity most nearly resembles that of its light source. From this standpoint, the CCT rating is an indication of how "warm" or "cool" the light source is. The higher the number, the cooler the lamp. The lower the number, the warmer the lamp.

Spectral Energy Distribution

When we look at a light source, we "perceive" a single color. In reality, we are seeing literally thousands of colors and hues of colors made up of a combination of different wavelengths of light. These different combinations, and the relative intensity of various wavelengths of light, can be used to determine a light source’s CRI.

Color Rendering Index (CRI)

In general, CRI is an indication of a lamp’s ability to show individual colors relative to a standard. This value is derived from a comparison of the lamp’s spectral distribution compared to a standard (typically a black body) at the same color temperature.

Incandescent lighting is the only light source that follows a true black body curve. Other sources (i.e. metal halide) are rated with a Correlated Color Temperature (CCT). The CCT, however, does not provide information on the quality of color. For this, a Color Rendering Index (CRI) is also necessary. In general, the higher the CRI rating of a lamp, the better different colors will show. However, this guideline can be misleading with certain lamp types because a high CRI sometimes makes different colors easier to distinguish, but standard colors may appear different than they actually are. The following is an example of how the color "white" may appear under different light sources.

| Standard | "Hylux" | Color Corrected |
| --- | --- | --- |
| Metal Halide | Metal Halide | White HPS |
| 4000K | 5500K | 2300K |
| CRI - 65 | CRI - 90 | CRI - 90 |
| White is | White is | White is |
| White | Bluish-green | Yellow |

Color Shift and Variation

Different colors are achieved in metal halide lamps by using different arc tube designs and by introducing various chemicals inside of the lamp arc tube. New lamps need to have these chemicals "burn-in" for approximately 100 hours before they reach their optimum color and light level. This is why new lamps can sometimes be unstable or vary in color.

As metal halide lamps age, chemical changes occur in the lamp causing shifts in the chromaticity of the lamps. Different lamp designs shift in different ways, and different lamps from the same group may shift in different amounts. Generally, over economic life lamps will shift 200K to 300K in color temperature. After economic life, a lamp may change as much as 500K to 600K. As a group of lamps ages together in a facility, the lamps will generally shift at the same rate causing very little color variation from lamp to lamp. However, if new replacement lamps are introduced into the group of lamps, color differences may be more noticeable, because the new lamps have not aged and shifted with the remainder of lamps. This is just one of the reasons why many users of metal halide lamps prefer to group relamp as opposed to spot relamping. There are many other advantages to group relamping as outlined in the section on group relamping.

The Different Colors

The advantage of the many colors of lamps offered by Venture Lighting is that they can be used in virtually any lighting application. Outlined below are the various colors currently available:

| 27K - 2700 Kelvin | Often used as accent lighting to blend in with fluorescent 2700K applications. |
| --- | --- |
| 3K - 3200 Kelvin | Used as a primary light source for retail applications. |
| 3700 Kelvin | Coated lamps. Used where a "softer" metal halide light source is desired. |
| 4000 Kelvin: | Used in general lighting; factories: parking lots, warehouses |
| 5K - 5500 Kelvin | Daylight lamps: horticulture, aquariums, high color definition. |
| Special Colors | Blue, Green, Magenta, Pink, Yellow. Special applications where color is needed without light loss due to filters. |

Metal Halide 101

Proper Use of Metal Halide Lamps

Correct Operation And Cautions For Discharge Lamps

High intensity discharge lamps require auxiliary equipment (ballasts, capacitors, ignitors, and/or power supplies) to provide the correct electrical values for starting and operation. This auxiliary equipment must meet all electrical specifications outlined by ANSI (American National Standards Institute). Venture Lighting International will not be responsible for poor performance, property damage, or personal injury from lamps operating on unauthorized auxiliary equipment, or from lamps being operated in a manner inconsistent with their design.

Power should always be turned off and preferably locked out in accordance with OSHA guidelines whenever installation, removal or maintenance is performed on lighting systems. Always use safety glasses and gloves when installing or removing HID lamps. Replacement lamps should be screwed in firmly, but not with undue pressure, into appropriate lamp sockets. This will avoid loosening due to vibration.

Scratches on the outer envelope, direct contact with water, or excessive pressure can cause these lamps to break. If the outer jacket should break, immediately turn the power off. Do not remove a lamp until it has completely cooled and replace it with a new Venture lamp. Immediately turn the power off if an outer envelope is broken to prevent injury that may be caused by ultraviolet radiation from an unjacketed HID lamp.

HID lamps and their arc tubes operate at extremely high temperatures and may shatter as a result of misapplication, system failure, or other factors. This type of failure may release extremely hot glass and lamp parts into the surrounding environment, causing a risk of fire, personal injury, or property damage. It is imperative for users of HID lamps to use good judgment and common sense for placement of these lamps, in anticipation of potential violent failures. In areas susceptible to contamination by flying glass, where flammable materials are present, or there is a possibility of personnel injury, users should seek additional protective measures. In these cases, the user should install Venture open fixture rated lamps and/or use enclosed fixtures even if the lamp type does not require this type of fixture.

Starting and Restarting Characteristics

When using the proper auxiliary equipment, standard metal halide lamps will start at an ambient temperature of -30 degrees C (-22 F). Full light output does not occur when power is first applied to cold metal halide lamps; there is a time delay of 2 to 4 minutes before lamps reach 90% of their full light output.

Venture’s exclusive Uni-Form formed body arc tube provides faster warm-up and hot re-strike in 60% less time. The external ignitor and the Uni-Form formed body arc tube combine to allow better starting in colder conditions, down to -40°C.

After lamps have started, if there is a power interruption of 1/2 a cycle (1/120th of a second) or more, the lamps may go out and not restart when power is reapplied. It takes several minutes before an arc can be re-established by a standard ballast and/or ignitor. The exact time is dependent on a number of factors including lamp wattage, ballast and/or ignitor characteristics, ambient temperature, fixture dimensions, and supply voltage. As with initial starting, several minutes are required before full light output can be achieved. The time needed to establish full light output can be as short as 5 minutes and as long as 15 - 20 minutes. In general, the use of ignitors and/or special ballasts will dramatically decrease the time for hot restart. See chart on ballast characteristics.

Metal Halide v. Incandescent

Economics

Metal halide is almost always the cost effective solution for general lighting when compared to incandescent lighting technology. Incandescent is often selected for applications where instant light output is required or where only modest light levels or very small bulb sizes are required. Incandescent is also specified because of its low initial cost, since it requires no ballasting and the lamps are less expensive. However, initial cost is not usually a good criteria since the relatively low efficacy of the incandescent system makes it one of the costliest to operate. Metal halide is 3 to 5 times more efficient than incandescent; therefore, the higher initial cost of the metal halide system is quickly repaid relative to the cost of operation for an incandescent system. Although incandescent and metal halide are compact white light sources offering the user substantial versatility in terms of product selection and utilization, the main difference between the two technologies is the efficiency with which they generate light. Metal halide has a substantial efficacy edge over incandescent which often makes it the economic choice.

The Environment

When the choice is between metal halide and incandescent lighting, metal halide is the clear winner for the environment. A 100 watt metal halide lamp provides 5 times the lumen output of a 100 watt incandescent bulb. Added to this is the fact that it will burn for an average of 15,000 hours or approximately 15-20 times the life of the incandescent lamp. In addition to higher operating costs, the incandescent system has greater adverse impact on the environment.

Metal Halide vs. Fluorescent

Metal Halide Advantages

Metal halide lamps are highly compact white light sources. Linear fluorescent lamps, on the other hand, are low brightness sources with relatively large surface areas. This means that metal halide lamps radiate much more light per square centimeter of surface area than do fluorescents. A fluorescent lamp at the highest output has only the total lumen output of a 175 watt metal halide lamp.

Metal halide lamps offer the user a high light level using smaller, very compact fixture designs that deliver high light levels. They lend themselves well to applications where the light needs to be directed or controlled. This ability to direct light produces better light where it is needed and gives rise to more dramatic lighting effects. The inherently higher lumen packages allow the designer to achieve reasonable illumination levels in high ceiling applications.

Fluorescent light sources can be thought of as belonging to two different product families, standard linear fluorescent and compact fluorescent. Standard linear fluorescent does not provide the compact size of metal halide. This source is good for general diffuse lighting, but is hard to direct. Compact fluorescent lamps are small, but their lumen output is somewhat limited.

A major drawback to fluorescent for general lighting is the temperature sensitivity of the lamps with regard to light output. Fluorescent lamps operate well over a relatively narrow range of temperatures and are best for indoor lighting applications where the ambient temperature can be well controlled. The fluorescent lamp is designed to perform optimally at around 70ºF (21C) and will experience measurable decline in efficacy on either side of this optimum. For this reason, fluorescent lamps use in outdoor applications is much more limited than either incandescent or high intensity discharge sources.

Metal halide lamps, however, are well suited for both indoor and outdoor applications and are relatively unaffected by large changes in ambient temperature.

Metal halide lamps are commonly available today in wattages from 32 up to 2000 watts, with corresponding lumen packages of 2,000 to 210,000. Common fluorescent lamp wattages range from 5 to 215 watts, with corresponding lumen packages of 250 to 15,700. Higher wattage fluorescent lamps are simply too large to be practical.

Metal halide is best suited to those applications that require higher foot-candles and where the lamps are more than 8 - 10 feet from the work surface.

Metal Halide vs. High Pressure Sodium

Metal halide lighting differs from High Pressure Sodium (HPS) in the color and quality of light delivered. Metal halide is a highly efficient light source capable of delivering a white light in the range of 2700 to 5500 Kelvin with typical CRIs in the mid-60s to mid-70s. Some lamp chemistries even obtain CRIs in the 80s. In contrast, high pressure sodium lamps yield yellow lighting (2200K) and have a very poor color rendering index of 22.

HPS lamps are available in color-corrected versions that shorten their life and only slightly improve color temperature. Even with greatly improved CRIs, the color temperature still delivers yellow light. This color limitation is present because the HPS lamp generates light through the excitation of sodium. Metal halide lamps, on the other hand, generate light through the excitation of 2 to 5 different chemicals in the arc tube. In addition, the exclusive Uni-Form formed body arc tube is a newly-designed, compact light source sculpted to follow the physical shape of the arc itself. The precise geometry of this unique arc tube, accurately reproducible from lamp to lamp, produces a metal halide lamp of greater efficiency, improved color uniformity, and longer life.

By varying the blend of chemicals in the arc tube, metal halide engineers are able to alter the characteristics of the light output. This flexibility in design makes metal halide so versatile. White light is a very important attribute of metal halide technology, because it is the closest to the natural sunlight that people prefer.

A number of independent research projects compare each option under low light levels and provide solid, reliable information to support the concept that the color of light strongly influences human perception. In fact, the sensitivity of the eye to different colors determines the true or effective lumen output of a lamp. The visual effectiveness of white metal halide light with a high blue/green content is shown to increase in reduced light while it decreases for the yellow light of sodium sources.

High pressure sodium has been used for years in less color critical applications such as parking lot and roadway lighting. Applications more sensitive to color have used metal halide. The availability of lower wattage metal halide lamps and the revolutionary Uni-Form pulse start system technology has greatly increased its application in indoor and outside commercial and industrial environments. Many applications, such as security and parking garage lighting, now use metal halide instead of HPS. HPS is used today mainly in areas where color temperature and color rendition are less important (i.e. warehouses, street lighting, security lighting). Metal halide is applicable in a wide range of commercial, industrial and municipal spaces and offers an excellent quality of light.

Studies show that people generally prefer to work and live in a white light environment, a fact that itself explains the dramatic shift toward metal halide.

Group Relamping

Lumen depreciation, color shift over life and cost reduction are the main reasons that a user should consider a group relamping program. When a lighting installation is new, the light level is high and the quality of the light is excellent. Over life, lamps suffer a decrease in efficacy (lumens per watt) caused by both the loss of the light producing chemicals within the arc tube and darkening of the inner walls of standard arc tubes. Most metal halide lamps will decrease to around 60% of initial rated light output at about half of rated life. The Uni-Form formed body arc tube lamp provides greater efficacy and better lumen maintenance than the older, standard pinch body arc tube technology.

In standard metal halide technology, not only is there a decrease in the amount of light generated over life, but the quality of the light also changes. The color of a metal halide lamp is made up of hundreds of spectral line emissions from the chemicals within the arc tube. This plot of the lines of color the lamp emits is called its spectral distribution. It is this collection of colored lines that our eye interprets as a "white" light.

You might remember holding up a prism to the sunlight and seeing the rainbow of colors produced. The prism is able to break down the sunlight into all of its many spectral components. Even though sunlight has all of these component spectral lines, our eyes, together with our brains, interpret the combination of all these colors as white sunlight. The same phenomenon is happening when you look at the light produced by a metal halide lamp.

One difference between sunlight and the light from a metal halide lamp is that the sun produces the same quality of light at all times. The differences we see in sunlight are caused by the effects of earth’s atmosphere, not by changes in the sunlight. The metal halide spectral distribution, however, is not as stable as the sun’s. Its spectral output comes from mercury and metal iodides present in the arc. As the chemicals are lost to the arc through reactions, the proportions of their contribution to the spectrum change. Our eye interprets these changes in spectral distribution as changes in lamp color.

Generally, a metal halide lamp will shift in color by about 200 to 300K during its economic life. If all the lamps in an installation are operated in the same fixture type and burning orientation, they will generally change color in the same direction and amount during economic life. Therefore, the color shift of the lamps will not be very noticeable. The problem arises when you spot relamp after economic life. By then a lamp may have shifted 600K or more causing lamps to appear bluish, pinkish, or greenish.

With spot relamping, a new, bright white, initial lumen output lamp is installed in a field of lumen depreciated and slightly color shifted lamps. The human eye is a wonderful device for comparing color and it, of course, is able to easily discern that the new lamp is both brighter and a different color than the old lamps. If you multiply this scenario over a series of spot relampings, you can see why eventually a metal halide lighting installation can have quite a non-uniform look.

The answer to this problem is a group relamping program in which the user relamps the entire installation at one time, usually sometime between 60% and 70% of rated life. This plan has a number of advantages:

Cost Effectiveness

Group relamping greatly reduces spot relamping labor costs because all lamps are replaced before they reach the point in life where failures are accelerating. In addition, the cost of energy is by far the largest portion of maintaining a lighting system. If lamps are not group relamped, almost half of this energy will be wasted on lamps that are performing below their designed level. As an example, an average 400 watt metal halide lamp consumes $800 of energy over its rated life. About $320 of these dollars are wasted on lamps not providing optimum performance. With group relamping, a new lamp and the labor to install it is generally less than 5% of the total energy cost. Group relamping also saves downtime because it can be scheduled over a weekend or shutdown period.

Aesthetics

When lamps are of similar light output and color, a lighting installation looks better. Shopping centers, retail stores and even gas stations with canopies are retail spaces that are trying to attract customers. The quality of the lighting says much about the store and the merchandise. Group relamping maintains the quality of light in a space infinitely better than spot relamping.

Improved Light Levels

An installation that is properly group relamped will have better maintained light levels than one which is not. Higher light levels have been associated with increased safety, higher productivity and an increased sense of security. Since it costs the same amount of energy to run a fully lumen depreciated lamp as a new lamp of the same wattage, doesn’t it make sense to install the higher lumen output lamp in the socket?