Session No. 9

# Course Title:  Hazard Mapping and Modeling

Session 16:  Modeling Wind Hazards

Prepared By: Marc Levitan, Associate Professor, and Ms. Carol Friedland, Department of Civil and Environmental Engineering, Louisiana State University.

## Time: 4 hrs

Objectives:

9.1	Define the nature of wind hazards.

9.2	Discuss the interaction of wind hazards with the built environment.

9.3	Describe wind damage mechanisms.

9.4	Discuss the goals and objectives of wind hazard modeling, specific to the intended user.

9.5	Outline the capabilities and components of the HAZUS-MH Wind model and discuss data requirements.

9.6	Review available results and discuss importance to different user groups.

9.7	Discuss the application of HAZUS-MH Wind model results for both planning and emergency management operations.

Scope:

This session provides an introduction to the nature and extent of wind hazards and the associated social, economic and environmental impacts.  Methods for modeling wind hazards will be examined to identify the information needed to generate an estimation of wind damage and loss.  The session will examine the HAZUS-MH Wind software and how it can be used to characterize the social, economic and environmental impacts of wind hazards.

Readings:

Student Reading:

Lavelle, Vickery, Schauer, Twisdale, and Laatsch, “The HAZUS-MH Hurricane Model.” Proceedings, 11th International Conference on Wind Engineering, Texas Tech University, June 2003, pp. 1015-1022

FEMA and National Institute of Building Sciences (2003). (Chapter 1, Appendix A - C)  Multi-hazard Loss Estimation Methodology – Hurricane Model.  HAZUS-MH User Manual.  FEMA and National Institute of Building Sciences. Washington, D.C.

Instructor Reading:

Lavelle, Vickery, Schauer, Twisdale, and Laatsch, “The HAZUS-MH Hurricane Model.” Proceedings, 11th International Conference on Wind Engineering, Texas Tech University, June 2003, pp. 1015-1022

FEMA and National Institute of Building Sciences (2003). (Chapter 1, Appendix A - C)  Multi-hazard Loss Estimation Methodology – Hurricane Model.  HAZUS-MH User Manual.  FEMA and National Institute of Building Sciences. Washington, D.C.

General Requirements:

Power point slides are provided for the instructor’s use, if so desired.

It is recommended that students with little or no knowledge of wind hazards acquire a general overview of this hazard. Websites for materials relating to these are listed at the session’s conclusion.

Objective 9.1. 	Define the nature of wind hazards

Requirements:

Provide a general overview of wind as a hazard and why it is so critical to understand the nature and extent of wind hazards in a local community.

Remarks:

- General Definition of Wind Hazard

A. Threat to humans and what they value caused by extreme wind events

- Examples of Wind Hazards (brief introduction of each topic with photos)

A. Hurricanes

B. Tornadoes

- Possible Consequences of Winds

A. Property Damage/Loss – photos, statistics

B. Injury/Death – photos, statistics

- Important to Understand Wind Hazards Now, More than Ever

A. Protection of life and property

B. Escalating costs of damage

C. Increased population along coast

D. Computational abilities exist to better define and understand hazards and damage potential

V.  Hurricanes/Typhoons/Cyclones, Tropical Storms

A. Where they originate (explain nomenclature difference)

B. Brief meteorological synopsis – what causes them, how they travel, duration,

etc.

C. What constitutes classification/severity – Saffir Simpson, etc.

D. Associated damage mechanisms – wind, rain, windborne debris, storm surge (storm surge to be covered in separate topic), etc.

Objective 9.2. 	Discuss the interaction of wind hazards with the built environment

Requirements:

This section defines the interaction of wind hazards with the built environment and the factors that influence wind damage.

Remarks:

- Wind Pressure on Structures

A. Direction and magnitudes of pressures

B. Extent of high winds – Hurricane wind band example

C. Positive/negative pressures

D. Buildup of internal pressures

- Windborne Debris and Structure Interaction

A. Generation – failures, roof gravel, etc.

B. Types of debris, information on speed of travel (2x4 through palm tree)

C. How debris becomes airborne

Objective 9.3. 	Describe wind damage mechanisms

Requirements:

This section describes the mechanisms of wind damage upon the built environment, and the cumulative effects of failures.

Remarks:

- Damage Mechanisms of Wind Pressures

A. Roof, wall failures, generation of windborne debris

B. Injury/death statistics for wind

- Damage Mechanisms of Windborne Debris

A. Breach of building envelope causes increased internal pressures

B. Additional debris generation

C. Injury/death for windborne debris?

- Damage Mechanisms of Storm Surge and Rain

A. These will be covered in the flooding/storm surge models, but the importance of the combined effects should be mentioned

B. Injury/death

Objective 9.4. 	Discuss the goals and objectives of wind hazard modeling, specific to the intended user

Requirements:

Detail the goals and objectives of wind hazard modeling from the perspective of different end users.  Outline types of wind damage models available and demonstrate the interdependence of models to obtain an end-user estimate for damage and loss.

Remarks:

I. The uses of a wind hazard model are suited to the stakeholders (Power Point Slide 9-2).  By understanding the interests of different groups, the objectives in developing damage models can also be understood.

A. Major stakeholders include local, state and federal government agencies, humanitarian organizations, the insurance industry, and businesses and private

citizens.

II. Government agencies are affected in many ways and act in many capacities during a wind storm.

A. Local government agencies are those that may be directly impacted by a wind storm event.  These agencies include the emergency management community, the local building officials and other local government entities whose responsibility it is to begin rebuilding the area.

B. State stakeholders include government officials, the emergency management community, and state organizations.

C. Federal government agencies include the Department of Homeland Security, through FEMA, that respond to many severe wind storms.

III. Humanitarian organizations include the American Red Cross and other humanitarian organizations that provide disaster relief and assistance to affected citizens.  These organizations often are involved in sheltering activities, fundraising and rebuilding activities.

IV. The insurance industry is directly impacted by major wind storms.  The insurance business is governed by the collection of premiums to pay for damages caused by a wind event.

V. Businesses and private citizens are directly impacted by damage to their homes and businesses.

A. This damage takes many forms and may lead to displacement, loss of personal and business articles, loss of use of businesses, loss of employment and loss of business revenue due to the damage sustained.

VI. Categorizing wind hazard modeling objectives can be accomplished by designating affected stakeholders (Power Point Slide 9-3).  The two basic categories of wind hazard modeling objectives are assessment of damage and loss.

  - Damage

  - Loss

  - The assessment of building vulnerability includes understanding the quantity or percentage of buildings that may fail in a wind event and the probable mechanisms by which they will fail.  This assessment primarily provides an estimate of the scope of potential building damage.  By understanding damage that can be caused by wind hazards, several other needs can be identified

  - An estimate of building damage is essential in making preparations for shelters during wind storms.  Shelter occupancy may be estimated by assessing the resistance of the local building stock to a severe wind storm.

  - Wind damage models are also used as an emergency management tool in preparing plans to respond to wind hazards.  The outputs provided by a damage model should provide information about essential facilities (fire stations, hospitals, etc.), tree blow down, etc. so that adequate planning can be accomplished prior to a wind storm.

  - The second level of wind hazard modeling is an estimate of direct and indirect economic losses.

  - Direct Economic Losses

  - Indirect Economic Losses

  - Understanding the physical vulnerability of the region and the resulting economic costs, policymakers are better equipped to address building code requirements where mitigation strategies show drastic reductions in damage from calibrated models.

- Several types of models are used to model wind hazards (Power Point Slide 9-4).  Generally, the results of one model are incorporated into a subsequent model to describe a wind storm in terms of damage and loss.

A. Holistic, actualized cost models aggregate losses experienced over time and are used to predict future losses that may occur.  Generally, they are not based specifically on the region’s building construction, but may be based upon information from other areas and for different storm parameters.

B. Meteorological models provide predictions of storms’ paths (for hurricanes).  This type of model generates the study wind field and is the first step in modeling damage.

1. This model is not a damage model in itself.

2. The meteorological model must accurately model the wind field to provide information about the intensity and size of a storm.

C. Load vs. resistance structural damage models are detailed engineering models that compare the forces exerted by the wind (the load) with the structural capacity (the resistance) of the building.

1. The calculated load and resistance values are compared to determine if a failure has occurred.  The wind load is an estimation of the physical forces calculated from the wind field developed in the meteorological model.

2. The resistance is the calculated structural capacity of individual building types.

3. This type of model can be applied over a large area by providing detailed load vs. resistance information for several building types and by specifying the percentage of the building stock that meets each of the building classification requirements.

D. Tree damage models provide an understanding of tree impact on buildings.  This type of model includes damage caused by debris generated from trees and by tree blow down impacting a building.

E. Airborne debris models looks specifically at missiles that may become airborne, including debris generated from nearby building failures.  This type of damage is experienced primarily on unprotected windows and doors.

F. Loss models translate the modeled damage into resulting direct and indirect losses.  These models are based upon cost of building repair and replacement, and other indirect loss estimators.

G. This session specifically uses the HAZUS-MH Wind Model (Power Point Slide 9-5).

VI. HAZUS “is designed to produce loss estimates for use by federal, state, regional and local governments in planning for hurricane risk mitigation, emergency preparedness, response and recovery.”

VII. The HAZUS Model was developed as a tool for planning purposes.  This session will also explore some emergency management aspects that are possible with the HAZUS model by using real time information available for advancing storms.

Objective 9.5.  	Outline the capabilities and components of the HAZUS-MH Wind model and discuss data requirements.

Requirements:

This section outlines the capabilities of the HAZUS-MH program and discusses model components.  Input parameters and HAZUS-provided information are also discussed.

Remarks:

- HAZUS-MH stands for Hazards United States Multi-hazard (Power Point Slide 9-6).

A. HAZUS-MH is a product of the National Institute of Building Sciences (NIBS) and the Federal Emergency Management Agency (FEMA).

B. HAZUS-MH has been created in a form similar to the HAZUS earthquake model that was released in 1997.

C. HAZUS-MH was released in 2003 and includes a flood model and hurricane model.

D. It is a GIS-based model that can be used throughout the United States.  Information for the hurricane model is provided for the Atlantic and Gulf Coast states.

- HAZUS is a free program and is available on FEMA’s website, however, it requires ArcGIS to operate the program (Power Point Slide 9-7).

A. The computational requirements for running the software depend upon the speed and level of analysis desired by the user.

B. For the wind model, all of the levels of analysis can be run on a personal computer.

C. Because of the extensive databases contained within the HAZUS program, minimizing the size of the study area results in a faster analysis.

D. Small communities can be run with relatively low computational power, whereas medium and large sized community analysis requires a faster processor, more RAM and a larger hard drive.

- Looking at the hurricane model capabilities, there are three different user levels that are available (Power Point Slide 9-8).

A. The first is the beginning level using the default data.  The wind model selected in this type of analysis is the default probabilistic.

1. For this analysis level, once the study area has been defined and the probabilistic modeling option has been selected, HAZUS will then run multiple iterations of hurricane tracks and rank them in order of the dollar loss to the study region.

2. These storms are then classified as 10-year, 50-year, 100-year, etc. storm, and the specific hurricane track that produced that storm in HAZUS is then specified.  If a study area is analyzed multiple times, the storm tracks for the same return period storm will most likely differ between analyses.

- The building inventory used in the Level 1 analysis is the building data contained within the HAZUS databases.

A. The facilities and building classes for all levels of analysis are residential, commercial, industrial and essential facilities.

B. For utility, transportation and high potential loss facilities, no damage or loss estimation is done for any of the user level classifications.

C. The terrain databases, loss functions, damage functions, shelter requirements, and debris functions all utilize the default data for a level 1 analysis.

- For the Level 2 analysis, this level allows the user to input conditions about the local area that may provide refined information.

A. The wind model can look at a specific storm track, which could be that of an oncoming predicted storm, or a nearby recent storm shifted through the location of interest.

B. For example, the information from 2004 Hurricane Ivan can be input into the HAZUS model and then shifted to intersect the study region so that other communities can look at the potential impact that may be caused in their community that has actually hit the U.S. in recent years.

C. Another option for the wind model is selecting an historic storm.  This allows the user to look at the damage predicted, given today’s state of construction, due to the landfall of a storm that has previously impacted the area of the study region.

- The building inventory may also be modified with user supplied information that may model more accurately changes to the building stock.

A. The database would provide more accurate information for the study region, if there are discrepancies between the default HAZUS building databases and the local condition.

B. The shelter requirements may also be modified in a Level 2 analysis to reflect up-to-date information about sheltering facilities in the study region.

- Level 3 analysis allows change in the terrain databases.  Terrain data, if modified must be based upon expert-supplied data because of the significant effects that terrain has in calculating wind speeds at different heights.

- When a user defined storm is selected, there are three choices of parameters that may be entered to describe the hurricane.

A. Specify the hurricane’s lateral movement, the storm’s location at specific times may be entered, or a constant translational velocity (in mph) may be selected.

B. Specify the size of the hurricane, the radius to maximum winds or radius to  hurricane force winds may be specified.  The radius to maximum winds is the distance from the eye of the hurricane to the eye wall, whereas the radius to hurricane force winds is the distance from the eye of the hurricane to the 75 mph wind band, the cutoff for classification of hurricane force winds.

C. Specify hurricane wind speed, the maximum wind speed at 10 m may be used – this is the standard height for measurement of wind speed, or to enter profile parameters.  Selecting profile parameters selects a Level 3 analysis and requires the input of expert-supplied terrain data to calculate wind speeds at varying heights.

- There are four dominant types of windstorms in the United States (Power Point Slide 9-9).

A. Hurricanes, which dominate the Gulf and Atlantic coasts;

B. Tornadoes, which are largely unpredictable, localized storms that occur throughout the United States;

C. Thunderstorms and hail, which occur throughout the United States; and

D. Extratropical cyclones, which are prevalent along the West coast and New England.

E. Of these wind hazards, HAZUS-MH currently addresses only hurricanes, which will be the subject of the remainder of this session.

- The HAZUS Wind Model Framework demonstrates the elements of each model component and the interconnection of the various models within the program (Power Point Slide 9-10).  The first model component is the wind hazard.

- Various hurricane analysis methods are available within HAZUS.

  - The first mode is the probabilistic analysis, which statistically simulates storms based upon aggregated total dollar loss within the study region for specific return periods (50-, 100- year, etc.).  These return periods are not based upon the return period of the wind speed, but rather upon the dollar loss for the study region itself.

  - The second mode is the Scenario analysis.  This tool allows the user to input storm parameters and model the track, intensity and size of the hurricane through a specific region.  This type of analysis can be useful for looking at a prediction of damage for a specific oncoming storm, or for forecasting a specific storm through the study region for planning purposes.

  - The third mode is the Historical Storms analysis, which uses storm parameters of actual past storms.  The benefit of this type of analysis is that an historic storm can be modeled through the current building stock to provide an estimation of damage in today’s dollars.

- To understand the physical damage that is caused by wind hazards, the individual effects must first be identified.

  - Wind pressure is the pressure that is exerted by the wind onto an object.  Wind pressure can act inward or outward (suction).

  - Windborne missiles are objects that become airborne due to the characteristics of the wind field.  Missiles include items such as wind gravel from adjacent buildings, debris generated from failures of adjacent buildings, and other unattached objects.

  - Duration of a storm is the time during which buildings are exposed to extreme winds.  Comparing a fast moving storm and a slow moving storm of the same intensity, a slow moving storm is likely to cause more damage because structures are exposed to the effects of the wind for a longer duration.

  - Rain is a significant component of damage experienced during hurricanes.  Once the building envelope, or building shell, has been breached by airborne debris missiles or damage due to wind pressures, rain will often enter the building and cause significant damage, especially to interior finishes.

  - Other effects of hurricanes that are not addressed in the HAZUS model at this time are the effects of storm surge, waves and atmospheric pressure changes.

- The HAZUS Wind relies upon Geographical Information System (GIS).  Information from the 2000 Census is provided with the default databases.  As with all models, the user should verify the accuracy of the databases on a level consistent with the desired accuracy of the results.

  - The terrain database contains information about tree height and density.  This information is used in the tree blow down model and to calculate the ground surface roughness which affects the wind speed at varying heights.

  - The building inventory provides a detailed inventory of residential, commercial and industrial structures, as well as hospitals, shelters and police and fire stations.  These databases provide facility locations and structural parameters that are used in the modeling phase.  The resistance portion of the structural load vs. resistance model is based on the inventory of buildings supplied with the HAZUS database.

  - The topography database includes ground elevation information, which affects wind speed.

  - The bathymetry database provides ocean/gulf water depth, which affects a hurricane as it approaches land.

- Once the mode of analysis and hazard is selected, each of the individual effects of that hazard is then investigated for an estimation of physical damage.

A. Physical damage estimation includes:

1. Pressure failure,

2. Building debris impact failure

3. Tree blow down failure in the current HAZUS model.

B. Future editions of HAZUS will address transportation systems, utilities and agriculture systems.

- The damage estimation is finally used to predict economic losses.  A more detailed description of the loss model will be provided later in this session.

- During the HAZUS model processing, built-in damage functions are used to calculate building damage based upon the modeled wind field.  These damage functions have been pre-computed using the load vs. resistance structural damage methodology for a range of wind speeds.  This flow chart demonstrates the steps taken to create the fast running damage functions that are contained within HAZUS (Power Point Slide 9-11).

A. Component Resistance.  The information about the specific building being investigated is calculated to create a resistance value for that structure.

B. Wind speed and direction in open terrain and apply the terrain contained within the HAZUS database to estimate the effects of the load on buildings.

C. The resistance load calculated for each of the buildings can be compared with the load value from the meteorological model, combined with the terrain model to produce information about the effects on the building.  Debris impact is checked, as are failure of roof and walls.

D. The program checks if any windows or doors have failed.  This significantly impacts the final analysis because once the building envelope has been breached, positive internal pressures are able to build up, and the combined effects of suction pressure on the roof and a positive interior pressure, both pressure mechanisms are working to cause a roof blow-off failure.

E. Checking to see if any windows or doors have failed, and if the answer is yes, then the internal pressure coefficient will change and it is necessary to compute the calculations.

F. The previous steps are recalculated and reapplied to the calculated resistance values.  Again, debris impact and tree blow-down are checked to see if a breach of the building envelope has occurred.  If not, then once the number of simulations has been confirmed, the process ends.  It is important that sufficient time of wind effects have been included.

G. HAZUS uses iterations of the wind field over time to create the damage information.  If enough iterations have not been computed, it again looks at the wind speed over time and continues the damage function process.

Objective 9.6. 	Review available results and discuss importance to different user groups

Requirements:

This section provides an overview of the available model results and discusses usage of the output data for different user types.

Remarks:

- The HAZUS damage functions are broken into five classifications (Power Point Slide 9-12).  Built-in damage functions are provided for each damage state for the provided building classifications.  Residential damage state definitions are:

A. No Damage or Very Minor Damage.  Little or no visible damage from the outside.  No broken windows, or failed roof deck.  Minimal loss of roof cover, with no or very limited water penetration.

B. Minor Damage.  Maximum of one broken window, door or garage door.  Moderate roof cover loss that can be covered to prevent additional water entering the building.  Marks or dents on walls requiring painting or patching for repair.

C. Moderate Damage.  Major roof cover damage, moderate window breakage.  Minor roof sheathing failure.  Some resulting damage to interior of building from water

D. Severe Damage.  Major window damage or roof sheathing loss.  Major roof cover loss.  Extensive damage to interior from water.

E. Destruction.  Complete roof failure and/or, failure of wall frame.  Loss of more than 50% of roof sheathing.

- The damage curve expresses the relationship between wind speed and probability of damage for each building classification and damage state (Power Point Slide 9-13).  This particular damage function shows the probability of damage for one story wood framed single family homes.

  - Looking at the X axis, the peak gust wind speed varies.  The probability of damage, plotted along the Y axis, ranges from zero to one, or zero to 100%.

  - The damage states 1-4 are plotted against these axes.  This is a probabilistic distribution of expected damage for one story wood framed single family homes, ranging from no damage at low wind speeds to complete damage for each of the damage states at very high wind speeds.

  - The leftmost curve, the minor damage curve, noticeable damage can be viewed.  Based upon the statistical distribution of the resistance calculated in the HAZUS model, approximately 50% of homes will be subject to minor damage at a specific wind speed.

  - These damage functions are built into the HAZUS program for many specific residential, commercial and industrial building types.  The classifications include construction type and specifics about the buildings, including number of stories, degree of building engineering and where they are single family or multifamily occupancy.

Class Activity 1:  Students will be given a copy of the damage function for one family, wood framed, single story homes (HANDOUT A).  Based upon this damage function, students should determine the probability of damage for each of the damage states for a 100, 120 and 140 mph peak gust wind speed.

Assuming that the study region has 10,000 one family, wood framed, single story homes, what is the expected number of homes that would be in each of the residential damage states for a 120 mph peak gust wind speed?

Teacher’s Guide:  The vulnerability curves show the following probability of damage for the damage states and wind speed shown below.

| Wind Speed | Probability of Damage |
| --- | --- |
|  | Minor | Moderate | Severe | Destruction |
| 100 mph |  |  |  |  |
| 120 mph |  |  |  |  |
| 140 mph |  |  |  |  |

The expected number of homes in each of the damage states can be found by multiplying the probability of damage by 10,000 (the number of homes in the study region).

| Damage State | Probability of Damage % (from above) | Estimated Number of Homes Experiencing Damage |
| --- | --- | --- |
| Minor |  |  |
| Moderate |  |  |
| Severe |  |  |
| Destruction |  |  |

Class Discussion:

For the 120 mph peak gust wind speed, the probabilities of damage are __% for minor damage, __% for moderate damage, __% for severe damage and __% for destruction.  These probabilities add to more than 100% – why?

The probability of being in each damage state is independent of the other damage states.  Therefore, the minor damage curve can be interpreted as the probability that __% of the houses have at least minor damage.

- Once the damage modeling is completed, the next step in building loss estimation through hazard models is the computation of economic losses.

A. If we look at the damage to loss model slide, you can see how the information obtained from the damage model is applied to the loss model.

1. The first step is the categorization of buildings, which is contained within the HAZUS system, the building characteristics including building cost and investigating the building damage state, we can look at two different types of costs for building replacement value.

2. These are explicit cost and implicit costs.

a. Explicit, or direct, costs are items that must be repaired or replaced, including repairing or replacing roof covering and windows, etc.

b.Implicit, or indirect, costs include the interior items that may be damaged due to rain.  Those loss items are calculated using the cost indices contained within the HAZUS model.

c. Adding to that, the value of contents, the loss of use of the building and the repair time required results in direct economic loss to the structure.

Class Activity 2:  Students will be given a copy of the building and contents loss functions for one family, wood framed, single story homes (HANDOUT  B).  Based upon this damage function, students are asked to estimate the building and contents total loss/total value for buildings in open terrain with a peak gust wind speed of 120 mph.

Assuming that the average building value is $100,000 and the average contents value is $30,000; estimate the total building and contents losses for the study region of 10,000 one family, wood framed, single story homes.

Teacher’s Guide:  The loss curves show the following total loss/total value for 120 mph peak gust wind speed in open terrain:

| Loss Type | Total Loss/Total Value |
| --- | --- |
| Building |  |
| Contents |  |

The expected building and contents losses for the study region can be found by multiplying the total loss/total value ratio by the building/contents value and then multiplying by the total number of homes in the study region (10,000).

| Loss Type | Total Loss/Total Value (from above) | Estimated Loss per Building (Building Value $100,000 Contents Value $30,000) | Estimated Loss for Study Region (10,000 homes) |
| --- | --- | --- | --- |
| Building |  | $ | $ |
| Contents |  | $ | $ |
| Estimated Total Losses | $ | $ |

Objective 9.7 	Discuss the application of HAZUS-MH Wind model results for both planning and emergency management operations.

Requirements:

This section discusses the application of output data in both the planning process and in emergency management scenarios.

- Planning applications for Operations – Mitigation

Class Activity 3:  Students will be given a copy of the damage function for fully mitigated one family, wood framed, single story homes (HANDOUT C).  Based upon this damage function, students should determine the probability of damage for each of the damage states for a 120 mph peak gust wind speed.  Assuming that the study region has 10,000 one family, wood framed, single story homes, what is the expected number of homes that would be in each of the residential damage states for a 120 mph peak gust wind speed?

Given the HAZUS-MH Wind Loss Function for fully mitigated one family, wood framed, single story homes, estimate the building and contents total loss/total value for buildings in open terrain with a peak gust wind speed of 120 mph.

Assuming that the average building value is $100,000 and the average contents value is $30,000; what are the estimated total building and contents losses for the study region of 10,000 one family, wood framed, single story homes?  Using the information from Activity 1, what is the reduction in dollar loss for implementation of mitigation measures for all of the homes?

Teacher’s Guide:  The probability of damage and number of homes damaged are determined in the same manner as Class Activity 1.  To compare mitigated and unmitigated damage, students should subtract the mitigated damage form the unmitigated damage (Activity 1).

| Damage State | Probability of Damage % | Estimated Number of Homes Experiencing Damage | Unmititgated Number of Homes Experiencing Damage (Activity 1) | Reduction in Homes Experiencing Damage |
| --- | --- | --- | --- | --- |
| Minor |  |  |  |  |
| Moderate |  |  |  |  |
| Severe |  |  |  |  |
| Destruction |  |  |  |  |

The expected building and contents losses for the study region are determined in the same manner as Class Activity 2.  To compare mitigated and unmitigated losses, students should subtract the mitigated losses from the unmitigated losses (Activity 2).

| Loss Type | Total Loss/Total Value (from above) | Estimated Loss per Building | Estimated Loss for Study Region (10,000 homes) | Unmitigated Loss for Study Region (Activity 2) | Reduction in Dollar Loss |
| --- | --- | --- | --- | --- | --- |
| Building |  | $ | $ | $ | $ |
| Contents |  | $ | $ | $ | $ |
| Estimated Total Losses | $ | $ | $ | $ |

Class Discussion:

How does the number of homes damaged in each damage state compare to the values calculated in the first class exercise?

How does the reduction in loss compare with the reduction in damage?

Which user groups (stakeholders) are most interested in the reduction in damage and loss?  Why?

- Emergency management Real-time Applications for Operations

Class Activity 4:  User-Defined Storm

The storm that will be modeled in this class exercise is Hurricane Ivan, which passed over Baldwin County, Alabama in October 2004.  The Interactive Storm Track Definition allows you to approximately locate the storm using the coordinate information shown in the lower left had of the screen.  This information was based on the National Weather Service track prediction forecast as Hurricane Ivan was making landfall.  This class exercise requires students to input the storm track information as the hurricane is making landfall – materials:  National Weather Service Forecast, table of wind speeds to central pressure and paper to write it storm track information (lat, long, time, radius to hurricane force winds, wind speed and central pressure).  Handout D

This slide shows the actual track of Hurricane Ivan input into the HAZUS model and the results of the wind model.  As you can see, the wind speeds are highest on the right side of the hurricane, which is expected because of the location in the advancing right front quadrant.

Objective 9.6. 	Review available results and discuss importance to different user groups

Requirements:

This section provides an overview of the available model results and discusses usage of the output data for different user types.

Remarks:

- HAZUS-MH Model Characteristics

A. Storm track/intensity model

B. Structural load vs. resistance model for various buildings (pressure)

C. Wind-borne debris model

D. Tree damage model

E. Interconnection of damage models

F. Computation of damage functions for specific building types (overall damage model)

G. Loss model

Objective 9.7. 	Discuss the application of HAZUS-MH Wind model results for both planning and emergency management operations.

Requirements:

This section discusses the application of output data in both the planning process and in emergency management scenarios.

Remarks

I. Output Reports and Mapping

A. Building damage reports

B. Loss reports

C. Mapping damage and loss

D. Shelters

E. Essential Facilities

References

Cope, A. and Gurley, K., Pinelli, and Hamid. “A Simulation Model for Wind damage Predictions in Florida”, 11th International Conference on Wind Engineering, Texas Tech University, June 2003.  pp. 1537-1546.

Cope, A., Filliben, J., Gurley, K., Pinelli, J.P., Simiu, E., Subramanian, C., and Zhang L., “A Hurricane Damage Prediction Model for Residential Structures”, 9th International Conference on Applications of Statistics and Probability in Civil Engineering (ICASP-9), San Francisco, July 6-9, 2003.

FEMA (2003).  HAZUS –MH Wind Hazards User and Technical manuals.  Washington D.C.

Goliger, Retief, and Nieman.  Wind damage/disaster model part 1: generic algorithm. Proceedings, 11th International Conference on Wind Engineering, Texas Tech University, June 2003.pp. 1023-1030.

Goliger, Retief, and Nieman.  Wind damage/disaster model part 2: application. Proceedings, 11th International Conference on Wind Engineering, Texas Tech University, June 2003.pp. 1031-1038.

CLASS ACTIVITY 1

Given the HAZUS-MH Wind Building Damage Function for one family, wood framed, single story homes, estimate the probability of damage for each of the four residential damage states (minor, moderate, severe, destruction) for the following wind speeds:

| Wind Speed | Probability of Damage |
| --- | --- |
|  | Minor | Moderate | Severe | Destruction |
| 100 mph |  |  |  |  |
| 120 mph |  |  |  |  |
| 140 mph |  |  |  |  |

Assuming that the study region has 10,000 one family, wood framed, single story homes, what is the expected number of homes that would be in each of the residential damage states for a 120 mph peak gust wind speed?

| Damage State | Probability of Damage % (from above) | Estimated Number of Homes Experiencing Damage |
| --- | --- | --- |
| Minor |  |  |
| Moderate |  |  |
| Severe |  |  |
| Destruction |  |  |

CLASS ACTIVITY 2

Given the HAZUS-MH Wind Loss Function for one family, wood framed, single story homes, estimate the building and contents total loss/total value for buildings in open terrain with a peak gust wind speed of 120 mph.

| Loss Type | Total Loss/Total Value |
| --- | --- |
| Building |  |
| Contents |  |

Assuming that the average building value is $100,000 and the average contents value is $30,000; estimate the total building and contents losses for the study region of 10,000 one family, wood framed, single story homes.

| Loss Type | Total Loss/Total Value (from above) | Estimated Loss per Building (Building Value $100,000 Contents Value $30,000) | Estimated Loss for Study Region (10,000 homes) |
| --- | --- | --- | --- |
| Building |  | $ | $ |
| Contents |  | $ | $ |
| Estimated Total Losses | $ | $ |

CLASS ACTIVITY 3

Given the HAZUS-MH Wind Building Damage Function for fully mitigated one family, wood framed, single story homes, estimate the probability of damage for each of the four residential damage states (minor, moderate, severe, destruction) for a 120 mph peak gust wind speed.

Assuming that the study region has 10,000 one family, wood framed, single story homes, what is the expected number of homes that would be in each of the residential damage states for this wind speed?  Using the information from Activity 1, what is the reduction in the number of homes experiencing damage for each damage state?

| Damage State | Probability of Damage % | Estimated Number of Homes Experiencing Damage | Unmititgated Number of Homes Experiencing Damage (Activity 1) | Reduction in Homes Experiencing Damage |
| --- | --- | --- | --- | --- |
| Minor |  |  |  |  |
| Moderate |  |  |  |  |
| Severe |  |  |  |  |
| Destruction |  |  |  |  |

Given the HAZUS-MH Wind Loss Function for fully mitigated one family, wood framed, single story homes, estimate the building and contents total loss/total value for buildings in open terrain with a peak gust wind speed of 120 mph.

Assuming that the average building value is $100,000 and the average contents value is $30,000; what are the estimated total building and contents losses for the study region of 10,000 one family, wood framed, single story homes?  Using the information from Activity 2, what is the reduction in dollar loss for implementation of mitigation measures for all of the homes?

| Loss Type | Total Loss/Total Value | Estimated Loss per Building | Estimated Loss for Study Region (10,000 homes) | Unmitigated Loss for Study Region (Activity 2) | Reduction in Dollar Loss |
| --- | --- | --- | --- | --- | --- |
| Building |  | $ | $ | $ | $ |
| Contents |  | $ | $ | $ | $ |
| Estimated Total Losses | $ | $ | $ | $ |

# Text boxes

Building Damage Function – Note Building Characteristics

Building Loss Function – Note Building Characteristics

Contents Loss Function – Note Building Characteristics

Building Loss Function – Note Building Characteristics

Building Loss Function – Note Building Characteristics

Building Loss Function – Note Building Characteristics