## potential
Table 2. 1997 Wind Generating Potential by Wind Class and Buffer Zone (GW) (1) (2) (3)
AEO99 REFERENCE CASE
Region | Wind Class 1 |  |  | Wind Class 2 |  |  | Wind Class 3 |  |  | Total
| buffer zone 1 | buffer zone 2 | buffer zone 3 | buffer zone 1 | buffer zone 2 | buffer zone 3 | buffer zone 1 | buffer zone 2 | buffer zone 3
1 | 0 | 0 | 0 | 0.2079 | 0.0624 | 0.1525 | 1.9467 | 0.7883 | 0.8705 | 4.0283
2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4607 | 2.7075 | 5.1066 | 10.2748
3 | 0 | 0 | 0 | 0 | 0 | 0 | 6.0662 | 2.5978 | 0.8911 | 9.5551
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 35.4261 | 29.0839 | 40.0008 | 579.2351 | 352.8464 | 424.9552 | 1461.5475
6 | 0 | 0 | 0 | 0.0901 | 0.1248 | 0.0762 | 1.885 | 0.7883 | 0.5415 | 3.5059
7 | 0.0574 | 0.0287 | 0.0933 | 1.518 | 0.8526 | 1.3585 | 2.6801 | 1.5765 | 0.987 | 9.1521
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0.0574 | 0.0287 | 0.0215 | 0.2218 | 0.1802 | 0.1594 | 0.5689 | 0.329 | 0.2673 | 1.8342
10 | 0 | 0 | 0 | 0 | 0 | 0 | 228.212 | 134.683 | 132.9694 | 495.8644
11 | 28.0551 | 18.0955 | 26.1307 | 21.0782 | 12.1576 | 17.0026 | 75.913 | 49.8181 | 67.1188 | 315.3696
12 | 10.2828 | 5.6369 | 7.9491 | 0.3466 | 0.402 | 0.6723 | 83.1582 | 50.8257 | 45.6575 | 204.9311
13 | 5.7015 | 1.8957 | 0.6391 | 2.3775 | 1.2268 | 0.8734 | 4.8392 | 1.7273 | 1.412 | 20.6925
U.S. | 44.1542 | 25.6855 | 34.8337 | 61.2662 | 44.0903 | 60.2957 | 986.9651 | 598.6879 | 680.7769 | 2536.7555
(1) In the NEMS framework, buffer zone refers to the distance from transmission lines. See Table 1b for wind buffer zone definitions.
(2) The 1997 wind renewable potential is used for the remainder of the forecast period (1998-2020).
(3) In NEMS, classes 1, 2, and 3 correspond to wind classes 6, 5 and 4 respectively. See Table 1a for wind class definitions.

## reg supply curve
Table 9. Wind Long Term Supply Constraint Specification (1) by Share of Regional Wind Potential
AEO99 REFERENCE CASE
Region | Regional Supply Curve Specification
| STEP 1 |  |  | STEP 2 |  |  | STEP 3 |  |  | STEP 4 |  |  | STEP 5
| cap cost | resource threshold (3) |  | cap cost | resource threshold (3) |  | cap cost | resource threshold (3) |  | cap cost | resource threshold (3) |  | cap cost | resource threshold (3)
| multiplier | % | GW | multiplier | % | GW | multiplier | % | GW | multiplier | % | GW | multiplier | % | GW
1 | 1 | 0% | 0 | 1.2 | 10% | 0.40283 | 1.5 | 20% | 0.80566 | 2 | 30% | 1.2085 | 3 | 40% | 1.6113
2 | 1 | 0% | 0 | 1.2 | 15% | 1.5412 | 1.5 | 25% | 2.5687 | 2 | 48% | 4.9319 | 3 | 93% | 9.5556
3 | 1 | 0% | 0 | 1.2 | 10% | 0.95551 | 1.5 | 20% | 1.911 | 2 | 30% | 2.8665 | 3 | 40% | 3.822
4* | 1 | 0% | 0 | 1 | 40% | 0 | 1 | 50% | 0 | 1 | 60% | 0 | 1 | 70% | 0
5 | 1 | 0% | 0 | 1.2 | 0.5% | 7.3077 | 1.5 | 1.5% | 21.9232 | 2 | 4.5% | 65.7696 | 3 | 7.5% | 109.6161
6 | 1 | 0% | 0 | 1.2 | 10% | 0.35059 | 1.5 | 20% | 0.70118 | 2 | 40% | 1.4024 | 3 | 60% | 2.1035
7 | 1 | 0% | 0 | 1.2 | 10% | 0.91521 | 1.5 | 20% | 1.8304 | 2 | 40% | 3.6608 | 3 | 60% | 5.4913
8* | 1 | 0% | 0 | 1 | 10% | 0 | 1 | 20% | 0 | 1 | 30% | 0 | 1 | 50% | 0
9 | 1 | 0% | 0 | 1.2 | 10% | 0.18342 | 1.5 | 20% | 0.36684 | 2 | 40% | 0.73368 | 3 | 60% | 1.1005
10 | 1 | 0% | 0 | 1.2 | 0.5% | 2.4793 | 1.5 | 1.5% | 7.438 | 2 | 4.5% | 22.3139 | 3 | 7.5% | 37.1898
11 | 1 | 0% | 0 | 1.2 | 2.5% | 7.8842 | 1.5 | 6.8% | 21.4451 | 2 | 9.6% | 30.2755 | 3 | 10.1% | 31.8523
12 | 1 | 0% | 0 | 1.2 | 2% | 4.0986 | 1.5 | 4% | 8.1972 | 2 | 8% | 16.3945 | 3 | 18% | 36.8876
13 | 1 | 0% | 0 | 1.2 | 12% | 2.4831 | 1.5 | 15.5% | 3.2073 | 2 | 19% | 3.9316 | 3 | 22.5% | 4.6558
total | - | - | 0 | - | - | 28.6018 | - | - | 70.3947 | - | - | 153.4889 | - | - | 243.8859
(1) In a given year, the regional supply constraint multiplier is applied to the effective capital cost of wind (2). The appropriate capital cost multiplier is dependent
on the amount of existing wind capacity in a given region relative to the total available wind resource in that region. The capital cost multiplier for step N
is used if the ratio of existing regional capacity to regional renewable potential is greater than the resource threshold for step N, but less than the resource
threshold for step N+1.
(2) The effective capital cost of wind is the overnight capital cost of wind (exogenous) modified by learning curve multiplier and generic regional cost multipliers.
* Capital cost multiplier in regions 4 and 8 always equals 1.0 because there is no wind resource in those regions.
(3) Resource threshold is expressed as a percentage of total wind resource in a given region and in absolute capacity values.

## slice
Table 6. Capacity Factor Multiplier (1) by Time Slice (2) and NERC Region
Time Slice (1)
Region | 1* | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | avg | min | max
1 | 1.2092 | 0.41071 | 0.31429 | 1.3618 | 1.045 | 1.0145 | 1.4156 | 0.79464 | 0.67143 | 0.91524 | 0.31429 | 1.4156
2 | 0.96078 | 0.90179 | 0.71429 | 1.1645 | 0.9009 | 0.86957 | 1.2468 | 0.97321 | 0.91429 | 0.96067 | 0.71429 | 1.2468
3 | 0.75817 | 0.49107 | 0.55714 | 1.3947 | 1.2162 | 1.2609 | 1.2078 | 0.91071 | 1 | 0.97741 | 0.49107 | 1.3947
4 | 1.0327 | 0.53571 | 0.34286 | 1.3618 | 1.009 | 0.95652 | 1.4416 | 0.88393 | 0.72857 | 0.92141 | 0.34286 | 1.4416
5 | 1.0654 | 0.50893 | 0.51429 | 1.1842 | 0.95495 | 0.95652 | 1.4416 | 0.96429 | 0.9 | 0.94335 | 0.50893 | 1.4416
6 | 0.96078 | 0.36607 | 0.25714 | 1.6382 | 1.2703 | 1.2464 | 1.2403 | 0.76786 | 0.57143 | 0.92426 | 0.25714 | 1.6382
7 | 1.0392 | 0.50893 | 0.42857 | 1.3289 | 1.036 | 1.029 | 1.3701 | 0.86607 | 0.81429 | 0.93569 | 0.42857 | 1.3701
8 | 0.72549 | 0.65179 | 0.58571 | 1.3224 | 1.0991 | 1.1159 | 1.2078 | 1.0625 | 1 | 0.97452 | 0.58571 | 1.3224
9 | 1.2484 | 0.55357 | 0.42857 | 1.5197 | 0.85586 | 0.86957 | 1.3961 | 0.66964 | 0.58571 | 0.90301 | 0.42857 | 1.5197
10 | 0.96078 | 0.90179 | 0.71429 | 1.1645 | 0.9009 | 0.86957 | 1.2468 | 0.97321 | 0.91429 | 0.96067 | 0.71429 | 1.2468
11 | 0.94771 | 0.58036 | 0.44286 | 1.3487 | 1.1351 | 1.1449 | 1.2727 | 0.86607 | 0.78571 | 0.94713 | 0.44286 | 1.3487
12 | 1.0392 | 0.625 | 0.55714 | 1.3421 | 0.91892 | 0.98551 | 1.3182 | 0.83929 | 0.87143 | 0.94409 | 0.55714 | 1.3421
13 | 1.1307 | 1.8125 | 1.5571 | 0.63816 | 0.7027 | 0.6087 | 0.74026 | 1.0536 | 0.94286 | 1.0207 | 0.6087 | 1.8125
14 | 0.78431 | 0.5625 | 1.1714 | 1.0987 | 1.036 | 1.6377 | 0.97403 | 0.8125 | 1.4 | 1.053 | 0.5625 | 1.6377
15 | 1.6405 | 1.0536 | 0.6 | 0.97368 | 0.63964 | 0.50725 | 1.2922 | 0.84821 | 0.6 | 0.90612 | 0.50725 | 1.6405
(1) The capacity factor multiplier is used to derive a specific capacity factor from the average capacity factor (by wind class) for each of the nine time slices.
The capacity factor multiplier equals the energy fraction divided by the time fraction for each time slice.
(2) Time Slice Definitions:
Slice | Time Slice (1) 1*: Months; Time Slice (1) 4: Hours; Time Slice (1) 6: Num Hours; Time Slice (1) 8: Num Months | percent of year
1* | Time Slice (1) 1*: June-Sept; Time Slice (1) 4: 7:00-18:00; Time Slice (1) 6: 11; Time Slice (1) 8: 4 | 15.27%
2 | Time Slice (1) 1*: June-Sept; Time Slice (1) 4: 5:00-7:00,18:00-24:00; Time Slice (1) 6: 8; Time Slice (1) 8: 4 | 11.11%
3 | Time Slice (1) 1*: June-Sept; Time Slice (1) 4: 0:00-5:00; Time Slice (1) 6: 5; Time Slice (1) 8: 4 | 6.941%
4 | Time Slice (1) 1*: Dec-March; Time Slice (1) 4: 7:00-18:00; Time Slice (1) 6: 11; Time Slice (1) 8: 4 | 15.27%
5 | Time Slice (1) 1*: Dec-March; Time Slice (1) 4: 5:00-7:00,18:00-24:00; Time Slice (1) 6: 8; Time Slice (1) 8: 4 | 11.11%
6 | Time Slice (1) 1*: Dec-March; Time Slice (1) 4: 0:00-5:00; Time Slice (1) 6: 5; Time Slice (1) 8: 4 | 6.941%
7 | Time Slice (1) 1*: April-May,Oct-Nov; Time Slice (1) 4: 7:00-18:00; Time Slice (1) 6: 11; Time Slice (1) 8: 4 | 15.27%
8 | Time Slice (1) 1*: April-May,Oct-Nov; Time Slice (1) 4: 5:00-7:00,18:00-24:00; Time Slice (1) 6: 8; Time Slice (1) 8: 4 | 11.11%
9 | Time Slice (1) 1*: April-May,Oct-Nov; Time Slice (1) 4: 0:00-5:00; Time Slice (1) 6: 5; Time Slice (1) 8: 4 | 6.941%
* Time slice 1 is defined as the period of "peak" energy demand in NEMS.
Time Fraction
Slice
Region | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
2 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
3 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
4 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
5 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
6 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
7 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
8 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
9 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
10 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
11 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
12 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
13 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
14 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
15 | 0.153 | 0.112 | 0.07 | 0.152 | 0.111 | 0.069 | 0.154 | 0.112 | 0.07 | 1.003
Energy Fraction
Slice
Region | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1 | 0.185 | 0.046 | 0.022 | 0.207 | 0.116 | 0.07 | 0.218 | 0.089 | 0.047 | 1
2 | 0.147 | 0.101 | 0.05 | 0.177 | 0.1 | 0.06 | 0.192 | 0.109 | 0.064 | 1
3 | 0.116 | 0.055 | 0.039 | 0.212 | 0.135 | 0.087 | 0.186 | 0.102 | 0.07 | 1.002
4 | 0.158 | 0.06 | 0.024 | 0.207 | 0.112 | 0.066 | 0.222 | 0.099 | 0.051 | 0.999
5 | 0.163 | 0.057 | 0.036 | 0.18 | 0.106 | 0.066 | 0.222 | 0.108 | 0.063 | 1.001
6 | 0.147 | 0.041 | 0.018 | 0.249 | 0.141 | 0.086 | 0.191 | 0.086 | 0.04 | 0.999
7 | 0.159 | 0.057 | 0.03 | 0.202 | 0.115 | 0.071 | 0.211 | 0.097 | 0.057 | 0.999
8 | 0.111 | 0.073 | 0.041 | 0.201 | 0.122 | 0.077 | 0.186 | 0.119 | 0.07 | 1
9 | 0.191 | 0.062 | 0.03 | 0.231 | 0.095 | 0.06 | 0.215 | 0.075 | 0.041 | 1
10 | 0.147 | 0.101 | 0.05 | 0.177 | 0.1 | 0.06 | 0.192 | 0.109 | 0.064 | 1
11 | 0.145 | 0.065 | 0.031 | 0.205 | 0.126 | 0.079 | 0.196 | 0.097 | 0.055 | 0.999
12 | 0.159 | 0.07 | 0.039 | 0.204 | 0.102 | 0.068 | 0.203 | 0.094 | 0.061 | 1
13 | 0.173 | 0.203 | 0.109 | 0.097 | 0.078 | 0.042 | 0.114 | 0.118 | 0.066 | 1
14 | 0.12 | 0.063 | 0.082 | 0.167 | 0.115 | 0.113 | 0.15 | 0.091 | 0.098 | 0.999
15 | 0.251 | 0.118 | 0.042 | 0.148 | 0.071 | 0.035 | 0.199 | 0.095 | 0.042 | 1.001
| 1 | 0.73203 | 0.45752 | 0.99346 | 0.72549 | 0.45098 | 1.0065 | 0.73203 | 0.45752

## cap facs
Table 7. Wind Average Regional Capacity Factors (1)
AEO99 REFERENCE CASE
Region | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
1 | 0.26 | 0.27 | 0.27 | 0.28 | 0.28 | 0.29 | 0.29 | 0.29 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.33 | 0.33 | 0.34 | 0.34 | 0.35 | 0.35 | 0.35 | 0.36 | 0.36 | 0.37
2 | 0.23 | 0.24 | 0.24 | 0.25 | 0.25 | 0.26 | 0.26 | 0.26 | 0.27 | 0.27 | 0.28 | 0.28 | 0.28 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34
3 | 0.23 | 0.24 | 0.24 | 0.25 | 0.25 | 0.26 | 0.26 | 0.26 | 0.27 | 0.27 | 0.28 | 0.28 | 0.28 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34
4 | 0.23 | 0.24 | 0.24 | 0.25 | 0.25 | 0.26 | 0.26 | 0.26 | 0.27 | 0.27 | 0.27 | 0.28 | 0.28 | 0.29 | 0.29 | 0.29 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.33 | 0.33
5 | 0.26 | 0.27 | 0.27 | 0.28 | 0.28 | 0.29 | 0.29 | 0.29 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.33 | 0.33 | 0.34 | 0.34 | 0.35 | 0.35 | 0.35 | 0.36 | 0.36 | 0.37
6 | 0.26 | 0.27 | 0.27 | 0.28 | 0.28 | 0.29 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.34 | 0.34 | 0.35 | 0.35 | 0.36 | 0.36 | 0.36
7 | 0.29 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.33 | 0.33 | 0.34 | 0.34 | 0.35 | 0.35 | 0.35 | 0.36 | 0.36 | 0.37 | 0.37 | 0.37 | 0.38 | 0.38 | 0.39 | 0.39 | 0.39
8 | 0.23 | 0.24 | 0.24 | 0.25 | 0.25 | 0.26 | 0.26 | 0.26 | 0.27 | 0.27 | 0.28 | 0.28 | 0.28 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34
9 | 0.29 | 0.3 | 0.3 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.34 | 0.34 | 0.35 | 0.35 | 0.36 | 0.36 | 0.36 | 0.37 | 0.37 | 0.38 | 0.38 | 0.35 | 0.36 | 0.36 | 0.37
10 | 0.23 | 0.24 | 0.24 | 0.25 | 0.25 | 0.26 | 0.26 | 0.26 | 0.27 | 0.27 | 0.28 | 0.28 | 0.28 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34
11 | 0.29 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.33 | 0.33 | 0.34 | 0.34 | 0.35 | 0.35 | 0.35 | 0.36 | 0.36 | 0.37 | 0.37 | 0.37 | 0.38 | 0.38 | 0.39 | 0.39 | 0.39
12 | 0.29 | 0.3 | 0.3 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.34 | 0.34 | 0.34 | 0.35 | 0.35 | 0.36 | 0.36 | 0.36 | 0.37 | 0.37 | 0.37 | 0.38 | 0.38 | 0.39 | 0.39 | 0.39
13 | 0.29 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.33 | 0.33 | 0.34 | 0.34 | 0.35 | 0.35 | 0.35 | 0.36 | 0.36 | 0.37 | 0.37 | 0.37 | 0.38 | 0.38 | 0.39 | 0.39 | 0.39
(1) The NEMS Renewable Fuels Module (RFM) estimates a wind capacity factor for each of nine separate
time-of-year slices (2). The average regional capacity factor represents the average of these values, weighted by
the amount of time in each slice.
(2) A time of year slice is defined by one of 3 time-of-day periods and one of 3 month-of-year periods (3 x 3 = 9 slices).
Table 10. Wind Regional Load Capacity Credits (LCC) (1) (2)
AEO99 REFERENCE CASE
Region | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
1 | 0.24 | 0.24 | 0.25 | 0.25 | 0.26 | 0.26 | 0.26 | 0.27 | 0.27 | 0.27 | 0.28 | 0.28 | 0.28 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33
2 | 0.17 | 0.17 | 0.18 | 0.18 | 0.18 | 0.18 | 0.19 | 0.19 | 0.19 | 0.2 | 0.2 | 0.2 | 0.2 | 0.21 | 0.21 | 0.21 | 0.22 | 0.22 | 0.22 | 0.22 | 0.23 | 0.23 | 0.23 | 0.24 | 0.24 | 0.24
3 | 0.13 | 0.14 | 0.14 | 0.14 | 0.14 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.16 | 0.16 | 0.16 | 0.16 | 0.17 | 0.17 | 0.17 | 0.17 | 0.18 | 0.18 | 0.18 | 0.18 | 0.18 | 0.19 | 0.19 | 0.19
4 | 0.18 | 0.19 | 0.19 | 0.19 | 0.2 | 0.2 | 0.2 | 0.2 | 0.21 | 0.21 | 0.21 | 0.22 | 0.22 | 0.22 | 0.23 | 0.23 | 0.23 | 0.24 | 0.24 | 0.24 | 0.24 | 0.25 | 0.25 | 0.25 | 0.26 | 0.26
5 | 0.21 | 0.22 | 0.22 | 0.22 | 0.23 | 0.23 | 0.23 | 0.23 | 0.24 | 0.24 | 0.24 | 0.25 | 0.25 | 0.25 | 0.26 | 0.26 | 0.26 | 0.27 | 0.27 | 0.27 | 0.28 | 0.28 | 0.28 | 0.29 | 0.29 | 0.29
6 | 0.19 | 0.19 | 0.2 | 0.2 | 0.2 | 0.21 | 0.21 | 0.21 | 0.21 | 0.22 | 0.22 | 0.22 | 0.23 | 0.23 | 0.23 | 0.23 | 0.24 | 0.24 | 0.24 | 0.25 | 0.25 | 0.25 | 0.26 | 0.26 | 0.26 | 0.26
7 | 0.23 | 0.23 | 0.24 | 0.24 | 0.24 | 0.25 | 0.25 | 0.25 | 0.26 | 0.26 | 0.26 | 0.26 | 0.27 | 0.27 | 0.27 | 0.28 | 0.28 | 0.28 | 0.29 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31
8 | 0.13 | 0.13 | 0.13 | 0.13 | 0.14 | 0.14 | 0.14 | 0.14 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.16 | 0.16 | 0.16 | 0.16 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.18 | 0.18 | 0.18 | 0.18
9 | 0.27 | 0.28 | 0.28 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.33 | 0.33 | 0.33 | 0.34 | 0.34 | 0.34 | 0.35 | 0.35 | 0.36 | 0.33 | 0.34 | 0.34 | 0.34
10 | 0.17 | 0.17 | 0.18 | 0.18 | 0.18 | 0.18 | 0.19 | 0.19 | 0.19 | 0.2 | 0.2 | 0.2 | 0.2 | 0.21 | 0.21 | 0.21 | 0.22 | 0.22 | 0.22 | 0.22 | 0.23 | 0.23 | 0.23 | 0.24 | 0.24 | 0.24
11 | 0.25 | 0.26 | 0.26 | 0.26 | 0.27 | 0.27 | 0.27 | 0.28 | 0.28 | 0.28 | 0.29 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.33 | 0.34
12 | 0.23 | 0.23 | 0.24 | 0.24 | 0.24 | 0.25 | 0.25 | 0.25 | 0.26 | 0.26 | 0.26 | 0.26 | 0.27 | 0.27 | 0.27 | 0.28 | 0.28 | 0.28 | 0.29 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31
13 | 0.25 | 0.25 | 0.26 | 0.26 | 0.26 | 0.27 | 0.27 | 0.27 | 0.28 | 0.28 | 0.28 | 0.29 | 0.29 | 0.3 | 0.3 | 0.3 | 0.31 | 0.31 | 0.31 | 0.32 | 0.32 | 0.32 | 0.33 | 0.33 | 0.33 | 0.34
(1) LCC represents the reliability benefit from an intermittent resource, expressed as kW of effective load carrying
capability per kW of installed capacity.
(2) LCC equals 75% of the capacity factor of the peak time period for that region.
Ratio of Capacity Credits to Average Capacity Factors
AEO99 REFERENCE CASE
Region | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
1 | 0.92308 | 0.88889 | 0.92593 | 0.89286 | 0.92857 | 0.89655 | 0.89655 | 0.93103 | 0.9 | 0.9 | 0.90323 | 0.90323 | 0.90323 | 0.90625 | 0.90625 | 0.90909 | 0.90909 | 0.90909 | 0.91176 | 0.91176 | 0.88571 | 0.91429 | 0.91429 | 0.88889 | 0.91667 | 0.89189
2 | 0.73913 | 0.70833 | 0.75 | 0.72 | 0.72 | 0.69231 | 0.73077 | 0.73077 | 0.7037 | 0.74074 | 0.71429 | 0.71429 | 0.71429 | 0.72414 | 0.72414 | 0.7 | 0.73333 | 0.73333 | 0.70968 | 0.70968 | 0.71875 | 0.71875 | 0.71875 | 0.72727 | 0.72727 | 0.70588
3 | 0.56522 | 0.58333 | 0.58333 | 0.56 | 0.56 | 0.57692 | 0.57692 | 0.57692 | 0.55556 | 0.55556 | 0.57143 | 0.57143 | 0.57143 | 0.55172 | 0.58621 | 0.56667 | 0.56667 | 0.56667 | 0.58065 | 0.58065 | 0.5625 | 0.5625 | 0.5625 | 0.57576 | 0.57576 | 0.55882
4 | 0.78261 | 0.79167 | 0.79167 | 0.76 | 0.8 | 0.76923 | 0.76923 | 0.76923 | 0.77778 | 0.77778 | 0.77778 | 0.78571 | 0.78571 | 0.75862 | 0.7931 | 0.7931 | 0.76667 | 0.8 | 0.77419 | 0.77419 | 0.77419 | 0.78125 | 0.78125 | 0.75758 | 0.78788 | 0.78788
5 | 0.80769 | 0.81481 | 0.81481 | 0.78571 | 0.82143 | 0.7931 | 0.7931 | 0.7931 | 0.8 | 0.8 | 0.77419 | 0.80645 | 0.80645 | 0.78125 | 0.8125 | 0.78788 | 0.78788 | 0.81818 | 0.79412 | 0.79412 | 0.8 | 0.8 | 0.8 | 0.80556 | 0.80556 | 0.78378
6 | 0.73077 | 0.7037 | 0.74074 | 0.71429 | 0.71429 | 0.72414 | 0.72414 | 0.72414 | 0.7 | 0.73333 | 0.73333 | 0.70968 | 0.74194 | 0.71875 | 0.71875 | 0.71875 | 0.72727 | 0.72727 | 0.70588 | 0.73529 | 0.73529 | 0.71429 | 0.74286 | 0.72222 | 0.72222 | 0.72222
7 | 0.7931 | 0.76667 | 0.8 | 0.77419 | 0.77419 | 0.80645 | 0.78125 | 0.78125 | 0.78788 | 0.78788 | 0.78788 | 0.76471 | 0.79412 | 0.77143 | 0.77143 | 0.8 | 0.77778 | 0.77778 | 0.78378 | 0.78378 | 0.78378 | 0.78947 | 0.78947 | 0.76923 | 0.79487 | 0.79487
8 | 0.56522 | 0.54167 | 0.54167 | 0.52 | 0.56 | 0.53846 | 0.53846 | 0.53846 | 0.55556 | 0.55556 | 0.53571 | 0.53571 | 0.53571 | 0.55172 | 0.55172 | 0.53333 | 0.53333 | 0.56667 | 0.54839 | 0.54839 | 0.53125 | 0.53125 | 0.5625 | 0.54545 | 0.54545 | 0.52941
9 | 0.93103 | 0.93333 | 0.93333 | 0.93548 | 0.93548 | 0.9375 | 0.9375 | 0.9375 | 0.93939 | 0.93939 | 0.91176 | 0.94118 | 0.94118 | 0.94286 | 0.94286 | 0.91667 | 0.94444 | 0.94444 | 0.91892 | 0.94595 | 0.92105 | 0.94737 | 0.94286 | 0.94444 | 0.94444 | 0.91892
10 | 0.73913 | 0.70833 | 0.75 | 0.72 | 0.72 | 0.69231 | 0.73077 | 0.73077 | 0.7037 | 0.74074 | 0.71429 | 0.71429 | 0.71429 | 0.72414 | 0.72414 | 0.7 | 0.73333 | 0.73333 | 0.70968 | 0.70968 | 0.71875 | 0.71875 | 0.71875 | 0.72727 | 0.72727 | 0.70588
11 | 0.86207 | 0.86667 | 0.86667 | 0.83871 | 0.87097 | 0.87097 | 0.84375 | 0.875 | 0.84848 | 0.84848 | 0.87879 | 0.85294 | 0.85294 | 0.85714 | 0.85714 | 0.85714 | 0.86111 | 0.86111 | 0.83784 | 0.86486 | 0.86486 | 0.84211 | 0.86842 | 0.84615 | 0.84615 | 0.87179
12 | 0.7931 | 0.76667 | 0.8 | 0.77419 | 0.77419 | 0.78125 | 0.78125 | 0.78125 | 0.78788 | 0.78788 | 0.76471 | 0.76471 | 0.79412 | 0.77143 | 0.77143 | 0.77778 | 0.77778 | 0.77778 | 0.78378 | 0.78378 | 0.78378 | 0.78947 | 0.78947 | 0.76923 | 0.79487 | 0.79487
13 | 0.86207 | 0.83333 | 0.86667 | 0.83871 | 0.83871 | 0.87097 | 0.84375 | 0.84375 | 0.84848 | 0.84848 | 0.84848 | 0.85294 | 0.85294 | 0.85714 | 0.85714 | 0.85714 | 0.86111 | 0.86111 | 0.83784 | 0.86486 | 0.86486 | 0.84211 | 0.86842 | 0.84615 | 0.84615 | 0.87179

## capacity through time
Table 14. Total Installed Wind Capacity through Time (GW)1
WIND PARAMETER SENSITIVITY SCENARIOS
|  |  | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
0 | 0 | basecase | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.69 | 2.69 | 2.72 | 2.75 | 2.78 | 2.83
5e | 1 | negated long-term supply curve (regional) | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.69 | 2.7 | 2.73 | 2.76 | 2.78 | 2.85
5d | 2 | negated short-term supply curve (national) | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.69 | 2.71 | 2.75 | 2.81 | 2.87 | 2.95
5f | 12 | negated long and short-term supply curves | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.7 | 2.73 | 2.76 | 2.81 | 2.89 | 2.97
7a | 3 | negated regional deployment limit | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.69 | 2.7 | 2.73 | 2.76 | 2.79 | 2.84
2a | 4a | raised CC scaling factor (1.0) | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.69 | 2.69 | 2.71 | 2.75 | 2.79 | 2.85 | 2.9 | 2.93 | 3
2b | 4b | lowered CC scaling factor (0.0) | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68
2c | 4c | raised CC scaling factor (1.25) | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.69 | 2.7 | 2.71 | 2.72 | 2.77 | 2.81 | 2.88 | 2.94 | 3.01 | 3.13 | 3.25 | 3.41
4a | 5a | raised intermittent generation limit (1.0) | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.69 | 2.7 | 2.72 | 2.75 | 2.79 | 2.83
4b | 5b | lowered intermittent generation limit (0.0) | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.69 | 2.69 | 2.73 | 2.76 | 2.78 | 2.82
6 | 7 | negated learning by doing | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.69 | 2.7 | 2.73 | 2.77 | 2.81 | 2.86 | 2.9
2457 | 12345 | 1, 2, 3, 4c, 5 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.68 | 2.69 | 2.7 | 2.71 | 2.75 | 2.79 | 2.84 | 2.89 | 2.94 | 3.01 | 3.13 | 3.26 | 3.42
1a | 8 | lowered capital cost by 50% | 2.7 | 2.73 | 3.04 | 3.53 | 3.98 | 4.44 | 5.02 | 5.59 | 6.22 | 6.94 | 7.7 | 8.71 | 9.86 | 10.98 | 12.04 | 13.39 | 14.84 | 16.31 | 17.87 | 19.89 | 22.43
Indexed Capacity (case 0 capacity = 1.0)
0 | 0 | basecase | bar: 2000 to 2020
5e | 1 | negated long-term supply curve (regional) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0037 | 1.0037 | 1.0036 | 1 | 1.0071
5d | 2 | negated short-term supply curve (national) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0074 | 1.011 | 1.0218 | 1.0324 | 1.0424
5f | 12 | negated long and short-term supply curves | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0037 | 1.0149 | 1.0147 | 1.0218 | 1.0396 | 1.0495
7a | 3 | negated regional deployment limit | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0037 | 1.0037 | 1.0036 | 1.0036 | 1.0035
2a | 4a | raised CC scaling factor (1.0) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0037 | 1.0037 | 1.0112 | 1.0223 | 1.0372 | 1.0478 | 1.0545 | 1.054 | 1.0601
2b | 4b | lowered CC scaling factor (0.0) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.99628 | 0.99628 | 0.98529 | 0.97455 | 0.96403 | 0.947
2c | 4c | raised CC scaling factor (1.25) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0037 | 1.0075 | 1.0112 | 1.0149 | 1.0336 | 1.0485 | 1.0706 | 1.0929 | 1.1066 | 1.1382 | 1.1691 | 1.2049
4a | 5a | raised intermittent generation limit (1.0) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0037 | 1 | 1 | 1.0036 | 1
4b | 5b | lowered intermittent generation limit (0.0) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0037 | 1.0036 | 1 | 0.99647
6 | 7 | negated learning by doing | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0037 | 1.0037 | 1.0149 | 1.0184 | 1.0218 | 1.0288 | 1.0247
2457 | 12345 | 1, 2, 3, 4c, 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.0037 | 1.0075 | 1.0112 | 1.0261 | 1.041 | 1.0597 | 1.0743 | 1.0929 | 1.1066 | 1.1382 | 1.1727 | 1.2085
1a | 8 | lowered capital cost by 50% | 1.0075 | 1.0187 | 1.1343 | 1.3172 | 1.4851 | 1.6567 | 1.8731 | 2.0858 | 2.3209 | 2.5896 | 2.8731 | 3.25 | 3.6791 | 4.097 | 4.4925 | 4.9777 | 5.5167 | 5.9963 | 6.4982 | 7.1547 | 7.9258
1In all cases, all wind planned additions with online years after the year 1999 are removed from the forecast (≈700MW).
Table 15. Indexed Total Installed Wind Capacity through Time1
WIND PARAMETER SENSITIVITY SCENARIOS
|  |  | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
15e | 81 | 8 and 1 | 2.7 | 2.73 | 3.04 | 3.53 | 3.97 | 4.46 | 5.02 | 5.6 | 6.23 | 6.96 | 7.74 | 8.73 | 9.62 | 10.68 | 11.82 | 13.19 | 14.58 | 16.02 | 17.74 | 19.74 | 22.01
15d | 82 | 8 and 2 | 2.71 | 2.79 | 3.52 | 4.52 | 6.22 | 8.31 | 10.17 | 11.29 | 12.47 | 13.53 | 15.61 | 18.14 | 21.58 | 24.44 | 27.72 | 30.62 | 34.35 | 37.49 | 40.38 | 43.51 | 46.74
15f | 812 | 8 and 12 | 2.71 | 2.79 | 3.37 | 4.38 | 5.64 | 7.38 | 9.78 | 11.49 | 13.04 | 14.47 | 16.76 | 19.48 | 22.68 | 26.68 | 29.67 | 32.85 | 36.6 | 40.91 | 45.48 | 48.61 | 52.36
17a | 83 | 8 and 3 | 2.7 | 2.73 | 3.03 | 3.57 | 4.01 | 4.47 | 4.98 | 5.56 | 6.2 | 6.93 | 7.84 | 8.86 | 10 | 11.11 | 12.29 | 13.68 | 15.07 | 16.96 | 18.4 | 20.7 | 22.8
12a | 84a | 8 and 4a | 2.74 | 2.77 | 3.14 | 3.64 | 4.12 | 4.6 | 5.11 | 5.7 | 6.26 | 6.93 | 7.71 | 8.6 | 9.73 | 10.87 | 12.08 | 13.38 | 14.98 | 16.58 | 18.35 | 20.63 | 23.25
12b | 84b | 8 and 4b | 2.68 | 2.7 | 2.89 | 3.43 | 3.89 | 4.14 | 4.51 | 5.02 | 5.32 | 5.67 | 6.18 | 7.06 | 7.99 | 9.02 | 10.12 | 11.36 | 12.61 | 13.92 | 15.39 | 17.19 | 18.8
12c | 84b | 8 and 4c | 2.74 | 2.77 | 3.17 | 3.67 | 4.16 | 4.67 | 5.2 | 5.8 | 6.38 | 7.04 | 7.84 | 8.72 | 9.71 | 11.04 | 12.26 | 13.67 | 15.31 | 17.04 | 19.15 | 21.27 | 24.03
14a | 85 | 8 and 5 | 2.7 | 2.73 | 3.03 | 3.57 | 4.01 | 4.47 | 4.96 | 5.54 | 6.18 | 6.91 | 7.83 | 8.82 | 9.92 | 11.22 | 12.65 | 14.27 | 16.04 | 17.59 | 19.37 | 21.83 | 24.62
16 | 87 | 8 and 7 | 2.81 | 3.02 | 3.44 | 3.94 | 4.46 | 4.99 | 5.65 | 6.22 | 6.79 | 7.52 | 8.32 | 9.2 | 10.25 | 11.37 | 12.64 | 13.86 | 15.15 | 16.68 | 18.41 | 20.05 | 21.94
12457 | 123458 | 1, 2, 3, 4c, 5 and 8 | 2.74 | 2.77 | 3.19 | 7.26 | 13.03 | 18.96 | 22.71 | 24.7 | 27.2 | 30.88 | 38.05 | 47.18 | 55.56 | 70.23 | 79.51 | 97.79 | 109.7 | 117 | 130.3 | 139.8 | 151.9
Indexed Capacity (case 0 capacity = 1.0)
15e | 81 | 8 and 1 | 1.0075 | 1.0187 | 1.1343 | 1.3172 | 1.4813 | 1.6642 | 1.8731 | 2.0896 | 2.3246 | 2.597 | 2.8881 | 3.2575 | 3.5896 | 3.9851 | 4.4104 | 4.9033 | 5.4201 | 5.8897 | 6.4509 | 7.1007 | 7.7774
15d | 82 | 8 and 2 | 1.0112 | 1.041 | 1.3134 | 1.6866 | 2.3209 | 3.1007 | 3.7948 | 4.2127 | 4.653 | 5.0485 | 5.8246 | 6.7687 | 8.0522 | 9.1194 | 10.3433 | 11.3829 | 12.7695 | 13.7831 | 14.6836 | 15.6511 | 16.5159
15f | 812 | 8 and 12 | 1.0112 | 1.041 | 1.2575 | 1.6343 | 2.1045 | 2.7537 | 3.6493 | 4.2873 | 4.8657 | 5.3993 | 6.2537 | 7.2687 | 8.4627 | 9.9552 | 11.0709 | 12.2119 | 13.6059 | 15.0404 | 16.5382 | 17.4856 | 18.5018
17a | 83 | 8 and 3 | 1.0075 | 1.0187 | 1.1306 | 1.3321 | 1.4963 | 1.6679 | 1.8582 | 2.0746 | 2.3134 | 2.5858 | 2.9254 | 3.306 | 3.7313 | 4.1455 | 4.5858 | 5.0855 | 5.6022 | 6.2353 | 6.6909 | 7.446 | 8.0565
12a | 84a | 8 and 4a | 1.0224 | 1.0336 | 1.1716 | 1.3582 | 1.5373 | 1.7164 | 1.9067 | 2.1269 | 2.3358 | 2.5858 | 2.8769 | 3.209 | 3.6306 | 4.056 | 4.5075 | 4.974 | 5.5688 | 6.0956 | 6.6727 | 7.4209 | 8.2155
0 | 84b | 8 and 4b | 1 | 1.0075 | 1.0784 | 1.2799 | 1.4515 | 1.5448 | 1.6828 | 1.8731 | 1.9851 | 2.1157 | 2.306 | 2.6343 | 2.9813 | 3.3657 | 3.7761 | 4.223 | 4.6877 | 5.1176 | 5.5964 | 6.1835 | 6.6431
12c | 84b | 8 and 4c | 1.0224 | 1.0336 | 1.1828 | 1.3694 | 1.5522 | 1.7425 | 1.9403 | 2.1642 | 2.3806 | 2.6269 | 2.9254 | 3.2537 | 3.6231 | 4.1194 | 4.5746 | 5.0818 | 5.6914 | 6.2647 | 6.9636 | 7.6511 | 8.4912
14a | 85 | 8 and 5 | 1.0075 | 1.0187 | 1.1306 | 1.3321 | 1.4963 | 1.6679 | 1.8507 | 2.0672 | 2.306 | 2.5784 | 2.9216 | 3.291 | 3.7015 | 4.1866 | 4.7201 | 5.3048 | 5.9628 | 6.4669 | 7.0436 | 7.8525 | 8.6996
16 | 87 | 8 and 7 | 1.0485 | 1.1269 | 1.2836 | 1.4701 | 1.6642 | 1.8619 | 2.1082 | 2.3209 | 2.5336 | 2.806 | 3.1045 | 3.4328 | 3.8246 | 4.2425 | 4.7164 | 5.1524 | 5.632 | 6.1324 | 6.6945 | 7.2122 | 7.7527
12457 | 123458 | 1, 2, 3, 4c, 5 and 8 | 1.0224 | 1.0336 | 1.1903 | 2.709 | 4.8619 | 7.0746 | 8.4739 | 9.2164 | 10.1493 | 11.5224 | 14.1978 | 17.6045 | 20.7313 | 26.2052 | 29.6679 | 36.3532 | 40.7807 | 43.0147 | 47.3818 | 50.2878 | 53.6749
Indexed Capacity (case 1a capacity = 1.0)
1a | 8 | lowered capital cost by 50% | bar: 2000 to 2020
15e | 81 | 8 and 1 | 1 | 1 | 1 | 1 | 0.99749 | 1.0045 | 1 | 1.0018 | 1.0016 | 1.0029 | 1.0052 | 1.0023 | 0.97566 | 0.97268 | 0.98173 | 0.98506 | 0.98248 | 0.98222 | 0.99273 | 0.99246 | 0.98128
15d | 82 | 8 and 2 | 1.0037 | 1.022 | 1.1579 | 1.2805 | 1.5628 | 1.8716 | 2.0259 | 2.0197 | 2.0048 | 1.9496 | 2.0273 | 2.0827 | 2.1886 | 2.2259 | 2.3023 | 2.2868 | 2.3147 | 2.2986 | 2.2597 | 2.1875 | 2.0838
15f | 812 | 8 and 12 | 1.0037 | 1.022 | 1.1086 | 1.2408 | 1.4171 | 1.6622 | 1.9482 | 2.0555 | 2.0965 | 2.085 | 2.1766 | 2.2365 | 2.3002 | 2.4299 | 2.4643 | 2.4533 | 2.4663 | 2.5083 | 2.545 | 2.4439 | 2.3344
17a | 83 | 8 and 3 | 1 | 1 | 0.99671 | 1.0113 | 1.0075 | 1.0068 | 0.99203 | 0.99463 | 0.99678 | 0.99856 | 1.0182 | 1.0172 | 1.0142 | 1.0118 | 1.0208 | 1.0217 | 1.0155 | 1.0399 | 1.0297 | 1.0407 | 1.0165
12a | 84a | 8 and 4a | 1.0148 | 1.0147 | 1.0329 | 1.0312 | 1.0352 | 1.036 | 1.0179 | 1.0197 | 1.0064 | 0.99856 | 1.0013 | 0.98737 | 0.98682 | 0.98998 | 1.0033 | 0.99925 | 1.0094 | 1.0166 | 1.0269 | 1.0372 | 1.0366
15d | 84b | 8 and 4b | 0.99259 | 0.98901 | 0.95066 | 0.97167 | 0.97739 | 0.93243 | 0.89841 | 0.89803 | 0.85531 | 0.817 | 0.8026 | 0.81056 | 0.81034 | 0.82149 | 0.84053 | 0.84839 | 0.84973 | 0.85346 | 0.86122 | 0.86425 | 0.83816
12c | 84b | 8 and 4c | 1.0148 | 1.0147 | 1.0428 | 1.0397 | 1.0452 | 1.0518 | 1.0359 | 1.0376 | 1.0257 | 1.0144 | 1.0182 | 1.0011 | 0.98479 | 1.0055 | 1.0183 | 1.0209 | 1.0317 | 1.0448 | 1.0716 | 1.0694 | 1.0713
14a | 85 | 8 and 5 | 1 | 1 | 0.99671 | 1.0113 | 1.0075 | 1.0068 | 0.98805 | 0.99106 | 0.99357 | 0.99568 | 1.0169 | 1.0126 | 1.0061 | 1.0219 | 1.0507 | 1.0657 | 1.0809 | 1.0785 | 1.0839 | 1.0975 | 1.0976
16 | 87 | 8 and 7 | 1.0407 | 1.1062 | 1.1316 | 1.1161 | 1.1206 | 1.1239 | 1.1255 | 1.1127 | 1.0916 | 1.0836 | 1.0805 | 1.0563 | 1.0396 | 1.0355 | 1.0498 | 1.0351 | 1.0209 | 1.0227 | 1.0302 | 1.008 | 0.97815
12457 | 123458 | 1, 2, 3, 4c, 5 and 8 | 1.0148 | 1.0147 | 1.0493 | 2.0567 | 3.2739 | 4.2703 | 4.5239 | 4.4186 | 4.373 | 4.4496 | 4.9416 | 5.4168 | 5.6349 | 6.3962 | 6.6038 | 7.3032 | 7.3922 | 7.1735 | 7.2916 | 7.0287 | 6.7722
1In all cases, all wind planned additions with online years after the year 1999 are removed from the forecast (≈700MW).

## learning factors
|  | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
0 | basecase | 1.43 | 1.43 | 1.43 | 1.31 | 1.13 | 1 | 1 | 0.99 | 0.99 | 0.99 | 0.98 | 0.98 | 0.98 | 0.98 | 0.97 | 0.97 | 0.97 | 0.97 | 0.96 | 0.96 | 0.96 | 0.96 | 0.95 | 0.95 | 0.95 | 0.95
2457 | super case (2c+4a+5c+7a) | 1.43 | 1.43 | 1.43 | 1.31 | 1.13 | 1 | 1 | 0.99 | 0.99 | 0.99 | 0.98 | 0.98 | 0.98 | 0.98 | 0.97 | 0.97 | 0.97 | 0.96 | 0.96 | 0.96 | 0.95 | 0.95 | 0.95 | 0.94 | 0.94 | 0.93
1a | lowered capital cost by 50% | 1.43 | 1.43 | 1.43 | 1.31 | 1.13 | 1 | 0.99 | 0.99 | 0.97 | 0.95 | 0.93 | 0.92 | 0.91 | 0.9 | 0.89 | 0.88 | 0.87 | 0.86 | 0.85 | 0.84 | 0.84 | 0.83 | 0.82 | 0.82 | 0.81 | 0.8
12457 | supercase + lowered cap cost | 1.43 | 1.43 | 1.43 | 1.31 | 1.13 | 1 | 0.99 | 0.99 | 0.96 | 0.88 | 0.83 | 0.81 | 0.8 | 0.79 | 0.79 | 0.78 | 0.77 | 0.75 | 0.74 | 0.73 | 0.72 | 0.71 | 0.71 | 0.7 | 0.7 | 0.69