## QP List
Room Air Cleaners Product List
List Current as of January 28, 2009
* Disclaimer: Clean Air Delivery Rate (CADR) is a measure of the amount of contaminant-free air delivered by the room air cleaner. The ENERGY STAR specification requires that manufacturers measure CADR according to AHAM/ANSI AC-1-2002, a test procedure developed by the Association of Home Appliance Manufacturers (AHAM), and recognized by the American National Standards Institute (ANSI). For more information about CADR please visit : www.cadr.org When considering the purchase of an ENERGY STAR qualified room air cleaner, the comparison should not solely be based on CADR. The CADR of a specific air cleaner model is affected by a number of factors included the size of the model; larger units often have higher CADRs. For more information on the appropriate sized room air cleaner for your application please refer to individual manufacturer web sites or ask your retailer.
Manufacturer Name | Brand/Model Name | Model Number | Dust CADR | Tobacco Smoke CADR | Pollen CADR | Dust CADR/Watt | Date Available on the Market
3M Company | Filtrete | FAP00 | 51 | 67 | 58 | 2.19 | 2008-09-01
Access Business Group | Atmosphere | 101076 | 259 | 250 | 261 | 4.3 | 2005-07-01
Access Business Group | Atmosphere | 102858 | 259 | 250 | 261 | 4.3 | 2005-07-01
Alen Corporation | A350 | A350 | 217 | 201 | 216 | 2.33 | Currently
Blueair Inc. | Blueair | 201 | 134 | 128 | 139.2 | 2.48 | 2005-04-01
Blueair Inc. | Blueair | 402 | 250 | 240 | 255 | 4.545 | Currently
Blueair Inc. | Blueair | 501 | 377 | 388 | 378 | 3.968 | Currently
Blueair Inc. | Blueair | 601 | ≥400 | 438 | ≥450 | ≥3.33 | Currently
Blueair Inc. | Blueair | ECO 10 | 196.6 | 192.3 | 205.1 | 19.66 | 2007-09-01
Friedrich A/C Co. | Friedrich A/C Co. | C90B | 384 | 326 | 421 | 4.27 | 2006-01-01
GD Midea Environment Appliances MFG, Co. Ltd. | Midea | KJ25FE-A | 233.2 | 170 | 168 | 2.42 | 2008-10-01
Hamilton Beach/Proctor-Silex, Inc. | True Air | 4492 | 120.7 | 113.8 | 131.2 | 2.28 | 2006-05-01
Hamilton Beach/Proctor-Silex, Inc. | True Air | 4494 | 120.7 | 113.8 | 131.2 | 2.28 | 2006-05-01
Hamilton Beach/Proctor-Silex, Inc. | True Air | 4491 | 126.4 | 114.4 | 136.2 | 2.48 | 2006-07-01
Headwaters | Brookstone | 561274 | 225.2 | 176 | 236.8 | 6.6 | 2007-04-01
Headwaters | Filterstream | A550 | 225.2 | 176 | 236.8 | 6.6 | 2007-04-01
Hunter Fan Co. | Hunter | 30245 | 220 | 221 | 211 | 2.22 | 2006-02-01
Hunter Fan Co. | Hunter | 30525 | 272 | 263 | 275 | 2.32 | 2006-02-01
Hunter Fan Co. | Hunter | 30547 | 350 | 329 | 373 | 2.26 | 2006-02-01
Hunter Fan Co. | Hunter | 30785 | 229 | 201 | 253 | 2.36 | Currently
Kaz Inc. | Enviracaire | 60000 | 80 | 100 | 80 | 2.1 | Currently
Kaz Inc. | Honeywell | HFD-100 | 80 | 100 | 80 | 2.1 | Currently
Kaz Inc. | Honeywell | HFD-120 | 116.5 | 134.3 | 151.6 | 2.09 | 2005-12-01
Kaz Inc. | Honeywell | HFD-120-Q | 110.7 | 120.7 | 145 | 2.56 | 2006-08-01
Kaz Inc. | Honeywell | HFD-110 | 66.4 | 81 | 105.7 | 2.26 | 2008-12-01
Nano Biothys Co., Ltd. | Zalmandn | NBA-700A | 424.8 | 393.6 | 434.4 | 5.17 | 2005-06-01
Nikken Inc. | Airwellness Power 5 Pro | Airwellness Power 5 Pro | 199.6 | 198.9 | 210.4 | 4.13 | 2008-02-22
Ionic Pro, LLC | PurePro, LLC | PP200 | 127.3 | 101.9 | 197.1 | 2.89 | 2006-08-10
Ionic Pro, LLC | Therapure | TPP201M | 137.8 | 123.3 | 147.2 | 2.04 | 2007-12-01
Ionic Pro, LLC | PurePro, LLC | PP200T | 119.7 | 102 | 112.1 | 4.99 | 2007-12-25
Rabbit Air | Minus A2 | AP-1004 | 199.2 | 193 | 201.3 | 4.24 | 2007-03-15
Sharp Corporation | Sharp | KC-C70U | 115 | 115 | 120 | 3.28 | 2007-11-01
Sharp Corporation | Sharp | KC-C150U | 230 | 224 | 245 | 2.42 | 2007-11-01
Sharp Corporation | Sharp | KC-C100U | 164 | 164 | 174 | 3.28 | 2007-11-01
Sharp Corporation | Sharp | FP-N60X | 209 | 213 | 205 | 3.9 | Currently
Sharp Corporation | Sharp | FP-P35CX | 150 | 147 | 155 | 4.3 | 2007-01-15
Sharp Corporation | Sharp | FP-P40CX | 157 | 163 | 156 | 3.14 | 2005-01-31
Sharp Corporation | Sharp | FP-P60CX | 209 | 213 | 205 | 2.9 | 2006-09-27
Sharp Corporation | Sharp | FP-R30CX | 96 | 83 | 94 | 3.3 | 2005-05-01
Sharp Corporation | Sharp | FP-R45CX | 157 | 163 | 156 | 3.14 | 2005-01-31
Sharp Corporation | Sharp | FP-R65CX | 209 | 213 | 205 | 2.98 | 2005-07-01
Sunbeam Products, Inc. dba Jarden Consumer Solutions | Bionaire | BAP 725-CN | 174 | 160.4 | 152.3 | 2.15 | 2005-08-01
Sunbeam Products, Inc. dba Jarden Consumer Solutions | Bionaire | BAP 750-CN | 275.6 | 270.7 | 244.3 | 2.37 | 2005-08-01
Sunbeam Products, Inc. dba Jarden Consumer Solutions | Holmes | HAP 725-4 | 174 | 160.4 | 152.3 | 2.15 | Currently
Sunbeam Products, Inc. dba Jarden Consumer Solutions | Bionaire | BAP 1250-CN | 275.6 | 270.7 | 244.3 | 2.37 | Currently
Sunbeam Products, Inc. dba Jarden Consumer Solutions | Bionaire | BAP 1250-U | 275.6 | 270.7 | 244.3 | 2.37 | Currently
Sunbeam Products, Inc. dba Jarden Consumer Solutions | Bionaire | BAP 1225-CN | 174 | 160.4 | 152.3 | 2.16 | Currently
Sunbeam Products, Inc. dba Jarden Consumer Solutions | Bionaire | BAP 1225-U | 174 | 160.4 | 152.3 | 2.16 | Currently
Sunbeam Products, Inc. dba Jarden Consumer Solutions | Holmes | HAP 1625 | 174 | 160.4 | 152.3 | 2.15 | Currently
Sunbeam Products, Inc. dba Jarden Consumer Solutions | Holmes | HAP 750-U | 275.6 | 270.7 | 244.3 | 2.37 | Currently
Sunbeam Products, Inc. dba Jarden Consumer Solutions | Holmes | HAP8756-U | 275 | 270 | 230 | 2.39 | 2008-09-01
Sunbeam Products, Inc. dba Jarden Consumer Solutions | Holmes | HAP650-U | 275.6 | 270.7 | 244.3 | 2.37 | Currently
The Sharper Image | Hybrid GP | SI724 | 175 | 141 | 192 | 15.2348 | 2006-03-01
Vornado Air, LLC | AQS 500 | AQS 500 | 153.2 | 102.2 | 185.1 | 3.36 | 2007-12-01
Whirlpool Corporation | Whirlpool | AP25030S | 200 | 200 | 200 | 3.66 | 2004-08-01
Whirlpool Corporation | Whirlpool | AP45030S | 330 | 320 | 330 | 3.26 | 2004-08-01
Whirlpool Corporation | Whirlpool | AP51030S | 335 | 335 | 290 | 3.06 | 2004-08-01
Winix Inc. | Electrolux | EL490A | 211.8 | 210.4 | 229.4 | 3.2 | 2008-02-01
Winix Inc. | Ricaar | RAPL | 182 | 183 | 194 | 2.8 | 2006-06-01
Winix Inc. | Ricaar | RAPM | 142 | 138 | 145 | 3.3 | 2006-06-01
Winix Inc. | Olimpia Splendid | AURA | 182 | 183 | 194 | 2.8 | 2006-10-01
Winix Inc. | Simplicity | HHPL | 182 | 183 | 194 | 2.8 | 2006-06-01
Winix Inc. | Winix | WAC-5000 | 184 | 175 | 197 | 2.8 | 2005-10-01
Winix Inc. | Winix | WAC-5000B | 184 | 175 | 197 | 2.8 | 2006-05-01
Winix Inc. | Winix | WAC-5000S | 126 | 117 | 138 | 2.9 | 2005-10-01
Winix Inc. | Winix | WAC-8000 | 182 | 183 | 194 | 2.8 | 2005-03-01
Winix Inc. | Winix | WAC-8000S | 142 | 138 | 145 | 3.3 | 2005-03-01
Winix Inc. | Winix | WAC-9000 | 182 | 183 | 194 | 2.8 | 2005-10-01
Winix Inc. | Winix | WAC-9000S | 142 | 138 | 145 | 3.3 | 2005-10-01
Woongjin Coway Co., Ltd. | Coway, Cairs | AP-1008DH | 187.1 | 177.5 | 197 | 3.98 | 2008-10-10
Woongjin Coway Co., Ltd. | Coway, Cairs | AP-1008BH | 187.1 | 177.5 | 197 | 3.98 | 2008-10-10
Woongjin Coway Co., Ltd. | Coway, Cairs | AP-1008CH | 187.1 | 177.5 | 197 | 3.98 | 2008-10-01
Woongjin Coway Co., Ltd. | Coway, Cairs | AP-1506DH | 257.8 | 261 | 261.4 | 5.5 | 2008-10-11
Woongjin Coway Co., Ltd. | Coway, Cairs, Idylis | IAP-10-200 | 250.8 | 237.9 | 245.6 | 2.84 | Currently
Woongjin Coway Co., Ltd. | Coway, Cairs, Idylis | IAP-10-280 | 289.4 | 282.3 | 272.6 | 2.88 | Currently
Woongjin Coway Co., Ltd. | GE | AFHC32AM | 334 | 321 | 326 | 3.8 | 2009-03-01
Woongjin Coway Co., Ltd. | GE | AFHC21AM | 229 | 211 | 239 | 2.7 | 2009-03-01
Woongjin Coway Co., Ltd. | GE | AFHC09AM | 109 | 88 | 121 | 2.5 | 2009-03-01