# Technology Resource Guide for Bariatric Patients

By

Andrea Baptiste, MA, CIE 
Valerie Kelleher
Audrey Nelson, PhD, RN, FAAN 
Guy Fragala, PhD, PE, CSP 
Rick Chance 
Mark Carver 
Janice Belwood, ARNP

This resource guide is meant to provide some information on existing technology and manufacturers that offer assistance. However these categories do not include other bariatric accessories such as blood pressure cuffs, gowns, and abdominal binders.  Not all types of equipment are included but the ones most relevant to patient handling. Our research thus far includes the following categories:

- Ambulatory/Mobility Aids

- Bathing Equipment

- Beds/Mattresses/Transportation

- Ceiling Lifts

- Commodes/Shower Chairs

- Lateral Transfer Aids

- Repositioning Systems

- Powered Lifts

- Standing Assist Aids

- Transfer/Dependency Chairs and Cushions

- Wheelchairs

# Bariatric Equipment Guide

# Ambulatory/Mobility Aids

| Product | Description | Key Advantage |
| --- | --- | --- |
| Hill-Rom Walker | Walker | Capacity up to 800 lbs. |
| Liko Viking XL | Mobile Floor Lift | Available with bariatric lift pants and arm rests for maneuverability when ambulating. 660 lb. capacity. |
| Liko Ultra Twin | Gantry Style Overhead | Dual motor design permits easy positioning of patient for comfort and security. 1,100 lb. capacity. |
| Medline Bariatric Heavy Duty Walker | Walker | Over the toilet design, folds to 4.25” for storage or transporting |
| Sizeright Walking Aids | Walker | “Tube in tube” construction for added strength. Weight capacity from 500 to 850 lbs. |
| SIZEWise Rentals Bari-Walker | Walker | Weight capacity 750 lbs. |
| Sten-Barr Bariatric Walker | Walker | Specifically designed for obese patients. Weight capacity up to 850 lbs. |
| TFI Healthcare Walker | Walker | Folds to 4.25” for storage or transporting. |
| TriLine Bari Walker | Adjustable walker from 31-39” in 1” increments. | 750 lb. capacity |

Bathing Equipment (Other)
(also see Commodes/Shower Chairs)

| Product | Description | Key Advantage |
| --- | --- | --- |
| Amplestuff Heavy Duty Bath Bench | Bath Bench | Reinforced legs 20”x16.” Capacity 500 lbs. |
| Andermac Lift and Transport System | When lifted, transported, weight or bathed, the patient is resting on a “hammock” created by a custom sheet and nestled in the frame. | Four pieces of equipment in one—a bather, bed scale, transportation system and power patient lift. Up to 800 lb. capacity. |
| Broda Seating Bari385 Transport Commode Shower Chair | Suspension system and individually-conforming straps eliminate patient discomfort from bottoming out. 65 back recline position allows access to the midsection to permit cleaning of hard-to-reach areas under abdomen and perineal area. | Reduces heat and moisture build up that lead to skin break down. |
| Convaquip Bariatric Bath Seats | Assists residents getting into tub. | Certified for 850 lbs. |
| Liko Viking XL | Mobile Floor Lift | Electrically adjustable base permits easier access to tubs and showers. 660 lb. capacity. |
| Liko Ultra Twin | Gantry Style Overhead | Can be installed directly over tub for precise positioning of patients. 1,100 lb. capacity. |
| Medline Bariatric Bath Bench | Provides bath seating for clients up to 500 lbs. | Blow molded seat adds strength without adding weight to product. |
| Sizeright Tub Transfer Bench | Designed to fit standard bathtubs. | Weight capacity ranges between 650 and 850 lbs. |
| Sten-Barr Bariatric Shower Chair | Shower Chair. | 750 lb. capacity. |
| Sten-Barr Bariatric Commode | Reinforced steel construction commode. | 700 lb. capacity. |

# Beds/Mattresses/Transportation

| Product | Description | Key Advantage |
| --- | --- | --- |
| Anderlift Lift and Transport System | When lifted, transported, weighed or bathed, the patient is resting on a "hammock" created by a custom sheet and nestled in the frame. | Four pieces of equipment in one - a bather, bed scale, transportation system and power patient lift. Up to 800 lb. capacity. |
| Burke Tri-Flex II Bed | Bed that accommodates patients up to 1,000 lbs. | Accommodates extra tall patients, folds and rolls, easy storage. |
| Camtec ExpandaCare Bariatric Bed 3954 | Bed/Transport | Adjusts from its full width of 54” to 39-1/2” in less than one minute. This allows it to pass through doorways and elevator entries as narrow as 40 inches, resulting in fewer transfers. |
| Camtec Bariatric Bed 4400 | 5-function bed. Raises from 19” to 30.” Controlled by 10-button pendant. | Accessories available including scale. 1,000 lb. capacity. |
| Camtec Bariatric Bed 4700 | 2-function bed. Electrically-driven head and foot elevations. | General-purpose unit is used primarily in nursing and private homes. 600 lb. capacity. |
| ConvaQuip 5500B Bariatric Bed | Patient bed with four actuators and battery back-up system. | 750 or 1,000 lb. capacity. Sit-to-stand and cardio chair positioning. Foot-end egress. Scale included. |
| Hill-Rom Excel Care® ES Bed | Bed with adjustable, frame, width and length; patient-assist siderail; scale. | Seat deflates to help patient get in and out of bed more easily. 1,000 lb. capacity. |
| Hill-Rom Magnum II Patient Care System | Multi functional bed, chair & transport vehicle. | Capacity up to 800 lbs. |
| Hill-Rom TotalCare Bariatric | Bed with power assisted transport system. | Increased maneuverability for 180 degree turns. 460 lb. capacity |
| Hill-Rom TotalCare Plus Bariatric Bed | Bed with power assisted transport system. | Pulmonary therapies including continuous lateral rotation therapy and percussion/vibration therapy. |
| Hill-Rom TriFlex II System | Multiple positions. High-low from 14” to 28.” Independent head and knee positioning. | 1,000 lb. capacity. |
| Hill-Rom Flexicair Eclipse Ultra | Low air loss therapy and adjustable lumbar support. | 800 lb. capacity. |
| Hill-Rom Air Pal Patient Air Lift | Facilitates transfers by utilizing a cushioned film of air. | Allows one or two staff members to perform tasks usually taking 4-8 people. 1,200 lb. capacity. |
| Huntleigh Contura® 1080 Bed | Electrically-operated, height, back and knree-break adjustment. | 450 lb. capacity. Scale available. |
| Huntleigh DFS3 Dynamic Flotation System | Pressure relieving mattress. Treatment of pressure ulcers up to and including Stage IV. | Auto-Matt sensor pad mimics the body's natural movement pattern with 288 cycle changes per day. 550 lb. capacity. |
| InvaCare BARPKG750 | Split spring design; battery back-up. Package includes bed and mattress. | Bed ends, half rails standard. 650 lb. capacity |
| KCI Air Maxxis | Pressure relief mattress overlay. | Adjustable straps and extra support strap to provide better attachment and fit to frame. |
| KCI BariAir Therapy System | Risk management bed for patients up to 850 lbs. | Continuous lateral turn up to 20 degrees to aid in patient positioning, promote comfort and shift pressure points. |
| KCI BariKare Patient Care System | Pressure reduction bed for acute and extended care settings. | Side rails extend straight out 5.75" on each side, for a total added width of 11.5." |
| KCI BariMaxx | Pressure reduction bed system. | Accommodates up to 1,000 lbs. |
| KCI BariMaxxII Pressure Reduction System | Pressure reduction bed system. | Expandable bed width to 48" accommodates larger sized patients. |
| Medline BariMed 600 Bed | Patient transport with fully adjustable knee and head sections. | Available in 39" or 48" widths. |
| Medline BariMed 800 Bed | Patient transport with fully adjustable head and knee sections. | Available in 38", 48", 54" or 60" widths. |
| New Care Big Turn Low Air Loss System | Turning system built into the bed. | 1000 lb. capacity, 70 degrees lateral rotation. |
| New Care Rehab Platform | Bed | Cardio-chair positioning, added length for taller patients. |
| Roho Group Dry Flotation Kit | Mattress conforms so that patients' soft tissue does not deform. | No weight limit, lightweight and portable. |
| SenTech IV 3000 Plus | Multi-zoned, multi-therapy system for rapid wound healing. | Therapy for patients up to 990 lbs. Air retained in case of power loss. |
| Sizeright Mattress | Mattress that reduces tissue/surface tension. | Accommodates all patients regardless of weight. |
| SIZEWise Bari-Rehab Platform | Bed with extra width of 39" and 48". | The weight capacity is 1,000 lbs. Retractable deck available. |
| SIZEWise Big-Turn | Rotation therapy mattress. | <40 to >40° rotation; adjustable cycle time; side wall bolster support. 1,000 lb. capacity. |
| SIZEWise Mighty Air® | Low air loss therapy mattress. | Static and alternating modes; side wall bolster support. 1,000 lb. capacity. |
| SIZEWise SW Pulsate | Low air loss therapy mattress. | Static and pulsating modes; available as mattress or overlay. |
| SIZEWise Bari-Transport | Converts from stretcher to chair. | Battery-powered articulation for recline, stretcher chair positioning. 400 or 850 lb. capacity. |
| Span America PressureGuard CFT | Constant force therapy, self-adjusting air therapy mattress. | Proven option for prevention in the high risk ICU/CCU environment. 750 lb. capacity. |
| Span America GeoMattress Atlas | Mattress designed to meet the unique skin integrity challenges of the bariatric client. | 600 and 750 lb. capacities. |
| Span America PressureGuard Easy Air® XL Mattress | Low air loss/alternating pressure mattress system. | Optional pendant controller. 1,000 lb. capacity. |
| Span America PressureGuard® APM Bariatric Mattress | Alternating pressure air mattress system. | Digital control unit, 8 comfort settings. 750 lb. capacity. |
| Sten-Barr SB Bari 1000 Bed Frame | Bed specifically designed to obese patients. | Accommodates up to 1,000 lbs. |
| Sten-Barr SB Bari 600 Bed Frame | Bed specifically designed to obese patients. | Accommodates up to 600 lbs. |
| Stryker M-1 Roll-In System | Ambulance cot with a portable litter. | 500 lb. capacity. |
| Stryker MX-PRO Bariatric Transport | Ambulance cot specifically designed for the bariatric patient. | 1600 or 850 lb. capacity units available. |
| Stryker MX-PRO Incubator Transport | Ambulance cot specifically designed for incubators. | Positive action features for adjusting height help prevent inadvertent drops. |
| Stryker MX-PRO R3 | Ambulance cot. | 650 lb. capacity. |
| Sunrise Medical Bariatric Mattress | Mattress with pressure reduction and tri layer lamination without latex adhesives. | Weight capacity of 700 lbs. |
| Sunrise Medical OrthoDerm LAL Bariatric Mattress | Low air loss replacement mattress. | 1,000 lb. capacity |
| THE Medical Ultra Surfaces | True air loss and dynamic flotation therapy support surfaces available in a number of models. | True air loss helps keep away moisture. |
| TriLine Bari 6 Electric Bariatric Bed Frame | Frame splits in half for easy movement; manual emergency crank. | Provides support for clinically obese patients. 600 lb. capacity. Deck low-high 13.5”-30.” |
| TriLine Bari 10 Extended Weight Bariatric Bed Frame | Frame splits in half for easy movement; manual emergency crank. | Provides support for clinically obese patients. 1,000 lb. capacity. Deck low-high 13.5”-30.” |
| TriLine Bari 10A Bariatric Bed Frame | Patient support with pendant control; electronic bed scales. | Battery backup. 1,000 lb. capacity. Width expansion for comfort and transport. |
| TriLine Turn 1000 Lateral Turning and Low Air Loss | Lateral rotation mattress for treatment and prevention of pressure ulcers & respiratory conditions. | “Autofirm” mode for maximum air inflation; 4 turn angles and 4 turn set times. 1,000 lb. capacity. |
| Wy'East TotaLift PTS Transfer Stretcher | Transfer patient from stretcher to bed with no lifting. | 600 lb. capacity. |

# Ceiling Lifts

| Product | Description | Key Advantage |
| --- | --- | --- |
| Arjo Maxi Sky 1000 | Designed to lift and transfer patients from bed to chair or commode. | 1,000 lb. capacity. |
| BHM Medical Voyager V10 Ceiling Track Lift | Ceiling track lift. 1,000 lb. capacity. | Can be installed on a permanent ceiling mounted track or the flexibility of a free standing semi-permanent rack is available. |
| BHM Voyager 800 | Ceiling track lift. | 800 lb. capacity. |
| Chiltern Invadex Patient Handling System | Free-standing gantry system for patient handling. | Multi-functional as bed, chair, or transport vehicle. |
| Horcher UniLift PC-2 | Ceiling lift for patient transfers with 500 lb. capacity. Also available is a stretcher system with 440 lb. capacity. | Tracks can be mounted to ceiling or wall. |
| Liko Ultra Twin | Bariatric ceiling lift. | Available in ceiling-mounted or free-standing mobile versions. Dual motor design facilitates positioning of patient for comfort and security. 1,100 lb. capacity. |
| THE Medical Pinnacle III | Heavy duty fixed lift w/an extra wide, extra long lifting strap for safety. Includes dual controls, emergency down, curtain pass-through & standardized face plate. | 1,000 lb. capacity. |
| THE Medical Stratus Portable | Portable ceiling lift with all metal drive trains. | Weight capacity 450 lbs. |
| Waverley Glen Transactive Plus | Heavy-duty ceiling track system. | Lifts up to 800 lbs. |

# Commodes/Shower Chairs

| Product | Description | Key Advantage |
| --- | --- | --- |
| ActiveAid Shower/Commode Chair | Chair used to assist patients in the bathroom. | Available in four seat widths and accommodates up to 600 lbs. |
| ConvaQuip Obese Bathseats | Patient support while bathing. | Accommodates 850 lbs. |
| ConvaQuip Bedside Commode | For residents getting into bathroom. | Certified for 850-1,500 lbs. |
| Hill-Rom Shower/Commode Chair | Allows patient toileting and showering with easier patient transfer. | Capacity up to 800 lbs. |
| Invacare Bariatric Drop Arm Commode | Steel construction. Drop arms facilitate access. | 1,000 lb. capacity. |
| Medline Bariatric Extra Wide Commode | Snap-on-toilet seat with 500 lb. capacity. | 24 inches wide. |
| Sizeright Bathseat | These bath seats are designed to fit the contour of a standard bathtub. | Vinyl grips on the tubing prevent from marring the bathtub. |
| Sizeright Shower Chair | Constructed with anodized aluminum tubing. | Weight capacity 650 lbs. & 850 lbs. |
| SIZEWise Bari Shower Commode Chair | Stainless steel construction. | Weight capacity is 750 lbs.; removable arm. |
| Sten Barr Bariatric Commode | Specifically designed to obese patients. | Accommodates up to 1,000 lbs. |
| TFI Healthcare Commode | Patient toileting. | Weight capacity of 600 lbs. |

# Lateral Transfer Systems

| Product | Description | Key Advantage |
| --- | --- | --- |
| Emerald International Airmatt Lateral Transfer System | Allows staff to laterally transfer patients on a cushion of air without lifting. | No weight limit; radiolucent for x-ray/MRI. |
| SIZEWise Air Transfer Device | Mattress inflated with air used to laterally transfer patient. | No weight limit; radiolucent for x-ray/MRI. |
| Wy'East TotaLift II | Transfers patient laterally from bed to stretcher without lifting, then adjusts to a sitting or reclining position. | Converts from a chair to a horizontal stretcher position. 400 lb. capacity. |

Repositioning Systems

| Product | Description | Key Advantage |
| --- | --- | --- |
| Arjo Maxi Slide | Sliding system that offers a wide range of patient handling maneuvers. | Easy to place and remove from under the patient. |
| Emerald International Airmatt Lateral Transfer System | Allows staff to laterally transfer patients on a comfortable cushion of air without lifting. | No weight limit; small, lightweight and portable; Ergonomic Extension Handles included. |
| ErgoSafe Bariatric ErgoSlide® 2101 | Assists caregivers in repositioning a patient in bed while reducing the risk of injury to the caregiver by not lifting, but sliding the patient. | Using ergonomically-inclined handles for gripping, caregivers can maneuver patients to the desired position without having to lift. |
| EZ Way EZ Lift Repositioner | This repositioner is a crank-powered device, made of vinyl, which allows caregivers to move patients up and down in bed. | Allows one person to facilitate repositioning. |
| Liko Sheet and Straps with Sling Side Bars | Reposition using ceiling lifts. | Can be left under patient. |
| SenTech Thera-Turn Millennium Plus | Lateral rotation system with low air loss mattress. | Supports patients up to 750 lbs. |
| SIZEWise Air Transfer Device | Mattress inflated with air used to reposition patient. | No weight limit; radiolucent for x-ray/MRI. |
| Waverley Glen Repositioning Systems | Range of sliding sheets, transfer boards, and repositioning aids. | Allows for safe transfer and repositioning for both bariatric patient and caregiver. |

# Powered Lifts

| Product | Description | Key Advantage |
| --- | --- | --- |
| Anderlift Lift and Transport System | When lifted, transported, weighed or bathed, the patient is resting on a "hammock" created by a custom sheet and nestled in the frame. | Four pieces of equipment in one - a bather, bed scale, transportation system and power patient lift. Up to 800 lb. capacity. |
| AryCare C1000 Lift | Unit lifts and transfers; remains over bed. | Lifts, repositions or transfers patients to wheelchair. 1,000 lb. capacity |
| Arjo Tenor Lift | Patient lift. | Weight capacity of 704 lbs. (320kg) giving increased flexibility to handle heavier patients with safety and security. |
| BHM ErgoLift 600 | Floor-based lift. 600 lb. capacity. | Motorized, secure base. Quick access control box. |
| ConvaQuip 2000x Lift | Transfers those patients needing help from chair to bed or toilet. | Electronic anti-entrapment system and 600 lb lifting capacity. |
| ConvaQuip 9750 Lift | Transfers those patients needing help from chair to bed or toilet. | 1,000 lb lifting capacity. |
| Hill-Rom Liftem Mark IV Portable Lift | Patient transfer lift with remote control operation for all functions. | No physical movement of the lift required to facilitate the transfer. 700 lb. capacity. |
| Invacare Reliant 600 | High lift range allows transfer to high surfaces. Base legs adjust and lock. | 600 lb. capacity. Manual lowering if power lost. |
| KCI EZ Lift | Patient lift/transport system. | Accommodates up to 1,000 lbs. during transfer. |
| Liko Viking XL | Mobile floor lift. | General purpose bariatric lift with numerous options and accessories for bariatric applications. 660 lb. capacity. |
| Liko Ultra Twin | Overhead ceiling lift. | Dual motor bariatric lift enables precise forward or backward positioning of patient for comfort and security. 1,100 lb. capacity. |
| Millennium Medical Liftem® | Lift and transfer system. | 700 lb capacity; no physical movement of the lift is required to transfer patients. |
| New Care Lift and Transfer 750 | Free standing transfer device. | Fits over both the rehab platform & wheelchair/shower commode chairs. |
| Sizeright Liftem | This lift is portable and motorized device. | Weight capacity is 600 lbs. |
| SIZEWise Bari Lift & Transfer | Allows for safe, easy transfer. | Weight capacity is 750 lbs. and 1,000 lbs. Height adjustable from 78” to 94.” Scale and variety of slings available. |
| Stenbarr SB Mobile Lift 600 | Easy to use mobile lift helps transfer patient from bed to wheel chair or commode. | Weight capacity of 600 lbs. |
| Sunrise Medical Hoyer Heavy Duty Power Patient Lifter | Economical lift designed for patient transfers. | Weight capacity of 600 lbs. |
| THE Medical Titan-X | Electric/hydraulic power system for patient transfers. | 1000 lb. lifting capacity. |
| TriLine Bariatric Lift | Floor-based lift. | 600 lb. capacity. |
| Vancare Vanderlift II B450 | Patient lift. 4-pt. sling connection. | Emergency lowering. 450 lb. capacity |
| Vancare Vanderlift II B600 | Patient lifting system. 4-pt. sling connection. | Emergency lowering. 600 lb. capacity. |
| Wy'East TotaLift MPL | Patient lift. Offers 2-point and 4-point sling bars. Optional scale. | 450 lb. capacity. |

# Standing Assist Aids

| Product | Description | Key Advantage |
| --- | --- | --- |
| New Care Bari Tilt Table/Gait System | Assists patients to stand upright; assists patients in walking. | 500 lb. capacity & accommodates wider patients. |
| SIZEWise Bari-Rehab Chair | Converts from a stretcher to a chair. Tilts to facilitate a standing position. | X-ray tray built-in. 1,000 lb. capacity. |

# Transfer/Dependency Chairs and Cushions

| Product | Description | Key Advantage |
| --- | --- | --- |
| Blue Chip Medical Gel Pro Elite Wheelchair Cushion | A wheelchair cushion used for pressure relief. | Stabilizes and reduces rocking motion. |
| Broda Seating | Custom seating. | Accommodates up to 900 lbs. |
| Hill-Rom Barton I-660 Transfer Chair | Converts from a flat transfer chair to an upright mobile chair. Adjustable head, foot and arm rest. | Allows a single caregiver to laterally transfer patients. 660 lb. capacity. |
| Product Design Group Solar Cushion | Cushion for eclipse wheelchair. | Pressure reduction cushion provides proper alignment. |
| Rehab Seating Ascender Chair | Chair with foot rests and arm rests. | Accommodate 300, 500, and 1000 lb. capacity. |
| Sentech Chair | Converts any chair to an alternating pressure relief system. | Therapy and support for patients weighing up to 550 lbs. |
| Sentech Recliner | Six multiple positions including deep recline; feet can be elevated higher than head. | Therapy and support for patients weighing up to 550 lbs. |
| SIZEWise Bari-Rehab Chair | Converts from a stretcher to a chair. Tilts to facilitate a standing position. | X-ray tray built-in. 1,000 lb. capacity. |
| SIZEWise SW Shuttle | Transport chair that automatically converts from chair to stretcher. Height adjustable with seat assist, elevating, independent leg supports. | 1,000 lb. capacity; automatic height adjustability. |
| Stretchair MC1000P | Four chairs in one. | Oversized, 1,000 lbs. capacity. |
| TriLine Barton Chair 330/660 | Transportation chair. Tilt in space position. | Adjusts to fit most hospital beds and stretchers. Capacities up to 660 lbs. |

# Wheelchairs

| Product | Description | Key Advantage |
| --- | --- | --- |
| 21st Century Big Bounder H-Frame Powered Wheelchair | Provides transportation. | Power seating systems: recline, tilt, seat elevate, and/or power headrest. Available in up to 1,000 lb. capacity. |
| 21st Century Big Bounder Power Wheelchair 700 | Provides transportation. | Accommodates 21” or wider seats. |
| 21st Century Bounder Plus Conventional Wheelchair | Provides transportation. | Accommodates users up to 500 lbs. |
| ConvaQuip Wheelchairs | Powered transport. | Electronic braking prevents the chair from moving when the power is off or the joystick is in the neutral position. 500 to 650 lb. capacity. |
| Hill-Rom Wheelchair | Patient transport. | Anti-tip mechanism, accommodates up to 800 lbs. |
| InvaCare MVP Wheelchair | Custom wheelchair. | Adjustable angle back option on the square frame offers four discrete positions. |
| InvaCare Solara Wheelchair | Tilt-in-space manual transport for bariatric residents. | A built-in 2" drop base facilitates remarkably low seat-to-floor heights. |
| InvaCare Electric Wheelchairs/Transport Chairs | Variety of chairs available | Up to 700 lb. capacity. |
| MedLine Shuttle Heavy Duty Wheelchair | Transport with wide seats to accommodate 600 lbs. | Back and seat have polypropylene mesh liner to support additional weight. |
| Pride Mobility Quantum Blast HD | Power wheelchair for patient transport. | Sport-trac suspension for smooth ride over rough terrain. |
| Pride Mobility Quantum Jazzy 1400 | Power wheelchair for patient transport. | 400 lbs. capacity. |
| Pride Mobility Quantum Jazzy 1420 | Power wheelchair for patient transport. | Synergy seat frame which accepts a broad range of seating. |
| Pride Mobility Quantum Jazzy 1470 | Power wheelchair for patient transport. | 500 lb. capacity. |
| Product Design Group Eclipse 350 Wheelchair | Wheelchair for patient transport. | Weighted more on rear wheels, making it easier to maneuver. |
| Sizeright Wheelchair | The Convert-Assist unit is able to be converted between chair and stretcher position by the simple operation of an electrical switch located on the back frame. | A 12 volt rechargeable sealed battery in conjunction with an electrically driven arm does the conversion. 650, 700 and 850 lb. capacity models. |
| SIZEWise Bari-Chair | Foldable for easy storage. IV pole and oxygen tank holder available. | Weight capacity is 750 lbs. Seat widths from 24” to 36.” |
| SIZEWise Bari-Recliner | Heavy-duty reclining wheelchair. | 750 lb. capacity. Seat widths of 26” or 30.” Power recline to 45°. |
| Sten-Barr Bariatric Wheel Chair | Specifically designed to obese patients. | Accommodates up to 750 lbs. |
| Sunrise Medical Jay Plus Back | Specifically designed to address the pelvic and trunk stability of bariatric patients. | Weight capacity of 650 lbs. |
| Sunrise Medical Jay Plus Cushion | A wheelchair cushion that can be customized to address the posture and skin protection needs of the bariatric client. | Weight capacity of 650 lbs. |
| TriLine Bari Recliner Wheelchair | Manual base with lower recline. Removable reclining full length arms and headrest extension. Elevating leg rests; up to 45 recline. | 600 lb. capacity. |
| TriLine Bari Wheelchair | Manual bariatric wheelchair. | 600 lb. capacity. |
| TuffCare Extra Wide 2500 Wheelchair | Heavy duty wheelchair | Specifically engineered for patients who weigh up to 410 lbs. |
| TuffCare Extra Wide 2540 Reclining Wheelchair | Heavy duty reclining wheelchair | Chair is specially engineered for bigger patients that require a manual recline back to provide extra comfort. |
| Varilite Wheelchair Cushions and Accessories | Many options available. | See their web site for more information. |

# Vendor Contact Information

21st Century Scientific, Inc. 4914 Industrial Way, Coeur d’Alene, ID 83815 Tel: 800.448.3680 or 208.667.8800; Fax: 208.667.6600 E-mail: 21st@wheelchairs.com Web: www.wheelchairs.com

Access Care 705 Gen Washington Blvd., Suite 300, Norristown, PA 19403 Tel: 800.218.1307 Web: www.access-care.com

Activeaid, Inc. 101 Activeaid Road, Box 359, Redwood Falls, MN 56283-0359 Tel: 507.644.2951, Toll Free: 800.533.5330; Fax: 507.644.2468 Web: www.activeaid.com

Amplestuff, Dept. WS PO Box 116, Bearsville, NY 12409-0116 Tel: 866.486.1655; Fax: 845.679.1206 Web: www.amplestuff.com

Andermac, Inc. 2626 Live Oak Highway, Yuba City, CA 95991 Tel: 800.824.0214 E-mail: info@anderlift.com Web: www.anderlift.com

Arjo, Inc. 50 North Gary Avenue, Roselle, IL 60172 Tel: 800.323.1245 Web: www.arjo.com

Arylift, Inc. 146 Wall St., Shallotte, NC 28470 Tel: 800.342.9018 Web: www.arycare.com

BHM Medical, Inc. 2001, Tanguay Street, Magog (Quebec), Canada J1X 5A8 Tel: 819.868.0441; Toll Free: 800.868.0441; Fax: 819.868.2249 E-mail: bhm@bhm-medical.com Web: www.bhm-medical.com

Blue Chip Medical Products 7-11 Suffern Place, Suffern, NY 10901 Tel: 845.369.7535; 800.795.6115 Web: www.bluechipmedical.com

Broda Seating 385 Phillip Street, Waterloo (Ontario) Canada, N2L 5R8 Tel: 519.746.8616 OR PO Box 30046, GPO Station, Detroit, MI 48232 Tel: 800.668.0637 Web: www.brodaseating.com

Burke Bariatric Tel: 800.477.0248 E-mail: BariatricHeavyDuty@hotmail.com Web: www.electropedicbeds.com/Burke-Bariatric.html

Camtec Cambridge Technologies, Inc. 1959 Church Creek Road, Church Creek, MD 21622 Tel: 410.228.1156; 800.866.1156 E-mail: camtec@dmv.com Web: www.camtecproducts.com

Chiltern Invadex 6 Wedgwood Road, Bicester Oxfordshire Ox264UL Tel: 01869 246470 E-mail: sales@chilterninvadex.co.uk Web: www.chilterninvadex.co.uk

ConvaQuip Bariatric Equipment PO Box 3417, Abilene, TX 79604 Tel: 800.637.8436 Web: www.convaquip.com

Emerald International Health Products, Inc. 320 Gateway Park Drive, North Syracuse, NY 13212 Tel: 800.317.9582; Fax: 315.452.3316 E-mail: jmcauley@emeraldihp.com Web: www.emeraldihp.com

ErgoSafe Products, LLC 142 Firwood Drive, St. Louis, MO 63119 Tel: 866.891.6502 Web: www.ergosafeusa.com

EverMed 4999 E. LaPalma Ave., Anaheim, CA 92807 Tel: 888.615.8989; Fax: 714.777.9978 E-mail: message@EvermedUSA.com Web: www.evermedusa.com

EZ Way, Inc. 701 East Washington St., Clarinda, IA 51632 Tel: 800.627.8940; 712.542.5102; Fax: 712-542-1899 Web: www.ezlifts.com

Hill-Rom Co., Inc. 1069 State Route 46 East, Batesville, IN 47006 Tel: 800.445.3730 Web: www.hill-rom.com

Horcher Lifting Systems 324 Cypress Road, Ocala, FL 34472 Tel: 866.378.3316; Fax: 866.378.3318 E-mail: info@horcherusa.com Web: www.horcherusa.com

Huntleigh Healthcare, Inc. 40 Christopher Way, Eatontown, NJ 07724-3327 Tel: 732.578.9898; 800.223.1218; Fax: 732.578.9889 Web: www.huntleigh-healthcare.com

Invacare, Inc. 800.333.6900 Web: www.invacare.com

Kinetic Concepts, Inc. PO Box 659508; San Antonio, TX 78265-9508 Tel: 800.275.4524 Web: www.kci1.com

Liko, Inc. 122 Grove Street, Franklin, MA 02038 Tel: 508.553.3993, 888.545.6671; Fax: 508.528.6642 E-mail: info@likoinc.com Web: www.liko.com

Medline Industries, Inc. Mundelein, IL 60060 Tel: 800.MEDLINE; Fax: 800.351.1512 Web: www.medline.com

Millennium Medical Products, Inc. 575 Abbott Drive, Broomall, PA 19008 Tel: 610.541.0170, 888.265.7944; Fax: 610.541.0166 Web: www.mmpliftem.com

New Care Therapies Innovative Patient Care Solutions Tel: 800.432.6249; Fax: 502.647.1951 E-mail: sales@newcaretherapies.com Web: www.newcaretherapies.com

Pride Mobility Tel: 800.800.8586 www.pridemobility.com

Product Design Group United States: MedBloc, Inc. Suite 112-700 Ensminger Rd., Tonawanda, NY 14150 Tel: 716.447.0050; Fax 888-433-6834 Canada: PDG Product Design Group Unit 102, 366 East Ken Avenue South, Vancouver, BC Canada V5X 4N6 Tel: 604.323.9220, 8888.858.4422; Fax: 604.323.9097 E-mail: info@prodgroup.com Web: www.prodgroup.com

Rehab Seating Systems, Inc. Eight Alton Place, Suite #3, Brookline, MA 02446 Tel: 800.525.SEAT, 617.734.8500; Fax: 617.734.8500 Web: www.rehabseating.com

The Roho Group 100 N. Florida Ave., Belleville, IL 62221 800.851.3449, 618.277.9173; Fax: 888.551.3449, 618.277.9561 Web: www.therohogroup.com

SenTech Medical Systems, Inc. 5353 NW 35th Ave., Ft. Lauderdale, FL 33309 Tel: 800.474.4225; Fax: 954.739.2779 Web: www.sentechmedical.com

SizeRIGHT (Div. of Baron Health Care Services of America) Tel: 888.829.1009 Web: www.sizeright.com

SIZEWise Rentals, L.L.C. Tel: 800.814.9389; Fax: 816.841.0109 web: www.sizewise.net

Span America Medical Systems, Inc. 70 Commerce Center, PO Box 5231, Greenville, SC 29606 Tel: 800.888.6752, 864.288.8877; Fax: 864.288.8692 Web: www.spanamerica.com

Sten-Barr Medical, Inc. 14350 Carlson Circle, Tampa, FL 33626 Tel: 800.886.5554; Fax: 813.854.2428 E-mail: stenbarr@stenbarr.com Web: www.stenbarr.com

Stretchair Patient Transfer System, Inc. 8110 Ulmerton Road, Largo, FL 33771 Tel: 800.237.1162; Fax: 727.536.0666 Web: www.stretchair.com

Stryker 2725 Fairfield Road, Kalamazoo, MI 49002 Tel: 269.385.2600; Fax: 269 385 1062 Web: www.stryker.com

Sunrise Medical 7477 East Dry Creek Parkway, Longmont, CO 80503 Tel: 303.218.4500; Fax 303.218.4590 Web: www.sunrisemedical.com

TFI HealthCare 600 West Wythe St., Petersburg, VA 23803 Tel: 804.861.0063; Fax: 804.861.6664 Web: www.tfihealthcare.com

T.H.E. Medical 322 Shadow Bay Blvd., N., Longwood, FL 32779 Tel: 800.565.7075 E-mail: thesales@themedical.com Web: www.themedical.com

TriLine Medical LLC 7035 Hayvenhurst Avenue, Van Nuys, VA 91406 Tel: 800.966.6662; Fax: 800.232.9796 Web: www.trilinemedical.com

TuffCare 3999 East La Palma Avenue, Anaheim, CA 92807 Tel: 800.367.6160; Fax: 714.632.3998 E-mail: contact@tuffcare.com Web: www.tuffcare.com

Vancare, Inc. Aurora, NE 68818 Tel: 800.694.4525; Fax: 402.694.3994 E-mail: jvancare@hamilton.net Web: www.vancare.com

Varilite Seating & Positioning System Tel: 800.827.4548 E-mail: customerservice@varilite.com Web: www.varilite.com

Waverley Glen 116 Rayette Road, Unit 1, Concord, ON Canada L4K 2G3 Tel: 905.660.0213, 800.265.0677; Fax: 905.660.0513 E-mail: info@waverleyglen.com Web: www.waverleyglen.com

Wy’East Medical Corporation PO Box 1625, 16700 SE 120th Avenue, Clackamas, OR 97015 Tel: 503.657.3101, 800-225-3126; Fax: 503.657.6901 E-mail: contact@wyeastmed.com Web: www.wyeastmed.com

# DISCLAIMER

The Veterans Administration, to date, has not conducted tests on this equipment to verify it meets manufacturers’ performance claims and specifications.  Until this is done, individual facilities should choose a vendor based on patient needs, whether the equipment is available for rental or purchase, immediate availability of equipment, and availability and willingness of vendor staff to provide in-service, price, and the existence of a VA contract.  Facilities who admit bariatric patients frequently should consider buying a bed, walker, commode chair, and wheelchair to have on hand.  Infrequent users should consider renting as the demand arises. Rental vendors promise to have the equipment to the facility within 24 hours.

* Note: Inclusion in this guide does not constitute endorsement by the VISN 8 Patient Safety Center of Inquiry in Tampa or of the Veterans Health Administration. The products in this guide are merely examples of various types of equipment available in the marketplace at a particular period in time. We have no more information about particular equipment, purchasing or contracting than is presented here. Please do not request purchasing information from this office.