VETERANS AFFAIRS MEDICAL CENTER
Houston, Texas

MEDICAL CENTER POLICY	September 9, 2002

MEMORANDUM NO. 138EmP-001

COMPREHENSIVE EMERGENCY MANAGEMENT PROGRAM

I.	PURPOSE

The purpose of this policy is to identify actions to be taken at the Houston VA Medical Center (HVAMC) to minimize any adverse impact on patient care and to protect patients, visitors, and employees from the effects of natural and manmade disasters. The program establishes a universal structure for a systematic, coordinated, and effective approach to emergency management, including:

1.	Fundamental policies and assumptions.

2.	A concept of operations that describes the process for organization-wide response to emergencies.

3.	An organizational structure that designates emergency assignments around day-to-day responsibilities and includes a process for decision-making on objectives and priorities.

4.	Assignment of specific, ongoing responsibilities for the prevention of emergencies or a reduction of adverse effects; development of capabilities needed to effectively manage and provide services in an emergency situation; response to problems caused by any emergency; recovery to resumption of services after an emergency, and a mechanism for corrective actions.

II.	PROCEDURES

A.	The HVAMC will assist local, state and federal agencies in the procurement of medical resources in the event of a community disaster. Based on our available resources, the Medical Center Director will direct the admission of patients from other healthcare facilities that are no longer able to provide care.

B.	The HVAMC Comprehensive Emergency Management Program (CEMP) describes a general strategy for managing contingency situations in an efficient and effective manner using an all hazards approach. The program applies to any internal or external emergency situation, including the Veterans Affairs/Department of Defense (VA/DoD) Contingency Hospital System, activation of the Federal Response Plan (FRP), or activation of the National Disaster Medical System (NDMS).

C.	The CEMP is a concept where hazard reduction, capability development, and emergency operations are linked in an ongoing process of activities, which occur in four phases:

1.	Mitigation.	Activities to eliminate risk to life and property from hazards.

2.	Preparedness.	Activities developed prior to a disaster or emergency to eliminate or reduce effects of hazards.

3.	Response.	Activities that address immediate and short-term effects of disaster or emergency.

4.	Recovery.	Activities and programs to return an entity to an acceptable condition.

D.	The CEMP incorporates the Hospital Emergency Incident Command System (HEICS) principles that apply to the HVAMC and local government response levels. The HEICS organizational structure closely mirrors the HVAMC day-to-day operation, but only uses a minimum number of administrative and clinical staff. Following is the HEICS organization chart:

III.	RESPONSIBILITIES

The CEMP applies to all staff of the HVAMC. It is the written record of this on-going program, which includes the Environment of Care Standards, Safety and Quality Management Programs. All service chiefs, service line executives and care line executives have primary or support responsibilities for one or more essential functions based upon their normal day-to-day responsibilities and resources. All employees are responsible for responding according to this program and for performing their assigned duties in the event of a VA Medical Center or community disaster or emergency.

A.	Command Responsibility:	The Medical Center Director is responsible for control and direction of all disaster responses and civil defense activities at the HVAMC. In the absence of the Medical Center Director, the following staff, in the order named, will assume Incident Commander (IC) responsibility until relieved:

1.	Associate Director

2.	Facilities Management Service Line Executive

3.	Chief of Staff (COS)

4.	During other than regular duty hours the Administrative Officer of the Day (AOD) will assume command responsibility until relieved by one of the above listed staff.

B.	Designation of Officials

1.	With the assistance of the Area Emergency Manager (AEM), the Emergency Management Coordinator (EMC) shall prepare, coordinate and maintain the CEMP.

2.	HEICS Public Information Officer (PIO).	The Public Affairs Officer shall initiate and coordinate procedures for collection and release of information concerning disaster casualties. S/he will coordinate with appropriate news media to ensure accuracy of broadcasted information. S/he shall furnish information to inquiring relatives and accredited news reporters.

3.	HEICS Damage Assessment & Control Leader.	Through the HEICS Logistics Chief, the Damage Assessment & Control Leader shall collect, record and preserve information and evidence relative to facility disasters including injury, damage and loss.

4.	Evacuation Officer.	The Safety Manager, Facilities Management Service Line (FMSL), shall train employees in the techniques of safe-lifting for evacuation and shall supervise such activities in the event of a disaster.

5.	Evacuation of the Disabled.	All service chiefs, service line executives and care line executives will be responsible for identifying individuals with physical, mental, or sensory impairments and their locations. Identify "buddies" to assist the disabled when a disaster occurs.

C.	All Employees

1.	All employees shall know their role during an emergency or other disruption of normal operation.

- Every employee shall provide an up-to-date work and home phone number where s/he can be reached.

- No employee will knowingly impede telephonic notification procedures.

D.	Hazards Analysis.	Because of its geographical location, topography, chemical and petroleum facilities, industrial and transportation facilities, the HVAMC and its outpatient clinics at Lufkin and Beaumont, may be subject to most of the following emergency and disaster situations:

Hazards Analysis Chart

| Hazard Type | HVAMC |
| --- | --- |
| Natural | Risk Level |
| Avalanche | None |
| Drought | Low to Moderate |
| Earthquake | Low |
| Floods | High |
| Hurricane | High |
| Landslide | None |
| Subsidence | Low |
| Tornado/Water Spout | High |
| Tsunami | Low |
| Volcano | None |
| Wildfire | None |
| Wind Storm | Moderate |
| Technological | Risk Level |
| HAZMAT/Fixed Facility | Low |
| HAZMAT/Transportation | Low to Moderate |
| HAZMAT/Production | Low |
| Fire | Moderate (normal) |
| Power Failure | Moderate (normal) |
| Utility/Telephone Failure | Moderate (normal) |
| Radiological Incident/Fixed Facility | Low |
| Radiological Incident/Transportation | Low |
| Other Threats | Risk Level |
| Civil Disorder | High (due to potential terrorism) |
| Radiological | High (due to potential terrorism) |
| Chemical | High (due to potential terrorism) |
| Biological | High (due to potential terrorism) |

E.	Supplemental Emergency Response Plans (SERP).	Emergency Supplemental Plans are to be prepared by each service, service line and care line detailing the manner in which each will meet their assigned responsibilities. Each service chief, service line executive and care line executive will submit one copy of their respective plans to the Facilities Management Service Line Administrative Officer. In addition to the emergency response plan a current cascade system of emergency calls including home phone numbers will be submitted to the Facilities Management Service Line Administrative Officer, Emergency Management Coordinator, and the Area Emergency Manager. These cascade lists will be reviewed and updated as necessary.

1.	Testing.	Exercises will be conducted at least twice a year to test this program and HVAMC readiness. These drills will be evaluated according to predetermined Environment of Care performance indicators.

2.	Critiques.	All members of the Emergency Management Program Committee (EMPC) will be prepared to present pertinent information at a general critique to be called by the Chairman, following each drill or other implementation of the program. Critiques will be held within a reasonable timeframe after implementation of the emergency plans.

V.	COMMITTEE

The following list of officials (or their designees) represents the Emergency Management Program Committee (EMPC) membership tasked to continually review, evaluate, revise and maintain the CEMP. The EMPC, under the direction of the chair, shall coordinate EMPC meetings and members shall meet at the call of the chair.

| Associate Director | 001 | Chair |
| --- | --- | --- |
| Chief of Staff | 11 | Member |
| Deputy Chief of Staff | 11A | Member |
| Facilities Management Service Line Executive | 138FMS | Member |
| Operative Care Line Executive | 112OCL | Member |
| Medical Care Line Executive | 111MCL | Member |
| Information Management Service Line Executive | IRM | Member |
| Business Office Service Line Executive | 04BOSL | Member |
| VA Police Chief | 07B | Member |
| Human Resources Manager | 05HRM | Member |
| Environmental Management Section Manager | 137EMS | Member |
| Safety Manager | 138S | Member |
| Patient Access Center Manager | 04PAC | Member |
| Acquisition & Materiel Management Section Manager | 90 | Member |
| Quality Management Coordinator | 00Q | Member |
| Pharmacy Section Manager | 119 | Member |
| Chief Nurse Executive | 118CPO | Member |
| Mental Health Care Line Executive | 116MHCL | Member |
| Education Service Line Executive | 141ESL | Member |
| Public Affairs Officer | 00X | Member |
| Staff Assistant to the Director | 002SK | Member |
| Area Emergency Manager | 13C | Member |
| Emergency Management Coordinator | 138EmP | Member |
| AFGE Local 1633 Representative | AFGE | Member |
| Bed Control Representative | 04PACU | Member |
| Facilities Management Service Line Representative | 138FMS | Recorder |

V.	REFERENCES

Comprehensive Accreditation Manual for Hospitals, Joint Commission on Accreditation of Healthcare Organizations.

MP-l, Part II, Chapter 13, March 20, 1985, Emergency Preparedness Planning.

Medical Center Policy Memorandum 130ENG-007, Utility Management Program.

VI.	RESCISSION

Medical Center Policy Memorandum No. 002N-002, Emergency Medical Preparedness Plan, dated December 7, 1999.

\s\

EDGAR L. TUCKER
Medical Center Director

Attachment	Comprehensive Emergency Management Program

Comprehensive Emergency Management Program

Table of Contents

Chapter I	Emergency Notification for Disaster Condition of Potential Disaster	1

External Cascade Instructions	3

Chapter II	Community Casualty Plan	4

Initial Plan	14

List of Sources for Emergency Purchases	16

Mutual Aid Agreements with other Healthcare Facilities	18

Chapter III	Civil Disturbance Preparedness Program	19

Chapter IV	Bomb Threats	21

Telephone Notification Bomb Threat Checklist	30

Bomb Threat Telephone Report	31

Bomb Search Schedule	32

Chapter V	Adverse Weather Conditions	34

Chapter VI	Patient Evacuation	36

Chapter VII	Radiation Disaster	39

Chapter VIII	Bio-terrorism Readiness Plan	42

Chapter IX	Chemical Disaster	44

Chapter X	Environment Of Care Performance Indicators	45

Chapter XI	National Disaster Medical System	46

National Disaster Medical System (NDMS) Operations Plan	47

Chapter XII	VA/DoD Contingency Plan	55

# Chapter I	Emergency Notification for Disaster Condition of Potential Disaster

A.	Personnel Alert

1.	See Cascade System for Emergency Calls at \\vhahoufpch\doclib\Internal Cascade Call System.xls.

2.	The Medical Center Director will use available communications (telephone, messenger, two-way radio, public address system, etc.) to issue an “all clear”.

3.	In the event of the failure of normal communications (telephone system, overhead paging system) all two-way portable radios, which are required to switch to Channel No. 5 during emergencies, will be used for status reports to the Emergency Operations Center by way of their service-, service line-, or care line-specific communication plan. In lieu of no radios, runners from either the service, service line, care line, or manpower pool will be used.

B.	Fire Signal

1.	Pull alarm device box or telephone 911.

2.	Give name and specific location.

C.	Medical Emergency. Dial 911 for life-threatening emergencies. This includes outlying buildings, parking lots and grounds. Give name and specific location.

D.	Adverse Weather

1.	Upon issuance of a National Weather Service adverse weather advisory, VA Police Service will establish a weather watch. The VA Police Chief or designated representative, will establish liaison with local police, fire and weather services as needed. Further, liaison with the Texas Medical Center (TMC) Inc., 406 Jones Library Building, will be established to receive information from the City of Houston Emergency Management Office. The Medical Center Director will be kept informed.

2.	Information received will be forwarded to the Medical Center Director for further action.

3.	By order of the Medical Center Director, when a tornado warning for the southern area of Houston is issued or there is a tornado touchdown within a 10-mile radius of the HVAMC, the Community Casualty Plan will be activated.

4.	See Adverse Weather Conditions, Chapter V.

5.	The AEM & EMC will use on-line weather monitors as an additional early warning/alert procedure.

E.	City Emergency Alert System.	The City of Houston conducts weekly tests of its emergency alert system, to ensure ability of the HVAMC and other facilities to receive emergency broadcasts. During an actual event, this system will announce an audio alert.

Appendix 1A

## External Cascade Instructions

Should an external cascade be executed, please follow these simple steps:

A.	As soon as you are contacted, you should call the primary manager whose name is listed just below your alternate's name and is indicated by three asterisks (***) to the left of their title. If you do not reach that person, then call their alternate. If you do not reach either person, go down one more ***PRIMARY and make the call for the person you did not reach. Continue doing this until you contact someone in person. This ensures a steady flow of contacting.

B.	After you reach the other ***PRIMARY, then you should activate your own in-house external cascade (your service, service line, or care line). It is important to keep those numbers updated often since one wrong number can relate to numerous employees not being located. Once you begin your in-house cascade, you should immediately call the Emergency Management Coordinator (EMC), Phillip Walker, whose numbers are listed on the External Cascade, or if he doesn’t answer (home or cellular), call the alternate, Luis Carreras, the Area Emergency Mgr (AEM). Inform him that you have initiated your in-house cascade, and that you successfully contacted the ***PRIMARY that you were responsible to call. If you were not successful, and you went down to another service, service line, or care line, please inform the EMC of that action so that he can ensure someone is contacted to begin that in-house cascade. NOTE: Do not wait until your in-house cascade is completed to call the EMC, call him as soon as you begin your in-house cascade. This will ensure that the QA established procedures would be effective in managing the timeliness of the cascade. Also, if the cascade is only a test or exercise, you should communicate this to everyone you call and tell them that no one is to report to duty outside their normal shift.

C.	Once your in-house cascade has been completed, on the next business day, or as soon as possible, please provide the EMC and the AEM via e-mail with a report as follows:

Service, service line, or care line:___________________

Total number of VA employees in your service, service line, or care line_________

Total number contacted ___________________

Total number of employees already on duty ___________

# Chapter II	Community Casualty Plan

Note:	This program is intended as a general guide and it is essential that everyone involved be flexible to meet situations as they develop.

A.	Major Objectives

1.	Provide essential medical care and treatment for community casualties, regardless of veteran status, whose illnesses or injuries are results of a disaster or whose care and treatment are complicated by a disaster.

2.	Accommodate casualties to the fullest extent of the medical center’s capabilities and reasonable resources. In conjunction with our humanitarian admission criteria, beds will depend upon availability.

3.	This medical center can assume that no outside support will be available for a minimum of 24-hours and should be as self-sufficient as possible.

4.	Coordinate blood supply requirements with Gulf Coast Regional Blood Center.

5.	Adjust available staff to meet requirements for an indefinite period of time (i.e. 12-hour shifts).

6.	Suspend those functions that do not directly contribute to emergency operations. Redirect the efforts required for those functions to accomplish emergency tasks.

7.	Attempt to arrange on-site housing & accommodations for key staff.

B.	Plan Outline.	Appendix 2A of this chapter designates the various activities and details which constitute our initial plan of action in the event of a community disaster. It is intended to serve as a convenient reference. Adjustments to meet developing and changing needs may be necessary and may be implemented at any level. These changes will be determined and directed by the IC.

C.	Activation of Plan.	Upon notification of a community disaster, the information will be communicated to the Medical Center Director during regular duty hours or to the Administrative Officer of the Day (AOD) during other than regular hours. As much information as possible will be obtained concerning the type of disaster, estimated number and approximate arrival time of casualties, name, telephone number and organization represented by the person calling.

- Upon activation of the Community Casualty Plan during normal working hours, all Executives and Chiefs (or alternates) will report to the auditorium (Room 4A-300) for information concerning the disaster and other instructions. In the event of unavailability of the auditorium, the Medical Center Director will designate an alternate site.

2.	During other than regular duty hours, the Medical Center Director will initiate the External Cascade System by contacting the Associate Director and the COS in accordance with the written cascade procedures.

D.	Operations

1.	Number of Casualties.	Although the HVAMC has a fully staffed and equipped emergency room, the number of casualties that can adequately be cared for is limited. The COS or AOD should determine how many and the type of casualties we can accommodate, taking into account the hospital's staff, the extent of the disaster, the time of day, and any other resources needed. Generally we have limited facilities for Weapons of Mass Destruction (WMD) or HAZMAT disaster victims. (See Chapter VIII, Radiation, Biological or Chemical Disaster).

2.	Ambulance Reception.	The receiving and unloading of ambulances and other vehicles bearing casualties will occur at the ER entrance, unless an alternate location is specified due to the need for DECON procedures.

3.	Triage - Building 100, Emergency Room Canopy Area

a.	The process of receiving, sorting and classifying the injured will be controlled by the Patient Access Center and a medical chart will be prepared for each casualty including non-veterans.

b.	In the event of extensive chemical or radiological casualties, the triage officer will request assistance via the Emergency Operations Center from Houston Fire Department (HFD) 911 dispatch. If this assistance is not available, the triage officer will notify the HVAMC’s Emergency Operations Center (EOC) and the Safety Officer will initiate decontamination procedures to safeguard patients, visitors, employees and property. NOTE: Biological casualties will be addressed separately.

- There will be adequate supplies of instruments and appliances for dealing with immediate life-threatening situations conveniently stored. Emergency tags for entering diagnosis, emergency treatment rendered and routine instructions will be available. Upon request, narcotics will be brought to the area by Pharmacy staff who will be responsible for security.

- In the event of a WMD disaster that may include Nuclear, Biological, or Chemical contamination, all clothing and articles of incoming casualties will be properly identified and accounted for to assist in investigations.

- Biological casualties will be treated according to Public Health guidelines.

4.	Ambulatory Casualty Treatment.	This treatment area is for patients with minor lacerations, minor fractures, first- and second-degree burns, hysteria, sprains and contusions of a relatively minor nature.

5.	Casualty Transport.	The Emergency Room nurse manager will provide an organized flow of patients from one treatment area to another. Efficient use of nearby elevators will assist in moving the injured vertically. In the event of an electrical outage, at least one elevator in each bank will be available under emergency power.

E.	Responsibilities

1.	Emergency Operations Center (EOC)

a.	Establish and maintain essential lines of communication. Document and maintain a written audit trail of all patients from time of reception through completion of treatment.

b.	Coordinate assignments of personnel to casualty care areas.

c.	Release unneeded staff to normal duty.

d.	In conjunction with the medical staff, determine need for transfer of hospital patients to community facilities.

2.	Initial Triage Area Personnel

a.	Report promptly to designated area and to responsible official for assignment.

- Prepare to provide essential urgent care. The designated nurse will bring the transport kit and the Chief, Pharmacy Section or designee, will bring the narcotics to the designated triage area. If needed, EOC staff will designate an alternate triage area.

- A responsible official will inform the EOC of additional personnel needs.

- The EOC staff will coordinate the changes of Incident commanders as necessary.

3.	Chief of Staff

- Assumes responsibility as Operations Manager as outlined in Hospital Emergency Incident Command System (HEICS) Job Action Sheets (JAS).

- Responsible for staffing the Patient Reception Team as outlined in the VA/DOD Contingency Plan.

- Assign personnel to initial triage area and support teams.

d.	Evaluate minimal staffing needs for normal hospital operations.

e.	Adjust long-range staffing plans as necessary.

- The professional staff shall provide physicians and other staff to advise, assist and treat (as necessary) injured during removal from wreckage or disaster area. As evacuation progresses, the physicians should withdraw to treatment functions.

- Ensure emergency clinicians are adequately trained in all areas to include WMD casualties.

4.	Operative Care Line.	Upon notification of an emergency, the Operating Room supervisor will:

a.	Notify staff normally assigned in that area.

b.	Ready operating rooms to provide definitive operative care.

c.	Notify EOC staff of number of available operating suites and number of available SICU beds.

d.	Coordinate with the Environmental Management Section to ensure adequate staffing for increased workload.

5.	Clinical Practice Office

a.	The Chief Nurse Executive, or designee, will ensure that adequate staff is assigned to the triage area to assist with emergency treatment and care.

b.	The Emergency Room Nurse Manager in triage will coordinate with physicians in treatment rooms and the HEICS Operations Chief regarding specific unit assignments of victims from the triage area.

6.	Voluntary Section.	Maintain roster of active volunteers and service organizations that may be utilized in an emergency.

7.	Patient Access Center (PAC) Manager

a.	Record information on casualties and furnish information to Public Affairs & Consumer Relations Officer at Emergency Operations Center.

b.	Collect information on bed availability from each unit and supply it to triage and Emergency Operations Center.

c.	Provide emergency messenger service on request of EOC.

d.	Maintain listing and location of evacuated patients and casualties.

e.	Provide patient information to the HEICS Planning Chief and PIO.

- Maintain a complete record of all deceased casualties and provide information to HEICS Planning Chief and PIO and the Chaplain’s Office.

- Tag all belongings of each patient to ensure ownership.

8.	Information Management Service Line

a.	Maintain a log of switchboard activities during disaster.

b.	Manage the setup of all command center communications, to include telephone and computer support.

c.	Maintain list of all medical center employees including current addresses and phone numbers.

d.	Assist with any data or voice communication needs between this medical center and the community partners in managing the emergency.

9.	Facilities Management Service Line

a.	Establish Damage Control Center in Building 103 under the Engineering Section Manager, Facilities Management Service Line. Implement procedures for alternate utility sources, if needed, according to the Utility Management Plan.

b.	Assist in the rescue and evacuation of casualties.

c.	Provide transportation for movement of casualties, patients, personnel, supplies, etc.

10.	Human Resources Management Section

a.	Direct personnel from disaster manpower pool, Library Conference Room 4A-400D, upon request and maintain record of assignments. Ensure that all service chiefs, service line executives and care line executives send all non-essential personnel to the manpower pool located in the Library Conference Room 4A-400D.

b.	Coordinate use of available personnel from other agencies and community as necessary. Service chiefs, service line executives, and care line executives will assign non-essential personnel to the disaster manpower pool, Library Conference Room 4A-400D.

c.	Initially assign two persons to the Emergency Operations Center to act as messengers.

- Maintain list of employees who speak languages other than English.

- Acquisition & Materiel Management Section

a.	SPD will furnish supplies and equipment to support emergency plan (Disaster Cart).

b.	Coordinate the availability of supplies and equipment from emergency sources.

c.	Plan for internal distribution or obtain essential supplies and equipment from outside sources.

d.	Ensure an adequate operating inventory is on hand.

12.	Environmental Management Section, Facilities Management Service Line

a.	Man and operate elevators S6-S10 (keys to be picked up and returned to the Lock Shop). Man and operate emergency elevator to ICU (key to be picked up and returned to the Emergency Room).

b.	Provide patient transfer teams to disaster triage area initially.

c.	Coordinate patient transfer teams in waiting area next to Rooms C1A-802, 804 and 806.

d.	Provide linen throughout the Medical Center, as required.

13.	Pathology & Laboratory Medicine Section

a.	Provide information on blood supply, by blood type, to Emergency Operations Center, Room 4A-220.

b.	Be prepared to coordinate blood supplies and needs with the Gulf Coast Regional Blood Center.

c.	Be responsible for drawing patient blood samples at triage site as directed by triage physician or other medical staff.

d.	Provide blood and blood components for all medical center patients as needed.

e.	Notify potential blood donors of possible need for additional blood.

f.	Provide all emergency laboratory examinations.

g.	Make a complete record of all deceased and safeguard personal effects.

h.	Fingerprint unidentified deceased in coordination with the VA Police Chief or designee.

i.	Provide morgue facilities.

j.	Arrange for transfer of deceased through medical center authorities.

14.	Radiation Safety Officer

a.	The Radiation Safety Officer (RSO) will assume coordinating control in case of a nuclear radiation disaster. The RSO will automatically report to the triage area if the type of disaster is unknown. Responsibilities will be as specified in the Medical Center Policy Memorandum addressing the Radiation Safety Program.

b.	Nuclear Medicine Section will include radiation emergencies in its SERP and act as a resource.

15.	VA Police Service

a.	VA police officers will provide traffic control, both vehicular and pedestrian, and limit access to facility and grounds as directed.

b.	VA Police Service will provide a weather information center during warnings of severe weather and advise the Medical Center Director or representative.

- Fingerprint unidentified casualties.

- Assist outside law enforcements in any investigation of terrorist or other types of non-natural disasters.

16.	Nutrition & Food Section

a.	Provide food to casualties when directed.

b.	Continue food service to all patients.

- Provide food to personnel assisting in the disaster cleanup and patient care when directed.

- Be prepared to assist other community partners during food shortages due to a catastrophic event when directed by the Medical Center Director.

17.	Canteen Section

a.	Provide staff to assist Nutrition & Food Section as needed.

b.	Secure all Canteen facilities to public and staff.

c.	Be prepared to use Canteen facilities in support of Nutrition & Food Section as needed.

d.	Inventory all food and other useful items for use as needed.

18.	Medical Care Line

a.	Will be responsible for treatment of all casualties.

- Will furnish staff as directed to areas of minimal care, emergency and triage as necessary.

- Ensure key staff is trained for WMD casualties.

19.	Mental Health Care Line

a.	Send psychiatrists to triage area when requested.

b.	Treat all psychiatric problems that arise.

c.	Provide assistance with disturbed patients, visitors and staff.

20.	Social Work Practice Manager

a.	Assist in the determination of which patients can be discharged for maximum availability of beds.

b.	Coordinate with Volunteer and Chaplain sections to provide emotional and psychological needs of patients' families.

c.	Provide counseling and disposition services to patients.

d.	Coordinate contacts with local community emergency social resources.

e.	Telephonically notify disaster patients' families of patients' arrival at the medical center or transfer to another facility.

f.	Provide qualified individuals to perform duties with patient reception team.

21.	Fiscal Section

a.	Provide funds for emergency purchases.

b.	Maintain fiscal records.

c.	Evacuate essential medical records if threatened.

22.	Dental Section.	Send dentists to triage area when requested.

23.	Radiology Section.	Provide diagnostic services as directed.

24.	Audiology and Speech Pathology Section

a.	Send audiologist to triage area when requested.

b.	Provide liaison between persons with hearing and speech disabilities and triage medical care team to assure equal access is provided.

25.	Other Care Lines and Clinical Staff.	Be available for disasters as directed.

26.	Bed Services Available.	The following bed services are available at the HVAMC: Medical Care Line, Neurology Care Line, Mental Health Care Line, Operative Care Line, Spinal Cord Injury Care Line, Rehabilitation Care Line, and Extended Care Line.

Appendix 2A

## Initial Plan

| Activity | Ext. | Location | Responsible Official | Initial Staff | Radio Call Sign |
| --- | --- | --- | --- | --- | --- |
| Emergency Operations Center | 7100 | Building 100 Boardroom (Room 4A-235) | Medical Center Director | HEICS Officers Others as deemed necessary | Operation Center |
| Triage | 3748 | Building 100 Emergency Room | Prime Care Director | ER Medical Director ER clinical staff | Triage |
| Alternate Triage #1 | 7191 | Building 100 Main Entrance Lobby | Prime Care Director | ER Medical Director ER clinical staff | Triage |
| Alternate Triage #2 | 6184 | Building 100 Clinic Area #1 | Operative Line Executive | Chief Surgical Resident Cardiovascular Surgeons Anesthesiologists Nurses as required Pharmacist | None |
| Delayed Care | 6626 | Building 100 Clinic Area #2 | Medical Care Line Executive | Chief Neurology Resident Four registered nurses One licensed vocational nurse | None |
| Minimal Care | 2053 | Building 100 Clinic Area #3 | Medical Care Line Executive | Prime Care Clinic physicians nursing staff as required | None |
| DOA and Expected to Expire | 3803 | Building 100 (Rooms 1A-801, 1A-803) | ER Nurse Manager | One nurse, as required | None |
| Police Traffic Control and Security | 7106 | Building 100 (Room 1A-820) | VA Police Chief | VA Police | Security |
| Disaster Manpower Pool | 4517 | Building 100 (Room 4A-400D) | HRM Section Manager | Available staff | Manpower Pool |
| Patient Transport Pool | 3803 | Building 100 ER waiting area outside VA Police office | Environmental Management Section Manager | Environmental Management Section staff | None |
| Casualty Information | 7349 | Building 100 (Room 4A-231) | External Affairs Executive | Public Affairs Officer Social Workers Chaplains | None |
| Transportation | 7474 | Building 100 (Room 4B-358) | Engineering Section Dispatcher | All available drivers | Transportation |
| Communications | 4952 | Building 100 (Room 3A-324) | Telephone Unit Supervisor | Two telephone operators | None |
| Supplies | 7090 | Building 100 (Room 4B-308) | A&MM Section Manager | Available staff | None |
| Damage Control | 7474 | Building 100 (Room 4B-358) | Engineering Section Manager | HEICS Logistics Chief | Logistics Chief |
| Linen | 7488 7208 | Building 100 (Room BC-350) | Textile Management Section Manager | Textile Care staff | None |

All two-way radios (HT1000) should be on Channel 5 for all disaster or disaster drill communications.

Appendix 2B

## List of Sources for Emergency Purchases

Blood

| Gulf Coast Regional Blood Center 1400 LaConcha Houston, TX 77054 (713) 790-1200 |  |
| --- | --- |

Pharmaceuticals

| Bindley-Western Drug Co. 3526 E. T.C. Jester Houston, TX 77018 (713) 683-0505 or (713) 683-0453 | Foxmeyer Drug 950 Grand Ave. Beaumont, TX 77704 (800) 221-0558 |
| --- | --- |
| Tennessee Wholesale Drug Co. 200 Cumberland Blvd. Metro Center Nashville, TN 37228 (800) 251-3425 |  |

Blankets

| American Hospital Supply Corp. 920l Grogans Mill The Woodlands, TX 77380 (281) 367-9201 | Sears Roebuck 598 Garden Oaks Blvd. Houston, TX 770l8 (713) 695-2111 |
| --- | --- |

Subsistence

| Glazier Food Co. 1280 Oliver St. Houston, TX 77007 (713) 869-6411 | Sysco Foods 535 Portwall Houston, TX 77029 (713) 672-8080 |
| --- | --- |
| Allen Foods, Inc. 8543 Page Ave. St. Louis, MO 63114 (314) 426-4100 |  |

Medical Transportation

| Guinn Flying Service 6821 Piccadilly Houston, TX (713) 645-8628 | Life Flight 6410 Fannin Houston, TX 77039 (713) 797-4397 |
| --- | --- |

Funeral Directors

| Citizens Funeral Home 7512 Lockwood Houston, TX 77076 (713) 631-1393 | Niday Funeral Home 4136 Broadway Houston, TX 7706l (713) 644-3831 |
| --- | --- |
| Houston Memorial Funeral Home 10817 W. Hardy Houston, TX 77076 (713) 692-4441 | Williams & Sons Funeral Home 7811-1/2 Cullen Houston, TX 77051 (713) 738-2234 (713) 733-4361 |

Appendix 2C

## Mutual Aid Agreements with other Healthcare Facilities

The HVAMC is committed to cooperating with the local area by assisting with medical support during a disaster. Mutual aid agreements have been signed with the following health care facilities: Texas Children's Hospital, San Jacinto Methodist Hospital, Hermann Hospital, and Columbia Woman's Hospital of Texas. Copies of the signed agreements may be obtained from the Area Emergency Manager.

# Chapter III	Civil Disturbance Preparedness Program

Note:	As circumstances dictate, the provisions of Chapter II, Community Casualty Plan, will be affected in addition to the instructions contained in this chapter.

A.	Objective.	To provide countermeasures for facility emergencies resulting from riots, civil disturbances or individuals threatening violence.

B.	General Procedures

1.	The VA Police Chief will notify the Harris County Sheriff's Office, City of Houston Police Department, and any other assistance resource as directed by the Medical Center Director. Notify VA Central Office (Director, Security Staff, 13D).

2.	Service chiefs, service line executives and care line executives should be prepared for a high absentee rate during the first days of the emergency. Accordingly, their departmental staff plans should make provisions for this contingency.

3.	Admitting area staff should expect that the number of patients admitted is likely to increase as darkness approaches.

4.	Medical Center staff should draw all blinds, shades and drapes at dusk and use a minimum of light throughout the Medical Center.

5.	Off-duty employees will be contacted by phone, messenger or local radio stations.

C.	Responsibilities of Service Chiefs, Service Line Executives and Care Line Executives

1.	Ensure that non-essential personnel are sent to the HEICS manpower pool located in the Library Conference Room 4A-400D.

2.	Ensure that adequate food and water is on-hand for staff, families of staff, patients, visitors and assisting personnel from other entities.

3.	Ensure that adequate resources are procured.

4.	Ensure that essential resources are safeguarded.

5.	Ensure that cascades and SERPs are updated regularly.

6.	Ensure that staff remain current on all essential training requirements.

# Chapter IV	Bomb Threats

A.	Purpose.	This chapter describe how individual employees and the medical center will act when a Bomb Threat is received. The appendices include a form to be used by an individual who receives the threat.

1.	Situation and Assumptions.	Any bomb threat needs to be taken seriously. A bomb threat can be the result of an individual who wishes to disrupt the activities of the institution. Usually the threat is not real, but the individual making the threat achieves their goal by making the institution react. However, there are occasions where the threat is real. Therefore, it is important to have a program to comprehensively search and identify a possible device. Because a device is usually concealed in a container that appears out of place to people who know what is usually in the area, it is important that any search team include, if possible, individuals from the area.

2.	Concept of Operation.

a.	Threatening messages/bomb threat information:	A threatening telephone call may be received either by a patient, visitor, volunteer or an employee. Threatening telephone calls may be directed toward a staff member or may be the announcement of an explosive or other harmful threat directed toward a person or government property. The extent of search, evacuation and activation of other aspects of the program will be determined by the Medical Center Director or designated representative.

(1)	When call is received:

(a)	Employees receiving calls that convey a threat against medical center property, personnel, patients, etc., should remain calm and take the following steps:

(1)	Attempt to keep the caller talking as long as possible without increasing the caller’s antagonism.

(2)	Continue to keep the caller talking to allow time for tracing the call.

(3)	Other personnel in the immediate area should contact VA Police Service by dialing 911.

(4)	Inform the police dispatcher that a threatening call has been received and identify the extension number.

(5)	VA Police Service will attempt to trace the call by contacting Southwestern Bell Security.

(b)	Any employee who receives a threatening call that announces a bomb threat, will attempt to get the following information (see Appendix 4B) and write it down immediately.

(1)	Location of the bomb or explosive device.

(2)	Time it will explode.

(3)	Identify how the caller got the information.

(4)	Attempt to obtain identification from the caller.

(c)	Upon termination of the call, immediately write the exact wording of the threatening conversation, time it was received and the extension number on which the call was received. This information should be provided to VA Police Service at extension 7106.

(d)	During normal administrative hours, VA Police Service will immediately contact the Medical Center Director's office when notified of a threat and then notify Engineering Section, FMS at extension 7474 to make certain that bomb threat staff is activated to follow SERP search procedures.

(e)	During non-administrative hours, the police supervisor will contact the AOD and the Medical Center Director or alternate.

(f)	During non-administrative hours, the AOD is responsible for dissemination of information to the nursing units.

(2)	Reporting the threat:

(a)	Report all threats to VA Police by calling 911.

(b)	Take action as directed by Medical Center Director or designee, which may include both searches and evacuation. Police Service will assume bomb scene security. During non-administrative hours the AOD will be the Acting Medical Center Director until relieved by the Medical Center Director or designee.

b.	Leadership during bomb threat:

(1)	The Medical Center Director or designee will determine the extent of the search for the bomb. This decision will be based on available information. A search may be directed to a single section or the full facility.

(2)	Police Service will assume bomb scene security.

(3)	During normal administrative hours, the Facilities Management Service Line Executive will act as Search Coordinator (extension 7474). The COS or designee will act as Search Coordinator for the outpatient clinic areas (extension 7034). Any nurses assigned to the search area will assist those coordinating the search.

(4)	During non-administrative hours, the AOD will act as Search Coordinator until relieved by the Medical Center Director or designee.

(5)	After the determination of the scope of the search (full facility or partial), the senior employee in affected area will be asked to immediately search their own area and report the results of the search to the VA Police. Searches will always be made in teams of two. If an area is not occupied, service chiefs, service line executives and care line executives in charge of the unoccupied area will be called and asked to return or have designees more familiar with the areas return to search the unoccupied areas.

c.	Searching for a device:	Search procedures and evacuation of patients, visitors, and employees depend upon the location, information about the bomb, time of day, validity of information, etc. If the threat can be localized to a section or sections of the HVAMC, then a complete search of the facility may not be necessary. The decision to limit the search will be made by the Medical Center Director or alternate based on available information.

(1)	Administrative and clinical areas will be divided into search sections. Each nursing unit will be considered an individual search area. All adjacent halls, stairwells, fire escapes, utility rooms, cupboards, closets, public or private bathrooms, storerooms, and waiting rooms will be considered part of the section. The charge person will be asked to immediately search their own area and report to the Search Coordinator. Laundry chutes will be the responsibility of Textile Management Section staff.

(2)	Strict security should be maintained on each section searched until the entire search is complete.

d.	Discovery of suspected bomb

(1)	Any employee finding a package suspected of being a bomb or similar device will immediately notify the VA Police by calling 911. DO NOT TOUCH OR DISTURB A SUSPECTED BOMB.

(2)	The immediate area will be promptly evacuated. Any areas above and below the suspected bomb will also be evacuated.

(3)	Large-scale evacuation procedures will be initiated only when ordered by the Medical Center Director or designee.

(4)	The Police Chief or designee will contact authorities deemed advisable by the Medical Center Director. Houston Police Bomb Squad will be called if a suspected device is found.

3.	Administration and Logistics:	The administration and implementation of this program and training on its policies and procedures, shall be the responsibility of the Police Chief and the Emergency Management Program Committee, with the assistance of the service chiefs, service line executives and care line executives. The effectiveness of the administration of this program shall be evaluated through plan implementation during actual emergencies or exercises. Staff knowledge and responsibilities shall be critiqued by the service chiefs, service line executives and care line executives and reported to the VA Police Chief. VA Police Service will make periodic reports to the Emergency Management Program Committee.

4.	Plan Development and Maintenance:	The Police Chief and the Facilities Management Service Line Executive are responsible for coordinating the development and implementation of this program. They shall coordinate the development with the Emergency Management Program Committee. Periodic training on the concepts included in this program shall be given.

B.	Standard Operating Procedures

1.	Search Area Definitions:

a.	Administrative and clinical areas will be divided into search sections. Each nursing unit will be considered an individual search area. All adjacent halls, stairwells, fire escapes, utility rooms, cupboards, closets, public and private bathrooms, storerooms, telephone booths and waiting rooms will be considered part of the section. The charge person will be asked to immediately search their own area and report to the Search Coordinator. Laundry chutes will be the responsibility of Textile Management Section staff.

b.	Strict security should be maintained on each section searched until the entire search is complete.

2.	Search Protocol:

a.	Call received by employee.

b.	VA Police notified by calling 911. The police supervisor contacts the AOD, Associate Director, Medical Center Director, Chief, Police Service, etc., as outlined in the VA Police SOP.

c.	Decision made regarding search.

d.	Initial search made.

e.	All involved, search sections and report results back to VA Police.

f.	Decision to continue by conducting follow-up search.

g.	Follow-up search made.

h.	Results reported to Medical Center Director by Police Chief or highest-ranking police officer.

If suspected bomb found, DO NOT TOUCH. Evacuate the surrounding area. Notify VA Police (extension 7106). The Police Service will notify the Houston Police Bomb Squad. Houston Police Bomb Squad will deal with suspected bomb.

3.	Initial Search:

a.	All radio communication systems (two-way radio systems, beepers or cellular phones) will be turned off during the bomb threat. Search teams will turn off two-way radios, beepers or other cellular phones. Code teams will be placed on special alert during a bomb threat. Notifications will be accomplished by overhead announcements instead of the beeper system. Other communication will be over hard-wired telephone systems only.

b.	Teams should consist of two people, both preferably from the area being searched.

c.	Teams should NOT disturb any suspicious item found. Evacuate the surrounding area. Police Service will notify Houston Police Bomb Squad. Houston Police Bomb Squad will deal with suspected bomb.

REMEMBER! If an area is not accessible, make note of these areas on the Unsearched/Locked Rooms Report.

d.	Room Searches:

(1)	Upon entering rooms, team will stop, look and listen for something unusual.

(2)	Divide the room in half for a more thorough search.

(3)	The room search will be divided into height level searches. They should be done in order.

(a)	Floor to hip height.

(b)	Hip height to chin.

(c)	Chin to ceiling.

(4)	Do not attempt to search false ceiling spaces at this time.

(5)	Do not attempt to look in every drawer. Look in obvious places (i.e., trash containers, under covered areas, drawers near doors).

(6)	Go through every room in this manner until the entire building search is complete. This will end the initial search.

(7)	Upon completion of the initial search, return to the Emergency Operations Center to report and to submit the Unsearched/Locked Rooms Report to the Medical Center Director or VA Police.

4.	Follow Up Search:

a.	All radio communication systems (two-way radio systems, beepers or cellular phones) will be turned off during the bomb threat. Search teams will not carry or use two-way radios, beepers or other cellular phones. Overhead paging will be used instead of the beeper system. Other communication will be over hard-wired telephone systems only.

b.	Teams should consist of two people: one from the area being searched and the other from Facilities Management Service Line.

c.	Teams should NOT disturb any suspicious item found.

d.	Room Searches:

(1)	Upon entering rooms, team will stop, look and listen for something unusual.

(2)	Divide the room in half for a more thorough search.

(3)	Be more thorough the second time through.

(4)	Look in closets, drawers, suitcases, cupboards, enclosed washbasins, toilet tanks, windowsills, etc.

(5)	The room search will be divided into patterns. They should be done in order.

(a)	Floor to hip height.

(b)	Hip height to chin.

(c)	Chin height to ceiling.

(d)	Above the false ceiling. Facilities Management Service Line staff conduct this.

(6)	Go through every room in this manner until the entire building search is complete. This will end the second search.

(7)	Upon completion of the search, return to the Emergency Operations Center to report and to submit report to the Medical Center Director or Police Service.

C.	Bomb Threat and Threatening Phone Call Plan

1.	Purpose.	These procedures shall be applied for the protection of life, primarily, and for the protection of property, secondarily, in the safest, most expeditious manner and with minimal disruption to medical center business and operations.

2.	Records.	It is imperative that records be maintained of patients, employees and anyone else who has made a clear and positive voice threat of harm or destruction. This type of file will help for referral and comparison with the characteristics of threat callers and can minimize disruption of facility operations and lead to prevention of crimes of violence. All threat records should be forwarded to the VA Police for retention.

3.	Control.	The Medical Center Director or designee will retain complete decision authority over actions to be taken in response to bomb threats or bomb discoveries. The decision point in bomb threat reaction, i.e., whether to evacuate, to initiate search procedures, or to ignore the threat, is of far more consequence in a healthcare facility than in any other type facility and must be made by the Medical Center Director or designee.

4.	Notification.	When a bomb threat is received or otherwise initiated, the employee who received the threat shall notify the medical center police supervisor on duty by calling 911. The employee will then complete Appendix 4B, "Bomb Threat Phone Report," and take it to the on-duty police supervisor in Building 100, Room 1A-820. Upon receipt of such notification, the on-duty police supervisor will notify the telephone operator. The telephone operator will notify the individuals specified in Appendix 4A.

5.	Operation

a.	All employees will immediately search their assigned areas and report to the HEICS Safety & Security Officer at extension 7106 and the EOC at extension 7100, that their area has been cleared. After close of business, Police Service, Environmental Management and Engineering Sections staff on duty will conduct a search of all closed areas normally open to the public. Areas normally locked and unavailable to the public or patients will not be searched unless there is reason to be suspicious.

b.	The police supervisor shall remain near the police dispatch area until relieved by higher authority. The supervisor will check off all cleared areas. Floor plan lists will be provided by Facilities Management Service Line and maintained by the Police Service.

c.	The police supervisor will meet with the City of Houston police officers that respond to the HVAMC’s call and advise them of details of the bomb threat message and of what is being done by HVAMC staff. After all areas have been searched and cleared, the police supervisor will so advise employees throughout the hospital.

d.	Bomb threat files will be maintained by Police Service.

IF A SUSPICIOUS PACKAGE IS LOCATED - DO NOT TOUCH IT! NOTIFY MEDICAL CENTER POLICE IMMEDIATELY.

Appendix 4A

## Telephone Notification
Bomb Threat Checklist

The telephone operator will call the following staff at their offices during normal working hours. Telephone operators will ensure home telephone numbers are kept current for after-hours notification.

Medical Center Director	7100

Associate Director	7531

Chief of Staff	7011

Facilities Management Service Line Executive	7474

Police Chief	7106

Police Service Administrative Division Manager	3310

Police Service Uniformed Section Supervisor	6208

Emergency Management Office	7973

Chief Nurse Executive	7475

Information Management Service Line Executive	7148

Environmental Management Section Manager	7488

AOD (irregular tour)	Pager 1821

Appendix 4B

## Bomb Threat Telephone Report

Complete this questionnaire after receiving a bomb threat.

Caller ID: (___) _____-_____	Date:		Time Received:		Ended:

Exact words of Caller:

Questions to ask:

When will it explode?

Where is it located?	Building	Floor	Area	Room

What kind of bomb is it?

What will make it explode?

How do you detonate it?

What does it look like?

Why kill or injure innocent people?

Why was it put there?

What is your name?

Address?

Description of Voice:

Male	Female	Calm	Nervous

Young	Middle Age	Old

Speech:	Rough	Refined	Accent

Speech Impediment (describe)

Unusual phrases

Recognize voice?	If so, who do you think it was?

Background Noise:

Music	Running Motor (type)	Traffic	Whistles

Bells	Horns	Aircraft	Tape Recorder

Machinery	Other

Did the caller indicate knowledge of the facility?

If so, how?

Remarks:

DELIVER BOMB THREAT REPORT TO MEDICAL CENTER POLICE IMMEDIATELY
(Building 100, Room 1A-820)

Appendix 4C

## Bomb Search Schedule

| Function | Responsible Staff | Area |
| --- | --- | --- |
| Active Units | Nursing Unit Staff | Corridors, patient rooms, toilet areas and other unit space open to the public |
| Public Areas | Police Service | Elevator lobbies of all floors and the main lobby |
| Public Areas | Environmental Management Section | Public toilets, corridors, areas with general employee locker rooms (does not include surgery or other special locker rooms which are the responsibility of the respective services, service lines and care lines), ATS holding rooms and conference rooms, other spaces as assigned by the police supervisor |
| All Administrative service lines and sections | Service line and section staff | Offices, conference rooms and toilets with respective areas open to the public. |
| Nutrition & Food Section | Section staff | All Nutrition & Food areas open to the public |
| Rehabilitation Care Line | OT, PT, VRT staff, as appropriate | Therapeutic areas open to the public |
| Veterans Canteen Section | Section staff | Retail store, food service area, canteen offices, canteen areas open to the public |
| Engineering Section | Section staff | All section areas, grounds, stairwells, elevators, interstitial spaces and mechanical bays, other spaces as assigned by police supervisor |

| Function | Responsible Staff | Area |
| --- | --- | --- |
| Operative Care Line | Care line staff | Care line offices, locker rooms, lounges, room, and other care line areas open to the public |
| Chaplain Section | On-duty chaplains | Chapel and all areas by Chaplain Section open to the public |
| Medical Care Line | Care line staff | ER, Prime Care, PAC area conference rooms, examination rooms and other spaces occupied by MCL staff that are open to the public |
| Mental Health Care Line | Care line staff | All Mental Health Care Line conference rooms, waiting rooms and other spaces open to the public and patients |
| Library Section | Section staff | All Library spaces open to the public and patients |
| Pathology & Laboratory Medicine Section | Section staff | All P&LM Section spaces open to the public or patients |
| Human Resources Management Section | Section staff | All HRM Section spaces open to the public |
| Pharmacy Section | Section staff | All Pharmacy waiting areas |

# Chapter V	Adverse Weather Conditions

A.	Purpose.	This section shall be applied for the protection of life, primarily, and for the protection of property, secondarily, and with minimal disruption to medical center business and operation.

B.	Control.	At the Medical Center Director's discretion and when conditions warrant, an emergency meeting of all service chiefs, service line executives and care line executives will be held in order to coordinate the preparation and operation of all services, service lines, and care lines. At this time an EOC post will be established to disperse information to the services, service lines, and care lines throughout the period of the emergency. Should telephone service be disrupted, each service, service line and care line will designate a courier exclusively assigned to transmit and receive messages to and from the EOC.

C.	Notification.	Upon notification of adverse weather conditions, the Medical Center Director will order the appropriate services to prepare for the conditions anticipated.

D.	Responsibilities

1.	Facilities Management Service Line. Be prepared to prevent flooding and window damage. Ensure continuation of all utility services and any appropriate action.

2.	Clinical Practice Office.	Be prepared to move patients as necessary from areas of danger and to continue nursing duties with minimum interruptions. Be prepared to discharge as many patients as necessary.

3.	Patient Access Center (PAC)	Arrange to move as many patients to other VA medical centers as necessary.

4.	Nutrition & Food Section, CSSL.	Be prepared to furnish meals to employees, visitors, volunteers or family members of employees who may be at this medical center.

5.	Human Resources Management Section, BOSL.	Be prepared to call as many employees to return to duty as deemed necessary by the Medical Center Director. In situations such as flooding or hurricane, the Human Resources Manager, or designee, is authorized to inform returning employees that they may bring members of their immediate family with them if they are in danger from the weather.

6.	Police Service.	Will secure all entrances and allow only authorized employees to enter. Further, set up roving patrols in order to maintain security and notify the Medical Center Director of any damage to the HVAMC so appropriate action can be taken to prevent further damage.

E.	Submission of Weather Plan.	All services, service lines and care lines must include, in detail, their individual adverse weather plan in their Emergency Response Plan. Copies must be forwarded to the Facilities Management Service Line Executive. Each plan will be written to support functions outlined above and in accordance with the other sections of the facility's emergency response plan.

# Chapter VI	Patient Evacuation

A.	Policy.	It is the policy of the HVAMC to evacuate patients, as a last resort when remaining in the area would pose an unacceptable risk. This risk may come from a fire, utility failure, hazardous material spill, structural damage, or terrorist act. The facility will use other assets, the authorized components of the National Disaster Medical System (NDMS) and Mutual Aid Agreements, as needed.

B.	Procedures — Phase I

1.	The Medical Center Director will advise key staff (using the Cascade System) of our need to evacuate and relocate patients within the HVAMC complex.

2.	The Patient Access Center Manager will poll the units for available beds and report it to the Medical Center Director and COS.

3.	The COS will direct the relocation of patients to units most capable of providing a level of care.

4.	The Health Information Management Section (HIMS) will maintain communications with unit staff to assure that patient records are kept current and that reallocations occur as directed.

5.	The Police Service will control access to the buildings and area being evacuated.

6.	Nursing unit staff, as well as all other available employees, will assist in the evacuation and transport of patients as directed by the nurse manager, charge nurse or safety staff. Generally, patients will be moved by one of the following methods:

a.	Ambulatory patients shall be assisted off the unit by evacuation personnel, following assigned evacuation routes. Evacuation personnel shall stay with assigned patients until they are transferred to the next "link" in the evacuation chain. Patients will never be left unattended.

b.	Wheelchairs will be utilized for wheelchair-bound patients. Wheelchairs should be reused as much as possible for continuing evacuation.

c.	Bed-ridden or otherwise incapacitated patients should be moved in their beds as much as practical; otherwise, move patients to the floor, wrap in blankets or sheets and drag along the floors to evacuation routes. In the event of smoke or fire, excessive heat, or chemical irritant, cover the patient’s face with a wet towel as much as is practical. In a smoke-filled environment, move patients along as close to the floor as possible.

7.	After all patients are evacuated from the area; Engineering Section and Police Service staff will make a final inspection and secure the area.

8.	The Facilities Management Service Line Executive, or designee, will attend to the facility deficiencies causing the evacuation and direct facility vehicles as may be needed to relocate patients or equipment.

C.	Procedures — Phase II

1.	The Medical Center Director will advise key staff (using the Cascade System) and the South Central VA Health Care Network Director of our need for total evacuation and request support as needed.

2.	The Area Emergency Manager will poll other VAMCs or local NDMS participating medical centers to determine bed availability and so advise the Medical Center Director and Patient Access Center Manager.

3.	The Police Service will direct incoming patient transportation vehicles to appropriate locations for patient pickup.

4.	The Health Information Management Section Manager will direct staff to each loading point to maintain patient information.

5.	The Facilities Management Service Line Executive or designee will attend to the facility deficiencies causing the evacuation and direct facility vehicles to the proper loading points.

6.	Evacuation will be by priorities as established by the COS. Procedures will be as stated in paragraphs B.6., a.-c., above.

7.	Patient pickup points will be as follows:

a.	West:	Transitional Care Center entrance

b.	Center:	Main entrance

c.	East:	Spinal Cord Injury entrance

8.	The Patient Access Center Manager will provide the Medical Center Director with the roster showing where each patient has been transferred.

D.	Responsibilities

1.	The Medical Center Director, or alternate, is responsible for ordering area evacuation (Phase I) or total building evacuation (Phase II).

2.	The Nursing staff on the affected units will be responsible for supervising the method and order of patient evacuation in conjunction with the Safety Manager who will supervise staff from the disaster manpower pool in the proper lifting and carrying of patients. The Facilities Management Service Line Executive, or designee, will be responsible for selecting and coordinating the evacuation route with the Nursing and Safety staff.

3.	The Patient Access Center (PAC) Manager is responsible for coordinating the recording of patient transfers and the safeguarding of the patient records.

4.	The Police Service is responsible for controlling access to the building, securing areas evacuated and posting personnel if necessary and maintaining vehicle traffic flow around the medical center.

# Chapter VII	Radiation Disaster

A.	Policy.	This facility is not equipped to deal with a large-scale radiation disaster. The following information is provided for small-scale radiation accidents. In the event of a radiation disaster it is the policy of this medical center to:

1.	Isolate patients and limit contamination to ensure safety of hospital staff and facilities.

2.	Request assistance via the Emergency Operations Center from the Houston Fire Department 911 dispatcher.

B.	Objectives

1.	To provide emergency care to patients that have been accidentally contaminated or exposed.

2.	To ensure the safety of Medical Center staff and facilities.

3.	Determination of actual exposure shall be done by description of accident before patient arrives at the Medical Center or from the use of a radiation survey meter after arrival.

4.	Upon notification that individuals involved in a radiation accident are being sent to the Medical Center, the Radiation Safety Officer (extension 7396) shall be notified by the Emergency Room nurse manager (Triage) immediately so that proper guidance can be provided. The switchboard operator will also contact the Radiation Safety Officer, Nuclear Medicine physician and the Texas Department of Health, when advised.

a.	The Nuclear Medicine physician may be contacted via the Medical Center’s operator, or by calling extension 7115.

b.	The Texas Department of Health may be contacted at (512) 834-6688 or after-hours at (512) 481-1000.

5.	Upon arrival of the radiation accident victim, the first concern should be for the correction of life threatening situations and implementation of proper medical care.

6.	The specific procedures regarding treatment and protection of patients and employees will be found in the Medical Center Policy addressing the HVAMC’s Radiation Safety Program.

7.	There are four basic types of radiation exposure:

a.	Externally emitted radiation that penetrates body tissues

Example:	X-rays, Gamma rays, beta particles, and neutrons.

Guidelines and precautions to observe in caring for the patient:

(1)	With the possible exception of neutron exposure, the patient is not radioactive and poses no hazard to attending persons. Depending on the degree of exposure, the patient may become quite sick and show various symptoms, including nausea and vomiting.

(2)	From the standpoint of radiation, the patient does not require isolation or special handing procedures.

(3)	All of the patient's personal items (e.g., clothes, money, watch, rings, belt, tie clasp, etc.) should be collected and retained. Each object should be labeled with the patient's name and location.

b.	Radioactive material deposited on the skin or clothing

Example:	Radiation may evolve from a solid liquid, gas, or powder.

Guidelines and precautions to observe in caring for the patient:

(1)	Anyone touching the patient or handling clothing may become contaminated.

(2)	Rubber gloves, shoe covers, and a lab coat should be worn by all attending persons. Respiratory equipment may also be desirable, depending on the chemical properties of the contaminating substance.

c.	Radioactive material inhaled, ingested or internally deposited through a wound:

(1)	Radiation may be emitted from substances in a solid, liquid, or gaseous form.

(2)	Normally inhaled, ingested, or wound deposited radioactive materials, in the absence of external contamination, do not constitute a serious hazard to attending persons. The quantities deposited are normally low.

(3)	Contamination problems may arise when vomiting or bleeding occurs. The patient should be handled as if s/he were externally contaminated with a radioactive liquid.

(4)	Medical staff by direction of the HEICS Operations Chief will label and save all of the patient’s personal objects and all urine, feces and vomitus.

d.	Radioactive material in a solid form that is imbedded with body tissues:

Flying pieces of radioactive metal, glass, or wood can cause this condition. This type of contamination usually follows an explosion and may involve particles that emit large amounts of radiation.

(1)	Of the four listed, this type of accident is rare, but could be the most hazardous to attending persons.

(2)	The imbedded objects may be highly contaminated or radioactive and should be removed from the patient as soon as possible. Depending on survey meter readings, remote handling tools and limited personnel exposure periods may be advised.

(3)	Obviously, many problems and questions arise with this type of contamination. The most important point to stress is that a person trained in the use of simple radiation survey instrumentation should be present with instruments to assess the radiation levels emanating from the patient.

(4)	Label and save all of the patient's objects and all urine, feces, and vomitus.

e.	Being forewarned of the types of accidents gives Medical Center staff better means of communicating the problem to the Radiation Safety Officer. When s/he arrives s/he will work closely with the nurses and physicians to implement the best plan for managing the problem.

# Chapter VIII	Bio-terrorism Readiness Plan

A.	Reporting Requirements and Contact Information.	The HVAMC and other healthcare facilities may be the initial sites of recognition and response to bio-terrorism events. If a bio-terrorism event is suspected, local emergency response systems should be activated. Notification should immediately include the HEICS IC, Officers, Chiefs and Administrative Services Director and prompt communication with the local and state health departments, FBI field office, local police, CDC, and medical emergency services. The following telephone notification numbers are available for HEICS staff use:

INTERNAL CONTACTS:

Medical Center Director, extension 7100

INFECTION CONTROL, extension 7808

EPIDEMIOLOGIST (Infectious disease physician), extension 7589

ADMINISTRATION/PUBLIC AFFAIRS, extension 7349

HEICS PIO ext 7349

EXTERNAL CONTACTS:

LOCAL HEALTH DEPARTMENT (713) 794-9181/Pager (713) 549-5047

STATE HEALTH DEPARTMENT (713) 767-3000

FBI FIELD OFFICE (713) 693-5000

BIO-TERRORISM EMERGENCY NUMBER, CDC Emergency Response Office (770) 488-7100

CDC HOSPITAL INFECTIONS PROGRAM (404) 639-6413

B.	Potential Agents.	Four diseases with recognized bio-terrorism potential (anthrax, botulism, plague, and smallpox) and the agents responsible for them are described in Section II of this document. The CDC does not prioritize these agents in any order of importance or likelihood of use. Subsequent installments of this document will address additional agents with bio-terrorism potential, including those that cause tularemia, brucellosis, Q fever, viral hemorrhagic fevers, and viral encephalitis, and disease associated with staphylococcal enterotoxin B.

C.	Detection of Outbreaks Caused by Agents of Bio-terrorism.	Bio-terrorism may occur as covert events, in which persons are unknowingly exposed and an outbreak is suspected only upon recognition of unusual disease clusters or symptoms. Bio-terrorism may also occur as announced events, in which persons are warned that an exposure has occurred. Patients may need to be treated based upon the syndrome-based criteria, which refers to:

Rapid response to a bio-terrorism-related outbreak requires prompt identification of its onset. Because of the rapid progression to illness and potential for dissemination of some of these agents, it may not be practical to await diagnostic laboratory confirmation. Instead, it will be necessary to initiate a response based on the recognition of high-risk syndromes.

D.	Epidemiological features.	Epidemiological principles must be used to assess whether a patient’s presentation is typical of an endemic disease or is an unusual event that should raise concern. Features that should alert healthcare providers to the possibility of a bio-terrorism-related outbreak include:

1.	A rapidly increasing disease incidence (e.g., within hours or days) in a normally healthy population.

2.	An epidemic curve that rises and falls during a short period of time.

3.	An unusual increase in the number of people seeking care, especially with fever, respiratory, or gastrointestinal complaints.

4.	An endemic disease rapidly emerging at an uncharacteristic time or in an unusual pattern.

5.	Lower attack rates among people who had been indoors, especially in areas with filtered air or closed ventilation systems, compared with people who had been outdoors.

6.	Clusters of patients arriving from a single locale.

7.	Large numbers of rapidly fatal cases.

8.	Any patient presenting with a disease that is relatively uncommon and has bio-terrorism potential (e.g., pulmonary anthrax, tularemia, or plague).

# Chapter IX	Chemical Disaster

This facility is not equipped to deal with a large-scale chemical disaster. In the event of a notification of hazardous material spill or other chemical disaster it is the policy of this medical center to:

1.	Initiate lockdown procedures to ensure that contamination does not occur within any of the facility buildings.

2.	Isolate patients in area outside Building 100 to limit contamination and to ensure the safety of Medical Center patients, visitors, staff, volunteers and facilities.

3.	Request assistance via the Emergency Operations Center from the Houston Fire Department 911 dispatcher.

4.	Start basic decontamination procedures by removal of all clothing from suspected contaminated individuals in an area that ensures privacy.

5.	While maintaining privacy, rinse patient with water, soap & other necessary decontamination solutions to dilute chemical agents.

6.	Issue patient hospital clothing and triage to an uncontaminated area.

7.	Brief all staff on situation and begin medical treatment of casualties.

8.	Maintain a minimal stockpile of medical supplies to treat chemical casualties (to be maintained in Pharmacy).

9.	In the event of facility, area and staff, contamination, all efforts to contain the contamination will be implemented (see Medical, FMS and Police individual emergency plans).

10.	Medical Care Line and Business Office Service Line plans will include handling of deceased and personal effects, whether contaminated or not.

11.	Infection Control will initiate communications with the city’s Public Health Department to report issues.

After lockdown, VA Police will ensure that anyone leaving the compound during this security procedure will be decontaminated to protect community.

# Chapter X	Environment Of Care Performance Indicators

Indicator:	The HVAMC will conduct a minimum of two emergency practice drills annually. Each service, service line and care line is required to send all available personnel to an assigned area to become part of a manpower pool.

Threshold:	At least 60-employees must be available to assist in an exercise or a real emergency.

Indicator:	The HVAMC will conduct a minimum of two emergency practice drills annually. As part of the Hospital Emergency Incident Command system (HEICS), key managers will assemble in the assigned EOC to initiate the flow of actions required to address the emergency. It is important that these leaders meet quickly.

Threshold:	100% of the HEICS staff, or a designated alternate, must report to the EOC after meeting any other requirements, such as signing in as a service chief, service line executive or care line executive within 15 minutes from time of initial contact.

# Chapter XI	National Disaster Medical System

A.	Policy.	This medical center is designated as a Federal Coordinating Center (FCC) for the National Disaster Medical System (NDMS) and will support the Department of Veterans Affairs’ role in national emergency management. This includes the VA's role as primary backup to the Department of Defense healthcare (VA/DoD Contingency Plan) in the event of a national security emergency and in support of the participation in the event of a natural or technological disaster occurring within the United States.

B.	Procedures

1.	During a military contingency, this medical center will reconfigure to accommodate battlefield casualties (VA/DoD Contingency Plan). The utilization of available DoD and VA resources is presumed prior to implementation of NDMS. The NDMS is solely composed of non-Federal staffed beds. VA beds are not counted as NDMS beds.

2.	In a civil disaster, the order is reversed and non-Federal beds are the first to be utilized. The HVAMC, at the discretion of the Medical Center Director, will sanction the admission of veteran patients from a disaster area or the admission of non-veteran patients for humanitarian reasons.

3.	This medical center will participate in periodic NDMS exercises to test the system and to comply with JCAHO accreditation requirements for external exercises.

C.	Responsibilities

1.	When properly notified, the Medical Center Director will activate the NDMS for the greater Houston area.

2.	The NDMS Area Emergency Manager (AEM) and Emergency Management Coordinator will poll participating civilian hospitals for bed availability. Data collected will be reported to the Patient Access Center Manager to plan the distribution of casualties as they arrive in the Houston area.

3.	The Patient Access Center Manager will ensure that a reception and sorting team is assembled so decisions regarding hospital assignments can be made and reported.

Appendix 11A

## National Disaster Medical System (NDMS) Operations Plan

The National Disaster Medical System (NDMS) is a Federal initiative designed to improve the nation's emergency response capability. This plan ensures that preparations are made for appropriate response to the arrival of mass casualties resulting from a catastrophic disaster within the United States or an overseas conflict involving conventional weapons. Casualties resulting from a catastrophic disaster may be transported from any region of the United States to the greater Houston area.

This plan describes special responsibilities required upon implementation of the NDMS. Private health care facilities which have designated beds for care of incoming casualties have been contacted, and have signed a Memorandum of Understanding. Each facility will have designated an individual as the NDMS liaison to be the point of contact when the plan is activated or tested.

The National Disaster Medical System within the greater Houston area functions as a partnership of federal, state and local, and public and private agencies and organizations. This plan is prepared under delegated authority of the Department of Defense, Department of Veterans Affairs, Federal Emergency Management Agency, and the Department of Health and Human Services, and is consistent with Public Law 93-288 and Public Law 97-147 and policies developed within this area.

Record of changes, distribution, etc., will be accomplished by the Federal Coordinating Center. All recommendations for changes or other corrections should be brought to the attention of the NDMS Area Manager (138/13C), VA Medical Center, 2002 Holcombe Blvd., Houston, Texas 77030.

I.	Purpose.	The Greater Houston Area NDMS Operations Plan establishes and provides necessary direction in implementing the NDMS. The goal is to establish a system of responses in the continental United States which will make use of existing federal and civilian hospitals and their health care delivery capabilities to quickly provide a large number of hospital beds and services, with built-in flexibility for growth as the need arises, to respond to a national emergency or disaster. This plan prescribes procedures for providing a medical response which could:

A.	Provide back-up medical support to the Federal Medical Care Systems, (DoD or VA) during a national security emergency.

B.	Supplement state and local medical resources in response to major multiple casualty peacetime disasters.

II.	ASSUMPTION AND GENERAL POLICY GUIDANCE.	Assumptions and policy guidance are based on actual or anticipated circumstances.

A.	Assumptions:	Incoming casualties will have received sufficient medical treatment to stabilize their conditions to allow transport, but still require acute care. Some patient's conditions may have deteriorated to a more critical state during transport. If so, this information will be relayed to the Federal Coordinating Center at the HVAMC in order to assure appropriate medical arrangements upon arrival.

1.	Patients will be moved by the U. S. Air Force’s Air Mobility Command or the Civil Reserve Air Fleet (CRAF), from airlift hubs, such as San Antonio, Texas to NDMS Areas, to Houston. Their movement will be under the auspices of the Global Patient Movement Requirements Center (GPMRC), located at Scott AFB, Illinois.

2.	Physicians, nurses and ancillary support personnel will be available in NDMS participating hospitals to provide treatment to patients in the numbers and categories committed by those hospitals.

3.	At least 12 to 48 hours notice will normally be provided prior to arrival of patients in the greater Houston area.

4.	Medical supplies, pharmaceutical, and equipment will be readily available in the local area to support anticipated hospital requirements.

5.	Transportation will be available to provide prompt movement of patients to designated hospitals from the existing transportation system within Houston, i.e., Emergency Medical Services (EMS), Metropolitan Transit Authority (METRO), and volunteer ambulance services.

6.	In time of a national security emergency, guidance from DoD will be available regarding military personnel administration.

7.	In time of a national security emergency, Federal medical personnel will be available to support incoming casualties.

8.	Participating hospitals will take all necessary actions to accept incoming NDMS casualties, based upon bed availability at the time of NDMS activation.

9.	Hospitals may, upon activation of the system and on actual request for beds, offer more or less than the number of beds in the NDMS Memorandum of Understanding.

10.	The City of Houston, Harris County, Ft. Bend County, Galveston County, and Montgomery County Regulation agencies will support this plan.

B.	Policy Guidance:

1.	All incoming flights carrying patients will arrive at one of four airports: Primarily at Ellington Field, with Hobby, Intercontinental, or Sugarland airports as back ups.

2.	The Global Patient Movement Requirements Center (GPMRC) will only regulate, to the greater Houston area, patients in the categories and numbers for which treatment capacity has been reported as available.

3.	All beds committed to NDMS are acute care beds within the five GPMRC categories (ie., Critical care (CC), Medical-Surgical (MM-SS), Psychiatric (MP), Burn (SBN), and Pediatric (MC).

4.	Hospitals will use their own procedure and record keeping system when treating NDMS patients.

5.	Funds will be provided by the US government to allow for timely reimbursement to hospitals, physicians, and other providers of service involved in NDMS. Support agencies can bill the Federal government for reasonable and customary charges.

6.	Minors and patients who are ready to be released from area hospitals become the responsibility of the Federal Coordinating Center. The NDMS Area Manager should be contacted at (713) 794-7973 for instructions.

7.	Unresolved policy and guidance problems should be brought to the attention of the NDMS Area Manager.

C.	Concept of Operations:

1.	Should a disaster occur that cannot be handled by state or local resources, the governor of a state may request the President of the United States, or designee, to activate the NDMS. If approved, notice of the implementation will be given to activated areas. In Houston, the HVAMC would relay activation to all participating organizations.

2.	A manifest of patients being sent to the greater Houston area will be made available by the Global Patient Movement Requirements Center (GPMRC). Preliminary assignment of patients to hospitals will be made based on expected bed availability of participating hospitals as provided by the hospital to the Federal Coordinating Center. Assignment of patients will be based upon patient information provided by GPMRC. Normally, the receiving hospital will know in advance the number and types of patients it will receive, and an estimated time of arrival.

D.	Coordination and Control

1.	Alert:	Upon receipt of an alert from the Under Secretary for Health of the Department of Veterans Affairs, or other individuals authorized to implement the NDMS, the HVAMC will take the following steps:

a.	Activate the NDMS operations center at the HVAMC.

b.	Request that the City of Houston Emergency Management office alert other participating agencies, Houston Fire Department Dispatcher, Metropolitan Transit Authority (METRO), Salvation Army, Red Cross, etc.

c.	Contact participating hospitals to determine the number of available beds. Beds and services will not be required to be made available on the basis of an alert. Committed beds and services will be required only when it can be determined, with some degree of certainty, that they will be needed within 12 to 72 hours.

d.	Develop and update a daily roster of beds available for use, and report them through Global Patient Movement Requirements Center (GPMRC), as required.

2.	NDMS Operations Center Activation: Upon receipt of alert notification, the HVAMC will assume responsibility for coordination of all tasks associated with the management of patients received under this program. The NDMS Operations Center (OC) will be located at the HVAMC, telephone (713) 794-7973. As soon as the NDMS Alert has been announced, space within the NDMS operation center will be provided for the Metropolitan Transit Authority (METRO), Houston Fire Department, etc. Office space and clerical support will be provided to these organizations by HVAMC as it becomes available.

3.	Coordination: Each of the participating organizations will designate a staff member to serve as the organization's NDMS contact person and will provide the name and telephone number to the NDMS Area Manager.

a.	When an organization assigns a new NDMS contact person, notification of change should be made immediately. The responsibilities of the NDMS contacts include, but are not limited to the following:

(1)	Serve as the point of contact for the organization and identify key staff members, i.e., contact for bed statistics;

(2)	Review plans at least annually and report suggested changes to include maximum and minimum bed available to NDMS.

(3)	Attend coordinating and planning meetings for exercises and actual implementation; and

(4)	Act as a focal point in the organization to educate the staff as to the current operation of NDMS.

b.	Each NDMS participating organization will participate in NDMS exercises, as required.

4.	Control.	The HVAMC Director is responsible for directing the NDMS operation in the greater Houston area.

a.	Overall NDMS operations will be planned and orchestrated by the NDMS Area Manager, under the guidance of the HVAMC Director.

b.	The NDMS Operations Center will be established at HVAMC, Building 100, Room 5B-210. All participating organizations will channel reports and information through the Operations Center.

c.	Primary communication between hospitals and the NDMS Operation Center will be by telephone (713-794-7973), and FAX (713-794-7970) equipment.

d.	Primary communications between the reception area(s) and receiving facilities hospitals will be telephone and FAX equipment.

e.	Communication between transporting vehicles and receiving facilities will be via the City of Houston communications system, depending on the type of vehicle or situation.

5.	Organization and Efficiency

a.	General.	Organizations having activities in support of the NDMS operation are encouraged to develop and maintain their own supporting plans. Planning for NDMS can be specifically incorporated into most disaster or contingency plans as annexes or appendices.

b.	Organization:

(1)	The NDMS operation is organized around health care facilities for the care of incoming casualties, and supporting systems of transportation to ensure the casualties arrive at participating hospitals.

(2)	Each participating organization will maintain control of policy guidance for their respective jurisdiction and areas of responsibility.

(3)	The NDMS Area Manager is designated the planner and coordinator for NDMS in the greater Houston area. This person will orchestrate the efforts of the HVAMC as well as external hospital and service agencies during activation of NDMS.

c.	Responsibilities:

(1)	The HVAMC is responsible for:

(a)	The NDMS Operations Center maintaining communications with all agencies in support of the NDMS operations.

(b)	Advising all Houston area agencies and participating hospitals as to the status of the operation.

(c)	Maintaining a viable public information program, through the HVAMC Public Affairs Officer.

(d)	Providing administrative support for patient locator and monitoring system.

(e)	Maintaining the NDMS Area Plan on a current basis, and distributing updates.

(f)	Conducting periodic exercises of the NDMS in Houston.

(g)	Receiving casualties as a primary receiving hospital of the DoD/VA Contingency Hospital System. (In case of military casualties, the HVAMC will first be saturated and then patients will be admitted to private sector hospitals. In the case of civilian disaster casualties, private sector hospitals will first be saturated and the HVAMC will then receive casualties on a space-available basis only.)

(2)	Supporting Agencies:

(a)	The Houston Fire Department will utilize available EMS personnel to establish reception, triage, and communications, and coordinate movement of patients from the arrival site.

(b)	Ft. Bend County Emergency Management Office and Ft. Bend County EMS will assist the sorting, communication, and movement of casualties to Ft. Bend County and Southwest Houston hospitals. (They will work with the City of Houston Emergency Management Office and Fire Department during activation.)

(c)	Coordinators at NDMS participating hospitals and agencies will act as liaison for their hospital or agency during NDMS operations.

(d)	All agencies, activities, and resources involved in NDMS operations will retain their identity throughout all phases of the execution of this plan.

(e)	The Department of Defense (DoD) will provide support as requested in accordance with current DoD directives for disaster support, and provide administrative support for military casualties.

(f)	Coordination of traffic control, crowd control, security and escort of public transportation resources, and moving patients to hospitals, should be made with the police liaison in the City of Houston Emergency Management Office and other jurisdictions in the greater Houston area, as required, i.e., Pasadena, Galveston, Texas City, etc.

# Chapter XII	VA/DoD Contingency Plan

I.	EXECUTIVE SUMMARY.	The HVAMC VA/DoD Contingency Plan has been prepared to comply with Department of Veterans Affairs and Veterans Health Administration mission tasking under Public Law 97-174. The Medical Center's mission assignment is to serve as a Primary Receiving Center (PRC) and a Federal Coordinating Center (FCC) under the National Disaster Medical System (NDMS).

A.	Purpose.

1.	This plan defines the role of the Medical Center with policies and procedures relative to Department of Veterans Affairs and Department of Defense (VA/DoD), joint contingency planning, implementation, and support.

2.	Public Law 97-174 (38 USC 5011.A), the (then) Veterans Administration and Department of Defense, Health Resources Sharing and Emergency Operations Act, mandates that the VA support the military health care system during and immediately following a period of war or national emergency declared by the President or Congress. This emergency medical Management program requires VA Medical Centers to develop contingency plans to care for the large number of casualties expected in such situations.

B.	Scope.	This plan is applicable to all persons employed by the HVAMC. This contingency plan is a component of Medical Center Policy Memorandum No. 138EmP-001, Comprehensive Emergency Management Plan.

1.	Implementation.	Upon notification by the Secretary of Veterans Affairs, the Under Secretary for Health of the Veterans Health Administration (VHA) will activate the VA component of the Contingency Hospital System (CHS). The South Central VA Health Care Network Network Director will notify the Medical Center Director who will initiate the Medical Center's emergency notification or "Cascade" system, as necessary. Cascade recalls ensure appropriate personnel are available at the Medical Center to provide services consistent with our general mission statement.

2.	Priority for Care.	DoD patients will receive priority care over all VA beneficiaries except those service-connected (SC) veterans, or non-service-connected veterans (NSC) with a life-threatening emergency. NSC inpatients who may be discharged without a significant compromise of their health will be released from the Medical Center. Others may be referred to community hospitals, as the HVAMC does not have secondary support centers.

3.	Out-placement of NSC Patients.	Under Public Law 97-174, service-connected veterans retain the highest priority for care. In a VA/DoD contingency, active duty military personnel receive a higher priority than non-service-connected veterans. Thus, in order to free up beds to meet our mission goal, non-service-connected veterans may be discharged or transferred to other VA or community health care facilities. The attending physician will make the determination as to whether a non-service-connected veteran can be discharged without a significant compromise to the patient's health. If it is medically compromising to discharge, but movement is feasible, the patient may be transferred to a community hospital. This transfer will be made in accordance with the procedure outlined in Medical Center Policy Memorandum No. 04-001, Transfer of Patients. Note: VA will maintain responsibility for continuity of care for out-placed patients.

4.	Mission.

a.	The HVAMC is a tertiary referral Medical Center with 355 operating beds, excluding 120 nursing home beds. The Medical Center will make 25% or approximately 89 of its beds available to DoD within 72 hours of mobilization. A detailed summary of beds by category is available from the Patient Access Center Manager.

b.	Personnel lost to military mobilization will have some impact on the facility's operations and will affect the planned bed commitment under the VA/DoD Contingency Plan.

c.	All aspects of facility logistical support requirements and tasking have been addressed in this plan and adequate emergency requirements solidified.

II.	POLICIES

A.	The Medical Center will refer information requests or inquiries pertaining to Network or national issues or matters to the Network Emergency Operations Center (NEOC).

B.	VA will meet its legislatively mandated mission to support the military health care system during and immediately following a period of war or national emergency as declared by the President or Congress.

C.	Medical care reimbursement from DoD will be made available to VA Networks and Medical Centers to accomplish the VA/DoD contingency mission.

D.	During a time of military conflict or national emergency, the major goal of the VA is to provide the maximum number of staffed beds to active duty military casualties in as short a time as possible. At the same time, the VA will continue to perform its mission of providing care to service-connected (SC) veterans, who retain the highest priority for VA admission and care.

E.	The primary focus of VA Medical Centers will shift to the care of patients in accordance with the following admissions priority (See REFERENCES, to determine location of additional guidance):

1.	Medical emergencies

2.	Service-connected veterans

3.	Active duty military casualties/active duty patients

4.	All other veterans in accordance with existing priorities.

F.	VA shall provide the full range of services required by DoD casualties as it would for any veteran patient treated by VA.

G.	Immediately upon activation of the VA/DoD Contingency Hospital System, the Deputy CMD for Administration and Operations (DCMD/A&O) is charged by the Under Secretary for Health to activate and staff the VACO Command Center and to implement and manage the VA/DoD Contingency Hospital System.

H.	VA Medical Centers will refer policy matters requiring national attention to VISNs which will direct them to the Assistant Deputy Under Secretary for Health (ADUSH).

I.	When individuals are discharged from active duty to service-connected veteran status, VA will continue to provide the full range of services required by this new veteran cohort. These will include convalescence and rehabilitation services, acute care, outpatient care, and nursing home care.

J.	Each Network Director will have a Network VA/DoD Contingency Plan providing for alert notifications, Network Emergency Operations Center, and review/reporting requirements for each VA Medical Center. The South Central VA Health Care Network Plan is locally available in the Medical Center Director's office.

K.	Each Medical Center will have a VA/DoD Contingency Plan as part of its Medical Center Emergency Management Program. This plan will delineate responsibilities and duties to accomplish the VA/DoD contingency mission. It will be based on the guidance in the VHA Medical Center Annex, the South Central VA Health Care Network VA/DoD Contingency Plan, and applicable regulations, policies and federal statutes including NDMS. The plan will be updated annually and submitted to the Emergency Management Strategic Health Group (EMSHG) (13C) and Assistant Deputy Under Secretary for Health (ADUSH) (10N) through the VISN Office (10N16).

L.	Continuity of care will be assured for all veteran patients.

M.	The Medical Center Director will designate an individual and backup who will have responsibility for VA/DoD contingency planning at the Medical Center. This individual is the liaison to the local military treatment facility for joint contingency planning. Where possible, the expertise of the Area Emergency Manager should be used to assist in the development and execution of this program.

N.	The VA Medical Center staff that should have non-critical/sensitive clearances include the Medical Center Director, Associate Director, Chief of Staff, the staff contact person for contingency planning, and the Medical Center Director's secretary. Requests for non-critical/sensitive clearance for other key staff may be made in accordance with MP-l. Part I, Chapter 5, Security.

O.	The Medical Center Director will establish a 24-hour a day point of contact for the Global Patient Movement Requirements Center (GPMRC). The Business Office Service Line Executive will be the point of contact during normal duty hours and the AOD will be the point of contact after normal duty hours.

P.	Female casualties have the same eligibility as male casualties and will be accorded the full range of services required.

Q.	The Casualty Assistance Coordinator is the Patient Access Center Manager.

III.	SITUATIONS

A.	Conditions.	The Medical Center will operate as a Primary Receiving Center. In this role, our mission is to receive and coordinate placement of casualties directed to the facility by the Global Patient Movement Requirements Center (GPMRC). The Medical Center's capability is specified as tertiary/referral category facility.

1.	Primary Receiving Centers (PRCs).	The HVAMC is both a primary receiving hospital for DoD casualties as well as a NDMS Federal Coordinating Center. The greater Houston area does not have a major military medical facility within 200 miles. Wilford Hall, USAF Medical Center, and Brooke Army Medical Center in San Antonio, Texas are the closest military medical treatment facilities. The Joint Military Medical Command (JMMC), Randolph AFB, San Antonio, is involved in the peacetime planning for medical support in time of war. However, in time of war their mission for planning is suspended. JMMC does not have a wartime role. Planning related to the placement of DoD casualties in our area should be coordinated through this agency prior to full mobilization of military assets. The size of the Houston area lends itself to the delivery of patients at four airports in the greater Houston area.

a.	For patients going directly to the HVAMC, the most appropriate areas for patient delivery are Ellington (Primary) and Hobby Airports (Secondary).

b.	For patients going to the 61 NDMS participating hospitals, consideration should be given to the locations of various hospitals to Ellington (primary), Hobby, Sugarland and Intercontinental Airports. All of these airports can accommodate large aircraft, including the C-141.

The magnitude, severity and type of military causalities to be treated in the greater Houston area will dictate whether treatment can be provided solely through the HVAMC VA/DoD program, or whether such treatment must be provided through activation of NDMS. Again, both systems could be activated concurrently.

Unlike the VA/DoD contingency planning, the NDMS is a voluntary effort; however, these plans must be integrated to ensure that quality care is provided in a timely manner. Therefore, Veterans Affairs support must be incorporated into the planning and exercises of NDMS. NDMS must be a part of VA/DoD contingency planning.

2.	Secondary Support Centers (SSCs).	Those VA Medical Centers designated as SSC perform essentially the same contingency activities as a PRC, however, they receive patients relocated from PRCs instead of directly from the evacuation pipeline.

HVAMC does not have SSCs. An installation support mission is not assigned to this facility.

3.	Independent Outpatient Clinics (IOCs).	IOCs should be prepared to assist both primary and secondary Medical Centers in assuring continuity of care for patients discharged to their auspices and serve as an additional source of resources to supplement PRC(s). The Lufkin and Beaumont OPCs will support the HVAMC during a contingency operation.

4.	Federal Coordinating Centers (FCCs).	The HVAMC is designated a FCC for the National Disaster Medical System (NDMS). As such, it has the coordinated support of (and coordinates federal support for) the greater Houston-Galveston Hospital Community in a declared disaster situation. This FCC has 61 participating hospitals with a maximum of 2,841 and a minimum of 1,624 staffed beds.

B.	Planning Assumptions.

1.	DoD patients will arrive in the primary receiving area (PRA) in generally stable condition, barring complications during travel. The general planning scenario envisions casualties moving through several echelons of care. Therefore, our role will be to continue care and supervise recovery.

2.	All veterans who present themselves for admission will be examined, evaluated, and a disposition made. The service-connected priority system is applicable in all cases, as above.

3.	Should the VA/DoD CHS reach its capacity, the National Disaster Medical System (NDMS) may be activated. NDMS PRAs may be coordinated by VAMCs or DoD medical facilities. The HVAMC, a Federal Coordinating Center (FCC), will coordinate these activities.

IV.	CONCEPT OF OPERATIONS

A.	General.	This plan outlines a measured response by HVAMC which will be functionally organized for emergency operations. This plan further envisions support for the VA/DoD Contingency Hospital System (CHS), unfolding in four phases; planning, alert, activation, and execution.

Upon activation of the Medical Center in the CHS, execution will be controlled by an Emergency Operations Center (EOC), organized with single points of contact and responsible for an integrated team response for each functional area.

B.	National Disaster Medical System (NDMS).	The greater Houston area NDMS Operations Plan establishes and provides necessary direction in implementing the NDMS. The goal is to establish a system of responses in the continental United States which will make use of existing federal and civilian hospitals and their health care delivery capabilities to quickly provide a large number of hospital beds and services, with built-in flexibility for growth as the need arises, to respond to a national emergency or disaster. This plan prescribes procedures for providing a medical response which could:

- Provide back-up medical support to the Federal Medical Care Systems, (DoD or VA) during a national security emergency.

2.	Supplement state and local medical resources in response to major multiple casualty peacetime disasters.

C.	Notification.	The VA Medical Center Director or representative will receive system activation notification from the South Central VA Health Care Network Director (ND). The ND will brief the HVAMC Director on the situation and the anticipated sequence of activities schedule, if known.

1.	Normal Duty Hours. (8-4:30, M-F) As warranted by the nature of the alert received, the Medical Center Director or designee will have the Police Service, coordinated with the telephone operator, make an announcement over the public address system. Key personnel will respond as instructed and be prepared to immediately report to their assigned areas of responsibility. This announcement will be followed with an internal "cascade" procedure to verify and clarify the announcement. Key personnel will ensure that specific employees are designated and rostered to respond in their functional areas.

2.	After Duty Hours. If the contingency plan is activated during other than normal duty hours, the Cascade Call System will be initiated by the Administrative Officer of the Day (AOD). Each service chief, service line executive and care line executive will then, as required, be responsible for initiating the Cascade Call Program for their respective service, service line or care line. If required, local radio stations will be asked to announce that a war or national emergency has been declared and request off-station employees to report to duty.

D.	Response Actions

1.	Phases.

a.	Phase I - Planning.	During this phase, there is no pending threat. The Medical Center's mission is readiness. We will ensure our readiness by thorough planning, training and establishing accountability for the requirements of all phases described therein.

b.	Phase II - Early Warning.	No formal announcement is expected during this phase. The period immediately preceding armed conflict is characterized by heightened international tension, acts or threats of violence, and posturing of armed forces or incursion. Early warning may be limited or subtle as with the US Operations in Grenada and Panama. It is incumbent upon key Medical Center staff to anticipate worst-case scenarios without over-reacting. During this phase, preparation must be verified and by-name accountability established. Service, service line and care line internal training and rehearsals are encouraged. VHA Central Office could be expected to initiate the bed reporting and asset inventory requirements. The EOC may be set-up and exercised.

c.	Phase III - Activation.	The South Central VA Health Care Network Director will notify the Medical Center Director or designee when the VA/DoD Contingency Plan has been activated. The plan may be activated in part regionally or functionally. The Medical Center Director will, when appropriate, initiate the Medical Center "Cascade" notification system. Cascade recalls ensure appropriate personnel are available to enable implementation of plan requirements. Whenever possible cascade plans should be developed to recall staff in relationship to the number of expected casualties (e.g., 1-25, 26-49, 50 or greater). See paragraph V.B., Alerting Procedure. This phase is characterized by making the EOC fully operational and completion of internal asset inventories.

d.	Phase IV - Execution.	This phase is initiated with an announcement that casualties or transfer patients are inbound to the HVAMC. The phase is characterized by actual reception and care of DoD or VA patients. See RECEPTION, below.

2.	Reception.	A Patient Reception Team (PRT) or Facility Triage Team will be formed by all VA Medical Centers to receive casualties.

a.	Primary Receiving Centers are responsible for the establishment of patient reception teams.

(1)	General team composition:

(a)	Team Coordinator (ER Physician or other qualified provider, additional physicians as required)

      - Additional physicians as required

      - Nursing (personnel, RNs, LVNs, and NAs)

(d)	Chaplain

(e)	Public Affairs Officer

(f)	IMS Patient Tracking and Administration Personnel as required

(g)	Driver (with litter van or bus as required)

(h)	Staff to assist as litter bearers

(i)	Mental Health Personnel

(j)	Others are determined by the COS

- Whenever very small numbers of patients are arriving, ground transportation to and from the airport will be arranged through Facilities Management Service Line.

- The City of Houston Emergency Operations Center will be contacted by Facilities Management Service Line for larger numbers of casualties. The Houston Fire Department EMS Service will be contacted by The City of Houston and will coordinate reception, triage, sorting and transportation according to the situation. The Houston Fire Department will contact private ambulance services to augment transportation requirements.

b.	Depending on the number of casualties and their time of arrival, the PRT will be dispatched to the Ellington Field (Primary), Hobby, Intercontinental or Sugar Land Municipal airport(s), depending on the situation, to triage patients and make appropriate service and unit assignments. If required, referral to appropriate community facilities may be made.

c.	Casualties arriving by ground transportation and those which have not triaged at the airport arrival site, will be received at the Ambulance (emergency) Entrance of the Medical Center. Sorting and classification will proceed in the triage area of Prime Care.

d.	Triage areas will be equipped with tags and appropriate marking devices to designate the location of care areas. Nursing staff will provide wheeled litters or wheelchairs to the ambulance entrance, as required, to transport patients.

3.	Sustaining.	During activation of the VA/DoD CHS, the HVAMC will, to the extent possible, maintain routine operations while maximizing the number of staffed beds for DoD patients. The Medical Center will continue to perform its mission of providing care to service-connected veterans who retain the highest priority for VA admission and care.

V.	RESPONSIBILITIES.

A.	Department of Defense

1.	GPMRC.	The Global Patient Movement Requirements Center (GPMRC), Scott AFB, Illinois, will gather information on the number and types of patients and the availability of transportation and appropriate beds in the Continental United States (CONUS). GPMRC, in coordination with the US Air Force's Air Mobility Command (AMC), then directs aircraft and other transportation modes to military evacuation points overseas or in the US for transfer of casualties to selected areas in CONUS.

On initial arrival at staging sites in CONUS, sorting teams, in conjunction with GPMRC, will determine the closest facility most appropriate for care of casualties. The VHA Emergency Medical Strategic Health Group (EMSHG) Liaison Officer at GPMRC, (618) 229-7169, facilitates in this process and feeds advance information back through VHA Central Office and field facilities.

2.	Military Coordinating Center (MCC).	Designated military coordinating centers will work closely with VA Medical Centers to ensure adequate DoD support is provided to VAMCs. The USAF MCC at Wilford Hall Medical Center, Mobilization/Readiness Office, (210) 292-2992/2552, will coordinate DoD support requirements for the HVAMC.

B.	Department of Veterans Affairs

1.	VHA Central Office

a.	Will monitor implementation of Network plans to ensure smooth operation, and will initiate improvements or corrective actions that are beyond the scope of the VISNs.

b.	Develop plans for integration of contingency activities within the organizational units.

c.	Identify continuing education and staff development activities associated with activation of the contingency system.

d.	Identify additional resource requirements necessary to accomplish the contingency mission.

e.	Staff and operate the VHA Central Office Command Center.

f.	Establish a Central Information Center to serve as a national patient locator system for military casualties.

2.	South Central VA Health Care Network (SCVAHCN)

a.	The South Central VA Health Care Network (SCVAHCN) will provide policy and operational direction and technical assistance to ensure the successful implementation of the VA/DoD CHS. The South Central VA Health Care Network will monitor implementation of Medical Center plans to ensure smooth operation, and to initiate improvements or corrective actions that are beyond the scope and authority of the Medical Center.

b.	Upon activation of the VA/DoD Contingency Plan (CONPLAN), the Network Director will establish a functionally organized Network Emergency Operations Center (NEOC).

One of the key responsibilities of the NEOC includes the coordination and resolution of the Medical Center's problems and needs as requested by the Medical Center Director. The NEOC will serve as a clearinghouse between South Central VA Health Care Network VAMCs, VACO, and other federal agencies.

3.	Houston VA Medical Center (HVAMC uses HEICS to manage events)

a.	Medical Center Director.	The Medical Center Director is responsible for all facets of planning and execution of the VA/DoD contingency plan through designated Medical Center staff. The Medical Center Director provides guidance and "Executive Intent" through this plan. Serves as the initial HEICS Incident Commander (IC) in all emergencies.

(1)	Activate the Medical Center plan by initiating the Medical Center Cascade Call System.

(2)	Direct cancellation of annual leave and training details as necessary to meet the requirements of this plan.

(3)	Establish the Medical Center's Emergency Operations Center (EOC) in the Executive Board Room (4A-235). Establish a work schedule for 24-hour coverage of the EOC.

- Notify veteran’s service organizations of the local situation.

- Approve expanded duty days and hours scheduled recommended by appropriate service chiefs, service line executives and care line executives.

- IC’s mission:	Organize and direct the Emergency Operations Center (EOC). Give overall direction for Medical Center operations and if needed, authorize evacuation. Following are the IC’s HEICS responsibilities:

(a)	Immediate

____	Initiate the Comprehensive Emergency Management Program (CEMP) by assuming role of Emergency Incident Commander (IC).

____	Review Job Action Sheet.

____	Put on IC identification vest.

____	Appoint Officers and Chiefs (Public Information, Safety & Security, Liaison, Logistics, Planning, Finance and Operations) and the Administrative Services Director.

____	Announce a status/action plan meeting of all Chiefs, Officers and the Medical Care Manager to be held within 5 to 10 minutes.

____	Receive status report and discuss an initial action plan with Chiefs, Officers and Medical Care Manager. Determine appropriate level of service during immediate aftermath.

____	Receive initial facility damage survey report from Logistics Chief, if applicable, evaluate the need for evacuation.

____	Obtain patient census and status from Planning Chief. Emphasize proactive actions within the Planning Section. Call for a hospital-wide projection report for 4, 8, 24 & 48 hours from time of incident onset from the Planning Chief. Adjust projections as necessary.

____	Authorize a patient prioritization assessment for the purposes of designating appropriate early discharge, if additional beds needed.

____	Assure that contact and resource information has been established with outside agencies through the Liaison Officer.

(b)	Intermediate

____	Coordinate with the Emergency Management Coordinator (EMC).

____	Authorize resources as needed or requested by Officers.

____	Designate routine briefings with Chiefs and Officers to receive status reports and update the action plan regarding the continuance and termination of the action plan.

____	Consult with Officers & Chiefs on needs for staff, physician, and volunteer responder food and shelter. Consider needs for dependents. Authorize plan of action.

(c)	Extended

____	Approve media releases submitted by P.I.O.

b.	Chief of Staff

(1)	The Chief of Staff has overall responsibility for medical staff sufficiency, planning, training, preparation, and execution of medical functions associated with this plan through designated staff members. Items of primary focus are: organization of the patient reception team; and during a contingency, quality assurance and evaluation/adjustment of clinical responsibility and continuity of care.

- Establishes tasking and responsibilities assigned herein to staff elements normally under the Chief of Staff's purview. Coordinates with and recommends tasking to the Associate Director for other staff.

- Serves as the HEICS Operations Chief with the following responsibilities:

(a)	Immediate

____	Receive appointment from IC. Obtain packet containing Section's Job Action Sheets.

____	Read Job Action Sheet and review organizational chart.

____	Put on position identification vest.

____	Obtain briefing from IC.

____	Appoint the Medical Care, Medical Staff, Ancillary Services, Psychological Support, DECON Team, and Patient Reception Team Managers. Provide each with corresponding Job Action Sheets.

____	Brief all Operations Section managers on current situation and develop the section's initial action plan. Designate time for next briefing.

____	Establish Operations Command Center in the Education Conference Room 4A-322.

____	Meet with the Medical Care Manager, Medical Staff Manager and Nursing Manager to plan and project patient care needs.

____	Assist in action plan for total evacuation of facilities should it be ordered by the IC.

____	Be in constant contact with DECON Manager should a decontamination process be ongoing.

____	Be prepared to assist staff in replacements for detailed clinical staff in the event of a military mobilization of reservists or a VISN call under the DEMPS program.

(b)	Intermediate

____	Designate times for briefings and updates with all Operations Section managers to develop and update section action plans.

____	Brief the IC routinely on the status of the Operations Section.

(c)	Extended

____	Assure that all communications are copied to the Communications Manager; document all actions and decisions.

____	Observe all staff, volunteers and patients for signs of stress and inappropriate behavior. Report concerns to Psychological Support Manager. Provide for staff rest periods and relief.

c.	Associate Director

(1)	Assumes responsibility as the HEICS IC in the absence of the MCD.

- Serves as the HEICS Administrative Services Director with the following responsibilities:

(a)	Immediate

____	Receive appointment from IC.

____	Read this entire Job Action sheet and review organizational chart on back.

____	Put on position identification vest.

____	Obtain a briefing from IC.

____	Ensure that a radio is in the EOC and set to Channel-5.

____	Inform all emergency staff to go to Channel-5 on radios.

____	Initiate a communications check.

____	Ensure that the EOC constantly monitors radio communications.

____	Coordinate with the Logistics, Finance, & Planning Chiefs.

____	Ensure that adequate runners are available for the EOC from the manpower pool.

____	Coordinate with the Emergency Management Coordinator (EMC) and the Area Emergency Manager (AEM).

____	Keep the IC abreast of any significant incidents or successes during the emergency.

(b)	Intermediate

____	Ensure that the Damage Assessment and Control Leader secured and posted non-entry signs around unsafe areas.

____	Ensure that each Officer and Chief has adequate staff and volunteers to meet goals and objectives.

____	Through the Planning Chief, ensure that the Recorder is documenting all facts, information, & data.

____	Confer with PIO often to ensure information, data, statistics, etc provided are accurate.

____	Establish routine briefings with IC.

____	Observe all staff, volunteers and patients for signs of stress and inappropriate behavior. Report concerns to Psychological Support Manager. Provide for staff rest periods and relief.

(c)	Extended

____	Assist all Officers and Managers in meeting their missions.

d.	Key staff and all service chiefs, service line executives and care line executives will adhere to HEICS JAS.

VI.	RESOURCE REQUIREMENTS

A.	Assets critical for initial 72 hours have been identified in the appropriate service, service line or care line ESP.

1.	Personnel.

a.	Staffing.	The Medical Center's normal operating hours may be adjusted to accommodate the number and types of casualties received for the duration of the contingency. Clinical and support employee working hours may be adjusted and leave canceled or changed, etc., as necessary to accomplish reception and care of military patients. Address plans to replace staff unavailable due to military mobilization, including replacement sources.

b.	Security Clearances.	The Medical Center Director is required to have a "top secret" clearance. The Chief of Staff, Area Emergency Manager (AEM), and medical center director's secretary require non-critical/sensitive clearance "secret" clearance. "Top secret" clearance is documented at HVAMC for the Medical Center Director and Associate Director. "Secret" clearance is documented for the AEM, the Chief of Staff, and the medical center director's secretary. Requests for non-critical/sensitive clearance for other key staff are made in accordance with MP-1, Part I, Chapter 5. A listing of security clearances for key HVAMC staff will be maintained by the Human Resources Management Section Manager, and be readily available to the HVAMC Director and EOC.

2.	Supplies and Equipment.

a.	Based on the type of patients we expect to receive, supplies and equipment must be pre-planned to assure access and availability. At a minimum, supplies will include those necessary for patient transfer from airplane to holding facility or ambulance, supportive care, and administrative supplies. The Global Patient Movement Requirements Center (GPMRC) will inform us of any special requirements, e.g., ventilators, special beds, etc. NOTE: Litters and linen that arrive with the patients may have to be returned to the aircraft or replaced from existing supplies.

b.	Warehouse stocks are maintained at a 3 day level by "Primary Vendors". Be prepared to increase stock levels and to accelerate the reorder cycle as and if permitted by a pre-contingency buildup phase.

c.	See A&MMS SERP or unique VA/DoD Annex, and Casualty Reception Plan.

3.	Communications.

a.	Effective communication systems will be maintained for all phases and facets of the operation. This includes:

(1)	The role of switchboard operators in the cascade system and their interaction with the EOC.

(2)	Submission of daily bed availability report, patient transfer report (Primary Receiving Center), and Mobilization Impact Report, via computer linkage to FORUM.

(3)	Contact with local DoD facilities.

(4)	Communications with GPMRC when patients are regulated to the facility (PRCs).

(5)	Coordination with Military Patient Assistance Teams (MPAT).

(6)	Effectively utilizing cellular phone and station UHF/FM communications (net control) during casualty reception.

(7)	Control of incoming telephone communications to critical areas.

(8)	Establishment of primary and secondary computer system and outside linkage to backup existing system.

b.	See IMS SERP or unique VA/DoD Annex, and Casualty Reception Plan.

4.	Facilities.

a.	Pre-identified emergency care areas within the Medical Center will be equipped and stocked to meet emergency tasking requirements. List your designated emergency care area locations, location of supplies and equipment to support enhanced operations and the individual responsible for establishing the area.

b.	Admissions Curtailment.	Curtailment of regular admissions and concurrent notification of patients and service organizations will take place only when the Medical Center Director determines it necessary to meet bed availability requirements and the action has been coordinated with the South Central VA Health Care Network. If earlier or preemptive action is warranted, the Network Director or representative will notify the HVAMC Director.

c.	Discharge or Out-placement.	Clinical services will assess the status of inpatients to plan for discharge or out placement of medically stable patients, if necessary, to meet bed availability requirements. Provisions must be made for continuity of care for all patients discharged or out placed. Approval of the Network Director will be requested prior to the transfer of non-emergency VA patients into community hospital facilities.

d.	Transfers.	PRCs must appropriately coordinate the transfer of patients to SSCs to ensure maximum availability of beds. SSCs, when authorized, may also transfer patients to civilian hospitals to open up additional beds. The HVAMC no longer has SSCs.

e.	Patient Data.	Patient tracking and reporting will be accomplished via VACO designated IMS DHCP models. Special data required by DoD may be provided through close coordination with assigned MPAT or the nearest military hospital.

f.	Treatment.	The VA Medical Center will provide the full range of services required for DoD patients as it would for any veteran patient.

g.	Placement.	Where feasible, military casualties should be housed together for security, control, and morale.

h.	Bed Reporting.	Reporting of available beds to VACO and GPMRC will be through Transcom Regulating and Command & Control Evacuation System (TRAC2ES). Primary receiving centers must carefully coordinate bed reports to ensure accurate data is submitted.

i.	Administration Teams.	DoD will assign MPATs to Primary Receiving Centers. A PRC will provide an operating location for the MPAT, including telephones, computer support, and supplies.

j.	See individual service, service line or care line SERP or unique VA/DoD Annex.

5.	Transportation.

a.	The Medical Center will arrange for transportation of patients between Primary Receiving Centers and from HVAMC to civilian facilities as necessary. All sources presently used to transport veteran patients (ambulance, bus, etc.) will be used to transport casualties. The HVAMC has a letter of understanding with the Kerrville Bus Company at (713) 236-1887 to furnish transportation assets, when needed.

b.	Primary Receiving Centers must also assure that adequate and appropriate transportation vehicles are available to move patients from airport reception area to HVAMC if DoD support is not available. The HVAMC Facilities Management Service Line will contact the City of Houston Emergency Operations Center at (713) 881-3045 and, after stating the nature of the emergency, request the needed transportation assets. The Houston Fire Department Emergency Medical Service (EMS) or the Metropolitan Transit Authority (METRO) will be contacted for the required transportation within the greater Houston area.

c.	Local contract ambulance company may be able to provide additional support and should be contacted to assist and coordinate procurement of supplemental service from other transportation companies to support required needs. The procedure is to call the City of Houston at (713) 881-3045 and the Houston Fire Department EMS will contact contract ambulance companies to furnish additional transportation, as needed. The Medical Center will be billed through Financial Resources Manager at contract cost. Available resources and points of contact are listed in the transportation annex.

d.	The Local Emergency Medical Services and military installation (if appropriate) commit their transportation resources including helicopters, ambulances, and buses. These resources and points of contact are listed in the transportation Annex of this Plan.

e.	See ESPs prepared by Facilities Management and Information Management Service Lines.

B.	Controls and Responsibilities.

1.	The Medical Center Director will monitor all critical activity during the arrival and reception phase of operations. S/he will control/direct activities, as required, by cellular phone and be available on pager. During other phases, the Medical Center Director will exercise control through normal staff channels with the EOC executing contingency instructions. S/he may also be contacted through the EOC.

2.	Identify individuals responsible for requesting specific resource support for functional areas and the service and individual designated to coordinate the support.

3.	See Emergency Operations Center, SERP or unique VA/DoD Annex, and Casualty Reception Plan.

C.	Assets Critical for Continuing Operations.

1.	Personnel.

a.	Coordinate for supplemental VA staffing from IOCs and SOPCs/CBCs with facility management and the South Central VA Health Care Network.

b.	Expand local recruitment efforts to support expanded and sustained medical operations through OPM, professional societies, community hospitals, and medical and nursing schools.

c.	Contracts for clinical and administrative staff with local and national employment services.

2.	Supplies and Equipment.

a.	Develop additional equipment requirement lists and identify potential lease and loan sources.

b.	Coordinate with local medical supply firms to ensure availability of high usage items.

3.	Communications.

a.	Assess needs or additional telephone lines to meet increased voice, facsimile, and data line requirements.

b.	Procure or lease additional hand held radios, cellular phones, and pagers to expand the capability of alerting and recalling key staff and specialty team members.

c.	Modify service cascade plans to meet mission tasking activity.

d.	Conduct regular staff briefings to keep personnel informed of contingency activities.

4.	Facilities.

a.	Review and reassign facility space to support contingency workload requirements.

b.	Consider development of expanded operating room hours to maximize potential usage schedules.

c.	Assess security requirements to determine if facility entrances and exits need to be restricted.

d.	Identify sites to house additional VA staff detailed to provide manpower assistance.

5.	Transportation.

a.	Negotiate additional ambulance contracts to meet patient movement demands.

b.	Request additional vehicles (cars, vans, trucks) from GSA or rental agency to support facility operational needs.

VII.	REFERENCES.

Public Law 97-174, Sec. 5011A: "Veterans Administration and Department of Defense, Health Resources Sharing and Emergency Operations Act", May 4, 1982.

Forces Command (DoD FORSCOM) CINCFOR CONPLAN 7300-90: "Integrated CONUS Medical Mobilization Plan", July 1, 1990.

VACO, VHS&RA (re-designated VHA) VA/DoD Contingency Plan: VA/DoD Contingency Hospital System, VHS&RA Operations Plan, March 1991, with all Annexes, Attachments and Enclosures.

Sec. Def. & Sec. VA, MOU regarding responsibilities under PL 97-174.

VHS&RA (re-designated VHA) Circular 10-88-116, as supplemented by 10-91-(TBP).

NDMS Operations Support Center Manual.

NDMS Federal Coordinating Center Guide (USPHS).

VIII.	TERMS AND DEFINITIONS

AECC	Aeromedical Evacuation Control Center

AEM	Area Emergency Manager

AMC	Air Mobility Command

A&MMS	Acquisition and Materiel Management Service

ASD	Associate Director

ASMRO	(Replaced-See GPMRC)

BDOC	Bed Days of Care

CHS	Contingency Hospital System

CONPLAN	Contingency Plan

CONUS	Continental United States

COS	Chief of Staff

DHCP	Decentralized Hospital Computer Program

DMRIS	Defense Medical Regulating Information System

DoD	Department of Defense

EMSHG	Emergency Management Strategic Health Group

EMS	Environmental Management Section

EOC	Emergency Operations Center

FCC	Federal Coordinating Center

FM	Frequency Modulation

FORSCOM	Forces Command

FRP	Federal Response Plan

GPMRC	Global Patient Movement Requirements Center

HEICS	Hospital Emergency Incident Command System

HIMS	Health Information Management Section

HRMS	Human Resources Management Section

IOC	Independent Outpatient Clinic

IMS	Information Management Section

ISC	Installation Support Center

JAS	Job Action Sheets

JCAHO	Joint Commission on Accreditation of Healthcare Organizations

MCC	Military Coordinating Center

MEMO	Memorandum

MOU	Memorandum of Understanding

MPAT	Military Patient Administration Team

NDMS	National Disaster Medical System

NSC	Non-Service Connected

PRA	Primary Receiving Area

PRC	Primary Receiving Center

PRT	Patient Reception Team

NEOC	Network Emergency Operations Center

SC	Service Connected

SERP	Supplemental Emergency Response Plan

SSC	Secondary Support Center

SPD	Supply Processing and Distributions Section

TBA	To Be Announced

TBD	To Be Determined

TRAC2ES	Transcom Regulating and Command & Control Evacuation System

UHF/FM	Ultra High Frequency/Frequency Modulation

US	United States

USPHS	United States Public Health Service

VA	Veterans Affairs

VAMC	Veterans Affairs Medical Center

VA/DoD	Veterans Affairs/Department of Defense

VHA	Veterans Health Administration

WOC	Without Compensation

IX.	PLAN REVIEW AND REVISION

A.	Medical, Administrative, and Executive Staff reviews of proponent SERPs and the CEMP with annexes, attachments, etc., will be completed and forwarded to the EMC (138EmP) not later than November 15, annually.

B.	The AEM and the Facilities Management Service Line Executive will announce and suspense the annual review by MEMO and in appropriate staff meetings, not later than October 1, annually. Extracts from the plan and available supporting documents may be available, with advance notice, on 3.5" computer disk.

C.	The Facilities Management Service Line Executive and the AEM will review and consolidate Medical Center comments to update the plan as required, and report to the Medical Center Director and Network Director not later than December 31, annually. Three copies of the HVAMC's VA/DoD Contingency Plans must arrive at the South Central VA Health Care Network Field Office no later than December 31.

D.	Follow-up Responsibility.	The Area Emergency Manager (AEM) in coordination with Facilities Management Service Line Executive.

X.	TRAINING, TESTS AND EXERCISES.

A.	Training.	The primary responsibility for training of Medical Center personnel on matters related to emergencies and disasters will rest with the Facilities Management Service Line Executive.

- The Education Service Line Executive will coordinate VA/DoD training programs directed from Central Office via satellite teleconferences and assist in deployment of HVAMC overall training plans as necessary.

2.	It is the responsibility of each service chief to see that individuals within their respective service are aware of and understand their role related to VA/DoD contingency planning and operations. The services are responsible for individual employee training needs.

B.	Tests.	This plan may be tested in its entirety or by function at anytime by the responsible functional area leader. Tests may be scheduled or unannounced.

C.	Exercises.	This plan will be tested by annual exercise. Exercises will be planned to coincide with South Central VA Health Care Network and National VA/DoD contingency exercises. The Area Emergency Manager (AEM), in coordination with the Facility Emergency Management Program Committee and appropriate service chiefs, service line executives and care line executives, have primary responsibility for VA/DoD exercise planning.