NATURAL RESOURCES CONSERVATION SERVICE

Idaho

CONSTRUCTION SPECIFICATIONS

FOR

IRRIGATION SYSTEM, SPRINKLER

______________________________________

(Owner/Operator)

______________________________________

(Project/Title)

GENERAL

Irrigation sprinkler systems shall be installed in accordance with a design and plan approved by the responsible technician.  Details of construction shown in the design and plan but not included herein shall be considered as a part of this specification.  Construction activities shall be in accordance with U.S. Department of Labor, Occupational Safety and Health Administration (OSHA) regulations.

MAINLINES

The mainline materials and installation shall meet the requirements of Idaho Construction Specification for Irrigation Pipelines for the respective pipe material or materials specified.

LATERAL LINES

The mainline riser spacing, lateral lines and/or pivot line and nozzles shall be of the size, type, pressure rating and spacing as shown on the design.  When a uniformity coefficient is specified in the design, the combination of nozzle spacing, size(s) of operating pressure, flow and wetted diameter shall be evaluated to see that the selected equipment meets or exceeds the specified uniformity coefficient.  When a uniformity coefficient is not specified, the sprinkler performance data shall be evaluated to see that required spacing criteria is met.

CENTER PIVOTS AND LATERAL MOVE SYSTEMS

All materials will be compatible with the environment in which they are to be used.  All structural members shall be designed in

accordance with the latest specification issued by the American Institute of Steel Construction (AISC).

The irrigation equipment shall be able to withstand a wind load equivalent to a minimum of a 90-mph wind directed perpendicularly to the axis of the equipment with a minimum Factor of Safety of 1:1, no water in the system and on flat ground.

All exposed steel members shall be galvanized or epoxy coated.  All electric components shall meet the requirements of ASAE Standard ASAE S 397.2.

The moving units shall maintain a straight alignment within manufacturing tolerance when moving. The units shall have safety shields on chains, sprockets and any other parts creating danger to the operator.

Sprinklers and spray heads shall apply the designed gallons per minute at the designed pressure and minimum wetted diameter. The supplier shall provide a manufacturer’s pivot nozzle package for the installed equipment.   This package is required before the installation can be certified by Natural Resource Conservation Service personnel.

All components of such systems shall be compatible.

WHEEL LINES

Where the aluminum pipe (lateral) is to be used to transmit torque from moving unit to the wheels, tubing shall be 4 inches or 5 inches in diameter (wall thicknesses: 4-inch tubing 0.072-inch; 5-inch tubing 0.078-inch) meeting the requirements of ASAE Standard ASAE S 263.3.  Joints shall be by a lug or tooth type flange coupler.

Wheels shall be constructed of a minimum of 18 gage galvanized steel. Hubs and cleats shall be manufactured from a minimum of 12 gage galvanized steel.  Spokes shall be manufactured from 3/8-inch wire and shall be zinc plated.

The moving unit and main line shall maintain a straight alignment within manufacturing tolerances when moving.  The moving unit shall have safety shields on chains, sprockets and any other parts creating danger to the operator.  The engine shall have a cover that provides protection from weather and vandalism.

Sprinklers shall be self-leveling. Sprinklers provided shall apply the designed gallons per minute at the designed pressure and minimum wetted diameter.  To insure that all fittings are adaptable, the wheel line supplier will also supply the following items made by the same manufacturer to make a complete and workable irrigation system:

A complete telescope, or hose connection, or swing line suitable to supply water from the mainline riser valve to the wheel line unit shall be provided. A hydrant or valve opener 	that will adapt with the connecting main or sub-main line will be supplied with each wheel line unit.

DELIVERY REQUIREMENTS

The contractor shall furnish the services of a fully qualified trained mechanic or technician to supervise, inspect and assemble the equipment. It is required that under his/her supervision and responsibility the equipment will be completely adjusted and all equipment installed and completely lubricated with the grade of lubricant recommended by the manufacturer for continuous operation.

In addition, the user(s) shall be instructed in the proper operation and maintenance of the unit. All of the materials required for the foregoing operations shall be furnished by the contractor.

APPURTENANCES

Valves, fittings, vents, nozzles, etc. shall be of suitable size, type, pressure rating and capacity to provide efficient operation and keep pressures in the system within allowable working limits.  An in line check valve or other anti-pollution device shall be installed on sprinkler systems in which any fertilizer, pesticide or animal waste is injected into the system.  Such devices shall meet the minimum requirements of the Idaho Department of Agriculture for chemigation valves.  All appurtenances shall have suitable markings that show model number, pressure ratings, diameter, etc. as applicable.  When requested by the technician, the manufacturer’s technical performance data shall be provided to NRCS.

PUMP AND POWER UNIT

The pump or combination of pumps shall be capable of delivering the water capacity at the total dynamic head as specified on the drawings.  The power unit shall be capable of operating the pump at maximum capacity and head without being in an overload condition.  The pump and power unit shall be in accordance with manufacturer's recommendations.

All electrical wiring and equipment shall be in accordance with the current standards of the National Electrical Manufacturers Association (NEMA), the Underwriters Laboratory, Inc. (UL), and the State of Idaho regulations.  Installation shall be certified by a State of Idaho licensee.

PUMPING PLANT

Pumping plants specified on the drawings shall meet the requirements of Idaho Construction Specification, Pumping Plant (533).

TESTING

The system shall be given an operational test.  This test shall consist of normal start-stop and running operations.  All of the system components shall operate without difficulty.  Leakage or defects caused by poor materials or workmanship shall be corrected by the contractor.

ADDITIONAL SPECIFICATIONS