# STANDARD OPERATION PROCEDURE – 6014

RECALL PROCEDURE FOR POTENTIALLY HAZARDOUS PRODUCTS

PURPOSE:  To establish a standard operating procedure for the recall of potentially hazardous commercial products.

POLICY: The facility will track and review the Food and Drug Administration (FDA) alerts, voluntary manufacturer recalls, VA National Patient Safety Center, and other regulatory notices received listing recalls and alerts of externally identified product hazards. .  The Chief, SPD will initiate action to confiscate affected product and maintain records of action taken according to the facility-established policy. Hazardous products identified internally will be promptly reported to the Risk Manager and Safety Officer, or the facility-designated coordinator.

RESPONSIBILITY:  Materiel Manager, SPD Program Manager, SPD Chief, SPD Supervisors, SPD Staff, Risk Manager, Safety Officer

PROCEDURE:

- The FDA has the authority to recall devices which present potential risks or substantial harm.  When a manufacturer or the FDA recognizes that a product is potentially hazardous, action must be taken to notify all users of the product and to provide instructions for its removal or recall.

- The General Services Administration issues “Safety Alerts” on potentially hazardous products under its contracts.  Other government agencies issue notices of hazardous products under their jurisdiction.

- Manufacturers may also issue warnings or recalls on their products.

- The facility Safety Officer, Risk Manager and/or facility designated official will be notified, in order to establish the severity of the hazard and the action plan to be initiated to limit, restrict, or remove the product from use.  The Executive Management Team will initiate an action plan, remove affected product, track used items, and acquire a substitute product.

- Once notification of a safety alert or recall is received, the Chief, SPD or Program Manager will coordinate the identification and retrieval of items being recalled.

- The Chief, or the responsible SPD official will advise the potentially affected services, instructing them to check their stock for the items in question by routing a copy of the hazard recall notice to potentially affected services.

- SPD staff members will retrieve all the recalled product and quarantine the product for disposal or return to vendor.

- The Chief, SPD or Program Manager will notify the responsible official once all items have been retrieved and/or items that were used.

- Identified hazards will be reported to the manufacturer, the distributor, and the SPD Program Manager in VACO.

- All recall or hazard notices shall be tracked until all responses and corrective actions are received for affected products.

REFERENCES:

JCAHO Accreditation Manual (2002).

Medical Device Amendments of 1992 (Public Law 102-300) FDA Modernization Act of

1997.

Safe Medical Device Act of 1990.  (Public Law 101-629).

VA Handbook 7125, General Procedures. Part 7 (9/27/2000).

VHA Directive 10-94-010, U.S. Food and Drug Administration Policies. Retrievable

www.fda.gov