LEGACY UPPER AIR SYSTEM

DISPOSAL PLAN

February 2008

Prepared by:

# U.S. Department of Commerce

National Oceanic and Atmospheric Administration

National Weather Service

Office of Operational Systems / Engineering and Acquisition Branch

1.0	INTRODUCTION

The disposal of the NWS legacy upper air system components will be accomplished in accordance with the decommissioning and disposal policy requirements of Weather Service Operations Manual (WSOM) Chapter A-74, Systems Decommissioning Policy.  This plan details how the NWS meets the site component disposal requirements of WSOM Chapter A-74.  These requirements ensure that the legacy upper air equipment located at the field site is removed from operational use and disposed of without adversely impacting the installation efforts for the RRS.

NWS has developed a replacement upper air sounding system identified as the Radiosonde Replacement System (RRS) to replace the legacy upper air ground tracking system (ART or W9000), and an RRS Workstation System (RWS) computer to replace the obsolete micro-ART computers.  Deployment of the RRS is scheduled for completion in Fiscal Year 2009.  The RRS will be deployed to most, but not all, of the existing NWS upper air sites.  At these sites, the TRS will replace the current ART-1 and ART-2 systems in their entirety.  The Weather Forecast Office and region Systems Operations Division Chiefs are responsible for decommissioning and subsequent disposal of the ART-1/2 units and their associated adjunct equipment.

1.1	Purpose

The purpose of this plan is to define the process and procedures to dismantle and dispose of currently deployed NWS legacy upper air ART-1, ART-2 and W9000 equipment. This plan also defines the events prior to each stage of the dismantling and disposal process.

This plan is for dismantling and disposal of the National Weather Service (NWS) legacy upper air systems to allow installation of a replacement system.  The majority of the legacy systems consist of Automatic Radiotheodolite (ART) Model 1 and Model 2 ground tracking systems, MICRO-ART computers and adjunct equipment, however there are a small number of sites which use the W9000 LORAN-based system.

1.2	Laws and Regulations

The W9000 systems are being transferred (vice disposed of), and therefore are not covered in this plan in detail.

The decommissioning and disposal of the NWS ART-1/2 and adjunct equipment will be accomplished in accordance with all applicable Federal and State laws and regulations.  The applicable Federal laws are 40 U.S.C. 483 and 40 U.S.C. 484 which contain general requirements of handling property of the Federal Government and 40 U.S.C. 486(c) which contains environmental requirements related to Federal property. These laws are implemented by 41 CFR part 101 subparts 41 through 48, 41 CFR part 102 subparts 36.5 through 102, and 41 CFR part 335 for general property management and 41 CFR part 101 subpart 42 respectively.  This plan is written to comply with all known Federal requirement issues applicable to the ART-1/2 dismantling and disposal. Some states have more stringent environmental requirements than Federal requirements.  Although no known environmental issues remain, the NWS Regions and the WFO are responsible for ensuring that State requirements are also met.  If a region or WFO becomes aware of anything in this plan inconsistent with a State requirement, the region or WFO must contact the NWS Headquarters OPS 11 immediately.

The ART-1 or ART-2 ground tracking equipment located on site must be removed prior to installation of the RRS Telemetry Receiver System (TRS). The National Reconditioning Center (NRC) has determined certain Line Replaceable Units (LRUs) of the ART systems must be removed and returned to the depot to support the ART systems remaining in service.  The NOAA Property Manager has authorized “certain parts to be cannibalized out of the systems that are taken out of service to maintain those systems that will remain in service while the RRS is being deployed.”

The contents of the letter from the NOAA Property Management Officer authorizing cannibalization and disposal of excess ART ground tracking equipment is found in Appendix A of this document.

1.3	Definitions

Decommissioning is the result of technical and administrative judgments identifying how and when individual operational equipment or site components at NWS sites can be taken out of service.  Decommissioning is not included in this plan, but is a prerequisite for several dismantling and disposal steps.

Disposal is the set of actions removing decommissioned components from the NWS property inventory.

Dismantling is the set of actions that disconnecting the various parts of ART-1/2, adjacent equipment and sets them aside for later disposal.

System is the totality of equipment, facilities, and supporting functions (e.g., maintenance, logistics, and communication networks) required to provide the operational capabilities.

Excessing is the act of removing ART-1/2 equipment that is not being returned to NRC. These parts include scrap metal, racks, and some cables.

Site Component is the portion of a system providing a required system function.  A given system may have variations in its site components.

Equipment is a stand-alone or one-of-a-kind device at a given NWS site. For the purposes of this plan, the terms “system” and “site” component will include equipment.

NWS Site is a location containing NWS site component(s).

Support Functions are those activities or capabilities supporting equipment or system operations. Such functions include field maintenance, depot repair, logistics and software support, communications, training, technical monitoring and control, program management, system operations, and backup among sites.

Cannibalize is the act of removing and placing in stock at NRC usable ART-1/2 equipment. These are considered Line Replaceable Units (LRUs) determined by NRC and will be used as spare parts for ART-1/2 systems that are in use.

1.4	Disposal Assumptions and Policies

This document assumes knowledge of the necessary procedures for the disposal of systems and associated support functions, the requirements of WSOM Chapter A-74, and procedures for obtaining approval for decommissioning of systems at specific sites.  Documents of such knowledge for applicable compliance are:

1.	Weather Service Operations Manual, Chapter A-74, September 30, 1992.

2.	NOAA Environmental Compliance Program (revised),

October 4, 2000.

Further assumptions are:

1.	The constraints imposed upon the timing of decommissioning and disposal strategies by the RRS Program Manager may change.

2.	Coordination between WFO personnel, contract personnel and NWS headquarters personnel must be maintained in a fashion that will allow effective planning for the installation of the RRS and disposal of decommissioned NWS upper air systems.

3.	Current systems can and will be maintained until their decommissioning, assuming adequate spare parts are available.

Further policies are:

1.	Each system being decommissioned will be supported operationally until its last operational site component is decommissioned.  Sparing support shall be provided through the cannibalization then rehabilitation of decommissioned site components.

2.	Notification of the intention to decommission a system will be provided by NWS to the National Oceanic and Atmospheric Administration (NOAA) Property Office in accordance with their policies for such notifications.

3.	Users directly involved with the site component to be decommissioned will be notified by the Regions in a manner that provides the user with sufficient time to make provisions for access to data products from the new site component or other alternate source of data or service.

  - Organization of Plan

This plan is organized in major sections as follows:

- Introduction, Section 1.0, introduces the plan's organization, assumptions, and purpose describes the terminology used, and a description of the decommissioned equipment.

- Description of Components, Section 2.0, describes the decommissioned equipment and support items associated with each site.  A site-specific list of equipment and site components such as test equipment, spare units, documentation, vehicles, training software, and manuals to be decommissioned and replaced by the RRS.

- Disposal of Local Components, Section 3.0, describes the disposal actions removing decommissioned site components and associated items (e.g., training, software, manuals, spare parts, etc.) from the NWS property inventory and restore the site to a condition agreed to by all parties.

- Disposal Responsibility and Process, Section 4.0, gives specific instructions for the disposal and monitoring of the system components/equipment for WSH and the Regional Offices.

- Summary of Authorities, Roles, and Responsibilities, Section 5.0, identifies the organizations responsible for system disposal activities.

- Phasedown of Support, Section 6.0, describes the examination of the support functions as the equipment is removed from service.

2.0	DESCRIPTION OF SYSTEM COMPONENTS

The NWS currently operates approximately 90 upper air stations, each one having an ART or W-9000 ground tracking system located in a radome, a Micro-ART computer (workstation), an interconnection cable umbilical, and sundry support equipment.   The ART-1 systems are considered to be portable and can be disassembled into several individual mobile parts.  The ART-2 design, consisting of tracking antenna and fixed pedestal weighs 2,600 pounds and cannot be disassembled.  The ART-2 will be dismantled to bring the weight of its heaviest component down to 1600 pounds.  This weight will be further reduced by mechanically cutting up the components.  The ART-2 is typically located about atop the WFO’s Upper Air building approximately 40 feet above ground.

Certain parts of the ART ground tracking system and the PC-XT computers will be cannibalized in order to build up the support stock at the NRC. The NRC has identified the list of LRUs to be returned for this purpose. (Reference Appendix B of this plan)

Upon decommissioning of the equipment, the remainder of the ART equipment not returned to NRC will be excessed.  Once the specified LRUs are removed from the ART, regional and/or WFO personnel will remove the communications cable. Because of the risk of damage to the radome, the ART ground tracking equipment will be removed without moving or lifting the radome.

After cannibalization, the TRS contractor (International MET Systems) will be responsible for removal of the remaining ART ground tracking equipment from the upper air Radome.  In the case of the ART-1 equipment, the contractor will disassemble the ART-1 and completely remove the ART-1 equipment from the radome.  Forecast office and/or regional personnel will then excess all other non-reusable equipment to include residual components in the office, and the Remote Control Unit (RCU).   For purposes of this document, reusable equipment refers to expendable supplies (radiosondes, printer supplies, etc.) and reusable support equipment (battery testers, etc.).

Contractor personnel will disassemble ART-2 equipment to the maximum extent practical, however the antenna dish, yoke, and pedestal must be cut apart to be removed. The Contractor is responsible for performing all efforts including safety and OSHA requirements, to cut the equipment apart, remove the equipment from the radome, and lower the equipment to the ground.

The W9000 systems are not installed in radomes, and therefore will not interfere with installation activities for the RRS system components. The W9000 systems will be disassembled, packed, shipped, and transferred to OPS22 by the office personnel.

Reusable supplies will be retained within the region by distribution to other sites retaining the legacy ground tracking equipment.  The regional headquarters will determine which supplies are required, and where the supplies are to be sent.  All non-retained supplies will be excessed.

2.1	List of Site Components

Site components included in this plan are shown below:

- Pedestal Assembly (ART-1 or ART-2)

  - All items mounted on the Pedestal Assembly (e.g., parabolic reflector antenna, pylon assembly, yoke with drive motors, RF assembly, range antenna, transmitter, phase comparator, and receiver/antenna control unit).

- Master Control Console (MCC)

  - Includes all rack-mounted electrical equipment located in the office area (e.g., Time, Azimuth and Elevation Display panel, Master Control Unit panel, Power Control Unit panel, sundry support and related equipment located in the MCC).

  - Various cables used with the MCC equipment.

- Micro ART Computer System

  - Central Processor Unit box

  - Color display

  - Keyboard

  - Dot-matrix printer

  - Sundry expendables (e.g., printer ribbon, 5.25 inch floppy disks)

  - Various cables used with the computer system

- Remote Control Unit (RCU)

  - The RCU panel is mounted at the inflation building and/or radome in a location allowing access during balloon launch

  - Various cables used with the RCU

- Cabling unique to the above equipment including communication cable connecting equipment in office to equipment in the radome.

- Expendable supplies not used with the RRS, including

  - Radiosondes (Sippican B2, Vaisala RS 80),  Flexible disks, printer ribbons, etc.

- Fielded support equipment (may not be available at all sites)

  - RF Signal Generator (Marconi Model 2024)

  - Legacy system target antenna tower

  - Legacy system target antenna

  - Radiosonde battery tester

  - Frequency counter (Optoelectronics 3000 series)

  - Oscilloscope (Tektronix or equivalent)

  - Multi meter (Fluke 328 or equivalent)

  - Balloon conditioner

  - Slip ring tester

  - Sundry hand tools

NOTE: The radome is to be used with TRS and is NOT to be disposed of.

- DISPOSAL OF LOCAL COMPONENTS

This section describes the procedure for disposition and/or removal of each element of the legacy upper air system.  The general procedure will be:

- Removal of LRUs to be returned to NRC for re-use.

- Removal and excessing of the remaining ART-1/2 ground tracking equipment from the radome including RCU.

- Removal and excessing of the remaining MCC equipment from the office.

The following paragraphs provide specific direction for each of these areas.

3.1	Activity to Address Hazardous Waste

3.1.1	Verification of Incorporation of EHB-9 Mod. Note 19

The ART-1 and ART-2 Ranging Unit Transmitter/Comparator System and the original ART-2 Transformer Chassis Assembly contained ballast transformers and capacitors which contained polychlorinated biphenyls (PCB).  PCBs have been identified as a hazardous substance. To eliminate the hazardous material from the ART-1 and ART-2 systems, ART Modification Note 19, and Revision A were issued.  The purpose of this modification was to remove the LRUs containing the PCBs, and install safe replacements.

At this time, ALL ART-1 and ART-2 systems in the field should have had the hazardous material removed by Modification Note 19.  Prior to disposal of the ART-1 and ART-2 ground tracking system, verification MUST be made that ART Modification Note 19 has been incorporated.  Refer to Table 3 of the modification note for a description of the LRUs containing the hazardous material.  If Modification Note 19 has not been incorporated, or if an original Transformer Chassis Assembly and/or Ranging Unit Transmitter/Comparator System is found on-site, contact the NWS Maintenance Branch (W/OPS12) for instructions.

    - Labeling of ART-1 Equipment

The paint used on the ART-1 pedestal contains lead (Pb)in concentrations of 141,000 parts per million.  Although handling of this equipment poses no immediate danger, labeling must be placed on the ART-1 pedestal to identify lead to anyone who may be involved in scrapping the equipment.

The ART-1 pedestal will be labeled by region/WFO personnel to identify the lead content of the paint after removal from the radome.

  - Disposal of Legacy Upper Air System Components

3.2.1	Disposal of ART 1 and/or ART 2 Ground Tracking Equipment

The ART equipment disposal steps:

- The WFO Meteorologist in Charge (MIC), in coordination with site and regional electronic and facility staff, will identify a proposed decommissioning date for the legacy ART equipment.  In determining this date, the MIC will consider the effort anticipated to prepare the site for RRS installation to include removal of ART communication cables from underground conduit, and removal of ART LRUs which are to be returned to NLSC.

- The RRS Deployment Manager will coordinate with the NOAA Warehouse Manager and GSA for on site delivery of a salvage container (dumpster) to receive the excess ART-1/2 equipment.   The intent is for the salvage container to arrive at the site co-incident with the proposed decommissioning date.

- The RRS Deployment Manager will coordinate with NLSC to provide reusable shipping containers to be used to return the appropriate LRUs to NLSC.   The intent is for the shipping containers to arrive at the site co-incident with the proposed decommissioning date.

- The legacy upper air system will be decommissioned by the region SOD Chief.  No disposal activities can commence until the legacy equipment is declared to be non-operational.

- WFO personnel will remove LRU’s identified in  the Site Installation Plan (SIP) from ART-1/2 in preparation for packing and return to NRC.   Appendix A of this document contains a complete list of candidate LRUs, however the SIP may specify a subset.  The LRUs need not be packed at this time, however it is required that they be removed from the radome.

Note that ONLY THOSE ITEMS SPECIFIED IN THE SITE INSTALLATION PLAN are to be returned to NLSC.

- WFO personnel will disconnect and remove the communications cable interconnecting the ART pedestal located in the radome to Master Control Console located in the forecast office operations room. Connectors will be cut from cable ends and returned to NRC. The electrical cable can be placed in the salvage container.

- The Installation Contractor will remove all remaining ART 1/2 ground tracking system equipment by placing it in the salvage container.  In the case of ART-2 systems, the contractor will mechanically dissect the equipment by torch and saw cutting.

- WFO personnel will generate an inventory of all legacy system components not scrapped, including LRUs and expendables for site records.

- Contractor personnel will remove remaining ART ground tracking system components such as Remote Control Unit and place in salvage container.

- WFO personnel will disconnect and  remove all remaining legacy equipment in the operations room and place in salvage container.

- WFO personnel will remove all disposable ART and  MICRO-art expendable supplies and coordinate with regional upper air focal point for disposition.

3.2.2	Disposal of on-site support items

On-site support items, including special test equipment, special tools, spare kits, and documentation vary from site to site.   Follow the guidelines set forth in the NOAA property disposal guidelines and the GSA property regulations for the excessing of the following items:

1.	Special Tools and Test Equipment

With the exception of the Marconi RF Signal Generator all other special tools and test equipment specifically provided for supporting the legacy systems will be redistributed within the region to support upper sites where the RRS has not yet been installed.  The redistribution of this equipment will be coordinated with the Regional Headquarters.  The RF Signal Generator will be retained at the site for the RRS program. Any special support equipment not retained by the site or redistributed within the region may be disposed of.  General purpose test equipment is not to be considered part of the system being disposed of according to this plan.

2.	On-Site spares

In general, on-site spares have been limited to ART pylons and ARCTIC printed wiring boards.  All on-site spares are considered part of the system to be excessed and therefore are to be processed in accordance with the relevant instructions provided herein.  Note that LRUs will be returned to NRC as applicable.

3.	Documentation

Each site has various technical manuals, NWS maintenance and modification notes, test procedures, and handbooks.  Disposal of these types of documents are the responsibility of the site.

4.	Training Materials

Disposal of on-site training materials for the legacy systems are the responsibility of the site.

3.2.3	Disposal of Local Reusable (Expendable) Supplies

The NWS will have a requirement to operate the legacy upper air equipment for an extended period of time because: 1) installation of the RRS at candidate sites is scheduled to require five years, and 2) all sites may not receive the RRS equipment.  The legacy MICRO-art computer system uses expendable supplies (printer ribbons, large flexible diskettes and tractor-feed paper) that are of limited availability.  All legacy upper air sites use expendable Vaisala or Sippican radiosondes not used with the RRS system.  Any expendable supplies that are unused and in like new condition will be re-used within the region. NWSHQ Observing Systems Branch (OSB) Chief will coordinate with regional headquarters to redistribute the expendable items in the specified region that will continue to operate the ART-1/2 system.

3.2.4	Disposal of Logistical Support Elements at NRC/NLSC

There is no impact on logistical support elements at NRC/NLSC. NRC/NLSC will retain logistical support elements in stock for non-decommissioned ART-1/2.

3.2.5	Disposal of Local Components at Non-Operational Sites

The NWS will have a requirement to support the legacy upper air systems and system users for the foreseeable future, therefore non-RRS sites will continue to use the legacy systems until such time as all legacy sites are decommissioned.  The non-operational sites are defined to be the NWSTC, the NRC and the SRDC.

3.2.6	Disposal of W9000 LORAN Upper Air Equipment

The W9000 LORAN upper air equipment is currently limited to three sites (Albany NY, Charleston SC and Wallops Island VA).  At these sites, upon decommissioning of the equipment it will be disassembled, packed, and sent to the SRDC (by the office personnel) at the following address:

National Weather Service

Sterling Research and Development Center

43741 Weather Service Road

Sterling, VA 20166-9603

Attn:	James Fitzgibbon W/OPS22

PH: (703) 661-1243

FAX:(703) 471-1374

4.0	DISPOSAL RESPONSIBILITY AND PROCESS

The organizations responsible for ensuring the disposal activities are completed are shown below:

Responsible NWS Organizations:

1.	Maintenance, Logistics and Acquisition Division (W/OPS1)

a.	Engineering and Acquisition Branch (W/OPS11)

    - RRS Program Manager

    - RRS Deployment Manager

    - Upper Air Legacy System Disposal Manager

b.	Maintenance Branch (W/OPS12)

c.	National Reconditioning Center (W/OPS16)

    - Weather Equipment Repair Section (W/OPS162)

- Field Systems Operations Center (W/OPS2)

a.	Observing Systems Branch (W/OPS22)

    - Decommissioning Manager

- NWS Regional Headquarters

    - Regional Property Manager

- Local NWS Forecast Office (to be determined)

    - Electronics staff

    - Property custodian

Responsible NOAA Organizations:

1.	National Logistics Supply Center (NLSC)

2.	Administrative Services Division (OA330)

a.	Personal Property Section (OA3332)

3.	Regional Administrative Support Centers

a.	Eastern Administrative Support Center

b.	Central Administrative Support Center

c.	Southern Administrative Support Center

d.	Western Administrative Support Center

Other Government Organizations:

1.	General Services Administration (GSA)

4.1	NOAA Property and GSA Coordination

All NWS property to be disposed of will be sold, if applicable, in accordance with the GSA property regulations (41CFR101:41 through 48).  A cover letter should be provided explaining any special considerations to which GSA needs to be aware of with regards to site access or HAZMAT associated with a particular piece of equipment.

Once dissected by the Contractor, the ART-2 equipment will have little or no commercial value, therefore the dissected ART-2 ground station equipment will be placed in a salvage container provided by NOAA Warehouse Manager.  Likewise, adjunct equipment or material destroyed by the removal process (e.g., cables) will also be placed in the salvage container.

The RRS Deployment Manager will complete a paper CD-50 and forward to the NOAA Warehouse Manager and site property custodian 30 days prior to the anticipated excess date. The NOAA Warehouse Manager will coordinate with GSA in identifying an appropriate salvage firm and providing a salvage container.  All components of the legacy upper air system to be excessed through GSA will be placed in the salvage container. GSA will arrange for removal of the salvage container.  At that time, a GSA representative will receive the CD-50, signed by the site property custodian, and process the CD-50 to remove the system from the custodian’s property list.

4.2	Engineering Management Reporting System (EMRS)

Property that is reported through the EMRS must be reported on the Engineering Management Reporting System Maintenance Record W Form A-26 as "DEACTIVATED".  This will aid Regional and Headquarters personnel to track the deactivation and disposal process.

4.3	Monthly Regional Status Reporting

At the request of the Decommissioning Manager, the RDM will provide a monthly status report.  The status report will contain information on each site currently involved in the disposal process.  Information to be included for each site includes the following:

1.	Description of which disposal steps have been completed

2.	Problems encountered and recommended solutions

3.	Estimate completion data

5.0	AUTHORITIES, ROLES AND RESPONSIBILITIES

The NWS authorities, roles, and responsibilities for disposal are presented below by organization and official.

5.1	NWS Headquarters

At the WSH level, the major decommissioning functions are executed by the Assistant Administrator for Weather Service (AA), the Deputy Assistant Administrator for Modernization (DAAM), the Directors of the Office of Operational Systems (OPS), Office of Climate, Water and Weather Services (OS).

    - Assistant Administrator for Weather Services

The AA for the Weather Services is the authorizing official for the NWS system decommissioning function and the authority for determining the applicability of this policy to the decommissioning of a given system and its associated equipment.

5.1.2	Director, OPS

The Director, OPS, has the authority to manage, design, and implement the decommissioning effort.  Specifically, the responsibilities include, but are not limited to following:

1.	Maintenance and Management of the phasedown of system support functions at the national level, and support of the phasedown of regional and site-specific portions of such support systems.

5.1.3	Decommissioning Manager (DM) OPS 22

The DM is responsible for coordinating decommissioning activities in preparation for disposal of legacy system equipment.

5.1.4	Directors of OPS, and OS

The Directors of OPS, and OS are responsible for support to the Director, OPS, in the following capacity:

1.	Development of guidelines and procedures for execution of the Systems Decommission Policy

2.	Provide updates to this policy

3.	The Disposal Plan and Decommissioning Plan for each replaced systems

4.	Updates to these plans

5.1.5	W/OPS11 Engineering and Acquisition Branch (W/OPS11)

The OPS Chief is responsible for coordinating disposal actions with the Engineering and Acquisition Branch (W/OPS11) and the OPS Director.

5.1.5.1		NWSHQ Disposal Mananger

The Disposal Manager has the following responsibilities:

1.	Coordinate all disposal actions through the WSH Commissioning Manager, WSH Decommissioning Manager, and the WSH RRS Deployment manager

2.	Acts as the focal point for all disposal activities at NWS WFO.

3.	Coordinates with the RDM to execute this plan in a timely fashion.

4.	Provides the RDM with any updates to the plan.

5.	Coordinates with GSA and NOAA Property to ensure that all required steps of equipment disposition are met.

6.	Collects and tracks necessary data for the execution of the plan.

7.	Coordinates with the Special Projects Leader (SPL), NRC, and the NWSTC to ensure support of remaining systems still in operation during decommissioning.

8.	Coordinates with the NRC for the shipment and storage of cannibalized component containers.

9.	Maintains a file of specific sites that have unusual circumstances that prevent parts of this plan from being carried out.

10.	Coordinates with the Maintenance Branch.

5.2	Regional Headquarters

The Regional Headquarters decommissioning functions are carried out by the Regional Directors. Their responsibilities are:

  - Support of the Director, OPS, in development of guidelines and procedures for execution of the Systems Decommissioning Policy, of updates to this policy, and of the SDP and decommissioning plan for the equipment replaced by the RRS.

2.	Implementation of site component decommissioning decisions and disposal actions, in coordination with the Director, OPS.

5.2.1	Regional Disposal Manager

The Regional Director will designate an RDM, to coordinate all disposal activities needed in the Region.  Upon designation, the RDM will contact the headquarters disposal focal point for preliminary instructions.

The RDM will ensure timely execution of the equipment disposal in accordance with this plan.  The RDM will act as the liaison between the site and the headquarters focal point by tracking regional disposal activities and providing monthly status reports. The RDM will be responsible for coordinating with the appropriate Regional safety specialist to ensure that all (if any) hazardous material situations are identified and be in charge of writing, coordinating, and procuring all contracts and memorandum of understanding or agreements (MOU or MOA) between other Government agencies.

The specific areas of RDM responsibility are the following:

1.	Coordinates with the WFO or site personnel and NWSHG Disposal Manager to ensure a timely execution of the plan.

2.	Acts as the focal point for all regional disposal activities.

3.	Interfaces with NOAA Property, the ASC, and NOAA Warehouse Manager to accomplish all necessary documentation and actions to dispose of all equipment replaced by the RRS.

4.	Coordinates with regional safety specialists to develop an environmental hazard assessment study to identify and inform the FPDA of any new HAZMAT found during any process of the equipment disposal process.

5.	Arranges for the shipment of any system identified by this plan as being returned to the NRC.

6.	Coordinates with the Maintenance Branch to identify any adjunct or support equipment to be transferred to other NWS activities.

5.3	Field Offices

The appropriate Meteorologist in Charge (MIC) executes system decommissioning and disposal responsibilities.  The responsibilities are the following:

1.	Inclusion of appropriate site component decommissioning and disposal activities for their field office.

2.	Implementation of decommissioning decisions and disposal actions as directed by the appropriate regional director.

5.3.1	Property Custodian

The property custodian will be responsible for coordinating the disposal of any equipment listed as NOAA property.  The property custodian responsibilities are as follows:

- Coordinates with NOAA Warehouse Manager the removal of excessed equipment.

- Signs CD-50 and forwards to NOAA Warehouse Manager for approval of disposal.

5.3.2	Site Disposal Manager

The site Station Manager will designate one person to act as the SDM for the disposal of the equipment being replaced by RRS at that site.  The SDM will coordinate with the appropriate regional contact, RDM and all contractors necessary for equipment disposal and site restoration in accordance with this plan.

The specific areas of SDM responsibility are as follows:

1.	Acts as the focal point for all site disposals.

2.	Coordinates disposal action and site restoration as necessary with the RDM and private contractors.

3.	Coordinates with the RDM and NWSHQ Disposal Manager to ensure timely execution of the plan.

4.	Coordinates the shipment of any reclaimed system equipment with the RDM and NWSHQ Disposal Manager if applicable.

5.	Arranges for or removes any part containing HAZMAT as identified in Section 5.1 and arranges for its disposal.  Any new HAZMAT not identified previously shall be reported to the RDM.

6.	Packs, crates, or prepares for shipment of any parts, subassemblies, or support equipment covered in this plan.

7.	Coordinates with the Property Custodian to contract for the removal of all excessed equipment.

8.	Reports disposition actions on the appropriate EMRS form(s).

6.0	PHASEDOWN OF SUPPORT

Support for the ART-1/2 program will continue during the installation of the TRS systems.  Phasedown of this support will begin with the decommissioning of the first site component.

The rate of phasedown is determined by the RRS installation schedule.  The phasedown period will span approximately 5 years, given the current deployment.

6.1	Depot Maintenance

Processing of repairable equipment by the NRC will continue as directed by the SPL, until all systems have been decommissioned and no further support requirements exist.

6.2	Logistics

The Maintenance Branch of the OPS Maintenance, Logistics and Acquisition Division will coordinate the phasedown of logistics support for ART-1/2. Logistics support for the ART 2 will continue during the installation of the RRS systems.

The Logistics Branch and Maintenance Branch of OPS will coordinate with the NRC Weather Instrument Repair Section to determine which ART-1/2 parts should be saved for later use as spares. The Logistics Branch will complete the CD-52 (Report of Review of Property) for the spares.  Support requirements will be examined by the SPL throughout the service life of the remaining systems to ensure that stock levels are adequate for the operational needs of the UA program.  These requirements will be adjusted as the numbers of ART-1/2 diminish.

6.2.1	ART-1/2 Support

The OPS Maintenance, Logistics and Acquisition Division will investigate problems of availability of parts for the ART-1/2 and will identify parts that will have a high potential of becoming unavailable prior to decommissioning.  When absolutely necessary, purchases of these parts will be made to satisfy the support requirements for the remaining systems.

6.2.2 	National Logistics Supply Center (NLSC) Radar and Radar   Adjunct Spares and Consumables

Maintenance Branch personnel throughout the phasedown period will adjust spares and consumable stock levels for the ART-1/2 at the NLSC. When the last operational ART-1/2 has been decommissioned, the SPL will coordinate the surplus or scrap of all remaining radar spares and consumables with the Logistics Management Section.

6.2.3 	Field Support Equipment

The Maintenance Branch will phase down the quantities of test equipment to be repaired as necessary for ongoing site support.  When the last ART-1/2 has been decommissioned, the NRC will transfer to GSA or dispose all remaining test equipment not needed for other NWS programs as determined by the RPM and GSA.

6.3	Training

Training on ART-1/2 will continue through much of the phasedown period.  The NWSTC will adjust the number and size of classes they offer on the current radars each year to correspond with the needs expressed by the regions and WSH.

When the last operational ART-1/2 has been decommissioned, the NWSTC will transfer disposed training materials and equipment dedicated to ART-1/2 training as determined by this plan.

6.4	National Reconditioning Center

When the last operational ART-1/2 has been decommissioned, the NRC will begin the disposal process of all material and equipment dedicated to the ART-1/2 as appropriate.

APPENDIX A

LETTER FROM NOAA PROPERTY AUTHORIZING CANNIBALIZATION AND DISPOSAL OF ART LEGACY EQUIPMENT

MEMORANDUM FOR:	Frank Kelly

Mark Paese, Acting Director

Maintenance Logistic and Acquisitions Division

FROM:			Carolyn Lopez-DeMatteo

NOAA Property Management Officer

SUBJECT:			Disposition of National Weather Service Legacy Upper Air Systems

Per the information contained in the undated memo directed to the me as NOAA’s Property Management Officer, and the emails received subsequently, the National Weather Service (NWS) is in the process of procuring and deploying a state-of-the art upper-air sounding system at designated field sites.  This new system is called the Radiosonde Replacement System (RRS). The deployment of this equipment necessitates the removal and disposal of the legacy Automatic Radio-Theodolite (ART) equipment, specifically, the ART-1 and ART-2 Ground Tracking Systems and the MicroART computer.

The NWS has determined that certain parts of the ART ground tracking systems will be required to be cannibalized out of the systems that are taken out of service to maintain those systems that will remain in service while the RRS is being deployed.  The ART systems will be in the NWS inventory until the last RRS has been installed, with a number of units held in service several years beyond for climate comparison studies.  This could push requirements for spares at least 10 (ten) systems into years 2008-2009.

The Department of Commerce Personal Property Management Manual spells out three conditions which must be satisfied before cannibalization is permitted:

A.)  “Repair of the broken or worn parts is not possible, or not cost-effective;” It is intended that replacement parts be cannibalized out of the ART systems because the parts which must be replaced can not be repaired economically.  For example, the equipment can only be repaired a limited number of times after which time they would have to be produced new through a reverse-engineering process.  Also, it is difficult to get companies to contract for repairing components such as the azimuth/elevation bearings, hysteresis clutches and pylon motors because the technology is old, because of the low volume and quick turn-around requirements, and because they are unwilling to undergo the National Reconditioning Center’s necessary quality control verification procedures.

B.)  “Required parts are not available from other units previously cannibalized;” The NWS will use all parts available from an ART that has already been cannibalized before cannibalizing a different ART.

C.)  “The benefit realized from cannibalization exceeds the estimated trade-in or sale value of the unit being considered for cannibalization.”  The NWS will be able to keep the current ART systems up and running through the period of time that the replacement systems are being deployed by using cannibalized parts.  If cannibalized parts were not used, the cost of repairing the current ART systems would be prohibitive.  For example, pylon motors that originally cost $760 had to be replaced with ones that cost $4200.  The value of a non-cannibalized ART to a potential buyer is minimal because of the problems they would have finding parts to maintain the equipment.  Furthermore, the radiosondes which this equipment was designed to work with will no longer be economically manufacturable once the NWS stops using them, and the radio-frequency spectrum used by this equipment is no longer available.  Therefore, the benefits from cannibalization far exceed any estimated trade-in or sale value.

Consequently, under my authority as Property Management Officer for NOAA, I hereby certify that the cannibalization of the NWS ART-1 and ART-2 Ground Tracking equipment is the most beneficial and cost-effective use of this equipment and authorize the cannibalization as deemed appropriate by the NWS.  The MicroART is basically an old 1970's IBM Micro Computer.  Since it is not being considered for cannibalization, it will be excessed through normal procedures.

In addition, I hereby further authorize the NWS to dispose of the remaining equipment locally.

The Federal Management Regulations state:

§ 102-36.305.  May we abandon or destroy excess personal property without reporting it to GSA?

Yes, you may abandon or destroy excess personal property when you have made a written determination that the property has no commercial value or the estimated cost of its continued care and handling would exceed the estimated proceeds from its sale.  An item has no commercial value when it has neither utility nor monetary value (either as an item or as scrap).

§ 102-36.310.  Who makes the determination to abandon or destroy excess personal property?

To abandon or destroy excess personal property, an authorized official of your agency makes a written finding that must be approved by a reviewing official who is not directly accountable for the property.

The ART-2 assembly employs a large, heavy (>2100 lbs) steel pedestal structure installed in an elevated radome structure.  The NWS cannot remove the ART-2 pedestal from the top of the inflation building without either lifting the radome or cutting the pedestal into several pieces in order to remove it through the radome door.  The NWS has determined that it would be too risky and expensive to try to lift the radome so the pedestal structure could be removed.  Therefore, I am hereby authorizing the NWS to disassemble the pedestal by cutting it into pieces.

What will be left after the disassembly of the ART-2 pedestal and the cannibalization of parts from both the ART-1 and the ART-2 will have no commercial value either in terms of its utility nor its monetary value (either as an item or as scrap).

I am also authorizing the NWS to dispose of the remaining equipment components of the ART-1 and ART-2 locally in accordance with the Federal Management Regulations, Article 102-36.

This does not, however, preclude the Property Custodians from informing the appropriate Regional Property Manager when the equipment has been removed from service and disposed of.  Though no Board of Review action is required, a CD-52 form must be completed to document the disposition of the ART equipment.  The face of the form must indicate the Property Identification Number (barcode number) and the serial number of the equipment being disposed of as well as the date the equipment was taken out of service.  The reverse side of the form must describe the action taken to dispose of the equipment in the Disposition of Property section and give the date of actual disposition, and must be signed and dated by the responsible official.

If there are any questions please contact Brian Mason in the Personal Property Office at

(301) 713-3530, ext. 165.

Signed by Carolyn Lopez-DeMatteo		September 26, 2002

Approved			                        Date

APPENDIX B

ART-1/2 SPARE PART CANNIBALIZATION/RECOVERY - MODIFIED FEBRUARY 2008

| Description | ART-1 | ART-2 |
| --- | --- | --- |
|  | ASN | ASN |
| RF assembly | J170-1A1A1 | J170-1A1A1 |
| Target Oscillator | J206-4 | J206-4 |
| Target Dipole Antenna | J206-1 | J206-1 |
| Vaisala Radiosonde Battery Tester | J208-3 | J208-3 |
| VIZ/Sippican Radiosonde Power Supply & Battery Tester | J208-4 | J208-4 |
| XT computer: (w/ all cards, PS, & Drives inside): | M003-1 | M003-1 |
| ARTIC card | M003-1A1A1 | M003-1A1A1 |
| SPU-11 interface card | M003-1A1A4 | M003-1A1A4 |
| Controller, Fixed Disk | M003-1A1A5 | M003-1A1A5 |
| Controller, Floppy Drive | M003-1A1A6 | M003-1A1A6 |
| Power Supply | M003-1PS1 | M003-1PS1 |
| Color Monitor | M003-2 | M003-2 |
| Keyboard | M003-3 | M003-3 |
| Theodolite | J600 | J600 |
| ART Data Printer (PAOZZ) | J170-4B | J170-4B |