Athens

July 29, 2008

To Whom It May Concern:

SUBJECT:  Solicitation Number SGR100-08-R-1013, Construction works in the U.S. Embassy Building

The Embassy of the United States of America invites you to submit a proposal for the Security Upgrade to the VIP Parking Lot.

If you are interested in submitting a proposal on this project, read the instructions in Section L of the attached Request for Proposals (RFP).

If you intend to submit a proposal, you should thoroughly examine all documents contained in the contract solicitation package.  The Embassy intends to conduct a site visit (see L.6, 52.236-27) and hold a pre-proposal conference.  All prospective offerors who have received a solicitation package are invited to attend.  The conference will be held at 91 Vas. Sofias Avenue, 101 60 ATHENS, on August 8, 2008 at 11.30 hours.  Submit any questions you may have concerning the solicitation documents in writing by August 7, 2008, so that a response can be provided at this conference.  Also, the Embassy has established a site visit on August 8, 2008 at 11.00 hours.  Participants will meet at the Entrance Gate of the Embassy, at 91 Vas. Sofias Ave, Athens.  Please arrive 15 minutes early to clear security.  Offerors should send their names with their I.D. or Passport Nos. to Fax 210-722-7255, Attention: Mr. Apostolos Mouyios, to make appropriate arrangements by 13.00 hrs, August 7, 2008.  No one will be allowed to enter into the premises without prior notification.

Your proposal must be submitted in a sealed envelope marked "Proposal Enclosed" to my attention, 91 Vas. Sofias Avenue, 101 60 ATHENS, on or before 10.30 hours (local time) on September 2, 2008.  No proposal will be accepted after this time.

Complete Part II of the Standard Form 1442, including all blank spaces, and have the form signed by an authorized representative of your company, or the proposal may be considered unacceptable and may be rejected.

In order for a proposal to be considered, you must also complete and submit the following:

1.	Section B and Attachment 4, Proposal Breakdown by Divisions;

2.	Section K, Representations and Certifications;

3.	Bar Chart illustrating sequence of work to be performed;

4.	Additional information as required in Section L.

The contract will be a firm fixed price contract, with no adjustment for any escalation in costs or prices of labor or materials.  Each offeror will be responsible for determining the amount of labor and materials that will be required to complete the project, and for pricing its proposal accordingly.

Please be advised that each offeror is responsible for furnishing complete information to its subcontractor and suppliers, such as details and quantities required by the drawings and specifications.  Subcontractors and suppliers should not be referred to the Embassy or the Architect for determining the amount or quantities of materials required.

The construction completion time is four (4) months, commencing seven (7) days after receiving the notice to proceed.  In the event of an unauthorized or unexcused delay in completing the project, liquidated damages in the amount of €150.00 per calendar day will be assessed until substantial completion of the project is achieved.

The Contracting Officer reserves the right to reject any and all proposals and to waive any informality in proposals received.  In addition, the Embassy reserves the right to establish a competitive range of one or more offerors and to conduct further negotiations concerning price and other terms before awarding the contract, or to award without discussions.

Please direct any questions regarding this solicitation in writing to the attention of Mr. Apostolos Mouyios.  Questions must be written in English, and may be sent to fax number 210-722-7255 or email (MouyiosTV@state.gov) by 14.00 hours local time, on August 25, 2008.

Sincerely,

Judith M. Johnson

Contracting Officer

Enclosure

| SOLICITATION, OFFER, AND AWARD (Construction, Alteration, or Repair) | 1. SOLICITATION NO. SGR100-08-R-1013 | 2. TYPE OF SOLICITATION SEALED BID (IFB) NEGOTIATED (RFP) | 3. DATE ISSUED 7/29/2008 | PAGE OF PAGES 1 72 |
| --- | --- | --- | --- | --- |
| IMPORTANT - The “offer” section on the reverse must be fully completed by offeror. |
| 4. CONTRACT NO. | 5. REQUISITION/PURCHASE REQUEST NO. | 6. PROJECT NO. |
| 7. ISSUED BY CODE |  | 8. ADDRESS OFFER TO |
| U.S. Embassy Athens – GSO 91 Vas. Sofias Avenue 101 60 ATHENS | See Item 7 |
| 9. FOR INFORMATION CALL: | A. NAME Mr. Apostolos Mouyios | B. TELEPHONE NO. (Include area code) (NO COLLECT CALLS) 210-210 - 720 2296 |
| SOLICITATION |
| NOTE: In sealed bid solicitations “offer” and “offeror” mean “bid” and “bidder.” |
| 10. THE GOVERNMENT REQUIRES PERFORMANCE OF THE WORK DESCRIBED IN THESE DOCUMENTS (Title, identifying no., date): Section A - Contract Price Section B - Description/Specs/Work Statement Section C - Packaging and Marking Section D - Inspection and Acceptance Section E - Deliveries or Performance Section F - Contract Administration Data Section G - Special Contract Requirements Section H - Contract Clauses Section I - List of Attachments Section J - List of Attachments Section K - Representations and Certifications Section L - Instructions, Conditions and Notices to Offerors Section M - Evaluation Factors for Award |
| 11. The Contractor shall begin performance on see F.2.a and complete it within see F.2.c. calendar days after receiving award, notice to proceed. This performance period is mandatory, negotiable. (See F.3.) |
| 12A. THE CONTRACTOR MUST FURNISH ANY REQUIRED PERFORMANCE AND PAYMENT BONDS? (If “YES,” indicate within how many calendar days after award in Item 12B.) X YES NO | 12B. CALENDAR DAYS Ten (10) |
| 13. ADDITIONAL SOLICITATION REQUIREMENTS: A. Sealed offers in original and _2_ copies to perform the work required are due at the place specified in Item 8 by 10.30 hours local time, September 2, 2008. If this is a sealed bid solicitation, offers must be publicly opened at that time. Sealed envelopes containing offers shall be marked to show the offeror’s name and address, the solicitation number, and the date and time offers are due B. An offer guarantee is, is not required. C. All offers are subject to the (1) work requirements, and (2) other provisions and clauses incorporated in the solicitation in full text or by reference. D. Offers providing less than 30 calendar days for Government acceptance after the date offers are due will not be considered and will be rejected. |

NSN 7540-01-155-3212		1442-101					STANDARD FORM 1442 (REV. 4-85)
Computer Generated							Prescribed by GSA FAR (48 CFR) 53.236-1(e)

| OFFER (Must be fully completed by offeror) |
| --- |
| 14. NAME AND ADDRESS OF OFFEROR (Include ZIP Code) | 15. TELEPHONE NO. (Include area code) |
|  | 16. REMITTANCE ADDRESS (Include only if different than Item 14) |
| CODE FACILITY CODE |  |
| 17. 17. The offeror agrees to perform the work at the prices specified below in strict accordance with the terms of this solicitation, if this offer is accepted by the Government within __60___ calendar days after the date offers are due. (Insert any number equal to or greater than the minimum requirement stated in Item 13D. Failure to insert any number means the offeror accepts the minimum in Item 13D. Euros |
| 18. 18. The offeror agrees to furnish any required performance and payment bonds. |
| 19. ACKNOWLEDGMENT OF AMENDMENTS The offeror acknowledges receipt of amendments to the solicitation -- give number and date of each |
| A AMENDMENT NO. |  | 11 |  |  |  |  |  |  |  |  |
| DA DATE |  |  |  |  |  |  |  |  |  |  |
| 20A. NNAME AND TITLE OF PERSON AUTHORIZED TO SIGN OFFER (Type or print) | 20 B. SIGNATURE | 20 C. OFFER DATE |
| AWARD (To be completed by Government) |
| 21. 21. ITEMS ACCEPTED: |
| 22. AMOUNT Euros | 23. ACCOUNTING AND APPROPRIATION DATA |
| 24. SUBMIT INVOICES TO ADDRESS SHOWN IN (4 copies unless otherwise specified) | ITEM G.3.2. | 25. 25. OTHER THAN FULL AND OPEN COMPETITION PURSUANT TO 10 U.S.C. 2304(c)( ) 41 U.S.C. 253(c)( ) |
| 26. 26. ADMINISTERED BY CODE Block 31 |  | 27. PAYMENT WILL BE MADE BY EFT payment. |
| CONTRACTING OFFICER WILL COMPLETE ITEM 28 OR 29 AS APPLICABLE |
| 28. NEGOTIATED AGREEMENT (Contractor is required to sign this document and return 4 copies to issuing office.) Contractor agrees to furnish and deliver all items or perform all work, requisitions identified on this form and any continuation sheets for the consideration slated in this contract. The rights and obligations of the parties to this contract shall be governed by (a) this contract award, (b) the solicitation, and (c) the clauses, representations, certifications, and specifications or incorporated by reference in or attached to this contract. | 29. AWARD (Contractor is not required to sign this document.) Your offer on this solicitation is hereby accepted as to the items listed. This award consummates the contract, which consists of (a) the Government solicitation and your offer, and (b) this contract award. No further contractual document is necessary. |
| 30A. NAME AND TITLE OF CONTRACTOR OR PERSON AUTHORIZED TO SIGN (Type or print) | 31A. NAME OF CONTRACTING OFFICER (Type or print) |
| 30B. SIGNATURE | 30C. DATE | 31B. UNITED STATES OF AMERICA BY: | 31C. AWARD DATE |

Computer Generated	                                                                                                                         STANDARD FORM 1442 BACK (REV. 4-85)

SECTION B - SUPPLIES OR SERVICES

AND PRICES/COSTS

B.1	CONTRACT PRICE

The contractor shall complete all work (including furnishing all labor, material, equipment and services) required under this contract for the following firm fixed price and within the time specified.  This price shall include all labor, materials, overhead (including insurance required by FAR 52.228-4, Workers’ Compensation and War-Hazard Insurance, which shall not be a direct reimbursement), and profit.

Euros                      Total Price

B.2	TYPE OF CONTRACT

This is a firm fixed price contract payable entirely in the currency indicated in the SF1442.  No additional sums will be payable for any escalation in the cost of materials, equipment or labor, or because of the contractor's failure to properly estimate or accurately predict the cost or difficulty of achieving the results required.  The Government will not adjust the contract price due to fluctuations in currency exchange rates.  The Government will only make changes in the contract price or time to complete due to changes made by the Government in the work to be performed, or by delays caused by the Government.

The Government will make payments based on quantities and unit prices only to the extent specifically provided in the contract.

SECTION C - DESCRIPTION/SPECIFICATIONS

STATEMENT OF WORK

C.1	CHARACTER AND SCOPE OF WORK

The Contractor shall furnish and install all materials required by this contract.  The contract drawings are set forth in Section J as Attachment 4 and the Specifications/Statement of Work are set forth in Section J as Attachment 5.

C.2	DRAWINGS

In case of differences between small and large-scale drawings, the latter will govern.  Where a portion of the work is drawn in detail and the remainder of the work is indicated in outline, the parts drawn in detail shall apply also to all other portions of the work.

SECTION D - PACKAGING AND MARKING

D.1	The Contractor shall mark materials delivered to the site as follows:

United States Embassy

Attention: Facilities Maintenance

91 Vas. Sofias Avenue

101 60 Athens

SECTION E - INSPECTION AND ACCEPTANCE

E.1	FAR 52.252-2 CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at

http://acquisition.gov/far/index.html   or,   http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  If the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use the Dept. of State Acquisition Website at

http://www.statebuy.state.gov/ to see the links to the FAR. You may also use an Internet “search engine” (such as, Yahoo, Excite, Alta Vista, etc.) to obtain the latest location of the most current FAR.

FEDERAL ACQUISITION REGULATION (48 CFR CH. 1)

| 52.246-12 | INSPECTION OF CONSTRUCTION | AUG 1996 |
| --- | --- | --- |

E.2	Quality Assurance

The Contractor shall institute an appropriate inspection system set forth in a Quality Assurance Plan.  The plan shall include checklists of duties to be carried out, ensuring these duties are carried out by the supervisory staff and senior employees, and carrying out weekly inspections to determine whether the various services are being performed according to the contract.  The Contractor shall provide copies of the weekly inspection reports to the COR.

The Contractor shall correct and improve promptly any shortcomings and substandard conditions noted during inspections.  The Contractor shall bring any conditions beyond the responsibility of the Contractor to the attention of the Contracting Officer or COR.

E.2.1	MONTHLY REPORT:  The Contractor shall submit to the COR a monthly progress report, along with the monthly invoice, summing up observations resulting from the inspections, progress, difficulties or irregularities encountered, resolution of problems, measures taken to improve conditions, recommendations, and other matters related to this contract.

E.2.2.	INSPECTION BY GOVERNMENT:  The COR, or his/her authorized representatives, will inspect from time to time the services being performed and the supplies furnished to determine whether work is being performed in a satisfactory manner, and that all supplies are of acceptable quality and standards.

The Contractor shall be responsible for any countermeasures or corrective action, within the scope of this contract, which may be required by the Contracting Officer as a result of such inspection.

E.3	SUBSTANTIAL COMPLETION

E.3.1	DEFINITIONS

- "Substantial Completion" means the stage in the progress of the work as determined and certified by the Contracting Officer in writing to the Contractor, on which the work (or a portion designated by the Government) is sufficiently complete and satisfactory.  Substantial completion means that the property may be occupied or used for the purpose for which it is intended, and only minor items such as touch-up, adjustments, and minor replacements or installations remain to be completed or corrected which:

  - do not interfere with the intended occupancy or utilization of the work, and

  - can be completed or corrected within the time period required for final completion.

- The "date of substantial completion" means the date determined by the Contracting Officer or authorized Government representative as of which substantial completion of the work has been achieved.

E.3.2	USE AND POSSESSION UPON SUBSTANTIAL COMPLETION

The Government shall have the right to take possession of and use the work upon substantial completion.  Upon notice by the Contractor that the work is substantially complete (a Request for Substantial Completion) and an inspection by the Contracting Officer or an authorized Government representative (including any required tests),  the Contracting Officer shall furnish the Contractor a Certificate of Substantial Completion.  The certificate shall be accompanied by a Schedule of Defects listing items of work remaining to be performed, completed or corrected before final completion and acceptance.  Failure of the Contracting Officer to list any item of work shall not relieve the Contractor of responsibility for complying with the terms of the contract.  The Government's possession or use upon substantial completion shall not be deemed an acceptance of any work under the contract.

E.4	FINAL COMPLETION AND ACCEPTANCE

E.4.1	DEFINITIONS

(a)	"Final completion and acceptance" means the stage in the progress of the work as determined by the Contracting Officer and confirmed in writing to the Contractor, at which all work required under the contract has been completed in a satisfactory manner, subject to the discovery of defects after final completion, and except for items specifically excluded in the notice of final acceptance.

(b)	The "date of final completion and acceptance" means the date determined by the Contracting Officer when final completion of the work has been achieved, as indicated by written notice to the Contractor.

E.4.2	FINAL INSPECTION AND TESTS

The Contractor shall give the Contracting Officer at least five (5)  days advance written notice of the date when the work will be fully completed and ready for final inspection and tests.  Final inspection and tests will be started not later than the date specified in the notice unless the Contracting Officer determines that the work is not ready for final inspection and so informs the Contractor.

E.4.3	FINAL ACCEPTANCE

If the Contracting Officer is satisfied that the work under the contract is complete (with the exception of continuing obligations), the Contracting Officer shall issue to the Contractor a notice of final acceptance and make final payment upon:

- satisfactory completion of all required tests,

- a final inspection that all items by the Contracting Officer listed in the Schedule of Defects have been completed or corrected and that the work is finally complete (subject to the discovery of defects after final completion), and

- submittal by the Contractor of all documents and other items required upon completion of the work, including a final request for payment (Request for Final Acceptance).

SECTION F - DELIVERIES OR PERFORMANCE

F.1	FAR 52.252-2 CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at:

http://acquisition.gov/far/index.html   or,   http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  If the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use the Dept. of State Acquisition Website at http://www.statebuy.state.gov/ to see the links to the FAR.   You may also use an Internet “search engine” (such as, Yahoo, Excite, Alta Vista, etc.) to obtain the latest location of the most current FAR.

FEDERAL ACQUISITION REGULATION (48 CFR CH. 1)

| 52.242.14 | SUSPENSION OF WORK | APR 1984 |
| --- | --- | --- |

F.2. 52.211-10  COMMENCEMENT, PROSECUTION, AND COMPLETION OF WORK (APR 1984)

The Contractor shall be required to:

- commence work under this contract within seven (7) calendar days after the date the Contractor receives the notice to proceed,

- prosecute the work diligently, and

- complete the entire work ready for use not later than four (4) months after the Notice to Proceed, from start of on-site works to delivery, with the two sections undertaken and completed separately.  The time stated for completion shall include final cleanup of the premises and completion of “punch list” items.

F.3	LIQUIDATED DAMAGES

F.3.1	52.211-12  LIQUIDATED DAMAGES - CONSTRUCTION (SEP 2000)

(a)	If the Contractor fails to complete the work within the time specified in the contract, or any extension, the Contractor shall pay liquidated damages to the Government in the amount of €150.00 for each day of delay until the work is completed or accepted.

(b)	If the Government terminates the Contractor’s right to proceed, liquidated damages will continue to accrue until the work is completed.  These liquidated damages are in addition to excess costs of repurchase under the Default clause.

F.3.2.	ASSESSMENT AND APPORTIONMENT OF LIQUIDATED DAMAGES

Liquidated damages will be assessed from the completion date indicated in the contract or extensions thereof to the date of substantial completion as actually achieved by the Contractor, as determined by the Contracting Officer.

F.4	CONTRACTOR'S SUBMISSION OF CONSTRUCTION SCHEDULES

(a)	The time for submission of the schedules referenced in Section I, 52.236-15, "Schedules for Construction Contracts", paragraph (a), is hereby modified to reflect the due date for submission as "ten (10) days after receipt of an executed contract".

(b)	These schedules shall include the time by which shop drawings, product data, samples and other submittals required by the contract will be submitted for approval.

(c)	The Contractor shall revise such schedules (1) to account for the actual progress of the work, (2) to reflect approved adjustments in the performance schedule, and (3) as required by the Contracting Officer to achieve coordination with work by the Government and any separate contractors used by the Government.  The Contractor shall submit a schedule which sequences work so as to minimize disruption at the job site.

(d)	All schedules shall be in the English language and any system of dimensions (English or metric) shown shall be consistent with that used in the contract.  No extension of time shall be allowed due to a delay by the Government in approving such deliverables if the Contractor has failed to act promptly and responsively in submitting its deliverables.  The Contractor shall identify each deliverable as required by the contract.

F.5	ACCEPTANCE OF SCHEDULE

When the Government has accepted any time schedule, it shall be binding upon the Contractor.  The completion date is fixed and may be extended only by a written contract modification signed by the Contracting Officer.  Acceptance or approval of any schedule or revision thereof by the Government shall not (1) extend the completion date or obligate the Government to do so, (2) constitute acceptance or approval of any delay, or (3) excuse the Contractor from or relieve the Contractor of its obligation to maintain the progress of the work and achieve final completion by the established completion date.

F.6	NOTICE OF DELAY

If the Contractor receives a notice of any change in the work, or if any other conditions arise which are likely to cause or are actually causing delays which the Contractor believes may result in late completion of the project, the Contractor shall notify the Contracting Officer.  The Contractor’s notice shall state the effect, if any, of such change or other conditions upon the approved schedule, and shall state in what respects, if any, the relevant schedule or the completion date should be revised.  The Contractor shall give this notice not more than ten (10) days after the first event-giving rise to the delay or prospective delay.  Only the Contracting Officer may make revisions to the approved time schedule.

F.7	NOTICE TO PROCEED

(a)	After receiving and accepting any bonds or evidence of insurance, the Contracting Officer will issue the Contractor a Notice to Proceed.  The Contractor shall then prosecute the work commencing and completing performance not later than the time period established in the contract.

(b)	It is possible that the Contracting Officer may elect to issue the Notice to Proceed before receipt and acceptance of any bonds or evidence of insurance.  Issuance of a Notice to Proceed by the Government before receipt of the required bonds or insurance certificates or policies shall not be a waiver of the requirement to furnish these documents.

F.8	WORKING HOURS

All work shall be performed during 0800-1700, Monday through Friday, except for the holidays identified below.  Other hours, if requested by the Contractor, may be approved by the Contracting Officer's Representative.  The Contractor shall give 24 hours in advance to COR who will consider any deviation from the hours identified above.  Changes in work hours will not be a cause for a price increase.

(a)	The Department of State observes the following days as holidays:

New Year’s Day (A&G)

Epiphany (G)

Martin Luther King’s Birthday (A)

President Day (A)

Kathari Deftera (G)

Greek Independence

Good Friday (G)

Holy Saturday* (G)

Easter Sunday* (G)

Easter Monday (G)

May 1 (G)

Memorial Day (A)

Independence Day (A)

Assumption Day (G)

Labor Day (A)

Columbus Day (A)

OXI Day (G)

Veteran’s Day (A)

Thanksgiving Day (A)

Christmas Day (A&G)

Boxing Day (G)

Any other day designated by Federal law, Executive Order or Presidential Proclamation.

When any such day falls on a Saturday, the preceding Friday is observed; when any such day falls on a Sunday, the following Monday is observed.  Observance of such days by Government personnel shall not be cause for additional period of performance or entitlement to compensation except as set forth in the contract.  If the contractor's personnel work on a holiday, no form of holiday or other premium compensation will be reimbursed either as a direct or indirect cost, unless authorized pursuant to an overtime clause elsewhere in this contract.

F.9	EXCUSABLE DELAYS

The Contractor will be allowed time, not money, for excusable delays as defined in FAR 52.249-10, Default.  Examples of such cases include:

(l)	acts of God or of the public enemy,

(2)	acts of the United States Government in either its sovereign or contractual capacity,

(3)	acts of the government of the host country in its sovereign capacity,

(4)	acts of another contractor in the performance of a contract with the Government,

(5)	fires,

(6)	floods,

(7)	epidemics,

(8)	quarantine restrictions,

(9)	strikes,

(l0)	freight embargoes,

(11)	delays in delivery of Government furnished equipment and

(12)	unusually severe weather.

In each instance, the failure to perform must be beyond the control and without the fault or negligence of the Contractor, and the failure to perform.  Furthermore, the failure:

(1)	must be one that the Contractor could not have reasonably anticipated and taken adequate measures to protect against,

(2)	cannot be overcome by reasonable efforts to reschedule the work, and

(3)	directly and materially affects the date of final completion of the project.

F.10	PRECONSTRUCTION CONFERENCE

A preconstruction conference will be held 10 days after contract award at 91 Vas. Sofias Avenue, Athens, to discuss the schedule, submittals, notice to proceed, mobilization and other important issues that affect construction progress.  See FAR 52.236-26, Pre-Construction Conference in Section I.

F.11.  DELIVERABLES

The following items shall be delivered under this contract:

| Description | Quantity | Delivery Date | Deliver To: |
| --- | --- | --- | --- |
| H.1.2. Bonds/Insurance | 1 | 10 days after award | CO |
| H.11.1. Safety Plan | 1 | 10 days after award | COR |
| E.2. Quality Assurance Plan | 1 | 10 days after award | COR |
| F.4. Construction Schedule | 1 | 10 days after award | COR |
| H.14.1. Submittal Register | 1 | 10 days after award | COR |
| F.10. Pre-Construction Conference | 1 | 10 days after award | COR |
| H.13.2. Biographic Data on Personnel | 1 | 10 days after award | COR |
| E.2. Inspection Reports | 1 | 3 days after end of weekly period | COR |
| G.3.2 Payment Request | 1 | Last day of each month | COR |
| E.2.1. Monthly Progress Report | 1 | 7th day of the following month | COR |
| F.4.(c). Updates to Construction Schedule | 1 | Last day of each month | COR |
| E.3.2. Request for Substantial Completion | 1 | 5 days before inspection | COR |
| H.4.4. As-built Drawings and Warranties | 1 | After final completion but before final acceptance | COR |

| E.4.2. Request for Final Acceptance | 1 | 5 days before inspection | COR |
| --- | --- | --- | --- |
| F.6 Notice of Delay | 1 | Within 10 days after event | CO |
| F.8 Additional Hours | 1 | No later than 24 hours in advance of need | COR |
| H.2.4 Evidence of Insurance | 1 | 10 days after award | CO |
| H.17.2 Differing Site Condition | 1 | Within 10 days of occurrence | CO |

SECTION G - CONTRACT ADMINISTRATION DATA

G.1	AUTHORITY OF CONTRACTING OFFICER

All work shall be performed under the general direction of the Contracting Officer, who alone shall have the power to bind the Government and to exercise the rights, responsibilities, authorities and functions vested by the contract.

G.2	MONITORING OF THE CONTRACTOR

G.2.1.	652.242-70 CONTRACTING OFFICER'S REPRESENTATIVE (COR) (AUG 1999)

(a)	The Contracting Officer may designate in writing one or more Government employees, by name or position title, to take action for the Contracting Officer under this contract. Each designee shall be identified as a Contracting Officer’s Representative (COR). Such designation(s) shall specify the scope and limitations of the authority so delegated; provided, that the designee shall not change the terms or conditions of the contract, unless the COR is a warranted Contracting Officer and this authority is delegated in the designation.

(b)	The COR for this contract is the Facilities Maintenance Manager, GSO.

G.2.2	DUTIES

The COR is responsible for inspection and acceptance of services. These duties include review of Contractor invoices, including the supporting documentation required by the contract. The COR may provide technical advice, substantive guidance, inspections, invoice approval, and other purposes as deemed necessary under the contract.  The COR is designated as the authority to act for the Contracting Officer in matters concerning technical clarification, random inspection of Contractor performance to ensure compliance with contract specifications and acceptance of the Contractor's performance under this contract.  The COR will coordinate all work with the Contractor during the term of this contract. The COR is not authorized to alter the contract's terms, or conditions, including the design to budget parameter.  Such changes must be authorized by the Contracting Officer in a written modification to the contract.  Reference to the project architect within documents incorporated into this contract shall be read to mean COR.

G.3	PAYMENT

G.3.1	GENERAL

Payments are subject to FAR 52.232-5, "Payments Under Fixed-Price Construction Contracts".

G.3.2	DETAIL OF PAYMENT REQUESTS

Each application for payment shall cover the value of labor and materials completed and in place, including a prorated portion of overhead and profit.  The Government will make payments no more frequently than monthly, unless otherwise provided in this contract.  The Contractor shall address invoices to:

United States Embassy - Facilities Maintenance

91, Vas. Sofias Avenue

101 60 Athens

G.3.3	PAYMENTS TO SUBCONTRACTORS

The Contractor shall make timely payment from the proceeds of the progress or final payment for which request is being made to subcontractors and suppliers following the Contractor's contractual arrangements with them.

G.3.4	EVALUATION BY THE CONTRACTING OFFICER

Following receipt of the Contractor's request for payment, and on the basis of an inspection of the work, the Contracting Officer shall make a determination as to the amount that is then due.  If the Contracting Officer does not approve payment of the full amount applied for, less the retainage addressed in FAR 52.232-5, the Contracting Officer shall advise the Contractor of the reasons.

G.3.5	ADDITIONAL WITHHOLDING

The Government may withhold from payments due the Contractor any amounts as may be considered necessary to cover --

(a)	Wages or other amounts due the Contractor's employees on this project;

(b)	Wages or other amounts due employees of subcontractors on this project;

(c)	Amounts due suppliers of materials or equipment for this project; and

(d)	Any other amounts for which the Contractor may be held liable under this contract, including but not limited to the actual or prospective costs of correction of defective work and prospective liquidated damage when the Contractor has failed to make adequate progress.

This withholding is independent of monies retained by the Government under FAR 52.232-5, or otherwise as permitted to be retained under this contract.

G.3.6.	PAYMENT

Under the authority of 52.232-27(a) the 14 day period identified in FAR 52.232-27(a)(1)(i)(A) is hereby changed to 30 days.

G.4.  	VAT

The U.S. Government is exempt from the payment of Value Added Tax (VAT) by virtue of Law 1642/86, Article 22.

SECTION H - SPECIAL CONTRACT REQUIREMENTS

H.1	BOND REQUIREMENTS

H.1.1	BONDS REQUIRED

The Contractor shall furnish (1) a performance and guaranty bond and a payment bond on forms provided by and from sureties acceptable to the Government, each in the amount of 20% of the contract price, or (2) comparable alternate performance security approved by the Government such as letter of credit/guaranty shown in Section J.

H.1.2	TIME FOR SUBMISSION

The Contractor shall provide the bonds required by the paragraph H.1.1 above within ten (10) days after contract award.  Failure to submit (1) the required bonds or other security acceptable to the Government in a timely manner; (2) bonds from an acceptable surety; or (3) bonds in the required amount, may result in rescinding or termination of the contract by the Government.  If the contract is terminated, the contractor will be liable for those costs as described in FAR 52.249-10, "Default (Fixed-Price Construction).

H.1.3	COVERAGE

The bonds or alternate performance security shall guarantee the Contractor's execution and completion of the work within the contract time and the correction of any defects after completion as required by this contract, the payment of all wages and other amounts payable by the Contractor under its subcontracts or for labor and materials, and the satisfaction or removal of any liens or encumbrances placed on the work.

H.1.4	DURATION OF COVERAGE

The required performance and payment securities shall remain in effect in the full amount required until final acceptance of the project by the Government.  Upon final acceptance, the penal sum of the performance security only shall be reduced to 10% of the contract price.  The performance security shall remain in effect for one year after the date of final completion and acceptance, and the Contractor shall pay any premium required for the entire period of coverage.  The requirement for payment security terminates at final acceptance.

H.1.5	FAR 52.228-2  ADDITIONAL BOND SECURITY (OCT 1997)

The Contractor shall promptly furnish additional security required to protect the Government and persons supplying labor or materials under this contract if --

(a)	Any surety upon any bond, or issuing financial institution for other security, furnished with this contract becomes unacceptable to the Government;

(b)	Any surety fails to furnish reports on its financial condition as required by the Government; or

(c)	The contract price is increased so that the penal sum of any bond becomes inadequate in the opinion of the Contracting Officer; or

(d)	An irrevocable letter of credit (ILC) used as security will expire before the end of the period of required security.  If the contractor does not furnish an acceptable extension or replacement ILC, or other acceptable substitute, at least 30 days before an ILC’s scheduled expiration, the Contracting Officer has the right to immediately draw on the ILC.

H.2	INSURANCE

H.2.1	AMOUNT OF INSURANCE

The Contractor is required by FAR 52.228-5 to provide whatever insurance is legally necessary.  The Contractor, shall, at its own expense, provide and maintain during the entire performance period the following insurance amounts:

General Liability (includes premises/operations, collapse hazard, products, completed operations, contractual, independent contractors, broad form property damage, personal injury)

1.  Bodily Injury and Property Damage on or off the site stated in Euros:

Per Occurrence                 € 17,608

Cumulative                       € 44,020

The foregoing types and amounts of insurance are the minimums required.  The Contractor shall obtain any other types of insurance required by local law or that are ordinarily or customarily obtained in the location of the work.  The limit of such insurance shall be as provided by law or sufficient to meet normal and customary claims.

The Contractor agrees that the Government shall not be responsible for personal injuries or for damages to any property of the Contractor, its officers, agents, servants, and employees, or any other person, arising from and incident to the Contractor's performance of this contract.  The Contractor shall hold harmless and indemnify the Government from any and all claims arising therefrom, except in the instance of gross negligence on the part of the Government.

The Contractor shall obtain adequate insurance for damage to, or theft of, materials and equipment in insurance coverage for loose transit to the site or in storage on or off the site.

H.2.2	GOVERNMENT AS ADDITIONAL INSURED

The general liability policy required of the Contractor shall name "the United States of America, acting by and through the Department of State", as an additional insured with respect to operations performed under this contract.

H.2.3	INSURANCE-RELATED DISPUTES

Failure to agree to any adjustment contemplated under this contract regarding insurance shall be a dispute within the meaning of the clause in Section I, 52.233-1, Alternate I, "Disputes". Nothing in this clause shall excuse the Contractor from proceeding with the work.

H.2.4	TIME FOR SUBMISSION OF EVIDENCE OF INSURANCE

The Contractor shall provide evidence of the insurance required under this contract within ten (10) days after contract award.  Failure to timely submit this evidence, in a form acceptable to the Contracting Officer, may result in rescinding or termination of the contract by the Government.

H.3	DEFINITIONS

In addition to the definitions provided in Section I, FAR 52.202-1 and DOSAR 652.202-70, the following definitions shall apply when used in connection with this contract:

(a)	Contract Drawings or Drawings, where indicated by the context, means those drawings specifically listed in the construction contract or as later incorporated into the contract by contract modification.

(b)	Day means a calendar day unless otherwise specifically indicated.

(c)	Host Country means the country in which the project is located.

(d)	Material means all materials, fixtures and other articles incorporated in , or which are intended to remain with, the project.

(e)	Notice to Proceed means a written notice to the Contractor from the Contracting Officer authorizing the Contractor to proceed with the work under the contract as of a date set forth in the Notice.

(f)	Other Submittals includes progress schedules, shop drawings, testing and inspection reports, and other information required by the contract to be submitted by the Contractor for information or approval by the Government.

(g)	Project Data includes standard drawings, diagrams, layouts, schematics, descriptive literature, illustrations, schedules, performance and test data, and similar materials furnished by the Contractor to explain in detail specific portions of the work required by the contract.

(h)	Samples are physical examples which illustrate materials, equipment or workmanship and establish standards by which the work will be judged.

(i)	Schedule of Defects means the list of items, prepared in connection with substantial completion of the work or early occupancy or utilization of a portion thereof, which the Contracting Officer has designated as remaining to be performed, completed or corrected before the work will be accepted by the Government.

(j)	Separate Contractor means a contractor, other than the Contractor or any of its subcontractors, to whom the Government has awarded a contact for construction of a portion of the project.

(k)	Work means any and all permanent construction which is intended to be incorporated into the finished project and required to be performed or otherwise provided by the Contractor under this contract, unless otherwise indicated by the context.

H.4	OWNERSHIP AND USE OF DOCUMENTS

H.4.1	OWNERSHIP AND USE OF DRAWINGS, SPECIFICATIONS AND MODELS

(a)	OWNERSHIP.  All specifications, drawings, and copies thereof, and models, are the property of the Government.

(b)	USE AND RETURN.  The contractor shall not use or allow others to use the documents described in (a) above on other work.  The Contractor shall return or account for the signed contractor set and additional copies provided to or made by the Contractor upon final completion of the work.

H.4.2	SUPPLEMENTAL DOCUMENTS

The Contracting Officer shall furnish from time to time such detailed drawings and other information as is considered necessary, in the opinion of the Contracting Officer, to interpret, clarify, supplement, or correct inconsistencies, errors or omissions in the Contract documents, or to describe minor changes in the work not involving an increase in the contract price or extension of the contract time.  The Contractor shall comply with the requirements of the supplemental documents, and unless the Contractor makes objection within 20 days, their issuance shall not provide for any claim for an increase in the Contract price or an extension of contract time.

H.4.3	RECORD DOCUMENTS

The Contractor shall maintain at the project site:

- a current marked set of Contract drawings and specifications indicating all interpretations and clarifications, contract modifications, change orders, or any other departure from the contract requirements approved by the Contracting Officer; and

- a complete set of record shop drawings, product data, samples and other submittals as approved by the Contracting Officer.

H.4.4	"AS-BUILT" DOCUMENTS

After final completion of the work, but before final acceptance, the Contractor shall provide:

- complete set of "as-built" drawings, based on the record set of drawings, marked to show the details of construction as actually accomplished; and

- record shop drawings and other submittals, in the number and form as required by the specifications.

H.5	GOVERNING LAW

The laws of the United States shall govern the contract and its interpretation.

H.6	LANGUAGE PROFICIENCY

The manager assigned by the contractor to superintend the work on-site, as required by Section I, 52.236-6, "Superintendence by the Contractor", shall be fluent in written and spoken English.

H.7	LAWS AND REGULATIONS

H.7.1	COMPLIANCE REQUIRED

The Contractor shall, without additional expense to the Government, be responsible for complying with all laws, codes, ordinances, and regulations applicable to the performance of the work, including those of the host country, and with the lawful orders of any governmental authority having jurisdiction.  Host country authorities may not enter the construction site without the permission of the Contracting Officer.  Unless otherwise directed by the Contracting Officer, the Contractor shall comply with the more stringent of the requirements of such laws, regulations and orders and of the contract.  In the event of a conflict between the contract and such laws, regulations and orders, the Contractor shall promptly advise the Contracting Officer of the conflict and of the Contractor's proposed course of action for resolution by the Contracting Officer.

H.7.2	LABOR, HEALTH AND SAFETY LAWS AND CUSTOMS

The Contractor shall comply with all local labor laws, regulations, customs and practices pertaining to labor, safety, and similar matters, to the extent that such compliance is not inconsistent with the requirements of this contract.

H.7.3	SUBCONTRACTORS

The Contractor shall give written assurance to the Contracting Officer that all subcontractors and others performing work on or for the project have obtained all requisite licenses and permits.

H.7.4	EVIDENCE OF COMPLIANCE

The Contractor shall submit proper documentation and evidence satisfactory to the Contracting Officer demonstrating compliance with this clause when directed by the Contracting Officer.

H.8	RESPONSIBILITY OF CONTRACTOR

H.8.1	DAMAGE TO PERSONS OR PROPERTY

The Contractor shall be responsible for all damages to persons or property that occur as a result of the Contractor's fault or negligence, and shall take proper safety and health precautions to protect the work, the workers, the public, and the property of others.

H.8.2	RESPONSIBILITY FOR WORK PERFORMED

The Contractor shall be responsible for all materials delivered and work performed until final completion and acceptance of the entire work, except for any completed unit of work which may have been accepted in writing under the contract.

H.9	CONSTRUCTION OPERATIONS

H.9.1	OPERATIONS AND STORAGE AREAS

(a)	CONFINEMENT TO AUTHORIZED AREAS.  The Contractor shall confine all operations (including storage of materials) on Government premises to areas authorized or approved by the Contracting Officer.

(b)	VEHICULAR ACCESS.  The Contractor shall, and in accordance with any regulations prescribed by the Contracting Officer, use only established site entrances and roadways.

H.9.2	USE OF PREMISES

(a)	Occupied Premises.  If the premises are occupied, the Contractor, its subcontractors, and their employees shall comply with the regulations promulgated by the Government governing access to, operation of, and conduct while in or on the premises and shall perform the work required under this contract in such a manner as not to unreasonably interrupt or interfere with the conduct of Government business.

(b)	Requests from occupants.  The Contractor shall refer any request from occupants of existing buildings to change the sequence of work to the Contracting Officer for determination.

(c)	Access limited.  The Contractor, its subcontractors and their employees shall not have access to or be admitted into any building or portion of the site outside the areas designated in this contract except with the permission of the Contracting Officer.

H.10	TEMPORARY FACILITIES AND SERVICES

The Contractor may erect temporary buildings (such as, storage sheds, shops, offices) and utilities only with the approval of the Contracting Officer.  The cost of these temporary buildings is included in the contract fixed price. The temporary buildings and utilities shall remain the property of the Contractor and shall be removed by the Contractor at its expense upon completion of the work.  With the written consent of the Contracting Officer, the buildings and utilities may be abandoned and need not be removed.

H.11	SAFETY

H.11.1	DOSAR 652.236-70	ACCIDENT PREVENTION (APR 2004)

(a)  General.  The contractor shall provide and maintain work environments and procedures which will safeguard the public and Government personnel, property, materials, supplies, and equipment exposed to contractor operations and activities; avoid interruptions of Government operations and delays in project completion dates; and, control costs in the performance of this contract.  For these purposes, the contractor shall:

(1)  Provide appropriate safety barricades, signs and signal lights;

(2)  Comply with the standards issued by any local government authority having jurisdiction over occupational health and safety issues; and,

(3)  Ensure that any additional measures the contracting officer determines to be reasonably necessary for this purpose are taken.

(4)  For overseas construction projects, the contracting officer shall specify in writing additional requirements regarding safety if the work involves:

(i)  Scaffolding;

(ii)  Work at heights above two (2) meters;

(iii)  Trenching or other excavation greater than one (1) meter in depth;

(iv)  Earth moving equipment;

(v)  Temporary wiring, use of portable electric tools, or other recognized electrical hazards.  Temporary wiring and portable electric tools require the use of a ground fault circuit interrupter (GFCI) in the affected circuits; other electrical hazards may also require the use of a GFCI;

(vi)  Work in confined spaces (limited exits, potential for oxygen less that 19.5 percent or combustible atmosphere, potential for solid or liquid engulfment, or other hazards considered to be immediately dangerous to life or health such as water tanks, transformer vaults, sewers, cisterns, etc.);

(vii)  Hazardous materials – a material with a physical or health hazard including but not limited to, flammable, explosive, corrosive, toxic, reactive or unstable, or any operations which creates any kind of contamination inside an occupied building such as dust from demolition activities, paints, solvents, etc.; or

(viii)  Hazardous noise levels.

(b)  Records.  The contractor shall maintain an accurate record of exposure data on all accidents incident to work performed under this contract resulting in death, traumatic injury, occupational disease, or damage to or theft of property, materials, supplies, or equipment.  The contractor shall report this data in the manner prescribed by the contracting officer.

(c)  Subcontracts.  The contractor shall be responsible for its subcontractors’ compliance with this clause.

(d)  Written program.  Before commencing work, the contractor shall:

(1)  Submit a written plan to the contracting officer for implementing this clause.  The plan shall include specific management or technical procedures for effectively controlling hazards associated with the project; and,

(2)  Meet with the contracting officer to discuss and develop a mutual understanding relative to administration of the overall safety program.

(e)  Notification.  The contracting officer shall notify the contractor of any non-compliance with these requirements and the corrective actions required.  This notice, when delivered to the contractor or the contractor’s representative on site, shall be deemed sufficient notice of the non-compliance and corrective action required.  After receiving the notice, the contractor shall immediately take corrective action.  If the contractor fails or refuses to promptly take corrective action, the contracting officer may issue an order suspending all or part of the work until satisfactory corrective action has been taken.  The contractor shall not be entitled to any equitable adjustment of the contract price or extension of the performance schedule on any suspension of work order issued under this clause.

H.12	SUBCONTRACTORS AND SUPPLIERS

H.12.1	CLAIMS AND ENCUMBRANCES

The Contractor shall satisfy as due all lawful claims of any persons or entities employed by the Contractor, including subcontractors, material men and laborers, for all labor performed and materials furnished under this contract, including the applicable warranty or correction period, unless the Government shall be directly liable by contract.  The Contractor shall not at any time permit any lien, attachment, or other encumbrance to be entered against or to remain on the building(s), or the premises, whether public or private, or any portion thereof, as a result of nonperformance of any part of this contract.

H.12.2	APPROVAL OF SUBCONTRACTORS

(a)	REVIEW AND APPROVAL.  The Government reserves the right to review proposed subcontractors for a period of five (5) days before providing notice of approval or rejection of any or all subcontractors.

(b)	REJECTION OF SUBCONTRACTORS.  The Government reserves the right to reject any or all subcontractors proposed if their participation in the project, as determined by the Contracting Officer, may cause damage to the national security interests of the United States.  The Contractor agrees to promptly replace any subcontractor rejected by the Government under this clause.

H.13	CONSTRUCTION PERSONNEL

H.13.1	REMOVAL OF PERSONNEL

The Contractor shall maintain discipline at the site and at all times take all reasonable precautions to prevent any unlawful, riotous, or disorderly conduct by or among those at the site.  The contractor shall ensure the preservation of peace and protection of persons and property in the neighborhood of the project. The Contracting Officer may require, in writing, that the Contractor remove from the work any employee that the Contracting Officer deems incompetent, careless, insubordinate or otherwise objectionable, or whose continued employment on the project is deemed by the Contracting Officer to be contrary to the Government's interests.

H.13.2	CONSTRUCTION PERSONNEL SECURITY

After award of the contract, the Contractor shall have ten (10) days to submit to the Contracting Officer a list of workers and supervisors assigned to this project (Biographic Data on Personnel) for the Government to conduct all necessary security checks.  It is anticipated that security checks will take approximately fifteen (15) days to perform.  For each individual the list shall include:

Complete application form provided by the Embassy

Copy of ID card

Passport

Greek Social Security Medical Book

Merchant Marine Seaman’s book  (if applicable)

Penal record of type A

Discharge papers (Greek Military service)

Pay Book (Greek Armed Forces)

Failure to provide any of the above information may be considered grounds for rejection and/or resubmittal of the application.  Once the Government has completed the security screening and approved the applicants, the Government will provide a badge to the individual for access to the site. The Government may revoke this badge at any time due to the falsification of data, or misconduct on site.

H.14	MATERIALS AND EQUIPMENT

H.14.1	SELECTION AND APPROVAL OF MATERIALS

(a)	STANDARD TO QUALITY.  All materials and equipment incorporated into the work shall be new and for the purpose intended, unless otherwise specified.  All workmanship shall be of good quality and performed in a skillful manner that will withstand inspection.

(b)	SELECTION BY CONTRACTOR.  Where the contract permits the Contractor to select products, materials or equipment to be incorporated in the work, or where specific approval is otherwise required by the contract, the Contractor shall furnish a Submittal Register to the Contracting Officer, for approval.  The Submittal Register shall include the names of the manufacturer, model number, and source of procurement of each such product, material or equipment, together with other pertinent information concerning the nature, appearance, dimensions, performance, capacity, and rating.  To ensure a timely review the Contractor shall provide a submittal register ten days after contract award showing when shop drawings, samples, or submittals shall be made.  When directed to do so, the Contractor shall submit samples for approval at the Contractor's expense, with all shipping charges prepaid. Installation or use of any products, materials or equipment without the required approval shall be at the risk of subsequent rejection.

H.14.2	CUSTODY OF MATERIALS

The Contractor shall be responsible for the custody of all materials received for incorporation into the project, including Government furnished materials, upon delivery to the Contractor or to any person for whom it is responsible, including subcontractors. The Contractor shall deliver all such items to the site as soon as practicable.  If required by the Contracting Officer, the Contractor shall clearly mark in a manner directed by the Contracting Officer all items of which the Contractor has custody but which have not been delivered or secured at the site, clearly indicating the use of such items for the U.S. Government project.

H.14.3	BASIS OF CONTRACT PRICE

The contract price is based on the use of the materials, products and equipment specified in the contract, except for substitutions or "Or-Equal" items proposed by the Contractor which have been specifically approved by the Government at the time of execution of the contract.  Any substitution approved by the Government after execution of the contract shall be subject to an appropriate adjustment of the contract price.

H.14.4	SUBSTITUTIONS

(a)	PRIOR APPROVAL REQUIRED.  The Contractor must receive approval in writing from the Contracting Officer before substitutions (1) proposed by the Contractor but not yet approved at the time of execution of the contract, or (2) proposed by the Contractor after execution of the contract may be used in the project.  Sufficient information to permit evaluation by the Government must accompany any substitution request including but not limited to the reasons for the proposed substitution and data concerning the design, appearance, performance, composition, and relative cost of the proposed substitute.  The Contractor shall make requests for substitutions in a timely manner to permit adequate evaluation by the Government.  If, in the Contracting Officer's opinion, the use of such substitute items is not in the best interests of the Government, the Contractor must obtain the items originally specified with no adjustment in the contract price or completion date.

(b)	APPROVAL THROUGH SHOP DRAWINGS.  The Contractor may propose substitutions of materials in the submittal of shop drawings, provided such substitution is specifically requested in writing in the transmittal of the shop drawings to the Contracting Officer.  Such substitution requests must be made in a timely manner and supported by the required information.

(c)	FINAL APPROVAL ON DELIVERY.  Acceptance or approval of proposed substitutions under the contract are conditioned upon approval of items delivered at the site or approval by sample. Approval by sample shall not limit the Government's right to reject material after delivery to the site if the material does not conform to the approved sample in all material respects.

H.14.5	"OR-EQUAL CLAUSE"

References in the Specifications/Statement of Work to materials, products or equipment by trade name, make, or catalog number, or to specific processes, shall be regarded as establishing a standard of quality and shall not be construed as limiting competition.  The Contractor may propose for approval or rejection by the Contracting Officer the substitution of any material, product, equipment or process that the Contractor believes to be equal to or better than that named in the Specifications/Statement of Work, unless otherwise specifically provided in this contract.

H.14.6	USE AND TESTING OF SAMPLES

(“Samples” include materials and equipment.)

(a)	USE.  The Contractor shall send approved samples not destroyed in testing to the Contracting Officer.  Those which are in good condition will be marked for identification and may be used in the work.  Materials and equipment incorporated in the work shall match the approved samples within any specified tolerances.  Other samples not destroyed in testing or not approved will be returned to the Contractor at its expense if so requested.

(b)	FAILURE OF SAMPLES.  If a sample fails to pass the specified tests described in this contract, any further samples of the same brand or make of that material or equipment may not be considered for use in performance under this contract.

(c)	TAKING AND TESTING OF SAMPLES.  Samples delivered on the site or in place may be taken by the Contracting Officer for additional testing by the Government outside of those required by the Contract documents.  Samples failing to meet contract requirements will automatically void previous approvals of the items tested.  The Contractor shall replace such materials or equipment found not to have met contract requirements, unless the Contracting Officer determines it to be in the Government's interest to accept the non-conforming materials or equipment with an appropriate adjustment of the Contract price as determined by the Contracting Officer.

(d)	COST OF ADDITIONAL TESTING BY THE GOVERNMENT.  When additional tests of samples are performed, only one test of each sample proposed for use will be made at the expense of the Government.  Samples which do not meet contract requirements will be rejected.  Further testing of additional samples, if required, will be made at the expense of the Contractor.

H.15	IMPORTED MATERIALS, EQUIPMENT, AND PERSONNEL

H.15.1	SHIPMENT AND CUSTOMS CLEARANCE

(a)	Costs to be borne by Contractor.  The Contractor is responsible for paying all charges incurred in obtaining materials that must be imported for the project and in transporting the materials from their place or origin to the construction site.  Moving costs shall include, but not necessarily be limited to, packing, handling, cartage, overland freight, ocean freight, transshipment, port, unloading, customs clearance and duties (other than customs duties specified below), unpacking, storage, and all other charges including administrative costs in connection with obtaining and transporting the materials from their source to the project site.

(b)	Duty-free clearance.  The Contractor shall not be responsible for customs duties for which the Government has been able to obtain a customs waiver.  The Contractor shall follow the instructions of the Contracting Officer as to the manner of labeling the shipping containers or otherwise processing shipments of imported materials in order to obtain, or continue to receive, duty free clearance through customs.  The Contractor shall be responsible for the payment of customs duties, if any, which

- are imposed on items which are not labeled and processed in accordance with the Contracting Officer's instructions,

- are imposed on the Contractor's tools, construction equipment and machinery imported for use on the project, or

- are otherwise ineligible for duty-free entry.   The Contractor is responsible for customs duties where the Contractor has failed to give adequate and timely notice to the Contracting Officer of importation on containers or materials which may be eligible for a customs waiver.  The Contracting Officer will provide instructions concerning time periods for notification of importation by the Contractor.

(c)	Customs Clearance.  The Government will be responsible for obtaining customs clearances, and for obtaining exemption certificates or paying customs duties not waived, for imported products, materials and equipment which are labeled and processed in accordance with the Contracting Officer's instructions.  The Government shall not be responsible for obtaining customs clearance for the Contractor's tools, construction equipment or machinery, nor for obtaining visas, entry or work permits for the Contractor's personnel.

H.15.2	SURPLUS MATERIALS

Unless otherwise specified, any surplus materials, fixtures, articles or equipment remaining at the completion of the project shall become the property of the Contractor, except those items furnished by the Government, whose cost is not included in the contract price.

H.16	SPECIAL WARRANTIES

H.16.1	SPECIAL WARRANTY OBLIGATIONS

Any special warranties that may be required under the contract shall be subject to the stipulations set forth in 52.246-21, "Warranty of Construction", as long as they do not conflict with the special warranty.

H.16.2	WARRANTY INFORMATION

The Contractor shall obtain and furnish to the Government all information required in order to make any subcontractor's, manufacturers, or supplier's guarantee or warranty legally binding and effective.  The Contractor shall submit both the information and the guarantee or warranty to the Government in sufficient time to permit the Government to meet any time limit specified in the guarantee or warranty, but not later than completion and acceptance of all work under this contract.

H.17	EQUITABLE ADJUSTMENTS

H.17.1	BASIS FOR EQUITABLE ADJUSTMENTS

Any circumstance for which the contract provides an equitable adjustment that causes a change within the meaning of paragraph (a) of the "Changes" clause shall be treated as a change under that clause.  The Contractor shall give the Contracting Officer written notice (within 20 days) stating:

- the date, circumstances, and applicable contract clause authorizing an equitable adjustment and

- that the Contractor regards the event as a changed condition for which an equitable adjustment is allowed under the contract.

H.17.2	DIFFERING SITE CONDITION NOTICE

The Contractor shall provide written notice of a differing site condition within 10 days of occurrence following FAR 52.236-2, Differing Site Conditions.

H.17.3	DOCUMENTATION OF PROPOSALS FOR EQUITABLE ADJUSTMENTS

(a)	ITEMIZATION OF PROPOSALS AND REQUESTS.  The Contractor shall submit any request for equitable adjustment in the contract price, including any change proposal submitted in accordance with the "Changes" clause, in the form of a lump sum proposal supported with an itemized breakdown of all increases and decreases in the contract price in the detail required by the Contracting Officer, The request shall include all costs and delays related to or arising out of the change or event giving rise to the proposed adjustment, including any delay damages and additional overhead costs.

(b)	PROPOSED TIME ADJUSTMENTS.  The Contractor shall submit a proposed time extension (if applicable) with any request for an equitable adjustment or change proposal.  The request shall include sufficient information to demonstrate whether and to what extent the change will delay the completion of the contract.

(c)	RELEASE BY CONTRACTOR.  The price and time adjustment made in any contract modification issued as a result of a change proposal or request for an equitable adjustment shall be considered to account for all items affected by the change or other circumstances giving rise to an equitable adjustment.  Upon issuance of such contract modification, the Government shall be released from any and all liability under this contract for further equitable adjustments attributable to the facts and circumstances giving rise to the change proposal or request for equitable adjustment.

H.18	NONCOMPLIANCE WITH CONTRACT REQUIREMENTS

If the Contractor, after receiving written notice from the Contracting Officer of noncompliance with any requirement of this contract, fails to initiate promptly appropriate action(s) to bring performance/work into compliance with a contract requirement within a reasonable period of time, the Contracting Officer shall have the right to order the Contractor to suspend any or all work under the contract.  This order shall be in force until the Contractor has complied or has initiated such action as may be appropriate to comply within a reasonable period of time.  The Contractor will not be entitled to any extension of contract time or payment for any costs incurred as a result of being ordered to suspend work for such a cause.

H.19	ZONING APPROVALS AND BUILDING PERMITS

The Government is responsible for:

- obtaining proper zoning or other land use control approval for the project,

- obtaining the approval of the Contract Drawings and Specifications,

- paying fees due, and

- obtaining and paying for the initial building permits.

SECTION I - CONTRACT CLAUSES

I.1	FAR 52.252-2 CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at:

http://acquisition.gov/far/index.html   or, http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  If the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use the Dept. of State Acquisition Website at http://www.statebuy.state.gov/ to see the links to the FAR.   You may also use an Internet “search engine” (such as, Yahoo, Excite, Alta Vista, etc.) to obtain the latest location of the most current FAR.

FEDERAL ACQUISITION REGULATION (48 CFR Ch. 1)

| 52.202-1 | DEFINITIONS | JUL 2004 |
| --- | --- | --- |
| 52.203-3 | GRATUITIES | APR 1984 |
| 52.203-5 | COVENANT AGAINST CONTINGENT FEES | APR 1984 |
| 52.203-6 | RESTRICTIONS ON SUBCONTRACTOR SALES TO THE GOVERNMENT | SEP 2006 |
| 52.203-7 | ANTI-KICKBACK PROCEDURES | JUL 1995 |
| 52.203-8 | CANCELLATION, RECISSION AND RECOVERY OF FUNDS FOR ILLEGAL OR IMPROPER ACTIVITY | JAN 1997 |
| 52.203-10 | PRICE OR FEE ADJUSTMENT FOR ILLEGAL OR IMPROPER ACTIVITY | JAN 1997 |
| 52.203-12 | LIMITATION ON PAYMENTS TO INFLUENCE CERTAIN FEDERAL TRANSACTIONS | SEP 2007 |
| 52.204-4 | PRINTING/COPYING DOUBLE-SIDED ON RECYCLED PAPER | AUG 2000 |
| 52.204-9 | PERSONAL VERIFICATION OF CONTRACTOR PERSONNEL | SEP 2007 |
| 52.209-6 | PROTECTING THE GOVERNMENT’S INTEREST WHEN SUBCONTRACTING WITH CONTRACTORS DEBARRED, SUSPENDED, OR PROPOSED FOR DEBARMENT | SEP 2006 |
| 52.215-2 | AUDIT AND RECORDS – NEGOTIATION | JUN 1999 |
| 52.215-8 | ORDER OF PRECEDENCE – UNIFORM CONTRACT FORMAT | OCT 1997 |
| 52.215-21 | REQUIREMENTS FOR COST OR PRICING DATA OR PRICING DATA OR INFORMATION OTHER THAN COST OR PRICING DATA – MODIFICATIONS | OCT 1997 |
| 52.216-7 | ALLOWABLE COST AND PAYMENT ALTERNATE I | FEB 2002 FEB 1997 |
| 52.222-1 | NOTICE TO THE GOVERNMENT OF LABOR DISPUTES | FEB 1997 |
| 52.222-19 | CHILD LABOR – COOPERATION WITH AUTHORITIES AND REMEDIES | FEB 2008 |
| 52.222-50 | COMBATING TRAFFICKING IN PERSONS | AUG 2007 |
| 52.225-13 | RESTRICTIONS ON CERTAIN FOREIGN PURCHASES | JUN 2008 |
| 52.225-14 | INCONSISTENCY BETWEEN ENGLISH VERSION AND TRANSLATION OF CONTRACT | FEB 2000 |
| 52.228-2 | ADDITIONAL BOND SECURITY | OCT 1997 |
| 52.228-4 | WORKERS’ COMPENSATION AND WAR-HAZARD INSURANCE OVERSEAS | APR 1984 |
| 52.228-5 | INSURANCE – WORK ON A GOVERNMENT INSTALLATION | JAN 1997 |
| 52.228-11 | PLEDGES OF ASSETS | FEB 1992 |
| 52.228-13 | ALTERNATIVE PAYMENT PROTECTION | JUL 2000 |
| 52.228-14 | IRREVOCABLE LETTER OF CREDIT | DEC 1999 |
| 52.229-6 | TAXES – FOREIGN FIXED-PRICE CONTRACTS | JUN 2003 |
| 52.232-5 | PAYMENTS UNDER FIXED-PRICE CONSTRUCTION CONTRACTS | SEP 2002 |
| 52.232-17 | INTEREST | JUN 1996 |
| 52.232-18 | AVAILABILITY OF FUNDS | APR 1984 |
| 52.232-24 | PROHIBITION OF ASSIGNMENT OF CLAIMS | JAN 1986 |
| 52.232-27 | PROMPT PAYMENT FOR CONSTRUCTION CONTRACTS | SEP 2005 |
| 52.232-34 | PAYMENT BY ELECTRONIC FUNDS TRANSFER – OTHER THAN CENTRAL CONTRACTOR REGISTRATION | MAY 1999 |
| 52.233-1 | DISPUTES ALTERNATE I | JUL 2002 DEC 1991 |
| 52.233-3 | PROTEST AFTER AWARD | AUG 1996 |
| 52.233-4 | APPLICABLE LAW FOR BREACH OF CONTRACT CLAIM | OCT 2004 |
| 52.236-2 | DIFFERING SITE CONDITIONS | APR 1984 |
| 52.236-3 | SITE INVESTIGATION AND CONDITIONS AFFECTING THE WORK | APR 1984 |
| 52.236-5 | MATERIAL AND WORKMANSHIP | APR 1984 |
| 52.236-6 | SUPERINTENDENCE BY THE CONTRACTOR | APR 1984 |
| 52.236-7 | PERMITS AND RESPONSIBILITIES | NOV 1991 |
| 52.236-8 | OTHER CONTRACTS | APR 1984 |
| 52.236-9 | PROTECTION OF EXISTING VEGETATION, STRUCTURES, EQUIPMENT, UTILITIES, AND IMPROVEMENTS | APR 1984 |
| 52.236-10 | OPERATIONS AND STORAGE AREAS | APR 1984 |
| 52.236-11 | USE AND POSSESSION PRIOR TO COMPLETION | APR 1984 |
| 52.236-12 | CLEANING UP | APR 1984 |
| 52.236-14 | AVAILABILITY AND USE OF UTILITY SERVICES | APR 1984 |
| 52.236-15 | SCHEDULES FOR CONSTRUCTION CONTRACTS | APR 1984 |
| 52.236-21 | SPECIFICATIONS AND DRAWINGS FOR CONSTRUCTION | FEB 1997 |
| 52.236-26 | PRECONSTRUCTION CONFERENCE | FEB 1995 |
| 52.242-3 | PENALTIES FOR UNALLOWABLE COSTS | MAY 2001 |
| 52.242-13 | BANKRUPTCY | JUL 1995 |
| 52.243-4 | CHANGES | JUNE 2007 |
| 52.243-5 | CHANGES AND CHANGED CONDITIONS | APR 1984 |
| 52.244-6 | SUBCONTRACTS FOR COMMERCIAL ITEMS | MAR 2007 |
| 52.245-9 | USE & CHARGES | JUNE 2007 |
| 52.246-21 | WARRANTY OF CONSTRUCTION | MAR 1994 |
| 52.248-3 | VALUE ENGINEERING – CONSTRUCTION | SEPT 2006 |
| 52.249-2 | TERMINATION FOR CONVENIENCE OF THE GOVERNMENT (FIXED-PRICE) ALTERNATE I | MAY 2004 SEPT 1996 |
| 52.249-14 | EXCUSABLE DELAY | APRIL 1984 |
| 52.249-10 | DEFAULT (FIXED-PRICE CONSTRUCTION) | APR 1984 |
| 52.247-63 | PREFERENCE FOR U.S.-FLAG CARRIERS | JUN 2003 |
| 52.247-64 | PREFERENCE FOR PRIVATELY OWNED U.S.-FLAG COMMERCIAL VESSELS | APR 2003 |

THE FOLLOWING CLAUSES ARE SET FORTH IN FULL TEXT:

I.2.	52.222-39	NOTIFICATION OF EMPLOYEE RIGHTS CONCERNING PAYMENT OF UNION DUES OR FEES (DEC 2004) (only if over $100,000)

(a) Definition. As used in this clause—

United States means the 50 States, the District of Columbia, Puerto Rico, the Northern Mariana Islands, American Samoa, Guam, the U.S. Virgin Islands, and Wake Island.

(b) Except as provided in paragraph (e) of this clause, during the term of this contract, the Contractor shall post a notice, in the form of a poster, informing employees of their rights concerning union membership and payment of union dues and fees, in conspicuous

places in and about all its plants and offices, including all places where notices to employees are customarily posted. The notice shall include the following information (except that the information pertaining to National Labor Relations Board shall not be

included in notices posted in the plants or offices of carriers subject to the Railway Labor Act, as amended (45 U.S.C. 151– 188)).

Notice to Employees

Under Federal law, employees cannot be required to join a union or maintain membership in a union in order to retain their jobs. Under certain conditions, the law permits a union and an employer to enter into a union-security agreement requiring employees to pay uniform periodic dues and initiation fees. However, employees who are not union members can object to the use of

their payments for certain purposes and can only be required to pay their share of union costs relating to collective bargaining, contract administration, and grievance adjustment.

If you do not want to pay that portion of dues or fees used to support activities not related to collective bargaining, contract administration, or grievance adjustment, you are entitled to an appropriate reduction in your payment. If you believe that you have been required to pay dues or fees used in part to support activities not related to collective bargaining, contract administration, or grievance adjustment, you may be entitled to a refund and to an appropriate reduction in

future payments.

For further information concerning your rights, you may wish to contact the National Labor Relations Board (NLRB) either at one of its Regional offices or at the following

address or toll free number:

National Labor Relations Board

Division of Information

1099 14th Street, N.W.

Washington, DC 20570

1– 866– 667– 6572

1– 866– 316– 6572 (TTY)

To locate the nearest NLRB office, see NLRB’s website at http://www.nlrb.gov.

(c) The Contractor shall comply with all provisions of Executive Order 13201 of February 17, 2001, and related implementing regulations at 29 CFR part 470, and orders of the Secretary of Labor.

(d) In the event that the Contractor does not comply with any of the requirements set forth in paragraphs (b), (c), or (g), the Secretary may direct that this contract be cancelled, terminated, or suspended in whole or in part, and declare the Contractor ineligible for further Government contracts in accordance with procedures at 29 CFR

part 470, Subpart B— Compliance Evaluations, Complaint Investigations and Enforcement Procedures. Such other sanctions or remedies may be imposed as are provided by 29 CFR part 470, which implements Executive Order 13201, or as are otherwise provided by law.

(e) The requirement to post the employee notice in paragraph (b) does not apply to—

(1) Contractors and subcontractors that employ fewer than 15 persons;

(2) Contractor establishments or construction work sites where no union has been formally recognized by the Contractor or certified as the exclusive bargaining representative of the Contractor’s employees;

(3) Contractor establishments or construction work sites located in a jurisdiction named in the definition of the United States in which the law of that jurisdiction forbids enforcement of union-security agreements;

(4) Contractor facilities where upon the written request of the Contractor, the Department of Labor Deputy Assistant Secretary for Labor-Management Programs has waived the posting requirements with respect to any of the Contractor’s facilities if the Deputy

Assistant Secretary finds that the Contractor has demonstrated that—

(i) The facility is in all respects separate and distinct from activities of the Contractor related to the performance of a contract; and

(ii) Such a waiver will not interfere with or impede the effectuation of the Executive order; or

(5) Work outside the United States that does not involve the recruitment or employment of workers within the United States.

(f) The Department of Labor publishes the official employee notice in two variations; one for contractors covered by the Railway Labor Act and a second for all other contractors. The Contractor shall—

(1) Obtain the required employee notice poster from the Division of Interpretations and Standards, Office of Labor-Management Standards, U.S. Department of Labor, 200 Constitution Avenue, NW, Room N– 5605, Washington, DC 20210, or from any

field office of the Department’s Office of Labor-Management Standards or Office

of Federal Contract Compliance Programs;

(2) Download a copy of the poster from the Office of Labor-Management Standards website at http://www.olms.dol.gov; or

(3) Reproduce and use exact duplicate copies of the Department of Labor’s official poster.

(g) The Contractor shall include the substance of this clause in every subcontract or purchase order that exceeds the simplified acquisition threshold, entered into in connection with this contract, unless exempted by the Department of Labor Deputy

Assistant Secretary for Labor–Management Programs on account of special circumstances in the national interest under authority of 29 CFR 470.3(c). For indefinite quantity subcontracts, the Contractor shall include the substance of this clause if

the value of orders in any calendar year of the subcontract is expected to exceed

the simplified acquisition threshold.  Pursuant to 29 CFR part 470, Subpart B— Compliance Evaluations, Complaint Investigations and Enforcement Procedures, the Secretary of Labor may direct the Contractor to take such action in the enforcement of these regulations, including the imposition of sanctions for noncompliance with respect to any such subcontract or purchase order. If the Contractor becomes involved in litigation with a subcontractor or vendor, or is threatened with such involvement, as a result of such direction, the Contractor may request the United States, through the Secretary of Labor, to enter into such litigation to protect the interests of the United States.

I.3	652.204-70  DEPARTMENT OF STATE PERSONAL IDENTIFICATION CARD ISSUANCE PROCEDURES (AUG 2007)

(a)  The Contractor shall comply with the Department of State (DOS) Personal Identification Card Issuance Procedures for all employees performing under this contract who require frequent and continuing access to DOS facilities, or information systems.  The Contractor shall insert this clause in all subcontracts when the subcontractor’s employees will require frequent and continuing access to DOS facilities, or information systems.

(b)  The DOS Personal Identification Card Issuance Procedures may be accessed at  http://www.state.gov/m/ds/rls/rpt/c21664.htm .

(End of clause)

I.4	652.243-70  NOTICES (AUG 1999)

Any notice or request relating to this contract given by either party to the other shall be in writing.  Said notice or request shall be mailed or delivered by hand to the other party at the address provided in the schedule of the contract.  The contracting officer must make all modifications to the contract in writing.

I.5	652.242-73  	AUTHORIZATION AND PERFORMANCE (AUG 1999)

(a)	The contractor warrants the following:

(1)	That is has obtained authorization to operate and do business in the country or countries in which this contract will be performed;

(2)	That is has obtained all necessary licenses and permits required to perform this contract; and,

(3)	That it shall comply fully with all laws, decrees, labor standards, and regulations of said country or countries during the performance of this contract.

(b)	If the party actually performing the work will be a subcontractor or joint venture partner, then such subcontractor or joint venture partner agrees to the requirements of paragraph (a) of this clause.

I.6	RESERVED

I.7	THE FOLLOWING CLAUSE IS APPLICABLE IF CHECKED

652.229-70	EXCISE TAX EXEMPTION STATEMENT FOR CONTRACTORS WITHIN THE UNITED STATES (JULY 1988)

This is to certify that the item(s) covered by this contract is/are for export solely for the use of the U.S. Foreign Service Post identified in the contract schedule.

The Contractor shall use a photocopy of this contract as evidence of intent to export.  Final proof of exportation may be obtained from the agent handling the shipment.  Such proof shall be accepted in lieu of payment of excise tax.

I.8.	52.228-15  Performance and Payment Bonds—Construction (Nov 2006)

(a) Definitions. As used in this clause—

“Original contract price” means the award price of the contract; or, for requirements contracts, the price payable for the estimated total quantity; or, for indefinite-quantity contracts, the price payable for the specified minimum quantity. Original contract price does not include the price of any options, except those options exercised at the time of contract award.

(b) Amount of required bonds. Unless the resulting contract price is $100,000 or less, the successful offeror shall furnish performance and payment bonds to the Contracting Officer as follows:

(1) Performance bonds (Standard Form 25). The penal amount of performance bonds at the time of contract award shall be 100 percent of the original contract price.

(2) Payment Bonds (Standard Form 25-A). The penal amount of payment bonds at the time of contract award shall be 100 percent of the original contract price.

(3) Additional bond protection.

(i) The Government may require additional performance and payment bond protection if the contract price is increased. The increase in protection generally will equal 100 percent of the increase in contract price.

(ii) The Government may secure the additional protection by directing the Contractor to increase the penal amount of the existing bond or to obtain an additional bond.

(c) Furnishing executed bonds. The Contractor shall furnish all executed bonds, including any necessary reinsurance agreements, to the Contracting Officer, within the time period specified in the Bid Guarantee provision of the solicitation, or otherwise specified by the Contracting Officer, but in any event, before starting work.

(d) Surety or other security for bonds. The bonds shall be in the form of firm commitment, supported by corporate sureties whose names appear on the list contained in Treasury Department Circular 570, individual sureties, or by other acceptable security such as postal money order, certified check, cashier's check, irrevocable letter of credit, or bonds or notes of the United States.  Treasury Circular 570 is published in the Federal Register or Department of Treasury, Financial Management Service, Surety Bond Branch, 3700 East West Highway, Room 6F01, Hyattsville, MD 20782.  Or via the internet at http:://www.fms.treas.gov/c570/.

(e) Notice of subcontractor waiver of protection (40 U.S.C. 3133(c)). Any waiver of the right to sue on the payment bond is void unless it is in writing, signed by the person whose right is waived, and executed after such person has first furnished labor or material for use in the performance of the contract.”

I.9	652.225-71  SECTION 8(A) OF THE EXPORT ADMINISTRATION ACTS OF 1979, AS AMENDED (AUG 1999)

(a)	Section 8(a) of the U.S. Export Administration Act of 1979, as amended (50 U.S.C. 2407(a)), prohibits compliance by U.S. persons with any boycott fostered by a foreign country against a country which is friendly to the United States and which is not itself the object of any form of boycott pursuant to United States law or regulation. The Boycott of Israel by Arab League countries is such a boycott, and therefore, the following actions, if taken with intent to comply with, further, or support the Arab League Boycott of Israel, are prohibited activities under the Export Administration Act:

(1)	Refusing, or requiring any U.S. person to refuse to do business with or in Israel, with any Israeli business concern, or with any national or resident of Israel, or with any other person, pursuant to an agreement of, or a request from or on behalf of a boycotting country;

(2)	Refusing, or requiring any U.S. person to refuse to employ or otherwise discriminating against any person on the basis of race, religion, sex, or national origin of that person or of any owner, officer, director, or employee of such person;

(3)	Furnishing information with respect to the race, religion, or national origin of any U.S. person or of any owner, officer, director, or employee of such U.S. person;

(4)	Furnishing information about whether any person has, has had, or proposes to have any business relationship (including a relationship by way of sale, purchase, legal or commercial representation, shipping or other transport, insurance, investment, or supply) with or in the State of Israel, with any business concern organized under the laws of the State of Israel, with any Israeli national or resident, or with any person which is known or believed to be restricted from having any business relationship with or in Israel;

(5)	Furnishing information about whether any person is a member of, has made contributions to, or is otherwise associated with or involved in the activities of any charitable or fraternal organization which supports the State of Israel; and,

6)	Paying, honoring, confirming, or otherwise implementing a letter of credit which contains any condition or requirement against doing business with the State of Israel.

(b)	Under Section 8(a), the following types of activities are not forbidden ``compliance with the boycott,'' and are therefore exempted from Section 8(a)'s prohibitions listed in paragraphs

(a)(1)-(6) above:

(1)	Complying or agreeing to comply with requirements:

(i)	Prohibiting the import of goods or services from Israel or goods produced or services provided by any business concern organized under the laws of Israel or by nationals or residents of Israel; or,

(ii)	Prohibiting the shipment of goods to Israel on a carrier of Israel, or by a route other than that prescribed by the boycotting country or the recipient of the shipment;

(2)	Complying or agreeing to comply with import and shipping document requirements with respect to the country of origin, the name of the carrier and route of shipment, the name of the supplier of the shipment or the name of the provider of other services, except that no information knowingly furnished or conveyed in response to such requirements may be stated in negative, blacklisting, or similar exclusionary terms, other than with respect to carriers or route of shipments as may be permitted by such regulations in order to comply with precautionary requirements protecting against war risks and confiscation;

(3)	Complying or agreeing to comply in the normal course of business with the unilateral and specific selection by a boycotting country, or national or resident thereof, of carriers, insurance, suppliers of services to be performed within the boycotting country or specific goods which, in the normal course of business, are identifiable by source when imported into the boycotting country;

(4)	Complying or agreeing to comply with the export requirements of the boycotting country relating to shipments or transshipments of exports to Israel, to any business concern of or organized under the laws of Israel, or to any national or resident of Israel;

(5)	Compliance by an individual or agreement by an individual to comply with the immigration or passport requirements of any country with respect to such individual or any member of such individual's family or with requests for information regarding requirements of employment of such individual within the boycotting country; and,

(6)	Compliance by a U.S. person resident in a foreign country or agreement by such person to comply with the laws of that country with respect to his or her activities exclusively therein, and such regulations may contain exceptions for such resident complying with the laws or regulations of that foreign country governing imports into such country of trademarked, trade named, or similarly specifically identifiable products, or components of products for his or her own use, including the performance of contractual services within that country, as may be defined by such regulations.

I.10	652.229-71  PERSONAL PROPERTY DISPOSITION AT POSTS ABROAD (AUG 1999)

Regulations at 22 CFR Part 136 require that U.S. Government employees and their families do not profit personally from sales or other transactions with persons who are not themselves entitled to exemption from import restrictions, duties, or taxes. Should the contractor experience importation or tax privileges in a foreign country because of its contractual relationship to the United States Government, the contractor shall observe the requirements of 22 CFR Part 136 and all policies, rules, and procedures issued by the chief of mission in that foreign country.

PART III - LIST OF DOCUMENTS, EXHIBITS AND OTHER ATTACHMENTS

# SECTION J - LIST OF ATTACHMENTS

| ATTACHMENT NO. | DESCRIPTION OF ATTACHMENT | NO. PAGES |
| --- | --- | --- |
| Attachment 1 | Performance and Guaranty Bond | 1 |
| Attachment 2 | Payment Bond | 1 |
| Attachment 3 | Breakdown of Proposal Price by Divisions of Specifications | 1 |
| Attachment 4 | Specifications |  |
| Attachment 5 | Drawings A-1 Existing Conditions A-2 Section “A” Plan A-3 Section “B” Plan A-4 Section “A” Plan Wiring, Hydraulics A-5 Section “B” Wiring, Hydraulics A-6 Gate and Fence A-7 Details A-8 Bollard diagram A-9 Master control panel diagram A-10 Slave control panel diagram |  |

ATTACHMENT 1

#### PERFORMANCE AND GUARANTY BOND

(to be attached upon award)

ATTACHMENT 2

PAYMENT BOND

(to be attached upon award)

ATTACHMENT 3

UNITED STATES DEPARTMENT OF STATE

BREAKDOWN OF PRICE BY DIVISIONS OF SPECIFICATIONS

| (1) DIVISION/DESCRIPTION | (2) LABOR | (3) MATERIALS | (4) OVERHEAD | (5) PROFIT | (6) TOTAL |
| --- | --- | --- | --- | --- | --- |
| 1. General Requirements/ Mobilization |  |  |  |  |  |
| 2. Site Work |  |  |  |  |  |
| 3. Concrete |  |  |  |  |  |
| 4. Masonry |  |  |  |  |  |
| 5. Metals |  |  |  |  |  |
| 6. Wood and Plastic |  |  |  |  |  |
| 7. Thermal and Moisture |  |  |  |  |  |
| 8. Doors and Windows |  |  |  |  |  |
| 9. Finishes |  |  |  |  |  |
| 10. Specialties |  |  |  |  |  |
| 11. Equipment |  |  |  |  |  |
| 12. Furnishings |  |  |  |  |  |
| 13. Special Construction |  |  |  |  |  |
| 14. Conveying Systems |  |  |  |  |  |
| 15. Mechanical |  |  |  |  |  |
| 16. Electrical |  |  |  |  |  |
| TOTAL |  |  |  |  |  |

Allowance Items:

PROPOSAL PRICE TOTAL:  Euros _______________

Alternates  (list separately do not total)

Offeror:                                                                                                         Date

ATTACHMENT 4

Outline Specifications and

And

Equipment Installation Guidelines

for the

Security Upgrade to the

VIP Parking Lot

Athens, Greece

revised per DS

June 2008

Abbreviations used in drawings and specifications:

GFCI: government furnished, contractor installed (equipment)

typ.: typical – same in all similar cases

spec.s: specifications

w/: with

COR: contracting officer (person responsible for project for Embassy)

dwg.: drawing

sht.: sheet (of drawings)

2/A-6: detail number 2 on sheet number A-6

General description of work to be performed (see plans and specification sections for further information)

The project consists of installation of new equipment and reuse and/or modification of existing items at the entry “VIP parking lot”.  The work to be performed at each of these two locations is nearly identical and must be performed in two stages, in order to ensure that access to the parking lot is never interrupted.

In each location, the following work is required:

Install six new retractable bollards (Government Furnished, Contractor Installed – GFCI), to be controlled by Post 1 (inside Chancery building)

Install safety loops in front of and behind the retractable bollards

Install fixed bollards

Install new sliding gates.  One of these is an anti-ram gate and must match the existing gates at the Kokkali and Dorylaiou entrances to the Embassy compound.  Determine proper site of gate motors and install.  The other gate is not anti-ram.  See drawings.  The contractor is responsible for determining the necessary size and rating of the gate and its installation and for its proper working.

Each gate will have an infrared sensor that interrupts operation if an object is located in the gate opening.  Each gate will also have an edge guard to protect the leading edge during operation.

Install new fence at both sides of road.

Install new hydraulic pump unit (GFCI) and base.

Included with these specifications are drawings provided by the retractable bollard and safety loop manufacturer.  These drawings are taken from the installation manual, which will be furnished to the contractor upon award of the contract.

All personnel (administrative and workmen) performing work on the embassy compound will be required to submit to a background check and interview before they will be allowed to enter the compound.  It is recommended that applications for access be submitted as early as possible so as not to cause delays to the work.  It is also recommended that individuals not likely to be allowed access not be considered for work on this project. Any person having a criminal record will be denied access.  Any delays caused by the time required for this process are solely the responsibility of the contractor.

Administrative personnel (job foremen, etc.) must have a working knowledge of the English language, including construction terminology.

Division 1 – General Requirements

The contractor will be responsible for obtaining GFCI items in advance of their installation.

The disposal of any items shall be approved by the owner beforehand and these items will be stored in a convenient location until removal from the site.  All items to be retained by owner shall also be stored in a convenient location until removal by owner.

All locations of utilities, including depths, must be verified in the field before any work is performed.  The contractor is responsible for locating and identifying existing utilities and protecting them during construction.  Upon completion of the project all utilities must be in the same condition as they were before work was commenced.

The contractor is responsible for understanding in full these specifications, instructions and guidelines and the accompanying drawings.  Any errors, contradictions, or discrepancies must be reported to the owner before the contract is awarded.  Requests for clarifications or changes shall be submitted in writing to the owner for review.  Submission of a cost proposal (bid) shall be considered indication that the contractor has a complete understanding of the contract documents and considers them complete and accurate.

The contractor will submit shop drawings for approval before obtaining the assemblies required for this project.  These will be submitted to the COR in three copies, one of which will be returned with approval, approval as noted, or denied.

The items for which shop drawings will be submitted include, but are not limited to, the following:

- Gates

- Fences

- Fixed bollards

In addition, the contractor is required to submit detailed product data to the COR for approval before obtaining it.  The items for which product data will be submitted include, but are not limited to, the following:

- Gate motors

- Infrared sensors for gates

- Paints and other coatings

For information about submittals and shop drawings, see Division 11, section 1.3.

Upon completion of the project, a set of as-built drawings will be provided, documenting the final configuration of all items.  This shall be provided in two hard copies and one set of electronic files on CD.

Division 2 – Site work

Every effort must be made to keep the worksite clear of debris and to avoid impeding activities that take place at the location.   The contractor is responsible for providing safety measures, including barriers and warning signs.

No gates or other protective devices shall be removed until sufficient new protective items have been installed and are fully functional as determined by owner.

Soil compaction reports for retractable bollard locations must be submitted to the COR.

Division 3 – Concrete

All concrete shall have a minimum 28 day strength of 20.5 Mpa (3000 psi), or higher if so noted.  Concrete strength test reports must be supplied for each truckload.

Division 5 – Metals

All reinforcing steel shall have a minimum strength of fy = 275 Mpa

Division 9 – Finishes

All steel components with the exception of reinforcing steel shall be galvanized and painted with one coat zinc-based primer and two coats anti-rust paint.  Color to be selected by Contracting Officer.  This includes existing items with new welds.

Division 11 – Equipment

See attached drawings for information on retractable bollards, and safety loops.

The contractor is responsible for determining the proper size and best method of installation of all gate motors.  Provide shop drawings of motor installations and technical information for approval before procurement or installation.

The following requirements are provided by Diplomatic Security (the information contained herein takes precedence over information given in other locations in these specifications):

GENERAL

SUMMARY

The work of this section includes, but is not necessarily limited to, the following elements located in and around the gatehouse at entrance/exit gate locations:

Anti-ram/anti-climb and anti-climb gates for passage of vehicles, in and out of the project site, on and off the post.

Related Sections include the following:

Division 3 "Concrete" for requirements of concrete foundations and other elements of work in and around entrance/exit gates of the perimeter.

Division 2 for perimeter fencing work adjoining or integrated with gatework.

Division 5 structural steel and metal fabrications required at entrance/exit gate locations.

Division 9 sections for field applied finish work at entrance/exit gate locations.

Division 16 sections for electrical/electronic work as required.

PERFORMANCE REQUIREMENTS

Anti-ram gate systems:

Provide only anti-ram gate systems certified by the United States Bureau of Diplomatic Security.  Anti-ram gate systems must also provide anti-climb protection on the attack side.

Provide anti-ram gate systems capable of operating for 200,000 continuous cycles without failure.  Provide independent laboratory test reports confirming the gate system meets this requirement.  In lieu of testing of the gate system the manufacturer may provide a 5 year comprehensive on site material and labor warranty for the gate system.

Control Circuits: The control system must be designed in such a way that when power fails the gates maintain a "status quo" position. The system must automatically engage the back-up control system and should be neither fail secure nor fail safe. On hydraulic gate systems provide a fail-safe lock option system on the hydraulic reservoir which prevents the gate from moving in the event of a hydraulic failure.  For electric drive gates.  Provide power-off lock that mechanically restricts or interrupts the movement of the gate at the depletion of the back-up system

Back-up and Manual Operation: The control system must provide back-up and manual operating capability for use in the event of a power failure. The back-up operating system must provide, as a minimum, 2 complete cycles (open and shut) without the use of a manual system.  The manual operation of the gate must be simple and without the need of special tools or knowledge. The gate must be capable of being returned to the secure position, in manual mode, in no more than 5 minutes.

Reliability: The gate system must provide maximum dependability and ease of maintenance. The system must be designed to function consistently in all DOS locations throughout the world.

Frequency of Operation:  Gates shall be capable of operating a minimum of 60 complete open/close cycles per hour. The frequency or number of cycles shall be adjusted up to meet the specific requirements of a post with on compound parking for employees or other special conditions and should include a 10% growth factor.

Hydraulic Lines: Where power and hydraulic lines are required and are below grade they must be protected with rigid electrical conduit. Where temperatures will exceed 38 degrees C (100 degrees F) for extended periods of time provide a cooling unit for the hydraulic fluid.

Manufacturers' optional items required by DOS include but are not limited to:

a. Remote control panel with annunciator, override and reset.

b. Hydraulic hand pump (hydraulic units only).

c. Power off operation.

d. Emergency fast operation.

e. Low fluid level switch.

f. Sump pump (in ground units)

g. Export packaging.

h. Installation, operation and maintenance manuals.

i. Spare parts kit (per manufacturer's recommended list).

j. Electrical disconnect at the hydraulic unit.

k. Uninterrupted Power Supply (UPS) for the master and slave control panels

9.	The slave and master controls must have an emergency (fast operation) secure switches for each gate. The emergency switch or switches for the slave control must not be equipped with reset capability.

Anti-climb gate systems:

Provide anti-climb gate systems that provide anti-climb protection on the attack side.

Provide anti-climb gate systems capable of operating for 200,000 continuous cycles without failure.  Provide a 5 year comprehensive on site material and labor warranty for the gate system.

Frequency of Operation:  Gates shall be capable of operating a minimum of 60 complete open/close cycles per hour. The frequency or number of cycles shall be adjusted up to meet the specific requirements of a post with on compound parking for employees or other special conditions and should include a 10% growth factor.

Back-up and Manual Operation: The control system must provide back-up and manual operating capability for use in the event of a power failure. The back-up operating system must provide, as a minimum, 3 complete cycles (open and shut) without the use of a manual system.  The manual operation of the gate must be simple and without the need of special tools or knowledge. The gate must be capable of being returned to the secure position, in manual mode, in no more than 5 minutes

Provide power-off lock that mechanically restricts or interrupts the movement of the gate in the event of a power loss at the depletion of the back-up system.

SUBMITTALS

General:  For each type and size of element specified in this section, submit the following as applicable to the units; in accordance with CC&C, and Division 1 Contract Specification sections:

Product data for each primary material used in fabricating custom produced elements of the work; along with manufacturer's descriptive literature for standard or customized products, fabrications, assemblies, devices, and accessory items used to produce work of this section.  Include mechanical, electrical, and control data for operative and motorized units, along with spare parts listing and maintenance manuals.  Include performance charts and curves.  Include complete list of equipment and materials.  Identify applicable industry standards and how they apply to specific components.  Include installation instructions.

Shop drawings for each type and size of customized fabrication or assembly, showing installation requirements for each element of the work of this section.  Show plans, elevations, and sections at not less than 1:20 scale, and details at 1:5 scale. Shop drawings shall contain complete wiring and schematic diagrams; and any other details required to demonstrate that the system has been coordinated and will properly function as a unit.  Drawings shall show proposed layout and anchorage of equipment and appurtenances, and equipment relationships to the other parts of the work including foundation and clearances for maintenance and operation.  Shop drawings must also indicate all optional features that are to be provided.

Certified performance compliance documentation, to the extent elements are indicated with specific performance requirements; including actual crash test reports, equivalency certifications, design/analysis calculations, and similar data suitable for the demonstration of performance achievement.

Previous Successful Use: Information necessary to document a minimum 1-year successful field operation performance history for each type of vehicle gate installed.

Test Reports:  Upon completion and testing of the installed system, a test report shall be submitted in booklet form showing all fields tests, including component adjustments and demonstration of compliance with the specified performance criteria.  Each test report shall indicate the final position controls.

Operation and Maintenance Manuals:  Submit Operation and Maintenance data in accordance with Division 1.

Operation instructions shall outline the step-by-step procedures required for system startup, operation, and shutdown.  The instructions shall include the manufacture’s name, model number, service manual, parts list, and brief description of all equipment and their basic operating features.

Maintenance instructions shall include routine maintenance procedures, possible breakdowns and repairs, and troubleshooting guide.  The instructions shall include piping layout, equipment layout and simplified wiring, and control diagrams of the systems as installed.

Spare Parts Data:	  After approval of the shop drawings the Contractor shall submit spare parts data for each different item of materials and equipment used.  The data shall include a complete list of parts and supplies, with current unit prices and source of supply.

Installer qualification data:  Submit resumes of all installers documenting the installers have installed the same gate systems for a DOS project within the last 5 years.  The resume must include at least 3 references (including contract information) that can provide verification that the installer has the expertise required to perform a successful installation.  The installer's qualifications must be approved by the Office of Overseas Buildings Operations, Project Execution Division, Design Engineering Branch, Security Engineering Branch (OBO/PE/DE/SEB).

QUALITY ASSURANCE

Nameplates:  The perimeter gate systems shall have the manufacturer’s name, contact for service, and catalog or serial number permanently affixed to a plate securely attached to the equipment in a suitable location.

Verification of Dimensions:  The Contractor shall become familiar with all details of the work, and verify dimensions in the field as required for coordination.

Installer Qualifications:  Engage an experienced Installer who has completed perimeter gate system installation similar in material, design, and extent to that indicated for this Project and with a record of successful in-service performance.

Installer Qualification Data:  Submit resumes of all installers documenting the installers have installed similar gate system within the last 5 years.  The resume must include at least 3 references (including contract information) that can provide verification that the installer has the expertise required to perform a successful installation.  The installer's qualifications must be approved by the Office of Overseas Buildings Operations, Project Execution Division, Design Engineering Branch, Security Engineering Branch OBO/PE/DE/SEB).

DELIVERY, STORAGE, AND HANDLING

Deliver elements of the perimeter gate facilities to the project with assemblies prefabricated, prefinished, and equipped with devices and accessories to the greatest extent possible.  Comply with Government's criteria for packaging, handling, protection, storage, and delivery.

PRODUCTS

MANUFACTURERS

Certified Units:  Provide perimeter gate systems which are produced by a manufacturer who has previously produced, within the last 2 years, units of similar security attack resistance of equivalent size and resistance ratings, and which have been certified by the Bureau of Diplomatic Security (DS) in accordance with DS/PSP/PSD SD-STD-01.01, latest revision.

MATERIALS, GENERAL

Steel Shapes, Plates, and Bars:  ASTM A 36; except where otherwise indicated, and as follows:

Where indicated as "high-strength" steel, provide shapes, plates, and/or bars complying with ASTM A 588, Grade C, 34.9 kg/sq. mm [50 ksi] yield strength.

Where indicated as tubular "high-strength" steel, provide shapes, sizes, and wall thicknesses as indicated complying with ASTM A 618, Grade Ib; 34.9 kg/sq. mm [50 ksi] yield strength.

Steel Finishes:  Hot-dip galvanize all steel components to comply applicable standards of ASTM A 123/A 123 M for galvanizing steel product and ASTM A 153 A, 153M for galvanizing steel hardware.

Chain Link Mesh:  Non-penetrable 3/8" (9.5 mm) diamond mesh; formed of 3.76 mm dia. (9 ga. 0.148") steel wire, complying with ASTM A 491; with aluminized finish of 0.40 oz. per sq. ft. (0.124 kg per sq. m) aluminum, complying with ASTM A 817; comply with CLFMA "Product Manual."  Note:  Chain link mesh is not DOS certified for anti-climb.

Chain Link Mesh:  Non-penetrable 3/8" (9.5 mm) diamond mesh, formed of 3.76 mm dia. (9 ga. 0.148") aluminum wire; mill finish, comply with ASTM B 211, alloy 6061-T94; comply with ASTM F 183, and with CLFMA "Product Manual."  Note:  Chain link mesh is not DOS certified for anti-climb.

Aluminum Gate Framing:  ASTM B 221, alloy 6063-T6, mill finished aluminum; comply with ASTM B 429 for extruded structural pipe and tube, and with ASTM B 211 for bars, rods, and wire.

Welding Rods and Bare Electrodes:  Provide type recommended by AWS specifications, for the metal and alloy being welded in each element of the fabrications.

Bolts and Fasteners:  ASTM A 320, AISI Type 300-series stainless steel bolts and nuts.  Where within reach of intruders working from attack-side of facilities, including working from inside sally ports, provide nonremovable bolt/nut units (not removable by use of commonly available hand tools).  Provide stainless steel washers.

Concrete Inserts:  Furnish anchorage units to be placed in concrete substrates, of hot-dip galvanized cast-iron/malleable-iron body, design/type as indicated; ASTM A 153 zinc coating, ASTM A 47 casting.

Setting/Anchoring Cement: Provide nonshrinking, nonstaining, hydraulic-controlled expansion-type cementitious compound; factory prepackaged for mixing with water at project for a pourable and trowellable mix, recommended by manufacturer for exterior exposure (ASTM C 109).

Aluminum Extrusions:  ASTM B 221, Alloy 6005, Temper T5 or T6; sizes, shapes, and wall thicknesses as indicated or, where not otherwise indicated, as required to achieve performances indicated.

Stainless Steel Tubing:  ASTM A 269, AISI Type 304; sizes and wall thicknesses as indicated or, where not otherwise indicated, as required to achieve performances indicated.

Shop Primer Paint:  Fabricator's baked-on, lead-free, modified alkyd-base, ferrous-metal primer; which is compatible with finish system specified in "Painting" or "Special Coatings" section of these specifications; and which will provide long-term resistance to corrosion from external exposure, and form a firm undercoat for field-applied topcoats after prolonged construction-period exposures.  Comply with performance requirements of FS TT-P-645, and with paint manufacturer's instructions for baked-on primer coat material and application.

Shop Primer Paint:  Organic, zinc-rich coating, with zinc-dust content not less than 80% by weight of non-volatile content; with vehicle base selected for compatibility with specified finish coating system.  Comply with paint manufacturer's instructions for surface pretreatment materials and methods, and for primer application.

FABRICATION

General:  Fabricate perimeter gate systems at the factory to the greatest extent possible, including interfacing, supporting, and anchorage provisions as required for installation.  Fabricate to comply with indicated performance requirements.  Disassemble only to the extent required for handling, delivery, and installation.

Fabricate units with member sizes, shapes, and spacings as shown, and with overall dimensions of each unit as shown.  All vehicle gates must provide anti-climb protection.

Ease exposed edges of fabricated metal elements to approximately 1/32-inch (0.8 mm) radius, prior to finishing.

Avoid the use of bolts and screws exposed and accessible from the exterior (attack side) of fabricated units.  Where unavoidable, provide nonremovable (with ordinary hand tools) type fasteners in the assembly.

Provide fabricated hardware and devices for assembly and installation of each gate facility, as indicated and required for performances.

Provide matching padlock eyes for each (closed) gate, located on inside (safe side) of fence except where indicated as exterior.

Provide lifting points for maintenance.

Wheels must be designed to be easily serviceable and withstand dead/live load with a minimum safety factor of 2.  Minimum 4, 150 mm diameter V-groove wheels.  Other designs, with testing data supporting the required life-cycle, may be approved on a case by case basis by OBO/PE/DE/SEB.

Gate Control: Provide fabricated perimeter gates that are capable of being controlled remotely from the slave control panel within the CAC guard booth with override capabilities from the master control panel in MSG post 1.

Provide a slave control panel at guard booth location with open/close buttons, Emergency Fast Operation (EFO) button and an audible annunciator, which is automatically activated when gate remains in retracted position in excess of adjustable time period, with adjustment capability up to 60 seconds.  Provide for either rack mounted (standard 19” (482.5-mm)) or countertop installations that is coordinated with the architectural and technical security systems design.

Provide a master control panel at Post 1 location with open/close buttons, Emergency Fast Operation (EFO) button and signal light, activated by operation of annunciator signal at CAC location; provide reset, which can also be used to deactivate signal at CAC. Provide for rack mounted (standard 19” (482.5-mm)) controls only.  On dual or multiple lane sally ports or installations with more then two anti-ram gates provide a custom panel that consolidates controls (separate controls and EFO’s required for each gate; however, open gate annuciator may be combined per sally port).

Provide gate and gate operator system capable of closing within 12 seconds in case of an emergency for anti-ram gates and 5 seconds for all other gates.

Ice Melting: Provide in-ground ice/snow melting capability in the sallyport and sidewalks surrounding the CACs when located in a heavy snow/ice environment.

Signal Light: Provide signal light to indicate gate’s status on both sides. The signal light must be synchronized with the gate.

Heating and Cooling System:  Provide heating and cooling system per manufacturers' recommendations.

Safety:  Provide safety for gates, such as tamper switch, emergency stop switch, electromagnetic latch, auxiliary limit switch and safety suppression loop system.

Manual Operation:  Provide gate operating system with capability of disengaging the drive mechanism without the use of tools, so that the gate can be manually operated.  The release mechanism must not be accessible from the treat side of the gate.

Packaging:  Provide export packaging as recommended by manufacturers with options.

When the project site is located with 100 kilometers of an ocean/sea shore environment the gate systems shall be fabricated to resist corrosive environments including salts, phosphates and other corrosive elements typically found in an ocean/sea shore environment.  All elements of the gate system shall be designed and constructed to resist these effects for a period of 5 years.  The manufacturer shall develop a site specific routine maintenance plan tailored to local conditions and executable by the local labor force.  The contractor shall submit evidence that confirms that the gate system can and will operate in the proposed environment and will perform consistently.  Should corrosive damage inhibit or halt the operation of the gate system replacement parts or new gate systems shall be shipped to the project site (at no cost to the USG) and installed by qualified installers provided by the manufacturer.  The government at its sole discretion may opt to install the manufacturer provided replacement parts, however this will in no way void or alter the warranty.

Fabricate gate panels and supporting elements and appurtenances so that a 120 mm diameter sphere cannot pass through any portion of the gate panel or any location where the gate panel interfaces with the surrounding construction (on the attack side), including where the gate panel meets the ground.  Provide gate systems that meet all physical security requirements pertaining to ornamental security fences as outlined in Section 02833 Ornamental Security Fences.

Provide gate operator system that disarms all safety components of gates when in emergency mode.

Fabricate vehicular gate panels at each location, for the indicated manner of support in a sliding operation; with motorized gate operator unit sized for the weight and size of gate.

Fabricate pedestrian swing-gate panels to match vehicular gate panels at each entrance location, except as otherwise indicated.

Fabricate anti-ram gates to comply with previously-issued current approval documentation by DOS, including SD-STD-02.01 "Specification for Vehicle Crash Test of Perimeter Gates and Gates." Required performance is for a test rating of K12; that is, a 15,000 lb. (6818 kg) test vehicle, traveling at 50 mph (83.3 km/hr) must be stopped, within 3 ft (900 mm) allowable penetration beyond line of gate contact. Lower rated gates (K4 and K8) may be approved on a case by case basis, provided supporting calculations are provided and approved by OBO/PE/DE/SEB.  Provide gate system; capable, in width of operation, of obstructing vehicular traffic in a 15 ft. (4.5 m) wide traffic lane.  Include the following:

Provide 24 V control circuitry, of the required cycles per min. rating (depends upon available power source).  Provide system which retains gate in current position when there is a power failure.  Provide a system for back-up, such as accumulators and UPS for the controls, and for manual operation of gate when there is a power failure.

Provide cooling unit for the hydraulic fluid of the gate operating system if so equipped.

Provide disconnect switch.

Provide limit switch.

Provide safety such as tamper switch, emergency stop switch, electromagnetic switch and safety loop suppression system.

Only electric or hydraulic drive systems shall be used for Gate Systems.

Provide export packaging as recommended by manufacturers with options.

EXECUTION

EXAMINATION, COORDINATION, PREPARATION

General:  Examine substrate work, being prepared as work of other sections, for the anchorage and support of perimeter gate facilities of this section.  Deliver anchorage inserts, sleeves, and other elements to be cast in concrete work, prior to time scheduled for placement of concrete.  Furnish instructions, setting diagrams, templates, and/or other information for elements to be installed as work of other sections.  Set posts, frames and similar elements plumb, level and true to line and location; and support adequately during placement of concrete.

Examine prefabricated units, and preparations made and to be made as work of other sections, and confirm that interfaces and support of work of this section will achieve performances and align within installation tolerances.

Coordinate installation of gate facilities with installation of related work, to ensure optimum sequencing of interfaces.

INSTALLATION

Comply with fabricator's instructions for the handling, protection, assembly, installation, anchorage, and other required interface connections of gate facilities with other work.  Set level and plumb, true to line and location.  Anchor to develop full-strength resistances against attacks and forced-entry attempts.

Install exposed gate hardware, track, and devices with nonremovable fasteners, where exposed to attack side.  Assemble gate operating equipment and control system for smooth, secure gate movements, with ground-set items anchored in concrete supports.  Comply with applicable installation provisions of ASTM F 1184.

TESTING AND ADJUSTING

Test operate each gate facility operational unit through repeated cycles of operation; and demonstrate operation, controls, safety devices, signals, and other features to Project Director.  Provide adjustments as requested to comply with requirements and intended cycles of use and operation.

Instructions for testing perimeter gate systems

From Slave Control Panel

1. Exercise Open and Close and listen for binding or rubbing.

2. Check stop & go lights

3. Check the safety edge switch. While the gate is closing push on the safety edge switch. The gate should stop, but it should not re-open.

4. Check open alarm.  Leave the gate in the open position.  After a preset period (no more than one minute) an alarm will sound from the slave unit and from the master.  This timer can be set in the electrical panel.

5. Test safety loop:

a.	Open the gate and park a vehicle over the loop but not over the gate.  Attempt to close the gate - it should not close.

6.	Test the emergency close function.  Be sure there is no vehicle or individual standing near the gate and have a safety person control the site. Check to make sure all safety functions are not functioning while the gate is operating in the emergency mode.

a.	PART I:  Activate the emergency close, from the open position - the gate should close quickly.  Record the time (should be 12 seconds or less).  The slave controller should now be inoperative and will have to be reset from the master controller in Post I.

b.	PART II:  Now park a vehicle over the safety loop.  Then follow Part I sequence - The emergency close function should now override the safety loop and the sequence should be the same as for Part I.

- Cut all power to the hydraulic pump or electrical supply and have the contractor demonstrate that the anti-ram barrier can be operated the required number of cycles (2) using the back-up system.  Record the number of cycles.

- Test that the gate locks when the power is cut and the back-up system is depleted.

- Have the contractor demonstrate that the gates and controls will work under generator power.

10. Cut all power to the hydraulic pump or electrical supply and have the contractor demonstrate that the gate can be operated full cycle of the unit under manual function.

11. Repeat steps 1 through 5, 7, 8 and 10 for the anti-climb gate system. (Note 3-cyles required for the anti-climb gate back-up system).

From Master Control Panel

1. Check functions 4 thru 7 and 9 and 11above from the master.

2. Check reset function from master.

Clean exposed surfaces of gate facilities, including primed surfaces and finished surfaces, exercising care to avoid damage to finishes; touch up minor blemishes in finished surfaces.

Refer to "Painting"/"Special Coatings" section of these specifications for application of field-applied finish coatings over shop-applied primer coatings; not work of this section.

MANUFACTURER’S SERVICE

Services of a manufacturer’s representative who is experienced in the installation, adjustment, and operation of the equipment supplied shall be available.  The representative shall supervise the installation, adjustment, and testing of the equipment.

FIELD TRAINING

A field training course shall be provided for designated operating staff members.  Training shall be provided for a total 	period of not less than 8 hours of normal working time and shall start after the system is functionally complete but prior to final acceptance tests.  Field training shall cover all of the items contained in the operating and maintenance instructions.

### Division 16 – Electrical

## General

SCOPE OF WORK FOR TECHNICAL SECURITY

1.  GENERAL INFORMATION

UPGRADE THE EXISTING TECHNICAL SECURITY SYSTEMS AND INSTALL NEW SYSTEMS AT POST IN ACCORDANCE WITH THE FOLLOWING CRITERIA.  ALL EQUIPMENT IS CONTRACTOR FURNISHED UNLESS OTHERWISE NOTED.

CONTRACTOR SHALL SUBMIT SAMPLES OF ALL CONDUIT AND ALL WIRES FOR APPROVAL BEFORE PROCEEDING WITH THE WORK.

INSTALL CABINETS AND CONDUIT IN THE EC ROOM IN ACCORDANCE WITH INSTRUCTIONS.

2.  TECHNICAL SECURITY EQUIPMENT POWER SYSTEM

THE CONTRACTOR SHALL PROVIDE A POWER DISTRIBUTION SYSTEM FOR THE TECHNICAL SECURITY SYSTEM AS DESCRIBED HEREIN AND IN ACCORDANCE WITH THE NATIONAL ELECTRICAL CODE (NEC).  THE SYSTEM SHOULD BE AS ISOLATED, AS IS REASONABLY POSSIBLE, FROM THE FACILITIES NORMAL POWER SYSTEM.  POWER SOURCES ARE DEFINED AS FOLLOWS:

NORMAL POWER - POWER PROVIDED BY THE LOCAL ELECTRIC UTILITY.

EMERGENCY POWER - UNDER NORMAL CONDITIONS POWER IS PROVIDED BY THE LOCAL UTILITY, BUT IN THE EVENT OF A POWER UTILITY OUTAGE, POWER WILL BE PROVIDED BY MEANS OF A GENERATOR OR SIMILAR SOURCE.

PROVIDE A GROUND CONDUCTOR IN ACCORDANCE WITH THE NATIONAL ELECTRICAL CODE (NEC), THROUGHOUT THE TECHNICAL SECURITY EQUIPMENT POWER SYSTEM.

3.  CABLE

THE CONTRACTOR SHALL FURNISH AND INSTALL ALL WIRING FOR THE TECHNICAL SECURITY SYSTEMS.  ALL CABLE FOR THE TECHNICAL SECURITY SYSTEM MUST BE INSTALLED IN CONDUIT.  SIGNAL AND CONTROL CABLE WILL NOT BE PULLED IN THE SAME CONDUIT WITH POWER CABLE.

ALL SIGNAL, CONTROL, AND LOW VOLTAGE WIRING FOR THE TECHNICAL SECURITY SYSTEM CAN BE ROUTED IN THE SAME CONDUIT.  DETERRENT SYSTEM CABLING MUST REMAIN TOTALLY ISOLATED FROM ALL OTHER CABLES AND ROUTED IN SEPARATE CONDUIT.

ALL CABLE BETWEEN THE TECHNICAL SECURITY EQUIPMENT, AND THE EC SHOULD BE PULLED AND TAGGED BY THE CONTRACTOR.  ALL CABLE SHOULD BE CLEARLY LABELED IN A LOGICAL MANNER AT BOTH ENDS.  EXCESS CABLE SHOULD EXTEND AT THE EQUIPMENT END.  ALL CABLE RUNS WILL BE CONTINUOUS AND WITHOUT SPLICES.  A NYLON PULL ROPE SHOULD BE LEFT IN EVERY CONDUIT.

4.  CONDUIT

ALL TECHNICAL SECURITY CABLE WILL BE INSTALLED IN CONDUIT.

DOS UTILIZES A CONDUIT FILL FACTOR POLICY OF 40%, MAXIMUM.  NEC REQUIREMENTS WILL BE USED FOR MATERIALS INSTALLATION AND APPLICATION AS CRITERIA FOR THE DESIGN AND CONSTRUCTION OF THE CONDUIT SYSTEM.  IN ADDITION, THE FOLLOWING DOS REQUIREMENTS WILL APPLY FOR CONDUITS OUTSIDE THE BUILDING HARDLINE:

ABOVE GRADE - INTERMEDIATE METAL, RIGID METAL OR LIQUID TIGHT FLEXIBLE CONDUIT.  PRIME ALL EXPOSED METAL CONDUIT WITH APPROVED ANTI-RUST PRIMER.

BELOW GRADE - INTERMEDIATE METAL, RIGID STEEL AND TYPE 80 HEAVY WALL RIGID (40MM AND LARGER SIZES ONLY) PVC CONDUIT.

FOR CONDUITS INSIDE THE BUILDING HARDLINE:

ELECTRICAL METALLIC TUBING (EMT), TYPE 80-HEAVY WALL RIGID (40MM AND LARGER SIZES ONLY) PVC AND FLEXIBLE METAL CONDUIT.

REQUIREMENTS - CONDUIT SHOULD NOT BE RUN EXTERNAL TO THE PRIMARY HARDLINE.  WHEN THIS IS NOT POSSIBLE, PHYSICAL SECURITY OF THE CONDUIT SHOULD BE PROVIDED AS DICTATED BY THE DOS.

DESIGN FOR APPROPRIATELY SIZED PULL BOXES TO BE INSTALLED AT EVERY OTHER 90 DEGREE BEND AND INTERMEDIATE PULL BOXES TO BE INSTALLED AS NECESSARY.  PULL BOXES SHOULD BE LOCATED AT 15 METER INTERVALS (MAXIMUM).  DESIGN PULL BOXES IN ACCESSIBLE LOCATIONS AND IDENTIFY THEM.

PROVIDE PROPERLY SIZED METALLIC TERMINATION BOXES WITH A COMBINATION OF 20MM AND 25MM KNOCKOUTS FOR ALL TECHNICAL SECURITY EQUIPMENT.  TERMINATION BOXES SHOULD BE FLUSH MOUNTED WHERE POSSIBLE.  ALL PULL BOXES, JUNCTION BOXES AND TERMINATION BOXES SHOULD BE SECURELY MOUNTED TO THE ADJACENT STRUCTURE WITH THE APPROPRIATE METAL FASTENERS.  IN NO CASE WILL THEY BE SECURED IN PLACE WITH TIE WRAPS, WIRE OR OTHERWISE HUNG IN PLACE.

ANY WIRING SHALL BE REINSTALLED PER TECHNICAL SECURITY STANDARDS IN THE NEW EC.  ALL UNUSED SECURITY WIRING SHALL BE TRACED AND REMOVED UPON COMPLETION OF NEW WORK.  NEW SYSTEM SHALL BE TESTED AND APPROVED PRIOR TO REMOVAL OF OLD WIRE.

ELECTRICAL POWER UTILIZATION SYSTEMS

# Branch Circuits

Branch circuits shall consist of insulated conductors run in underground raceways.  Branch circuits shall be designed to be as short as possible.

## Raceways

- Rigid galvanized steel conduit or corrosion-treated electrical metallic tubing shall be used and sized as permitted by applicable codes for above ground installations and for wiring in non-hazardous areas of buildings.

- Rigid galvanized steel conduit and/or rigid heavy-wall PVC conduit shall be used for underground installations.  Where rigid steel conduit is installed underground, it shall be protected against corrosion by a PVC coating, or by coal tar enamel, and as specified in the National Electrical Code (NEC).  Where rigid heavy-wall PVC conduit is installed underground, the change to metallic conduit shall be made above ground but shall utilize a metallic elbow for turning-up the conduit.

C.	The minimum conduit size shall be 25 mm underground and 19 mm above ground.  Conduits shall be installed concealed except where exposed conduits are required for visual security inspections.

## Conductors

All branch circuit conductors shall be insulated copper and shall be sized at one hundred twenty-five percent (125%) of full load capacity.  The type of insulation, operating temperatures, ambient temperature, and voltage class selected shall be in accordance with the requirements of the NEC as it pertains to the application.  A full sized neutral and separate ground conductor shall be used for each branch circuit.

# Maximum Voltage Drop

The maximum voltage drop for any security lighting system branch circuit shall not exceed three percent (3%).

ATTACHMENT 5

DRAWINGS

(To be provided at the site visit)

PART IV - REPRESENTATIONS AND INSTRUCTIONS

SECTION K - REPRESENTATIONS, CERTIFICATIONS AND OTHER

STATEMENTS OF OFFERORS OR QUOTERS

K.1	52.203-02  CERTIFICATE OF INDEPENDENT PRICE DETERMINATION (APR 1985)

(a) The offeror certifies that-

(1) The prices in this offer have been arrived at independently, without, for the purpose of restricting competition, any consultation, communication, or agreement with any other offeror or competitor relating to-

(i) Those prices;

(ii) The intention to submit an offer;, or

(iii) The methods or factors used to calculate the prices offered.

(2) The prices in this offer have not been and will not be knowingly disclosed by the offeror, directly or indirectly, to any other offeror or competitor before bid opening (in the case of a sealed bid solicitation) or contract award (in the case of a negotiated solicitation) unless otherwise required by law; and

(3) No attempt has been made or will be made by the offeror to induce any other concern to submit or not to submit an offer for the purpose of restricting competition.

(b) Each signature on the offer is considered to be a certification by the signatory that the signatory-

(1)	Is the person in the offeror's organization responsible for determining the prices being offered in this bid or proposal, and that the signatory has not participated and will not participate in any action contrary to subparagraph (a)(1) through (a)(3) above; or

(2)(i)	Has been authorized, in writing, to act as agent for the following principals in certifying that those principals have not participated, and will not participate in any action contrary to subparagraphs (a)(1) through (a)(3) above [insert full name of person(s) in the offeror's organization responsible for determining the prices offered in this bid or proposal, and the title of his or her position in the offeror's organization]; and

(ii)	As an authorized agent, does certify that the principals named in subdivision (b)(2)(i) above have not participated, and will not participate, in any action contrary to subparagraphs (a)(1) through (a)(3) above; and

(iii)		As an agent, has not personally participated, and will not participate, in any action contrary to subparagraphs (a)(1) through (a)(3) above.

(c)	If the offeror deletes or modifies subparagraph (a)(2) above, the offeror must furnish with its offer a signed statement setting forth in detail the circumstances of the disclosure.

K.2	52.203-11  CERTIFICATION AND DISCLOSURE REGARDING PAYMENTS TO INFLUENCE CERTAIN FEDERAL TRANSACTIONS (SEP 2007)

(a)  Definitions.  As used in this provision – “Lobbying contact” has the meaning provided at 2 USC 1602(8).  The terms “agency”, “influencing or attempting to influence”, “officer or employee of an agency”, “person”, “reasonable compensation”, and “regularly employed” are defined in the FAR clause of this solicitation entitled  Limitation on Payments to Influence Certain Federal Transactions (52.203-12).

(b) 	Prohibition.  The prohibition and exceptions contained in the FAR clause of this solicitation entitled “Limitation on Payments to Influence Certain Federal Transactions” (52.203-12) are hereby incorporated by reference in this provision.

(c)	Certification.  The offeror, by signing its offer, hereby certifies to the best of his or her knowledge and belief that no Federal appropriated funds have been paid or will be paid to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress, or an employee   of a member of Congress on its behalf in connection with the awarding of this contract.

(d) 	Disclosure.  If any registrants under the Lobbying Disclosure Act of 1995 have made a lobbying contract on behalf of the offeror with respect to this contract, the offeror shall complete and submit, with its officer, OMB Standard Form LLL, Disclosure of Lobbying Activities, to provide the name of the registrants.  The offeror need not report regularly employed officers or employees of the offeror to whom payments of reasonable compensation were made.

(e)	Penalty.  Submission of this certification and disclosure is a prerequisite for making or entering into this contract imposed by 31 USC 1352.  Any persons who makes an expenditure prohibited under this provision or who fails to file or amend the disclosure required to be filed or amended by this provision, shall be subject to a civil penalty of not less than $10,000, and not more than $100,000, for each failure.

K.3	52.204-3  TAXPAYER IDENTIFICATION (OCT 98)

(a)	DEFINITIONS.

"Common parent", as used in this provision, means that corporate entity that owns or controls an affiliated group of corporations that files its Federal income tax returns on a consolidated basis, and of which the offeror is a member.

“Taxpayer Identification Number (TIN)", as used in this provision, means the number required by the IRS to be used by the offeror in reporting income tax and other returns.  The TIN may be either a Social Security Number or an Employer Identification Number.

(b)	All offerors must submit the information required in paragraphs (d) through (f) of this provision in order to comply with debt collection requirements of 31 U.S.C. 7701(c) and 3325 (d), reporting requirements of 26 USC 6041, 6041A, and 6050M and implementing regulations issued by the Internal Revenue Service (IRS).  If the resulting contract is subject to the reporting requirements described in FAR 4.904, the failure or refusal by the offeror to furnish the information may result in a 31 percent reduction of payments otherwise due under the contract.

(c)	The TIN may be used by the Government to collect and report on any delinquent amounts arising out of the offeror’s relationship with the Government (3l USC 7701( c)(3)).  If the resulting contract is subject to the payment reporting requirements described in FAR 4.904, the TIN provided hereunder may be matched with IRS records to verify the accuracy of the offeror’s TIN.

(d)	Taxpayer Identification Number (TIN).

TIN: ____________________________

___ TIN has been applied for.

___ TIN is not required because:

__  Offeror is a nonresident alien, foreign corporation, or foreign partnership that does not have income effectively connected with the conduct of a trade or business in the U.S. and does not have an office or place of business or a fiscal paying agent in the U.S.;

__ Offeror is an agency or instrumentality of a foreign government;

__ Offeror is an agency or instrumentality of the Federal Government.

(e)	Type of Organization.

__ Sole Proprietorship;

__ Partnership:

__ Corporate Entity (not tax exempt);

__ Corporate Entity (tax exempt);

__  Government entity (Federal, State, or local);

__   Foreign government;

__   International organization per 26 CFR 1.6049-4;

__   Other ___________________________________________

(f)	Common Parent.

___  Offeror is not owned or controlled by a common parent as defined in paragraph (a) of this clause.

___ Name and TIN of common parent;

Name _______________________________________________

TIN ________________________________________________

### K.4	 52.204-8 ANNUAL REPRESENTATIONS AND CERTIFICATIONS (Jan 2006)

(a)(1) The North American Industry Classification System (NAICS) code for this acquisition is 236220, 237310, 237990,236118, 237110.

(2) The small business size standard is 28.5 million.

(3) The small business size standard for a concern which submits an offer in its own name, other than on a construction or service contract, but which proposes to furnish a product which it did not itself manufacture, is 500 employees.

(b)(1) If the clause at 52.204-7, Central Contractor Registration, is included in this solicitation, paragraph (c) of this provision applies.

(2) If the clause at 52.204-7 is not included in this solicitation, and the offeror is currently registered in CCR, and has completed the ORCA electronically, the offeror may choose to use paragraph (c) of this provision instead of completing the corresponding individual representations and certifications in the solicitation. The offeror shall indicate which option applies by checking one of the following boxes:

[  ] (i) Paragraph (c) applies.

[  ] (ii) Paragraph (c) does not apply and the offeror has completed the individual representations and certifications in the solicitation.

(c) The offeror has completed the annual representations and certifications electronically via the Online Representations and Certifications Application (ORCA) website at http://orca.bpn.gov. After reviewing the ORCA database information, the offeror verifies by submission of the offer that the representations and certifications currently posted electronically have been entered or updated within the last 12 months, are current, accurate, complete, and applicable to this solicitation (including the business size standard applicable to the NAICS code referenced for this solicitation), as of the date of this offer and are incorporated in this offer by reference (see FAR 4.1201); except for the changes identified below [offeror to insert changes, identifying change by clause number, title, date]. These amended representation(s) and/or certification(s) are also incorporated in this offer and are current, accurate, and complete as of the date of this offer.

FAR Clause # Title Date Change

____________ _________ _____ _______

Any changes provided by the offeror are applicable to this solicitation only, and do not result in an update to the representations and certifications posted on ORCA.

End of provision)

K. 5	52.209-5 Certification Regarding Responsibility Matters (May 2008)

(a)(1) The Offeror certifies, to the best of its knowledge and belief, that—

(i) The Offeror and/or any of its Principals—

(A) Are __ are not ___ presently debarred, suspended, proposed for debarment, or declared ineligible for the award of contracts by any Federal agency;

(B) Have __ have not ___, within a three-year period preceding this offer, been convicted of or had a civil judgment rendered against them for: commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a public (Federal, state, or local) contract or subcontract; violation of Federal or state antitrust statutes relating to the submission of offers; or commission of embezzlement, theft, forgery, bribery, falsification or destruction of records, making false statements, tax evasion, violating Federal criminal tax laws, or receiving stolen property;

(C) Are ____ are not ____ presently indicted for, or otherwise criminally or civilly charged by a governmental entity with, commission of any of the offenses enumerated in paragraph (a)(1)(i)(B) of this provision;

(D) Have ___, have not ____, within a three-year period preceding this offer, been notified of any delinquent Federal taxes in an amount that exceeds $3,000 for which the liability remains unsatisfied.

(1) Federal taxes are considered delinquent if both of the following criteria apply:

(i) The tax liability is finally determined. The liability is finally determined if it has been assessed. A liability is not finally determined if there is a pending administrative or judicial challenge. In the case of a judicial challenge to the liability, the liability is not finally determined until all judicial appeal rights have been exhausted.

(ii) The taxpayer is delinquent in making payment. A taxpayer is delinquent if the taxpayer has failed to pay the tax liability when full payment was due and required. A taxpayer is not delinquent in cases where enforced collection action is precluded.

(2) Examples.

(i) The taxpayer has received a statutory notice of deficiency, under I.R.C. § 6212, which entitles the taxpayer to seek Tax Court review of a proposed tax deficiency. This is not a delinquent tax because it is not a final tax liability. Should the taxpayer seek Tax Court review, this will not be a final tax liability until the taxpayer has exercised all judicial appeal rights.

(ii) The IRS has filed a notice of Federal tax lien with respect to an assessed tax liability, and the taxpayer has been issued a notice under I.R.C. § 6320 entitling the taxpayer to request a hearing with the IRS Office of Appeals contesting the lien filing, and to further appeal to the Tax Court if the IRS determines to sustain the lien filing. In the course of the hearing, the taxpayer is entitled to contest the underlying tax liability because the taxpayer has had no prior opportunity to contest the liability. This is not a delinquent tax because it is not a final tax liability. Should the taxpayer seek tax court review, this will not be a final tax liability until the taxpayer has exercised all judicial appeal rights.

(iii) The taxpayer has entered into an installment agreement pursuant to I.R.C. § 6159. The taxpayer is making timely payments and is in full compliance with the agreement terms. The taxpayer is not delinquent because the taxpayer is not currently required to make full payment.

(iv) The taxpayer has filed for bankruptcy protection. The taxpayer is not delinquent because enforced collection action is stayed under 11 U.S.C. 362 (the Bankruptcy Code).

(ii) The Offeror has ___ has not ____, within a three-year period preceding this offer, had one or more contracts terminated for default by any Federal agency.

(2) “Principals,” for the purposes of this certification, means officers; directors; owners; partners; and, persons having primary management or supervisory responsibilities within a business entity (e.g., general manager; plant manager; head of a subsidiary, division, or business segment, and similar positions).

This Certification Concerns a Matter Within the Jurisdiction of an Agency of the United States and the Making of a False, Fictitious, or Fraudulent Certification May Render the Maker Subject to Prosecution Under Section 1001, Title 18, United States Code.

(b) The Offeror shall provide immediate written notice to the Contracting Officer if, at any time prior to contract award, the Offeror learns that its certification was erroneous when submitted or has become erroneous by reason of changed circumstances.

(c) A certification that any of the items in paragraph (a) of this provision exists will not necessarily result in withholding of an award under this solicitation. However, the certification will be considered in connection with a determination of the Offeror’s responsibility. Failure of the Offeror to furnish a certification or provide such additional information as requested by the Contracting Officer may render the Offeror nonresponsible.

(d) Nothing contained in the foregoing shall be construed to require establishment of a system of records in order to render, in good faith, the certification required by paragraph (a) of this provision. The knowledge and information of an Offeror is not required to exceed that which is normally possessed by a prudent person in the ordinary course of business dealings.

(e) The certification in paragraph (a) of this provision is a material representation of fact upon which reliance was placed when making award. If it is later determined that the Offeror knowingly rendered an erroneous certification, in addition to other remedies available to the Government, the Contracting Officer may terminate the contract resulting from this solicitation for default.

K.6.	52.225-18  Place of Manufacture (Sept 2006)

(a) Definitions. As used in this clause—

“ Manufactured end product” means any end product in Federal Supply Classes (FSC) 1000-9999, except—

(1) FSC 5510, Lumber and Related Basic Wood Materials;

(2) Federal Supply Group (FSG) 87, Agricultural Supplies;

(3) FSG 88, Live Animals;

(4) FSG 89, Food and Related Consumables;

(5) FSC 9410, Crude Grades of Plant Materials;

(6) FSC 9430, Miscellaneous Crude Animal Products, Inedible;

(7) FSC 9440, Miscellaneous Crude Agricultural and Forestry Products;

(8) FSC 9610, Ores;

(9) FSC 9620, Minerals, Natural and Synthetic; and

(10) FSC 9630, Additive Metal Materials.

“Place of manufacture” means the place where an end product is assembled out of components, or otherwise made or processed from raw materials into the finished product that is to be provided to the Government. If a product is disassembled and reassembled, the place of reassembly is not the place of manufacture.

(b) For statistical purposes only, the offeror shall indicate whether the place of manufacture of the end products it expects to provide in response to this solicitation is predominantly—

(1) o  In the United States (Check this box if the total anticipated price of offered end products manufactured in the United States exceeds the total anticipated price of offered end products manufactured outside the United States); or

(2) o Outside the United States.

K.7	52.225-20  Prohibition on Conducting Restricted Business Operations in Sudan—Certification (June 2008)

(a) Definitions. As used in this provision—

“Business operations” means engaging in commerce in any form, including by acquiring, developing, maintaining, owning, selling, possessing, leasing, or operating equipment, facilities, personnel, products, services, personal property, real property, or any other apparatus of business or commerce.

“Marginalized populations of Sudan” means—

(1) Adversely affected groups in regions authorized to receive assistance under section 8(c) of the Darfur Peace and Accountability Act (Pub. L. 109-344) (50 U.S.C. 1701 note); and

(2) Marginalized areas in Northern Sudan described in section 4(9) of such Act.

“Person” means—

(1) A natural person, corporation, company, business association, partnership, society, trust, any other nongovernmental entity, organization, or group;

(2) Any governmental entity or instrumentality of a government, including a multilateral development institution (as defined in section 1701(c)(3) of the International Financial Institutions Act (22 U.S.C. 262r(c)(3)); and

(3) Any successor, subunit, parent company or subsidiary of any entity described in paragraphs (1) or (2) of this definition.

“Restricted business operations” means business operations in Sudan that include power production activities, mineral extraction activities, oil-related activities, or the production of military equipment, as those terms are defined in the Sudan Accountability and Divestment Act of 2007 (Pub. L. 110-174). Restricted business operations do not include business operations that the person conducting the business can demonstrate—

(1) Are conducted under contract directly and exclusively with the regional government of southern Sudan;

(2) Are conducted pursuant to specific authorization from the Office of Foreign Assets Control in the Department of the Treasury, or are expressly exempted under Federal law from the requirement to be conducted under such authorization;

(3) Consist of providing goods or services to marginalized populations of Sudan;

(4) Consist of providing goods or services to an internationally recognized peacekeeping force or humanitarian organization;

(5) Consist of providing goods or services that are used only to promote health or education; or

(6) Have been voluntarily suspended.

(b) Certification. By submission of its offer, the offeror certifies that it does not conduct any restricted business operations in Sudan.

K.8	RESERVED

K.9	652.225-70  ARAB LEAGUE BOYCOTT OF ISRAEL (AUG 1999)

(a)	DEFINITIONS.  As used in this provision:

Foreign person means any person other than a United States person as defined below.

United States person means any United States resident or national (other than an individual resident outside the United States and employed by other than a United States person), any domestic concern (including any permanent domestic establishment of any foreign concern), and any foreign subsidiary or affiliate (including any permanent foreign establishment) of any domestic concern which is controlled in fact by such domestic concern, as provided under the Export Administration Act of 1979, as amended.

(b)	CERTIFICATION.  By submitting this offer, the offeror certifies that it is not:

(1)	Taking or knowingly agreeing to take any action, with respect to the boycott of Israel by Arab League countries, which Section 8(a) of the Export Administration Act of 1979, as amended (50 U.S.C. 2407(a)) prohibits a United States person from taking; or,

(2)	Discriminating in the award of subcontracts on the basis of religion.

SECTION L - INSTRUCTIONS, CONDITIONS, AND NOTICES TO

OFFERORS OR QUOTERS

L.1	52.252-1 SOLICITATION PROVISIONS INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates the following provisions by reference, with the same force and effect as if they were given in full text.  Upon request, the Contracting Officer will make their full text available.  The offeror is cautioned that the listed provisions may include blocks that must be completed by the offeror and submitted with its quotation or offer.  In lieu of submitting the full text of those provisions, the offeror may identify the provision by paragraph identifier and provide the appropriate information with its quotation or offer.  Also, the full text of a solicitation provision may be accessed electronically at:

http://acquisition.gov/far/index.html/   or,   http://farsite.hill.af.mil/search.htm

These addresses are subject to change.  If the Federal Acquisition Regulation (FAR) is not available at the locations indicated above, use of an Internet "search engine" (such as, Yahoo, Infoseek, Alta Vista, etc.) is suggested to obtain the latest location of the most current FAR.

http://www.statebuy.state.gov/

FEDERAL ACQUISITION REGULATION (48 CFR CH. 1)

| 52.204-6 | CONTRACTOR INDENTIFICATION NUMBER-DATA UNIVERSAL NUMBERING SYSTEM (DUNS) NUMBER | APR 2008 |
| --- | --- | --- |
| 52.214-34 | SUBMISSION OF OFFERS IN THE ENGLISH LANGUAGE | APR 1991 |
| 52.215-1 | INSTRUCTIONS TO OFFERORS – COMPETITIVE ACQUISITION | JAN 2004 |
| 52.236-28 | PREPARATION OF PROPOSALS – CONSTRUCTION | OCT 1997 |

L.2	SOLICITATION PROVISIONS IN FULL TEXT

52.216-1  TYPE OF CONTRACT (APR 1984)

The Government contemplates award of a firm fixed price contract resulting from this solicitation.

52.233-2  SERVICE OF PROTEST (SEPT 2006)

(a)	Protests, as defined in section 33.101 of the Federal Acquisition Regulation, that are filed directly with an agency, and copies of any protests that are filed with the General Accounting Office (GAO), shall be served on the Contracting Officer (addressed as follows) by obtaining written and dated acknowledgment of receipt from the Contracting Officer, 91 Vas. Sofias Avenue, 101 60 ATHENS.

(b)	The copy of any protest shall be received in the office designated above within one day of filing a protest with the GAO.

L.3	QUALIFICATIONS OF OFFERORS

Offerors must be technically qualified and financially responsible to perform the work described in this solicitation.  At a minimum, each Offeror must meet the following requirements:

(1)	Be able to understand written and spoken English;

(2)	Have an established business with a permanent address and telephone listing;

(3) 	Be able to demonstrate prior construction experience with suitable references;

(4)	Have the necessary personnel, equipment and financial resources available to perform the work;

(5)	Have all licenses and permits required by local law;

(6) 	Meet all local insurance requirements;

(7) 	Have the ability to obtain a performance and guarantee bond and a payment bond, or to post adequate performance security, such as irrevocable letters of credit or guarantees issued by a reputable financial institution;

(8)	Have no adverse criminal record; and

(9)	Have no political or business affiliation which could be considered contrary to the interests of the United States.

L.4	REVIEW OF DOCUMENTS

Each Offeror is responsible for:

(1)	Obtaining a complete set of contract drawings and specifications;

(2)	Thoroughly reviewing such documents and understanding their requirements;

(3)	Visiting the project site and becoming familiar with all working conditions, local laws and regulations; and

(4)	Determining that all materials, equipment and labor required for the work are available.

Any ambiguity in the solicitation, including specifications and contract drawings, must be reported immediately to the Contracting Officer.  Any prospective Offeror who requires a clarification, explanation or interpretation of the contract requirements must make a request to the Contracting Officer not less than ten working days before the closing date of the solicitation.  Offerors may rely ONLY upon written interpretations by the Contracting Officer.

L.5	SUBMISSION OF OFFERS

L.5.1	SUMMARY OF INSTRUCTIONS

Each offer shall consist of the following physically separate volumes:

| Volume | Title | No. of Copies |
| --- | --- | --- |
| I | Executed Standard Form 1442, Solicitation, Offer and Award (Construction, Alteration, or Repair), and completed Section K | 3 |
| II | Price Proposal and Completed Section B. The price proposal shall include a completed Section J, Attachment 4, “Breakdown of Proposal Price by Divisions of Specifications”. | 3 |
| III | Performance schedule in the form of a “bar chart” and Business Management/Technical Proposal. | 3 |

Submit the complete offer to the address indicated at Block 7 of Standard Form (SF) 1442, if mailed, or the address set forth below, if hand delivered (if this is left blank, the address is the same as that in Block 7 of SF 1442).
	__________________________________________________

__________________________________________________

__________________________________________________

The offeror shall identify and explain/justify any deviations, exceptions, or conditional assumptions taken with respect to any of the instructions or requirements of this solicitation in the appropriate volume of the offer.

L.5.2	DETAILED INSTRUCTIONS

L.5.2.1	Volume I:  Standard Form (SF) 1442 and Section K. Complete blocks 14 through 20C of the SF 1442 and all of Section K.

L.5.2.2 	Volume II:  Price proposal and Section B.  The price proposal shall consist of completion of Section B and Section J, Attachment 3, "BREAKDOWN OF PROPOSAL PRICE BY DIVISIONS OF SPECIFICATIONS.  Complete all applicable portions of this form in each relevant category (such as., labor, materials, etc.).

L.5.2.3	Volume III:  Performance schedule and Business Management/Technical Proposal.

(a)	Present the performance schedule in the form of a "bar chart" indicating when the various portions of the work will be commenced and completed within the required contract completion schedule.  This bar chart shall be in sufficient detail to clearly show each segregable portion of work and its planned commencement and completion date.

(b)	The Business Management/Technical Proposal shall be in two parts, including the following information:

PROPOSED WORK INFORMATION - Provide the following:

(1)	A list of the names, addresses and telephone numbers of the owners, partners, and principal officers of the Offeror;

(2)	The name and address of the Offeror's field superintendent for this project; and

(3)	A list of the names, addresses, and telephone numbers of subcontractors and principal materials suppliers to be used on the project, indicating what portions of the work will be performed by them.

EXPERIENCE AND PAST PERFORMANCE - List all contracts and subcontracts your company has held over the past three years for the same or similar work.  Provide the following information for each contract and subcontract:

(1)	Customer's name, address, and telephone numbers of customer's lead contract and technical personnel;

(2)	Contract number and type;

(3)	Date of the contract award place(s) of performance, and completion dates;

(4)	Contract dollar value;

(5)	Brief description of the work, including responsibilities;

(6)	Comparability to the work under this solicitation;

(7)	Brief discussion of any major technical problems and their resolution;

(8)	Method of acquisition (fully competitive, partially competitive, or noncompetitive), and the basis for award (cost/price, technical merit, etc.);

(9)	Cost/price management history, including any cost overruns and under runs, and cost growth and changes;

(10)	Percent turnover of contract key technical personnel per year; and

- Any terminations (partial or complete) and the reason (convenience or default)

- Identify any accidents or safety concerns that occurred and resolution.

L.6	52.236-27 SITE VISIT (FEB 1995)

(a)	The clauses at 52.236-2, Differing Site Conditions, and 52.236-3, Site Investigations and Conditions Affecting the Work, will be included in any contract awarded as a result of this solicitation.  Accordingly, offerors or quoters are urged and expected to inspect the site where the work will be performed.

(b)	A site visit has been scheduled for August 8, 2008 at 11.00 hours.

(c)	Participants will meet at the Entrance Gate of the Embassy, at 91 Vas. Sofias Avenue, Athens.  Please arrive 15 minutes early to clear security.  Offerors should send the names of participants to Fax no. 210-722-7255, Attention: Mr. Apostolos Mouyios, no later than 13.00 hours, August 7, 2008.

L.7	652.206-70 COMPETITION ADVOCATE/OMBUDSMAN (AUG 1999)

(a)	The Department of State's Competition Advocate is responsible for assisting industry in removing restrictive requirements from Department of State solicitations and removing barriers to full and open competition and use of commercial items. If such a solicitation is considered competitively restrictive or does not appear properly conducive to competition and commercial practices, potential offerors are encouraged to first contact the contracting officer for the respective solicitation. If concerns remain unresolved, contact the Department of State Competition Advocate on (703) 516-1680, by fax at (703) 875-6155, or write to: Department of State, Competition Advocate, Office of the Procurement Executive (A/OPE), Suite 603, SA-6, Washington, DC 20522-0602.

(b)	The Department of State's Acquisition Ombudsman has been appointed to hear concerns from potential offerors and contractors during the preaward and postaward phases of this acquisition. The role of the ombudsman is not to diminish the authority of the contracting officer, the Technical Evaluation Panel or Source Evaluation Board, or the selection official. The purpose of the ombudsman is to facilitate the communication of concerns, issues, disagreements, and recommendations of interested parties to the appropriate Government personnel, and work to resolve them. When requested and appropriate, the ombudsman will maintain strict confidentiality as to the source of the concern. The ombudsman does not participate in the evaluation of proposals, the source selection process, or the adjudication of formal contract disputes. Interested parties are invited to contact the contracting activity ombudsman, Attention: Management Affairs Counselor at Phone 210-720-2275 and Fax 210-722-7255. For an American Embassy or overseas post, refer to the numbers below for the Department Acquisition Ombudsman. Concerns, issues, disagreements, and recommendations which cannot be resolved at a contracting activity level may be referred to the Department of State Acquisition Ombudsman at (703) 516-1680, by fax at (703) 875-6155, or write to: Department of State, Acquisition Ombudsman, Office of the Procurement Executive (A/OPE), Suite 603, SA-6, Washington, DC 20522-0602.

L.8	MAGNITUDE OF CONSTRUCTION PROJECT

It is anticipated that the range in price of this contract will be: Between $100,000 and $250,000 (equivalent in Euros).

L.9	FINANCIAL STATEMENT

If asked by the Contracting Officer, the offeror shall provide a current statement of its financial condition, certified by a third party, that includes:

Income (profit-loss) Statement that shows profitability for the past three (3) years;

Balance Sheet that shows the assets owned and the claims against those assets, or what a firm owns and what it owes; and

Cash Flow Statement that shows the firm’s sources and uses of cash during the most recent accounting period.  This will help the Government assess a firm’s ability to pay its obligations.

The Government will use this information to determine the offeror’s financial responsibility and ability to perform under the contract.  Failure of an offeror to comply with a request for this information may cause the Government to determine the offeror to be nonresponsible.

SECTION M - EVALUATION FACTORS FOR AWARD

M.1	EVALUATION OF PROPOSALS

M.1.1.	GENERAL.  To be acceptable and eligible for evaluation, proposals must be prepared in accordance with Section L - INSTRUCTIONS, CONDITIONS AND NOTICES TO OFFERORS, and must meet all the requirements set forth in the other sections of this solicitation.

M.1.2	BASIS FOR AWARD.

The Government intends to award a contract resulting from this solicitation to the lowest priced, technically acceptable offeror who is a responsible contractor.  The evaluation procedures are set forth below:

(a)	INITIAL EVALUATION.  The Government will evaluate all proposals received to ensure that each proposal is complete in terms of submission of each required volume, as specified in Section L.  The Government may reject proposals which are missing a significant amount of the required information.

(b)	TECHNICAL EVALUATION. After the Initial Evaluation, the Government will review those proposals remaining for consideration to determine technical acceptability.  The Government will consider the following evaluation criteria in determining the acceptability of the technical proposal.  To be considered technically acceptable, the technical proposal must provide the information requested in Section L and conform to the requirements of the solicitation.

- The Proposed Work Information described in L.5.2.3(b).

- The qualifications and experience of the offeror’s proposed project superintendent and subcontractors.

- Experience and Past Performance (L.5.2.3.(b)).  The Government may contact references to verify the quality of the past performance.

- The performance schedule (bar chart) (Section L.5.2.3.).

- Responses to all other technical requirements contained in the solicitation.

(c)	The Government will make a responsibility determination by analyzing whether the apparent successful offeror complies with the requirements of FAR 9.1, including:

adequate financial resources or the ability to obtain them;

- ability to comply with the required performance period, taking into consideration all existing commercial and governmental business commitments;

- satisfactory record of integrity and business ethics;

- necessary organization, experience, and skills or the ability to obtain them;

- necessary equipment and facilities or the ability to obtain them; and

- be otherwise qualified and eligible to receive an award under applicable laws and regulations.

The Government reserves the right to reject proposals that are unreasonably low or high in price. Unsuccessful offerors will be notified in accordance with FAR 15.5.

M.1.3	AWARD SELECTION

The Government will review the prices of all technically acceptable firms and award the contract to the lowest priced, technically acceptable, responsible offeror.

M.2	AWARD WITHOUT DISCUSSIONS

Under FAR provision 52.215-1 (included in Section L of this RFP), award of this contract may be made based on initial proposals and without holding discussions, following FAR 15.306(a)(3).

M.3	SEPARATE CHARGES

Separate charges, in any form, are not solicited.  For example, any charges for failure to exercise an option are unacceptable.