Water Quality Working Group

Lake Tahoe Interagency Monitoring Program (LTIMP)

## Subcommittee

Next LTIMP Meeting:

WEDNESDAY April 2, 2003

@ 9:00 am to 12:00 pm

@ South Lake Tahoe City Council Chambers

# Meeting Minutes – March 5, 2003

In Attendance (29 –21) affiliations):

Rita Whitney, TRPA* 				Alan Heyvaert, TRG*

Steve Patterson, EDAW			Tim Rowe, USGS*

Philip Bachand, WWR 			Sue Norman, USFS

Michelle Kramer, WetLAB*		            Jim Heist, CDS

Kip Allander, USGS			           Jennifer Quickel, ELDOT

Kim Carr, CTC			            Roger James, WRM

Mark Palmer, High Sierra Lab/TRG		Amardeep Singh, CDS

Jason Kuchnicki, NDEP*			Carol Schupbach, ENTRIX

John Reuter, TRG				Jim Thomas, DRI

Dan Sussman, League			Chad Paul, NTCD

Robert Erlich, Lahontan			Bruce Warden, Lahontan

Lou Regenmorteric, CDM			Mary Fiore-Wagner, Lahontan

Mahmood Azad, WRC			Eric Strecker, Geosyntec

Russ Wigert, CSLT				Jeff Hauser, Ecologic

Rob Kuczynski, NDEP			Robin Eppard, RCI

John Johnston, CSUS			Dipen Patel, CSUS

Stefan Achuster, CDM

* - Attended previous meeting

The meeting was called to order, introductions were made, and the agenda was reviewed, with the Round Robin moving to the end.

Round Robin—The TRPA will be moving to a new office building on March 24, at 128 Market Street on lower Kingsbury Grade.  Phones and computers (emails) will be shut down beginning March 19-24.  The new building will have several new conference rooms that could be used by the LTIMP GROUP.  We will take a vote next meeting, any opinions either way can be sent to the chair, Rita.

### CUTREM pilot project on Chemical Dosing—Phil Bachand   This presentation by Phil is a collaborative effort by several parties, including TRG, UCD CEE, and USGS Sacramento, with funding through Caltrans and the USFS and sponsoring from the City of South Lake Tahoe.  It is one of three studies in the basin to evaluate chemically enhanced BMPs for Tahoe.  Placer County has an Absorption study with TRG and the Caltrans Storm water Treatment Pilot Program, the second presentation.  The overall goal of this study is to assess the feasibility of chemical coagulants for reducing phosphorus and fine particle loading from stormwater.  To date, this study has focused on narrowing the list of coagulants to the number considered most promising for implementation at Lake Tahoe.  Currently, this study has involved a literature review of various coagulants and technologies proceeded by exploratory bench testing in a laboratory setting.  Some evaluation criteria included what minimum dosing levels were effective at phosphorus and fine particle removal, with reasonable O&M costs, and no violations for iron standards.  The two methods used to initially evaluate chemicals are  charge titration tests and coagulation (jar) tests.  Charge titration tests  determine chemical dosing levels that efficiently reduced neutralized (destabilized) particles in solution and thus results in reduced turbidity levels.  The Coagulant (jar) tests have been used to determine phosphorus and turbidity levels that can be achieved at the charge neutralization dosing level.  From these exploratory experiments, several coagulants have been selected for futhur testing and applications for larger scales.  This will be the focus of the next laboratory testing, followed by eco-toxicity assessment, site selection and design on an actual project.   Phil had a handout of the PowerPoint; if anyone would like a copy, please contact Phil at phil@swampthing.org or 530-758-1336

Caltrans Small Scale Pilot Tahoe Basin—Kevin Murphy, CSUS-OWP The Caltrans small-scale pilot project is part of the Statewide Monitoring and Treatment Program to identify BMP effectiveness and alternate approaches to the treatment of Storm water.  It began like Phil’s with a literature search, bench and jar testing, resulting in the selection of PASS-C as the coagulant selected for treatment testing.  The next phase of the project was extensive testing of this in basically two modes, Passive and mechanized treatment.  Water from 6 separate storm events was collected in 6500-gallon containers for the testing.  The passive treatment tested filter media and sedimentation with and without chemical treatment.  The four filters tested were activated aumnia, zeolite, well-sorted fine sand, and coarse sand.  The poorest removal of nutrients was in the coarse sand and zeolite, with activated alumnia combined with fine sand filtration performing better.  The results from the passive stage still did not achieve the discharge standards.

The high technology systems combined a chemical treatment followed by Actiflo® filtration and an ion exchange system.  Many of the coagulants performed well in these tests, but the top rated was PASS-C combined with filtration and sedimentation.  Overall testing showed the nitrogen removal fell behind phosphorus even in the filtration systems.  There will be continued testing at the pilot levels as well as review of potential project sites for implementation on the large scale.

April agenda is open for topics and discussion, please send any input to Rita, there is a good possibility that it will be cancelled due to TRPA’s move, as contact with the Chairperson will be difficult in the next few weeks!