NCI-FREDERICK

INSTITUTIONAL BIOSAFETY COMMITTEE

# Minutes – Meeting April 20, 2004

NCI-Frederick

The NCI-Frederick Institutional Biosafety Committee was convened at 12:05 p.m. in the Building 549 Executive Boardroom with the following members in attendance:

Mr. Joseph Kozlovac, Secretary	       Dr. Stephen Creekmore

Dr. Bruce Crise			       Dr. Michael Baseler

###### Dr. Steve Hughes			       Dr. Donald Court

Dr. Jeanne Herring       		       Ms. Carol Ingraham Tobias

Ms. Cheryl Parrott (Ex Officio)       	       Mr. Lucien Winegar, Esq

Members not in attendance: Dr. Randall Morin, Dr. Melinda Hollingshead, Dr. Henry Hearn, and Dr. David Garfinkel

Others in attendance:  Ms. Cara Lamberson, Mr. Tom Danver, Dr. Laura Schmidt and Dr. Masaya Baba

## INTRODUCTION

Mr Kozlovac called the meeting to order.  Mr. Kozlovac gave the committee a brief summary of the public meeting he attended on April 12, 2004, regarding the addition of a chapter on biosecurity to the next revision of the CDC/NIH publication Biosafety in Microbiological and Biomedical Laboratories.  Mr. Kozlovac informed the committee that a variety of groups including The Sunshine Project provided comments.  Mr. Kozlovac informed the committee that the Sunshine Project’s comments referenced their recent survey of IBCs.  Ms. Parrott asked if this IBC responded to the request for information and Mr. Kozlovac responded that the NCI-Frederick provided copies of the IBC minutes per Section IV-B-2-a-(7) of the NIH Recombinant DNA Guidelines.

REVIEW OF PROTOCOLS

Mr. Kozlovac introduced a recombinant DNA registration submitted by Dr. Laura Schmidt entitled, Establishment of stable folliculin-expressing human renal tumor cell line and biochemical analysis.  Mr. Kozlovac informed the committee that  this protocol would utilize the Invitrogen ViraPower Lentiviral Expression System, which has been reviewed by the committee previously, to generate lentivirus stock expressing folliculin mutants of interest and transduce and select stable clones in well characterized cell lines.  Mr. Kozlovac introduced Dr. Schmidt to further explain the experiment. Dr. Schmidt indicated that Dr. Wiltrout’s Lab, which was to be used for the production of concentrated stocks, would not be utilized and all work would be conducted in lab 12-25.  Dr. Hughes expressed his dissatisfaction that the manufacturer continued to provide information on the safety of this lentiviral expression system that is misleading.  This vector, which the IBC has reviewed and approved in the past, is safe due to a deletion  in the env gene, and not because the viral genes are expressed from separate plasmids.  Separating the genetic information onto multiple plasmids does decrease the risk of recombination however recombination has been shown to occur with this type of retroviral expression system.  Dr. Hughes is concerned that individuals who are not well versed in virology and are using these vector systems could be mislead. It is a disservice for the manufacturer to lead users to believe that retroviral vectors will not recombine, giving rise to replication competent viruses, if the viral genes are expressed from separate plasmids.  Dr. Crise asked Dr. Schmidt if the lab intended to use sharps in the lab since needles are mentioned in the SOP in section B.8. a-d.  Dr. Schmidt informed the committee that the lab is not intending to use needles and that the language was taken directly out of the CDC/NIH BMBL 4th edition from BSL-2 special practices section.  Dr. Creekmore asked Dr. Schmidt if any animal work was planned in conjunction with this experiment.  Dr. Schmidt informed the committee that no animal work was being considered as part of this experiment at this time.

APPROVED

Dr. Court introduced a new pathogen registration submitted by Dr. Ronald Hornung entitled, Herpes Simplex Cytokine Polymorphism Protocol.  Dr. Court briefly discussed the study’s purpose, which is to determine if HSV infected persons that have symptoms have differences in their cytokine genes as compared to infected persons that do not exhibit symptoms and individuals that have never been infected with HSV.  The main hazard in the laboratory will be the manipulation of human blood samples.  Mr. Kozlovac stated that the laboratory is a BSL-2 facility utilizing BSL-3 practices, which was more than adequate for the proposed work.

APPROVED

Dr. Creekmore introduced a new pathogen registration submitted by Dr. Patricia Fiero entitled, Tobacco Intervention Research Clinic.  This work involves the analysis of various patient samples such as blood and other potentially infectious materials.  Dr. Creekmore stated that the employees working with this material would have the same level of risk that other clinical laboratory researchers have when working with unscreened patient isolates.  Mr. Kozlovac informed the committee that there had been some debate as to whether the NCI-Frederick IBC should review this work since it is being conducted in Rockville, however as a result of discussions with Beth Baseler, Dr. Morin, Mr. Danver and himself it was determined that the NCI-Frederick IBC would be an appropriate review body since the facility is managed and staffed by SAIC-Frederick employees.  The protocol had previously obtained Institutional Review Board (IRB) approval from the NCI.  Mr. Kozlovac stated that he has not visited the clinic.  Ms. Tobias stated that she had visited the lab and thought that it was appropriate for low risk blood manipulations.  Mr. Winnegar said that he did not see on the IRB packet whether the protocol had been approved.  Some of the members pointed out that the IRB had been signed by the IRB chair in the approvals section and had been assigned a protocol number.  Dr. Baseler expressed to the committee that he believed that it was not necessary for the IBC to know if the IRB has approved the protocol regarding to treating patients since he believed the IBC’s role is to evaluate the safety and environmental impact aspects of the research.

APPROVED

Dr. Crise introduced an amendment submitted by Dr. Jinhua Lu to add additional laboratories to pathogen registrations P190701JLA01 and P180303JLA01, which deal with the culture and manipulation of various adenoviral vectors.  Dr. Hughes said that ideally the existing people that are on the current registration and understand the associated risks of working with adenovirus would be the only ones that had access to the lab especially during any large scale work.  Mr. Kozlovac stated that a few of these rooms had only recently been turned over to BDP and were scheduled for minor renovation which was going to happen prior to any active work taking place in those labs.  The IBC felt that when adenovirus work was being conducted in the lab that access should be limited to only individuals that are on the registration. The PI needs to arrange for an EHS inspection of the labs, which are undergoing renovation prior to conducting active work with adenovirus.

CONDITIONALLY APPROVED

Renewal of P160192DKA03 and P16019DKB03

Dr. Hughes did not believe that these pathogen renewal registrations submitted by Dr. Douglas Kuhns both entitled, Neutrophil Monitoring Laboratory and involving work with HIV and EBV respectively did not require full committee review.  Although Dr. Hughes did not believe there are no safety issues with this particular lab, he is uncomfortable with multiple infectious agents and human samples within the same lab space.  In cases such as this the individuals working in the lab need to work with good care.

Renewal of P020799WKA01

Dr. Creekmore reviewed a renewal registration submitted by Dr. Mark Cosentino entitled, Processing of blood samples for NSABP, SELECT, PLCO and PCPT.  Mr. Winegar asked if registration renewals are compared against the registration document on file to determine if changes have been made.  Mr. Kozlovac explained that when a registration comes into EHS that it is compared to the documentation that EHS has on file to determine if there are any significant changes.  Dr. Court asked if it would be possible for EHS to provide what other registered work is being conducted in a particular laboratory when the IBC receives a new registration or a renewal registration for review.  Mr. Kozlovac stated that he felt that was a good idea and EHS would provide that information to the committee members.

Renewal of P120496BZA02

Dr. Baseler reviewed a renewal registration submitted by Dr. Berton Zbar entitled, Identification of Genes in Inherited Kidney Cancer.  Dr. Baseler had only one issue with this renewal registration in that within the overview submitted by Dr. Zbar is that it is stated, “All other SOPs as presented on the EHS website are followed”.  Ms. Lamberson informed the committee that the lack of an SOP was noted during EHS’s initial review and that Dr. Laura Schmidt who is listed as the supervisor of this project did provide an SOP to EHS after she had sent the review packets to the committee members.

Renewal of P310101MBB01

A renewal registration submitted by Dr. Tomozumi Imamichi entitled, Laboratory of Human Retrovirology, was reviewed by Ms. Tobias prior to the meeting. Ms. Tobias did not believe that this renewal needed full committee review and provided her comments to the IBC administrator via email.

Renewal of P300101WKA01 and P170394WKA03

Dr. Herring reviewed two renewal registrations submitted by Dr. William Kopp both entitled, Clinical Support Laboratory, prior to the meeting.  Dr. Herring did not believe that this renewal needed full committee review and provided her comments to the IBC administrator via email.

Renewal of P181200MBA01 and P061196MBA02

Dr. Garfinkel reviewed two renewal registrations submitted by Dr. Ligia Pinto both entitled, HPV Immunology Laboratory, prior to the meeting.  Dr. Garfinkel did not believe that this renewal needed full committee review and provided his comments to the IBC administrator via email.

OLD BUSINESS

Dr. Crise informed the committee that the amendments to registrations P190701JLA01 and P180303JLA01submitted Dr. Jinhua Lu and conditionally approved at the last meeting pending submission of additional information by the PI could be approved.  Dr. Lu adequately addressed the concerns of the IBC in his revised submission.

Mr. Kozlovac and Ms. Lamberson provided an update on the rDNA registration submitted by Dr. Wakefield which was discussed at the last meeting with approval pending the PI making IBC suggested changes to the registration and submitting additional information.  The committee felt that the additional information submitted by the PI was adequate however the IBC requested that an attendance sheet from the EHS discussion of safety issues with the animal technicians and animal care folks be placed into the registration documentation once the session had been held.

OTHER BUSINESS

Ms. Tobias briefly followed up regarding HCV vaccine clinical trials. Ms. Tobias also informed the committee that she would schedule to have OHS deliver an overview of the HIV surveillance program at an upcoming meeting.

Mr. Winegar commented on the minutes from the last meeting, which he thought reflected very well on this committee.  He stated that very often oversight committees are often criticized as granting rubber stamp approval, however due to the detailed minutes which show the thoughtful discussion of the members that no one could criticize this IBC as being a rubberstamp committee and that this was especially important due to the current scrutiny that IBC were under from various public interest groups such as the Sunshine Project.

Meeting Adjourned:  1:20 pm

Respectfully submitted,

Joseph P. Kozlovac, M.S., CBSP, RBP

Executive Secretary, NCI-Frederick

### Institutional Biosafety Committee

Approved: __________________	Randall S. Morin, Dr. P.H.

Chairman, NCI-Frederick IBC

xc:	Each Committee Member

Dr. Wiltrout

Dr. Reynolds

Mr. Eaton

Dr. Arthur

Mr. Bufter