Before using a copy of this form, verify that it is an acceptable version by checking with your Experiment Review Coordinator. 	Double-click to change the state of a checkbox, or type “X” over the box, or paste this 

EXPERIMENT SAFETY REVIEW FORM

# REVIEW NUMBER (supplied by ERC):

PRINCIPAL INVESTIGATOR: 	DATE:

GROUP:

EXT: 	E-MAIL: 	LIFE NUMBER:

| Project Title: |  |  |  |
| --- | --- | --- | --- |
| Location(s): |  |  |  |
| Proposed Start Date and Duration: |  |  |  |
| SIGNATURES: |  |  |  |
| Principal Investigator: |  |  | Date: |
| Experiment Review Coordinator: |  |  | Date: |
| ESRC Chairman: |  |  | Date: |
|  |  |  | Date: |
|  |  |  | Date: |
|  |  |  | Date: |
|  |  |  | Date: |
| Approval Department Chairperson: |  |  | Date: |
| Review/Approval Comments: |  |  |  |
| Walkthrough Signature: |  |  | Date: |
| Expiration Date (max 1 yr.): |  |  |  |
| FUA Change Required?  Y  N |  | Fire Rescue Run Card Changes Required?  Y  N |  |
| Has a NEPA Review been Performed for this Project?  Y  N |  |  |  |
| Project Termination Acceptance Signature: |  |  | Date: |
| Comments: |  |  |  |

I.	DEFINE THE SCOPE OF WORK

- Description

Describe the experiment purpose/scope. Identify all apparatus that will be used, and associated requirements. List special equipment (X-ray generators, lasers etc.) that will be used during the project. Identify measurement and test equipment, apparatus operating conditions, and required maintenance procedures as appropriate. Include calibration frequency for formal calibration requirements. Attach supporting documents such as engineering calculations, drawings and specifications.

Indicate if modification of facility is required. Include the setup and decommissioning phases of the experiment. The Work Permit Process/Form may better address the hazards & controls of the set-up and/or tear down phases. Indicate if a Work Permit will be used.

Enter text here…

- Materials Used /Waste Generated

List materials to be used and wastes generated. Refer to the BNL Chemical Management System for a complete listing of the chemicals in your locations. Include samples, chemicals, controlled substances, gases, cryogens, radioactive materials, and biological material. You may use generic chemical class descriptions for commonly used materials (e.g., organic solvents, acids). List disposal methods. Denote disposal method using the codes below.

| Materials Used & Wastes Generated | Disposal Method Type (Code below) | Estimated Quantity (provide units) |  | Estimated Annual Waste Generation |
| --- | --- | --- | --- | --- |
|  |  | Per Use | Total/Yr |  |

Note: Identify Age Sensitive materials or special handling requirements.

Disposal Method Codes:

| Air Emissions | Liquid Effluents | Wastes |
| --- | --- | --- |
| P = Point Source | S = Sanitary | H = Hazardous |
| F = Fugitive | ST = Storm water | I = Industrial (Non-hazardous waste e.g., oils) |
|  | O = Other | R = Radioactive |
|  |  | M = Mixed (Radioactive + Hazardous) |
|  |  | RM = Radioactive Medical |
|  |  | MW = Medical |
|  |  | T = Trash |

C.	Waste Minimization/Pollution Prevention

Describe how you plan to minimize generation of the wastes described above, and identify pollution prevention opportunities. Consider Ordering/using the smallest amount, using recycled material substituting non-hazardous materials. The Pollution Prevention and Waste Minimization Subject Area describes how to plan, conduct, and closeout work activities to eliminate or minimize the impact of their activities on the environment.

A plan is required here…

II.	IDENTIFY AND ANALYZE HAZARDS ASSOCIATED WITH THE WORK

In this section indicate the hazards in each class. Include the setup and decommissioning phases of the experiment.

| Physical Hazards (check all that apply) |  |  |  None |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  Cryogens |  Oxygen deficient atmosphere |  |  |  |  Noise > 85 dBA |  |
|  Fall hazards (e.g., ladders, elevated platforms, towers) |  |  |  |  |  |  |
|  Material handling equipment (e.g., cranes, hoists, forklifts) |  |  |  |  |  |  |
|  Machine shop or nonportable powered tools use |  |  |  |  |  |  |
|  Electrical hazards (exposed conductors, large batteries, capacitors, etc) |  |  |  |  |  |  |
|  Confined space |  |  |  Trenching/soil excavation |  |  |  |
|  Extreme temperatures in workplace |  |  |  Remote location |  |  |  |
|  Compressed gases (lecture bottles, cylinders, gas lines) |  |  |  |  |  |  |
|  Pressurized vessels or systems |  |  |  |  |  |  |
|  Vacuum chambers or systems with >1000 J stored energy |  |  |  |  |  |  |
|  Autoclaves or high temperature ovens |  |  |  |  |  |  |
|  Open flames |  |  |  Welding, brazing, silver soldering |  |  |  |
|  Flammable gases/liquids/solids |  |  |  Other spark producing activity |  |  |  |
|  Other (specify): |  |  |  |  |  |  |
| Chemical Hazards (check all that apply) |  |  |  None |  |  |  |
|  Carcinogens |  Highly acute toxins |  |  Reproductive toxins |  |  |  Corrosives |
|  Flammable liquids |  Flammable solids |  |  Strong oxidizers |  |  |  Oils |
|  Explosives |  Peroxidizables |  |  Pyrophoric materials |  |  |  PCBs |
|  Asbestos |  Pesticides/herbicides |  |  Controlled substances |  |  |  |
|  Highly reactive materials |  |  |  Perchlorates |  |  |  |
|  Storage or use of Beryllium or Beryllium articles. Attach Beryllium Use Review Form if checked. |  |  |  |  |  |  |
|  Toxic metals (e.g., As, Ba, Be, Cd, Cr, Hg, Pb, Se, Ag) |  |  |  |  |  |  |
|  Other (specify): |  |  |  |  |  |  |
| Radiation Hazards (check all that apply) |  |  |  None |  |  |  |
|  Sealed radioactive sources |  |  |  Windowless radioactive sources |  |  |  |
|  Dispersible radioactive materials |  |  |  Neutron-emitting radioactive sources |  |  |  |
|  Non-fissionable radioactive materials |  |  |  Fissionable radionuclides |  |  |  |
|  Ionizing radiation-generating devices (x-ray sources, accelerators) |  |  |  |  |  |  |
|  Class II, IIIa, or IIIb (visible <15mW) lasers |  |  |  Class IIIb (nonvisible >15mW) or IV lasers |  |  |  |
|  Dynamic magnetic fields >1G at 60 Hz or dynamic electric fields > 1kV/m at 60 Hz |  |  |  |  |  |  |
|  Static magnetic fields < 5 G. No Exposure Form is required |  |  |  |  |  |  |
|  Static magnetic fields > 5 G and < 600 G |  |  |  Static magnetic fields exposure. Attach Static Magnetic Fields Exposure Form when required. |  |  |  |
|  Static magnetic fields ≥ 600 G |  |  |  |  |  |  |
|  Radio frequency (RF) or Microwave sources exceeding 10 mW radiated output |  |  |  |  |  |  |
|  Infrared sources > 10 W |  |  |  Ultraviolet sources > 1 W |  |  |  |
|  Extremely low frequency (ELF) radio sources |  |  |  |  |  |  |
|  Other (specify): |  |  |  |  |  |  |
| Biological Hazards (check all that apply) |  |  |  None |  |  |  |
|  Regulated etiological agent |  |  Recombinant DNA |  |  Animals |  |  |
|  Human blood/components, human tissue/body fluids |  |  |  |  Human subjects |  |  |
|  Other (specify): |  |  |  |  |  |  |
| Offsite Work (check appropriate box) |  |  |  None |  |  |  |
|  Reviewed or controlled by ES&H programs at the offsite location |  |  |  Requires additional controls (include in the next section) |  |  |  |
| Security Issues Checklist (check all that apply) |  |  |  None |  |  |  |
|  Access controls |  |  |  Cyber security |  |  |  |
|  Classified materials or information |  |  |  Counter-intelligence work |  |  |  |
|  Import or export controls |  |  |  Personnel security |  |  |  |
|  Nuclear material control and accountability |  |  |  Valuable materials |  |  |  |
|  Other (specify): |  |  |  |  |  |  |

See Identification of Significant Environmental Aspects and Impacts Subject Area or your ECR if you need assistance completing the following table.

| Significant Environmental Aspects (check all that apply) |  None |
| --- | --- |
|  Any amount of hazardous waste generation |  |
|  Any amount of radioactive waste generation |  |
|  Any amount of mixed waste generation (radioactive hazardous waste) |  |
|  Any amount of transuranic waste generation |  |
|  Any amount of industrial waste generation (e.g., oils, vacuum pump oil) |  |
|  Any amount of Regulated Medical Waste |  |
|  Any atmospheric discharges that require engineering controls to reduce hazardous air pollutants or radioactive emissions, or are identified as a Title V emission unit, or require monitoring under NESHAP |  |
|  Any liquid discharges that require engineering controls to limit the quantity or concentration of the pollutant, or include radionuclides detectable at the point of discharge from the facility, or contain any of the chemicals listed on BNL’s SPDES permit |  |
|  Storage or use of any chemicals or radioactive materials that require engineering controls – see Storage and Transfer of Hazardous and Nonhazardous Materials Subject Area |  |
|  On-site or off-site transportation of chemicals or dispersible radioactive materials |  |
|  Any use of once-through cooling water with a flow of 4 gpm – 24 hrs/day (10 gpm – 8 hrs/day, daily use of >15 gpm for >60 days) and discharging to the sanitary sewer |  |
|  Soil contamination or activation |  |
|  Any underground pipes/ductwork that contains chemical or radioactive material/contamination |  |
|  Other environmental aspects related to your work (specify): |  |
|  Process Assessment Form required (determined by ECR or other qualified person) |  |

III.	DEVELOP AND IMPLEMENT HAZARD CONTROLS

For each hazard identified in the previous section, describe how that hazard is controlled. Identify the Engineering Controls (e.g., interlocks, shielding), Administrative Controls (e.g., procedures, RWPs) or Personal Protective Equipment (e.g., respirators, gloves; see the Personal Protective Equipment Subject Area) that will be employed to reduce hazards to acceptable levels.

The Experiment Review Coordinator, along with the Principal Investigator (PI) and Building Manager, as appropriate, will evaluate this experiment for impacts that will require an update to the Facility Use Agreement (FUA), and or Fire/Rescue Run Cards.

The PI develops and implements hazard controls in consultation with, and using feedback from, the personnel who will be performing the work.

#### A.	Physical Hazards/Controls

| ### Hazard | Controls (Administrative, Engineered, Protective Equipment) |
| --- | --- |

#### Note:	Include maintenance, inspection and testing, and formal calibration, including frequency as appropriate.

#### B.	Chemical Hazards/Controls

| ### Hazard | Controls (Administrative, Engineered, Protective Equipment) |
| --- | --- |

Note:	Refer to the Working with Chemicals Subject Area for requirements regarding particularly hazardous chemicals such as carcinogens, reproductive toxins, and highly acute toxins, including postings, decontamination plan, and address above.

#### C.	Environmental Hazards/Controls

| ### Hazard | Controls (Administrative, Engineered, Protective Equipment) |
| --- | --- |

Note:	Identify the requirements from applicable waste management subject area (hazardous, radioactive, mixed, regulated medical). List all applicable environmental permits (Suffolk County Art. XII, Title V Emission Source, etc.) and the relevant controls required by those permits.

#### D.	Radiation Hazards/Controls

| ### Hazard | Controls (Administrative, Engineered, Protective Equipment) |
| --- | --- |

Note:	List sources/materials. Attach or refer to Radiation Work Permits.

#### E.	Biological Hazards/Controls

| ### Hazard | Controls (Administrative, Engineered, Protective Equipment) |
| --- | --- |

Note:	List additional approvals/permits/reviews required (e.g., BNL Biosafety Committee approval).

#### F.	Offsite Work Hazards/Controls

| ### Hazard | Controls (Administrative, Engineered, Protective Equipment) |
| --- | --- |

Note:	List the location of all off-site work and identify any off-site organization whose ESH requirements will be followed (e.g., other DOE Labs). Indicate additional controls (not specified above) that are needed.

G.	Security Issues/Controls

| ### Issue | Controls (Administrative, Engineered, Protective Equipment) |
| --- | --- |

Note:	See the Security Checklist, and, if necessary, consult the security office at 4691 or 4496 for more information or guidance.

IV.	PERFORM WORK WITHIN CONTROLS

All work shall be performed within the controls identified within this document. It is the PI’s responsibility to ensure that this document is kept up to date. The PI should consult with the ERC as appropriate to determine if changes to this document are significant enough to require a new review/document.

If a hazard assessment may be required for this experiment, the PI should contact the ES&H Coordinator and/or the ERC for assistance. The PI should document any hazard assessments performed for this experiment in Section VI.

###### A.	Training

List all project personnel, indicating they are authorized and competent to perform the work described. List the training required for each individual. Identify any certifications or experiment-specific training required. Indicate if any project personnel are minors (under 18 yrs. of age). Contact your Training Coordinator and ES&H Coordinator as appropriate for assistance.

It is the responsibility of the PI to maintain a complete up-to-date list of personnel and their full training requirements, and to ensure that training and qualifications are maintained. A sample ESR signature form is available.

| Name | Life/Guest # | Required Training (Course or JTA code) |
| --- | --- | --- |

Note:	The BNL Training and Qualifications Web Site contains course offerings and descriptions, required training checklist, as well as employee training records.

- B.	OSHA/DOE Required Medical Surveillance

Indicate if potential exposure is in excess of trigger levels listed. Exposure evaluation and/or medical surveillance may be required. Additional training may be required for any indicated agent. See the SBMS for additional information and controls on the hazards listed.

| Regulated Hazard | Hazard Specific Training Trigger | Medical Surveillance Exposure Trigger |
| --- | --- | --- |
|  None |  |  |
|  Inorganic Arsenic | Any day above the OSHA action level (without regard to respirator use) | 30 days/year above the action level (without regard to respirator use) |
|  Biohazards (CDC/NIH/WHO listed Agent) | None | See Subject Area for guidance |
|  Cadmium | Any day above the OSHA action level | 30 or more days/year at or above the action level |
|  Lasers | Use Class IIIb or Class IV Lasers | Use Class IIIb or Class IV Lasers |
|  Lead | Any day above the OSHA action level | 30 or more days/year at or above the action level |
|  Methylene Chloride | Any day above the OSHA action level | - 30 days/year at or above the action level - 10 days/year above the 8-hour TWA PEL or the STEL - Any time above the 8-hour TWA PEL or STEL for any period of time where an employee at risk from cardiac disease or other serious MC-related health condition and employee requests inclusion in the program |
|  Noise | Any day above the ACGIH TLV | Any time equal or greater then 85 dBA TWA 8-hour dose |
|  OSHA Regulated Chemicals Acrylonitrile Benzene Benzidine 1,3 Butadiene 4-Dimethyl aminoazobenzene Ethylene oxide Ethyleneimine Formaldehyde Vinyl Chloride | Any day above the OSHA PEL | - Routinely above the action level (or in the absence of an action level, the PEL) - Event such as a spill, leak or explosion results in the likelihood of a hazardous exposure |
|  Static Magnetic Fields | Worker who routinely works in magnetic field | - Any time at ³ 0.5 mT (5 G) for Medical Electronic Device wearer - Any day at ³ 60 mT (600 G) to whole body [8 hour average] - Any day at ³ 600 mT (6000 G) to limbs [8 hour average] - Any Time at ³ 2 T (20,000 G) to whole body [ceiling] - Any time at ³ 5 T (50,000 G) to limbs [ceiling] |

##### C.	Emergency Procedures

Identify any emergency actions, procedures, or equipment that must be in place to insure personnel safety and environmental protection. Include the location of emergency shutoffs, and spill control materials.

Enter text here…

- D.	Transportation

Identify materials, hazards and controls for any on-site and off-site transportation of hazardous and/or radioactive materials. See relevant SBMS Subject Areas.

Enter text here…

###### E.	Notifications

The PI or designee should notify building occupants of any activities that might impact them or their work, and document this here. List external personnel/organizations that require notification related to experimental activities and/or to be notified of changes (e.g., a BNL Committee for review/approval, Occupational Medicine Clinic, Fire/Rescue).

Enter text here…

- F.	Termination/Decontamination

Describe any decommissioning plan, including decontamination of the area at termination of the experiment. Identify any hazards and controls, special precautions or procedures. Include chemical and waste reconciliation. Indicate if a walk-down or an ERE will be scheduled to ensure the area is suitable for future projects. Indicate if Work Permit Form/Procedure will be used.

A plan is required here…

G.	Community Involvement Issues

Identify issues that may require community involvement (see the Community Involvement in Laboratory Decision-making Subject Area) and describe the plan that addresses these issues. Attach the Community Involvement Checklist.

Enter text here…

V.	PROVIDE FEEDBACK ON ADEQUACY OF CONTROLS AND CONTINUE TO IMPROVE SAFETY MANAGEMENT

Provide comments on the review process, including this form and communication. Identify any lessons learned or worker feedback contributing to modifications/improvements to the controls or process.

Enter text here…

## VI.	ATTACHMENTS

Use this section to include any supporting documents, hazard assessments, figures, tables, etc. that were not entered into the previous sections of the form.