## Sheet1
| CDIAC BLODGETT FINAL DATA SET KEY |  |  | Top two levels moved up ~2m 26 Feb 03
Missing values are keyed at -99999
| variable | units | description | Instrument
1 | time |  | day of year
2 | hour |  | time of day
3 | wsrmy | m/s | wind speed RMY, 10.5m; moved Feb 03 to 12.5m; moved Dec 06 to 15m | Young Wind Monitor model 05103
4 | wdrmy | deg | wind direction RMY, 10.5m; moved Feb 03 to 12.5m; moved Dec 06 to 15m | Young Wind Monitor model 05103
5 | nrad | W/m2 | net radiation | Q-7.1 Net Radiometer (REBS)
6 | par | umol/m2/s | photosynthetically-active radiation | LI190SZ Quantum Sensor (LICOR)
7 | ts1 | deg C | soil temperature at 5 cm, Loc 1 | Model 107 temperature probe
8 | ts2 | deg C | soil temperature at 7.5 cm, Loc 1 | Model 107 temperature probe
9 | ts3 | deg C | soil temperature at 10 cm, Loc 1 | Model 107 temperature probe
10 | ts4 | deg C | soil temperature at 5 cm, Loc 2 | Model 107 temperature probe
11 | ts5 | deg C | soil temperature at 7.5 cm, Loc 2 | Model 107 temperature probe
12 | ts6 | deg C | soil temperature at 10 cm, Loc 2 | Model 107 temperature probe
13 | ts7 | deg C | soil temperature at 5 cm, Loc 3 | Model 107 temperature probe
14 | ts8 | deg C | soil temperature at 10 cm, Loc 3 | Model 107 temperature probe
15 | ts9 | deg C | soil temperature at 30 cm, Loc 3 | Model 107 temperature probe
16 | ts10 | deg C | soil temperature at 50 cm, Loc 3 | Model 107 temperature probe
17 | taati | deg C | air temperature Sonic 10.5m; moved Feb 03 to 12.5m | ATI Sonic Model SATI/35X
18 | tair1 | deg C | air temperature RH/T 10.5m; moved Feb 03 to 12.5m | Vaisala HMP 45AC Temp and RH Probe
19 | tair2 | deg C | air temperature RH/T 6.8m; moved Feb 03 to 8.75m | Vaisala HMP 45AC Temp and RH Probe
20 | tair3 | deg C | air temperature RH/T 4.9m | Vaisala HMP 45AC Temp and RH Probe
21 | tair4 | deg C | air temperature RH/T 3.0m | Vaisala HMP 45AC Temp and RH Probe
22 | rh1 | % | relative humidity RH/T 10.5m; moved Feb 03 to 12.5m | Vaisala HMP 45AC Temp and RH Probe
23 | rh2 | % | relative humidity RH/T 6.8m; moved Feb 03 to 8.75m | Vaisala HMP 45AC Temp and RH Probe
24 | rh3 | % | relative humidity RH/T 4.9m | Vaisala HMP 45AC Temp and RH Probe
25 | rh4 | % | relative humidity RH/T 3.0m | Vaisala HMP 45AC Temp and RH Probe
26 | tn1 | deg C | needle temperature | T type thermocouple
27 | tn2 | deg C | needle temperature | T type thermocouple
28 | tn3 | deg C | needle temperature | T type thermocouple
29 | sh2o1 | % by vol | soil moisture at 10 cm | CS615 Water Content Reflectometer
30 | sh2o2 | % by vol | soil moisture at 30 cm | CS615 Water Content Reflectometer
31 | sh2o3 | % by vol | soil moisture at 50 cm | CS615 Water Content Reflectometer
32 | shf1 | W/m2 | soil heat flux | HFT-3 Soil Heat Flux Plate (REBS)
33 | shf2 | W/m2 | soil heat flux | HFT-3 Soil Heat Flux Plate (REBS)
34 | shf3 | W/m2 | soil heat flux | HFT-3 Soil Heat Flux Plate (REBS)
35 | pressure | mbar | pressure | CS105 Barometric Pressure Sensor
36 | rain | cm | Rain fall | Met-One 385 Heated Rain Gauge (tipping bucket)
37 | h2o1 | mmol/mol | H2O concentration, RH/T 10.5m; moved Feb 03 to 12.5m | Vaisala HMP 45AC Temp and RH Probe
38 | h2o2 | mmol/mol | H2O concentration, RH/T 6.8m; moved Feb 03 to 8.75m | Vaisala HMP 45AC Temp and RH Probe
39 | h2o3 | mmol/mol | H2O concentration, RH/T 4.9m | Vaisala HMP 45AC Temp and RH Probe
40 | h2o4 | mmol/mol | H2O concentration, RH/T 3.0m | Vaisala HMP 45AC Temp and RH Probe
41 | h2oe | mmol/mol | H2O concentration, eddy 10.5m; moved Feb 03 to 12.5m | LICOR 6262
42 | o3s | ppb | ozone concentration, 10.5m; moved Feb 03 to 12.5m | Dasibi 1008-AH [Backup: 1008-RS]
43 | co2e | ppm | CO2 concentration eddy 10.5m; moved Feb 03 to 12.5m | LICOR 6262
44 | co2p1 | ppm | CO2 concentration, profile 10.5m; moved Feb 03 to 12.5m | LICOR 6262
45 | co2p2 | ppm | CO2 concentration, profile 6.8m; moved Feb 03 to 8.75m | LICOR 6262
46 | co2p3 | ppm | CO2 concentration, profile 4.9m | LICOR 6262
47 | co2p4 | ppm | CO2 concentration, profile 3.0m | LICOR 6262
48 | co2p5 | ppm | CO2 concentration, profile 1.2m | LICOR 6262
49 | fh2o | moles/m2/hr | H2O flux, 10.5m; moved Feb 03 to 12.5m
50 | fco2 | mmol/m2/hr | CO2 flux, 10.5m; moved Feb 03 to 12.5m
51 | fmom | m2/s2 | momentum flux, 10.5m; moved Feb 03 to 12.5m
52 | fsensht | W/m2 | sensible heat flux, 10.5m; moved Feb 03 to 12.5m
53 | flatht | W/m2 | latent heat flux, 10.5m; moved Feb 03 to 12.5m
54 | vpdef | kpa | vapor pressure deficit