Measuring HF (2-30 MHz) Radars using ITU-R M.1177 and Time Sampling Techniques

1.  Background

International Telecommunications Union Radiocommunication Sector (ITU-R) Recommendation M.1177 has been developed within Working Party 8B as a technique to measure the emissions of primary radar systems. The measurement techniques in M 1177 have been used by the United States administration for over 20 years, in various configurations of hardware and software equipment to support its regulatory aspects of the Radar Spectrum Engineering Criteria (RSEC). The recommendation uses a stepped frequency technique, where the computer controlled spectrum analyzer is set to a zero span mode and, using a peak detector, the emissions are measured in a resolution bandwidth consummate with the radar system parameters to obtain a precise power measurement. A complete radar emission measurement is made by stepping the analyzer through many frequencies to make a plot of frequency versus power in dBm. The measurement system frequency stepping interval is normally equal to or less than the measurement bandwidth. The stepping time interval is determined empirically for individual radar modes, but is always be set long enough to ensure that the radar fundamental tuned frequency visits the measurement frequency (for the center part of the spectrum; the same interval will be used for the out-of-band and spurious parts of the spectrum).

The measurements that the United States administration has performed over the years using the stepped frequency methodology have concentrated on radars operating at frequencies above 500 MHz. These have been radars with pulsed and FM pulsed and phase coded modulations. The measurement technique had not been used for frequency modulated continuous wave (FMCW) radars or for radars operating at High Frequency (HF) (2-30 MHz).

At the November meeting of International Telecommunications Union- Radiocommunciation Sector (ITU-R) JRG-1A/1C/8B in Mainz, Germany, questions were raised as to the applicability of the measurements techniques in M1177 to FMCW waveforms, and whether or not a direct frequency measurement could be made at HF for radar systems. Some delegates suggested that M1177 could not be used with FMCW radars, and that environmental factors (sky noise, power lines, ignition noise,.etc) would corrupt the measurement system itself not permit a direct measurement in the frequency domain. They suggested that a time-sampled waveform transformed to the frequency domain using a Fast Fourier Transform (FFT) was more appropriate.

### To investigate and resolve these issues, the United States agreed at the JRG meeting to undertake a set of measurements on HF FMCW and FM pulsed radars to test the different measurement techniques. A group of HF radars were identified for measurement. The radars are pulsed/gated or FMCW radars, and operate at one of three center frequencies in the HF band known as COastal raDAR (CODAR). CODAR radars are used to measure the surface currents of the coastal ocean. A transmitter sends out a radio frequency that scatters off the ocean surface and back to a receive antenna. Using this information and the principles of the Doppler shift, CODAR radars are able to calculate the speed and direction of the surface current. These radars operate on an experimental basis, since there is no allocation for radars operating in the HF band. In addition, they are low power and would be exempt from the US RSEC regulations.

The measurements were conducted by the United States administration in/around Sandy Hook, New Jersey, at three CODAR sites operated by Rutgers University, and at the Rutgers University Campus, also in New Jersey.

2. Objective

The objectives of these measurements were to:

- Perform emission measurements in various ways to determine to best way to accurately collect the spectrum data of an HF FMCW and FM pulsed radars;

- Perform emission measurement on an FMCW radar to determine the correct slope of the spectrum roll-off from the -40 dB bandwidth;

- Perform emission measurements on HF ocean observing radars for use in future work on frequency allocation and regulatory status of CODARS.

3. CODAR Characteristics

The radar that was measured is an ocean observing HF radar.  It operates in 2 modes, a FMCW mode, and a gated mode.  The radar has three different operating frequencies, 4.53 MHz, 13.46 MHz, and 24.65 MHz.  A list of the parameters of each waveform is shown in Table 1.  All FMCW waveforms have the same structure, with the difference being in the waveform parameters.  The same is true for the gated waveforms.  These structures are shown in Figure 1, with the FMCW waveform being the top picture, and the gated waveform being the bottom picture.  At 4.53 MHz, the FMCW waveform has a 25.6 kHz bandwidth, and a sweep time (Tsweep of Figure 1) of 1 second.  This leads to a chirp rate of 25.6 kHz/second.  When operating in the gated mode, this waveform uses a pulse period (Tpulseperiod from Figure 1) of 1946 us with a 50 % duty cycle.  At the 13.46 MHz center frequency, the FMCW waveform has 49.4 kHz bandwidth, and a sweep time of 0.5 seconds.  This leads to a chirp rate of 98.8 kHz/second.  When operating in the gated mode, this waveform uses a pulse period of 669 us, with a 50 % duty cycle.  At the 24.65 MHz center frequency, the bandwidth is 101 kHz, with a sweep time of 0.5 seconds.  This waveform has a chirp rate of 202 kHz/second.  When in the gated mode, the pulse period of 486 us, with a 50 % duty cycle.

Table 1

List of Parameters of the HF Waveforms

| Center Frequency (MHz) | Sweep Bandwidth( kHz) | Sweep Time (Tsweep) Seconds | Pulse Period (Tpulseperiod) (µs) | Duty Cycle |
| --- | --- | --- | --- | --- |
| 4.53 | 25.6 | 1 | 1946 | 50 % |
| 13.46 | 49.4 | 0.5 | 669 | 50 % |
| 24.65 | 101 | 0.5 | 486 | 50% |

Figure 1 – Waveform structure of the HF radar.

The top picture represents the FMCW signal, and the bottom picture represents the gated signal.

4. Measurement Setup

Table 2 contains the list of equipment that was used to perform the measurements.  The system was transportable and a van was used to rack mount the equipment in the field.

Table 2.

Equipment List for HF Radar Test.

| Measurement Device | Model/Unit Description. | Specification |
| --- | --- | --- |
| Pre-selector/preamplifier | HP-85685A | 10 kHz – 1 GHz |
| Spectrum analyzer controller computer | generic | High-speed laptop running NTIA radar measurement software |
| Spectrum Analyzer | HP-8563A |  |
| Spiky discone antenna | Tecom 201191 | 20 Hz-1 GHz |
| Spiky discone antenna |  | 1-50 MHz |
| Noise diode for Y-factor calibrations | Noisecom or equivalent | Up to 26 GHz |
| Vector Signal Analyzer | Agilent | Up to 26 GHz |

4.1 Test Conditions

The temperature was around 20 degrees Fahrenheit with some snow on the ground. For the last two measurements the other radars were turned off, once a harmonic was observed in the spectrum. The gated radars were measured at Sandy Hook State Park in a dune area. Measurements of the FMCW system were made near the COOL laboratory in a loading dock area.

4.2 Measurement System Calibration

Calibration of the system was performed with a noise diode over all frequencies of interest.  The calibration routine is contained in NTIA Report TR-05-420, “Measurement Procedures for the Radar Spectrum Engineering Criteria (RSEC).”

5. Emission Characteristics Measurements

CODAR Emission characteristics were made in the frequency domain (spectrum) using the spectrum analyzer and in the time domain using the Vector Signal Analyzer. A pre-selector/preamplifier was used at the input to the spectrum analyzer.  This improved the measurement system noise figure to approximately 7-9 dB.

Linearity of the measurement system was checked periodically by inserting and removing attenuation at the measurement system front end. The linearity checks verified that feed-through into the spectrum analyzer was not affecting the measurement, and verified that the external low-noise preamplifier was not exhibiting gain compression. A diagram of the test set-up is shown below in Figure 2.

5.1 Spectrum Measurement Modes

The radar spectrum for each waveform was measured in using 2 techniques.  One technique is the standard NTIA stepped-measurement technique outlined in TR-05-420 and ITU-R M.1177.  The second technique is similar, however it dwells longer (5 to 8 times) than stated in either TR-05-420 or ITU-R Recommendation M.1177 and uses the VSA to time sample the radar waveform long enough to capture many waveform sweeps.

Figure 2

Diagram of Test set-up

5.1.1 Frequency Domain Measurements with Peak Detection

The spectrum analyzer measurement resolution bandwidth, defined in TR-05-420, is equal to 1 kHz for the FMCW mode.  For the gated mode, based on the given pulse period, the measurement bandwidths should be 3.6 kHz or less for the 4.53 MHz center frequency waveform, 8.6 kHz or less for the 13.46 MHz center frequency waveform, and 14.4 kHz for the 24.65 MHz center frequency waveform.  These were found by setting Bc equal to the chirp bandwidth, andequal to the total pulse period.

The measurement resolution bandwidth was then defined as being equal to or less than.  All the measurement bandwidths are summarized in Table 4. Figures 3 through 6 show the measurements of the radar waveforms made using the M1177 techniques in the frequency domain.  Note that high power external interference has been removed from the peak-detected measurements from the 13.46 MHz gated FMCW waveform.

Table 4

Measurement Bandwidths for the HF Radar Modes

| Center Frequency | FMCW Measurement Bandwidth | Gated Mode Measurement Bandwidth |
| --- | --- | --- |
| 4.53 MHz | 1 kHz | 3.6 kHz |
| 13.46 MHz | 1 kHz | 8.6 kHz |
| 24.65 MHz | 1 kHz | 14.4 kHz |

Figure 3

Emission Plot of Gated Waveform at 4.5 MHz

Distance between measurement antenna and radar antenna was 60 feet

Figure 4

Emission Plot of Gated Waveform at 13.46 MHz

Distance between measurement antenna and radar antenna was 300 feet

Figure 5

Emission Plot of Gated Waveform at 24.65 MHz

Distance between measurement antenna and radar antenna was 60 feet

Figure 6

Emission Plot of FMCW non-continuous Phase Waveform at 13 MHz

Distance between measurement antenna and radar antenna was 60 feet

5.1.2 Corrections for Bandwidth in Peak Power Measurements

For measurements of peak power in which the measurement bandwidth is equal to or wider than the inverse of the radar pulse width, there will be no correction for radar peak power--the measured power value accurately indicates the maximum power incident.

For cases in which the inverse of the radar pulse width exceeds the measurement bandwidth, the incident power level will be computed as 20log of the ratio of the radar emission bandwidth (essentially the inverse of the pulse width) and the measurement bandwidth.

As an example, if the radar pulse width is 50 ns (which equates to an emission bandwidth of 20 MHz), and the measurement bandwidth is 8 MHz, then the correction will be 20log(20/8).

As a second example, if the radar pulse width is 20 ns (which equates to an emission bandwidth of 50 MHz), and the measurement bandwidth is 8 MHz, then the power correction value will be 20log(50/8).

5.2 Time Waveform Measurements

For the time domain measurements, data is needed that has not been envelope detected (i.e. both the amplitude and phase information is needed).  Taking the FFT of time sampled data allows it to be transformed to the frequency domain to see how this technique of spectrum measurement compares with the technique in ITU-R Recommendation M.1177.  The time sampling of the radar waveforms was accomplished with an Agilent Vector Signal Analyzer. Each radar waveform was sampled long enough (8-10 seconds) to ensure that hundreds of sweeps were recorded. The time and sampling rate for each signal using the VSA is shown below in Table 5.  The VSA recorded its data in a file format that was easily readable by Matlab.  A pre-amplifier/selector was not used in these measurements so it does not have the same dynamic range as the frequency domain measurements. The VSA was directly connected to the cable coming from the measurement antenna. Software is till being developed for using the VSA with the pre-selector that was used in the analyzer for the frequency domain measurements.

Table 5

VSA Parameters

| Waveform | Sampling Time | Sampling rate |
| --- | --- | --- |
| 4.53 MHz Gated | 390.6 ns | 2.56 MHz |
| 13.46 MHz Gated | 390.6 ns | 2.56 MHz |
| 24.65 MHz Gated | 260.4 ns | 3.84 MHz |
| 13.46 MHz FMCW | 1.95 us | 512 kHz |

The FFT process was accomplished in Matlab, and plots of the results are shown in Figures 7 through 10.  Figure 7 shows the HF Gated FMCW waveform at 4.53 MHz center frequency.  To get a correct estimate of the frequency, 520 pulses were needed in the FFT.  This is because the frequency sweep (Tsweep from Figure 1) takes approximately 514 pulses (Tpulseperiod from Figure 1) to complete 1 cycle.  Therefore, by taking slightly more pulses, the entire frequency domain of the radar could be represented.  The same holds true for the other Gated FMCW waveforms, where they needed 750 pulses (13.46 MHz center frequency waveform, Figure 8) and 1030 pulses (24.65 MHz center frequency waveform, Figure 9) to show the entire frequency content of the waveform.  Figure 10 shows the HF FMCW waveform at 13.46 MHz center frequency.

Figure 7

FFT of time sampled, HF Gated FMCW waveform at 4.53 MHz.

Figure 8

FFT of time sampled, HF Gated FMCW waveform at 13.46 MHz.

Figure 9

FFT of time sampled, HF Gated FMCW waveform at 24.65 MHz.

Figure 10

FFT of time sampled, HF FMCW waveform at 13.46 MHz.

6.	Discussion of Test Results

A discussion of the frequency domain and time domain measurements is contained in the following paragraphs. A comparison of the two methods is discussed in JRG paper “Comparison of Radar Emissions using M1177 and Time Sampled Techniques”.

6.1	Frequency Domain Measurements with M1177

The plots of the radars emissions using the technique in M 1177 show that it is a valid for measuring HF radars, if the measurement system is properly designed and operated. In cases where the measurement system antenna was placed close enough to the radar transmitter, the dynamic range of the measurements was on the order of 70 to 80 dB. This is more than enough dynamic range for regulatory purposes to measure the radar’s fundamental, out-of band, and spurious emissions components. The results show that stepped frequency technique used in M1177 does not need to be modified to accommodate HF radars. The methodology and techniques within it are fine for measuring HF radars.

Some delegates questioned whether or not radar measurements at HF frequencies would be corrupted by noise form external natural and man made sources. Although some extraneous signals were present during the measurements, they were easily identifiable from the radar emissions and could easily be removed from the data post processing. In some cases, by simply re-measuring a part of the spectrum that had an anomaly during the measurement, the extraneous signals could be removed real-time.

  - Time Domain Measurements with VSA

Plots of the radar emissions obtained by using a FFT to transform the time sampled data to the frequency domain show that the spectrum can be obtained in that manner. However, unlike with the frequency domain measurements, it is not possible to review the time sampled data real-time for a specific frequency component to verify that the measurement system is still operating in a linear mode nor is it possible to re-measure any part of the spectrum that appears to be corrupted by extraneous signals.  The time-sampled data is obtained “all at once” due to its sampling nature. Furthermore, the resolution bandwidth, sampling time and sampling rate of the VSA must be carefully chosen to insure that enough signal components can be obtained to transform the signal to the frequency domain for regulatory applications. Clearly, these types of measurements need more investigation before they can be applied to such purposes.