Guidelines for submission of genomic DNA to the DOE Joint Genome Institute

The JGI has sequenced over 650 prokaryotic, eukaryotic and metagenomic projects and finished over 250 genomes.  DNA quality (molecular weight and purity) and quantity have always been the two most critical factors in the success of the sequencing projects.  If you cannot meet the JGI specifications for DNA or have questions or concerns, please contact your project manager or jgi_project_management@lanl.gov

JGI Starting Material Specifications: Quality: (1) purity

For prokaryotes, the starting culture should be axenic, strain pure, and started from a single colony or from a culture diluted to extinction.  It may not be possible to assemble a genome that is not derived from an axenic and strain pure culture.  If an axenic and strain pure culture is not possible, description and justification is required.

For eukaryotes, the starting DNA should be free of contaminants and/or symbionts, should have < 5% organelle DNA, and < 1% polymorphism wherever possible. If a haploid form for the organism exists this is preferable.   It may not be possible to assemble a genome that is derived from a contaminated or polymorphic sample.

Watch out for other types of contamination – RNA blobs and discrete bands require clean-up. Please refer to the recommended RNAse I clean-up protocol: http://my.jgi.doe.gov/index.html.  In some cases, the presence of some impurities (polysaccharides or proteins) can be predicted by examining the way DNA fragments migrate (or do not migrate) in an agarose gel.  If most of the DNA fragments form a streaky pattern or get stuck on top of the wells, the level of impurities contamination may cause problems in the shearing and the clonability of the DNA.

JGI Starting Material Specifications: Quality: (2) molecular weight

Molecular weight of the DNA sample decides the insert size of the library we can construct.  Most of the DNA preparation protocols should be able to generate around 100Kb fragment size DNA.  For projects in need of a fosmid library we request that the majority of the DNA fragments be greater than 40Kb in size.  JGI will run a pulsed-field gel to determine the sample size range.

For other types of libraries (small insert size Sanger, 454 Titanium paired-end, etc), we believe that HMW DNA will give a better chance of constructing a high quality library.  We will not generally accept samples with most DNA fragments smaller than 20Kb in size or heavily degraded DNA samples; please contact your project manager to discuss this requirement.

JGI Starting Material Specifications: Quantity

For Sanger sequencing, we request 5 ug of DNA for constructing a 3Kb library, 10 ug of DNA for constructing an 8Kb library, and 30 ug of DNA for a fosmid library.  Additional sample is needed if more than one attempt of library construction is needed. For a eukaryotic whole genome shotgun project, we generally request 100 ug of DNA, enough for at least two attempts of each of the three insert size libraries.  For plant genomes, we request even more DNA because multiple fosmid libraries are usually needed.

For 454 sequencing, 5 ug is needed for each Titanium shotgun library and 15 ug is needed for each Titanium paired-end library.

For Illumina sequencing, 5 ug is needed for each library.

The current process for sequencing prokaryotic genomes includes the construction of 3 libraries (Titanium shotgun, Titanium paired-end, and Illumina).  We generally request 50 ug of prokaryote DNA so that we would have enough DNA for two attempts of each of the three libraries.  The concentration of the DNA must be >= 50 ng/ul as judged by agarose gel / mass standards.

Please discuss with your project manager if you do not have enough material.  We may be able to work with the DNA you have as long as efforts are ongoing to prepare more DNA.  We realize these DNA quantities may not be possible for environmental samples, but the project will have the best chance for success if this amount can be sent. In some cases, JGI may be able to amplify the DNA.

JGI Starting Material Specifications: Shipping

Prior to shipping samples to the JGI, the Collaborator Sample Information (CSI) form must be completed and submitted on-line (https://my.jgi.doe.gov/csi/user/login).  A well-labeled gel image of your DNA prep is required as part of the submission. See the “Genomic_DNA_QC_Guides.pdf” file for detailed instructions on running the QC gel, or find the complete JGI protocol at http://my.jgi.doe.gov/index.html.  Gel images that do not contain the appropriate size and mass standards will not be approved for shipping.

Format for shipping in order of preference:

- Resuspended in TE (10 mM Tris, ph 7.5 – 8, EDTA 0.1 mM) at >= 50 ng/ul shipped on dry ice

- Ethanol pellet shipped at RT or on wet ice.  Note some ethanol pellets the JGI has received will not spin down and resuspend.

- Dry pellet shipped at RT or on wet ice.  Note that most dry pellets the JGI has received will not resuspend.

DNA should be shipped to the JGI in one tube.  The tube should be legibly labeled with genus, species, strain, date and project number (this will be provided after the sample has been approved for shipping). If the DNA is prepared in multiple preps, each prep should be QC’ed separately, and good preps pooled into one tube for shipping to the JGI.

Please Note: JGI procedures such as CTAB for isolating prokaryotic HMW gDNA and various eukaryotic HMW protocols are available on the following website: http://my.jgi.doe.gov/index.html