Appendix B

|  | Laboratory Scientific Notebook Review Worksheet | Form Number: NP 20-2-1 Page 1 of ___ |
| --- | --- | --- |
| Laboratory Scientific Notebook Title: |  |  |
| PI: |  |  |
|  | Technical Reviewer Name (printed) |  | Signature |  |  | Date |  |
|  | QA Reviewer Name (printed) |  | Signature |  |  | Date |  |
| Technical Review |
| Requirements/Criteria | CRITERIA MET | Comments |
|  | Yes | No | N/A |  |
| 1. Does the SN show the work related to one single investigation, analysis, or project? |  |  |  |  |
| 2. Is there a statement of the objectives and description of work to be performed? |  |  |  |  |
| 3. Are there enough details regarding the work performed, the observations made, and the results obtained to assure reproducibility? |  |  |  |  |
| 4. Are the methods used clearly identified? |  |  |  |  |
| 5. If methods, procedures, or planning documents were modified, were the changes described appropriately? |  |  |  |  |
| 6. Are preliminary data used in the investigation identified? |  |  |  |  |
| 7. Are the manufacturer names, lot numbers, expiration dates (if applicable) of chemicals used to prepare samples, and any specific non-standard handling control and maintenance identified? |  |  |  |  |
| 8. Are all instrument anomalies and maintenance activities observed or analytical problems encountered during data collection clearly documented? |  |  |  |  |
| 9. Were at least three NIST traceable standards, covering the range of expected measurements, used for calibration? (NP 13-1 Section 2.4) |  |  |  |  |
| 10. Are the experimental conditions and environmental conditions of the laboratory documented? |  |  |  |  |
| 11. Are potential sources of uncertainty and error in test plans, procedures, and parameters identified? |  |  |  |  |
| 12. Did you check a sample of calculation? |  |  |  |  |
| 13. Are data, tables, figures easily understood? |  |  |  |  |
| 14. Are units appropriately included (e.g. in tables, calculations, graphs) |  |  |  |  |

|  | Laboratory Scientific Notebook Review Worksheet | Form Number: NP 20-2-1 Page ___ of ___ |
| --- | --- | --- |
| QA Review |
| Requirements/Criteria | CRITERIA MET | Comments |
|  | Yes | No | N/A |  |
| 1. Is the SN referenced in the SND? |  |  |  |  |
| 2. Have the notebook users completed the Qualification and Training form NP 2-1-1? |  |  |  |  |
| 3. Have the notebook users completed the training module for Scientific Notebooks procedure (NP 20-2)? |  |  |  |  |
| 4. Is the appropriate planning document (e.g. Test Plan) active? |  |  |  |  |
| 5. Is the most current version of the planning document (e.g. Test Plan) being used? |  |  |  |  |
| 6. Is the appropriate planning document identified in the SN? |  |  |  |  |
| 7. Are the name, signature, and initials of each individual making entries in the SN documented? |  |  |  |  |
| 8. Is the name of the responsible PI documented? |  |  |  |  |
| 9. Are any previous and/or subsequent SNs identified and documented? |  |  |  |  |
| 10. Are the measuring and test equipment identified (including serial number)? |  |  |  |  |
| 11. Are all the measuring and test equipment calibrated or checked for calibration before every use? |  |  |  |  |
| 12. Is there an indication of the acceptance/tolerance limit for calibration or calibration check of each instrument? |  |  |  |  |
| 13. Are the computer programs used (name, version, platform) identified? |  |  |  |  |
| 14. Are the manufacturer names, lot numbers, expiration dates (if applicable) of chemicals used to prepare samples, and any specific non-standard handling control and maintenance identified? |  |  |  |  |
| 15. Does each sample have a unique identification? |  |  |  |  |
| 16. If standard materials have been prepared to calibrate or check instrument calibrations, does each standard used to calibrate and check instrument have a unique identification? |  |  |  |  |
| 17. Are loose materials contained in the SN permanently attached inside the SN, and labeled with the SN title and page number of the SN where the material is attached? |  |  |  |  |
| 18. Are the corrections in the notebook line out and initialed in accordance with NP 17-1? |  |  |  |  |
| 19. Are associated SNSs documented and identified? |  |  |  |  |
| 20. Are all technical reviews documented on a DRC? |  |  |  |  |
| 21. Was the technical reviewer “independent”? |  |  |  |  |
| 22. Is the frequency of this SN review appropriate? |  |  |  |  |