NATURAL RESOURCES CONSERVATION SERVICE

CONSERVATION PRACTICE CONSTRUCTION SPECIFICATION

STRUCTURE FOR WATER CONTROL - METAL FABRICATION, CLEANING, PAINTING AND INSTALLATION

CODE 587MF

- SCOPE

The work shall consist of furnishing, fabricating, and erecting metalwork, including the metal parts and fasteners of composite structures.  The work also consists of cleaning metal surfaces and applying paints and protective coatings.

- METAL MATERIAL

The metalwork shall be fabricated with the material identified on the drawings and in accordance with the following:

Structural Steel

Structural steel shall conform to the requirements of ASTM A 36.  High-strength low-alloy structural steel shall conform to ASTM A 242 or A 588.  Carbon steel plates of structural quality to be bent, formed, or shaped cold shall conform the ASTM A 283, Grade C.  Carbon steel sheets of structural quality shall conform to ASTM Standard A 570, Grade D or A 611, Grade D.  Carbon steel strip of structural quality shall conform to ASTM Standard A 570, Grade C.

Commercial or Merchant Quality Steel

Commercial or merchant quality steel shall conform to the requirements of the applicable ASTM listed below:

Product					ASTM Standards

Carbon steel bars				A 575, Grade M 1015 to Grade M 1031

Carbon steel sheets				A 569

Carbon steel strips				A 569

Zinc-coated carbon steel sheets			A 653 or A 924

Aluminum Alloy

Aluminum alloy products shall conform to the requirements of the applicable ASTM Standard listed below.  Unless otherwise specified, alloy 6061-T6 shall be used.

Product					ASTM Standard

Standard Structural Shape			B 308

Extruded structural pipe and tube		B 429

Extruded bars, rods, shapes and tubes		B 221

Drawn seamless tubes				B 210

Rolled or cold-finished bars, rods and wire	B 211

Sheet and plate					B 209

Bolts

Steel bolts shall conform to the requirements of ASTM Standard A 307.  If high-strength bolts are specified, they shall conform to the requirements of ASTM A 325.

When galvanized or zinc-coated bolts are specified, the zinc coating shall conform to the requirements of ASTM Standard A 153; except that bolts 1/2 inch or less in diameter may be coated with electro-deposited zinc or cadmium coating conforming to the requirements of ASTM Standard B 633, Service Condition SC 3 or ASTM A 165, Type TS, unless otherwise specified.

Rivets

Unless otherwise specified, steel rivets shall conform to the requirements of ASTM Specification A 502, Grade 1.  Unless otherwise specified, aluminum alloy rivets shall be Alloy 606-T6 conforming to the requirements of ASTM Standard B 316.

- PAINT MATERIAL

The term “paint” as used herein includes emulsions, primers, enamels, stains, varnishes, sealers, and other coatings, whether used as prime, intermediate, or finish coat.  Proprietary names are not intended to imply that products named are required, or to exclude equal products of other manufacturers.  Unless otherwise specified or shown on the drawings, the following shall apply:

Metal Priming

Items specified to be galvanized shall be completely fabricated for field assembly before the application of the zinc coatings.  The metal priming paint for use on galvanized or zinc surfaces shall be a zinc dust-zinc oxide primer conforming to Federal Specification TT-P-641.  The following may be incorporated in the work:

Sherwin-Williams Galvanized Iron Primer, B50A1

The metal priming paint for use on all other surfaces shall meet Federal Specification TT-P-636 The following may be incorporated in the work:

Wellborn TT-P-645 Primer

Sherwin-Williams Kem-Kromik Primer B50W1 (white) or B50N2 (brown), or Kem-Flash E61A45

Rust Oleum 7773 Primer or 773 Industrial Primer

Top Finish Coats

Top finish coats shall meet Federal Specification TT-E-489 or TT-E-529.  The following may be incorporated in the work:

Wellborn Qwik Gloss, All Purpose Enamel, or #90 Semi Gloss

Sherwin-Williams Gloss Metalastic II Enamel, B53 Series, or Industrial Enamel, B54 Series

Rust-Oleum New Color Horizons High Gloss Finishes

Rust-Oleum Topcoat (i.e., 7771-Sand)

Aluminum paint shall meet AASHO M69-70 Specifications.  The following may be incorporated in the work:

Sherwin-Williams Silver-Brite No. B59S2

Pittsburgh No. 22-30 Metaleaf Aluminum

- FABRICATION

The metalwork shall be fabricated to the dimensions shown on the drawings

Galvanized items shall not be cut, welded, or drilled after the zinc coating is applied.

- CLEANING

Surfaces to be painted shall be thoroughly cleaned prior to the application of the paint.  All grease and oil shall be removed from the metal surface by steam cleaning or by solvent cleaning.  All dirt, surface rust, and loose scale shall be removed by wire brushing, flame cleaning, use of rotary abrading tools, or light sand blasting.

- PAINTING

Paint shall not be applied when the temperature of the item to be painted or of the surrounding air is less than 45 °F.  Painting shall be done only when the humidity and temperature of the surrounding air and the temperature of the metal surfaces are such that evaporation rather than condensation will result.

Surfaces shall be painted immediately after cleaning.

One priming coat is required and may be applied by brush or spray.

A minimum of two finish coats is required.  Additional finish coats may be necessary to attain a total dry-film thickness of 6 mils.

The drying time between coats shall be as prescribed by the paint manufacturer, but not less than that required for the paint film to thoroughly dry.  The elapsed time between coats shall not exceed 60 hours.

The finished surface of each coat shall be free from runs, drops, ridges, laps, or excessive brush marks, and shall present no variation in color, texture, and finish.

- MEASUREMENT

Metal fabrication, cleaning, painting, and installation will be measured by the job.

Project Name:

Date:

- ITEMS OF WORK AND CONSTRUCTION DETAILS

Items of work to be prepared in conformance with this specification and the construction details are: