1.0	Executive Summary

In this white paper, we describe the proposed design of Grid West Transmission Rights Reconfiguration Service (RCS) which is intended to facilitate acquisition and trading of transmission rights by Grid West participants as well as to help Grid West with the operation of the Grid West Managed Transmission System (GWMT) in cooperation with the Grid West transmission owners.

The principal attributes of the proposed Grid West Reconfiguration Service are as follows:

- Transmission rights that are offered into RCS are first translated into standardized tradable instruments called "Injection/Withdrawal Rights (IWRs)" to facilitate their trading;

- In RCS Grid West trades IWRs through a centralized flow based clearing auction that combines the IWR offers and the GWMT Available Flow Capacities (AFCs) to match IWR bids;

- The RCS auction objective is to maximize the value of IWR trades; hence, priority to buy IWRs goes to those who value these IWRs the most (bid highest prices for them) and priority to sell IWRs to those who offer to sell them at lowest prices;

- Grid West participants who choose not to participate in RCS, retain their existing transmission rights (ETRs) and their associated scheduling flexibilities, if applicable;

- Grid West participants can choose not to offer their IWRs, whether voluntarily translated from their existing rights or acquired through other mechanisms, into RCS;

- Grid West participants who voluntarily translate part or all of their existing rights into IWRs then choose not to offer such IWRs into RCS, retain their existing transmission rights and their associated scheduling flexibilities;

- Grid West participants who hold existing scheduling flexibilities (ESFs) can offer all or part of those flexibilities directly into the Day-Ahead RCS process for trading;

- In RCS, Grid West trades IWRs of various durations, from one hour to one year, through multiple RCS timelines in order to enable Grid West participants to acquire IWRs in a timely fashion;

- RCS includes market rules that address known market power concerns; and

- To the extent possible, RCS leverages existing business processes and technology solutions from existing RTOs and ISOs in order to minimize its overall cost of implementation and operation.

# 2.0	Problem Statement

One of Grid West's primary region-wide responsibilities is to improve the availability of transmission capacity to all transmission customers in order to enable efficient power transactions within its regional footprint.  Given the fundamental requirement that all transactions that schedule to use the Grid West Managed Transmission System (GWMT) must have applicable physical transmission rights, it is then necessary for Grid West to offer services that will greatly facilitate the trading of transmission rights among willing Grid West participants.  Grid West's Reconfiguration Service (RCS) is the most important component of such services.

# 3.0	Objectives and Design Criteria

Reconfiguration service allows IWRs to be awarded to Grid West Participants using the IWRs offered into the market by other Grid West Participants as well as available capacity in the transmission system.  In order to provide reconfiguration services, Grid West will set up a sequence of markets and operational protocols to match bids and offers of IWRs with various time spans. The trading algorithm, a clearing auction, is designed to match bids with offers and AFCs in the most economically efficient manner while complying with all physical and contractual constraints that govern the operation of the GWMT.  The critical design criteria for RCS are:

- RCS should, to the extent possible, use standardized tradable instruments to facilitate trading of transmission rights;

- RCS should use a centralized auction to facilitate trading of IWRs among Grid West participants by combining the IWR offers and the GWMT Available Flowgate Capacities (AFCs) to award IWR bids;

- RCS should maximize the value of IWR trades as its objective;

- RCS should allow the Grid West participants who choose not to participate in RCS to retain their existing transmission rights and their associated scheduling flexibilities;

- RCS should allow Grid West participants to elect not to offer their IWRs, whether voluntarily translated from their existing rights or acquired through other mechanisms;

- RCS should allow Grid West participants, who voluntarily translate part or all of their existing rights into IWRs then choose not to offer such IWRs into RCS, to retain their original existing transmission rights and their associated scheduling flexibilities;

- RCS should allow Grid West participants to offer all or part of the existing scheduling flexibilities that they hold, for trading into RCS;

- RCS should enable Grid West participants to acquire IWRs of desired durations and in a timely fashion;

- RCS should include market rules that address known market power concerns; and

- To the extent possible, RCS should leverage existing business processes and technology solutions from existing RTOs and ISOs.

The proposed RCS solution, as presented in this white paper, is intended to satisfy all the above design objective and criteria.

# 4.0	RCS Process and Methodology

RCS consists of processes and functions that allow Grid West participants to voluntarily trade (acquire or release) physical transmission rights within GWMT.  A prerequisite for efficient trading of physical transmission rights is the introduction of "standardized trading instruments" that can be readily understood and traded in primary and secondary markets by transmission customers.  For this purpose, Grid West has introduced Injection/Withdrawal Rights (IWRs) as such standardized instruments.  An IWR represents the right to inject power at a scheduling point (bus or hub) in the GWMT and withdraw the same power at another scheduling point (bus or hub) in the GWMT within an applicable timeframe.  A complete definition of IWRs along with other definitions is presented in the Grid West Glossary document.

RCS consists of processes and functions for Grid West and transmission operators that allow Grid West participants to acquire or release physical transmission rights in GWMT in the form of IWRs.  In each RCS process, Grid West participants can offer for sale the applicable IWRs that they own through any of the following means:

- IWRs that have been voluntarily translated based on all or parts of their existing rights;

- IWRs that have been acquired through transmission expansion projects;

- IWRs that have been bilaterally acquired and registered with Grid West;

- IWRs that have been voluntarily translated by the new owners of bilaterally traded existing transmission rights; and

- IWRs that have been acquired from previous RCS auctions.

Grid west combines all offered IWRs with the Available Flowgate Capacities (AFC) of the GWMT to conduct its RCS auction.  In addition Grid West as part of Day-Ahead reconfiguration service allows its participants to offer the existing scheduling flexibilities (ESFs) that they hold into the IWR auction.

In order to allow for timely and efficient acquisition of IWRs, Grid West performs the reconfiguration service on regular intervals through the following processes:

- Annual Reconfiguration Service (A-RCS):  A-RCS is conducted once a year and is intended to trade monthly peak and off-peak IWRs (24 products) for all 12 months of the operating year.

- Monthly Reconfiguration Service (M-RCS):  M-RCS is conducted once a month and is intended to trade monthly peak and off-pear IWRs for each of the remaining months of the operating year.

- Intra-Monthly Reconfiguration Service (I-RCS): I-RCS is conducted on daily basis and is intended to trade daily peak and off-peak IWRs beginning with two days after the auction each of the days in the remainder of the operating month.

- Day Ahead Reconfiguration Service (DA-RCS):  DA-RCS is also conducted on daily basis and is intended to trade IWRs on an hourly basis for the 24 hours of the next day.

After the DA-RCS and up to scheduling deadline, IWRs may still be bilaterally acquired without Grid West involvement but these IWR ownership changes must be registered with Grid West before the "registration deadline" if such bilaterally traded IWRs are to be used for scheduling.

Figure 4a presents the relative sequence and timelines of the A-RCS, M-RCS, I-RCS and DA-RCS processes.

Figure 4a - RCS timelines

The proposed process flow diagram for a typical RCS process is presented in Figure 4b which applies to all four RCS timelines.   Figure 4b also shows the timeline for these processes which are as follow:

- Development of a Transmission Rights Basecase (TRB) by Grid West for each RCS auction.  This process should be performed well in advance of each RCS auction: at least two weeks for A-RCS, one week for M-RCS, One day for I-RCS and 8 hours before DA-RCS.

- Calculation and Posting of Available Flow Capacities by Grid West for each RCS auction.  This process is performed right after TRB is complete.

- Submittal of IWR offers and bids by Grid West participants through a secure web delivery system and during the applicable time window.  Deadlines for such submittals are dependent on the RCS timeline and would vary from one day for the A-RCS and M-RCS to one hour for I-RCS and DA-RCS.  Grid West participants may also offer the existing scheduling flexibility (ESF) that they hold into DA-RCS by submitting their Intended Retained Right (IRR).  IRR would be presented as a set of injections and withdrawals (or a range of values for injections and withdrawals) at applicable scheduling points.

- Validation of IWR offers and bids by Grid West to ensure that all offers and bids are valid and comply with all rules of the RCS process.  Bid and offer validation is performed virtually at the same time that the offers and bids are submitted.  IRRs are also validated for DA-RCS to ensure that the IRRs correspond with the remaining existing scheduling flexibility of the associated right.

- Execution of IWR Auction by Grid West during the relevant time window for the specific auction.

- Posting of IWR auction awards and prices by Grid West no later than one hour after the auction is complete for DA-RCS and I-RCS and no later than a few days after the auction is completed for M-RCS and A-RCS.

- Updating of the Rights Data Translation Management (RDTM) Database with the updated IWR awards.

Figure 4b - RCS Process Flow and Timeline

RCS processes are described in greater detail in the sections that follow.  These processes are essentially the same for A-RCS, M-RCS and I-RCS as they apply to the applicable auction scenarios within these reconfiguration processes.  However, there are several unique features to DA-RCS that are covered in a Section 4.6 below.

## 4.1	Transmission Rights Basecase (TRB) Development

Transmission Rights Basecase (TRB) is the foundation of the IWR auction process.  The TRB not only provides the transmission system data used by the IWR auction model but is also used to identify the AFC that the model will use in conducting the auction.  TRB is developed using one or more "power flow" saved cases representing the WECC transmission system under the applicable operating scenarios with emphasis on the GWMT.

Starting from a full WECC case, Grid West will develop the base transmission system data that will be used for each auction scenario within various RCS processes.  The data will include system topology data, transmission line parameter data and the relevant load distribution factors.  For A-RCS and M-RCS, typical peak and off-peak basecases are developed for the applicable monthly auction scenarios.  For I-RCS daily peak and off-peak basecases are developed for each auction day.  Alternatively the same peak and off-peak basecases can be used for the all days covered in the I-RCS.  Grid West can potentially develop as many as 24 hourly basecases for DA-RCS.  We expect, however, that the same basecase will be by and large used for all 24 hours IWR auctions.

## 4.2	AFC Calculation and Posting

Before IWR auctions, Grid West will compute and post AFCs and Path Utilization Factors ("PUFs").  Grid West will perform this function in two steps for A-RCS, M-RCS and I-RCS markets and in a single step for DA-RCS.  In Step 1, Grid West's goal is to account for subscribed flowgate capacities due to Transmission Owner (TO) Obligations and ETRs.  Given its knowledge of historical GWMT use for TO obligations and ETRs, Grid West will estimate the capacity requirements needed for these subscriptions.  This approach, called an X-factor discount, is presented further below in this section.  In Step 2, Grid West's goal is to account for the subscribed flow gate capacities due to traded and created IWRs.   In this step Grid West assumes that IWRs will be used in new ways after the auction by Grid West participants (i.e. there is no historical use reference) and hence IWRs are treated as "non-simultaneous physical rights."  Special power flow solutions are used to determine the subscribed flowgate capacities due to IWRs.

The two steps of AFC calculation are presented in additional detail below:

Step 1:  Grid West will set up the power flow case using the TRB for each auction scenario.  All TO obligations and ETRs, adjusted for active IWRs, are simultaneously modeled in this case.  In modeling adjusted TO obligations and ETRs for an auction scenario, we use their expected configuration for that auction scenario as specified by the corresponding TO and the corresponding ETR holder and adjust them for active IWRs.  The model accounts for counterflow effects of the adjusted TO obligations and ETRs.

The power flow analysis calculates the un-subscribed transmission capacity on all transmission flowgates.  Available flow capacities are subsequently discounted based on the X-factor methodology which takes into account historical use of the flowgate.  X-factor approach is summarily presented in Section 4.2.1 below.  If, at this stage, a transmission flowgate is oversubscribed, the AFC for that flowgate is set to zero.  Finally, the AFC in the opposite direction of the dominant flow is always set equal to line TFC.  The example of Appendix A elucidates this step.

Step 2:  This step of AFC calculation entails accounting for all active IWRs.  Another power flow analysis, in which all existing IWRs are treated as non-simultaneous physical rights, will identify the transmission system capacity subscriptions due to active IWRs and, as a result, the AFC in both directions on all identified transmission flowgates.  Here again, if a transmission flowgate is oversubscribed in a direction, the AFC for that flowgate is set to zero.

The power flow analysis will also calculate the Path Utilization Factors (PUFs) for the set of monitored flowgates and identified scheduling point (buses/hubs).  For a monitored flowgate, each PUF signifies flow contribution on that flowgate as a fraction of the injection (or withdrawal) at a scheduling point within GWMT. The AFCs and PUFs calculated in this fashion are used in the IWR auction process and will be posted through Grid West market information system and all relevant OASIS sites.

The example of Appendix A clarifies the process of Step 2.

## 4.2.1 X-Factor Methodology

X-factor methodology corresponds to discounting AFCs in Step 1 for flowgates which have counterflow subscriptions with a fractional multiplier (X-factor) specifically calculated for that flowgate.  For these flowgates, X-factors account for the fact that transactions based on adjusted TO obligations and ETRs may not occur simultaneously at the time of flowgate use and hence their full counterflow impact should be discounted at such times.

For a flowgate where all the flows are predominantly in the same direction, the X-factor can be greater than one (1) to account for the fact that all these additive transactions may not occur simultaneously either.

Flowgate X-factors are used to account for the following factors that influence actual use of a flowgate versus the net subscriptions calculated for that flowgate using the power flow analysis:

- Simultaneity of the actual transactions whose transmission rights are used to calculate flowgate subscription; and

- Flowgate capacity due to stochastic events such as system contingencies or loop flows.

X-factors are calculated based on comparing the historical flows with the calculated subscription from the power flow analysis of Step 1 on those flowgates.  Under this methodology, every flowgate will have its own X-factor value for each RCS process and auction scenario.  X-factor values should be updated on regular intervals using power flow studies using historical use of the GWMT and the outcome of schedule adjustment/curtailment process.  If there are extensive schedule adjustments and curtailments during the schedule adjustment/ curtailment process, the X-factors should be reduced.  If there are persistent unused transmission capacities during the schedule adjustment/ curtailment process, X-factors may be increased.

## 4.3	IWR Validation

IWR validation verifies IWR offers and bids before they are used in the IWR auction.  The IWR validation function entails verifying the following attributes of the IWR:

- Participant Validation: validate that the entity offering or bidding IWR is an authorized Grid West participant; and verify that the participant has the proper trading rights and meets credit requirements to fully or partially participate in the RCS.

- IWR Value Validation: validate that the offered IWR actually exists based on the IWR inventory database.

- Ownership Validation: validate that the entity offering IWR is the "registered owner" of the IWR per Grid West inventory database.

- Timeframe Validation: validate that the offered IWR is applicable to the timeframe of the auction.  Timeframe applies both to the scenario dimension as well as the duration dimension of the IWR.

- Syntax Validation:  validate data entry syntax errors.

- IRR Validation:  validate that the submitted intended retained rights (IRRs) for DA-RCS by verifying that an IRR falls within the remaining ESF of the corresponding transmission right.

Only IWRs offers and bids that pass all these validation steps will be allowed in and used in the IWR auction.

## 4.4	IWR Auction

The IWR auction uses a linearized Optimal Power Flow (OPF)  model that represents the physical characteristics of the transmission system in a DC power flow framework and uses it to perform the auction.  The auction matches IWR offers and bids and AFCs with the objective of maximizing the value of traded transmission rights subject to all contractual and physical constraints of the transmission system.

An IWR auction is conducted for each relevant auction scenarios; for example, there are 24 auction scenarios (monthly peak and off-peak for the next 12 months) for the annual RCS.  Auction scenarios are either solved separately or tied together if IWR offers or bids require it.   For example, if one or more Grid West participants offer to sell or bid to buy 24 equal IWRs for all of the 24 auction scenarios in the annual RCS (IWR annual strip or block), the auction model will tie all 24 auction scenarios together for the annual RCS.  The same principles apply to monthly RCS except that, rather than solving for each month of the 12 months of the year, it is done for each month for the remaining month(s) of the year

In intra-monthly RCS auctions, peak and off-peak IWRs are auctioned on a daily basis for the remaining days of the month (balance of the month starting from the second day after the auction).  Hence, for a particular intra-monthly RCS, there could be as many as 62 peak and off-peak auction scenarios, depending on the length of the months and the day when the auction is performed.  IWRs translated from existing rights, either awarded through previous annual and monthly RCS processes or acquired through bilateral trades, and registered with Grid West, can be offered in the intra-monthly auction as daily peak and off-peak IWRs, if applicable.

In DA-RCS process, IWRs are auctioned on an hourly basis for the next business day (24 auction scenarios).  IWRs translated from existing rights, either awarded through previous annual, monthly and intra-monthly RCS processes or acquired through bilateral trades, can be offered in the Day Ahead auction as a string of hourly IWRs, when applicable.

IWR sellers will receive the difference in clearing prices at the relevant scheduling points for the awarded IWRs.  Clearing prices are standard output of the same DC-OPF model that is used for the IWR auction.  Buyers of IWRs will pay difference in clearing prices at the relevant scheduling points for the IWRs purchased through the IWR auction.

Those who release ESF into DA-RCS will receive payment equivalent to the value of the AFCs that they make available on congested or congesting flowgates.  This value is calculated as the product of the capacity released on the flowgate(s) due to ESF release multiplied by shadow price of the flowgate(s).

## 4.5 Auction Results Posting

All IWR awards will be privately communicated through timely posting on the Grid West website.  Clearing prices for scheduling points, used for pricing IWRs, and the total quantities awarded in the auction, however, will be posted on the Grid West market information system and all the applicable OASIS sites.  The same information is also deposited into the RDTM database for use in the next rounds of the RCS or for operational purpose.

## 4.6	DA-RCS Distinctive Features

There are several features in the DA-RCS process that are distinct from those of the other RCS processes.  These distinct features of the DA-RCS are:

- TO obligations and translated ETRs are modeled with full range of their scheduling flexibility during the DA-RCS auction as opposed to their expected value as was done for other RCS processes;

- AFCs and PUFs are calculated in a single step and based on the assumption that , translated ETRs and IWRs can create counterflow flowgate subscriptions (X-factors are again used to account for the fact the counter flows may not be simultaneous); and

- Existing scheduling flexibilities (ESFs) are allowed to be offered into DA-RCS by allowing ESF holders to submit their intended retained right (IRRs) into DA-RCS.

To accommodate these features, the DA-RCS auction model, although still DC OPF based, will use some form of an "internal dispatch model" to account for rights scheduling flexibility.  The example of Appendix B should help elucidate these specific features.

# 5.0	Inputs & Outputs

All RCS processes have similar input and output data.  DA-RCS has a few additional input data requirements.  Figure 4b showed the data flow diagram for a typical RCS process.  In the following tables, we define each one of the inputs and outputs of these processes and present specific details for individual RCS timelines.

## 5.1	RCS Input

Table 5.1 presents the inputs to the RCS process.

Table 5.1  - Inputs to the RCS process

| Input | Description | Timeline Differentiators |
| --- | --- | --- |
| TO obligation | All transmission obligations of the TOs (stemming from existing contracts, coordination agreements, treatise, etc.) presented as the expected I/W obligation values (or range of values) at all relevant scheduling points and for the relevant auction scenario. | A-RCS: Expected monthly peak/off-peak I/W obligation values at all relevant scheduling points for every month of the year. M-RCS: Expected monthly peak/off-peak I/W obligation values at all relevant scheduling points for the remaining months of the year. I-RCS: Expected TO obligation daily peak/off-peak I/W values at all relevant scheduling points for the remaining days of the month. DA-RCS: Actual TO obligation peak/off-peak I/W values or range of values at all relevant scheduling points. |
| ETR | Existing Transmission Rights of Grid West participants translated for the purpose of offering ESF into DA-RCS and presented as the I/W right values or value ranges at all relevant scheduling points as well as overall rights constraint for the ETR. |  |
| IWRs | Injection right value at one scheduling point (bus/hub) and an equal withdrawal right value at another scheduling point (bus/hub) for each of the applicable auction scenarios. | A-RCS: Monthly peak/off-peak IWRs for every month of the year. M-RCS: Monthly peak/off-peak IWRs for the remaining months of the year. I-RCS: Daily peak/off-peak IWRs for the remaining days of the month. DA-RCS: Hourly IWRs for the next business day. |
| Transmission System Data | "Power flow" type data for the WECC transmission systems. All GWMT to be presented. WECC system outside GWF may be presented in full or converted into an equivalent model for ease of analysis. Other transmission related data include the appropriate flowgate flow limits from the AFC calculation and outage schedules. X-factors for all "monitored" flowgates calculated based on offline studies is included as part of this information. | A-RCS: System topology, transformer and phase shifter tap positions, and X-factors for the 24 auction scenarios. M-RCS: System topology; transformer and phase shifter tap positions; and X-factors for the auction scenarios of the remaining months of the year. I-RCS: System topology; transformer and phase shifter tap positions; and X-factors for the auction scenarios of the remaining days of the year. DA-RCS: System topology; transformer and phase shifter tap positions; and X-factors for the next business day. |
| Offers to sell IWR | Injection right and withdrawal right values (equal values) at two specific scheduling points (bus/hub) in the system that corresponds with the IWRs owned by the offering entity per RDTM database. | A-RCS: Monthly peak/off-peak IWR offers for every month of the year. M-RCS: Monthly peak/off-peak IWR offers for the remaining months of the year. I-RCS: Daily peak/off-peak IWR offers for the remaining days of the month. DA-RCS: Hourly IWR offers for the next business day. |
| Intended Retained Rights | For DA-RCS these represent the intended retained rights (IRRs) by Grid West participants who hold the ESFs in the ETRs. IRRs are specified by the range of intended schedules (I/W values or range of values) at one or more applicable scheduling points. Alternatively a flag to Grid West requesting Grid West to choose the IRR for the ESF holders such that maximum AFC from ESF can be released into DA-RCS. |  |
| Bids to buy IWRs | Injection right and withdrawal right values (equal values) at two specific transmission points in the system. | A-RCS: Monthly peak and/or off-peak IWR bids for one or more month of the year. M-RCS: Monthly peak and/or off-peak IWR bids for one or more months in the remaining months of the year. I-RCS: Daily peak/off-peak IWR bids for one or more days in the remaining days of the month. DA-RCS: Hourly IWR bids for one or more hours of the next business day. |

## 5.2	RCS Output

Table 5.2 presents the outputs of a typical RCS process.

Table 5.2 - Outputs of the RCS process

| Output | Description | Timeline Differentiators |
| --- | --- | --- |
| AFCs & PUFs | Available flow capacity for the "identified flowgates" in the GWF transmission system as well as PUFs for the same flowgates and identified scheduling points (buses/bubs). | A-RCS: AFCs & PUFs for annual auction scenarios. M-RCS: AFCs & PUFs for monthly auction scenarios. I-RCS: AFCs & PUFs for intra-monthly auction scenarios. DA-RCS: AFCs & PUFs for daily auction scenarios. |
| Awarded IWRs | The "matched/reconfigured" IWRs (injection and withdrawal right values at the requested points) and the corresponding prices. | A-RCS: Monthly peak/off-peak IWR awards for every month of the year. M-RCS: Monthly peak/off-peak IWR awards for the remaining months of the year. I-RCS: Daily peak/off-peak IWR awards for the remaining days of the month. DA-RCS: Hourly IWR awards for the next business day. |
| Awarded Scheduling Flexibility | The final retained right (RR) range per scheduling point and the payment amount for the flexibility released into DA-RCS. |  |
| IWR Prices | IWR clearing prices | A-RCS: Monthly peak/off-peak clearing prices for all IWR scheduling points for all scheduling points for every month of the year. M-RCS: Monthly peak/off-peak clearing prices for all IWR scheduling points for all scheduling points for the remaining months of the year. I-RCS: Daily peak/off-peak clearing prices for all IWR scheduling points for all scheduling points for the remaining days of the month. DA-RCS: Hourly clearing prices for all IWR scheduling points for the next business day. |
| Auction summary | AFCs, total awarded MW for each flowgate, LCP prices for all scheduling points plus other summary information for the applicable auction scenarios will be posted onto market information system MIS. | A-RCS: Monthly peak/off-peak AFCs, total awarded MW for each flowgate, clearing prices for all scheduling points plus other summary information for all months of the year. M-RCS: Monthly peak/off-peak AFCs, total awarded MW for each flowgate, clearing prices for all scheduling points plus other summary information for the remaining months of the year. I-RCS: Daily peak/off-peak AFCs, total awarded MW for each flowgate, clearing prices for all scheduling points plus other summary information for the remaining days of the month. DA-RCS: Hourly AFCs, total awarded MW for each flowgate, clearing prices for all scheduling points plus other summary information for the next business day. |

# 6.0	Roles & Responsibilities

Table 6 describes the roles and responsibilities of Grid West and its participants in the RCS process.

Table 6 - Grid West and its participants' roles and responsibilities in RCS

| RCS Timeline | Grid West | Transmission Owners | Grid West Participants |
| --- | --- | --- | --- |
| Pre-Auction | Develop TRB basecase Publish basecase Post AFCs | Provide data and assist with building TRB and calculation of AFCs and PUFs calculations Provide base data used for validation | Monitor |
| Auction | Validate bids/offers Execute auction | Monitor | Submit IWR bids/offers Submit IRRs for DA-RCS |
| Post Auction | Post IWR awards and prices and other market information Post retained rights and payments for DA-RCS | Monitor | Download market results |

7.0	Revenue Allocation

IWR auction over a period is expected to produce net revenue for Grid West due to the sale of AFCs as part of the IWR auction.  Such net revenues, if any, will be used to reduce Regional Revenue Requirement Adjustment account (R3A).

8.0	Market Power & Market Efficiency Considerations

Market monitoring processes and mitigation rules are integral parts of all competitive markets.  Market mitigation measures have been used proactively (market rules) and reactively (sanctions and penalties) to ensure that markets are free of market power abuses.  On the negative side, market mitigation measures, whether proactive or reactive, have the tendency to limit the competitiveness of the markets, so there should be a balance between rules to mitigate market power and the need for the market to behave "competitively" without undue administrative interventions.

The Grid West reconfiguration service, as presented in this white paper, is intended to complement existing transmission rights trading in GWF.  As such we do not foresee that RCS itself would create additional opportunities for market power abuses.  Nevertheless, the following market mitigation processes should be considered for the Grid West RCS to address any lingering concerns:

- Monitoring and potentially limiting of IWR ownership concentration among Grid West participants especially for those with dominant energy positions;

- Monitoring of purchase, resale and use patterns of IWRs by Grid West participants especially for those with dominant energy positions; and

- Monitoring IWR auction participation, awards and prices, with the possibility of instituting price caps and/or other mitigation measures if needed to address identified problems.

9.0	Market Benchmarks

The underlying approach that Grid West uses to account for transmission rights is different from those of the existing RTOs and ISOs in North America.  At the heart of this difference is that transmission rights in existing RTOs and ISOs are solely intended to provide a financial hedge against ex-post congestion charges. Hence, market participants in these RTOs and ISOs do not need to own transmission rights in order to schedule their transactions with their RTO or ISO.

Since most FTRs offered by existing RTOs and ISOs are purely financial instruments, practically every MW of the transmission system capacity is available for the FTR auction (and later for the Day Ahead energy auction).  Hence, the FTR auctions are normally performed in segments where portions of the available transmission capacity are auctioned off.  In addition, due to the financial nature of FTRs, most existing RTOs and ISOs only conduct annual and monthly FTR auction for seasonal or monthly peak and off-peak FTRs.

Furthermore, Grid West's DA-RCS process, which allows ESFs to be offered into the IWR auction, is not comparable to any transmission rights trading mechanism used in existing RTOs and ISOs.

Despite these dissimilarities in the fundamental application of transmission rights, there are several similarities in the processes used for administering transmission rights by Grid West and existing RTOs and ISOs.  These similarities that are presented in table 9a allow the same computational techniques and tools used by these RTOs and ISOs for FTR auctions to be, by and large, usable for Grid West in its various RCS processes.  Even the DA-RCS with its unique feature of accounting for scheduling flexibilities can be, by and large, managed using these same computational techniques and tools - modified to model scheduling flexibilities.

Table 9a - Comparison of Grid West RCS process and FTR trading by existing RTOs/ISOs

| Auction Attribute | PJM | ERCOT | MISO |
| --- | --- | --- | --- |
| Auction Mechanism | Similar to Grid West, PJM, ERCOT and MISO (in the near future) use Simultaneous Feasibility Test (SFT) with the objective of maximizing market value for conducting their FTR auctions. |
| Auction Pricing | Similar to Grid West, PJM, ERCOT and MISO (in the near future) use uniform MCP for auction pricing. |
| Revenue Allocation | Similar to Grid West, PJM, ERCOT and MISO (in the near future) use any net revenue to go towards paying off the embedded cost of the transmission system. |

Table 9b shows the FTR products and the frequency of trading these products by some of the existing RTOs and ISOs.

Table 9b - FTR products and their Frequency of Trading

| RTO/ISO | Frequency of FTR Auction | FTR Duration (Months) |
| --- | --- | --- |
| MISO | Annual Monthly | 12 1 |
| ISO-NE | Annual Monthly | 12 1 |
| NYISO | Semi Annual Monthly | 6 - 12 1 60 |
| PJM | Annual Monthly | 12 1 |
| ERCOT | Annual Monthly | 12 1 |
| Grid West (IWR Trading) | Annual (A-RCS) Monthly (M-RCS) Daily (I-RCS) Hourly (DA-RCS) | 12 1 1 day 1 hour |

10.0	Technology Solutions

As described earlier the technologies required for the RCS implementation are by and large already available and are in use by the industry.  Relational databases that would house the transmission owner obligations and translated transmission rights data (RDTM database) can be readily procured and designed.  Transmission System Database is a standard construct of most power flow solution vendors.  Standard secure web interfaces can be used to exchange private and public input and output data with Grid West participants.

Participants' input data validation process uses straightforward algorithms and relies on the RDTM database.  In addition, IWR auction model for A-RCS, M-RCS and I-RCS is rather a very complex model (Option Based SFT) but such a model is already in use by existing RTOs and ISOs.

Grid West's DA-RCS auction process, on the other hand, has the unique feature of accounting for scheduling flexibilities and as such requires special new modeling features that we believe can be readily added to the existing auction models offered by the industry.

11.0	Organization Requirements

Table 10 presents the resource requirements for the operation and support of RCS business processes and technologies.

Table 11 - RCS Staff Requirements

| Division | Department | Role | Responsibility |
| --- | --- | --- | --- |
| Market Operations | Forward Markets | Manager | RCS Management |
| Market Operations | Forward Markets | Analyst (2) | Basecase Development |
| Market Operations | Forward Markets | Analyst (5) | AFC/PUF Calculation and Posting IWR Validation IWR Auction & Posting |
| Information Technology | Market Systems | Analyst (2) | Application Support |
| Information Technology | Market Systems | Analyst (1) | Database Support |

12.0	Cost Drivers

We have already identified some of the cost drivers that would impact the setting up and operation of the RCS for Grid West.  A preliminary list of such cost drivers include:

- System Redundancy:  Redundant systems improve market response; however, they can be costly.  For market solutions, such as RCS, one could use cold standby and non-clustered solution to reduce cost.  No redundancy should be required for the Secondary (fail-over) site of the RCS operation.  In addition, ASP or outsourcing services for some systems can further reduce startup and potentially ongoing costs.  Data redundancy can also be provided in a cold stand-by mode so far as near-synchronous data replication is in place between primary and backup system in Primary site and to the system in the Secondary site.

- Staff Redundancy:  Staff redundancy ensures smooth and long-term operation of RCS.  Redundancy of staff can be minimized if timing of various RCS auction functions is planned to ensure that same resources can cover multiple functions.

- RCS Operation Timing:  Limiting the time of RCS to business hours on weekdays will reduce resource (staff and applications and infrastructure) requirements and will help manage startup and ongoing costs.

- Complexity of Solution:  A careful balance should be extended against rigor with which the application models are built and run and cost of attaining such a rigorous solution (that may still only be an approximation of the reality).  For the RCS process consistency is just as important as accuracy.  One area for savings is the use of DC versus AC power flow based solutions for RCS auctions.

- Market Monitoring:  The more extensive the market monitoring scope, especially the scope of after the fact surveillance, the higher the cost of the underlying system.  If the bulk of market monitoring is in the form of preventive and auditable market rules, less effort will be extended for market monitoring.

- Participants System Access:  The more direct and high speed access into Grid West is provided to Grid West participants, the more the infrastructure and application costs.  Internet, once properly secured through straightforward measures, offers a very reliable and inexpensive access media for market participants in the RCS auction.

- Multi-purpose System Use:  Various RCS processes (A-RCS, M-RCS, I-OCS and DA-RCS) can use the same system and staff resources.  In order to achieve this goal it is imperative that the timing of various RCS auctions be carefully aligned so that the same resources can be used for all RCS auctions.  Table 12 presents one such timing arrangement.

Table 11 - RCS execution time

| RCS Timeline | Run Date | Run Date |
| --- | --- | --- |
| Annual RCS | Once a Year (non-Friday weekday in June) | 2-5 PM (potentially repeated multiple times) |
| Monthly RCS | Once a month (a non-Friday weekday in the last full week of the month) | 11AM-1PM (potentially repeated multiple times) |
| Intra-monthly RCS | Daily on business days | 9AM - 10AM |
| Day-Ahead RCS | Daily on business days | 7 AM - 8 AM |

Appendix A - Example of RCS

In this appendix we will present a simple end-to-end example that covers the principal functions of the RCS process.  This example is applicable to A-RCS, M-RCS and I-RCS.  The example of DA-RCS is presented in Appendix B.  All of these examples assume that the reader has a basic acquaintance with the calculation of power flows in a simple network.  For non-technical readers unfamiliar with such calculations, Appendix C has been provided as an introduction to the basic concepts used.  Non-technical readers may find it beneficial to read Appendix C before reading with the other two appendices.

Pre-Auction:

Figure A-a shows a 3 bus system with 3 equal impedance transmission flowgates (paths).  The Total Flow Capacity (TFC) is also shown on each flowgate.

Figure A-a - Transmission Rights Basecase

Let's assume that these are three existing transmission rights (ETRs) - all are point to point:

- ETR1:  60 MW from bus A to bus C

- ETR2:  60 MW from bus C to bus B

- ETR3:  60 MW from bus A to bus B

Now let's assume that ETR3 has been voluntarily translated by its owner into an IWR of the same magnitude from bus A to bus B.  Also let's also assume that 30 MW of the translated IWR has been sold in a previous RCS process.

Step 1 of the AFC calculation process involves simulating non translated existing rights ETR1 and ETR2 and the non-traded portion of ETR3 as shown in Figure A-b.

Figure A-b - ETR Flowgate Subscriptions

Table A-a presents the process of calculating AFCs using the methodology described in Section 4.2. In this and all subsequent tables “AFC+” refers to AFC in the direction of the arrow shown and “AFC-“ refers to AFC in the opposite direction to the arrow.  The same convention is used for subscriptions (Sub) in this and all subsequent figures.

Table A-a - AFC after accounting for ETRs

| Flowgate | TFC in both directions | Net ETR Sub+ | AFC+ | AFC- | X-Factor for AFC+ | AFC+ after X-Factor | AFC- after X-Factor |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A - B | 90 MW | 60 MW | 30 MW | 90 MW | 1.0 | 30 MW | 90 MW |
| A - C | 120 MW | 30 MW | 90 MW | 120 MW | 0.9 | 81 MW | 120 MW |
| C - B | 120 MW | 30 MW | 90 MW | 120 MW | 0.9 | 81 MW | 120 MW |

Step 2 in the calculation of AFCs involves accounting for traded, awarded or acquired IWRs (namely, all rights that have not been considered so far).  Let's assume that in addition to the portion of ETR3 that had been traded as IWR (IWR1), there is another IWR (IWR2) from bus C to Bus B for 30 MW (acquired previously). The two new IWRs are

- IWR1:  30 MW from bus A to bus B

- IWR2:  30 MW from bus C to bus B

Figure A-c offers the IWRs and their flowgate usage.  Note that in this figure the counterflow contribution of IWR2 on flowgate A-C has been ignored while all same direction flow contributions are added up.  Table A-b presents the process of calculating the final AFCs.  Table A-c presents table of PUFs for this example.

Figure Ac - IWR Flowgate Subscriptions

Table Ab - AFC after accounting for IWRs

| Flowgate | AFC+ before IWRs | AFC- before IWRs | Net IWR Sub+ | Net IWR Sub- | AFC+ after IWRs | AFC- after IWRs |
| --- | --- | --- | --- | --- | --- | --- |
| A - B | 30 MW | 90 MW | 30 MW | 0 MW | 0 MW | 90 MW |
| A - C | 81 MW | 120 MW | 10 MW | 10 MW | 71 MW | 110 MW |
| C - B | 81 MW | 120 MW | 30 MW | 0 MW | 51 MW | 120 MW |

Table A-c - PUFs for the example system (Bus C is the Reference/Slack Bus)

| Flowgate | Bus A | Bus B | Bus C |
| --- | --- | --- | --- |
| A - B | 1/3 | -1/3 | 0 |
| A - C | 2/3 | 1/3 | 0 |
| C - B | -1/3 | -2/3 | 0 |

In Table A-c PUFs represent the flow contribution on a flowgate due to injection of 1 MW at a bus.  For example, this table shows that if 1 MW is injected at Bus B, 1/3 of a MW will flow on Flowgate A-B in the opposite direction (from B to A), 1/3 MW will flow on Flowgate A-C and 2/3 MW will flow on Flowgate C-B in the opposite direction (from B to C) - please note that Bus C is the reference bus, i.e. every MW injected at Bus B ends up at Bus C.  Table A-c helps with predicting flow contribution due to an IWR.  Suppose a Grid West participant wants to buy 30 MW IWR from Bus A to Bus B.  This participant calculates its contribution on every flowgate as follows:

- Flowgate A-B:  30 * [(1/3) - (-1/3)] = 20 MW

- Flowgate A-C:  30 * [(2/3) - (1/3)] = 10 MW

- Flowgate C-B:  30 * [(-1/3) - (-2/3)] = 10 MW

Auction Example 1:

Entering into the auction we assume that that there are 2 bidders for IWRs in the IWR auction:

- Bid1:  50 MW from bus A to bus B at $20/MW

- Bid2:  50 MW from bus C to bus B at $15/MW

Let's also assume that the owner of IWR1 offers the IWR as follows:

- IWR1 offer:  15 MW IWR as price taker

Figure A-d presents the network diagram for this bidding scenario.  Please note that the arrows for the offered IWRs are reversed to show that they are offered for sale to free up capacity for new IWR buy bids.  Also note that AFCs from the last round are included on the diagram.

Figure A-d - IWR Auction Offers and Bids

Figure A-e presents the IWR auction results.   The auction outcome has been attained based on maximizing the overall value of the IWR trades (total value of the bids minus the total cost of offers) which awards the offered IWRs to Bidder 2, even though Bidder 2 bid a lower per MW price, since for every one MW of IWR1 offered, Bidder 2 can buy two MWs due to network configuration.  For this auction award, the overall market value is:

- 30 MW * $15/MW - 15 MW * $0/MW = $450

If Bidder 1 was selected, the overall market value would have only been:

- 15 MW * $20/MW - 15 MW * $0/MW = $300

Figure A-e - IWR Auction Results

In this example Bid2 is at margin and sets clearing prices at all buses.  Please note that the negative clearing price at Bus A is a result of setting the reference price bus at zero.  The negative price does not signify anything in an IWR auction as only the differences in bus clearing prices are meaningful in such an auction.

Table A-d presents the settlement amounts.  Please note that in this scenario although the value trades is $450, Grid West will be revenue neutral (difference of the awarded IWR charges and awarded IWR credits).

Table A-d - IWR auction awards and settlement results

| Participant | Award Amount | IWR Price | Charge or (Credit) |
| --- | --- | --- | --- |
| IWR1 | 15 MW | $30/MW | ($450) |
| Bidder 1 | 0 | 0 | 0 |
| Bidder 2 | 30 MW | $15/MW | $450 |

Auction Example 2:

In this example let's assume that the owner of IWR2 offers the IWR as follows:

- IWR1 offer:  30 MW IWR as price taker

Figure A-f presents the network diagram for this bidding scenario.

Figure A-f - IWR Auction Offers and Bids

Figure A-g presents the IWR auction results.   The auction outcome has been attained based on maximizing the overall value of the IWR trades (total value of the bids minus the total cost of offers).  In this example Bid1 is at margin and sets the clearing prices at all buses.

Figure A-g - IWR Auction Results

Table A-e presents the settlement results for this example.

Table A-e - IWR auction awards and settlement results

| Participant | Award Amount | IWR Price | Charge or (Credit) |
| --- | --- | --- | --- |
| IWR1 | 30 MW | $20/MW | ($600) |
| Bidder 1 | 5 MW | $20/MW | $100 |
| Bidder 2 | 50 MW | $10/MW | $500 |

Appendix B - Example of DA-RCS

In this appendix we will present a simple end-to-end example that covers the principal functions of the DA-RCS process.   As noted earlier the many of the steps in DA-RCS process are distinct from those of other RCS processes.

Pre-Auction:

Figure B-a shows a 3 bus system that will be used to present the example of DA-RCS.  Total Flowgate Capacities (TFCs) are also shown in this figure.

Figure B-a - Transmission Rights Basecase

Let's assume that these is one multipoint to multipoint ETR, with existing scheduling flexibility (ESF) as shown, and one IWR in this system - Figure B-b:

Figure B-a - Existing Rights Configuration

Table B-a presents the process of calculating AFCs for DA-RCS. As described in Section 4.6, for DA-RCS:

- The entire scheduling flexibility is taken into consideration in evaluating flowgate subscription due to an ESFs;

- Counterflows due to ETRs and IWRs are allowed; and

- AFCs are modified based on X-factors after subscriptions are netted out.

Table B-a - AFC calculation for DA-RCS

| Flowgate | TFC (MW) | Net Sub by ESF/IWR (MW) | AFC Before X (MW) | X-factor | AFC after X (MW) |
| --- | --- | --- | --- | --- | --- |
|  |  | + | - | + | - |  | + | - |
| A-B | 300 | 50 | -50 | 250 | 300 | 0.9 | 225 | 270 |
| A-C | 300 | 250 | 0 | 50 | 300 | 1.0 | 50 | 300 |
| B-C | 300 | 300 | 0 | 0 | 300 | 1.0 | Zero(0) | 300 |

Note that based on this right configuration, there is no AFC on flowgate B-C from B to C; hence, no new rights can be awarded (issued) based on AFCs in the system.

Auction:

Entering into the DA-RCS auction we assume that the ESF holder offers to release its flexibility as a price taker and IWR2 is a new bid to buy capacity as shown in Figure B-b below.  In this figure ESF holder submits an intended retained right configuration will less flexibility than the original right allowed and as such releases the extra flexibility into DA-RCS auction.  IWR1 maintains its position unchanged.

Figure B-b - DA-RCS IWR Auction Offers and Bids

Table B-b presents the AFCs before the auction and after ESF1 holder has offered some of its flexibility.

Table B-b - AFCs after ESF1 holder offered some of its flexibility

| Flowgate | TFC (MW) | Net Sub by ESF/IWR (MW) | AFC Before X (MW) | X-factor | AFC after X (MW) |
| --- | --- | --- | --- | --- | --- |
|  |  | + | - | + | - |  | + | - |
| A-B | 300 | 50 | 50 | 250 | 250 | 0.9 | 225 | 225 |
| A-C | 300 | 250 | 0 | 50 | 300 | 1.0 | 50 | 300 |
| B-C | 300 | 250 | 0 | 50 | 300 | 1.0 | 50 | 300 |

Note that due to ESF1 flexibility offer, Flowgate B-C's AFC increases from zero to 50 MW.  During the auction this 50 MW AFC is used to award 75 MW to IWR2 as shown in Figure B-c which contains the auction outcome.

Figure B-c - IWR Auction Results

In this example IWR2 is at margin and sets clearing prices at all buses.

The settlement results are presented in the following:

- IWR2 pays:  75 * ($10 - $0) = $750

- ESF1 receives:  50 * $15 = $750

Note that ESF1 holder is paid based on the value of the 50MW AFC that it has released into DA-RCS - product of released AFC on B-C flowgate (50 MW) and the shadow price of that flowgate ($15/MW).

Appendix C – An Introduction to the Calculation of Power-Flows for the Non-Technical Reader

In the examples given in Appendices A and B, simple three bus (node) networks are used.  The Appendix demonstrates how the power flows may be calculated for these simple networks.  This material is provided to assist non-technical readers of the white paper in understanding the flow shown in the examples for various injections and withdrawals.

In an electrical network, the flow on any given line, due to the injection of power at one point and a matching withdrawal of power at another point, is based that given line’s relative impedance compared to the impedance of other lines.  The simplest case for illustrating this principle is shown in Figure C-a, which has only two buses A and C and two parallel lines between these buses.  The impedance of Line 2 is twice that of Line 1, so Line 1 will carry twice the power flow of Line 2.

Figure C-a – A Two Bus Model

If we take Line 2, cut it in half and add another bus B at the cut and then reconnect the system, the result in shown in Figure C-b.

Figure C-b – Adding Another Bus

What was Line 2 in Figure C-a is now divided into Lines A-B and B-C, while Line 1 is now called Line A-C.  The impedance (Z) of each of the lines is shown in Figure C-b.  Line A-B and Line B-C each have are ½ of the impedance of Line 2 since they are each one half of that line.  Because these two line segments are in series with each other, line impedances add together to give the resultant impedance for the combination of lines A-B and B-C.  The resulting relative impedance of Line A-C to the rest of the system is unchanged, so the distribution of power flows is unchanged.  Note that with the addition of Bus B, all the line segments have the same impedance, Z = 0.05.  We can redraw the diagram as shown in Figure C-c.

Figure C-c – A Three Bus Model

Although the impedances are no longer shown in Figure C-c, they remain the same for each segment, i.e., Z = 0.05.  The flows are unchanged, only the shape of the drawing is changed.  Figure C-c is now in the form used for all the three bus models in Appendices A and B above, with equal impedance in each line segment.  Now suppose that instead of injecting power at Bus A, we decide to inject power at Bus B instead and at the same time change the injection to 60 MW.  The result is shown in Figure C-d.

Figure C-d – Changing the Injections and Withdrawals

Again the impedance of the lines from B-A and A-C add together to give Z = 0.10, or twice the impedance of line B-C.  The result will be twice as much flow on line B-C, so again the flows split on a 1/3 to 2/3 basis, with 40 MW on the line with lower impedance and 20 MW on the other line.

Now suppose you want to do add both transactions at the same time, that is transfer 30 MW from Bus A to Bus C and 60 MW from Bus B to Bus C - equivalent to 30 injection at Bus A, 60 MW injection at Bus B and a 90 MW withdrawal at Bus C.  For simple models like those used in for this paper’s illustrations, the principle of superposition applies, that is the solution show in Figure C-c and Figures C-d can be “superimposed” on each other, that is added together to get a net result.

Figure C-e – Multiple Injections at Different Buses

The additive nature of the flows is shown in Figure C-e above on lines A-C and B-C.  For instance, the flow on line B-C in Figure C-c was 40 MW for 60 MW injected at B and withdrawn at C.  The flow on line B-C was 10 MW for the 30 MW injected at Bus A and withdrawn at Bus C.  Because we can add the two individual cases, we get 40 + 10 = 50 MW for the combined case.  The use of superposition principle allows the solution of simpler problems that can then be added together to get to the net result.

Another important principle is show in Figure C-e, namely, that all the flows into and out of any given bus must be zero.  For instance at Bus A, there is a net 10 MW flowing in from Bus B, 30 MW is injected by generation, so 40 MW flows out toward Bus C.  If we give a negative sign to out flow, then 10 + 30 – 40 = 0.

In the illustrations of the principles of transmission right reconfiguration in Appendices A and B, the injection and withdrawal rights are treated as physical injections and flow result can be computed as show above.  Because the impedances are equal for all the line segments in the papers examples, 1/3s of an injection will that the “long route” and 2/3s with take the “short route” for the reasons described above.

# Footnotes

Anther major Grid West service that supports transmission rights trading is Rights Data Translation and Management (RDTM).  RDTM is presented in a companion white paper.

For our purposes, economic efficiency refers to maximizing value of transmission rights trade whereby available transmission resources are allocated those who has the most valuation of such resources.  This objective is also known as maximizing "social welfare" or "market surplus."

Remaining flexibility is applicable to cases where ETRs are voluntarily translated into IWRs and parts of such IWRs are traded either through a previous RCS process or via a registered bilateral trade.  The accompanying paper on Rights Translation (to be developed) will describe this process in greater detail.

While standardized trading is the main benefits of adopting IWRs, Grid West initially moved towards IWRs for two practical reasons: (1) better alignment between accepting schedules and system impact should improve reliability, and (2) elimination of the dual constraint of maintaining schedules and actuals separately within limits should improve throughput.  Once flow-based scheduling was decided upon, the use of IWRs was a natural consequence.  The need to specify IWRs in a way that produces standardized products was then recognized.

Applicability applies to the timeframe and time format of the IWR vis-à-vis the specific RCS timeline.  For example monthly peak IWRs can be offered in annual and monthly IWR auctions; however, they cannot be offered into the daily IWR auction.

The process of translating existing rights into IWRs is covered in an accompanying white paper on Rights Translation.

ETR scheduling flexibility can be readily bilaterally traded once the ETR is traded.

Available flow capacity refers to the capacity on transmission flowgates that are not reserved by existing transmission rights or reserved by IWRs acquired through all available means of acquiring IWRs including previous RCS auctions.

During the same time period Grid West participants should be able to also acquire non-firm rights to use for their energy schedules.

In this paper and in Figure 1, we have assumed that annual RCS process is based on the "water year" (September 1st through August 31st).  Other alternative annual duration can readily be used.

Please refer to the accompanying Rights Data Translation Management (RDTM) white paper for the detail of such data.

The RCS processes presented in this white paper are based on study of the system under normal operating conditions and a linearized network model (DC Power Flow).  Alternatively, these studies can be performed by including system contingency conditions and/or with an AC Power Flow model.

The WECC transmission system beyond GWF may be represented in full or with a simplified equivalent model. A full WECC network model provides more complete solution regarding loop flows within WECC; however, it will also require frequent information updates from neighboring transmission operators (directly or through WECC) and an enhanced computing capability.

Non-simultaneous physical rights refer to rights whose counterflow subscriptions on a flowgate are ignored while their same direction subscriptions on a flowgate are additive.  This characteristic of non-simultaneous physical rights is similar to Option FTRs traded and used in the PJM market.

A DC Power Flow model is used for distribution flow analysis.

Active IWRs are those awarded as part of a previous IWR auction, traded through bilateral markets and registered with Grid West, and those translated IWRs that are offered into the current RCS process.  All long-term IWRs acquired as part of the Grid West capacity expansion service are also counted as part of the Active IWRs.  Adjustment to account for active IWRs corresponds to taking out the rights associated with active IWRs from TO obligations and ETRs.

Given the IWR auction methodology, over-subscription at this stage should not happen unless there are changes in system configuration since the last IWR auction.  There is no need to account for X-factor in these calculations.

It is expected that all existing OASIS sites that cover GWMT will be consolidated into Grid West market information system (MIS).

In practice rather than discounting the AFC after accounting for ETR subscriptions, the X-factor may be used to discount the counterflows when calculating the subscription.  The value of X-factor for a flowgate that is used in this fashion will be different from the X-factor which is calculated in process above and can be calculated using off-line power flow studies based on historical use of GWMT.

This remaining ESF is determined by "taking out" from the full ESF all those IWRs that have been translated and sold by the ETR owner as part of the previous RCS processes or through a registered bilateral trade.

One form of model that is well established and may be used is a DC Optimal Power Flow which simulates flow distribution effects without adding the complexity of modeling nonlinear AC effects.

Losses are ignored in the IWR auction.

The solution methodology is essentially the same as the Simultaneous Feasibility Test (SFT) used by other RTOs and ISOs for auctioning Option based Financial Transmission Rights (FTRs).  SFT uses an optimal power flow model (usually a DC OPF) for the FTRs auction to ensure that the awarded FTRs, if actually realized as physical transactions, do not violate system operating constraints (i.e. there is no over-subscription of transmission flowgates).  The goal of the SFT in these FTR auction markets is to ensure revenue adequacy for the RTO/ISO as the RTO/ISO has to pay owners of the FTR, MCP based congestion revenue rights based on congestion revenues in the DA energy market.  In Grid West's case, the objective of the IWR auction is to ensure that maximum IWR awards are made and identified transmission flowgates are not oversubscribed.  Given that all actual transactions need to show transmission rights or IWRs before scheduling, this should prevent over-scheduling of these flowgates.

Solving all scenarios together adds computational complexity to the solution algorithm.

Note that these auctions will be performed on weekdays only.

Here, applicability refers to the timeframe of the offered monthly IWR.

Note that these auctions will be performed on weekdays only.  As a result, if daily auctions are desired for weekend days, three daily auctions will be performed on Fridays (one for the next Saturday, one for the next Sunday and one for the next Monday).

Here applicability refers to the timeframe of the offered monthly or daily IWRs.

Shadow price of a flowgate is the value of increasing the capacity of the flowgate capacity by one MW and is a normal by-product of the DC-OPF that performs the IWR auction.

Please refer to the accompanying Rights Data Translation Management (RDTM) white paper for the detail of such data.

Please refer to the accompanying Rights Data Translation and Registration Management (RDTRM) white paper for the detail of such data.

Financial rights in these RTOs and ISOs are referred to as Financial Transmission Rights (FTRs) and they are normally in the form of point-to-point (a point may be a bus, a zone or a hub) Obligation FTRs.  Only CAISO and ERCOT currently offer transmission rights which are slightly different.  In the case of CAISO, the transmission right (called Firm Transmission Right) provides its holder with scheduling priority as well.  In ERCOT transmission rights (called Transmission Congestion Rights) are Flowgate rights.  Holders of FTRs receive payment equal to the amount right ownership and the value of FTR as determined by Locational Marginal Prices or LMPs.  The funds to pay FTR holder are collected as congestion charges from market participants in the RTO/ISO Day-Ahead (DA) energy market.  In rare instances, an Obligation FTR holder may have to pay for transmission system congestion if his/her right is in the direction of counterflow on a congested flowgate.  In the process of transmission rights administration by these RTOs and ISOs, holders of existing rights, such as LSEs or direct retail customers, are often offered Auction Revenue Rights (ARRs) and/or FTRs equivalent for their existing rights to account for their existing rights.

Since Grid West participants do need transmission rights for scheduling purposes, Grid West needs to conduct additional auctions close to scheduling timeline in order to ensure that market participants have access to sufficient mechanisms (e.g., RCS processes) to purchase transmission rights.

Some of the existing RTOs/ISOs use AC OPF solution.

Grid West pays these net revenues towards R3A and other RTOs and ISOs pay the net revenues directly to ARR holders or those who own existing rights (LSEs).

We assume that Grid West will acquire, rather than build, all the technology resources needed for the RCS functionality.  This assumption is essential in resourcing the operation of the RCS process and its technologies.  We have not included administrative requirements in this table.  We have not included the infrastructure (LAN/WAN, office automation, etc.) support requirements either.  The Division and Departments will be further defined in the Organizational Design process.

For the purpose of these examples we have interchangeably used ETRs and TO obligations.

Note that market value calculation and actual settlements calculations are two completely separate processes.  Auction value simply determines who is awarded  in the auction based on their offer and bid prices.

Impedance is a general term used to describe the opposition of a line operating in an AC network to a change in power flow.

Based on laws of physics, also know as the Ohms Law, lower impedance for a line means that more power flow will go through that line with the magnitude of the flow proportional to the inverse of the impedance.  This is analogous to having a pair of pipes connected to a common water source with one pipe having twice the cross sectional area of the other pipe.  In this water analogy, the larger pipe has the half the impedance of the other pipe and therefore admits twice as much water.  Path Utilization Factors (PUFs) essentially give the same information.  They show how of an injection at a bus will flow on a line based on the impedance of that line compared to impedances of all lines in the system.

The assumption of linearity for an AC network is reasonable for normal operating conditions.

# Text boxes

60 Products

2 Types X 30 Days

58 Products

2 Types X 29 Days

Bid Prd

1

day

2

days

24 Products

24 Products

Annual RCS

Monthly RCS

Intra-Month RCS

24 Products

2 Types (Peak and Off-Peak) X 12 Months of the Next Year

24 Products

2 Types (Peak and Off-Peak) X 12 Months of the Next Year (Sep-Aug)

Bidding Period

22 Products

2 Types  X 11 Months of the Next Year (Oct-Aug)

Bidding Period

2 Products

2 Types X 1 Month

(Aug)

Bidding

Period

Bidding

Period

Bid Period

~ 2 months

~ 1 wk

~ 1 wk

~ 1 wk

Bid Period

2 Products

2 Types X 1 Day

2 days

2 days

Sep 1

Bidding Period

~ 2 months

Bidding

Period

~ 1 wk

Note:  Next year’s rights are available prior to the end of the current year

Note:  Next year’s rights are available in July for the next year

Sep 1, Next Year

Bid Prd

24 hourly

Products

Day Ahead RCS

24 Products

Balance of Month Trading

(The IWR-Year or trading-year is based on the water-year for this presentation.  The IWR-Year could also be based on a calendar-year.)

A

B

TFC = 90

C

TFC = 120

TFC = 120

A

B

Net ETR Sub = 60 MW

C

IRAETR1 = 60 MW

WRCETR1 = 60 MW

IRCETR2 = 60 MW

WBETR2 = 60 MW

WRBETR3 = 30 MW

IRAETR3 = 30 MW

Net ETR Sub = 30 MW

Net ETR Sub = 30 MW

A

B

C

IRCIWR2 = 30 MW

WRBIWR1 = 30 MW

WRBIWR2 = 30 MW

IRAIWR1 = 30 MW

Net IWR Sub+ = 10 MW

Net IWR Sub- = 10 MW

Net IWR Sub+ = 30 MW

Net IWR Sub- = 0 MW

Net IWR Sub+ = 30 MW

Net IWR Sub- = 0 MW

A

B

C

IRbidCBid2 = 50 MW

IRofferBIWR1 = 15 MW

WRbidBBid2 = 50 MW

WRofferAIWR1 = 15 MW

AFC+ = 71 MW

AFC- = 110 MW

AFC+ = 0 MW

AFC- = 90 MW

AFC+ = 51 MW

AFC- = 120 MW

IRbidABid1 = 50 MW

WRbidBBid1 = 50 MW

IWR1 Offer: Price Taker ($0/MW)

Bid1:  $20/MW

Bid2:  $15/MW

LCPB = $15

LCPC = $0

WRawardBBid1 = 0 MW

IRawardABid1 = 0 MW

AFC+ = 0 MW

Sub Award+ = 0 MW

WRawardAIWR1 = 15 MW

WRawardBBid2 = 30 MW

IRawardAIWR1 = 15 MW

IRawardCBid2 = 30 MW

LCPA = -$15

IWR1 Award: 15 MW @ $30/MW

Bid1 Award:  0 MW

Bid2 Award:  30 MW @ $15/MW

WRbidBBid1 = 50 MW

IRbidABid1 = 50 MW

AFC+ = 51 MW

AFC- = 120 MW

AFC+ = 0 MW

AFC- = 90 MW

WRofferAIWR1 = 30 MW

WRbidBBid2 = 50 MW

IRofferBIWR1 = 30 MW

IRbidCBid2 = 50 MW

C

B

A

IWR1 Offer: Price Taker ($0/MW)

Bid1:  $20/MW

Bid2:  $15/MW

AFC+ = 71 MW

AFC- = 110 MW

LCPA = $0

IRawardCBid2 = 50 MW

IRawardAIWR1 = 30 MW

WRawardBBid2 = 50 MW

WRawardAIWR1 = 30 MW

AFC+ = 0 MW

Sub Award+ = 0 MW

IRawardABid1 = 5 MW

WRawardBBid1 = 5 MW

IWR1 Award: 30 MW @ $20/MW

Bid1 Award:  5 MW @ $20/MW

Bid2 Award:  50 MW @ $10/MW

LCPC = $10

LCPB = $20

A

B

TFC = 300

C

TFC = 300

TFC = 300

A

B

IRflexAESF1

WRCESF1

C

IRflexBESF1

0 < IRflexAESF1 < WRCESF1

0 < IRflexBESF1 < WRCESF1

IRflexAESF1 + IRflexBESF1 = WRCESF1

WRCESF1 < 300 MW

IRBIWR1 = 150

WRCIWR1 = 150

150 < IRIRR-AESF1 < 300

WRIRR-CESF1= 300

C

IRBIWR1 = 150

WRCIWR1 = 150

0 < IRIRR-BESF1 < 150

IRbidBIWR2 = 200

WRbidCIWR2 = 200

LCPA = $5

LCPB = $0

LCPC = $10

150 < IRIRR-AESF1 < 300

WRIRR-CESF1= 300

IRBIWR1 = 150

WRCIWR1 = 150

0 < IRIRR-BESF1 < 150

IRawardBIWR2 = 75

WRawardCIWR2 = 75